## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1010-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1010-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1010-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1010-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1010-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1010-15_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1010-15_0_3_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_1010-15_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1010-15_0_3_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_1010-15_0_3_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_1010-15_0_3_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_1010-15_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1010-15_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1010-15_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1010-15_0_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_1010-15_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_1010-15_0_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_1010-15_0_3_node_71 | 0.4 | n |  | TRUE
18 | bus_LV_1010-15_0_3_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_1010-15_0_3_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_1010-15_0_3_node_6 | 0.4 | n |  | TRUE
21 | bus_LV_1010-15_0_3_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_1010-15_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_1010-15_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1010-15_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1010-15_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1010-15_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_1010-15_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_1010-15_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1010-15_0_3_node_77 | 0.4 | n |  | TRUE
30 | bus_LV_1010-15_0_3_node_78 | 0.4 | n |  | TRUE
31 | bus_LV_1010-15_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1010-15_0_3_node_116 | 0.4 | n |  | TRUE
33 | bus_LV_1010-15_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1010-15_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1010-15_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1010-15_0_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_1010-15_0_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_1010-15_0_3_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_1010-15_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_1010-15_0_3_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_1010-15_0_3_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_1010-15_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1010-15_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1010-15_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1010-15_0_3_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_1010-15_0_3_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_1010-15_0_3_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_1010-15_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_1010-15_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1010-15_0_3_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_1010-15_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_1010-15_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1010-15_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1010-15_0_3_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_1010-15_0_3_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_1010-15_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_1010-15_0_3_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_1010-15_0_3_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_1010-15_0_3_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_1010-15_0_3_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_1010-15_0_3_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_1010-15_0_3_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_1010-15_0_3_node_73 | 0.4 | n |  | TRUE
64 | bus_MV_126_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1010-15_0_3_load_0 | 0 | 0.00044195 | 0.00011076 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1010-15_0_3_load_1 | 1 | 0.00037424 | 9.3795e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1010-15_0_3_load_3 | 3 | 0.0013899 | 0.00034833 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1010-15_0_3_load_19 | 6 | 0.0015904 | 0.00039858 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1010-15_0_3_load_24 | 8 | 0.00043394 | 0.00010875 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1010-15_0_3_load_68 | 9 | 0.001879 | 0.00047091 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1010-15_0_3_load_27 | 10 | 0.0014997 | 0.00037585 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1010-15_0_3_load_15 | 12 | 0.00077104 | 0.00019324 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1010-15_0_3_load_20 | 15 | 0.00041622 | 0.00010431 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1010-15_0_3_load_25 | 16 | 0.00041311 | 0.00010353 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1010-15_0_3_load_71 | 17 | 0.00079929 | 0.00020032 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1010-15_0_3_load_67 | 18 | 0.00073116 | 0.00018325 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1010-15_0_3_load_6 | 20 | 0.0016091 | 0.00040327 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1010-15_0_3_load_12 | 23 | 0.0016629 | 0.00041676 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1010-15_0_3_load_11 | 24 | 0.0012102 | 0.00030329 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1010-15_0_3_load_16 | 25 | 0.0013343 | 0.00033441 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1010-15_0_3_load_13 | 26 | 0.002586 | 0.00064811 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1010-15_0_3_load_14 | 27 | 0.0021368 | 0.00053553 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1010-15_0_3_load_17 | 31 | 0.0020283 | 0.00050834 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1010-15_0_3_load_116 | 32 | 0.0017967 | 0.0004503 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1010-15_0_3_load_26 | 34 | 0.0015481 | 0.00038798 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1010-15_0_3_load_56 | 36 | 0.00057964 | 0.00014527 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1010-15_0_3_load_46 | 37 | 0.00085928 | 0.00021536 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1010-15_0_3_load_70 | 38 | 0.0012793 | 0.00032063 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1010-15_0_3_load_45 | 39 | 0.0012253 | 0.00030709 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1010-15_0_3_load_83 | 40 | 0.044646 | 0.011189 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1010-15_0_3_load_79 | 41 | 0.0054052 | 0.0013547 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1010-15_0_3_load_37 | 42 | 0.00089826 | 0.00022512 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1010-15_0_3_load_38 | 43 | 0.00041942 | 0.00010512 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1010-15_0_3_load_39 | 44 | 0.001594 | 0.00039949 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1010-15_0_3_load_50 | 45 | 0.00071208 | 0.00017846 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1010-15_0_3_load_60 | 46 | 0.00065698 | 0.00016466 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1010-15_0_3_load_48 | 48 | 0.0017067 | 0.00042773 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1010-15_0_3_load_57 | 51 | 0.00032641 | 8.1806e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1010-15_0_3_load_51 | 52 | 0.0012328 | 0.00030898 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1010-15_0_3_load_52 | 53 | 0.00027615 | 6.9209e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1010-15_0_3_load_53 | 54 | 0.00020259 | 5.0775e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1010-15_0_3_load_54 | 55 | 0.00029182 | 7.3136e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1010-15_0_3_load_55 | 56 | 0.0019234 | 0.00048205 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1010-15_0_3_load_65 | 57 | 0.00075043 | 0.00018808 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1010-15_0_3_load_82 | 58 | 0.0015935 | 0.00039937 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1010-15_0_3_load_81 | 59 | 0.0015971 | 0.00040028 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1010-15_0_3_load_59 | 60 | 0.0018048 | 0.00045232 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1010-15_0_3_load_69 | 61 | 0.00080051 | 0.00020063 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1010-15_0_3_load_72 | 62 | 0.0015994 | 0.00040084 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1010-15_0_3_load_73 | 63 | 0.0019454 | 0.00048756 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1010-15_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_1010-15_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_1010-15_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_1010-15_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_1010-15_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.071153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1010-15_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.012977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_1010-15_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.098292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_1010-15_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.015168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1010-15_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.013503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1010-15_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.014507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_1010-15_0_3_line_10 | NAYY 4x150 SE | 7 | 14 | 0.10529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1010-15_0_3_line_11 | NAYY 4x150 SE | 7 | 15 | 0.039885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1010-15_0_3_line_12 | NAYY 4x150 SE | 7 | 11 | 0.092274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_1010-15_0_3_line_13 | NAYY 4x150 SE | 8 | 16 | 0.047661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1010-15_0_3_line_14 | NAYY 4x150 SE | 9 | 17 | 0.028903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1010-15_0_3_line_15 | NAYY 4x150 SE | 10 | 34 | 0.0034944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_1010-15_0_3_line_16 | NAYY 4x150 SE | 11 | 12 | 0.016738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1010-15_0_3_line_17 | NAYY 4x150 SE | 11 | 13 | 0.003687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_1010-15_0_3_line_18 | NAYY 4x150 SE | 12 | 25 | 0.029488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1010-15_0_3_line_19 | NAYY 4x150 SE | 13 | 20 | 0.042295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_1010-15_0_3_line_20 | NAYY 4x150 SE | 14 | 32 | 0.15606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1010-15_0_3_line_21 | NAYY 4x150 SE | 15 | 33 | 0.19874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1010-15_0_3_line_22 | NAYY 4x150 SE | 17 | 62 | 0.013224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1010-15_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.012033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1010-15_0_3_line_24 | NAYY 4x150 SE | 19 | 61 | 0.029634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1010-15_0_3_line_25 | NAYY 4x150 SE | 19 | 57 | 0.033834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1010-15_0_3_line_26 | NAYY 4x150 SE | 20 | 21 | 0.0051274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_1010-15_0_3_line_27 | NAYY 4x150 SE | 21 | 22 | 0.032776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1010-15_0_3_line_28 | NAYY 4x150 SE | 22 | 23 | 0.016817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_1010-15_0_3_line_29 | NAYY 4x150 SE | 23 | 24 | 0.057794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_1010-15_0_3_line_30 | NAYY 4x150 SE | 24 | 26 | 0.0098134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_1010-15_0_3_line_31 | NAYY 4x150 SE | 25 | 31 | 0.0076211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1010-15_0_3_line_32 | NAYY 4x150 SE | 26 | 27 | 0.046482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_1010-15_0_3_line_33 | NAYY 4x150 SE | 27 | 28 | 0.03526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_1010-15_0_3_line_34 | NAYY 4x150 SE | 28 | 29 | 0.011823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1010-15_0_3_line_35 | NAYY 4x150 SE | 28 | 30 | 0.074734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1010-15_0_3_line_36 | NAYY 4x150 SE | 29 | 40 | 0.14934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1010-15_0_3_line_37 | NAYY 4x150 SE | 30 | 41 | 0.026014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1010-15_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.003316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1010-15_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.014187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1010-15_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.040605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1010-15_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.0086692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1010-15_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.15962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1010-15_0_3_line_43 | NAYY 4x150 SE | 38 | 46 | 0.039349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1010-15_0_3_line_44 | NAYY 4x150 SE | 39 | 47 | 0.0032369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1010-15_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.023761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1010-15_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0092584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1010-15_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.016576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1010-15_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0048781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1010-15_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.014293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1010-15_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.013213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1010-15_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.13147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1010-15_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0094778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1010-15_0_3_line_53 | NAYY 4x150 SE | 51 | 60 | 0.026404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1010-15_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0013365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1010-15_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.030635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1010-15_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.019438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1010-15_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.035951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1010-15_0_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.0029927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1010-15_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.00012925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1010-15_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.019864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1010-15_0_3_line_61 | NAYY 4x150 SE | 59 | 63 | 0.018555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1010-15_0_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.011319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1010-15_0_3_trafo_26 | 0.25 MVA 20/0.4 kV | 64 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2638383.4005 | 1196957.1902 | 2638401.8087 | 1196945.1281
1 | 2638366.1549 | 1196968.4905 | 2638383.4005 | 1196957.1902
2 | 2638420.4606 | 1196932.9063 | 2638401.8087 | 1196945.1281
3 | 2638351.8339 | 1196942.5844 | 2638366.1549 | 1196968.4905
4 | 2638413.5584 | 1197021.2014 | 2638391.0173 | 1197000.3453 | 2638384.8127 | 1196993.9464 | 2638379.5048 | 1196987.8535 | 2638372.1797 | 1196978.0122 | 2638366.1549 | 1196968.4905
5 | 2638431.3146 | 1196925.7941 | 2638420.4606 | 1196932.9063
6 | 2638306.7837 | 1196934.9362 | 2638308.26 | 1196929.2092 | 2638310.8834 | 1196922.7557 | 2638315.8352 | 1196911.9148 | 2638321.0781 | 1196902.0095 | 2638324.968 | 1196895.2418 | 2638332.4817 | 1196906.5851 | 2638339.8462 | 1196919.8173 | 2638351.8339 | 1196942.5844
7 | 2638351.8339 | 1196942.5844 | 2638364.5338 | 1196934.2914
8 | 2638413.5584 | 1197021.2014 | 2638423.3904 | 1197011.9459
9 | 2638431.3146 | 1196925.7941 | 2638443.4483 | 1196917.8433
10 | 2638306.7837 | 1196934.9362 | 2638308.529 | 1196941.9179 | 2638311.2527 | 1196948.35 | 2638314.1503 | 1196953.7938 | 2638317.7272 | 1196959.0196 | 2638322.3076 | 1196964.5408 | 2638359.8134 | 1197001.2457 | 2638370.317 | 1197010.7294 | 2638373.7831 | 1197014.2202
11 | 2638306.7837 | 1196934.9362 | 2638298.2595 | 1196945.8099 | 2638282.7446 | 1196966.7588
12 | 2638306.7837 | 1196934.9362 | 2638308.26 | 1196929.2092 | 2638310.8834 | 1196922.7557 | 2638315.8352 | 1196911.9148 | 2638321.0781 | 1196902.0095 | 2638324.968 | 1196895.2418 | 2638330.6772 | 1196886.2623 | 2638333.6138 | 1196882.0677 | 2638338.3939 | 1196876.6397 | 2638344.3656 | 1196870.6858 | 2638352.3386 | 1196863.8553 | 2638357.4452 | 1196859.7747
13 | 2638404.4398 | 1196908.2329 | 2638364.5338 | 1196934.2914
14 | 2638423.3904 | 1197011.9459 | 2638436.5016 | 1196999.6034 | 2638444.6649 | 1196992.3864
15 | 2638446.3711 | 1196915.9282 | 2638443.4483 | 1196917.8433
16 | 2638357.4452 | 1196859.7747 | 2638365.533 | 1196869.4874 | 2638368.3918 | 1196872.4249
17 | 2638357.4452 | 1196859.7747 | 2638360.392 | 1196857.5479
18 | 2638394.6106 | 1196873.0859 | 2638391.1477 | 1196875.5772 | 2638387.6539 | 1196877.5782 | 2638384.4178 | 1196878.5913 | 2638381.2025 | 1196878.7485 | 2638376.9423 | 1196877.9319 | 2638372.9176 | 1196876.0273 | 2638369.1803 | 1196873.2351 | 2638368.3918 | 1196872.4249
19 | 2638360.392 | 1196857.5479 | 2638369.1642 | 1196849.622 | 2638374.0954 | 1196844.3951 | 2638378.6113 | 1196838.5987 | 2638382.8082 | 1196832.6667 | 2638385.9894 | 1196827.1508 | 2638386.9759 | 1196825.068
20 | 2638373.7831 | 1197014.2202 | 2638372.9539 | 1197016.4272 | 2638372.6132 | 1197018.4817 | 2638372.3104 | 1197022.9378 | 2638371.6248 | 1197027.7027 | 2638370.278 | 1197032.241 | 2638369.4032 | 1197034.4478 | 2638367.5839 | 1197037.838 | 2638364.7406 | 1197041.7552 | 2638317.2117 | 1197100.1609 | 2638314.3175 | 1197104.9005 | 2638312.8136 | 1197109.0042 | 2638312.2113 | 1197112.658 | 2638312.0353 | 1197117.5484 | 2638312.9932 | 1197124.9698 | 2638315.3255 | 1197135.4127 | 2638315.0426 | 1197139.1574 | 2638308.9147 | 1197148.1342
21 | 2638167.2206 | 1197128.3849 | 2638196.8664 | 1197082.7154 | 2638282.7446 | 1196966.7588
22 | 2638444.6649 | 1196992.3864 | 2638454.5722 | 1196983.6275
23 | 2638468.5728 | 1197058.1084 | 2638458.5801 | 1197051.4047
24 | 2638468.5728 | 1197058.1084 | 2638491.0969 | 1197077.3657
25 | 2638468.5728 | 1197058.1084 | 2638488.2924 | 1197039.1469 | 2638492.8141 | 1197034.5088
26 | 2638389.1707 | 1196820.4341 | 2638386.9759 | 1196825.068
27 | 2638404.6967 | 1196791.5511 | 2638389.1707 | 1196820.4341
28 | 2638404.6967 | 1196791.5511 | 2638419.8183 | 1196798.9108
29 | 2638471.2262 | 1196825.3067 | 2638438.7365 | 1196808.2455 | 2638435.2975 | 1196806.4446 | 2638419.8183 | 1196798.9108
30 | 2638480.144 | 1196829.3976 | 2638472.3434 | 1196825.8933 | 2638471.2262 | 1196825.3067
31 | 2638400.7971 | 1196868.6353 | 2638394.6106 | 1196873.0859
32 | 2638480.144 | 1196829.3976 | 2638483.8422 | 1196831.059 | 2638494.2963 | 1196835.2285 | 2638506.3169 | 1196839.7972 | 2638523.8302 | 1196845.15
33 | 2638557.5699 | 1196855.3913 | 2638540.389 | 1196850.2111 | 2638523.8302 | 1196845.15
34 | 2638557.5699 | 1196855.3913 | 2638561.6099 | 1196844.2778
35 | 2638557.5699 | 1196855.3913 | 2638628.86 | 1196878.4636
36 | 2638561.6099 | 1196844.2778 | 2638497.9648 | 1196823.8347 | 2638494.181 | 1196822.3762 | 2638491.8591 | 1196820.9827 | 2638490.1098 | 1196819.4039 | 2638489.2129 | 1196817.9196 | 2638488.5364 | 1196815.336 | 2638488.3934 | 1196812.7003 | 2638488.9134 | 1196808.8349 | 2638503.5941 | 1196753.9545 | 2638505.1671 | 1196748.5579
37 | 2638628.86 | 1196878.4636 | 2638653.1934 | 1196887.6636
38 | 2638167.2206 | 1197128.3849 | 2638165.3902 | 1197131.1525
39 | 2638165.3902 | 1197131.1525 | 2638176.9362 | 1197139.3959
40 | 2638165.3902 | 1197131.1525 | 2638142.9954 | 1197165.023
41 | 2638182.8614 | 1197145.6608 | 2638180.8142 | 1197143.013 | 2638178.2265 | 1197140.3172 | 2638176.9362 | 1197139.3959
42 | 2638096.2227 | 1197316.7294 | 2638116.6942 | 1197230.8862 | 2638126.352 | 1197197.3959 | 2638136.104 | 1197175.4459 | 2638142.9954 | 1197165.023
43 | 2638182.8614 | 1197145.6608 | 2638182.8614 | 1197145.6608 | 2638184.9636 | 1197149.2318 | 2638188.0435 | 1197157.1447 | 2638189.7149 | 1197163.7812 | 2638195.2306 | 1197182.871
44 | 2638095.4718 | 1197319.878 | 2638096.2227 | 1197316.7294
45 | 2638181.9364 | 1197234.4437 | 2638185.38 | 1197217.6389 | 2638187.6733 | 1197211.4428
46 | 2638187.6733 | 1197211.4428 | 2638189.2551 | 1197207.1689 | 2638191.477 | 1197203.0259
47 | 2638191.477 | 1197203.0259 | 2638195.7377 | 1197195.0814 | 2638196.4194 | 1197192.0952 | 2638196.5872 | 1197189.6727 | 2638196.2691 | 1197187.6273
48 | 2638196.2691 | 1197187.6273 | 2638195.8776 | 1197185.1101 | 2638195.2306 | 1197182.871
49 | 2638095.4718 | 1197319.878 | 2638087.9233 | 1197318.7849 | 2638084.7012 | 1197317.6527 | 2638082.2931 | 1197315.4695
50 | 2638095.6847 | 1197333.0867 | 2638095.4718 | 1197319.878
51 | 2638095.6847 | 1197333.0867 | 2638098.137 | 1197348.6553 | 2638101.9597 | 1197360.7308 | 2638106.0143 | 1197368.661 | 2638110.6003 | 1197376.8725 | 2638141.2891 | 1197424.2052 | 2638148.7032 | 1197436.7816 | 2638150.7951 | 1197441.9645 | 2638152.9457 | 1197449.8715
52 | 2638152.9457 | 1197449.8715 | 2638144.4358 | 1197454.044
53 | 2638123.0768 | 1197447.2241 | 2638132.5408 | 1197457.2344 | 2638137.9941 | 1197457.2024 | 2638144.4358 | 1197454.044
54 | 2638508.7278 | 1197016.8626 | 2638507.8479 | 1197017.8685
55 | 2638508.7278 | 1197016.8626 | 2638513.3767 | 1197011.5486 | 2638517.913 | 1197006.1303 | 2638520.7492 | 1197002.1575 | 2638521.9725 | 1196999.0748 | 2638522.6107 | 1196995.7659 | 2638522.8558 | 1196990.8315 | 2638522.8558 | 1196990.8315
56 | 2638494.9032 | 1197032.366 | 2638496.4351 | 1197030.7947 | 2638503.8312 | 1197022.4599 | 2638507.8479 | 1197017.8685
57 | 2638522.8558 | 1196990.8315 | 2638522.0166 | 1196986.3124 | 2638520.4271 | 1196982.3889 | 2638517.4744 | 1196978.4233 | 2638510.5668 | 1196972.3866 | 2638506.0798 | 1196968.9448 | 2638500.8846 | 1196966.6656 | 2638499.2433 | 1196966.3278
58 | 2638494.9032 | 1197032.366 | 2638492.8141 | 1197034.5088
59 | 2638499.2433 | 1196966.3278 | 2638499.1167 | 1196966.3018
60 | 2638479.604 | 1196967.4837 | 2638483.1933 | 1196966.285 | 2638489.2548 | 1196965.3234 | 2638495.4763 | 1196965.5525 | 2638499.1167 | 1196966.3018
61 | 2638463.7045 | 1196976.9688 | 2638469.868 | 1196972.7585 | 2638478.621 | 1196967.812 | 2638479.604 | 1196967.4837
62 | 2638463.7045 | 1196976.9688 | 2638456.6635 | 1196981.7786 | 2638454.5722 | 1196983.6275

## bus_geodata
| x | y | coords
0 | 2638383.4005 | 1196957.1902
1 | 2638401.8087 | 1196945.1281
2 | 2638366.1549 | 1196968.4905
3 | 2638420.4606 | 1196932.9063
4 | 2638351.8339 | 1196942.5844
5 | 2638413.5584 | 1197021.2014
6 | 2638431.3146 | 1196925.7941
7 | 2638306.7837 | 1196934.9362
8 | 2638364.5338 | 1196934.2914
9 | 2638423.3904 | 1197011.9459
10 | 2638443.4483 | 1196917.8433
11 | 2638357.4452 | 1196859.7747
12 | 2638368.3918 | 1196872.4249
13 | 2638360.392 | 1196857.5479
14 | 2638373.7831 | 1197014.2202
15 | 2638282.7446 | 1196966.7588
16 | 2638404.4398 | 1196908.2329
17 | 2638444.6649 | 1196992.3864
18 | 2638458.5801 | 1197051.4047
19 | 2638468.5728 | 1197058.1084
20 | 2638386.9759 | 1196825.068
21 | 2638389.1707 | 1196820.4341
22 | 2638404.6967 | 1196791.5511
23 | 2638419.8183 | 1196798.9108
24 | 2638471.2262 | 1196825.3067
25 | 2638394.6106 | 1196873.0859
26 | 2638480.144 | 1196829.3976
27 | 2638523.8302 | 1196845.15
28 | 2638557.5699 | 1196855.3913
29 | 2638561.6099 | 1196844.2778
30 | 2638628.86 | 1196878.4636
31 | 2638400.7971 | 1196868.6353
32 | 2638308.9147 | 1197148.1342
33 | 2638167.2206 | 1197128.3849
34 | 2638446.3711 | 1196915.9282
35 | 2638165.3902 | 1197131.1525
36 | 2638176.9362 | 1197139.3959
37 | 2638142.9954 | 1197165.023
38 | 2638182.8614 | 1197145.6608
39 | 2638096.2227 | 1197316.7294
40 | 2638505.1671 | 1196748.5579
41 | 2638653.1934 | 1196887.6636
42 | 2638181.9364 | 1197234.4437
43 | 2638187.6733 | 1197211.4428
44 | 2638191.477 | 1197203.0259
45 | 2638196.2691 | 1197187.6273
46 | 2638195.2306 | 1197182.871
47 | 2638095.4718 | 1197319.878
48 | 2638082.2931 | 1197315.4695
49 | 2638095.6847 | 1197333.0867
50 | 2638152.9457 | 1197449.8715
51 | 2638144.4358 | 1197454.044
52 | 2638508.7278 | 1197016.8626
53 | 2638507.8479 | 1197017.8685
54 | 2638522.8558 | 1196990.8315
55 | 2638494.9032 | 1197032.366
56 | 2638499.2433 | 1196966.3278
57 | 2638492.8141 | 1197034.5088
58 | 2638499.1167 | 1196966.3018
59 | 2638479.604 | 1196967.4837
60 | 2638123.0768 | 1197447.2241
61 | 2638491.0969 | 1197077.3657
62 | 2638454.5722 | 1196983.6275
63 | 2638463.7045 | 1196976.9688
64 | 2638446.3711 | 1196915.9282

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9965 | -0.024174 | 0.00044195 | 0.00011076
1 | 0.99751 | -0.017185 | 0.00037424 | 9.3795e-05
2 | 0.99556 | -0.030704 | 0 | 0
3 | 0.99854 | -0.010089 | 0.0013899 | 0.00034833
4 | 0.99443 | -0.038535 | 0 | 0
5 | 0.99396 | -0.041936 | 0 | 0
6 | 0.99914 | -0.0059067 | 0.0015904 | 0.00039858
7 | 0.99072 | -0.064393 | 0 | 0
8 | 0.99441 | -0.038666 | 0.00043394 | 0.00010875
9 | 0.99366 | -0.044071 | 0.001879 | 0.00047091
10 | 0.99983 | -0.0011599 | 0.0014997 | 0.00037585
11 | 0.98786 | -0.084312 | 0 | 0
12 | 0.98776 | -0.08502 | 0.00077104 | 0.00019324
13 | 0.98776 | -0.085058 | 0 | 0
14 | 0.99044 | -0.066338 | 0 | 0
15 | 0.99 | -0.069485 | 0.00041622 | 0.00010431
16 | 0.99438 | -0.038866 | 0.00041311 | 0.00010353
17 | 0.99309 | -0.048096 | 0.00079929 | 0.00020032
18 | 0.99161 | -0.058561 | 0.00073116 | 0.00018325
19 | 0.99162 | -0.058472 | 0 | 0
20 | 0.98653 | -0.093627 | 0.0016091 | 0.00040327
21 | 0.98639 | -0.094639 | 0 | 0
22 | 0.98547 | -0.10111 | 0 | 0
23 | 0.98499 | -0.10444 | 0.0016629 | 0.00041676
24 | 0.98341 | -0.11556 | 0.0012102 | 0.00030329
25 | 0.98762 | -0.086035 | 0.0013343 | 0.00033441
26 | 0.98315 | -0.11742 | 0.002586 | 0.00064811
27 | 0.98197 | -0.12578 | 0.0021368 | 0.00053553
28 | 0.9811 | -0.13188 | 0 | 0
29 | 0.98072 | -0.13462 | 0 | 0
30 | 0.98052 | -0.13608 | 0 | 0
31 | 0.9876 | -0.086193 | 0.0020283 | 0.00050834
32 | 0.99004 | -0.069204 | 0.0017967 | 0.0004503
33 | 0.98653 | -0.094102 | 0 | 0
34 | 1 | 0 | -0.10215 | -0.025613
35 | 0.98647 | -0.094514 | 0 | 0
36 | 0.98635 | -0.095409 | 0.00057964 | 0.00014527
37 | 0.98612 | -0.096996 | 0.00085928 | 0.00021536
38 | 0.98628 | -0.095904 | 0.0012793 | 0.00032063
39 | 0.98495 | -0.10534 | 0.0012253 | 0.00030709
40 | 0.97093 | -0.20451 | 0.044646 | 0.011189
41 | 0.98031 | -0.13754 | 0.0054052 | 0.0013547
42 | 0.98589 | -0.098658 | 0.00089826 | 0.00022512
43 | 0.98592 | -0.098439 | 0.00041942 | 0.00010512
44 | 0.98594 | -0.098313 | 0.001594 | 0.00039949
45 | 0.98601 | -0.097817 | 0.00071208 | 0.00017846
46 | 0.98603 | -0.097636 | 0.00065698 | 0.00016466
47 | 0.98494 | -0.10547 | 0 | 0
48 | 0.9849 | -0.10572 | 0.0017067 | 0.00042773
49 | 0.9849 | -0.10576 | 0 | 0
50 | 0.98449 | -0.10866 | 0 | 0
51 | 0.98446 | -0.10887 | 0.00032641 | 8.1806e-05
52 | 0.99178 | -0.057326 | 0.0012328 | 0.00030898
53 | 0.99178 | -0.057365 | 0.00027615 | 6.9209e-05
54 | 0.99196 | -0.056054 | 0.00020259 | 5.0775e-05
55 | 0.99171 | -0.057875 | 0.00029182 | 7.3136e-05
56 | 0.99218 | -0.054487 | 0.0019234 | 0.00048205
57 | 0.9917 | -0.057944 | 0.00075043 | 0.00018808
58 | 0.99219 | -0.054478 | 0.0015935 | 0.00039937
59 | 0.99241 | -0.052904 | 0.0015971 | 0.00040028
60 | 0.98439 | -0.10936 | 0.0018048 | 0.00045232
61 | 0.99159 | -0.058713 | 0.00080051 | 0.00020063
62 | 0.99284 | -0.049831 | 0.0015994 | 0.00040084
63 | 0.99266 | -0.051134 | 0.0019454 | 0.00048756
64 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.096162 | -0.024272 | 0.096257 | 0.024307 | 9.4467e-05 | 3.5473e-05 | 0.14365 | 0.14365 | 0.14365 | 0.9965 | -0.024174 | 0.99751 | -0.017185 | 17.7351
1 | 0.09572 | 0.024161 | -0.095633 | -0.024128 | 8.769e-05 | 3.2922e-05 | 0.14299 | 0.14299 | 0.14299 | 0.9965 | -0.024174 | 0.99556 | -0.030704 | 17.6536
2 | -0.096631 | -0.024401 | 0.096727 | 0.024437 | 9.6463e-05 | 3.6227e-05 | 0.14421 | 0.14421 | 0.14421 | 0.99751 | -0.017185 | 0.99854 | -0.010089 | 17.8039
3 | 0.079962 | 0.020199 | -0.079874 | -0.020166 | 8.7982e-05 | 3.2687e-05 | 0.11957 | 0.11957 | 0.11957 | 0.99556 | -0.030704 | 0.99443 | -0.038535 | 14.762
4 | 0.01567 | 0.0039293 | -0.015646 | -0.0039209 | 2.4358e-05 | 8.4449e-06 | 0.023422 | 0.023423 | 0.023423 | 0.99556 | -0.030704 | 0.99396 | -0.041936 | 8.6751
5 | -0.098117 | -0.024786 | 0.098175 | 0.024807 | 5.7758e-05 | 2.1705e-05 | 0.14628 | 0.14628 | 0.14628 | 0.99854 | -0.010089 | 0.99914 | -0.0059067 | 18.0596
6 | 0.079027 | 0.019955 | -0.078741 | -0.019848 | 0.00028615 | 0.00010625 | 0.11831 | 0.11831 | 0.11831 | 0.99443 | -0.038535 | 0.99072 | -0.064393 | 14.6057
7 | 0.00084707 | 0.00021148 | -0.00084706 | -0.00021168 | 1.52e-08 | -1.9093e-07 | 0.0012672 | 0.0012673 | 0.0012673 | 0.99443 | -0.038535 | 0.99441 | -0.038666 | 0.46937
8 | 0.015646 | 0.0039209 | -0.015641 | -0.0039193 | 4.6226e-06 | 1.603e-06 | 0.023423 | 0.023423 | 0.023423 | 0.99396 | -0.041936 | 0.99366 | -0.044071 | 8.6751
9 | -0.099765 | -0.025206 | 0.099832 | 0.025231 | 6.6675e-05 | 2.5074e-05 | 0.14865 | 0.14865 | 0.14865 | 0.99914 | -0.0059067 | 0.99983 | -0.0011599 | 18.352
10 | 0.0017979 | 0.00044739 | -0.0017974 | -0.00044857 | 4.7876e-07 | -1.1712e-06 | 0.0026993 | 0.0026997 | 0.0026997 | 0.99072 | -0.064393 | 0.99044 | -0.066338 | 0.9999
11 | 0.012541 | 0.0031416 | -0.012532 | -0.0031388 | 8.8294e-06 | 2.8827e-06 | 0.018835 | 0.018835 | 0.018835 | 0.99072 | -0.064393 | 0.99 | -0.069485 | 6.976
12 | 0.064403 | 0.016259 | -0.064223 | -0.016194 | 0.00017974 | 6.5577e-05 | 0.096772 | 0.096773 | 0.096773 | 0.99072 | -0.064393 | 0.98786 | -0.084312 | 11.9473
13 | 0.00041312 | 0.00010292 | -0.00041311 | -0.00010353 | 1.1361e-08 | -6.1392e-07 | 0.00061797 | 0.00061818 | 0.00061818 | 0.99441 | -0.038666 | 0.99438 | -0.038866 | 0.22896
14 | 0.013762 | 0.0034484 | -0.013755 | -0.0034458 | 7.6602e-06 | 2.5721e-06 | 0.020609 | 0.020609 | 0.020609 | 0.99366 | -0.044071 | 0.99309 | -0.048096 | 7.633
15 | -0.10133 | -0.025607 | 0.10135 | 0.025613 | 1.6547e-05 | 6.2266e-06 | 0.15088 | 0.15088 | 0.15088 | 0.99983 | -0.0011599 | 1 | 0 | 18.6275
16 | 0.0041346 | 0.0010357 | -0.0041341 | -0.0010357 | 4.0509e-07 | -5.8471e-08 | 0.0062277 | 0.0062277 | 0.0062277 | 0.98786 | -0.084312 | 0.98776 | -0.08502 | 2.3066
17 | 0.060088 | 0.015158 | -0.060082 | -0.015156 | 6.2874e-06 | 2.2766e-06 | 0.090546 | 0.090546 | 0.090546 | 0.98786 | -0.084312 | 0.98776 | -0.085058 | 11.1785
18 | 0.0033631 | 0.00084247 | -0.0033626 | -0.00084267 | 4.723e-07 | -1.9575e-07 | 0.0050662 | 0.0050664 | 0.0050664 | 0.98776 | -0.08502 | 0.98762 | -0.086035 | 1.8764
19 | 0.060082 | 0.015156 | -0.06001 | -0.01513 | 7.2126e-05 | 2.6119e-05 | 0.090546 | 0.090546 | 0.090546 | 0.98776 | -0.085058 | 0.98653 | -0.093627 | 11.1786
20 | 0.0017974 | 0.00044857 | -0.0017967 | -0.0004503 | 7.0994e-07 | -1.7345e-06 | 0.0026997 | 0.0027004 | 0.0027004 | 0.99044 | -0.066338 | 0.99004 | -0.069204 | 1.0002
21 | 0.012116 | 0.0030345 | -0.012074 | -0.0030212 | 4.1124e-05 | 1.3271e-05 | 0.01821 | 0.018211 | 0.018211 | 0.99 | -0.069485 | 0.98653 | -0.094102 | 6.7446
22 | 0.012955 | 0.0032455 | -0.012952 | -0.0032444 | 3.1093e-06 | 1.0248e-06 | 0.019412 | 0.019412 | 0.019412 | 0.99309 | -0.048096 | 0.99284 | -0.049831 | 7.1895
23 | -0.00073116 | -0.00018325 | 0.00073117 | 0.00018309 | 9.0385e-09 | -1.5175e-07 | 0.0010972 | 0.0010971 | 0.0010972 | 0.99161 | -0.058561 | 0.99162 | -0.058472 | 0.40636
24 | 0.00080054 | 0.00020026 | -0.00080051 | -0.00020063 | 2.6682e-08 | -3.7202e-07 | 0.0012011 | 0.0012013 | 0.0012013 | 0.99162 | -0.058472 | 0.99159 | -0.058713 | 0.44492
25 | -0.0015317 | -0.00038335 | 0.0015318 | 0.00038296 | 1.1151e-07 | -3.9362e-07 | 0.0022983 | 0.0022981 | 0.0022983 | 0.99162 | -0.058472 | 0.9917 | -0.057944 | 0.85121
26 | 0.058401 | 0.014726 | -0.058392 | -0.014723 | 8.2814e-06 | 2.9888e-06 | 0.088119 | 0.088119 | 0.088119 | 0.98653 | -0.093627 | 0.98639 | -0.094639 | 10.8789
27 | 0.058392 | 0.014723 | -0.05834 | -0.014704 | 5.2938e-05 | 1.9107e-05 | 0.088119 | 0.08812 | 0.08812 | 0.98639 | -0.094639 | 0.98547 | -0.10111 | 10.879
28 | 0.05834 | 0.014704 | -0.058312 | -0.014694 | 2.7163e-05 | 9.8047e-06 | 0.08812 | 0.08812 | 0.08812 | 0.98547 | -0.10111 | 0.98499 | -0.10444 | 10.879
29 | 0.056649 | 0.014278 | -0.056561 | -0.014246 | 8.8101e-05 | 3.1682e-05 | 0.085608 | 0.085609 | 0.085609 | 0.98499 | -0.10444 | 0.98341 | -0.11556 | 10.569
30 | 0.055351 | 0.013943 | -0.055337 | -0.013938 | 1.4327e-05 | 5.1368e-06 | 0.083778 | 0.083778 | 0.083778 | 0.98341 | -0.11556 | 0.98315 | -0.11742 | 10.343
31 | 0.0020283 | 0.00050825 | -0.0020283 | -0.00050834 | 4.4413e-08 | -8.0439e-08 | 0.003056 | 0.003056 | 0.003056 | 0.98762 | -0.086035 | 0.9876 | -0.086193 | 1.1319
32 | 0.052751 | 0.013289 | -0.052689 | -0.013268 | 6.1667e-05 | 2.1952e-05 | 0.079864 | 0.079865 | 0.079865 | 0.98315 | -0.11742 | 0.98197 | -0.12578 | 9.8598
33 | 0.050552 | 0.012732 | -0.050509 | -0.012717 | 4.3063e-05 | 1.5226e-05 | 0.076627 | 0.076627 | 0.076627 | 0.98197 | -0.12578 | 0.9811 | -0.13188 | 9.4601
34 | 0.0451 | 0.011362 | -0.045083 | -0.011355 | 1.727e-05 | 6.3438e-06 | 0.068423 | 0.068423 | 0.068423 | 0.9811 | -0.13188 | 0.98072 | -0.13462 | 12.671
35 | 0.0054094 | 0.001355 | -0.0054063 | -0.0013548 | 3.1389e-06 | 2.6409e-07 | 0.0082041 | 0.0082044 | 0.0082044 | 0.9811 | -0.13188 | 0.98052 | -0.13608 | 3.0387
36 | 0.045083 | 0.011355 | -0.044646 | -0.011189 | 0.0004363 | 0.00016594 | 0.068423 | 0.068424 | 0.068424 | 0.98072 | -0.13462 | 0.97093 | -0.20451 | 25.3422
37 | 0.0054063 | 0.0013548 | -0.0054052 | -0.0013547 | 1.0927e-06 | 9.2217e-08 | 0.0082044 | 0.0082045 | 0.0082045 | 0.98052 | -0.13608 | 0.98031 | -0.13754 | 3.0387
38 | 0.012074 | 0.0030212 | -0.012074 | -0.003021 | 6.8619e-07 | 2.2158e-07 | 0.018211 | 0.018211 | 0.018211 | 0.98653 | -0.094102 | 0.98647 | -0.094514 | 6.7446
39 | 0.0061422 | 0.0015382 | -0.0061414 | -0.0015381 | 7.5984e-07 | 1.1115e-07 | 0.0092646 | 0.0092647 | 0.0092647 | 0.98647 | -0.094514 | 0.98635 | -0.095409 | 3.4314
40 | 0.0059316 | 0.0014827 | -0.0059295 | -0.0014825 | 2.0278e-06 | 2.6171e-07 | 0.0089459 | 0.0089461 | 0.0089461 | 0.98647 | -0.094514 | 0.98612 | -0.096996 | 3.3134
41 | 0.0055618 | 0.0013928 | -0.0055614 | -0.0013928 | 3.8081e-07 | 3.5825e-08 | 0.0083902 | 0.0083902 | 0.0083902 | 0.98635 | -0.095409 | 0.98628 | -0.095904 | 3.1075
42 | 0.0050702 | 0.0012671 | -0.0050644 | -0.0012669 | 5.8288e-06 | 2.0787e-07 | 0.0076495 | 0.0076502 | 0.0076502 | 0.98612 | -0.096996 | 0.98495 | -0.10534 | 2.8334
43 | 0.0042821 | 0.0010722 | -0.004281 | -0.0010723 | 1.0247e-06 | -1.0791e-07 | 0.0064601 | 0.0064603 | 0.0064603 | 0.98628 | -0.095904 | 0.98603 | -0.097636 | 2.3927
44 | 0.0038391 | 0.00095982 | -0.003839 | -0.00095983 | 6.7926e-08 | -1.5072e-08 | 0.0057991 | 0.0057991 | 0.0057991 | 0.98495 | -0.10534 | 0.98494 | -0.10547 | 2.1478
45 | -0.00089826 | -0.00022512 | 0.00089829 | 0.00022483 | 2.7251e-08 | -2.9252e-07 | 0.0013558 | 0.0013556 | 0.0013558 | 0.98589 | -0.098658 | 0.98592 | -0.098439 | 0.50213
46 | -0.0013177 | -0.00032995 | 0.0013177 | 0.00032984 | 2.2847e-08 | -1.0928e-07 | 0.0019887 | 0.0019886 | 0.0019887 | 0.98592 | -0.098439 | 0.98594 | -0.098313 | 0.73654
47 | -0.0029117 | -0.00072933 | 0.0029119 | 0.00072919 | 1.9973e-07 | -1.3459e-07 | 0.0043943 | 0.0043942 | 0.0043943 | 0.98594 | -0.098313 | 0.98601 | -0.097817 | 1.6275
48 | -0.003624 | -0.00090765 | 0.0036241 | 0.00090763 | 9.1039e-08 | -2.7206e-08 | 0.0054688 | 0.0054688 | 0.0054688 | 0.98601 | -0.097817 | 0.98603 | -0.097636 | 2.0255
49 | 0.0017067 | 0.00042757 | -0.0017067 | -0.00042773 | 5.9295e-08 | -1.5909e-07 | 0.0025784 | 0.0025785 | 0.0025785 | 0.98494 | -0.10547 | 0.9849 | -0.10572 | 0.95499
50 | 0.0021323 | 0.00053226 | -0.0021322 | -0.0005324 | 8.5525e-08 | -1.3526e-07 | 0.0032207 | 0.0032208 | 0.0032208 | 0.98494 | -0.10547 | 0.9849 | -0.10576 | 1.1929
51 | 0.0021322 | 0.0005324 | -0.0021314 | -0.00053374 | 8.5117e-07 | -1.3451e-06 | 0.0032208 | 0.0032213 | 0.0032213 | 0.9849 | -0.10576 | 0.98449 | -0.10866 | 1.1931
52 | 0.0021314 | 0.00053374 | -0.0021313 | -0.00053384 | 6.1373e-08 | -9.6907e-08 | 0.0032213 | 0.0032214 | 0.0032214 | 0.98449 | -0.10866 | 0.98446 | -0.10887 | 1.1931
53 | 0.0018049 | 0.00045203 | -0.0018048 | -0.00045232 | 1.2262e-07 | -2.8853e-07 | 0.002728 | 0.0027281 | 0.0027281 | 0.98446 | -0.10887 | 0.98439 | -0.10936 | 1.0104
54 | 0.0028504 | 0.00071315 | -0.0028504 | -0.00071317 | 1.525e-08 | -1.1381e-08 | 0.0042762 | 0.0042762 | 0.0042762 | 0.99178 | -0.057326 | 0.99178 | -0.057365 | 1.5838
55 | -0.0040833 | -0.0010221 | 0.004084 | 0.001022 | 7.1736e-07 | -1.195e-07 | 0.0061259 | 0.0061257 | 0.0061259 | 0.99178 | -0.057326 | 0.99196 | -0.056054 | 2.2688
56 | 0.0025743 | 0.00064396 | -0.0025741 | -0.00064414 | 1.809e-07 | -1.8124e-07 | 0.0038619 | 0.003862 | 0.003862 | 0.99178 | -0.057365 | 0.99171 | -0.057875 | 1.4304
57 | -0.0042866 | -0.0010728 | 0.0042875 | 0.0010727 | 9.2739e-07 | -1.0752e-07 | 0.0064297 | 0.0064295 | 0.0064297 | 0.99196 | -0.056054 | 0.99218 | -0.054487 | 2.3814
58 | 0.0022823 | 0.000571 | -0.0022823 | -0.00057103 | 2.1895e-08 | -3.0192e-08 | 0.0034241 | 0.0034241 | 0.0034241 | 0.99171 | -0.057875 | 0.9917 | -0.057944 | 1.2682
59 | -0.0062109 | -0.0015547 | 0.0062109 | 0.0015547 | 6.9967e-09 | 1.0216e-09 | 0.0093141 | 0.0093141 | 0.0093141 | 0.99218 | -0.054487 | 0.99219 | -0.054478 | 3.4497
60 | -0.0078044 | -0.0019541 | 0.0078061 | 0.0019545 | 1.6979e-06 | 3.9643e-07 | 0.011704 | 0.011704 | 0.011704 | 0.99219 | -0.054478 | 0.99241 | -0.052904 | 4.3348
61 | -0.0094032 | -0.0023548 | 0.0094055 | 0.0023554 | 2.3013e-06 | 6.4533e-07 | 0.014099 | 0.014098 | 0.014099 | 0.99241 | -0.052904 | 0.99266 | -0.051134 | 5.2217
62 | 0.011353 | 0.0028436 | -0.011351 | -0.002843 | 2.0446e-06 | 6.4005e-07 | 0.017015 | 0.017015 | 0.017015 | 0.99284 | -0.049831 | 0.99266 | -0.051134 | 6.3017

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1037 | 0.026001

## res_load
| p_mw | q_mvar
0 | 0.00044195 | 0.00011076
1 | 0.00037424 | 9.3795e-05
2 | 0.0013899 | 0.00034833
3 | 0.0015904 | 0.00039858
4 | 0.00043394 | 0.00010875
5 | 0.001879 | 0.00047091
6 | 0.0014997 | 0.00037585
7 | 0.00077104 | 0.00019324
8 | 0.00041622 | 0.00010431
9 | 0.00041311 | 0.00010353
10 | 0.00079929 | 0.00020032
11 | 0.00073116 | 0.00018325
12 | 0.0016091 | 0.00040327
13 | 0.0016629 | 0.00041676
14 | 0.0012102 | 0.00030329
15 | 0.0013343 | 0.00033441
16 | 0.002586 | 0.00064811
17 | 0.0021368 | 0.00053553
18 | 0.0020283 | 0.00050834
19 | 0.0017967 | 0.0004503
20 | 0.0015481 | 0.00038798
21 | 0.00057964 | 0.00014527
22 | 0.00085928 | 0.00021536
23 | 0.0012793 | 0.00032063
24 | 0.0012253 | 0.00030709
25 | 0.044646 | 0.011189
26 | 0.0054052 | 0.0013547
27 | 0.00089826 | 0.00022512
28 | 0.00041942 | 0.00010512
29 | 0.001594 | 0.00039949
30 | 0.00071208 | 0.00017846
31 | 0.00065698 | 0.00016466
32 | 0.0017067 | 0.00042773
33 | 0.00032641 | 8.1806e-05
34 | 0.0012328 | 0.00030898
35 | 0.00027615 | 6.9209e-05
36 | 0.00020259 | 5.0775e-05
37 | 0.00029182 | 7.3136e-05
38 | 0.0019234 | 0.00048205
39 | 0.00075043 | 0.00018808
40 | 0.0015935 | 0.00039937
41 | 0.0015971 | 0.00040028
42 | 0.0018048 | 0.00045232
43 | 0.00080051 | 0.00020063
44 | 0.0015994 | 0.00040084
45 | 0.0019454 | 0.00048756

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1