## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1010-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1010-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1010-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1010-2_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1010-2_0_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_1010-2_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1010-2_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1010-2_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1010-2_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1010-2_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1010-2_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1010-2_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1010-2_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1010-2_0_3_node_269 | 0.4 | n |  | TRUE
14 | bus_LV_1010-2_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1010-2_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1010-2_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1010-2_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1010-2_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1010-2_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1010-2_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1010-2_0_3_node_271 | 0.4 | n |  | TRUE
22 | bus_LV_1010-2_0_3_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_1010-2_0_3_node_272 | 0.4 | n |  | TRUE
24 | bus_LV_1010-2_0_3_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_1010-2_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1010-2_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_1010-2_0_3_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1010-2_0_3_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_1010-2_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1010-2_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1010-2_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1010-2_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1010-2_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1010-2_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1010-2_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1010-2_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1010-2_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1010-2_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_1010-2_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_1010-2_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1010-2_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_1010-2_0_3_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_1010-2_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_1010-2_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1010-2_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1010-2_0_3_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_1010-2_0_3_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_1010-2_0_3_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_1010-2_0_3_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_1010-2_0_3_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_1010-2_0_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_1010-2_0_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_1010-2_0_3_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_1010-2_0_3_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_1010-2_0_3_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_1010-2_0_3_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_1010-2_0_3_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_1010-2_0_3_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_1010-2_0_3_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_1010-2_0_3_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_1010-2_0_3_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_1010-2_0_3_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_1010-2_0_3_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_1010-2_0_3_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_1010-2_0_3_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_1010-2_0_3_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_1010-2_0_3_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_1010-2_0_3_node_77 | 0.4 | n |  | TRUE
69 | bus_MV_126_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1010-2_0_3_load_0 | 0 | 0.0080584 | 0.0020196 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1010-2_0_3_load_16 | 5 | 0.0097418 | 0.0024415 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1010-2_0_3_load_8 | 9 | 0.0025428 | 0.00063728 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1010-2_0_3_load_9 | 11 | 0.017315 | 0.0043396 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1010-2_0_3_load_269 | 13 | 0.014501 | 0.0036342 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1010-2_0_3_load_13 | 14 | 0.0035002 | 0.00087724 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1010-2_0_3_load_12 | 16 | 0.0024339 | 0.00060999 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1010-2_0_3_load_28 | 17 | 0.0089902 | 0.0022532 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1010-2_0_3_load_25 | 18 | 0.01169 | 0.0029298 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1010-2_0_3_load_15 | 19 | 0.0092145 | 0.0023094 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1010-2_0_3_load_18 | 20 | 0.0055698 | 0.0013959 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1010-2_0_3_load_271 | 21 | 0.0051921 | 0.0013013 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1010-2_0_3_load_272 | 23 | 0.00042383 | 0.00010622 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1010-2_0_3_load_26 | 25 | 0.0055659 | 0.001395 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1010-2_0_3_load_27 | 26 | 0.0032077 | 0.00080393 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1010-2_0_3_load_33 | 28 | 0.0088573 | 0.0022198 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1010-2_0_3_load_29 | 29 | 0.019866 | 0.0049788 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1010-2_0_3_load_30 | 30 | 9.8908e-05 | 2.4789e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1010-2_0_3_load_32 | 32 | 6.7206e-05 | 1.6843e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1010-2_0_3_load_34 | 33 | 0.00098454 | 0.00024675 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1010-2_0_3_load_36 | 34 | 0.00086542 | 0.0002169 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1010-2_0_3_load_35 | 35 | 0.00032084 | 8.041e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1010-2_0_3_load_37 | 36 | 0.00014533 | 3.6424e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1010-2_0_3_load_43 | 39 | 0.00018692 | 4.6847e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1010-2_0_3_load_45 | 41 | 0.00042202 | 0.00010577 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1010-2_0_3_load_71 | 42 | 0.00017297 | 4.335e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1010-2_0_3_load_46 | 43 | 0.00037011 | 9.276e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1010-2_0_3_load_47 | 44 | 6.2052e-05 | 1.5552e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1010-2_0_3_load_56 | 46 | 8.3955e-05 | 2.1041e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1010-2_0_3_load_57 | 47 | 0.00057897 | 0.0001451 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1010-2_0_3_load_52 | 48 | 0.00024691 | 6.1882e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1010-2_0_3_load_53 | 49 | 6.8722e-05 | 1.7223e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1010-2_0_3_load_54 | 50 | 5.8264e-05 | 1.4602e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1010-2_0_3_load_63 | 51 | 0.000146 | 3.659e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1010-2_0_3_load_58 | 52 | 0.00013774 | 3.4522e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1010-2_0_3_load_59 | 53 | 0.00031153 | 7.8077e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1010-2_0_3_load_61 | 55 | 8.4796e-05 | 2.1252e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1010-2_0_3_load_72 | 57 | 0.00019281 | 4.8322e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1010-2_0_3_load_81 | 58 | 0.00035144 | 8.808e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1010-2_0_3_load_68 | 59 | 0.00015606 | 3.9113e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1010-2_0_3_load_73 | 62 | 0.00017746 | 4.4474e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1010-2_0_3_load_74 | 63 | 8.8584e-05 | 2.2201e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1010-2_0_3_load_75 | 64 | 0.00023201 | 5.8148e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1010-2_0_3_load_77 | 68 | 0.00035156 | 8.8108e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1010-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1010-2_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.00661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1010-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.058154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1010-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1010-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.021411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1010-2_0_3_line_5 | NAYY 4x150 SE | 3 | 14 | 0.020702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1010-2_0_3_line_6 | NAYY 4x150 SE | 3 | 12 | 0.036499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1010-2_0_3_line_7 | NAYY 4x150 SE | 4 | 20 | 0.039505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1010-2_0_3_line_8 | NAYY 4x150 SE | 5 | 19 | 0.020778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1010-2_0_3_line_9 | NAYY 4x150 SE | 6 | 7 | 0.003653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1010-2_0_3_line_10 | NAYY 4x150 SE | 6 | 8 | 0.02286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1010-2_0_3_line_11 | NAYY 4x150 SE | 6 | 9 | 0.013143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1010-2_0_3_line_12 | NAYY 4x150 SE | 7 | 14 | 0.019842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1010-2_0_3_line_13 | NAYY 4x150 SE | 8 | 10 | 0.018134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1010-2_0_3_line_14 | NAYY 4x150 SE | 8 | 11 | 0.027306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1010-2_0_3_line_15 | NAYY 4x150 SE | 10 | 15 | 0.046443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1010-2_0_3_line_16 | NAYY 4x150 SE | 10 | 16 | 0.02516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1010-2_0_3_line_17 | NAYY 4x150 SE | 12 | 13 | 0.020533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1010-2_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1010-2_0_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.05428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1010-2_0_3_line_20 | NAYY 4x150 SE | 17 | 28 | 0.019074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1010-2_0_3_line_21 | NAYY 4x150 SE | 18 | 25 | 0.023369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1010-2_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.11779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1010-2_0_3_line_23 | NAYY 4x150 SE | 22 | 27 | 0.037917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1010-2_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.14723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1010-2_0_3_line_25 | NAYY 4x150 SE | 24 | 45 | 0.28934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1010-2_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0054399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1010-2_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.15606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1010-2_0_3_line_28 | NAYY 4x150 SE | 28 | 31 | 0.049366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1010-2_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.066211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1010-2_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.022786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1010-2_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.021647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1010-2_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.086243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1010-2_0_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.014419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1010-2_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.041865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1010-2_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.11784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1010-2_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.010643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1010-2_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.022665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1010-2_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.011235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1010-2_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.31088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1010-2_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.093745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1010-2_0_3_line_41 | NAYY 4x150 SE | 41 | 42 | 0.02775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1010-2_0_3_line_42 | NAYY 4x150 SE | 42 | 60 | 0.020353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1010-2_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.16629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1010-2_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.028543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1010-2_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.044877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1010-2_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.026161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1010-2_0_3_line_47 | NAYY 4x150 SE | 46 | 50 | 0.1485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1010-2_0_3_line_48 | NAYY 4x150 SE | 47 | 51 | 0.02997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1010-2_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.054426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1010-2_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.02315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1010-2_0_3_line_51 | NAYY 4x150 SE | 51 | 54 | 0.035348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1010-2_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.028338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1010-2_0_3_line_53 | NAYY 4x150 SE | 52 | 54 | 0.0066707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1010-2_0_3_line_54 | NAYY 4x150 SE | 53 | 55 | 0.011992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1010-2_0_3_line_55 | NAYY 4x150 SE | 54 | 56 | 0.081947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1010-2_0_3_line_56 | NAYY 4x150 SE | 55 | 57 | 0.1568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1010-2_0_3_line_57 | NAYY 4x150 SE | 56 | 58 | 0.016247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1010-2_0_3_line_58 | NAYY 4x150 SE | 57 | 60 | 0.021664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1010-2_0_3_line_59 | NAYY 4x150 SE | 58 | 67 | 0.017994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1010-2_0_3_line_60 | NAYY 4x150 SE | 59 | 60 | 0.03004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1010-2_0_3_line_61 | NAYY 4x150 SE | 59 | 61 | 0.090192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1010-2_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.16024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1010-2_0_3_line_63 | NAYY 4x150 SE | 63 | 64 | 0.01101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1010-2_0_3_line_64 | NAYY 4x150 SE | 64 | 65 | 0.038465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1010-2_0_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.034569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1010-2_0_3_line_66 | NAYY 4x150 SE | 65 | 67 | 0.022555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1010-2_0_3_line_67 | NAYY 4x150 SE | 66 | 68 | 0.014577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1010-2_0_3_trafo_25 | 0.25 MVA 20/0.4 kV | 69 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2637897.5572 | 1196114.3905 | 2637910.3523 | 1196114.163
1 | 2637897.5572 | 1196114.3905 | 2637897.7668 | 1196120.9955
2 | 2637865.6927 | 1196070.8872 | 2637870.8219 | 1196072.9319 | 2637875.6298 | 1196075.1746 | 2637879.3542 | 1196077.7107 | 2637882.7719 | 1196080.545 | 2637886.1871 | 1196083.7795 | 2637889.3177 | 1196087.4458 | 2637891.2501 | 1196090.2596 | 2637892.7551 | 1196093.1818 | 2637897.1124 | 1196102.8258 | 2637897.5572 | 1196114.3905
3 | 2637898.468 | 1196143.7791 | 2637898.3348 | 1196139.5649 | 2637897.7668 | 1196120.9955
4 | 2637897.7668 | 1196120.9955 | 2637879.4989 | 1196123.4479 | 2637876.5809 | 1196124.0489
5 | 2637865.6927 | 1196070.8872 | 2637868.5097 | 1196065.1352 | 2637869.9457 | 1196063.3211 | 2637872.4134 | 1196061.0021 | 2637877.44 | 1196057.5875 | 2637879.6208 | 1196056.3247
6 | 2637854.0847 | 1196089.8909 | 2637851.9939 | 1196084.4191 | 2637848.8026 | 1196080.7192 | 2637854.025 | 1196068.0118 | 2637865.6927 | 1196070.8872
7 | 2637898.468 | 1196143.7791 | 2637859.0501 | 1196146.4051
8 | 2637856.7985 | 1196130.2578 | 2637870.5438 | 1196125.2923 | 2637876.5809 | 1196124.0489
9 | 2637896.7919 | 1196046.3816 | 2637900.1004 | 1196044.8128
10 | 2637900.1004 | 1196044.8128 | 2637904.5627 | 1196042.6954 | 2637915.5751 | 1196038.385 | 2637921.399 | 1196036.5876
11 | 2637900.1004 | 1196044.8128 | 2637898.945 | 1196035.9895 | 2637898.7033 | 1196031.7518
12 | 2637896.7919 | 1196046.3816 | 2637879.6208 | 1196056.3247
13 | 2637921.399 | 1196036.5876 | 2637923.0324 | 1196036.0865 | 2637926.137 | 1196035.4392 | 2637928.1195 | 1196035.1516 | 2637932.8458 | 1196034.6479 | 2637935.5392 | 1196033.9868 | 2637937.7385 | 1196035.5461 | 2637938.6573 | 1196036.0077
14 | 2637921.399 | 1196036.5876 | 2637921.9409 | 1196009.2868
15 | 2637938.6573 | 1196036.0077 | 2637937.7385 | 1196035.5461 | 2637935.5392 | 1196033.9868 | 2637939.9172 | 1196033.1474 | 2637977.8774 | 1196028.3633
16 | 2637938.6573 | 1196036.0077 | 2637939.5154 | 1196036.4467 | 2637941.271 | 1196037.1026 | 2637962.9631 | 1196042.3668
17 | 2637854.0847 | 1196089.8909 | 2637861.4289 | 1196109.0701
18 | 2637977.8774 | 1196028.3633 | 2638070.0166 | 1196018.1858
19 | 2637977.8774 | 1196028.3633 | 2637999.285 | 1196046.1867 | 2638021.0726 | 1196061.1366
20 | 2638088.9757 | 1196016.0916 | 2638070.0166 | 1196018.1858
21 | 2638021.0726 | 1196061.1366 | 2638033.9706 | 1196069.9867 | 2638039.5357 | 1196075.3472 | 2638039.5357 | 1196075.3472
22 | 2638174.7486 | 1196174.0511 | 2638180.3893 | 1196184.2371 | 2638188.4485 | 1196201.0088 | 2638188.4826 | 1196208.7911 | 2638185.3742 | 1196214.8191 | 2638175.2393 | 1196221.3136 | 2638163.9874 | 1196223.7765 | 2638160.8134 | 1196225.7685 | 2638148.4568 | 1196236.6291 | 2638137.7763 | 1196245.0545 | 2638125.3131 | 1196254.7249
23 | 2638110.1158 | 1196220.0424 | 2638119.9591 | 1196244.9744 | 2638125.3131 | 1196254.7249
24 | 2639206.9239 | 1196353.9098 | 2639109.9594 | 1196372.6192 | 2639100.2352 | 1196377.9253 | 2639096.9424 | 1196387.5647 | 2639099.5225 | 1196404.224 | 2639106.4701 | 1196412.3183
25 | 2639194.6104 | 1196064.8919 | 2639206.9239 | 1196353.9098
26 | 2638042.424 | 1196079.957 | 2638039.5357 | 1196075.3472
27 | 2638110.1158 | 1196220.0424 | 2638105.6029 | 1196207.3845 | 2638101.7918 | 1196198.1774 | 2638098.053 | 1196190.7606 | 2638089.6623 | 1196178.1447 | 2638079.8169 | 1196163.096 | 2638075.0781 | 1196154.7947 | 2638064.3564 | 1196128.99 | 2638042.424 | 1196079.957
28 | 2638138.0437 | 1196010.6716 | 2638088.9757 | 1196016.0916
29 | 2638159.1831 | 1196019.1751 | 2638180.5041 | 1196027.7517 | 2638186.959 | 1196030.939 | 2638191.4983 | 1196033.4916 | 2638195.6862 | 1196036.1865 | 2638200.4712 | 1196039.6189 | 2638207.4255 | 1196045.7333 | 2638214.8148 | 1196053.4637
30 | 2638138.0437 | 1196010.6716 | 2638159.1831 | 1196019.1751
31 | 2638214.8148 | 1196053.4637 | 2638229.7728 | 1196069.112
32 | 2638138.0437 | 1196010.6716 | 2638216.8237 | 1196001.9692 | 2638223.7667 | 1196001.2107
33 | 2638238.1003 | 1195999.6448 | 2638223.7667 | 1196001.2107
34 | 2638279.718 | 1195995.0981 | 2638238.1003 | 1195999.6448
35 | 2638279.718 | 1195995.0981 | 2638396.8659 | 1195982.3
36 | 2638407.4457 | 1195981.1442 | 2638396.8659 | 1195982.3
37 | 2638430.0414 | 1195978.6767 | 2638407.4457 | 1195981.1442
38 | 2638430.0414 | 1195978.6767 | 2638441.21 | 1195977.4568
39 | 2638749.3334 | 1195963.8488 | 2638695.409 | 1195951.4598 | 2638536.5385 | 1195966.1432 | 2638490.8074 | 1195972.0412 | 2638453.6891 | 1195976.0938 | 2638441.21 | 1195977.4568
40 | 2638749.3334 | 1195963.8488 | 2638817.5048 | 1195979.5212 | 2638840.605 | 1195985.2299
41 | 2638840.605 | 1195985.2299 | 2638861.6719 | 1195990.436 | 2638867.3979 | 1195992.386
42 | 2638886.6647 | 1195998.9474 | 2638867.3979 | 1195992.386
43 | 2639357.422 | 1196165.1016 | 2639341.8149 | 1196152.4836 | 2639290.1676 | 1196105.8409 | 2639282.071 | 1196099.8511 | 2639268.1505 | 1196090.966 | 2639260.0665 | 1196086.5327 | 2639243.9537 | 1196078.5338 | 2639230.8715 | 1196073.0672 | 2639222.5204 | 1196070.7751
44 | 2639194.6104 | 1196064.8919 | 2639214.9786 | 1196068.7052 | 2639222.5204 | 1196070.7751
45 | 2639194.6104 | 1196064.8919 | 2639204.3826 | 1196021.0919
46 | 2639194.6104 | 1196064.8919 | 2639168.9753 | 1196059.6726
47 | 2639247.7903 | 1195881.9708 | 2639241.1653 | 1195889.2333 | 2639233.9931 | 1195895.5676 | 2639230.5333 | 1195903.8828 | 2639204.3826 | 1196021.0919
48 | 2639168.9753 | 1196059.6726 | 2639139.6076 | 1196053.6933
49 | 2639260.3391 | 1195862.6999 | 2639260.3391 | 1195862.6999 | 2639264.0519 | 1195847.1824 | 2639268.2317 | 1195824.3639 | 2639275.0312 | 1195810.6892
50 | 2639260.3391 | 1195862.6999 | 2639253.0206 | 1195876.2372 | 2639247.7903 | 1195881.9708
51 | 2639104.9752 | 1196046.6179 | 2639115.3518 | 1196048.8091 | 2639122.397 | 1196050.1892 | 2639139.6076 | 1196053.6933
52 | 2639098.3062 | 1196046.4659 | 2639069.9758 | 1196045.8203
53 | 2639104.9752 | 1196046.6179 | 2639098.3062 | 1196046.4659
54 | 2639057.9867 | 1196045.547 | 2639069.9758 | 1196045.8203
55 | 2639104.9752 | 1196046.6179 | 2639135.6702 | 1195977.5582 | 2639137.5461 | 1195971.4448
56 | 2638906.8201 | 1196006.8888 | 2638962.3764 | 1196028.7783 | 2639056.4255 | 1196045.5115 | 2639057.9867 | 1196045.547
57 | 2639137.5461 | 1195971.4448 | 2639121.4817 | 1195969.0189
58 | 2638886.6647 | 1195998.9474 | 2638906.8201 | 1196006.8888
59 | 2639105.5741 | 1195961.9751 | 2639109.2032 | 1195963.8665 | 2639111.5318 | 1195966.5721 | 2639114.6917 | 1195967.9936 | 2639121.4817 | 1195969.0189
60 | 2638886.6647 | 1195998.9474 | 2638880.1792 | 1196028.2788
61 | 2638855.5305 | 1196114.987 | 2638869.0769 | 1196072.4849 | 2638878.4393 | 1196036.1478 | 2638880.1792 | 1196028.2788
62 | 2638855.5305 | 1196114.987 | 2638854.9234 | 1196122.843 | 2638856.9372 | 1196131.8165 | 2638915.2079 | 1196251.0163 | 2638922.3485 | 1196258.7781
63 | 2639092.3865 | 1195914.2738 | 2639090.9367 | 1195921.6351 | 2639089.7412 | 1195924.9328
64 | 2639110.8245 | 1195940.7533 | 2639105.3613 | 1195940.9177 | 2639100.2003 | 1195940.2947 | 2639085.4363 | 1195936.8075 | 2639089.7412 | 1195924.9328
65 | 2639144.7994 | 1195936.384 | 2639135.5568 | 1195935.4898 | 2639128.2772 | 1195936.1537 | 2639121.4577 | 1195937.5098 | 2639113.1147 | 1195940.0234 | 2639110.8245 | 1195940.7533
66 | 2639105.5741 | 1195961.9751 | 2639109.2544 | 1195956.0292 | 2639110.8192 | 1195949.7249 | 2639111.4455 | 1195943.6478 | 2639110.8245 | 1195940.7533
67 | 2639144.7994 | 1195936.384 | 2639147.0459 | 1195921.9815

## bus_geodata
| x | y | coords
0 | 2637910.3523 | 1196114.163
1 | 2637897.5572 | 1196114.3905
2 | 2637897.7668 | 1196120.9955
3 | 2637865.6927 | 1196070.8872
4 | 2637898.468 | 1196143.7791
5 | 2637876.5809 | 1196124.0489
6 | 2637900.1004 | 1196044.8128
7 | 2637896.7919 | 1196046.3816
8 | 2637921.399 | 1196036.5876
9 | 2637898.7033 | 1196031.7518
10 | 2637938.6573 | 1196036.0077
11 | 2637921.9409 | 1196009.2868
12 | 2637854.0847 | 1196089.8909
13 | 2637861.4289 | 1196109.0701
14 | 2637879.6208 | 1196056.3247
15 | 2637977.8774 | 1196028.3633
16 | 2637962.9631 | 1196042.3668
17 | 2638070.0166 | 1196018.1858
18 | 2638021.0726 | 1196061.1366
19 | 2637856.7985 | 1196130.2578
20 | 2637859.0501 | 1196146.4051
21 | 2638174.7486 | 1196174.0511
22 | 2638125.3131 | 1196254.7249
23 | 2639106.4701 | 1196412.3183
24 | 2639206.9239 | 1196353.9098
25 | 2638039.5357 | 1196075.3472
26 | 2638042.424 | 1196079.957
27 | 2638110.1158 | 1196220.0424
28 | 2638088.9757 | 1196016.0916
29 | 2638159.1831 | 1196019.1751
30 | 2638214.8148 | 1196053.4637
31 | 2638138.0437 | 1196010.6716
32 | 2638229.7728 | 1196069.112
33 | 2638223.7667 | 1196001.2107
34 | 2638238.1003 | 1195999.6448
35 | 2638279.718 | 1195995.0981
36 | 2638396.8659 | 1195982.3
37 | 2638407.4457 | 1195981.1442
38 | 2638430.0414 | 1195978.6767
39 | 2638441.21 | 1195977.4568
40 | 2638749.3334 | 1195963.8488
41 | 2638840.605 | 1195985.2299
42 | 2638867.3979 | 1195992.386
43 | 2639357.422 | 1196165.1016
44 | 2639222.5204 | 1196070.7751
45 | 2639194.6104 | 1196064.8919
46 | 2639204.3826 | 1196021.0919
47 | 2639168.9753 | 1196059.6726
48 | 2639275.0312 | 1195810.6892
49 | 2639260.3391 | 1195862.6999
50 | 2639247.7903 | 1195881.9708
51 | 2639139.6076 | 1196053.6933
52 | 2639098.3063 | 1196046.4659
53 | 2639069.9758 | 1196045.8203
54 | 2639104.9752 | 1196046.6179
55 | 2639057.9867 | 1196045.547
56 | 2639137.5461 | 1195971.4448
57 | 2638906.8201 | 1196006.8888
58 | 2639121.4817 | 1195969.0189
59 | 2638880.1792 | 1196028.2788
60 | 2638886.6647 | 1195998.9474
61 | 2638855.5305 | 1196114.987
62 | 2638922.3485 | 1196258.7781
63 | 2639092.3865 | 1195914.2738
64 | 2639089.7412 | 1195924.9328
65 | 2639110.8245 | 1195940.7533
66 | 2639144.7994 | 1195936.384
67 | 2639105.5741 | 1195961.9751
68 | 2639147.0459 | 1195921.9815
69 | 2637977.8774 | 1196028.3633

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98079 | -0.13486 | 0.0080584 | 0.0020196
1 | 0.98094 | -0.13379 | 0 | 0
2 | 0.98071 | -0.13547 | 0 | 0
3 | 0.9837 | -0.11418 | 0 | 0
4 | 0.98052 | -0.13679 | 0 | 0
5 | 0.98012 | -0.13968 | 0.0097418 | 0.0024415
6 | 0.98684 | -0.091928 | 0 | 0
7 | 0.98657 | -0.093823 | 0 | 0
8 | 0.9886 | -0.079497 | 0 | 0
9 | 0.98679 | -0.09227 | 0.0025428 | 0.00063728
10 | 0.99046 | -0.06647 | 0 | 0
11 | 0.98792 | -0.084329 | 0.017315 | 0.0043396
12 | 0.98293 | -0.11964 | 0 | 0
13 | 0.9825 | -0.12272 | 0.014501 | 0.0036342
14 | 0.98511 | -0.10414 | 0.0035002 | 0.00087724
15 | 0.99536 | -0.032188 | 0 | 0
16 | 0.99037 | -0.067094 | 0.0024339 | 0.00060999
17 | 0.98932 | -0.074801 | 0.0089902 | 0.0022532
18 | 1 | 0 | -0.13457 | -0.033724
19 | 0.97984 | -0.14167 | 0.0092145 | 0.0023094
20 | 0.9802 | -0.13907 | 0.0055698 | 0.0013959
21 | 0.99716 | -0.019982 | 0.0051921 | 0.0013013
22 | 0.99803 | -0.013842 | 0 | 0
23 | 0.97911 | -0.14959 | 0.00042383 | 0.00010622
24 | 0.9792 | -0.14893 | 0 | 0
25 | 0.99953 | -0.0032663 | 0.0055659 | 0.001395
26 | 0.99947 | -0.0037244 | 0.0032077 | 0.00080393
27 | 0.99831 | -0.011865 | 0 | 0
28 | 0.98833 | -0.08188 | 0.0088573 | 0.0022198
29 | 0.98572 | -0.10047 | 0.019866 | 0.0049788
30 | 0.9857 | -0.10058 | 9.8908e-05 | 2.4789e-05
31 | 0.98638 | -0.095779 | 0 | 0
32 | 0.9857 | -0.1006 | 6.7206e-05 | 1.6843e-05
33 | 0.98548 | -0.10238 | 0.00098454 | 0.00024675
34 | 0.98535 | -0.10334 | 0.00086542 | 0.0002169
35 | 0.98502 | -0.10574 | 0.00032084 | 8.041e-05
36 | 0.98416 | -0.11213 | 0.00014533 | 3.6424e-05
37 | 0.98408 | -0.11269 | 0 | 0
38 | 0.98392 | -0.11389 | 0 | 0
39 | 0.98384 | -0.11448 | 0.00018692 | 4.6847e-05
40 | 0.98171 | -0.13025 | 0 | 0
41 | 0.98107 | -0.135 | 0.00042202 | 0.00010577
42 | 0.98089 | -0.13628 | 0.00017297 | 4.335e-05
43 | 0.97927 | -0.14836 | 0.00037011 | 9.276e-05
44 | 0.97936 | -0.1477 | 6.2052e-05 | 1.5552e-05
45 | 0.97937 | -0.14757 | 0 | 0
46 | 0.97934 | -0.14779 | 8.3955e-05 | 2.1041e-05
47 | 0.97942 | -0.14719 | 0.00057897 | 0.0001451
48 | 0.97923 | -0.14861 | 0.00024691 | 6.1882e-05
49 | 0.97925 | -0.14847 | 6.8722e-05 | 1.7223e-05
50 | 0.97926 | -0.14839 | 5.8264e-05 | 1.4602e-05
51 | 0.97951 | -0.14657 | 0.000146 | 3.659e-05
52 | 0.97964 | -0.14557 | 0.00013774 | 3.4522e-05
53 | 0.97977 | -0.14459 | 0.00031153 | 7.8077e-05
54 | 0.97961 | -0.14579 | 0 | 0
55 | 0.97983 | -0.14414 | 8.4796e-05 | 2.1252e-05
56 | 0.97949 | -0.14668 | 0 | 0
57 | 0.98065 | -0.13807 | 0.00019281 | 4.8322e-05
58 | 0.97947 | -0.14685 | 0.00035144 | 8.808e-05
59 | 0.98076 | -0.1373 | 0.00015606 | 3.9113e-05
60 | 0.98077 | -0.13719 | 0 | 0
61 | 0.98074 | -0.13748 | 0 | 0
62 | 0.98069 | -0.13779 | 0.00017746 | 4.4474e-05
63 | 0.97941 | -0.14728 | 8.8584e-05 | 2.2201e-05
64 | 0.97941 | -0.14727 | 0.00023201 | 5.8148e-05
65 | 0.97943 | -0.14714 | 0 | 0
66 | 0.97941 | -0.14727 | 0 | 0
67 | 0.97945 | -0.14698 | 0 | 0
68 | 0.9794 | -0.14732 | 0.00035156 | 8.8108e-05
69 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0080584 | -0.0020196 | 0.0080596 | 0.0020199 | 1.1936e-06 | 2.9754e-07 | 0.012226 | 0.012226 | 0.012226 | 0.98079 | -0.13486 | 0.98094 | -0.13379 | 4.5281
1 | 0.024548 | 0.0061539 | -0.024542 | -0.0061518 | 5.7196e-06 | 2.1164e-06 | 0.037238 | 0.037238 | 0.037238 | 0.98094 | -0.13379 | 0.98071 | -0.13547 | 13.792
2 | -0.032608 | -0.0081738 | 0.032697 | 0.0082073 | 8.8786e-05 | 3.3412e-05 | 0.049464 | 0.049464 | 0.049464 | 0.98094 | -0.13379 | 0.9837 | -0.11418 | 18.32
3 | 0.0055725 | 0.0013962 | -0.0055715 | -0.0013961 | 1.017e-06 | 1.0354e-07 | 0.008455 | 0.0084551 | 0.0084551 | 0.98071 | -0.13547 | 0.98052 | -0.13679 | 3.1315
4 | 0.01897 | 0.0047556 | -0.018959 | -0.0047516 | 1.1069e-05 | 3.9873e-06 | 0.028783 | 0.028783 | 0.028783 | 0.98071 | -0.13547 | 0.98012 | -0.13968 | 10.6605
5 | -0.047214 | -0.011847 | 0.04728 | 0.011872 | 6.5901e-05 | 2.5083e-05 | 0.071425 | 0.071425 | 0.071425 | 0.9837 | -0.11418 | 0.98511 | -0.10414 | 26.4538
6 | 0.014518 | 0.0036401 | -0.014507 | -0.0036363 | 1.0985e-05 | 3.7619e-06 | 0.021961 | 0.021962 | 0.021962 | 0.9837 | -0.11418 | 0.98293 | -0.11964 | 8.1339
7 | 0.0055715 | 0.0013961 | -0.0055698 | -0.0013959 | 1.7623e-06 | 1.7969e-07 | 0.0084551 | 0.0084553 | 0.0084553 | 0.98052 | -0.13679 | 0.9802 | -0.13907 | 3.1316
8 | 0.009217 | 0.0023101 | -0.0092145 | -0.0023094 | 2.5389e-06 | 7.1471e-07 | 0.013993 | 0.013993 | 0.013993 | 0.98012 | -0.13968 | 0.97984 | -0.14167 | 5.1828
9 | 0.050867 | 0.012783 | -0.050853 | -0.012777 | 1.3414e-05 | 5.1126e-06 | 0.076712 | 0.076712 | 0.076712 | 0.98684 | -0.091928 | 0.98657 | -0.093823 | 28.4119
10 | -0.05341 | -0.01342 | 0.053502 | 0.013455 | 9.2545e-05 | 3.5302e-05 | 0.080546 | 0.080546 | 0.080546 | 0.98684 | -0.091928 | 0.9886 | -0.079497 | 29.832
11 | 0.0025429 | 0.00063716 | -0.0025428 | -0.00063728 | 1.2057e-07 | -1.2154e-07 | 0.0038343 | 0.0038343 | 0.0038343 | 0.98684 | -0.091928 | 0.98679 | -0.09227 | 1.4201
12 | 0.050853 | 0.012777 | -0.050781 | -0.01275 | 7.2862e-05 | 2.7771e-05 | 0.076712 | 0.076712 | 0.076712 | 0.98657 | -0.093823 | 0.98511 | -0.10414 | 28.412
13 | -0.070829 | -0.017799 | 0.070958 | 0.017848 | 0.00012865 | 4.9247e-05 | 0.10663 | 0.10663 | 0.10663 | 0.9886 | -0.079497 | 0.99046 | -0.06647 | 39.4912
14 | 0.017327 | 0.0043437 | -0.017315 | -0.0043396 | 1.1589e-05 | 4.1076e-06 | 0.02608 | 0.02608 | 0.02608 | 0.9886 | -0.079497 | 0.98792 | -0.084329 | 9.6593
15 | -0.073392 | -0.018458 | 0.073744 | 0.018593 | 0.00035247 | 0.00013496 | 0.11028 | 0.11028 | 0.11028 | 0.99046 | -0.06647 | 0.99536 | -0.032188 | 40.8455
16 | 0.0024341 | 0.00060974 | -0.0024339 | -0.00060999 | 2.0994e-07 | -2.4303e-07 | 0.0036568 | 0.0036569 | 0.0036569 | 0.99046 | -0.06647 | 0.99037 | -0.067094 | 1.3544
17 | 0.014507 | 0.0036363 | -0.014501 | -0.0036342 | 6.1797e-06 | 2.1167e-06 | 0.021962 | 0.021962 | 0.021962 | 0.98293 | -0.11964 | 0.9825 | -0.12272 | 8.134
18 | 0.045502 | 0.011423 | -0.045234 | -0.011321 | 0.00026771 | 0.00010177 | 0.06803 | 0.06803 | 0.06803 | 0.99536 | -0.032188 | 0.98932 | -0.074801 | 25.1965
19 | -0.11925 | -0.030015 | 0.11978 | 0.030221 | 0.00053846 | 0.00020568 | 0.17831 | 0.17831 | 0.17831 | 0.99536 | -0.032188 | 1 | 0 | 33.0209
20 | 0.036244 | 0.0090679 | -0.036209 | -0.0090546 | 3.5364e-05 | 1.3357e-05 | 0.054509 | 0.054509 | 0.054509 | 0.98932 | -0.074801 | 0.98833 | -0.08188 | 20.1884
21 | 0.013984 | 0.0035028 | -0.013978 | -0.0035007 | 6.3139e-06 | 2.122e-06 | 0.020808 | 0.020808 | 0.020808 | 1 | 0 | 0.99953 | -0.0032663 | 7.7068
22 | -0.0051921 | -0.0013013 | 0.0051966 | 0.0013014 | 4.4123e-06 | 1.5908e-07 | 0.007748 | 0.0077475 | 0.007748 | 0.99716 | -0.019982 | 0.99803 | -0.013842 | 2.8696
23 | -0.0051966 | -0.0013014 | 0.005198 | 0.0013015 | 1.4201e-06 | 5.0582e-08 | 0.0077475 | 0.0077473 | 0.0077475 | 0.99803 | -0.013842 | 0.99831 | -0.011865 | 2.8694
24 | -0.00042383 | -0.00010622 | 0.00042387 | 0.00010438 | 3.8079e-08 | -1.8372e-06 | 0.00064413 | 0.00064347 | 0.00064413 | 0.97911 | -0.14959 | 0.9792 | -0.14893 | 0.23857
25 | -0.00042387 | -0.00010438 | 0.00042394 | 0.00010077 | 7.4609e-08 | -3.6116e-06 | 0.00064347 | 0.00064221 | 0.00064347 | 0.9792 | -0.14893 | 0.97937 | -0.14757 | 0.23832
26 | 0.0084121 | 0.0021057 | -0.0084115 | -0.0021056 | 5.3228e-07 | 1.3343e-07 | 0.012522 | 0.012522 | 0.012522 | 0.99953 | -0.0032663 | 0.99947 | -0.0037244 | 4.6379
27 | 0.0052038 | 0.0013017 | -0.005198 | -0.0013015 | 5.8444e-06 | 2.0499e-07 | 0.0077466 | 0.0077473 | 0.0077473 | 0.99947 | -0.0037244 | 0.99831 | -0.011865 | 2.8694
28 | 0.027352 | 0.0068347 | -0.027299 | -0.0068153 | 5.2221e-05 | 1.9454e-05 | 0.041173 | 0.041173 | 0.041173 | 0.98833 | -0.08188 | 0.98638 | -0.095779 | 15.2494
29 | 0.00016612 | 4.0513e-05 | -0.00016611 | -4.1356e-05 | 2.5929e-09 | -8.43e-07 | 0.00025037 | 0.00025067 | 0.00025067 | 0.98572 | -0.10047 | 0.9857 | -0.10058 | 0.09284
30 | -0.020032 | -0.0050193 | 0.020045 | 0.005024 | 1.3001e-05 | 4.7097e-06 | 0.030239 | 0.030239 | 0.030239 | 0.98572 | -0.10047 | 0.98638 | -0.095779 | 11.1996
31 | 6.7206e-05 | 1.6567e-05 | -6.7206e-05 | -1.6843e-05 | 1.389e-10 | -2.7588e-07 | 0.00010136 | 0.00010145 | 0.00010145 | 0.9857 | -0.10058 | 0.9857 | -0.1006 | 0.037575
32 | 0.0072548 | 0.0017913 | -0.0072483 | -0.0017899 | 6.4349e-06 | 1.3751e-06 | 0.010935 | 0.010935 | 0.010935 | 0.98638 | -0.095779 | 0.98548 | -0.10238 | 4.05
33 | 0.0062638 | 0.0015431 | -0.006263 | -0.001543 | 8.0325e-07 | 1.2525e-07 | 0.0094485 | 0.0094486 | 0.0094486 | 0.98548 | -0.10238 | 0.98535 | -0.10334 | 3.4995
34 | 0.0053976 | 0.0013261 | -0.0053958 | -0.001326 | 1.7317e-06 | 1.3296e-07 | 0.0081417 | 0.0081419 | 0.0081419 | 0.98535 | -0.10334 | 0.98502 | -0.10574 | 3.0155
35 | 0.005075 | 0.0012456 | -0.0050707 | -0.0012454 | 4.3119e-06 | 1.5966e-07 | 0.0076572 | 0.0076577 | 0.0076577 | 0.98502 | -0.10574 | 0.98416 | -0.11213 | 2.8362
36 | 0.0049253 | 0.001209 | -0.004925 | -0.001209 | 3.6741e-07 | 6.0867e-09 | 0.007438 | 0.0074381 | 0.0074381 | 0.98416 | -0.11213 | 0.98408 | -0.11269 | 2.7548
37 | 0.004925 | 0.001209 | -0.0049242 | -0.001209 | 7.8246e-07 | 1.3038e-08 | 0.0074381 | 0.0074382 | 0.0074382 | 0.98408 | -0.11269 | 0.98392 | -0.11389 | 2.7549
38 | 0.0049242 | 0.001209 | -0.0049238 | -0.001209 | 3.8788e-07 | 6.5009e-09 | 0.0074382 | 0.0074382 | 0.0074382 | 0.98392 | -0.11389 | 0.98384 | -0.11448 | 2.7549
39 | 0.0047369 | 0.0011621 | -0.004727 | -0.0011622 | 9.9343e-06 | -1.1832e-07 | 0.0071555 | 0.0071569 | 0.0071569 | 0.98384 | -0.11448 | 0.98171 | -0.13025 | 2.6507
40 | 0.004727 | 0.0011622 | -0.004724 | -0.0011623 | 2.9964e-06 | -3.2042e-08 | 0.0071569 | 0.0071573 | 0.0071573 | 0.98171 | -0.13025 | 0.98107 | -0.135 | 2.6508
41 | 0.0043019 | 0.0010565 | -0.0043012 | -0.0010566 | 7.3548e-07 | -6.7461e-08 | 0.0065172 | 0.0065173 | 0.0065173 | 0.98107 | -0.135 | 0.98089 | -0.13628 | 2.4138
42 | 0.0041282 | 0.0010132 | -0.0041277 | -0.0010133 | 4.9691e-07 | -6.5767e-08 | 0.0062549 | 0.006255 | 0.006255 | 0.98089 | -0.13628 | 0.98077 | -0.13719 | 2.3167
43 | -0.00037011 | -9.276e-05 | 0.00037015 | 9.068e-05 | 3.2777e-08 | -2.0797e-06 | 0.0005624 | 0.00056166 | 0.0005624 | 0.97927 | -0.14836 | 0.97936 | -0.1477 | 0.2083
44 | -0.0004322 | -0.00010623 | 0.00043221 | 0.00010588 | 7.6616e-09 | -3.5622e-07 | 0.00065593 | 0.00065581 | 0.00065593 | 0.97936 | -0.1477 | 0.97937 | -0.14757 | 0.24294
45 | 0.00045791 | 0.00011136 | -0.00045789 | -0.00011192 | 1.3511e-08 | -5.595e-07 | 0.00069452 | 0.00069472 | 0.00069472 | 0.97937 | -0.14757 | 0.97934 | -0.14779 | 0.2573
46 | -0.0013141 | -0.00031801 | 0.0013141 | 0.0003177 | 6.4807e-08 | -3.0429e-07 | 0.0019925 | 0.0019924 | 0.0019925 | 0.97937 | -0.14757 | 0.97942 | -0.14719 | 0.73797
47 | 0.00037394 | 9.0878e-05 | -0.00037391 | -9.2735e-05 | 2.9841e-08 | -1.8569e-06 | 0.00056716 | 0.00056781 | 0.00056781 | 0.97934 | -0.14779 | 0.97926 | -0.14839 | 0.2103
48 | -0.0018931 | -0.00046281 | 0.0018933 | 0.00046249 | 1.5425e-07 | -3.1788e-07 | 0.002872 | 0.0028719 | 0.002872 | 0.97942 | -0.14719 | 0.97951 | -0.14657 | 1.0637
49 | -0.00024691 | -6.1882e-05 | 0.00024692 | 6.1199e-05 | 4.7779e-09 | -6.8285e-07 | 0.0003752 | 0.00037496 | 0.0003752 | 0.97923 | -0.14861 | 0.97925 | -0.14847 | 0.13896
50 | -0.00031564 | -7.8423e-05 | 0.00031564 | 7.8133e-05 | 3.319e-09 | -2.8996e-07 | 0.00047938 | 0.00047928 | 0.00047938 | 0.97925 | -0.14847 | 0.97926 | -0.14839 | 0.17755
51 | -0.0020392 | -0.00049908 | 0.0020395 | 0.00049872 | 2.111e-07 | -3.6379e-07 | 0.0030937 | 0.0030935 | 0.0030937 | 0.97951 | -0.14657 | 0.97961 | -0.14579 | 1.1458
52 | -0.0032011 | -0.00078681 | 0.0032015 | 0.00078662 | 4.1709e-07 | -1.9642e-07 | 0.0048568 | 0.0048566 | 0.0048568 | 0.97964 | -0.14557 | 0.97977 | -0.14459 | 1.7988
53 | 0.0030633 | 0.00075229 | -0.0030632 | -0.00075234 | 8.9909e-08 | -4.9405e-08 | 0.0046475 | 0.0046476 | 0.0046476 | 0.97964 | -0.14557 | 0.97961 | -0.14579 | 1.7213
54 | -0.003513 | -0.00086469 | 0.0035132 | 0.00086462 | 2.1257e-07 | -6.9282e-08 | 0.0053298 | 0.0053297 | 0.0053298 | 0.97977 | -0.14459 | 0.97983 | -0.14414 | 1.974
55 | 0.0010238 | 0.00025362 | -0.0010237 | -0.00025461 | 1.2353e-07 | -9.8406e-07 | 0.0015541 | 0.0015544 | 0.0015544 | 0.97961 | -0.14579 | 0.97949 | -0.14668 | 0.57571
56 | -0.003598 | -0.00088588 | 0.0036009 | 0.00088502 | 2.9149e-06 | -8.5553e-07 | 0.0054585 | 0.0054578 | 0.0054585 | 0.97983 | -0.14414 | 0.98065 | -0.13807 | 2.0217
57 | 0.0010237 | 0.00025461 | -0.0010236 | -0.0002548 | 2.4497e-08 | -1.9506e-07 | 0.0015544 | 0.0015545 | 0.0015545 | 0.97949 | -0.14668 | 0.97947 | -0.14685 | 0.57574
58 | -0.0037938 | -0.00093334 | 0.0037942 | 0.00093324 | 4.4699e-07 | -1.0144e-07 | 0.0057503 | 0.0057502 | 0.0057503 | 0.98065 | -0.13807 | 0.98077 | -0.13719 | 2.1298
59 | 0.00067219 | 0.00016672 | -0.00067218 | -0.00016694 | 1.1696e-08 | -2.2197e-07 | 0.0010206 | 0.0010207 | 0.0010207 | 0.97947 | -0.14685 | 0.97945 | -0.14698 | 0.37802
60 | -0.00033353 | -8.0432e-05 | 0.00033353 | 8.0054e-05 | 4.7777e-09 | -3.7725e-07 | 0.00050492 | 0.00050479 | 0.00050492 | 0.98076 | -0.1373 | 0.98077 | -0.13719 | 0.18701
61 | 0.00017747 | 4.1319e-05 | -0.00017746 | -4.2455e-05 | 4.0529e-09 | -1.1366e-06 | 0.00026816 | 0.00026855 | 0.00026855 | 0.98076 | -0.1373 | 0.98074 | -0.13748 | 0.099462
62 | 0.00017746 | 4.2455e-05 | -0.00017746 | -4.4474e-05 | 7.2298e-09 | -2.0192e-06 | 0.00026855 | 0.00026925 | 0.00026925 | 0.98074 | -0.13748 | 0.98069 | -0.13779 | 0.099724
63 | -8.8584e-05 | -2.2201e-05 | 8.8584e-05 | 2.2063e-05 | 1.244e-10 | -1.3851e-07 | 0.00013459 | 0.00013454 | 0.00013459 | 0.97941 | -0.14728 | 0.97941 | -0.14727 | 0.049846
64 | -0.0003206 | -8.0211e-05 | 0.0003206 | 7.9729e-05 | 5.6914e-09 | -4.8189e-07 | 0.00048704 | 0.00048686 | 0.00048704 | 0.97941 | -0.14727 | 0.97943 | -0.14714 | 0.18038
65 | 0.00035156 | 8.7493e-05 | -0.00035156 | -8.7926e-05 | 6.1506e-09 | -4.3268e-07 | 0.0005339 | 0.00053406 | 0.00053406 | 0.97943 | -0.14714 | 0.97941 | -0.14727 | 0.1978
66 | -0.00067217 | -0.00016722 | 0.00067218 | 0.00016694 | 1.4663e-08 | -2.7822e-07 | 0.0010208 | 0.0010207 | 0.0010208 | 0.97943 | -0.14714 | 0.97945 | -0.14698 | 0.37806
67 | 0.00035156 | 8.7926e-05 | -0.00035156 | -8.8108e-05 | 2.5946e-09 | -1.8244e-07 | 0.00053406 | 0.00053412 | 0.00053412 | 0.97941 | -0.14727 | 0.9794 | -0.14732 | 0.19782

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14626 | 0.036654

## res_load
| p_mw | q_mvar
0 | 0.0080584 | 0.0020196
1 | 0.0097418 | 0.0024415
2 | 0.0025428 | 0.00063728
3 | 0.017315 | 0.0043396
4 | 0.014501 | 0.0036342
5 | 0.0035002 | 0.00087724
6 | 0.0024339 | 0.00060999
7 | 0.0089902 | 0.0022532
8 | 0.01169 | 0.0029298
9 | 0.0092145 | 0.0023094
10 | 0.0055698 | 0.0013959
11 | 0.0051921 | 0.0013013
12 | 0.00042383 | 0.00010622
13 | 0.0055659 | 0.001395
14 | 0.0032077 | 0.00080393
15 | 0.0088573 | 0.0022198
16 | 0.019866 | 0.0049788
17 | 9.8908e-05 | 2.4789e-05
18 | 6.7206e-05 | 1.6843e-05
19 | 0.00098454 | 0.00024675
20 | 0.00086542 | 0.0002169
21 | 0.00032084 | 8.041e-05
22 | 0.00014533 | 3.6424e-05
23 | 0.00018692 | 4.6847e-05
24 | 0.00042202 | 0.00010577
25 | 0.00017297 | 4.335e-05
26 | 0.00037011 | 9.276e-05
27 | 6.2052e-05 | 1.5552e-05
28 | 8.3955e-05 | 2.1041e-05
29 | 0.00057897 | 0.0001451
30 | 0.00024691 | 6.1882e-05
31 | 6.8722e-05 | 1.7223e-05
32 | 5.8264e-05 | 1.4602e-05
33 | 0.000146 | 3.659e-05
34 | 0.00013774 | 3.4522e-05
35 | 0.00031153 | 7.8077e-05
36 | 8.4796e-05 | 2.1252e-05
37 | 0.00019281 | 4.8322e-05
38 | 0.00035144 | 8.808e-05
39 | 0.00015606 | 3.9113e-05
40 | 0.00017746 | 4.4474e-05
41 | 8.8584e-05 | 2.2201e-05
42 | 0.00023201 | 5.8148e-05
43 | 0.00035156 | 8.8108e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1