## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1010-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1010-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1010-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1010-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1010-6_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1010-6_0_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1010-6_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1010-6_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1010-6_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_1010-6_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1010-6_0_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1010-6_0_3_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_1010-6_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1010-6_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_1010-6_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1010-6_0_3_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_1010-6_0_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_1010-6_0_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_1010-6_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1010-6_0_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1010-6_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1010-6_0_3_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_1010-6_0_3_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_1010-6_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1010-6_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1010-6_0_3_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1010-6_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1010-6_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1010-6_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1010-6_0_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_1010-6_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1010-6_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_1010-6_0_3_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_1010-6_0_3_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_1010-6_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1010-6_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1010-6_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1010-6_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1010-6_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1010-6_0_3_node_213 | 0.4 | n |  | TRUE
40 | bus_LV_1010-6_0_3_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_1010-6_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_1010-6_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1010-6_0_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_1010-6_0_3_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1010-6_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_1010-6_0_3_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_1010-6_0_3_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_1010-6_0_3_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_1010-6_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_1010-6_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_1010-6_0_3_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_1010-6_0_3_node_65 | 0.4 | n |  | TRUE
53 | bus_MV_126_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1010-6_0_3_load_0 | 0 | 0.0002879 | 7.2156e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1010-6_0_3_load_2 | 2 | 0.00073767 | 0.00018488 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1010-6_0_3_load_9 | 4 | 0.00091018 | 0.00022811 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1010-6_0_3_load_15 | 5 | 0.00042008 | 0.00010528 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1010-6_0_3_load_11 | 6 | 0.003211 | 0.00080476 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1010-6_0_3_load_12 | 7 | 0.0048962 | 0.0012271 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1010-6_0_3_load_14 | 9 | 0.00090817 | 0.00022761 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1010-6_0_3_load_16 | 10 | 0.00024344 | 6.1013e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1010-6_0_3_load_60 | 11 | 0.0023033 | 0.00057726 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1010-6_0_3_load_17 | 12 | 0.002219 | 0.00055613 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1010-6_0_3_load_18 | 13 | 0.0031845 | 0.00079812 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1010-6_0_3_load_23 | 15 | 0.0017535 | 0.00043948 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1010-6_0_3_load_36 | 16 | 0.0049206 | 0.0012332 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1010-6_0_3_load_33 | 17 | 0.0027103 | 0.00067925 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1010-6_0_3_load_21 | 18 | 0.001732 | 0.00043407 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1010-6_0_3_load_26 | 19 | 0.001988 | 0.00049825 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1010-6_0_3_load_24 | 20 | 0.003312 | 0.00083006 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1010-6_0_3_load_37 | 21 | 0.0038456 | 0.0009638 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1010-6_0_3_load_43 | 22 | 0.0041789 | 0.0010473 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1010-6_0_3_load_25 | 23 | 0.0012114 | 0.00030362 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1010-6_0_3_load_28 | 25 | 0.001227 | 0.00030751 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1010-6_0_3_load_29 | 26 | 0.00090717 | 0.00022736 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1010-6_0_3_load_31 | 28 | 0.0017669 | 0.00044283 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1010-6_0_3_load_41 | 29 | 0.00090717 | 0.00022736 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1010-6_0_3_load_49 | 31 | 0.00064539 | 0.00016175 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1010-6_0_3_load_62 | 33 | 0.0016705 | 0.00041867 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1010-6_0_3_load_34 | 34 | 0.0038617 | 0.00096782 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1010-6_0_3_load_38 | 37 | 0.0068086 | 0.0017064 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1010-6_0_3_load_39 | 38 | 0.0016889 | 0.00042328 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1010-6_0_3_load_213 | 39 | 0.0010269 | 0.00025738 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1010-6_0_3_load_64 | 40 | 0.0089236 | 0.0022365 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1010-6_0_3_load_51 | 41 | 0.0036509 | 0.00091499 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1010-6_0_3_load_42 | 42 | 0.0033146 | 0.00083072 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1010-6_0_3_load_44 | 43 | 0.0039037 | 0.00097837 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1010-6_0_3_load_45 | 44 | 0.00045129 | 0.00011311 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1010-6_0_3_load_47 | 46 | 0.0018231 | 0.0004569 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1010-6_0_3_load_50 | 48 | 0.0013982 | 0.00035042 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1010-6_0_3_load_52 | 49 | 0.00042801 | 0.00010727 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1010-6_0_3_load_59 | 50 | 0.0022977 | 0.00057587 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1010-6_0_3_load_61 | 51 | 0.0014655 | 0.00036729 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1010-6_0_3_load_65 | 52 | 0.0038288 | 0.0009596 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1010-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.055192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1010-6_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0078923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1010-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1010-6_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 1.1657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1010-6_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.095033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1010-6_0_3_line_5 | NAYY 4x150 SE | 5 | 9 | 0.030055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1010-6_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.0085269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1010-6_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0061396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1010-6_0_3_line_8 | NAYY 4x150 SE | 8 | 15 | 0.018743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1010-6_0_3_line_9 | NAYY 4x150 SE | 8 | 20 | 0.029111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1010-6_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.024175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1010-6_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.44689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1010-6_0_3_line_12 | NAYY 4x150 SE | 11 | 33 | 0.027884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1010-6_0_3_line_13 | NAYY 4x150 SE | 11 | 50 | 0.0085439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1010-6_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.017493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1010-6_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.011766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1010-6_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.043051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1010-6_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.03546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1010-6_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.026371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1010-6_0_3_line_19 | NAYY 4x150 SE | 15 | 21 | 0.05803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1010-6_0_3_line_20 | NAYY 4x150 SE | 17 | 34 | 0.019853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1010-6_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.017536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1010-6_0_3_line_22 | NAYY 4x150 SE | 19 | 23 | 0.030095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1010-6_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.020699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1010-6_0_3_line_24 | NAYY 4x150 SE | 21 | 37 | 0.0037954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1010-6_0_3_line_25 | NAYY 4x150 SE | 22 | 42 | 0.003931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1010-6_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0046051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1010-6_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.022565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1010-6_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.018613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1010-6_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.010619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1010-6_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.015972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1010-6_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0095963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1010-6_0_3_line_32 | NAYY 4x150 SE | 29 | 35 | 0.030417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1010-6_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.04838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1010-6_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.20934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1010-6_0_3_line_35 | NAYY 4x150 SE | 30 | 33 | 0.098516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1010-6_0_3_line_36 | NAYY 4x150 SE | 31 | 45 | 0.022394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1010-6_0_3_line_37 | NAYY 4x150 SE | 32 | 49 | 0.094522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1010-6_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.028245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1010-6_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.023618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1010-6_0_3_line_40 | NAYY 4x150 SE | 36 | 40 | 0.013264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1010-6_0_3_line_41 | NAYY 4x150 SE | 36 | 41 | 0.0069534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1010-6_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.029649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_1010-6_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.021766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1010-6_0_3_line_44 | NAYY 4x150 SE | 40 | 52 | 0.016427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1010-6_0_3_line_45 | NAYY 4x150 SE | 41 | 48 | 0.026661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1010-6_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0020791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1010-6_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.015329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1010-6_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.0099409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1010-6_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.011406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1010-6_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.02083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1010-6_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0012958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1010-6_0_3_trafo_39 | 0.25 MVA 20/0.4 kV | 53 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2635890.816 | 1195957.4391 | 2635886.0729 | 1195960.768 | 2635861.7233 | 1195981.5113 | 2635849.0761 | 1195993.4765
1 | 2635890.816 | 1195957.4391 | 2635892.956 | 1195960.0867 | 2635894.9413 | 1195960.5989 | 2635897.2438 | 1195959.7984
2 | 2635912.0827 | 1195936.3328 | 2635909.9297 | 1195940.9224 | 2635906.9189 | 1195945.0066 | 2635902.8957 | 1195948.9735 | 2635890.816 | 1195957.4391
3 | 2637049.6811 | 1195682.1201 | 2635912.0827 | 1195936.3328
4 | 2637049.6811 | 1195682.1201 | 2637138.228 | 1195647.6129
5 | 2637161.2804 | 1195666.4437 | 2637152.7733 | 1195656.9602 | 2637146.7895 | 1195652.5874 | 2637139.0546 | 1195648.0258 | 2637138.228 | 1195647.6129
6 | 2637617.1138 | 1195898.7236 | 2637608.8323 | 1195896.6923
7 | 2637623.0766 | 1195900.1861 | 2637617.1138 | 1195898.7236
8 | 2637623.0766 | 1195900.1861 | 2637627.2686 | 1195901.0685 | 2637641.4965 | 1195903.9261
9 | 2637623.0766 | 1195900.1861 | 2637626.2427 | 1195929.1241
10 | 2637177.4235 | 1195684.4394 | 2637161.2804 | 1195666.4437
11 | 2637600.3517 | 1195540.0788 | 2637177.4235 | 1195684.4394
12 | 2637609.5297 | 1195566.407 | 2637607.2788 | 1195560.389 | 2637600.3517 | 1195540.0788 | 2637600.3517 | 1195540.0788
13 | 2637597.9805 | 1195531.8705 | 2637600.3517 | 1195540.0788
14 | 2637699.6841 | 1195930.7393 | 2637696.4132 | 1195927.2845 | 2637692.7475 | 1195922.67 | 2637688.9818 | 1195916.9876 | 2637688.97 | 1195916.9648
15 | 2637683.8455 | 1195906.3828 | 2637685.5645 | 1195910.4403 | 2637688.97 | 1195916.9648
16 | 2637683.8455 | 1195906.3828 | 2637680.1804 | 1195907.716 | 2637677.2803 | 1195908.5315 | 2637674.4827 | 1195908.8141 | 2637660.7519 | 1195908.0717 | 2637641.4965 | 1195903.9261
17 | 2637683.8455 | 1195906.3828 | 2637697.7292 | 1195903.4018 | 2637701.0642 | 1195902.4668 | 2637703.1656 | 1195901.4572 | 2637704.7904 | 1195899.9111 | 2637705.5473 | 1195898.2594 | 2637706.0001 | 1195895.3162 | 2637705.8972 | 1195886.8894
18 | 2637683.8455 | 1195906.3828 | 2637682.3734 | 1195901.8265 | 2637681.1222 | 1195897.2717 | 2637679.4669 | 1195887.9451 | 2637678.4094 | 1195880.6344
19 | 2637641.4965 | 1195903.9261 | 2637635.7309 | 1195868.6038 | 2637630.6834 | 1195846.9439
20 | 2637678.4094 | 1195880.6344 | 2637675.5674 | 1195860.9855
21 | 2637727.1503 | 1195881.4178 | 2637727.6497 | 1195885.8362 | 2637728.7988 | 1195889.6567 | 2637729.3973 | 1195892.6065 | 2637729.6367 | 1195895.7097 | 2637729.3992 | 1195898.678
22 | 2637726.3532 | 1195851.3436 | 2637726.8776 | 1195879.0054 | 2637727.1503 | 1195881.4178
23 | 2637626.2427 | 1195929.1241 | 2637628.494 | 1195949.7007
24 | 2637629.822 | 1195843.2476 | 2637630.6834 | 1195846.9439
25 | 2637628.9215 | 1195953.6084 | 2637628.494 | 1195949.7007
26 | 2637726.2659 | 1195846.7393 | 2637726.3532 | 1195851.3436
27 | 2637726.2659 | 1195846.7393 | 2637726.6153 | 1195831.1885 | 2637725.329 | 1195824.2978
28 | 2637707.7535 | 1195844.3436 | 2637720.8919 | 1195846.0384 | 2637724.8958 | 1195846.5528 | 2637726.2659 | 1195846.7393
29 | 2637723.3802 | 1195813.8586 | 2637725.329 | 1195824.2978
30 | 2637723.3802 | 1195813.8586 | 2637721.1974 | 1195814.4785 | 2637718.3562 | 1195815.6279 | 2637715.7502 | 1195818.1351 | 2637713.3907 | 1195820.2103 | 2637709.8532 | 1195821.8035
31 | 2637700.955 | 1195825.3704 | 2637705.1625 | 1195823.9161 | 2637709.8532 | 1195821.8035
32 | 2637671.524 | 1195833.0316 | 2637699.4135 | 1195825.9032 | 2637700.955 | 1195825.3704
33 | 2637640.2814 | 1195659.8844 | 2637649.4758 | 1195707.3822
34 | 2637640.2814 | 1195659.8844 | 2637646.5006 | 1195661.8912 | 2637647.8354 | 1195662.8557 | 2637649.5922 | 1195664.5566 | 2637666.0017 | 1195684.0149 | 2637672.0843 | 1195690.7791 | 2637674.0809 | 1195693.1152 | 2637681.0436 | 1195702.8644 | 2637687.948 | 1195712.2018 | 2637690.8637 | 1195706.4948 | 2637722.5776 | 1195651.1308 | 2637743.0666 | 1195610.7822 | 2637748.5976 | 1195597.4986 | 2637751.3016 | 1195590.3562
35 | 2637640.2814 | 1195659.8844 | 2637632.8395 | 1195630.5882 | 2637629.8493 | 1195621.4977 | 2637621.4849 | 1195598.3658 | 2637620.2411 | 1195595.045 | 2637609.5297 | 1195566.407
36 | 2637653.6487 | 1195729.3844 | 2637649.6153 | 1195708.1029 | 2637649.4758 | 1195707.3822
37 | 2637751.3016 | 1195590.3562 | 2637753.8458 | 1195583.1683 | 2637760.3842 | 1195550.3026 | 2637765.6403 | 1195497.175
38 | 2637671.524 | 1195833.0316 | 2637675.5674 | 1195860.9855
39 | 2637671.524 | 1195833.0316 | 2637668.0448 | 1195809.6746
40 | 2637668.0448 | 1195809.6746 | 2637659.4275 | 1195812.2663 | 2637657.0054 | 1195813.385 | 2637655.6517 | 1195814.2325
41 | 2637668.0448 | 1195809.6746 | 2637666.8883 | 1195802.8181
42 | 2637622.6088 | 1195814.4985 | 2637625.1973 | 1195823.4016 | 2637629.822 | 1195843.2476
43 | 2637616.5322 | 1195793.5975 | 2637622.6088 | 1195814.4985
44 | 2637654.5921 | 1195830.0679 | 2637653.6947 | 1195818.9228 | 2637653.8658 | 1195817.1562 | 2637654.5158 | 1195815.5594 | 2637655.6517 | 1195814.2325
45 | 2637662.4539 | 1195776.5282 | 2637666.8883 | 1195802.8181
46 | 2637644.926 | 1195742.0175 | 2637644.5422 | 1195739.9741
47 | 2637653.6487 | 1195729.3844 | 2637644.5329 | 1195736.1197 | 2637644.0453 | 1195737.3284 | 2637644.5422 | 1195739.9741
48 | 2637644.926 | 1195742.0175 | 2637645.8808 | 1195747.1008 | 2637646.6777 | 1195748.7845 | 2637648.2687 | 1195750.1953 | 2637648.9544 | 1195750.5659
49 | 2637658.9893 | 1195755.9881 | 2637648.9544 | 1195750.5659
50 | 2637658.9893 | 1195755.9881 | 2637662.4539 | 1195776.5282
51 | 2637597.9805 | 1195531.8705 | 2637597.9805 | 1195531.8705 | 2637597.6544 | 1195530.6164

## bus_geodata
| x | y | coords
0 | 2635849.0761 | 1195993.4765
1 | 2635890.816 | 1195957.4391
2 | 2635897.2438 | 1195959.7984
3 | 2635912.0827 | 1195936.3328
4 | 2637049.6811 | 1195682.1201
5 | 2637138.228 | 1195647.6129
6 | 2637608.8323 | 1195896.6923
7 | 2637617.1138 | 1195898.7236
8 | 2637623.0766 | 1195900.1861
9 | 2637161.2804 | 1195666.4437
10 | 2637177.4235 | 1195684.4394
11 | 2637600.3517 | 1195540.0788
12 | 2637699.6841 | 1195930.7393
13 | 2637688.97 | 1195916.9648
14 | 2637683.8455 | 1195906.3828
15 | 2637641.4965 | 1195903.9261
16 | 2637705.8972 | 1195886.8894
17 | 2637678.4094 | 1195880.6344
18 | 2637729.3992 | 1195898.678
19 | 2637727.1503 | 1195881.4178
20 | 2637626.2427 | 1195929.1241
21 | 2637630.6834 | 1195846.9439
22 | 2637628.494 | 1195949.7007
23 | 2637726.3532 | 1195851.3436
24 | 2637726.2659 | 1195846.7393
25 | 2637725.329 | 1195824.2978
26 | 2637707.7535 | 1195844.3436
27 | 2637723.3802 | 1195813.8586
28 | 2637709.8532 | 1195821.8035
29 | 2637700.955 | 1195825.3704
30 | 2637640.2814 | 1195659.8844
31 | 2637649.4758 | 1195707.3822
32 | 2637751.3016 | 1195590.3562
33 | 2637609.5297 | 1195566.407
34 | 2637675.5673 | 1195860.9855
35 | 2637671.524 | 1195833.0316
36 | 2637668.0448 | 1195809.6746
37 | 2637629.822 | 1195843.2476
38 | 2637622.6088 | 1195814.4985
39 | 2637616.5322 | 1195793.5975
40 | 2637655.6517 | 1195814.2325
41 | 2637666.8883 | 1195802.8181
42 | 2637628.9215 | 1195953.6084
43 | 2637644.5422 | 1195739.9741
44 | 2637644.926 | 1195742.0175
45 | 2637653.6487 | 1195729.3844
46 | 2637648.9544 | 1195750.5659
47 | 2637658.9893 | 1195755.9881
48 | 2637662.4539 | 1195776.5282
49 | 2637765.6403 | 1195497.175
50 | 2637597.9805 | 1195531.8705
51 | 2637597.6544 | 1195530.6164
52 | 2637654.5921 | 1195830.0679
53 | 2637616.5322 | 1195793.5975

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97347 | -0.1901 | 0.0002879 | 7.2156e-05
1 | 0.97349 | -0.18993 | 0 | 0
2 | 0.97348 | -0.18999 | 0.00073767 | 0.00018488
3 | 0.97354 | -0.1896 | 0 | 0
4 | 0.97528 | -0.17626 | 0.00091018 | 0.00022811
5 | 0.97555 | -0.17421 | 0.00042008 | 0.00010528
6 | 0.99362 | -0.044534 | 0.003211 | 0.00080476
7 | 0.99366 | -0.044257 | 0.0048962 | 0.0012271
8 | 0.99373 | -0.043754 | 0 | 0
9 | 0.97565 | -0.17343 | 0.00090817 | 0.00022761
10 | 0.97577 | -0.17257 | 0.00024344 | 6.1013e-05
11 | 0.97806 | -0.15547 | 0.0023033 | 0.00057726
12 | 0.99016 | -0.068793 | 0.002219 | 0.00055613
13 | 0.99022 | -0.068397 | 0.0031845 | 0.00079812
14 | 0.99031 | -0.06775 | 0 | 0
15 | 0.99424 | -0.040171 | 0.0017535 | 0.00043948
16 | 0.99006 | -0.069527 | 0.0049206 | 0.0012332
17 | 0.9883 | -0.081966 | 0.0027103 | 0.00067925
18 | 0.98372 | -0.11451 | 0.001732 | 0.00043407
19 | 0.98376 | -0.11419 | 0.001988 | 0.00049825
20 | 0.99328 | -0.046935 | 0.003312 | 0.00083006
21 | 0.99774 | -0.015685 | 0.0038456 | 0.0009638
22 | 0.99305 | -0.048505 | 0.0041789 | 0.0010473
23 | 0.98393 | -0.11304 | 0.0012114 | 0.00030362
24 | 0.98396 | -0.1128 | 0 | 0
25 | 0.98415 | -0.11144 | 0.001227 | 0.00030751
26 | 0.98393 | -0.11298 | 0.00090717 | 0.00022736
27 | 0.98426 | -0.11067 | 0 | 0
28 | 0.98442 | -0.10951 | 0.0017669 | 0.00044283
29 | 0.98454 | -0.10863 | 0.00090717 | 0.00022736
30 | 0.98006 | -0.14092 | 0 | 0
31 | 0.98088 | -0.13495 | 0.00064539 | 0.00016175
32 | 0.97993 | -0.14189 | 0 | 0
33 | 0.97845 | -0.15264 | 0.0016705 | 0.00041867
34 | 0.98686 | -0.092155 | 0.0038617 | 0.00096782
35 | 0.98497 | -0.10558 | 0 | 0
36 | 0.98373 | -0.11447 | 0 | 0
37 | 0.99798 | -0.014017 | 0.0068086 | 0.0017064
38 | 1 | 0 | -0.097248 | -0.024289
39 | 0.99997 | -0.00022333 | 0.0010269 | 0.00025738
40 | 0.98348 | -0.11621 | 0.0089236 | 0.0022365
41 | 0.98349 | -0.11617 | 0.0036509 | 0.00091499
42 | 0.99304 | -0.048637 | 0.0033146 | 0.00083072
43 | 0.98156 | -0.13005 | 0.0039037 | 0.00097837
44 | 0.98161 | -0.12969 | 0.00045129 | 0.00011311
45 | 0.98129 | -0.13204 | 0 | 0
46 | 0.98185 | -0.12795 | 0.0018231 | 0.0004569
47 | 0.98216 | -0.12574 | 0 | 0
48 | 0.98272 | -0.12171 | 0.0013982 | 0.00035042
49 | 0.97987 | -0.14232 | 0.00042801 | 0.00010727
50 | 0.97801 | -0.15581 | 0.0022977 | 0.00057587
51 | 0.97801 | -0.15583 | 0.0014655 | 0.00036729
52 | 0.98339 | -0.11686 | 0.0038288 | 0.0009596
53 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0002879 | -7.2156e-05 | 0.00028791 | 7.1472e-05 | 6.6663e-09 | -6.8362e-07 | 0.00044008 | 0.00043984 | 0.00044008 | 0.97347 | -0.1901 | 0.97349 | -0.18993 | 0.16299
1 | 0.00073768 | 0.00018478 | -0.00073767 | -0.00018488 | 6.2612e-09 | -9.5716e-08 | 0.0011275 | 0.0011276 | 0.0011276 | 0.97349 | -0.18993 | 0.97348 | -0.18999 | 0.41762
2 | -0.0010256 | -0.00025625 | 0.0010256 | 0.00025589 | 4.6755e-08 | -3.6128e-07 | 0.0015674 | 0.0015672 | 0.0015674 | 0.97349 | -0.18993 | 0.97354 | -0.1896 | 0.58051
3 | -0.0010256 | -0.00025589 | 0.0010274 | 0.00024206 | 1.7807e-06 | -1.3835e-05 | 0.0015672 | 0.0015622 | 0.0015672 | 0.97354 | -0.1896 | 0.97528 | -0.17626 | 0.58045
4 | -0.0019376 | -0.00047017 | 0.0019381 | 0.00046918 | 5.1626e-07 | -9.8766e-07 | 0.0029508 | 0.0029504 | 0.0029508 | 0.97528 | -0.17626 | 0.97555 | -0.17421 | 1.0929
5 | -0.0023582 | -0.00057447 | 0.0023584 | 0.00057418 | 2.4185e-07 | -2.8228e-07 | 0.0035911 | 0.003591 | 0.0035911 | 0.97555 | -0.17421 | 0.97565 | -0.17343 | 1.33
6 | -0.003211 | -0.00080476 | 0.0032112 | 0.0008047 | 1.2304e-07 | -6.3125e-08 | 0.0048088 | 0.0048087 | 0.0048088 | 0.99362 | -0.044534 | 0.99366 | -0.044257 | 1.781
7 | -0.0081073 | -0.0020318 | 0.0081079 | 0.0020319 | 5.647e-07 | 1.3766e-07 | 0.012141 | 0.012141 | 0.012141 | 0.99366 | -0.044257 | 0.99373 | -0.043754 | 4.4966
8 | -0.01892 | -0.0047418 | 0.018929 | 0.0047452 | 9.3872e-06 | 3.3675e-06 | 0.028331 | 0.028331 | 0.028331 | 0.99373 | -0.043754 | 0.99424 | -0.040171 | 10.4928
9 | 0.010812 | 0.0027099 | -0.010807 | -0.0027084 | 4.7613e-06 | 1.4543e-06 | 0.01619 | 0.01619 | 0.01619 | 0.99373 | -0.043754 | 0.99328 | -0.046935 | 5.9963
10 | -0.0032666 | -0.00080179 | 0.003267 | 0.00080164 | 3.7352e-07 | -1.5828e-07 | 0.004976 | 0.0049759 | 0.004976 | 0.97565 | -0.17343 | 0.97577 | -0.17257 | 1.843
11 | -0.0035104 | -0.00086265 | 0.0035184 | 0.00086012 | 7.9702e-06 | -2.5298e-06 | 0.0053472 | 0.0053452 | 0.0053472 | 0.97577 | -0.17257 | 0.97806 | -0.15547 | 1.9804
12 | -0.0095851 | -0.0023805 | 0.0095888 | 0.0023816 | 3.6962e-06 | 1.0715e-06 | 0.014575 | 0.014575 | 0.014575 | 0.97806 | -0.15547 | 0.97845 | -0.15264 | 5.3982
13 | 0.0037634 | 0.0009431 | -0.0037632 | -0.00094314 | 1.7478e-07 | -3.9997e-08 | 0.0057256 | 0.0057257 | 0.0057257 | 0.97806 | -0.15547 | 0.97801 | -0.15581 | 2.1206
14 | -0.002219 | -0.00055613 | 0.0022191 | 0.00055595 | 1.2138e-07 | -1.7834e-07 | 0.0033347 | 0.0033346 | 0.0033347 | 0.99016 | -0.068793 | 0.99022 | -0.068397 | 1.2351
15 | -0.0054036 | -0.0013541 | 0.0054041 | 0.0013541 | 4.8411e-07 | 3.4818e-08 | 0.00812 | 0.00812 | 0.00812 | 0.99022 | -0.068397 | 0.99031 | -0.06775 | 3.0074
16 | -0.063345 | -0.015896 | 0.063589 | 0.015989 | 0.00024341 | 9.3062e-05 | 0.095188 | 0.095188 | 0.095188 | 0.99031 | -0.06775 | 0.99424 | -0.040171 | 35.2548
17 | 0.0049218 | 0.0012332 | -0.0049206 | -0.0012332 | 1.2102e-06 | 9.3191e-09 | 0.0073953 | 0.0073954 | 0.0073954 | 0.99031 | -0.06775 | 0.99006 | -0.069527 | 2.739
18 | 0.053019 | 0.013308 | -0.052915 | -0.013269 | 0.00010445 | 3.9836e-05 | 0.079673 | 0.079673 | 0.079673 | 0.99031 | -0.06775 | 0.9883 | -0.081966 | 29.5085
19 | -0.084271 | -0.021174 | 0.084559 | 0.021283 | 0.00028809 | 0.00010929 | 0.12614 | 0.12614 | 0.12614 | 0.99424 | -0.040171 | 0.99774 | -0.015685 | 23.3598
20 | 0.050205 | 0.012589 | -0.050134 | -0.012562 | 7.079e-05 | 2.6973e-05 | 0.075592 | 0.075592 | 0.075592 | 0.9883 | -0.081966 | 0.98686 | -0.092155 | 27.9972
21 | -0.001732 | -0.00043407 | 0.001732 | 0.00043388 | 7.5103e-08 | -1.9376e-07 | 0.0026199 | 0.0026198 | 0.0026199 | 0.98372 | -0.11451 | 0.98376 | -0.11419 | 0.97032
22 | -0.0037201 | -0.00093213 | 0.0037207 | 0.00093197 | 5.9455e-07 | -1.5349e-07 | 0.0056268 | 0.0056267 | 0.0056268 | 0.98376 | -0.11419 | 0.98393 | -0.11304 | 2.084
23 | 0.0074952 | 0.0018784 | -0.0074935 | -0.001878 | 1.6285e-06 | 3.5847e-07 | 0.011228 | 0.011228 | 0.011228 | 0.99328 | -0.046935 | 0.99305 | -0.048505 | 4.1587
24 | -0.088405 | -0.022247 | 0.088426 | 0.022254 | 2.0595e-05 | 7.8218e-06 | 0.13188 | 0.13188 | 0.13188 | 0.99774 | -0.015685 | 0.99798 | -0.014017 | 24.4218
25 | 0.0033147 | 0.00083069 | -0.0033146 | -0.00083072 | 6.0511e-08 | -2.7584e-08 | 0.0049667 | 0.0049668 | 0.0049668 | 0.99305 | -0.048505 | 0.99304 | -0.048637 | 1.8395
26 | -0.0049321 | -0.0012356 | 0.0049323 | 0.0012356 | 1.5987e-07 | 2.9963e-09 | 0.0074588 | 0.0074588 | 0.0074588 | 0.98393 | -0.11304 | 0.98396 | -0.1128 | 2.7625
27 | -0.0058395 | -0.0014627 | 0.0058406 | 0.0014629 | 1.098e-06 | 1.3563e-07 | 0.0088306 | 0.0088305 | 0.0088306 | 0.98396 | -0.1128 | 0.98415 | -0.11144 | 3.2706
28 | 0.00090719 | 0.00022713 | -0.00090717 | -0.00022736 | 2.1859e-08 | -2.28e-07 | 0.0013718 | 0.0013719 | 0.0013719 | 0.98396 | -0.1128 | 0.98393 | -0.11298 | 0.50812
29 | -0.0070675 | -0.0017704 | 0.0070683 | 0.0017705 | 7.5664e-07 | 1.5606e-07 | 0.010686 | 0.010686 | 0.010686 | 0.98415 | -0.11144 | 0.98426 | -0.11067 | 3.9577
30 | -0.0070683 | -0.0017705 | 0.0070694 | 0.0017708 | 1.138e-06 | 2.3466e-07 | 0.010686 | 0.010686 | 0.010686 | 0.98426 | -0.11067 | 0.98442 | -0.10951 | 3.9576
31 | -0.0088363 | -0.0022136 | 0.0088374 | 0.0022139 | 1.0682e-06 | 2.8883e-07 | 0.013356 | 0.013356 | 0.013356 | 0.98442 | -0.10951 | 0.98454 | -0.10863 | 4.9468
32 | -0.0097446 | -0.0024412 | 0.0097487 | 0.0024424 | 4.1167e-06 | 1.1964e-06 | 0.014727 | 0.014727 | 0.014727 | 0.98454 | -0.10863 | 0.98497 | -0.10558 | 5.4546
33 | -0.011705 | -0.0029094 | 0.011715 | 0.0029124 | 9.5258e-06 | 3.0536e-06 | 0.017764 | 0.017763 | 0.017764 | 0.98006 | -0.14092 | 0.98088 | -0.13495 | 6.5791
34 | 0.00042809 | 0.00010347 | -0.00042804 | -0.00010609 | 5.5034e-08 | -2.6164e-06 | 0.00064863 | 0.00064955 | 0.00064955 | 0.98006 | -0.14092 | 0.97993 | -0.14189 | 0.24057
35 | 0.011277 | 0.0028059 | -0.011259 | -0.0028002 | 1.8008e-05 | 5.6866e-06 | 0.017115 | 0.017115 | 0.017115 | 0.98006 | -0.14092 | 0.97845 | -0.15264 | 6.339
36 | -0.01236 | -0.0030742 | 0.012365 | 0.0030758 | 4.9088e-06 | 1.6052e-06 | 0.018742 | 0.018742 | 0.018742 | 0.98088 | -0.13495 | 0.98129 | -0.13204 | 6.9416
37 | 0.00042804 | 0.00010609 | -0.00042801 | -0.00010727 | 2.4901e-08 | -1.1811e-06 | 0.00064955 | 0.00064997 | 0.00064997 | 0.97993 | -0.14189 | 0.97987 | -0.14232 | 0.24073
38 | 0.046272 | 0.011595 | -0.046186 | -0.011562 | 8.5794e-05 | 3.2638e-05 | 0.06977 | 0.06977 | 0.06977 | 0.98686 | -0.092155 | 0.98497 | -0.10558 | 25.8407
39 | 0.036438 | 0.0091195 | -0.036393 | -0.0091026 | 4.465e-05 | 1.6873e-05 | 0.055043 | 0.055043 | 0.055043 | 0.98497 | -0.10558 | 0.98373 | -0.11447 | 20.3862
40 | 0.012756 | 0.003197 | -0.012753 | -0.003196 | 3.0813e-06 | 1.0168e-06 | 0.019295 | 0.019295 | 0.019295 | 0.98373 | -0.11447 | 0.98348 | -0.11621 | 7.1463
41 | 0.023637 | 0.0059056 | -0.023632 | -0.0059036 | 5.5447e-06 | 2.0443e-06 | 0.035748 | 0.035748 | 0.035748 | 0.98373 | -0.11447 | 0.98349 | -0.11617 | 13.2399
42 | -0.095234 | -0.023961 | 0.095421 | 0.024032 | 0.00018661 | 7.0995e-05 | 0.14203 | 0.14203 | 0.14203 | 0.99798 | -0.014017 | 1 | 0 | 26.3017
43 | 0.001027 | 0.0002571 | -0.0010269 | -0.00025738 | 3.1716e-08 | -2.7335e-07 | 0.0015281 | 0.0015282 | 0.0015282 | 1 | 0 | 0.99997 | -0.00022333 | 0.56598
44 | 0.0038292 | 0.00095952 | -0.0038288 | -0.0009596 | 3.4405e-07 | -7.6099e-08 | 0.0057935 | 0.0057936 | 0.0057936 | 0.98348 | -0.11621 | 0.98339 | -0.11686 | 2.1458
45 | 0.019981 | 0.0049886 | -0.019966 | -0.0049831 | 1.5198e-05 | 5.5071e-06 | 0.030224 | 0.030224 | 0.030224 | 0.98349 | -0.11617 | 0.98272 | -0.12171 | 11.1941
46 | -0.016272 | -0.0040553 | 0.016273 | 0.0040555 | 7.8896e-07 | 2.7716e-07 | 0.02466 | 0.02466 | 0.02466 | 0.98156 | -0.13005 | 0.98161 | -0.12969 | 9.1334
47 | 0.012369 | 0.0030769 | -0.012365 | -0.0030758 | 3.3601e-06 | 1.0987e-06 | 0.018742 | 0.018742 | 0.018742 | 0.98156 | -0.13005 | 0.98129 | -0.13204 | 6.9416
48 | -0.016724 | -0.0041686 | 0.016728 | 0.0041701 | 3.9845e-06 | 1.4068e-06 | 0.025344 | 0.025344 | 0.025344 | 0.98161 | -0.12969 | 0.98185 | -0.12795 | 9.3868
49 | -0.018552 | -0.004627 | 0.018557 | 0.004629 | 5.6229e-06 | 2.0183e-06 | 0.028107 | 0.028107 | 0.028107 | 0.98185 | -0.12795 | 0.98216 | -0.12574 | 10.4101
50 | -0.018557 | -0.004629 | 0.018567 | 0.0046327 | 1.0269e-05 | 3.6857e-06 | 0.028107 | 0.028107 | 0.028107 | 0.98216 | -0.12574 | 0.98272 | -0.12171 | 10.41
51 | 0.0014655 | 0.00036727 | -0.0014655 | -0.00036729 | 4.0201e-09 | -1.4715e-08 | 0.0022297 | 0.0022297 | 0.0022297 | 0.97801 | -0.15581 | 0.97801 | -0.15583 | 0.82582

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.098937 | 0.024712

## res_load
| p_mw | q_mvar
0 | 0.0002879 | 7.2156e-05
1 | 0.00073767 | 0.00018488
2 | 0.00091018 | 0.00022811
3 | 0.00042008 | 0.00010528
4 | 0.003211 | 0.00080476
5 | 0.0048962 | 0.0012271
6 | 0.00090817 | 0.00022761
7 | 0.00024344 | 6.1013e-05
8 | 0.0023033 | 0.00057726
9 | 0.002219 | 0.00055613
10 | 0.0031845 | 0.00079812
11 | 0.0017535 | 0.00043948
12 | 0.0049206 | 0.0012332
13 | 0.0027103 | 0.00067925
14 | 0.001732 | 0.00043407
15 | 0.001988 | 0.00049825
16 | 0.003312 | 0.00083006
17 | 0.0038456 | 0.0009638
18 | 0.0041789 | 0.0010473
19 | 0.0012114 | 0.00030362
20 | 0.001227 | 0.00030751
21 | 0.00090717 | 0.00022736
22 | 0.0017669 | 0.00044283
23 | 0.00090717 | 0.00022736
24 | 0.00064539 | 0.00016175
25 | 0.0016705 | 0.00041867
26 | 0.0038617 | 0.00096782
27 | 0.0068086 | 0.0017064
28 | 0.0016889 | 0.00042328
29 | 0.0010269 | 0.00025738
30 | 0.0089236 | 0.0022365
31 | 0.0036509 | 0.00091499
32 | 0.0033146 | 0.00083072
33 | 0.0039037 | 0.00097837
34 | 0.00045129 | 0.00011311
35 | 0.0018231 | 0.0004569
36 | 0.0013982 | 0.00035042
37 | 0.00042801 | 0.00010727
38 | 0.0022977 | 0.00057587
39 | 0.0014655 | 0.00036729
40 | 0.0038288 | 0.0009596

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1