## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1010-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1010-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1010-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1010-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1010-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1010-9_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1010-9_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1010-9_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1010-9_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1010-9_0_3_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_1010-9_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1010-9_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1010-9_0_3_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_1010-9_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1010-9_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1010-9_0_3_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_1010-9_0_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_1010-9_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1010-9_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1010-9_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1010-9_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1010-9_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1010-9_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_1010-9_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1010-9_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1010-9_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1010-9_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1010-9_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1010-9_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1010-9_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_MV_126_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1010-9_0_3_load_0 | 0 | 0.06185 | 0.015501 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1010-9_0_3_load_3 | 3 | 0.0017986 | 0.00045076 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1010-9_0_3_load_33 | 9 | 0.0087968 | 0.0022047 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1010-9_0_3_load_12 | 10 | 0.0019213 | 0.00048153 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1010-9_0_3_load_26 | 12 | 0.012101 | 0.0030328 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1010-9_0_3_load_13 | 14 | 0.0037338 | 0.00093577 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1010-9_0_3_load_30 | 15 | 0.0070604 | 0.0017695 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1010-9_0_3_load_25 | 16 | 0.0061625 | 0.0015445 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1010-9_0_3_load_14 | 17 | 0.084115 | 0.021081 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1010-9_0_3_load_16 | 19 | 0.0044124 | 0.0011059 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1010-9_0_3_load_18 | 21 | 0.004059 | 0.0010173 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1010-9_0_3_load_22 | 23 | 0.0031677 | 0.00079391 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1010-9_0_3_load_32 | 24 | 0.0051757 | 0.0012971 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1010-9_0_3_load_20 | 25 | 0.0050162 | 0.0012572 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1010-9_0_3_load_19 | 26 | 0.0067805 | 0.0016994 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1010-9_0_3_load_21 | 27 | 0.001611 | 0.00040375 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1010-9_0_3_load_24 | 29 | 0.0086928 | 0.0021786 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1010-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1010-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.04677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1010-9_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.03505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1010-9_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.060024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1010-9_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.042043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1010-9_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0038956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1010-9_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.006779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1010-9_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.076498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1010-9_0_3_line_8 | NAYY 4x150 SE | 5 | 11 | 0.032545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1010-9_0_3_line_9 | NAYY 4x150 SE | 5 | 12 | 0.017281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1010-9_0_3_line_10 | NAYY 4x150 SE | 6 | 13 | 0.13674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1010-9_0_3_line_11 | NAYY 4x150 SE | 7 | 10 | 0.017133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1010-9_0_3_line_12 | NAYY 4x150 SE | 8 | 9 | 0.020008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1010-9_0_3_line_13 | NAYY 4x150 SE | 11 | 15 | 0.036434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1010-9_0_3_line_14 | NAYY 4x150 SE | 12 | 16 | 0.015121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1010-9_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0087185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1010-9_0_3_line_16 | NAYY 4x150 SE | 16 | 29 | 0.012577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1010-9_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.027714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1010-9_0_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.018919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1010-9_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.001631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1010-9_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.022374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1010-9_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.029353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1010-9_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.013893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1010-9_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.0097832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1010-9_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.013413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1010-9_0_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.0097857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1010-9_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.00096219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1010-9_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.017245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1010-9_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.0086267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1010-9_0_3_trafo_20 | 0.25 MVA 20/0.4 kV | 30 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2637841.6373 | 1195976.6277 | 2637816.235 | 1195967.243
1 | 2637781.7158 | 1195972.6916 | 2637788.3971 | 1195956.9584 | 2637816.235 | 1195967.243
2 | 2637841.6373 | 1195976.6277 | 2637841.002 | 1195978.3024 | 2637840.9309 | 1195979.9028 | 2637844.4243 | 1195986.4396 | 2637844.748 | 1195989.4655 | 2637844.3201 | 1195995.6885 | 2637843.2034 | 1195998.8054 | 2637840.9832 | 1196001.7485 | 2637834.7509 | 1196006.7116
3 | 2637841.6373 | 1195976.6277 | 2637871.112 | 1195956.0694 | 2637884.7369 | 1195975.9332
4 | 2637741.9541 | 1195958.6998 | 2637772.4415 | 1195969.5647 | 2637773.8479 | 1195970.0293 | 2637775.2619 | 1195970.5052 | 2637781.7158 | 1195972.6916
5 | 2637831.7035 | 1196009.1384 | 2637834.7509 | 1196006.7116
6 | 2637884.7369 | 1195975.9332 | 2637888.6862 | 1195981.4501
7 | 2637879.4918 | 1195919.9804 | 2637862.0301 | 1195932.1766 | 2637876.2292 | 1195952.8 | 2637871.112 | 1195956.0694 | 2637884.7369 | 1195975.9332
8 | 2637719.2167 | 1195949.8405 | 2637728.8256 | 1195959.1172 | 2637735.2276 | 1195965.9058 | 2637741.9541 | 1195958.6998
9 | 2637741.9541 | 1195958.6998 | 2637753.7358 | 1195946.0575
10 | 2637831.7035 | 1196009.1384 | 2637791.804 | 1196036.3125 | 2637809.2794 | 1196059.2576 | 2637811.7261 | 1196062.6638 | 2637817.1004 | 1196060.8746 | 2637819.5547 | 1196060.6677 | 2637822.8593 | 1196060.9221 | 2637830.8721 | 1196062.3179 | 2637854.025 | 1196068.0118 | 2637865.6927 | 1196070.8872
11 | 2637888.6862 | 1195981.4501 | 2637874.8035 | 1195991.49
12 | 2637896.0716 | 1195908.7124 | 2637879.4918 | 1195919.9804
13 | 2637719.2167 | 1195949.8405 | 2637722.7536 | 1195944.671 | 2637724.9511 | 1195940.4937 | 2637726.4888 | 1195937.0571 | 2637727.1172 | 1195934.0482 | 2637727.3481 | 1195930.0475 | 2637727.0398 | 1195924.5759 | 2637727.2622 | 1195920.7085 | 2637727.774 | 1195915.4835
14 | 2637753.7358 | 1195946.0575 | 2637762.8011 | 1195936.33 | 2637764.1419 | 1195935.0934
15 | 2637865.6927 | 1196070.8872 | 2637868.5097 | 1196065.1352 | 2637869.9457 | 1196063.3211
16 | 2637764.1419 | 1195935.0934 | 2637773.3869 | 1195926.566
17 | 2637826.2309 | 1195887.8704 | 2637837.9746 | 1195904.0869 | 2637839.1797 | 1195905.0617 | 2637840.9481 | 1195904.9061 | 2637844.5601 | 1195902.452
18 | 2637841.6361 | 1195876.8284 | 2637826.2309 | 1195887.8704
19 | 2637824.8994 | 1195888.8181 | 2637826.2309 | 1195887.8704
20 | 2637841.6361 | 1195876.8284 | 2637860.1618 | 1195864.2829
21 | 2637824.8994 | 1195888.8181 | 2637808.9887 | 1195864.1262
22 | 2637824.8994 | 1195888.8181 | 2637813.5506 | 1195896.8323
23 | 2637808.9887 | 1195864.1262 | 2637803.6907 | 1195855.9017
24 | 2637813.5506 | 1195896.8323 | 2637802.5939 | 1195904.5697
25 | 2637794.6005 | 1195910.2145 | 2637802.5939 | 1195904.5697
26 | 2637794.6005 | 1195910.2145 | 2637793.8145 | 1195910.7696
27 | 2637779.7281 | 1195920.7171 | 2637793.8145 | 1195910.7696
28 | 2637779.7281 | 1195920.7171 | 2637773.3869 | 1195926.566

## bus_geodata
| x | y | coords
0 | 2637816.235 | 1195967.243
1 | 2637841.6373 | 1195976.6277
2 | 2637781.7158 | 1195972.6916
3 | 2637834.7509 | 1196006.7116
4 | 2637884.7369 | 1195975.9332
5 | 2637741.9541 | 1195958.6998
6 | 2637831.7035 | 1196009.1384
7 | 2637888.6862 | 1195981.4501
8 | 2637879.4918 | 1195919.9804
9 | 2637896.0716 | 1195908.7124
10 | 2637874.8035 | 1195991.49
11 | 2637719.2167 | 1195949.8405
12 | 2637753.7358 | 1195946.0575
13 | 2637865.6927 | 1196070.8872
14 | 2637869.9457 | 1196063.3211
15 | 2637727.774 | 1195915.4835
16 | 2637764.1419 | 1195935.0934
17 | 2637844.5601 | 1195902.452
18 | 2637826.2309 | 1195887.8704
19 | 2637841.6361 | 1195876.8284
20 | 2637824.8994 | 1195888.8181
21 | 2637860.1618 | 1195864.2829
22 | 2637808.9887 | 1195864.1262
23 | 2637813.5506 | 1195896.8323
24 | 2637803.6907 | 1195855.9017
25 | 2637802.5939 | 1195904.5697
26 | 2637794.6005 | 1195910.2145
27 | 2637793.8145 | 1195910.7696
28 | 2637779.7281 | 1195920.7171
29 | 2637773.3869 | 1195926.566
30 | 2637824.8994 | 1195888.8181

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98168 | -0.12841 | 0.06185 | 0.015501
1 | 0.98104 | -0.13298 | 0 | 0
2 | 0.98699 | -0.090763 | 0 | 0
3 | 0.98076 | -0.135 | 0.0017986 | 0.00045076
4 | 0.98011 | -0.13966 | 0 | 0
5 | 0.99176 | -0.057266 | 0 | 0
6 | 0.98074 | -0.13515 | 0 | 0
7 | 0.98009 | -0.1398 | 0 | 0
8 | 0.97913 | -0.14667 | 0 | 0
9 | 0.97887 | -0.1485 | 0.0087968 | 0.0022047
10 | 0.98004 | -0.14014 | 0.0019213 | 0.00048153
11 | 0.99143 | -0.0596 | 0 | 0
12 | 0.9939 | -0.042356 | 0.012101 | 0.0030328
13 | 0.98 | -0.14046 | 0 | 0
14 | 0.97995 | -0.1408 | 0.0037338 | 0.00093577
15 | 0.99106 | -0.062213 | 0.0070604 | 0.0017695
16 | 0.99603 | -0.027521 | 0.0061625 | 0.0015445
17 | 0.99254 | -0.052233 | 0.084115 | 0.021081
18 | 0.99589 | -0.028695 | 0 | 0
19 | 0.99566 | -0.030309 | 0.0044124 | 0.0011059
20 | 0.99611 | -0.027176 | 0 | 0
21 | 0.99553 | -0.031224 | 0.004059 | 0.0010173
22 | 0.99589 | -0.028705 | 0 | 0
23 | 0.99806 | -0.013539 | 0.0031677 | 0.00079391
24 | 0.99582 | -0.029215 | 0.0051757 | 0.0012971
25 | 1 | 0 | -0.22455 | -0.056378
26 | 0.99915 | -0.0058928 | 0.0067805 | 0.0016994
27 | 0.99907 | -0.0064402 | 0.001611 | 0.00040375
28 | 0.99767 | -0.016125 | 0 | 0
29 | 0.99697 | -0.02098 | 0.0086928 | 0.0021786
30 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.016286 | 0.0040815 | -0.016276 | -0.0040779 | 1.0298e-05 | 3.6185e-06 | 0.024686 | 0.024686 | 0.024686 | 0.98168 | -0.12841 | 0.98104 | -0.13298 | 9.143
1 | -0.078136 | -0.019583 | 0.078546 | 0.01974 | 0.00040938 | 0.00015686 | 0.11844 | 0.11844 | 0.11844 | 0.98168 | -0.12841 | 0.98699 | -0.090763 | 43.8658
2 | 0.0055369 | 0.001386 | -0.0055353 | -0.0013858 | 1.5424e-06 | 1.5078e-07 | 0.0083975 | 0.0083977 | 0.0083977 | 0.98104 | -0.13298 | 0.98076 | -0.135 | 3.1103
3 | 0.010739 | 0.0026919 | -0.010729 | -0.0026889 | 9.9377e-06 | 3.065e-06 | 0.016289 | 0.016289 | 0.016289 | 0.98104 | -0.13298 | 0.98011 | -0.13966 | 6.0329
4 | -0.078546 | -0.01974 | 0.078914 | 0.019881 | 0.00036801 | 0.000141 | 0.11844 | 0.11844 | 0.11844 | 0.98699 | -0.090763 | 0.99176 | -0.057266 | 43.8657
5 | 0.0037368 | 0.00093504 | -0.0037367 | -0.00093506 | 7.812e-08 | -1.9113e-08 | 0.0056689 | 0.0056689 | 0.0056689 | 0.98076 | -0.135 | 0.98074 | -0.13515 | 2.0996
6 | 0.0019214 | 0.00048127 | -0.0019214 | -0.00048135 | 3.5995e-08 | -7.1586e-08 | 0.0029171 | 0.0029171 | 0.0029171 | 0.98011 | -0.13966 | 0.98009 | -0.1398 | 1.0804
7 | 0.0088075 | 0.0022076 | -0.008799 | -0.0022053 | 8.5355e-06 | 2.3198e-06 | 0.013372 | 0.013372 | 0.013372 | 0.98011 | -0.13966 | 0.97913 | -0.14667 | 4.9527
8 | 0.0070653 | 0.0017705 | -0.007063 | -0.00177 | 2.282e-06 | 4.5789e-07 | 0.0106 | 0.010601 | 0.010601 | 0.99176 | -0.057266 | 0.99143 | -0.0596 | 3.9262
9 | -0.085979 | -0.021651 | 0.086159 | 0.02172 | 0.00017955 | 6.8834e-05 | 0.12904 | 0.12904 | 0.12904 | 0.99176 | -0.057266 | 0.9939 | -0.042356 | 47.7917
10 | 0.0037367 | 0.00093506 | -0.003734 | -0.00093573 | 2.7425e-06 | -6.6944e-07 | 0.0056689 | 0.0056696 | 0.0056696 | 0.98074 | -0.13515 | 0.98 | -0.14046 | 2.0998
11 | 0.0019214 | 0.00048135 | -0.0019213 | -0.00048153 | 9.0975e-08 | -1.8091e-07 | 0.0029171 | 0.0029172 | 0.0029172 | 0.98009 | -0.1398 | 0.98004 | -0.14014 | 1.0804
12 | 0.008799 | 0.0022053 | -0.0087968 | -0.0022047 | 2.2325e-06 | 6.0708e-07 | 0.013372 | 0.013372 | 0.013372 | 0.97913 | -0.14667 | 0.97887 | -0.1485 | 4.9527
13 | 0.007063 | 0.00177 | -0.0070604 | -0.0017695 | 2.5548e-06 | 5.1297e-07 | 0.010601 | 0.010601 | 0.010601 | 0.99143 | -0.0596 | 0.99106 | -0.062213 | 3.9262
14 | -0.09826 | -0.024753 | 0.098464 | 0.024831 | 0.00020432 | 7.8387e-05 | 0.14715 | 0.14715 | 0.14715 | 0.9939 | -0.042356 | 0.99603 | -0.027521 | 54.5017
15 | 0.003734 | 0.00093573 | -0.0037338 | -0.00093577 | 1.7487e-07 | -4.2585e-08 | 0.0056696 | 0.0056696 | 0.0056696 | 0.98 | -0.14046 | 0.97995 | -0.1408 | 2.0999
16 | -0.10463 | -0.026376 | 0.10472 | 0.026412 | 9.5939e-05 | 3.6572e-05 | 0.15636 | 0.15636 | 0.15636 | 0.99603 | -0.027521 | 0.99697 | -0.02098 | 28.9557
17 | -0.084115 | -0.021081 | 0.08439 | 0.021187 | 0.00027501 | 0.00010541 | 0.12611 | 0.12611 | 0.12611 | 0.99254 | -0.052233 | 0.99589 | -0.028695 | 46.7056
18 | 0.0084739 | 0.0021235 | -0.008472 | -0.0021231 | 1.8925e-06 | 4.8177e-07 | 0.012661 | 0.012661 | 0.012661 | 0.99589 | -0.028695 | 0.99566 | -0.030309 | 4.6894
19 | -0.092864 | -0.02331 | 0.092884 | 0.023318 | 1.9598e-05 | 7.5164e-06 | 0.13877 | 0.13877 | 0.13877 | 0.99589 | -0.028695 | 0.99611 | -0.027176 | 51.3949
20 | 0.0040595 | 0.0010172 | -0.004059 | -0.0010173 | 5.1389e-07 | -9.33e-08 | 0.0060669 | 0.006067 | 0.006067 | 0.99566 | -0.030309 | 0.99553 | -0.031224 | 2.247
21 | 0.0051771 | 0.0012972 | -0.0051761 | -0.0012972 | 1.0955e-06 | 3.9335e-08 | 0.0077337 | 0.0077338 | 0.0077338 | 0.99611 | -0.027176 | 0.99589 | -0.028705 | 2.8644
22 | -0.098061 | -0.024615 | 0.098247 | 0.024686 | 0.00018606 | 7.1382e-05 | 0.1465 | 0.1465 | 0.1465 | 0.99611 | -0.027176 | 0.99806 | -0.013539 | 54.2592
23 | 0.0051761 | 0.0012972 | -0.0051757 | -0.0012971 | 3.6514e-07 | 1.3151e-08 | 0.0077338 | 0.0077339 | 0.0077339 | 0.99589 | -0.028705 | 0.99582 | -0.029215 | 2.8644
24 | -0.10141 | -0.02548 | 0.10161 | 0.025554 | 0.00019141 | 7.3442e-05 | 0.15122 | 0.15122 | 0.15122 | 0.99806 | -0.013539 | 1 | 0 | 56.0084
25 | 0.12215 | 0.030824 | -0.12205 | -0.030786 | 0.00010095 | 3.8569e-05 | 0.18183 | 0.18183 | 0.18183 | 1 | 0 | 0.99915 | -0.0058928 | 33.6727
26 | 0.11527 | 0.029086 | -0.11526 | -0.029083 | 8.8538e-06 | 3.3801e-06 | 0.17173 | 0.17173 | 0.17173 | 0.99915 | -0.0058928 | 0.99907 | -0.0064402 | 31.8027
27 | 0.11365 | 0.028679 | -0.11349 | -0.02862 | 0.00015428 | 5.8887e-05 | 0.16933 | 0.16934 | 0.16934 | 0.99907 | -0.0064402 | 0.99767 | -0.016125 | 31.3584
28 | 0.11349 | 0.02862 | -0.11342 | -0.028591 | 7.7178e-05 | 2.9459e-05 | 0.16934 | 0.16934 | 0.16934 | 0.99767 | -0.016125 | 0.99697 | -0.02098 | 31.3584

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22957 | 0.057635

## res_load
| p_mw | q_mvar
0 | 0.06185 | 0.015501
1 | 0.0017986 | 0.00045076
2 | 0.0087968 | 0.0022047
3 | 0.0019213 | 0.00048153
4 | 0.012101 | 0.0030328
5 | 0.0037338 | 0.00093577
6 | 0.0070604 | 0.0017695
7 | 0.0061625 | 0.0015445
8 | 0.084115 | 0.021081
9 | 0.0044124 | 0.0011059
10 | 0.004059 | 0.0010173
11 | 0.0031677 | 0.00079391
12 | 0.0051757 | 0.0012971
13 | 0.0050162 | 0.0012572
14 | 0.0067805 | 0.0016994
15 | 0.001611 | 0.00040375
16 | 0.0086928 | 0.0021786

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1