## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1083-12_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1083-12_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1083-12_0_1_node_20 | 0.4 | n |  | TRUE
3 | bus_LV_1083-12_0_1_node_17 | 0.4 | n |  | TRUE
4 | bus_LV_1083-12_0_1_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_1083-12_0_1_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1083-12_0_1_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1083-12_0_1_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1083-12_0_1_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_1083-12_0_1_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_1083-12_0_1_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_1083-12_0_1_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1083-12_0_1_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1083-12_0_1_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1083-12_0_1_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_1083-12_0_1_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_1083-12_0_1_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1083-12_0_1_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1083-12_0_1_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1083-12_0_1_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_1083-12_0_1_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_1083-12_0_1_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_1083-12_0_1_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1083-12_0_1_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1083-12_0_1_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1083-12_0_1_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1083-12_0_1_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1083-12_0_1_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1083-12_0_1_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_1083-12_0_1_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1083-12_0_1_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_1083-12_0_1_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_1083-12_0_1_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1083-12_0_1_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_1083-12_0_1_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_1083-12_0_1_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_1083-12_0_1_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_1083-12_0_1_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_1083-12_0_1_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_1083-12_0_1_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_1083-12_0_1_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_1083-12_0_1_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_1083-12_0_1_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_1083-12_0_1_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_1083-12_0_1_node_79 | 0.4 | n |  | TRUE
45 | bus_MV_2_1_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1083-12_0_1_load_0 | 0 | 0.0029092 | 0.0007291 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1083-12_0_1_load_2 | 4 | 0.0037814 | 0.0009477 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1083-12_0_1_load_4 | 6 | 0.0040139 | 0.001006 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1083-12_0_1_load_5 | 7 | 0.0043291 | 0.001085 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1083-12_0_1_load_53 | 8 | 0.0033086 | 0.00082921 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1083-12_0_1_load_28 | 10 | 0.0019686 | 0.00049338 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1083-12_0_1_load_6 | 11 | 0.0026952 | 0.00067549 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1083-12_0_1_load_7 | 12 | 0.0045797 | 0.0011478 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1083-12_0_1_load_8 | 13 | 0.001796 | 0.00045012 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1083-12_0_1_load_40 | 14 | 0.0029182 | 0.00073138 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1083-12_0_1_load_15 | 16 | 0.0019555 | 0.0004901 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1083-12_0_1_load_16 | 17 | 0.002402 | 0.00060199 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1083-12_0_1_load_18 | 18 | 0.0012192 | 0.00030556 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1083-12_0_1_load_73 | 20 | 0.0018966 | 0.00047532 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1083-12_0_1_load_63 | 21 | 0.0040956 | 0.0010265 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1083-12_0_1_load_25 | 22 | 0.004196 | 0.0010516 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1083-12_0_1_load_29 | 25 | 0.0019686 | 0.00049338 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1083-12_0_1_load_30 | 26 | 0.0029245 | 0.00073296 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1083-12_0_1_load_31 | 27 | 0.0038054 | 0.00095373 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1083-12_0_1_load_41 | 28 | 0.0017962 | 0.00045017 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1083-12_0_1_load_32 | 29 | 0.0048789 | 0.0012228 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1083-12_0_1_load_33 | 30 | 0.0043207 | 0.0010829 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1083-12_0_1_load_34 | 31 | 0.0018094 | 0.00045349 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1083-12_0_1_load_35 | 32 | 0.0017783 | 0.00044568 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1083-12_0_1_load_39 | 34 | 0.00080296 | 0.00020124 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1083-12_0_1_load_82 | 35 | 0.0041998 | 0.0010526 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1083-12_0_1_load_59 | 36 | 0.00417 | 0.0010451 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1083-12_0_1_load_60 | 37 | 0.0044571 | 0.0011171 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1083-12_0_1_load_62 | 38 | 0.004371 | 0.0010955 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1083-12_0_1_load_72 | 41 | 0.0025504 | 0.00063919 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1083-12_0_1_load_81 | 43 | 0.0089994 | 0.0022555 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1083-12_0_1_load_79 | 44 | 0.0021743 | 0.00054493 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1083-12_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0074886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1083-12_0_1_line_1 | NAYY 4x150 SE | 1 | 2 | 0.075406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1083-12_0_1_line_2 | NAYY 4x150 SE | 2 | 3 | 0.050365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1083-12_0_1_line_3 | NAYY 4x150 SE | 3 | 9 | 0.035264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1083-12_0_1_line_4 | NAYY 4x150 SE | 3 | 16 | 0.0065578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1083-12_0_1_line_5 | NAYY 4x150 SE | 4 | 5 | 0.016918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1083-12_0_1_line_6 | NAYY 4x150 SE | 5 | 6 | 0.019905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1083-12_0_1_line_7 | NAYY 4x150 SE | 5 | 7 | 0.0080073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1083-12_0_1_line_8 | NAYY 4x150 SE | 6 | 8 | 4.2271e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1083-12_0_1_line_9 | NAYY 4x150 SE | 7 | 9 | 0.020893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1083-12_0_1_line_10 | NAYY 4x150 SE | 8 | 10 | 0.019098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1083-12_0_1_line_11 | NAYY 4x150 SE | 10 | 23 | 0.021234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1083-12_0_1_line_12 | NAYY 4x150 SE | 11 | 12 | 0.00025537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1083-12_0_1_line_13 | NAYY 4x150 SE | 12 | 13 | 0.019172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1083-12_0_1_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0060497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1083-12_0_1_line_15 | NAYY 4x150 SE | 14 | 15 | 0.015286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1083-12_0_1_line_16 | NAYY 4x150 SE | 15 | 28 | 0.020777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1083-12_0_1_line_17 | NAYY 4x150 SE | 15 | 32 | 0.033527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1083-12_0_1_line_18 | NAYY 4x150 SE | 16 | 17 | 0.034729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1083-12_0_1_line_19 | NAYY 4x150 SE | 17 | 18 | 0.031839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1083-12_0_1_line_20 | NAYY 4x150 SE | 19 | 20 | 0.019655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1083-12_0_1_line_21 | NAYY 4x150 SE | 19 | 21 | 0.018723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1083-12_0_1_line_22 | NAYY 4x150 SE | 20 | 42 | 0.040037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1083-12_0_1_line_23 | NAYY 4x150 SE | 21 | 31 | 0.0021346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1083-12_0_1_line_24 | NAYY 4x150 SE | 22 | 23 | 0.014278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1083-12_0_1_line_25 | NAYY 4x150 SE | 22 | 24 | 0.045521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1083-12_0_1_line_26 | NAYY 4x150 SE | 23 | 25 | 0.013218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1083-12_0_1_line_27 | NAYY 4x150 SE | 24 | 26 | 0.015312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1083-12_0_1_line_28 | NAYY 4x150 SE | 24 | 27 | 0.018101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1083-12_0_1_line_29 | NAYY 4x150 SE | 25 | 28 | 0.024909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1083-12_0_1_line_30 | NAYY 4x150 SE | 26 | 29 | 0.027112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1083-12_0_1_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0018452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1083-12_0_1_line_32 | NAYY 4x150 SE | 30 | 31 | 0.022422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1083-12_0_1_line_33 | NAYY 4x150 SE | 32 | 33 | 0.020099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1083-12_0_1_line_34 | NAYY 4x150 SE | 33 | 34 | 0.023279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1083-12_0_1_line_35 | NAYY 4x150 SE | 34 | 35 | 0.017772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1083-12_0_1_line_36 | NAYY 4x150 SE | 36 | 37 | 0.0015638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1083-12_0_1_line_37 | NAYY 4x150 SE | 37 | 38 | 0.023345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1083-12_0_1_line_38 | NAYY 4x150 SE | 38 | 39 | 0.016312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1083-12_0_1_line_39 | NAYY 4x150 SE | 39 | 40 | 0.003023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1083-12_0_1_line_40 | NAYY 4x150 SE | 39 | 41 | 0.017916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1083-12_0_1_line_41 | NAYY 4x150 SE | 40 | 43 | 0.014166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1083-12_0_1_line_42 | NAYY 4x150 SE | 40 | 44 | 0.014329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1083-12_0_1_line_43 | NAYY 4x150 SE | 42 | 44 | 0.016292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1083-12_0_1_trafo_2 | 0.25 MVA 20/0.4 kV | 45 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2650403.5352 | 1218551.9937 | 2650410.0724 | 1218555.6467
1 | 2650328.1388 | 1218553.1909 | 2650403.5352 | 1218551.9937
2 | 2650287.5501 | 1218582.8886 | 2650291.7002 | 1218579.4437 | 2650319.154 | 1218558.4515 | 2650328.1388 | 1218553.1909
3 | 2650287.5501 | 1218582.8886 | 2650296.5752 | 1218593.5267 | 2650310.0431 | 1218610.0948
4 | 2650287.5501 | 1218582.8886 | 2650283.8502 | 1218578.8438 | 2650283.1256 | 1218578.0483
5 | 2650290.5844 | 1218630.7209 | 2650301.3653 | 1218643.7588
6 | 2650290.5844 | 1218630.7209 | 2650286.1029 | 1218631.1611 | 2650274.186 | 1218640.9187
7 | 2650290.5844 | 1218630.7209 | 2650294 | 1218623.4787
8 | 2650274.1533 | 1218640.9455 | 2650274.186 | 1218640.9187
9 | 2650310.0431 | 1218610.0948 | 2650306.0075 | 1218613.4628 | 2650294 | 1218623.4787
10 | 2650274.1533 | 1218640.9455 | 2650259.3771 | 1218653.0442
11 | 2650242.9478 | 1218666.4965 | 2650259.3771 | 1218653.0442
12 | 2650227.4389 | 1218597.9295 | 2650227.2619 | 1218598.1136
13 | 2650227.2619 | 1218598.1136 | 2650213.9694 | 1218611.9291
14 | 2650209.7749 | 1218616.2886 | 2650213.9694 | 1218611.9291
15 | 2650199.1764 | 1218627.3041 | 2650209.7749 | 1218616.2886
16 | 2650199.1764 | 1218627.3041 | 2650215.5145 | 1218640.1391
17 | 2650199.1764 | 1218627.3041 | 2650172.5872 | 1218606.8809
18 | 2650259.3929 | 1218552.7069 | 2650265.735 | 1218558.9568 | 2650283.1256 | 1218578.0483
19 | 2650259.3929 | 1218552.7069 | 2650254.1737 | 1218547.5636 | 2650244.6378 | 1218538.978 | 2650235.7156 | 1218531.4399
20 | 2650348.0293 | 1218655.7542 | 2650360.942 | 1218670.5719
21 | 2650348.0293 | 1218655.7542 | 2650344.4249 | 1218659.2926 | 2650333.9444 | 1218668.0717
22 | 2650387.0513 | 1218700.9223 | 2650378.1401 | 1218690.3073 | 2650360.942 | 1218670.5719
23 | 2650332.308 | 1218669.4424 | 2650333.9444 | 1218668.0717
24 | 2650242.9478 | 1218666.4965 | 2650252.1044 | 1218677.4524
25 | 2650281.2965 | 1218712.3809 | 2650252.1044 | 1218677.4524
26 | 2650242.9478 | 1218666.4965 | 2650234.0419 | 1218656.7285
27 | 2650281.2965 | 1218712.3809 | 2650293.0473 | 1218702.5632
28 | 2650281.2965 | 1218712.3809 | 2650293.1441 | 1218726.0665
29 | 2650234.0419 | 1218656.7285 | 2650232.2321 | 1218654.7435 | 2650223.3102 | 1218646.2632 | 2650215.5145 | 1218640.1391
30 | 2650293.0473 | 1218702.5632 | 2650313.8532 | 1218685.1801
31 | 2650315.2692 | 1218683.997 | 2650313.8532 | 1218685.1801
32 | 2650332.308 | 1218669.4424 | 2650328.8934 | 1218672.3027 | 2650327.5762 | 1218673.7146 | 2650315.2692 | 1218683.997
33 | 2650156.6473 | 1218594.6375 | 2650172.5872 | 1218606.8809
34 | 2650156.6473 | 1218594.6375 | 2650170.6621 | 1218576.0494
35 | 2650181.3613 | 1218561.8589 | 2650170.6621 | 1218576.0494
36 | 2650331.0966 | 1218748.0654 | 2650332.2943 | 1218747.0599
37 | 2650350.1738 | 1218732.0501 | 2650332.2943 | 1218747.0599
38 | 2650362.667 | 1218721.5621 | 2650350.1738 | 1218732.0501
39 | 2650362.667 | 1218721.5621 | 2650365.6961 | 1218721.4432
40 | 2650362.667 | 1218721.5621 | 2650362.2124 | 1218718.7788 | 2650352.7722 | 1218706.9988
41 | 2650374.8024 | 1218732.3156 | 2650365.6961 | 1218721.4432
42 | 2650365.6961 | 1218721.4432 | 2650368.5706 | 1218720.7671 | 2650370.9505 | 1218714.8503 | 2650374.7202 | 1218711.5683
43 | 2650387.0513 | 1218700.9223 | 2650384.8119 | 1218702.7823 | 2650374.7202 | 1218711.5683

## bus_geodata
| x | y | coords
0 | 2650410.0724 | 1218555.6467
1 | 2650403.5352 | 1218551.9937
2 | 2650328.1388 | 1218553.1909
3 | 2650287.5501 | 1218582.8886
4 | 2650301.3653 | 1218643.7588
5 | 2650290.5844 | 1218630.7209
6 | 2650274.186 | 1218640.9187
7 | 2650294 | 1218623.4787
8 | 2650274.1533 | 1218640.9455
9 | 2650310.0431 | 1218610.0948
10 | 2650259.3771 | 1218653.0442
11 | 2650227.4389 | 1218597.9295
12 | 2650227.2619 | 1218598.1136
13 | 2650213.9694 | 1218611.9291
14 | 2650209.7749 | 1218616.2886
15 | 2650199.1764 | 1218627.3041
16 | 2650283.1256 | 1218578.0483
17 | 2650259.3929 | 1218552.7069
18 | 2650235.7156 | 1218531.4399
19 | 2650348.0294 | 1218655.7542
20 | 2650360.942 | 1218670.5719
21 | 2650333.9444 | 1218668.0717
22 | 2650252.1044 | 1218677.4524
23 | 2650242.9478 | 1218666.4965
24 | 2650281.2965 | 1218712.3809
25 | 2650234.0419 | 1218656.7285
26 | 2650293.0473 | 1218702.5632
27 | 2650293.1441 | 1218726.0665
28 | 2650215.5145 | 1218640.1391
29 | 2650313.8532 | 1218685.1801
30 | 2650315.2692 | 1218683.997
31 | 2650332.308 | 1218669.4424
32 | 2650172.5872 | 1218606.8809
33 | 2650156.6473 | 1218594.6375
34 | 2650170.6621 | 1218576.0494
35 | 2650181.3613 | 1218561.8589
36 | 2650331.0966 | 1218748.0654
37 | 2650332.2943 | 1218747.0599
38 | 2650350.1738 | 1218732.0501
39 | 2650362.667 | 1218721.5621
40 | 2650365.6961 | 1218721.4432
41 | 2650352.7722 | 1218706.9988
42 | 2650387.0513 | 1218700.9223
43 | 2650374.8024 | 1218732.3156
44 | 2650374.7202 | 1218711.5683
45 | 2650301.3653 | 1218643.7588

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99619 | -0.026553 | 0.0029092 | 0.0007291
1 | 0.99622 | -0.026334 | 0 | 0
2 | 0.99653 | -0.024125 | 0 | 0
3 | 0.99674 | -0.022648 | 0 | 0
4 | 1 | 0 | -0.10147 | -0.025403
5 | 0.99757 | -0.01682 | 0 | 0
6 | 0.99508 | -0.034137 | 0.0040139 | 0.001006
7 | 0.99742 | -0.017851 | 0.0043291 | 0.001085
8 | 0.99507 | -0.034172 | 0.0033086 | 0.00082921
9 | 0.99717 | -0.019635 | 0 | 0
10 | 0.99288 | -0.049452 | 0.0019686 | 0.00049338
11 | 0.98823 | -0.082199 | 0.0026952 | 0.00067549
12 | 0.98823 | -0.082192 | 0.0045797 | 0.0011478
13 | 0.98843 | -0.080767 | 0.001796 | 0.00045012
14 | 0.98851 | -0.080206 | 0.0029182 | 0.00073138
15 | 0.98877 | -0.078335 | 0 | 0
16 | 0.99669 | -0.023016 | 0.0019555 | 0.0004901
17 | 0.99651 | -0.024281 | 0.002402 | 0.00060199
18 | 0.99646 | -0.024672 | 0.0012192 | 0.00030556
19 | 0.98115 | -0.13214 | 0 | 0
20 | 0.98033 | -0.13798 | 0.0018966 | 0.00047532
21 | 0.98193 | -0.12659 | 0.0040956 | 0.0010265
22 | 0.98937 | -0.074047 | 0.004196 | 0.0010516
23 | 0.99051 | -0.066095 | 0 | 0
24 | 0.98603 | -0.097556 | 0 | 0
25 | 0.99008 | -0.069129 | 0.0019686 | 0.00049338
26 | 0.98499 | -0.1049 | 0.0029245 | 0.00073296
27 | 0.98593 | -0.098263 | 0.0038054 | 0.00095373
28 | 0.98934 | -0.074353 | 0.0017962 | 0.00045017
29 | 0.98327 | -0.11712 | 0.0048789 | 0.0012228
30 | 0.98316 | -0.11786 | 0.0043207 | 0.0010829
31 | 0.98203 | -0.12587 | 0.0018094 | 0.00045349
32 | 0.98845 | -0.080659 | 0.0017783 | 0.00044568
33 | 0.9883 | -0.081687 | 0 | 0
34 | 0.98813 | -0.082878 | 0.00080296 | 0.00020124
35 | 0.98803 | -0.083641 | 0.0041998 | 0.0010526
36 | 0.97694 | -0.16221 | 0.00417 | 0.0010451
37 | 0.97695 | -0.16214 | 0.0044571 | 0.0011171
38 | 0.97724 | -0.16004 | 0.004371 | 0.0010955
39 | 0.97755 | -0.15782 | 0 | 0
40 | 0.97762 | -0.15733 | 0 | 0
41 | 0.97749 | -0.1583 | 0.0025504 | 0.00063919
42 | 0.97877 | -0.14912 | 0 | 0
43 | 0.97744 | -0.15866 | 0.0089994 | 0.0022555
44 | 0.97814 | -0.15366 | 0.0021743 | 0.00054493
45 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0029092 | -0.0007291 | 0.0029092 | 0.00072904 | 8.8237e-08 | -6.3564e-08 | 0.0043454 | 0.0043454 | 0.0043454 | 0.99619 | -0.026553 | 0.99622 | -0.026334 | 1.6094
1 | -0.0029092 | -0.00072904 | 0.0029101 | 0.0007284 | 8.8841e-07 | -6.4042e-07 | 0.0043454 | 0.0043451 | 0.0043454 | 0.99622 | -0.026334 | 0.99653 | -0.024125 | 1.6094
2 | -0.0029101 | -0.0007284 | 0.0029107 | 0.00072797 | 5.9331e-07 | -4.2812e-07 | 0.0043451 | 0.0043448 | 0.0043451 | 0.99653 | -0.024125 | 0.99674 | -0.022648 | 1.6093
3 | -0.0084884 | -0.0021251 | 0.008492 | 0.002126 | 3.5331e-06 | 8.9906e-07 | 0.012671 | 0.012671 | 0.012671 | 0.99674 | -0.022648 | 0.99717 | -0.019635 | 4.6931
4 | 0.0055777 | 0.0013971 | -0.0055774 | -0.0013971 | 2.8371e-07 | 2.3649e-08 | 0.0083265 | 0.0083266 | 0.0083266 | 0.99674 | -0.022648 | 0.99669 | -0.023016 | 3.0839
5 | 0.10067 | 0.025403 | -0.10043 | -0.025312 | 0.00023708 | 9.0962e-05 | 0.14986 | 0.14986 | 0.14986 | 1 | 0 | 0.99757 | -0.01682 | 55.5028
6 | 0.087606 | 0.0221 | -0.087394 | -0.022019 | 0.00021227 | 8.1383e-05 | 0.13073 | 0.13073 | 0.13073 | 0.99757 | -0.01682 | 0.99508 | -0.034137 | 48.4178
7 | 0.012825 | 0.0032121 | -0.012823 | -0.0032115 | 1.8284e-06 | 5.9872e-07 | 0.019129 | 0.01913 | 0.01913 | 0.99757 | -0.01682 | 0.99742 | -0.017851 | 7.085
8 | 0.08338 | 0.021013 | -0.08338 | -0.021013 | 4.1033e-07 | 1.5727e-07 | 0.12473 | 0.12473 | 0.12473 | 0.99508 | -0.034137 | 0.99507 | -0.034172 | 46.1947
9 | 0.008494 | 0.0021265 | -0.008492 | -0.002126 | 2.0932e-06 | 5.3246e-07 | 0.012671 | 0.012671 | 0.012671 | 0.99742 | -0.017851 | 0.99717 | -0.019635 | 4.693
10 | 0.080071 | 0.020184 | -0.0799 | -0.020118 | 0.00017097 | 6.551e-05 | 0.11978 | 0.11978 | 0.11978 | 0.99507 | -0.034172 | 0.99288 | -0.049452 | 44.3623
11 | 0.077932 | 0.019625 | -0.077751 | -0.019555 | 0.00018085 | 6.9283e-05 | 0.11683 | 0.11683 | 0.11683 | 0.99288 | -0.049452 | 0.99051 | -0.066095 | 43.2697
12 | -0.0026952 | -0.00067549 | 0.0026952 | 0.00067549 | 2.6248e-09 | -2.2625e-09 | 0.0040583 | 0.0040583 | 0.0040583 | 0.98823 | -0.082199 | 0.98823 | -0.082192 | 1.5031
13 | -0.0072749 | -0.0018233 | 0.0072764 | 0.0018236 | 1.4355e-06 | 3.0643e-07 | 0.010954 | 0.010954 | 0.010954 | 0.98823 | -0.082192 | 0.98843 | -0.080767 | 4.0571
14 | -0.0090724 | -0.0022737 | 0.0090731 | 0.0022739 | 7.0418e-07 | 1.9329e-07 | 0.013658 | 0.013658 | 0.013658 | 0.98843 | -0.080767 | 0.98851 | -0.080206 | 5.0584
15 | -0.011991 | -0.0030053 | 0.011994 | 0.0030063 | 3.1079e-06 | 9.9933e-07 | 0.018051 | 0.018051 | 0.018051 | 0.98851 | -0.080206 | 0.98877 | -0.078335 | 6.6854
16 | -0.01878 | -0.0047061 | 0.01879 | 0.0047099 | 1.0355e-05 | 3.716e-06 | 0.028261 | 0.028261 | 0.028261 | 0.98877 | -0.078335 | 0.98934 | -0.074353 | 10.4672
17 | 0.0067852 | 0.0016999 | -0.006783 | -0.0016995 | 2.1813e-06 | 4.0907e-07 | 0.010211 | 0.010211 | 0.010211 | 0.98877 | -0.078335 | 0.98845 | -0.080659 | 3.7819
18 | 0.0036219 | 0.00090695 | -0.0036212 | -0.00090716 | 6.3358e-07 | -2.0884e-07 | 0.005407 | 0.0054072 | 0.0054072 | 0.99669 | -0.023016 | 0.99651 | -0.024281 | 2.0027
19 | 0.0012193 | 0.00030517 | -0.0012192 | -0.00030556 | 6.5853e-08 | -3.8945e-07 | 0.0018205 | 0.0018207 | 0.0018207 | 0.99651 | -0.024281 | 0.99646 | -0.024672 | 0.67432
20 | 0.028722 | 0.0072102 | -0.028699 | -0.0072015 | 2.3276e-05 | 8.7043e-06 | 0.043564 | 0.043564 | 0.043564 | 0.98115 | -0.13214 | 0.98033 | -0.13798 | 16.1349
21 | -0.028722 | -0.0072102 | 0.028744 | 0.0072185 | 2.2172e-05 | 8.2911e-06 | 0.043564 | 0.043564 | 0.043564 | 0.98115 | -0.13214 | 0.98193 | -0.12659 | 16.1349
22 | 0.026802 | 0.0067262 | -0.026761 | -0.0067108 | 4.1355e-05 | 1.5402e-05 | 0.040686 | 0.040686 | 0.040686 | 0.98033 | -0.13798 | 0.97877 | -0.14912 | 15.0688
23 | -0.03284 | -0.0082449 | 0.032843 | 0.0082462 | 3.2995e-06 | 1.242e-06 | 0.049771 | 0.049771 | 0.049771 | 0.98193 | -0.12659 | 0.98203 | -0.12587 | 18.4335
24 | -0.05511 | -0.01387 | 0.055172 | 0.013893 | 6.1241e-05 | 2.3371e-05 | 0.082907 | 0.082907 | 0.082907 | 0.98937 | -0.074047 | 0.99051 | -0.066095 | 30.7062
25 | 0.050914 | 0.012818 | -0.050748 | -0.012755 | 0.00016665 | 6.3514e-05 | 0.076596 | 0.076596 | 0.076596 | 0.98937 | -0.074047 | 0.98603 | -0.097556 | 28.3689
26 | 0.022579 | 0.0056623 | -0.02257 | -0.0056588 | 9.491e-06 | 3.4803e-06 | 0.033921 | 0.033921 | 0.033921 | 0.99051 | -0.066095 | 0.99008 | -0.069129 | 12.5635
27 | 0.046942 | 0.011801 | -0.046894 | -0.011783 | 4.7967e-05 | 1.8254e-05 | 0.070853 | 0.070853 | 0.070853 | 0.98603 | -0.097556 | 0.98499 | -0.1049 | 26.2418
28 | 0.0038058 | 0.00095365 | -0.0038054 | -0.00095373 | 3.7258e-07 | -8.7565e-08 | 0.0057433 | 0.0057434 | 0.0057434 | 0.98603 | -0.097556 | 0.98593 | -0.098263 | 2.1272
29 | 0.020601 | 0.0051654 | -0.020586 | -0.00516 | 1.4901e-05 | 5.4111e-06 | 0.030963 | 0.030963 | 0.030963 | 0.99008 | -0.069129 | 0.98934 | -0.074353 | 11.4677
30 | 0.043969 | 0.01105 | -0.043895 | -0.011021 | 7.4669e-05 | 2.8374e-05 | 0.066435 | 0.066435 | 0.066435 | 0.98499 | -0.1049 | 0.98327 | -0.11712 | 24.6056
31 | 0.039016 | 0.0097986 | -0.039012 | -0.0097971 | 4.0151e-06 | 1.5209e-06 | 0.059052 | 0.059052 | 0.059052 | 0.98327 | -0.11712 | 0.98316 | -0.11786 | 21.8709
32 | 0.034691 | 0.0087142 | -0.034653 | -0.0086997 | 3.8582e-05 | 1.4555e-05 | 0.052512 | 0.052512 | 0.052512 | 0.98316 | -0.11786 | 0.98203 | -0.12587 | 19.449
33 | 0.0050047 | 0.0012538 | -0.005004 | -0.0012538 | 7.1191e-07 | 1.6217e-08 | 0.007534 | 0.0075341 | 0.0075341 | 0.98845 | -0.080659 | 0.9883 | -0.081687 | 2.7904
34 | 0.005004 | 0.0012538 | -0.0050032 | -0.0012538 | 8.2457e-07 | 1.8886e-08 | 0.0075341 | 0.0075342 | 0.0075342 | 0.9883 | -0.081687 | 0.98813 | -0.082878 | 2.7904
35 | 0.0042002 | 0.0010525 | -0.0041998 | -0.0010526 | 4.4366e-07 | -5.6991e-08 | 0.006325 | 0.0063251 | 0.0063251 | 0.98813 | -0.082878 | 0.98803 | -0.083641 | 2.3426
36 | -0.00417 | -0.0010451 | 0.00417 | 0.0010451 | 3.9366e-08 | -4.4408e-09 | 0.0063514 | 0.0063514 | 0.0063514 | 0.97694 | -0.16221 | 0.97695 | -0.16214 | 2.3524
37 | -0.0086271 | -0.0021621 | 0.0086296 | 0.0021628 | 2.5152e-06 | 6.7497e-07 | 0.01314 | 0.01314 | 0.01314 | 0.97695 | -0.16214 | 0.97724 | -0.16004 | 4.8667
38 | -0.013001 | -0.0032583 | 0.013005 | 0.0032596 | 3.9886e-06 | 1.3296e-06 | 0.019796 | 0.019795 | 0.019796 | 0.97724 | -0.16004 | 0.97755 | -0.15782 | 7.3317
39 | -0.015555 | -0.0038986 | 0.015556 | 0.003899 | 1.0576e-06 | 3.6885e-07 | 0.023678 | 0.023678 | 0.023678 | 0.97755 | -0.15782 | 0.97762 | -0.15733 | 8.7696
40 | 0.0025506 | 0.00063903 | -0.0025504 | -0.00063919 | 1.6851e-07 | -1.5979e-07 | 0.0038824 | 0.0038825 | 0.0038825 | 0.97755 | -0.15782 | 0.97749 | -0.1583 | 1.4379
41 | 0.009001 | 0.0022559 | -0.0089994 | -0.0022555 | 1.6592e-06 | 4.6056e-07 | 0.0137 | 0.0137 | 0.0137 | 0.97762 | -0.15733 | 0.97744 | -0.15866 | 5.0742
42 | -0.024557 | -0.0061549 | 0.02457 | 0.0061596 | 1.2492e-05 | 4.6247e-06 | 0.037378 | 0.037378 | 0.037378 | 0.97762 | -0.15733 | 0.97814 | -0.15366 | 13.8437
43 | 0.026761 | 0.0067108 | -0.026744 | -0.0067045 | 1.6828e-05 | 6.2677e-06 | 0.040686 | 0.040686 | 0.040686 | 0.97877 | -0.14912 | 0.97814 | -0.15366 | 15.0688

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10525 | 0.026351

## res_load
| p_mw | q_mvar
0 | 0.0029092 | 0.0007291
1 | 0.0037814 | 0.0009477
2 | 0.0040139 | 0.001006
3 | 0.0043291 | 0.001085
4 | 0.0033086 | 0.00082921
5 | 0.0019686 | 0.00049338
6 | 0.0026952 | 0.00067549
7 | 0.0045797 | 0.0011478
8 | 0.001796 | 0.00045012
9 | 0.0029182 | 0.00073138
10 | 0.0019555 | 0.0004901
11 | 0.002402 | 0.00060199
12 | 0.0012192 | 0.00030556
13 | 0.0018966 | 0.00047532
14 | 0.0040956 | 0.0010265
15 | 0.004196 | 0.0010516
16 | 0.0019686 | 0.00049338
17 | 0.0029245 | 0.00073296
18 | 0.0038054 | 0.00095373
19 | 0.0017962 | 0.00045017
20 | 0.0048789 | 0.0012228
21 | 0.0043207 | 0.0010829
22 | 0.0018094 | 0.00045349
23 | 0.0017783 | 0.00044568
24 | 0.00080296 | 0.00020124
25 | 0.0041998 | 0.0010526
26 | 0.00417 | 0.0010451
27 | 0.0044571 | 0.0011171
28 | 0.004371 | 0.0010955
29 | 0.0025504 | 0.00063919
30 | 0.0089994 | 0.0022555
31 | 0.0021743 | 0.00054493

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1