## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1083-12_1_2_node_9 | 0.4 | n |  | TRUE
1 | bus_LV_1083-12_1_2_node_10 | 0.4 | n |  | TRUE
2 | bus_LV_1083-12_1_2_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_1083-12_1_2_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_1083-12_1_2_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_1083-12_1_2_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_1083-12_1_2_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_1083-12_1_2_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1083-12_1_2_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_1083-12_1_2_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1083-12_1_2_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_1083-12_1_2_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_1083-12_1_2_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_1083-12_1_2_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_1083-12_1_2_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_1083-12_1_2_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_1083-12_1_2_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_1083-12_1_2_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_1083-12_1_2_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_1083-12_1_2_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_1083-12_1_2_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_1083-12_1_2_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_1083-12_1_2_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_1083-12_1_2_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_1083-12_1_2_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_1083-12_1_2_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_1083-12_1_2_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_1083-12_1_2_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_1083-12_1_2_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_1083-12_1_2_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_1083-12_1_2_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_1083-12_1_2_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_1083-12_1_2_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_1083-12_1_2_node_77 | 0.4 | n |  | TRUE
34 | bus_LV_1083-12_1_2_node_78 | 0.4 | n |  | TRUE
35 | bus_MV_2_1_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1083-12_1_2_load_9 | 0 | 0.0016964 | 0.00042515 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1083-12_1_2_load_10 | 1 | 0.0036526 | 0.00091543 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1083-12_1_2_load_13 | 3 | 0.0046806 | 0.0011731 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1083-12_1_2_load_14 | 4 | 0.0042403 | 0.0010627 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1083-12_1_2_load_21 | 5 | 0.0030866 | 0.00077357 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1083-12_1_2_load_58 | 6 | 0.01033 | 0.002589 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1083-12_1_2_load_23 | 8 | 0.00076357 | 0.00019137 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1083-12_1_2_load_24 | 9 | 0.00076893 | 0.00019271 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1083-12_1_2_load_69 | 10 | 0.0037056 | 0.0009287 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1083-12_1_2_load_74 | 11 | 0.00086941 | 0.00021789 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1083-12_1_2_load_38 | 12 | 0.00081243 | 0.00020361 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1083-12_1_2_load_47 | 13 | 0.0024524 | 0.00061463 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1083-12_1_2_load_42 | 14 | 0.0073206 | 0.0018347 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1083-12_1_2_load_43 | 15 | 0.001755 | 0.00043984 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1083-12_1_2_load_45 | 17 | 0.0082164 | 0.0020592 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1083-12_1_2_load_46 | 18 | 0.0029429 | 0.00073755 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1083-12_1_2_load_54 | 19 | 0.001825 | 0.00045738 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1083-12_1_2_load_48 | 20 | 0.0034593 | 0.00086697 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1083-12_1_2_load_49 | 21 | 0.0036877 | 0.00092421 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1083-12_1_2_load_50 | 22 | 0.0015641 | 0.00039199 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1083-12_1_2_load_51 | 23 | 0.0058637 | 0.0014696 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1083-12_1_2_load_52 | 24 | 0.0033238 | 0.00083303 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1083-12_1_2_load_68 | 25 | 0.0051313 | 0.001286 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1083-12_1_2_load_55 | 27 | 0.0089762 | 0.0022497 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1083-12_1_2_load_56 | 28 | 0.0017556 | 0.00043999 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1083-12_1_2_load_57 | 29 | 0.0015105 | 0.00037856 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1083-12_1_2_load_66 | 30 | 0.0067218 | 0.0016846 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1083-12_1_2_load_75 | 31 | 0.0074759 | 0.0018736 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1083-12_1_2_load_76 | 32 | 0.014518 | 0.0036386 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1083-12_1_2_load_77 | 33 | 0.0050533 | 0.0012665 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1083-12_1_2_load_78 | 34 | 0.0032425 | 0.00081265 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1083-12_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1083-12_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.033316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1083-12_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.011321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1083-12_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1083-12_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.045116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1083-12_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0073677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1083-12_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.026981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1083-12_1_2_line_7 | NAYY 4x150 SE | 6 | 17 | 0.027414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1083-12_1_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.002492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1083-12_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.011329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1083-12_1_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.030351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1083-12_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0075756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1083-12_1_2_line_12 | NAYY 4x150 SE | 10 | 31 | 0.038899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1083-12_1_2_line_13 | NAYY 4x150 SE | 10 | 25 | 0.026613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1083-12_1_2_line_14 | NAYY 4x150 SE | 11 | 29 | 0.04591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1083-12_1_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1083-12_1_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.016464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1083-12_1_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.016991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1083-12_1_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.050754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1083-12_1_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.018024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1083-12_1_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.020031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1083-12_1_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.01619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1083-12_1_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0073547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1083-12_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.009942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1083-12_1_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.023161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1083-12_1_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.02733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1083-12_1_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.014728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1083-12_1_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.042731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1083-12_1_2_line_28 | NAYY 4x150 SE | 26 | 30 | 0.022799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1083-12_1_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.03618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1083-12_1_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.012315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1083-12_1_2_line_31 | NAYY 4x150 SE | 31 | 32 | 0.015423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1083-12_1_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.018471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1083-12_1_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.034657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1083-12_1_2_trafo_21 | 0.25 MVA 20/0.4 kV | 35 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2649990.9479 | 1218463.4377 | 2649968.805 | 1218464.027
1 | 2650024.1559 | 1218461.1881 | 2650008.5444 | 1218462.9693 | 2649990.9479 | 1218463.4377
2 | 2650024.1559 | 1218461.1881 | 2650032.8984 | 1218458.5599 | 2650035.0287 | 1218458.0443
3 | 2650024.1559 | 1218461.1881 | 2650033.2269 | 1218466.6011
4 | 2650035.0287 | 1218458.0443 | 2650044.0854 | 1218455.8521 | 2650059.9146 | 1218453.4613 | 2650079.3173 | 1218452.1235 | 2650079.6571 | 1218452.1022
5 | 2650039.491 | 1218470.4781 | 2650036.2311 | 1218468.3938 | 2650033.2269 | 1218466.6011
6 | 2650106.3106 | 1218448.8594 | 2650099.5163 | 1218450.8591 | 2650079.6571 | 1218452.1022
7 | 2650039.491 | 1218470.4781 | 2650045.3579 | 1218474.2295 | 2650050.4601 | 1218480.3204 | 2650056.6253 | 1218491.2001
8 | 2650106.3106 | 1218448.8594 | 2650104.1445 | 1218447.6273
9 | 2650106.3106 | 1218448.8594 | 2650116.0981 | 1218454.5646
10 | 2650077.7625 | 1218432.6211 | 2650104.1445 | 1218447.6273
11 | 2650116.0981 | 1218454.5646 | 2650122.6429 | 1218458.3797
12 | 2650077.7625 | 1218432.6211 | 2650102.4167 | 1218402.5322
13 | 2650054.213 | 1218420.2578 | 2650065.9976 | 1218425.9291 | 2650077.7625 | 1218432.6211
14 | 2650162.306 | 1218481.4998 | 2650122.6429 | 1218458.3797
15 | 2650121.6693 | 1218567.9889 | 2650146.0097 | 1218586.5331
16 | 2650108.5727 | 1218558.0111 | 2650121.6693 | 1218567.9889
17 | 2650065.4703 | 1218506.9049 | 2650073.7822 | 1218521.7242
18 | 2650108.5727 | 1218558.0111 | 2650096.6125 | 1218548.894 | 2650084.3703 | 1218537.1951 | 2650076.6927 | 1218526.9133 | 2650073.7822 | 1218521.7242
19 | 2650065.4703 | 1218506.9049 | 2650060.1899 | 1218497.4903 | 2650056.6253 | 1218491.2001
20 | 2650108.5727 | 1218558.0111 | 2650120.6148 | 1218542.0034
21 | 2650130.3476 | 1218529.0655 | 2650120.6148 | 1218542.0034
22 | 2650012.0723 | 1218403.9376 | 2650017.8667 | 1218405.7241 | 2650019.0859 | 1218406.1489
23 | 2650012.0723 | 1218403.9376 | 2650002.5715 | 1218401.0086
24 | 2650019.0859 | 1218406.1489 | 2650034.1142 | 1218411.386 | 2650040.7857 | 1218414.2155
25 | 2649976.4548 | 1218392.9569 | 2650002.5715 | 1218401.0086
26 | 2650054.213 | 1218420.2578 | 2650048.1279 | 1218417.3294 | 2650040.7857 | 1218414.2155
27 | 2649935.5785 | 1218380.508 | 2649947.321 | 1218383.9751 | 2649976.4548 | 1218392.9569
28 | 2649935.5785 | 1218380.508 | 2649930.4693 | 1218397.8757 | 2649928.8286 | 1218401.6642 | 2649928.5336 | 1218402.1483
29 | 2650203.5495 | 1218506.9571 | 2650189.3128 | 1218497.2423 | 2650172.9458 | 1218487.7018
30 | 2650162.306 | 1218481.4998 | 2650172.9458 | 1218487.7018
31 | 2650102.4167 | 1218402.5322 | 2650098.6142 | 1218399.2759 | 2650089.6097 | 1218394.0387
32 | 2650089.6097 | 1218394.0387 | 2650073.6428 | 1218384.7522
33 | 2650073.6428 | 1218384.7522 | 2650064.9818 | 1218379.7149 | 2650049.1649 | 1218372.4777 | 2650042.0603 | 1218371.0645

## bus_geodata
| x | y | coords
0 | 2649990.9479 | 1218463.4377
1 | 2649968.805 | 1218464.027
2 | 2650024.1559 | 1218461.1881
3 | 2650035.0287 | 1218458.0443
4 | 2650033.2269 | 1218466.6011
5 | 2650079.6571 | 1218452.1022
6 | 2650039.491 | 1218470.4781
7 | 2650106.3106 | 1218448.8594
8 | 2650104.1445 | 1218447.6273
9 | 2650116.0981 | 1218454.5646
10 | 2650077.7625 | 1218432.6211
11 | 2650122.6429 | 1218458.3797
12 | 2650146.0097 | 1218586.5331
13 | 2650121.6693 | 1218567.9889
14 | 2650073.7822 | 1218521.7242
15 | 2650065.4703 | 1218506.9049
16 | 2650108.5727 | 1218558.0111
17 | 2650056.6253 | 1218491.2001
18 | 2650120.6148 | 1218542.0034
19 | 2650130.3476 | 1218529.0655
20 | 2650012.0722 | 1218403.9376
21 | 2650019.0859 | 1218406.1489
22 | 2650002.5715 | 1218401.0086
23 | 2650040.7857 | 1218414.2155
24 | 2649976.4548 | 1218392.9569
25 | 2650054.213 | 1218420.2578
26 | 2649935.5785 | 1218380.508
27 | 2650203.5495 | 1218506.9571
28 | 2650172.9458 | 1218487.7018
29 | 2650162.306 | 1218481.4998
30 | 2649928.5336 | 1218402.1483
31 | 2650102.4167 | 1218402.5322
32 | 2650089.6097 | 1218394.0387
33 | 2650073.6428 | 1218384.7522
34 | 2650042.0603 | 1218371.0645
35 | 2650106.3106 | 1218448.8594

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99578 | -0.029512 | 0.0016964 | 0.00042515
1 | 0.99567 | -0.030327 | 0.0036526 | 0.00091543
2 | 0.99604 | -0.027718 | 0 | 0
3 | 0.99677 | -0.022566 | 0.0046806 | 0.0011731
4 | 0.99543 | -0.031962 | 0.0042403 | 0.0010627
5 | 1 | 0 | -0.12996 | -0.032474
6 | 0.99506 | -0.03461 | 0.01033 | 0.002589
7 | 0.99696 | -0.021185 | 0 | 0
8 | 0.99673 | -0.0228 | 0.00076357 | 0.00019137
9 | 0.99674 | -0.022765 | 0.00076893 | 0.00019271
10 | 0.99395 | -0.0423 | 0.0037056 | 0.0009287
11 | 0.9966 | -0.023764 | 0.00086941 | 0.00021789
12 | 0.99254 | -0.052309 | 0.00081243 | 0.00020361
13 | 0.99258 | -0.052057 | 0.0024524 | 0.00061463
14 | 0.99324 | -0.047379 | 0.0073206 | 0.0018347
15 | 0.99362 | -0.044739 | 0.001755 | 0.00043984
16 | 0.99266 | -0.051512 | 0 | 0
17 | 0.99406 | -0.04162 | 0.0082164 | 0.0020592
18 | 0.99252 | -0.05248 | 0.0029429 | 0.00073755
19 | 0.99248 | -0.052779 | 0.001825 | 0.00045738
20 | 0.99151 | -0.059522 | 0.0034593 | 0.00086697
21 | 0.99167 | -0.058396 | 0.0036877 | 0.00092421
22 | 0.99134 | -0.060695 | 0.0015641 | 0.00039199
23 | 0.99229 | -0.053988 | 0.0058637 | 0.0014696
24 | 0.99095 | -0.063486 | 0.0033238 | 0.00083303
25 | 0.99281 | -0.050312 | 0.0051313 | 0.001286
26 | 0.99053 | -0.066409 | 0 | 0
27 | 0.99514 | -0.034022 | 0.0089762 | 0.0022497
28 | 0.9956 | -0.03075 | 0.0017556 | 0.00043999
29 | 0.99579 | -0.029419 | 0.0015105 | 0.00037856
30 | 0.99031 | -0.067968 | 0.0067218 | 0.0016846
31 | 0.99226 | -0.054226 | 0.0074759 | 0.0018736
32 | 0.99175 | -0.057796 | 0.014518 | 0.0036386
33 | 0.99153 | -0.059352 | 0.0050533 | 0.0012665
34 | 0.99137 | -0.060493 | 0.0032425 | 0.00081265
35 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.003653 | 0.0009153 | -0.0036526 | -0.00091543 | 4.1187e-07 | -1.2971e-07 | 0.0054587 | 0.0054588 | 0.0054588 | 0.99578 | -0.029512 | 0.99567 | -0.030327 | 2.0218
1 | -0.0053494 | -0.0013405 | 0.0053507 | 0.0013405 | 1.3283e-06 | 7.7393e-08 | 0.0079936 | 0.0079935 | 0.0079936 | 0.99578 | -0.029512 | 0.99604 | -0.027718 | 2.9606
2 | -0.045326 | -0.011367 | 0.045358 | 0.011379 | 3.2393e-05 | 1.2311e-05 | 0.067717 | 0.067717 | 0.067717 | 0.99604 | -0.027718 | 0.99677 | -0.022566 | 25.0802
3 | 0.039975 | 0.010027 | -0.039952 | -0.010018 | 2.3511e-05 | 8.9052e-06 | 0.059723 | 0.059723 | 0.059723 | 0.99604 | -0.027718 | 0.99543 | -0.031962 | 22.1197
4 | -0.050039 | -0.012553 | 0.050196 | 0.012612 | 0.00015711 | 5.9837e-05 | 0.074704 | 0.074704 | 0.074704 | 0.99677 | -0.022566 | 1 | 0 | 27.6681
5 | 0.035711 | 0.008955 | -0.035698 | -0.00895 | 1.3102e-05 | 4.9436e-06 | 0.053384 | 0.053385 | 0.053385 | 0.99543 | -0.031962 | 0.99506 | -0.03461 | 19.772
6 | 0.078965 | 0.019862 | -0.078733 | -0.019772 | 0.00023254 | 8.9087e-05 | 0.11753 | 0.11753 | 0.11753 | 1 | 0 | 0.99696 | -0.021185 | 43.5283
7 | 0.025368 | 0.006361 | -0.025343 | -0.0063519 | 2.4619e-05 | 9.1133e-06 | 0.037936 | 0.037937 | 0.037937 | 0.99506 | -0.03461 | 0.99406 | -0.04162 | 14.0506
8 | 0.064831 | 0.016287 | -0.064817 | -0.016282 | 1.4564e-05 | 5.569e-06 | 0.096778 | 0.096778 | 0.096778 | 0.99696 | -0.021185 | 0.99673 | -0.0228 | 35.8437
9 | 0.013901 | 0.0034852 | -0.013898 | -0.0034842 | 3.0433e-06 | 1.0228e-06 | 0.020749 | 0.020749 | 0.020749 | 0.99696 | -0.021185 | 0.99674 | -0.022765 | 7.6847
10 | 0.064053 | 0.01609 | -0.06388 | -0.016024 | 0.00017323 | 6.6232e-05 | 0.095638 | 0.095638 | 0.095638 | 0.99673 | -0.0228 | 0.99395 | -0.0423 | 35.4215
11 | 0.013129 | 0.0032915 | -0.013127 | -0.0032909 | 1.8161e-06 | 5.9978e-07 | 0.019601 | 0.019601 | 0.019601 | 0.99674 | -0.022765 | 0.9966 | -0.023764 | 7.2595
12 | 0.030354 | 0.0076144 | -0.030303 | -0.0075957 | 5.0128e-05 | 1.8777e-05 | 0.045444 | 0.045444 | 0.045444 | 0.99395 | -0.0423 | 0.99226 | -0.054226 | 16.8312
13 | 0.029821 | 0.0074809 | -0.029788 | -0.0074685 | 3.3103e-05 | 1.2387e-05 | 0.044647 | 0.044647 | 0.044647 | 0.99395 | -0.0423 | 0.99281 | -0.050312 | 16.5359
14 | 0.012258 | 0.003073 | -0.012248 | -0.0030699 | 9.5967e-06 | 3.0933e-06 | 0.018303 | 0.018303 | 0.018303 | 0.9966 | -0.023764 | 0.99579 | -0.029419 | 6.7788
15 | -0.00081243 | -0.00020361 | 0.00081246 | 0.00020323 | 2.8323e-08 | -3.846e-07 | 0.001218 | 0.0012178 | 0.001218 | 0.99254 | -0.052309 | 0.99258 | -0.052057 | 0.45111
16 | -0.0032649 | -0.00081786 | 0.0032651 | 0.00081774 | 2.461e-07 | -1.1817e-07 | 0.0048943 | 0.0048943 | 0.0048943 | 0.99258 | -0.052057 | 0.99266 | -0.051512 | 1.8127
17 | -0.015359 | -0.0038483 | 0.015364 | 0.0038502 | 5.6132e-06 | 1.9389e-06 | 0.023009 | 0.023009 | 0.023009 | 0.99324 | -0.047379 | 0.99362 | -0.044739 | 8.522
18 | 0.0080382 | 0.0020136 | -0.0080337 | -0.0020125 | 4.5926e-06 | 1.1099e-06 | 0.012042 | 0.012042 | 0.012042 | 0.99324 | -0.047379 | 0.99266 | -0.051512 | 4.4601
19 | -0.017119 | -0.0042901 | 0.017127 | 0.0042927 | 7.3925e-06 | 2.6097e-06 | 0.025637 | 0.025637 | 0.025637 | 0.99362 | -0.044739 | 0.99406 | -0.04162 | 9.4953
20 | 0.0047686 | 0.0011947 | -0.0047679 | -0.0011948 | 6.3867e-07 | -1.3275e-08 | 0.007148 | 0.0071481 | 0.0071481 | 0.99266 | -0.051512 | 0.99252 | -0.05248 | 2.6475
21 | 0.0018251 | 0.0004572 | -0.001825 | -0.00045738 | 7.5633e-08 | -1.8014e-07 | 0.0027361 | 0.0027362 | 0.0027362 | 0.99252 | -0.05248 | 0.99248 | -0.052779 | 1.0134
22 | -0.015079 | -0.0037791 | 0.015081 | 0.0037799 | 2.3502e-06 | 8.0906e-07 | 0.02263 | 0.02263 | 0.02263 | 0.99151 | -0.059522 | 0.99167 | -0.058396 | 8.3814
23 | 0.01162 | 0.0029122 | -0.011618 | -0.0029116 | 1.8865e-06 | 5.9739e-07 | 0.017438 | 0.017438 | 0.017438 | 0.99151 | -0.059522 | 0.99134 | -0.060695 | 6.4586
24 | -0.018769 | -0.0047041 | 0.01878 | 0.0047083 | 1.1463e-05 | 4.11e-06 | 0.028163 | 0.028163 | 0.028163 | 0.99167 | -0.058396 | 0.99229 | -0.053988 | 10.4308
25 | 0.010054 | 0.0025196 | -0.01005 | -0.0025184 | 3.8837e-06 | 1.1415e-06 | 0.015091 | 0.015091 | 0.015091 | 0.99134 | -0.060695 | 0.99095 | -0.063486 | 5.5892
26 | -0.024644 | -0.0061778 | 0.024657 | 0.0061825 | 1.2552e-05 | 4.6373e-06 | 0.036956 | 0.036956 | 0.036956 | 0.99229 | -0.053988 | 0.99281 | -0.050312 | 13.6875
27 | 0.006726 | 0.0016854 | -0.0067232 | -0.0016849 | 2.7199e-06 | 4.9584e-07 | 0.0101 | 0.0101 | 0.0101 | 0.99095 | -0.063486 | 0.99053 | -0.066409 | 3.7407
28 | 0.0067232 | 0.0016849 | -0.0067218 | -0.0016846 | 1.4512e-06 | 2.6476e-07 | 0.0101 | 0.0101 | 0.0101 | 0.99053 | -0.066409 | 0.99031 | -0.067968 | 3.7407
29 | -0.0089762 | -0.0022497 | 0.0089803 | 0.0022508 | 4.0671e-06 | 1.094e-06 | 0.013422 | 0.013422 | 0.013422 | 0.99514 | -0.034022 | 0.9956 | -0.03075 | 4.9711
30 | -0.010736 | -0.0026907 | 0.010738 | 0.0026913 | 1.9786e-06 | 6.0081e-07 | 0.016046 | 0.016046 | 0.016046 | 0.9956 | -0.03075 | 0.99579 | -0.029419 | 5.9429
31 | 0.022827 | 0.005722 | -0.022816 | -0.0057179 | 1.1278e-05 | 4.1387e-06 | 0.034233 | 0.034233 | 0.034233 | 0.99226 | -0.054226 | 0.99175 | -0.057796 | 12.6789
32 | 0.0082981 | 0.0020793 | -0.0082964 | -0.0020789 | 1.7867e-06 | 4.4888e-07 | 0.01245 | 0.01245 | 0.01245 | 0.99175 | -0.057796 | 0.99153 | -0.059352 | 4.6113
33 | 0.003243 | 0.0008124 | -0.0032425 | -0.00081265 | 5.1224e-07 | -2.4992e-07 | 0.0048667 | 0.0048669 | 0.0048669 | 0.99153 | -0.059352 | 0.99137 | -0.060493 | 1.8026

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13305 | 0.033248

## res_load
| p_mw | q_mvar
0 | 0.0016964 | 0.00042515
1 | 0.0036526 | 0.00091543
2 | 0.0046806 | 0.0011731
3 | 0.0042403 | 0.0010627
4 | 0.0030866 | 0.00077357
5 | 0.01033 | 0.002589
6 | 0.00076357 | 0.00019137
7 | 0.00076893 | 0.00019271
8 | 0.0037056 | 0.0009287
9 | 0.00086941 | 0.00021789
10 | 0.00081243 | 0.00020361
11 | 0.0024524 | 0.00061463
12 | 0.0073206 | 0.0018347
13 | 0.001755 | 0.00043984
14 | 0.0082164 | 0.0020592
15 | 0.0029429 | 0.00073755
16 | 0.001825 | 0.00045738
17 | 0.0034593 | 0.00086697
18 | 0.0036877 | 0.00092421
19 | 0.0015641 | 0.00039199
20 | 0.0058637 | 0.0014696
21 | 0.0033238 | 0.00083303
22 | 0.0051313 | 0.001286
23 | 0.0089762 | 0.0022497
24 | 0.0017556 | 0.00043999
25 | 0.0015105 | 0.00037856
26 | 0.0067218 | 0.0016846
27 | 0.0074759 | 0.0018736
28 | 0.014518 | 0.0036386
29 | 0.0050533 | 0.0012665
30 | 0.0032425 | 0.00081265

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1