## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1083-16_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1083-16_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1083-16_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1083-16_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1083-16_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1083-16_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1083-16_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1083-16_0_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1083-16_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1083-16_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1083-16_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1083-16_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1083-16_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1083-16_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1083-16_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1083-16_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1083-16_0_3_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_1083-16_0_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_1083-16_0_3_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_1083-16_0_3_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_1083-16_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1083-16_0_3_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_1083-16_0_3_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_1083-16_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1083-16_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1083-16_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1083-16_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1083-16_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1083-16_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1083-16_0_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1083-16_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1083-16_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1083-16_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1083-16_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1083-16_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1083-16_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1083-16_0_3_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_1083-16_0_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_1083-16_0_3_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_1083-16_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1083-16_0_3_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_1083-16_0_3_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1083-16_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1083-16_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1083-16_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1083-16_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_1083-16_0_3_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_1083-16_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1083-16_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1083-16_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_1083-16_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1083-16_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_1083-16_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1083-16_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_1083-16_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_1083-16_0_3_node_78 | 0.4 | n |  | TRUE
56 | bus_LV_1083-16_0_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_1083-16_0_3_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_1083-16_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_1083-16_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_1083-16_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_1083-16_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_1083-16_0_3_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_1083-16_0_3_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_1083-16_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_1083-16_0_3_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_1083-16_0_3_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_1083-16_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_1083-16_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_1083-16_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_1083-16_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_1083-16_0_3_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_1083-16_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_1083-16_0_3_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_1083-16_0_3_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_1083-16_0_3_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_1083-16_0_3_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_1083-16_0_3_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_1083-16_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_1083-16_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_1083-16_0_3_node_79 | 0.4 | n |  | TRUE
81 | bus_MV_2_1_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1083-16_0_3_load_0 | 0 | 0.000867 | 0.00021729 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1083-16_0_3_load_1 | 1 | 0.0029093 | 0.00072915 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1083-16_0_3_load_17 | 7 | 0.0021962 | 0.00055042 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1083-16_0_3_load_5 | 8 | 0.002101 | 0.00052656 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1083-16_0_3_load_13 | 9 | 0.0020371 | 0.00051054 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1083-16_0_3_load_11 | 10 | 0.0019987 | 0.00050091 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1083-16_0_3_load_7 | 11 | 0.001387 | 0.00034763 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1083-16_0_3_load_8 | 12 | 0.0016885 | 0.00042319 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1083-16_0_3_load_10 | 14 | 0.0021826 | 0.00054702 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1083-16_0_3_load_12 | 15 | 0.0045638 | 0.0011438 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1083-16_0_3_load_74 | 16 | 0.0032406 | 0.00081218 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1083-16_0_3_load_47 | 18 | 0.0031629 | 0.00079269 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1083-16_0_3_load_14 | 20 | 0.0055603 | 0.0013935 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1083-16_0_3_load_49 | 21 | 0.0075662 | 0.0018963 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1083-16_0_3_load_18 | 23 | 0.0010155 | 0.00025451 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1083-16_0_3_load_29 | 25 | 0.0068354 | 0.0017131 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1083-16_0_3_load_26 | 26 | 0.0033133 | 0.00083039 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1083-16_0_3_load_27 | 27 | 0.0003509 | 8.7945e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1083-16_0_3_load_24 | 28 | 0.000499 | 0.00012506 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1083-16_0_3_load_20 | 30 | 0.00091864 | 0.00023023 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1083-16_0_3_load_21 | 31 | 0.0081774 | 0.0020494 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1083-16_0_3_load_25 | 34 | 0.00060198 | 0.00015087 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1083-16_0_3_load_71 | 36 | 0.024177 | 0.0060592 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1083-16_0_3_load_53 | 37 | 0.0038778 | 0.00097187 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1083-16_0_3_load_81 | 38 | 0.0055253 | 0.0013848 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1083-16_0_3_load_73 | 40 | 0.0052316 | 0.0013112 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1083-16_0_3_load_54 | 41 | 0.00038764 | 9.7152e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1083-16_0_3_load_36 | 43 | 0.0011078 | 0.00027764 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1083-16_0_3_load_33 | 44 | 0.00086472 | 0.00021672 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1083-16_0_3_load_34 | 45 | 0.00095692 | 0.00023983 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1083-16_0_3_load_35 | 47 | 0.0015406 | 0.0003861 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1083-16_0_3_load_37 | 48 | 0.0018384 | 0.00046074 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1083-16_0_3_load_38 | 49 | 0.0016691 | 0.00041832 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1083-16_0_3_load_44 | 50 | 0.001387 | 0.00034762 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1083-16_0_3_load_43 | 51 | 0.0016698 | 0.00041849 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1083-16_0_3_load_39 | 52 | 0.0053223 | 0.0013339 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1083-16_0_3_load_52 | 54 | 0.0022941 | 0.00057495 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1083-16_0_3_load_78 | 55 | 0.0032452 | 0.00081332 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1083-16_0_3_load_63 | 56 | 0.0021173 | 0.00053065 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1083-16_0_3_load_80 | 57 | 0.0033538 | 0.00084054 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1083-16_0_3_load_45 | 58 | 0.0013223 | 0.0003314 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1083-16_0_3_load_46 | 59 | 0.0017017 | 0.00042649 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1083-16_0_3_load_48 | 60 | 0.0018062 | 0.00045266 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1083-16_0_3_load_70 | 62 | 0.003925 | 0.0009837 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1083-16_0_3_load_69 | 63 | 0.002388 | 0.00059849 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1083-16_0_3_load_55 | 64 | 0.0035144 | 0.00088078 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1083-16_0_3_load_67 | 65 | 0.0018668 | 0.00046787 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1083-16_0_3_load_65 | 66 | 0.0030606 | 0.00076706 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1083-16_0_3_load_56 | 67 | 0.0030835 | 0.0007728 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1083-16_0_3_load_57 | 68 | 0.0032122 | 0.00080505 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1083-16_0_3_load_58 | 69 | 0.0029088 | 0.00072901 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1083-16_0_3_load_59 | 70 | 0.0019404 | 0.00048631 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1083-16_0_3_load_60 | 71 | 0.0019374 | 0.00048555 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1083-16_0_3_load_72 | 72 | 0.0019394 | 0.00048606 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1083-16_0_3_load_61 | 73 | 0.0020166 | 0.0005054 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1083-16_0_3_load_62 | 74 | 0.0033789 | 0.00084684 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1083-16_0_3_load_64 | 75 | 0.0035919 | 0.00090021 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1083-16_0_3_load_66 | 76 | 0.0036201 | 0.00090728 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1083-16_0_3_load_68 | 77 | 0.003839 | 0.00096215 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1083-16_0_3_load_76 | 79 | 0.0025449 | 0.0006378 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1083-16_0_3_load_79 | 80 | 0.0033389 | 0.00083681 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1083-16_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1083-16_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.034981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1083-16_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.048611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1083-16_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.051843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1083-16_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.042872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1083-16_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.01003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1083-16_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.018486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1083-16_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.06745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1083-16_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.031761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1083-16_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.014653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1083-16_0_3_line_10 | NAYY 4x150 SE | 9 | 20 | 0.036944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1083-16_0_3_line_11 | NAYY 4x150 SE | 10 | 13 | 0.0042873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1083-16_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0044674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1083-16_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.012183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1083-16_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.028119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1083-16_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.038743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1083-16_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.024817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1083-16_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.020379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1083-16_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.024935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1083-16_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.006076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1083-16_0_3_line_20 | NAYY 4x150 SE | 18 | 57 | 0.033772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1083-16_0_3_line_21 | NAYY 4x150 SE | 19 | 53 | 0.031747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1083-16_0_3_line_22 | NAYY 4x150 SE | 19 | 52 | 0.014528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1083-16_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.030307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1083-16_0_3_line_24 | NAYY 4x150 SE | 22 | 54 | 0.031665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1083-16_0_3_line_25 | NAYY 4x150 SE | 22 | 61 | 0.015712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1083-16_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.048132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1083-16_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.15788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1083-16_0_3_line_28 | NAYY 4x150 SE | 25 | 29 | 0.034498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1083-16_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.027559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1083-16_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.003247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1083-16_0_3_line_31 | NAYY 4x150 SE | 27 | 42 | 0.011571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1083-16_0_3_line_32 | NAYY 4x150 SE | 28 | 32 | 0.026887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1083-16_0_3_line_33 | NAYY 4x150 SE | 29 | 39 | 0.012882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1083-16_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.009205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1083-16_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.032033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1083-16_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.024137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1083-16_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.018255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1083-16_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.03024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1083-16_0_3_line_39 | NAYY 4x150 SE | 33 | 36 | 0.017862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1083-16_0_3_line_40 | NAYY 4x150 SE | 34 | 37 | 0.023223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1083-16_0_3_line_41 | NAYY 4x150 SE | 35 | 38 | 0.01203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1083-16_0_3_line_42 | NAYY 4x150 SE | 35 | 39 | 0.021729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1083-16_0_3_line_43 | NAYY 4x150 SE | 36 | 40 | 0.02534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1083-16_0_3_line_44 | NAYY 4x150 SE | 37 | 41 | 0.0042132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1083-16_0_3_line_45 | NAYY 4x150 SE | 38 | 46 | 0.056205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1083-16_0_3_line_46 | NAYY 4x150 SE | 40 | 72 | 0.023965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_1083-16_0_3_line_47 | NAYY 4x150 SE | 41 | 64 | 0.01705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1083-16_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.022061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1083-16_0_3_line_49 | NAYY 4x150 SE | 42 | 44 | 0.030941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1083-16_0_3_line_50 | NAYY 4x150 SE | 44 | 45 | 0.011915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1083-16_0_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.011054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1083-16_0_3_line_52 | NAYY 4x150 SE | 46 | 78 | 0.0488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1083-16_0_3_line_53 | NAYY 4x150 SE | 47 | 48 | 0.010128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1083-16_0_3_line_54 | NAYY 4x150 SE | 48 | 49 | 0.014631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1083-16_0_3_line_55 | NAYY 4x150 SE | 49 | 50 | 0.0065964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1083-16_0_3_line_56 | NAYY 4x150 SE | 50 | 51 | 0.016031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1083-16_0_3_line_57 | NAYY 4x150 SE | 51 | 58 | 0.0059993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1083-16_0_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.016239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1083-16_0_3_line_59 | NAYY 4x150 SE | 53 | 55 | 0.021316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1083-16_0_3_line_60 | NAYY 4x150 SE | 55 | 56 | 0.0034555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1083-16_0_3_line_61 | NAYY 4x150 SE | 56 | 74 | 0.019705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1083-16_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.01958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1083-16_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.018226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1083-16_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0055876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1083-16_0_3_line_65 | NAYY 4x150 SE | 63 | 77 | 0.015659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1083-16_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.0047872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1083-16_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.015572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1083-16_0_3_line_68 | NAYY 4x150 SE | 66 | 75 | 0.0049824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1083-16_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0091939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_1083-16_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.021047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1083-16_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.010641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_1083-16_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.0052291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1083-16_0_3_line_73 | NAYY 4x150 SE | 70 | 72 | 0.0076752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_1083-16_0_3_line_74 | NAYY 4x150 SE | 71 | 73 | 0.007561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1083-16_0_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.000106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1083-16_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.016974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1083-16_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.0044514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1083-16_0_3_line_78 | NAYY 4x150 SE | 78 | 79 | 0.020289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_1083-16_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.03175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1083-16_0_3_trafo_56 | 0.25 MVA 20/0.4 kV | 81 | 67 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2649545.9913 | 1218477.06 | 2649566.4465 | 1218457.9678
1 | 2649522.2846 | 1218502.6124 | 2649525.828 | 1218497.2386 | 2649535.2704 | 1218487.0665 | 2649545.9913 | 1218477.06
2 | 2649599.2864 | 1218422.5486 | 2649598.3882 | 1218424.6869 | 2649590.0752 | 1218435.9134 | 2649566.4465 | 1218457.9678
3 | 2649507.7278 | 1218551.9436 | 2649509.4418 | 1218545.6985 | 2649511.8168 | 1218529.3194 | 2649513.364 | 1218523.0507 | 2649515.8848 | 1218515.6116 | 2649519.2811 | 1218507.8462 | 2649522.2846 | 1218502.6124
4 | 2649604.3019 | 1218380.754 | 2649605.7508 | 1218399.9888 | 2649603.6288 | 1218410.5553 | 2649602.9795 | 1218413.7963 | 2649599.2864 | 1218422.5486
5 | 2649507.7278 | 1218551.9436 | 2649505.5293 | 1218556.2168 | 2649502.9264 | 1218560.7535
6 | 2649507.7278 | 1218551.9436 | 2649512.436 | 1218552.5275 | 2649517.9203 | 1218552.8732 | 2649520.1299 | 1218552.7471 | 2649522.1217 | 1218552.3411 | 2649524.1165 | 1218551.5795 | 2649525.8075 | 1218550.7909
7 | 2649604.3019 | 1218380.754 | 2649537.4657 | 1218389.8323
8 | 2649502.9264 | 1218560.7535 | 2649504.4651 | 1218562.8119 | 2649505.5766 | 1218565.1448 | 2649505.9752 | 1218566.4934 | 2649506.0234 | 1218568.0058 | 2649505.7556 | 1218571.917 | 2649502.5593 | 1218591.4238
9 | 2649525.8075 | 1218550.7909 | 2649539.0879 | 1218544.5982
10 | 2649496.5855 | 1218627.8812 | 2649502.5593 | 1218591.4238
11 | 2649542.9735 | 1218542.7864 | 2649539.0879 | 1218544.5982
12 | 2649554.1482 | 1218537.9336 | 2649558.2459 | 1218536.1541
13 | 2649542.9735 | 1218542.7864 | 2649554.1482 | 1218537.9336
14 | 2649584.0348 | 1218524.9472 | 2649583.1913 | 1218525.3212 | 2649558.2459 | 1218536.1541
15 | 2649542.9735 | 1218542.7864 | 2649554.0031 | 1218564.4355 | 2649558.8898 | 1218575.494 | 2649559.7565 | 1218577.685
16 | 2649584.0348 | 1218524.9472 | 2649606.7218 | 1218514.8869
17 | 2649566.0496 | 1218597.0331 | 2649563.1787 | 1218586.3362 | 2649559.7565 | 1218577.685
18 | 2649566.0496 | 1218597.0331 | 2649589.3185 | 1218588.0728
19 | 2649566.0496 | 1218597.0331 | 2649564.0968 | 1218602.7871
20 | 2649589.3185 | 1218588.0728 | 2649603.2126 | 1218582.7225 | 2649620.8821 | 1218576.0605
21 | 2649564.0968 | 1218602.7871 | 2649565.0099 | 1218605.2406 | 2649565.6519 | 1218607.4361 | 2649570.1296 | 1218633.9005
22 | 2649564.0968 | 1218602.7871 | 2649562.439 | 1218604.1074 | 2649560.6489 | 1218604.893 | 2649550.5348 | 1218607.5353
23 | 2649574.2102 | 1218681.6299 | 2649566.855 | 1218685.4266 | 2649562.1643 | 1218686.3993 | 2649559.5377 | 1218683.7425 | 2649546.69 | 1218679.5876
24 | 2649574.2102 | 1218681.6299 | 2649572.5384 | 1218662.7379 | 2649571.4813 | 1218650.0833
25 | 2649574.2102 | 1218681.6299 | 2649581.6311 | 1218695.4889
26 | 2649909.5191 | 1218628.3507 | 2649909.3536 | 1218634.5197 | 2649902.6216 | 1218660.8348 | 2649902.3588 | 1218667.7368 | 2649904.8574 | 1218674.7842 | 2649905.102 | 1218675.1187
27 | 2649760.8392 | 1218575.2314 | 2649909.5191 | 1218628.3507
28 | 2649760.93 | 1218540.7335 | 2649760.8392 | 1218575.2314
29 | 2649739.2485 | 1218693.403 | 2649739.2642 | 1218665.8442
30 | 2649739.266 | 1218662.5972 | 2649739.2642 | 1218665.8442
31 | 2649739.2419 | 1218704.9741 | 2649739.2485 | 1218693.403
32 | 2649739.2813 | 1218635.7103 | 2649739.266 | 1218662.5972
33 | 2649760.93 | 1218540.7335 | 2649748.0114 | 1218540.8925
34 | 2649735.6603 | 1218594.7013 | 2649737.0547 | 1218602.416 | 2649737.2044 | 1218603.7731
35 | 2649739.2813 | 1218635.7103 | 2649738.8468 | 1218618.663 | 2649737.2044 | 1218603.7731
36 | 2649731.3672 | 1218570.9496 | 2649735.6603 | 1218594.7013
37 | 2649739.2813 | 1218635.7103 | 2649728.1152 | 1218640.5089 | 2649722.4211 | 1218642.7001
38 | 2649731.3672 | 1218570.9496 | 2649727.2493 | 1218547.8346 | 2649726.2198 | 1218541.1553
39 | 2649731.3672 | 1218570.9496 | 2649714.7466 | 1218577.4918
40 | 2649700.747 | 1218651.0404 | 2649722.4211 | 1218642.7001
41 | 2649726.2198 | 1218541.1553 | 2649724.3818 | 1218529.2665
42 | 2649726.2198 | 1218541.1553 | 2649748.0114 | 1218540.8925
43 | 2649691.1675 | 1218586.7731 | 2649714.7466 | 1218577.4918
44 | 2649700.747 | 1218651.0404 | 2649696.8149 | 1218652.5535
45 | 2649719.2795 | 1218473.3565 | 2649720.2314 | 1218495.7112 | 2649721.5249 | 1218510.7867 | 2649724.3818 | 1218529.2665
46 | 2649668.8683 | 1218595.5505 | 2649691.1675 | 1218586.7731
47 | 2649696.8149 | 1218652.5535 | 2649680.9025 | 1218658.6767
48 | 2649739.2419 | 1218704.9741 | 2649739.211 | 1218727.0348
49 | 2649739.2419 | 1218704.9741 | 2649710.3083 | 1218715.9375
50 | 2649710.3083 | 1218715.9375 | 2649699.1666 | 1218720.1593
51 | 2649688.8303 | 1218724.076 | 2649699.1666 | 1218720.1593
52 | 2649719.2795 | 1218473.3565 | 2649713.3036 | 1218476.4307 | 2649673.1527 | 1218489.4373
53 | 2649688.8303 | 1218724.076 | 2649679.3596 | 1218727.6646
54 | 2649679.3596 | 1218727.6646 | 2649665.6782 | 1218732.8487
55 | 2649659.5097 | 1218735.186 | 2649665.6782 | 1218732.8487
56 | 2649644.5186 | 1218740.8665 | 2649659.5097 | 1218735.186
57 | 2649644.5186 | 1218740.8665 | 2649638.9086 | 1218742.9922
58 | 2649570.1296 | 1218633.9005 | 2649571.4813 | 1218650.0833
59 | 2649570.1296 | 1218633.9005 | 2649589.1154 | 1218626.943 | 2649590.1344 | 1218626.5419
60 | 2649590.1344 | 1218626.5419 | 2649593.3498 | 1218625.2762
61 | 2649593.3498 | 1218625.2762 | 2649611.6857 | 1218618.0588
62 | 2649638.9086 | 1218742.9922 | 2649620.5986 | 1218749.9302
63 | 2649581.6311 | 1218695.4889 | 2649587.5806 | 1218712.7166
64 | 2649622.6411 | 1218681.096 | 2649617.4263 | 1218683.1027
65 | 2649622.6411 | 1218681.096 | 2649637.2555 | 1218675.4723
66 | 2649676.4346 | 1218660.3959 | 2649680.9025 | 1218658.6767
67 | 2649661.9018 | 1218665.9882 | 2649676.4346 | 1218660.3959
68 | 2649657.2518 | 1218667.7776 | 2649661.9018 | 1218665.9882
69 | 2649643.2702 | 1218605.6265 | 2649651.8252 | 1218602.259
70 | 2649643.2702 | 1218605.6265 | 2649623.6857 | 1218613.3354
71 | 2649651.8252 | 1218602.259 | 2649661.7264 | 1218598.3617
72 | 2649618.82 | 1218615.2506 | 2649623.6857 | 1218613.3354
73 | 2649668.8683 | 1218595.5505 | 2649661.7264 | 1218598.3617
74 | 2649611.7844 | 1218618.02 | 2649618.82 | 1218615.2506
75 | 2649611.6857 | 1218618.0588 | 2649611.7844 | 1218618.02
76 | 2649657.2518 | 1218667.7776 | 2649641.4099 | 1218673.8736
77 | 2649637.2555 | 1218675.4723 | 2649641.4099 | 1218673.8736
78 | 2649673.1527 | 1218489.4373 | 2649678.3669 | 1218505.8017 | 2649678.8041 | 1218508.885
79 | 2649660.1134 | 1218533.7429 | 2649662.4865 | 1218532.5856 | 2649665.3586 | 1218530.3748 | 2649678.3233 | 1218511.0267 | 2649678.8041 | 1218508.885 | 2649678.8041 | 1218508.885

## bus_geodata
| x | y | coords
0 | 2649545.9913 | 1218477.06
1 | 2649566.4465 | 1218457.9678
2 | 2649522.2846 | 1218502.6124
3 | 2649599.2864 | 1218422.5486
4 | 2649507.7278 | 1218551.9436
5 | 2649604.3019 | 1218380.754
6 | 2649502.9264 | 1218560.7535
7 | 2649525.8075 | 1218550.7909
8 | 2649537.4657 | 1218389.8323
9 | 2649502.5593 | 1218591.4238
10 | 2649539.0879 | 1218544.5982
11 | 2649554.1482 | 1218537.9336
12 | 2649558.2459 | 1218536.1541
13 | 2649542.9735 | 1218542.7864
14 | 2649584.0348 | 1218524.9472
15 | 2649559.7565 | 1218577.685
16 | 2649606.7218 | 1218514.8869
17 | 2649566.0496 | 1218597.0331
18 | 2649589.3185 | 1218588.0728
19 | 2649564.0968 | 1218602.7871
20 | 2649496.5855 | 1218627.8812
21 | 2649546.69 | 1218679.5876
22 | 2649574.2102 | 1218681.6299
23 | 2649905.102 | 1218675.1187
24 | 2649909.5191 | 1218628.3507
25 | 2649760.8392 | 1218575.2314
26 | 2649739.2642 | 1218665.8442
27 | 2649739.2485 | 1218693.403
28 | 2649739.266 | 1218662.5972
29 | 2649760.93 | 1218540.7335
30 | 2649737.2044 | 1218603.7731
31 | 2649735.6603 | 1218594.7013
32 | 2649739.2813 | 1218635.7103
33 | 2649731.3672 | 1218570.9496
34 | 2649722.4211 | 1218642.7001
35 | 2649726.2198 | 1218541.1553
36 | 2649714.7466 | 1218577.4918
37 | 2649700.747 | 1218651.0404
38 | 2649724.3818 | 1218529.2665
39 | 2649748.0114 | 1218540.8925
40 | 2649691.1675 | 1218586.7731
41 | 2649696.8149 | 1218652.5535
42 | 2649739.2419 | 1218704.9741
43 | 2649739.211 | 1218727.0348
44 | 2649710.3083 | 1218715.9375
45 | 2649699.1666 | 1218720.1593
46 | 2649719.2795 | 1218473.3565
47 | 2649688.8303 | 1218724.076
48 | 2649679.3596 | 1218727.6646
49 | 2649665.6782 | 1218732.8487
50 | 2649659.5097 | 1218735.186
51 | 2649644.5186 | 1218740.8665
52 | 2649550.5348 | 1218607.5353
53 | 2649570.1296 | 1218633.9005
54 | 2649571.4813 | 1218650.0833
55 | 2649590.1344 | 1218626.5419
56 | 2649593.3498 | 1218625.2762
57 | 2649620.8821 | 1218576.0605
58 | 2649638.9086 | 1218742.9922
59 | 2649620.5986 | 1218749.9302
60 | 2649587.5806 | 1218712.7166
61 | 2649581.6311 | 1218695.4889
62 | 2649617.4263 | 1218683.1027
63 | 2649622.6411 | 1218681.096
64 | 2649680.9025 | 1218658.6767
65 | 2649676.4346 | 1218660.3959
66 | 2649661.9018 | 1218665.9882
67 | 2649643.2702 | 1218605.6265
68 | 2649651.8252 | 1218602.259
69 | 2649623.6857 | 1218613.3354
70 | 2649661.7264 | 1218598.3617
71 | 2649618.82 | 1218615.2506
72 | 2649668.8683 | 1218595.5505
73 | 2649611.7844 | 1218618.02
74 | 2649611.6857 | 1218618.0588
75 | 2649657.2518 | 1218667.7776
76 | 2649641.4099 | 1218673.8736
77 | 2649637.2555 | 1218675.4723
78 | 2649673.1527 | 1218489.4373
79 | 2649678.8041 | 1218508.885
80 | 2649660.1134 | 1218533.7429
81 | 2649570.1296 | 1218633.9005

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98684 | -0.092477 | 0.000867 | 0.00021729
1 | 0.98664 | -0.093919 | 0.0029093 | 0.00072915
2 | 0.98714 | -0.090363 | 0 | 0
3 | 0.98649 | -0.094972 | 0 | 0
4 | 0.98758 | -0.087232 | 0 | 0
5 | 0.98636 | -0.0959 | 0 | 0
6 | 0.98747 | -0.088012 | 0 | 0
7 | 0.98794 | -0.084677 | 0.0021962 | 0.00055042
8 | 0.98616 | -0.097356 | 0.002101 | 0.00052656
9 | 0.98712 | -0.090484 | 0.0020371 | 0.00051054
10 | 0.98827 | -0.082324 | 0.0019987 | 0.00050091
11 | 0.98823 | -0.082607 | 0.001387 | 0.00034763
12 | 0.98818 | -0.082932 | 0.0016885 | 0.00042319
13 | 0.98838 | -0.081549 | 0 | 0
14 | 0.98796 | -0.084492 | 0.0021826 | 0.00054702
15 | 0.98984 | -0.071188 | 0.0045638 | 0.0011438
16 | 0.98785 | -0.085315 | 0.0032406 | 0.00081218
17 | 0.99075 | -0.064804 | 0 | 0
18 | 0.99051 | -0.066458 | 0.0031629 | 0.00079269
19 | 0.99107 | -0.0625 | 0 | 0
20 | 0.98682 | -0.09259 | 0.0055603 | 0.0013935
21 | 0.99199 | -0.05603 | 0.0075662 | 0.0018963
22 | 0.99232 | -0.053705 | 0 | 0
23 | 0.98831 | -0.081808 | 0.0010155 | 0.00025451
24 | 0.98838 | -0.081308 | 0 | 0
25 | 0.98861 | -0.07965 | 0.0068354 | 0.0017131
26 | 0.98448 | -0.10885 | 0.0033133 | 0.00083039
27 | 0.9839 | -0.11294 | 0.0003509 | 8.7945e-05
28 | 0.98456 | -0.10825 | 0.000499 | 0.00012506
29 | 0.98901 | -0.076878 | 0 | 0
30 | 0.98754 | -0.087129 | 0.00091864 | 0.00023023
31 | 0.98821 | -0.082437 | 0.0081774 | 0.0020494
32 | 0.98527 | -0.10321 | 0 | 0
33 | 0.99024 | -0.068152 | 0 | 0
34 | 0.98446 | -0.10897 | 0.00060198 | 0.00015087
35 | 0.9894 | -0.074098 | 0 | 0
36 | 0.99223 | -0.05412 | 0.024177 | 0.0060592
37 | 0.98344 | -0.11617 | 0.0038778 | 0.00097187
38 | 0.9892 | -0.0755 | 0.0055253 | 0.0013848
39 | 0.98915 | -0.075843 | 0 | 0
40 | 0.99595 | -0.028141 | 0.0052316 | 0.0013112
41 | 0.98328 | -0.11731 | 0.00038764 | 9.7152e-05
42 | 0.98366 | -0.11462 | 0 | 0
43 | 0.98363 | -0.11487 | 0.0011078 | 0.00027764
44 | 0.98308 | -0.11876 | 0.00086472 | 0.00021672
45 | 0.98287 | -0.12025 | 0.00095692 | 0.00023983
46 | 0.98872 | -0.078881 | 0 | 0
47 | 0.9827 | -0.12152 | 0.0015406 | 0.0003861
48 | 0.98255 | -0.12252 | 0.0018384 | 0.00046074
49 | 0.98239 | -0.1237 | 0.0016691 | 0.00041832
50 | 0.98233 | -0.12411 | 0.001387 | 0.00034762
51 | 0.98222 | -0.12489 | 0.0016698 | 0.00041849
52 | 0.99096 | -0.063286 | 0.0053223 | 0.0013339
53 | 0.99302 | -0.048776 | 0 | 0
54 | 0.99275 | -0.050696 | 0.0022941 | 0.00057495
55 | 0.99469 | -0.037079 | 0.0032452 | 0.00081332
56 | 0.99497 | -0.035073 | 0.0021173 | 0.00053065
57 | 0.99035 | -0.067611 | 0.0033538 | 0.00084054
58 | 0.9822 | -0.12508 | 0.0013223 | 0.0003314
59 | 0.98215 | -0.12542 | 0.0017017 | 0.00042649
60 | 0.99224 | -0.054326 | 0.0018062 | 0.00045266
61 | 0.99228 | -0.053993 | 0 | 0
62 | 0.98132 | -0.13129 | 0.003925 | 0.0009837
63 | 0.98135 | -0.13106 | 0.002388 | 0.00059849
64 | 0.98265 | -0.12186 | 0.0035144 | 0.00088078
65 | 0.98249 | -0.12296 | 0.0018668 | 0.00046787
66 | 0.98203 | -0.12625 | 0.0030606 | 0.00076706
67 | 1 | 0 | -0.1864 | -0.04676
68 | 0.99925 | -0.0052272 | 0.0032122 | 0.00080505
69 | 0.99789 | -0.014718 | 0.0029088 | 0.00072901
70 | 0.9984 | -0.011116 | 0.0019404 | 0.00048631
71 | 0.99738 | -0.018232 | 0.0019374 | 0.00048555
72 | 0.99779 | -0.015295 | 0.0019394 | 0.00048606
73 | 0.99667 | -0.023172 | 0.0020166 | 0.0005054
74 | 0.99666 | -0.023239 | 0.0033789 | 0.00084684
75 | 0.9819 | -0.12715 | 0.0035919 | 0.00090021
76 | 0.98156 | -0.12957 | 0.0036201 | 0.00090728
77 | 0.9815 | -0.13004 | 0.003839 | 0.00096215
78 | 0.98831 | -0.081818 | 0 | 0
79 | 0.98814 | -0.083038 | 0.0025449 | 0.0006378
80 | 0.98798 | -0.084123 | 0.0033389 | 0.00083681
81 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0050123 | 0.0012541 | -0.0050113 | -0.0012541 | 9.9716e-07 | 2.6106e-08 | 0.0075571 | 0.0075573 | 0.0075573 | 0.98684 | -0.092477 | 0.98664 | -0.093919 | 2.799
1 | -0.0058793 | -0.0014714 | 0.005881 | 0.0014716 | 1.7152e-06 | 2.1263e-07 | 0.0088644 | 0.0088643 | 0.0088644 | 0.98684 | -0.092477 | 0.98714 | -0.090363 | 3.2831
2 | 0.002102 | 0.00052492 | -0.0021017 | -0.00052542 | 3.0474e-07 | -5.0351e-07 | 0.0031695 | 0.0031697 | 0.0031697 | 0.98664 | -0.093919 | 0.98649 | -0.094972 | 1.174
3 | -0.005881 | -0.0014716 | 0.0058836 | 0.0014719 | 2.5419e-06 | 3.1458e-07 | 0.0088643 | 0.008864 | 0.0088643 | 0.98714 | -0.090363 | 0.98758 | -0.087232 | 3.2831
4 | 0.0021017 | 0.00052542 | -0.0021014 | -0.00052587 | 2.688e-07 | -4.439e-07 | 0.0031697 | 0.0031699 | 0.0031699 | 0.98649 | -0.094972 | 0.98636 | -0.0959 | 1.174
5 | 0.0076024 | 0.001905 | -0.0076016 | -0.0019048 | 8.2121e-07 | 1.8753e-07 | 0.011455 | 0.011455 | 0.011455 | 0.98758 | -0.087232 | 0.98747 | -0.088012 | 4.2425
6 | -0.013486 | -0.0033769 | 0.013491 | 0.0033785 | 4.7624e-06 | 1.5951e-06 | 0.020319 | 0.020319 | 0.020319 | 0.98758 | -0.087232 | 0.98794 | -0.084677 | 7.5255
7 | 0.0021014 | 0.00052587 | -0.002101 | -0.00052656 | 4.2297e-07 | -6.9806e-07 | 0.0031699 | 0.0031702 | 0.0031702 | 0.98636 | -0.0959 | 0.98616 | -0.097356 | 1.1742
8 | 0.0076016 | 0.0019048 | -0.007599 | -0.0019042 | 2.6005e-06 | 5.9402e-07 | 0.011455 | 0.011455 | 0.011455 | 0.98747 | -0.088012 | 0.98712 | -0.090484 | 4.2425
9 | -0.015687 | -0.0039289 | 0.015692 | 0.0039307 | 5.1041e-06 | 1.7754e-06 | 0.023627 | 0.023626 | 0.023627 | 0.98794 | -0.084677 | 0.98827 | -0.082324 | 8.7506
10 | 0.0055619 | 0.0013937 | -0.0055603 | -0.0013935 | 1.6205e-06 | 1.5114e-07 | 0.0083841 | 0.0083843 | 0.0083843 | 0.98712 | -0.090484 | 0.98682 | -0.09259 | 3.1053
11 | -0.017691 | -0.0044316 | 0.017693 | 0.0044323 | 1.898e-06 | 6.7506e-07 | 0.026636 | 0.026636 | 0.026636 | 0.98827 | -0.082324 | 0.98838 | -0.081549 | 9.8651
12 | 0.0071136 | 0.0017824 | -0.0071133 | -0.0017823 | 3.1982e-07 | 6.5774e-08 | 0.010711 | 0.010711 | 0.010711 | 0.98823 | -0.082607 | 0.98818 | -0.082932 | 3.9671
13 | -0.0085007 | -0.00213 | 0.0085019 | 0.0021303 | 1.2455e-06 | 3.2291e-07 | 0.0128 | 0.0128 | 0.0128 | 0.98823 | -0.082607 | 0.98838 | -0.081549 | 4.7406
14 | 0.0054248 | 0.0013591 | -0.0054236 | -0.001359 | 1.1708e-06 | 9.0149e-08 | 0.0081685 | 0.0081687 | 0.0081687 | 0.98818 | -0.082932 | 0.98796 | -0.084492 | 3.0254
15 | -0.026195 | -0.0065626 | 0.026232 | 0.0065766 | 3.7597e-05 | 1.3963e-05 | 0.039435 | 0.039435 | 0.039435 | 0.98838 | -0.081549 | 0.98984 | -0.071188 | 14.6057
16 | 0.003241 | 0.000812 | -0.0032406 | -0.00081218 | 3.69e-07 | -1.7584e-07 | 0.0048813 | 0.0048814 | 0.0048814 | 0.98796 | -0.084492 | 0.98785 | -0.085315 | 1.8079
17 | -0.030796 | -0.0077204 | 0.030823 | 0.0077306 | 2.7255e-05 | 1.0221e-05 | 0.046296 | 0.046296 | 0.046296 | 0.98984 | -0.071188 | 0.99075 | -0.064804 | 17.1466
18 | 0.0065187 | 0.0016332 | -0.0065172 | -0.001633 | 1.4914e-06 | 2.5258e-07 | 0.0097903 | 0.0097904 | 0.0097904 | 0.99075 | -0.064804 | 0.99051 | -0.066458 | 3.6261
19 | -0.037342 | -0.0093638 | 0.037354 | 0.0093684 | 1.1927e-05 | 4.5088e-06 | 0.056086 | 0.056086 | 0.056086 | 0.99075 | -0.064804 | 0.99107 | -0.0625 | 20.7726
20 | 0.0033543 | 0.00084031 | -0.0033538 | -0.00084054 | 5.3511e-07 | -2.2882e-07 | 0.005039 | 0.0050391 | 0.0050391 | 0.99051 | -0.066458 | 0.99035 | -0.067611 | 1.8663
21 | -0.042677 | -0.010702 | 0.042758 | 0.010733 | 8.134e-05 | 3.0875e-05 | 0.064078 | 0.064078 | 0.064078 | 0.99107 | -0.0625 | 0.99302 | -0.048776 | 23.7326
22 | 0.0053229 | 0.0013339 | -0.0053223 | -0.0013339 | 5.7901e-07 | 3.551e-08 | 0.0079919 | 0.0079919 | 0.0079919 | 0.99107 | -0.0625 | 0.99096 | -0.063286 | 2.96
23 | -0.0075662 | -0.0018963 | 0.0075687 | 0.0018968 | 2.436e-06 | 5.4552e-07 | 0.01135 | 0.011349 | 0.01135 | 0.99199 | -0.05603 | 0.99232 | -0.053705 | 4.2035
24 | -0.009375 | -0.0023491 | 0.0093789 | 0.0023502 | 3.9047e-06 | 1.0926e-06 | 0.014058 | 0.014058 | 0.014058 | 0.99232 | -0.053705 | 0.99275 | -0.050696 | 5.2066
25 | 0.0018063 | 0.00045229 | -0.0018062 | -0.00045246 | 7.1924e-08 | -1.7531e-07 | 0.0027085 | 0.0027085 | 0.0027085 | 0.99232 | -0.053705 | 0.99228 | -0.053993 | 1.0032
26 | -0.0010155 | -0.00025451 | 0.0010156 | 0.00025392 | 7.0203e-08 | -5.8983e-07 | 0.001529 | 0.0015287 | 0.001529 | 0.98831 | -0.081808 | 0.98838 | -0.081308 | 0.56628
27 | -0.0010156 | -0.00025392 | 0.0010158 | 0.00025199 | 2.3014e-07 | -1.9354e-06 | 0.0015287 | 0.001528 | 0.0015287 | 0.98838 | -0.081308 | 0.98861 | -0.07965 | 0.5662
28 | -0.0078512 | -0.0019651 | 0.0078542 | 0.0019658 | 3.0056e-06 | 7.135e-07 | 0.011816 | 0.011816 | 0.011816 | 0.98861 | -0.07965 | 0.98901 | -0.076878 | 4.3764
29 | 0.014436 | 0.0036193 | -0.014428 | -0.0036165 | 8.188e-06 | 2.799e-06 | 0.02182 | 0.021821 | 0.021821 | 0.98448 | -0.10885 | 0.9839 | -0.11294 | 8.0817
30 | -0.01775 | -0.0044497 | 0.017751 | 0.0044502 | 1.4584e-06 | 5.1962e-07 | 0.026828 | 0.026828 | 0.026828 | 0.98448 | -0.10885 | 0.98456 | -0.10825 | 9.9365
31 | 0.014077 | 0.0035285 | -0.014074 | -0.0035274 | 3.2727e-06 | 1.1118e-06 | 0.02129 | 0.02129 | 0.02129 | 0.9839 | -0.11294 | 0.98366 | -0.11462 | 7.8852
32 | -0.01825 | -0.0045753 | 0.018263 | 0.0045798 | 1.2764e-05 | 4.5672e-06 | 0.027583 | 0.027583 | 0.027583 | 0.98456 | -0.10825 | 0.98527 | -0.10321 | 10.2158
33 | -0.0078542 | -0.0019658 | 0.0078553 | 0.0019661 | 1.1223e-06 | 2.6633e-07 | 0.011816 | 0.011816 | 0.011816 | 0.98901 | -0.076878 | 0.98915 | -0.075843 | 4.3764
34 | -0.050061 | -0.012575 | 0.050093 | 0.012587 | 3.269e-05 | 1.2455e-05 | 0.075441 | 0.075441 | 0.075441 | 0.98754 | -0.087129 | 0.98821 | -0.082437 | 27.941
35 | 0.049142 | 0.012344 | -0.049032 | -0.012303 | 0.00010962 | 4.1754e-05 | 0.074056 | 0.074057 | 0.074057 | 0.98754 | -0.087129 | 0.98527 | -0.10321 | 27.4283
36 | -0.058271 | -0.014637 | 0.058387 | 0.014681 | 0.00011598 | 4.4299e-05 | 0.087754 | 0.087754 | 0.087754 | 0.98821 | -0.082437 | 0.99024 | -0.068152 | 32.5014
37 | 0.03077 | 0.0077228 | -0.030745 | -0.0077136 | 2.4603e-05 | 9.2303e-06 | 0.046474 | 0.046474 | 0.046474 | 0.98527 | -0.10321 | 0.98446 | -0.10897 | 17.2126
38 | 0.019291 | 0.0048329 | -0.019275 | -0.0048272 | 1.5856e-05 | 5.7098e-06 | 0.028988 | 0.028988 | 0.028988 | 0.99024 | -0.068152 | 0.9894 | -0.074098 | 10.7362
39 | -0.077678 | -0.019514 | 0.07783 | 0.019572 | 0.0001519 | 5.8193e-05 | 0.11674 | 0.11674 | 0.11674 | 0.99024 | -0.068152 | 0.99223 | -0.05412 | 43.2376
40 | 0.030143 | 0.0075627 | -0.030113 | -0.0075514 | 3.0086e-05 | 1.1276e-05 | 0.045564 | 0.045564 | 0.045564 | 0.98446 | -0.10897 | 0.98344 | -0.11617 | 16.8757
41 | 0.011418 | 0.0028606 | -0.011416 | -0.0028599 | 2.2135e-06 | 6.969e-07 | 0.017172 | 0.017172 | 0.017172 | 0.9894 | -0.074098 | 0.9892 | -0.0755 | 6.36
42 | 0.0078572 | 0.0019665 | -0.0078553 | -0.0019661 | 1.8931e-06 | 4.4912e-07 | 0.011816 | 0.011816 | 0.011816 | 0.9894 | -0.074098 | 0.98915 | -0.075843 | 4.3763
43 | -0.10201 | -0.025631 | 0.10238 | 0.025773 | 0.00037014 | 0.00014203 | 0.153 | 0.153 | 0.153 | 0.99223 | -0.05412 | 0.99595 | -0.028141 | 56.666
44 | 0.026235 | 0.0065796 | -0.026231 | -0.006578 | 4.1429e-06 | 1.54e-06 | 0.039697 | 0.039697 | 0.039697 | 0.98344 | -0.11617 | 0.98328 | -0.11731 | 14.7026
45 | 0.0058904 | 0.0014752 | -0.0058877 | -0.0014748 | 2.7534e-06 | 3.3783e-07 | 0.0088603 | 0.0088606 | 0.0088606 | 0.9892 | -0.0755 | 0.98872 | -0.078881 | 3.2817
46 | -0.10761 | -0.027084 | 0.1078 | 0.027158 | 0.00019336 | 7.3745e-05 | 0.16081 | 0.16081 | 0.16081 | 0.99595 | -0.028141 | 0.99779 | -0.015295 | 29.7804
47 | 0.025843 | 0.0064809 | -0.025827 | -0.0064748 | 1.6274e-05 | 6.043e-06 | 0.03911 | 0.03911 | 0.03911 | 0.98328 | -0.11731 | 0.98265 | -0.12186 | 14.4853
48 | 0.0011078 | 0.00027737 | -0.0011078 | -0.00027764 | 3.8658e-08 | -2.6516e-07 | 0.0016757 | 0.0016758 | 0.0016758 | 0.98366 | -0.11462 | 0.98363 | -0.11487 | 0.62068
49 | 0.012966 | 0.0032501 | -0.012959 | -0.0032476 | 7.4279e-06 | 2.4643e-06 | 0.019614 | 0.019614 | 0.019614 | 0.98366 | -0.11462 | 0.98308 | -0.11876 | 7.2646
50 | 0.012094 | 0.0030309 | -0.012091 | -0.0030301 | 2.4913e-06 | 8.0717e-07 | 0.018306 | 0.018306 | 0.018306 | 0.98308 | -0.11876 | 0.98287 | -0.12025 | 6.7798
51 | 0.011134 | 0.0027902 | -0.011133 | -0.0027896 | 1.9599e-06 | 6.1375e-07 | 0.016857 | 0.016857 | 0.016857 | 0.98287 | -0.12025 | 0.9827 | -0.12152 | 6.2433
52 | 0.0058877 | 0.0014748 | -0.0058853 | -0.0014745 | 2.3908e-06 | 2.9393e-07 | 0.0088606 | 0.0088608 | 0.0088608 | 0.98872 | -0.078881 | 0.98831 | -0.081818 | 3.2818
53 | 0.0095919 | 0.0024035 | -0.0095906 | -0.0024031 | 1.3332e-06 | 3.8446e-07 | 0.014524 | 0.014524 | 0.014524 | 0.9827 | -0.12152 | 0.98255 | -0.12252 | 5.3793
54 | 0.0077522 | 0.0019424 | -0.007751 | -0.0019421 | 1.2583e-06 | 2.987e-07 | 0.01174 | 0.01174 | 0.01174 | 0.98255 | -0.12252 | 0.98239 | -0.1237 | 4.3482
55 | 0.0060819 | 0.0015238 | -0.0060815 | -0.0015237 | 3.493e-07 | 5.0832e-08 | 0.009212 | 0.009212 | 0.009212 | 0.98239 | -0.1237 | 0.98233 | -0.12411 | 3.4119
56 | 0.0046945 | 0.0011761 | -0.004694 | -0.0011761 | 5.0584e-07 | -8.3765e-09 | 0.007111 | 0.007111 | 0.007111 | 0.98233 | -0.12411 | 0.98222 | -0.12489 | 2.6337
57 | 0.0030242 | 0.00075763 | -0.0030241 | -0.00075767 | 7.8573e-08 | -4.571e-08 | 0.0045814 | 0.0045814 | 0.0045814 | 0.98222 | -0.12489 | 0.9822 | -0.12508 | 1.6968
58 | 0.011676 | 0.0029261 | -0.011673 | -0.0029252 | 3.102e-06 | 9.8304e-07 | 0.017496 | 0.017496 | 0.017496 | 0.99302 | -0.048776 | 0.99275 | -0.050696 | 6.4801
59 | -0.054434 | -0.013659 | 0.054523 | 0.013693 | 8.8508e-05 | 3.3766e-05 | 0.081574 | 0.081574 | 0.081574 | 0.99302 | -0.048776 | 0.99469 | -0.037079 | 30.2126
60 | -0.057768 | -0.014506 | 0.057784 | 0.014513 | 1.6107e-05 | 6.1501e-06 | 0.086429 | 0.086429 | 0.086429 | 0.99469 | -0.037079 | 0.99497 | -0.035073 | 32.0106
61 | -0.059901 | -0.015043 | 0.06 | 0.015081 | 9.8704e-05 | 3.7707e-05 | 0.089595 | 0.089595 | 0.089595 | 0.99497 | -0.035073 | 0.99666 | -0.023239 | 33.1834
62 | 0.0017018 | 0.00042628 | -0.0017017 | -0.00042649 | 8.1214e-08 | -2.1657e-07 | 0.0025781 | 0.0025782 | 0.0025782 | 0.9822 | -0.12508 | 0.98215 | -0.12542 | 0.9549
63 | -0.0018062 | -0.00045266 | 0.0018062 | 0.00045246 | 8.3437e-08 | -2.0333e-07 | 0.0027086 | 0.0027085 | 0.0027086 | 0.99224 | -0.054326 | 0.99228 | -0.053993 | 1.0032
64 | -0.003925 | -0.0009837 | 0.0039251 | 0.00098367 | 1.235e-07 | -2.3094e-08 | 0.0059516 | 0.0059516 | 0.0059516 | 0.98132 | -0.13129 | 0.98135 | -0.13106 | 2.2043
65 | -0.0063131 | -0.0015822 | 0.006314 | 0.0015823 | 8.9536e-07 | 1.4649e-07 | 0.0095725 | 0.0095724 | 0.0095725 | 0.98135 | -0.13106 | 0.9815 | -0.13004 | 3.5454
66 | 0.022313 | 0.005594 | -0.022309 | -0.0055928 | 3.4104e-06 | 1.2511e-06 | 0.033789 | 0.033789 | 0.033789 | 0.98265 | -0.12186 | 0.98249 | -0.12296 | 12.5143
67 | 0.020442 | 0.0051249 | -0.020433 | -0.0051215 | 9.3145e-06 | 3.3854e-06 | 0.030961 | 0.030961 | 0.030961 | 0.98249 | -0.12296 | 0.98203 | -0.12625 | 11.4672
68 | 0.017372 | 0.0043545 | -0.01737 | -0.0043537 | 2.1544e-06 | 7.6557e-07 | 0.026324 | 0.026324 | 0.026324 | 0.98203 | -0.12625 | 0.9819 | -0.12715 | 9.7495
69 | 0.11513 | 0.029027 | -0.11505 | -0.028995 | 8.4253e-05 | 3.2164e-05 | 0.17138 | 0.17138 | 0.17138 | 1 | 0 | 0.99925 | -0.0052272 | 31.7373
70 | 0.070465 | 0.017733 | -0.07032 | -0.017678 | 0.00014446 | 5.5286e-05 | 0.10488 | 0.10488 | 0.10488 | 1 | 0 | 0.99789 | -0.014718 | 38.8438
71 | 0.11184 | 0.02819 | -0.11175 | -0.028155 | 9.2143e-05 | 3.5161e-05 | 0.1666 | 0.1666 | 0.1666 | 0.99925 | -0.0052272 | 0.9984 | -0.011116 | 30.8515
72 | 0.067411 | 0.016949 | -0.067378 | -0.016936 | 3.2983e-05 | 1.2618e-05 | 0.10054 | 0.10054 | 0.10054 | 0.99789 | -0.014718 | 0.99738 | -0.018232 | 37.2373
73 | 0.1098 | 0.027669 | -0.10974 | -0.027644 | 6.4177e-05 | 2.4483e-05 | 0.16371 | 0.16371 | 0.16371 | 0.9984 | -0.011116 | 0.99779 | -0.015295 | 30.316
74 | 0.065441 | 0.016451 | -0.065396 | -0.016433 | 4.499e-05 | 1.7205e-05 | 0.09765 | 0.09765 | 0.09765 | 0.99738 | -0.018232 | 0.99667 | -0.023172 | 36.1668
75 | 0.06338 | 0.015928 | -0.063379 | -0.015928 | 5.9241e-07 | 2.2647e-07 | 0.09464 | 0.09464 | 0.09464 | 0.99667 | -0.023172 | 0.99666 | -0.023239 | 35.0518
76 | 0.013778 | 0.0034535 | -0.013774 | -0.0034519 | 4.6181e-06 | 1.5615e-06 | 0.02088 | 0.020881 | 0.020881 | 0.9819 | -0.12715 | 0.98156 | -0.12957 | 7.7335
77 | 0.010154 | 0.0025447 | -0.010153 | -0.0025445 | 6.5812e-07 | 1.9686e-07 | 0.015393 | 0.015393 | 0.015393 | 0.98156 | -0.12957 | 0.9815 | -0.13004 | 5.701
78 | 0.0058853 | 0.0014745 | -0.0058843 | -0.0014744 | 9.9403e-07 | 1.2237e-07 | 0.0088608 | 0.0088609 | 0.0088609 | 0.98831 | -0.081818 | 0.98814 | -0.083038 | 3.2818
79 | 0.0033394 | 0.00083659 | -0.0033389 | -0.00083681 | 5.01e-07 | -2.1396e-07 | 0.0050286 | 0.0050288 | 0.0050288 | 0.98814 | -0.083038 | 0.98798 | -0.084123 | 1.8625

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18948 | 0.047533

## res_load
| p_mw | q_mvar
0 | 0.000867 | 0.00021729
1 | 0.0029093 | 0.00072915
2 | 0.0021962 | 0.00055042
3 | 0.002101 | 0.00052656
4 | 0.0020371 | 0.00051054
5 | 0.0019987 | 0.00050091
6 | 0.001387 | 0.00034763
7 | 0.0016885 | 0.00042319
8 | 0.0021826 | 0.00054702
9 | 0.0045638 | 0.0011438
10 | 0.0032406 | 0.00081218
11 | 0.0031629 | 0.00079269
12 | 0.0055603 | 0.0013935
13 | 0.0075662 | 0.0018963
14 | 0.0010155 | 0.00025451
15 | 0.0068354 | 0.0017131
16 | 0.0033133 | 0.00083039
17 | 0.0003509 | 8.7945e-05
18 | 0.000499 | 0.00012506
19 | 0.00091864 | 0.00023023
20 | 0.0081774 | 0.0020494
21 | 0.00060198 | 0.00015087
22 | 0.024177 | 0.0060592
23 | 0.0038778 | 0.00097187
24 | 0.0055253 | 0.0013848
25 | 0.0052316 | 0.0013112
26 | 0.00038764 | 9.7152e-05
27 | 0.0011078 | 0.00027764
28 | 0.00086472 | 0.00021672
29 | 0.00095692 | 0.00023983
30 | 0.0015406 | 0.0003861
31 | 0.0018384 | 0.00046074
32 | 0.0016691 | 0.00041832
33 | 0.001387 | 0.00034762
34 | 0.0016698 | 0.00041849
35 | 0.0053223 | 0.0013339
36 | 0.0022941 | 0.00057495
37 | 0.0032452 | 0.00081332
38 | 0.0021173 | 0.00053065
39 | 0.0033538 | 0.00084054
40 | 0.0013223 | 0.0003314
41 | 0.0017017 | 0.00042649
42 | 0.0018062 | 0.00045266
43 | 0.003925 | 0.0009837
44 | 0.002388 | 0.00059849
45 | 0.0035144 | 0.00088078
46 | 0.0018668 | 0.00046787
47 | 0.0030606 | 0.00076706
48 | 0.0030835 | 0.0007728
49 | 0.0032122 | 0.00080505
50 | 0.0029088 | 0.00072901
51 | 0.0019404 | 0.00048631
52 | 0.0019374 | 0.00048555
53 | 0.0019394 | 0.00048606
54 | 0.0020166 | 0.0005054
55 | 0.0033789 | 0.00084684
56 | 0.0035919 | 0.00090021
57 | 0.0036201 | 0.00090728
58 | 0.003839 | 0.00096215
59 | 0.0025449 | 0.0006378
60 | 0.0033389 | 0.00083681

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1