## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1083-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1083-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1083-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1083-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1083-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1083-17_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1083-17_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1083-17_0_3_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_1083-17_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_1083-17_0_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_1083-17_0_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_1083-17_0_3_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_1083-17_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1083-17_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1083-17_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1083-17_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1083-17_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1083-17_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1083-17_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1083-17_0_3_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_1083-17_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1083-17_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1083-17_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1083-17_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1083-17_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1083-17_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1083-17_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_1083-17_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1083-17_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1083-17_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1083-17_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1083-17_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1083-17_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1083-17_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1083-17_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1083-17_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_MV_2_1_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1083-17_0_3_load_0 | 0 | 0.0068924 | 0.0017274 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1083-17_0_3_load_1 | 1 | 0.0051847 | 0.0012994 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1083-17_0_3_load_3 | 3 | 0.002032 | 0.00050927 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1083-17_0_3_load_5 | 5 | 0.01024 | 0.0025663 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1083-17_0_3_load_22 | 8 | 0.0019445 | 0.00048733 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1083-17_0_3_load_20 | 9 | 0.00977 | 0.0024486 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1083-17_0_3_load_21 | 10 | 0.0030794 | 0.00077178 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1083-17_0_3_load_37 | 11 | 0.0039738 | 0.00099593 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1083-17_0_3_load_19 | 12 | 0.006963 | 0.0017451 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1083-17_0_3_load_6 | 13 | 0.00050791 | 0.00012729 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1083-17_0_3_load_7 | 14 | 0.00051274 | 0.0001285 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1083-17_0_3_load_16 | 18 | 0.013416 | 0.0033623 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1083-17_0_3_load_30 | 19 | 0.00046954 | 0.00011768 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1083-17_0_3_load_18 | 20 | 0.0082694 | 0.0020725 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1083-17_0_3_load_15 | 21 | 0.0055537 | 0.0013919 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1083-17_0_3_load_11 | 24 | 0.077664 | 0.019464 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1083-17_0_3_load_32 | 26 | 0.0071611 | 0.0017947 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1083-17_0_3_load_25 | 27 | 0.0035042 | 0.00087824 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1083-17_0_3_load_26 | 28 | 0.0068437 | 0.0017152 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1083-17_0_3_load_28 | 30 | 0.017482 | 0.0043814 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1083-17_0_3_load_29 | 31 | 0.015782 | 0.0039554 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1083-17_0_3_load_33 | 32 | 0.00020463 | 5.1284e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1083-17_0_3_load_31 | 33 | 0.0061736 | 0.0015472 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1083-17_0_3_load_35 | 34 | 0.024683 | 0.0061862 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1083-17_0_3_load_34 | 35 | 0.0028631 | 0.00071756 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1083-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.044529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1083-17_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.026979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1083-17_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.063975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1083-17_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1083-17_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.039185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1083-17_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.019772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1083-17_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.10993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1083-17_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.029997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1083-17_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0031052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1083-17_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.034208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1083-17_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0038802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1083-17_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.014237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1083-17_0_3_line_12 | NAYY 4x150 SE | 11 | 26 | 0.021819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1083-17_0_3_line_13 | NAYY 4x150 SE | 12 | 20 | 0.0053394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1083-17_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.036638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1083-17_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.020839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1083-17_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.035743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1083-17_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.007095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1083-17_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.008022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1083-17_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.024225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1083-17_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0057499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1083-17_0_3_line_21 | NAYY 4x150 SE | 19 | 23 | 0.044011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1083-17_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0057018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1083-17_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.05652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1083-17_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.034713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1083-17_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.014086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1083-17_0_3_line_26 | NAYY 4x150 SE | 26 | 33 | 0.028279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1083-17_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.011775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1083-17_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.013748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1083-17_0_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.0015418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1083-17_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.0042559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1083-17_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.023632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1083-17_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.023946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1083-17_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.004533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1083-17_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.026797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1083-17_0_3_trafo_16 | 0.25 MVA 20/0.4 kV | 36 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2649888.2996 | 1218507.3591 | 2649888.0953 | 1218514.0245 | 2649886.6386 | 1218528.4655 | 2649879.2659 | 1218550.6172
1 | 2649887.2677 | 1218480.5195 | 2649888.8365 | 1218489.8494 | 2649888.2996 | 1218507.3591
2 | 2649879.2659 | 1218550.6172 | 2649879.2659 | 1218550.6172 | 2649880.283 | 1218556.9517 | 2649885.7458 | 1218574.3746 | 2649897.8054 | 1218603.3709 | 2649901.433 | 1218610.3841
3 | 2649887.2677 | 1218480.5195 | 2649906.6503 | 1218475.2119
4 | 2649887.2677 | 1218480.5195 | 2649875.6019 | 1218481.5003 | 2649866.8604 | 1218480.3932 | 2649848.6225 | 1218476.4144
5 | 2649909.5191 | 1218628.3507 | 2649907.8206 | 1218622.7331 | 2649901.433 | 1218610.3841
6 | 2649906.6503 | 1218475.2119 | 2649909.3155 | 1218468.7191 | 2649910.8001 | 1218461.8274 | 2649915.0343 | 1218441.9842 | 2649922.2089 | 1218416.3399 | 2649923.3262 | 1218411.613 | 2649924.8654 | 1218408.1683 | 2649928.8286 | 1218401.6642 | 2649930.4693 | 1218397.8757 | 2649935.5785 | 1218380.508 | 2649925.6016 | 1218377.367
7 | 2649906.6503 | 1218475.2119 | 2649935.8419 | 1218468.3085
8 | 2649845.5886 | 1218475.7526 | 2649848.6225 | 1218476.4144
9 | 2649909.5191 | 1218628.3507 | 2649909.3536 | 1218634.5197 | 2649902.6216 | 1218660.8348 | 2649902.5883 | 1218661.7082
10 | 2649925.6016 | 1218377.367 | 2649921.854 | 1218376.3613
11 | 2649845.5886 | 1218475.7526 | 2649833.0499 | 1218473.0172 | 2649831.6691 | 1218472.7668
12 | 2649921.854 | 1218376.3613 | 2649912.2586 | 1218373.7864 | 2649903.0927 | 1218371.6751 | 2649900.6551 | 1218371.2309
13 | 2649831.6691 | 1218472.7668 | 2649826.4153 | 1218471.8142
14 | 2649740.8046 | 1218474.8562 | 2649741.1545 | 1218474.951 | 2649771.945 | 1218476.8091 | 2649777.3522 | 1218476.3246
15 | 2649721.7863 | 1218466.7178 | 2649732.1812 | 1218472.5191 | 2649740.8046 | 1218474.8562
16 | 2649812.7175 | 1218471.2017 | 2649782.2745 | 1218475.8836 | 2649777.3522 | 1218476.3246
17 | 2649721.7863 | 1218466.7178 | 2649719.2795 | 1218473.3565
18 | 2649812.7175 | 1218471.2017 | 2649820.7378 | 1218471.0381
19 | 2649719.2795 | 1218473.3565 | 2649720.2314 | 1218495.7112 | 2649720.3895 | 1218497.5541
20 | 2649820.7378 | 1218471.0381 | 2649821.9935 | 1218471.0124 | 2649826.4153 | 1218471.8142
21 | 2649726.2198 | 1218541.1553 | 2649721.5249 | 1218510.7867 | 2649720.3895 | 1218497.5541
22 | 2649827.3693 | 1218534.2623 | 2649826.8997 | 1218528.5798
23 | 2649827.3693 | 1218534.2623 | 2649819.9243 | 1218539.67 | 2649811.323 | 1218539.965 | 2649807.6051 | 1218543.4805 | 2649779.7176 | 1218543.9256 | 2649775.0164 | 1218540.6955
24 | 2649726.2198 | 1218541.1553 | 2649748.0114 | 1218540.8925 | 2649760.93 | 1218540.7335
25 | 2649760.93 | 1218540.7335 | 2649775.0164 | 1218540.6955
26 | 2649872.6416 | 1218367.6752 | 2649876.7739 | 1218367.7747 | 2649889.2171 | 1218369.1463 | 2649900.6551 | 1218371.2309
27 | 2649830.7172 | 1218368.4278 | 2649818.9508 | 1218368.8664
28 | 2649844.4558 | 1218367.9157 | 2649830.7172 | 1218368.4278
29 | 2649818.9508 | 1218368.8664 | 2649817.4101 | 1218368.9239
30 | 2649844.4558 | 1218367.9157 | 2649848.708 | 1218367.7375
31 | 2649793.7946 | 1218369.8042 | 2649817.4101 | 1218368.9239
32 | 2649848.708 | 1218367.7375 | 2649858.3878 | 1218367.3318 | 2649872.6416 | 1218367.6752
33 | 2649793.7946 | 1218369.8042 | 2649789.2648 | 1218369.973
34 | 2649762.4833 | 1218370.8559 | 2649767.6241 | 1218370.7756 | 2649778.4352 | 1218370.3767 | 2649789.2648 | 1218369.973

## bus_geodata
| x | y | coords
0 | 2649888.2996 | 1218507.3591
1 | 2649879.2659 | 1218550.6172
2 | 2649887.2677 | 1218480.5195
3 | 2649901.433 | 1218610.3841
4 | 2649906.6503 | 1218475.2119
5 | 2649848.6225 | 1218476.4144
6 | 2649909.5191 | 1218628.3507
7 | 2649925.6016 | 1218377.367
8 | 2649935.8419 | 1218468.3085
9 | 2649845.5886 | 1218475.7526
10 | 2649902.5883 | 1218661.7082
11 | 2649921.854 | 1218376.3613
12 | 2649831.6691 | 1218472.7668
13 | 2649740.8046 | 1218474.8562
14 | 2649777.3522 | 1218476.3246
15 | 2649721.7863 | 1218466.7178
16 | 2649812.7175 | 1218471.2017
17 | 2649719.2795 | 1218473.3565
18 | 2649820.7378 | 1218471.0381
19 | 2649720.3895 | 1218497.5541
20 | 2649826.4153 | 1218471.8142
21 | 2649826.8997 | 1218528.5798
22 | 2649827.3693 | 1218534.2623
23 | 2649726.2198 | 1218541.1553
24 | 2649775.0164 | 1218540.6955
25 | 2649760.93 | 1218540.7335
26 | 2649900.6551 | 1218371.2309
27 | 2649830.7172 | 1218368.4278
28 | 2649818.9508 | 1218368.8664
29 | 2649844.4558 | 1218367.9157
30 | 2649817.4101 | 1218368.9239
31 | 2649848.708 | 1218367.7375
32 | 2649793.7946 | 1218369.8042
33 | 2649872.6416 | 1218367.6752
34 | 2649789.2648 | 1218369.973
35 | 2649762.4833 | 1218370.8559
36 | 2649812.7175 | 1218471.2017

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99355 | -0.044629 | 0.0068924 | 0.0017274
1 | 0.99289 | -0.049273 | 0.0051847 | 0.0012994
2 | 0.99422 | -0.039939 | 0 | 0
3 | 0.99242 | -0.052591 | 0.002032 | 0.00050927
4 | 0.99289 | -0.049124 | 0 | 0
5 | 0.99729 | -0.018666 | 0.01024 | 0.0025663
6 | 0.99234 | -0.053209 | 0 | 0
7 | 0.98577 | -0.098834 | 0 | 0
8 | 0.99281 | -0.049715 | 0.0019445 | 0.00048733
9 | 0.99756 | -0.016826 | 0.00977 | 0.0024486
10 | 0.99219 | -0.054277 | 0.0030794 | 0.00077178
11 | 0.98527 | -0.10237 | 0.0039738 | 0.00099593
12 | 0.99888 | -0.0077082 | 0.006963 | 0.0017451
13 | 0.99004 | -0.068486 | 0.00050791 | 0.00012729
14 | 0.99457 | -0.037212 | 0.00051274 | 0.0001285
15 | 0.98749 | -0.086293 | 0 | 0
16 | 0.999 | -0.0067908 | 0 | 0
17 | 0.98662 | -0.092377 | 0 | 0
18 | 1 | 0 | -0.23318 | -0.058844
19 | 0.98364 | -0.11323 | 0.00046954 | 0.00011768
20 | 0.9994 | -0.004109 | 0.0082694 | 0.0020725
21 | 0.97181 | -0.19749 | 0.0055537 | 0.0013919
22 | 0.97186 | -0.19715 | 0 | 0
23 | 0.97827 | -0.15122 | 0 | 0
24 | 0.97232 | -0.19383 | 0.077664 | 0.019464
25 | 0.97404 | -0.18148 | 0 | 0
26 | 0.98257 | -0.12142 | 0.0071611 | 0.0017947
27 | 0.9754 | -0.17248 | 0.0035042 | 0.00087824
28 | 0.9745 | -0.17892 | 0.0068437 | 0.0017152
29 | 0.97652 | -0.16447 | 0 | 0
30 | 0.9744 | -0.17965 | 0.017482 | 0.0043814
31 | 0.97687 | -0.162 | 0.015782 | 0.0039554
32 | 0.97344 | -0.18655 | 0.00020463 | 5.1284e-05
33 | 0.97937 | -0.14417 | 0.0061736 | 0.0015472
34 | 0.97326 | -0.18787 | 0.024683 | 0.0061862
35 | 0.97315 | -0.18868 | 0.0028631 | 0.00071756
36 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010306 | 0.0025821 | -0.010299 | -0.0025801 | 6.6194e-06 | 1.9696e-06 | 0.015434 | 0.015435 | 0.015435 | 0.99355 | -0.044629 | 0.99289 | -0.049273 | 5.7165
1 | -0.017198 | -0.0043095 | 0.017209 | 0.0043134 | 1.1168e-05 | 3.9459e-06 | 0.025757 | 0.025757 | 0.025757 | 0.99355 | -0.044629 | 0.99422 | -0.039939 | 9.5396
2 | 0.0051145 | 0.0012807 | -0.0051122 | -0.0012806 | 2.3452e-06 | 7.4976e-08 | 0.0076645 | 0.0076648 | 0.0076648 | 0.99289 | -0.049273 | 0.99242 | -0.052591 | 2.8388
3 | 0.092222 | 0.023323 | -0.092103 | -0.023277 | 0.00011926 | 4.5349e-05 | 0.1381 | 0.1381 | 0.1381 | 0.99422 | -0.039939 | 0.99289 | -0.049124 | 25.5742
4 | -0.10943 | -0.027636 | 0.10976 | 0.027761 | 0.00032825 | 0.00012523 | 0.16386 | 0.16386 | 0.16386 | 0.99422 | -0.039939 | 0.99729 | -0.018666 | 30.344
5 | 0.0030802 | 0.00077136 | -0.0030799 | -0.00077151 | 2.6313e-07 | -1.5425e-07 | 0.0046181 | 0.0046182 | 0.0046182 | 0.99242 | -0.052591 | 0.99234 | -0.053209 | 1.7104
6 | 0.090159 | 0.02279 | -0.089532 | -0.022552 | 0.00062679 | 0.00023825 | 0.13519 | 0.13519 | 0.13519 | 0.99289 | -0.049124 | 0.98577 | -0.098834 | 25.0348
7 | 0.0019446 | 0.000487 | -0.0019445 | -0.00048733 | 1.5897e-07 | -3.2678e-07 | 0.0029142 | 0.0029144 | 0.0029144 | 0.99289 | -0.049124 | 0.99281 | -0.049715 | 1.0794
8 | -0.12 | -0.030328 | 0.12003 | 0.030339 | 3.1089e-05 | 1.1876e-05 | 0.17914 | 0.17914 | 0.17914 | 0.99729 | -0.018666 | 0.99756 | -0.016826 | 33.1732
9 | 0.0030799 | 0.00077151 | -0.0030794 | -0.00077178 | 4.5527e-07 | -2.6676e-07 | 0.0046182 | 0.0046183 | 0.0046183 | 0.99234 | -0.053209 | 0.99219 | -0.054277 | 1.7105
10 | 0.089532 | 0.022552 | -0.089488 | -0.022535 | 4.425e-05 | 1.697e-05 | 0.13519 | 0.13519 | 0.13519 | 0.98577 | -0.098834 | 0.98527 | -0.10237 | 50.0695
11 | -0.1298 | -0.032788 | 0.12997 | 0.032852 | 0.00016668 | 6.3734e-05 | 0.19371 | 0.19371 | 0.19371 | 0.99756 | -0.016826 | 0.99888 | -0.0077082 | 35.872
12 | 0.085514 | 0.021539 | -0.085286 | -0.021452 | 0.00022722 | 8.7114e-05 | 0.12919 | 0.12919 | 0.12919 | 0.98527 | -0.10237 | 0.98257 | -0.12142 | 47.8468
13 | -0.13693 | -0.034597 | 0.137 | 0.034623 | 6.9383e-05 | 2.6546e-05 | 0.20408 | 0.20408 | 0.20408 | 0.99888 | -0.0077082 | 0.9994 | -0.004109 | 37.7929
14 | -0.085671 | -0.021666 | 0.08605 | 0.021812 | 0.00037945 | 0.00014547 | 0.12883 | 0.12883 | 0.12883 | 0.99004 | -0.068486 | 0.99457 | -0.037212 | 47.7153
15 | 0.085163 | 0.021539 | -0.08495 | -0.021457 | 0.00021327 | 8.1761e-05 | 0.12807 | 0.12807 | 0.12807 | 0.99004 | -0.068486 | 0.98749 | -0.086293 | 47.4326
16 | -0.086563 | -0.02194 | 0.086938 | 0.022084 | 0.0003746 | 0.00014361 | 0.1296 | 0.1296 | 0.1296 | 0.99457 | -0.037212 | 0.999 | -0.0067908 | 47.9994
17 | 0.08495 | 0.021457 | -0.084877 | -0.021429 | 7.2614e-05 | 2.7838e-05 | 0.12807 | 0.12807 | 0.12807 | 0.98749 | -0.086293 | 0.98662 | -0.092377 | 47.4327
18 | -0.086938 | -0.022084 | 0.087022 | 0.022116 | 8.4075e-05 | 3.2231e-05 | 0.1296 | 0.1296 | 0.1296 | 0.999 | -0.0067908 | 1 | 0 | 47.9993
19 | 0.084877 | 0.021429 | -0.084629 | -0.021334 | 0.00024793 | 9.5048e-05 | 0.12807 | 0.12807 | 0.12807 | 0.98662 | -0.092377 | 0.98364 | -0.11323 | 47.4327
20 | 0.14535 | 0.036728 | -0.14527 | -0.036696 | 8.4005e-05 | 3.2159e-05 | 0.21639 | 0.21639 | 0.21639 | 1 | 0 | 0.9994 | -0.004109 | 40.0729
21 | 0.08416 | 0.021217 | -0.083714 | -0.021046 | 0.00044545 | 0.00017077 | 0.12736 | 0.12736 | 0.12736 | 0.98364 | -0.11323 | 0.97827 | -0.15122 | 47.1697
22 | -0.0055537 | -0.0013919 | 0.0055539 | 0.0013919 | 2.5728e-07 | 2.8304e-08 | 0.0085036 | 0.0085036 | 0.0085036 | 0.97181 | -0.19749 | 0.97186 | -0.19715 | 3.1495
23 | -0.0055539 | -0.0013919 | 0.0055565 | 0.0013922 | 2.5502e-06 | 2.8017e-07 | 0.0085036 | 0.0085033 | 0.0085036 | 0.97186 | -0.19715 | 0.97232 | -0.19383 | 3.1495
24 | 0.083714 | 0.021046 | -0.083363 | -0.020911 | 0.00035134 | 0.0001347 | 0.12736 | 0.12736 | 0.12736 | 0.97827 | -0.15122 | 0.97404 | -0.18148 | 47.1698
25 | -0.08322 | -0.020857 | 0.083363 | 0.020911 | 0.00014257 | 5.4661e-05 | 0.12736 | 0.12736 | 0.12736 | 0.97232 | -0.19383 | 0.97404 | -0.18148 | 47.1698
26 | 0.078125 | 0.019657 | -0.077878 | -0.019563 | 0.00024712 | 9.4691e-05 | 0.11834 | 0.11834 | 0.11834 | 0.98257 | -0.12142 | 0.97937 | -0.14417 | 43.8302
27 | 0.05216 | 0.013083 | -0.052113 | -0.013065 | 4.6525e-05 | 1.7748e-05 | 0.079576 | 0.079576 | 0.079576 | 0.9754 | -0.17248 | 0.9745 | -0.17892 | 29.4725
28 | -0.055664 | -0.013961 | 0.055726 | 0.013985 | 6.1867e-05 | 2.3623e-05 | 0.084921 | 0.084921 | 0.084921 | 0.9754 | -0.17248 | 0.97652 | -0.16447 | 31.4524
29 | 0.045269 | 0.01135 | -0.045265 | -0.011348 | 4.5971e-06 | 1.7489e-06 | 0.069126 | 0.069126 | 0.069126 | 0.9745 | -0.17892 | 0.9744 | -0.17965 | 25.6021
30 | -0.055726 | -0.013985 | 0.055745 | 0.013992 | 1.9152e-05 | 7.3128e-06 | 0.084921 | 0.084921 | 0.084921 | 0.97652 | -0.16447 | 0.97687 | -0.162 | 31.4524
31 | 0.027783 | 0.0069666 | -0.027756 | -0.0069567 | 2.6546e-05 | 9.916e-06 | 0.042429 | 0.042429 | 0.042429 | 0.9744 | -0.17965 | 0.97344 | -0.18655 | 15.7144
32 | -0.071527 | -0.017947 | 0.071705 | 0.018015 | 0.00017741 | 6.7933e-05 | 0.10896 | 0.10896 | 0.10896 | 0.97687 | -0.162 | 0.97937 | -0.14417 | 40.3562
33 | 0.027552 | 0.0069054 | -0.027547 | -0.0069036 | 5.0173e-06 | 1.8734e-06 | 0.042116 | 0.042116 | 0.042116 | 0.97344 | -0.18655 | 0.97326 | -0.18787 | 15.5985
34 | 0.0028634 | 0.00071735 | -0.0028631 | -0.00071756 | 3.2047e-07 | -2.0971e-07 | 0.0043778 | 0.0043779 | 0.0043779 | 0.97326 | -0.18787 | 0.97315 | -0.18868 | 1.6214

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24659 | 0.062207

## res_load
| p_mw | q_mvar
0 | 0.0068924 | 0.0017274
1 | 0.0051847 | 0.0012994
2 | 0.002032 | 0.00050927
3 | 0.01024 | 0.0025663
4 | 0.0019445 | 0.00048733
5 | 0.00977 | 0.0024486
6 | 0.0030794 | 0.00077178
7 | 0.0039738 | 0.00099593
8 | 0.006963 | 0.0017451
9 | 0.00050791 | 0.00012729
10 | 0.00051274 | 0.0001285
11 | 0.013416 | 0.0033623
12 | 0.00046954 | 0.00011768
13 | 0.0082694 | 0.0020725
14 | 0.0055537 | 0.0013919
15 | 0.077664 | 0.019464
16 | 0.0071611 | 0.0017947
17 | 0.0035042 | 0.00087824
18 | 0.0068437 | 0.0017152
19 | 0.017482 | 0.0043814
20 | 0.015782 | 0.0039554
21 | 0.00020463 | 5.1284e-05
22 | 0.0061736 | 0.0015472
23 | 0.024683 | 0.0061862
24 | 0.0028631 | 0.00071756

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1