## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1083-1_1_2_node_154 | 0.4 | n |  | TRUE
1 | bus_LV_1083-1_1_2_node_152 | 0.4 | n |  | TRUE
2 | bus_LV_1083-1_1_2_node_156 | 0.4 | n |  | TRUE
3 | bus_LV_1083-1_1_2_node_155 | 0.4 | n |  | TRUE
4 | bus_LV_1083-1_1_2_node_153 | 0.4 | n |  | TRUE
5 | bus_LV_1083-1_1_2_node_157 | 0.4 | n |  | TRUE
6 | bus_LV_1083-1_1_2_node_151 | 0.4 | n |  | TRUE
7 | bus_LV_1083-1_1_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1083-1_1_2_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_1083-1_1_2_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_1083-1_1_2_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_1083-1_1_2_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_1083-1_1_2_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_1083-1_1_2_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1083-1_1_2_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_1083-1_1_2_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_1083-1_1_2_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_1083-1_1_2_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_1083-1_1_2_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_1083-1_1_2_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_1083-1_1_2_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1083-1_1_2_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_1083-1_1_2_node_164 | 0.4 | n |  | TRUE
23 | bus_LV_1083-1_1_2_node_161 | 0.4 | n |  | TRUE
24 | bus_LV_1083-1_1_2_node_158 | 0.4 | n |  | TRUE
25 | bus_LV_1083-1_1_2_node_159 | 0.4 | n |  | TRUE
26 | bus_LV_1083-1_1_2_node_160 | 0.4 | n |  | TRUE
27 | bus_LV_1083-1_1_2_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_1083-1_1_2_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_1083-1_1_2_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_1083-1_1_2_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_1083-1_1_2_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_1083-1_1_2_node_166 | 0.4 | n |  | TRUE
33 | bus_LV_1083-1_1_2_node_165 | 0.4 | n |  | TRUE
34 | bus_LV_1083-1_1_2_node_168 | 0.4 | n |  | TRUE
35 | bus_LV_1083-1_1_2_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_1083-1_1_2_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_1083-1_1_2_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_1083-1_1_2_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_1083-1_1_2_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_1083-1_1_2_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_1083-1_1_2_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_1083-1_1_2_node_76 | 0.4 | n |  | TRUE
43 | bus_MV_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1083-1_1_2_load_154 | 0 | 0.00017368 | 4.3528e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1083-1_1_2_load_152 | 1 | 0.00032437 | 8.1295e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1083-1_1_2_load_157 | 5 | 0.0011752 | 0.00029452 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1083-1_1_2_load_151 | 6 | 0.00057814 | 0.0001449 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1083-1_1_2_load_25 | 7 | 0.0023706 | 0.00059413 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1083-1_1_2_load_26 | 8 | 0.00034869 | 8.7391e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1083-1_1_2_load_28 | 10 | 0.00031328 | 7.8516e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1083-1_1_2_load_30 | 12 | 0.00033261 | 8.3361e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1083-1_1_2_load_35 | 13 | 0.00049346 | 0.00012367 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1083-1_1_2_load_49 | 16 | 0.0006649 | 0.00016664 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1083-1_1_2_load_32 | 17 | 0.001277 | 0.00032003 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1083-1_1_2_load_33 | 18 | 0.00028972 | 7.2611e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1083-1_1_2_load_36 | 20 | 0.001001 | 0.00025087 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1083-1_1_2_load_164 | 22 | 0.00038332 | 9.6068e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1083-1_1_2_load_161 | 23 | 0.00075453 | 0.0001891 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1083-1_1_2_load_159 | 25 | 0.00030083 | 7.5396e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1083-1_1_2_load_160 | 26 | 8.0238e-05 | 2.011e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1083-1_1_2_load_57 | 28 | 0.00016497 | 4.1346e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1083-1_1_2_load_44 | 29 | 0.00027571 | 6.9099e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1083-1_1_2_load_45 | 30 | 0.00015316 | 3.8386e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1083-1_1_2_load_46 | 31 | 0.00078998 | 0.00019799 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1083-1_1_2_load_166 | 32 | 0.0042964 | 0.0010768 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1083-1_1_2_load_165 | 33 | 0.0020488 | 0.00051348 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1083-1_1_2_load_53 | 36 | 0.00029293 | 7.3416e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1083-1_1_2_load_87 | 37 | 0.00040378 | 0.0001012 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1083-1_1_2_load_54 | 38 | 0.0010626 | 0.00026631 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1083-1_1_2_load_56 | 41 | 0.00010816 | 2.7109e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1083-1_1_2_load_76 | 42 | 0.0025943 | 0.0006502 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1083-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1083-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1083-1_1_2_line_2 | NAYY 4x150 SE | 1 | 6 | 0.0082232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1083-1_1_2_line_3 | NAYY 4x150 SE | 2 | 22 | 0.034785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1083-1_1_2_line_4 | NAYY 4x150 SE | 2 | 23 | 0.010897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1083-1_1_2_line_5 | NAYY 4x150 SE | 3 | 4 | 0.1938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1083-1_1_2_line_6 | NAYY 4x150 SE | 3 | 5 | 0.16455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1083-1_1_2_line_7 | NAYY 4x150 SE | 4 | 6 | 0.17792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1083-1_1_2_line_8 | NAYY 4x150 SE | 5 | 24 | 0.034674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1083-1_1_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.049098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1083-1_1_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.055714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1083-1_1_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.013276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1083-1_1_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.26911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1083-1_1_2_line_13 | NAYY 4x150 SE | 9 | 12 | 0.0086056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1083-1_1_2_line_14 | NAYY 4x150 SE | 10 | 13 | 0.013398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1083-1_1_2_line_15 | NAYY 4x150 SE | 11 | 14 | 0.60445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1083-1_1_2_line_16 | NAYY 4x150 SE | 11 | 15 | 0.51721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1083-1_1_2_line_17 | NAYY 4x150 SE | 11 | 16 | 0.12057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1083-1_1_2_line_18 | NAYY 4x150 SE | 13 | 18 | 0.015698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1083-1_1_2_line_19 | NAYY 4x150 SE | 14 | 37 | 0.09807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1083-1_1_2_line_20 | NAYY 4x150 SE | 15 | 22 | 0.33696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1083-1_1_2_line_21 | NAYY 4x150 SE | 16 | 35 | 0.0009296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1083-1_1_2_line_22 | NAYY 4x150 SE | 17 | 18 | 0.02389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1083-1_1_2_line_23 | NAYY 4x150 SE | 17 | 19 | 0.034215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1083-1_1_2_line_24 | NAYY 4x150 SE | 19 | 20 | 0.019686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1083-1_1_2_line_25 | NAYY 4x150 SE | 20 | 21 | 0.17442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1083-1_1_2_line_26 | NAYY 4x150 SE | 21 | 42 | 0.21049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1083-1_1_2_line_27 | NAYY 4x150 SE | 23 | 26 | 0.0069681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1083-1_1_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0097549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1083-1_1_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.071866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1083-1_1_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.15375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1083-1_1_2_line_31 | NAYY 4x150 SE | 28 | 41 | 0.029867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1083-1_1_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.045011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1083-1_1_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.023671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1083-1_1_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.021666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1083-1_1_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.061673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1083-1_1_2_line_36 | NAYY 4x150 SE | 34 | 42 | 0.012635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1083-1_1_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.024347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1083-1_1_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.016731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1083-1_1_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.19092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1083-1_1_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.45175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1083-1_1_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.069654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1083-1_1_2_trafo_75 | 0.25 MVA 20/0.4 kV | 43 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2648905.1606 | 1219667.6997 | 2648912.9487 | 1219647.8865
1 | 2648921.0599 | 1219627.2509 | 2648912.9487 | 1219647.8865
2 | 2648902.1524 | 1219675.3529 | 2648905.1606 | 1219667.6997
3 | 2648921.0599 | 1219627.2509 | 2648932.0043 | 1219633.4223 | 2648952.4847 | 1219642.0424
4 | 2648921.0599 | 1219627.2509 | 2648912.6314 | 1219620.3435
5 | 2648590.5769 | 1219844.9131 | 2648613.4081 | 1219841.2526 | 2648620.7295 | 1219842.2907 | 2648638.6624 | 1219838.2123 | 2648682.4797 | 1219831.0545 | 2648715.0427 | 1219828.7413 | 2648719.7717 | 1219826.6676 | 2648739.7027 | 1219801.9044 | 2648761.462 | 1219779.9691
6 | 2648590.5769 | 1219844.9131 | 2648587.6252 | 1219831.9034 | 2648585.9158 | 1219817.2806 | 2648587.1294 | 1219793.1425 | 2648591.082 | 1219757.8756 | 2648600.3797 | 1219690.5885 | 2648602.287 | 1219681.8876
7 | 2648761.462 | 1219779.9691 | 2648782.9489 | 1219766.3144 | 2648809.7278 | 1219751.3468 | 2648837.9268 | 1219737.1803 | 2648856.1295 | 1219726.1672 | 2648872.9451 | 1219711.2849 | 2648886.4947 | 1219696.7872 | 2648901.0961 | 1219678.0401 | 2648902.1524 | 1219675.3529
8 | 2648605.037 | 1219650.8024 | 2648610.7879 | 1219662.0672 | 2648610.7498 | 1219666.7364 | 2648607.6566 | 1219671.981 | 2648602.287 | 1219681.8876
9 | 2649453.4704 | 1220366.4473 | 2649472.4878 | 1220346.0713 | 2649482.9944 | 1220337.1308 | 2649489.414 | 1220333.3893
10 | 2649540.6221 | 1220312.1276 | 2649533.4054 | 1220316.8483 | 2649494.3543 | 1220330.51 | 2649489.414 | 1220333.3893
11 | 2649453.4704 | 1220366.4473 | 2649444.4121 | 1220376.1526
12 | 2649654.0311 | 1220070.569 | 2649624.4956 | 1220113.9605 | 2649616.4999 | 1220130.1704 | 2649611.3816 | 1220147.0937 | 2649605.1353 | 1220175.5701 | 2649599.959 | 1220191.2588 | 2649586.2844 | 1220213.4029 | 2649572.3035 | 1220236.7897 | 2649560.4551 | 1220262.8848 | 2649546.0292 | 1220304.2345 | 2649540.6221 | 1220312.1276
13 | 2649540.6221 | 1220312.1276 | 2649544.8332 | 1220315.7537 | 2649547.7194 | 1220316.735
14 | 2649444.4121 | 1220376.1526 | 2649435.2704 | 1220385.9474
15 | 2649777.6797 | 1219569.9186 | 2649722.7297 | 1219616.7885 | 2649709.8037 | 1219622.6509 | 2649704.9003 | 1219627.3795 | 2649701.6762 | 1219634.557 | 2649710.3937 | 1219648.338 | 2649736.7697 | 1219680.1662 | 2649744.4389 | 1219692.2598 | 2649748.2243 | 1219704.1875 | 2649749.8459 | 1219717.1756 | 2649751.7658 | 1219743.5076 | 2649757.3848 | 1219775.7518 | 2649763.1876 | 1219792.3326 | 2649766.861 | 1219806.7609 | 2649779.2976 | 1219868.5022 | 2649776.7965 | 1219898.1215 | 2649780.1231 | 1219923.1756 | 2649776.9915 | 1219932.9109 | 2649762.7858 | 1219954.8834 | 2649761.1569 | 1219961.863 | 2649709.9409 | 1220015.4237 | 2649684.8365 | 1220041.4524 | 2649654.0311 | 1220070.569
16 | 2649245.4319 | 1219806.6415 | 2649255.1616 | 1219810.9801 | 2649270.5516 | 1219820.8466 | 2649295.8606 | 1219835.0867 | 2649303.3184 | 1219843.4645 | 2649308.1234 | 1219854.233 | 2649320.8826 | 1219885.8133 | 2649328.9526 | 1219895.3859 | 2649339.2586 | 1219903.4094 | 2649357.6933 | 1219915.7361 | 2649363.5414 | 1219919.6425 | 2649370.6137 | 1219925.9938 | 2649407.9013 | 1219969.707 | 2649421.7717 | 1219990.7237 | 2649425.9618 | 1220001.4871 | 2649437.1383 | 1220002.4137 | 2649515.1251 | 1220022.3287 | 2649541.3375 | 1220027.2161 | 2649614.3019 | 1220038.7855 | 2649624.6482 | 1220043.7191 | 2649632.9355 | 1220049.8919 | 2649648.0731 | 1220066.2278 | 2649654.0311 | 1220070.569
17 | 2649654.0311 | 1220070.569 | 2649696.6476 | 1220089.9804 | 2649710.7901 | 1220098.2367 | 2649719.5975 | 1220106.6152 | 2649727.9608 | 1220120.9381 | 2649739.6624 | 1220147.0625
18 | 2649424.5597 | 1220397.4233 | 2649435.2704 | 1220385.9474
19 | 2649777.6797 | 1219569.9186 | 2649792.1353 | 1219581.7132 | 2649846.9055 | 1219625.3752 | 2649853.388 | 1219630.5436 | 2649854.3786 | 1219630.9693
20 | 2649245.4319 | 1219806.6415 | 2649225.6072 | 1219791.6687 | 2649185.3008 | 1219766.8098 | 2649082.2342 | 1219703.2662 | 2649057.9366 | 1219688.6351 | 2649037.0634 | 1219678.3238 | 2648970.933 | 1219649.8074 | 2648952.4847 | 1219642.0424
21 | 2649739.6624 | 1220147.0625 | 2649740.0424 | 1220147.9109
22 | 2649408.259 | 1220414.8886 | 2649424.5597 | 1220397.4233
23 | 2649381.2842 | 1220435.5471 | 2649389.1169 | 1220431.5429 | 2649397.5994 | 1220425.1204 | 2649406.9899 | 1220416.2484 | 2649408.259 | 1220414.8886
24 | 2649381.2842 | 1220435.5471 | 2649367.7786 | 1220430.1319 | 2649363.1838 | 1220427.8396
25 | 2649208.0192 | 1220353.7423 | 2649268.9694 | 1220369.0217 | 2649289.9448 | 1220378.5565 | 2649342.1039 | 1220417.3227 | 2649363.1838 | 1220427.8396
26 | 2649208.0192 | 1220353.7423 | 2649189.6432 | 1220349.1322 | 2649170.5648 | 1220345.984 | 2649147.5403 | 1220343.8261 | 2649111.3871 | 1220342.9498 | 2649079.4136 | 1220345.866 | 2649057.193 | 1220350.1969 | 2649036.9788 | 1220358.7357 | 2649002.6477 | 1220370.3151
27 | 2648907.2419 | 1219615.9268 | 2648912.6314 | 1219620.3435
28 | 2648605.037 | 1219650.8024 | 2648609.3065 | 1219644.6112 | 2648610.9861 | 1219643.1376
29 | 2650228.7137 | 1219907.3402 | 2650224.3586 | 1219914.5079 | 2650214.8609 | 1219923.2554 | 2650174.9998 | 1219954.3693
30 | 2650228.7137 | 1219907.3402 | 2650139.3084 | 1219782.2562
31 | 2650150.9865 | 1219972.0362 | 2650150.9865 | 1219972.0362 | 2650155.7052 | 1219969.4299 | 2650174.9998 | 1219954.3693
32 | 2650094.5918 | 1219779.224 | 2650111.0394 | 1219778.7606 | 2650126.9054 | 1219779.7057 | 2650139.3084 | 1219782.2562
33 | 2650071.4536 | 1219775.1146 | 2650078.8866 | 1219777.3006 | 2650088.8547 | 1219779.3856 | 2650094.5918 | 1219779.224
34 | 2648924.6205 | 1220369.9712 | 2648924.9315 | 1220369.8662 | 2648931.0687 | 1220366.2699 | 2648942.5032 | 1220357.8081
35 | 2648990.675 | 1220374.3533 | 2648985.4667 | 1220371.0974 | 2648981.5081 | 1220368.0964 | 2648965.9785 | 1220351.3364 | 2648962.9503 | 1220348.6766 | 2648959.2943 | 1220347.6348 | 2648954.3969 | 1220349.0065 | 2648942.5032 | 1220357.8081
36 | 2648990.675 | 1220374.3533 | 2649002.6477 | 1220370.3151
37 | 2649740.0424 | 1220147.9109 | 2649749.5144 | 1220170.3395
38 | 2649749.5144 | 1220170.3395 | 2649751.3368 | 1220174.6547 | 2649757.3451 | 1220184.7554 | 2649757.5504 | 1220184.966
39 | 2649897.6946 | 1220313.607 | 2649873.9786 | 1220284.413 | 2649853.5348 | 1220264.0074 | 2649765.9137 | 1220193.5434 | 2649757.5504 | 1220184.966
40 | 2649897.6946 | 1220313.607 | 2649914.5755 | 1220321.8311 | 2649935.4001 | 1220343.8301 | 2649950.4165 | 1220346.3797 | 2649968.4507 | 1220331.9776 | 2649982.4856 | 1220317.6755 | 2649988.6058 | 1220301.7282 | 2650000.8378 | 1220267.2098 | 2650020.0394 | 1220219.5308 | 2650054.4189 | 1220181.4629 | 2650067.2061 | 1220159.5125 | 2650097.9864 | 1220102.8923 | 2650114.077 | 1220056.2881 | 2650115.9337 | 1220019.5703 | 2650114.7216 | 1220007.6195
41 | 2650114.7216 | 1220007.6195 | 2650109.0084 | 1219998.566 | 2650108.4067 | 1219990.7228 | 2650111.9925 | 1219981.1694 | 2650117.3976 | 1219977.2457 | 2650130.342 | 1219973.6524 | 2650146.4938 | 1219973.0323 | 2650150.9865 | 1219972.0362

## bus_geodata
| x | y | coords
0 | 2648912.9487 | 1219647.8865
1 | 2648905.1606 | 1219667.6997
2 | 2648921.0599 | 1219627.2509
3 | 2648590.5769 | 1219844.9131
4 | 2648761.462 | 1219779.9691
5 | 2648602.287 | 1219681.8876
6 | 2648902.1524 | 1219675.3529
7 | 2649489.414 | 1220333.3893
8 | 2649453.4704 | 1220366.4473
9 | 2649540.6221 | 1220312.1276
10 | 2649444.4121 | 1220376.1526
11 | 2649654.0311 | 1220070.569
12 | 2649547.7194 | 1220316.735
13 | 2649435.2704 | 1220385.9474
14 | 2649777.6797 | 1219569.9186
15 | 2649245.4319 | 1219806.6415
16 | 2649739.6624 | 1220147.0625
17 | 2649408.259 | 1220414.8886
18 | 2649424.5597 | 1220397.4233
19 | 2649381.2842 | 1220435.5471
20 | 2649363.1838 | 1220427.8396
21 | 2649208.0192 | 1220353.7423
22 | 2648952.4847 | 1219642.0424
23 | 2648912.6314 | 1219620.3435
24 | 2648605.037 | 1219650.8024
25 | 2648610.9861 | 1219643.1376
26 | 2648907.2419 | 1219615.9268
27 | 2650228.7137 | 1219907.3402
28 | 2650174.9998 | 1219954.3693
29 | 2650139.3084 | 1219782.2562
30 | 2650094.5918 | 1219779.224
31 | 2650071.4536 | 1219775.1146
32 | 2648942.5032 | 1220357.8081
33 | 2648924.6205 | 1220369.9712
34 | 2648990.675 | 1220374.3533
35 | 2649740.0424 | 1220147.9109
36 | 2649749.5144 | 1220170.3395
37 | 2649854.3786 | 1219630.9693
38 | 2649757.5504 | 1220184.966
39 | 2649897.6946 | 1220313.607
40 | 2650114.7216 | 1220007.6195
41 | 2650150.9865 | 1219972.0362
42 | 2649002.6477 | 1220370.3151
43 | 2649208.0192 | 1220353.7423

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98509 | -0.10819 | 0.00017368 | 4.3528e-05
1 | 0.98502 | -0.10872 | 0.00032437 | 8.1295e-05
2 | 0.98517 | -0.10759 | 0 | 0
3 | 0.9842 | -0.11469 | 0 | 0
4 | 0.98461 | -0.11169 | 0 | 0
5 | 0.98385 | -0.11721 | 0.0011752 | 0.00029452
6 | 0.98499 | -0.1089 | 0.00057814 | 0.0001449
7 | 0.99362 | -0.04583 | 0.0023706 | 0.00059413
8 | 0.99436 | -0.040497 | 0.00034869 | 8.7391e-05
9 | 0.99298 | -0.050551 | 0 | 0
10 | 0.99456 | -0.03901 | 0.00031328 | 7.8516e-05
11 | 0.99 | -0.072485 | 0 | 0
12 | 0.99298 | -0.05058 | 0.00033261 | 8.3361e-05
13 | 0.99478 | -0.037466 | 0.00049346 | 0.00012367
14 | 0.98965 | -0.075207 | 0 | 0
15 | 0.98718 | -0.093042 | 0 | 0
16 | 0.98939 | -0.076934 | 0.0006649 | 0.00016664
17 | 0.99544 | -0.032642 | 0.001277 | 0.00032003
18 | 0.99504 | -0.035581 | 0.00028972 | 7.2611e-05
19 | 0.99609 | -0.027998 | 0 | 0
20 | 0.99646 | -0.025328 | 0.001001 | 0.00025087
21 | 1 | 0 | -0.024015 | -0.0057831
22 | 0.98534 | -0.10636 | 0.00038332 | 9.6068e-05
23 | 0.98516 | -0.10768 | 0.00075453 | 0.0001891
24 | 0.98383 | -0.11732 | 0 | 0
25 | 0.98383 | -0.11735 | 0.00030083 | 7.5396e-05
26 | 0.98516 | -0.10769 | 8.0238e-05 | 2.011e-05
27 | 0.98751 | -0.090822 | 0 | 0
28 | 0.98763 | -0.089908 | 0.00016497 | 4.1346e-05
29 | 0.98724 | -0.092762 | 0.00027571 | 6.9099e-05
30 | 0.98717 | -0.093199 | 0.00015316 | 3.8386e-05
31 | 0.98715 | -0.093391 | 0.00078998 | 0.00019799
32 | 0.99664 | -0.02361 | 0.0042964 | 0.0010768
33 | 0.99657 | -0.024057 | 0.0020488 | 0.00051348
34 | 0.99719 | -0.019677 | 0 | 0
35 | 0.98938 | -0.076962 | 0 | 0
36 | 0.98928 | -0.077694 | 0.00029293 | 7.3416e-05
37 | 0.98959 | -0.075616 | 0.00040378 | 0.0001012
38 | 0.98922 | -0.078147 | 0.0010626 | 0.00026631
39 | 0.98881 | -0.081228 | 0 | 0
40 | 0.98784 | -0.088388 | 0 | 0
41 | 0.98769 | -0.089476 | 0.00010816 | 2.7109e-05
42 | 0.99731 | -0.018872 | 0.0025943 | 0.0006502
43 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0023804 | 0.00058907 | -0.0023802 | -0.00058927 | 1.715e-07 | -2.0505e-07 | 0.003593 | 0.0035931 | 0.0035931 | 0.98509 | -0.10819 | 0.98502 | -0.10872 | 1.3308
1 | -0.0025541 | -0.0006326 | 0.0025543 | 0.00063239 | 2.0564e-07 | -2.0321e-07 | 0.0038553 | 0.0038552 | 0.0038553 | 0.98509 | -0.10819 | 0.98517 | -0.10759 | 1.4279
2 | 0.0020558 | 0.00050798 | -0.0020558 | -0.00050807 | 4.941e-08 | -8.5667e-08 | 0.0031031 | 0.0031031 | 0.0031031 | 0.98502 | -0.10872 | 0.98499 | -0.1089 | 1.1493
3 | -0.003389 | -0.00084138 | 0.0033896 | 0.00084116 | 5.681e-07 | -2.245e-07 | 0.005116 | 0.0051159 | 0.005116 | 0.98517 | -0.10759 | 0.98534 | -0.10636 | 1.8948
4 | 0.00083478 | 0.00020899 | -0.00083477 | -0.00020912 | 1.0809e-08 | -1.346e-07 | 0.0012608 | 0.0012608 | 0.0012608 | 0.98517 | -0.10759 | 0.98516 | -0.10768 | 0.46697
5 | -0.0014765 | -0.00036746 | 0.0014771 | 0.00036522 | 6.019e-07 | -2.2323e-06 | 0.0022314 | 0.0022305 | 0.0022314 | 0.9842 | -0.11469 | 0.98461 | -0.11169 | 0.82645
6 | 0.0014765 | 0.00036745 | -0.001476 | -0.00036935 | 5.1144e-07 | -1.8937e-06 | 0.0022314 | 0.0022321 | 0.0022321 | 0.9842 | -0.11469 | 0.98385 | -0.11721 | 0.82672
7 | -0.0014771 | -0.00036522 | 0.0014777 | 0.00036317 | 5.5216e-07 | -2.0514e-06 | 0.0022305 | 0.0022297 | 0.0022305 | 0.98461 | -0.11169 | 0.98499 | -0.1089 | 0.82613
8 | 0.00030084 | 7.4833e-05 | -0.00030083 | -7.5271e-05 | 4.477e-09 | -4.386e-07 | 0.0004548 | 0.00045496 | 0.00045496 | 0.98385 | -0.11721 | 0.98383 | -0.11732 | 0.1685
9 | -0.010443 | -0.002576 | 0.01045 | 0.0025782 | 7.479e-06 | 2.2401e-06 | 0.015624 | 0.015624 | 0.015624 | 0.99362 | -0.04583 | 0.99436 | -0.040497 | 5.7868
10 | 0.0080722 | 0.0019818 | -0.0080671 | -0.0019806 | 5.0684e-06 | 1.2282e-06 | 0.012074 | 0.012074 | 0.012074 | 0.99362 | -0.04583 | 0.99298 | -0.050551 | 4.472
11 | -0.010799 | -0.0026656 | 0.010801 | 0.0026663 | 2.1596e-06 | 6.5836e-07 | 0.016146 | 0.016146 | 0.016146 | 0.99436 | -0.040497 | 0.99456 | -0.03901 | 5.9799
12 | 0.0077345 | 0.0018974 | -0.007712 | -0.0018922 | 2.2505e-05 | 5.185e-06 | 0.011576 | 0.011577 | 0.011577 | 0.99298 | -0.050551 | 0.99 | -0.072485 | 4.2879
13 | 0.00033262 | 8.325e-05 | -0.00033261 | -8.3361e-05 | 1.334e-09 | -1.1081e-07 | 0.0004984 | 0.00049844 | 0.00049844 | 0.99298 | -0.050551 | 0.99298 | -0.05058 | 0.18461
14 | -0.011114 | -0.0027448 | 0.011117 | 0.0027455 | 2.3078e-06 | 7.1372e-07 | 0.016615 | 0.016614 | 0.016615 | 0.99456 | -0.03901 | 0.99478 | -0.037466 | 6.1535
15 | 0.00040394 | 9.223e-05 | -0.00040381 | -9.9946e-05 | 1.3823e-07 | -7.7162e-06 | 0.00060409 | 0.00060671 | 0.00060671 | 0.99 | -0.072485 | 0.98965 | -0.075207 | 0.22471
16 | 0.0037902 | 0.00093294 | -0.0037797 | -0.00093555 | 1.0457e-05 | -2.6097e-06 | 0.0056909 | 0.0056932 | 0.0056932 | 0.99 | -0.072485 | 0.98718 | -0.093042 | 2.1086
17 | 0.0035178 | 0.00086701 | -0.0035157 | -0.00086775 | 2.0996e-06 | -7.4186e-07 | 0.0052823 | 0.0052829 | 0.0052829 | 0.99 | -0.072485 | 0.98939 | -0.076934 | 1.9566
18 | -0.01161 | -0.0028692 | 0.011613 | 0.0028701 | 2.9495e-06 | 9.3056e-07 | 0.017353 | 0.017353 | 0.017353 | 0.99478 | -0.037466 | 0.99504 | -0.035581 | 6.4269
19 | 0.00040381 | 9.9946e-05 | -0.00040378 | -0.0001012 | 2.2542e-08 | -1.2514e-06 | 0.00060671 | 0.00060716 | 0.00060716 | 0.98965 | -0.075207 | 0.98959 | -0.075616 | 0.22487
20 | 0.0037797 | 0.00093555 | -0.0037729 | -0.00093722 | 6.8169e-06 | -1.6781e-06 | 0.0056932 | 0.0056947 | 0.0056947 | 0.98718 | -0.093042 | 0.98534 | -0.10636 | 2.1092
21 | 0.0028508 | 0.00070111 | -0.0028508 | -0.00070112 | 1.064e-08 | -7.8457e-09 | 0.0042829 | 0.0042829 | 0.0042829 | 0.98939 | -0.076934 | 0.98938 | -0.076962 | 1.5863
22 | 0.011908 | 0.0029442 | -0.011903 | -0.0029427 | 4.7157e-06 | 1.5033e-06 | 0.017786 | 0.017786 | 0.017786 | 0.99544 | -0.032642 | 0.99504 | -0.035581 | 6.5873
23 | -0.013184 | -0.0032642 | 0.013193 | 0.003267 | 8.2811e-06 | 2.74e-06 | 0.019694 | 0.019694 | 0.019694 | 0.99544 | -0.032642 | 0.99609 | -0.027998 | 7.2942
24 | -0.013193 | -0.003267 | 0.013198 | 0.0032686 | 4.7645e-06 | 1.5761e-06 | 0.019694 | 0.019694 | 0.019694 | 0.99609 | -0.027998 | 0.99646 | -0.025328 | 7.2942
25 | -0.014199 | -0.0035194 | 0.014247 | 0.003536 | 4.8864e-05 | 1.6514e-05 | 0.021189 | 0.021188 | 0.021189 | 0.99646 | -0.025328 | 1 | 0 | 7.8478
26 | 0.0089672 | 0.0022471 | -0.0089438 | -0.0022409 | 2.3387e-05 | 6.2409e-06 | 0.013343 | 0.013344 | 0.013344 | 1 | 0 | 0.99731 | -0.018872 | 4.9423
27 | 8.0238e-05 | 2.0021e-05 | -8.0238e-05 | -2.0109e-05 | 6.3847e-11 | -8.8698e-08 | 0.00012116 | 0.00012119 | 0.00012119 | 0.98516 | -0.10768 | 0.98516 | -0.10769 | 0.044887
28 | 0.00030083 | 7.5271e-05 | -0.00030083 | -7.5395e-05 | 1.2601e-09 | -1.2339e-07 | 0.00045496 | 0.000455 | 0.000455 | 0.98383 | -0.11732 | 0.98383 | -0.11735 | 0.16852
29 | -0.0012193 | -0.00030278 | 0.0012194 | 0.00030192 | 1.5118e-07 | -8.6139e-07 | 0.0018362 | 0.0018359 | 0.0018362 | 0.98751 | -0.090822 | 0.98763 | -0.089908 | 0.68009
30 | 0.0012193 | 0.00030278 | -0.0012189 | -0.00030462 | 3.2361e-07 | -1.842e-06 | 0.0018362 | 0.0018369 | 0.0018369 | 0.98751 | -0.090822 | 0.98724 | -0.092762 | 0.68034
31 | -0.0013844 | -0.00034326 | 0.0013845 | 0.00034291 | 8.0973e-08 | -3.5108e-07 | 0.0020845 | 0.0020843 | 0.0020845 | 0.98763 | -0.089908 | 0.98769 | -0.089476 | 0.77202
32 | 0.00094322 | 0.00023552 | -0.00094317 | -0.00023608 | 5.6752e-08 | -5.5367e-07 | 0.0014214 | 0.0014216 | 0.0014216 | 0.98724 | -0.092762 | 0.98717 | -0.093199 | 0.52651
33 | 0.00079 | 0.00019769 | -0.00078998 | -0.00019799 | 2.0943e-08 | -2.9457e-07 | 0.0011907 | 0.0011908 | 0.0011908 | 0.98717 | -0.093199 | 0.98715 | -0.093391 | 0.44104
34 | 0.0020489 | 0.00051324 | -0.0020488 | -0.00051348 | 1.2652e-07 | -2.3366e-07 | 0.003059 | 0.0030591 | 0.0030591 | 0.99664 | -0.02361 | 0.99657 | -0.024057 | 1.133
35 | -0.0063453 | -0.00159 | 0.0063488 | 0.0015905 | 3.4539e-06 | 5.243e-07 | 0.0094737 | 0.0094735 | 0.0094737 | 0.99664 | -0.02361 | 0.99719 | -0.019677 | 3.5088
36 | -0.0063488 | -0.0015905 | 0.0063495 | 0.0015907 | 7.076e-07 | 1.073e-07 | 0.0094735 | 0.0094734 | 0.0094735 | 0.99719 | -0.019677 | 0.99731 | -0.018872 | 3.5087
37 | 0.0028508 | 0.00070112 | -0.0028506 | -0.00070133 | 2.7868e-07 | -2.0545e-07 | 0.0042829 | 0.004283 | 0.004283 | 0.98938 | -0.076962 | 0.98928 | -0.077694 | 1.5863
38 | 0.0025576 | 0.00062791 | -0.0025575 | -0.00062807 | 1.5414e-07 | -1.5552e-07 | 0.0038424 | 0.0038425 | 0.0038425 | 0.98928 | -0.077694 | 0.98922 | -0.078147 | 1.4231
39 | 0.0014949 | 0.00036175 | -0.0014943 | -0.00036397 | 6.0018e-07 | -2.2191e-06 | 0.0022441 | 0.002245 | 0.002245 | 0.98922 | -0.078147 | 0.98881 | -0.081228 | 0.83147
40 | 0.0014943 | 0.00036397 | -0.0014928 | -0.00036921 | 1.4219e-06 | -5.2421e-06 | 0.002245 | 0.002247 | 0.002247 | 0.98881 | -0.081228 | 0.98784 | -0.088388 | 0.83221
41 | 0.0014928 | 0.00036921 | -0.0014926 | -0.00037002 | 2.1948e-07 | -8.0718e-07 | 0.002247 | 0.0022473 | 0.0022473 | 0.98784 | -0.088388 | 0.98769 | -0.089476 | 0.83233

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.024015 | 0.0057831

## res_load
| p_mw | q_mvar
0 | 0.00017368 | 4.3528e-05
1 | 0.00032437 | 8.1295e-05
2 | 0.0011752 | 0.00029452
3 | 0.00057814 | 0.0001449
4 | 0.0023706 | 0.00059413
5 | 0.00034869 | 8.7391e-05
6 | 0.00031328 | 7.8516e-05
7 | 0.00033261 | 8.3361e-05
8 | 0.00049346 | 0.00012367
9 | 0.0006649 | 0.00016664
10 | 0.001277 | 0.00032003
11 | 0.00028972 | 7.2611e-05
12 | 0.001001 | 0.00025087
13 | 0.00038332 | 9.6068e-05
14 | 0.00075453 | 0.0001891
15 | 0.00030083 | 7.5396e-05
16 | 8.0238e-05 | 2.011e-05
17 | 0.00016497 | 4.1346e-05
18 | 0.00027571 | 6.9099e-05
19 | 0.00015316 | 3.8386e-05
20 | 0.00078998 | 0.00019799
21 | 0.0042964 | 0.0010768
22 | 0.0020488 | 0.00051348
23 | 0.00029293 | 7.3416e-05
24 | 0.00040378 | 0.0001012
25 | 0.0010626 | 0.00026631
26 | 0.00010816 | 2.7109e-05
27 | 0.0025943 | 0.0006502

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1