## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1086-11_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1086-11_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1086-11_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1086-11_0_1_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1086-11_0_1_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1086-11_0_1_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1086-11_0_1_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1086-11_0_1_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_1086-11_0_1_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_1086-11_0_1_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1086-11_0_1_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1086-11_0_1_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1086-11_0_1_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1086-11_0_1_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1086-11_0_1_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1086-11_0_1_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1086-11_0_1_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1086-11_0_1_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1086-11_0_1_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1086-11_0_1_node_21 | 0.4 | n |  | TRUE
20 | bus_MV_128_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1086-11_0_1_load_0 | 0 | 0.0017357 | 0.000435 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1086-11_0_1_load_1 | 1 | 0.00088754 | 0.00022244 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1086-11_0_1_load_5 | 4 | 0.098097 | 0.024586 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1086-11_0_1_load_23 | 6 | 0.053421 | 0.013389 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1086-11_0_1_load_22 | 8 | 0.0018235 | 0.00045702 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1086-11_0_1_load_12 | 9 | 0.019203 | 0.0048127 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1086-11_0_1_load_9 | 10 | 0.0012726 | 0.00031895 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1086-11_0_1_load_20 | 11 | 0.0038113 | 0.0009552 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1086-11_0_1_load_11 | 14 | 0.0020876 | 0.0005232 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1086-11_0_1_load_13 | 15 | 0.00088367 | 0.00022147 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1086-11_0_1_load_14 | 16 | 0.002494 | 0.00062507 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1086-11_0_1_load_15 | 17 | 0.0019889 | 0.00049847 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1086-11_0_1_load_16 | 18 | 0.0022271 | 0.00055817 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1086-11_0_1_load_21 | 19 | 0.002067 | 0.00051805 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1086-11_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1086-11_0_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.06817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1086-11_0_1_line_2 | NAYY 4x150 SE | 2 | 3 | 0.004616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1086-11_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1086-11_0_1_line_4 | NAYY 4x150 SE | 2 | 5 | 0.017615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1086-11_0_1_line_5 | NAYY 4x150 SE | 3 | 6 | 0.021074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1086-11_0_1_line_6 | NAYY 4x150 SE | 3 | 7 | 0.16135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1086-11_0_1_line_7 | NAYY 4x150 SE | 3 | 8 | 0.019294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1086-11_0_1_line_8 | NAYY 4x150 SE | 5 | 9 | 0.016704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1086-11_0_1_line_9 | NAYY 4x150 SE | 5 | 10 | 0.014455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1086-11_0_1_line_10 | NAYY 4x150 SE | 7 | 11 | 0.031538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1086-11_0_1_line_11 | NAYY 4x150 SE | 7 | 12 | 0.03226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1086-11_0_1_line_12 | NAYY 4x150 SE | 10 | 13 | 0.020153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1086-11_0_1_line_13 | NAYY 4x150 SE | 11 | 19 | 0.045495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1086-11_0_1_line_14 | NAYY 4x150 SE | 12 | 17 | 0.041663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1086-11_0_1_line_15 | NAYY 4x150 SE | 13 | 14 | 0.012962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1086-11_0_1_line_16 | NAYY 4x150 SE | 14 | 15 | 0.016256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1086-11_0_1_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0079492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1086-11_0_1_line_18 | NAYY 4x150 SE | 17 | 18 | 0.031578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1086-11_0_1_trafo_5 | 0.25 MVA 20/0.4 kV | 20 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2645824.1509 | 1220574.2519 | 2645807.8416 | 1220579.7187
1 | 2645890.8342 | 1220560.2058 | 2645827.3465 | 1220573.1808 | 2645824.1509 | 1220574.2519
2 | 2645892.2571 | 1220564.5972 | 2645890.8342 | 1220560.2058
3 | 2645890.8342 | 1220560.2058 | 2645895.5836 | 1220559.2196 | 2645910.4657 | 1220555.4724
4 | 2645885.2805 | 1220543.4863 | 2645890.8342 | 1220560.2058
5 | 2645892.2571 | 1220564.5972 | 2645908.1194 | 1220560.8727 | 2645912.6723 | 1220559.4169
6 | 2645851.5866 | 1220670.7372 | 2645847.2082 | 1220661.976 | 2645843.2942 | 1220649.0603 | 2645832.9737 | 1220597.1274 | 2645829.5666 | 1220580.4578 | 2645828.8645 | 1220577.0392 | 2645842.4893 | 1220574.2201 | 2645892.2571 | 1220564.5972
7 | 2645892.2571 | 1220564.5972 | 2645896.7784 | 1220583.3545
8 | 2645885.2805 | 1220543.4863 | 2645884.3076 | 1220537.7976 | 2645885.9809 | 1220532.3294 | 2645884.7986 | 1220527.2506
9 | 2645885.2805 | 1220543.4863 | 2645881.2469 | 1220539.1971 | 2645875.9533 | 1220538.9451 | 2645872.8234 | 1220539.8843
10 | 2645851.5866 | 1220670.7372 | 2645878.7741 | 1220654.7535
11 | 2645869.3748 | 1220697.6681 | 2645852.1769 | 1220671.9091 | 2645851.5866 | 1220670.7372
12 | 2645853.5202 | 1220545.6766 | 2645872.8234 | 1220539.8843
13 | 2645878.7741 | 1220654.7535 | 2645917.9938 | 1220631.6962
14 | 2645869.3748 | 1220697.6681 | 2645905.5798 | 1220677.0519
15 | 2645853.5202 | 1220545.6766 | 2645848.6346 | 1220545.639 | 2645845.6068 | 1220542.7695 | 2645843.7974 | 1220539.3091
16 | 2645840.0927 | 1220523.4814 | 2645843.7974 | 1220539.3091 | 2645843.7974 | 1220539.3091
17 | 2645838.281 | 1220515.7413 | 2645840.0927 | 1220523.4814
18 | 2645933.0206 | 1220661.4264 | 2645905.5798 | 1220677.0519

## bus_geodata
| x | y | coords
0 | 2645824.1509 | 1220574.2519
1 | 2645807.8416 | 1220579.7187
2 | 2645890.8342 | 1220560.2058
3 | 2645892.2571 | 1220564.5972
4 | 2645910.4657 | 1220555.4724
5 | 2645885.2805 | 1220543.4863
6 | 2645912.6723 | 1220559.4169
7 | 2645851.5866 | 1220670.7372
8 | 2645896.7784 | 1220583.3545
9 | 2645884.7986 | 1220527.2506
10 | 2645872.8234 | 1220539.8843
11 | 2645878.7741 | 1220654.7535
12 | 2645869.3748 | 1220697.6681
13 | 2645853.5202 | 1220545.6766
14 | 2645843.7974 | 1220539.3091
15 | 2645840.0927 | 1220523.4814
16 | 2645838.281 | 1220515.7413
17 | 2645905.5798 | 1220677.0519
18 | 2645933.0206 | 1220661.4264
19 | 2645917.9938 | 1220631.6962
20 | 2645890.8342 | 1220560.2058

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99703 | -0.02079 | 0.0017357 | 0.000435
1 | 0.99701 | -0.020943 | 0.00088754 | 0.00022244
2 | 0.99728 | -0.018992 | 0 | 0
3 | 0.99685 | -0.022021 | 0 | 0
4 | 1 | 0 | -0.095118 | -0.023686
5 | 0.99663 | -0.023582 | 0 | 0
6 | 0.99524 | -0.033347 | 0.053421 | 0.013389
7 | 0.99452 | -0.038459 | 0 | 0
8 | 0.9968 | -0.022375 | 0.0018235 | 0.00045702
9 | 0.99617 | -0.026806 | 0.019203 | 0.0048127
10 | 0.99649 | -0.024561 | 0.0012726 | 0.00031895
11 | 0.99425 | -0.040332 | 0.0038113 | 0.0009552
12 | 0.99432 | -0.039834 | 0 | 0
13 | 0.99633 | -0.02567 | 0 | 0
14 | 0.99623 | -0.026382 | 0.0020876 | 0.0005232
15 | 0.99615 | -0.026935 | 0.00088367 | 0.00022147
16 | 0.99613 | -0.027134 | 0.002494 | 0.00062507
17 | 0.99407 | -0.04161 | 0.0019889 | 0.00049847
18 | 0.99397 | -0.042321 | 0.0022271 | 0.00055817
19 | 0.99412 | -0.041282 | 0.002067 | 0.00051805
20 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00088755 | 0.00022222 | -0.00088754 | -0.00022244 | 1.8832e-08 | -2.1708e-07 | 0.0013246 | 0.0013246 | 0.0013246 | 0.99703 | -0.02079 | 0.99701 | -0.020943 | 0.4906
1 | -0.0026232 | -0.00065722 | 0.0026239 | 0.00065658 | 6.5193e-07 | -6.3853e-07 | 0.003915 | 0.0039147 | 0.003915 | 0.99703 | -0.02079 | 0.99728 | -0.018992 | 1.45
2 | 0.065477 | 0.016424 | -0.06545 | -0.016413 | 2.7495e-05 | 1.0515e-05 | 0.097702 | 0.097702 | 0.097702 | 0.99728 | -0.018992 | 0.99685 | -0.022021 | 36.1858
3 | -0.09407 | -0.023591 | 0.094318 | 0.023686 | 0.00024831 | 9.5238e-05 | 0.14036 | 0.14036 | 0.14036 | 0.99728 | -0.018992 | 1 | 0 | 51.9865
4 | 0.025968 | 0.0065106 | -0.025952 | -0.0065045 | 1.6503e-05 | 6.1175e-06 | 0.038747 | 0.038748 | 0.038748 | 0.99728 | -0.018992 | 0.99663 | -0.023582 | 14.3509
5 | 0.053505 | 0.013421 | -0.053421 | -0.013389 | 8.389e-05 | 3.1991e-05 | 0.079872 | 0.079872 | 0.079872 | 0.99685 | -0.022021 | 0.99524 | -0.033347 | 29.5821
6 | 0.010121 | 0.0025358 | -0.010098 | -0.002529 | 2.2981e-05 | 6.7403e-06 | 0.015108 | 0.015109 | 0.015109 | 0.99685 | -0.022021 | 0.99452 | -0.038459 | 5.5958
7 | 0.0018236 | 0.0004568 | -0.0018235 | -0.00045702 | 8.9212e-08 | -2.1721e-07 | 0.002722 | 0.0027221 | 0.0027221 | 0.99685 | -0.022021 | 0.9968 | -0.022375 | 1.0082
8 | 0.019211 | 0.0048157 | -0.019203 | -0.0048127 | 8.5761e-06 | 3.0809e-06 | 0.028684 | 0.028684 | 0.028684 | 0.99663 | -0.023582 | 0.99617 | -0.026806 | 10.6236
9 | 0.0067406 | 0.0016888 | -0.0067397 | -0.0016886 | 9.1356e-07 | 1.6303e-07 | 0.010064 | 0.010064 | 0.010064 | 0.99663 | -0.023582 | 0.99649 | -0.024561 | 3.7274
10 | 0.0058802 | 0.0014729 | -0.0058786 | -0.0014728 | 1.5232e-06 | 1.7674e-07 | 0.0087977 | 0.0087979 | 0.0087979 | 0.99452 | -0.038459 | 0.99425 | -0.040332 | 3.2585
11 | 0.0042181 | 0.0010561 | -0.0042173 | -0.0010562 | 8.0174e-07 | -1.1016e-07 | 0.0063108 | 0.006311 | 0.006311 | 0.99452 | -0.038459 | 0.99432 | -0.039834 | 2.3374
12 | 0.005467 | 0.0013696 | -0.0054662 | -0.0013696 | 8.3809e-07 | 5.9837e-08 | 0.0081635 | 0.0081636 | 0.0081636 | 0.99649 | -0.024561 | 0.99633 | -0.02567 | 3.0235
13 | 0.0020673 | 0.00051757 | -0.002067 | -0.00051805 | 2.7175e-07 | -4.8543e-07 | 0.0030938 | 0.003094 | 0.003094 | 0.99425 | -0.040332 | 0.99412 | -0.041282 | 1.1459
14 | 0.0042173 | 0.0010562 | -0.0042163 | -0.0010563 | 1.0355e-06 | -1.42e-07 | 0.006311 | 0.0063112 | 0.0063112 | 0.99432 | -0.039834 | 0.99407 | -0.04161 | 2.3375
15 | 0.0054662 | 0.0013696 | -0.0054656 | -0.0013695 | 5.3905e-07 | 3.8533e-08 | 0.0081636 | 0.0081636 | 0.0081636 | 0.99633 | -0.02567 | 0.99623 | -0.026382 | 3.0236
16 | 0.003378 | 0.00084635 | -0.0033778 | -0.00084646 | 2.5823e-07 | -1.1232e-07 | 0.0050455 | 0.0050456 | 0.0050456 | 0.99623 | -0.026382 | 0.99615 | -0.026935 | 1.8687
17 | 0.0024941 | 0.00062499 | -0.002494 | -0.00062507 | 6.8849e-08 | -7.7004e-08 | 0.0037256 | 0.0037256 | 0.0037256 | 0.99615 | -0.026935 | 0.99613 | -0.027134 | 1.3799
18 | 0.0022274 | 0.00055785 | -0.0022271 | -0.00055817 | 2.1903e-07 | -3.2509e-07 | 0.003334 | 0.0033341 | 0.0033341 | 0.99407 | -0.04161 | 0.99397 | -0.042321 | 1.2349

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19322 | 0.048272

## res_load
| p_mw | q_mvar
0 | 0.0017357 | 0.000435
1 | 0.00088754 | 0.00022244
2 | 0.098097 | 0.024586
3 | 0.053421 | 0.013389
4 | 0.0018235 | 0.00045702
5 | 0.019203 | 0.0048127
6 | 0.0012726 | 0.00031895
7 | 0.0038113 | 0.0009552
8 | 0.0020876 | 0.0005232
9 | 0.00088367 | 0.00022147
10 | 0.002494 | 0.00062507
11 | 0.0019889 | 0.00049847
12 | 0.0022271 | 0.00055817
13 | 0.002067 | 0.00051805

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1