## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1086-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1086-14_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1086-14_0_3_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1086-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1086-14_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1086-14_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1086-14_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1086-14_0_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1086-14_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_1086-14_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1086-14_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1086-14_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_1086-14_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1086-14_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1086-14_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1086-14_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1086-14_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1086-14_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1086-14_0_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_1086-14_0_3_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_1086-14_0_3_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_1086-14_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1086-14_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1086-14_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1086-14_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1086-14_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1086-14_0_3_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_1086-14_0_3_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_1086-14_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1086-14_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1086-14_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1086-14_0_3_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_1086-14_0_3_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_1086-14_0_3_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_1086-14_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1086-14_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1086-14_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1086-14_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1086-14_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_1086-14_0_3_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_1086-14_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1086-14_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1086-14_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1086-14_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1086-14_0_3_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_1086-14_0_3_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_1086-14_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1086-14_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1086-14_0_3_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_1086-14_0_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_1086-14_0_3_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1086-14_0_3_node_55 | 0.4 | n |  | TRUE
52 | bus_MV_128_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1086-14_0_3_load_0 | 0 | 0.010357 | 0.0025956 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1086-14_0_3_load_1 | 2 | 0.0042686 | 0.0010698 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1086-14_0_3_load_4 | 4 | 0.0053826 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1086-14_0_3_load_5 | 5 | 0.014186 | 0.0035554 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1086-14_0_3_load_10 | 6 | 0.0053379 | 0.0013378 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1086-14_0_3_load_17 | 7 | 0.0062512 | 0.0015667 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1086-14_0_3_load_23 | 8 | 0.0062194 | 0.0015587 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1086-14_0_3_load_8 | 9 | 0.0020774 | 0.00052065 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1086-14_0_3_load_24 | 11 | 0.0024557 | 0.00061545 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1086-14_0_3_load_7 | 12 | 0.0013806 | 0.00034601 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1086-14_0_3_load_12 | 13 | 0.002459 | 0.00061628 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1086-14_0_3_load_13 | 14 | 0.0029997 | 0.00075178 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1086-14_0_3_load_14 | 15 | 0.0024552 | 0.00061534 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1086-14_0_3_load_15 | 16 | 0.0063741 | 0.0015975 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1086-14_0_3_load_16 | 17 | 0.0024574 | 0.00061587 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1086-14_0_3_load_49 | 19 | 0.0023732 | 0.00059478 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1086-14_0_3_load_26 | 20 | 0.0063734 | 0.0015973 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1086-14_0_3_load_19 | 21 | 0.0013945 | 0.0003495 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1086-14_0_3_load_20 | 22 | 0.001606 | 0.00040251 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1086-14_0_3_load_21 | 23 | 0.032581 | 0.0081655 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1086-14_0_3_load_22 | 25 | 0.0079448 | 0.0019912 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1086-14_0_3_load_46 | 26 | 0.0016588 | 0.00041574 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1086-14_0_3_load_42 | 27 | 0.0028006 | 0.0007019 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1086-14_0_3_load_25 | 28 | 0.0029383 | 0.00073641 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1086-14_0_3_load_27 | 29 | 0.0016995 | 0.00042595 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1086-14_0_3_load_29 | 30 | 0.0032985 | 0.00082667 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1086-14_0_3_load_57 | 31 | 0.0014563 | 0.000365 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1086-14_0_3_load_50 | 32 | 0.001452 | 0.00036391 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1086-14_0_3_load_47 | 33 | 0.0020424 | 0.00051186 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1086-14_0_3_load_30 | 34 | 0.0024819 | 0.00062203 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1086-14_0_3_load_31 | 35 | 0.0014563 | 0.000365 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1086-14_0_3_load_32 | 36 | 0.0034757 | 0.00087108 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1086-14_0_3_load_36 | 38 | 0.0020281 | 0.0005083 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1086-14_0_3_load_48 | 39 | 0.0040778 | 0.001022 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1086-14_0_3_load_35 | 40 | 0.001664 | 0.00041705 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1086-14_0_3_load_38 | 42 | 0.0042681 | 0.0010697 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1086-14_0_3_load_39 | 43 | 0.0043169 | 0.0010819 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1086-14_0_3_load_54 | 45 | 0.0037917 | 0.00095028 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1086-14_0_3_load_40 | 46 | 0.0023642 | 0.00059254 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1086-14_0_3_load_41 | 47 | 0.0023807 | 0.00059666 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1086-14_0_3_load_59 | 48 | 0.0069353 | 0.0017381 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1086-14_0_3_load_51 | 49 | 0.0038294 | 0.00095974 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1086-14_0_3_load_55 | 51 | 0.000933 | 0.00023383 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1086-14_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1086-14_0_3_line_1 | NAYY 4x150 SE | 1 | 4 | 0.026505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1086-14_0_3_line_2 | NAYY 4x150 SE | 1 | 5 | 0.022871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1086-14_0_3_line_3 | NAYY 4x150 SE | 2 | 3 | 0.0078518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1086-14_0_3_line_4 | NAYY 4x150 SE | 3 | 6 | 0.018939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1086-14_0_3_line_5 | NAYY 4x150 SE | 3 | 7 | 0.021777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1086-14_0_3_line_6 | NAYY 4x150 SE | 5 | 8 | 0.0064705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1086-14_0_3_line_7 | NAYY 4x150 SE | 6 | 9 | 0.0014235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1086-14_0_3_line_8 | NAYY 4x150 SE | 7 | 10 | 0.02012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1086-14_0_3_line_9 | NAYY 4x150 SE | 8 | 11 | 0.012065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1086-14_0_3_line_10 | NAYY 4x150 SE | 9 | 12 | 0.025608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1086-14_0_3_line_11 | NAYY 4x150 SE | 10 | 21 | 0.024874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1086-14_0_3_line_12 | NAYY 4x150 SE | 10 | 22 | 0.015675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1086-14_0_3_line_13 | NAYY 4x150 SE | 11 | 17 | 0.0047437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1086-14_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.01372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1086-14_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0047434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1086-14_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.01233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1086-14_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0047437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1086-14_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.01832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1086-14_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.014682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1086-14_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.036141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1086-14_0_3_line_21 | NAYY 4x150 SE | 19 | 32 | 0.017667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1086-14_0_3_line_22 | NAYY 4x150 SE | 19 | 33 | 0.014546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1086-14_0_3_line_23 | NAYY 4x150 SE | 20 | 28 | 0.0016761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1086-14_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.042841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1086-14_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.037142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1086-14_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.00080488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1086-14_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.020115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1086-14_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.0094521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1086-14_0_3_line_29 | NAYY 4x150 SE | 26 | 32 | 0.01977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1086-14_0_3_line_30 | NAYY 4x150 SE | 27 | 48 | 0.064343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1086-14_0_3_line_31 | NAYY 4x150 SE | 27 | 47 | 0.0083778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1086-14_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.020634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1086-14_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.0001697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1086-14_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.0005445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1086-14_0_3_line_35 | NAYY 4x150 SE | 33 | 39 | 0.014942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1086-14_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0047901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1086-14_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.022865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1086-14_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.038545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1086-14_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.01874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1086-14_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.020298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1086-14_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.00012821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1086-14_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.013387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1086-14_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0027688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1086-14_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.038089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1086-14_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.041009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1086-14_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0052745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1086-14_0_3_line_47 | NAYY 4x150 SE | 45 | 50 | 0.049045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1086-14_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.028076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1086-14_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.00582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1086-14_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.015375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1086-14_0_3_trafo_20 | 0.25 MVA 20/0.4 kV | 52 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2646135.3775 | 1220319.5705 | 2646142.4401 | 1220334.5329
1 | 2646135.3775 | 1220319.5705 | 2646123.8609 | 1220295.6983
2 | 2646135.3775 | 1220319.5705 | 2646157.7179 | 1220314.6709
3 | 2646162.1978 | 1220376.3902 | 2646158.8462 | 1220369.2897
4 | 2646162.1978 | 1220376.3902 | 2646170.2962 | 1220393.5108
5 | 2646162.1978 | 1220376.3902 | 2646182.4465 | 1220368.7202 | 2646182.5655 | 1220368.683
6 | 2646164.0382 | 1220313.2848 | 2646157.7179 | 1220314.6709
7 | 2646170.2962 | 1220393.5108 | 2646170.9049 | 1220394.7976
8 | 2646201.772 | 1220362.6885 | 2646182.5655 | 1220368.683
9 | 2646164.0382 | 1220313.2848 | 2646175.8233 | 1220310.7001
10 | 2646180.0186 | 1220418.7 | 2646173.7309 | 1220400.772 | 2646170.9049 | 1220394.7976
11 | 2646201.772 | 1220362.6885 | 2646208.3545 | 1220386.6753
12 | 2646201.772 | 1220362.6885 | 2646216.734 | 1220358.0152
13 | 2646175.8233 | 1220310.7001 | 2646180.4569 | 1220309.6839
14 | 2646189.7237 | 1220307.6515 | 2646192.8112 | 1220306.9744 | 2646198.6147 | 1220310.9662 | 2646201.9006 | 1220309.7174
15 | 2646189.7237 | 1220307.6515 | 2646185.0905 | 1220308.6676
16 | 2646213.4267 | 1220305.337 | 2646201.9006 | 1220309.7174
17 | 2646180.4569 | 1220309.6839 | 2646185.0905 | 1220308.6676
18 | 2646230.5522 | 1220298.8287 | 2646213.4267 | 1220305.337
19 | 2646244.1913 | 1220293.2978 | 2646230.5522 | 1220298.8287
20 | 2646230.5522 | 1220298.8287 | 2646219.6675 | 1220264.3657
21 | 2646244.1913 | 1220293.2978 | 2646246.9043 | 1220310.7557
22 | 2646244.1913 | 1220293.2978 | 2646257.5623 | 1220287.5713
23 | 2646219.1627 | 1220262.7674 | 2646219.6675 | 1220264.3657
24 | 2646208.3545 | 1220386.6753 | 2646216.2707 | 1220415.5217 | 2646222.6541 | 1220426.7636
25 | 2646253.0289 | 1220350.1673 | 2646218.6866 | 1220357.4053 | 2646216.734 | 1220358.0152
26 | 2646222.6541 | 1220426.7636 | 2646223.0516 | 1220427.4635
27 | 2646253.0289 | 1220350.1673 | 2646249.9401 | 1220330.2908
28 | 2646253.0289 | 1220350.1673 | 2646254.7234 | 1220359.4663
29 | 2646246.9043 | 1220310.7557 | 2646249.9401 | 1220330.2908
30 | 2646254.7234 | 1220359.4663 | 2646317.5621 | 1220345.6323
31 | 2646254.7234 | 1220359.4663 | 2646256.2254 | 1220367.7084
32 | 2646219.1627 | 1220262.7674 | 2646212.9483 | 1220243.0916
33 | 2646212.8972 | 1220242.9298 | 2646212.9483 | 1220243.0916
34 | 2646212.7332 | 1220242.4105 | 2646212.8972 | 1220242.9298
35 | 2646257.5623 | 1220287.5713 | 2646271.2972 | 1220281.6889
36 | 2646246.9306 | 1220228.7316 | 2646243.6029 | 1220225.2861
37 | 2646246.9306 | 1220228.7316 | 2646262.815 | 1220245.1788
38 | 2646289.5921 | 1220272.9045 | 2646262.815 | 1220245.1788
39 | 2646289.5921 | 1220272.9045 | 2646298.0047 | 1220263.3419 | 2646301.5778 | 1220258.5171
40 | 2646289.5921 | 1220272.9045 | 2646273.8953 | 1220280.5762 | 2646271.2972 | 1220281.6889
41 | 2646301.5778 | 1220258.5171 | 2646301.6541 | 1220258.414
42 | 2646309.6213 | 1220247.656 | 2646301.6541 | 1220258.414
43 | 2646309.6213 | 1220247.656 | 2646311.7966 | 1220249.3689
44 | 2646309.6213 | 1220247.656 | 2646288.6165 | 1220229.5264 | 2646281.5835 | 1220221.9441
45 | 2646344.0159 | 1220274.7396 | 2646311.7966 | 1220249.3689
46 | 2646344.0159 | 1220274.7396 | 2646341.475 | 1220270.1175
47 | 2646338.5084 | 1220222.9433 | 2646335.2062 | 1220233.8909 | 2646334.1021 | 1220245.1336 | 2646335.5825 | 1220254.7731 | 2646337.8962 | 1220263.6076 | 2646341.475 | 1220270.1175
48 | 2646261.1595 | 1220395.3459 | 2646260.6188 | 1220391.818 | 2646256.2254 | 1220367.7084
49 | 2646338.5084 | 1220222.9433 | 2646341.0174 | 1220217.692
50 | 2646338.5084 | 1220222.9433 | 2646327.5866 | 1220212.1216

## bus_geodata
| x | y | coords
0 | 2646142.4401 | 1220334.5329
1 | 2646135.3775 | 1220319.5705
2 | 2646158.8462 | 1220369.2897
3 | 2646162.1978 | 1220376.3902
4 | 2646123.8609 | 1220295.6983
5 | 2646157.7179 | 1220314.6709
6 | 2646170.2962 | 1220393.5108
7 | 2646182.5655 | 1220368.683
8 | 2646164.0382 | 1220313.2848
9 | 2646170.9049 | 1220394.7976
10 | 2646201.772 | 1220362.6885
11 | 2646175.8233 | 1220310.7001
12 | 2646180.0186 | 1220418.7
13 | 2646189.7237 | 1220307.6515
14 | 2646201.9006 | 1220309.7174
15 | 2646185.0905 | 1220308.6676
16 | 2646213.4267 | 1220305.337
17 | 2646180.4569 | 1220309.6839
18 | 2646230.5522 | 1220298.8287
19 | 2646244.1913 | 1220293.2978
20 | 2646219.6675 | 1220264.3657
21 | 2646208.3545 | 1220386.6753
22 | 2646216.734 | 1220358.0152
23 | 2646222.6541 | 1220426.7636
24 | 2646253.0289 | 1220350.1673
25 | 2646223.0516 | 1220427.4635
26 | 2646249.9401 | 1220330.2908
27 | 2646254.7234 | 1220359.4663
28 | 2646219.1627 | 1220262.7674
29 | 2646212.9483 | 1220243.0916
30 | 2646212.8972 | 1220242.9298
31 | 2646212.7332 | 1220242.4105
32 | 2646246.9043 | 1220310.7557
33 | 2646257.5623 | 1220287.5713
34 | 2646246.9306 | 1220228.7317
35 | 2646243.6029 | 1220225.2861
36 | 2646262.815 | 1220245.1788
37 | 2646289.5921 | 1220272.9045
38 | 2646301.5778 | 1220258.5171
39 | 2646271.2972 | 1220281.6889
40 | 2646301.6541 | 1220258.414
41 | 2646309.6213 | 1220247.656
42 | 2646311.7966 | 1220249.3689
43 | 2646281.5835 | 1220221.9441
44 | 2646344.0159 | 1220274.7396
45 | 2646341.475 | 1220270.1175
46 | 2646261.1595 | 1220395.3459
47 | 2646256.2254 | 1220367.7084
48 | 2646317.5621 | 1220345.6323
49 | 2646341.0174 | 1220217.692
50 | 2646338.5084 | 1220222.9433
51 | 2646327.5866 | 1220212.1216
52 | 2646201.772 | 1220362.6885

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98481 | -0.10662 | 0.010357 | 0.0025956
1 | 0.98506 | -0.10486 | 0 | 0
2 | 0.99762 | -0.016678 | 0.0042686 | 0.0010698
3 | 0.99766 | -0.016342 | 0 | 0
4 | 0.98486 | -0.10632 | 0.0053826 | 0.001349
5 | 0.98558 | -0.10116 | 0.014186 | 0.0035554
6 | 0.99743 | -0.018013 | 0.0053379 | 0.0013378
7 | 0.99807 | -0.013489 | 0.0062512 | 0.0015667
8 | 0.98586 | -0.099166 | 0.0062194 | 0.0015587
9 | 0.99742 | -0.018063 | 0.0020774 | 0.00052065
10 | 0.99863 | -0.0095956 | 0 | 0
11 | 0.98649 | -0.094689 | 0.0024557 | 0.00061545
12 | 0.99737 | -0.018418 | 0.0013806 | 0.00034601
13 | 0.98734 | -0.088701 | 0.002459 | 0.00061628
14 | 0.98825 | -0.082248 | 0.0029997 | 0.00075178
15 | 0.98704 | -0.090816 | 0.0024552 | 0.00061534
16 | 0.98912 | -0.076082 | 0.0063741 | 0.0015975
17 | 0.98676 | -0.092812 | 0.0024574 | 0.00061587
18 | 0.99059 | -0.065751 | 0 | 0
19 | 0.9921 | -0.055145 | 0.0023732 | 0.00059478
20 | 0.98977 | -0.071553 | 0.0063734 | 0.0015973
21 | 0.99713 | -0.020048 | 0.0013945 | 0.0003495
22 | 1 | 0 | -0.1891 | -0.047398
23 | 0.99464 | -0.037519 | 0.032581 | 0.0081655
24 | 0.99664 | -0.023343 | 0 | 0
25 | 0.99463 | -0.037584 | 0.0079448 | 0.0019912
26 | 0.99503 | -0.03458 | 0.0016588 | 0.00041574
27 | 0.99645 | -0.024719 | 0.0028006 | 0.0007019
28 | 0.98975 | -0.071713 | 0.0029383 | 0.00073641
29 | 0.98955 | -0.073071 | 0.0016995 | 0.00042595
30 | 0.98955 | -0.073079 | 0.0032985 | 0.00082667
31 | 0.98955 | -0.073087 | 0.0014563 | 0.000365
32 | 0.99347 | -0.045494 | 0.001452 | 0.00036391
33 | 0.99138 | -0.060222 | 0.0020424 | 0.00051186
34 | 0.98931 | -0.074806 | 0.0024819 | 0.00062203
35 | 0.9893 | -0.074877 | 0.0014563 | 0.000365
36 | 0.98944 | -0.073888 | 0.0034757 | 0.00087108
37 | 0.98986 | -0.070974 | 0 | 0
38 | 0.98929 | -0.074956 | 0.0020281 | 0.0005083
39 | 0.99068 | -0.065134 | 0.0040778 | 0.001022
40 | 0.98929 | -0.07498 | 0.001664 | 0.00041705
41 | 0.98896 | -0.077323 | 0 | 0
42 | 0.98891 | -0.077686 | 0.0042681 | 0.0010697
43 | 0.98872 | -0.079002 | 0.0043169 | 0.0010819
44 | 0.9884 | -0.081271 | 0 | 0
45 | 0.98834 | -0.081733 | 0.0037917 | 0.00095028
46 | 0.99629 | -0.025787 | 0.0023642 | 0.00059254
47 | 0.99639 | -0.025119 | 0.0023807 | 0.00059666
48 | 0.99581 | -0.029209 | 0.0069353 | 0.0017381
49 | 0.98797 | -0.08435 | 0.0038294 | 0.00095974
50 | 0.988 | -0.084122 | 0 | 0
51 | 0.98798 | -0.084269 | 0.000933 | 0.00023383
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010357 | -0.0025956 | 0.010359 | 0.0025964 | 2.5282e-06 | 7.6179e-07 | 0.015648 | 0.015648 | 0.015648 | 0.98481 | -0.10662 | 0.98506 | -0.10486 | 5.7957
1 | 0.0053837 | 0.0013491 | -0.0053826 | -0.001349 | 1.0938e-06 | 8.3365e-08 | 0.0081324 | 0.0081325 | 0.0081325 | 0.98506 | -0.10486 | 0.98486 | -0.10632 | 3.012
2 | -0.015743 | -0.0039455 | 0.015751 | 0.0039483 | 8.071e-06 | 2.8129e-06 | 0.023781 | 0.023781 | 0.023781 | 0.98506 | -0.10486 | 0.98558 | -0.10116 | 8.8077
3 | -0.0042686 | -0.0010698 | 0.0042688 | 0.0010698 | 1.9861e-07 | -2.6135e-08 | 0.0063669 | 0.0063669 | 0.0063669 | 0.99762 | -0.016678 | 0.99766 | -0.016342 | 2.3581
4 | 0.008798 | 0.0022047 | -0.008796 | -0.0022041 | 2.035e-06 | 5.3543e-07 | 0.013122 | 0.013122 | 0.013122 | 0.99766 | -0.016342 | 0.99743 | -0.018013 | 4.8601
5 | -0.013067 | -0.0032745 | 0.013072 | 0.0032762 | 5.1614e-06 | 1.7007e-06 | 0.019489 | 0.019489 | 0.019489 | 0.99766 | -0.016342 | 0.99807 | -0.013489 | 7.2181
6 | -0.029937 | -0.0075037 | 0.029946 | 0.0075068 | 8.2486e-06 | 3.0901e-06 | 0.045199 | 0.045199 | 0.045199 | 0.98558 | -0.10116 | 0.98586 | -0.099166 | 16.7404
7 | 0.0034581 | 0.00086634 | -0.0034581 | -0.00086635 | 2.3641e-08 | -9.487e-09 | 0.0051589 | 0.0051589 | 0.0051589 | 0.99743 | -0.018013 | 0.99742 | -0.018063 | 1.9107
8 | -0.019323 | -0.0048429 | 0.019334 | 0.0048466 | 1.042e-05 | 3.7446e-06 | 0.028809 | 0.028809 | 0.028809 | 0.99807 | -0.013489 | 0.99863 | -0.0095956 | 10.6699
9 | -0.036165 | -0.0090655 | 0.036187 | 0.009074 | 2.2433e-05 | 8.4742e-06 | 0.054586 | 0.054586 | 0.054586 | 0.98586 | -0.099166 | 0.98649 | -0.094689 | 20.2171
10 | 0.0013807 | 0.0003457 | -0.0013806 | -0.00034601 | 6.779e-08 | -3.0813e-07 | 0.0020596 | 0.0020598 | 0.0020598 | 0.99742 | -0.018063 | 0.99737 | -0.018418 | 0.76288
11 | 0.04208 | 0.010567 | -0.042019 | -0.010543 | 6.1035e-05 | 2.315e-05 | 0.062708 | 0.062709 | 0.062709 | 0.99863 | -0.0095956 | 0.99713 | -0.020048 | 23.2254
12 | -0.061413 | -0.015413 | 0.061495 | 0.015445 | 8.1921e-05 | 3.1303e-05 | 0.091517 | 0.091517 | 0.091517 | 0.99863 | -0.0095956 | 1 | 0 | 33.8953
13 | -0.038643 | -0.0096895 | 0.038653 | 0.0096933 | 1.0058e-05 | 3.8077e-06 | 0.05829 | 0.05829 | 0.05829 | 0.98649 | -0.094689 | 0.98676 | -0.092812 | 21.589
14 | -0.046049 | -0.01155 | 0.04609 | 0.011566 | 4.1238e-05 | 1.5685e-05 | 0.069403 | 0.069403 | 0.069403 | 0.98734 | -0.088701 | 0.98825 | -0.082248 | 25.7049
15 | 0.04359 | 0.010934 | -0.043577 | -0.010929 | 1.2775e-05 | 4.8529e-06 | 0.065697 | 0.065697 | 0.065697 | 0.98734 | -0.088701 | 0.98704 | -0.090816 | 24.3324
16 | -0.04909 | -0.012317 | 0.049132 | 0.012333 | 4.2042e-05 | 1.6012e-05 | 0.07392 | 0.07392 | 0.07392 | 0.98825 | -0.082248 | 0.98912 | -0.076082 | 27.3777
17 | 0.041122 | 0.010313 | -0.04111 | -0.010309 | 1.1377e-05 | 4.3152e-06 | 0.061996 | 0.061996 | 0.061996 | 0.98704 | -0.090816 | 0.98676 | -0.092812 | 22.9615
18 | -0.055506 | -0.013931 | 0.055586 | 0.013961 | 7.9723e-05 | 3.0427e-05 | 0.083509 | 0.083509 | 0.083509 | 0.98912 | -0.076082 | 0.99059 | -0.065751 | 30.9292
19 | -0.071366 | -0.017917 | 0.071471 | 0.017958 | 0.00010531 | 4.0314e-05 | 0.10721 | 0.10721 | 0.10721 | 0.99059 | -0.065751 | 0.9921 | -0.055145 | 39.7087
20 | 0.01578 | 0.003956 | -0.015768 | -0.0039516 | 1.2672e-05 | 4.4091e-06 | 0.023705 | 0.023705 | 0.023705 | 0.99059 | -0.065751 | 0.98977 | -0.071553 | 8.7796
21 | -0.10831 | -0.027199 | 0.10845 | 0.027254 | 0.0001455 | 5.5504e-05 | 0.16247 | 0.16247 | 0.16247 | 0.9921 | -0.055145 | 0.99347 | -0.045494 | 30.0864
22 | 0.034463 | 0.0086465 | -0.034439 | -0.0086374 | 2.4255e-05 | 9.141e-06 | 0.051694 | 0.051694 | 0.051694 | 0.9921 | -0.055145 | 0.99138 | -0.060222 | 19.1458
23 | 0.0093941 | 0.0023543 | -0.0093939 | -0.0023542 | 2.0861e-07 | 5.8693e-08 | 0.014123 | 0.014123 | 0.014123 | 0.98977 | -0.071553 | 0.98975 | -0.071713 | 5.2308
24 | 0.040624 | 0.010194 | -0.040526 | -0.010157 | 9.8261e-05 | 3.7235e-05 | 0.060628 | 0.060628 | 0.060628 | 0.99713 | -0.020048 | 0.99464 | -0.037519 | 22.4547
25 | 0.12681 | 0.031953 | -0.12639 | -0.031796 | 0.00041287 | 0.00015782 | 0.18875 | 0.18875 | 0.18875 | 1 | 0 | 0.99664 | -0.023343 | 34.9542
26 | 0.0079449 | 0.0019912 | -0.0079448 | -0.0019912 | 7.0953e-08 | 1.6843e-08 | 0.011886 | 0.011886 | 0.011886 | 0.99464 | -0.037519 | 0.99463 | -0.037584 | 4.4021
27 | 0.11191 | 0.028165 | -0.11173 | -0.028098 | 0.00017528 | 6.6893e-05 | 0.16712 | 0.16712 | 0.16712 | 0.99664 | -0.023343 | 0.99503 | -0.03458 | 30.9485
28 | 0.014488 | 0.0036307 | -0.014486 | -0.0036298 | 2.7598e-06 | 9.3833e-07 | 0.021631 | 0.021631 | 0.021631 | 0.99664 | -0.023343 | 0.99645 | -0.024719 | 8.0116
29 | 0.11007 | 0.027682 | -0.10991 | -0.027618 | 0.0001672 | 6.3794e-05 | 0.16464 | 0.16464 | 0.16464 | 0.99503 | -0.03458 | 0.99347 | -0.045494 | 30.4891
30 | 0.0069396 | 0.001739 | -0.0069353 | -0.0017381 | 4.3119e-06 | 8.208e-07 | 0.010363 | 0.010363 | 0.010363 | 0.99645 | -0.024719 | 0.99581 | -0.029209 | 3.8382
31 | 0.0047454 | 0.0011889 | -0.0047452 | -0.0011889 | 2.6251e-07 | -8.1569e-09 | 0.0070863 | 0.0070863 | 0.0070863 | 0.99645 | -0.024719 | 0.99639 | -0.025119 | 2.6246
32 | 0.0064556 | 0.0016178 | -0.0064544 | -0.0016176 | 1.2128e-06 | 2.0135e-07 | 0.0097055 | 0.0097056 | 0.0097056 | 0.98975 | -0.071713 | 0.98955 | -0.073071 | 3.5947
33 | 0.0047548 | 0.0011917 | -0.0047548 | -0.0011917 | 5.4133e-09 | -9.818e-11 | 0.0071499 | 0.0071499 | 0.0071499 | 0.98955 | -0.073071 | 0.98955 | -0.073079 | 2.6481
34 | 0.0014563 | 0.00036499 | -0.0014563 | -0.000365 | 1.6293e-09 | -6.3681e-09 | 0.0021899 | 0.0021899 | 0.0021899 | 0.98955 | -0.073079 | 0.98955 | -0.073087 | 0.81109
35 | 0.032397 | 0.0081255 | -0.032375 | -0.0081172 | 2.2047e-05 | 8.2873e-06 | 0.048628 | 0.048628 | 0.048628 | 0.99138 | -0.060222 | 0.99068 | -0.065134 | 18.0105
36 | 0.0014564 | 0.00036494 | -0.0014563 | -0.000365 | 1.4342e-08 | -5.599e-08 | 0.0021905 | 0.0021905 | 0.0021905 | 0.98931 | -0.074806 | 0.9893 | -0.074877 | 0.8113
37 | -0.0039383 | -0.00098697 | 0.0039388 | 0.00098687 | 5.0063e-07 | -1.0109e-07 | 0.0059235 | 0.0059234 | 0.0059235 | 0.98931 | -0.074806 | 0.98944 | -0.073888 | 2.1939
38 | -0.0074145 | -0.001858 | 0.0074175 | 0.0018586 | 2.9904e-06 | 6.5489e-07 | 0.01115 | 0.01115 | 0.01115 | 0.98944 | -0.073888 | 0.98986 | -0.070974 | 4.1298
39 | 0.020857 | 0.0052281 | -0.020845 | -0.0052239 | 1.1495e-05 | 4.1806e-06 | 0.031353 | 0.031353 | 0.031353 | 0.98986 | -0.070974 | 0.98929 | -0.074956 | 11.6123
40 | -0.028274 | -0.0070867 | 0.028297 | 0.0070952 | 2.2881e-05 | 8.5393e-06 | 0.042504 | 0.042503 | 0.042504 | 0.98986 | -0.070974 | 0.99068 | -0.065134 | 15.742
41 | 0.018817 | 0.0047156 | -0.018817 | -0.0047156 | 6.4085e-08 | 2.3002e-08 | 0.028303 | 0.028303 | 0.028303 | 0.98929 | -0.074956 | 0.98929 | -0.07498 | 10.4825
42 | 0.017153 | 0.0042985 | -0.017147 | -0.0042966 | 5.5603e-06 | 1.9668e-06 | 0.0258 | 0.0258 | 0.0258 | 0.98929 | -0.07498 | 0.98896 | -0.077323 | 9.5555
43 | 0.012829 | 0.0032148 | -0.012829 | -0.0032146 | 6.4377e-07 | 2.1208e-07 | 0.019303 | 0.019303 | 0.019303 | 0.98896 | -0.077323 | 0.98891 | -0.077686 | 7.1493
44 | 0.0043179 | 0.0010818 | -0.0043169 | -0.0010819 | 1.0032e-06 | -1.0277e-07 | 0.0064967 | 0.0064969 | 0.0064969 | 0.98896 | -0.077323 | 0.98872 | -0.079002 | 2.4062
45 | 0.0085606 | 0.0021449 | -0.0085563 | -0.0021438 | 4.2459e-06 | 1.1072e-06 | 0.012881 | 0.012881 | 0.012881 | 0.98891 | -0.077686 | 0.9884 | -0.081271 | 4.7708
46 | 0.0085563 | 0.0021438 | -0.0085558 | -0.0021436 | 5.461e-07 | 1.4244e-07 | 0.012881 | 0.012881 | 0.012881 | 0.9884 | -0.081271 | 0.98834 | -0.081733 | 4.7708
47 | 0.0047641 | 0.0011933 | -0.0047626 | -0.0011934 | 1.5745e-06 | -2.2729e-08 | 0.0071725 | 0.0071728 | 0.0071728 | 0.98834 | -0.081733 | 0.988 | -0.084122 | 2.6566
48 | -0.0023642 | -0.00059254 | 0.0023645 | 0.00059225 | 2.1844e-07 | -2.8163e-07 | 0.0035311 | 0.003531 | 0.0035311 | 0.99629 | -0.025787 | 0.99639 | -0.025119 | 1.3078
49 | -0.0038294 | -0.00095974 | 0.0038295 | 0.00095972 | 1.2081e-07 | -2.8065e-08 | 0.0057676 | 0.0057676 | 0.0057676 | 0.98797 | -0.08435 | 0.988 | -0.084122 | 2.1362
50 | 0.00093302 | 0.00023364 | -0.000933 | -0.00023383 | 1.8944e-08 | -1.8961e-07 | 0.0014051 | 0.0014052 | 0.0014052 | 0.988 | -0.084122 | 0.98798 | -0.084269 | 0.52045

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19071 | 0.0478

## res_load
| p_mw | q_mvar
0 | 0.010357 | 0.0025956
1 | 0.0042686 | 0.0010698
2 | 0.0053826 | 0.001349
3 | 0.014186 | 0.0035554
4 | 0.0053379 | 0.0013378
5 | 0.0062512 | 0.0015667
6 | 0.0062194 | 0.0015587
7 | 0.0020774 | 0.00052065
8 | 0.0024557 | 0.00061545
9 | 0.0013806 | 0.00034601
10 | 0.002459 | 0.00061628
11 | 0.0029997 | 0.00075178
12 | 0.0024552 | 0.00061534
13 | 0.0063741 | 0.0015975
14 | 0.0024574 | 0.00061587
15 | 0.0023732 | 0.00059478
16 | 0.0063734 | 0.0015973
17 | 0.0013945 | 0.0003495
18 | 0.001606 | 0.00040251
19 | 0.032581 | 0.0081655
20 | 0.0079448 | 0.0019912
21 | 0.0016588 | 0.00041574
22 | 0.0028006 | 0.0007019
23 | 0.0029383 | 0.00073641
24 | 0.0016995 | 0.00042595
25 | 0.0032985 | 0.00082667
26 | 0.0014563 | 0.000365
27 | 0.001452 | 0.00036391
28 | 0.0020424 | 0.00051186
29 | 0.0024819 | 0.00062203
30 | 0.0014563 | 0.000365
31 | 0.0034757 | 0.00087108
32 | 0.0020281 | 0.0005083
33 | 0.0040778 | 0.001022
34 | 0.001664 | 0.00041705
35 | 0.0042681 | 0.0010697
36 | 0.0043169 | 0.0010819
37 | 0.0037917 | 0.00095028
38 | 0.0023642 | 0.00059254
39 | 0.0023807 | 0.00059666
40 | 0.0069353 | 0.0017381
41 | 0.0038294 | 0.00095974
42 | 0.000933 | 0.00023383

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1