## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1086-4_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1086-4_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1086-4_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1086-4_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1086-4_0_1_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_1086-4_0_1_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_1086-4_0_1_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1086-4_0_1_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1086-4_0_1_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1086-4_0_1_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1086-4_0_1_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1086-4_0_1_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1086-4_0_1_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1086-4_0_1_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1086-4_0_1_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1086-4_0_1_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1086-4_0_1_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_1086-4_0_1_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_1086-4_0_1_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1086-4_0_1_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1086-4_0_1_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1086-4_0_1_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1086-4_0_1_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1086-4_0_1_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1086-4_0_1_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1086-4_0_1_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1086-4_0_1_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1086-4_0_1_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1086-4_0_1_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1086-4_0_1_node_201 | 0.4 | n |  | TRUE
30 | bus_LV_1086-4_0_1_node_46 | 0.4 | n |  | TRUE
31 | bus_MV_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1086-4_0_1_load_0 | 0 | 0.0019235 | 0.00048208 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1086-4_0_1_load_2 | 2 | 0.0018586 | 0.00046582 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1086-4_0_1_load_16 | 4 | 0.00062371 | 0.00015632 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1086-4_0_1_load_18 | 5 | 0.0006031 | 0.00015115 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1086-4_0_1_load_12 | 6 | 0.00027297 | 6.8412e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1086-4_0_1_load_4 | 7 | 0.00017862 | 4.4765e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1086-4_0_1_load_7 | 10 | 0.00051479 | 0.00012902 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1086-4_0_1_load_8 | 11 | 0.00015282 | 3.83e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1086-4_0_1_load_9 | 12 | 7.1049e-05 | 1.7807e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1086-4_0_1_load_10 | 13 | 0.00028133 | 7.0509e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1086-4_0_1_load_13 | 15 | 0.0015721 | 0.00039402 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1086-4_0_1_load_45 | 17 | 0.0012879 | 0.00032279 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1086-4_0_1_load_14 | 18 | 0.00076463 | 0.00019163 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1086-4_0_1_load_15 | 19 | 0.0024225 | 0.00060713 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1086-4_0_1_load_20 | 22 | 0.00087255 | 0.00021868 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1086-4_0_1_load_21 | 23 | 0.0021344 | 0.00053492 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1086-4_0_1_load_23 | 25 | 0.00020528 | 5.1447e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1086-4_0_1_load_24 | 26 | 0.00015103 | 3.7852e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1086-4_0_1_load_31 | 27 | 0.00047224 | 0.00011835 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1086-4_0_1_load_32 | 28 | 5.9425e-05 | 1.4893e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1086-4_0_1_load_201 | 29 | 0.0015797 | 0.00039591 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1086-4_0_1_load_46 | 30 | 0.0018144 | 0.00045472 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1086-4_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.028066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1086-4_0_1_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1086-4_0_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1086-4_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.03352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1086-4_0_1_line_4 | NAYY 4x150 SE | 3 | 5 | 0.010584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1086-4_0_1_line_5 | NAYY 4x150 SE | 3 | 6 | 0.45309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1086-4_0_1_line_6 | NAYY 4x150 SE | 4 | 21 | 0.051352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1086-4_0_1_line_7 | NAYY 4x150 SE | 6 | 17 | 0.46329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1086-4_0_1_line_8 | NAYY 4x150 SE | 7 | 8 | 0.014263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1086-4_0_1_line_9 | NAYY 4x150 SE | 7 | 9 | 0.017072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1086-4_0_1_line_10 | NAYY 4x150 SE | 8 | 10 | 0.034454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1086-4_0_1_line_11 | NAYY 4x150 SE | 8 | 11 | 0.094886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1086-4_0_1_line_12 | NAYY 4x150 SE | 9 | 12 | 0.0063305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1086-4_0_1_line_13 | NAYY 4x150 SE | 9 | 13 | 0.021291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1086-4_0_1_line_14 | NAYY 4x150 SE | 11 | 14 | 0.019973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1086-4_0_1_line_15 | NAYY 4x150 SE | 12 | 15 | 0.058162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1086-4_0_1_line_16 | NAYY 4x150 SE | 13 | 16 | 0.018394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1086-4_0_1_line_17 | NAYY 4x150 SE | 15 | 18 | 0.034944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1086-4_0_1_line_18 | NAYY 4x150 SE | 16 | 25 | 0.0069348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1086-4_0_1_line_19 | NAYY 4x150 SE | 16 | 26 | 0.021094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1086-4_0_1_line_20 | NAYY 4x150 SE | 17 | 30 | 0.0085189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1086-4_0_1_line_21 | NAYY 4x150 SE | 17 | 29 | 0.29428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1086-4_0_1_line_22 | NAYY 4x150 SE | 18 | 19 | 0.0070427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1086-4_0_1_line_23 | NAYY 4x150 SE | 19 | 20 | 0.0047855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1086-4_0_1_line_24 | NAYY 4x150 SE | 20 | 21 | 0.19201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1086-4_0_1_line_25 | NAYY 4x150 SE | 22 | 23 | 0.051881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1086-4_0_1_line_26 | NAYY 4x150 SE | 22 | 24 | 0.12896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1086-4_0_1_line_27 | NAYY 4x150 SE | 24 | 25 | 0.26371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1086-4_0_1_line_28 | NAYY 4x150 SE | 27 | 28 | 0.011262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1086-4_0_1_line_29 | NAYY 4x150 SE | 28 | 29 | 0.34654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1086-4_0_1_trafo_11 | 0.25 MVA 20/0.4 kV | 31 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2644576.9036 | 1219458.9853 | 2644553.8089 | 1219459.4908 | 2644549.0171 | 1219460.7953
1 | 2644576.9036 | 1219458.9853 | 2644573.8887 | 1219456.25 | 2644565.6509 | 1219452.8086 | 2644556.871 | 1219451.8424 | 2644533.0708 | 1219454.355 | 2644529.7896 | 1219452.7406 | 2644527.9483 | 1219449.336 | 2644528.0887 | 1219444.7676 | 2644530.6142 | 1219438.8607 | 2644530.623 | 1219433.6132 | 2644532.9252 | 1219431.1845 | 2644543.5943 | 1219428.8588
2 | 2644584.2362 | 1219469.8133 | 2644579.549 | 1219461.3954 | 2644576.9036 | 1219458.9853
3 | 2644543.5943 | 1219428.8588 | 2644553.1429 | 1219426.7773 | 2644565.103 | 1219427.6561 | 2644576.3037 | 1219424.0909
4 | 2644584.2362 | 1219469.8133 | 2644591.6191 | 1219466.8334 | 2644594.0646 | 1219465.8859
5 | 2644584.2362 | 1219469.8133 | 2644716.3929 | 1219903.2015
6 | 2644626.0426 | 1219411.6579 | 2644617.643 | 1219414.619 | 2644584.1113 | 1219421.6057 | 2644576.3037 | 1219424.0909
7 | 2644716.3929 | 1219903.2015 | 2645170.5598 | 1219811.7352
8 | 2644769.7838 | 1219357.5586 | 2644777.8647 | 1219353.6058 | 2644781.3638 | 1219349.6688
9 | 2644786.4976 | 1219333.7698 | 2644783.6657 | 1219347.0788 | 2644781.3638 | 1219349.6688
10 | 2644769.7838 | 1219357.5586 | 2644752.3822 | 1219359.7848 | 2644746.0852 | 1219361.6276 | 2644737.7892 | 1219367.958
11 | 2644769.7838 | 1219357.5586 | 2644780.3867 | 1219369.412 | 2644790.6293 | 1219379.7173 | 2644800.1332 | 1219387.3488 | 2644811.4615 | 1219394.5494 | 2644818.1121 | 1219398.1571 | 2644826.5695 | 1219403.6684 | 2644835.7031 | 1219410.0743 | 2644843.8184 | 1219415.9595
12 | 2644786.4976 | 1219333.7698 | 2644780.3619 | 1219332.2115
13 | 2644786.4976 | 1219333.7698 | 2644805.7573 | 1219324.6932
14 | 2644859.5451 | 1219428.2645 | 2644858.0367 | 1219427.0302 | 2644847.4765 | 1219418.6124 | 2644843.8184 | 1219415.9595
15 | 2644780.3619 | 1219332.2115 | 2644768.0475 | 1219329.084 | 2644724.0336 | 1219317.7212
16 | 2644822.3964 | 1219316.8517 | 2644805.7573 | 1219324.6932
17 | 2644689.7929 | 1219310.8201 | 2644697.4647 | 1219312.3333 | 2644716.7736 | 1219315.8469 | 2644724.0336 | 1219317.7212
18 | 2644822.3964 | 1219316.8517 | 2644829.2157 | 1219315.5916
19 | 2644822.3964 | 1219316.8517 | 2644801.3259 | 1219315.8658
20 | 2645170.5598 | 1219811.7352 | 2645176.5618 | 1219817.7807
21 | 2645170.5598 | 1219811.7352 | 2645360.2409 | 1219586.7368
22 | 2644682.8834 | 1219309.4571 | 2644689.7929 | 1219310.8201
23 | 2644678.1883 | 1219308.531 | 2644682.8834 | 1219309.4571
24 | 2644678.1883 | 1219308.531 | 2644618.1156 | 1219316.019 | 2644602.1523 | 1219315.666 | 2644591.2521 | 1219315.0953 | 2644592.9737 | 1219337.5327 | 2644598.3886 | 1219362.288 | 2644605.0132 | 1219377.4912 | 2644618.3764 | 1219400.7829 | 2644626.0426 | 1219411.6579
25 | 2644972.0285 | 1219001.3455 | 2644987.4683 | 1219018.0936 | 2644995.5749 | 1219027.9051 | 2645001.0674 | 1219040.1984 | 2645001.4616 | 1219043.0818
26 | 2645013.5778 | 1219171.2602 | 2645006.3387 | 1219121.9649 | 2645004.3863 | 1219105.1735 | 2645003.4118 | 1219057.3486 | 2645001.4616 | 1219043.0818
27 | 2645013.5778 | 1219171.2602 | 2644969.7326 | 1219181.102 | 2644943.8165 | 1219191.3127 | 2644923.7701 | 1219203.0575 | 2644911.1315 | 1219214.6137 | 2644902.1607 | 1219227.8652 | 2644897.334 | 1219242.0262 | 2644896.3232 | 1219271.4362 | 2644894.2017 | 1219287.1185 | 2644888.4581 | 1219297.0701 | 2644881.1602 | 1219302.8409 | 2644860.1678 | 1219309.2645 | 2644836.2721 | 1219314.2878 | 2644829.2157 | 1219315.5916
28 | 2645633.8734 | 1219373.5046 | 2645626.527 | 1219364.9688
29 | 2645626.527 | 1219364.9688 | 2645360.2409 | 1219586.7368

## bus_geodata
| x | y | coords
0 | 2644549.0171 | 1219460.7953
1 | 2644576.9036 | 1219458.9853
2 | 2644543.5943 | 1219428.8588
3 | 2644584.2362 | 1219469.8133
4 | 2644576.3037 | 1219424.0909
5 | 2644594.0646 | 1219465.8859
6 | 2644716.3929 | 1219903.2015
7 | 2644781.3638 | 1219349.6688
8 | 2644769.7838 | 1219357.5586
9 | 2644786.4976 | 1219333.7698
10 | 2644737.7892 | 1219367.958
11 | 2644843.8184 | 1219415.9595
12 | 2644780.3619 | 1219332.2115
13 | 2644805.7573 | 1219324.6932
14 | 2644859.5451 | 1219428.2645
15 | 2644724.0336 | 1219317.7212
16 | 2644822.3964 | 1219316.8517
17 | 2645170.5598 | 1219811.7352
18 | 2644689.7929 | 1219310.8201
19 | 2644682.8834 | 1219309.4571
20 | 2644678.1883 | 1219308.531
21 | 2644626.0426 | 1219411.6579
22 | 2645001.4616 | 1219043.0818
23 | 2644972.0285 | 1219001.3455
24 | 2645013.5778 | 1219171.2602
25 | 2644829.2157 | 1219315.5916
26 | 2644801.3259 | 1219315.8658
27 | 2645633.8734 | 1219373.5046
28 | 2645626.527 | 1219364.9688
29 | 2645360.2409 | 1219586.7368
30 | 2645176.5618 | 1219817.7807
31 | 2644859.5451 | 1219428.2645

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98835 | -0.082744 | 0.0019235 | 0.00048208
1 | 0.98842 | -0.082192 | 0 | 0
2 | 0.9894 | -0.075204 | 0.0018586 | 0.00046582
3 | 0.98831 | -0.083034 | 0 | 0
4 | 0.98987 | -0.071776 | 0.00062371 | 0.00015632
5 | 0.9883 | -0.083099 | 0.0006031 | 0.00015115
6 | 0.9847 | -0.10912 | 0.00027297 | 6.8412e-05
7 | 0.99635 | -0.025727 | 0.00017862 | 4.4765e-05
8 | 0.99674 | -0.022946 | 0 | 0
9 | 0.99588 | -0.029027 | 0 | 0
10 | 0.99672 | -0.023125 | 0.00051479 | 0.00012902
11 | 0.99943 | -0.0040054 | 0.00015282 | 3.83e-05
12 | 0.99574 | -0.030016 | 7.1049e-05 | 1.7807e-05
13 | 0.99577 | -0.029819 | 0.00028133 | 7.0509e-05
14 | 1 | 0 | -0.020826 | -0.0050112
15 | 0.99446 | -0.039074 | 0.0015721 | 0.00039402
16 | 0.99568 | -0.03045 | 0 | 0
17 | 0.98119 | -0.13447 | 0.0012879 | 0.00032279
18 | 0.99377 | -0.04397 | 0.00076463 | 0.00019163
19 | 0.99364 | -0.044903 | 0.0024225 | 0.00060713
20 | 0.99357 | -0.04542 | 0 | 0
21 | 0.99065 | -0.066203 | 0 | 0
22 | 0.99396 | -0.04268 | 0.00087255 | 0.00021868
23 | 0.9938 | -0.0438 | 0.0021344 | 0.00053492
24 | 0.99451 | -0.03875 | 0 | 0
25 | 0.99565 | -0.030677 | 0.00020528 | 5.1447e-05
26 | 0.99568 | -0.030482 | 0.00015103 | 3.7852e-05
27 | 0.98001 | -0.1431 | 0.00047224 | 0.00011835
28 | 0.98002 | -0.14304 | 5.9425e-05 | 1.4893e-05
29 | 0.98029 | -0.14107 | 0.0015797 | 0.00039591
30 | 0.98117 | -0.13463 | 0.0018144 | 0.00045472
31 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0019235 | -0.00048208 | 0.0019237 | 0.00048177 | 1.4687e-07 | -3.0322e-07 | 0.002896 | 0.0028958 | 0.002896 | 0.98835 | -0.082744 | 0.98842 | -0.082192 | 1.0726
1 | -0.0080538 | -0.0020032 | 0.0080614 | 0.0020051 | 7.6799e-06 | 1.8787e-06 | 0.012119 | 0.012119 | 0.012119 | 0.98842 | -0.082192 | 0.9894 | -0.075204 | 4.4886
2 | 0.0061301 | 0.0015215 | -0.0061294 | -0.0015214 | 7.0081e-07 | 1.0035e-07 | 0.0092233 | 0.0092233 | 0.0092233 | 0.98842 | -0.082192 | 0.98831 | -0.083034 | 3.4161
3 | -0.0099201 | -0.0024709 | 0.0099247 | 0.0024723 | 4.6523e-06 | 1.3587e-06 | 0.014914 | 0.014914 | 0.014914 | 0.9894 | -0.075204 | 0.98987 | -0.071776 | 5.5237
4 | 0.00060311 | 0.00015102 | -0.0006031 | -0.00015115 | 5.4455e-09 | -1.3353e-07 | 0.000908 | 0.00090805 | 0.00090805 | 0.98831 | -0.083034 | 0.9883 | -0.083099 | 0.33631
5 | 0.0055263 | 0.0013704 | -0.0055067 | -0.0013686 | 1.9554e-05 | 1.7359e-06 | 0.0083153 | 0.0083174 | 0.0083174 | 0.98831 | -0.083034 | 0.9847 | -0.10912 | 3.0805
6 | -0.010548 | -0.0026286 | 0.010557 | 0.0026311 | 8.0514e-06 | 2.4361e-06 | 0.015852 | 0.015851 | 0.015852 | 0.98987 | -0.071776 | 0.99065 | -0.066203 | 5.8709
7 | 0.0052338 | 0.0013002 | -0.0052157 | -0.0012991 | 1.8069e-05 | 1.0773e-06 | 0.0079049 | 0.007907 | 0.007907 | 0.9847 | -0.10912 | 0.98119 | -0.13447 | 2.9285
8 | -0.019288 | -0.0048189 | 0.019295 | 0.0048216 | 7.3823e-06 | 2.6535e-06 | 0.0288 | 0.0288 | 0.0288 | 0.99635 | -0.025727 | 0.99674 | -0.022946 | 10.6668
9 | 0.019109 | 0.0047742 | -0.019101 | -0.0047711 | 8.6733e-06 | 3.1137e-06 | 0.028534 | 0.028534 | 0.028534 | 0.99635 | -0.025727 | 0.99588 | -0.029027 | 10.5681
10 | 0.0005148 | 0.00012857 | -0.00051479 | -0.00012902 | 1.2696e-08 | -4.4418e-07 | 0.00076838 | 0.00076854 | 0.00076854 | 0.99674 | -0.022946 | 0.99672 | -0.023125 | 0.28464
11 | -0.01981 | -0.0049502 | 0.019862 | 0.0049688 | 5.1766e-05 | 1.867e-05 | 0.029569 | 0.029568 | 0.029569 | 0.99674 | -0.022946 | 0.99943 | -0.0040054 | 10.9514
12 | 0.01545 | 0.003862 | -0.015448 | -0.0038612 | 2.1044e-06 | 7.2704e-07 | 0.023081 | 0.023081 | 0.023081 | 0.99588 | -0.029027 | 0.99574 | -0.030016 | 8.5486
13 | 0.0036506 | 0.0009091 | -0.0036502 | -0.00090922 | 3.95e-07 | -1.2508e-07 | 0.0054526 | 0.0054527 | 0.0054527 | 0.99588 | -0.029027 | 0.99577 | -0.029819 | 2.0195
14 | -0.020015 | -0.0050071 | 0.020026 | 0.0050111 | 1.1064e-05 | 3.9937e-06 | 0.029796 | 0.029796 | 0.029796 | 0.99943 | -0.0040054 | 1 | 0 | 11.0355
15 | 0.015377 | 0.0038434 | -0.015358 | -0.0038368 | 1.9158e-05 | 6.6127e-06 | 0.022975 | 0.022975 | 0.022975 | 0.99574 | -0.030016 | 0.99446 | -0.039074 | 8.5094
16 | 0.0033689 | 0.00083871 | -0.0033686 | -0.00083884 | 2.9067e-07 | -1.2746e-07 | 0.0050323 | 0.0050324 | 0.0050324 | 0.99577 | -0.029819 | 0.99568 | -0.03045 | 1.8638
17 | 0.013785 | 0.0034428 | -0.013776 | -0.0034397 | 9.2737e-06 | 3.1138e-06 | 0.020623 | 0.020623 | 0.020623 | 0.99446 | -0.039074 | 0.99377 | -0.04397 | 7.6382
18 | 0.0032176 | 0.00080126 | -0.0032175 | -0.00080131 | 9.9982e-08 | -5.1738e-08 | 0.0048068 | 0.0048068 | 0.0048068 | 0.99568 | -0.03045 | 0.99565 | -0.030677 | 1.7803
19 | 0.00015103 | 3.7578e-05 | -0.00015103 | -3.7852e-05 | 6.7027e-10 | -2.7409e-07 | 0.00022561 | 0.00022571 | 0.00022571 | 0.99568 | -0.03045 | 0.99568 | -0.030482 | 0.083596
20 | 0.0018144 | 0.00045463 | -0.0018144 | -0.00045472 | 4.0247e-08 | -9.2115e-08 | 0.0027516 | 0.0027516 | 0.0027516 | 0.98119 | -0.13447 | 0.98117 | -0.13463 | 1.0191
21 | 0.0021134 | 0.00052171 | -0.0021115 | -0.0005247 | 1.8838e-06 | -2.989e-06 | 0.0032022 | 0.0032035 | 0.0032035 | 0.98119 | -0.13447 | 0.98029 | -0.14107 | 1.1865
22 | 0.013012 | 0.0032481 | -0.01301 | -0.0032475 | 1.6673e-06 | 5.5004e-07 | 0.019478 | 0.019478 | 0.019478 | 0.99377 | -0.04397 | 0.99364 | -0.044903 | 7.2141
23 | 0.010587 | 0.0026404 | -0.010587 | -0.0026402 | 7.5023e-07 | 2.2657e-07 | 0.01585 | 0.01585 | 0.01585 | 0.99364 | -0.044903 | 0.99357 | -0.04542 | 5.8705
24 | 0.010587 | 0.0026402 | -0.010557 | -0.0026311 | 3.0103e-05 | 9.0985e-06 | 0.01585 | 0.015851 | 0.015851 | 0.99357 | -0.04542 | 0.99065 | -0.066203 | 5.8708
25 | 0.0021347 | 0.00053437 | -0.0021344 | -0.00053492 | 3.3061e-07 | -5.4518e-07 | 0.0031955 | 0.0031958 | 0.0031958 | 0.99396 | -0.04268 | 0.9938 | -0.0438 | 1.1836
26 | -0.0030072 | -0.00075306 | 0.0030089 | 0.00075201 | 1.6307e-06 | -1.0453e-06 | 0.0045018 | 0.0045012 | 0.0045018 | 0.99396 | -0.04268 | 0.99451 | -0.03875 | 1.6673
27 | -0.0030089 | -0.00075201 | 0.0030122 | 0.00074987 | 3.3331e-06 | -2.1438e-06 | 0.0045012 | 0.0045 | 0.0045012 | 0.99451 | -0.03875 | 0.99565 | -0.030677 | 1.6671
28 | -0.00047224 | -0.00011835 | 0.00047224 | 0.00011821 | 3.6127e-09 | -1.4051e-07 | 0.00071703 | 0.00071698 | 0.00071703 | 0.98001 | -0.1431 | 0.98002 | -0.14304 | 0.26557
29 | -0.00053166 | -0.00013311 | 0.0005318 | 0.00012879 | 1.4063e-07 | -4.3136e-06 | 0.0008072 | 0.00080566 | 0.0008072 | 0.98002 | -0.14304 | 0.98029 | -0.14107 | 0.29896

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.020826 | 0.0050112

## res_load
| p_mw | q_mvar
0 | 0.0019235 | 0.00048208
1 | 0.0018586 | 0.00046582
2 | 0.00062371 | 0.00015632
3 | 0.0006031 | 0.00015115
4 | 0.00027297 | 6.8412e-05
5 | 0.00017862 | 4.4765e-05
6 | 0.00051479 | 0.00012902
7 | 0.00015282 | 3.83e-05
8 | 7.1049e-05 | 1.7807e-05
9 | 0.00028133 | 7.0509e-05
10 | 0.0015721 | 0.00039402
11 | 0.0012879 | 0.00032279
12 | 0.00076463 | 0.00019163
13 | 0.0024225 | 0.00060713
14 | 0.00087255 | 0.00021868
15 | 0.0021344 | 0.00053492
16 | 0.00020528 | 5.1447e-05
17 | 0.00015103 | 3.7852e-05
18 | 0.00047224 | 0.00011835
19 | 5.9425e-05 | 1.4893e-05
20 | 0.0015797 | 0.00039591
21 | 0.0018144 | 0.00045472

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1