## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1086-4_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_1086-4_1_2_node_100 | 0.4 | n |  | TRUE
2 | bus_LV_1086-4_1_2_node_190 | 0.4 | n |  | TRUE
3 | bus_LV_1086-4_1_2_node_188 | 0.4 | n |  | TRUE
4 | bus_LV_1086-4_1_2_node_129 | 0.4 | n |  | TRUE
5 | bus_LV_1086-4_1_2_node_130 | 0.4 | n |  | TRUE
6 | bus_LV_1086-4_1_2_node_177 | 0.4 | n |  | TRUE
7 | bus_LV_1086-4_1_2_node_189 | 0.4 | n |  | TRUE
8 | bus_LV_1086-4_1_2_node_131 | 0.4 | n |  | TRUE
9 | bus_LV_1086-4_1_2_node_105 | 0.4 | n |  | TRUE
10 | bus_LV_1086-4_1_2_node_132 | 0.4 | n |  | TRUE
11 | bus_LV_1086-4_1_2_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_1086-4_1_2_node_178 | 0.4 | n |  | TRUE
13 | bus_LV_1086-4_1_2_node_176 | 0.4 | n |  | TRUE
14 | bus_LV_1086-4_1_2_node_179 | 0.4 | n |  | TRUE
15 | bus_LV_1086-4_1_2_node_180 | 0.4 | n |  | TRUE
16 | bus_LV_1086-4_1_2_node_185 | 0.4 | n |  | TRUE
17 | bus_LV_1086-4_1_2_node_137 | 0.4 | n |  | TRUE
18 | bus_LV_1086-4_1_2_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_1086-4_1_2_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_1086-4_1_2_node_198 | 0.4 | n |  | TRUE
21 | bus_LV_1086-4_1_2_node_143 | 0.4 | n |  | TRUE
22 | bus_LV_1086-4_1_2_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_1086-4_1_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1086-4_1_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1086-4_1_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1086-4_1_2_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1086-4_1_2_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1086-4_1_2_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1086-4_1_2_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_1086-4_1_2_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_1086-4_1_2_node_184 | 0.4 | n |  | TRUE
32 | bus_LV_1086-4_1_2_node_182 | 0.4 | n |  | TRUE
33 | bus_LV_1086-4_1_2_node_195 | 0.4 | n |  | TRUE
34 | bus_LV_1086-4_1_2_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_1086-4_1_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1086-4_1_2_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1086-4_1_2_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1086-4_1_2_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1086-4_1_2_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1086-4_1_2_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_1086-4_1_2_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1086-4_1_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1086-4_1_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1086-4_1_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1086-4_1_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1086-4_1_2_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_1086-4_1_2_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_1086-4_1_2_node_192 | 0.4 | n |  | TRUE
49 | bus_LV_1086-4_1_2_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1086-4_1_2_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_1086-4_1_2_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_1086-4_1_2_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_1086-4_1_2_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_1086-4_1_2_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_1086-4_1_2_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1086-4_1_2_node_181 | 0.4 | n |  | TRUE
57 | bus_LV_1086-4_1_2_node_183 | 0.4 | n |  | TRUE
58 | bus_LV_1086-4_1_2_node_187 | 0.4 | n |  | TRUE
59 | bus_LV_1086-4_1_2_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_1086-4_1_2_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_1086-4_1_2_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_1086-4_1_2_node_191 | 0.4 | n |  | TRUE
63 | bus_LV_1086-4_1_2_node_193 | 0.4 | n |  | TRUE
64 | bus_LV_1086-4_1_2_node_194 | 0.4 | n |  | TRUE
65 | bus_LV_1086-4_1_2_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_1086-4_1_2_node_87 | 0.4 | n |  | TRUE
67 | bus_LV_1086-4_1_2_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_1086-4_1_2_node_103 | 0.4 | n |  | TRUE
69 | bus_LV_1086-4_1_2_node_104 | 0.4 | n |  | TRUE
70 | bus_MV_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1086-4_1_2_load_188 | 3 | 0.00034132 | 8.5544e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1086-4_1_2_load_177 | 6 | 0.00018255 | 4.5751e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1086-4_1_2_load_189 | 7 | 0.00038889 | 9.7464e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1086-4_1_2_load_131 | 8 | 0.00072741 | 0.00018231 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1086-4_1_2_load_105 | 9 | 0.00068225 | 0.00017099 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1086-4_1_2_load_132 | 10 | 0.00020398 | 5.1122e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1086-4_1_2_load_176 | 13 | 0.00065716 | 0.0001647 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1086-4_1_2_load_179 | 14 | 0.0002078 | 5.2079e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1086-4_1_2_load_180 | 15 | 0.00029892 | 7.4918e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1086-4_1_2_load_185 | 16 | 0.00027557 | 6.9065e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1086-4_1_2_load_137 | 17 | 0.00061514 | 0.00015417 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1086-4_1_2_load_74 | 19 | 0.001944 | 0.00048722 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1086-4_1_2_load_198 | 20 | 0.0010533 | 0.00026399 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1086-4_1_2_load_143 | 21 | 0.00082595 | 0.000207 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1086-4_1_2_load_26 | 23 | 0.00021488 | 5.3855e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1086-4_1_2_load_27 | 24 | 0.0016623 | 0.0004166 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1086-4_1_2_load_28 | 25 | 0.00048663 | 0.00012196 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1086-4_1_2_load_30 | 27 | 0.00059429 | 0.00014894 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1086-4_1_2_load_48 | 30 | 0.0010353 | 0.00025946 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1086-4_1_2_load_182 | 32 | 0.0011347 | 0.00028438 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1086-4_1_2_load_195 | 33 | 0.00048035 | 0.00012039 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1086-4_1_2_load_50 | 34 | 0.00076318 | 0.00019127 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1086-4_1_2_load_35 | 35 | 0.00076866 | 0.00019264 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1086-4_1_2_load_36 | 36 | 0.0015028 | 0.00037663 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1086-4_1_2_load_38 | 38 | 0.0016795 | 0.00042091 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1086-4_1_2_load_39 | 39 | 0.00069554 | 0.00017432 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1086-4_1_2_load_56 | 40 | 0.0035872 | 0.00089903 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1086-4_1_2_load_40 | 42 | 0.00014117 | 3.5379e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1086-4_1_2_load_41 | 43 | 0.0004162 | 0.00010431 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1086-4_1_2_load_42 | 44 | 0.0001564 | 3.9197e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1086-4_1_2_load_43 | 45 | 0.00014659 | 3.6738e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1086-4_1_2_load_44 | 46 | 0.00068056 | 0.00017056 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1086-4_1_2_load_47 | 47 | 0.00019266 | 4.8286e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1086-4_1_2_load_192 | 48 | 0.0024474 | 0.00061337 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1086-4_1_2_load_49 | 49 | 0.00038787 | 9.721e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1086-4_1_2_load_51 | 50 | 0.00015764 | 3.9507e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1086-4_1_2_load_53 | 52 | 0.00086607 | 0.00021706 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1086-4_1_2_load_65 | 53 | 0.0011621 | 0.00029124 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1086-4_1_2_load_58 | 55 | 0.0010145 | 0.00025425 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1086-4_1_2_load_181 | 56 | 0.00023975 | 6.0087e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1086-4_1_2_load_183 | 57 | 0.00021436 | 5.3723e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1086-4_1_2_load_71 | 59 | 0.0028048 | 0.00070295 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1086-4_1_2_load_72 | 60 | 0.00088163 | 0.00022096 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1086-4_1_2_load_73 | 61 | 0.0004676 | 0.00011719 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1086-4_1_2_load_191 | 62 | 0.0017308 | 0.00043377 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1086-4_1_2_load_193 | 63 | 0.00028327 | 7.0994e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1086-4_1_2_load_194 | 64 | 0.00026499 | 6.6413e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1086-4_1_2_load_86 | 65 | 0.0025613 | 0.00064192 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1086-4_1_2_load_87 | 66 | 0.00061897 | 0.00015513 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1086-4_1_2_load_103 | 68 | 0.00023226 | 5.821e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1086-4_1_2_load_104 | 69 | 0.00037082 | 9.2937e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1086-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.005729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1086-4_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.10854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1086-4_1_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.0023648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1086-4_1_2_line_3 | NAYY 4x150 SE | 1 | 53 | 0.026384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1086-4_1_2_line_4 | NAYY 4x150 SE | 2 | 48 | 0.024259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1086-4_1_2_line_5 | NAYY 4x150 SE | 3 | 7 | 0.014355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1086-4_1_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.067539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1086-4_1_2_line_7 | NAYY 4x150 SE | 4 | 6 | 0.013778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1086-4_1_2_line_8 | NAYY 4x150 SE | 5 | 7 | 0.080021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1086-4_1_2_line_9 | NAYY 4x150 SE | 6 | 13 | 0.027716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1086-4_1_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.012477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1086-4_1_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.0089956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1086-4_1_2_line_12 | NAYY 4x150 SE | 9 | 69 | 0.075857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1086-4_1_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.10407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1086-4_1_2_line_14 | NAYY 4x150 SE | 11 | 54 | 0.15376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1086-4_1_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.014849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1086-4_1_2_line_16 | NAYY 4x150 SE | 12 | 14 | 0.057235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1086-4_1_2_line_17 | NAYY 4x150 SE | 12 | 15 | 0.03373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1086-4_1_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.041434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1086-4_1_2_line_19 | NAYY 4x150 SE | 15 | 20 | 0.016853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1086-4_1_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.043969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1086-4_1_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0012946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1086-4_1_2_line_22 | NAYY 4x150 SE | 18 | 55 | 0.015449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1086-4_1_2_line_23 | NAYY 4x150 SE | 18 | 67 | 0.066609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1086-4_1_2_line_24 | NAYY 4x150 SE | 19 | 60 | 0.01738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1086-4_1_2_line_25 | NAYY 4x150 SE | 20 | 58 | 0.019228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1086-4_1_2_line_26 | NAYY 4x150 SE | 21 | 22 | 0.013157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1086-4_1_2_line_27 | NAYY 4x150 SE | 22 | 61 | 0.003691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1086-4_1_2_line_28 | NAYY 4x150 SE | 23 | 24 | 0.04087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1086-4_1_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.015583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1086-4_1_2_line_30 | NAYY 4x150 SE | 24 | 26 | 0.083006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1086-4_1_2_line_31 | NAYY 4x150 SE | 25 | 27 | 0.0054966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1086-4_1_2_line_32 | NAYY 4x150 SE | 26 | 28 | 0.091436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1086-4_1_2_line_33 | NAYY 4x150 SE | 26 | 29 | 0.34918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1086-4_1_2_line_34 | NAYY 4x150 SE | 27 | 30 | 0.027661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1086-4_1_2_line_35 | NAYY 4x150 SE | 28 | 34 | 0.024915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1086-4_1_2_line_36 | NAYY 4x150 SE | 29 | 46 | 0.0036529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1086-4_1_2_line_37 | NAYY 4x150 SE | 29 | 52 | 0.077818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1086-4_1_2_line_38 | NAYY 4x150 SE | 30 | 49 | 0.036533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1086-4_1_2_line_39 | NAYY 4x150 SE | 31 | 32 | 0.07978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1086-4_1_2_line_40 | NAYY 4x150 SE | 31 | 33 | 0.081812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1086-4_1_2_line_41 | NAYY 4x150 SE | 32 | 56 | 0.0093242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1086-4_1_2_line_42 | NAYY 4x150 SE | 33 | 58 | 0.069654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1086-4_1_2_line_43 | NAYY 4x150 SE | 35 | 36 | 0.030635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1086-4_1_2_line_44 | NAYY 4x150 SE | 35 | 37 | 0.054083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1086-4_1_2_line_45 | NAYY 4x150 SE | 37 | 38 | 0.15006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1086-4_1_2_line_46 | NAYY 4x150 SE | 37 | 39 | 0.031059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1086-4_1_2_line_47 | NAYY 4x150 SE | 38 | 40 | 0.022111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1086-4_1_2_line_48 | NAYY 4x150 SE | 39 | 41 | 0.037936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1086-4_1_2_line_49 | NAYY 4x150 SE | 40 | 54 | 0.0077193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1086-4_1_2_line_50 | NAYY 4x150 SE | 41 | 53 | 0.019048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1086-4_1_2_line_51 | NAYY 4x150 SE | 41 | 51 | 0.25431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1086-4_1_2_line_52 | NAYY 4x150 SE | 42 | 43 | 0.0019049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1086-4_1_2_line_53 | NAYY 4x150 SE | 42 | 44 | 0.002312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1086-4_1_2_line_54 | NAYY 4x150 SE | 43 | 45 | 0.019828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1086-4_1_2_line_55 | NAYY 4x150 SE | 44 | 46 | 0.017832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1086-4_1_2_line_56 | NAYY 4x150 SE | 45 | 47 | 0.031816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1086-4_1_2_line_57 | NAYY 4x150 SE | 48 | 62 | 0.0030388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1086-4_1_2_line_58 | NAYY 4x150 SE | 50 | 51 | 0.035851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1086-4_1_2_line_59 | NAYY 4x150 SE | 51 | 52 | 0.018211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1086-4_1_2_line_60 | NAYY 4x150 SE | 54 | 55 | 0.014176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1086-4_1_2_line_61 | NAYY 4x150 SE | 56 | 57 | 0.007541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1086-4_1_2_line_62 | NAYY 4x150 SE | 59 | 60 | 0.030747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1086-4_1_2_line_63 | NAYY 4x150 SE | 59 | 61 | 0.021718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1086-4_1_2_line_64 | NAYY 4x150 SE | 62 | 63 | 0.081177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1086-4_1_2_line_65 | NAYY 4x150 SE | 63 | 64 | 0.0080815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1086-4_1_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.024793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1086-4_1_2_line_67 | NAYY 4x150 SE | 65 | 67 | 0.02703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1086-4_1_2_line_68 | NAYY 4x150 SE | 68 | 69 | 0.0067264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1086-4_1_2_trafo_38 | 0.25 MVA 20/0.4 kV | 70 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2645143.6975 | 1220872.856 | 2645142.0701 | 1220867.3626
1 | 2645143.6975 | 1220872.856 | 2645153.4836 | 1220870.9067 | 2645205.2461 | 1220860.8485 | 2645228.665 | 1220858.9028 | 2645251.2876 | 1220857.9294
2 | 2645143.6975 | 1220872.856 | 2645141.4585 | 1220873.6169
3 | 2645142.0701 | 1220867.3626 | 2645141.7298 | 1220866.2148 | 2645139.8953 | 1220860.0194 | 2645135.9299 | 1220854.7195 | 2645127.2202 | 1220846.3111
4 | 2645251.2876 | 1220857.9294 | 2645251.7879 | 1220882.1833
5 | 2645141.4585 | 1220873.6169 | 2645127.8666 | 1220878.2358
6 | 2645057.3194 | 1220915.8839 | 2645055.1397 | 1220917.2127 | 2645057.6743 | 1220921.1231 | 2645057.7334 | 1220922.3354 | 2645057.14 | 1220923.5539 | 2645046.0784 | 1220929.6739 | 2645063.3786 | 1220971.3409
7 | 2645063.3786 | 1220971.3409 | 2645055.6751 | 1220982.7639
8 | 2645057.3194 | 1220915.8839 | 2645103.2106 | 1220890.6602 | 2645124.1121 | 1220879.5117 | 2645127.8666 | 1220878.2358
9 | 2645040.1785 | 1221005.7425 | 2645055.6751 | 1220982.7639
10 | 2645268.473 | 1220346.9147 | 2645272.8638 | 1220335.236
11 | 2645268.473 | 1220346.9147 | 2645265.3073 | 1220355.3349
12 | 2645299.5593 | 1220264.231 | 2645272.8638 | 1220335.236
13 | 2645228.6835 | 1220452.747 | 2645265.3073 | 1220355.3349
14 | 2645228.6835 | 1220452.747 | 2645173.6515 | 1220596.3496
15 | 2645031.8762 | 1221018.0533 | 2645040.1785 | 1221005.7425
16 | 2645031.8762 | 1221018.0533 | 2645023.199 | 1221030.9177 | 2645009.4493 | 1221046.4343 | 2644994.5373 | 1221061.1995
17 | 2645031.8762 | 1221018.0533 | 2645042.2918 | 1221032.1405 | 2645052.0935 | 1221041.1311 | 2645054.6609 | 1221042.5011
18 | 2644965.0946 | 1221090.3521 | 2644994.5373 | 1221061.1995
19 | 2645054.6609 | 1221042.5011 | 2645055.01 | 1221042.6874 | 2645058.2479 | 1221042.8675 | 2645063.499 | 1221041.6732 | 2645070.5561 | 1221038.2836
20 | 2645201.9225 | 1220604.9802 | 2645212.631 | 1220602.5155 | 2645243.1905 | 1220590.1135
21 | 2645243.1905 | 1220590.1135 | 2645244.3901 | 1220589.6266
22 | 2645201.9225 | 1220604.9802 | 2645186.8898 | 1220601.4196
23 | 2645201.9225 | 1220604.9802 | 2645206.3692 | 1220608.8718 | 2645233.8316 | 1220663.0461
24 | 2645244.3901 | 1220589.6266 | 2645248.9621 | 1220587.7711 | 2645255.6882 | 1220587.2219 | 2645261.2631 | 1220588.3982
25 | 2645086.6357 | 1221027.7953 | 2645073.2524 | 1221036.9885 | 2645070.5561 | 1221038.2836
26 | 2645301.0368 | 1220627.8019 | 2645312.3673 | 1220621.1134
27 | 2645301.0368 | 1220627.8019 | 2645298.5539 | 1220625.0709
28 | 2644831.2382 | 1220160.7613 | 2644832.9676 | 1220173.9457 | 2644833.3436 | 1220180.4524 | 2644831.4647 | 1220188.154 | 2644826.6528 | 1220200.368
29 | 2644831.2382 | 1220160.7613 | 2644829.9897 | 1220151.243 | 2644830.9371 | 1220145.3354 | 2644830.9371 | 1220145.3354
30 | 2644804.2416 | 1220279.949 | 2644807.5101 | 1220259.9838 | 2644816.2367 | 1220225.5175 | 2644825.7176 | 1220202.7418 | 2644826.6528 | 1220200.368
31 | 2644830.9371 | 1220145.3354 | 2644834.2222 | 1220140.9286
32 | 2644804.2416 | 1220279.949 | 2644796.1251 | 1220271.6497 | 2644749.0873 | 1220220.7881 | 2644744.1659 | 1220211.3343
33 | 2644833.4968 | 1220627.9006 | 2644804.2416 | 1220279.949
34 | 2644834.2222 | 1220140.9286 | 2644850.7542 | 1220118.7518
35 | 2644744.1659 | 1220211.3343 | 2644742.9265 | 1220205.6216 | 2644741.7925 | 1220186.5856
36 | 2644833.4968 | 1220627.9006 | 2644833.3148 | 1220631.5489
37 | 2644833.4968 | 1220627.9006 | 2644837.787 | 1220632.4467 | 2644842.9234 | 1220636.4544 | 2644867.1532 | 1220645.7979 | 2644878.2059 | 1220651.9959 | 2644900.9157 | 1220665.4794
38 | 2644874.5694 | 1220092.871 | 2644869.5905 | 1220093.4839 | 2644850.7542 | 1220118.7518
39 | 2645091.0961 | 1221176.163 | 2645160.6759 | 1221181.0705 | 2645164.0608 | 1221181.8633 | 2645166.8242 | 1221183.5853 | 2645168.342 | 1221186.5097 | 2645168.342 | 1221186.5097
40 | 2645091.0961 | 1221176.163 | 2645100.5986 | 1221105.3922 | 2645101.1561 | 1221095.001
41 | 2645170.3196 | 1221195.6217 | 2645168.342 | 1221186.5097
42 | 2645086.6357 | 1221027.7953 | 2645095.6792 | 1221049.7548 | 2645100.5997 | 1221069.1815 | 2645101.4847 | 1221079.5389 | 2645101.4465 | 1221089.5891 | 2645101.1561 | 1221095.001
43 | 2645077.8948 | 1220697.1632 | 2645099.0338 | 1220718.8584 | 2645099.2068 | 1220719.1563
44 | 2645126.9018 | 1220765.6086 | 2645105.6615 | 1220730.271 | 2645099.2068 | 1220719.1563
45 | 2645126.9018 | 1220765.6086 | 2645128.5191 | 1220759.4282 | 2645136.572 | 1220739.933 | 2645157.002 | 1220703.9883 | 2645160.5595 | 1220696.066 | 2645161.7801 | 1220685.1687 | 2645158.9931 | 1220641.4879 | 2645161.0975 | 1220629.0964 | 2645162.9735 | 1220624.2029
46 | 2645126.9018 | 1220765.6086 | 2645119.0496 | 1220795.6588
47 | 2645170.8882 | 1220603.5574 | 2645162.9735 | 1220624.2029
48 | 2645113.5165 | 1220833.0813 | 2645115.948 | 1220807.5287 | 2645119.0496 | 1220795.6588
49 | 2645173.6515 | 1220596.3496 | 2645170.8882 | 1220603.5574
50 | 2645113.5165 | 1220833.0813 | 2645127.2202 | 1220846.3111
51 | 2644916.5745 | 1220674.7764 | 2644992.0496 | 1220719.5837 | 2645003.1181 | 1220726.6604 | 2645011.5897 | 1220735.0405 | 2645069.0879 | 1220792.265 | 2645096.7445 | 1220818.8347 | 2645105.1795 | 1220826.0028 | 2645113.5165 | 1220833.0813
52 | 2644831.6691 | 1220651.5231 | 2644830.9374 | 1220653.2819
53 | 2644832.4263 | 1220649.3589 | 2644832.4068 | 1220649.75 | 2644831.6691 | 1220651.5231
54 | 2644830.9374 | 1220653.2819 | 2644830.4056 | 1220654.56 | 2644826.2996 | 1220657.8089 | 2644820.8167 | 1220659.5242 | 2644813.3615 | 1220659.1791
55 | 2644832.4263 | 1220649.3589 | 2644833.3148 | 1220631.5489
56 | 2644813.3615 | 1220659.1791 | 2644813.3615 | 1220659.1791 | 2644807.7287 | 1220657.6247 | 2644787.7629 | 1220648.2357 | 2644784.1278 | 1220646.7971
57 | 2645252.5076 | 1220885.1217 | 2645251.7977 | 1220882.6593 | 2645251.7879 | 1220882.1833
58 | 2644916.5745 | 1220674.7764 | 2644896.3645 | 1220698.8275 | 2644894.6901 | 1220702.9355
59 | 2644916.5745 | 1220674.7764 | 2644900.9157 | 1220665.4794
60 | 2645173.6515 | 1220596.3496 | 2645186.8898 | 1220601.4196
61 | 2645171.919 | 1221202.9912 | 2645170.3196 | 1221195.6217
62 | 2645283.721 | 1220609.2234 | 2645281.4306 | 1220607.1293 | 2645274.3685 | 1220601.9837 | 2645266.7186 | 1220593.3093 | 2645261.2631 | 1220588.3982 | 2645261.2631 | 1220588.3982
63 | 2645298.5539 | 1220625.0709 | 2645286.2375 | 1220611.5241 | 2645283.721 | 1220609.2234
64 | 2645252.5076 | 1220885.1217 | 2645253.616 | 1220888.9658 | 2645261.2477 | 1220899.9749 | 2645264.2379 | 1220905.8233 | 2645269.9184 | 1220928.0021 | 2645271.2203 | 1220940.3638 | 2645270.731 | 1220943.8622 | 2645269.3029 | 1220947.1089 | 2645265.3208 | 1220948.0125 | 2645254.6037 | 1220948.4213
65 | 2645246.5281 | 1220948.7293 | 2645254.6037 | 1220948.4213
66 | 2645246.6996 | 1220711.8682 | 2645246.6922 | 1220711.8287 | 2645244.2926 | 1220706.1292 | 2645238.8542 | 1220698.9837 | 2645236.2559 | 1220692.4711 | 2645235.7791 | 1220689.9384
67 | 2645233.8316 | 1220663.0461 | 2645233.7623 | 1220672.1733 | 2645234.688 | 1220684.1431 | 2645235.7791 | 1220689.9384
68 | 2645299.5593 | 1220264.231 | 2645301.9264 | 1220257.9349

## bus_geodata
| x | y | coords
0 | 2645143.6975 | 1220872.856
1 | 2645142.0701 | 1220867.3626
2 | 2645251.2876 | 1220857.9294
3 | 2645141.4585 | 1220873.6169
4 | 2645063.3786 | 1220971.3409
5 | 2645057.3194 | 1220915.8839
6 | 2645055.6751 | 1220982.7639
7 | 2645127.8666 | 1220878.2358
8 | 2645268.473 | 1220346.9147
9 | 2645272.8638 | 1220335.236
10 | 2645265.3073 | 1220355.3349
11 | 2645228.6835 | 1220452.747
12 | 2645031.8762 | 1221018.0533
13 | 2645040.1785 | 1221005.7425
14 | 2644994.5373 | 1221061.1995
15 | 2645054.6609 | 1221042.5011
16 | 2644965.0946 | 1221090.3521
17 | 2645243.1905 | 1220590.1135
18 | 2645201.9225 | 1220604.9802
19 | 2645244.3901 | 1220589.6266
20 | 2645070.5561 | 1221038.2836
21 | 2645312.3673 | 1220621.1134
22 | 2645301.0368 | 1220627.8019
23 | 2644831.2382 | 1220160.7613
24 | 2644826.6528 | 1220200.368
25 | 2644830.9371 | 1220145.3354
26 | 2644804.2416 | 1220279.949
27 | 2644834.2222 | 1220140.9286
28 | 2644744.1659 | 1220211.3343
29 | 2644833.4968 | 1220627.9006
30 | 2644850.7542 | 1220118.7518
31 | 2645091.0961 | 1221176.163
32 | 2645168.342 | 1221186.5097
33 | 2645101.1561 | 1221095.001
34 | 2644741.7925 | 1220186.5856
35 | 2645099.2068 | 1220719.1563
36 | 2645077.8948 | 1220697.1632
37 | 2645126.9018 | 1220765.6086
38 | 2645162.9735 | 1220624.2029
39 | 2645119.0496 | 1220795.6588
40 | 2645170.8882 | 1220603.5574
41 | 2645113.5165 | 1220833.0813
42 | 2644831.6691 | 1220651.5231
43 | 2644830.9374 | 1220653.2819
44 | 2644832.4263 | 1220649.3589
45 | 2644813.3615 | 1220659.1791
46 | 2644833.3148 | 1220631.5489
47 | 2644784.1278 | 1220646.7971
48 | 2645251.7879 | 1220882.1833
49 | 2644874.5694 | 1220092.871
50 | 2644894.6901 | 1220702.9355
51 | 2644916.5745 | 1220674.7764
52 | 2644900.9157 | 1220665.4794
53 | 2645127.2202 | 1220846.3111
54 | 2645173.6515 | 1220596.3496
55 | 2645186.8898 | 1220601.4196
56 | 2645170.3196 | 1221195.6217
57 | 2645171.919 | 1221202.9912
58 | 2645086.6357 | 1221027.7953
59 | 2645283.721 | 1220609.2234
60 | 2645261.2631 | 1220588.3982
61 | 2645298.5539 | 1220625.0709
62 | 2645252.5076 | 1220885.1217
63 | 2645254.6037 | 1220948.4213
64 | 2645246.5281 | 1220948.7293
65 | 2645235.7791 | 1220689.9384
66 | 2645246.6996 | 1220711.8682
67 | 2645233.8316 | 1220663.0461
68 | 2645301.9264 | 1220257.9349
69 | 2645299.5593 | 1220264.231
70 | 2645162.9735 | 1220624.2029

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99247 | -0.053114 | 0 | 0
1 | 0.99256 | -0.052517 | 0 | 0
2 | 0.99174 | -0.058334 | 0 | 0
3 | 0.99246 | -0.053247 | 0.00034132 | 8.5544e-05
4 | 0.99134 | -0.061184 | 0 | 0
5 | 0.9918 | -0.057898 | 0 | 0
6 | 0.99125 | -0.061854 | 0.00018255 | 4.5751e-05
7 | 0.99235 | -0.054002 | 0.00038889 | 9.7464e-05
8 | 0.99845 | -0.010925 | 0.00072741 | 0.00018231
9 | 0.99843 | -0.011087 | 0.00068225 | 0.00017099
10 | 0.99848 | -0.010743 | 0.00020398 | 5.1122e-05
11 | 0.99881 | -0.0084183 | 0 | 0
12 | 0.99098 | -0.063746 | 0 | 0
13 | 0.99107 | -0.06315 | 0.00065716 | 0.0001647
14 | 0.99094 | -0.064031 | 0.0002078 | 5.2079e-05
15 | 0.99082 | -0.064929 | 0.00029892 | 7.4918e-05
16 | 0.99093 | -0.064148 | 0.00027557 | 6.9065e-05
17 | 0.99835 | -0.011617 | 0.00061514 | 0.00015417
18 | 0.99882 | -0.0082943 | 0 | 0
19 | 0.99833 | -0.011707 | 0.001944 | 0.00048722
20 | 0.99074 | -0.065468 | 0.0010533 | 0.00026399
21 | 0.99797 | -0.01426 | 0.00082595 | 0.000207
22 | 0.99798 | -0.014151 | 0 | 0
23 | 0.9861 | -0.098583 | 0.00021488 | 5.3855e-05
24 | 0.98626 | -0.097438 | 0.0016623 | 0.0004166
25 | 0.98604 | -0.098984 | 0.00048663 | 0.00012196
26 | 0.98679 | -0.093695 | 0 | 0
27 | 0.98603 | -0.099099 | 0.00059429 | 0.00014894
28 | 0.98669 | -0.094417 | 0 | 0
29 | 0.98938 | -0.075162 | 0 | 0
30 | 0.98597 | -0.099504 | 0.0010353 | 0.00025946
31 | 0.99029 | -0.068692 | 0 | 0
32 | 0.99011 | -0.069986 | 0.0011347 | 0.00028438
33 | 0.99048 | -0.067358 | 0.00048035 | 0.00012039
34 | 0.98666 | -0.094612 | 0.00076318 | 0.00019127
35 | 0.99502 | -0.035026 | 0.00076866 | 0.00019264
36 | 0.99496 | -0.03549 | 0.0015028 | 0.00037663
37 | 0.9952 | -0.033784 | 0 | 0
38 | 1 | 0 | -0.040803 | -0.010018
39 | 0.99431 | -0.0401 | 0.00069554 | 0.00017432
40 | 0.99945 | -0.0038865 | 0.0035872 | 0.00089903
41 | 0.99326 | -0.047562 | 0 | 0
42 | 0.98934 | -0.075441 | 0.00014117 | 3.5379e-05
43 | 0.98934 | -0.075455 | 0.0004162 | 0.00010431
44 | 0.98935 | -0.075419 | 0.0001564 | 3.9197e-05
45 | 0.98933 | -0.075525 | 0.00014659 | 3.6738e-05
46 | 0.98937 | -0.075227 | 0.00068056 | 0.00017056
47 | 0.98932 | -0.075588 | 0.00019266 | 4.8286e-05
48 | 0.99157 | -0.0595 | 0.0024474 | 0.00061337
49 | 0.98595 | -0.09965 | 0.00038787 | 9.721e-05
50 | 0.99035 | -0.068257 | 0.00015764 | 3.9507e-05
51 | 0.99036 | -0.068199 | 0 | 0
52 | 0.99015 | -0.069649 | 0.00086607 | 0.00021706
53 | 0.99295 | -0.049769 | 0.0011621 | 0.00029124
54 | 0.99929 | -0.0049675 | 0 | 0
55 | 0.99906 | -0.0066341 | 0.0010145 | 0.00025425
56 | 0.9901 | -0.070029 | 0.00023975 | 6.0087e-05
57 | 0.9901 | -0.070046 | 0.00021436 | 5.3723e-05
58 | 0.99068 | -0.065878 | 0 | 0
59 | 0.99803 | -0.013839 | 0.0028048 | 0.00070295
60 | 0.99821 | -0.012575 | 0.00088163 | 0.00022096
61 | 0.99799 | -0.014121 | 0.0004676 | 0.00011719
62 | 0.99156 | -0.059571 | 0.0017308 | 0.00043377
63 | 0.9915 | -0.060027 | 0.00028327 | 7.0994e-05
64 | 0.9915 | -0.060048 | 0.00026499 | 6.6413e-05
65 | 0.99839 | -0.011281 | 0.0025613 | 0.00064192
66 | 0.99837 | -0.011435 | 0.00061897 | 0.00015513
67 | 0.99852 | -0.01042 | 0 | 0
68 | 0.99836 | -0.011564 | 0.00023226 | 5.821e-05
69 | 0.99836 | -0.011548 | 0.00037082 | 9.2937e-05
70 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010214 | -0.0025505 | 0.010215 | 0.0025508 | 8.3801e-07 | 2.4827e-07 | 0.015311 | 0.015311 | 0.015311 | 0.99247 | -0.053114 | 0.99256 | -0.052517 | 5.6706
1 | 0.0047306 | 0.0011833 | -0.0047272 | -0.0011834 | 3.4066e-06 | -9.1365e-08 | 0.0070918 | 0.0070923 | 0.0070923 | 0.99247 | -0.053114 | 0.99174 | -0.058334 | 2.6268
2 | 0.0054835 | 0.0013672 | -0.0054834 | -0.0013672 | 9.9677e-08 | 7.7791e-09 | 0.0082189 | 0.0082189 | 0.0082189 | 0.99247 | -0.053114 | 0.99246 | -0.053247 | 3.044
3 | -0.010215 | -0.0025508 | 0.010219 | 0.0025519 | 3.8593e-06 | 1.1432e-06 | 0.015311 | 0.01531 | 0.015311 | 0.99256 | -0.052517 | 0.99295 | -0.049769 | 5.6706
4 | 0.0047272 | 0.0011834 | -0.0047264 | -0.0011834 | 7.6144e-07 | -2.011e-08 | 0.0070923 | 0.0070924 | 0.0070924 | 0.99174 | -0.058334 | 0.99157 | -0.0595 | 2.6268
5 | 0.005142 | 0.0012817 | -0.0051415 | -0.0012817 | 5.3209e-07 | 1.9169e-08 | 0.0077071 | 0.0077072 | 0.0077072 | 0.99246 | -0.053247 | 0.99235 | -0.054002 | 2.8545
6 | -0.0047479 | -0.0011843 | 0.0047501 | 0.0011843 | 2.1392e-06 | -4.8415e-08 | 0.0071247 | 0.0071244 | 0.0071247 | 0.99134 | -0.061184 | 0.9918 | -0.057898 | 2.6388
7 | 0.0047479 | 0.0011843 | -0.0047475 | -0.0011843 | 4.3642e-07 | -9.7683e-09 | 0.0071247 | 0.0071248 | 0.0071248 | 0.99134 | -0.061184 | 0.99125 | -0.061854 | 2.6388
8 | -0.0047501 | -0.0011843 | 0.0047526 | 0.0011842 | 2.5343e-06 | -5.8502e-08 | 0.0071244 | 0.0071241 | 0.0071244 | 0.9918 | -0.057898 | 0.99235 | -0.054002 | 2.6387
9 | 0.004565 | 0.0011386 | -0.0045641 | -0.0011386 | 8.117e-07 | -4.5017e-08 | 0.0068508 | 0.0068509 | 0.0068509 | 0.99125 | -0.061854 | 0.99107 | -0.06315 | 2.5374
10 | 0.0012854 | 0.00032092 | -0.0012854 | -0.00032107 | 2.8559e-08 | -1.5219e-07 | 0.0019152 | 0.0019153 | 0.0019153 | 0.99845 | -0.010925 | 0.99843 | -0.011087 | 0.70937
11 | -0.0020128 | -0.00050323 | 0.0020129 | 0.00050313 | 5.0496e-08 | -9.8232e-08 | 0.0029993 | 0.0029993 | 0.0029993 | 0.99845 | -0.010925 | 0.99848 | -0.010743 | 1.1109
12 | 0.00060312 | 0.00015008 | -0.00060308 | -0.00015106 | 3.8228e-08 | -9.773e-07 | 0.00089849 | 0.00089884 | 0.00089884 | 0.99843 | -0.011087 | 0.99836 | -0.011548 | 0.3329
13 | -0.0022168 | -0.00055425 | 0.0022176 | 0.00055316 | 7.0848e-07 | -1.0891e-06 | 0.0033033 | 0.0033028 | 0.0033033 | 0.99848 | -0.010743 | 0.99881 | -0.0084183 | 1.2234
14 | -0.0022176 | -0.00055316 | 0.0022186 | 0.00055155 | 1.0464e-06 | -1.6109e-06 | 0.0033028 | 0.0033021 | 0.0033028 | 0.99881 | -0.0084183 | 0.99929 | -0.0049675 | 1.2233
15 | -0.0039067 | -0.000974 | 0.003907 | 0.00097393 | 3.1864e-07 | -6.877e-08 | 0.0058643 | 0.0058642 | 0.0058643 | 0.99098 | -0.063746 | 0.99107 | -0.06315 | 2.172
16 | 0.00048339 | 0.00011988 | -0.00048338 | -0.00012061 | 1.88e-08 | -7.3014e-07 | 0.0007254 | 0.00072565 | 0.00072565 | 0.99098 | -0.063746 | 0.99094 | -0.064031 | 0.26876
17 | 0.0034233 | 0.00085411 | -0.0034227 | -0.00085433 | 5.5584e-07 | -2.2071e-07 | 0.0051389 | 0.005139 | 0.005139 | 0.99098 | -0.063746 | 0.99082 | -0.064929 | 1.9033
18 | 0.00027558 | 6.8532e-05 | -0.00027557 | -6.9065e-05 | 4.4253e-09 | -5.3207e-07 | 0.00041362 | 0.00041381 | 0.00041381 | 0.99094 | -0.064031 | 0.99093 | -0.064148 | 0.15326
19 | 0.0031238 | 0.00077942 | -0.0031236 | -0.00077955 | 2.3133e-07 | -1.2807e-07 | 0.0046901 | 0.0046902 | 0.0046902 | 0.99082 | -0.064929 | 0.99074 | -0.065468 | 1.7371
20 | -0.0075406 | -0.0018889 | 0.0075441 | 0.0018897 | 3.4655e-06 | 7.5767e-07 | 0.011239 | 0.011239 | 0.011239 | 0.99835 | -0.011617 | 0.99882 | -0.0082943 | 4.1625
21 | 0.0069255 | 0.0017347 | -0.0069254 | -0.0017347 | 8.6072e-08 | 1.6176e-08 | 0.010322 | 0.010322 | 0.010322 | 0.99835 | -0.011617 | 0.99833 | -0.011707 | 3.823
22 | -0.010726 | -0.0026857 | 0.010728 | 0.0026864 | 2.461e-06 | 7.4431e-07 | 0.015978 | 0.015978 | 0.015978 | 0.99882 | -0.0082943 | 0.99906 | -0.0066341 | 5.9178
23 | 0.0031816 | 0.00079601 | -0.0031806 | -0.00079652 | 9.3365e-07 | -5.1244e-07 | 0.0047394 | 0.0047397 | 0.0047397 | 0.99882 | -0.0082943 | 0.99852 | -0.01042 | 1.7554
24 | 0.0049814 | 0.0012475 | -0.0049808 | -0.0012475 | 5.9782e-07 | 2.7007e-09 | 0.0074244 | 0.0074245 | 0.0074245 | 0.99833 | -0.011707 | 0.99821 | -0.012575 | 2.7498
25 | 0.0020703 | 0.00051556 | -0.0020701 | -0.00051576 | 1.1592e-07 | -2.0301e-07 | 0.0031082 | 0.0031083 | 0.0031083 | 0.99074 | -0.065468 | 0.99068 | -0.065878 | 1.1512
26 | -0.00082595 | -0.000207 | 0.00082596 | 0.00020683 | 1.2451e-08 | -1.6713e-07 | 0.0012315 | 0.0012315 | 0.0012315 | 0.99797 | -0.01426 | 0.99798 | -0.014151 | 0.45612
27 | -0.00082596 | -0.00020683 | 0.00082596 | 0.00020679 | 3.4927e-09 | -4.6885e-08 | 0.0012315 | 0.0012314 | 0.0012315 | 0.99798 | -0.014151 | 0.99799 | -0.014121 | 0.4561
28 | -0.0027192 | -0.00068043 | 0.0027196 | 0.00068008 | 4.2928e-07 | -3.5636e-07 | 0.0041029 | 0.0041027 | 0.0041029 | 0.9861 | -0.098583 | 0.98626 | -0.097438 | 1.5196
29 | 0.0025043 | 0.00062658 | -0.0025042 | -0.00062672 | 1.3884e-07 | -1.4538e-07 | 0.0037786 | 0.0037787 | 0.0037787 | 0.9861 | -0.098583 | 0.98604 | -0.098984 | 1.3995
30 | -0.0043819 | -0.0010967 | 0.0043841 | 0.0010965 | 2.2634e-06 | -1.8931e-07 | 0.0066106 | 0.0066102 | 0.0066106 | 0.98626 | -0.097438 | 0.98679 | -0.093695 | 2.4484
31 | 0.0020175 | 0.00050477 | -0.0020175 | -0.00050482 | 3.1788e-08 | -5.7886e-08 | 0.0030443 | 0.0030443 | 0.0030443 | 0.98604 | -0.098984 | 0.98603 | -0.099099 | 1.1275
32 | 0.00076327 | 0.00018982 | -0.00076319 | -0.00019096 | 7.5542e-08 | -1.1389e-06 | 0.0011504 | 0.0011509 | 0.0011509 | 0.98679 | -0.093695 | 0.98669 | -0.094417 | 0.42624
33 | -0.0051474 | -0.0012863 | 0.0051605 | 0.0012869 | 1.312e-05 | 5.7377e-07 | 0.0077607 | 0.0077591 | 0.0077607 | 0.98679 | -0.093695 | 0.98938 | -0.075162 | 2.8743
34 | 0.0014232 | 0.00035588 | -0.0014231 | -0.00035621 | 7.9605e-08 | -3.2218e-07 | 0.0021475 | 0.0021476 | 0.0021476 | 0.98603 | -0.099099 | 0.98597 | -0.099504 | 0.79542
35 | 0.00076319 | 0.00019096 | -0.00076317 | -0.00019127 | 2.0594e-08 | -3.103e-07 | 0.0011509 | 0.001151 | 0.001151 | 0.98669 | -0.094417 | 0.98666 | -0.094612 | 0.42629
36 | 0.0017336 | 0.0004335 | -0.0017336 | -0.00043354 | 1.5492e-08 | -4.0952e-08 | 0.002607 | 0.002607 | 0.002607 | 0.98938 | -0.075162 | 0.98937 | -0.075227 | 0.96556
37 | -0.0068941 | -0.0017204 | 0.0068994 | 0.0017214 | 5.2177e-06 | 1.0067e-06 | 0.010366 | 0.010366 | 0.010366 | 0.98938 | -0.075162 | 0.99015 | -0.069649 | 3.8393
38 | 0.00038788 | 9.6746e-05 | -0.00038787 | -9.7209e-05 | 7.8095e-09 | -4.6292e-07 | 0.00058522 | 0.00058538 | 0.00058538 | 0.98597 | -0.099504 | 0.98595 | -0.09965 | 0.21681
39 | 0.0015891 | 0.00039705 | -0.0015888 | -0.00039797 | 2.8377e-07 | -9.171e-07 | 0.0023873 | 0.0023877 | 0.0023877 | 0.99029 | -0.068692 | 0.99011 | -0.069986 | 0.88433
40 | -0.0015891 | -0.00039705 | 0.0015894 | 0.00039611 | 2.9091e-07 | -9.4089e-07 | 0.0023873 | 0.002387 | 0.0023873 | 0.99029 | -0.068692 | 0.99048 | -0.067358 | 0.88419
41 | 0.00045411 | 0.00011359 | -0.00045411 | -0.00011371 | 2.7095e-09 | -1.1888e-07 | 0.0006824 | 0.00068244 | 0.00068244 | 0.99011 | -0.069986 | 0.9901 | -0.070029 | 0.25275
42 | -0.0020697 | -0.0005165 | 0.0020701 | 0.00051576 | 4.1997e-07 | -7.3515e-07 | 0.0031086 | 0.0031083 | 0.0031086 | 0.99048 | -0.067358 | 0.99068 | -0.065878 | 1.1513
43 | 0.0015029 | 0.00037627 | -0.0015028 | -0.00037663 | 9.6556e-08 | -3.6076e-07 | 0.0022474 | 0.0022475 | 0.0022475 | 0.99502 | -0.035026 | 0.99496 | -0.03549 | 0.83241
44 | -0.0022715 | -0.00056892 | 0.0022719 | 0.00056836 | 3.8937e-07 | -5.5285e-07 | 0.0033969 | 0.0033966 | 0.0033969 | 0.99502 | -0.035026 | 0.9952 | -0.033784 | 1.2581
45 | -0.022336 | -0.0055836 | 0.022441 | 0.0056218 | 0.0001044 | 3.8195e-05 | 0.033392 | 0.033391 | 0.033392 | 0.9952 | -0.033784 | 1 | 0 | 12.3673
46 | 0.020064 | 0.0050152 | -0.020047 | -0.0050089 | 1.7437e-05 | 6.3034e-06 | 0.029995 | 0.029995 | 0.029995 | 0.9952 | -0.033784 | 0.99431 | -0.0401 | 11.1094
47 | 0.017563 | 0.0043961 | -0.017553 | -0.0043928 | 9.4214e-06 | 3.3337e-06 | 0.026132 | 0.026132 | 0.026132 | 1 | 0 | 0.99945 | -0.0038865 | 9.6784
48 | 0.019351 | 0.0048346 | -0.019331 | -0.0048274 | 1.9846e-05 | 7.1415e-06 | 0.028954 | 0.028955 | 0.028955 | 0.99431 | -0.0401 | 0.99326 | -0.047562 | 10.7239
49 | 0.013966 | 0.0034938 | -0.013964 | -0.0034931 | 2.0821e-06 | 6.9968e-07 | 0.020791 | 0.020791 | 0.020791 | 0.99945 | -0.0038865 | 0.99929 | -0.0049675 | 7.7003
50 | 0.011384 | 0.0028442 | -0.011381 | -0.0028431 | 3.456e-06 | 1.0828e-06 | 0.017052 | 0.017052 | 0.017052 | 0.99326 | -0.047562 | 0.99295 | -0.049769 | 6.3155
51 | 0.0079471 | 0.0019832 | -0.0079246 | -0.0019779 | 2.2484e-05 | 5.3658e-06 | 0.011903 | 0.011904 | 0.011904 | 0.99326 | -0.047562 | 0.99036 | -0.068199 | 4.4088
52 | 0.00075545 | 0.00018865 | -0.00075545 | -0.00018867 | 1.5339e-09 | -2.3872e-08 | 0.001136 | 0.001136 | 0.001136 | 0.98934 | -0.075441 | 0.98934 | -0.075455 | 0.42074
53 | -0.00089662 | -0.00022403 | 0.00089662 | 0.000224 | 2.6227e-09 | -2.868e-08 | 0.0013483 | 0.0013483 | 0.0013483 | 0.98934 | -0.075441 | 0.98935 | -0.075419 | 0.49937
54 | 0.00033925 | 8.4362e-05 | -0.00033925 | -8.4615e-05 | 3.219e-09 | -2.5338e-07 | 0.00051002 | 0.00051011 | 0.00051011 | 0.98934 | -0.075455 | 0.98933 | -0.075525 | 0.18893
55 | -0.001053 | -0.00026319 | 0.001053 | 0.00026298 | 2.7901e-08 | -2.1826e-07 | 0.0015835 | 0.0015834 | 0.0015835 | 0.98935 | -0.075419 | 0.98937 | -0.075227 | 0.58649
56 | 0.00019266 | 4.7877e-05 | -0.00019266 | -4.8285e-05 | 1.6663e-09 | -4.079e-07 | 0.00028963 | 0.00028978 | 0.00028978 | 0.98933 | -0.075525 | 0.98932 | -0.075588 | 0.10733
57 | 0.0022791 | 0.00057 | -0.0022791 | -0.00057004 | 2.2175e-08 | -3.0668e-08 | 0.0034197 | 0.0034197 | 0.0034197 | 0.99157 | -0.0595 | 0.99156 | -0.059571 | 1.2666
58 | -0.00015763 | -3.9507e-05 | 0.00015764 | 3.9046e-05 | 1.2541e-09 | -4.6083e-07 | 0.00023685 | 0.00023669 | 0.00023685 | 0.99035 | -0.068257 | 0.99036 | -0.068199 | 0.087722
59 | 0.007767 | 0.0019388 | -0.0077654 | -0.0019384 | 1.5468e-06 | 3.6066e-07 | 0.011667 | 0.011667 | 0.011667 | 0.99036 | -0.068199 | 0.99015 | -0.069649 | 4.3212
60 | 0.011745 | 0.0029415 | -0.011743 | -0.0029407 | 2.7056e-06 | 8.5494e-07 | 0.017489 | 0.017489 | 0.017489 | 0.99929 | -0.0049675 | 0.99906 | -0.0066341 | 6.4774
61 | 0.00021436 | 5.3626e-05 | -0.00021436 | -5.3723e-05 | 4.8832e-10 | -9.6796e-08 | 0.00032212 | 0.00032216 | 0.00032216 | 0.9901 | -0.070029 | 0.9901 | -0.070046 | 0.11932
62 | -0.0040984 | -0.0010267 | 0.0040991 | 0.0010265 | 7.1634e-07 | -1.2635e-07 | 0.0061104 | 0.0061102 | 0.0061104 | 0.99803 | -0.013839 | 0.99821 | -0.012575 | 2.2631
63 | 0.0012936 | 0.00032372 | -0.0012936 | -0.00032398 | 5.0408e-08 | -2.6441e-07 | 0.0019285 | 0.0019286 | 0.0019286 | 0.99803 | -0.013839 | 0.99799 | -0.014121 | 0.71431
64 | 0.0005483 | 0.00013627 | -0.00054826 | -0.0001373 | 3.4276e-08 | -1.0338e-06 | 0.00082241 | 0.00082278 | 0.00082278 | 0.99156 | -0.059571 | 0.9915 | -0.060027 | 0.30473
65 | 0.00026499 | 6.6309e-05 | -0.00026499 | -6.6413e-05 | 7.975e-10 | -1.0392e-07 | 0.00039766 | 0.00039769 | 0.00039769 | 0.9915 | -0.060027 | 0.9915 | -0.060048 | 0.14729
66 | 0.00061898 | 0.00015481 | -0.00061897 | -0.00015513 | 1.3165e-08 | -3.1915e-07 | 0.00092242 | 0.00092253 | 0.00092253 | 0.99839 | -0.011281 | 0.99837 | -0.011435 | 0.34168
67 | -0.0031803 | -0.00079673 | 0.0031806 | 0.00079652 | 3.7891e-07 | -2.0779e-07 | 0.0047398 | 0.0047397 | 0.0047398 | 0.99839 | -0.011281 | 0.99852 | -0.01042 | 1.7555
68 | -0.00023226 | -5.821e-05 | 0.00023226 | 5.8122e-05 | 5.0295e-10 | -8.7763e-08 | 0.00034617 | 0.00034614 | 0.00034617 | 0.99836 | -0.011564 | 0.99836 | -0.011548 | 0.12821

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.042483 | 0.010439

## res_load
| p_mw | q_mvar
0 | 0.00034132 | 8.5544e-05
1 | 0.00018255 | 4.5751e-05
2 | 0.00038889 | 9.7464e-05
3 | 0.00072741 | 0.00018231
4 | 0.00068225 | 0.00017099
5 | 0.00020398 | 5.1122e-05
6 | 0.00065716 | 0.0001647
7 | 0.0002078 | 5.2079e-05
8 | 0.00029892 | 7.4918e-05
9 | 0.00027557 | 6.9065e-05
10 | 0.00061514 | 0.00015417
11 | 0.001944 | 0.00048722
12 | 0.0010533 | 0.00026399
13 | 0.00082595 | 0.000207
14 | 0.00021488 | 5.3855e-05
15 | 0.0016623 | 0.0004166
16 | 0.00048663 | 0.00012196
17 | 0.00059429 | 0.00014894
18 | 0.0010353 | 0.00025946
19 | 0.0011347 | 0.00028438
20 | 0.00048035 | 0.00012039
21 | 0.00076318 | 0.00019127
22 | 0.00076866 | 0.00019264
23 | 0.0015028 | 0.00037663
24 | 0.0016795 | 0.00042091
25 | 0.00069554 | 0.00017432
26 | 0.0035872 | 0.00089903
27 | 0.00014117 | 3.5379e-05
28 | 0.0004162 | 0.00010431
29 | 0.0001564 | 3.9197e-05
30 | 0.00014659 | 3.6738e-05
31 | 0.00068056 | 0.00017056
32 | 0.00019266 | 4.8286e-05
33 | 0.0024474 | 0.00061337
34 | 0.00038787 | 9.721e-05
35 | 0.00015764 | 3.9507e-05
36 | 0.00086607 | 0.00021706
37 | 0.0011621 | 0.00029124
38 | 0.0010145 | 0.00025425
39 | 0.00023975 | 6.0087e-05
40 | 0.00021436 | 5.3723e-05
41 | 0.0028048 | 0.00070295
42 | 0.00088163 | 0.00022096
43 | 0.0004676 | 0.00011719
44 | 0.0017308 | 0.00043377
45 | 0.00028327 | 7.0994e-05
46 | 0.00026499 | 6.6413e-05
47 | 0.0025613 | 0.00064192
48 | 0.00061897 | 0.00015513
49 | 0.00023226 | 5.821e-05
50 | 0.00037082 | 9.2937e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1