## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1086-5_3_1_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_1086-5_3_1_node_86 | 0.4 | n |  | TRUE
2 | bus_LV_1086-5_3_1_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_1086-5_3_1_node_134 | 0.4 | n |  | TRUE
4 | bus_LV_1086-5_3_1_node_130 | 0.4 | n |  | TRUE
5 | bus_LV_1086-5_3_1_node_93 | 0.4 | n |  | TRUE
6 | bus_LV_1086-5_3_1_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_1086-5_3_1_node_136 | 0.4 | n |  | TRUE
8 | bus_LV_1086-5_3_1_node_141 | 0.4 | n |  | TRUE
9 | bus_LV_1086-5_3_1_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_1086-5_3_1_node_137 | 0.4 | n |  | TRUE
11 | bus_LV_1086-5_3_1_node_138 | 0.4 | n |  | TRUE
12 | bus_LV_1086-5_3_1_node_142 | 0.4 | n |  | TRUE
13 | bus_LV_1086-5_3_1_node_94 | 0.4 | n |  | TRUE
14 | bus_LV_1086-5_3_1_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_1086-5_3_1_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_1086-5_3_1_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_1086-5_3_1_node_66 | 0.4 | n |  | TRUE
18 | bus_LV_1086-5_3_1_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_1086-5_3_1_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_1086-5_3_1_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_1086-5_3_1_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_1086-5_3_1_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_1086-5_3_1_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_1086-5_3_1_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_1086-5_3_1_node_75 | 0.4 | n |  | TRUE
26 | bus_LV_1086-5_3_1_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_1086-5_3_1_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_1086-5_3_1_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_1086-5_3_1_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_1086-5_3_1_node_98 | 0.4 | n |  | TRUE
31 | bus_LV_1086-5_3_1_node_95 | 0.4 | n |  | TRUE
32 | bus_LV_1086-5_3_1_node_80 | 0.4 | n |  | TRUE
33 | bus_LV_1086-5_3_1_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_1086-5_3_1_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_1086-5_3_1_node_127 | 0.4 | n |  | TRUE
36 | bus_LV_1086-5_3_1_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_1086-5_3_1_node_85 | 0.4 | n |  | TRUE
38 | bus_LV_1086-5_3_1_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_1086-5_3_1_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_1086-5_3_1_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_1086-5_3_1_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_1086-5_3_1_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_1086-5_3_1_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_1086-5_3_1_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_1086-5_3_1_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_1086-5_3_1_node_97 | 0.4 | n |  | TRUE
47 | bus_LV_1086-5_3_1_node_124 | 0.4 | n |  | TRUE
48 | bus_LV_1086-5_3_1_node_125 | 0.4 | n |  | TRUE
49 | bus_LV_1086-5_3_1_node_126 | 0.4 | n |  | TRUE
50 | bus_MV_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1086-5_3_1_load_128 | 0 | 0.00046083 | 0.0001155 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1086-5_3_1_load_86 | 1 | 0.00050358 | 0.00012621 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1086-5_3_1_load_129 | 2 | 0.0017871 | 0.0004479 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1086-5_3_1_load_134 | 3 | 0.0018289 | 0.00045836 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1086-5_3_1_load_130 | 4 | 0.00029523 | 7.3991e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1086-5_3_1_load_132 | 6 | 0.0022501 | 0.00056392 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1086-5_3_1_load_136 | 7 | 0.0015472 | 0.00038776 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1086-5_3_1_load_141 | 8 | 0.0015452 | 0.00038727 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1086-5_3_1_load_135 | 9 | 0.00033042 | 8.2812e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1086-5_3_1_load_138 | 11 | 0.00043205 | 0.00010828 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1086-5_3_1_load_94 | 13 | 0.0010614 | 0.00026602 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1086-5_3_1_load_62 | 14 | 0.00042615 | 0.0001068 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1086-5_3_1_load_63 | 15 | 0.0015556 | 0.00038988 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1086-5_3_1_load_66 | 17 | 0.0014941 | 0.00037447 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1086-5_3_1_load_68 | 20 | 0.000632 | 0.00015839 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1086-5_3_1_load_67 | 22 | 0.0001729 | 4.3334e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1086-5_3_1_load_70 | 23 | 0.0033871 | 0.00084889 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1086-5_3_1_load_75 | 25 | 0.0010907 | 0.00027335 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1086-5_3_1_load_77 | 28 | 0.0020152 | 0.00050505 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1086-5_3_1_load_76 | 29 | 0.0005961 | 0.0001494 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1086-5_3_1_load_95 | 31 | 0.0001666 | 4.1754e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1086-5_3_1_load_80 | 32 | 0.0030154 | 0.00075573 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1086-5_3_1_load_83 | 34 | 0.00032827 | 8.2273e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1086-5_3_1_load_127 | 35 | 0.0012427 | 0.00031145 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1086-5_3_1_load_85 | 37 | 0.00048271 | 0.00012098 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1086-5_3_1_load_84 | 38 | 0.00056981 | 0.00014281 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1086-5_3_1_load_87 | 39 | 0.0077903 | 0.0019524 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1086-5_3_1_load_89 | 41 | 0.0029353 | 0.00073565 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1086-5_3_1_load_90 | 42 | 0.00046174 | 0.00011572 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1086-5_3_1_load_91 | 43 | 0.00054821 | 0.00013739 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1086-5_3_1_load_96 | 45 | 0.0010076 | 0.00025254 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1086-5_3_1_load_97 | 46 | 0.00014437 | 3.6182e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1086-5_3_1_load_124 | 47 | 0.00033041 | 8.2809e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1086-5_3_1_load_125 | 48 | 0.00055558 | 0.00013924 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1086-5_3_1_load_126 | 49 | 0.00060632 | 0.00015196 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1086-5_3_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.025813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1086-5_3_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0034568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1086-5_3_1_line_2 | NAYY 4x150 SE | 1 | 36 | 0.15331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1086-5_3_1_line_3 | NAYY 4x150 SE | 2 | 3 | 0.0003561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1086-5_3_1_line_4 | NAYY 4x150 SE | 3 | 8 | 0.052599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1086-5_3_1_line_5 | NAYY 4x150 SE | 4 | 5 | 0.0231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1086-5_3_1_line_6 | NAYY 4x150 SE | 5 | 6 | 0.18245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1086-5_3_1_line_7 | NAYY 4x150 SE | 5 | 44 | 0.009703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1086-5_3_1_line_8 | NAYY 4x150 SE | 6 | 7 | 0.052147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1086-5_3_1_line_9 | NAYY 4x150 SE | 7 | 9 | 0.033288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1086-5_3_1_line_10 | NAYY 4x150 SE | 8 | 12 | 0.058067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1086-5_3_1_line_11 | NAYY 4x150 SE | 9 | 10 | 0.007881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1086-5_3_1_line_12 | NAYY 4x150 SE | 10 | 11 | 0.025017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1086-5_3_1_line_13 | NAYY 4x150 SE | 12 | 13 | 0.23192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1086-5_3_1_line_14 | NAYY 4x150 SE | 13 | 44 | 0.034138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1086-5_3_1_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0053698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1086-5_3_1_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0075714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1086-5_3_1_line_17 | NAYY 4x150 SE | 16 | 17 | 0.020179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1086-5_3_1_line_18 | NAYY 4x150 SE | 17 | 21 | 0.012527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1086-5_3_1_line_19 | NAYY 4x150 SE | 18 | 19 | 0.091317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1086-5_3_1_line_20 | NAYY 4x150 SE | 18 | 20 | 0.017128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1086-5_3_1_line_21 | NAYY 4x150 SE | 19 | 25 | 0.042965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1086-5_3_1_line_22 | NAYY 4x150 SE | 20 | 22 | 0.02018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1086-5_3_1_line_23 | NAYY 4x150 SE | 21 | 23 | 0.061054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1086-5_3_1_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0032663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1086-5_3_1_line_25 | NAYY 4x150 SE | 23 | 24 | 0.012707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1086-5_3_1_line_26 | NAYY 4x150 SE | 24 | 32 | 0.011114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1086-5_3_1_line_27 | NAYY 4x150 SE | 24 | 33 | 0.23082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1086-5_3_1_line_28 | NAYY 4x150 SE | 25 | 29 | 0.017835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1086-5_3_1_line_29 | NAYY 4x150 SE | 26 | 27 | 0.12892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1086-5_3_1_line_30 | NAYY 4x150 SE | 26 | 28 | 0.13065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1086-5_3_1_line_31 | NAYY 4x150 SE | 27 | 30 | 0.29412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1086-5_3_1_line_32 | NAYY 4x150 SE | 27 | 31 | 0.22809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1086-5_3_1_line_33 | NAYY 4x150 SE | 28 | 29 | 0.010675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1086-5_3_1_line_34 | NAYY 4x150 SE | 30 | 41 | 0.17361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1086-5_3_1_line_35 | NAYY 4x150 SE | 31 | 45 | 0.013687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1086-5_3_1_line_36 | NAYY 4x150 SE | 32 | 34 | 0.015991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1086-5_3_1_line_37 | NAYY 4x150 SE | 33 | 35 | 0.031923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1086-5_3_1_line_38 | NAYY 4x150 SE | 34 | 38 | 0.021285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1086-5_3_1_line_39 | NAYY 4x150 SE | 35 | 48 | 0.018391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1086-5_3_1_line_40 | NAYY 4x150 SE | 36 | 37 | 0.055797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1086-5_3_1_line_41 | NAYY 4x150 SE | 37 | 38 | 0.0016651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1086-5_3_1_line_42 | NAYY 4x150 SE | 39 | 40 | 0.037848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1086-5_3_1_line_43 | NAYY 4x150 SE | 40 | 41 | 0.068732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1086-5_3_1_line_44 | NAYY 4x150 SE | 42 | 43 | 0.020579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1086-5_3_1_line_45 | NAYY 4x150 SE | 42 | 44 | 0.013481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1086-5_3_1_line_46 | NAYY 4x150 SE | 45 | 46 | 0.044281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1086-5_3_1_line_47 | NAYY 4x150 SE | 47 | 48 | 0.010058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1086-5_3_1_line_48 | NAYY 4x150 SE | 47 | 49 | 0.020027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1086-5_3_1_trafo_63 | 0.25 MVA 20/0.4 kV | 50 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2647545.8358 | 1220263.4137 | 2647554.8203 | 1220287.6131
1 | 2647554.8203 | 1220287.6131 | 2647556.0234 | 1220290.8537
2 | 2647587.1444 | 1220133.9043 | 2647559.4804 | 1220156.7529 | 2647545.4967 | 1220170.0827 | 2647537.379 | 1220184.2488 | 2647534.0725 | 1220196.4075 | 2647532.2904 | 1220213.4147 | 2647533.6964 | 1220227.3788 | 2647537.6367 | 1220241.3298 | 2647545.8358 | 1220263.4137
3 | 2647556.0234 | 1220290.8537 | 2647556.1474 | 1220291.1875
4 | 2647561.9017 | 1220341.9509 | 2647561.9017 | 1220341.9509 | 2647565.0905 | 1220328.3681 | 2647565.2212 | 1220319.6083 | 2647562.5635 | 1220308.4692 | 2647556.1474 | 1220291.1875
5 | 2647346.9243 | 1220591.546 | 2647335.9573 | 1220611.1486 | 2647335.6784 | 1220611.7225
6 | 2647346.9243 | 1220591.546 | 2647364.3499 | 1220590.7506 | 2647400.5973 | 1220588.1928 | 2647443.3446 | 1220585.8982 | 2647457.6192 | 1220582.5653 | 2647494.3382 | 1220571.2954 | 2647525.3064 | 1220560.5168
7 | 2647346.9243 | 1220591.546 | 2647352.737 | 1220583.7653
8 | 2647574.5003 | 1220545.3408 | 2647569.4522 | 1220548.9142 | 2647561.6487 | 1220551.3423 | 2647553.1048 | 1220551.4742 | 2647543.927 | 1220554.0358 | 2647525.3064 | 1220560.5168
9 | 2647603.1458 | 1220528.468 | 2647596.6473 | 1220532.299 | 2647581.2711 | 1220540.5479 | 2647574.5003 | 1220545.3408
10 | 2647536.4099 | 1220394.1235 | 2647561.9017 | 1220341.9509
11 | 2647610.091 | 1220524.7462 | 2647604.3692 | 1220527.7468 | 2647603.1458 | 1220528.468
12 | 2647610.091 | 1220524.7462 | 2647613.5942 | 1220519.2931 | 2647617.3167 | 1220512.0296 | 2647622.6516 | 1220506.1798 | 2647624.874 | 1220505.133
13 | 2647536.4099 | 1220394.1235 | 2647530.6098 | 1220405.9845 | 2647523.379 | 1220417.4337 | 2647509.8909 | 1220433.4026 | 2647395.8486 | 1220530.8981 | 2647381.6098 | 1220544.9823 | 2647373.1246 | 1220556.384
14 | 2647352.737 | 1220583.7653 | 2647357.5835 | 1220577.2665 | 2647373.1246 | 1220556.384
15 | 2647743.668 | 1220016.3702 | 2647747.0051 | 1220020.0804 | 2647747.2 | 1220020.4062
16 | 2647738.6047 | 1220010.7408 | 2647743.668 | 1220016.3702
17 | 2647738.6047 | 1220010.7408 | 2647725.4627 | 1220016.4613 | 2647720.7831 | 1220016.2237 | 2647719.7703 | 1220015.6576
18 | 2647711.1232 | 1220006.8629 | 2647716.7267 | 1220013.9565 | 2647719.7703 | 1220015.6576
19 | 2647748.4674 | 1219990.9968 | 2647758.9941 | 1219984.9775 | 2647808.5967 | 1219950.6321 | 2647825.1824 | 1219941.2817
20 | 2647748.4674 | 1219990.9968 | 2647732.7027 | 1219997.6946
21 | 2647825.1824 | 1219941.2817 | 2647817.7509 | 1219954.9192 | 2647815.8524 | 1219963.6203 | 2647815.1543 | 1219974.9772 | 2647815.9091 | 1219982.0875
22 | 2647714.1294 | 1220005.5857 | 2647732.7027 | 1219997.6946
23 | 2647711.1232 | 1220006.8629 | 2647701.1115 | 1220011.1187 | 2647690.5533 | 1220018.2385 | 2647684.2197 | 1220025.5701 | 2647667.5699 | 1220047.7734
24 | 2647711.1232 | 1220006.8629 | 2647714.1294 | 1220005.5857
25 | 2647659.9462 | 1220057.94 | 2647667.5699 | 1220047.7734
26 | 2647659.9462 | 1220057.94 | 2647653.2773 | 1220066.8306
27 | 2647443.9507 | 1219980.081 | 2647449.2051 | 1219984.381 | 2647456.1002 | 1219987.4822 | 2647583.5761 | 1220023.031 | 2647595.5479 | 1220027.9518 | 2647601.0686 | 1220030.2194 | 2647617.6839 | 1220039.8913 | 2647643.3939 | 1220049.8917 | 2647659.9462 | 1220057.94
28 | 2647815.9091 | 1219982.0875 | 2647818.1212 | 1219985.3517 | 2647823.4352 | 1219988.7964 | 2647830.94 | 1219989.7004
29 | 2647945.0265 | 1219876.583 | 2647941.4307 | 1219880.2674 | 2647938.8924 | 1219883.5935 | 2647930.3257 | 1219890.2064 | 2647913.7971 | 1219900.9022 | 2647912.3673 | 1219906.9833 | 2647913.5496 | 1219911.8624 | 2647918.0339 | 1219917.5241 | 2647940.4271 | 1219935.2037 | 2647956.1851 | 1219949.5391 | 2647969.4946 | 1219965.4669
30 | 2647969.4946 | 1219965.4669 | 2647963.8507 | 1219964.3542 | 2647956.3178 | 1219965.1052 | 2647868.4605 | 1219983.0654 | 2647850.6596 | 1219987.8476 | 2647841.523 | 1219989.0961
31 | 2647945.0265 | 1219876.583 | 2647950.1897 | 1219875.2015 | 2647956.0952 | 1219874.9266 | 2647963.1995 | 1219874.6614 | 2647967.9962 | 1219873.566 | 2647978.8881 | 1219875.0101 | 2647987.9347 | 1219878.5295 | 2648037.919 | 1219906.2822 | 2648074.019 | 1219931.9442 | 2648119.4309 | 1219956.4143 | 2648144.7677 | 1219967.47 | 2648152.1326 | 1219969.6864 | 2648160.2118 | 1219968.9401 | 2648168.2769 | 1219966.1925 | 2648209.527 | 1219947.9149
32 | 2647945.0265 | 1219876.583 | 2647940.3319 | 1219868.7739 | 2647932.5024 | 1219860.1501 | 2647884.49 | 1219832.4142 | 2647871.8115 | 1219823.8183 | 2647859.3229 | 1219811.4327 | 2647849.1853 | 1219795.3972 | 2647837.0384 | 1219765.9486 | 2647829.1507 | 1219738.0796 | 2647822.7178 | 1219720.862 | 2647812.311 | 1219702.8461
33 | 2647830.94 | 1219989.7004 | 2647834.2144 | 1219990.0948 | 2647841.523 | 1219989.0961
34 | 2648209.527 | 1219947.9149 | 2648216.8738 | 1219948.6081 | 2648223.7936 | 1219955.1903 | 2648247.291 | 1219977.8719 | 2648258.985 | 1219987.0499 | 2648321.6896 | 1220028.1272 | 2648351.5532 | 1220044.7928
35 | 2647812.311 | 1219702.8461 | 2647806.2456 | 1219692.346 | 2647805.3994 | 1219691.0345
36 | 2647643.682 | 1220079.6227 | 2647653.2773 | 1220066.8306
37 | 2647443.9507 | 1219980.081 | 2647441.5513 | 1219974.5808 | 2647439.7891 | 1219966.2507 | 2647439.7985 | 1219958.3905 | 2647436.2727 | 1219949.5182
38 | 2647643.682 | 1220079.6227 | 2647637.1992 | 1220088.2654 | 2647630.3873 | 1220096.2305
39 | 2647427.5129 | 1219933.4384 | 2647428.9825 | 1219935.9797 | 2647433.8105 | 1219943.3226 | 2647436.2727 | 1219949.5182
40 | 2647587.1444 | 1220133.9043 | 2647624.7149 | 1220102.8633 | 2647629.3051 | 1220097.496
41 | 2647629.3051 | 1220097.496 | 2647630.3873 | 1220096.2305
42 | 2648412.142 | 1220055.9891 | 2648406.9599 | 1220059.7048 | 2648392.5276 | 1220065.4133 | 2648376.9692 | 1220068.9316
43 | 2648412.142 | 1220055.9891 | 2648394.3078 | 1220054.5656 | 2648389.8675 | 1220051.9613 | 2648385.8354 | 1220043.9349 | 2648382.0693 | 1220040.5244 | 2648370.1981 | 1220041.0506 | 2648357.7833 | 1220045.9195 | 2648352.6206 | 1220045.3884 | 2648351.5532 | 1220044.7928
44 | 2647346.6996 | 1220571.7113 | 2647345.7989 | 1220569.9129 | 2647341.5649 | 1220565.2097 | 2647335.8793 | 1220562.7297 | 2647330.1129 | 1220560.9432
45 | 2647352.737 | 1220583.7653 | 2647346.6996 | 1220571.7113
46 | 2647778.9899 | 1219655.611 | 2647793.7218 | 1219672.9339 | 2647805.3994 | 1219691.0345
47 | 2647423.0821 | 1219924.4937 | 2647423.5636 | 1219926.6087 | 2647427.5129 | 1219933.4384
48 | 2647423.0821 | 1219924.4937 | 2647421.2029 | 1219916.2393 | 2647421.1297 | 1219904.6784

## bus_geodata
| x | y | coords
0 | 2647554.8203 | 1220287.6131
1 | 2647545.8358 | 1220263.4137
2 | 2647556.0234 | 1220290.8537
3 | 2647556.1474 | 1220291.1875
4 | 2647335.6784 | 1220611.7225
5 | 2647346.9243 | 1220591.546
6 | 2647525.3064 | 1220560.5168
7 | 2647574.5003 | 1220545.3408
8 | 2647561.9017 | 1220341.9509
9 | 2647603.1458 | 1220528.468
10 | 2647610.091 | 1220524.7462
11 | 2647624.874 | 1220505.133
12 | 2647536.4099 | 1220394.1235
13 | 2647373.1246 | 1220556.384
14 | 2647743.668 | 1220016.3702
15 | 2647747.2 | 1220020.4062
16 | 2647738.6047 | 1220010.7408
17 | 2647719.7703 | 1220015.6576
18 | 2647748.4674 | 1219990.9968
19 | 2647825.1824 | 1219941.2817
20 | 2647732.7027 | 1219997.6946
21 | 2647711.1232 | 1220006.8629
22 | 2647714.1294 | 1220005.5857
23 | 2647667.5699 | 1220047.7734
24 | 2647659.9462 | 1220057.94
25 | 2647815.9091 | 1219982.0875
26 | 2647969.4946 | 1219965.4669
27 | 2647945.0265 | 1219876.583
28 | 2647841.523 | 1219989.0961
29 | 2647830.94 | 1219989.7004
30 | 2648209.527 | 1219947.9149
31 | 2647812.311 | 1219702.8461
32 | 2647653.2773 | 1220066.8306
33 | 2647443.9507 | 1219980.081
34 | 2647643.682 | 1220079.6227
35 | 2647436.2727 | 1219949.5182
36 | 2647587.1443 | 1220133.9043
37 | 2647629.3051 | 1220097.496
38 | 2647630.3873 | 1220096.2305
39 | 2648376.9692 | 1220068.9316
40 | 2648412.1421 | 1220055.9891
41 | 2648351.5532 | 1220044.7928
42 | 2647346.6996 | 1220571.7113
43 | 2647330.1129 | 1220560.9432
44 | 2647352.737 | 1220583.7653
45 | 2647805.3994 | 1219691.0345
46 | 2647778.9899 | 1219655.611
47 | 2647423.0821 | 1219924.4937
48 | 2647427.5129 | 1219933.4384
49 | 2647421.1297 | 1219904.6784
50 | 2647747.2 | 1220020.4062

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98936 | -0.074905 | 0.00046083 | 0.0001155
1 | 0.98982 | -0.071585 | 0.00050358 | 0.00012621
2 | 0.98929 | -0.075334 | 0.0017871 | 0.0004479
3 | 0.98929 | -0.075372 | 0.0018289 | 0.00045836
4 | 0.98537 | -0.10331 | 0.00029523 | 7.3991e-05
5 | 0.98538 | -0.10324 | 0 | 0
6 | 0.98418 | -0.11184 | 0.0022501 | 0.00056392
7 | 0.984 | -0.11308 | 0.0015472 | 0.00038776
8 | 0.98865 | -0.079955 | 0.0015452 | 0.00038727
9 | 0.98396 | -0.11334 | 0.00033042 | 8.2812e-05
10 | 0.98396 | -0.11338 | 0 | 0
11 | 0.98394 | -0.11349 | 0.00043205 | 0.00010828
12 | 0.98806 | -0.084102 | 0 | 0
13 | 0.98574 | -0.10068 | 0.0010614 | 0.00026602
14 | 0.99967 | -0.0022681 | 0.00042615 | 0.0001068
15 | 1 | 0 | -0.043328 | -0.010688
16 | 0.99922 | -0.0054364 | 0 | 0
17 | 0.99801 | -0.013894 | 0.0014941 | 0.00037447
18 | 0.99634 | -0.025589 | 0 | 0
19 | 0.99425 | -0.040184 | 0 | 0
20 | 0.99673 | -0.022857 | 0.000632 | 0.00015839
21 | 0.99728 | -0.018967 | 0 | 0
22 | 0.99721 | -0.019513 | 0.0001729 | 4.3334e-05
23 | 0.99521 | -0.033519 | 0.0033871 | 0.00084889
24 | 0.99484 | -0.036121 | 0 | 0
25 | 0.99327 | -0.04707 | 0.0010907 | 0.00027335
26 | 0.99039 | -0.067373 | 0 | 0
27 | 0.98813 | -0.083324 | 0 | 0
28 | 0.99268 | -0.051266 | 0.0020152 | 0.00050505
29 | 0.99289 | -0.049735 | 0.0005961 | 0.0001494
30 | 0.98355 | -0.11584 | 0 | 0
31 | 0.9877 | -0.086438 | 0.0001666 | 4.1754e-05
32 | 0.99456 | -0.038088 | 0.0030154 | 0.00075573
33 | 0.99394 | -0.042537 | 0 | 0
34 | 0.99423 | -0.040433 | 0.00032827 | 8.2273e-05
35 | 0.99381 | -0.043421 | 0.0012427 | 0.00031145
36 | 0.99271 | -0.051134 | 0 | 0
37 | 0.99376 | -0.043715 | 0.00048271 | 0.00012098
38 | 0.9938 | -0.043486 | 0.00056981 | 0.00014281
39 | 0.97963 | -0.14377 | 0.0077903 | 0.0019524
40 | 0.98006 | -0.1407 | 0 | 0
41 | 0.98084 | -0.13514 | 0.0029353 | 0.00073565
42 | 0.98543 | -0.10289 | 0.00046174 | 0.00011572
43 | 0.98541 | -0.10301 | 0.00054821 | 0.00013739
44 | 0.98545 | -0.10275 | 0 | 0
45 | 0.98768 | -0.0866 | 0.0010076 | 0.00025254
46 | 0.98767 | -0.086666 | 0.00014437 | 3.6182e-05
47 | 0.99376 | -0.043795 | 0.00033041 | 8.2809e-05
48 | 0.99377 | -0.043699 | 0.00055558 | 0.00013924
49 | 0.99374 | -0.043917 | 0.00060632 | 0.00015196
50 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012582 | -0.0031484 | 0.012588 | 0.0031503 | 5.7673e-06 | 1.8865e-06 | 0.018922 | 0.018922 | 0.018922 | 0.98936 | -0.074905 | 0.98982 | -0.071585 | 7.0082
1 | 0.012121 | 0.0030329 | -0.012121 | -0.0030327 | 7.1678e-07 | 2.313e-07 | 0.018229 | 0.018229 | 0.018229 | 0.98936 | -0.074905 | 0.98929 | -0.075334 | 6.7515
2 | -0.013092 | -0.0032765 | 0.013129 | 0.0032888 | 3.7048e-05 | 1.2273e-05 | 0.019679 | 0.019678 | 0.019679 | 0.98982 | -0.071585 | 0.99271 | -0.051134 | 7.2886
3 | 0.010334 | 0.0025848 | -0.010333 | -0.0025848 | 5.3668e-08 | 1.6069e-08 | 0.015541 | 0.015541 | 0.015541 | 0.98929 | -0.075334 | 0.98929 | -0.075372 | 5.756
4 | 0.0085046 | 0.0021264 | -0.0084993 | -0.002125 | 5.3694e-06 | 1.3902e-06 | 0.01279 | 0.01279 | 0.01279 | 0.98929 | -0.075372 | 0.98865 | -0.079955 | 4.7372
5 | -0.00029523 | -7.3991e-05 | 0.00029523 | 7.3697e-05 | 2.8643e-09 | -2.9315e-07 | 0.00044582 | 0.00044572 | 0.00044582 | 0.98537 | -0.10331 | 0.98538 | -0.10324 | 0.16512
6 | 0.0045656 | 0.0011412 | -0.0045602 | -0.0011414 | 5.4105e-06 | -2.4032e-07 | 0.0068933 | 0.0068942 | 0.0068942 | 0.98538 | -0.10324 | 0.98418 | -0.11184 | 2.5534
7 | -0.0048608 | -0.0012149 | 0.0048611 | 0.0012149 | 3.2611e-07 | 1.8183e-09 | 0.0073391 | 0.007339 | 0.0073391 | 0.98538 | -0.10324 | 0.98545 | -0.10275 | 2.7182
8 | 0.0023101 | 0.00057752 | -0.0023097 | -0.00057803 | 3.9687e-07 | -5.0989e-07 | 0.0034922 | 0.0034925 | 0.0034925 | 0.98418 | -0.11184 | 0.984 | -0.11308 | 1.2935
9 | 0.00076251 | 0.00019027 | -0.00076248 | -0.00019068 | 2.7607e-08 | -4.1222e-07 | 0.0011528 | 0.0011529 | 0.0011529 | 0.984 | -0.11308 | 0.98396 | -0.11334 | 0.42701
10 | 0.006954 | 0.0017377 | -0.0069501 | -0.001737 | 3.9681e-06 | 7.8204e-07 | 0.010465 | 0.010465 | 0.010465 | 0.98865 | -0.079955 | 0.98806 | -0.084102 | 3.8759
11 | 0.00043206 | 0.00010787 | -0.00043206 | -0.00010797 | 2.0986e-09 | -9.9296e-08 | 0.00065324 | 0.00065328 | 0.00065328 | 0.98396 | -0.11334 | 0.98396 | -0.11338 | 0.24195
12 | 0.00043206 | 0.00010797 | -0.00043205 | -0.00010828 | 6.6633e-09 | -3.1519e-07 | 0.00065328 | 0.00065339 | 0.00065339 | 0.98396 | -0.11338 | 0.98394 | -0.11349 | 0.242
13 | 0.0069501 | 0.001737 | -0.0069342 | -0.0017338 | 1.5851e-05 | 3.133e-06 | 0.010465 | 0.010466 | 0.010466 | 0.98806 | -0.084102 | 0.98574 | -0.10068 | 3.8763
14 | 0.0058728 | 0.0014678 | -0.0058711 | -0.0014676 | 1.6736e-06 | 2.0866e-07 | 0.0088638 | 0.0088639 | 0.0088639 | 0.98574 | -0.10068 | 0.98545 | -0.10275 | 3.2829
15 | -0.042515 | -0.010683 | 0.042528 | 0.010688 | 1.3423e-05 | 5.0923e-06 | 0.063293 | 0.063293 | 0.063293 | 0.99967 | -0.0022681 | 1 | 0 | 23.4417
16 | 0.042088 | 0.010576 | -0.04207 | -0.010569 | 1.8549e-05 | 7.035e-06 | 0.062658 | 0.062658 | 0.062658 | 0.99967 | -0.0022681 | 0.99922 | -0.0054364 | 23.2068
17 | 0.04207 | 0.010569 | -0.04202 | -0.01055 | 4.9436e-05 | 1.875e-05 | 0.062658 | 0.062658 | 0.062658 | 0.99922 | -0.0054364 | 0.99801 | -0.013894 | 23.2068
18 | 0.040526 | 0.010176 | -0.040498 | -0.010165 | 2.8545e-05 | 1.0815e-05 | 0.060431 | 0.060431 | 0.060431 | 0.99801 | -0.013894 | 0.99728 | -0.018967 | 22.3818
19 | 0.015943 | 0.0040059 | -0.015911 | -0.0039946 | 3.2318e-05 | 1.1243e-05 | 0.023815 | 0.023815 | 0.023815 | 0.99634 | -0.025589 | 0.99425 | -0.040184 | 8.8205
20 | -0.015943 | -0.0040059 | 0.01595 | 0.004008 | 6.0618e-06 | 2.1083e-06 | 0.023815 | 0.023815 | 0.023815 | 0.99634 | -0.025589 | 0.99673 | -0.022857 | 8.8203
21 | 0.015911 | 0.0039946 | -0.015896 | -0.0039893 | 1.5206e-05 | 5.2919e-06 | 0.023815 | 0.023816 | 0.023816 | 0.99425 | -0.040184 | 0.99327 | -0.04707 | 8.8206
22 | -0.016582 | -0.0041664 | 0.016589 | 0.0041691 | 7.7188e-06 | 2.7056e-06 | 0.024758 | 0.024758 | 0.024758 | 0.99673 | -0.022857 | 0.99721 | -0.019513 | 9.1698
23 | 0.023734 | 0.0059521 | -0.023686 | -0.0059345 | 4.7782e-05 | 1.7583e-05 | 0.035414 | 0.035415 | 0.035415 | 0.99728 | -0.018967 | 0.99521 | -0.033519 | 13.1166
24 | 0.016763 | 0.0042128 | -0.016762 | -0.0042124 | 1.2755e-06 | 4.4797e-07 | 0.025016 | 0.025016 | 0.025016 | 0.99728 | -0.018967 | 0.99721 | -0.019513 | 9.2653
25 | 0.020299 | 0.0050856 | -0.020292 | -0.005083 | 7.3042e-06 | 2.6443e-06 | 0.03035 | 0.03035 | 0.03035 | 0.99521 | -0.033519 | 0.99484 | -0.036121 | 11.2409
26 | 0.017554 | 0.0044005 | -0.017549 | -0.0043988 | 4.7811e-06 | 1.6946e-06 | 0.026257 | 0.026257 | 0.026257 | 0.99484 | -0.036121 | 0.99456 | -0.038088 | 9.7247
27 | 0.0027378 | 0.00068251 | -0.0027354 | -0.00068457 | 2.4144e-06 | -2.0657e-06 | 0.0040938 | 0.0040948 | 0.0040948 | 0.99484 | -0.036121 | 0.99394 | -0.042537 | 1.5166
28 | 0.014805 | 0.003716 | -0.0148 | -0.0037141 | 5.4758e-06 | 1.8753e-06 | 0.022182 | 0.022182 | 0.022182 | 0.99327 | -0.04707 | 0.99289 | -0.049735 | 8.2155
29 | 0.012158 | 0.0030498 | -0.012131 | -0.0030412 | 2.6849e-05 | 8.6711e-06 | 0.018268 | 0.018269 | 0.018269 | 0.99039 | -0.067373 | 0.98813 | -0.083324 | 6.7662
30 | -0.012158 | -0.0030498 | 0.012186 | 0.0030586 | 2.7207e-05 | 8.779e-06 | 0.018268 | 0.018268 | 0.018268 | 0.99039 | -0.067373 | 0.99268 | -0.051266 | 6.766
31 | 0.010812 | 0.0027141 | -0.010764 | -0.0026992 | 4.8667e-05 | 1.4968e-05 | 0.016284 | 0.016285 | 0.016285 | 0.98813 | -0.083324 | 0.98355 | -0.11584 | 6.0314
32 | 0.0013192 | 0.00032704 | -0.0013186 | -0.00032974 | 5.6127e-07 | -2.7046e-06 | 0.0019853 | 0.0019863 | 0.0019863 | 0.98813 | -0.083324 | 0.9877 | -0.086438 | 0.73568
33 | -0.014201 | -0.0035637 | 0.014204 | 0.0035647 | 3.0187e-06 | 1.023e-06 | 0.021288 | 0.021288 | 0.021288 | 0.99268 | -0.051266 | 0.99289 | -0.049735 | 7.8846
34 | 0.010764 | 0.0026992 | -0.010735 | -0.0026903 | 2.8732e-05 | 8.8533e-06 | 0.016285 | 0.016286 | 0.016286 | 0.98355 | -0.11584 | 0.98084 | -0.13514 | 6.0317
35 | 0.001152 | 0.00028799 | -0.001152 | -0.00028816 | 2.572e-08 | -1.6528e-07 | 0.0017353 | 0.0017354 | 0.0017354 | 0.9877 | -0.086438 | 0.98768 | -0.0866 | 0.64274
36 | 0.014534 | 0.0036431 | -0.014529 | -0.0036415 | 4.7183e-06 | 1.6073e-06 | 0.021745 | 0.021745 | 0.021745 | 0.99456 | -0.038088 | 0.99423 | -0.040433 | 8.0538
37 | 0.0027354 | 0.00068457 | -0.0027351 | -0.00068486 | 3.3402e-07 | -2.8522e-07 | 0.0040948 | 0.004095 | 0.004095 | 0.99394 | -0.042537 | 0.99381 | -0.043421 | 1.5167
38 | 0.014201 | 0.0035592 | -0.014195 | -0.0035572 | 5.9998e-06 | 2.0317e-06 | 0.021254 | 0.021254 | 0.021254 | 0.99423 | -0.040433 | 0.9938 | -0.043486 | 7.8719
39 | 0.0014924 | 0.00037341 | -0.0014923 | -0.00037363 | 5.729e-08 | -2.1625e-07 | 0.0022343 | 0.0022344 | 0.0022344 | 0.99381 | -0.043421 | 0.99377 | -0.043699 | 0.82755
40 | -0.013129 | -0.0032888 | 0.013142 | 0.0032932 | 1.3483e-05 | 4.4635e-06 | 0.019678 | 0.019678 | 0.019678 | 0.99271 | -0.051134 | 0.99376 | -0.043715 | 7.2883
41 | -0.013625 | -0.0034142 | 0.013625 | 0.0034144 | 4.3244e-07 | 1.4475e-07 | 0.020401 | 0.020401 | 0.020401 | 0.99376 | -0.043715 | 0.9938 | -0.043486 | 7.5559
42 | -0.0077903 | -0.0019524 | 0.0077936 | 0.0019532 | 3.3069e-06 | 7.9515e-07 | 0.011833 | 0.011833 | 0.011833 | 0.97963 | -0.14377 | 0.98006 | -0.1407 | 4.3826
43 | -0.0077936 | -0.0019532 | 0.0077996 | 0.0019547 | 6.0051e-06 | 1.4428e-06 | 0.011833 | 0.011833 | 0.011833 | 0.98006 | -0.1407 | 0.98084 | -0.13514 | 4.3826
44 | 0.00054822 | 0.00013714 | -0.00054821 | -0.00013739 | 8.799e-09 | -2.5879e-07 | 0.00082772 | 0.00082782 | 0.00082782 | 0.98543 | -0.10289 | 0.98541 | -0.10301 | 0.3066
45 | -0.00101 | -0.00025286 | 0.00101 | 0.00025269 | 1.9562e-08 | -1.6423e-07 | 0.001525 | 0.0015249 | 0.001525 | 0.98543 | -0.10289 | 0.98545 | -0.10275 | 0.5648
46 | 0.00014437 | 3.5616e-05 | -0.00014437 | -3.6182e-05 | 1.306e-09 | -5.662e-07 | 0.00021731 | 0.00021751 | 0.00021751 | 0.98768 | -0.0866 | 0.98767 | -0.086666 | 0.080558
47 | -0.00093674 | -0.00023451 | 0.00093676 | 0.00023439 | 1.2346e-08 | -1.2557e-07 | 0.0014026 | 0.0014025 | 0.0014026 | 0.99376 | -0.043795 | 0.99377 | -0.043699 | 0.51946
48 | 0.00060633 | 0.0001517 | -0.00060632 | -0.00015196 | 1.03e-08 | -2.555e-07 | 0.00090781 | 0.0009079 | 0.0009079 | 0.99376 | -0.043795 | 0.99374 | -0.043917 | 0.33626

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.044884 | 0.011078

## res_load
| p_mw | q_mvar
0 | 0.00046083 | 0.0001155
1 | 0.00050358 | 0.00012621
2 | 0.0017871 | 0.0004479
3 | 0.0018289 | 0.00045836
4 | 0.00029523 | 7.3991e-05
5 | 0.0022501 | 0.00056392
6 | 0.0015472 | 0.00038776
7 | 0.0015452 | 0.00038727
8 | 0.00033042 | 8.2812e-05
9 | 0.00043205 | 0.00010828
10 | 0.0010614 | 0.00026602
11 | 0.00042615 | 0.0001068
12 | 0.0015556 | 0.00038988
13 | 0.0014941 | 0.00037447
14 | 0.000632 | 0.00015839
15 | 0.0001729 | 4.3334e-05
16 | 0.0033871 | 0.00084889
17 | 0.0010907 | 0.00027335
18 | 0.0020152 | 0.00050505
19 | 0.0005961 | 0.0001494
20 | 0.0001666 | 4.1754e-05
21 | 0.0030154 | 0.00075573
22 | 0.00032827 | 8.2273e-05
23 | 0.0012427 | 0.00031145
24 | 0.00048271 | 0.00012098
25 | 0.00056981 | 0.00014281
26 | 0.0077903 | 0.0019524
27 | 0.0029353 | 0.00073565
28 | 0.00046174 | 0.00011572
29 | 0.00054821 | 0.00013739
30 | 0.0010076 | 0.00025254
31 | 0.00014437 | 3.6182e-05
32 | 0.00033041 | 8.2809e-05
33 | 0.00055558 | 0.00013924
34 | 0.00060632 | 0.00015196

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1