## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1086-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1086-8_0_3_node_42 | 0.4 | n |  | TRUE
2 | bus_LV_1086-8_0_3_node_44 | 0.4 | n |  | TRUE
3 | bus_LV_1086-8_0_3_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_1086-8_0_3_node_1 | 0.4 | n |  | TRUE
5 | bus_LV_1086-8_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1086-8_0_3_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_1086-8_0_3_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_1086-8_0_3_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_1086-8_0_3_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_1086-8_0_3_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_1086-8_0_3_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_1086-8_0_3_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_1086-8_0_3_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_1086-8_0_3_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_1086-8_0_3_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1086-8_0_3_node_4 | 0.4 | n |  | TRUE
17 | bus_LV_1086-8_0_3_node_5 | 0.4 | n |  | TRUE
18 | bus_LV_1086-8_0_3_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_1086-8_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_1086-8_0_3_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_1086-8_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1086-8_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1086-8_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1086-8_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1086-8_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1086-8_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1086-8_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1086-8_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1086-8_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1086-8_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1086-8_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1086-8_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1086-8_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1086-8_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1086-8_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1086-8_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1086-8_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1086-8_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1086-8_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1086-8_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1086-8_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1086-8_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1086-8_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1086-8_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1086-8_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1086-8_0_3_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_1086-8_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_1086-8_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_1086-8_0_3_node_56 | 0.4 | n |  | TRUE
50 | bus_MV_128_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1086-8_0_3_load_0 | 0 | 0.0025377 | 0.000636 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1086-8_0_3_load_44 | 2 | 0.0026706 | 0.00066931 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1086-8_0_3_load_40 | 3 | 0.0015095 | 0.00037833 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1086-8_0_3_load_3 | 5 | 0.0010537 | 0.00026409 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1086-8_0_3_load_29 | 6 | 0.0049604 | 0.0012432 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1086-8_0_3_load_52 | 8 | 0.0016443 | 0.0004121 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1086-8_0_3_load_47 | 9 | 0.0014003 | 0.00035094 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1086-8_0_3_load_48 | 10 | 0.0010772 | 0.00026996 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1086-8_0_3_load_49 | 11 | 0.0013672 | 0.00034266 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1086-8_0_3_load_50 | 12 | 0.0023228 | 0.00058215 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1086-8_0_3_load_51 | 13 | 0.001381 | 0.00034612 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1086-8_0_3_load_54 | 14 | 0.0018471 | 0.00046293 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1086-8_0_3_load_28 | 15 | 0.004452 | 0.0011158 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1086-8_0_3_load_4 | 16 | 0.001133 | 0.00028395 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1086-8_0_3_load_5 | 17 | 0.0027169 | 0.00068092 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1086-8_0_3_load_6 | 18 | 0.0037601 | 0.00094237 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1086-8_0_3_load_8 | 19 | 0.0039002 | 0.00097747 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1086-8_0_3_load_16 | 21 | 0.0070819 | 0.0017749 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1086-8_0_3_load_13 | 22 | 0.00098929 | 0.00024794 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1086-8_0_3_load_14 | 23 | 0.00098922 | 0.00024792 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1086-8_0_3_load_17 | 25 | 0.0020008 | 0.00050145 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1086-8_0_3_load_18 | 26 | 0.0012978 | 0.00032527 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1086-8_0_3_load_20 | 27 | 0.0035517 | 0.00089013 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1086-8_0_3_load_30 | 28 | 0.001299 | 0.00032557 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1086-8_0_3_load_19 | 29 | 0.0016013 | 0.00040133 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1086-8_0_3_load_21 | 30 | 0.0028577 | 0.0007162 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1086-8_0_3_load_24 | 32 | 0.0050549 | 0.0012669 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1086-8_0_3_load_27 | 33 | 0.0042596 | 0.0010675 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1086-8_0_3_load_23 | 34 | 0.0025545 | 0.00064021 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1086-8_0_3_load_25 | 35 | 0.0059876 | 0.0015006 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1086-8_0_3_load_31 | 36 | 0.0019959 | 0.00050023 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1086-8_0_3_load_32 | 37 | 0.0012489 | 0.000313 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1086-8_0_3_load_33 | 38 | 0.0032564 | 0.00081614 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1086-8_0_3_load_34 | 39 | 0.0018431 | 0.00046194 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1086-8_0_3_load_35 | 40 | 0.0033765 | 0.00084623 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1086-8_0_3_load_36 | 41 | 0.00074225 | 0.00018603 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1086-8_0_3_load_37 | 42 | 0.0042608 | 0.0010679 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1086-8_0_3_load_38 | 43 | 0.0028905 | 0.00072443 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1086-8_0_3_load_39 | 44 | 0.0044912 | 0.0011256 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1086-8_0_3_load_43 | 45 | 0.0029958 | 0.00075081 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1086-8_0_3_load_45 | 46 | 0.0017062 | 0.00042762 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1086-8_0_3_load_53 | 47 | 0.0014362 | 0.00035994 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1086-8_0_3_load_55 | 48 | 0.0018471 | 0.00046294 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1086-8_0_3_load_56 | 49 | 0.0014083 | 0.00035296 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1086-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.090619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1086-8_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0079891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1086-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1086-8_0_3_line_3 | NAYY 4x150 SE | 2 | 8 | 0.023932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1086-8_0_3_line_4 | NAYY 4x150 SE | 3 | 7 | 0.050047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1086-8_0_3_line_5 | NAYY 4x150 SE | 3 | 4 | 0.14974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1086-8_0_3_line_6 | NAYY 4x150 SE | 4 | 5 | 0.028422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1086-8_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.04688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1086-8_0_3_line_8 | NAYY 4x150 SE | 6 | 15 | 0.021878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1086-8_0_3_line_9 | NAYY 4x150 SE | 7 | 45 | 0.019701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1086-8_0_3_line_10 | NAYY 4x150 SE | 7 | 40 | 0.012005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1086-8_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0007247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1086-8_0_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.0025729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1086-8_0_3_line_13 | NAYY 4x150 SE | 9 | 11 | 0.019305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1086-8_0_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.020265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1086-8_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.00096618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1086-8_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.020292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1086-8_0_3_line_17 | NAYY 4x150 SE | 14 | 47 | 0.0016986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1086-8_0_3_line_18 | NAYY 4x150 SE | 15 | 33 | 0.032862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1086-8_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.017316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1086-8_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.0034711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1086-8_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.021052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1086-8_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.019884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1086-8_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.024801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1086-8_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0045535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1086-8_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.0099207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1086-8_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0068017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1086-8_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.0087559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1086-8_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.028928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1086-8_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0080987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1086-8_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0091146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1086-8_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.014761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1086-8_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.012008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1086-8_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0033649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1086-8_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.065458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1086-8_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.025556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1086-8_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.0036409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1086-8_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.009017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1086-8_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.015939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1086-8_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0097209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1086-8_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.0091364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1086-8_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.025786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1086-8_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.012978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1086-8_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.012799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1086-8_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0063055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1086-8_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.02127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1086-8_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0037354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1086-8_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.019878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1086-8_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.0032015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1086-8_0_3_trafo_43 | 0.25 MVA 20/0.4 kV | 50 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2646512.884 | 1220031.8083 | 2646584.3052 | 1219976.0341
1 | 2646512.884 | 1220031.8083 | 2646508.0069 | 1220025.4807
2 | 2646512.884 | 1220031.8083 | 2646500.6808 | 1220039.9728
3 | 2646493.3972 | 1220006.5258 | 2646508.0069 | 1220025.4807
4 | 2646456.0362 | 1220058.3588 | 2646458.2236 | 1220060.0213 | 2646484.9604 | 1220050.4906 | 2646500.6808 | 1220039.9728
5 | 2646585.408 | 1220163.4429 | 2646500.6808 | 1220039.9728
6 | 2646585.408 | 1220163.4429 | 2646565.297 | 1220183.526
7 | 2646526.7377 | 1220208.658 | 2646544.4097 | 1220201.8236 | 2646550.8206 | 1220197.9824 | 2646565.297 | 1220183.526
8 | 2646526.7377 | 1220208.658 | 2646524.6001 | 1220209.4847 | 2646510.9499 | 1220212.4911 | 2646505.69 | 1220214.4388
9 | 2646456.0362 | 1220058.3588 | 2646437.3355 | 1220064.5574
10 | 2646456.0362 | 1220058.3588 | 2646457.7825 | 1220057.2384 | 2646457.4847 | 1220055.5351 | 2646452.8611 | 1220048.7613
11 | 2646492.9547 | 1220005.9518 | 2646493.3972 | 1220006.5258
12 | 2646479.013 | 1219987.8637 | 2646480.5837 | 1219989.9015
13 | 2646479.013 | 1219987.8637 | 2646467.2275 | 1219972.5731
14 | 2646480.5837 | 1219989.9015 | 2646492.9547 | 1220005.9518
15 | 2646466.6377 | 1219971.8078 | 2646467.2275 | 1219972.5731
16 | 2646466.6377 | 1219971.8078 | 2646454.25 | 1219955.7359
17 | 2646453.213 | 1219954.3905 | 2646454.25 | 1219955.7359
18 | 2646476.7619 | 1220229.8195 | 2646497.9532 | 1220217.3037 | 2646505.69 | 1220214.4388
19 | 2646407.5513 | 1220337.4927 | 2646413.2924 | 1220353.8298
20 | 2646407.5513 | 1220337.4927 | 2646406.4005 | 1220334.2179
21 | 2646397.9177 | 1220315.1718 | 2646401.0071 | 1220319.0764 | 2646405.0837 | 1220330.4705 | 2646406.4005 | 1220334.2179
22 | 2646383.4024 | 1220301.8623 | 2646392.6073 | 1220308.4602 | 2646397.9177 | 1220315.1718
23 | 2646383.4024 | 1220301.8623 | 2646393.8612 | 1220289.6919 | 2646400.093 | 1220283.5435
24 | 2646400.093 | 1220283.5435 | 2646403.3344 | 1220280.3454
25 | 2646410.9621 | 1220274.0382 | 2646406.003 | 1220277.7125 | 2646403.3344 | 1220280.3454
26 | 2646416.4272 | 1220269.989 | 2646410.9621 | 1220274.0382
27 | 2646416.4272 | 1220269.989 | 2646423.4596 | 1220264.7724
28 | 2646416.4272 | 1220269.989 | 2646399.8981 | 1220246.2478
29 | 2646423.4596 | 1220264.7724 | 2646426.409 | 1220262.5845 | 2646430.0397 | 1220260.0526
30 | 2646394.6902 | 1220238.7676 | 2646399.8981 | 1220246.2478
31 | 2646430.0397 | 1220260.0526 | 2646442.1477 | 1220251.609
32 | 2646451.9972 | 1220244.7404 | 2646442.1477 | 1220251.609
33 | 2646454.7572 | 1220242.8157 | 2646451.9972 | 1220244.7404
34 | 2646454.7572 | 1220242.8157 | 2646480.4158 | 1220282.8732 | 2646464.9244 | 1220291.815
35 | 2646454.7572 | 1220242.8157 | 2646476.7619 | 1220229.8195
36 | 2646461.7711 | 1220293.6351 | 2646464.9244 | 1220291.815
37 | 2646453.9616 | 1220298.1428 | 2646461.7711 | 1220293.6351
38 | 2646432.1303 | 1220019.9404 | 2646422.6969 | 1220007.0931
39 | 2646432.1303 | 1220019.9404 | 2646437.8837 | 1220027.7758
40 | 2646422.6969 | 1220007.0931 | 2646417.2894 | 1219999.7288
41 | 2646452.8611 | 1220048.7613 | 2646447.1622 | 1220040.4122 | 2646437.8837 | 1220027.7758
42 | 2646417.2894 | 1219999.7288 | 2646409.6081 | 1219989.2677
43 | 2646402.033 | 1219978.9513 | 2646409.6081 | 1219989.2677
44 | 2646402.033 | 1219978.9513 | 2646398.3011 | 1219973.8688
45 | 2646398.3011 | 1219973.8688 | 2646387.1517 | 1219958.6845 | 2646385.4413 | 1219956.9552
46 | 2646382.8147 | 1219954.2993 | 2646385.4413 | 1219956.9552
47 | 2646453.213 | 1219954.3905 | 2646447.1656 | 1219946.5445 | 2646441.2668 | 1219938.5046
48 | 2646439.3729 | 1219935.9233 | 2646441.2668 | 1219938.5046

## bus_geodata
| x | y | coords
0 | 2646584.3052 | 1219976.0341
1 | 2646512.884 | 1220031.8083
2 | 2646508.0069 | 1220025.4807
3 | 2646500.6808 | 1220039.9728
4 | 2646585.408 | 1220163.4429
5 | 2646565.297 | 1220183.526
6 | 2646526.7377 | 1220208.658
7 | 2646456.0362 | 1220058.3588
8 | 2646493.3972 | 1220006.5258
9 | 2646479.013 | 1219987.8637
10 | 2646480.5837 | 1219989.9015
11 | 2646467.2275 | 1219972.5731
12 | 2646492.9547 | 1220005.9518
13 | 2646466.6377 | 1219971.8078
14 | 2646454.25 | 1219955.7359
15 | 2646505.69 | 1220214.4388
16 | 2646407.5513 | 1220337.4927
17 | 2646413.2924 | 1220353.8298
18 | 2646406.4005 | 1220334.2179
19 | 2646397.9177 | 1220315.1718
20 | 2646383.4024 | 1220301.8623
21 | 2646400.093 | 1220283.5435
22 | 2646410.9621 | 1220274.0382
23 | 2646403.3344 | 1220280.3454
24 | 2646416.4272 | 1220269.989
25 | 2646423.4596 | 1220264.7724
26 | 2646399.8981 | 1220246.2478
27 | 2646430.0397 | 1220260.0526
28 | 2646394.6902 | 1220238.7676
29 | 2646442.1477 | 1220251.609
30 | 2646451.9972 | 1220244.7404
31 | 2646454.7572 | 1220242.8157
32 | 2646464.9244 | 1220291.815
33 | 2646476.7619 | 1220229.8195
34 | 2646461.7711 | 1220293.6351
35 | 2646453.9616 | 1220298.1428
36 | 2646432.1303 | 1220019.9404
37 | 2646422.6969 | 1220007.0931
38 | 2646437.8837 | 1220027.7758
39 | 2646417.2894 | 1219999.7288
40 | 2646452.8611 | 1220048.7613
41 | 2646409.6081 | 1219989.2677
42 | 2646402.033 | 1219978.9513
43 | 2646398.3011 | 1219973.8688
44 | 2646385.4413 | 1219956.9552
45 | 2646437.3355 | 1220064.5574
46 | 2646382.8147 | 1219954.2993
47 | 2646453.213 | 1219954.3905
48 | 2646441.2668 | 1219938.5046
49 | 2646439.3729 | 1219935.9233
50 | 2646456.0362 | 1220058.3588

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99461 | -0.037364 | 0.0025377 | 0.000636
1 | 0.99494 | -0.035041 | 0 | 0
2 | 0.99473 | -0.036525 | 0.0026706 | 0.00066931
3 | 0.99538 | -0.03194 | 0.0015095 | 0.00037833
4 | 0.98865 | -0.078681 | 0 | 0
5 | 0.9861 | -0.096587 | 0.0010537 | 0.00026409
6 | 0.98195 | -0.12581 | 0.0049604 | 0.0012432
7 | 0.99843 | -0.010819 | 0 | 0
8 | 0.99419 | -0.040326 | 0.0016443 | 0.0004121
9 | 0.99379 | -0.043117 | 0.0014003 | 0.00035094
10 | 0.99383 | -0.042839 | 0.0010772 | 0.00026996
11 | 0.99353 | -0.04493 | 0.0013672 | 0.00034266
12 | 0.99417 | -0.040429 | 0.0023228 | 0.00058215
13 | 0.99352 | -0.045008 | 0.001381 | 0.00034612
14 | 0.99333 | -0.04635 | 0.0018471 | 0.00046293
15 | 0.98018 | -0.13841 | 0.004452 | 0.0011158
16 | 0.97244 | -0.19378 | 0.001133 | 0.00028395
17 | 0.97237 | -0.19428 | 0.0027169 | 0.00068092
18 | 0.97246 | -0.19364 | 0.0037601 | 0.00094237
19 | 0.97269 | -0.19195 | 0.0039002 | 0.00097747
20 | 0.97303 | -0.18953 | 0 | 0
21 | 0.97345 | -0.18652 | 0.0070819 | 0.0017749
22 | 0.97386 | -0.18359 | 0.00098929 | 0.00024794
23 | 0.97357 | -0.18563 | 0.00098922 | 0.00024792
24 | 0.97406 | -0.18211 | 0 | 0
25 | 0.97436 | -0.17998 | 0.0020008 | 0.00050145
26 | 0.97395 | -0.18291 | 0.0012978 | 0.00032527
27 | 0.97466 | -0.17784 | 0.0035517 | 0.00089013
28 | 0.97393 | -0.18303 | 0.001299 | 0.00032557
29 | 0.97528 | -0.17338 | 0.0016013 | 0.00040133
30 | 0.97581 | -0.16956 | 0.0028577 | 0.0007162
31 | 0.97597 | -0.16839 | 0 | 0
32 | 0.97467 | -0.17773 | 0.0050549 | 0.0012669
33 | 0.97772 | -0.15588 | 0.0042596 | 0.0010675
34 | 0.97463 | -0.17806 | 0.0025545 | 0.00064021
35 | 0.97455 | -0.17863 | 0.0059876 | 0.0015006
36 | 0.9969 | -0.021602 | 0.0019959 | 0.00050023
37 | 0.9965 | -0.024354 | 0.0012489 | 0.000313
38 | 0.99716 | -0.019729 | 0.0032564 | 0.00081614
39 | 0.9963 | -0.025818 | 0.0018431 | 0.00046194
40 | 0.99799 | -0.013925 | 0.0033765 | 0.00084623
41 | 0.99603 | -0.027658 | 0.00074225 | 0.00018603
42 | 0.99579 | -0.029378 | 0.0042608 | 0.0010679
43 | 0.99571 | -0.029955 | 0.0028905 | 0.00072443
44 | 0.99552 | -0.031282 | 0.0044912 | 0.0011256
45 | 1 | 0 | -0.11228 | -0.028155
46 | 0.99551 | -0.031346 | 0.0017062 | 0.00042762
47 | 0.99332 | -0.046431 | 0.0014362 | 0.00035994
48 | 0.99323 | -0.047086 | 0.0018471 | 0.00046294
49 | 0.99322 | -0.047132 | 0.0014083 | 0.00035296
50 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0025377 | -0.000636 | 0.0025385 | 0.00063513 | 8.1495e-07 | -8.6302e-07 | 0.0037965 | 0.0037961 | 0.0037965 | 0.99461 | -0.037364 | 0.99494 | -0.035041 | 1.4061
1 | 0.018423 | 0.0046184 | -0.018419 | -0.004617 | 3.7847e-06 | 1.3519e-06 | 0.027553 | 0.027553 | 0.027553 | 0.99494 | -0.035041 | 0.99473 | -0.036525 | 10.2049
2 | -0.020961 | -0.0052535 | 0.02097 | 0.0052568 | 9.0042e-06 | 3.2724e-06 | 0.031349 | 0.031349 | 0.031349 | 0.99494 | -0.035041 | 0.99538 | -0.03194 | 11.6109
3 | 0.015748 | 0.0039477 | -0.01574 | -0.0039448 | 8.288e-06 | 2.8772e-06 | 0.023558 | 0.023558 | 0.023558 | 0.99473 | -0.036525 | 0.99419 | -0.040326 | 8.7254
4 | -0.085196 | -0.021507 | 0.08545 | 0.021603 | 0.0002535 | 9.6196e-05 | 0.12742 | 0.12742 | 0.12742 | 0.99538 | -0.03194 | 0.99843 | -0.010819 | 23.5957
5 | 0.062717 | 0.015872 | -0.062306 | -0.015718 | 0.00041117 | 0.00015428 | 0.093811 | 0.093812 | 0.093812 | 0.99538 | -0.03194 | 0.98865 | -0.078681 | 17.3727
6 | 0.062306 | 0.015718 | -0.062149 | -0.015658 | 0.00015608 | 5.9668e-05 | 0.093812 | 0.093813 | 0.093813 | 0.98865 | -0.078681 | 0.9861 | -0.096587 | 34.7454
7 | 0.061096 | 0.015394 | -0.060847 | -0.015299 | 0.0002488 | 9.5095e-05 | 0.092223 | 0.092223 | 0.092223 | 0.9861 | -0.096587 | 0.98195 | -0.12581 | 34.1566
8 | 0.055886 | 0.014056 | -0.055789 | -0.014018 | 9.7954e-05 | 3.7398e-05 | 0.084706 | 0.084706 | 0.084706 | 0.98195 | -0.12581 | 0.98018 | -0.13841 | 31.3726
9 | -0.11131 | -0.028091 | 0.11148 | 0.028155 | 0.00016931 | 6.4603e-05 | 0.16597 | 0.16597 | 0.16597 | 0.99843 | -0.010819 | 1 | 0 | 30.7344
10 | 0.025865 | 0.0064876 | -0.025853 | -0.0064835 | 1.1132e-05 | 4.1247e-06 | 0.038549 | 0.038549 | 0.038549 | 0.99843 | -0.010819 | 0.99799 | -0.013925 | 14.2775
11 | 0.014096 | 0.0035327 | -0.014096 | -0.0035327 | 2.0128e-07 | 6.8019e-08 | 0.021097 | 0.021097 | 0.021097 | 0.99419 | -0.040326 | 0.99417 | -0.040429 | 7.8139
12 | -0.010691 | -0.0026792 | 0.010692 | 0.0026793 | 4.1142e-07 | 1.249e-07 | 0.016008 | 0.016008 | 0.016008 | 0.99379 | -0.043117 | 0.99383 | -0.042839 | 5.9289
13 | 0.009291 | 0.0023282 | -0.0092887 | -0.0023276 | 2.3314e-06 | 6.4661e-07 | 0.013911 | 0.013912 | 0.013912 | 0.99379 | -0.043117 | 0.99353 | -0.04493 | 5.1524
14 | -0.011769 | -0.0029493 | 0.011773 | 0.0029505 | 3.9262e-06 | 1.2474e-06 | 0.017621 | 0.017621 | 0.017621 | 0.99383 | -0.042839 | 0.99417 | -0.040429 | 6.5262
15 | 0.0079214 | 0.0019849 | -0.0079214 | -0.0019849 | 8.4858e-08 | 2.0126e-08 | 0.011864 | 0.011864 | 0.011864 | 0.99353 | -0.04493 | 0.99352 | -0.045008 | 4.394
16 | 0.0065403 | 0.0016388 | -0.0065391 | -0.0016386 | 1.215e-06 | 2.0456e-07 | 0.0097954 | 0.0097955 | 0.0097955 | 0.99352 | -0.045008 | 0.99333 | -0.04635 | 3.628
17 | 0.004692 | 0.0011756 | -0.0046919 | -0.0011757 | 5.2361e-08 | -1.8494e-09 | 0.0070285 | 0.0070285 | 0.0070285 | 0.99333 | -0.04635 | 0.99332 | -0.046431 | 2.6032
18 | 0.051337 | 0.012902 | -0.051212 | -0.012855 | 0.00012459 | 4.7505e-05 | 0.077947 | 0.077948 | 0.077948 | 0.98018 | -0.13841 | 0.97772 | -0.15588 | 28.8695
19 | 0.0027171 | 0.00068078 | -0.0027169 | -0.00068092 | 1.8678e-07 | -1.4298e-07 | 0.0041576 | 0.0041577 | 0.0041577 | 0.97244 | -0.19378 | 0.97237 | -0.19428 | 1.5399
20 | -0.0038501 | -0.00096473 | 0.0038501 | 0.00096471 | 7.5175e-08 | -1.4151e-08 | 0.0058912 | 0.0058912 | 0.0058912 | 0.97244 | -0.19378 | 0.97246 | -0.19364 | 2.1819
21 | -0.0076102 | -0.0019071 | 0.007612 | 0.0019075 | 1.7813e-06 | 4.2387e-07 | 0.011645 | 0.011645 | 0.011645 | 0.97246 | -0.19364 | 0.97269 | -0.19195 | 4.3129
22 | -0.011512 | -0.002885 | 0.011516 | 0.0028862 | 3.8482e-06 | 1.2332e-06 | 0.017611 | 0.017611 | 0.017611 | 0.97269 | -0.19195 | 0.97303 | -0.18953 | 6.5226
23 | -0.011516 | -0.0028862 | 0.011521 | 0.0028877 | 4.7998e-06 | 1.5379e-06 | 0.017611 | 0.017611 | 0.017611 | 0.97303 | -0.18953 | 0.97345 | -0.18652 | 6.5226
24 | -0.018603 | -0.0046626 | 0.018605 | 0.0046635 | 2.2976e-06 | 8.2709e-07 | 0.028436 | 0.028436 | 0.028436 | 0.97345 | -0.18652 | 0.97357 | -0.18563 | 10.532
25 | 0.0196 | 0.0049134 | -0.019594 | -0.0049114 | 5.5523e-06 | 2.0121e-06 | 0.029948 | 0.029948 | 0.029948 | 0.97386 | -0.18359 | 0.97357 | -0.18563 | 11.0919
26 | -0.020589 | -0.0051613 | 0.020593 | 0.0051629 | 4.2006e-06 | 1.531e-06 | 0.03146 | 0.03146 | 0.03146 | 0.97386 | -0.18359 | 0.97406 | -0.18211 | 11.6518
27 | -0.02319 | -0.0058134 | 0.023197 | 0.0058159 | 6.8574e-06 | 2.5284e-06 | 0.035427 | 0.035427 | 0.035427 | 0.97406 | -0.18211 | 0.97436 | -0.17998 | 13.1212
28 | 0.0025972 | 0.00065048 | -0.0025969 | -0.00065073 | 2.8414e-07 | -2.5076e-07 | 0.0039674 | 0.0039675 | 0.0039675 | 0.97406 | -0.18211 | 0.97395 | -0.18291 | 1.4695
29 | -0.025198 | -0.0063173 | 0.025206 | 0.0063201 | 7.4839e-06 | 2.7775e-06 | 0.038483 | 0.038483 | 0.038483 | 0.97436 | -0.17998 | 0.97466 | -0.17784 | 14.2529
30 | 0.001299 | 0.00032546 | -0.001299 | -0.00032557 | 2.2403e-08 | -1.0481e-07 | 0.0019847 | 0.0019847 | 0.0019847 | 0.97395 | -0.18291 | 0.97393 | -0.18303 | 0.73508
31 | -0.028757 | -0.0072102 | 0.028775 | 0.0072169 | 1.7756e-05 | 6.645e-06 | 0.043905 | 0.043905 | 0.043905 | 0.97466 | -0.17784 | 0.97528 | -0.17338 | 16.2611
32 | -0.030376 | -0.0076182 | 0.030392 | 0.0076243 | 1.6096e-05 | 6.0408e-06 | 0.046348 | 0.046348 | 0.046348 | 0.97528 | -0.17338 | 0.97581 | -0.16956 | 17.166
33 | -0.03325 | -0.0083405 | 0.033256 | 0.0083425 | 5.3984e-06 | 2.0343e-06 | 0.050706 | 0.050706 | 0.050706 | 0.97581 | -0.16956 | 0.97597 | -0.16839 | 18.7799
34 | 0.013615 | 0.0034138 | -0.013598 | -0.0034079 | 1.7602e-05 | 5.9533e-06 | 0.020759 | 0.02076 | 0.02076 | 0.97597 | -0.16839 | 0.97467 | -0.17773 | 7.6887
35 | -0.046871 | -0.011756 | 0.046952 | 0.011787 | 8.1444e-05 | 3.1005e-05 | 0.071465 | 0.071465 | 0.071465 | 0.97597 | -0.16839 | 0.97772 | -0.15588 | 26.4685
36 | 0.0085429 | 0.002141 | -0.0085425 | -0.0021409 | 3.8646e-07 | 1.0326e-07 | 0.013042 | 0.013042 | 0.013042 | 0.97467 | -0.17773 | 0.97463 | -0.17806 | 4.8305
37 | 0.005988 | 0.0015007 | -0.0059876 | -0.0015006 | 4.7028e-07 | 6.8515e-08 | 0.0091422 | 0.0091423 | 0.0091423 | 0.97463 | -0.17806 | 0.97455 | -0.17863 | 3.386
38 | 0.017201 | 0.0043125 | -0.017195 | -0.0043102 | 6.557e-06 | 2.3142e-06 | 0.025676 | 0.025676 | 0.025676 | 0.9969 | -0.021602 | 0.9965 | -0.024354 | 9.5098
39 | -0.019197 | -0.0048127 | 0.019202 | 0.0048145 | 4.9809e-06 | 1.789e-06 | 0.028656 | 0.028655 | 0.028656 | 0.9969 | -0.021602 | 0.99716 | -0.019729 | 10.6132
40 | 0.015946 | 0.0039972 | -0.015943 | -0.0039961 | 3.2325e-06 | 1.1243e-06 | 0.023811 | 0.023812 | 0.023812 | 0.9965 | -0.024354 | 0.9963 | -0.025818 | 8.8191
41 | -0.022459 | -0.0056307 | 0.022477 | 0.0056373 | 1.8073e-05 | 6.6146e-06 | 0.033515 | 0.033515 | 0.033515 | 0.99716 | -0.019729 | 0.99799 | -0.013925 | 12.4129
42 | 0.0141 | 0.0035341 | -0.014096 | -0.0035329 | 3.5914e-06 | 1.2124e-06 | 0.021059 | 0.021059 | 0.021059 | 0.9963 | -0.025818 | 0.99603 | -0.027658 | 7.7995
43 | 0.013354 | 0.0033469 | -0.013351 | -0.0033458 | 3.1786e-06 | 1.056e-06 | 0.01995 | 0.01995 | 0.01995 | 0.99603 | -0.027658 | 0.99579 | -0.029378 | 7.3889
44 | 0.0090898 | 0.002278 | -0.0090891 | -0.0022778 | 7.2592e-07 | 1.9718e-07 | 0.013583 | 0.013583 | 0.013583 | 0.99579 | -0.029378 | 0.99571 | -0.029955 | 5.0307
45 | 0.0061986 | 0.0015533 | -0.0061974 | -0.0015532 | 1.1389e-06 | 1.6144e-07 | 0.0092633 | 0.0092634 | 0.0092634 | 0.99571 | -0.029955 | 0.99552 | -0.031282 | 3.4309
46 | 0.0017062 | 0.00042757 | -0.0017062 | -0.00042762 | 1.516e-08 | -4.2736e-08 | 0.0025503 | 0.0025503 | 0.0025503 | 0.99552 | -0.031282 | 0.99551 | -0.031346 | 0.94456
47 | 0.0032558 | 0.00081571 | -0.0032555 | -0.00081586 | 2.9504e-07 | -1.4381e-07 | 0.0048771 | 0.0048772 | 0.0048772 | 0.99332 | -0.046431 | 0.99323 | -0.047086 | 1.8064
48 | 0.0014083 | 0.00035292 | -0.0014083 | -0.00035296 | 8.8934e-09 | -3.8014e-08 | 0.0021099 | 0.0021099 | 0.0021099 | 0.99323 | -0.047086 | 0.99322 | -0.047132 | 0.78145

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11528 | 0.028906

## res_load
| p_mw | q_mvar
0 | 0.0025377 | 0.000636
1 | 0.0026706 | 0.00066931
2 | 0.0015095 | 0.00037833
3 | 0.0010537 | 0.00026409
4 | 0.0049604 | 0.0012432
5 | 0.0016443 | 0.0004121
6 | 0.0014003 | 0.00035094
7 | 0.0010772 | 0.00026996
8 | 0.0013672 | 0.00034266
9 | 0.0023228 | 0.00058215
10 | 0.001381 | 0.00034612
11 | 0.0018471 | 0.00046293
12 | 0.004452 | 0.0011158
13 | 0.001133 | 0.00028395
14 | 0.0027169 | 0.00068092
15 | 0.0037601 | 0.00094237
16 | 0.0039002 | 0.00097747
17 | 0.0070819 | 0.0017749
18 | 0.00098929 | 0.00024794
19 | 0.00098922 | 0.00024792
20 | 0.0020008 | 0.00050145
21 | 0.0012978 | 0.00032527
22 | 0.0035517 | 0.00089013
23 | 0.001299 | 0.00032557
24 | 0.0016013 | 0.00040133
25 | 0.0028577 | 0.0007162
26 | 0.0050549 | 0.0012669
27 | 0.0042596 | 0.0010675
28 | 0.0025545 | 0.00064021
29 | 0.0059876 | 0.0015006
30 | 0.0019959 | 0.00050023
31 | 0.0012489 | 0.000313
32 | 0.0032564 | 0.00081614
33 | 0.0018431 | 0.00046194
34 | 0.0033765 | 0.00084623
35 | 0.00074225 | 0.00018603
36 | 0.0042608 | 0.0010679
37 | 0.0028905 | 0.00072443
38 | 0.0044912 | 0.0011256
39 | 0.0029958 | 0.00075081
40 | 0.0017062 | 0.00042762
41 | 0.0014362 | 0.00035994
42 | 0.0018471 | 0.00046294
43 | 0.0014083 | 0.00035296

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1