## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1098-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1098-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1098-14_0_3_node_36 | 0.4 | n |  | TRUE
3 | bus_LV_1098-14_0_3_node_52 | 0.4 | n |  | TRUE
4 | bus_LV_1098-14_0_3_node_48 | 0.4 | n |  | TRUE
5 | bus_LV_1098-14_0_3_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_1098-14_0_3_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_1098-14_0_3_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_1098-14_0_3_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_1098-14_0_3_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_1098-14_0_3_node_2 | 0.4 | n |  | TRUE
11 | bus_LV_1098-14_0_3_node_3 | 0.4 | n |  | TRUE
12 | bus_LV_1098-14_0_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_1098-14_0_3_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_1098-14_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1098-14_0_3_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_1098-14_0_3_node_4 | 0.4 | n |  | TRUE
17 | bus_LV_1098-14_0_3_node_5 | 0.4 | n |  | TRUE
18 | bus_LV_1098-14_0_3_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_1098-14_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1098-14_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_1098-14_0_3_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_1098-14_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_1098-14_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1098-14_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1098-14_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1098-14_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1098-14_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1098-14_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1098-14_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1098-14_0_3_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_1098-14_0_3_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_1098-14_0_3_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_1098-14_0_3_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_1098-14_0_3_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_1098-14_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1098-14_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1098-14_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1098-14_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1098-14_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1098-14_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_1098-14_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1098-14_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1098-14_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_1098-14_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_1098-14_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_1098-14_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_1098-14_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1098-14_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_1098-14_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1098-14_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_1098-14_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_1098-14_0_3_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_1098-14_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_1098-14_0_3_node_53 | 0.4 | n |  | TRUE
55 | bus_MV_2_1_node_139 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1098-14_0_3_load_0 | 0 | 0.0013106 | 0.00032846 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1098-14_0_3_load_1 | 1 | 0.00267 | 0.00066917 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1098-14_0_3_load_36 | 2 | 0.0068444 | 0.0017154 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1098-14_0_3_load_52 | 3 | 0.0094622 | 0.0023715 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1098-14_0_3_load_33 | 5 | 0.0041827 | 0.0010483 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1098-14_0_3_load_44 | 8 | 6.6055e-05 | 1.6555e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1098-14_0_3_load_37 | 9 | 0.0029892 | 0.00074917 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1098-14_0_3_load_2 | 10 | 0.00010031 | 2.514e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1098-14_0_3_load_55 | 13 | 0.00023991 | 6.0126e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1098-14_0_3_load_4 | 16 | 0.0038401 | 0.00096243 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1098-14_0_3_load_5 | 17 | 0.00017195 | 4.3095e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1098-14_0_3_load_6 | 18 | 7.5834e-05 | 1.9006e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1098-14_0_3_load_10 | 19 | 6.9688e-05 | 1.7465e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1098-14_0_3_load_8 | 20 | 0.00011895 | 2.9812e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1098-14_0_3_load_7 | 21 | 0.00053019 | 0.00013288 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1098-14_0_3_load_14 | 23 | 0.00021534 | 5.3969e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1098-14_0_3_load_12 | 24 | 0.00086205 | 0.00021605 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1098-14_0_3_load_13 | 25 | 0.00048358 | 0.0001212 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1098-14_0_3_load_15 | 26 | 0.064111 | 0.016068 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1098-14_0_3_load_20 | 29 | 0.0091326 | 0.0022888 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1098-14_0_3_load_51 | 30 | 0.043818 | 0.010982 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1098-14_0_3_load_56 | 31 | 0.0037752 | 0.00094615 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1098-14_0_3_load_50 | 34 | 0.006313 | 0.0015822 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1098-14_0_3_load_21 | 35 | 0.00067031 | 0.000168 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1098-14_0_3_load_22 | 36 | 0.00022218 | 5.5684e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1098-14_0_3_load_23 | 37 | 0.00022769 | 5.7066e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1098-14_0_3_load_24 | 38 | 0.0007168 | 0.00017965 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1098-14_0_3_load_29 | 39 | 0.00031632 | 7.9276e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1098-14_0_3_load_25 | 40 | 0.00046401 | 0.00011629 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1098-14_0_3_load_30 | 41 | 0.00016508 | 4.1374e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1098-14_0_3_load_41 | 42 | 0.0008254 | 0.00020687 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1098-14_0_3_load_27 | 44 | 0.00012562 | 3.1484e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1098-14_0_3_load_28 | 45 | 0.00016267 | 4.0769e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1098-14_0_3_load_31 | 46 | 0.0010709 | 0.00026838 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1098-14_0_3_load_42 | 47 | 9.6472e-05 | 2.4178e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1098-14_0_3_load_38 | 50 | 5.7607e-05 | 1.4438e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1098-14_0_3_load_39 | 51 | 0.00037646 | 9.435e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1098-14_0_3_load_57 | 52 | 0.031993 | 0.0080182 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1098-14_0_3_load_54 | 53 | 0.00026972 | 6.7599e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1098-14_0_3_load_53 | 54 | 0.00011925 | 2.9886e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1098-14_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1098-14_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.22573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1098-14_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.17884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1098-14_0_3_line_3 | NAYY 4x150 SE | 2 | 7 | 0.018915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1098-14_0_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.0084042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1098-14_0_3_line_5 | NAYY 4x150 SE | 4 | 34 | 0.019672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1098-14_0_3_line_6 | NAYY 4x150 SE | 4 | 32 | 0.1073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1098-14_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.0050331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1098-14_0_3_line_8 | NAYY 4x150 SE | 5 | 7 | 0.027905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1098-14_0_3_line_9 | NAYY 4x150 SE | 6 | 8 | 0.19336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1098-14_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.038395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1098-14_0_3_line_11 | NAYY 4x150 SE | 8 | 15 | 0.11841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1098-14_0_3_line_12 | NAYY 4x150 SE | 8 | 11 | 0.33739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1098-14_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.018255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1098-14_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.024072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1098-14_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.004911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1098-14_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.017862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1098-14_0_3_line_17 | NAYY 4x150 SE | 13 | 53 | 0.031948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1098-14_0_3_line_18 | NAYY 4x150 SE | 14 | 23 | 0.022913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1098-14_0_3_line_19 | NAYY 4x150 SE | 14 | 22 | 0.025853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1098-14_0_3_line_20 | NAYY 4x150 SE | 15 | 49 | 0.35107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1098-14_0_3_line_21 | NAYY 4x150 SE | 16 | 17 | 0.1157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1098-14_0_3_line_22 | NAYY 4x150 SE | 17 | 18 | 0.015089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1098-14_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.035162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1098-14_0_3_line_24 | NAYY 4x150 SE | 19 | 20 | 0.10923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1098-14_0_3_line_25 | NAYY 4x150 SE | 20 | 21 | 0.047294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1098-14_0_3_line_26 | NAYY 4x150 SE | 21 | 22 | 0.012946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1098-14_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.035361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1098-14_0_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.067316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1098-14_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.037073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1098-14_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.028492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1098-14_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0050295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1098-14_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.032496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1098-14_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.02038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1098-14_0_3_line_34 | NAYY 4x150 SE | 30 | 34 | 0.0059049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1098-14_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.012242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1098-14_0_3_line_36 | NAYY 4x150 SE | 33 | 52 | 0.022356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1098-14_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.00054602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1098-14_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0015221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1098-14_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.030386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1098-14_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.26389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1098-14_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.012657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1098-14_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.021765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1098-14_0_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.031126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1098-14_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.014794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1098-14_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.0039177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1098-14_0_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.01694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1098-14_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.04764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1098-14_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.021277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1098-14_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.016924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1098-14_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.064715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1098-14_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.0060989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1098-14_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.023386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1098-14_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.031342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1098-14_0_3_trafo_52 | 0.25 MVA 20/0.4 kV | 55 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2653414.4759 | 1214506.7575 | 2653405.6633 | 1214513.1869
1 | 2653414.4759 | 1214506.7575 | 2653563.5808 | 1214676.2382
2 | 2653270.4421 | 1214630.2273 | 2653405.6633 | 1214513.1869
3 | 2653582.4223 | 1214674.5779 | 2653563.5808 | 1214676.2382
4 | 2653262.2827 | 1214632.2411 | 2653270.4421 | 1214630.2273
5 | 2653262.2827 | 1214632.2411 | 2653253.006 | 1214636.0605 | 2653244.4477 | 1214640.4972
6 | 2653307.5358 | 1214691.1585 | 2653281.8093 | 1214689.9057 | 2653260.9377 | 1214691.8316 | 2653257.56 | 1214673.7683 | 2653261.3118 | 1214662.7063 | 2653262.2837 | 1214655.077 | 2653262.2827 | 1214632.2411
7 | 2653615.2948 | 1214672.4942 | 2653610.2718 | 1214672.8126
8 | 2653582.4223 | 1214674.5779 | 2653610.2718 | 1214672.8126
9 | 2653615.2948 | 1214672.4942 | 2653805.1355 | 1214709.2134
10 | 2653582.4223 | 1214674.5779 | 2653585.3918 | 1214683.8657 | 2653586.1773 | 1214687.7306 | 2653584.5081 | 1214691.7847 | 2653578.5508 | 1214697.2123 | 2653575.6702 | 1214700.8441 | 2653576.0325 | 1214705.3168 | 2653577.9723 | 1214707.7778
11 | 2653921.1134 | 1214727.5615 | 2653888.5598 | 1214727.9899 | 2653864.3895 | 1214726.0037 | 2653813.5807 | 1214711.0806 | 2653805.1355 | 1214709.2134
12 | 2653697.0228 | 1214389.6145 | 2653805.1355 | 1214709.2134
13 | 2653697.0228 | 1214389.6145 | 2653679.1272 | 1214393.2217
14 | 2653697.0228 | 1214389.6145 | 2653700.7146 | 1214387.0018 | 2653712.7872 | 1214380.6177 | 2653716.4973 | 1214375.9817
15 | 2653716.4973 | 1214375.9817 | 2653721.3591 | 1214375.2882
16 | 2653715.9437 | 1214358.1882 | 2653716.9733 | 1214368.6704 | 2653716.4973 | 1214375.9817
17 | 2653721.3591 | 1214375.2882 | 2653735.2656 | 1214373.3046 | 2653743.4515 | 1214370.0875 | 2653751.8481 | 1214366.5663
18 | 2653715.9437 | 1214358.1882 | 2653720.8485 | 1214357.5097 | 2653727.4591 | 1214354.6453 | 2653736.216 | 1214348.3985
19 | 2653694.2754 | 1214344.6961 | 2653706.2987 | 1214353.9099 | 2653712.1137 | 1214357.5867 | 2653715.9437 | 1214358.1882
20 | 2653883.1687 | 1215076.5736 | 2653921.1134 | 1214727.5615
21 | 2653382.6738 | 1214303.5611 | 2653383.2932 | 1214304.0809 | 2653407.5647 | 1214323.7989 | 2653417.6978 | 1214329.5708 | 2653431.1398 | 1214329.6913 | 2653448.5805 | 1214325.9897 | 2653485.4564 | 1214315.5584 | 2653487.8152 | 1214315.4393
22 | 2653487.8152 | 1214315.4393 | 2653502.8852 | 1214314.6783
23 | 2653502.8852 | 1214314.6783 | 2653505.8353 | 1214314.5294 | 2653538.0197 | 1214315.7665
24 | 2653538.0197 | 1214315.7665 | 2653546.9705 | 1214316.1105 | 2653565.2412 | 1214323.1788 | 2653583.4389 | 1214338.3736 | 2653599.6413 | 1214349.0811 | 2653615.4994 | 1214352.4701 | 2653623.732 | 1214352.4996 | 2653636.5679 | 1214349.8584
25 | 2653683.1449 | 1214351.0442 | 2653683.1449 | 1214351.0442 | 2653679.0667 | 1214351.0075 | 2653672.1663 | 1214348.1103 | 2653661.9823 | 1214348.0187 | 2653642.4197 | 1214348.6542 | 2653636.5679 | 1214349.8584
26 | 2653694.2754 | 1214344.6961 | 2653688.4563 | 1214349.0686 | 2653683.1449 | 1214351.0442
27 | 2653736.216 | 1214348.3985 | 2653742.3421 | 1214344.0285 | 2653758.1843 | 1214339.9021 | 2653769.0557 | 1214336.2607
28 | 2653769.0557 | 1214336.2607 | 2653785.5937 | 1214330.7214 | 2653788.8827 | 1214327.3046 | 2653789.5327 | 1214323.4525 | 2653786.4323 | 1214305.9585 | 2653787.4793 | 1214302.7104 | 2653790.3564 | 1214299.49 | 2653799.9898 | 1214287.0577
29 | 2653196.8158 | 1214633.3131 | 2653191.1527 | 1214626.225 | 2653174.6271 | 1214610.8796 | 2653170.6243 | 1214607.1823
30 | 2653196.8158 | 1214633.3131 | 2653202.0056 | 1214639.8078 | 2653205.1358 | 1214645.6281 | 2653210.3552 | 1214658.171
31 | 2653196.8158 | 1214633.3131 | 2653197.1417 | 1214628.2942
32 | 2653210.3552 | 1214658.171 | 2653239.2053 | 1214643.2149
33 | 2653198.4622 | 1214607.957 | 2653197.1417 | 1214628.2942
34 | 2653244.4477 | 1214640.4972 | 2653239.2053 | 1214643.2149
35 | 2653307.5358 | 1214691.1585 | 2653308.0182 | 1214699.2121 | 2653308.8017 | 1214703.3104
36 | 2653290.7791 | 1214716.1683 | 2653297.665 | 1214713.0168 | 2653303.6126 | 1214708.6451 | 2653308.8017 | 1214703.3104
37 | 2653806.2028 | 1215180.4451 | 2653806.7406 | 1215180.3503
38 | 2653806.2028 | 1215180.4451 | 2653804.7038 | 1215180.7093
39 | 2653806.7406 | 1215180.3503 | 2653808.8623 | 1215179.9763 | 2653837.0028 | 1215177.7115
40 | 2653804.7038 | 1215180.7093 | 2653552.6227 | 1215258.7643
41 | 2653849.6188 | 1215176.6961 | 2653837.0028 | 1215177.7115
42 | 2653531.8603 | 1215264.2489 | 2653537.2376 | 1215261.1812 | 2653552.6227 | 1215258.7643
43 | 2653880.5276 | 1215178.9115 | 2653866.3553 | 1215176.6266 | 2653856.556 | 1215176.1378 | 2653849.6188 | 1215176.6961
44 | 2653531.8603 | 1215264.2489 | 2653519.0103 | 1215271.5795
45 | 2653880.5276 | 1215178.9115 | 2653884.3976 | 1215179.5205
46 | 2653880.5276 | 1215178.9115 | 2653878.1158 | 1215162.1439
47 | 2653884.3976 | 1215179.5205 | 2653889.6727 | 1215180.3505 | 2653904.2004 | 1215184.4843 | 2653911.8959 | 1215184.9986 | 2653931.2936 | 1215183.1732
48 | 2653878.1158 | 1215162.1439 | 2653877.4981 | 1215157.8492 | 2653880.4249 | 1215142.3774 | 2653880.4062 | 1215141.1853
49 | 2653948.1798 | 1215182.4251 | 2653939.8119 | 1215182.3716 | 2653931.2936 | 1215183.1732
50 | 2653883.1687 | 1215076.5736 | 2653880.8404 | 1215105.6479 | 2653880.2131 | 1215128.8451 | 2653880.4062 | 1215141.1853
51 | 2653948.1798 | 1215182.4251 | 2653954.0493 | 1215184.0821
52 | 2653954.0493 | 1215184.0821 | 2653964.6165 | 1215187.0654 | 2653976.2897 | 1215191.2641
53 | 2653780.7512 | 1214354.4454 | 2653751.8481 | 1214366.5663

## bus_geodata
| x | y | coords
0 | 2653414.4759 | 1214506.7575
1 | 2653405.6633 | 1214513.1869
2 | 2653563.5808 | 1214676.2382
3 | 2653270.4421 | 1214630.2273
4 | 2653262.2827 | 1214632.2411
5 | 2653610.2718 | 1214672.8126
6 | 2653615.2948 | 1214672.4942
7 | 2653582.4223 | 1214674.5779
8 | 2653805.1355 | 1214709.2134
9 | 2653577.9723 | 1214707.7778
10 | 2653679.1272 | 1214393.2217
11 | 2653697.0228 | 1214389.6145
12 | 2653716.4973 | 1214375.9817
13 | 2653721.3591 | 1214375.2882
14 | 2653715.9437 | 1214358.1882
15 | 2653921.1134 | 1214727.5615
16 | 2653382.6738 | 1214303.5611
17 | 2653487.8152 | 1214315.4393
18 | 2653502.8852 | 1214314.6783
19 | 2653538.0197 | 1214315.7665
20 | 2653636.5679 | 1214349.8584
21 | 2653683.1449 | 1214351.0442
22 | 2653694.2754 | 1214344.6961
23 | 2653736.216 | 1214348.3985
24 | 2653769.0557 | 1214336.2607
25 | 2653799.9898 | 1214287.0577
26 | 2653170.6243 | 1214607.1823
27 | 2653196.8158 | 1214633.3131
28 | 2653210.3552 | 1214658.171
29 | 2653197.1417 | 1214628.2942
30 | 2653239.2053 | 1214643.2149
31 | 2653198.4622 | 1214607.957
32 | 2653307.5358 | 1214691.1585
33 | 2653308.8017 | 1214703.3104
34 | 2653244.4477 | 1214640.4972
35 | 2653806.2028 | 1215180.4451
36 | 2653806.7406 | 1215180.3503
37 | 2653804.7038 | 1215180.7093
38 | 2653837.0028 | 1215177.7115
39 | 2653552.6227 | 1215258.7643
40 | 2653849.6188 | 1215176.6961
41 | 2653531.8603 | 1215264.2489
42 | 2653519.0103 | 1215271.5795
43 | 2653880.5276 | 1215178.9115
44 | 2653884.3976 | 1215179.5205
45 | 2653878.1158 | 1215162.1439
46 | 2653931.2936 | 1215183.1732
47 | 2653880.4062 | 1215141.1853
48 | 2653948.1798 | 1215182.4251
49 | 2653883.1687 | 1215076.5736
50 | 2653954.0493 | 1215184.0821
51 | 2653976.2897 | 1215191.2641
52 | 2653290.7791 | 1214716.1683
53 | 2653751.8481 | 1214366.5663
54 | 2653780.7512 | 1214354.4454
55 | 2653262.2827 | 1214632.2411

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99158 | -0.058721 | 0.0013106 | 0.00032846
1 | 0.99202 | -0.055598 | 0.00267 | 0.00066917
2 | 0.9828 | -0.12091 | 0.0068444 | 0.0017154
3 | 1 | 0 | -0.19259 | -0.048295
4 | 0.99904 | -0.0066819 | 0 | 0
5 | 0.98157 | -0.12975 | 0.0041827 | 0.0010483
6 | 0.98148 | -0.13042 | 0 | 0
7 | 0.98226 | -0.12483 | 0 | 0
8 | 0.97789 | -0.15627 | 6.6055e-05 | 1.6555e-05
9 | 0.98209 | -0.12602 | 0.0029892 | 0.00074917
10 | 0.97438 | -0.18163 | 0.00010031 | 2.514e-05
11 | 0.97438 | -0.18161 | 0 | 0
12 | 0.97414 | -0.18339 | 0 | 0
13 | 0.97413 | -0.18343 | 0.00023991 | 6.0126e-05
14 | 0.97397 | -0.1846 | 0 | 0
15 | 0.97694 | -0.16319 | 0 | 0
16 | 0.97178 | -0.20039 | 0.0038401 | 0.00096243
17 | 0.97243 | -0.19569 | 0.00017195 | 4.3095e-05
18 | 0.97252 | -0.19505 | 7.5834e-05 | 1.9006e-05
19 | 0.97273 | -0.19353 | 6.9688e-05 | 1.7465e-05
20 | 0.9734 | -0.18872 | 0.00011895 | 2.9812e-05
21 | 0.9737 | -0.18657 | 0.00053019 | 0.00013288
22 | 0.97379 | -0.18591 | 0 | 0
23 | 0.97392 | -0.18498 | 0.00021534 | 5.3969e-05
24 | 0.97385 | -0.18548 | 0.00086205 | 0.00021605
25 | 0.9738 | -0.18583 | 0.00048358 | 0.0001212
26 | 0.98651 | -0.094602 | 0.064111 | 0.016068
27 | 0.98994 | -0.070312 | 0 | 0
28 | 0.99311 | -0.048033 | 0 | 0
29 | 0.98985 | -0.070973 | 0.0091326 | 0.0022888
30 | 0.99673 | -0.022795 | 0.043818 | 0.010982
31 | 0.98974 | -0.071757 | 0.0037752 | 0.00094615
32 | 0.99411 | -0.041189 | 0 | 0
33 | 0.99355 | -0.045147 | 0 | 0
34 | 0.99724 | -0.019212 | 0.006313 | 0.0015822
35 | 0.97296 | -0.19204 | 0.00067031 | 0.000168
36 | 0.97296 | -0.19203 | 0.00022218 | 5.5684e-05
37 | 0.97296 | -0.19207 | 0.00022769 | 5.7066e-05
38 | 0.97307 | -0.19124 | 0.0007168 | 0.00017965
39 | 0.97245 | -0.19575 | 0.00031632 | 7.9276e-05
40 | 0.97313 | -0.19082 | 0.00046401 | 0.00011629
41 | 0.97242 | -0.19598 | 0.00016508 | 4.1374e-05
42 | 0.9724 | -0.19611 | 0.0008254 | 0.00020687
43 | 0.97329 | -0.18963 | 0 | 0
44 | 0.97328 | -0.18969 | 0.00012562 | 3.1484e-05
45 | 0.97342 | -0.18868 | 0.00016267 | 4.0769e-05
46 | 0.97318 | -0.19045 | 0.0010709 | 0.00026838
47 | 0.97359 | -0.18746 | 9.6472e-05 | 2.4178e-05
48 | 0.97317 | -0.19053 | 0 | 0
49 | 0.97411 | -0.18368 | 0 | 0
50 | 0.97316 | -0.19056 | 5.7607e-05 | 1.4438e-05
51 | 0.97315 | -0.19065 | 0.00037646 | 9.435e-05
52 | 0.99252 | -0.052386 | 0.031993 | 0.0080182
53 | 0.97411 | -0.18356 | 0.00026972 | 6.7599e-05
54 | 0.97411 | -0.1836 | 0.00011925 | 2.9886e-05
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.028352 | -0.0071233 | 0.028365 | 0.0071279 | 1.2326e-05 | 4.6e-06 | 0.042553 | 0.042553 | 0.042553 | 0.99158 | -0.058721 | 0.99202 | -0.055598 | 15.7605
1 | 0.027042 | 0.0067949 | -0.02681 | -0.0067085 | 0.00023204 | 8.636e-05 | 0.040587 | 0.040588 | 0.040588 | 0.99158 | -0.058721 | 0.9828 | -0.12091 | 15.0325
2 | -0.031035 | -0.0077971 | 0.031277 | 0.0078878 | 0.0002419 | 9.071e-05 | 0.046558 | 0.046558 | 0.046558 | 0.99202 | -0.055598 | 1 | 0 | 17.2438
3 | 0.019965 | 0.0049932 | -0.019955 | -0.0049892 | 1.0782e-05 | 3.9075e-06 | 0.030225 | 0.030225 | 0.030225 | 0.9828 | -0.12091 | 0.98226 | -0.12483 | 11.1944
4 | 0.16051 | 0.040407 | -0.16036 | -0.04035 | 0.00014966 | 5.7342e-05 | 0.23891 | 0.23891 | 0.23891 | 1 | 0 | 0.99904 | -0.0066819 | 44.242
5 | 0.12817 | 0.032255 | -0.12794 | -0.032169 | 0.00022378 | 8.5553e-05 | 0.19094 | 0.19094 | 0.19094 | 0.99904 | -0.0066819 | 0.99724 | -0.019212 | 35.3597
6 | 0.032197 | 0.0080947 | -0.032043 | -0.0080368 | 0.00015404 | 5.7847e-05 | 0.047964 | 0.047965 | 0.047965 | 0.99904 | -0.0066819 | 0.99411 | -0.041189 | 17.7647
7 | 0.012771 | 0.003188 | -0.01277 | -0.0031876 | 1.1766e-06 | 3.8892e-07 | 0.019355 | 0.019355 | 0.019355 | 0.98157 | -0.12975 | 0.98148 | -0.13042 | 7.1687
8 | -0.016953 | -0.0042363 | 0.016965 | 0.0042404 | 1.1498e-05 | 4.0692e-06 | 0.025696 | 0.025696 | 0.025696 | 0.98157 | -0.12975 | 0.98226 | -0.12483 | 9.5171
9 | 0.01277 | 0.0031876 | -0.012724 | -0.0031727 | 4.5204e-05 | 1.4951e-05 | 0.019355 | 0.019356 | 0.019356 | 0.98148 | -0.13042 | 0.97789 | -0.15627 | 7.169
10 | 0.0029897 | 0.00074887 | -0.0029892 | -0.00074917 | 4.9144e-07 | -2.9689e-07 | 0.004529 | 0.0045291 | 0.0045291 | 0.98226 | -0.12483 | 0.98209 | -0.12602 | 1.6775
11 | 0.0055245 | 0.0013752 | -0.0055193 | -0.0013746 | 5.2178e-06 | 5.2274e-07 | 0.0084031 | 0.0084036 | 0.0084036 | 0.97789 | -0.15627 | 0.97694 | -0.16319 | 3.1125
12 | 0.0071337 | 0.001781 | -0.0071089 | -0.0017756 | 2.48e-05 | 5.3208e-06 | 0.010853 | 0.010854 | 0.010854 | 0.97789 | -0.15627 | 0.97438 | -0.18161 | 4.0201
13 | -0.00010031 | -2.514e-05 | 0.00010031 | 2.4913e-05 | 2.6716e-10 | -2.2728e-07 | 0.00015319 | 0.0001531 | 0.00015319 | 0.97438 | -0.18163 | 0.97438 | -0.18161 | 0.056735
14 | 0.0070086 | 0.0017507 | -0.0070069 | -0.0017504 | 1.7201e-06 | 3.6182e-07 | 0.010701 | 0.010701 | 0.010701 | 0.97438 | -0.18161 | 0.97414 | -0.18339 | 3.9634
15 | 0.00062889 | 0.00015677 | -0.00062888 | -0.00015683 | 2.8263e-09 | -6.0053e-08 | 0.00096034 | 0.00096036 | 0.00096036 | 0.97414 | -0.18339 | 0.97413 | -0.18343 | 0.35569
16 | 0.006378 | 0.0015936 | -0.006377 | -0.0015934 | 1.0576e-06 | 1.8442e-07 | 0.0097408 | 0.0097409 | 0.0097409 | 0.97414 | -0.18339 | 0.97397 | -0.1846 | 3.6077
17 | 0.00038898 | 9.67e-05 | -0.00038897 | -9.7095e-05 | 7.0331e-09 | -3.9502e-07 | 0.00059389 | 0.00059404 | 0.00059404 | 0.97413 | -0.18343 | 0.97411 | -0.18356 | 0.22001
18 | 0.0015612 | 0.00038973 | -0.0015611 | -0.00038998 | 8.1301e-08 | -2.5387e-07 | 0.0023846 | 0.0023847 | 0.0023847 | 0.97397 | -0.1846 | 0.97392 | -0.18498 | 0.88321
19 | 0.0048158 | 0.0012037 | -0.0048149 | -0.0012037 | 8.7302e-07 | 1.4092e-08 | 0.0073563 | 0.0073564 | 0.0073564 | 0.97397 | -0.1846 | 0.97379 | -0.18591 | 2.7246
20 | 0.0055193 | 0.0013746 | -0.0055039 | -0.0013731 | 1.5474e-05 | 1.5683e-06 | 0.0084036 | 0.0084052 | 0.0084052 | 0.97694 | -0.16319 | 0.97411 | -0.18368 | 3.113
21 | -0.0038401 | -0.00096243 | 0.0038426 | 0.00096196 | 2.496e-06 | -4.7439e-07 | 0.0058801 | 0.0058796 | 0.0058801 | 0.97178 | -0.20039 | 0.97243 | -0.19569 | 2.1778
22 | -0.0040146 | -0.0010051 | 0.0040149 | 0.001005 | 3.5528e-07 | -5.0569e-08 | 0.0061427 | 0.0061426 | 0.0061427 | 0.97243 | -0.19569 | 0.97252 | -0.19505 | 2.2751
23 | -0.0040908 | -0.001024 | 0.0040916 | 0.0010239 | 8.5943e-07 | -1.0584e-07 | 0.0062587 | 0.0062585 | 0.0062587 | 0.97252 | -0.19505 | 0.97273 | -0.19353 | 2.318
24 | -0.0041613 | -0.0010414 | 0.0041641 | 0.0010411 | 2.7612e-06 | -2.9485e-07 | 0.0063651 | 0.0063646 | 0.0063651 | 0.97273 | -0.19353 | 0.9734 | -0.18872 | 2.3575
25 | -0.004283 | -0.0010709 | 0.0042843 | 0.0010708 | 1.2647e-06 | -1.0165e-07 | 0.0065465 | 0.0065463 | 0.0065465 | 0.9734 | -0.18872 | 0.9737 | -0.18657 | 2.4246
26 | -0.0048145 | -0.0012037 | 0.0048149 | 0.0012037 | 4.3717e-07 | 7.1057e-09 | 0.0073565 | 0.0073564 | 0.0073565 | 0.9737 | -0.18657 | 0.97379 | -0.18591 | 2.7246
27 | 0.0013457 | 0.00033601 | -0.0013457 | -0.00033642 | 9.3249e-08 | -4.0413e-07 | 0.0020557 | 0.0020558 | 0.0020558 | 0.97392 | -0.18498 | 0.97385 | -0.18548 | 0.76142
28 | 0.0004836 | 0.00012037 | -0.00048358 | -0.0001212 | 2.2926e-08 | -8.2869e-07 | 0.00073863 | 0.00073893 | 0.00073893 | 0.97385 | -0.18548 | 0.9738 | -0.18583 | 0.27368
29 | -0.064111 | -0.016068 | 0.064327 | 0.01615 | 0.00021633 | 8.2729e-05 | 0.096702 | 0.096702 | 0.096702 | 0.98651 | -0.094602 | 0.98994 | -0.070312 | 35.8157
30 | -0.077236 | -0.019386 | 0.077476 | 0.019477 | 0.00023967 | 9.1815e-05 | 0.11611 | 0.11611 | 0.11611 | 0.98994 | -0.070312 | 0.99311 | -0.048033 | 43.0025
31 | 0.012909 | 0.0032353 | -0.012908 | -0.0032349 | 1.1817e-06 | 3.8985e-07 | 0.019404 | 0.019405 | 0.019405 | 0.98994 | -0.070312 | 0.98985 | -0.070973 | 7.1869
32 | -0.077476 | -0.019477 | 0.077749 | 0.019582 | 0.00027336 | 0.00010472 | 0.11611 | 0.11611 | 0.11611 | 0.99311 | -0.048033 | 0.99673 | -0.022795 | 43.0025
33 | 0.0037756 | 0.00094604 | -0.0037752 | -0.00094615 | 4.0967e-07 | -1.0438e-07 | 0.0056757 | 0.0056758 | 0.0056758 | 0.98985 | -0.070973 | 0.98974 | -0.071757 | 2.1021
34 | -0.12157 | -0.030564 | 0.12163 | 0.030587 | 6.0706e-05 | 2.3194e-05 | 0.18152 | 0.18152 | 0.18152 | 0.99673 | -0.022795 | 0.99724 | -0.019212 | 33.6153
35 | 0.032043 | 0.0080368 | -0.032025 | -0.0080302 | 1.7574e-05 | 6.6008e-06 | 0.047965 | 0.047965 | 0.047965 | 0.99411 | -0.041189 | 0.99355 | -0.045147 | 17.7647
36 | 0.032025 | 0.0080302 | -0.031993 | -0.0080182 | 3.2094e-05 | 1.2055e-05 | 0.047965 | 0.047965 | 0.047965 | 0.99355 | -0.045147 | 0.99252 | -0.052386 | 17.7648
37 | -0.0022055 | -0.0005491 | 0.0022055 | 0.0005491 | 3.8733e-09 | -5.2915e-09 | 0.0033717 | 0.0033717 | 0.0033717 | 0.97296 | -0.19204 | 0.97296 | -0.19203 | 1.2488
38 | 0.0015352 | 0.00038111 | -0.0015352 | -0.00038112 | 5.2301e-09 | -1.6892e-08 | 0.0023466 | 0.0023466 | 0.0023466 | 0.97296 | -0.19204 | 0.97296 | -0.19207 | 0.86911
39 | -0.0024277 | -0.00060478 | 0.002428 | 0.0006045 | 2.6119e-07 | -2.7696e-07 | 0.0037115 | 0.0037114 | 0.0037115 | 0.97296 | -0.19203 | 0.97307 | -0.19124 | 1.3746
40 | 0.0013075 | 0.00032406 | -0.0013068 | -0.00032708 | 6.5798e-07 | -3.0226e-06 | 0.0019984 | 0.0019995 | 0.0019995 | 0.97296 | -0.19207 | 0.97245 | -0.19575 | 0.74057
41 | -0.0031448 | -0.00078415 | 0.003145 | 0.00078406 | 1.8254e-07 | -8.7029e-08 | 0.0048075 | 0.0048075 | 0.0048075 | 0.97307 | -0.19124 | 0.97313 | -0.19082 | 1.7806
42 | 0.00099053 | 0.0002478 | -0.0009905 | -0.00024806 | 3.1195e-08 | -2.5801e-07 | 0.0015155 | 0.0015156 | 0.0015156 | 0.97245 | -0.19575 | 0.97242 | -0.19598 | 0.56134
43 | -0.003609 | -0.00090036 | 0.0036096 | 0.0009002 | 5.9116e-07 | -1.594e-07 | 0.005517 | 0.0055169 | 0.005517 | 0.97313 | -0.19082 | 0.97329 | -0.18963 | 2.0433
44 | 0.00082542 | 0.00020669 | -0.0008254 | -0.00020687 | 1.4726e-08 | -1.7786e-07 | 0.001263 | 0.0012631 | 0.0012631 | 0.97242 | -0.19598 | 0.9724 | -0.19611 | 0.4678
45 | 0.0016307 | 0.0004075 | -0.0016307 | -0.00040755 | 1.519e-08 | -4.2846e-08 | 0.0024927 | 0.0024927 | 0.0024927 | 0.97329 | -0.18963 | 0.97328 | -0.18969 | 0.92323
46 | -0.0052403 | -0.0013077 | 0.005241 | 0.0013078 | 6.7813e-07 | 5.0261e-08 | 0.0080095 | 0.0080095 | 0.0080095 | 0.97329 | -0.18963 | 0.97342 | -0.18868 | 2.9665
47 | 0.0015051 | 0.00037606 | -0.0015049 | -0.0003766 | 1.5736e-07 | -5.3147e-07 | 0.0023007 | 0.0023009 | 0.0023009 | 0.97328 | -0.18969 | 0.97318 | -0.19045 | 0.85217
48 | -0.0054036 | -0.0013485 | 0.0054045 | 0.0013486 | 9.0544e-07 | 8.3699e-08 | 0.0082581 | 0.008258 | 0.0082581 | 0.97342 | -0.18868 | 0.97359 | -0.18746 | 3.0586
49 | 0.00043408 | 0.00010821 | -0.00043407 | -0.00010842 | 4.6498e-09 | -2.0849e-07 | 0.00066351 | 0.00066358 | 0.00066358 | 0.97318 | -0.19045 | 0.97317 | -0.19053 | 0.24577
50 | -0.005501 | -0.0013728 | 0.0055039 | 0.0013731 | 2.853e-06 | 2.9211e-07 | 0.0084055 | 0.0084052 | 0.0084055 | 0.97359 | -0.18746 | 0.97411 | -0.18368 | 3.1131
51 | 0.00043407 | 0.00010842 | -0.00043407 | -0.0001085 | 1.6759e-09 | -7.5133e-08 | 0.00066358 | 0.00066361 | 0.00066361 | 0.97317 | -0.19053 | 0.97316 | -0.19056 | 0.24578
52 | 0.00037646 | 9.4061e-05 | -0.00037646 | -9.435e-05 | 4.8344e-09 | -2.8869e-07 | 0.00057553 | 0.00057563 | 0.00057563 | 0.97316 | -0.19056 | 0.97315 | -0.19065 | 0.2132
53 | 0.00011925 | 2.9496e-05 | -0.00011925 | -2.9886e-05 | 6.4843e-10 | -3.8992e-07 | 0.00018202 | 0.00018216 | 0.00018216 | 0.97411 | -0.18356 | 0.97411 | -0.1836 | 0.067465

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20205 | 0.050666

## res_load
| p_mw | q_mvar
0 | 0.0013106 | 0.00032846
1 | 0.00267 | 0.00066917
2 | 0.0068444 | 0.0017154
3 | 0.0094622 | 0.0023715
4 | 0.0041827 | 0.0010483
5 | 6.6055e-05 | 1.6555e-05
6 | 0.0029892 | 0.00074917
7 | 0.00010031 | 2.514e-05
8 | 0.00023991 | 6.0126e-05
9 | 0.0038401 | 0.00096243
10 | 0.00017195 | 4.3095e-05
11 | 7.5834e-05 | 1.9006e-05
12 | 6.9688e-05 | 1.7465e-05
13 | 0.00011895 | 2.9812e-05
14 | 0.00053019 | 0.00013288
15 | 0.00021534 | 5.3969e-05
16 | 0.00086205 | 0.00021605
17 | 0.00048358 | 0.0001212
18 | 0.064111 | 0.016068
19 | 0.0091326 | 0.0022888
20 | 0.043818 | 0.010982
21 | 0.0037752 | 0.00094615
22 | 0.006313 | 0.0015822
23 | 0.00067031 | 0.000168
24 | 0.00022218 | 5.5684e-05
25 | 0.00022769 | 5.7066e-05
26 | 0.0007168 | 0.00017965
27 | 0.00031632 | 7.9276e-05
28 | 0.00046401 | 0.00011629
29 | 0.00016508 | 4.1374e-05
30 | 0.0008254 | 0.00020687
31 | 0.00012562 | 3.1484e-05
32 | 0.00016267 | 4.0769e-05
33 | 0.0010709 | 0.00026838
34 | 9.6472e-05 | 2.4178e-05
35 | 5.7607e-05 | 1.4438e-05
36 | 0.00037646 | 9.435e-05
37 | 0.031993 | 0.0080182
38 | 0.00026972 | 6.7599e-05
39 | 0.00011925 | 2.9886e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1