## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1098-15_1_3_node_20 | 0.4 | n |  | TRUE
1 | bus_LV_1098-15_1_3_node_21 | 0.4 | n |  | TRUE
2 | bus_LV_1098-15_1_3_node_23 | 0.4 | n |  | TRUE
3 | bus_LV_1098-15_1_3_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_1098-15_1_3_node_31 | 0.4 | n |  | TRUE
5 | bus_LV_1098-15_1_3_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_1098-15_1_3_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_1098-15_1_3_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_1098-15_1_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_1098-15_1_3_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_1098-15_1_3_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_1098-15_1_3_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_1098-15_1_3_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_1098-15_1_3_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_1098-15_1_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_1098-15_1_3_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1098-15_1_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1098-15_1_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1098-15_1_3_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_1098-15_1_3_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_1098-15_1_3_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_1098-15_1_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_1098-15_1_3_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_1098-15_1_3_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_1098-15_1_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_1098-15_1_3_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_1098-15_1_3_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_1098-15_1_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1098-15_1_3_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_1098-15_1_3_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_1098-15_1_3_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_1098-15_1_3_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_1098-15_1_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_1098-15_1_3_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_1098-15_1_3_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_1098-15_1_3_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_1098-15_1_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_1098-15_1_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_1098-15_1_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_1098-15_1_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_1098-15_1_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_1098-15_1_3_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_1098-15_1_3_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_1098-15_1_3_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_1098-15_1_3_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_1098-15_1_3_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_1098-15_1_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_1098-15_1_3_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_1098-15_1_3_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_1098-15_1_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_1098-15_1_3_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_1098-15_1_3_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_1098-15_1_3_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_1098-15_1_3_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_1098-15_1_3_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_1098-15_1_3_node_78 | 0.4 | n |  | TRUE
56 | bus_MV_2_1_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1098-15_1_3_load_20 | 0 | 0.0028649 | 0.00071801 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1098-15_1_3_load_21 | 1 | 0.0038086 | 0.00095453 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1098-15_1_3_load_23 | 2 | 0.0028532 | 0.00071508 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1098-15_1_3_load_25 | 3 | 0.0020754 | 0.00052014 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1098-15_1_3_load_31 | 4 | 0.0034677 | 0.00086909 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1098-15_1_3_load_66 | 5 | 0.0047707 | 0.0011956 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1098-15_1_3_load_32 | 6 | 0.0025199 | 0.00063154 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1098-15_1_3_load_33 | 7 | 0.0026582 | 0.00066621 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1098-15_1_3_load_22 | 8 | 0.0029721 | 0.00074488 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1098-15_1_3_load_70 | 10 | 0.0037489 | 0.00093957 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1098-15_1_3_load_64 | 12 | 0.0026567 | 0.00066583 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1098-15_1_3_load_26 | 13 | 0.0038521 | 0.00096543 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1098-15_1_3_load_28 | 15 | 0.0056328 | 0.0014117 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1098-15_1_3_load_30 | 17 | 0.010058 | 0.0025209 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1098-15_1_3_load_57 | 18 | 0.005668 | 0.0014205 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1098-15_1_3_load_41 | 20 | 0.0025099 | 0.00062903 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1098-15_1_3_load_40 | 21 | 0.00069392 | 0.00017391 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1098-15_1_3_load_34 | 22 | 0.0030227 | 0.00075757 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1098-15_1_3_load_35 | 23 | 0.0041052 | 0.0010289 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1098-15_1_3_load_37 | 25 | 0.0037334 | 0.00093569 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1098-15_1_3_load_39 | 27 | 0.0030824 | 0.00077253 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1098-15_1_3_load_63 | 28 | 0.0024085 | 0.00060363 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1098-15_1_3_load_67 | 29 | 0.0024645 | 0.00061767 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1098-15_1_3_load_61 | 30 | 0.0042518 | 0.0010656 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1098-15_1_3_load_68 | 31 | 0.0024646 | 0.00061768 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1098-15_1_3_load_43 | 32 | 0.0036065 | 0.00090388 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1098-15_1_3_load_42 | 33 | 0.00069392 | 0.00017391 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1098-15_1_3_load_49 | 34 | 0.001403 | 0.00035162 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1098-15_1_3_load_50 | 35 | 0.0014282 | 0.00035794 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1098-15_1_3_load_44 | 36 | 0.0043834 | 0.0010986 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1098-15_1_3_load_45 | 37 | 0.0015212 | 0.00038124 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1098-15_1_3_load_46 | 38 | 0.013857 | 0.003473 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1098-15_1_3_load_47 | 39 | 0.012375 | 0.0031014 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1098-15_1_3_load_48 | 40 | 0.0031817 | 0.0007974 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1098-15_1_3_load_56 | 41 | 0.0044026 | 0.0011034 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1098-15_1_3_load_52 | 44 | 0.0036706 | 0.00091993 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1098-15_1_3_load_53 | 45 | 0.012665 | 0.0031741 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1098-15_1_3_load_55 | 46 | 0.0045588 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1098-15_1_3_load_75 | 47 | 0.0081973 | 0.0020544 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1098-15_1_3_load_73 | 48 | 0.0038298 | 0.00095983 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1098-15_1_3_load_60 | 49 | 0.0042395 | 0.0010625 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1098-15_1_3_load_71 | 50 | 0.0051612 | 0.0012935 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1098-15_1_3_load_72 | 51 | 0.0033929 | 0.00085034 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1098-15_1_3_load_74 | 52 | 0.0046728 | 0.0011711 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1098-15_1_3_load_76 | 53 | 0.010294 | 0.0025799 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1098-15_1_3_load_77 | 54 | 0.0038576 | 0.0009668 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1098-15_1_3_load_78 | 55 | 0.003857 | 0.00096667 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1098-15_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0086207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1098-15_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.1489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1098-15_1_3_line_2 | NAYY 4x150 SE | 2 | 8 | 0.020833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1098-15_1_3_line_3 | NAYY 4x150 SE | 2 | 3 | 0.010591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1098-15_1_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.014052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1098-15_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.010903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1098-15_1_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.022525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1098-15_1_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.02035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1098-15_1_3_line_8 | NAYY 4x150 SE | 7 | 20 | 0.028538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1098-15_1_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0090172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1098-15_1_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.005394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1098-15_1_3_line_11 | NAYY 4x150 SE | 10 | 16 | 0.069639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1098-15_1_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0080673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1098-15_1_3_line_13 | NAYY 4x150 SE | 11 | 49 | 0.033462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1098-15_1_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.055244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1098-15_1_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0015475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1098-15_1_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.02126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1098-15_1_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.015536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1098-15_1_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.050836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1098-15_1_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.013603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1098-15_1_3_line_20 | NAYY 4x150 SE | 19 | 41 | 0.0051002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1098-15_1_3_line_21 | NAYY 4x150 SE | 19 | 44 | 0.012406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1098-15_1_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0045504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1098-15_1_3_line_23 | NAYY 4x150 SE | 21 | 33 | 0.016092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1098-15_1_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.019323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1098-15_1_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.010978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1098-15_1_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.014137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1098-15_1_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.031083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1098-15_1_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.028279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1098-15_1_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.012227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1098-15_1_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.021509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1098-15_1_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.037223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1098-15_1_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.012232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1098-15_1_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.031528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1098-15_1_3_line_34 | NAYY 4x150 SE | 30 | 49 | 0.033768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1098-15_1_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.028103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1098-15_1_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.0028245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1098-15_1_3_line_37 | NAYY 4x150 SE | 34 | 35 | 8.4166e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1098-15_1_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.021389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1098-15_1_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.024166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1098-15_1_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.030981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1098-15_1_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.0037464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1098-15_1_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.031829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_1098-15_1_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.043578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1098-15_1_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.094302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1098-15_1_3_line_45 | NAYY 4x150 SE | 43 | 47 | 0.084529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1098-15_1_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.02977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1098-15_1_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0069261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1098-15_1_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.032733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1098-15_1_3_line_49 | NAYY 4x150 SE | 48 | 50 | 0.024315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1098-15_1_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.0048309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1098-15_1_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.018893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1098-15_1_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.058625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1098-15_1_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.031541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1098-15_1_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.010418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1098-15_1_3_trafo_52 | 0.25 MVA 20/0.4 kV | 56 | 44 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2651866.219 | 1215404.5261 | 2651873.6794 | 1215400.2064
1 | 2651839.4333 | 1215255.2969 | 2651873.6794 | 1215400.2064
2 | 2651859.5507 | 1215249.8846 | 2651839.4333 | 1215255.2969
3 | 2651839.4333 | 1215255.2969 | 2651829.2061 | 1215258.0485
4 | 2651815.6081 | 1215261.5772 | 2651817.5929 | 1215261.1729 | 2651829.2061 | 1215258.0485
5 | 2651815.6081 | 1215261.5772 | 2651804.9243 | 1215263.7534
6 | 2651787.9163 | 1215248.9857 | 2651804.9243 | 1215263.7534
7 | 2651787.9163 | 1215248.9857 | 2651777.6766 | 1215266.5717
8 | 2651777.6766 | 1215266.5717 | 2651766.7671 | 1215269.1809 | 2651750.5251 | 1215275.1991 | 2651750.5251 | 1215275.1991
9 | 2651831.6951 | 1215202.5825 | 2651831.3554 | 1215193.5717
10 | 2651826.4368 | 1215203.8486 | 2651831.6951 | 1215202.5825
11 | 2651830.1164 | 1215125.6225 | 2651832.3293 | 1215133.124 | 2651829.8316 | 1215145.2763 | 2651827.8002 | 1215150.0838 | 2651828.4087 | 1215156.0815 | 2651827.0041 | 1215165.664 | 2651830.7695 | 1215178.0263 | 2651831.3554 | 1215193.5717
12 | 2651826.4368 | 1215203.8486 | 2651820.2105 | 1215208.9785
13 | 2651826.4368 | 1215203.8486 | 2651794.9665 | 1215215.2198
14 | 2651809.7925 | 1215132.0498 | 2651811.1667 | 1215136.4422 | 2651810.9472 | 1215138.1079 | 2651810.2206 | 1215139.5803 | 2651808.7374 | 1215140.7348 | 2651777.9775 | 1215152.6526 | 2651776.4961 | 1215153.5959 | 2651775.8713 | 1215154.7134 | 2651775.8102 | 1215155.6245 | 2651777.9809 | 1215163.8452
15 | 2651778.376 | 1215165.3415 | 2651777.9809 | 1215163.8452
16 | 2651809.7925 | 1215132.0498 | 2651830.1164 | 1215125.6225
17 | 2651809.7925 | 1215132.0498 | 2651794.9452 | 1215136.6246
18 | 2651794.9452 | 1215136.6246 | 2651786.7365 | 1215139.1539 | 2651765.0018 | 1215144.524 | 2651760.1929 | 1215145.6274 | 2651745.6476 | 1215148.9677
19 | 2651732.3896 | 1215152.0123 | 2651745.6476 | 1215148.9677
20 | 2651732.3896 | 1215152.0123 | 2651727.419 | 1215153.1548
21 | 2651732.3896 | 1215152.0123 | 2651725.7453 | 1215160.7266 | 2651724.4565 | 1215161.3859
22 | 2651746.7317 | 1215277.7124 | 2651750.5251 | 1215275.1991
23 | 2651746.7317 | 1215277.7124 | 2651737.1746 | 1215284.0442 | 2651733.7785 | 1215287.1877
24 | 2651693.2247 | 1215229.318 | 2651693.0436 | 1215229.3399 | 2651674.651 | 1215234.6369
25 | 2651703.8026 | 1215230.3782 | 2651699.3911 | 1215228.5722 | 2651693.2247 | 1215229.318
26 | 2651674.651 | 1215234.6369 | 2651661.0666 | 1215238.5493
27 | 2651703.8026 | 1215230.3782 | 2651722.2201 | 1215255.4529
28 | 2651703.8026 | 1215230.3782 | 2651705.8183 | 1215227.3605 | 2651711.3439 | 1215224.162 | 2651728.9098 | 1215219.157
29 | 2651722.2201 | 1215255.4529 | 2651732.6278 | 1215249.0361
30 | 2651722.2201 | 1215255.4529 | 2651706.5138 | 1215270.1488
31 | 2651764.9064 | 1215230.5418 | 2651749.2846 | 1215238.7665 | 2651732.6278 | 1215249.0361
32 | 2651706.5138 | 1215270.1488 | 2651697.5817 | 1215278.5063
33 | 2651706.5138 | 1215270.1488 | 2651731.7056 | 1215289.1064
34 | 2651794.9665 | 1215215.2198 | 2651791.9134 | 1215216.323 | 2651764.9064 | 1215230.5418
35 | 2651731.7056 | 1215289.1064 | 2651727.6668 | 1215292.8448 | 2651712.7533 | 1215309.8253
36 | 2651731.7056 | 1215289.1064 | 2651733.7785 | 1215287.1877
37 | 2651712.6978 | 1215309.8885 | 2651712.7533 | 1215309.8253
38 | 2651645.4049 | 1215172.1907 | 2651648.7211 | 1215171.2433 | 2651666.2052 | 1215167.2246
39 | 2651645.4049 | 1215172.1907 | 2651622.1682 | 1215178.8291 | 2651622.1682 | 1215178.8291
40 | 2651696.3989 | 1215160.2847 | 2651666.2052 | 1215167.2246
41 | 2651618.6855 | 1215180.2098 | 2651622.1682 | 1215178.8291
42 | 2651696.3989 | 1215160.2847 | 2651727.419 | 1215153.1548
43 | 2651579.0417 | 1215198.2788 | 2651612.3156 | 1215182.7351 | 2651618.6855 | 1215180.2098
44 | 2651541.898 | 1215168.7067 | 2651545.8932 | 1215168.6078 | 2651550.1886 | 1215167.1663 | 2651574.7571 | 1215158.0955 | 2651579.8021 | 1215157.7833 | 2651584.1738 | 1215158.9329 | 2651587.3018 | 1215161.6505 | 2651590.3652 | 1215166.5577 | 2651591.5658 | 1215169.103 | 2651591.8507 | 1215172.1517 | 2651590.9021 | 1215175.59 | 2651589.2445 | 1215178.4774 | 2651585.9655 | 1215180.9283 | 2651577.6762 | 1215185.8373 | 2651575.9234 | 1215188.3126 | 2651575.7456 | 1215191.3017 | 2651579.0417 | 1215198.2788
45 | 2651541.898 | 1215168.7067 | 2651539.8176 | 1215166.0427 | 2651536.0632 | 1215157.6052 | 2651534.9723 | 1215153.7935 | 2651535.2533 | 1215151.1499 | 2651536.4552 | 1215147.4025 | 2651538.1521 | 1215145.238 | 2651541.0265 | 1215143.0282 | 2651556.3956 | 1215138.7362 | 2651573.234 | 1215134.0234 | 2651576.8533 | 1215133.4877 | 2651585.7651 | 1215133.8761 | 2651589.4268 | 1215133.7077 | 2651594.527 | 1215132.2976
46 | 2651724.4565 | 1215161.3859 | 2651697.9531 | 1215174.9439
47 | 2651691.7869 | 1215178.0982 | 2651697.9531 | 1215174.9439
48 | 2651626.0759 | 1215123.5749 | 2651594.527 | 1215132.2976
49 | 2651648.6863 | 1215114.6711 | 2651628.3398 | 1215122.949 | 2651626.0759 | 1215123.5749
50 | 2651648.6863 | 1215114.6711 | 2651653.161 | 1215112.8506
51 | 2651670.6613 | 1215105.7307 | 2651653.161 | 1215112.8506
52 | 2651670.6613 | 1215105.7307 | 2651672.9974 | 1215104.7803 | 2651728.1292 | 1215094.3865
53 | 2651728.1292 | 1215094.3865 | 2651759.1242 | 1215088.5432
54 | 2651769.362 | 1215086.6131 | 2651759.1242 | 1215088.5432

## bus_geodata
| x | y | coords
0 | 2651866.219 | 1215404.5261
1 | 2651873.6794 | 1215400.2064
2 | 2651839.4333 | 1215255.2969
3 | 2651829.2061 | 1215258.0485
4 | 2651815.6081 | 1215261.5772
5 | 2651787.9163 | 1215248.9857
6 | 2651804.9243 | 1215263.7534
7 | 2651777.6766 | 1215266.5717
8 | 2651859.5507 | 1215249.8845
9 | 2651831.6951 | 1215202.5825
10 | 2651831.3554 | 1215193.5717
11 | 2651826.4368 | 1215203.8486
12 | 2651820.2105 | 1215208.9785
13 | 2651777.9809 | 1215163.8452
14 | 2651809.7925 | 1215132.0498
15 | 2651778.376 | 1215165.3415
16 | 2651830.1164 | 1215125.6225
17 | 2651794.9452 | 1215136.6246
18 | 2651745.6476 | 1215148.9677
19 | 2651732.3896 | 1215152.0123
20 | 2651750.5251 | 1215275.1991
21 | 2651746.7317 | 1215277.7124
22 | 2651693.2247 | 1215229.318
23 | 2651674.651 | 1215234.6369
24 | 2651703.8026 | 1215230.3782
25 | 2651661.0666 | 1215238.5493
26 | 2651722.2201 | 1215255.4529
27 | 2651728.9098 | 1215219.157
28 | 2651732.6278 | 1215249.0361
29 | 2651706.5138 | 1215270.1488
30 | 2651764.9064 | 1215230.5418
31 | 2651697.5817 | 1215278.5063
32 | 2651731.7056 | 1215289.1064
33 | 2651733.7785 | 1215287.1877
34 | 2651712.7533 | 1215309.8253
35 | 2651712.6978 | 1215309.8885
36 | 2651645.4049 | 1215172.1907
37 | 2651666.2052 | 1215167.2246
38 | 2651622.1682 | 1215178.8291
39 | 2651696.3989 | 1215160.2847
40 | 2651618.6855 | 1215180.2098
41 | 2651727.419 | 1215153.1548
42 | 2651579.0417 | 1215198.2788
43 | 2651541.898 | 1215168.7067
44 | 2651724.4565 | 1215161.3859
45 | 2651697.9531 | 1215174.9439
46 | 2651691.7869 | 1215178.0982
47 | 2651594.527 | 1215132.2976
48 | 2651626.0759 | 1215123.5749
49 | 2651794.9665 | 1215215.2198
50 | 2651648.6863 | 1215114.6711
51 | 2651653.161 | 1215112.8506
52 | 2651670.6613 | 1215105.7307
53 | 2651728.1292 | 1215094.3865
54 | 2651759.1242 | 1215088.5432
55 | 2651769.362 | 1215086.6131
56 | 2651732.3896 | 1215152.0123

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97067 | -0.2067 | 0.0028649 | 0.00071801
1 | 0.97071 | -0.20644 | 0.0038086 | 0.00095453
2 | 0.97217 | -0.19592 | 0.0028532 | 0.00071508
3 | 0.97236 | -0.19452 | 0.0020754 | 0.00052014
4 | 0.97266 | -0.19236 | 0.0034677 | 0.00086909
5 | 0.97363 | -0.18539 | 0.0047707 | 0.0011956
6 | 0.97295 | -0.19028 | 0.0025199 | 0.00063154
7 | 0.97439 | -0.17997 | 0.0026582 | 0.00066621
8 | 0.97208 | -0.19657 | 0.0029721 | 0.00074488
9 | 0.98754 | -0.086593 | 0 | 0
10 | 0.98801 | -0.083327 | 0.0037489 | 0.00093957
11 | 0.98726 | -0.088548 | 0 | 0
12 | 0.98723 | -0.088768 | 0.0026567 | 0.00066583
13 | 0.99219 | -0.054152 | 0.0038521 | 0.00096543
14 | 0.99295 | -0.048843 | 0 | 0
15 | 0.99218 | -0.054241 | 0.0056328 | 0.0014117
16 | 0.99179 | -0.056878 | 0 | 0
17 | 0.9939 | -0.042237 | 0.010058 | 0.0025209
18 | 0.99737 | -0.018144 | 0.005668 | 0.0014205
19 | 0.99835 | -0.011339 | 0 | 0
20 | 0.97556 | -0.17157 | 0.0025099 | 0.00062903
21 | 0.97576 | -0.17012 | 0.00069392 | 0.00017391
22 | 0.97896 | -0.14734 | 0.0030227 | 0.00075757
23 | 0.97874 | -0.14891 | 0.0041052 | 0.0010289
24 | 0.97913 | -0.14609 | 0 | 0
25 | 0.97866 | -0.14946 | 0.0037334 | 0.00093569
26 | 0.97976 | -0.14158 | 0 | 0
27 | 0.979 | -0.147 | 0.0030824 | 0.00077253
28 | 0.98078 | -0.13431 | 0.0024085 | 0.00060363
29 | 0.9784 | -0.15128 | 0.0024645 | 0.00061767
30 | 0.98403 | -0.11135 | 0.0042518 | 0.0010656
31 | 0.97836 | -0.15159 | 0.0024646 | 0.00061768
32 | 0.97663 | -0.16391 | 0.0036065 | 0.00090388
33 | 0.9765 | -0.16485 | 0.00069392 | 0.00017391
34 | 0.97651 | -0.16474 | 0.001403 | 0.00035162
35 | 0.97651 | -0.16474 | 0.0014282 | 0.00035794
36 | 0.99272 | -0.050349 | 0.0043834 | 0.0010986
37 | 0.99474 | -0.036357 | 0.0015212 | 0.00038124
38 | 0.9906 | -0.065148 | 0.013857 | 0.003473
39 | 0.99623 | -0.026021 | 0.012375 | 0.0031014
40 | 0.99034 | -0.06692 | 0.0031817 | 0.0007974
41 | 0.99805 | -0.01346 | 0.0044026 | 0.0011034
42 | 0.98758 | -0.086174 | 0 | 0
43 | 0.9816 | -0.1282 | 0 | 0
44 | 1 | 0 | -0.20396 | -0.051328
45 | 0.99927 | -0.0051218 | 0.012665 | 0.0031741
46 | 0.99922 | -0.0054374 | 0.0045588 | 0.0011425
47 | 0.97625 | -0.16631 | 0.0081973 | 0.0020544
48 | 0.97456 | -0.17835 | 0.0038298 | 0.00095983
49 | 0.9856 | -0.10024 | 0.0042395 | 0.0010625
50 | 0.97345 | -0.18635 | 0.0051612 | 0.0012935
51 | 0.97327 | -0.18767 | 0.0033929 | 0.00085034
52 | 0.97264 | -0.19219 | 0.0046728 | 0.0011711
53 | 0.97109 | -0.20335 | 0.010294 | 0.0025799
54 | 0.97073 | -0.20593 | 0.0038576 | 0.0009668
55 | 0.97067 | -0.20636 | 0.003857 | 0.00096667
56 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0028649 | -0.00071801 | 0.002865 | 0.00071794 | 1.0376e-07 | -6.666e-08 | 0.0043918 | 0.0043918 | 0.0043918 | 0.97067 | -0.2067 | 0.97071 | -0.20644 | 1.6266
1 | -0.0066736 | -0.0016725 | 0.0066833 | 0.0016744 | 9.7232e-06 | 1.8962e-06 | 0.01023 | 0.010229 | 0.01023 | 0.97071 | -0.20644 | 0.97217 | -0.19592 | 3.7889
2 | 0.0029724 | 0.00074473 | -0.0029721 | -0.00074488 | 2.6907e-07 | -1.548e-07 | 0.0045495 | 0.0045496 | 0.0045496 | 0.97217 | -0.19592 | 0.97208 | -0.19657 | 1.685
3 | -0.012509 | -0.0031342 | 0.012511 | 0.003135 | 2.4226e-06 | 8.0041e-07 | 0.019146 | 0.019146 | 0.019146 | 0.97217 | -0.19592 | 0.97236 | -0.19452 | 7.0911
4 | -0.014587 | -0.0036551 | 0.014591 | 0.0036566 | 4.3689e-06 | 1.506e-06 | 0.022322 | 0.022322 | 0.022322 | 0.97236 | -0.19452 | 0.97266 | -0.19236 | 8.2674
5 | -0.018059 | -0.0045257 | 0.018064 | 0.0045276 | 5.1928e-06 | 1.8619e-06 | 0.027627 | 0.027627 | 0.027627 | 0.97266 | -0.19236 | 0.97295 | -0.19028 | 10.2322
6 | 0.020598 | 0.0051642 | -0.020584 | -0.0051591 | 1.3929e-05 | 5.0775e-06 | 0.031481 | 0.031481 | 0.031481 | 0.97363 | -0.18539 | 0.97295 | -0.19028 | 11.6595
7 | -0.025368 | -0.0063598 | 0.025388 | 0.0063669 | 1.9089e-05 | 7.0885e-06 | 0.038772 | 0.038772 | 0.038772 | 0.97363 | -0.18539 | 0.97439 | -0.17997 | 14.3599
8 | -0.028046 | -0.0070331 | 0.028078 | 0.0070453 | 3.2668e-05 | 1.2209e-05 | 0.042831 | 0.042831 | 0.042831 | 0.97439 | -0.17997 | 0.97556 | -0.17157 | 15.8633
9 | -0.071498 | -0.01801 | 0.071531 | 0.018022 | 3.2672e-05 | 1.2335e-05 | 0.10776 | 0.10776 | 0.10776 | 0.98754 | -0.086593 | 0.98801 | -0.083327 | 19.9565
10 | 0.071498 | 0.01801 | -0.071479 | -0.018002 | 1.9544e-05 | 7.379e-06 | 0.10776 | 0.10776 | 0.10776 | 0.98754 | -0.086593 | 0.98726 | -0.088548 | 19.9565
11 | -0.07528 | -0.018962 | 0.075559 | 0.019067 | 0.00027946 | 0.00010569 | 0.11341 | 0.11341 | 0.11341 | 0.98801 | -0.083327 | 0.99179 | -0.056878 | 21.002
12 | 0.0026568 | 0.00066576 | -0.0026567 | -0.00066583 | 8.0719e-08 | -7.211e-08 | 0.0040043 | 0.0040044 | 0.0040044 | 0.98726 | -0.088548 | 0.98723 | -0.088768 | 1.4831
13 | 0.068822 | 0.017337 | -0.068709 | -0.017294 | 0.0001124 | 4.2377e-05 | 0.10376 | 0.10376 | 0.10376 | 0.98726 | -0.088548 | 0.9856 | -0.10024 | 19.215
14 | -0.009485 | -0.0023772 | 0.009492 | 0.0023791 | 6.9753e-06 | 1.9688e-06 | 0.014225 | 0.014225 | 0.014225 | 0.99219 | -0.054152 | 0.99295 | -0.048843 | 5.2685
15 | 0.0056329 | 0.0014117 | -0.0056328 | -0.0014117 | 6.8915e-08 | 6.519e-09 | 0.0084478 | 0.0084478 | 0.0084478 | 0.99219 | -0.054152 | 0.99218 | -0.054241 | 3.1288
16 | 0.075645 | 0.0191 | -0.075559 | -0.019067 | 8.5314e-05 | 3.2264e-05 | 0.11341 | 0.11341 | 0.11341 | 0.99295 | -0.048843 | 0.99179 | -0.056878 | 21.0019
17 | -0.085136 | -0.021479 | 0.085215 | 0.021509 | 7.8965e-05 | 2.9969e-05 | 0.12763 | 0.12763 | 0.12763 | 0.99295 | -0.048843 | 0.9939 | -0.042237 | 23.6361
18 | -0.095274 | -0.02403 | 0.095597 | 0.024152 | 0.00032294 | 0.00012289 | 0.14269 | 0.14269 | 0.14269 | 0.9939 | -0.042237 | 0.99737 | -0.018144 | 26.4247
19 | -0.10126 | -0.025573 | 0.10136 | 0.02561 | 9.6963e-05 | 3.6938e-05 | 0.15115 | 0.15115 | 0.15115 | 0.99737 | -0.018144 | 0.99835 | -0.011339 | 27.9906
20 | 0.084266 | 0.021283 | -0.084241 | -0.021274 | 2.5124e-05 | 9.5298e-06 | 0.12565 | 0.12565 | 0.12565 | 0.99835 | -0.011339 | 0.99805 | -0.01346 | 23.2692
21 | -0.18563 | -0.046893 | 0.18592 | 0.047007 | 0.00029657 | 0.00011374 | 0.2768 | 0.2768 | 0.2768 | 0.99835 | -0.011339 | 1 | 0 | 51.2598
22 | -0.030588 | -0.0076744 | 0.030594 | 0.0076767 | 6.1817e-06 | 2.3208e-06 | 0.046659 | 0.046659 | 0.046659 | 0.97556 | -0.17157 | 0.97576 | -0.17012 | 17.2812
23 | -0.031288 | -0.0078506 | 0.031311 | 0.0078592 | 2.2864e-05 | 8.5926e-06 | 0.047717 | 0.047717 | 0.047717 | 0.97576 | -0.17012 | 0.9765 | -0.16485 | 17.6731
24 | 0.0078406 | 0.0019649 | -0.0078389 | -0.0019645 | 1.7125e-06 | 4.1578e-07 | 0.011918 | 0.011918 | 0.011918 | 0.97896 | -0.14734 | 0.97874 | -0.14891 | 4.414
25 | -0.010863 | -0.0027225 | 0.010865 | 0.002723 | 1.8678e-06 | 5.8032e-07 | 0.016512 | 0.016512 | 0.016512 | 0.97896 | -0.14734 | 0.97913 | -0.14609 | 6.1156
26 | 0.0037337 | 0.00093562 | -0.0037334 | -0.00093569 | 2.8424e-07 | -6.8319e-08 | 0.0056765 | 0.0056765 | 0.0056765 | 0.97874 | -0.14891 | 0.97866 | -0.14946 | 2.1024
27 | -0.013948 | -0.0034954 | 0.013957 | 0.0034983 | 8.7149e-06 | 2.9607e-06 | 0.021197 | 0.021197 | 0.021197 | 0.97913 | -0.14609 | 0.97976 | -0.14158 | 7.8508
28 | 0.0030828 | 0.00077233 | -0.0030824 | -0.00077253 | 3.8732e-07 | -2.0666e-07 | 0.004685 | 0.0046851 | 0.0046851 | 0.97913 | -0.14609 | 0.979 | -0.147 | 1.7352
29 | -0.05746 | -0.014429 | 0.057518 | 0.014452 | 5.8116e-05 | 2.2198e-05 | 0.087277 | 0.087277 | 0.087277 | 0.97976 | -0.14158 | 0.98078 | -0.13431 | 32.3249
30 | 0.043503 | 0.010931 | -0.043444 | -0.010909 | 5.8608e-05 | 2.2271e-05 | 0.06608 | 0.06608 | 0.06608 | 0.97976 | -0.14158 | 0.9784 | -0.15128 | 24.4742
31 | -0.059926 | -0.015055 | 0.060118 | 0.015129 | 0.00019205 | 7.3395e-05 | 0.090931 | 0.090931 | 0.090931 | 0.98078 | -0.13431 | 0.98403 | -0.11135 | 33.6782
32 | 0.0024647 | 0.00061757 | -0.0024646 | -0.00061768 | 1.0725e-07 | -1.1237e-07 | 0.0037484 | 0.0037485 | 0.0037485 | 0.9784 | -0.15128 | 0.97836 | -0.15159 | 1.3883
33 | 0.038515 | 0.0096735 | -0.038447 | -0.0096479 | 6.752e-05 | 2.5574e-05 | 0.058584 | 0.058584 | 0.058584 | 0.9784 | -0.15128 | 0.97663 | -0.16391 | 21.6977
34 | -0.06437 | -0.016194 | 0.06447 | 0.016232 | 9.9866e-05 | 3.7551e-05 | 0.097361 | 0.09736 | 0.097361 | 0.98403 | -0.11135 | 0.9856 | -0.10024 | 18.0297
35 | 0.0028315 | 0.00070934 | -0.0028312 | -0.00070956 | 3.2638e-07 | -2.2609e-07 | 0.0043141 | 0.0043142 | 0.0043142 | 0.97663 | -0.16391 | 0.97651 | -0.16474 | 1.5978
36 | 0.032009 | 0.0080347 | -0.032005 | -0.0080331 | 4.193e-06 | 1.5773e-06 | 0.048775 | 0.048775 | 0.048775 | 0.97663 | -0.16391 | 0.9765 | -0.16485 | 18.0647
37 | 0.0014282 | 0.00035794 | -0.0014282 | -0.00035794 | 2.4838e-10 | -9.5721e-10 | 0.0021763 | 0.0021763 | 0.0021763 | 0.97651 | -0.16474 | 0.97651 | -0.16474 | 0.80604
38 | -0.065575 | -0.016548 | 0.065704 | 0.016598 | 0.00012905 | 4.9357e-05 | 0.098332 | 0.098332 | 0.098332 | 0.99272 | -0.050349 | 0.99474 | -0.036357 | 36.4191
39 | 0.061191 | 0.01545 | -0.061064 | -0.015401 | 0.00012697 | 4.8524e-05 | 0.091761 | 0.091761 | 0.091761 | 0.99272 | -0.050349 | 0.9906 | -0.065148 | 33.9857
40 | -0.067225 | -0.016979 | 0.067323 | 0.017016 | 9.7838e-05 | 3.6824e-05 | 0.10061 | 0.10061 | 0.10061 | 0.99474 | -0.036357 | 0.99623 | -0.026021 | 18.6309
41 | 0.047207 | 0.011928 | -0.047195 | -0.011924 | 1.1766e-05 | 4.4773e-06 | 0.070946 | 0.070946 | 0.070946 | 0.9906 | -0.065148 | 0.99034 | -0.06692 | 26.2761
42 | -0.079697 | -0.020117 | 0.079838 | 0.020171 | 0.00014084 | 5.3339e-05 | 0.11909 | 0.11909 | 0.11909 | 0.99623 | -0.026021 | 0.99805 | -0.01346 | 22.0537
43 | 0.044013 | 0.011126 | -0.043894 | -0.011081 | 0.00011904 | 4.5227e-05 | 0.066165 | 0.066165 | 0.066165 | 0.99034 | -0.06692 | 0.98758 | -0.086174 | 24.5056
44 | 0.043894 | 0.011081 | -0.043637 | -0.010983 | 0.00025761 | 9.7883e-05 | 0.066165 | 0.066166 | 0.066166 | 0.98758 | -0.086174 | 0.9816 | -0.1282 | 24.5058
45 | 0.043637 | 0.010983 | -0.043406 | -0.010895 | 0.00023092 | 8.7752e-05 | 0.066166 | 0.066166 | 0.066166 | 0.9816 | -0.1282 | 0.97625 | -0.16631 | 24.5059
46 | 0.017236 | 0.0043209 | -0.017224 | -0.0043166 | 1.222e-05 | 4.3097e-06 | 0.025648 | 0.025648 | 0.025648 | 1 | 0 | 0.99927 | -0.0051218 | 9.4993
47 | 0.004559 | 0.0011425 | -0.0045588 | -0.0011425 | 1.9919e-07 | -1.4117e-08 | 0.0067888 | 0.0067889 | 0.0067889 | 0.99927 | -0.0051218 | 0.99922 | -0.0054374 | 2.5144
48 | 0.035208 | 0.008841 | -0.03515 | -0.0088188 | 5.8837e-05 | 2.2221e-05 | 0.053672 | 0.053672 | 0.053672 | 0.97625 | -0.16631 | 0.97456 | -0.17835 | 19.8784
49 | 0.03132 | 0.007859 | -0.031285 | -0.0078459 | 3.4702e-05 | 1.3044e-05 | 0.047824 | 0.047824 | 0.047824 | 0.97456 | -0.17835 | 0.97345 | -0.18635 | 17.7127
50 | 0.026124 | 0.0065524 | -0.026119 | -0.0065506 | 4.8075e-06 | 1.789e-06 | 0.039935 | 0.039935 | 0.039935 | 0.97345 | -0.18635 | 0.97327 | -0.18767 | 14.7907
51 | 0.022726 | 0.0057003 | -0.022712 | -0.0056951 | 1.4234e-05 | 5.2402e-06 | 0.034748 | 0.034748 | 0.034748 | 0.97327 | -0.18767 | 0.97264 | -0.19219 | 12.8695
52 | 0.018039 | 0.0045239 | -0.018011 | -0.004514 | 2.7865e-05 | 9.9908e-06 | 0.027599 | 0.027599 | 0.027599 | 0.97264 | -0.19219 | 0.97109 | -0.20335 | 10.2219
53 | 0.0077176 | 0.0019341 | -0.0077148 | -0.0019334 | 2.7525e-06 | 6.6858e-07 | 0.011826 | 0.011826 | 0.011826 | 0.97109 | -0.20335 | 0.97073 | -0.20593 | 4.38
54 | 0.0038573 | 0.00096662 | -0.003857 | -0.00096667 | 2.2728e-07 | -4.1373e-08 | 0.0059127 | 0.0059128 | 0.0059128 | 0.97073 | -0.20593 | 0.97067 | -0.20636 | 2.1899

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20763 | 0.052248

## res_load
| p_mw | q_mvar
0 | 0.0028649 | 0.00071801
1 | 0.0038086 | 0.00095453
2 | 0.0028532 | 0.00071508
3 | 0.0020754 | 0.00052014
4 | 0.0034677 | 0.00086909
5 | 0.0047707 | 0.0011956
6 | 0.0025199 | 0.00063154
7 | 0.0026582 | 0.00066621
8 | 0.0029721 | 0.00074488
9 | 0.0037489 | 0.00093957
10 | 0.0026567 | 0.00066583
11 | 0.0038521 | 0.00096543
12 | 0.0056328 | 0.0014117
13 | 0.010058 | 0.0025209
14 | 0.005668 | 0.0014205
15 | 0.0025099 | 0.00062903
16 | 0.00069392 | 0.00017391
17 | 0.0030227 | 0.00075757
18 | 0.0041052 | 0.0010289
19 | 0.0037334 | 0.00093569
20 | 0.0030824 | 0.00077253
21 | 0.0024085 | 0.00060363
22 | 0.0024645 | 0.00061767
23 | 0.0042518 | 0.0010656
24 | 0.0024646 | 0.00061768
25 | 0.0036065 | 0.00090388
26 | 0.00069392 | 0.00017391
27 | 0.001403 | 0.00035162
28 | 0.0014282 | 0.00035794
29 | 0.0043834 | 0.0010986
30 | 0.0015212 | 0.00038124
31 | 0.013857 | 0.003473
32 | 0.012375 | 0.0031014
33 | 0.0031817 | 0.0007974
34 | 0.0044026 | 0.0011034
35 | 0.0036706 | 0.00091993
36 | 0.012665 | 0.0031741
37 | 0.0045588 | 0.0011425
38 | 0.0081973 | 0.0020544
39 | 0.0038298 | 0.00095983
40 | 0.0042395 | 0.0010625
41 | 0.0051612 | 0.0012935
42 | 0.0033929 | 0.00085034
43 | 0.0046728 | 0.0011711
44 | 0.010294 | 0.0025799
45 | 0.0038576 | 0.0009668
46 | 0.003857 | 0.00096667

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1