## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1098-1_1_2_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_1098-1_1_2_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_1098-1_1_2_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_1098-1_1_2_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1098-1_1_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1098-1_1_2_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1098-1_1_2_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1098-1_1_2_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1098-1_1_2_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1098-1_1_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_1098-1_1_2_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_1098-1_1_2_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_1098-1_1_2_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_1098-1_1_2_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_1098-1_1_2_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_1098-1_1_2_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_1098-1_1_2_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1098-1_1_2_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_1098-1_1_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1098-1_1_2_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_1098-1_1_2_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1098-1_1_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1098-1_1_2_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1098-1_1_2_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_1098-1_1_2_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_1098-1_1_2_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_1098-1_1_2_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1098-1_1_2_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_1098-1_1_2_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_1098-1_1_2_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_1098-1_1_2_node_40 | 0.4 | n |  | TRUE
31 | bus_MV_2_1_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1098-1_1_2_load_10 | 2 | 0.010755 | 0.0026954 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1098-1_1_2_load_6 | 3 | 0.0054362 | 0.0013624 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1098-1_1_2_load_12 | 5 | 0.0035147 | 0.00088086 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1098-1_1_2_load_26 | 7 | 0.0024601 | 0.00061656 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1098-1_1_2_load_27 | 8 | 0.0025046 | 0.00062772 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1098-1_1_2_load_23 | 9 | 0.0026255 | 0.00065801 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1098-1_1_2_load_28 | 10 | 0.015731 | 0.0039427 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1098-1_1_2_load_30 | 11 | 0.0044258 | 0.0011092 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1098-1_1_2_load_32 | 13 | 0.0038312 | 0.0009602 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1098-1_1_2_load_38 | 14 | 0.0026442 | 0.00066271 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1098-1_1_2_load_41 | 15 | 0.0026245 | 0.00065777 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1098-1_1_2_load_24 | 16 | 0.0012858 | 0.00032224 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1098-1_1_2_load_31 | 17 | 0.0060886 | 0.0015259 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1098-1_1_2_load_21 | 18 | 0.0019416 | 0.00048662 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1098-1_1_2_load_18 | 19 | 0.0031657 | 0.00079341 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1098-1_1_2_load_19 | 20 | 0.00094541 | 0.00023694 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1098-1_1_2_load_20 | 21 | 0.0068415 | 0.0017147 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1098-1_1_2_load_25 | 22 | 0.0013585 | 0.00034046 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1098-1_1_2_load_42 | 24 | 0.0024601 | 0.00061656 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1098-1_1_2_load_33 | 25 | 0.0013485 | 0.00033797 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1098-1_1_2_load_34 | 26 | 0.001263 | 0.00031654 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1098-1_1_2_load_35 | 27 | 0.00091387 | 0.00022904 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1098-1_1_2_load_37 | 28 | 0.00085682 | 0.00021474 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1098-1_1_2_load_39 | 29 | 0.00091503 | 0.00022933 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1098-1_1_2_load_40 | 30 | 0.00085669 | 0.00021471 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1098-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.007366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1098-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1098-1_1_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.054451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1098-1_1_2_line_3 | NAYY 4x150 SE | 1 | 7 | 0.011964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1098-1_1_2_line_4 | NAYY 4x150 SE | 1 | 8 | 0.019552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1098-1_1_2_line_5 | NAYY 4x150 SE | 1 | 9 | 0.013934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1098-1_1_2_line_6 | NAYY 4x150 SE | 2 | 10 | 0.0029632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1098-1_1_2_line_7 | NAYY 4x150 SE | 3 | 4 | 0.012665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1098-1_1_2_line_8 | NAYY 4x150 SE | 4 | 5 | 0.019893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1098-1_1_2_line_9 | NAYY 4x150 SE | 4 | 6 | 0.053995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1098-1_1_2_line_10 | NAYY 4x150 SE | 5 | 11 | 0.017851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1098-1_1_2_line_11 | NAYY 4x150 SE | 6 | 12 | 0.051521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1098-1_1_2_line_12 | NAYY 4x150 SE | 6 | 13 | 0.076366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1098-1_1_2_line_13 | NAYY 4x150 SE | 7 | 14 | 0.0038655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1098-1_1_2_line_14 | NAYY 4x150 SE | 8 | 15 | 0.0063463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1098-1_1_2_line_15 | NAYY 4x150 SE | 9 | 16 | 0.0063441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1098-1_1_2_line_16 | NAYY 4x150 SE | 11 | 17 | 0.0032293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1098-1_1_2_line_17 | NAYY 4x150 SE | 12 | 18 | 0.11446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1098-1_1_2_line_18 | NAYY 4x150 SE | 14 | 23 | 0.01143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1098-1_1_2_line_19 | NAYY 4x150 SE | 15 | 24 | 0.0059677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1098-1_1_2_line_20 | NAYY 4x150 SE | 16 | 22 | 0.0064333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1098-1_1_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.017608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1098-1_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.024744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1098-1_1_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.00089426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1098-1_1_2_line_24 | NAYY 4x150 SE | 23 | 28 | 0.002803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1098-1_1_2_line_25 | NAYY 4x150 SE | 23 | 27 | 0.0064608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1098-1_1_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0063125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1098-1_1_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.019491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1098-1_1_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.019181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1098-1_1_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.0060976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1098-1_1_2_trafo_23 | 0.25 MVA 20/0.4 kV | 31 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2652225.7752 | 1214737.8516 | 2652223.4518 | 1214730.8604
1 | 2652225.7752 | 1214737.8516 | 2652228.6208 | 1214740.7115 | 2652242.6645 | 1214754.851
2 | 2652225.7752 | 1214737.8516 | 2652193.5912 | 1214751.6115 | 2652175.7293 | 1214759.306
3 | 2652223.4518 | 1214730.8604 | 2652219.9624 | 1214719.417
4 | 2652223.4518 | 1214730.8604 | 2652240.6301 | 1214721.5221
5 | 2652223.4518 | 1214730.8604 | 2652210.9 | 1214736.9101
6 | 2652242.6645 | 1214754.851 | 2652244.7526 | 1214756.9534
7 | 2652164.0975 | 1214764.3167 | 2652175.7293 | 1214759.306
8 | 2652164.0975 | 1214764.3167 | 2652171.2073 | 1214769.3486 | 2652177.8496 | 1214778.3454 | 2652177.8496 | 1214778.3454
9 | 2652114.3876 | 1214785.7284 | 2652164.0975 | 1214764.3167
10 | 2652177.8496 | 1214778.3454 | 2652184.0827 | 1214795.0733
11 | 2652084.6054 | 1214743.6876 | 2652090.6295 | 1214752.1786 | 2652093.9604 | 1214756.866 | 2652111.4474 | 1214781.5224 | 2652114.3876 | 1214785.7284
12 | 2652114.3876 | 1214785.7284 | 2652131.2414 | 1214809.8124 | 2652136.1093 | 1214816.7702 | 2652154.1306 | 1214850.7682
13 | 2652218.8349 | 1214715.7196 | 2652219.9624 | 1214719.417
14 | 2652240.6301 | 1214721.5221 | 2652246.2059 | 1214718.491
15 | 2652205.1851 | 1214739.6646 | 2652210.9 | 1214736.9101
16 | 2652185.2102 | 1214798.0994 | 2652184.0827 | 1214795.0733
17 | 2652084.6054 | 1214743.6876 | 2652100.1215 | 1214710.5698 | 2652106.9554 | 1214700.2678 | 2652118.0245 | 1214691.9928 | 2652152.6031 | 1214681.4443 | 2652167.8141 | 1214678.214
18 | 2652215.501 | 1214704.7862 | 2652218.8349 | 1214715.7196
19 | 2652251.449 | 1214715.6408 | 2652246.2059 | 1214718.491
20 | 2652205.1851 | 1214739.6646 | 2652199.3898 | 1214742.4578
21 | 2652185.038 | 1214674.5562 | 2652167.8141 | 1214678.214
22 | 2652200.2031 | 1214658.4964 | 2652200.2454 | 1214660.3594 | 2652198.5345 | 1214669.2831 | 2652192.2743 | 1214673.0195 | 2652185.9127 | 1214674.3705
23 | 2652185.9127 | 1214674.3705 | 2652185.038 | 1214674.5562
24 | 2652215.501 | 1214704.7862 | 2652217.8425 | 1214703.2453
25 | 2652215.501 | 1214704.7862 | 2652209.5543 | 1214707.3121
26 | 2652185.8045 | 1214717.3999 | 2652191.6146 | 1214714.932
27 | 2652191.6146 | 1214714.932 | 2652209.5543 | 1214707.3121
28 | 2652217.8425 | 1214703.2453 | 2652233.8651 | 1214692.701
29 | 2652238.9587 | 1214689.349 | 2652233.8651 | 1214692.701

## bus_geodata
| x | y | coords
0 | 2652225.7752 | 1214737.8516
1 | 2652223.4518 | 1214730.8604
2 | 2652242.6645 | 1214754.851
3 | 2652175.7293 | 1214759.306
4 | 2652164.0975 | 1214764.3167
5 | 2652177.8496 | 1214778.3454
6 | 2652114.3876 | 1214785.7284
7 | 2652219.9624 | 1214719.417
8 | 2652240.6301 | 1214721.5221
9 | 2652210.9 | 1214736.9101
10 | 2652244.7526 | 1214756.9534
11 | 2652184.0827 | 1214795.0733
12 | 2652084.6054 | 1214743.6876
13 | 2652154.1306 | 1214850.7682
14 | 2652218.8349 | 1214715.7196
15 | 2652246.2059 | 1214718.491
16 | 2652205.1851 | 1214739.6646
17 | 2652185.2102 | 1214798.0994
18 | 2652167.8141 | 1214678.214
19 | 2652200.2031 | 1214658.4964
20 | 2652185.9127 | 1214674.3705
21 | 2652185.038 | 1214674.5562
22 | 2652199.3898 | 1214742.4578
23 | 2652215.501 | 1214704.7862
24 | 2652251.449 | 1214715.6408
25 | 2652185.8045 | 1214717.3999
26 | 2652191.6146 | 1214714.932
27 | 2652209.5543 | 1214707.3121
28 | 2652217.8425 | 1214703.2453
29 | 2652233.8651 | 1214692.701
30 | 2652238.9587 | 1214689.349
31 | 2652223.4518 | 1214730.8604

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99771 | -0.015993 | 0 | 0
1 | 0.99837 | -0.011364 | 0 | 0
2 | 0.9968 | -0.022363 | 0.010755 | 0.0026954
3 | 0.99488 | -0.035829 | 0.0054362 | 0.0013624
4 | 0.99432 | -0.039764 | 0 | 0
5 | 0.99392 | -0.042583 | 0.0035147 | 0.00088086
6 | 0.99302 | -0.048908 | 0 | 0
7 | 0.99818 | -0.012713 | 0.0024601 | 0.00061656
8 | 0.99816 | -0.01285 | 0.0025046 | 0.00062772
9 | 1 | 0 | -0.085359 | -0.021237
10 | 0.99674 | -0.022831 | 0.015731 | 0.0039427
11 | 0.99365 | -0.04448 | 0.0044258 | 0.0011092
12 | 0.99206 | -0.055648 | 0 | 0
13 | 0.9926 | -0.051874 | 0.0038312 | 0.0009602
14 | 0.99813 | -0.013054 | 0.0026442 | 0.00066271
15 | 0.99811 | -0.013173 | 0.0026245 | 0.00065777
16 | 0.99998 | -0.00016748 | 0.0012858 | 0.00032224
17 | 0.99362 | -0.044678 | 0.0060886 | 0.0015259
18 | 0.98994 | -0.070657 | 0.0019416 | 0.00048662
19 | 0.98954 | -0.073459 | 0.0031657 | 0.00079341
20 | 0.98966 | -0.07266 | 0.00094541 | 0.00023694
21 | 0.98966 | -0.072623 | 0.0068415 | 0.0017147
22 | 0.99996 | -0.00025473 | 0.0013585 | 0.00034046
23 | 0.99803 | -0.01376 | 0 | 0
24 | 0.99809 | -0.013321 | 0.0024601 | 0.00061656
25 | 0.99791 | -0.014584 | 0.0013485 | 0.00033797
26 | 0.99793 | -0.014499 | 0.001263 | 0.00031654
27 | 0.998 | -0.013988 | 0.00091387 | 0.00022904
28 | 0.99802 | -0.013834 | 0.00085682 | 0.00021474
29 | 0.99797 | -0.014175 | 0.00091503 | 0.00022933
30 | 0.99797 | -0.014227 | 0.00085669 | 0.00021471
31 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.062892 | -0.015785 | 0.062932 | 0.0158 | 4.0447e-05 | 1.546e-05 | 0.093807 | 0.093807 | 0.093807 | 0.99771 | -0.015993 | 0.99837 | -0.011364 | 34.7432
1 | 0.026511 | 0.0066471 | -0.026487 | -0.0066384 | 2.3377e-05 | 8.6786e-06 | 0.03954 | 0.03954 | 0.03954 | 0.99771 | -0.015993 | 0.9968 | -0.022363 | 14.6444
2 | 0.036381 | 0.0091377 | -0.036281 | -0.0090999 | 0.00010006 | 3.7776e-05 | 0.054267 | 0.054267 | 0.054267 | 0.99771 | -0.015993 | 0.99488 | -0.035829 | 20.099
3 | 0.011262 | 0.0028218 | -0.01126 | -0.0028212 | 2.1032e-06 | 6.5251e-07 | 0.016785 | 0.016785 | 0.016785 | 0.99837 | -0.011364 | 0.99818 | -0.012713 | 6.2166
4 | 0.0075911 | 0.0019023 | -0.0075895 | -0.001902 | 1.5618e-06 | 3.4506e-07 | 0.011314 | 0.011314 | 0.011314 | 0.99837 | -0.011364 | 0.99816 | -0.01285 | 4.1904
5 | -0.081785 | -0.020524 | 0.081914 | 0.020574 | 0.00012921 | 4.9514e-05 | 0.12191 | 0.12191 | 0.12191 | 0.99837 | -0.011364 | 1 | 0 | 45.1502
6 | 0.015732 | 0.003943 | -0.015731 | -0.0039427 | 1.0198e-06 | 3.5362e-07 | 0.023485 | 0.023485 | 0.023485 | 0.9968 | -0.022363 | 0.99674 | -0.022831 | 8.6982
7 | 0.030845 | 0.0077375 | -0.030828 | -0.0077312 | 1.6822e-05 | 6.3058e-06 | 0.046136 | 0.046137 | 0.046137 | 0.99488 | -0.035829 | 0.99432 | -0.039764 | 17.0876
8 | 0.014037 | 0.0035187 | -0.014032 | -0.0035169 | 5.4783e-06 | 1.8491e-06 | 0.021007 | 0.021008 | 0.021008 | 0.99432 | -0.039764 | 0.99392 | -0.042583 | 7.7806
9 | 0.016791 | 0.0042125 | -0.016769 | -0.004205 | 2.1276e-05 | 7.4837e-06 | 0.025129 | 0.025129 | 0.025129 | 0.99432 | -0.039764 | 0.99302 | -0.048908 | 9.3072
10 | 0.010517 | 0.002636 | -0.010515 | -0.0026352 | 2.7617e-06 | 8.3091e-07 | 0.015746 | 0.015746 | 0.015746 | 0.99392 | -0.042583 | 0.99365 | -0.04448 | 5.8318
11 | 0.012937 | 0.0032452 | -0.012925 | -0.0032412 | 1.2083e-05 | 3.9813e-06 | 0.019386 | 0.019386 | 0.019386 | 0.99302 | -0.048908 | 0.99206 | -0.055648 | 7.1802
12 | 0.0038328 | 0.00095982 | -0.0038312 | -0.0009602 | 1.5718e-06 | -3.8297e-07 | 0.0057431 | 0.0057435 | 0.0057435 | 0.99302 | -0.048908 | 0.9926 | -0.051874 | 2.1272
13 | 0.0087996 | 0.0022046 | -0.0087992 | -0.0022045 | 4.1504e-07 | 1.0911e-07 | 0.013118 | 0.013118 | 0.013118 | 0.99818 | -0.012713 | 0.99813 | -0.013054 | 4.8584
14 | 0.0050849 | 0.0012743 | -0.0050847 | -0.0012743 | 2.2755e-07 | 4.5708e-09 | 0.0075803 | 0.0075803 | 0.0075803 | 0.99816 | -0.01285 | 0.99811 | -0.013173 | 2.8075
15 | 0.0026443 | 0.00066257 | -0.0026442 | -0.00066263 | 6.1289e-08 | -5.9655e-08 | 0.0039347 | 0.0039347 | 0.0039347 | 1 | 0 | 0.99998 | -0.00016748 | 1.4573
16 | 0.0060888 | 0.001526 | -0.0060886 | -0.0015259 | 1.6753e-07 | 2.2607e-08 | 0.009118 | 0.0091181 | 0.0091181 | 0.99365 | -0.04448 | 0.99362 | -0.044678 | 3.3771
17 | 0.012925 | 0.0032412 | -0.012898 | -0.0032324 | 2.6843e-05 | 8.8497e-06 | 0.019386 | 0.019387 | 0.019387 | 0.99206 | -0.055648 | 0.98994 | -0.070657 | 7.1804
18 | 0.006155 | 0.0015418 | -0.0061544 | -0.0015417 | 6.005e-07 | 8.1577e-08 | 0.0091755 | 0.0091756 | 0.0091756 | 0.99813 | -0.013054 | 0.99803 | -0.01376 | 3.3984
19 | 0.0024601 | 0.0006165 | -0.0024601 | -0.00061656 | 5.0092e-08 | -5.873e-08 | 0.0036676 | 0.0036677 | 0.0036677 | 0.99811 | -0.013173 | 0.99809 | -0.013321 | 1.3584
20 | 0.0013585 | 0.00034038 | -0.0013585 | -0.00034046 | 1.6404e-08 | -7.8086e-08 | 0.0020214 | 0.0020215 | 0.0020215 | 0.99998 | -0.00016748 | 0.99996 | -0.00025473 | 0.74869
21 | 0.010956 | 0.0027457 | -0.010953 | -0.0027448 | 2.9799e-06 | 9.198e-07 | 0.016468 | 0.016469 | 0.016469 | 0.98994 | -0.070657 | 0.98966 | -0.072623 | 6.0994
22 | -0.0031657 | -0.00079341 | 0.0031661 | 0.00079322 | 3.4989e-07 | -1.8333e-07 | 0.0047605 | 0.0047603 | 0.0047605 | 0.98954 | -0.073459 | 0.98966 | -0.07266 | 1.7631
23 | -0.0041115 | -0.0010302 | 0.0041115 | 0.0010302 | 2.1325e-08 | -3.2889e-09 | 0.0061818 | 0.0061818 | 0.0061818 | 0.98966 | -0.07266 | 0.98966 | -0.072623 | 2.2896
24 | 0.0026286 | 0.00065845 | -0.0026286 | -0.00065848 | 2.6864e-08 | -2.6296e-08 | 0.0039191 | 0.0039191 | 0.0039191 | 0.99803 | -0.01376 | 0.99802 | -0.013834 | 1.4515
25 | 0.0035257 | 0.00088325 | -0.0035256 | -0.00088329 | 1.114e-07 | -4.158e-08 | 0.0052565 | 0.0052566 | 0.0052566 | 0.99803 | -0.01376 | 0.998 | -0.013988 | 1.9469
26 | -0.0013485 | -0.00033797 | 0.0013485 | 0.0003379 | 1.5927e-08 | -7.6346e-08 | 0.0020108 | 0.0020108 | 0.0020108 | 0.99791 | -0.014584 | 0.99793 | -0.014499 | 0.74475
27 | -0.0026116 | -0.00065444 | 0.0026117 | 0.00065425 | 1.8442e-07 | -1.8373e-07 | 0.0038941 | 0.003894 | 0.0038941 | 0.99793 | -0.014499 | 0.998 | -0.013988 | 1.4423
28 | 0.0017718 | 0.00044374 | -0.0017717 | -0.00044396 | 8.3522e-08 | -2.1851e-07 | 0.0026416 | 0.0026417 | 0.0026417 | 0.99802 | -0.013834 | 0.99797 | -0.014175 | 0.9784
29 | 0.00085669 | 0.00021463 | -0.00085669 | -0.00021471 | 6.2082e-09 | -7.7284e-08 | 0.0012773 | 0.0012774 | 0.0012774 | 0.99797 | -0.014175 | 0.99797 | -0.014227 | 0.4731

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.087984 | 0.021895

## res_load
| p_mw | q_mvar
0 | 0.010755 | 0.0026954
1 | 0.0054362 | 0.0013624
2 | 0.0035147 | 0.00088086
3 | 0.0024601 | 0.00061656
4 | 0.0025046 | 0.00062772
5 | 0.0026255 | 0.00065801
6 | 0.015731 | 0.0039427
7 | 0.0044258 | 0.0011092
8 | 0.0038312 | 0.0009602
9 | 0.0026442 | 0.00066271
10 | 0.0026245 | 0.00065777
11 | 0.0012858 | 0.00032224
12 | 0.0060886 | 0.0015259
13 | 0.0019416 | 0.00048662
14 | 0.0031657 | 0.00079341
15 | 0.00094541 | 0.00023694
16 | 0.0068415 | 0.0017147
17 | 0.0013585 | 0.00034046
18 | 0.0024601 | 0.00061656
19 | 0.0013485 | 0.00033797
20 | 0.001263 | 0.00031654
21 | 0.00091387 | 0.00022904
22 | 0.00085682 | 0.00021474
23 | 0.00091503 | 0.00022933
24 | 0.00085669 | 0.00021471

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1