## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1098-24_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1098-24_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1098-24_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1098-24_0_3_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_1098-24_0_3_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_1098-24_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1098-24_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1098-24_0_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_1098-24_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1098-24_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1098-24_0_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_1098-24_0_3_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_1098-24_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_1098-24_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1098-24_0_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1098-24_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1098-24_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1098-24_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1098-24_0_3_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_1098-24_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1098-24_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1098-24_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1098-24_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1098-24_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1098-24_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1098-24_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1098-24_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1098-24_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1098-24_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1098-24_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1098-24_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1098-24_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1098-24_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1098-24_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_MV_2_1_node_180 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1098-24_0_3_load_0 | 0 | 0.017556 | 0.0043999 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1098-24_0_3_load_1 | 1 | 0.0091851 | 0.002302 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1098-24_0_3_load_24 | 4 | 0.0061248 | 0.001535 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1098-24_0_3_load_4 | 5 | 0.013724 | 0.0034396 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1098-24_0_3_load_19 | 7 | 0.017901 | 0.0044864 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1098-24_0_3_load_17 | 8 | 0.0095689 | 0.0023982 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1098-24_0_3_load_25 | 9 | 0.0059349 | 0.0014874 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1098-24_0_3_load_22 | 10 | 0.0091851 | 0.002302 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1098-24_0_3_load_34 | 11 | 0.0042187 | 0.0010573 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1098-24_0_3_load_18 | 14 | 0.012852 | 0.003221 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1098-24_0_3_load_8 | 16 | 0.004201 | 0.0010529 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1098-24_0_3_load_7 | 17 | 0.0069923 | 0.0017524 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1098-24_0_3_load_33 | 18 | 0.0026138 | 0.00065508 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1098-24_0_3_load_13 | 19 | 0.0030736 | 0.00077032 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1098-24_0_3_load_12 | 20 | 0.0026138 | 0.00065508 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1098-24_0_3_load_14 | 21 | 0.0026138 | 0.00065508 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1098-24_0_3_load_11 | 22 | 0.0074274 | 0.0018615 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1098-24_0_3_load_15 | 23 | 0.0030709 | 0.00076964 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1098-24_0_3_load_32 | 24 | 0.0030736 | 0.00077032 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1098-24_0_3_load_31 | 25 | 0.0064515 | 0.0016169 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1098-24_0_3_load_30 | 26 | 0.0058271 | 0.0014604 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1098-24_0_3_load_27 | 28 | 0.025774 | 0.0064597 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1098-24_0_3_load_28 | 29 | 0.0049828 | 0.0012488 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1098-24_0_3_load_26 | 30 | 0.0042177 | 0.0010571 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1098-24_0_3_load_35 | 31 | 0.0042177 | 0.001057 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1098-24_0_3_load_29 | 32 | 0.023936 | 0.0059989 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1098-24_0_3_load_36 | 33 | 0.00063946 | 0.00016026 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1098-24_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.044098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1098-24_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.029945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1098-24_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.00404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1098-24_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.10488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1098-24_0_3_line_4 | NAYY 4x150 SE | 3 | 9 | 0.039848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1098-24_0_3_line_5 | NAYY 4x150 SE | 3 | 10 | 0.034476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1098-24_0_3_line_6 | NAYY 4x150 SE | 4 | 11 | 0.02776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1098-24_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.029988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1098-24_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.036686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1098-24_0_3_line_9 | NAYY 4x150 SE | 6 | 8 | 0.049606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1098-24_0_3_line_10 | NAYY 4x150 SE | 7 | 12 | 0.023505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1098-24_0_3_line_11 | NAYY 4x150 SE | 8 | 14 | 0.036881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1098-24_0_3_line_12 | NAYY 4x150 SE | 9 | 30 | 0.051363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1098-24_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.053346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1098-24_0_3_line_14 | NAYY 4x150 SE | 11 | 31 | 0.0073091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1098-24_0_3_line_15 | NAYY 4x150 SE | 12 | 27 | 0.037901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1098-24_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.068695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1098-24_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.012721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1098-24_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.081829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1098-24_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.024319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1098-24_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.037442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1098-24_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.00084856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1098-24_0_3_line_22 | NAYY 4x150 SE | 19 | 23 | 0.00044435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1098-24_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.028832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1098-24_0_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.00084855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1098-24_0_3_line_25 | NAYY 4x150 SE | 20 | 22 | 0.010989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1098-24_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.00044435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1098-24_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.038197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1098-24_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.022224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1098-24_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.029622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1098-24_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.012699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1098-24_0_3_line_31 | NAYY 4x150 SE | 29 | 32 | 0.0033779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1098-24_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.053845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1098-24_0_3_trafo_19 | 0.25 MVA 20/0.4 kV | 34 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2652327.0404 | 1214763.7584 | 2652326.0433 | 1214763.0009 | 2652312.5937 | 1214752.6211 | 2652301.782 | 1214742.7871 | 2652293.5365 | 1214735.1458
1 | 2652274.054 | 1214712.5815 | 2652284.3051 | 1214726.5908 | 2652293.5365 | 1214735.1458
2 | 2652274.054 | 1214712.5815 | 2652277.3328 | 1214710.2088
3 | 2652274.054 | 1214712.5815 | 2652262.4307 | 1214700.0277 | 2652247.2088 | 1214674.3233 | 2652237.6154 | 1214648.5016 | 2652229.0337 | 1214619.3909
4 | 2652277.3328 | 1214710.2088 | 2652255.9418 | 1214676.5892
5 | 2652277.3328 | 1214710.2088 | 2652305.2634 | 1214689.9975
6 | 2652229.0337 | 1214619.3909 | 2652221.184 | 1214592.7637
7 | 2652390.6482 | 1214701.6755 | 2652374.1753 | 1214726.7339
8 | 2652390.6482 | 1214701.6755 | 2652364.9476 | 1214675.4967
9 | 2652390.6482 | 1214701.6755 | 2652395.0233 | 1214696.4108 | 2652395.9488 | 1214688.7476 | 2652412.5614 | 1214664.1566 | 2652416.4606 | 1214660.4708
10 | 2652348.4813 | 1214658.724 | 2652364.9476 | 1214675.4967
11 | 2652444.0495 | 1214636.1069 | 2652437.2895 | 1214640.782 | 2652416.4606 | 1214660.4708
12 | 2652264.2097 | 1214636.5607 | 2652247.83 | 1214646.7678 | 2652246.5771 | 1214650.2144 | 2652246.5416 | 1214654.2721 | 2652252.4994 | 1214671.1789 | 2652255.9418 | 1214676.5892
13 | 2652348.4813 | 1214658.724 | 2652305.2634 | 1214689.9975
14 | 2652219.1172 | 1214585.7529 | 2652221.184 | 1214592.7637
15 | 2652348.4813 | 1214658.724 | 2652379.057 | 1214636.2122
16 | 2652501.6515 | 1214598.7006 | 2652480.0783 | 1214612.1633 | 2652460.4647 | 1214624.754 | 2652444.0495 | 1214636.1069
17 | 2652501.6515 | 1214598.7006 | 2652505.0303 | 1214604.8229 | 2652507.7961 | 1214609.8392
18 | 2652507.7961 | 1214609.8392 | 2652468.112 | 1214629.9799 | 2652444.5733 | 1214646.7608 | 2652438.5755 | 1214652.6684
19 | 2652438.5755 | 1214652.6684 | 2652460.9467 | 1214662.2036
20 | 2652403.4268 | 1214696.7353 | 2652440.8471 | 1214698.0055
21 | 2652441.0819 | 1214697.1901 | 2652440.8471 | 1214698.0055
22 | 2652461.2304 | 1214661.8617 | 2652460.9467 | 1214662.2036
23 | 2652460.9467 | 1214662.2036 | 2652455.3061 | 1214669.0018 | 2652447.5666 | 1214680.3072 | 2652444.9403 | 1214686.0311
24 | 2652441.3167 | 1214696.3747 | 2652441.0819 | 1214697.1901
25 | 2652444.9403 | 1214686.0311 | 2652443.2073 | 1214689.8079 | 2652441.3167 | 1214696.3747
26 | 2652461.5141 | 1214661.5197 | 2652461.2304 | 1214661.8617
27 | 2652426.1172 | 1214598.318 | 2652396.3666 | 1214622.2741
28 | 2652379.057 | 1214636.2122 | 2652396.3666 | 1214622.2741
29 | 2652379.057 | 1214636.2122 | 2652376.7138 | 1214632.356 | 2652372.4581 | 1214630.0839 | 2652366.7479 | 1214630.8453 | 2652353.9278 | 1214637.6718
30 | 2652353.9278 | 1214637.6718 | 2652342.7186 | 1214643.6404
31 | 2652339.737 | 1214645.2281 | 2652342.7186 | 1214643.6404
32 | 2652219.1172 | 1214585.7529 | 2652214.4788 | 1214570.0186 | 2652213.3069 | 1214565.9504 | 2652210.0244 | 1214560.0626 | 2652205.6832 | 1214551.0636 | 2652199.6852 | 1214535.7195

## bus_geodata
| x | y | coords
0 | 2652327.0404 | 1214763.7584
1 | 2652293.5365 | 1214735.1458
2 | 2652274.054 | 1214712.5815
3 | 2652277.3328 | 1214710.2088
4 | 2652229.0337 | 1214619.3909
5 | 2652374.1753 | 1214726.7339
6 | 2652390.6482 | 1214701.6755
7 | 2652364.9476 | 1214675.4967
8 | 2652416.4606 | 1214660.4708
9 | 2652255.9418 | 1214676.5892
10 | 2652305.2634 | 1214689.9975
11 | 2652221.184 | 1214592.7637
12 | 2652348.4813 | 1214658.724
13 | 2652501.6515 | 1214598.7006
14 | 2652444.0495 | 1214636.1069
15 | 2652507.7961 | 1214609.8392
16 | 2652438.5755 | 1214652.6684
17 | 2652403.4268 | 1214696.7353
18 | 2652440.8471 | 1214698.0055
19 | 2652460.9467 | 1214662.2036
20 | 2652441.3167 | 1214696.3747
21 | 2652441.0819 | 1214697.1901
22 | 2652444.9403 | 1214686.0311
23 | 2652461.2304 | 1214661.8617
24 | 2652461.5141 | 1214661.5197
25 | 2652426.1172 | 1214598.318
26 | 2652396.3666 | 1214622.2741
27 | 2652379.057 | 1214636.2122
28 | 2652353.9278 | 1214637.6718
29 | 2652342.7186 | 1214643.6404
30 | 2652264.2097 | 1214636.5607
31 | 2652219.1172 | 1214585.7529
32 | 2652339.737 | 1214645.2281
33 | 2652199.6852 | 1214535.7195
34 | 2652348.4813 | 1214658.724

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98801 | -0.084054 | 0.017556 | 0.0043999
1 | 0.98913 | -0.076147 | 0.0091851 | 0.002302
2 | 0.99029 | -0.067987 | 0 | 0
3 | 0.99053 | -0.066262 | 0 | 0
4 | 0.98799 | -0.084263 | 0.0061248 | 0.001535
5 | 0.9956 | -0.030554 | 0.013724 | 0.0034396
6 | 0.99619 | -0.026412 | 0 | 0
7 | 1 | 0 | -0.20306 | -0.050969
8 | 0.99201 | -0.055536 | 0.0095689 | 0.0023982
9 | 0.98995 | -0.070382 | 0.0059349 | 0.0014874
10 | 0.99312 | -0.048027 | 0.0091851 | 0.002302
11 | 0.98762 | -0.086842 | 0.0042187 | 0.0010573
12 | 0.99783 | -0.015082 | 0 | 0
13 | 0.98585 | -0.098841 | 0 | 0
14 | 0.98941 | -0.073746 | 0.012852 | 0.003221
15 | 0.98518 | -0.10351 | 0 | 0
16 | 0.98093 | -0.13367 | 0.004201 | 0.0010529
17 | 0.97824 | -0.15292 | 0.0069923 | 0.0017524
18 | 0.97862 | -0.15019 | 0.0026138 | 0.00065508
19 | 0.97982 | -0.14162 | 0.0030736 | 0.00077032
20 | 0.97865 | -0.15 | 0.0026138 | 0.00065508
21 | 0.97863 | -0.15011 | 0.0026138 | 0.00065508
22 | 0.97889 | -0.1483 | 0.0074274 | 0.0018615
23 | 0.97982 | -0.14165 | 0.0030709 | 0.00076964
24 | 0.97981 | -0.14166 | 0.0030736 | 0.00077032
25 | 0.99344 | -0.045873 | 0.0064515 | 0.0016169
26 | 0.99379 | -0.043381 | 0.0058271 | 0.0014604
27 | 0.99418 | -0.040624 | 0 | 0
28 | 0.99185 | -0.057022 | 0.025774 | 0.0064597
29 | 0.99133 | -0.060749 | 0.0049828 | 0.0012488
30 | 0.98964 | -0.07259 | 0.0042177 | 0.0010571
31 | 0.98757 | -0.087206 | 0.0042177 | 0.001057
32 | 0.99121 | -0.061571 | 0.023936 | 0.0059989
33 | 0.98752 | -0.08756 | 0.00063946 | 0.00016026
34 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.017556 | -0.0043999 | 0.017575 | 0.0044067 | 1.9237e-05 | 6.8333e-06 | 0.02644 | 0.02644 | 0.02644 | 0.98801 | -0.084054 | 0.98913 | -0.076147 | 9.7926
1 | -0.02676 | -0.0067087 | 0.02679 | 0.00672 | 3.0284e-05 | 1.1263e-05 | 0.040258 | 0.040257 | 0.040258 | 0.98913 | -0.076147 | 0.99029 | -0.067987 | 14.9102
2 | -0.042029 | -0.010542 | 0.042039 | 0.010545 | 1.0055e-05 | 3.8154e-06 | 0.063156 | 0.063156 | 0.063156 | 0.99029 | -0.067987 | 0.99053 | -0.066262 | 23.3911
3 | 0.015238 | 0.0038217 | -0.015204 | -0.0038098 | 3.4315e-05 | 1.1852e-05 | 0.022898 | 0.022899 | 0.022899 | 0.99029 | -0.067987 | 0.98799 | -0.084263 | 8.4811
4 | 0.01016 | 0.002546 | -0.010154 | -0.0025443 | 5.792e-06 | 1.7151e-06 | 0.015262 | 0.015262 | 0.015262 | 0.99053 | -0.066262 | 0.98995 | -0.070382 | 5.6527
5 | -0.052198 | -0.013092 | 0.052331 | 0.013142 | 0.00013229 | 5.0437e-05 | 0.078418 | 0.078418 | 0.078418 | 0.99053 | -0.066262 | 0.99312 | -0.048027 | 29.0437
6 | 0.0090793 | 0.0022748 | -0.0090761 | -0.0022739 | 3.239e-06 | 8.9042e-07 | 0.013674 | 0.013674 | 0.013674 | 0.98799 | -0.084263 | 0.98762 | -0.086842 | 5.0646
7 | -0.013724 | -0.0034396 | 0.013732 | 0.0034422 | 7.873e-06 | 2.6379e-06 | 0.020512 | 0.020512 | 0.020512 | 0.9956 | -0.030554 | 0.99619 | -0.026412 | 7.597
8 | -0.072558 | -0.018278 | 0.072827 | 0.018381 | 0.00026906 | 0.000103 | 0.10841 | 0.10841 | 0.10841 | 0.99619 | -0.026412 | 1 | 0 | 40.1531
9 | 0.058826 | 0.014836 | -0.058587 | -0.014744 | 0.00023917 | 9.1347e-05 | 0.087902 | 0.087902 | 0.087902 | 0.99619 | -0.026412 | 0.99201 | -0.055536 | 32.5562
10 | 0.12943 | 0.032588 | -0.12916 | -0.032484 | 0.00027216 | 0.00010406 | 0.19265 | 0.19265 | 0.19265 | 1 | 0 | 0.99783 | -0.015082 | 35.6754
11 | 0.049018 | 0.012346 | -0.048893 | -0.012299 | 0.00012449 | 4.7406e-05 | 0.073548 | 0.073549 | 0.073549 | 0.99201 | -0.055536 | 0.98941 | -0.073746 | 27.2402
12 | 0.004219 | 0.0010569 | -0.0042177 | -0.0010571 | 1.289e-06 | -1.6441e-07 | 0.0063415 | 0.0063417 | 0.0063417 | 0.98995 | -0.070382 | 0.98964 | -0.07259 | 2.3488
13 | -0.061516 | -0.015444 | 0.061799 | 0.015552 | 0.00028285 | 0.0001081 | 0.09218 | 0.09218 | 0.09218 | 0.99312 | -0.048027 | 0.99783 | -0.015082 | 34.1408
14 | 0.0048574 | 0.0012166 | -0.0048572 | -0.0012166 | 2.4426e-07 | 4.2142e-10 | 0.0073182 | 0.0073182 | 0.0073182 | 0.98762 | -0.086842 | 0.98757 | -0.087206 | 2.7105
15 | 0.067359 | 0.016932 | -0.067121 | -0.016841 | 0.00023872 | 9.1322e-05 | 0.10047 | 0.10047 | 0.10047 | 0.99783 | -0.015082 | 0.99418 | -0.040624 | 37.2102
16 | -0.035916 | -0.0090303 | 0.036042 | 0.0090779 | 0.00012602 | 4.759e-05 | 0.054221 | 0.05422 | 0.054221 | 0.98585 | -0.098841 | 0.98941 | -0.073746 | 20.0817
17 | 0.035916 | 0.0090303 | -0.035892 | -0.0090215 | 2.3336e-05 | 8.8135e-06 | 0.054221 | 0.054221 | 0.054221 | 0.98585 | -0.098841 | 0.98518 | -0.10351 | 20.0817
18 | 0.035892 | 0.0090215 | -0.035742 | -0.0089648 | 0.00015012 | 5.6699e-05 | 0.054221 | 0.054221 | 0.054221 | 0.98518 | -0.10351 | 0.98093 | -0.13367 | 20.0819
19 | 0.031541 | 0.0079119 | -0.031506 | -0.0078989 | 3.4742e-05 | 1.3056e-05 | 0.047848 | 0.047848 | 0.047848 | 0.98093 | -0.13367 | 0.97982 | -0.14162 | 17.7216
20 | -0.0069923 | -0.0017524 | 0.0069949 | 0.001753 | 2.643e-06 | 5.4628e-07 | 0.010636 | 0.010636 | 0.010636 | 0.97824 | -0.15292 | 0.97862 | -0.15019 | 3.9393
21 | -0.0096087 | -0.0024081 | 0.0096088 | 0.0024081 | 1.1303e-07 | 3.281e-08 | 0.01461 | 0.01461 | 0.01461 | 0.97862 | -0.15019 | 0.97863 | -0.15011 | 5.4112
22 | 0.0061446 | 0.00154 | -0.0061445 | -0.00154 | 2.4144e-08 | 3.6896e-09 | 0.0093315 | 0.0093315 | 0.0093315 | 0.97982 | -0.14162 | 0.97982 | -0.14165 | 3.4561
23 | 0.022288 | 0.0055886 | -0.022268 | -0.005581 | 2.0614e-05 | 7.5655e-06 | 0.033849 | 0.033849 | 0.033849 | 0.97982 | -0.14162 | 0.97889 | -0.1483 | 12.5367
24 | 0.012223 | 0.0030632 | -0.012223 | -0.0030632 | 1.8288e-07 | 5.9677e-08 | 0.018585 | 0.018585 | 0.018585 | 0.97865 | -0.15 | 0.97863 | -0.15011 | 6.8832
25 | -0.014837 | -0.0037183 | 0.01484 | 0.0037195 | 3.4895e-06 | 1.204e-06 | 0.022559 | 0.022559 | 0.022559 | 0.97865 | -0.15 | 0.97889 | -0.1483 | 8.3551
26 | 0.0030736 | 0.00077032 | -0.0030736 | -0.00077032 | 6.0414e-09 | -3.2727e-09 | 0.0046678 | 0.0046678 | 0.0046678 | 0.97982 | -0.14165 | 0.97981 | -0.14166 | 1.7288
27 | -0.0064515 | -0.0016169 | 0.0064537 | 0.0016172 | 2.2256e-06 | 3.6127e-07 | 0.0096633 | 0.0096631 | 0.0096633 | 0.99344 | -0.045873 | 0.99379 | -0.043381 | 3.579
28 | -0.012281 | -0.0030777 | 0.012285 | 0.0030792 | 4.6889e-06 | 1.5154e-06 | 0.018388 | 0.018388 | 0.018388 | 0.99379 | -0.043381 | 0.99418 | -0.040624 | 6.8104
29 | 0.054835 | 0.013761 | -0.054711 | -0.013714 | 0.00012453 | 4.7512e-05 | 0.08208 | 0.08208 | 0.08208 | 0.99418 | -0.040624 | 0.99185 | -0.057022 | 30.3999
30 | 0.028936 | 0.0072543 | -0.028921 | -0.0072487 | 1.4934e-05 | 5.5801e-06 | 0.043412 | 0.043412 | 0.043412 | 0.99185 | -0.057022 | 0.99133 | -0.060749 | 16.0785
31 | 0.023938 | 0.0059999 | -0.023936 | -0.0059989 | 2.7215e-06 | 1.0032e-06 | 0.035933 | 0.035933 | 0.035933 | 0.99133 | -0.060749 | 0.99121 | -0.061571 | 13.3084
32 | 0.00063949 | 0.00015959 | -0.00063946 | -0.00016026 | 3.1187e-08 | -6.7692e-07 | 0.00096331 | 0.00096355 | 0.00096355 | 0.98757 | -0.087206 | 0.98752 | -0.08756 | 0.35687

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22096 | 0.055456

## res_load
| p_mw | q_mvar
0 | 0.017556 | 0.0043999
1 | 0.0091851 | 0.002302
2 | 0.0061248 | 0.001535
3 | 0.013724 | 0.0034396
4 | 0.017901 | 0.0044864
5 | 0.0095689 | 0.0023982
6 | 0.0059349 | 0.0014874
7 | 0.0091851 | 0.002302
8 | 0.0042187 | 0.0010573
9 | 0.012852 | 0.003221
10 | 0.004201 | 0.0010529
11 | 0.0069923 | 0.0017524
12 | 0.0026138 | 0.00065508
13 | 0.0030736 | 0.00077032
14 | 0.0026138 | 0.00065508
15 | 0.0026138 | 0.00065508
16 | 0.0074274 | 0.0018615
17 | 0.0030709 | 0.00076964
18 | 0.0030736 | 0.00077032
19 | 0.0064515 | 0.0016169
20 | 0.0058271 | 0.0014604
21 | 0.025774 | 0.0064597
22 | 0.0049828 | 0.0012488
23 | 0.0042177 | 0.0010571
24 | 0.0042177 | 0.001057
25 | 0.023936 | 0.0059989
26 | 0.00063946 | 0.00016026

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1