## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1098-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1098-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1098-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1098-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1098-2_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1098-2_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1098-2_0_2_node_152 | 0.4 | n |  | TRUE
7 | bus_LV_1098-2_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1098-2_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1098-2_0_2_node_394 | 0.4 | n |  | TRUE
10 | bus_LV_1098-2_0_2_node_236 | 0.4 | n |  | TRUE
11 | bus_LV_1098-2_0_2_node_266 | 0.4 | n |  | TRUE
12 | bus_LV_1098-2_0_2_node_233 | 0.4 | n |  | TRUE
13 | bus_LV_1098-2_0_2_node_267 | 0.4 | n |  | TRUE
14 | bus_LV_1098-2_0_2_node_268 | 0.4 | n |  | TRUE
15 | bus_LV_1098-2_0_2_node_295 | 0.4 | n |  | TRUE
16 | bus_LV_1098-2_0_2_node_293 | 0.4 | n |  | TRUE
17 | bus_LV_1098-2_0_2_node_294 | 0.4 | n |  | TRUE
18 | bus_LV_1098-2_0_2_node_319 | 0.4 | n |  | TRUE
19 | bus_LV_1098-2_0_2_node_308 | 0.4 | n |  | TRUE
20 | bus_LV_1098-2_0_2_node_317 | 0.4 | n |  | TRUE
21 | bus_LV_1098-2_0_2_node_318 | 0.4 | n |  | TRUE
22 | bus_LV_1098-2_0_2_node_334 | 0.4 | n |  | TRUE
23 | bus_LV_1098-2_0_2_node_240 | 0.4 | n |  | TRUE
24 | bus_LV_1098-2_0_2_node_335 | 0.4 | n |  | TRUE
25 | bus_LV_1098-2_0_2_node_336 | 0.4 | n |  | TRUE
26 | bus_LV_1098-2_0_2_node_338 | 0.4 | n |  | TRUE
27 | bus_LV_1098-2_0_2_node_228 | 0.4 | n |  | TRUE
28 | bus_LV_1098-2_0_2_node_229 | 0.4 | n |  | TRUE
29 | bus_LV_1098-2_0_2_node_230 | 0.4 | n |  | TRUE
30 | bus_LV_1098-2_0_2_node_231 | 0.4 | n |  | TRUE
31 | bus_LV_1098-2_0_2_node_232 | 0.4 | n |  | TRUE
32 | bus_LV_1098-2_0_2_node_234 | 0.4 | n |  | TRUE
33 | bus_LV_1098-2_0_2_node_237 | 0.4 | n |  | TRUE
34 | bus_LV_1098-2_0_2_node_235 | 0.4 | n |  | TRUE
35 | bus_LV_1098-2_0_2_node_238 | 0.4 | n |  | TRUE
36 | bus_LV_1098-2_0_2_node_239 | 0.4 | n |  | TRUE
37 | bus_MV_0_node_235 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1098-2_0_2_load_0 | 0 | 0.0036145 | 0.00090588 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1098-2_0_2_load_2 | 2 | 0.0024409 | 0.00061176 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1098-2_0_2_load_5 | 4 | 0.000367 | 9.1979e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1098-2_0_2_load_6 | 5 | 0.00023655 | 5.9285e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1098-2_0_2_load_152 | 6 | 0.0016579 | 0.00041551 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1098-2_0_2_load_7 | 7 | 0.000213 | 5.3382e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1098-2_0_2_load_8 | 8 | 0.00045559 | 0.00011418 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1098-2_0_2_load_394 | 9 | 0.00083441 | 0.00020912 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1098-2_0_2_load_236 | 10 | 0.0010929 | 0.0002739 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1098-2_0_2_load_233 | 12 | 0.00093891 | 0.00023531 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1098-2_0_2_load_268 | 14 | 0.0010559 | 0.00026464 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1098-2_0_2_load_295 | 15 | 0.0030763 | 0.00077098 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1098-2_0_2_load_294 | 17 | 0.0099938 | 0.0025047 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1098-2_0_2_load_319 | 18 | 0.0026976 | 0.00067609 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1098-2_0_2_load_308 | 19 | 0.001461 | 0.00036617 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1098-2_0_2_load_334 | 22 | 0.0032889 | 0.00082428 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1098-2_0_2_load_240 | 23 | 0.00055337 | 0.00013869 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1098-2_0_2_load_335 | 24 | 0.0013334 | 0.00033417 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1098-2_0_2_load_336 | 25 | 0.0033855 | 0.00084848 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1098-2_0_2_load_338 | 26 | 0.0018593 | 0.00046599 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1098-2_0_2_load_228 | 27 | 0.0019264 | 0.0004828 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1098-2_0_2_load_229 | 28 | 0.0030931 | 0.00077521 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1098-2_0_2_load_231 | 30 | 0.001692 | 0.00042406 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1098-2_0_2_load_232 | 31 | 0.00059908 | 0.00015014 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1098-2_0_2_load_234 | 32 | 0.00045295 | 0.00011352 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1098-2_0_2_load_235 | 34 | 0.0023047 | 0.0005776 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1098-2_0_2_load_238 | 35 | 0.00071114 | 0.00017823 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1098-2_0_2_load_239 | 36 | 0.00051941 | 0.00013018 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1098-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.035995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1098-2_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0022806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1098-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.26951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1098-2_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.24064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1098-2_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.18043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1098-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.036601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1098-2_0_2_line_6 | NAYY 4x150 SE | 6 | 9 | 0.019428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1098-2_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.063938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1098-2_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.4003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1098-2_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.38056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1098-2_0_2_line_10 | NAYY 4x150 SE | 10 | 34 | 0.0494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1098-2_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.012729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1098-2_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.028182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1098-2_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.022784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1098-2_0_2_line_14 | NAYY 4x150 SE | 12 | 30 | 0.038995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1098-2_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.014346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1098-2_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.028046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1098-2_0_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.01442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1098-2_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0074238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1098-2_0_2_line_19 | NAYY 4x150 SE | 18 | 21 | 0.15777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1098-2_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.20286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1098-2_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.19287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1098-2_0_2_line_22 | NAYY 4x150 SE | 22 | 23 | 0.052107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1098-2_0_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.02525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1098-2_0_2_line_24 | NAYY 4x150 SE | 23 | 36 | 0.0042092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1098-2_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0041996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1098-2_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.034506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1098-2_0_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.04101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1098-2_0_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.033562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1098-2_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.045235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1098-2_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.0068856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1098-2_0_2_line_31 | NAYY 4x150 SE | 31 | 32 | 0.0095309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1098-2_0_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.036314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1098-2_0_2_line_33 | NAYY 4x150 SE | 33 | 35 | 0.022325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1098-2_0_2_line_34 | NAYY 4x150 SE | 33 | 36 | 0.029031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1098-2_0_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.041691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1098-2_0_2_trafo_235 | 0.25 MVA 20/0.4 kV | 37 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2654633.3047 | 1211263.984 | 2654624.4953 | 1211261.7465 | 2654604.7546 | 1211259.1309 | 2654601.2991 | 1211258.0876 | 2654598.6167 | 1211256.0253
1 | 2654633.3047 | 1211263.984 | 2654634.4379 | 1211262.0049
2 | 2654445.7981 | 1211450.9712 | 2654484.7791 | 1211392.7366 | 2654492.8387 | 1211384.7053 | 2654502.4867 | 1211379.1457 | 2654524.877 | 1211370.3449 | 2654540.0489 | 1211360.6666 | 2654595.3762 | 1211313.2552 | 2654606.916 | 1211301.1091 | 2654628.4627 | 1211272.4558 | 2654633.3047 | 1211263.984
3 | 2654445.7981 | 1211450.9712 | 2654463.2622 | 1211462.3595 | 2654499.5566 | 1211482.7697 | 2654547.8268 | 1211516.4085 | 2654558.8203 | 1211520.7338 | 2654573.0281 | 1211521.731 | 2654588.5655 | 1211517.7485 | 2654601.9396 | 1211511.8673 | 2654632.5755 | 1211494.604 | 2654646.5499 | 1211489.5622 | 2654659.0703 | 1211488.2478
4 | 2654445.7981 | 1211450.9712 | 2654406.403 | 1211498.885 | 2654393.3362 | 1211511.0843 | 2654381.6047 | 1211516.8475 | 2654370.6983 | 1211518.7827 | 2654321.405 | 1211523.9702 | 2654308.122 | 1211527.3959 | 2654296.8494 | 1211534.0617
5 | 2654659.0703 | 1211488.2478 | 2654662.6211 | 1211487.875 | 2654675.8307 | 1211485.0388 | 2654693.2639 | 1211479.0171 | 2654694.2577 | 1211478.6037
6 | 2654694.2577 | 1211478.6037 | 2654712.1958 | 1211471.1415
7 | 2655149.0419 | 1211470.3654 | 2655139.3163 | 1211446.2016 | 2655128.2803 | 1211432.5248 | 2655109.7384 | 1211424.2199
8 | 2654712.1958 | 1211471.1415 | 2655109.7384 | 1211424.2199
9 | 2655474.6138 | 1211667.4111 | 2655149.0419 | 1211470.3654
10 | 2655508.7798 | 1211633.4437 | 2655501.2709 | 1211638.0603 | 2655491.9823 | 1211646.5901 | 2655485.7793 | 1211658.3173 | 2655482.4575 | 1211662.5445 | 2655477.3444 | 1211664.9317 | 2655474.6138 | 1211667.4111
11 | 2655685.6382 | 1211638.9448 | 2655672.9325 | 1211638.1803
12 | 2655703.4825 | 1211659.7572 | 2655700.5766 | 1211653.593 | 2655691.3419 | 1211641.6775 | 2655685.6382 | 1211638.9448
13 | 2655685.6382 | 1211638.9448 | 2655708.3961 | 1211640.0275
14 | 2655634.0079 | 1211635.8381 | 2655672.9325 | 1211638.1803
15 | 2655703.4825 | 1211659.7572 | 2655699.826 | 1211673.6289
16 | 2655736.3658 | 1211639.6966 | 2655725.1856 | 1211640.8262 | 2655708.3961 | 1211640.0275
17 | 2655693.962 | 1211686.6961 | 2655697.1314 | 1211681.5999 | 2655699.4571 | 1211675.0288 | 2655699.826 | 1211673.6289
18 | 2655736.3658 | 1211639.6966 | 2655729.9014 | 1211643.3469
19 | 2655618.8273 | 1211825.3336 | 2655657.5202 | 1211750.9164 | 2655677.7729 | 1211712.3043 | 2655692.7112 | 1211688.7073 | 2655693.962 | 1211686.6961
20 | 2655529.1736 | 1211996.2012 | 2655449.6049 | 1212117.4786 | 2655419.2005 | 1212166.6513
21 | 2655529.1736 | 1211996.2012 | 2655618.8273 | 1211825.3336
22 | 2655575.9317 | 1211600.6616 | 2655623.0332 | 1211578.3783
23 | 2655646.8609 | 1211571.3166 | 2655636.0731 | 1211572.2093 | 2655623.0332 | 1211578.3783
24 | 2655575.9317 | 1211600.6616 | 2655572.1268 | 1211602.4616
25 | 2655646.8609 | 1211571.3166 | 2655651.0461 | 1211570.9703
26 | 2655684.2774 | 1211565.7661 | 2655675.7302 | 1211569.7109 | 2655662.3075 | 1211572.5541 | 2655651.0461 | 1211570.9703
27 | 2655620.1861 | 1211626.7899 | 2655625.2865 | 1211625.6407 | 2655640.6879 | 1211619.1915 | 2655653.4912 | 1211616.7539 | 2655659.2081 | 1211614.7708
28 | 2655588.819 | 1211634.0727 | 2655592.3068 | 1211629.9805 | 2655604.5056 | 1211627.9929 | 2655614.4359 | 1211628.0855 | 2655620.1861 | 1211626.7899
29 | 2655588.819 | 1211634.0727 | 2655609.3245 | 1211634.3528 | 2655634.0079 | 1211635.8381
30 | 2655588.819 | 1211634.0727 | 2655581.9658 | 1211634.7396
31 | 2655581.9658 | 1211634.7396 | 2655572.4797 | 1211635.6627
32 | 2655545.4084 | 1211613.7675 | 2655555.2784 | 1211626.8561 | 2655563.2718 | 1211633.4011 | 2655570.8857 | 1211635.8178 | 2655572.4797 | 1211635.6627
33 | 2655545.4084 | 1211613.7675 | 2655537.3062 | 1211594.4249 | 2655537.1096 | 1211593.085
34 | 2655545.4084 | 1211613.7675 | 2655560.9653 | 1211607.742 | 2655572.1268 | 1211602.4616
35 | 2655545.4084 | 1211613.7675 | 2655530.5557 | 1211620.0552 | 2655508.7798 | 1211633.4437

## bus_geodata
| x | y | coords
0 | 2654598.6167 | 1211256.0253
1 | 2654633.3047 | 1211263.984
2 | 2654634.4379 | 1211262.0049
3 | 2654445.7981 | 1211450.9712
4 | 2654659.0703 | 1211488.2478
5 | 2654296.8494 | 1211534.0617
6 | 2654694.2577 | 1211478.6037
7 | 2655109.7384 | 1211424.2199
8 | 2655149.0419 | 1211470.3654
9 | 2654712.1958 | 1211471.1415
10 | 2655474.6137 | 1211667.4111
11 | 2655685.6382 | 1211638.9448
12 | 2655672.9325 | 1211638.1803
13 | 2655703.4825 | 1211659.7572
14 | 2655708.3961 | 1211640.0275
15 | 2655699.826 | 1211673.6289
16 | 2655736.3658 | 1211639.6966
17 | 2655729.9014 | 1211643.3469
18 | 2655693.962 | 1211686.6961
19 | 2655419.2005 | 1212166.6513
20 | 2655529.1736 | 1211996.2012
21 | 2655618.8273 | 1211825.3336
22 | 2655623.0332 | 1211578.3783
23 | 2655575.9317 | 1211600.6616
24 | 2655646.8609 | 1211571.3166
25 | 2655651.0461 | 1211570.9703
26 | 2655684.2774 | 1211565.7661
27 | 2655620.1861 | 1211626.7899
28 | 2655659.2081 | 1211614.7708
29 | 2655588.819 | 1211634.0727
30 | 2655634.0079 | 1211635.8381
31 | 2655581.9658 | 1211634.7396
32 | 2655572.4797 | 1211635.6627
33 | 2655545.4084 | 1211613.7675
34 | 2655508.7798 | 1211633.4437
35 | 2655537.1096 | 1211593.085
36 | 2655572.1268 | 1211602.4616
37 | 2655508.7798 | 1211633.4437

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9823 | -0.12544 | 0.0036145 | 0.00090588
1 | 0.98249 | -0.1241 | 0 | 0
2 | 0.98248 | -0.12415 | 0.0024409 | 0.00061176
3 | 0.98486 | -0.10722 | 0 | 0
4 | 0.98706 | -0.091531 | 0.000367 | 9.1979e-05
5 | 0.9848 | -0.10767 | 0.00023655 | 5.9285e-05
6 | 0.98741 | -0.089008 | 0.0016579 | 0.00041551
7 | 0.99295 | -0.049677 | 0.000213 | 5.3382e-05
8 | 0.99381 | -0.043547 | 0.00045559 | 0.00011418
9 | 0.98764 | -0.08734 | 0.00083441 | 0.00020912
10 | 0.99922 | -0.0054627 | 0.0010929 | 0.0002739
11 | 0.99289 | -0.04992 | 0 | 0
12 | 0.99323 | -0.047556 | 0.00093891 | 0.00023531
13 | 0.9926 | -0.052001 | 0 | 0
14 | 0.99253 | -0.052471 | 0.0010559 | 0.00026464
15 | 0.99245 | -0.053061 | 0.0030763 | 0.00077098
16 | 0.99213 | -0.055312 | 0 | 0
17 | 0.99202 | -0.056064 | 0.0099938 | 0.0025047
18 | 0.99237 | -0.053676 | 0.0026976 | 0.00067609
19 | 0.9912 | -0.062031 | 0.001461 | 0.00036617
20 | 0.99163 | -0.059002 | 0 | 0
21 | 0.99204 | -0.056086 | 0 | 0
22 | 0.99644 | -0.024957 | 0.0032889 | 0.00082428
23 | 0.99717 | -0.019788 | 0.00055337 | 0.00013869
24 | 0.9962 | -0.026628 | 0.0013334 | 0.00033417
25 | 0.99617 | -0.02685 | 0.0033855 | 0.00084848
26 | 0.99608 | -0.027496 | 0.0018593 | 0.00046599
27 | 0.99542 | -0.032082 | 0.0019264 | 0.0004828
28 | 0.99524 | -0.03336 | 0.0030931 | 0.00077521
29 | 0.99566 | -0.030383 | 0 | 0
30 | 0.99431 | -0.039954 | 0.001692 | 0.00042406
31 | 0.99592 | -0.02858 | 0.00059908 | 0.00015014
32 | 0.99628 | -0.026029 | 0.00045295 | 0.00011352
33 | 0.99769 | -0.016158 | 0 | 0
34 | 1 | 0 | -0.050724 | -0.012526
35 | 0.99767 | -0.016317 | 0.00071114 | 0.00017823
36 | 0.99724 | -0.019348 | 0.00051941 | 0.00013018
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0036145 | -0.00090588 | 0.0036152 | 0.00090568 | 6.7335e-07 | -1.9678e-07 | 0.0054753 | 0.0054752 | 0.0054753 | 0.9823 | -0.12544 | 0.98249 | -0.1241 | 2.0279
1 | 0.002441 | 0.00061173 | -0.0024409 | -0.00061176 | 1.9449e-08 | -2.14e-08 | 0.0036969 | 0.0036969 | 0.0036969 | 0.98249 | -0.1241 | 0.98248 | -0.12415 | 1.3692
2 | -0.0060561 | -0.0015174 | 0.0060703 | 0.0015194 | 1.4146e-05 | 2.0195e-06 | 0.009172 | 0.0091708 | 0.009172 | 0.98249 | -0.1241 | 0.98486 | -0.10722 | 3.3971
3 | -0.0063068 | -0.0015764 | 0.0063205 | 0.0015786 | 1.3629e-05 | 2.1728e-06 | 0.0095274 | 0.0095263 | 0.0095274 | 0.98486 | -0.10722 | 0.98706 | -0.091531 | 3.5287
4 | 0.00023657 | 5.6995e-05 | -0.00023655 | -5.9285e-05 | 1.4351e-08 | -2.2904e-06 | 0.00035662 | 0.00035743 | 0.00035743 | 0.98486 | -0.10722 | 0.9848 | -0.10767 | 0.13238
5 | -0.0066875 | -0.0016706 | 0.0066898 | 0.001671 | 2.3204e-06 | 4.2446e-07 | 0.01008 | 0.010079 | 0.01008 | 0.98706 | -0.091531 | 0.98741 | -0.089008 | 3.7332
6 | -0.0083477 | -0.0020865 | 0.0083496 | 0.002087 | 1.9179e-06 | 4.891e-07 | 0.012578 | 0.012578 | 0.012578 | 0.98741 | -0.089008 | 0.98764 | -0.08734 | 4.6585
7 | -0.0094448 | -0.0023627 | 0.0094528 | 0.002365 | 7.9909e-06 | 2.2456e-06 | 0.014152 | 0.014152 | 0.014152 | 0.99295 | -0.049677 | 0.99381 | -0.043547 | 5.2416
8 | 0.0092318 | 0.0023094 | -0.009184 | -0.0022961 | 4.7805e-05 | 1.3236e-05 | 0.013833 | 0.013835 | 0.013835 | 0.99295 | -0.049677 | 0.98764 | -0.08734 | 5.1241
9 | -0.0099084 | -0.0024792 | 0.0099606 | 0.0024943 | 5.2249e-05 | 1.5138e-05 | 0.014834 | 0.014832 | 0.014834 | 0.99381 | -0.043547 | 0.99922 | -0.0054627 | 5.4941
10 | -0.011054 | -0.0027682 | 0.011062 | 0.0027708 | 8.3513e-06 | 2.5645e-06 | 0.01646 | 0.01646 | 0.01646 | 0.99922 | -0.0054627 | 1 | 0 | 6.0963
11 | -0.018299 | -0.0045793 | 0.018305 | 0.0045815 | 5.9723e-06 | 2.1323e-06 | 0.027421 | 0.027421 | 0.027421 | 0.99289 | -0.04992 | 0.99323 | -0.047556 | 10.156
12 | 0.0072401 | 0.0018073 | -0.007238 | -0.0018069 | 2.0694e-06 | 4.3155e-07 | 0.010848 | 0.010848 | 0.010848 | 0.99289 | -0.04992 | 0.9926 | -0.052001 | 4.0178
13 | 0.011059 | 0.002772 | -0.011055 | -0.0027708 | 3.9051e-06 | 1.2074e-06 | 0.016573 | 0.016573 | 0.016573 | 0.99289 | -0.04992 | 0.99253 | -0.052471 | 6.1383
14 | -0.019244 | -0.0048168 | 0.019264 | 0.004824 | 2.0221e-05 | 7.2722e-06 | 0.028828 | 0.028828 | 0.028828 | 0.99323 | -0.047556 | 0.99431 | -0.039954 | 10.6769
15 | 0.007238 | 0.0018069 | -0.0072369 | -0.0018067 | 1.0534e-06 | 2.1976e-07 | 0.010848 | 0.010848 | 0.010848 | 0.9926 | -0.052001 | 0.99245 | -0.053061 | 4.0178
16 | 0.0099988 | 0.0025061 | -0.0099949 | -0.002505 | 3.9326e-06 | 1.1502e-06 | 0.01499 | 0.01499 | 0.01499 | 0.99253 | -0.052471 | 0.99213 | -0.055312 | 5.552
17 | 0.0041607 | 0.0010357 | -0.0041603 | -0.0010358 | 3.4988e-07 | -5.1744e-08 | 0.0062358 | 0.0062358 | 0.0062358 | 0.99245 | -0.053061 | 0.99237 | -0.053676 | 2.3096
18 | 0.0099949 | 0.002505 | -0.0099938 | -0.0025047 | 1.041e-06 | 3.0452e-07 | 0.01499 | 0.014991 | 0.014991 | 0.99213 | -0.055312 | 0.99202 | -0.056064 | 5.552
19 | 0.0014627 | 0.00035967 | -0.0014622 | -0.00036152 | 4.7269e-07 | -1.8559e-06 | 0.0021908 | 0.0021916 | 0.0021916 | 0.99237 | -0.053676 | 0.99204 | -0.056086 | 0.81169
20 | -0.001461 | -0.00036617 | 0.0014617 | 0.00036379 | 6.0872e-07 | -2.3818e-06 | 0.0021933 | 0.0021924 | 0.0021933 | 0.9912 | -0.062031 | 0.99163 | -0.059002 | 0.81235
21 | -0.0014617 | -0.00036379 | 0.0014622 | 0.00036152 | 5.7827e-07 | -2.2668e-06 | 0.0021924 | 0.0021916 | 0.0021924 | 0.99163 | -0.059002 | 0.99204 | -0.056086 | 0.81201
22 | -0.0098689 | -0.0024728 | 0.009876 | 0.0024748 | 7.0618e-06 | 2.0368e-06 | 0.014737 | 0.014737 | 0.014737 | 0.99644 | -0.024957 | 0.99717 | -0.019788 | 5.4583
23 | 0.00658 | 0.0016485 | -0.0065785 | -0.0016483 | 1.5213e-06 | 2.5627e-07 | 0.009826 | 0.0098261 | 0.0098261 | 0.99644 | -0.024957 | 0.9962 | -0.026628 | 3.6393
24 | -0.010429 | -0.0026135 | 0.01043 | 0.0026137 | 6.3617e-07 | 1.8977e-07 | 0.015563 | 0.015563 | 0.015563 | 0.99717 | -0.019788 | 0.99724 | -0.019348 | 5.7641
25 | 0.0052451 | 0.0013141 | -0.005245 | -0.0013141 | 1.6084e-07 | 7.1875e-09 | 0.0078344 | 0.0078345 | 0.0078345 | 0.9962 | -0.026628 | 0.99617 | -0.02685 | 2.9017
26 | 0.0018595 | 0.00046561 | -0.0018593 | -0.00046599 | 1.6611e-07 | -3.8531e-07 | 0.0027774 | 0.0027776 | 0.0027776 | 0.99617 | -0.02685 | 0.99608 | -0.027496 | 1.0287
27 | 0.0030937 | 0.00077488 | -0.0030931 | -0.00077521 | 5.4727e-07 | -3.2252e-07 | 0.0046244 | 0.0046246 | 0.0046246 | 0.99542 | -0.032082 | 0.99524 | -0.03336 | 1.7128
28 | -0.00502 | -0.0012577 | 0.0050212 | 0.0012577 | 1.1793e-06 | 1.7177e-08 | 0.0075041 | 0.0075039 | 0.0075041 | 0.99542 | -0.032082 | 0.99566 | -0.030383 | 2.7793
29 | 0.020984 | 0.0052582 | -0.020956 | -0.0052481 | 2.7759e-05 | 1.0089e-05 | 0.03136 | 0.03136 | 0.03136 | 0.99566 | -0.030383 | 0.99431 | -0.039954 | 11.6147
30 | -0.026005 | -0.0065159 | 0.026011 | 0.0065183 | 6.4895e-06 | 2.4064e-06 | 0.038863 | 0.038863 | 0.038863 | 0.99566 | -0.030383 | 0.99592 | -0.02858 | 14.3939
31 | -0.02661 | -0.0066684 | 0.02662 | 0.0066719 | 9.4011e-06 | 3.4917e-06 | 0.039759 | 0.039759 | 0.039759 | 0.99592 | -0.02858 | 0.99628 | -0.026029 | 14.7254
32 | -0.027073 | -0.0067855 | 0.02711 | 0.0067992 | 3.7048e-05 | 1.3776e-05 | 0.040435 | 0.040435 | 0.040435 | 0.99628 | -0.026029 | 0.99769 | -0.016158 | 14.9759
33 | 0.00071116 | 0.00017794 | -0.00071114 | -0.00017823 | 1.5671e-08 | -2.855e-07 | 0.0010606 | 0.0010607 | 0.0010607 | 0.99769 | -0.016158 | 0.99767 | -0.016317 | 0.39284
34 | 0.010954 | 0.0027454 | -0.010949 | -0.0027439 | 4.8354e-06 | 1.4808e-06 | 0.016338 | 0.016338 | 0.016338 | 0.99769 | -0.016158 | 0.99724 | -0.019348 | 6.0511
35 | -0.038775 | -0.0097225 | 0.038862 | 0.0097555 | 8.7013e-05 | 3.2921e-05 | 0.057833 | 0.057833 | 0.057833 | 0.99769 | -0.016158 | 1 | 0 | 21.4197

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.053029 | 0.013104

## res_load
| p_mw | q_mvar
0 | 0.0036145 | 0.00090588
1 | 0.0024409 | 0.00061176
2 | 0.000367 | 9.1979e-05
3 | 0.00023655 | 5.9285e-05
4 | 0.0016579 | 0.00041551
5 | 0.000213 | 5.3382e-05
6 | 0.00045559 | 0.00011418
7 | 0.00083441 | 0.00020912
8 | 0.0010929 | 0.0002739
9 | 0.00093891 | 0.00023531
10 | 0.0010559 | 0.00026464
11 | 0.0030763 | 0.00077098
12 | 0.0099938 | 0.0025047
13 | 0.0026976 | 0.00067609
14 | 0.001461 | 0.00036617
15 | 0.0032889 | 0.00082428
16 | 0.00055337 | 0.00013869
17 | 0.0013334 | 0.00033417
18 | 0.0033855 | 0.00084848
19 | 0.0018593 | 0.00046599
20 | 0.0019264 | 0.0004828
21 | 0.0030931 | 0.00077521
22 | 0.001692 | 0.00042406
23 | 0.00059908 | 0.00015014
24 | 0.00045295 | 0.00011352
25 | 0.0023047 | 0.0005776
26 | 0.00071114 | 0.00017823
27 | 0.00051941 | 0.00013018

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1