## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1098-40_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1098-40_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1098-40_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1098-40_0_2_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_1098-40_0_2_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_1098-40_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1098-40_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1098-40_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1098-40_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1098-40_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1098-40_0_2_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1098-40_0_2_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_1098-40_0_2_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_1098-40_0_2_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_1098-40_0_2_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_1098-40_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1098-40_0_2_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_1098-40_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1098-40_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1098-40_0_2_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_1098-40_0_2_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_1098-40_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1098-40_0_2_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_1098-40_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1098-40_0_2_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1098-40_0_2_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_1098-40_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1098-40_0_2_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1098-40_0_2_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_1098-40_0_2_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_1098-40_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1098-40_0_2_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1098-40_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1098-40_0_2_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1098-40_0_2_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_1098-40_0_2_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1098-40_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1098-40_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1098-40_0_2_node_15 | 0.4 | n |  | TRUE
39 | bus_LV_1098-40_0_2_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_1098-40_0_2_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_1098-40_0_2_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_1098-40_0_2_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_1098-40_0_2_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1098-40_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_MV_2_1_node_216 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1098-40_0_2_load_0 | 0 | 0.0051621 | 0.0012938 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1098-40_0_2_load_2 | 2 | 0.0045814 | 0.0011482 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1098-40_0_2_load_13 | 3 | 0.0037699 | 0.00094482 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1098-40_0_2_load_14 | 4 | 0.0038001 | 0.0009524 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1098-40_0_2_load_3 | 5 | 0.0026919 | 0.00067465 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1098-40_0_2_load_4 | 6 | 0.0018032 | 0.00045193 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1098-40_0_2_load_5 | 7 | 0.0062146 | 0.0015575 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1098-40_0_2_load_6 | 8 | 0.0015387 | 0.00038563 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1098-40_0_2_load_7 | 9 | 0.0036586 | 0.00091693 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1098-40_0_2_load_16 | 10 | 0.0036464 | 0.00091387 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1098-40_0_2_load_39 | 11 | 0.002867 | 0.00071853 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1098-40_0_2_load_40 | 12 | 0.01728 | 0.0043308 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1098-40_0_2_load_38 | 13 | 0.002867 | 0.00071853 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1098-40_0_2_load_41 | 14 | 0.0060031 | 0.0015045 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1098-40_0_2_load_8 | 15 | 0.002366 | 0.00059298 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1098-40_0_2_load_28 | 16 | 0.0022369 | 0.00056062 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1098-40_0_2_load_9 | 17 | 0.008359 | 0.002095 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1098-40_0_2_load_17 | 18 | 0.0030238 | 0.00075784 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1098-40_0_2_load_43 | 20 | 0.0039474 | 0.00098931 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1098-40_0_2_load_18 | 21 | 0.0053604 | 0.0013434 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1098-40_0_2_load_19 | 23 | 0.0053591 | 0.0013431 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1098-40_0_2_load_25 | 24 | 0.0043058 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1098-40_0_2_load_44 | 25 | 0.0041116 | 0.0010305 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1098-40_0_2_load_20 | 26 | 0.0012678 | 0.00031775 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1098-40_0_2_load_26 | 27 | 0.0017918 | 0.00044907 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1098-40_0_2_load_11 | 28 | 0.0017778 | 0.00044557 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1098-40_0_2_load_12 | 29 | 0.003454 | 0.00086566 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1098-40_0_2_load_31 | 30 | 0.0047769 | 0.0011972 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1098-40_0_2_load_36 | 31 | 0.0017863 | 0.0004477 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1098-40_0_2_load_30 | 32 | 0.0029613 | 0.00074217 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1098-40_0_2_load_32 | 33 | 0.0029982 | 0.00075142 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1098-40_0_2_load_45 | 34 | 0.0048777 | 0.0012225 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1098-40_0_2_load_37 | 35 | 0.0021857 | 0.00054778 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1098-40_0_2_load_33 | 36 | 0.0040559 | 0.0010165 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1098-40_0_2_load_15 | 38 | 0.0013741 | 0.00034438 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1098-40_0_2_load_23 | 39 | 0.0038001 | 0.0009524 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1098-40_0_2_load_21 | 40 | 0.0066247 | 0.0016603 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1098-40_0_2_load_22 | 41 | 0.0028681 | 0.00071883 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1098-40_0_2_load_24 | 42 | 0.0024394 | 0.00061136 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1098-40_0_2_load_35 | 43 | 0.0032501 | 0.00081456 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1098-40_0_2_load_34 | 44 | 0.0020833 | 0.00052212 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1098-40_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.045163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1098-40_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.01737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1098-40_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.14253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1098-40_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0014336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1098-40_0_2_line_4 | NAYY 4x150 SE | 4 | 38 | 0.0073402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1098-40_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.01743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1098-40_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.013609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1098-40_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0023638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1098-40_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.029407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1098-40_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.039325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1098-40_0_2_line_10 | NAYY 4x150 SE | 8 | 15 | 0.0077671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1098-40_0_2_line_11 | NAYY 4x150 SE | 9 | 17 | 0.016879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1098-40_0_2_line_12 | NAYY 4x150 SE | 10 | 18 | 0.026349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1098-40_0_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0028846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1098-40_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0077407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1098-40_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.021634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1098-40_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.028774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1098-40_0_2_line_17 | NAYY 4x150 SE | 14 | 19 | 0.0048169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1098-40_0_2_line_18 | NAYY 4x150 SE | 15 | 21 | 0.02616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1098-40_0_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.05875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1098-40_0_2_line_20 | NAYY 4x150 SE | 17 | 22 | 0.012393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1098-40_0_2_line_21 | NAYY 4x150 SE | 18 | 23 | 0.014254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1098-40_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.022958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1098-40_0_2_line_23 | NAYY 4x150 SE | 20 | 25 | 0.033669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1098-40_0_2_line_24 | NAYY 4x150 SE | 21 | 26 | 0.017774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1098-40_0_2_line_25 | NAYY 4x150 SE | 22 | 28 | 0.019767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1098-40_0_2_line_26 | NAYY 4x150 SE | 22 | 29 | 0.012712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1098-40_0_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.007341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1098-40_0_2_line_28 | NAYY 4x150 SE | 24 | 30 | 0.017133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1098-40_0_2_line_29 | NAYY 4x150 SE | 25 | 34 | 0.022198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1098-40_0_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.018381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1098-40_0_2_line_31 | NAYY 4x150 SE | 28 | 31 | 0.0087994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1098-40_0_2_line_32 | NAYY 4x150 SE | 29 | 32 | 0.030511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1098-40_0_2_line_33 | NAYY 4x150 SE | 30 | 33 | 0.011726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1098-40_0_2_line_34 | NAYY 4x150 SE | 31 | 35 | 0.022842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1098-40_0_2_line_35 | NAYY 4x150 SE | 32 | 37 | 0.018959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1098-40_0_2_line_36 | NAYY 4x150 SE | 33 | 36 | 0.016985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1098-40_0_2_line_37 | NAYY 4x150 SE | 36 | 43 | 0.025151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1098-40_0_2_line_38 | NAYY 4x150 SE | 37 | 42 | 0.011033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1098-40_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.00063557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1098-40_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.020842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1098-40_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0040869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1098-40_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.021218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1098-40_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.0022289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1098-40_0_2_trafo_7 | 0.25 MVA 20/0.4 kV | 45 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2651511.3702 | 1215547.5594 | 2651506.2846 | 1215550.8508 | 2651471.8092 | 1215569.3083
1 | 2651511.3702 | 1215547.5594 | 2651500.6914 | 1215533.8594
2 | 2651422.0619 | 1215414.9752 | 2651500.6914 | 1215533.8594
3 | 2651423.1245 | 1215414.013 | 2651422.0619 | 1215414.9752
4 | 2651423.1245 | 1215414.013 | 2651428.5657 | 1215409.0863
5 | 2651369.5657 | 1215398.3918 | 2651369.1376 | 1215398.8546 | 2651358.9894 | 1215412.2427
6 | 2651378.8068 | 1215388.4019 | 2651369.5657 | 1215398.3918
7 | 2651358.9894 | 1215412.2427 | 2651357.5615 | 1215414.1265
8 | 2651378.8068 | 1215388.4019 | 2651398.7757 | 1215366.8152
9 | 2651378.8068 | 1215388.4019 | 2651349.6663 | 1215361.9959
10 | 2651352.8696 | 1215420.3163 | 2651357.5615 | 1215414.1265
11 | 2651398.7757 | 1215366.8152 | 2651410.2378 | 1215354.4243
12 | 2651349.6663 | 1215361.9959 | 2651355.875 | 1215342.0508 | 2651358.0756 | 1215337.0536
13 | 2651314.3173 | 1215361.3867 | 2651313.2667 | 1215364.0732
14 | 2651310.4474 | 1215371.2822 | 2651313.2667 | 1215364.0732
15 | 2651322.1969 | 1215341.2382 | 2651322.1969 | 1215341.2382 | 2651314.3173 | 1215361.3867
16 | 2651298.7108 | 1215397.5473 | 2651308.9196 | 1215375.1888 | 2651310.4474 | 1215371.2822
17 | 2651322.7316 | 1215336.4511 | 2651322.1969 | 1215341.2382
18 | 2651352.8696 | 1215420.3163 | 2651326.7703 | 1215418.5366
19 | 2651352.8696 | 1215420.3163 | 2651298.7108 | 1215397.5473
20 | 2651418.6534 | 1215345.3269 | 2651410.2378 | 1215354.4243
21 | 2651363.9085 | 1215324.0543 | 2651363.4885 | 1215324.7615 | 2651358.0756 | 1215337.0536
22 | 2651322.7316 | 1215336.4511 | 2651329.8406 | 1215316.8894 | 2651330.8028 | 1215314.9724
23 | 2651347.6214 | 1215285.8641 | 2651341.9516 | 1215294.0577 | 2651334.7081 | 1215307.1921 | 2651330.8028 | 1215314.9724
24 | 2651316.0371 | 1215432.7039 | 2651326.7703 | 1215418.5366
25 | 2651418.6534 | 1215345.3269 | 2651431.3267 | 1215330.1577
26 | 2651418.6534 | 1215345.3269 | 2651425.244 | 1215356.1973
27 | 2651367.6571 | 1215317.7425 | 2651363.9085 | 1215324.0543
28 | 2651367.6571 | 1215317.7425 | 2651374.3146 | 1215306.5327 | 2651376.8479 | 1215303.3146
29 | 2651360.2524 | 1215267.6105 | 2651347.6214 | 1215285.8641
30 | 2651303.1344 | 1215445.7869 | 2651303.2708 | 1215445.6826 | 2651315.7337 | 1215433.1044 | 2651316.0371 | 1215432.7039
31 | 2651431.3267 | 1215330.1577 | 2651436.9684 | 1215323.405
32 | 2651452.2023 | 1215365.9531 | 2651448.7674 | 1215365.8211 | 2651441.7976 | 1215365.6942 | 2651435.5415 | 1215364.6952 | 2651431.8935 | 1215363.2963 | 2651429.1078 | 1215361.4044 | 2651426.0731 | 1215357.5649 | 2651425.244 | 1215356.1973
33 | 2651376.8479 | 1215303.3146 | 2651384.101 | 1215294.1012
34 | 2651453.7498 | 1215307.9184 | 2651440.7679 | 1215319.5799 | 2651436.9684 | 1215323.405 | 2651436.9684 | 1215323.405
35 | 2651470.741 | 1215369.5907 | 2651460.3845 | 1215366.8219 | 2651455.1059 | 1215366.0648 | 2651452.2023 | 1215365.9531
36 | 2651395.1191 | 1215281.2223 | 2651391.6662 | 1215284.4911 | 2651384.101 | 1215294.1012
37 | 2651395.1191 | 1215281.2223 | 2651402.9897 | 1215273.7712 | 2651414.5044 | 1215265.27
38 | 2651470.741 | 1215369.5907 | 2651463.2446 | 1215377.6864
39 | 2651428.5657 | 1215409.0863 | 2651429.0369 | 1215408.6597
40 | 2651429.0369 | 1215408.6597 | 2651444.4868 | 1215394.6706
41 | 2651447.5163 | 1215391.9275 | 2651444.4868 | 1215394.6706
42 | 2651463.2446 | 1215377.6864 | 2651463.2446 | 1215377.6864 | 2651447.5163 | 1215391.9275
43 | 2651416.2976 | 1215263.9461 | 2651414.5044 | 1215265.27

## bus_geodata
| x | y | coords
0 | 2651471.8092 | 1215569.3083
1 | 2651511.3702 | 1215547.5594
2 | 2651500.6914 | 1215533.8594
3 | 2651422.0619 | 1215414.9752
4 | 2651423.1245 | 1215414.013
5 | 2651369.5657 | 1215398.3918
6 | 2651358.9894 | 1215412.2427
7 | 2651378.8069 | 1215388.4019
8 | 2651357.5615 | 1215414.1265
9 | 2651398.7757 | 1215366.8152
10 | 2651349.6663 | 1215361.9959
11 | 2651313.2667 | 1215364.0732
12 | 2651314.3173 | 1215361.3867
13 | 2651310.4474 | 1215371.2822
14 | 2651322.1969 | 1215341.2382
15 | 2651352.8696 | 1215420.3163
16 | 2651298.7108 | 1215397.5473
17 | 2651410.2378 | 1215354.4243
18 | 2651358.0756 | 1215337.0536
19 | 2651322.7316 | 1215336.4511
20 | 2651330.8028 | 1215314.9724
21 | 2651326.7703 | 1215418.5366
22 | 2651418.6534 | 1215345.3269
23 | 2651363.9085 | 1215324.0543
24 | 2651367.6571 | 1215317.7425
25 | 2651347.6214 | 1215285.8641
26 | 2651316.0371 | 1215432.7039
27 | 2651303.1344 | 1215445.7869
28 | 2651431.3267 | 1215330.1577
29 | 2651425.244 | 1215356.1973
30 | 2651376.8479 | 1215303.3146
31 | 2651436.9684 | 1215323.405
32 | 2651452.2023 | 1215365.9531
33 | 2651384.101 | 1215294.1012
34 | 2651360.2524 | 1215267.6105
35 | 2651453.7498 | 1215307.9184
36 | 2651395.1191 | 1215281.2223
37 | 2651470.741 | 1215369.5907
38 | 2651428.5657 | 1215409.0863
39 | 2651429.0369 | 1215408.6597
40 | 2651444.4868 | 1215394.6706
41 | 2651447.5163 | 1215391.9275
42 | 2651463.2446 | 1215377.6864
43 | 2651414.5044 | 1215265.27
44 | 2651416.2976 | 1215263.9461
45 | 2651418.6534 | 1215345.3269

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98946 | -0.074029 | 0.0051621 | 0.0012938
1 | 0.9898 | -0.071652 | 0 | 0
2 | 0.98993 | -0.070738 | 0.0045814 | 0.0011482
3 | 0.99193 | -0.056604 | 0.0037699 | 0.00094482
4 | 0.99195 | -0.056407 | 0.0038001 | 0.0009524
5 | 0.99454 | -0.038073 | 0.0026919 | 0.00067465
6 | 0.99307 | -0.04835 | 0.0018032 | 0.00045193
7 | 0.99573 | -0.029702 | 0.0062146 | 0.0015575
8 | 0.99287 | -0.049703 | 0.0015387 | 0.00038563
9 | 1 | 0 | -0.15782 | -0.039524
10 | 0.99384 | -0.042993 | 0.0036464 | 0.00091387
11 | 0.98632 | -0.095916 | 0.002867 | 0.00071853
12 | 0.98617 | -0.096988 | 0.01728 | 0.0043308
13 | 0.98676 | -0.092812 | 0.002867 | 0.00071853
14 | 0.98558 | -0.1012 | 0.0060031 | 0.0015045
15 | 0.99226 | -0.05403 | 0.002366 | 0.00059298
16 | 0.9885 | -0.080457 | 0.0022369 | 0.00056062
17 | 0.99867 | -0.0092749 | 0.008359 | 0.002095
18 | 0.99271 | -0.050953 | 0.0030238 | 0.00075784
19 | 0.98549 | -0.10184 | 0 | 0
20 | 0.98506 | -0.10489 | 0.0039474 | 0.00098931
21 | 0.99194 | -0.056265 | 0.0053604 | 0.0013434
22 | 0.99784 | -0.015062 | 0 | 0
23 | 0.99216 | -0.054829 | 0.0053591 | 0.0013431
24 | 0.99193 | -0.056428 | 0.0043058 | 0.0010791
25 | 0.98462 | -0.10801 | 0.0041116 | 0.0010305
26 | 0.99186 | -0.056817 | 0.0012678 | 0.00031775
27 | 0.99182 | -0.057152 | 0.0017918 | 0.00044907
28 | 0.99768 | -0.016202 | 0.0017778 | 0.00044557
29 | 0.9971 | -0.020273 | 0.003454 | 0.00086566
30 | 0.99151 | -0.059413 | 0.0047769 | 0.0011972
31 | 0.99763 | -0.016553 | 0.0017863 | 0.0004477
32 | 0.99546 | -0.03175 | 0.0029613 | 0.00074217
33 | 0.9913 | -0.060889 | 0.0029982 | 0.00075142
34 | 0.98446 | -0.10912 | 0.0048777 | 0.0012225
35 | 0.99756 | -0.017054 | 0.0021857 | 0.00054778
36 | 0.99107 | -0.06251 | 0.0040559 | 0.0010165
37 | 0.99452 | -0.038334 | 0 | 0
38 | 0.99214 | -0.055117 | 0.0013741 | 0.00034438
39 | 0.99215 | -0.054996 | 0.0038001 | 0.0009524
40 | 0.99283 | -0.050243 | 0.0066247 | 0.0016603
41 | 0.993 | -0.049037 | 0.0028681 | 0.00071883
42 | 0.99397 | -0.042171 | 0.0024394 | 0.00061136
43 | 0.99088 | -0.063873 | 0.0032501 | 0.00081456
44 | 0.99087 | -0.06392 | 0.0020833 | 0.00052212
45 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0051621 | -0.0012938 | 0.0051638 | 0.0012938 | 1.6984e-06 | 7.2942e-08 | 0.0077632 | 0.007763 | 0.0077632 | 0.98946 | -0.074029 | 0.9898 | -0.071652 | 2.8752
1 | -0.0051638 | -0.0012938 | 0.0051645 | 0.0012939 | 6.5319e-07 | 2.794e-08 | 0.007763 | 0.0077629 | 0.007763 | 0.9898 | -0.071652 | 0.98993 | -0.070738 | 2.8752
2 | -0.0097459 | -0.0024421 | 0.009765 | 0.0024476 | 1.9087e-05 | 5.5048e-06 | 0.014649 | 0.014649 | 0.014649 | 0.98993 | -0.070738 | 0.99193 | -0.056604 | 5.4257
3 | -0.013535 | -0.0033924 | 0.013535 | 0.0033925 | 3.6878e-07 | 1.2333e-07 | 0.020304 | 0.020304 | 0.020304 | 0.99193 | -0.056604 | 0.99195 | -0.056407 | 7.52
4 | -0.017335 | -0.0043449 | 0.017338 | 0.004346 | 3.0974e-06 | 1.0965e-06 | 0.026005 | 0.026005 | 0.026005 | 0.99195 | -0.056407 | 0.99214 | -0.055117 | 9.6313
5 | 0.058729 | 0.01477 | -0.058645 | -0.014738 | 8.4012e-05 | 3.2087e-05 | 0.087888 | 0.087888 | 0.087888 | 0.99454 | -0.038073 | 0.99307 | -0.04835 | 32.5512
6 | -0.061421 | -0.015445 | 0.061493 | 0.015472 | 7.1743e-05 | 2.7417e-05 | 0.091916 | 0.091916 | 0.091916 | 0.99454 | -0.038073 | 0.99573 | -0.029702 | 34.0429
7 | 0.056842 | 0.014286 | -0.056831 | -0.014282 | 1.0704e-05 | 4.0862e-06 | 0.085186 | 0.085186 | 0.085186 | 0.99307 | -0.04835 | 0.99287 | -0.049703 | 31.5505
8 | -0.10133 | -0.025472 | 0.10175 | 0.025634 | 0.00042094 | 0.00016152 | 0.15146 | 0.15146 | 0.15146 | 0.99573 | -0.029702 | 1 | 0 | 56.0959
9 | 0.033626 | 0.0084425 | -0.033564 | -0.0084192 | 6.1977e-05 | 2.3327e-05 | 0.050256 | 0.050256 | 0.050256 | 0.99573 | -0.029702 | 0.99384 | -0.042993 | 18.6135
10 | 0.055292 | 0.013896 | -0.055259 | -0.013884 | 3.3293e-05 | 1.2704e-05 | 0.08288 | 0.08288 | 0.08288 | 0.99287 | -0.049703 | 0.99226 | -0.05403 | 30.6964
11 | 0.055269 | 0.01389 | -0.055198 | -0.013863 | 7.1263e-05 | 2.7188e-05 | 0.082255 | 0.082255 | 0.082255 | 1 | 0 | 0.99867 | -0.0092749 | 30.4648
12 | 0.029918 | 0.0075053 | -0.029885 | -0.0074929 | 3.2995e-05 | 1.2349e-05 | 0.044797 | 0.044797 | 0.044797 | 0.99384 | -0.042993 | 0.99271 | -0.050953 | 16.5915
13 | 0.036247 | 0.0090868 | -0.036242 | -0.0090848 | 5.3829e-06 | 2.0336e-06 | 0.054686 | 0.054686 | 0.054686 | 0.98632 | -0.095916 | 0.98617 | -0.096988 | 20.2539
14 | -0.039114 | -0.0098053 | 0.039131 | 0.0098117 | 1.682e-05 | 6.3704e-06 | 0.059011 | 0.059011 | 0.059011 | 0.98632 | -0.095916 | 0.98676 | -0.092812 | 21.8559
15 | 0.018962 | 0.004754 | -0.018951 | -0.00475 | 1.1052e-05 | 3.9749e-06 | 0.028612 | 0.028612 | 0.028612 | 0.98617 | -0.096988 | 0.98558 | -0.1012 | 10.5972
16 | -0.041998 | -0.01053 | 0.04207 | 0.010558 | 7.202e-05 | 2.7332e-05 | 0.063334 | 0.063334 | 0.063334 | 0.98676 | -0.092812 | 0.9885 | -0.080457 | 23.4571
17 | 0.012948 | 0.0032455 | -0.012947 | -0.0032451 | 1.1487e-06 | 3.8042e-07 | 0.019549 | 0.019549 | 0.019549 | 0.98558 | -0.1012 | 0.98549 | -0.10184 | 7.2404
18 | 0.0084229 | 0.0021106 | -0.0084203 | -0.0021099 | 2.6044e-06 | 6.6389e-07 | 0.012631 | 0.012631 | 0.012631 | 0.99226 | -0.05403 | 0.99194 | -0.056265 | 4.6782
19 | 0.04447 | 0.01118 | -0.044307 | -0.011118 | 0.0001631 | 6.1976e-05 | 0.066701 | 0.066701 | 0.066701 | 0.99226 | -0.05403 | 0.9885 | -0.080457 | 24.7042
20 | 0.046839 | 0.011768 | -0.046801 | -0.011753 | 3.7677e-05 | 1.4329e-05 | 0.0698 | 0.0698 | 0.0698 | 0.99867 | -0.0092749 | 0.99784 | -0.015062 | 25.8519
21 | 0.026861 | 0.0067351 | -0.026847 | -0.0067297 | 1.442e-05 | 5.3619e-06 | 0.040264 | 0.040265 | 0.040265 | 0.99271 | -0.050953 | 0.99216 | -0.054829 | 14.9128
22 | 0.012947 | 0.0032451 | -0.012941 | -0.0032433 | 5.4749e-06 | 1.8133e-06 | 0.019549 | 0.019549 | 0.019549 | 0.98549 | -0.10184 | 0.98506 | -0.10489 | 7.2404
23 | 0.008994 | 0.002254 | -0.0089901 | -0.002253 | 3.878e-06 | 1.0631e-06 | 0.013586 | 0.013586 | 0.013586 | 0.98506 | -0.10489 | 0.98462 | -0.10801 | 5.032
24 | 0.0030599 | 0.00076647 | -0.0030597 | -0.00076661 | 2.3368e-07 | -1.3954e-07 | 0.0045901 | 0.0045902 | 0.0045902 | 0.99194 | -0.056265 | 0.99186 | -0.056817 | 1.7001
25 | 0.0057511 | 0.0014409 | -0.0057502 | -0.0014408 | 9.0718e-07 | 9.0754e-08 | 0.0085761 | 0.0085761 | 0.0085761 | 0.99784 | -0.015062 | 0.99768 | -0.016202 | 3.1764
26 | 0.04105 | 0.010313 | -0.04102 | -0.010301 | 2.9734e-05 | 1.127e-05 | 0.061224 | 0.061224 | 0.061224 | 0.99784 | -0.015062 | 0.9971 | -0.020273 | 22.6756
27 | 0.021488 | 0.0053866 | -0.021483 | -0.0053849 | 4.7576e-06 | 1.735e-06 | 0.032227 | 0.032227 | 0.032227 | 0.99216 | -0.054829 | 0.99193 | -0.056428 | 11.936
28 | 0.017177 | 0.0043058 | -0.01717 | -0.0043032 | 7.0988e-06 | 2.5092e-06 | 0.025768 | 0.025768 | 0.025768 | 0.99193 | -0.056428 | 0.99151 | -0.059413 | 9.5437
29 | 0.0048785 | 0.0012225 | -0.0048777 | -0.0012225 | 7.5291e-07 | 7.2962e-09 | 0.0073726 | 0.0073727 | 0.0073727 | 0.98462 | -0.10801 | 0.98446 | -0.10912 | 2.7306
30 | 0.0017919 | 0.00044886 | -0.0017918 | -0.00044907 | 8.2884e-08 | -2.0535e-07 | 0.0026881 | 0.0026882 | 0.0026882 | 0.99186 | -0.056817 | 0.99182 | -0.057152 | 0.99563
31 | 0.0039724 | 0.0009952 | -0.0039722 | -0.00099524 | 1.9273e-07 | -4.0773e-08 | 0.0059246 | 0.0059246 | 0.0059246 | 0.99768 | -0.016202 | 0.99763 | -0.016553 | 2.1943
32 | 0.037566 | 0.0094357 | -0.037507 | -0.0094131 | 5.9855e-05 | 2.2624e-05 | 0.05607 | 0.05607 | 0.05607 | 0.9971 | -0.020273 | 0.99546 | -0.03175 | 20.7666
33 | 0.012393 | 0.003106 | -0.012391 | -0.0031052 | 2.5311e-06 | 8.223e-07 | 0.018599 | 0.018599 | 0.018599 | 0.99151 | -0.059413 | 0.9913 | -0.060889 | 6.8886
34 | 0.0021858 | 0.00054754 | -0.0021857 | -0.00054778 | 1.515e-07 | -2.3996e-07 | 0.0032602 | 0.0032603 | 0.0032603 | 0.99763 | -0.016553 | 0.99756 | -0.017054 | 1.2075
35 | 0.034545 | 0.0086709 | -0.034514 | -0.008659 | 3.1551e-05 | 1.1889e-05 | 0.051643 | 0.051643 | 0.051643 | 0.99546 | -0.03175 | 0.99452 | -0.038334 | 19.1271
36 | 0.0093924 | 0.0023538 | -0.0093903 | -0.0023532 | 2.1068e-06 | 5.9137e-07 | 0.014099 | 0.014099 | 0.014099 | 0.9913 | -0.060889 | 0.99107 | -0.06251 | 5.2217
37 | 0.0053344 | 0.0013367 | -0.0053334 | -0.0013367 | 1.0067e-06 | 6.3174e-08 | 0.0080091 | 0.0080093 | 0.0080093 | 0.99107 | -0.06251 | 0.99088 | -0.063873 | 2.9664
38 | 0.034514 | 0.008659 | -0.034495 | -0.0086521 | 1.8362e-05 | 6.9193e-06 | 0.051643 | 0.051643 | 0.051643 | 0.99452 | -0.038334 | 0.99397 | -0.042171 | 19.1271
39 | -0.018713 | -0.0046904 | 0.018713 | 0.0046905 | 3.1239e-07 | 1.1194e-07 | 0.028065 | 0.028065 | 0.028065 | 0.99214 | -0.055117 | 0.99215 | -0.054996 | 10.3946
40 | -0.022513 | -0.0056429 | 0.022528 | 0.0056483 | 1.4827e-05 | 5.4334e-06 | 0.033765 | 0.033765 | 0.033765 | 0.99215 | -0.054996 | 0.99283 | -0.050243 | 12.5055
41 | -0.029152 | -0.0073086 | 0.029157 | 0.0073105 | 4.8687e-06 | 1.8197e-06 | 0.043694 | 0.043694 | 0.043694 | 0.99283 | -0.050243 | 0.993 | -0.049037 | 16.1828
42 | -0.032025 | -0.0080293 | 0.032056 | 0.0080407 | 3.0494e-05 | 1.1454e-05 | 0.047992 | 0.047991 | 0.047992 | 0.993 | -0.049037 | 0.99397 | -0.042171 | 17.7746
43 | 0.0020833 | 0.00052209 | -0.0020833 | -0.00052212 | 1.3613e-08 | -2.3475e-08 | 0.0031285 | 0.0031285 | 0.0031285 | 0.99088 | -0.063873 | 0.99087 | -0.06392 | 1.1587

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16148 | 0.040441

## res_load
| p_mw | q_mvar
0 | 0.0051621 | 0.0012938
1 | 0.0045814 | 0.0011482
2 | 0.0037699 | 0.00094482
3 | 0.0038001 | 0.0009524
4 | 0.0026919 | 0.00067465
5 | 0.0018032 | 0.00045193
6 | 0.0062146 | 0.0015575
7 | 0.0015387 | 0.00038563
8 | 0.0036586 | 0.00091693
9 | 0.0036464 | 0.00091387
10 | 0.002867 | 0.00071853
11 | 0.01728 | 0.0043308
12 | 0.002867 | 0.00071853
13 | 0.0060031 | 0.0015045
14 | 0.002366 | 0.00059298
15 | 0.0022369 | 0.00056062
16 | 0.008359 | 0.002095
17 | 0.0030238 | 0.00075784
18 | 0.0039474 | 0.00098931
19 | 0.0053604 | 0.0013434
20 | 0.0053591 | 0.0013431
21 | 0.0043058 | 0.0010791
22 | 0.0041116 | 0.0010305
23 | 0.0012678 | 0.00031775
24 | 0.0017918 | 0.00044907
25 | 0.0017778 | 0.00044557
26 | 0.003454 | 0.00086566
27 | 0.0047769 | 0.0011972
28 | 0.0017863 | 0.0004477
29 | 0.0029613 | 0.00074217
30 | 0.0029982 | 0.00075142
31 | 0.0048777 | 0.0012225
32 | 0.0021857 | 0.00054778
33 | 0.0040559 | 0.0010165
34 | 0.0013741 | 0.00034438
35 | 0.0038001 | 0.0009524
36 | 0.0066247 | 0.0016603
37 | 0.0028681 | 0.00071883
38 | 0.0024394 | 0.00061136
39 | 0.0032501 | 0.00081456
40 | 0.0020833 | 0.00052212

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1