## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1098-5_1_2_node_129 | 0.4 | n |  | TRUE
1 | bus_LV_1098-5_1_2_node_238 | 0.4 | n |  | TRUE
2 | bus_LV_1098-5_1_2_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_1098-5_1_2_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_1098-5_1_2_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_1098-5_1_2_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1098-5_1_2_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1098-5_1_2_node_108 | 0.4 | n |  | TRUE
8 | bus_LV_1098-5_1_2_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_1098-5_1_2_node_236 | 0.4 | n |  | TRUE
10 | bus_LV_1098-5_1_2_node_235 | 0.4 | n |  | TRUE
11 | bus_LV_1098-5_1_2_node_237 | 0.4 | n |  | TRUE
12 | bus_LV_1098-5_1_2_node_226 | 0.4 | n |  | TRUE
13 | bus_LV_1098-5_1_2_node_239 | 0.4 | n |  | TRUE
14 | bus_LV_1098-5_1_2_node_118 | 0.4 | n |  | TRUE
15 | bus_LV_1098-5_1_2_node_218 | 0.4 | n |  | TRUE
16 | bus_LV_1098-5_1_2_node_219 | 0.4 | n |  | TRUE
17 | bus_LV_1098-5_1_2_node_220 | 0.4 | n |  | TRUE
18 | bus_LV_1098-5_1_2_node_233 | 0.4 | n |  | TRUE
19 | bus_LV_1098-5_1_2_node_221 | 0.4 | n |  | TRUE
20 | bus_LV_1098-5_1_2_node_222 | 0.4 | n |  | TRUE
21 | bus_LV_1098-5_1_2_node_223 | 0.4 | n |  | TRUE
22 | bus_LV_1098-5_1_2_node_224 | 0.4 | n |  | TRUE
23 | bus_LV_1098-5_1_2_node_225 | 0.4 | n |  | TRUE
24 | bus_LV_1098-5_1_2_node_228 | 0.4 | n |  | TRUE
25 | bus_LV_1098-5_1_2_node_227 | 0.4 | n |  | TRUE
26 | bus_LV_1098-5_1_2_node_124 | 0.4 | n |  | TRUE
27 | bus_LV_1098-5_1_2_node_229 | 0.4 | n |  | TRUE
28 | bus_LV_1098-5_1_2_node_230 | 0.4 | n |  | TRUE
29 | bus_LV_1098-5_1_2_node_231 | 0.4 | n |  | TRUE
30 | bus_LV_1098-5_1_2_node_232 | 0.4 | n |  | TRUE
31 | bus_LV_1098-5_1_2_node_125 | 0.4 | n |  | TRUE
32 | bus_LV_1098-5_1_2_node_109 | 0.4 | n |  | TRUE
33 | bus_LV_1098-5_1_2_node_110 | 0.4 | n |  | TRUE
34 | bus_LV_1098-5_1_2_node_117 | 0.4 | n |  | TRUE
35 | bus_LV_1098-5_1_2_node_115 | 0.4 | n |  | TRUE
36 | bus_LV_1098-5_1_2_node_111 | 0.4 | n |  | TRUE
37 | bus_LV_1098-5_1_2_node_112 | 0.4 | n |  | TRUE
38 | bus_LV_1098-5_1_2_node_113 | 0.4 | n |  | TRUE
39 | bus_LV_1098-5_1_2_node_114 | 0.4 | n |  | TRUE
40 | bus_LV_1098-5_1_2_node_116 | 0.4 | n |  | TRUE
41 | bus_LV_1098-5_1_2_node_126 | 0.4 | n |  | TRUE
42 | bus_LV_1098-5_1_2_node_119 | 0.4 | n |  | TRUE
43 | bus_LV_1098-5_1_2_node_120 | 0.4 | n |  | TRUE
44 | bus_LV_1098-5_1_2_node_121 | 0.4 | n |  | TRUE
45 | bus_LV_1098-5_1_2_node_122 | 0.4 | n |  | TRUE
46 | bus_LV_1098-5_1_2_node_123 | 0.4 | n |  | TRUE
47 | bus_LV_1098-5_1_2_node_127 | 0.4 | n |  | TRUE
48 | bus_MV_0_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1098-5_1_2_load_129 | 0 | 0.00020429 | 5.1201e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1098-5_1_2_load_238 | 1 | 0.00016526 | 4.1419e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1098-5_1_2_load_9 | 2 | 0.00096142 | 0.00024096 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1098-5_1_2_load_11 | 4 | 0.00031779 | 7.9647e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1098-5_1_2_load_12 | 5 | 0.00037747 | 9.4602e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1098-5_1_2_load_13 | 6 | 0.00021492 | 5.3864e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1098-5_1_2_load_14 | 8 | 0.00078475 | 0.00019668 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1098-5_1_2_load_235 | 10 | 0.00052213 | 0.00013086 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1098-5_1_2_load_237 | 11 | 0.0020948 | 0.00052501 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1098-5_1_2_load_239 | 13 | 0.00077554 | 0.00019437 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1098-5_1_2_load_218 | 15 | 0.00071638 | 0.00017954 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1098-5_1_2_load_219 | 16 | 5.584e-05 | 1.3995e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1098-5_1_2_load_220 | 17 | 0.00056051 | 0.00014048 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1098-5_1_2_load_233 | 18 | 0.00021176 | 5.3072e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1098-5_1_2_load_221 | 19 | 0.00026038 | 6.5258e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1098-5_1_2_load_222 | 20 | 0.00029682 | 7.4389e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1098-5_1_2_load_224 | 22 | 0.00016754 | 4.1989e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1098-5_1_2_load_225 | 23 | 0.00078433 | 0.00019657 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1098-5_1_2_load_228 | 24 | 0.00048627 | 0.00012187 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1098-5_1_2_load_227 | 25 | 0.00019076 | 4.7809e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1098-5_1_2_load_229 | 27 | 7.0723e-05 | 1.7725e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1098-5_1_2_load_231 | 29 | 0.00036253 | 9.086e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1098-5_1_2_load_232 | 30 | 0.00051294 | 0.00012856 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1098-5_1_2_load_110 | 33 | 0.0017935 | 0.0004495 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1098-5_1_2_load_117 | 34 | 0.0063243 | 0.001585 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1098-5_1_2_load_115 | 35 | 0.0013827 | 0.00034653 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1098-5_1_2_load_111 | 36 | 0.00051499 | 0.00012907 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1098-5_1_2_load_112 | 37 | 0.0012053 | 0.00030208 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1098-5_1_2_load_113 | 38 | 0.00034227 | 8.5782e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1098-5_1_2_load_114 | 39 | 0.0024139 | 0.00060497 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1098-5_1_2_load_126 | 41 | 0.00049413 | 0.00012384 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1098-5_1_2_load_119 | 42 | 0.0022961 | 0.00057546 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1098-5_1_2_load_120 | 43 | 0.00057592 | 0.00014434 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1098-5_1_2_load_122 | 45 | 0.011167 | 0.0027987 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1098-5_1_2_load_127 | 47 | 0.00032043 | 8.0307e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1098-5_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1098-5_1_2_line_1 | NAYY 4x150 SE | 1 | 13 | 0.00060252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1098-5_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.016768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1098-5_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.034181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1098-5_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.18789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1098-5_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.024828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1098-5_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.27555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1098-5_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.01927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1098-5_1_2_line_8 | NAYY 4x150 SE | 7 | 32 | 0.012811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1098-5_1_2_line_9 | NAYY 4x150 SE | 7 | 33 | 0.055711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1098-5_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.27652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1098-5_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.06116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1098-5_1_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.042532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1098-5_1_2_line_13 | NAYY 4x150 SE | 12 | 24 | 0.026226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1098-5_1_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.17638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1098-5_1_2_line_15 | NAYY 4x150 SE | 14 | 40 | 0.11838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1098-5_1_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.017877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1098-5_1_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.020229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1098-5_1_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.025206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1098-5_1_2_line_19 | NAYY 4x150 SE | 18 | 31 | 0.14853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1098-5_1_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.045306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1098-5_1_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.053533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1098-5_1_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.031374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1098-5_1_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.027574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1098-5_1_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.018333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1098-5_1_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.0096961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1098-5_1_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.33001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1098-5_1_2_line_27 | NAYY 4x150 SE | 26 | 46 | 0.28897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1098-5_1_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0087628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1098-5_1_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.035692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1098-5_1_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.01081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1098-5_1_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.30434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1098-5_1_2_line_32 | NAYY 4x150 SE | 31 | 46 | 0.19562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1098-5_1_2_line_33 | NAYY 4x150 SE | 32 | 34 | 0.27947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1098-5_1_2_line_34 | NAYY 4x150 SE | 32 | 35 | 0.29246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1098-5_1_2_line_35 | NAYY 4x150 SE | 33 | 36 | 0.074271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1098-5_1_2_line_36 | NAYY 4x150 SE | 34 | 42 | 0.0025279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1098-5_1_2_line_37 | NAYY 4x150 SE | 35 | 40 | 0.21489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1098-5_1_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.038804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1098-5_1_2_line_39 | NAYY 4x150 SE | 37 | 38 | 0.0021834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1098-5_1_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.030387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1098-5_1_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.25796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1098-5_1_2_line_42 | NAYY 4x150 SE | 41 | 47 | 0.042261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1098-5_1_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.030756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1098-5_1_2_line_44 | NAYY 4x150 SE | 43 | 44 | 0.013975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1098-5_1_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.0066145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1098-5_1_2_line_46 | NAYY 4x150 SE | 45 | 46 | 0.012281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1098-5_1_2_trafo_119 | 0.25 MVA 20/0.4 kV | 48 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2651950.5492 | 1211751.8515 | 2651950.965 | 1211753.8485 | 2651954.7048 | 1211768.512 | 2651957.2426 | 1211775.8826
1 | 2651957.2426 | 1211775.8826 | 2651957.4387 | 1211776.4523
2 | 2651250.9686 | 1211818.3352 | 2651254.2743 | 1211813.8609 | 2651254.4501 | 1211813.7401 | 2651263.547 | 1211807.5698
3 | 2651250.9686 | 1211818.3352 | 2651246.2253 | 1211825.6543 | 2651228.3851 | 1211843.8179
4 | 2651250.9686 | 1211818.3352 | 2651297.832 | 1211818.5267 | 2651325.8646 | 1211825.205 | 2651342.2041 | 1211832.7278 | 2651390.5694 | 1211868.4764 | 2651418.0987 | 1211888.5676
5 | 2651228.3851 | 1211843.8179 | 2651223.0308 | 1211849.2692 | 2651212.4328 | 1211862.7998
6 | 2651560.3662 | 1212086.9149 | 2651571.5306 | 1212049.6226 | 2651573.2415 | 1212035.3956 | 2651573.3281 | 1212025.3793 | 2651568.4127 | 1212012.1512 | 2651548.5793 | 1211980.8612 | 2651536.5481 | 1211965.4593 | 2651522.6122 | 1211955.055 | 2651486.7913 | 1211937.0797 | 2651456.0246 | 1211916.2464 | 2651418.0987 | 1211888.5676
7 | 2651200.5507 | 1211877.9699 | 2651212.4328 | 1211862.7998
8 | 2651560.3662 | 1212086.9149 | 2651557.8112 | 1212099.467
9 | 2651560.3662 | 1212086.9149 | 2651551.109 | 1212080.2421 | 2651531.2715 | 1212059.1138 | 2651523.9044 | 1212055.2701 | 2651516.9198 | 1212054.6979
10 | 2652175.57 | 1212903.459 | 2652173.7461 | 1212907.0119 | 2652168.6177 | 1212911.4252 | 2652158.6903 | 1212915.5965 | 2652130.8731 | 1212929.2838 | 2652116.3693 | 1212939.9079 | 2652108.5672 | 1212948.6339 | 2652102.133 | 1212961.6632 | 2652096.1588 | 1212982.0343 | 2652093.2199 | 1212987.1451 | 2652089.1455 | 1212989.1774 | 2652083.1728 | 1212989.3809 | 2652052.3538 | 1212978.0163 | 2652043.3042 | 1212977.3815 | 2652026.1537 | 1212980.5561 | 2652020.9749 | 1212983.7906 | 2652018.6167 | 1212987.6501 | 2652018.1133 | 1212992.2374 | 2652020.7329 | 1213025.4689 | 2652023.1793 | 1213041.1107 | 2652028.6988 | 1213058.6153
11 | 2652175.57 | 1212903.459 | 2652169.1922 | 1212895.2428 | 2652160.7109 | 1212886.0743 | 2652158.6298 | 1212883.4212 | 2652157.4258 | 1212881.2427 | 2652154.7831 | 1212875.0493 | 2652151.8403 | 1212870.1651 | 2652149.2821 | 1212867.341 | 2652145.5932 | 1212865.2409 | 2652141.2814 | 1212864.0136 | 2652133.9163 | 1212863.0071
12 | 2652096.6848 | 1212847.0251 | 2652099.6366 | 1212851.7648 | 2652103.4964 | 1212855.1672 | 2652108.7814 | 1212858.0484 | 2652114.3002 | 1212860.2423 | 2652120.0697 | 1212861.5824 | 2652131.7209 | 1212862.707 | 2652133.9163 | 1212863.0071
13 | 2652096.6848 | 1212847.0251 | 2652092.5445 | 1212857.4729 | 2652090.4058 | 1212862.2793 | 2652084.308 | 1212869.8579
14 | 2651908.7003 | 1211902.7026 | 2651910.2426 | 1211900.0922 | 2651917.9867 | 1211886.7961 | 2651921.5588 | 1211881.4351 | 2651925.803 | 1211875.6909 | 2651928.0463 | 1211872.8531 | 2651931.7226 | 1211869.4942 | 2651937.4657 | 1211866.12 | 2651945.2719 | 1211863.1528 | 2651976.3929 | 1211853.6292 | 2651981.9272 | 1211849.8085 | 2651985.2108 | 1211846.1794 | 2651986.4787 | 1211841.9323 | 2651985.5133 | 1211835.0087 | 2651971.1368 | 1211801.975 | 2651963.4753 | 1211790.935 | 2651959.4773 | 1211782.3729 | 2651957.4387 | 1211776.4523
15 | 2651908.7003 | 1211902.7026 | 2651907.0325 | 1211908.3804 | 2651908.297 | 1211914.9953 | 2651914.9021 | 1211923.4355 | 2651917.2361 | 1211930.2599 | 2651917.0612 | 1211938.1297 | 2651914.045 | 1211951.2113 | 2651915.2736 | 1211956.703 | 2651918.6507 | 1211960.6569 | 2651925.7981 | 1211965.2774 | 2651931.9361 | 1211968.0213 | 2651942.8007 | 1211972.4296 | 2651950.2683 | 1211975.1851 | 2651955.3133 | 1211980.4099 | 2651966.2001 | 1211988.3761
16 | 2652078.193 | 1212285.4332 | 2652077.7484 | 1212285.5586 | 2652066.2555 | 1212288.7935 | 2652061.2351 | 1212290.9787
17 | 2652052.3931 | 1212307.841 | 2652055.4781 | 1212295.359 | 2652058.568 | 1212292.1396 | 2652061.2351 | 1212290.9787
18 | 2652052.3931 | 1212307.841 | 2652051.4694 | 1212311.5781 | 2652049.9845 | 1212318.069 | 2652039.4841 | 1212328.3537
19 | 2651946.33 | 1212439.5827 | 2651949.1107 | 1212435.2154 | 2651955.0635 | 1212430.3866 | 2651978.2095 | 1212416.78 | 2651990.6424 | 1212406.7713 | 2651998.7559 | 1212397.2474 | 2652007.4396 | 1212383.3148 | 2652023.6174 | 1212350.7475 | 2652034.7735 | 1212332.9675 | 2652039.4841 | 1212328.3537
20 | 2651993.4261 | 1212871.2729 | 2651999.2038 | 1212872.1787 | 2652006.0846 | 1212871.5272 | 2652012.3168 | 1212869.4469 | 2652019.319 | 1212867.0732 | 2652025.1858 | 1212865.957 | 2652037.4817 | 1212868.756
21 | 2651975.8964 | 1212828.6609 | 2651979.2852 | 1212854.7393 | 2651978.7971 | 1212863.6737 | 2651980.188 | 1212867.955 | 2651983.7352 | 1212869.7536 | 2651993.4261 | 1212871.2729
22 | 2652037.4817 | 1212868.756 | 2652068.073 | 1212875.7197
23 | 2651975.8964 | 1212828.6609 | 2651966.4868 | 1212832.6924 | 2651961.6858 | 1212834.4183 | 2651958.8245 | 1212834.9715 | 2651955.6575 | 1212834.8772 | 2651952.3115 | 1212834.3922 | 2651949.7065 | 1212833.4468 | 2651949.7065 | 1212833.4468
24 | 2652068.073 | 1212875.7197 | 2652070.1832 | 1212876.2 | 2652074.2182 | 1212876.0685 | 2652077.5475 | 1212874.9858 | 2652081.0035 | 1212873.3039 | 2652083.0329 | 1212871.4427 | 2652084.308 | 1212869.8579
25 | 2651943.0943 | 1212826.4999 | 2651943.2911 | 1212826.887 | 2651945.7609 | 1212830.2772 | 2651947.7511 | 1212832.04 | 2651949.7065 | 1212833.4468
26 | 2651737.5794 | 1212578.7744 | 2651766.4256 | 1212608.5423 | 2651774.8884 | 1212615.5866 | 2651819.7322 | 1212637.6556 | 2651837.9328 | 1212652.7338 | 2651862.6888 | 1212687.9921 | 2651903.1293 | 1212745.4112 | 2651912.5427 | 1212760.1575 | 2651917.8975 | 1212769.8765 | 2651924.6079 | 1212782.687 | 2651929.8541 | 1212794.4063 | 2651941.633 | 1212823.6262 | 2651943.0943 | 1212826.4999
27 | 2651737.5794 | 1212578.7744 | 2651737.1594 | 1212572.8895 | 2651737.6895 | 1212566.0901 | 2651749.4963 | 1212540.5995 | 2651765.4118 | 1212508.2738 | 2651772.7472 | 1212485.9242 | 2651801.6381 | 1212357.4984 | 2651807.9743 | 1212327.7579 | 2651806.6537 | 1212320.6089 | 2651814.223 | 1212302.864
28 | 2652261.4031 | 1212433.8078 | 2652269.0307 | 1212429.4943
29 | 2652261.4031 | 1212433.8078 | 2652255.9265 | 1212432.826 | 2652252.1239 | 1212433.2707 | 2652226.9608 | 1212440.917
30 | 2652261.4031 | 1212433.8078 | 2652264.6047 | 1212437.7938 | 2652265.4674 | 1212440.7809 | 2652265.1182 | 1212443.346
31 | 2651946.33 | 1212439.5827 | 2651946.6325 | 1212444.1103 | 2651949.3128 | 1212448.6474 | 2651955.7585 | 1212453.5064 | 2651992.9581 | 1212478.4119 | 2652006.5406 | 1212482.9329 | 2652019.8171 | 1212485.9393 | 2652051.0138 | 1212484.7995 | 2652071.9779 | 1212480.9468 | 2652095.9839 | 1212471.5285 | 2652123.5732 | 1212459.8179 | 2652139.6205 | 1212455.2554 | 2652191.1303 | 1212444.8216 | 2652218.9798 | 1212443.3422 | 2652226.9608 | 1212440.917
32 | 2651946.33 | 1212439.5827 | 2651937.7963 | 1212439.8086 | 2651932.3106 | 1212437.2371 | 2651927.6663 | 1212432.2715 | 2651923.2217 | 1212420.9483 | 2651916.0936 | 1212408.9347 | 2651901.9431 | 1212394.5809 | 2651871.2863 | 1212359.8047 | 2651839.4214 | 1212319.7485 | 2651826.6108 | 1212308.5305 | 2651815.4488 | 1212303.4306 | 2651814.223 | 1212302.864
33 | 2651557.8112 | 1212099.467 | 2651556.4965 | 1212105.6593 | 2651555.3151 | 1212120.1577 | 2651557.0518 | 1212132.8247 | 2651561.7332 | 1212142.3597 | 2651572.2407 | 1212151.1557 | 2651587.2563 | 1212157.8784 | 2651624.9613 | 1212172.1796 | 2651658.3813 | 1212191.7137 | 2651759.7282 | 1212266.5732
34 | 2651557.8112 | 1212099.467 | 2651567.2427 | 1212104.4292 | 2651578.9479 | 1212105.6422 | 2651590.0989 | 1212100.6578 | 2651596.8829 | 1212093.7123 | 2651608.6766 | 1212073.2911 | 2651616.1757 | 1212066.2517 | 2651622.206 | 1212064.7697 | 2651630.5605 | 1212064.2416 | 2651634.2546 | 1212061.4275 | 2651636.4668 | 1212052.508 | 2651642.2283 | 1212046.9656 | 2651658.6931 | 1212039.9039 | 2651672.6269 | 1212036.4669 | 2651683.4917 | 1212035.5938 | 2651695.5807 | 1212039.0005 | 2651716.269 | 1212050.4532 | 2651734.1233 | 1212060.1582 | 2651751.0012 | 1212064.1624 | 2651757.5337 | 1212062.5959 | 2651790.8562 | 1212050.5 | 2651804.5611 | 1212037.8807
35 | 2651516.9198 | 1212054.6979 | 2651516.1677 | 1212054.6363 | 2651507.4375 | 1212056.4398 | 2651500.2658 | 1212062.526 | 2651478.1 | 1212098.9787 | 2651472.6287 | 1212106.1357 | 2651469.4437 | 1212107.6451
36 | 2651759.7282 | 1212266.5732 | 2651761.7615 | 1212268.0751
37 | 2651966.2001 | 1211988.3761 | 2651955.4443 | 1212001.1345 | 2651945.8084 | 1212007.4544 | 2651938.368 | 1212007.6898 | 2651923.1379 | 1212001.1645 | 2651918.353 | 1212000.9672 | 2651901.9856 | 1212008.1402 | 2651895.6691 | 1212007.5738 | 2651885.7176 | 1212003.8851 | 2651860.7541 | 1211980.81 | 2651855.2624 | 1211979.7505 | 2651850.3305 | 1211996.4621 | 2651845.9916 | 1212014.0015 | 2651832.2652 | 1212022.4095 | 2651807.9129 | 1212034.7943 | 2651804.5611 | 1212037.8807
38 | 2651433.2724 | 1212097.2895 | 2651460.1682 | 1212108.8076 | 2651466.9146 | 1212108.8436 | 2651469.4437 | 1212107.6451
39 | 2651433.2724 | 1212097.2895 | 2651431.2654 | 1212096.4299
40 | 2651404.194 | 1212101.9545 | 2651410.213 | 1212100.0163 | 2651418.1475 | 1212093.5586 | 2651423.3942 | 1212093.0591 | 2651431.2654 | 1212096.4299
41 | 2651966.2001 | 1211988.3761 | 2652219.4366 | 1211939.2132
42 | 2652219.4366 | 1211939.2132 | 2652244.0282 | 1211953.2474 | 2652255.7087 | 1211960.8682
43 | 2651761.7615 | 1212268.0751 | 2651784.8078 | 1212285.0982 | 2651786.3527 | 1212286.5275
44 | 2651796.6107 | 1212296.0182 | 2651786.3527 | 1212286.5275
45 | 2651796.6107 | 1212296.0182 | 2651802.7758 | 1212298.4146
46 | 2651814.223 | 1212302.864 | 2651802.7758 | 1212298.4146

## bus_geodata
| x | y | coords
0 | 2651950.5492 | 1211751.8515
1 | 2651957.2426 | 1211775.8826
2 | 2651263.547 | 1211807.5698
3 | 2651250.9686 | 1211818.3352
4 | 2651228.3851 | 1211843.8179
5 | 2651418.0987 | 1211888.5676
6 | 2651212.4328 | 1211862.7998
7 | 2651560.3662 | 1212086.9149
8 | 2651200.5507 | 1211877.9699
9 | 2652175.57 | 1212903.459
10 | 2652028.6988 | 1213058.6153
11 | 2652133.9163 | 1212863.0071
12 | 2652096.6848 | 1212847.0251
13 | 2651957.4387 | 1211776.4523
14 | 2651908.7003 | 1211902.7026
15 | 2652078.193 | 1212285.4332
16 | 2652061.2351 | 1212290.9787
17 | 2652052.3931 | 1212307.841
18 | 2652039.4841 | 1212328.3537
19 | 2651993.4261 | 1212871.2729
20 | 2652037.4817 | 1212868.756
21 | 2651975.8964 | 1212828.6609
22 | 2652068.073 | 1212875.7197
23 | 2651949.7065 | 1212833.4468
24 | 2652084.308 | 1212869.8579
25 | 2651943.0943 | 1212826.4999
26 | 2651737.5794 | 1212578.7744
27 | 2652269.0307 | 1212429.4943
28 | 2652261.4031 | 1212433.8078
29 | 2652226.9608 | 1212440.917
30 | 2652265.1182 | 1212443.346
31 | 2651946.33 | 1212439.5827
32 | 2651557.8112 | 1212099.467
33 | 2651516.9198 | 1212054.6979
34 | 2651759.7282 | 1212266.5732
35 | 2651804.5611 | 1212037.8807
36 | 2651469.4437 | 1212107.6451
37 | 2651433.2724 | 1212097.2895
38 | 2651431.2654 | 1212096.4299
39 | 2651404.194 | 1212101.9545
40 | 2651966.2001 | 1211988.3761
41 | 2652219.4366 | 1211939.2132
42 | 2651761.7615 | 1212268.0751
43 | 2651786.3527 | 1212286.5275
44 | 2651796.6107 | 1212296.0182
45 | 2651802.7758 | 1212298.4146
46 | 2651814.223 | 1212302.864
47 | 2652255.7087 | 1211960.8682
48 | 2651761.7615 | 1212268.0751

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99252 | -0.053503 | 0.00020429 | 5.1201e-05
1 | 0.99253 | -0.053451 | 0.00016526 | 4.1419e-05
2 | 0.99317 | -0.048613 | 0.00096142 | 0.00024096
3 | 0.99319 | -0.04845 | 0 | 0
4 | 0.99312 | -0.048908 | 0.00031779 | 7.9647e-05
5 | 0.9938 | -0.044086 | 0.00037747 | 9.4602e-05
6 | 0.99309 | -0.049159 | 0.00021492 | 5.3864e-05
7 | 0.99485 | -0.036584 | 0 | 0
8 | 0.99307 | -0.049313 | 0.00078475 | 0.00019668
9 | 0.99296 | -0.050215 | 0 | 0
10 | 0.99275 | -0.051715 | 0.00052213 | 0.00013086
11 | 0.993 | -0.049874 | 0.0020948 | 0.00052501
12 | 0.99316 | -0.048732 | 0 | 0
13 | 0.99253 | -0.053449 | 0.00077554 | 0.00019437
14 | 0.99282 | -0.051383 | 0 | 0
15 | 0.99738 | -0.018624 | 0.00071638 | 0.00017954
16 | 0.9974 | -0.018495 | 5.584e-05 | 1.3995e-05
17 | 0.99742 | -0.018338 | 0.00056051 | 0.00014048
18 | 0.99747 | -0.018 | 0.00021176 | 5.3072e-05
19 | 0.99372 | -0.044739 | 0.00026038 | 6.5258e-05
20 | 0.99349 | -0.046394 | 0.00029682 | 7.4389e-05
21 | 0.99401 | -0.042641 | 0 | 0
22 | 0.99334 | -0.047445 | 0.00016754 | 4.1989e-05
23 | 0.99417 | -0.041559 | 0.00078433 | 0.00019657
24 | 0.99326 | -0.048028 | 0.00048627 | 0.00012187
25 | 0.99423 | -0.041102 | 0.00019076 | 4.7809e-05
26 | 0.9965 | -0.024892 | 0 | 0
27 | 0.99735 | -0.018846 | 7.0723e-05 | 1.7725e-05
28 | 0.99736 | -0.018839 | 0 | 0
29 | 0.99739 | -0.018629 | 0.00036253 | 9.086e-05
30 | 0.99735 | -0.018895 | 0.00051294 | 0.00012856
31 | 0.9978 | -0.01568 | 0 | 0
32 | 0.99502 | -0.035421 | 0 | 0
33 | 0.99435 | -0.040117 | 0.0017935 | 0.0004495
34 | 0.99993 | -0.00047444 | 0.0063243 | 0.001585
35 | 0.99362 | -0.045569 | 0.0013827 | 0.00034653
36 | 0.99388 | -0.043483 | 0.00051499 | 0.00012907
37 | 0.99365 | -0.045038 | 0.0012053 | 0.00030208
38 | 0.99365 | -0.045099 | 0.00034227 | 8.5782e-05
39 | 0.99354 | -0.045841 | 0.0024139 | 0.00060497
40 | 0.99301 | -0.049981 | 0 | 0
41 | 0.99271 | -0.052151 | 0.00049413 | 0.00012384
42 | 1 | 0 | -0.038561 | -0.0094266
43 | 0.99916 | -0.0059088 | 0.00057592 | 0.00014434
44 | 0.99879 | -0.0085161 | 0 | 0
45 | 0.99862 | -0.0097507 | 0.011167 | 0.0027987
46 | 0.99849 | -0.010671 | 0 | 0
47 | 0.99269 | -0.052289 | 0.00032043 | 8.0307e-05
48 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00020429 | -5.1201e-05 | 0.00020429 | 5.0878e-05 | 1.461e-09 | -3.2212e-07 | 0.00030628 | 0.00030617 | 0.00030628 | 0.99252 | -0.053503 | 0.99253 | -0.053451 | 0.11344
1 | -0.00036956 | -9.2297e-05 | 0.00036956 | 9.2289e-05 | 1.1532e-10 | -7.7425e-09 | 0.00055393 | 0.00055393 | 0.00055393 | 0.99253 | -0.053451 | 0.99253 | -0.053449 | 0.20516
2 | -0.00096142 | -0.00024096 | 0.00096145 | 0.00024075 | 2.171e-08 | -2.0865e-07 | 0.0014405 | 0.0014404 | 0.0014405 | 0.99317 | -0.048613 | 0.99319 | -0.04845 | 0.5335
3 | 0.0013176 | 0.00032923 | -0.0013175 | -0.00032964 | 8.3094e-08 | -4.1036e-07 | 0.0019737 | 0.0019739 | 0.0019739 | 0.99319 | -0.04845 | 0.99312 | -0.048908 | 0.73106
4 | -0.002279 | -0.00056997 | 0.0022804 | 0.00056807 | 1.3663e-06 | -1.9076e-06 | 0.0034141 | 0.0034132 | 0.0034141 | 0.99319 | -0.04845 | 0.9938 | -0.044086 | 1.2645
5 | 0.00099972 | 0.00024999 | -0.00099969 | -0.0002503 | 3.4755e-08 | -3.0788e-07 | 0.0014977 | 0.0014978 | 0.0014978 | 0.99312 | -0.048908 | 0.99309 | -0.049159 | 0.55475
6 | -0.0026579 | -0.00066267 | 0.0026606 | 0.00066014 | 2.7207e-06 | -2.5278e-06 | 0.0039784 | 0.0039772 | 0.0039784 | 0.9938 | -0.044086 | 0.99485 | -0.036584 | 1.4735
7 | 0.00078477 | 0.00019643 | -0.00078475 | -0.00019668 | 1.6624e-08 | -2.4292e-07 | 0.0011758 | 0.0011759 | 0.0011759 | 0.99309 | -0.049159 | 0.99307 | -0.049313 | 0.43551
8 | -0.0089368 | -0.0022313 | 0.0089383 | 0.0022317 | 1.4277e-06 | 3.8274e-07 | 0.013364 | 0.013364 | 0.013364 | 0.99485 | -0.036584 | 0.99502 | -0.035421 | 4.9496
9 | 0.0062762 | 0.0015712 | -0.0062732 | -0.0015707 | 3.0632e-06 | 4.5513e-07 | 0.0093868 | 0.0093871 | 0.0093871 | 0.99485 | -0.036584 | 0.99435 | -0.040117 | 3.4767
10 | 0.00052223 | 0.00012732 | -0.00052213 | -0.00013086 | 1.0551e-07 | -3.5356e-06 | 0.00078136 | 0.00078261 | 0.00078261 | 0.99296 | -0.050215 | 0.99275 | -0.051715 | 0.28986
11 | -0.00052223 | -0.00012732 | 0.00052226 | 0.00012654 | 2.3292e-08 | -7.8218e-07 | 0.00078136 | 0.00078109 | 0.00078136 | 0.99296 | -0.050215 | 0.993 | -0.049874 | 0.28939
12 | -0.0026171 | -0.00065155 | 0.0026175 | 0.00065115 | 4.0783e-07 | -3.9343e-07 | 0.0039201 | 0.00392 | 0.0039201 | 0.993 | -0.049874 | 0.99316 | -0.048732 | 1.4519
13 | -0.0026175 | -0.00065115 | 0.0026177 | 0.00065091 | 2.5146e-07 | -2.427e-07 | 0.00392 | 0.0039198 | 0.00392 | 0.99316 | -0.048732 | 0.99326 | -0.048028 | 1.4518
14 | -0.0011451 | -0.00028666 | 0.0011454 | 0.0002845 | 3.2417e-07 | -2.1555e-06 | 0.0017166 | 0.0017158 | 0.0017166 | 0.99253 | -0.053449 | 0.99282 | -0.051383 | 0.63579
15 | -0.0011454 | -0.0002845 | 0.0011456 | 0.00028305 | 2.174e-07 | -1.4475e-06 | 0.0017158 | 0.0017153 | 0.0017158 | 0.99282 | -0.051383 | 0.99301 | -0.049981 | 0.63549
16 | -0.00071638 | -0.00017954 | 0.00071639 | 0.00017931 | 1.2741e-08 | -2.2841e-07 | 0.0010688 | 0.0010687 | 0.0010688 | 0.99738 | -0.018624 | 0.9974 | -0.018495 | 0.39584
17 | -0.00077223 | -0.00019331 | 0.00077225 | 0.00019305 | 1.675e-08 | -2.5757e-07 | 0.001152 | 0.0011519 | 0.001152 | 0.9974 | -0.018495 | 0.99742 | -0.018338 | 0.42667
18 | -0.0013328 | -0.00033353 | 0.0013328 | 0.00033322 | 6.2166e-08 | -3.0509e-07 | 0.0019881 | 0.001988 | 0.0019881 | 0.99742 | -0.018338 | 0.99747 | -0.018 | 0.73634
19 | -0.0015446 | -0.00038629 | 0.0015451 | 0.00038454 | 4.9181e-07 | -1.7502e-06 | 0.0023039 | 0.0023032 | 0.0023039 | 0.99747 | -0.018 | 0.9978 | -0.01568 | 0.8533
20 | 0.0035699 | 0.00088852 | -0.0035691 | -0.00088879 | 8.0723e-07 | -2.7633e-07 | 0.0053434 | 0.0053436 | 0.0053436 | 0.99372 | -0.044739 | 0.99349 | -0.046394 | 1.9791
21 | -0.0038303 | -0.00095377 | 0.0038314 | 0.0009535 | 1.098e-06 | -2.7142e-07 | 0.0057333 | 0.0057331 | 0.0057333 | 0.99372 | -0.044739 | 0.99401 | -0.042641 | 2.1235
22 | 0.0032722 | 0.0008144 | -0.0032718 | -0.00081463 | 4.6989e-07 | -2.2547e-07 | 0.0048991 | 0.0048992 | 0.0048992 | 0.99349 | -0.046394 | 0.99334 | -0.047445 | 1.8145
23 | -0.0038314 | -0.0009535 | 0.0038319 | 0.00095336 | 5.6552e-07 | -1.3998e-07 | 0.0057331 | 0.005733 | 0.0057331 | 0.99401 | -0.042641 | 0.99417 | -0.041559 | 2.1234
24 | 0.0031042 | 0.00077264 | -0.003104 | -0.00077278 | 2.4718e-07 | -1.4224e-07 | 0.0046482 | 0.0046483 | 0.0046483 | 0.99334 | -0.047445 | 0.99326 | -0.048028 | 1.7216
25 | -0.0046162 | -0.0011499 | 0.0046165 | 0.0011499 | 2.8863e-07 | -1.4722e-08 | 0.0069069 | 0.0069069 | 0.0069069 | 0.99417 | -0.041559 | 0.99423 | -0.041102 | 2.5581
26 | -0.0048073 | -0.0011977 | 0.0048179 | 0.0011975 | 1.065e-05 | -1.9319e-07 | 0.0071924 | 0.0071908 | 0.0071924 | 0.99423 | -0.041102 | 0.9965 | -0.024892 | 2.6638
27 | -0.0048179 | -0.0011975 | 0.0048273 | 0.0011973 | 9.3222e-06 | -1.8667e-07 | 0.0071908 | 0.0071895 | 0.0071908 | 0.9965 | -0.024892 | 0.99849 | -0.010671 | 2.6633
28 | -7.0723e-05 | -1.7725e-05 | 7.0723e-05 | 1.7611e-05 | 6.085e-11 | -1.1433e-07 | 0.00010552 | 0.00010548 | 0.00010552 | 0.99735 | -0.018846 | 0.99736 | -0.018839 | 0.03908
29 | -0.00058367 | -0.00014603 | 0.00058369 | 0.00014557 | 1.6882e-08 | -4.593e-07 | 0.00087072 | 0.00087056 | 0.00087072 | 0.99736 | -0.018839 | 0.99739 | -0.018629 | 0.32249
30 | 0.00051295 | 0.00012842 | -0.00051294 | -0.00012856 | 3.9506e-09 | -1.3956e-07 | 0.00076525 | 0.0007653 | 0.0007653 | 0.99736 | -0.018839 | 0.99735 | -0.018895 | 0.28344
31 | -0.00094622 | -0.00023643 | 0.0009466 | 0.0002326 | 3.7795e-07 | -3.8281e-06 | 0.0014114 | 0.00141 | 0.0014114 | 0.99739 | -0.018629 | 0.9978 | -0.01568 | 0.52275
32 | -0.0024917 | -0.00061714 | 0.0024934 | 0.00061523 | 1.6827e-06 | -1.9097e-06 | 0.0037133 | 0.0037124 | 0.0037133 | 0.9978 | -0.01568 | 0.99849 | -0.010671 | 1.3753
33 | -0.012287 | -0.0030573 | 0.012346 | 0.0030763 | 5.8827e-05 | 1.8978e-05 | 0.018367 | 0.018366 | 0.018367 | 0.99502 | -0.035421 | 0.99993 | -0.00047444 | 6.8027
34 | 0.0033488 | 0.00082557 | -0.0033443 | -0.00082761 | 4.5696e-06 | -2.0359e-06 | 0.0050033 | 0.0050046 | 0.0050046 | 0.99502 | -0.035421 | 0.99362 | -0.045569 | 1.8536
35 | 0.0044796 | 0.0011212 | -0.0044776 | -0.0011214 | 2.0825e-06 | -1.6199e-07 | 0.0067031 | 0.0067035 | 0.0067035 | 0.99435 | -0.040117 | 0.99388 | -0.043483 | 2.4828
36 | -0.01867 | -0.0046613 | 0.018671 | 0.0046617 | 1.2171e-06 | 4.3494e-07 | 0.027777 | 0.027777 | 0.027777 | 0.99993 | -0.00047444 | 1 | 0 | 10.2878
37 | 0.0019616 | 0.00048108 | -0.0019604 | -0.00048341 | 1.1547e-06 | -2.3376e-06 | 0.002934 | 0.0029349 | 0.0029349 | 0.99362 | -0.045569 | 0.99301 | -0.049981 | 1.087
38 | 0.0039626 | 0.00099234 | -0.0039617 | -0.00099251 | 8.5218e-07 | -1.7498e-07 | 0.0059324 | 0.0059326 | 0.0059326 | 0.99388 | -0.043483 | 0.99365 | -0.045038 | 2.1973
39 | 0.0027564 | 0.00069044 | -0.0027564 | -0.00069046 | 2.3212e-08 | -1.9354e-08 | 0.0041276 | 0.0041277 | 0.0041277 | 0.99365 | -0.045038 | 0.99365 | -0.045099 | 1.5288
40 | 0.0024141 | 0.00060467 | -0.0024139 | -0.00060497 | 2.4781e-07 | -2.9825e-07 | 0.0036151 | 0.0036152 | 0.0036152 | 0.99365 | -0.045099 | 0.99354 | -0.045841 | 1.339
41 | 0.00081481 | 0.00020036 | -0.00081457 | -0.0002036 | 2.3967e-07 | -3.244e-06 | 0.0012196 | 0.0012208 | 0.0012208 | 0.99301 | -0.049981 | 0.99271 | -0.052151 | 0.45215
42 | 0.00032043 | 7.9763e-05 | -0.00032043 | -8.0307e-05 | 6.0813e-09 | -5.4403e-07 | 0.00048012 | 0.00048031 | 0.00048031 | 0.99271 | -0.052151 | 0.99269 | -0.052289 | 0.17789
43 | 0.01909 | 0.0047648 | -0.019074 | -0.0047593 | 1.5478e-05 | 5.55e-06 | 0.028399 | 0.028399 | 0.028399 | 1 | 0 | 0.99916 | -0.0059088 | 10.5181
44 | 0.018498 | 0.004615 | -0.018492 | -0.0046126 | 6.6146e-06 | 2.3611e-06 | 0.027541 | 0.027541 | 0.027541 | 0.99916 | -0.0059088 | 0.99879 | -0.0085161 | 10.2005
45 | 0.018492 | 0.0046126 | -0.018488 | -0.0046115 | 3.1308e-06 | 1.1176e-06 | 0.027541 | 0.027541 | 0.027541 | 0.99879 | -0.0085161 | 0.99862 | -0.0097507 | 10.2005
46 | 0.0073215 | 0.0018128 | -0.0073206 | -0.0018126 | 9.1083e-07 | 1.8966e-07 | 0.010902 | 0.010902 | 0.010902 | 0.99862 | -0.0097507 | 0.99849 | -0.010671 | 4.0377

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.040857 | 0.010002

## res_load
| p_mw | q_mvar
0 | 0.00020429 | 5.1201e-05
1 | 0.00016526 | 4.1419e-05
2 | 0.00096142 | 0.00024096
3 | 0.00031779 | 7.9647e-05
4 | 0.00037747 | 9.4602e-05
5 | 0.00021492 | 5.3864e-05
6 | 0.00078475 | 0.00019668
7 | 0.00052213 | 0.00013086
8 | 0.0020948 | 0.00052501
9 | 0.00077554 | 0.00019437
10 | 0.00071638 | 0.00017954
11 | 5.584e-05 | 1.3995e-05
12 | 0.00056051 | 0.00014048
13 | 0.00021176 | 5.3072e-05
14 | 0.00026038 | 6.5258e-05
15 | 0.00029682 | 7.4389e-05
16 | 0.00016754 | 4.1989e-05
17 | 0.00078433 | 0.00019657
18 | 0.00048627 | 0.00012187
19 | 0.00019076 | 4.7809e-05
20 | 7.0723e-05 | 1.7725e-05
21 | 0.00036253 | 9.086e-05
22 | 0.00051294 | 0.00012856
23 | 0.0017935 | 0.0004495
24 | 0.0063243 | 0.001585
25 | 0.0013827 | 0.00034653
26 | 0.00051499 | 0.00012907
27 | 0.0012053 | 0.00030208
28 | 0.00034227 | 8.5782e-05
29 | 0.0024139 | 0.00060497
30 | 0.00049413 | 0.00012384
31 | 0.0022961 | 0.00057546
32 | 0.00057592 | 0.00014434
33 | 0.011167 | 0.0027987
34 | 0.00032043 | 8.0307e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1