## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1098-5_3_2_node_130 | 0.4 | n |  | TRUE
1 | bus_LV_1098-5_3_2_node_131 | 0.4 | n |  | TRUE
2 | bus_LV_1098-5_3_2_node_132 | 0.4 | n |  | TRUE
3 | bus_LV_1098-5_3_2_node_133 | 0.4 | n |  | TRUE
4 | bus_LV_1098-5_3_2_node_134 | 0.4 | n |  | TRUE
5 | bus_LV_1098-5_3_2_node_135 | 0.4 | n |  | TRUE
6 | bus_LV_1098-5_3_2_node_136 | 0.4 | n |  | TRUE
7 | bus_LV_1098-5_3_2_node_137 | 0.4 | n |  | TRUE
8 | bus_LV_1098-5_3_2_node_138 | 0.4 | n |  | TRUE
9 | bus_LV_1098-5_3_2_node_160 | 0.4 | n |  | TRUE
10 | bus_LV_1098-5_3_2_node_185 | 0.4 | n |  | TRUE
11 | bus_LV_1098-5_3_2_node_145 | 0.4 | n |  | TRUE
12 | bus_LV_1098-5_3_2_node_198 | 0.4 | n |  | TRUE
13 | bus_LV_1098-5_3_2_node_146 | 0.4 | n |  | TRUE
14 | bus_LV_1098-5_3_2_node_147 | 0.4 | n |  | TRUE
15 | bus_LV_1098-5_3_2_node_164 | 0.4 | n |  | TRUE
16 | bus_LV_1098-5_3_2_node_151 | 0.4 | n |  | TRUE
17 | bus_LV_1098-5_3_2_node_161 | 0.4 | n |  | TRUE
18 | bus_LV_1098-5_3_2_node_148 | 0.4 | n |  | TRUE
19 | bus_LV_1098-5_3_2_node_149 | 0.4 | n |  | TRUE
20 | bus_LV_1098-5_3_2_node_150 | 0.4 | n |  | TRUE
21 | bus_LV_1098-5_3_2_node_152 | 0.4 | n |  | TRUE
22 | bus_LV_1098-5_3_2_node_203 | 0.4 | n |  | TRUE
23 | bus_LV_1098-5_3_2_node_158 | 0.4 | n |  | TRUE
24 | bus_LV_1098-5_3_2_node_159 | 0.4 | n |  | TRUE
25 | bus_LV_1098-5_3_2_node_162 | 0.4 | n |  | TRUE
26 | bus_LV_1098-5_3_2_node_163 | 0.4 | n |  | TRUE
27 | bus_LV_1098-5_3_2_node_173 | 0.4 | n |  | TRUE
28 | bus_LV_1098-5_3_2_node_202 | 0.4 | n |  | TRUE
29 | bus_LV_1098-5_3_2_node_170 | 0.4 | n |  | TRUE
30 | bus_LV_1098-5_3_2_node_171 | 0.4 | n |  | TRUE
31 | bus_LV_1098-5_3_2_node_172 | 0.4 | n |  | TRUE
32 | bus_LV_1098-5_3_2_node_179 | 0.4 | n |  | TRUE
33 | bus_LV_1098-5_3_2_node_178 | 0.4 | n |  | TRUE
34 | bus_LV_1098-5_3_2_node_174 | 0.4 | n |  | TRUE
35 | bus_LV_1098-5_3_2_node_175 | 0.4 | n |  | TRUE
36 | bus_LV_1098-5_3_2_node_176 | 0.4 | n |  | TRUE
37 | bus_LV_1098-5_3_2_node_177 | 0.4 | n |  | TRUE
38 | bus_LV_1098-5_3_2_node_189 | 0.4 | n |  | TRUE
39 | bus_LV_1098-5_3_2_node_187 | 0.4 | n |  | TRUE
40 | bus_LV_1098-5_3_2_node_186 | 0.4 | n |  | TRUE
41 | bus_LV_1098-5_3_2_node_190 | 0.4 | n |  | TRUE
42 | bus_LV_1098-5_3_2_node_191 | 0.4 | n |  | TRUE
43 | bus_LV_1098-5_3_2_node_217 | 0.4 | n |  | TRUE
44 | bus_LV_1098-5_3_2_node_193 | 0.4 | n |  | TRUE
45 | bus_LV_1098-5_3_2_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_1098-5_3_2_node_194 | 0.4 | n |  | TRUE
47 | bus_LV_1098-5_3_2_node_195 | 0.4 | n |  | TRUE
48 | bus_LV_1098-5_3_2_node_201 | 0.4 | n |  | TRUE
49 | bus_LV_1098-5_3_2_node_196 | 0.4 | n |  | TRUE
50 | bus_LV_1098-5_3_2_node_197 | 0.4 | n |  | TRUE
51 | bus_LV_1098-5_3_2_node_199 | 0.4 | n |  | TRUE
52 | bus_LV_1098-5_3_2_node_200 | 0.4 | n |  | TRUE
53 | bus_LV_1098-5_3_2_node_206 | 0.4 | n |  | TRUE
54 | bus_LV_1098-5_3_2_node_204 | 0.4 | n |  | TRUE
55 | bus_LV_1098-5_3_2_node_205 | 0.4 | n |  | TRUE
56 | bus_LV_1098-5_3_2_node_212 | 0.4 | n |  | TRUE
57 | bus_LV_1098-5_3_2_node_211 | 0.4 | n |  | TRUE
58 | bus_LV_1098-5_3_2_node_207 | 0.4 | n |  | TRUE
59 | bus_LV_1098-5_3_2_node_210 | 0.4 | n |  | TRUE
60 | bus_LV_1098-5_3_2_node_208 | 0.4 | n |  | TRUE
61 | bus_LV_1098-5_3_2_node_209 | 0.4 | n |  | TRUE
62 | bus_LV_1098-5_3_2_node_215 | 0.4 | n |  | TRUE
63 | bus_LV_1098-5_3_2_node_213 | 0.4 | n |  | TRUE
64 | bus_LV_1098-5_3_2_node_214 | 0.4 | n |  | TRUE
65 | bus_MV_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1098-5_3_2_load_130 | 0 | 0.00018822 | 4.7171e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1098-5_3_2_load_131 | 1 | 0.00025413 | 6.369e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1098-5_3_2_load_134 | 4 | 0.00033994 | 8.5196e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1098-5_3_2_load_136 | 6 | 0.00044942 | 0.00011264 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1098-5_3_2_load_137 | 7 | 0.0010354 | 0.00025949 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1098-5_3_2_load_138 | 8 | 0.00025785 | 6.4625e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1098-5_3_2_load_160 | 9 | 5.5239e-05 | 1.3844e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1098-5_3_2_load_185 | 10 | 0.00030464 | 7.635e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1098-5_3_2_load_145 | 11 | 0.00034044 | 8.5321e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1098-5_3_2_load_146 | 13 | 0.00037054 | 9.2866e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1098-5_3_2_load_161 | 17 | 0.00027392 | 6.8652e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1098-5_3_2_load_148 | 18 | 0.00015655 | 3.9235e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1098-5_3_2_load_150 | 20 | 0.00015225 | 3.8157e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1098-5_3_2_load_203 | 22 | 0.0006425 | 0.00016103 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1098-5_3_2_load_158 | 23 | 0.00066423 | 0.00016647 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1098-5_3_2_load_159 | 24 | 6.687e-05 | 1.6759e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1098-5_3_2_load_162 | 25 | 0.00029076 | 7.2871e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1098-5_3_2_load_163 | 26 | 0.0001288 | 3.2281e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1098-5_3_2_load_202 | 28 | 0.00014501 | 3.6343e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1098-5_3_2_load_170 | 29 | 0.00038944 | 9.7603e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1098-5_3_2_load_171 | 30 | 0.00011985 | 3.0038e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1098-5_3_2_load_179 | 32 | 0.00072917 | 0.00018275 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1098-5_3_2_load_174 | 34 | 0.0012133 | 0.00030407 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1098-5_3_2_load_176 | 36 | 0.0028826 | 0.00072245 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1098-5_3_2_load_177 | 37 | 0.0021934 | 0.00054971 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1098-5_3_2_load_189 | 38 | 0.00040182 | 0.00010071 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1098-5_3_2_load_187 | 39 | 0.00091116 | 0.00022836 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1098-5_3_2_load_186 | 40 | 0.0013566 | 0.00033999 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1098-5_3_2_load_190 | 41 | 0.00038607 | 9.6758e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1098-5_3_2_load_217 | 43 | 0.00069603 | 0.00017444 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1098-5_3_2_load_193 | 44 | 0.0015611 | 0.00039124 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1098-5_3_2_load_100 | 45 | 0.00024737 | 6.1997e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1098-5_3_2_load_194 | 46 | 0.00060716 | 0.00015217 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1098-5_3_2_load_201 | 48 | 0.00024751 | 6.2032e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1098-5_3_2_load_196 | 49 | 0.00053129 | 0.00013315 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1098-5_3_2_load_199 | 51 | 0.00035512 | 8.9002e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1098-5_3_2_load_200 | 52 | 0.00028518 | 7.1473e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1098-5_3_2_load_206 | 53 | 0.00021627 | 5.4202e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1098-5_3_2_load_204 | 54 | 0.00047077 | 0.00011799 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1098-5_3_2_load_212 | 56 | 0.00028509 | 7.1451e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1098-5_3_2_load_211 | 57 | 0.00023065 | 5.7806e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1098-5_3_2_load_210 | 59 | 0.00068316 | 0.00017122 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1098-5_3_2_load_208 | 60 | 0.00042151 | 0.00010564 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1098-5_3_2_load_209 | 61 | 0.00027796 | 6.9664e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1098-5_3_2_load_215 | 62 | 0.002083 | 0.00052205 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1098-5_3_2_load_213 | 63 | 0.00013711 | 3.4363e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1098-5_3_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.19634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1098-5_3_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1098-5_3_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.025218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1098-5_3_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1098-5_3_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.00902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1098-5_3_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.086791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1098-5_3_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.21829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1098-5_3_2_line_7 | NAYY 4x150 SE | 3 | 8 | 0.025993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1098-5_3_2_line_8 | NAYY 4x150 SE | 4 | 9 | 0.047036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1098-5_3_2_line_9 | NAYY 4x150 SE | 5 | 10 | 0.016704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1098-5_3_2_line_10 | NAYY 4x150 SE | 6 | 11 | 0.064953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1098-5_3_2_line_11 | NAYY 4x150 SE | 8 | 12 | 0.10804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1098-5_3_2_line_12 | NAYY 4x150 SE | 9 | 24 | 0.011462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1098-5_3_2_line_13 | NAYY 4x150 SE | 10 | 40 | 0.020961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1098-5_3_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.05873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1098-5_3_2_line_15 | NAYY 4x150 SE | 12 | 47 | 0.011311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1098-5_3_2_line_16 | NAYY 4x150 SE | 12 | 49 | 0.044649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1098-5_3_2_line_17 | NAYY 4x150 SE | 13 | 14 | 0.044661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1098-5_3_2_line_18 | NAYY 4x150 SE | 14 | 15 | 0.053833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1098-5_3_2_line_19 | NAYY 4x150 SE | 14 | 16 | 0.21876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1098-5_3_2_line_20 | NAYY 4x150 SE | 14 | 17 | 0.042554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1098-5_3_2_line_21 | NAYY 4x150 SE | 15 | 28 | 0.072135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1098-5_3_2_line_22 | NAYY 4x150 SE | 16 | 19 | 0.032815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1098-5_3_2_line_23 | NAYY 4x150 SE | 17 | 25 | 0.0116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1098-5_3_2_line_24 | NAYY 4x150 SE | 18 | 19 | 0.037858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1098-5_3_2_line_25 | NAYY 4x150 SE | 18 | 20 | 0.0090108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1098-5_3_2_line_26 | NAYY 4x150 SE | 19 | 21 | 0.011919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1098-5_3_2_line_27 | NAYY 4x150 SE | 21 | 22 | 0.024537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1098-5_3_2_line_28 | NAYY 4x150 SE | 22 | 54 | 0.014329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1098-5_3_2_line_29 | NAYY 4x150 SE | 23 | 24 | 0.01617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1098-5_3_2_line_30 | NAYY 4x150 SE | 25 | 26 | 0.008441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1098-5_3_2_line_31 | NAYY 4x150 SE | 26 | 27 | 0.10598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1098-5_3_2_line_32 | NAYY 4x150 SE | 27 | 33 | 0.19884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1098-5_3_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.033693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1098-5_3_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.012567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1098-5_3_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.023864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1098-5_3_2_line_36 | NAYY 4x150 SE | 32 | 39 | 0.25618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1098-5_3_2_line_37 | NAYY 4x150 SE | 33 | 36 | 0.14828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1098-5_3_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.031325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1098-5_3_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.034829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1098-5_3_2_line_40 | NAYY 4x150 SE | 35 | 37 | 0.031938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1098-5_3_2_line_41 | NAYY 4x150 SE | 37 | 38 | 0.032904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1098-5_3_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.033963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1098-5_3_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.036931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1098-5_3_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.26755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1098-5_3_2_line_45 | NAYY 4x150 SE | 43 | 64 | 0.047548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1098-5_3_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0089356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1098-5_3_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.018487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1098-5_3_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0070277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1098-5_3_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.025252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1098-5_3_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.016369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1098-5_3_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.025424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1098-5_3_2_line_52 | NAYY 4x150 SE | 50 | 52 | 0.029275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1098-5_3_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.02042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1098-5_3_2_line_54 | NAYY 4x150 SE | 53 | 58 | 0.01118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1098-5_3_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.028533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1098-5_3_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.015458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1098-5_3_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.01692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1098-5_3_2_line_58 | NAYY 4x150 SE | 56 | 63 | 0.0073785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1098-5_3_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.015176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1098-5_3_2_line_60 | NAYY 4x150 SE | 58 | 60 | 0.036564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1098-5_3_2_line_61 | NAYY 4x150 SE | 59 | 62 | 0.014574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1098-5_3_2_line_62 | NAYY 4x150 SE | 60 | 61 | 0.10284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1098-5_3_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.0077796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1098-5_3_2_trafo_163 | 0.25 MVA 20/0.4 kV | 65 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2650260.9572 | 1213594.0376 | 2650274.1552 | 1213587.2665 | 2650418.7998 | 1213491.4076 | 2650425.3956 | 1213486.9182
1 | 2650246.1194 | 1213601.65 | 2650260.9572 | 1213594.0376
2 | 2650446.2424 | 1213472.7285 | 2650425.3956 | 1213486.9182
3 | 2650246.1194 | 1213601.65 | 2650244.4016 | 1213612.6088 | 2650244.3364 | 1213614.7804
4 | 2650246.1194 | 1213601.65 | 2650238.3653 | 1213597.0042
5 | 2650446.2424 | 1213472.7285 | 2650514.6666 | 1213526.1211
6 | 2650446.2424 | 1213472.7285 | 2650273.4461 | 1213339.3435
7 | 2650446.2424 | 1213472.7285 | 2650453.9317 | 1213447.8991
8 | 2650259.4777 | 1213657.8001 | 2650256.2766 | 1213652.8327 | 2650247.4289 | 1213639.1501 | 2650244.645 | 1213630.5993 | 2650244.1058 | 1213622.4677 | 2650244.3364 | 1213614.7804
9 | 2650238.3653 | 1213597.0042 | 2650229.2962 | 1213591.558 | 2650225.4048 | 1213586.8283
10 | 2650514.6666 | 1213526.1211 | 2650533.1127 | 1213540.515 | 2650545.611 | 1213550.0042 | 2650566.0315 | 1213565.8749
11 | 2650463.7796 | 1213342.7883 | 2650459.7394 | 1213348.9689 | 2650456.1823 | 1213358.1888 | 2650453.6455 | 1213368.9293 | 2650453.5286 | 1213382.7476 | 2650457.7822 | 1213410.6002 | 2650458.4068 | 1213423.8689 | 2650456.3322 | 1213434.7467 | 2650454.4188 | 1213446.3263 | 2650453.9317 | 1213447.8991
12 | 2650259.4777 | 1213657.8001 | 2650265.6864 | 1213667.4346
13 | 2650225.4048 | 1213586.8283 | 2650222.83 | 1213583.6988 | 2650214.6296 | 1213568.9117
14 | 2650608.9523 | 1213605.5225 | 2650606.6498 | 1213602.1082 | 2650603.14 | 1213597.698 | 2650599.7922 | 1213593.8896 | 2650595.2496 | 1213589.4484 | 2650583.9227 | 1213579.78 | 2650566.0315 | 1213565.8749
15 | 2650463.7796 | 1213342.7883 | 2650455.7114 | 1213334.8376
16 | 2650463.7796 | 1213342.7883 | 2650469.1735 | 1213348.1037 | 2650481.4675 | 1213365.6293 | 2650489.7694 | 1213378.9174
17 | 2650627.0955 | 1213646.2079 | 2650619.9919 | 1213627.6032 | 2650616.3596 | 1213618.8338 | 2650613.7835 | 1213613.5978 | 2650610.9556 | 1213608.493 | 2650608.9523 | 1213605.5225
18 | 2650627.0955 | 1213646.2079 | 2650630.7225 | 1213644.8601 | 2650632.1565 | 1213644.1496 | 2650636.3136 | 1213642.1059 | 2650642.1295 | 1213637.9194 | 2650644.5429 | 1213635.4718 | 2650646.4501 | 1213632.7085 | 2650647.5168 | 1213629.638 | 2650647.9666 | 1213626.7623 | 2650648.0009 | 1213623.6163 | 2650647.2744 | 1213620.6194 | 2650645.5841 | 1213616.6249 | 2650642.9313 | 1213612.3666 | 2650638.0482 | 1213605.9991
19 | 2650627.0955 | 1213646.2079 | 2650703.4366 | 1213845.8529 | 2650708.1007 | 1213844.0137
20 | 2650627.0955 | 1213646.2079 | 2650623.1337 | 1213646.7301 | 2650619.5837 | 1213647.0558 | 2650614.1788 | 1213646.6653 | 2650606.6716 | 1213646.079 | 2650602.8843 | 1213645.7356 | 2650600.9316 | 1213645.8079 | 2650598.6175 | 1213646.3887 | 2650596.6271 | 1213647.3279 | 2650594.4391 | 1213649.166 | 2650592.2954 | 1213651.1601 | 2650590.0901 | 1213654.1432 | 2650588.9027 | 1213656.001
21 | 2650638.0482 | 1213605.9991 | 2650641.3617 | 1213600.4239 | 2650648.2578 | 1213573.6998 | 2650650.7511 | 1213567.2171 | 2650655.7672 | 1213559.733 | 2650670.498 | 1213543.2654
22 | 2650708.1007 | 1213844.0137 | 2650703.4366 | 1213845.8529 | 2650713.6224 | 1213871.7216
23 | 2650582.6555 | 1213665.7749 | 2650588.9027 | 1213656.001
24 | 2650713.6224 | 1213871.7216 | 2650704.0846 | 1213873.2636 | 2650695.8828 | 1213874.0055 | 2650686.4033 | 1213874.0472 | 2650679.3896 | 1213873.5207 | 2650676.0286 | 1213872.7506
25 | 2650667.2453 | 1213870.7381 | 2650676.0286 | 1213872.7506
26 | 2650713.6224 | 1213871.7216 | 2650716.0597 | 1213878.0794 | 2650720.9116 | 1213876.4752
27 | 2650720.9116 | 1213876.4752 | 2650744.1319 | 1213868.5461
28 | 2650744.1319 | 1213868.5461 | 2650757.6922 | 1213863.9156
29 | 2650265.6864 | 1213667.4346 | 2650266.9308 | 1213669.3656 | 2650274.7794 | 1213680.8052
30 | 2650582.6555 | 1213665.7749 | 2650580.9373 | 1213668.463 | 2650578.6188 | 1213673.1741
31 | 2650542.176 | 1213772.4743 | 2650557.5265 | 1213723.2084 | 2650567.5663 | 1213695.6326 | 2650578.6188 | 1213673.1741
32 | 2650487.813 | 1213963.7281 | 2650513.0954 | 1213869.8639 | 2650537.8424 | 1213786.4015 | 2650542.176 | 1213772.4743
33 | 2649929.8589 | 1213445.3093 | 2649940.6986 | 1213464.0042 | 2649943.8652 | 1213474.9928 | 2649943.8397 | 1213475.6393
34 | 2649943.3445 | 1213488.1963 | 2649943.8397 | 1213475.6393
35 | 2649943.3445 | 1213488.1963 | 2649939.6213 | 1213511.7682
36 | 2650193.9876 | 1213542.1681 | 2649939.6213 | 1213511.7682
37 | 2650487.813 | 1213963.7281 | 2650480.3055 | 1213987.4454 | 2650474.872 | 1214006.6331 | 2650471.044 | 1214018.2854 | 2650466.4461 | 1214029.3865 | 2650460.2512 | 1214038.9287 | 2650452.8323 | 1214047.7045 | 2650445.477 | 1214054.3685 | 2650437.8193 | 1214059.9516 | 2650427.8014 | 1214065.3256 | 2650416.6929 | 1214068.5226 | 2650406.5191 | 1214069.8819 | 2650402.8022 | 1214069.9619
38 | 2650367.9818 | 1214069.8008 | 2650344.2141 | 1214082.6635 | 2650340.6394 | 1214085.0539
39 | 2650367.9818 | 1214069.8008 | 2650388.3557 | 1214070.2731 | 2650402.8022 | 1214069.9619
40 | 2650367.9818 | 1214069.8008 | 2650369.3803 | 1214049.0002 | 2650370.1867 | 1214037.9387
41 | 2650379.9484 | 1214007.2757 | 2650373.6155 | 1214016.9724 | 2650370.9266 | 1214027.7895 | 2650370.1867 | 1214037.9387
42 | 2650214.6296 | 1213568.9117 | 2650209.5865 | 1213559.8176 | 2650198.6876 | 1213547.9522 | 2650193.9876 | 1213542.1681
43 | 2650880.4726 | 1214182.2829 | 2650868.4704 | 1214187.8617 | 2650853.46 | 1214190.8355 | 2650845.0971 | 1214191.5552
44 | 2650820.3747 | 1213921.5731 | 2650880.4726 | 1214182.2829
45 | 2650797.6927 | 1213880.1973 | 2650798.7806 | 1213886.2324 | 2650820.3747 | 1213921.5731
46 | 2650434.5764 | 1213320.5522 | 2650426.8537 | 1213316.0571
47 | 2650434.5764 | 1213320.5522 | 2650436.279 | 1213321.5432 | 2650449.9112 | 1213330.8694
48 | 2650455.7114 | 1213334.8376 | 2650449.9112 | 1213330.8694
49 | 2650455.7114 | 1213334.8376 | 2650459.8917 | 1213329.1695 | 2650473.6042 | 1213317.189
50 | 2650498.4426 | 1213392.8002 | 2650489.7694 | 1213378.9174
51 | 2650498.4426 | 1213392.8002 | 2650511.7785 | 1213414.4459
52 | 2650498.4426 | 1213392.8002 | 2650524.2115 | 1213378.909
53 | 2650524.2115 | 1213378.909 | 2650542.1861 | 1213369.2194
54 | 2650552.027 | 1213363.9145 | 2650542.1861 | 1213369.2194
55 | 2650783.9653 | 1213852.8308 | 2650771.8336 | 1213858.3864 | 2650761.9857 | 1213862.4495 | 2650757.6922 | 1213863.9156
56 | 2650783.9653 | 1213852.8308 | 2650790.8963 | 1213866.6482
57 | 2650783.9653 | 1213852.8308 | 2650778.8344 | 1213842.5921 | 2650777.325 | 1213840.5558 | 2650775.1083 | 1213838.6358
58 | 2650790.8963 | 1213866.6482 | 2650794.2046 | 1213873.2435
59 | 2650552.027 | 1213363.9145 | 2650565.3854 | 1213356.7118
60 | 2650552.027 | 1213363.9145 | 2650567.5258 | 1213394.0526 | 2650569.2225 | 1213396.1199
61 | 2650578.2136 | 1213349.7951 | 2650565.3854 | 1213356.7118
62 | 2650569.2225 | 1213396.1199 | 2650571.909 | 1213399.3929 | 2650579.8735 | 1213404.3189 | 2650605.4576 | 1213414.0861 | 2650612.1452 | 1213418.2008 | 2650619.3681 | 1213424.577 | 2650635.777 | 1213443.1828 | 2650642.0475 | 1213448.1057 | 2650648.1187 | 1213453.238 | 2650651.1363 | 1213455.2682
63 | 2650797.6927 | 1213880.1973 | 2650794.2046 | 1213873.2435

## bus_geodata
| x | y | coords
0 | 2650260.9572 | 1213594.0376
1 | 2650425.3956 | 1213486.9182
2 | 2650246.1194 | 1213601.65
3 | 2650446.2424 | 1213472.7285
4 | 2650244.3364 | 1213614.7804
5 | 2650238.3653 | 1213597.0042
6 | 2650514.6666 | 1213526.1211
7 | 2650273.4461 | 1213339.3435
8 | 2650453.9317 | 1213447.8991
9 | 2650259.4777 | 1213657.8001
10 | 2650225.4048 | 1213586.8283
11 | 2650566.0315 | 1213565.8749
12 | 2650463.7796 | 1213342.7883
13 | 2650608.9523 | 1213605.5225
14 | 2650627.0955 | 1213646.2079
15 | 2650638.0482 | 1213605.9991
16 | 2650708.1007 | 1213844.0137
17 | 2650588.9027 | 1213656.001
18 | 2650676.0286 | 1213872.7506
19 | 2650713.6224 | 1213871.7216
20 | 2650667.2453 | 1213870.7381
21 | 2650720.9116 | 1213876.4752
22 | 2650744.1319 | 1213868.5461
23 | 2650274.7794 | 1213680.8052
24 | 2650265.6864 | 1213667.4346
25 | 2650582.6555 | 1213665.7749
26 | 2650578.6188 | 1213673.1741
27 | 2650542.1759 | 1213772.4743
28 | 2650670.498 | 1213543.2654
29 | 2649929.8589 | 1213445.3093
30 | 2649943.8397 | 1213475.6393
31 | 2649943.3445 | 1213488.1963
32 | 2649939.6213 | 1213511.7682
33 | 2650487.813 | 1213963.7281
34 | 2650340.6394 | 1214085.0539
35 | 2650367.9818 | 1214069.8008
36 | 2650402.8022 | 1214069.9619
37 | 2650370.1867 | 1214037.9387
38 | 2650379.9484 | 1214007.2757
39 | 2650193.9876 | 1213542.1681
40 | 2650214.6296 | 1213568.9117
41 | 2650845.0971 | 1214191.5552
42 | 2650880.4726 | 1214182.2829
43 | 2650820.3747 | 1213921.5731
44 | 2650434.5764 | 1213320.5522
45 | 2650426.8537 | 1213316.0571
46 | 2650449.9112 | 1213330.8694
47 | 2650455.7114 | 1213334.8376
48 | 2650473.6042 | 1213317.189
49 | 2650489.7694 | 1213378.9174
50 | 2650498.4426 | 1213392.8002
51 | 2650511.7785 | 1213414.4459
52 | 2650524.2115 | 1213378.909
53 | 2650542.1861 | 1213369.2194
54 | 2650757.6922 | 1213863.9156
55 | 2650783.9653 | 1213852.8308
56 | 2650790.8963 | 1213866.6482
57 | 2650775.1083 | 1213838.6358
58 | 2650552.027 | 1213363.9145
59 | 2650565.3854 | 1213356.7118
60 | 2650569.2225 | 1213396.1199
61 | 2650651.1363 | 1213455.2682
62 | 2650578.2136 | 1213349.7951
63 | 2650794.2046 | 1213873.2435
64 | 2650797.6927 | 1213880.1973
65 | 2650578.6188 | 1213673.1741

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99128 | -0.061754 | 0.00018822 | 4.7171e-05
1 | 0.99273 | -0.051431 | 0.00025413 | 6.369e-05
2 | 0.99117 | -0.062598 | 0 | 0
3 | 0.99293 | -0.05004 | 0 | 0
4 | 0.99114 | -0.062751 | 0.00033994 | 8.5196e-05
5 | 0.99112 | -0.062951 | 0 | 0
6 | 0.9947 | -0.037468 | 0.00044942 | 0.00011264
7 | 0.9926 | -0.052352 | 0.0010354 | 0.00025949
8 | 0.99264 | -0.052099 | 0.00025785 | 6.4625e-05
9 | 0.99109 | -0.063129 | 5.5239e-05 | 1.3844e-05
10 | 0.99103 | -0.063604 | 0.00030464 | 7.635e-05
11 | 0.99606 | -0.02779 | 0.00034044 | 8.5321e-05
12 | 0.99147 | -0.060381 | 0 | 0
13 | 0.99733 | -0.018857 | 0.00037054 | 9.2866e-05
14 | 0.99831 | -0.011912 | 0 | 0
15 | 0.9983 | -0.011996 | 0 | 0
16 | 0.99733 | -0.018977 | 0 | 0
17 | 0.99945 | -0.0038639 | 0.00027392 | 6.8652e-05
18 | 0.99716 | -0.020153 | 0.00015655 | 3.9235e-05
19 | 0.99718 | -0.020035 | 0 | 0
20 | 0.99716 | -0.020167 | 0.00015225 | 3.8157e-05
21 | 0.99713 | -0.020381 | 0 | 0
22 | 0.99703 | -0.021093 | 0.0006425 | 0.00016103
23 | 0.99106 | -0.063324 | 0.00066423 | 0.00016647
24 | 0.99108 | -0.063214 | 6.687e-05 | 1.6759e-05
25 | 0.99977 | -0.0016412 | 0.00029076 | 7.2871e-05
26 | 1 | 0 | -0.026875 | -0.006515
27 | 0.99899 | -0.0071391 | 0 | 0
28 | 0.99829 | -0.012103 | 0.00014501 | 3.6343e-05
29 | 0.99031 | -0.068713 | 0.00038944 | 9.7603e-05
30 | 0.99033 | -0.068579 | 0.00011985 | 3.0038e-05
31 | 0.99034 | -0.068514 | 0 | 0
32 | 0.99036 | -0.068389 | 0.00072917 | 0.00018275
33 | 0.99708 | -0.020543 | 0 | 0
34 | 0.99542 | -0.03227 | 0.0012133 | 0.00030407
35 | 0.99547 | -0.031887 | 0 | 0
36 | 0.99566 | -0.030547 | 0.0028826 | 0.00072245
37 | 0.99535 | -0.032723 | 0.0021934 | 0.00054971
38 | 0.99533 | -0.032857 | 0.00040182 | 0.00010071
39 | 0.99081 | -0.065112 | 0.00091116 | 0.00022836
40 | 0.99092 | -0.064359 | 0.0013566 | 0.00033999
41 | 0.99661 | -0.024103 | 0.00038607 | 9.6758e-05
42 | 0.99664 | -0.023959 | 0 | 0
43 | 0.99678 | -0.022877 | 0.00069603 | 0.00017444
44 | 0.99135 | -0.0612 | 0.0015611 | 0.00039124
45 | 0.99135 | -0.061222 | 0.00024737 | 6.1997e-05
46 | 0.9914 | -0.06086 | 0.00060716 | 0.00015217
47 | 0.99142 | -0.060687 | 0 | 0
48 | 0.99142 | -0.060751 | 0.00024751 | 6.2032e-05
49 | 0.99116 | -0.062595 | 0.00053129 | 0.00013315
50 | 0.99105 | -0.063318 | 0 | 0
51 | 0.99104 | -0.06341 | 0.00035512 | 8.9002e-05
52 | 0.99089 | -0.064504 | 0.00028518 | 7.1473e-05
53 | 0.99078 | -0.065272 | 0.00021627 | 5.4202e-05
54 | 0.99698 | -0.021417 | 0.00047077 | 0.00011799
55 | 0.99691 | -0.021925 | 0 | 0
56 | 0.99688 | -0.022164 | 0.00028509 | 7.1451e-05
57 | 0.99691 | -0.021965 | 0.00023065 | 5.7806e-05
58 | 0.99072 | -0.065668 | 0 | 0
59 | 0.99066 | -0.066095 | 0.00068316 | 0.00017122
60 | 0.99069 | -0.065932 | 0.00042151 | 0.00010564
61 | 0.99065 | -0.066228 | 0.00027796 | 6.9664e-05
62 | 0.99062 | -0.066404 | 0.002083 | 0.00052205
63 | 0.99687 | -0.022257 | 0.00013711 | 3.4363e-05
64 | 0.99686 | -0.022345 | 0 | 0
65 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0051276 | -0.0012788 | 0.0051349 | 0.0012791 | 7.2534e-06 | 2.5496e-07 | 0.0076949 | 0.007694 | 0.0076949 | 0.99128 | -0.061754 | 0.99273 | -0.051431 | 2.85
1 | 0.0049394 | 0.0012317 | -0.0049389 | -0.0012317 | 5.7175e-07 | 4.9425e-09 | 0.0074124 | 0.0074124 | 0.0074124 | 0.99128 | -0.061754 | 0.99117 | -0.062598 | 2.7453
2 | -0.005389 | -0.0013428 | 0.00539 | 0.0013428 | 1.026e-06 | 6.8516e-08 | 0.0080749 | 0.0080748 | 0.0080749 | 0.99273 | -0.051431 | 0.99293 | -0.05004 | 2.9907
3 | 0.0011264 | 0.00028117 | -0.0011263 | -0.00028133 | 2.3658e-08 | -1.6187e-07 | 0.0016906 | 0.0016906 | 0.0016906 | 0.99117 | -0.062598 | 0.99114 | -0.062751 | 0.62616
4 | 0.0038125 | 0.00095049 | -0.0038123 | -0.00095053 | 1.8428e-07 | -4.5374e-08 | 0.0057219 | 0.0057219 | 0.0057219 | 0.99117 | -0.062598 | 0.99112 | -0.062951 | 2.1192
5 | -0.014215 | -0.0035469 | 0.014239 | 0.0035553 | 2.4563e-05 | 8.3227e-06 | 0.021297 | 0.021296 | 0.021297 | 0.99293 | -0.05004 | 0.9947 | -0.037468 | 7.8877
6 | 0.0010357 | 0.00025679 | -0.0010354 | -0.00025949 | 3.2794e-07 | -2.6964e-06 | 0.0015511 | 0.0015521 | 0.0015521 | 0.99293 | -0.05004 | 0.9926 | -0.052352 | 0.57486
7 | 0.007789 | 0.0019473 | -0.0077867 | -0.0019468 | 2.2093e-06 | 5.1363e-07 | 0.011671 | 0.011671 | 0.011671 | 0.99293 | -0.05004 | 0.99264 | -0.052099 | 4.3226
8 | 0.00078639 | 0.00019613 | -0.00078635 | -0.00019672 | 4.0895e-08 | -5.9044e-07 | 0.0011803 | 0.0011805 | 0.0011805 | 0.99114 | -0.062751 | 0.99109 | -0.063129 | 0.43722
9 | 0.0038123 | 0.00095053 | -0.003812 | -0.00095062 | 3.4125e-07 | -8.3991e-08 | 0.0057219 | 0.005722 | 0.005722 | 0.99112 | -0.062951 | 0.99103 | -0.063604 | 2.1192
10 | -0.014689 | -0.0036679 | 0.014708 | 0.0036746 | 1.9561e-05 | 6.6791e-06 | 0.021969 | 0.021968 | 0.021969 | 0.9947 | -0.037468 | 0.99606 | -0.02779 | 8.1366
11 | 0.0075289 | 0.0018822 | -0.0075203 | -0.0018803 | 8.5851e-06 | 1.907e-06 | 0.011285 | 0.011285 | 0.011285 | 0.99264 | -0.052099 | 0.99147 | -0.060381 | 4.1796
12 | 0.00073111 | 0.00018288 | -0.00073111 | -0.00018302 | 8.6162e-09 | -1.4439e-07 | 0.0010976 | 0.0010976 | 0.0010976 | 0.99109 | -0.063129 | 0.99108 | -0.063214 | 0.40652
13 | 0.0035073 | 0.00087427 | -0.003507 | -0.0008744 | 3.6252e-07 | -1.3062e-07 | 0.0052646 | 0.0052647 | 0.0052647 | 0.99103 | -0.063604 | 0.99092 | -0.064359 | 1.9499
14 | -0.015049 | -0.0037599 | 0.015067 | 0.0037663 | 1.8515e-05 | 6.3556e-06 | 0.022477 | 0.022477 | 0.022477 | 0.99606 | -0.02779 | 0.99733 | -0.018857 | 8.3248
15 | 0.0026634 | 0.00066662 | -0.0026633 | -0.00066672 | 1.1276e-07 | -1.025e-07 | 0.0039969 | 0.003997 | 0.003997 | 0.99147 | -0.060381 | 0.99142 | -0.060687 | 1.4804
16 | 0.0048569 | 0.0012136 | -0.0048554 | -0.0012136 | 1.4799e-06 | -6.4319e-09 | 0.0072881 | 0.0072883 | 0.0072883 | 0.99147 | -0.060381 | 0.99116 | -0.062595 | 2.6994
17 | -0.015438 | -0.0038591 | 0.015453 | 0.0038642 | 1.478e-05 | 5.1013e-06 | 0.02303 | 0.023029 | 0.02303 | 0.99733 | -0.018857 | 0.99831 | -0.011912 | 8.5295
18 | 0.00014501 | 3.4698e-05 | -0.00014501 | -3.5401e-05 | 1.5629e-09 | -7.0326e-07 | 0.00021558 | 0.00021582 | 0.00021582 | 0.99831 | -0.011912 | 0.9983 | -0.011996 | 0.079934
19 | 0.0031613 | 0.00078275 | -0.0031583 | -0.00078444 | 3.0272e-06 | -1.6931e-06 | 0.0047087 | 0.0047097 | 0.0047097 | 0.99831 | -0.011912 | 0.99733 | -0.018977 | 1.7443
20 | -0.018759 | -0.0046817 | 0.01878 | 0.0046891 | 2.0749e-05 | 7.4234e-06 | 0.027954 | 0.027954 | 0.027954 | 0.99831 | -0.011912 | 0.99945 | -0.0038639 | 10.3532
21 | 0.00014501 | 3.5401e-05 | -0.00014501 | -3.6343e-05 | 2.0998e-09 | -9.4233e-07 | 0.00021582 | 0.00021615 | 0.00021615 | 0.9983 | -0.011996 | 0.99829 | -0.012103 | 0.080055
22 | 0.0031583 | 0.00078444 | -0.0031579 | -0.0007847 | 4.5422e-07 | -2.5345e-07 | 0.0047097 | 0.0047099 | 0.0047099 | 0.99733 | -0.018977 | 0.99718 | -0.020035 | 1.7444
23 | -0.019054 | -0.0047578 | 0.019059 | 0.0047598 | 5.8222e-06 | 2.0873e-06 | 0.028361 | 0.028361 | 0.028361 | 0.99945 | -0.0038639 | 0.99977 | -0.0016412 | 10.5042
24 | -0.00030879 | -7.7274e-05 | 0.0003088 | 7.6782e-05 | 5.0133e-09 | -4.9194e-07 | 0.00046076 | 0.00046058 | 0.00046076 | 0.99716 | -0.020153 | 0.99718 | -0.020035 | 0.17065
25 | 0.00015225 | 3.8039e-05 | -0.00015225 | -3.8157e-05 | 2.9016e-10 | -1.1743e-07 | 0.00022715 | 0.00022719 | 0.00022719 | 0.99716 | -0.020153 | 0.99716 | -0.020167 | 0.084145
26 | 0.0028491 | 0.00070791 | -0.0028489 | -0.00070802 | 1.343e-07 | -1.0383e-07 | 0.0042493 | 0.0042494 | 0.0042494 | 0.99718 | -0.020035 | 0.99713 | -0.020381 | 1.5738
27 | 0.0028489 | 0.00070802 | -0.0028487 | -0.00070823 | 2.7648e-07 | -2.1369e-07 | 0.0042494 | 0.0042495 | 0.0042495 | 0.99713 | -0.020381 | 0.99703 | -0.021093 | 1.5739
28 | 0.0022062 | 0.00054721 | -0.0022061 | -0.00054735 | 9.6818e-08 | -1.4963e-07 | 0.0032906 | 0.0032906 | 0.0032906 | 0.99703 | -0.021093 | 0.99698 | -0.021417 | 1.2188
29 | -0.00066423 | -0.00016647 | 0.00066424 | 0.00016627 | 1.0035e-08 | -2.0451e-07 | 0.00099729 | 0.00099722 | 0.00099729 | 0.99106 | -0.063324 | 0.99108 | -0.063214 | 0.36937
30 | -0.01935 | -0.0048327 | 0.019354 | 0.0048343 | 4.367e-06 | 1.5689e-06 | 0.028794 | 0.028794 | 0.028794 | 0.99977 | -0.0016412 | 1 | 0 | 10.6645
31 | 0.0067204 | 0.0016806 | -0.0067138 | -0.0016794 | 6.6118e-06 | 1.154e-06 | 0.0099988 | 0.0099992 | 0.0099992 | 1 | 0 | 0.99899 | -0.0071391 | 3.7034
32 | 0.0067138 | 0.0016794 | -0.0067014 | -0.0016773 | 1.2407e-05 | 2.1735e-06 | 0.0099992 | 0.01 | 0.01 | 0.99899 | -0.0071391 | 0.99708 | -0.020543 | 3.7038
33 | -0.00038944 | -9.7602e-05 | 0.00038945 | 9.7172e-05 | 7.1971e-09 | -4.3074e-07 | 0.00058516 | 0.00058501 | 0.00058516 | 0.99031 | -0.068713 | 0.99033 | -0.068579 | 0.21673
34 | -0.0005093 | -0.00012721 | 0.0005093 | 0.00012705 | 4.5898e-09 | -1.5993e-07 | 0.00076509 | 0.00076503 | 0.00076509 | 0.99033 | -0.068579 | 0.99034 | -0.068514 | 0.28337
35 | -0.0005093 | -0.00012705 | 0.00050931 | 0.00012675 | 8.7142e-09 | -3.0372e-07 | 0.00076503 | 0.00076492 | 0.00076503 | 0.99034 | -0.068514 | 0.99036 | -0.068389 | 0.28334
36 | -0.0012385 | -0.00030949 | 0.001239 | 0.00030641 | 5.5298e-07 | -3.0852e-06 | 0.0018605 | 0.0018593 | 0.0018605 | 0.99036 | -0.068389 | 0.99081 | -0.065112 | 0.68907
37 | 0.0067014 | 0.0016773 | -0.0066921 | -0.0016756 | 9.2536e-06 | 1.6278e-06 | 0.01 | 0.010001 | 0.010001 | 0.99708 | -0.020543 | 0.99566 | -0.030547 | 3.704
38 | -0.0012133 | -0.00030407 | 0.0012133 | 0.00030369 | 6.4292e-08 | -3.825e-07 | 0.0018137 | 0.0018135 | 0.0018137 | 0.99542 | -0.03227 | 0.99547 | -0.031887 | 0.67172
39 | -0.0038088 | -0.00095338 | 0.0038095 | 0.00095319 | 7.0435e-07 | -1.8199e-07 | 0.0056929 | 0.0056928 | 0.0056929 | 0.99547 | -0.031887 | 0.99566 | -0.030547 | 2.1085
40 | 0.0025955 | 0.00064969 | -0.0025952 | -0.00064999 | 2.9995e-07 | -2.9981e-07 | 0.0038794 | 0.0038796 | 0.0038796 | 0.99547 | -0.031887 | 0.99535 | -0.032723 | 1.4369
41 | 0.00040183 | 0.00010028 | -0.00040182 | -0.00010071 | 7.4075e-09 | -4.2482e-07 | 0.00060057 | 0.00060072 | 0.00060072 | 0.99535 | -0.032723 | 0.99533 | -0.032857 | 0.22249
42 | -0.0021502 | -0.00053476 | 0.0021504 | 0.00053441 | 2.2078e-07 | -3.5255e-07 | 0.0032277 | 0.0032276 | 0.0032277 | 0.99081 | -0.065112 | 0.99092 | -0.064359 | 1.1955
43 | -0.00038607 | -9.6758e-05 | 0.00038608 | 9.6279e-05 | 7.6549e-09 | -4.783e-07 | 0.00057643 | 0.00057626 | 0.00057643 | 0.99661 | -0.024103 | 0.99664 | -0.023959 | 0.21349
44 | -0.00038608 | -9.6279e-05 | 0.00038613 | 9.2814e-05 | 5.5323e-08 | -3.4657e-06 | 0.00057626 | 0.00057506 | 0.00057626 | 0.99664 | -0.023959 | 0.99678 | -0.022877 | 0.21343
45 | -0.0010822 | -0.00026726 | 0.0010822 | 0.00026667 | 7.7289e-08 | -5.9011e-07 | 0.0016141 | 0.0016139 | 0.0016141 | 0.99678 | -0.022877 | 0.99686 | -0.022345 | 0.59781
46 | 0.00024737 | 6.1882e-05 | -0.00024737 | -6.1997e-05 | 7.6864e-10 | -1.1491e-07 | 0.00037126 | 0.0003713 | 0.0003713 | 0.99135 | -0.0612 | 0.99135 | -0.061222 | 0.13752
47 | -0.0018084 | -0.00045312 | 0.0018085 | 0.00045292 | 8.4996e-08 | -2.0568e-07 | 0.0027144 | 0.0027143 | 0.0027144 | 0.99135 | -0.0612 | 0.9914 | -0.06086 | 1.0053
48 | -0.0024157 | -0.00060509 | 0.0024158 | 0.00060502 | 5.7646e-08 | -6.8451e-08 | 0.0036257 | 0.0036256 | 0.0036257 | 0.9914 | -0.06086 | 0.99142 | -0.060687 | 1.3428
49 | 0.00024751 | 6.1707e-05 | -0.00024751 | -6.2031e-05 | 2.1738e-09 | -3.2479e-07 | 0.00037137 | 0.00037149 | 0.00037149 | 0.99142 | -0.060687 | 0.99142 | -0.060751 | 0.13759
50 | 0.0043242 | 0.0010805 | -0.0043237 | -0.0010805 | 4.3033e-07 | -4.544e-08 | 0.0064907 | 0.0064907 | 0.0064907 | 0.99116 | -0.062595 | 0.99105 | -0.063318 | 2.404
51 | 0.00035513 | 8.8676e-05 | -0.00035512 | -8.9002e-05 | 4.5094e-09 | -3.2587e-07 | 0.00053309 | 0.0005332 | 0.0005332 | 0.99105 | -0.063318 | 0.99104 | -0.06341 | 0.19748
52 | 0.0039686 | 0.00099186 | -0.0039679 | -0.00099199 | 6.4839e-07 | -1.2778e-07 | 0.0059577 | 0.0059578 | 0.0059578 | 0.99105 | -0.063318 | 0.99089 | -0.064504 | 2.2066
53 | 0.0036828 | 0.00092052 | -0.0036824 | -0.00092063 | 3.896e-07 | -1.1316e-07 | 0.0055295 | 0.0055296 | 0.0055296 | 0.99089 | -0.064504 | 0.99078 | -0.065272 | 2.048
54 | 0.0034661 | 0.00086643 | -0.0034659 | -0.0008665 | 1.8899e-07 | -7.1282e-08 | 0.0052048 | 0.0052049 | 0.0052049 | 0.99078 | -0.065272 | 0.99072 | -0.065668 | 1.9277
55 | 0.0017353 | 0.00042937 | -0.0017352 | -0.0004297 | 1.1926e-07 | -3.2619e-07 | 0.002588 | 0.0025881 | 0.0025881 | 0.99698 | -0.021417 | 0.99691 | -0.021925 | 0.95857
56 | 0.0015045 | 0.00037211 | -0.0015045 | -0.00037229 | 4.8572e-08 | -1.8286e-07 | 0.0022439 | 0.002244 | 0.002244 | 0.99691 | -0.021925 | 0.99688 | -0.022164 | 0.83112
57 | 0.00023065 | 5.7586e-05 | -0.00023065 | -5.7806e-05 | 1.2511e-09 | -2.2012e-07 | 0.0003442 | 0.00034428 | 0.00034428 | 0.99691 | -0.021925 | 0.99691 | -0.021965 | 0.12751
58 | 0.0012194 | 0.00030084 | -0.0012194 | -0.00030093 | 1.5226e-08 | -9.0341e-08 | 0.0018185 | 0.0018185 | 0.0018185 | 0.99688 | -0.022164 | 0.99687 | -0.022257 | 0.67352
59 | 0.0027664 | 0.00069298 | -0.0027662 | -0.00069311 | 1.6349e-07 | -1.3254e-07 | 0.0041549 | 0.0041549 | 0.0041549 | 0.99072 | -0.065668 | 0.99066 | -0.066095 | 1.5389
60 | 0.00069951 | 0.00017352 | -0.00069949 | -0.00017399 | 2.5159e-08 | -4.6114e-07 | 0.00105 | 0.0010502 | 0.0010502 | 0.99072 | -0.065668 | 0.99069 | -0.065932 | 0.38895
61 | 0.0020831 | 0.00052189 | -0.002083 | -0.00052205 | 8.903e-08 | -1.534e-07 | 0.0031288 | 0.0031289 | 0.0031289 | 0.99066 | -0.066095 | 0.99062 | -0.066404 | 1.1588
62 | 0.00027797 | 6.8344e-05 | -0.00027796 | -6.9664e-05 | 1.1174e-08 | -1.3198e-06 | 0.00041705 | 0.00041752 | 0.00041752 | 0.99069 | -0.065932 | 0.99065 | -0.066228 | 0.15464
63 | 0.0010823 | 0.00026657 | -0.0010822 | -0.00026667 | 1.2644e-08 | -9.656e-08 | 0.0016138 | 0.0016139 | 0.0016139 | 0.99687 | -0.022257 | 0.99686 | -0.022345 | 0.59773

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.027004 | 0.0065472

## res_load
| p_mw | q_mvar
0 | 0.00018822 | 4.7171e-05
1 | 0.00025413 | 6.369e-05
2 | 0.00033994 | 8.5196e-05
3 | 0.00044942 | 0.00011264
4 | 0.0010354 | 0.00025949
5 | 0.00025785 | 6.4625e-05
6 | 5.5239e-05 | 1.3844e-05
7 | 0.00030464 | 7.635e-05
8 | 0.00034044 | 8.5321e-05
9 | 0.00037054 | 9.2866e-05
10 | 0.00027392 | 6.8652e-05
11 | 0.00015655 | 3.9235e-05
12 | 0.00015225 | 3.8157e-05
13 | 0.0006425 | 0.00016103
14 | 0.00066423 | 0.00016647
15 | 6.687e-05 | 1.6759e-05
16 | 0.00029076 | 7.2871e-05
17 | 0.0001288 | 3.2281e-05
18 | 0.00014501 | 3.6343e-05
19 | 0.00038944 | 9.7603e-05
20 | 0.00011985 | 3.0038e-05
21 | 0.00072917 | 0.00018275
22 | 0.0012133 | 0.00030407
23 | 0.0028826 | 0.00072245
24 | 0.0021934 | 0.00054971
25 | 0.00040182 | 0.00010071
26 | 0.00091116 | 0.00022836
27 | 0.0013566 | 0.00033999
28 | 0.00038607 | 9.6758e-05
29 | 0.00069603 | 0.00017444
30 | 0.0015611 | 0.00039124
31 | 0.00024737 | 6.1997e-05
32 | 0.00060716 | 0.00015217
33 | 0.00024751 | 6.2032e-05
34 | 0.00053129 | 0.00013315
35 | 0.00035512 | 8.9002e-05
36 | 0.00028518 | 7.1473e-05
37 | 0.00021627 | 5.4202e-05
38 | 0.00047077 | 0.00011799
39 | 0.00028509 | 7.1451e-05
40 | 0.00023065 | 5.7806e-05
41 | 0.00068316 | 0.00017122
42 | 0.00042151 | 0.00010564
43 | 0.00027796 | 6.9664e-05
44 | 0.002083 | 0.00052205
45 | 0.00013711 | 3.4363e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1