## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1098-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1098-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1098-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1098-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1098-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1098-6_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1098-6_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1098-6_0_3_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_1098-6_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1098-6_0_3_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_1098-6_0_3_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_1098-6_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1098-6_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1098-6_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1098-6_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1098-6_0_3_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_1098-6_0_3_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_1098-6_0_3_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_1098-6_0_3_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_1098-6_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1098-6_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1098-6_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1098-6_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1098-6_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1098-6_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1098-6_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1098-6_0_3_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_1098-6_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1098-6_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1098-6_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1098-6_0_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_1098-6_0_3_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1098-6_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1098-6_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1098-6_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1098-6_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1098-6_0_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_1098-6_0_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_1098-6_0_3_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_1098-6_0_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_1098-6_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_1098-6_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_1098-6_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_1098-6_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_1098-6_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_1098-6_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1098-6_0_3_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_1098-6_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_1098-6_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_1098-6_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1098-6_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_1098-6_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_1098-6_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_1098-6_0_3_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_1098-6_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_1098-6_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_1098-6_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1098-6_0_3_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_1098-6_0_3_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_1098-6_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_1098-6_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_1098-6_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_1098-6_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_1098-6_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_1098-6_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_1098-6_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_1098-6_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_1098-6_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_1098-6_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_1098-6_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_1098-6_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_1098-6_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_1098-6_0_3_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_1098-6_0_3_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_1098-6_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_1098-6_0_3_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_1098-6_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_1098-6_0_3_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_1098-6_0_3_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_1098-6_0_3_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_1098-6_0_3_node_91 | 0.4 | n |  | TRUE
81 | bus_LV_1098-6_0_3_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_1098-6_0_3_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_1098-6_0_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_1098-6_0_3_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_1098-6_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_1098-6_0_3_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_1098-6_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_1098-6_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_MV_124_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1098-6_0_3_load_0 | 0 | 0.00097032 | 0.00024319 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1098-6_0_3_load_1 | 1 | 0.0013229 | 0.00033156 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1098-6_0_3_load_4 | 4 | 0.0044268 | 0.0011095 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1098-6_0_3_load_10 | 5 | 0.0012295 | 0.00030813 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1098-6_0_3_load_11 | 6 | 0.0089976 | 0.002255 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1098-6_0_3_load_73 | 7 | 0.0020484 | 0.00051337 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1098-6_0_3_load_8 | 8 | 0.0013514 | 0.00033869 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1098-6_0_3_load_68 | 9 | 0.0077605 | 0.001945 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1098-6_0_3_load_5 | 11 | 0.0016656 | 0.00041743 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1098-6_0_3_load_6 | 12 | 0.0019818 | 0.00049669 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1098-6_0_3_load_9 | 14 | 0.0037697 | 0.00094478 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1098-6_0_3_load_81 | 15 | 0.0003464 | 8.6817e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1098-6_0_3_load_79 | 16 | 0.0019039 | 0.00047717 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1098-6_0_3_load_77 | 17 | 0.0015683 | 0.00039304 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1098-6_0_3_load_12 | 19 | 0.0025294 | 0.00063394 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1098-6_0_3_load_15 | 22 | 0.00067775 | 0.00016986 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1098-6_0_3_load_17 | 24 | 0.0014803 | 0.00037101 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1098-6_0_3_load_18 | 25 | 0.0013635 | 0.00034173 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1098-6_0_3_load_39 | 27 | 0.00065937 | 0.00016525 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1098-6_0_3_load_19 | 28 | 0.0013397 | 0.00033577 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1098-6_0_3_load_37 | 30 | 0.0026447 | 0.00066282 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1098-6_0_3_load_20 | 32 | 0.0014574 | 0.00036526 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1098-6_0_3_load_22 | 33 | 0.0011048 | 0.0002769 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1098-6_0_3_load_23 | 34 | 0.0014719 | 0.00036888 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1098-6_0_3_load_24 | 35 | 0.0013697 | 0.00034329 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1098-6_0_3_load_46 | 37 | 0.0017847 | 0.0004473 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1098-6_0_3_load_87 | 38 | 0.0025511 | 0.00063936 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1098-6_0_3_load_44 | 39 | 0.00057839 | 0.00014496 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1098-6_0_3_load_25 | 40 | 0.0013983 | 0.00035046 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1098-6_0_3_load_26 | 41 | 0.0013632 | 0.00034165 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1098-6_0_3_load_28 | 43 | 0.0047277 | 0.0011849 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1098-6_0_3_load_29 | 44 | 0.0035546 | 0.00089087 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1098-6_0_3_load_30 | 45 | 0.0035253 | 0.00088353 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1098-6_0_3_load_51 | 46 | 0.0023658 | 0.00059293 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1098-6_0_3_load_31 | 47 | 0.0017954 | 0.00044996 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1098-6_0_3_load_49 | 48 | 0.0033684 | 0.00084419 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1098-6_0_3_load_32 | 49 | 0.0014868 | 0.00037262 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1098-6_0_3_load_33 | 50 | 0.0017297 | 0.00043351 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1098-6_0_3_load_34 | 51 | 0.0022923 | 0.0005745 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1098-6_0_3_load_35 | 52 | 0.0021425 | 0.00053697 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1098-6_0_3_load_36 | 53 | 0.0022008 | 0.00055157 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1098-6_0_3_load_43 | 55 | 0.00076878 | 0.00019267 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1098-6_0_3_load_47 | 56 | 0.0011 | 0.00027569 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1098-6_0_3_load_88 | 57 | 0.0010959 | 0.00027465 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1098-6_0_3_load_89 | 58 | 0.0010628 | 0.00026635 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1098-6_0_3_load_48 | 59 | 0.0015151 | 0.00037973 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1098-6_0_3_load_58 | 62 | 0.0043163 | 0.0010818 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1098-6_0_3_load_53 | 64 | 0.0060905 | 0.0015264 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1098-6_0_3_load_54 | 65 | 0.0028238 | 0.00070771 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1098-6_0_3_load_56 | 66 | 0.0017526 | 0.00043925 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1098-6_0_3_load_59 | 67 | 0.00057274 | 0.00014354 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1098-6_0_3_load_66 | 68 | 0.0077404 | 0.0019399 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1098-6_0_3_load_67 | 70 | 0.0034472 | 0.00086394 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1098-6_0_3_load_65 | 71 | 0.00057274 | 0.00014354 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1098-6_0_3_load_60 | 72 | 0.0027302 | 0.00068426 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1098-6_0_3_load_63 | 73 | 0.005992 | 0.0015017 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1098-6_0_3_load_62 | 75 | 0.0022197 | 0.0005563 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1098-6_0_3_load_71 | 76 | 0.0022074 | 0.00055322 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1098-6_0_3_load_82 | 77 | 0.00097735 | 0.00024495 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1098-6_0_3_load_83 | 78 | 0.00038176 | 9.5679e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1098-6_0_3_load_91 | 80 | 0.0055576 | 0.0013929 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1098-6_0_3_load_69 | 81 | 0.0095272 | 0.0023877 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1098-6_0_3_load_70 | 82 | 0.001762 | 0.0004416 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1098-6_0_3_load_75 | 83 | 0.0074391 | 0.0018644 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1098-6_0_3_load_76 | 84 | 0.0019406 | 0.00048635 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1098-6_0_3_load_78 | 85 | 0.0021451 | 0.00053761 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1098-6_0_3_load_80 | 86 | 0.002666 | 0.00066816 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1098-6_0_3_load_85 | 87 | 0.002396 | 0.0006005 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1098-6_0_3_load_86 | 88 | 0.00119 | 0.00029824 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1098-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1098-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.041671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1098-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0061584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1098-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1098-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1098-6_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.03552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1098-6_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.015856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1098-6_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.028552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1098-6_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.048176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1098-6_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.013782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1098-6_0_3_line_10 | NAYY 4x150 SE | 8 | 12 | 0.028791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1098-6_0_3_line_11 | NAYY 4x150 SE | 9 | 18 | 0.06501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1098-6_0_3_line_12 | NAYY 4x150 SE | 10 | 83 | 0.0064154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1098-6_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1098-6_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0079147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1098-6_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.013442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1098-6_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.07917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1098-6_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.016157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1098-6_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.011648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1098-6_0_3_line_19 | NAYY 4x150 SE | 17 | 85 | 0.009887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1098-6_0_3_line_20 | NAYY 4x150 SE | 18 | 68 | 0.0133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1098-6_0_3_line_21 | NAYY 4x150 SE | 18 | 63 | 0.027357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1098-6_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0023452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1098-6_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.016375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1098-6_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.021272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1098-6_0_3_line_25 | NAYY 4x150 SE | 20 | 23 | 0.025976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1098-6_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.01809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1098-6_0_3_line_27 | NAYY 4x150 SE | 21 | 25 | 0.0095895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1098-6_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.014071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1098-6_0_3_line_29 | NAYY 4x150 SE | 23 | 27 | 0.039838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1098-6_0_3_line_30 | NAYY 4x150 SE | 24 | 28 | 0.022573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1098-6_0_3_line_31 | NAYY 4x150 SE | 25 | 29 | 0.030421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1098-6_0_3_line_32 | NAYY 4x150 SE | 26 | 30 | 0.010128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1098-6_0_3_line_33 | NAYY 4x150 SE | 27 | 31 | 0.029309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1098-6_0_3_line_34 | NAYY 4x150 SE | 28 | 32 | 0.008781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1098-6_0_3_line_35 | NAYY 4x150 SE | 29 | 33 | 0.0090356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1098-6_0_3_line_36 | NAYY 4x150 SE | 30 | 53 | 0.023131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1098-6_0_3_line_37 | NAYY 4x150 SE | 31 | 54 | 0.018773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1098-6_0_3_line_38 | NAYY 4x150 SE | 32 | 34 | 0.019147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1098-6_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.0088523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1098-6_0_3_line_40 | NAYY 4x150 SE | 35 | 40 | 0.01837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1098-6_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.026379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1098-6_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.12745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1098-6_0_3_line_43 | NAYY 4x150 SE | 36 | 39 | 0.012885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1098-6_0_3_line_44 | NAYY 4x150 SE | 37 | 56 | 0.011017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1098-6_0_3_line_45 | NAYY 4x150 SE | 38 | 57 | 0.012428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1098-6_0_3_line_46 | NAYY 4x150 SE | 39 | 55 | 0.022714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1098-6_0_3_line_47 | NAYY 4x150 SE | 40 | 41 | 0.0067555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1098-6_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.0090678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1098-6_0_3_line_49 | NAYY 4x150 SE | 42 | 44 | 0.011276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1098-6_0_3_line_50 | NAYY 4x150 SE | 43 | 45 | 0.03229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1098-6_0_3_line_51 | NAYY 4x150 SE | 44 | 46 | 0.0073326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1098-6_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.0077408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1098-6_0_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.012834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1098-6_0_3_line_54 | NAYY 4x150 SE | 47 | 49 | 0.01024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1098-6_0_3_line_55 | NAYY 4x150 SE | 48 | 59 | 0.010289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1098-6_0_3_line_56 | NAYY 4x150 SE | 49 | 50 | 0.010838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1098-6_0_3_line_57 | NAYY 4x150 SE | 50 | 51 | 0.012187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1098-6_0_3_line_58 | NAYY 4x150 SE | 51 | 52 | 0.015231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1098-6_0_3_line_59 | NAYY 4x150 SE | 52 | 53 | 0.011968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1098-6_0_3_line_60 | NAYY 4x150 SE | 54 | 55 | 0.031567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1098-6_0_3_line_61 | NAYY 4x150 SE | 57 | 58 | 0.023019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1098-6_0_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.037102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1098-6_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.034141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1098-6_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0015006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1098-6_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.011516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1098-6_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.018268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_1098-6_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.032264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1098-6_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.036247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1098-6_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.052251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1098-6_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.02798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1098-6_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.021756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1098-6_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.021038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1098-6_0_3_line_73 | NAYY 4x150 SE | 70 | 81 | 0.057329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1098-6_0_3_line_74 | NAYY 4x150 SE | 70 | 82 | 0.052042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1098-6_0_3_line_75 | NAYY 4x150 SE | 71 | 79 | 0.013523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1098-6_0_3_line_76 | NAYY 4x150 SE | 72 | 73 | 0.054981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1098-6_0_3_line_77 | NAYY 4x150 SE | 72 | 74 | 0.075486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1098-6_0_3_line_78 | NAYY 4x150 SE | 73 | 75 | 0.055522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_1098-6_0_3_line_79 | NAYY 4x150 SE | 74 | 76 | 0.02121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_1098-6_0_3_line_80 | NAYY 4x150 SE | 75 | 77 | 0.054147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_1098-6_0_3_line_81 | NAYY 4x150 SE | 76 | 82 | 0.031214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_1098-6_0_3_line_82 | NAYY 4x150 SE | 77 | 78 | 0.1036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_1098-6_0_3_line_83 | NAYY 4x150 SE | 78 | 87 | 0.11865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_1098-6_0_3_line_84 | NAYY 4x150 SE | 79 | 80 | 0.014989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_1098-6_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.02544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_1098-6_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.016351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_1098-6_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.014149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1098-6_0_3_trafo_53 | 0.25 MVA 20/0.4 kV | 89 | 64 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2649521.3021 | 1212262.7108 | 2649522.8406 | 1212263.2544 | 2649535.91 | 1212265.6879
1 | 2649483.0255 | 1212246.3698 | 2649499.281 | 1212254.0758 | 2649506.3114 | 1212257.4138 | 2649521.3021 | 1212262.7108
2 | 2649541.9643 | 1212266.8152 | 2649535.91 | 1212265.6879
3 | 2649483.0255 | 1212246.3698 | 2649472.7058 | 1212266.5026
4 | 2649541.9643 | 1212266.8152 | 2649558.7759 | 1212266.7483
5 | 2649541.9643 | 1212266.8152 | 2649542.3582 | 1212258.7248 | 2649543.2259 | 1212253.0398 | 2649548.6864 | 1212234.085 | 2649549.0939 | 1212232.1849
6 | 2649472.7058 | 1212266.5026 | 2649465.4729 | 1212280.6132
7 | 2649558.7759 | 1212266.7483 | 2649584.4888 | 1212266.646 | 2649587.3121 | 1212266.9411
8 | 2649559.5861 | 1212185.172 | 2649558.0087 | 1212191.0925 | 2649555.9499 | 1212200.2141 | 2649549.0939 | 1212232.1849
9 | 2649459.1864 | 1212292.8775 | 2649465.4729 | 1212280.6132
10 | 2649587.3121 | 1212266.9411 | 2649604.9462 | 1212268.784 | 2649615.6349 | 1212271.63
11 | 2649583.0105 | 1212124.583 | 2649580.9205 | 1212131.0584 | 2649565.3229 | 1212169.4182 | 2649563.803 | 1212173.1189 | 2649560.9495 | 1212180.0548 | 2649559.5861 | 1212185.172
12 | 2649459.1864 | 1212292.8775 | 2649456.2452 | 1212298.5789
13 | 2649646.0634 | 1212281.4606 | 2649626.1948 | 1212274.4417 | 2649615.6349 | 1212271.63
14 | 2649653.5261 | 1212284.097 | 2649646.0634 | 1212281.4606
15 | 2649653.5261 | 1212284.097 | 2649660.3623 | 1212272.5232
16 | 2649653.5261 | 1212284.097 | 2649715.3564 | 1212333.5432
17 | 2649667.2437 | 1212258.0512 | 2649667.2437 | 1212258.0512 | 2649665.8636 | 1212263.2095 | 2649660.3623 | 1212272.5232
18 | 2649663.5435 | 1212247.1588 | 2649665.7606 | 1212250.9347 | 2649667.2437 | 1212258.0512
19 | 2649663.5435 | 1212247.1588 | 2649658.9511 | 1212239.3378 | 2649658.5207 | 1212238.643
20 | 2649583.0105 | 1212124.583 | 2649571.2115 | 1212118.4448
21 | 2649594.492 | 1212099.7415 | 2649583.0105 | 1212124.583
22 | 2649813.808 | 1212021.3659 | 2649811.64 | 1212022.2601
23 | 2649796.5014 | 1212028.5035 | 2649811.64 | 1212022.2601
24 | 2649813.808 | 1212021.3659 | 2649829.4135 | 1212006.8654
25 | 2649813.808 | 1212021.3659 | 2649817.8236 | 1212031.8167 | 2649820.0692 | 1212037.6723 | 2649822.0164 | 1212041.9577 | 2649823.2552 | 1212045.5591
26 | 2649796.5014 | 1212028.5035 | 2649789.5089 | 1212031.547 | 2649779.203 | 1212033.356
27 | 2649796.5014 | 1212028.5035 | 2649795.0683 | 1212019.0218
28 | 2649811.55 | 1212053.3883 | 2649817.0805 | 1212049.8323 | 2649821.9464 | 1212046.7044 | 2649823.2552 | 1212045.5591
29 | 2649823.2552 | 1212045.5591 | 2649840.2614 | 1212030.7145 | 2649842.7718 | 1212028.5231 | 2649851.181 | 1212021.4336 | 2649853.8667 | 1212020.2553
30 | 2649756.686 | 1212032.7279 | 2649777.1139 | 1212033.7227 | 2649779.203 | 1212033.356
31 | 2649784.3953 | 1211992.4368 | 2649790.807 | 1212005.2867 | 2649792.995 | 1212005.305 | 2649795.0683 | 1212019.0218
32 | 2649811.55 | 1212053.3883 | 2649804.1931 | 1212057.307 | 2649802.5723 | 1212058.0725
33 | 2649881.0875 | 1212009.4319 | 2649873.1309 | 1212012.3671 | 2649866.1427 | 1212014.8769 | 2649861.3767 | 1212016.9605 | 2649853.8667 | 1212020.2553
34 | 2649756.686 | 1212032.7279 | 2649747.9154 | 1212032.3008
35 | 2649784.3953 | 1211992.4368 | 2649788.0461 | 1211991.978 | 2649793.2649 | 1211990.773
36 | 2649802.5723 | 1212058.0725 | 2649797.0229 | 1212060.6936 | 2649784.8434 | 1212063.4603 | 2649780.3426 | 1212063.2789
37 | 2649889.7266 | 1211993.0388 | 2649888.0949 | 1211998.2727 | 2649886.2282 | 1212002.5263 | 2649884.0242 | 1212006.2323 | 2649881.0875 | 1212009.4319
38 | 2649747.9154 | 1212032.3008 | 2649728.7906 | 1212031.3695
39 | 2649728.7906 | 1212031.3695 | 2649719.9488 | 1212030.9389
40 | 2649719.9488 | 1212030.9389 | 2649701.6006 | 1212030.0454
41 | 2649832.4748 | 1211964.1879 | 2649820.0142 | 1211958.7362 | 2649807.8765 | 1211954.7422
42 | 2649832.4748 | 1211964.1879 | 2649869.3554 | 1211842.1873
43 | 2649832.4748 | 1211964.1879 | 2649837.9885 | 1211967.2024 | 2649844.0731 | 1211969.762
44 | 2649797.4119 | 1211951.2988 | 2649807.8765 | 1211954.7422
45 | 2649880.5738 | 1211837.348 | 2649873.2818 | 1211841.6452 | 2649869.3554 | 1211842.1873
46 | 2649865.9169 | 1211975.8533 | 2649847.6418 | 1211971.2632 | 2649844.0731 | 1211969.762
47 | 2649701.6006 | 1212030.0454 | 2649698.0532 | 1212029.8727 | 2649694.8704 | 1212030.2397
48 | 2649671.2831 | 1212054.8758 | 2649680.1677 | 1212056.6895
49 | 2649671.2831 | 1212054.8758 | 2649660.638 | 1212052.2189 | 2649660.3428 | 1212052.1453
50 | 2649712.202 | 1212060.372 | 2649688.5993 | 1212058.4109 | 2649680.1677 | 1212056.6895
51 | 2649653.2282 | 1212050.3708 | 2649660.3428 | 1212052.1453
52 | 2649712.202 | 1212060.372 | 2649715.9627 | 1212060.6845 | 2649719.9265 | 1212060.8442
53 | 2649653.2282 | 1212050.3708 | 2649640.7755 | 1212047.265
54 | 2649719.9265 | 1212060.8442 | 2649730.1583 | 1212061.2566
55 | 2649630.7212 | 1212045.3637 | 2649633.1077 | 1212045.3525 | 2649640.7755 | 1212047.265
56 | 2649740.988 | 1212061.693 | 2649730.1583 | 1212061.2566
57 | 2649740.988 | 1212061.693 | 2649753.1651 | 1212062.1837
58 | 2649768.3838 | 1212062.797 | 2649753.1651 | 1212062.1837
59 | 2649768.3838 | 1212062.797 | 2649780.3426 | 1212063.2789
60 | 2649889.7266 | 1211993.0388 | 2649886.4394 | 1211985.4513 | 2649884.7564 | 1211983.1914 | 2649882.5001 | 1211981.3382 | 2649880.0725 | 1211979.9837 | 2649876.9005 | 1211978.612 | 2649865.9169 | 1211975.8533
61 | 2649880.5738 | 1211837.348 | 2649880.5738 | 1211837.348 | 2649889.6247 | 1211825.3388 | 2649895.3243 | 1211819.7524
62 | 2649602.3731 | 1212063.8302 | 2649606.2768 | 1212055.7912 | 2649613.3053 | 1212048.4119 | 2649621.1104 | 1212045.4084 | 2649630.7212 | 1212045.3637
63 | 2649583.7107 | 1212092.4476 | 2649602.3731 | 1212063.8302
64 | 2649583.7107 | 1212092.4476 | 2649584.9534 | 1212093.2886
65 | 2649594.492 | 1212099.7415 | 2649592.5427 | 1212098.4245 | 2649584.9534 | 1212093.2886
66 | 2649594.492 | 1212099.7415 | 2649609.7056 | 1212109.855
67 | 2649609.7056 | 1212109.855 | 2649610.8354 | 1212110.606 | 2649634.4257 | 1212130.575
68 | 2649634.4257 | 1212130.575 | 2649636.1699 | 1212132.0515 | 2649648.2145 | 1212143.6474 | 2649651.1464 | 1212146.4735 | 2649660.6333 | 1212155.6094
69 | 2649660.6333 | 1212155.6094 | 2649691.312 | 1212185.1529 | 2649698.1792 | 1212191.9465
70 | 2649718.0704 | 1212211.6247 | 2649698.1792 | 1212191.9465
71 | 2649551.9109 | 1212108.4041 | 2649571.2115 | 1212118.4448
72 | 2649718.0704 | 1212211.6247 | 2649722.6384 | 1212205.9261 | 2649725.1216 | 1212196.9637 | 2649726.6871 | 1212192.8146
73 | 2649551.9109 | 1212108.4041 | 2649511.8746 | 1212149.4378
74 | 2649551.9109 | 1212108.4041 | 2649503.2642 | 1212089.9154
75 | 2649731.4613 | 1212180.1621 | 2649726.6871 | 1212192.8146
76 | 2649544.1572 | 1211925.943 | 2649548.4108 | 1211980.7591
77 | 2649548.4108 | 1211980.7591 | 2649499.3483 | 1212038.1264
78 | 2649544.1572 | 1211925.943 | 2649536.4853 | 1211919.2976 | 2649533.9044 | 1211916.2633 | 2649531.5525 | 1211912.1858 | 2649529.8973 | 1211908.3809 | 2649524.3935 | 1211885.8552 | 2649523.7096 | 1211883.1146 | 2649522.0867 | 1211879.9993 | 2649520.1123 | 1211877.7313
79 | 2649499.3483 | 1212038.1264 | 2649497.3751 | 1212046.1036 | 2649499.1059 | 1212058.9801
80 | 2649520.1123 | 1211877.7313 | 2649571.3139 | 1211860.115
81 | 2649499.1059 | 1212058.9801 | 2649503.2642 | 1212089.9154
82 | 2649571.3139 | 1211860.115 | 2649625.0854 | 1211771.5633
83 | 2649625.0854 | 1211771.5633 | 2649736.6096 | 1211731.0704
84 | 2649728.1795 | 1212165.5372 | 2649731.4613 | 1212180.1621
85 | 2649456.2452 | 1212298.5789 | 2649444.5818 | 1212321.1881
86 | 2649649.9099 | 1212224.7429 | 2649658.5207 | 1212238.643
87 | 2649736.6096 | 1211731.0704 | 2649739.2128 | 1211731.5947 | 2649749.4513 | 1211736.816

## bus_geodata
| x | y | coords
0 | 2649521.3021 | 1212262.7108
1 | 2649535.91 | 1212265.6879
2 | 2649483.0255 | 1212246.3698
3 | 2649541.9643 | 1212266.8152
4 | 2649472.7058 | 1212266.5026
5 | 2649558.7759 | 1212266.7483
6 | 2649549.0939 | 1212232.1849
7 | 2649465.4729 | 1212280.6132
8 | 2649587.3121 | 1212266.9411
9 | 2649559.5861 | 1212185.172
10 | 2649459.1864 | 1212292.8775
11 | 2649646.0634 | 1212281.4606
12 | 2649615.6349 | 1212271.63
13 | 2649653.5261 | 1212284.097
14 | 2649660.3623 | 1212272.5232
15 | 2649715.3564 | 1212333.5432
16 | 2649667.2437 | 1212258.0512
17 | 2649663.5435 | 1212247.1588
18 | 2649583.0105 | 1212124.583
19 | 2649811.64 | 1212022.2601
20 | 2649813.808 | 1212021.3659
21 | 2649796.5014 | 1212028.5035
22 | 2649829.4135 | 1212006.8654
23 | 2649823.2552 | 1212045.5591
24 | 2649779.203 | 1212033.356
25 | 2649795.0683 | 1212019.0218
26 | 2649811.55 | 1212053.3883
27 | 2649853.8667 | 1212020.2553
28 | 2649756.686 | 1212032.7279
29 | 2649784.3953 | 1211992.4368
30 | 2649802.5723 | 1212058.0725
31 | 2649881.0875 | 1212009.4319
32 | 2649747.9154 | 1212032.3008
33 | 2649793.2649 | 1211990.773
34 | 2649728.7906 | 1212031.3695
35 | 2649719.9488 | 1212030.9389
36 | 2649832.4748 | 1211964.1879
37 | 2649807.8765 | 1211954.7422
38 | 2649869.3554 | 1211842.1873
39 | 2649844.0731 | 1211969.762
40 | 2649701.6006 | 1212030.0454
41 | 2649694.8704 | 1212030.2397
42 | 2649671.2831 | 1212054.8758
43 | 2649680.1677 | 1212056.6895
44 | 2649660.3428 | 1212052.1453
45 | 2649712.202 | 1212060.372
46 | 2649653.2282 | 1212050.3708
47 | 2649719.9265 | 1212060.8442
48 | 2649640.7755 | 1212047.265
49 | 2649730.1583 | 1212061.2566
50 | 2649740.988 | 1212061.693
51 | 2649753.1651 | 1212062.1837
52 | 2649768.3838 | 1212062.797
53 | 2649780.3426 | 1212063.2789
54 | 2649889.7266 | 1211993.0388
55 | 2649865.9169 | 1211975.8533
56 | 2649797.4119 | 1211951.2988
57 | 2649880.5738 | 1211837.348
58 | 2649895.3243 | 1211819.7524
59 | 2649630.7212 | 1212045.3637
60 | 2649602.3731 | 1212063.8302
61 | 2649583.7107 | 1212092.4476
62 | 2649584.9534 | 1212093.2886
63 | 2649594.492 | 1212099.7415
64 | 2649609.7056 | 1212109.855
65 | 2649634.4257 | 1212130.575
66 | 2649660.6333 | 1212155.6094
67 | 2649698.1792 | 1212191.9465
68 | 2649571.2115 | 1212118.4448
69 | 2649718.0704 | 1212211.6247
70 | 2649551.9109 | 1212108.4041
71 | 2649726.6871 | 1212192.8146
72 | 2649548.4108 | 1211980.7591
73 | 2649544.1572 | 1211925.943
74 | 2649499.3483 | 1212038.1264
75 | 2649520.1123 | 1211877.7313
76 | 2649499.1059 | 1212058.9801
77 | 2649571.3139 | 1211860.115
78 | 2649625.0854 | 1211771.5633
79 | 2649731.4613 | 1212180.1621
80 | 2649728.1795 | 1212165.5372
81 | 2649511.8746 | 1212149.4378
82 | 2649503.2642 | 1212089.9154
83 | 2649456.2452 | 1212298.5789
84 | 2649444.5818 | 1212321.1881
85 | 2649658.5207 | 1212238.643
86 | 2649649.9099 | 1212224.7429
87 | 2649736.6096 | 1211731.0704
88 | 2649749.4513 | 1211736.816
89 | 2649594.492 | 1212099.7415

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98354 | -0.11542 | 0.00097032 | 0.00024319
1 | 0.9839 | -0.11283 | 0.0013229 | 0.00033156
2 | 0.98258 | -0.12225 | 0 | 0
3 | 0.98406 | -0.11168 | 0 | 0
4 | 0.98206 | -0.12596 | 0.0044268 | 0.0011095
5 | 0.98361 | -0.11491 | 0.0012295 | 0.00030813
6 | 0.98596 | -0.098224 | 0.0089976 | 0.002255
7 | 0.9818 | -0.12784 | 0.0020484 | 0.00051337
8 | 0.98289 | -0.12004 | 0.0013514 | 0.00033869
9 | 0.98916 | -0.075636 | 0.0077605 | 0.001945
10 | 0.98161 | -0.12917 | 0 | 0
11 | 0.98156 | -0.12949 | 0.0016656 | 0.00041743
12 | 0.98222 | -0.12482 | 0.0019818 | 0.00049669
13 | 0.98142 | -0.13051 | 0 | 0
14 | 0.98119 | -0.13219 | 0.0037697 | 0.00094478
15 | 0.98138 | -0.13079 | 0.0003464 | 8.6817e-05
16 | 0.98099 | -0.13358 | 0.0019039 | 0.00047717
17 | 0.98088 | -0.13435 | 0.0015683 | 0.00039304
18 | 0.9942 | -0.040284 | 0 | 0
19 | 0.97899 | -0.14766 | 0.0025294 | 0.00063394
20 | 0.97904 | -0.1473 | 0 | 0
21 | 0.97869 | -0.14977 | 0 | 0
22 | 0.97902 | -0.14745 | 0.00067775 | 0.00016986
23 | 0.97963 | -0.14309 | 0 | 0
24 | 0.97843 | -0.15164 | 0.0014803 | 0.00037101
25 | 0.97866 | -0.15002 | 0.0013635 | 0.00034173
26 | 0.98014 | -0.1394 | 0 | 0
27 | 0.97907 | -0.14708 | 0.00065937 | 0.00016525
28 | 0.97816 | -0.15362 | 0.0013397 | 0.00033577
29 | 0.97861 | -0.15037 | 0 | 0
30 | 0.98051 | -0.13675 | 0.0026447 | 0.00066282
31 | 0.97869 | -0.14982 | 0 | 0
32 | 0.97807 | -0.15426 | 0.0014574 | 0.00036526
33 | 0.97859 | -0.15047 | 0.0011048 | 0.0002769
34 | 0.97791 | -0.15538 | 0.0014719 | 0.00036888
35 | 0.97786 | -0.15577 | 0.0013697 | 0.00034329
36 | 0.97762 | -0.15749 | 0 | 0
37 | 0.97751 | -0.15829 | 0.0017847 | 0.0004473
38 | 0.97674 | -0.16378 | 0.0025511 | 0.00063936
39 | 0.97776 | -0.15647 | 0.00057839 | 0.00014496
40 | 0.97778 | -0.1563 | 0.0013983 | 0.00035046
41 | 0.97777 | -0.15639 | 0.0013632 | 0.00034165
42 | 0.98752 | -0.08704 | 0 | 0
43 | 0.98689 | -0.091476 | 0.0047277 | 0.0011849
44 | 0.9883 | -0.081531 | 0.0035546 | 0.00089087
45 | 0.98487 | -0.10575 | 0.0035253 | 0.00088353
46 | 0.98885 | -0.077688 | 0.0023658 | 0.00059293
47 | 0.98443 | -0.10889 | 0.0017954 | 0.00044996
48 | 0.98985 | -0.070661 | 0.0033684 | 0.00084419
49 | 0.98387 | -0.11287 | 0.0014868 | 0.00037262
50 | 0.9833 | -0.11693 | 0.0017297 | 0.00043351
51 | 0.98269 | -0.12127 | 0.0022923 | 0.0005745
52 | 0.98197 | -0.12634 | 0.0021425 | 0.00053697
53 | 0.98145 | -0.13007 | 0.0022008 | 0.00055157
54 | 0.97844 | -0.15158 | 0 | 0
55 | 0.97803 | -0.15453 | 0.00076878 | 0.00019267
56 | 0.97749 | -0.15842 | 0.0011 | 0.00027569
57 | 0.9767 | -0.16406 | 0.0010959 | 0.00027465
58 | 0.97667 | -0.16432 | 0.0010628 | 0.00026635
59 | 0.9907 | -0.064686 | 0.0015151 | 0.00037973
60 | 0.99385 | -0.042655 | 0 | 0
61 | 0.99675 | -0.022505 | 0 | 0
62 | 0.99688 | -0.021622 | 0.0043163 | 0.0010818
63 | 0.99793 | -0.014354 | 0 | 0
64 | 1 | 0 | -0.17134 | -0.043023
65 | 0.99948 | -0.0036397 | 0.0028238 | 0.00070771
66 | 0.99904 | -0.0067084 | 0.0017526 | 0.00043925
67 | 0.99854 | -0.010218 | 0.00057274 | 0.00014354
68 | 0.99343 | -0.045745 | 0.0077404 | 0.0019399
69 | 0.9983 | -0.011937 | 0 | 0
70 | 0.9924 | -0.052989 | 0.0034472 | 0.00086394
71 | 0.99811 | -0.013229 | 0.00057274 | 0.00014354
72 | 0.98787 | -0.084984 | 0.0027302 | 0.00068426
73 | 0.98683 | -0.092409 | 0.005992 | 0.0015017
74 | 0.9896 | -0.072708 | 0 | 0
75 | 0.98625 | -0.096506 | 0.0022197 | 0.0005563
76 | 0.99009 | -0.069266 | 0.0022074 | 0.00055322
77 | 0.98586 | -0.099268 | 0.00097735 | 0.00024495
78 | 0.98527 | -0.10351 | 0.00038176 | 9.5679e-05
79 | 0.99801 | -0.013983 | 0 | 0
80 | 0.99789 | -0.014818 | 0.0055576 | 0.0013929
81 | 0.99161 | -0.05853 | 0.0095272 | 0.0023877
82 | 0.99091 | -0.063505 | 0.001762 | 0.0004416
83 | 0.98152 | -0.1298 | 0.0074391 | 0.0018644
84 | 0.98145 | -0.13031 | 0.0019406 | 0.00048635
85 | 0.98081 | -0.13484 | 0.0021451 | 0.00053761
86 | 0.98075 | -0.13529 | 0.002666 | 0.00066816
87 | 0.98465 | -0.1079 | 0.002396 | 0.0006005
88 | 0.98463 | -0.10807 | 0.00119 | 0.00029824
89 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.016854 | -0.0042263 | 0.01686 | 0.0042284 | 6.056e-06 | 2.1398e-06 | 0.0255 | 0.0255 | 0.0255 | 0.98354 | -0.11542 | 0.9839 | -0.11283 | 9.4443
1 | 0.015884 | 0.0039831 | -0.015869 | -0.0039779 | 1.5017e-05 | 5.2475e-06 | 0.024032 | 0.024032 | 0.024032 | 0.98354 | -0.11542 | 0.98258 | -0.12225 | 8.9007
2 | -0.018183 | -0.00456 | 0.018186 | 0.004561 | 2.9062e-06 | 1.0395e-06 | 0.0275 | 0.0275 | 0.0275 | 0.9839 | -0.11283 | 0.98406 | -0.11168 | 10.1853
3 | 0.015869 | 0.0039779 | -0.015861 | -0.003975 | 8.1531e-06 | 2.8494e-06 | 0.024032 | 0.024032 | 0.024032 | 0.98258 | -0.12225 | 0.98206 | -0.12596 | 8.9007
4 | 0.018675 | 0.0046836 | -0.018667 | -0.0046806 | 8.3664e-06 | 3.0044e-06 | 0.02824 | 0.02824 | 0.02824 | 0.98406 | -0.11168 | 0.98361 | -0.11491 | 10.4594
5 | -0.036861 | -0.0092446 | 0.03693 | 0.0092707 | 6.8865e-05 | 2.6034e-05 | 0.055741 | 0.055741 | 0.055741 | 0.98406 | -0.11168 | 0.98596 | -0.098224 | 20.6447
6 | 0.011434 | 0.0028655 | -0.011431 | -0.0028646 | 2.9696e-06 | 9.416e-07 | 0.017324 | 0.017324 | 0.017324 | 0.98206 | -0.12596 | 0.9818 | -0.12784 | 6.4165
7 | 0.017438 | 0.0043725 | -0.017425 | -0.0043681 | 1.2399e-05 | 4.4067e-06 | 0.02638 | 0.026381 | 0.026381 | 0.98361 | -0.11491 | 0.98289 | -0.12004 | 9.7706
8 | -0.045928 | -0.011526 | 0.046072 | 0.011581 | 0.00014445 | 5.4942e-05 | 0.06932 | 0.06932 | 0.06932 | 0.98596 | -0.098224 | 0.98916 | -0.075636 | 25.674
9 | 0.0093824 | 0.0023512 | -0.0093806 | -0.0023507 | 1.7389e-06 | 4.9457e-07 | 0.01422 | 0.01422 | 0.01422 | 0.9818 | -0.12784 | 0.98161 | -0.12917 | 5.2667
10 | 0.016074 | 0.0040294 | -0.016063 | -0.0040256 | 1.0639e-05 | 3.7273e-06 | 0.024335 | 0.024335 | 0.024335 | 0.98289 | -0.12004 | 0.98222 | -0.12482 | 9.0129
11 | -0.053833 | -0.013526 | 0.054099 | 0.013627 | 0.00026611 | 0.00010151 | 0.080994 | 0.080994 | 0.080994 | 0.98916 | -0.075636 | 0.9942 | -0.040284 | 29.9977
12 | 0.0093806 | 0.0023507 | -0.0093798 | -0.0023505 | 8.0948e-07 | 2.3025e-07 | 0.01422 | 0.01422 | 0.01422 | 0.98161 | -0.12917 | 0.98152 | -0.1298 | 5.2667
13 | -0.014072 | -0.0035259 | 0.014081 | 0.003529 | 9.087e-06 | 3.0902e-06 | 0.021333 | 0.021333 | 0.021333 | 0.98156 | -0.12949 | 0.98222 | -0.12482 | 7.901
14 | 0.012407 | 0.0031084 | -0.012405 | -0.0031079 | 1.747e-06 | 5.719e-07 | 0.018808 | 0.018808 | 0.018808 | 0.98156 | -0.12949 | 0.98142 | -0.13051 | 6.9658
15 | 0.012059 | 0.003022 | -0.012056 | -0.0030211 | 2.8037e-06 | 9.0854e-07 | 0.018283 | 0.018283 | 0.018283 | 0.98142 | -0.13051 | 0.98119 | -0.13219 | 6.7715
16 | 0.00034642 | 8.5822e-05 | -0.0003464 | -8.6817e-05 | 1.3619e-08 | -9.9514e-07 | 0.00052488 | 0.00052523 | 0.00052523 | 0.98142 | -0.13051 | 0.98138 | -0.13079 | 0.19453
17 | 0.008286 | 0.0020764 | -0.0082844 | -0.0020759 | 1.592e-06 | 4.0828e-07 | 0.012566 | 0.012566 | 0.012566 | 0.98119 | -0.13219 | 0.98099 | -0.13358 | 4.6541
18 | 0.0063805 | 0.0015988 | -0.0063798 | -0.0015987 | 6.8081e-07 | 1.148e-07 | 0.0096781 | 0.0096782 | 0.0096782 | 0.98099 | -0.13358 | 0.98088 | -0.13435 | 3.5845
19 | 0.0048115 | 0.0012056 | -0.0048112 | -0.0012056 | 3.2869e-07 | 1.6305e-09 | 0.0072991 | 0.0072991 | 0.0072991 | 0.98088 | -0.13435 | 0.98081 | -0.13484 | 2.7034
20 | 0.040745 | 0.010226 | -0.040714 | -0.010215 | 3.0869e-05 | 1.17e-05 | 0.060987 | 0.060987 | 0.060987 | 0.9942 | -0.040284 | 0.99343 | -0.045745 | 22.5879
21 | -0.094844 | -0.023853 | 0.095188 | 0.023985 | 0.00034412 | 0.000132 | 0.14198 | 0.14198 | 0.14198 | 0.9942 | -0.040284 | 0.99793 | -0.014354 | 52.5855
22 | -0.014889 | -0.0037308 | 0.01489 | 0.0037311 | 7.4945e-07 | 2.5876e-07 | 0.02263 | 0.02263 | 0.02263 | 0.97899 | -0.14766 | 0.97904 | -0.1473 | 8.3816
23 | 0.01236 | 0.0030969 | -0.012356 | -0.0030957 | 3.6061e-06 | 1.1811e-06 | 0.018786 | 0.018786 | 0.018786 | 0.97899 | -0.14766 | 0.97869 | -0.14977 | 6.9577
24 | 0.00067776 | 0.0001696 | -0.00067775 | -0.00016986 | 1.4084e-08 | -2.6207e-07 | 0.00103 | 0.0010301 | 0.0010301 | 0.97904 | -0.1473 | 0.97902 | -0.14745 | 0.38152
25 | -0.015568 | -0.0039007 | 0.015577 | 0.0039039 | 9.074e-06 | 3.1631e-06 | 0.02366 | 0.02366 | 0.02366 | 0.97904 | -0.1473 | 0.97963 | -0.14309 | 8.7631
26 | 0.0098874 | 0.0024776 | -0.0098849 | -0.0024769 | 2.5509e-06 | 7.5387e-07 | 0.015033 | 0.015033 | 0.015033 | 0.97869 | -0.14977 | 0.97843 | -0.15164 | 5.5677
27 | 0.0024685 | 0.00061808 | -0.0024684 | -0.00061816 | 8.4282e-08 | -8.8083e-08 | 0.003753 | 0.003753 | 0.003753 | 0.97869 | -0.14977 | 0.97866 | -0.15002 | 1.39
28 | -0.0252 | -0.0063142 | 0.025213 | 0.006319 | 1.2864e-05 | 4.7706e-06 | 0.038277 | 0.038277 | 0.038277 | 0.97963 | -0.14309 | 0.98014 | -0.1394 | 14.1767
29 | 0.0096233 | 0.0024104 | -0.009618 | -0.0024088 | 5.3113e-06 | 1.5415e-06 | 0.014617 | 0.014617 | 0.014617 | 0.97963 | -0.14309 | 0.97907 | -0.14708 | 5.4138
30 | 0.0084045 | 0.0021059 | -0.0084022 | -0.0021053 | 2.3012e-06 | 6.0164e-07 | 0.012782 | 0.012782 | 0.012782 | 0.97843 | -0.15164 | 0.97816 | -0.15362 | 4.734
31 | 0.0011049 | 0.00027643 | -0.0011049 | -0.00027679 | 5.357e-08 | -3.6163e-07 | 0.0016798 | 0.0016799 | 0.0016799 | 0.97866 | -0.15002 | 0.97861 | -0.15037 | 0.6222
32 | -0.025213 | -0.006319 | 0.025222 | 0.0063224 | 9.2595e-06 | 3.4337e-06 | 0.038277 | 0.038277 | 0.038277 | 0.98014 | -0.1394 | 0.98051 | -0.13675 | 14.1767
33 | 0.0089587 | 0.0022436 | -0.0089553 | -0.0022426 | 3.3901e-06 | 9.3547e-07 | 0.013615 | 0.013615 | 0.013615 | 0.97907 | -0.14708 | 0.97869 | -0.14982 | 5.0426
34 | 0.0070625 | 0.0017695 | -0.0070619 | -0.0017694 | 6.3246e-07 | 1.3304e-07 | 0.010744 | 0.010744 | 0.010744 | 0.97816 | -0.15362 | 0.97807 | -0.15426 | 3.9791
35 | 0.0011049 | 0.00027679 | -0.0011048 | -0.0002769 | 1.5913e-08 | -1.074e-07 | 0.0016799 | 0.00168 | 0.00168 | 0.97861 | -0.15037 | 0.97859 | -0.15047 | 0.62222
36 | -0.027867 | -0.0069853 | 0.027893 | 0.0069949 | 2.5815e-05 | 9.6369e-06 | 0.042291 | 0.042291 | 0.042291 | 0.98051 | -0.13675 | 0.98145 | -0.13007 | 15.6632
37 | 0.0089553 | 0.0022426 | -0.0089531 | -0.002242 | 2.1715e-06 | 5.9936e-07 | 0.013615 | 0.013615 | 0.013615 | 0.97869 | -0.14982 | 0.97844 | -0.15158 | 5.0427
38 | 0.0056044 | 0.0014041 | -0.0056036 | -0.001404 | 8.6861e-07 | 9.3818e-08 | 0.0085263 | 0.0085264 | 0.0085264 | 0.97807 | -0.15426 | 0.97791 | -0.15538 | 3.1579
39 | 0.0041317 | 0.0010351 | -0.0041315 | -0.0010352 | 2.1833e-07 | -2.7084e-08 | 0.0062868 | 0.0062869 | 0.0062869 | 0.97791 | -0.15538 | 0.97786 | -0.15577 | 2.3285
40 | 0.0027618 | 0.00069188 | -0.0027616 | -0.00069203 | 2.0245e-07 | -1.5256e-07 | 0.0042025 | 0.0042026 | 0.0042026 | 0.97786 | -0.15577 | 0.97778 | -0.1563 | 1.5565
41 | 0.0028851 | 0.00072265 | -0.0028848 | -0.00072286 | 3.1741e-07 | -2.0864e-07 | 0.0043912 | 0.0043913 | 0.0043913 | 0.97762 | -0.15749 | 0.97751 | -0.15829 | 1.6264
42 | 0.0047139 | 0.0011799 | -0.0047098 | -0.00118 | 4.094e-06 | -2.2039e-08 | 0.0071744 | 0.007175 | 0.007175 | 0.97762 | -0.15749 | 0.97674 | -0.16378 | 2.6574
43 | -0.007599 | -0.0019026 | 0.0076001 | 0.0019028 | 1.0755e-06 | 2.5207e-07 | 0.011566 | 0.011566 | 0.011566 | 0.97762 | -0.15749 | 0.97776 | -0.15647 | 4.2836
44 | 0.0011 | 0.00027556 | -0.0011 | -0.00027569 | 1.9276e-08 | -1.3068e-07 | 0.0016745 | 0.0016746 | 0.0016746 | 0.97751 | -0.15829 | 0.97749 | -0.15842 | 0.62021
45 | 0.0021587 | 0.0005406 | -0.0021586 | -0.00054072 | 8.3867e-08 | -1.2328e-07 | 0.0032886 | 0.0032886 | 0.0032886 | 0.97674 | -0.16378 | 0.9767 | -0.16406 | 1.218
46 | -0.0081785 | -0.0020478 | 0.0081807 | 0.0020484 | 2.1955e-06 | 5.5945e-07 | 0.012446 | 0.012446 | 0.012446 | 0.97776 | -0.15647 | 0.97803 | -0.15453 | 4.6096
47 | 0.0013632 | 0.00034157 | -0.0013632 | -0.00034165 | 1.8143e-08 | -7.7754e-08 | 0.0020746 | 0.0020746 | 0.0020746 | 0.97778 | -0.1563 | 0.97777 | -0.15639 | 0.76836
48 | 0.048026 | 0.012071 | -0.047997 | -0.012059 | 2.9642e-05 | 1.1285e-05 | 0.072379 | 0.072379 | 0.072379 | 0.98752 | -0.08704 | 0.98689 | -0.091476 | 26.807
49 | -0.048026 | -0.012071 | 0.048063 | 0.012085 | 3.686e-05 | 1.4033e-05 | 0.072379 | 0.072379 | 0.072379 | 0.98752 | -0.08704 | 0.9883 | -0.081531 | 26.807
50 | 0.043269 | 0.010875 | -0.043183 | -0.010842 | 8.5786e-05 | 3.2583e-05 | 0.065251 | 0.065251 | 0.065251 | 0.98689 | -0.091476 | 0.98487 | -0.10575 | 24.167
51 | -0.051618 | -0.012976 | 0.051645 | 0.012986 | 2.7646e-05 | 1.0539e-05 | 0.077731 | 0.077731 | 0.077731 | 0.9883 | -0.081531 | 0.98885 | -0.077688 | 28.7892
52 | 0.039658 | 0.0099585 | -0.03964 | -0.0099519 | 1.7345e-05 | 6.5727e-06 | 0.059925 | 0.059925 | 0.059925 | 0.98487 | -0.10575 | 0.98443 | -0.10889 | 22.1943
53 | -0.054011 | -0.013579 | 0.054064 | 0.013599 | 5.2922e-05 | 2.019e-05 | 0.081291 | 0.081291 | 0.081291 | 0.98885 | -0.077688 | 0.98985 | -0.070661 | 30.1077
54 | 0.037845 | 0.0095019 | -0.037824 | -0.009494 | 2.0914e-05 | 7.9139e-06 | 0.057211 | 0.057211 | 0.057211 | 0.98443 | -0.10889 | 0.98387 | -0.11287 | 21.1892
55 | -0.057432 | -0.014443 | 0.05748 | 0.014462 | 4.7878e-05 | 1.8282e-05 | 0.086354 | 0.086354 | 0.086354 | 0.98985 | -0.070661 | 0.9907 | -0.064686 | 31.9831
56 | 0.036337 | 0.0091214 | -0.036317 | -0.0091137 | 2.0431e-05 | 7.7204e-06 | 0.054962 | 0.054962 | 0.054962 | 0.98387 | -0.11287 | 0.9833 | -0.11693 | 20.3564
57 | 0.034587 | 0.0086802 | -0.034566 | -0.0086723 | 2.0837e-05 | 7.8596e-06 | 0.052345 | 0.052345 | 0.052345 | 0.9833 | -0.11693 | 0.98269 | -0.12127 | 19.387
58 | 0.032274 | 0.0080978 | -0.032251 | -0.0080893 | 2.2702e-05 | 8.5387e-06 | 0.048874 | 0.048874 | 0.048874 | 0.98269 | -0.12127 | 0.98197 | -0.12634 | 18.1014
59 | 0.030109 | 0.0075523 | -0.030093 | -0.0075465 | 1.5548e-05 | 5.8286e-06 | 0.045627 | 0.045627 | 0.045627 | 0.98197 | -0.12634 | 0.98145 | -0.13007 | 16.899
60 | 0.0089531 | 0.002242 | -0.0089494 | -0.002241 | 3.6515e-06 | 1.0081e-06 | 0.013615 | 0.013615 | 0.013615 | 0.97844 | -0.15158 | 0.97803 | -0.15453 | 5.0427
61 | 0.0010628 | 0.00026608 | -0.0010628 | -0.00026635 | 3.7655e-08 | -2.7359e-07 | 0.0016191 | 0.0016192 | 0.0016192 | 0.9767 | -0.16406 | 0.97667 | -0.16432 | 0.59969
62 | -0.058995 | -0.014841 | 0.059177 | 0.014911 | 0.00018186 | 6.9467e-05 | 0.08863 | 0.08863 | 0.08863 | 0.9907 | -0.064686 | 0.99385 | -0.042655 | 32.8259
63 | -0.059177 | -0.014911 | 0.059345 | 0.014975 | 0.00016735 | 6.3921e-05 | 0.08863 | 0.08863 | 0.08863 | 0.99385 | -0.042655 | 0.99675 | -0.022505 | 32.8259
64 | -0.059345 | -0.014975 | 0.059352 | 0.014978 | 7.3554e-06 | 2.8094e-06 | 0.08863 | 0.08863 | 0.08863 | 0.99675 | -0.022505 | 0.99688 | -0.021622 | 32.8258
65 | -0.063668 | -0.016059 | 0.063733 | 0.016084 | 6.4954e-05 | 2.4832e-05 | 0.095073 | 0.095072 | 0.095073 | 0.99688 | -0.021622 | 0.99793 | -0.014354 | 35.2121
66 | -0.15892 | -0.04007 | 0.15924 | 0.040192 | 0.00032029 | 0.00012271 | 0.23705 | 0.23705 | 0.23705 | 0.99793 | -0.014354 | 1 | 0 | 43.8988
67 | 0.011296 | 0.0028306 | -0.01129 | -0.0028288 | 5.6879e-06 | 1.7646e-06 | 0.016808 | 0.016808 | 0.016808 | 1 | 0 | 0.99948 | -0.0036397 | 6.2253
68 | 0.0084663 | 0.0021211 | -0.0084627 | -0.0021202 | 3.5934e-06 | 9.0724e-07 | 0.012604 | 0.012604 | 0.012604 | 0.99948 | -0.0036397 | 0.99904 | -0.0067084 | 4.6683
69 | 0.0067101 | 0.001681 | -0.0067069 | -0.0016804 | 3.2567e-06 | 5.6872e-07 | 0.0099941 | 0.0099943 | 0.0099943 | 0.99904 | -0.0067084 | 0.99854 | -0.010218 | 3.7016
70 | 0.0061341 | 0.0015368 | -0.0061327 | -0.0015367 | 1.4588e-06 | 1.9517e-07 | 0.0091408 | 0.0091409 | 0.0091409 | 0.99854 | -0.010218 | 0.9983 | -0.011937 | 3.3855
71 | 0.032973 | 0.0082746 | -0.03294 | -0.0082621 | 3.3121e-05 | 1.2457e-05 | 0.049393 | 0.049393 | 0.049393 | 0.99343 | -0.045745 | 0.9924 | -0.052989 | 18.2939
72 | 0.0061327 | 0.0015367 | -0.0061316 | -0.0015365 | 1.0969e-06 | 1.4688e-07 | 0.0091409 | 0.009141 | 0.009141 | 0.9983 | -0.011937 | 0.99811 | -0.013229 | 3.3856
73 | 0.0095345 | 0.0023898 | -0.0095272 | -0.0023877 | 7.3116e-06 | 2.072e-06 | 0.014296 | 0.014296 | 0.014296 | 0.9924 | -0.052989 | 0.99161 | -0.05853 | 5.295
74 | 0.019959 | 0.0050084 | -0.01993 | -0.0049979 | 2.9088e-05 | 1.0516e-05 | 0.029928 | 0.029929 | 0.029929 | 0.9924 | -0.052989 | 0.99091 | -0.063505 | 11.0847
75 | 0.0055588 | 0.001393 | -0.0055582 | -0.0013929 | 5.7954e-07 | 4.6171e-08 | 0.0082872 | 0.0082872 | 0.0082872 | 0.99811 | -0.013229 | 0.99801 | -0.013983 | 3.0693
76 | 0.013181 | 0.0033015 | -0.013167 | -0.003297 | 1.3523e-05 | 4.498e-06 | 0.019853 | 0.019854 | 0.019854 | 0.98787 | -0.084984 | 0.98683 | -0.092409 | 7.3532
77 | -0.015911 | -0.0039858 | 0.015938 | 0.0039952 | 2.7054e-05 | 9.4372e-06 | 0.023966 | 0.023966 | 0.023966 | 0.98787 | -0.084984 | 0.9896 | -0.072708 | 8.8763
78 | 0.0071753 | 0.0017953 | -0.0071712 | -0.0017944 | 4.055e-06 | 8.5067e-07 | 0.010818 | 0.010819 | 0.010819 | 0.98683 | -0.092409 | 0.98625 | -0.096506 | 4.0069
79 | -0.015938 | -0.0039952 | 0.015946 | 0.0039979 | 7.6014e-06 | 2.651e-06 | 0.023966 | 0.023965 | 0.023966 | 0.9896 | -0.072708 | 0.99009 | -0.069266 | 8.8761
80 | 0.0049516 | 0.0012381 | -0.0049497 | -0.0012381 | 1.8853e-06 | 3.4417e-08 | 0.0074697 | 0.00747 | 0.00747 | 0.98625 | -0.096506 | 0.98586 | -0.099268 | 2.7666
81 | -0.018153 | -0.0045511 | 0.018168 | 0.0045563 | 1.4498e-05 | 5.1744e-06 | 0.027283 | 0.027283 | 0.027283 | 0.99009 | -0.069266 | 0.99091 | -0.063505 | 10.1048
82 | 0.0039723 | 0.00099315 | -0.00397 | -0.00099358 | 2.3234e-06 | -4.2658e-07 | 0.0059948 | 0.0059953 | 0.0059953 | 0.98586 | -0.099268 | 0.98527 | -0.10351 | 2.2205
83 | 0.0035882 | 0.0008979 | -0.0035861 | -0.00089857 | 2.1741e-06 | -6.7392e-07 | 0.0054187 | 0.0054192 | 0.0054192 | 0.98527 | -0.10351 | 0.98465 | -0.1079 | 2.0071
84 | 0.0055582 | 0.0013929 | -0.0055576 | -0.0013929 | 6.4236e-07 | 5.1224e-08 | 0.0082872 | 0.0082873 | 0.0082873 | 0.99801 | -0.013983 | 0.99789 | -0.014818 | 3.0694
85 | 0.0019407 | 0.00048608 | -0.0019406 | -0.00048635 | 1.3741e-07 | -2.6866e-07 | 0.0029421 | 0.0029422 | 0.0029422 | 0.98152 | -0.1298 | 0.98145 | -0.13031 | 1.0897
86 | 0.0026661 | 0.00066801 | -0.002666 | -0.00066816 | 1.6693e-07 | -1.4215e-07 | 0.0040448 | 0.0040449 | 0.0040449 | 0.98081 | -0.13484 | 0.98075 | -0.13529 | 1.4981
87 | 0.00119 | 0.00029807 | -0.00119 | -0.00029824 | 2.8552e-08 | -1.6898e-07 | 0.0017983 | 0.0017984 | 0.0017984 | 0.98465 | -0.1079 | 0.98463 | -0.10807 | 0.66607

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17743 | 0.044549

## res_load
| p_mw | q_mvar
0 | 0.00097032 | 0.00024319
1 | 0.0013229 | 0.00033156
2 | 0.0044268 | 0.0011095
3 | 0.0012295 | 0.00030813
4 | 0.0089976 | 0.002255
5 | 0.0020484 | 0.00051337
6 | 0.0013514 | 0.00033869
7 | 0.0077605 | 0.001945
8 | 0.0016656 | 0.00041743
9 | 0.0019818 | 0.00049669
10 | 0.0037697 | 0.00094478
11 | 0.0003464 | 8.6817e-05
12 | 0.0019039 | 0.00047717
13 | 0.0015683 | 0.00039304
14 | 0.0025294 | 0.00063394
15 | 0.00067775 | 0.00016986
16 | 0.0014803 | 0.00037101
17 | 0.0013635 | 0.00034173
18 | 0.00065937 | 0.00016525
19 | 0.0013397 | 0.00033577
20 | 0.0026447 | 0.00066282
21 | 0.0014574 | 0.00036526
22 | 0.0011048 | 0.0002769
23 | 0.0014719 | 0.00036888
24 | 0.0013697 | 0.00034329
25 | 0.0017847 | 0.0004473
26 | 0.0025511 | 0.00063936
27 | 0.00057839 | 0.00014496
28 | 0.0013983 | 0.00035046
29 | 0.0013632 | 0.00034165
30 | 0.0047277 | 0.0011849
31 | 0.0035546 | 0.00089087
32 | 0.0035253 | 0.00088353
33 | 0.0023658 | 0.00059293
34 | 0.0017954 | 0.00044996
35 | 0.0033684 | 0.00084419
36 | 0.0014868 | 0.00037262
37 | 0.0017297 | 0.00043351
38 | 0.0022923 | 0.0005745
39 | 0.0021425 | 0.00053697
40 | 0.0022008 | 0.00055157
41 | 0.00076878 | 0.00019267
42 | 0.0011 | 0.00027569
43 | 0.0010959 | 0.00027465
44 | 0.0010628 | 0.00026635
45 | 0.0015151 | 0.00037973
46 | 0.0043163 | 0.0010818
47 | 0.0060905 | 0.0015264
48 | 0.0028238 | 0.00070771
49 | 0.0017526 | 0.00043925
50 | 0.00057274 | 0.00014354
51 | 0.0077404 | 0.0019399
52 | 0.0034472 | 0.00086394
53 | 0.00057274 | 0.00014354
54 | 0.0027302 | 0.00068426
55 | 0.005992 | 0.0015017
56 | 0.0022197 | 0.0005563
57 | 0.0022074 | 0.00055322
58 | 0.00097735 | 0.00024495
59 | 0.00038176 | 9.5679e-05
60 | 0.0055576 | 0.0013929
61 | 0.0095272 | 0.0023877
62 | 0.001762 | 0.0004416
63 | 0.0074391 | 0.0018644
64 | 0.0019406 | 0.00048635
65 | 0.0021451 | 0.00053761
66 | 0.002666 | 0.00066816
67 | 0.002396 | 0.0006005
68 | 0.00119 | 0.00029824

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1