## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1098-8_1_3_node_37 | 0.4 | n |  | TRUE
1 | bus_LV_1098-8_1_3_node_38 | 0.4 | n |  | TRUE
2 | bus_LV_1098-8_1_3_node_35 | 0.4 | n |  | TRUE
3 | bus_LV_1098-8_1_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1098-8_1_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1098-8_1_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1098-8_1_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1098-8_1_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_1098-8_1_3_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_1098-8_1_3_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_1098-8_1_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1098-8_1_3_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_1098-8_1_3_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_1098-8_1_3_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_1098-8_1_3_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_1098-8_1_3_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_1098-8_1_3_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_1098-8_1_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1098-8_1_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1098-8_1_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1098-8_1_3_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_1098-8_1_3_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_1098-8_1_3_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_1098-8_1_3_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_1098-8_1_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_1098-8_1_3_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_1098-8_1_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_1098-8_1_3_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_1098-8_1_3_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_1098-8_1_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_1098-8_1_3_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_1098-8_1_3_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_1098-8_1_3_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_1098-8_1_3_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_1098-8_1_3_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_1098-8_1_3_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_1098-8_1_3_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_1098-8_1_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_1098-8_1_3_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_1098-8_1_3_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_1098-8_1_3_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_1098-8_1_3_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_1098-8_1_3_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_1098-8_1_3_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_1098-8_1_3_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_1098-8_1_3_node_74 | 0.4 | n |  | TRUE
46 | bus_MV_2_1_node_221 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1098-8_1_3_load_37 | 0 | 0.0013289 | 0.00033306 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1098-8_1_3_load_38 | 1 | 0.0092411 | 0.002316 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1098-8_1_3_load_35 | 2 | 0.00067686 | 0.00016964 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1098-8_1_3_load_6 | 3 | 0.001194 | 0.00029925 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1098-8_1_3_load_7 | 4 | 0.00031096 | 7.7935e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1098-8_1_3_load_9 | 6 | 0.00093267 | 0.00023375 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1098-8_1_3_load_63 | 8 | 0.053617 | 0.013438 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1098-8_1_3_load_11 | 10 | 0.0034522 | 0.00086521 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1098-8_1_3_load_66 | 11 | 0.0041985 | 0.0010522 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1098-8_1_3_load_56 | 13 | 0.001128 | 0.0002827 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1098-8_1_3_load_57 | 14 | 0.00093457 | 0.00023423 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1098-8_1_3_load_59 | 15 | 0.00092919 | 0.00023288 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1098-8_1_3_load_12 | 17 | 0.00030824 | 7.7252e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1098-8_1_3_load_13 | 18 | 0.0010049 | 0.00025184 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1098-8_1_3_load_15 | 19 | 0.0020978 | 0.00052576 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1098-8_1_3_load_70 | 20 | 0.0029988 | 0.00075158 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1098-8_1_3_load_50 | 24 | 0.0019658 | 0.00049269 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1098-8_1_3_load_69 | 25 | 0.00081701 | 0.00020476 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1098-8_1_3_load_48 | 26 | 0.00078619 | 0.00019704 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1098-8_1_3_load_42 | 27 | 0.0019806 | 0.00049638 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1098-8_1_3_load_43 | 28 | 0.00048897 | 0.00012255 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1098-8_1_3_load_45 | 29 | 0.0018103 | 0.00045371 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1098-8_1_3_load_60 | 32 | 0.0010585 | 0.00026529 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1098-8_1_3_load_61 | 33 | 0.0017948 | 0.00044982 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1098-8_1_3_load_49 | 34 | 0.0028635 | 0.00071767 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1098-8_1_3_load_51 | 35 | 0.00065057 | 0.00016305 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1098-8_1_3_load_52 | 36 | 0.0010027 | 0.00025129 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1098-8_1_3_load_53 | 37 | 0.087577 | 0.021949 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1098-8_1_3_load_54 | 38 | 0.0011052 | 0.00027698 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1098-8_1_3_load_55 | 39 | 0.001017 | 0.00025489 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1098-8_1_3_load_62 | 40 | 0.0033853 | 0.00084844 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1098-8_1_3_load_67 | 41 | 0.00029738 | 7.4531e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1098-8_1_3_load_72 | 43 | 0.0020175 | 0.00050562 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1098-8_1_3_load_73 | 44 | 0.0052345 | 0.0013119 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1098-8_1_3_load_74 | 45 | 0.0024744 | 0.00062013 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1098-8_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.084793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1098-8_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.19942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1098-8_1_3_line_2 | NAYY 4x150 SE | 1 | 21 | 0.047522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1098-8_1_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0086284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1098-8_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.030722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1098-8_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.03269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1098-8_1_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.16052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1098-8_1_3_line_7 | NAYY 4x150 SE | 7 | 10 | 0.029392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1098-8_1_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.038163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1098-8_1_3_line_9 | NAYY 4x150 SE | 9 | 11 | 0.038391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1098-8_1_3_line_10 | NAYY 4x150 SE | 9 | 12 | 0.05126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1098-8_1_3_line_11 | NAYY 4x150 SE | 10 | 13 | 0.3054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1098-8_1_3_line_12 | NAYY 4x150 SE | 11 | 41 | 0.087593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1098-8_1_3_line_13 | NAYY 4x150 SE | 12 | 34 | 0.016664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1098-8_1_3_line_14 | NAYY 4x150 SE | 12 | 30 | 0.021249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1098-8_1_3_line_15 | NAYY 4x150 SE | 13 | 16 | 0.043306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1098-8_1_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.018597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1098-8_1_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.018962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1098-8_1_3_line_18 | NAYY 4x150 SE | 16 | 32 | 0.033212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1098-8_1_3_line_19 | NAYY 4x150 SE | 16 | 33 | 0.018154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1098-8_1_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.022342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1098-8_1_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.015988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1098-8_1_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.77341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1098-8_1_3_line_23 | NAYY 4x150 SE | 20 | 42 | 0.028016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1098-8_1_3_line_24 | NAYY 4x150 SE | 20 | 25 | 0.16364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1098-8_1_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.11023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1098-8_1_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.29264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1098-8_1_3_line_27 | NAYY 4x150 SE | 22 | 24 | 0.044295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1098-8_1_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.030802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1098-8_1_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.026512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1098-8_1_3_line_30 | NAYY 4x150 SE | 26 | 34 | 0.059666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1098-8_1_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.062877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1098-8_1_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.0062463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1098-8_1_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.0018666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1098-8_1_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.008112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1098-8_1_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.021209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1098-8_1_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.0093749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1098-8_1_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0086525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1098-8_1_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0028119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1098-8_1_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.048465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1098-8_1_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.016884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1098-8_1_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.012153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_1098-8_1_3_line_42 | NAYY 4x150 SE | 42 | 43 | 0.064738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1098-8_1_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.026793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1098-8_1_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.026533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1098-8_1_3_trafo_54 | 0.25 MVA 20/0.4 kV | 46 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2650804.6749 | 1215802.6265 | 2650806.7709 | 1215801.402 | 2650821.7349 | 1215791.8126 | 2650824.8259 | 1215788.1812 | 2650825.6798 | 1215783.3189 | 2650824.0924 | 1215778.0245 | 2650807.4546 | 1215747.0197 | 2650804.4456 | 1215739.256 | 2650802.7349 | 1215733.6648
1 | 2650804.6749 | 1215802.6265 | 2650828.8091 | 1216000.5769
2 | 2650808.9433 | 1215693.5113 | 2650811.6121 | 1215699.3265 | 2650812.0541 | 1215702.6989 | 2650810.4625 | 1215705.0201 | 2650802.2395 | 1215711.2204 | 2650799.1822 | 1215714.463 | 2650797.9078 | 1215717.8875 | 2650802.7349 | 1215733.6648
3 | 2650711.9471 | 1215163.3754 | 2650703.6268 | 1215165.661
4 | 2650741.572 | 1215155.2374 | 2650711.9471 | 1215163.3754
5 | 2650710.4027 | 1215190.5602 | 2650705.1562 | 1215189.5706 | 2650701.7821 | 1215185.3949 | 2650698.7427 | 1215172.2279 | 2650700.3778 | 1215168.3617 | 2650703.1791 | 1215165.784 | 2650703.6268 | 1215165.661
6 | 2650811.5516 | 1215281.4531 | 2650804.7166 | 1215269.0653 | 2650760.7953 | 1215150.3869 | 2650741.572 | 1215155.2374
7 | 2650811.5516 | 1215281.4531 | 2650804.9882 | 1215286.2001 | 2650784.0575 | 1215290.1063
8 | 2650636.728 | 1215580.3457 | 2650599.9063 | 1215570.3161
9 | 2650636.728 | 1215580.3457 | 2650631.7016 | 1215595.501 | 2650631.1971 | 1215617.9195
10 | 2650636.728 | 1215580.3457 | 2650660.6961 | 1215587.9427 | 2650671.0629 | 1215593.0782 | 2650680.6117 | 1215604.1994
11 | 2650789.6222 | 1215595.4507 | 2650784.0575 | 1215290.1063
12 | 2650602.7591 | 1215685.112 | 2650605.7688 | 1215686.0575 | 2650613.5989 | 1215685.8794 | 2650621.0413 | 1215683.0631 | 2650626.3072 | 1215679.0275 | 2650629.982 | 1215671.91 | 2650631.1971 | 1215617.9195
13 | 2650680.6117 | 1215604.1994 | 2650683.7342 | 1215613.8317 | 2650684.3482 | 1215620.3407
14 | 2650698.8528 | 1215595.0267 | 2650694.704 | 1215595.3694 | 2650688.1743 | 1215597.0927 | 2650680.6117 | 1215604.1994
15 | 2650746.3195 | 1215594.8746 | 2650789.6222 | 1215595.4507
16 | 2650789.6222 | 1215595.4507 | 2650808.2172 | 1215595.6981
17 | 2650808.2172 | 1215595.6981 | 2650816.0101 | 1215595.8018 | 2650827.1482 | 1215596.6307
18 | 2650746.3195 | 1215594.8746 | 2650746.4759 | 1215600.5905 | 2650747.8601 | 1215603.0037 | 2650750.6196 | 1215604.4169 | 2650755.8944 | 1215606.4964 | 2650758.0915 | 1215608.861 | 2650758.8983 | 1215612.2032 | 2650758.6253 | 1215621.4754
19 | 2650746.3195 | 1215594.8746 | 2650728.1674 | 1215594.633
20 | 2649668.073 | 1215581.6536 | 2649677.3241 | 1215601.9901
21 | 2649683.9443 | 1215616.5432 | 2649677.3241 | 1215601.9901
22 | 2650445.197 | 1215753.1476 | 2649683.9443 | 1215616.5432
23 | 2650470.0164 | 1215740.1509 | 2650445.197 | 1215753.1476
24 | 2650433.4177 | 1215860.9029 | 2650384.3639 | 1215802.4641 | 2650380.9277 | 1215795.7644 | 2650382.5158 | 1215788.4401 | 2650386.4417 | 1215783.915 | 2650445.197 | 1215753.1476
25 | 2650808.9433 | 1215693.5113 | 2650777.0132 | 1215710.5608 | 2650741.3727 | 1215729.1131 | 2650711.1246 | 1215744.8542
26 | 2650711.1246 | 1215744.8542 | 2650625.136 | 1215791.9075 | 2650578.1346 | 1215817.0461 | 2650499.499 | 1215859.5053 | 2650453.2213 | 1215884.4954
27 | 2650711.1246 | 1215744.8542 | 2650690.8487 | 1215705.4721
28 | 2650453.2213 | 1215884.4954 | 2650433.4177 | 1215860.9029
29 | 2650684.2125 | 1215679.9579 | 2650685.6561 | 1215690.5385 | 2650689.9331 | 1215703.6938 | 2650690.8487 | 1215705.4721
30 | 2650684.2125 | 1215679.9579 | 2650683.8049 | 1215676.9701 | 2650684.6536 | 1215623.5787 | 2650684.3482 | 1215620.3407
31 | 2650715.3936 | 1215662.7113 | 2650724.457 | 1215662.8739 | 2650729.7654 | 1215661.8962 | 2650753.4863 | 1215650.3244 | 2650756.6801 | 1215646.2047 | 2650758.0437 | 1215641.2244 | 2650758.3865 | 1215629.5847
32 | 2650758.3865 | 1215629.5847 | 2650758.5703 | 1215623.3412
33 | 2650758.6253 | 1215621.4754 | 2650758.5703 | 1215623.3412
34 | 2650706.9605 | 1215594.3507 | 2650698.8528 | 1215595.0267
35 | 2650706.9605 | 1215594.3507 | 2650728.1674 | 1215594.633
36 | 2650547.3179 | 1215632.3609 | 2650555.3492 | 1215637.1969
37 | 2650539.9055 | 1215627.8975 | 2650547.3179 | 1215632.3609
38 | 2650555.3492 | 1215637.1969 | 2650557.7582 | 1215638.6474
39 | 2650557.7582 | 1215638.6474 | 2650569.2325 | 1215645.5567 | 2650571.3614 | 1215649.7105 | 2650571.0644 | 1215656.0785 | 2650569.9861 | 1215671.3007 | 2650571.1549 | 1215675.8356 | 2650574.6989 | 1215677.8668
40 | 2650574.6989 | 1215677.8668 | 2650574.6989 | 1215677.8668 | 2650586.3442 | 1215679.9557 | 2650591.1651 | 1215681.4701
41 | 2650602.7591 | 1215685.112 | 2650591.1651 | 1215681.4701
42 | 2650470.0164 | 1215740.1509 | 2650499.4062 | 1215797.8676
43 | 2650470.0164 | 1215740.1509 | 2650493.7521 | 1215727.722
44 | 2650517.2575 | 1215715.4137 | 2650493.7521 | 1215727.722

## bus_geodata
| x | y | coords
0 | 2650804.6749 | 1215802.6265
1 | 2650802.7349 | 1215733.6648
2 | 2650828.8091 | 1216000.5769
3 | 2650711.9471 | 1215163.3754
4 | 2650703.6268 | 1215165.661
5 | 2650741.572 | 1215155.2374
6 | 2650710.4027 | 1215190.5602
7 | 2650811.5516 | 1215281.4531
8 | 2650599.9063 | 1215570.3161
9 | 2650636.728 | 1215580.3457
10 | 2650784.0575 | 1215290.1063
11 | 2650631.1971 | 1215617.9195
12 | 2650680.6117 | 1215604.1994
13 | 2650789.6222 | 1215595.4507
14 | 2650808.2172 | 1215595.6981
15 | 2650827.1482 | 1215596.6307
16 | 2650746.3195 | 1215594.8746
17 | 2649668.073 | 1215581.6536
18 | 2649677.3241 | 1215601.9901
19 | 2649683.9443 | 1215616.5432
20 | 2650445.197 | 1215753.1476
21 | 2650808.9433 | 1215693.5113
22 | 2650711.1246 | 1215744.8542
23 | 2650453.2213 | 1215884.4954
24 | 2650690.8487 | 1215705.4721
25 | 2650433.4177 | 1215860.9029
26 | 2650684.2125 | 1215679.9579
27 | 2650715.3936 | 1215662.7113
28 | 2650758.3865 | 1215629.5847
29 | 2650758.5703 | 1215623.3412
30 | 2650698.8528 | 1215595.0267
31 | 2650706.9605 | 1215594.3507
32 | 2650758.6253 | 1215621.4754
33 | 2650728.1674 | 1215594.633
34 | 2650684.3482 | 1215620.3407
35 | 2650547.3179 | 1215632.3609
36 | 2650555.3492 | 1215637.1969
37 | 2650539.9055 | 1215627.8975
38 | 2650557.7582 | 1215638.6474
39 | 2650574.6989 | 1215677.8668
40 | 2650591.1651 | 1215681.4701
41 | 2650602.7591 | 1215685.112
42 | 2650470.0164 | 1215740.1509
43 | 2650499.4062 | 1215797.8676
44 | 2650493.7521 | 1215727.722
45 | 2650517.2575 | 1215715.4137
46 | 2650539.9055 | 1215627.8975

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.976 | -0.16927 | 0.0013289 | 0.00033306
1 | 0.97625 | -0.16747 | 0.0092411 | 0.002316
2 | 0.9758 | -0.1707 | 0.00067686 | 0.00016964
3 | 0.97657 | -0.16516 | 0.001194 | 0.00029925
4 | 0.97656 | -0.16528 | 0.00031096 | 7.7935e-05
5 | 0.97668 | -0.16438 | 0 | 0
6 | 0.97651 | -0.1656 | 0.00093267 | 0.00023375
7 | 0.97725 | -0.16026 | 0 | 0
8 | 0.98099 | -0.13336 | 0.053617 | 0.013438
9 | 0.98396 | -0.1122 | 0 | 0
10 | 0.97736 | -0.15951 | 0.0034522 | 0.00086521
11 | 0.98685 | -0.091711 | 0.0041985 | 0.0010522
12 | 0.9821 | -0.1255 | 0 | 0
13 | 0.97998 | -0.14064 | 0.001128 | 0.0002827
14 | 0.97993 | -0.141 | 0.00093457 | 0.00023423
15 | 0.97991 | -0.14119 | 0.00092919 | 0.00023288
16 | 0.98054 | -0.13662 | 0 | 0
17 | 0.97091 | -0.20651 | 0.00030824 | 7.7252e-05
18 | 0.97092 | -0.20644 | 0.0010049 | 0.00025184
19 | 0.97095 | -0.20622 | 0.0020978 | 0.00052576
20 | 0.97288 | -0.19197 | 0.0029988 | 0.00075158
21 | 0.97703 | -0.16186 | 0 | 0
22 | 0.97884 | -0.14888 | 0 | 0
23 | 0.9752 | -0.17516 | 0 | 0
24 | 0.97975 | -0.14231 | 0.0019658 | 0.00049269
25 | 0.97482 | -0.17793 | 0.00081701 | 0.00020476
26 | 0.98034 | -0.13812 | 0.00078619 | 0.00019704
27 | 0.98007 | -0.14 | 0.0019806 | 0.00049638
28 | 0.98025 | -0.13871 | 0.00048897 | 0.00012255
29 | 0.98027 | -0.13855 | 0.0018103 | 0.00045371
30 | 0.9816 | -0.12904 | 0 | 0
31 | 0.98141 | -0.13039 | 0 | 0
32 | 0.98028 | -0.13846 | 0.0010585 | 0.00026529
33 | 0.98092 | -0.13393 | 0.0017948 | 0.00044982
34 | 0.98169 | -0.12844 | 0.0028635 | 0.00071767
35 | 0.99846 | -0.010776 | 0.00065057 | 0.00016305
36 | 0.99964 | -0.0025051 | 0.0010027 | 0.00025129
37 | 0.99738 | -0.01837 | 0.087577 | 0.021949
38 | 1 | 0 | -0.20486 | -0.051414
39 | 0.99604 | -0.027386 | 0.001017 | 0.00025489
40 | 0.99467 | -0.036891 | 0.0033853 | 0.00084844
41 | 0.99372 | -0.043541 | 0.00029738 | 7.4531e-05
42 | 0.97248 | -0.19485 | 0 | 0
43 | 0.97229 | -0.19623 | 0.0020175 | 0.00050562
44 | 0.97218 | -0.19703 | 0.0052345 | 0.0013119
45 | 0.97209 | -0.19773 | 0.0024744 | 0.00062013
46 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0020059 | -0.00050025 | 0.0020064 | 0.00049938 | 4.9452e-07 | -8.6974e-07 | 0.0030573 | 0.003057 | 0.0030573 | 0.976 | -0.16927 | 0.97625 | -0.16747 | 1.1323
1 | 0.00067699 | 0.0001672 | -0.00067686 | -0.00016964 | 1.3245e-07 | -2.4407e-06 | 0.0010313 | 0.0010322 | 0.0010322 | 0.976 | -0.16927 | 0.9758 | -0.1707 | 0.38228
2 | -0.011248 | -0.0028154 | 0.011256 | 0.0028182 | 8.7142e-06 | 2.7569e-06 | 0.017142 | 0.017142 | 0.017142 | 0.97625 | -0.16747 | 0.97703 | -0.16186 | 6.3491
3 | 0.0012437 | 0.00031119 | -0.0012437 | -0.00031129 | 1.9332e-08 | -1.0052e-07 | 0.0018948 | 0.0018949 | 0.0018949 | 0.97657 | -0.16516 | 0.97656 | -0.16528 | 0.70181
4 | -0.0024377 | -0.00061044 | 0.002438 | 0.00061015 | 2.6445e-07 | -2.8272e-07 | 0.0037142 | 0.003714 | 0.0037142 | 0.97657 | -0.16516 | 0.97668 | -0.16438 | 1.3756
5 | 0.00093271 | 0.00023336 | -0.00093267 | -0.00023375 | 4.1197e-08 | -3.9313e-07 | 0.0014211 | 0.0014212 | 0.0014212 | 0.97656 | -0.16528 | 0.97651 | -0.1656 | 0.52637
6 | -0.002438 | -0.00061015 | 0.0024393 | 0.00060868 | 1.3814e-06 | -1.4787e-06 | 0.003714 | 0.0037133 | 0.003714 | 0.97668 | -0.16438 | 0.97725 | -0.16026 | 1.3756
7 | -0.0024393 | -0.00060868 | 0.0024396 | 0.0006084 | 2.5289e-07 | -2.7104e-07 | 0.0037133 | 0.0037132 | 0.0037133 | 0.97725 | -0.16026 | 0.97736 | -0.15951 | 1.3753
8 | -0.053617 | -0.013438 | 0.053774 | 0.013498 | 0.00015751 | 6.0099e-05 | 0.081329 | 0.081329 | 0.081329 | 0.98099 | -0.13336 | 0.98396 | -0.1122 | 30.1219
9 | -0.10399 | -0.026078 | 0.10428 | 0.026191 | 0.00029623 | 0.00011296 | 0.15726 | 0.15726 | 0.15726 | 0.98396 | -0.1122 | 0.98685 | -0.091711 | 29.1224
10 | 0.050211 | 0.012581 | -0.050119 | -0.012547 | 9.2212e-05 | 3.4166e-05 | 0.075932 | 0.075932 | 0.075932 | 0.98396 | -0.1122 | 0.9821 | -0.1255 | 14.0616
11 | -0.0058918 | -0.0014736 | 0.0059072 | 0.0014757 | 1.5328e-05 | 2.0579e-06 | 0.0089692 | 0.0089678 | 0.0089692 | 0.97736 | -0.15951 | 0.97998 | -0.14064 | 3.3219
12 | -0.10848 | -0.027244 | 0.10921 | 0.027523 | 0.00073138 | 0.00027905 | 0.16359 | 0.16359 | 0.16359 | 0.98685 | -0.091711 | 0.99372 | -0.043541 | 30.2947
13 | 0.034056 | 0.0085247 | -0.034042 | -0.0085198 | 1.3841e-05 | 4.9018e-06 | 0.051596 | 0.051596 | 0.051596 | 0.9821 | -0.1255 | 0.98169 | -0.12844 | 9.5549
14 | 0.016063 | 0.0040219 | -0.016055 | -0.0040191 | 7.853e-06 | 2.7516e-06 | 0.024336 | 0.024336 | 0.024336 | 0.9821 | -0.1255 | 0.9816 | -0.12904 | 9.0135
15 | -0.008899 | -0.002225 | 0.0089039 | 0.0022264 | 4.9326e-06 | 1.3512e-06 | 0.01351 | 0.01351 | 0.01351 | 0.97998 | -0.14064 | 0.98054 | -0.13662 | 5.0039
16 | 0.0018639 | 0.00046667 | -0.0018638 | -0.00046687 | 9.2939e-08 | -1.9855e-07 | 0.00283 | 0.0028301 | 0.0028301 | 0.97998 | -0.14064 | 0.97993 | -0.141 | 1.0482
17 | 0.00092921 | 0.00023265 | -0.00092919 | -0.00023288 | 2.3556e-08 | -2.2982e-07 | 0.0014109 | 0.001411 | 0.001411 | 0.97993 | -0.141 | 0.97991 | -0.14119 | 0.52259
18 | 0.0053402 | 0.0013373 | -0.0053389 | -0.0013372 | 1.361e-06 | 1.0464e-07 | 0.0081037 | 0.0081038 | 0.0081038 | 0.98054 | -0.13662 | 0.98028 | -0.13846 | 3.0014
19 | -0.014244 | -0.0035637 | 0.014249 | 0.0035655 | 5.292e-06 | 1.8063e-06 | 0.021614 | 0.021614 | 0.021614 | 0.98054 | -0.13662 | 0.98092 | -0.13393 | 8.0052
20 | -0.00030824 | -7.7252e-05 | 0.00030824 | 7.6976e-05 | 3.1106e-09 | -2.7511e-07 | 0.0004724 | 0.0004723 | 0.0004724 | 0.97091 | -0.20651 | 0.97092 | -0.20644 | 0.17496
21 | -0.0013131 | -0.00032882 | 0.0013131 | 0.00032864 | 4.0399e-08 | -1.822e-07 | 0.0020123 | 0.0020123 | 0.0020123 | 0.97092 | -0.20644 | 0.97095 | -0.20622 | 0.74531
22 | -0.003411 | -0.0008544 | 0.0034175 | 0.00083776 | 6.5848e-06 | -1.6637e-05 | 0.0052273 | 0.0052204 | 0.0052273 | 0.97095 | -0.20622 | 0.97288 | -0.19197 | 0.96801
23 | 0.0097332 | 0.0024385 | -0.0097293 | -0.0024373 | 3.8742e-06 | 1.1423e-06 | 0.014886 | 0.014887 | 0.014887 | 0.97288 | -0.19197 | 0.97248 | -0.19485 | 5.5135
24 | -0.01615 | -0.0040278 | 0.016181 | 0.0040357 | 3.113e-05 | 7.9009e-06 | 0.024693 | 0.024692 | 0.024693 | 0.97288 | -0.19197 | 0.97482 | -0.17793 | 4.5729
25 | -0.011256 | -0.0028182 | 0.011276 | 0.0028246 | 2.0212e-05 | 6.3908e-06 | 0.017142 | 0.017142 | 0.017142 | 0.97703 | -0.16186 | 0.97884 | -0.14888 | 6.349
26 | 0.017066 | 0.0042585 | -0.017004 | -0.0042422 | 6.1425e-05 | 1.6295e-05 | 0.025936 | 0.025939 | 0.025939 | 0.97884 | -0.14888 | 0.9752 | -0.17516 | 4.8035
27 | -0.028342 | -0.0070831 | 0.028368 | 0.0070918 | 2.5646e-05 | 8.7492e-06 | 0.043078 | 0.043078 | 0.043078 | 0.97884 | -0.14888 | 0.97975 | -0.14231 | 7.9774
28 | 0.017004 | 0.0042422 | -0.016998 | -0.0042405 | 6.4662e-06 | 1.7187e-06 | 0.025939 | 0.025939 | 0.025939 | 0.9752 | -0.17516 | 0.97482 | -0.17793 | 4.8035
29 | -0.030333 | -0.0075845 | 0.030351 | 0.0075906 | 1.7551e-05 | 6.0823e-06 | 0.046063 | 0.046063 | 0.046063 | 0.97975 | -0.14231 | 0.98034 | -0.13812 | 8.5302
30 | -0.031137 | -0.0077876 | 0.031179 | 0.0078021 | 4.1572e-05 | 1.4482e-05 | 0.047256 | 0.047256 | 0.047256 | 0.98034 | -0.13812 | 0.98169 | -0.12844 | 8.7512
31 | -0.0019806 | -0.00049638 | 0.001981 | 0.00049573 | 3.5475e-07 | -6.5604e-07 | 0.0030071 | 0.0030068 | 0.0030071 | 0.98007 | -0.14 | 0.98025 | -0.13871 | 1.1137
32 | -0.0024699 | -0.00061828 | 0.00247 | 0.00061822 | 5.4783e-08 | -5.7673e-08 | 0.0037491 | 0.003749 | 0.0037491 | 0.98025 | -0.13871 | 0.98027 | -0.13855 | 1.3885
33 | -0.0042803 | -0.0010719 | 0.0042804 | 0.0010719 | 4.9165e-08 | -4.6219e-09 | 0.006497 | 0.006497 | 0.006497 | 0.98027 | -0.13855 | 0.98028 | -0.13846 | 2.4063
34 | 0.016055 | 0.0040191 | -0.016052 | -0.0040181 | 2.998e-06 | 1.0505e-06 | 0.024336 | 0.024336 | 0.024336 | 0.9816 | -0.12904 | 0.98141 | -0.13039 | 9.0135
35 | 0.016052 | 0.0040181 | -0.016044 | -0.0040153 | 7.8382e-06 | 2.7468e-06 | 0.024336 | 0.024337 | 0.024337 | 0.98141 | -0.13039 | 0.98092 | -0.13393 | 9.0135
36 | -0.08832 | -0.022147 | 0.088421 | 0.022186 | 0.00010136 | 3.886e-05 | 0.13163 | 0.13163 | 0.13163 | 0.99846 | -0.010776 | 0.99964 | -0.0025051 | 48.7513
37 | 0.087669 | 0.021984 | -0.087577 | -0.021949 | 9.2173e-05 | 3.5338e-05 | 0.13066 | 0.13066 | 0.13066 | 0.99846 | -0.010776 | 0.99738 | -0.01837 | 48.3922
38 | -0.089424 | -0.022437 | 0.089455 | 0.022449 | 3.1094e-05 | 1.1922e-05 | 0.13312 | 0.13312 | 0.13312 | 0.99964 | -0.0025051 | 1 | 0 | 49.304
39 | 0.1146 | 0.028965 | -0.11416 | -0.028797 | 0.00044018 | 0.00016804 | 0.17062 | 0.17062 | 0.17062 | 1 | 0 | 0.99604 | -0.027386 | 31.5961
40 | 0.11315 | 0.028542 | -0.113 | -0.028485 | 0.00015063 | 5.7498e-05 | 0.1691 | 0.1691 | 0.1691 | 0.99604 | -0.027386 | 0.99467 | -0.036891 | 31.3148
41 | 0.10961 | 0.027636 | -0.10951 | -0.027597 | 0.00010202 | 3.8924e-05 | 0.16404 | 0.16404 | 0.16404 | 0.99467 | -0.036891 | 0.99372 | -0.043541 | 30.377
42 | 0.0020178 | 0.00050497 | -0.0020175 | -0.00050562 | 3.8506e-07 | -6.5496e-07 | 0.0030873 | 0.0030876 | 0.0030876 | 0.97248 | -0.19485 | 0.97229 | -0.19623 | 1.1435
43 | 0.0077114 | 0.0019324 | -0.0077091 | -0.0019318 | 2.3277e-06 | 5.6293e-07 | 0.011799 | 0.011799 | 0.011799 | 0.97248 | -0.19485 | 0.97218 | -0.19703 | 4.3702
44 | 0.0024746 | 0.00061989 | -0.0024744 | -0.00062013 | 2.3751e-07 | -2.3761e-07 | 0.0037875 | 0.0037876 | 0.0037876 | 0.97218 | -0.19703 | 0.97209 | -0.19773 | 1.4028

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20596 | 0.051691

## res_load
| p_mw | q_mvar
0 | 0.0013289 | 0.00033306
1 | 0.0092411 | 0.002316
2 | 0.00067686 | 0.00016964
3 | 0.001194 | 0.00029925
4 | 0.00031096 | 7.7935e-05
5 | 0.00093267 | 0.00023375
6 | 0.053617 | 0.013438
7 | 0.0034522 | 0.00086521
8 | 0.0041985 | 0.0010522
9 | 0.001128 | 0.0002827
10 | 0.00093457 | 0.00023423
11 | 0.00092919 | 0.00023288
12 | 0.00030824 | 7.7252e-05
13 | 0.0010049 | 0.00025184
14 | 0.0020978 | 0.00052576
15 | 0.0029988 | 0.00075158
16 | 0.0019658 | 0.00049269
17 | 0.00081701 | 0.00020476
18 | 0.00078619 | 0.00019704
19 | 0.0019806 | 0.00049638
20 | 0.00048897 | 0.00012255
21 | 0.0018103 | 0.00045371
22 | 0.0010585 | 0.00026529
23 | 0.0017948 | 0.00044982
24 | 0.0028635 | 0.00071767
25 | 0.00065057 | 0.00016305
26 | 0.0010027 | 0.00025129
27 | 0.087577 | 0.021949
28 | 0.0011052 | 0.00027698
29 | 0.001017 | 0.00025489
30 | 0.0033853 | 0.00084844
31 | 0.00029738 | 7.4531e-05
32 | 0.0020175 | 0.00050562
33 | 0.0052345 | 0.0013119
34 | 0.0024744 | 0.00062013

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1