## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1098-9_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1098-9_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1098-9_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1098-9_0_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1098-9_0_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1098-9_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1098-9_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1098-9_0_2_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_1098-9_0_2_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_1098-9_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1098-9_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1098-9_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1098-9_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1098-9_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1098-9_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1098-9_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1098-9_0_2_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_1098-9_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1098-9_0_2_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_1098-9_0_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1098-9_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1098-9_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1098-9_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1098-9_0_2_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1098-9_0_2_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1098-9_0_2_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_1098-9_0_2_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_1098-9_0_2_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1098-9_0_2_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1098-9_0_2_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1098-9_0_2_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_1098-9_0_2_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_1098-9_0_2_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_1098-9_0_2_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_1098-9_0_2_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_1098-9_0_2_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1098-9_0_2_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_1098-9_0_2_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_1098-9_0_2_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_1098-9_0_2_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_1098-9_0_2_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1098-9_0_2_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1098-9_0_2_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_1098-9_0_2_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_1098-9_0_2_node_51 | 0.4 | n |  | TRUE
45 | bus_MV_2_1_node_222 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1098-9_0_2_load_0 | 0 | 0.0035651 | 0.00089349 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1098-9_0_2_load_1 | 1 | 0.0038319 | 0.00096036 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1098-9_0_2_load_3 | 2 | 0.007878 | 0.0019744 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1098-9_0_2_load_5 | 3 | 0.0050436 | 0.0012641 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1098-9_0_2_load_7 | 6 | 0.0019294 | 0.00048356 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1098-9_0_2_load_20 | 7 | 0.0046005 | 0.001153 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1098-9_0_2_load_12 | 9 | 0.0051728 | 0.0012964 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1098-9_0_2_load_9 | 10 | 0.0046145 | 0.0011565 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1098-9_0_2_load_10 | 11 | 0.0046587 | 0.0011676 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1098-9_0_2_load_11 | 12 | 0.0044352 | 0.0011116 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1098-9_0_2_load_13 | 13 | 0.005874 | 0.0014722 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1098-9_0_2_load_14 | 14 | 0.01619 | 0.0040577 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1098-9_0_2_load_15 | 15 | 0.0043477 | 0.0010896 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1098-9_0_2_load_16 | 17 | 0.0040958 | 0.0010265 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1098-9_0_2_load_22 | 18 | 0.0024052 | 0.00060279 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1098-9_0_2_load_17 | 19 | 0.0024052 | 0.00060279 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1098-9_0_2_load_18 | 20 | 0.0078096 | 0.0019573 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1098-9_0_2_load_19 | 21 | 0.0018459 | 0.00046262 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1098-9_0_2_load_21 | 22 | 0.001847 | 0.0004629 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1098-9_0_2_load_27 | 23 | 0.00092467 | 0.00023174 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1098-9_0_2_load_28 | 24 | 0.00039769 | 9.9671e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1098-9_0_2_load_33 | 25 | 0.00070485 | 0.00017665 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1098-9_0_2_load_32 | 27 | 0.00041796 | 0.00010475 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1098-9_0_2_load_34 | 28 | 0.00073273 | 0.00018364 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1098-9_0_2_load_35 | 29 | 0.0003858 | 9.6692e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1098-9_0_2_load_37 | 30 | 0.0060667 | 0.0015205 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1098-9_0_2_load_45 | 32 | 0.012325 | 0.003089 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1098-9_0_2_load_57 | 34 | 0.0032565 | 0.00081616 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1098-9_0_2_load_40 | 35 | 0.014809 | 0.0037115 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1098-9_0_2_load_41 | 36 | 0.0026296 | 0.00065903 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1098-9_0_2_load_42 | 37 | 0.004086 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1098-9_0_2_load_43 | 38 | 0.0025136 | 0.00062997 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1098-9_0_2_load_44 | 39 | 0.0024248 | 0.00060771 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1098-9_0_2_load_46 | 40 | 0.001634 | 0.00040953 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1098-9_0_2_load_47 | 41 | 0.0012324 | 0.00030887 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1098-9_0_2_load_49 | 42 | 0.0016344 | 0.00040963 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1098-9_0_2_load_50 | 43 | 0.0021693 | 0.00054368 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1098-9_0_2_load_51 | 44 | 0.0028585 | 0.00071642 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1098-9_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1098-9_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.020541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1098-9_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.022453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1098-9_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.02077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1098-9_0_2_line_4 | NAYY 4x150 SE | 4 | 9 | 0.017665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1098-9_0_2_line_5 | NAYY 4x150 SE | 4 | 10 | 0.020178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1098-9_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.042067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1098-9_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.3208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1098-9_0_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.020504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1098-9_0_2_line_9 | NAYY 4x150 SE | 7 | 20 | 0.016092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1098-9_0_2_line_10 | NAYY 4x150 SE | 8 | 26 | 0.046379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1098-9_0_2_line_11 | NAYY 4x150 SE | 8 | 27 | 0.03166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1098-9_0_2_line_12 | NAYY 4x150 SE | 8 | 25 | 0.023963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1098-9_0_2_line_13 | NAYY 4x150 SE | 9 | 14 | 0.061684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1098-9_0_2_line_14 | NAYY 4x150 SE | 10 | 11 | 0.012623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1098-9_0_2_line_15 | NAYY 4x150 SE | 11 | 12 | 0.024598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1098-9_0_2_line_16 | NAYY 4x150 SE | 12 | 13 | 0.0039358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1098-9_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.022058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1098-9_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1098-9_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.0025228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1098-9_0_2_line_20 | NAYY 4x150 SE | 16 | 30 | 0.035036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1098-9_0_2_line_21 | NAYY 4x150 SE | 16 | 31 | 0.11697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1098-9_0_2_line_22 | NAYY 4x150 SE | 17 | 18 | 0.019309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1098-9_0_2_line_23 | NAYY 4x150 SE | 18 | 22 | 0.0048392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1098-9_0_2_line_24 | NAYY 4x150 SE | 19 | 20 | 0.020794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1098-9_0_2_line_25 | NAYY 4x150 SE | 19 | 21 | 0.019524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1098-9_0_2_line_26 | NAYY 4x150 SE | 21 | 22 | 0.0062563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1098-9_0_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.016977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1098-9_0_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.016978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1098-9_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.021984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1098-9_0_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.0097843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1098-9_0_2_line_31 | NAYY 4x150 SE | 30 | 32 | 0.014633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1098-9_0_2_line_32 | NAYY 4x150 SE | 31 | 33 | 0.063207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1098-9_0_2_line_33 | NAYY 4x150 SE | 31 | 34 | 0.034429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1098-9_0_2_line_34 | NAYY 4x150 SE | 32 | 38 | 0.013493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1098-9_0_2_line_35 | NAYY 4x150 SE | 33 | 43 | 0.0091917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1098-9_0_2_line_36 | NAYY 4x150 SE | 33 | 40 | 0.018415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1098-9_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0085082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1098-9_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.021763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1098-9_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.013259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1098-9_0_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.0099345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1098-9_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0042902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1098-9_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0055438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1098-9_0_2_line_43 | NAYY 4x150 SE | 42 | 44 | 0.030077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1098-9_0_2_trafo_12 | 0.25 MVA 20/0.4 kV | 45 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2652684.7194 | 1215205.2359 | 2652692.772 | 1215199.8026 | 2652699.9738 | 1215190.077
1 | 2652699.9738 | 1215190.077 | 2652701.6872 | 1215187.763 | 2652714.9956 | 1215176.1514
2 | 2652714.9956 | 1215176.1514 | 2652714.9956 | 1215176.1514 | 2652735.4596 | 1215166.913
3 | 2652754.3903 | 1215158.3667 | 2652735.4596 | 1215166.913
4 | 2652754.3903 | 1215158.3667 | 2652770.5962 | 1215151.3369
5 | 2652754.3903 | 1215158.3667 | 2652758.3636 | 1215166.7514 | 2652763.3658 | 1215176.4348 | 2652763.3658 | 1215176.4348
6 | 2652920.7702 | 1215523.794 | 2652929.6987 | 1215529.0764 | 2652941.9926 | 1215543.5942 | 2652944.4486 | 1215556.0226
7 | 2652881.5499 | 1215205.3988 | 2652920.7702 | 1215523.794
8 | 2652948.4237 | 1215576.1376 | 2652944.4486 | 1215556.0226
9 | 2652881.5499 | 1215205.3988 | 2652875.5975 | 1215190.4481
10 | 2652948.4237 | 1215576.1376 | 2652940.4266 | 1215588.2517 | 2652929.3783 | 1215594.2461 | 2652917.8353 | 1215609.7753
11 | 2652948.4237 | 1215576.1376 | 2652952.5724 | 1215591.2057 | 2652959.4844 | 1215605.6701
12 | 2652948.4237 | 1215576.1376 | 2652972.2317 | 1215578.8621
13 | 2652770.5962 | 1215151.3369 | 2652801.4099 | 1215137.9705 | 2652817.3355 | 1215133.5421 | 2652828.6808 | 1215131.2937
14 | 2652763.3658 | 1215176.4348 | 2652766.1957 | 1215179.306 | 2652770.87 | 1215180.5592 | 2652774.6182 | 1215180.3789
15 | 2652774.6182 | 1215180.3789 | 2652777.8972 | 1215180.2212 | 2652793.7258 | 1215175.5918 | 2652798.3546 | 1215174.2352
16 | 2652802.1315 | 1215173.1282 | 2652798.3546 | 1215174.2352
17 | 2652802.1315 | 1215173.1282 | 2652823.2989 | 1215166.9245
18 | 2652832.5057 | 1215088.3937 | 2652852.0595 | 1215099.5959 | 2652862.3803 | 1215107.2364 | 2652865.0877 | 1215111.9299 | 2652866.3724 | 1215116.9221 | 2652865.5118 | 1215121.4839 | 2652861.9217 | 1215124.6984 | 2652852.1311 | 1215126.6462 | 2652828.6808 | 1215131.2937
19 | 2652825.7199 | 1215166.2149 | 2652823.2989 | 1215166.9245
20 | 2652832.5057 | 1215088.3937 | 2652824.2373 | 1215090.8109 | 2652813.0543 | 1215093.9137 | 2652798.507 | 1215096.7206
21 | 2652759.8722 | 1215033.1843 | 2652775.3088 | 1215035.9892 | 2652813.3856 | 1215046.2324 | 2652836.797 | 1215050.609 | 2652835.3557 | 1215063.2928 | 2652832.9101 | 1215082.1825 | 2652832.5057 | 1215088.3937
22 | 2652825.7199 | 1215166.2149 | 2652840.4886 | 1215161.8865 | 2652844.2818 | 1215160.8995
23 | 2652848.965 | 1215159.6808 | 2652844.2818 | 1215160.8995
24 | 2652867.9056 | 1215171.1287 | 2652875.5975 | 1215190.4481
25 | 2652867.9056 | 1215171.1287 | 2652866.9087 | 1215168.6246 | 2652863.6043 | 1215161.8913 | 2652859.4522 | 1215159.1195 | 2652855.2872 | 1215158.6712 | 2652855.1419 | 1215158.6939
26 | 2652848.965 | 1215159.6808 | 2652849.1656 | 1215159.6286 | 2652855.1419 | 1215158.6939
27 | 2652989.0783 | 1215580.9728 | 2653000.5567 | 1215582.4266 | 2653005.8756 | 1215583.3992
28 | 2652989.0783 | 1215580.9728 | 2652974.1237 | 1215579.0787 | 2652972.2317 | 1215578.8621
29 | 2652917.8353 | 1215609.7753 | 2652905.7458 | 1215617.5839 | 2652898.2294 | 1215618.6515
30 | 2652917.8353 | 1215609.7753 | 2652918.8459 | 1215619.5073
31 | 2652784.1388 | 1215099.493 | 2652798.507 | 1215096.7206
32 | 2652710.6274 | 1215056.0961 | 2652706.9336 | 1215049.5818 | 2652735.7813 | 1215037.7741 | 2652746.8845 | 1215035.1151 | 2652759.8722 | 1215033.1843
33 | 2652759.8722 | 1215033.1843 | 2652766.3437 | 1215026.1596 | 2652768.3297 | 1215023.9981 | 2652785.3906 | 1215010.1994
34 | 2652784.1388 | 1215099.493 | 2652770.8899 | 1215102.0494
35 | 2652710.6274 | 1215056.0961 | 2652708.8151 | 1215060.0936 | 2652704.6477 | 1215062.4805
36 | 2652710.6274 | 1215056.0961 | 2652714.756 | 1215056.3883 | 2652724.6247 | 1215056.7758 | 2652729.0097 | 1215056.4143
37 | 2652749.5171 | 1215106.1733 | 2652757.8713 | 1215104.5614
38 | 2652749.5171 | 1215106.1733 | 2652737.3578 | 1215108.5195 | 2652728.1258 | 1215110.1777
39 | 2652757.8713 | 1215104.5614 | 2652770.8899 | 1215102.0494
40 | 2652728.1258 | 1215110.1777 | 2652720.4268 | 1215111.5605 | 2652718.3708 | 1215112.0454
41 | 2652729.0097 | 1215056.4143 | 2652733.0574 | 1215054.9924
42 | 2652738.2879 | 1215053.1551 | 2652733.0574 | 1215054.9924
43 | 2652767.2631 | 1215055.2741 | 2652753.0926 | 1215050.9907 | 2652748.056 | 1215050.3346 | 2652744.2298 | 1215051.0679 | 2652738.2879 | 1215053.1551

## bus_geodata
| x | y | coords
0 | 2652684.7194 | 1215205.2359
1 | 2652699.9738 | 1215190.077
2 | 2652714.9956 | 1215176.1514
3 | 2652735.4596 | 1215166.913
4 | 2652754.3903 | 1215158.3667
5 | 2652920.7702 | 1215523.794
6 | 2652944.4486 | 1215556.0226
7 | 2652881.5499 | 1215205.3988
8 | 2652948.4237 | 1215576.1376
9 | 2652770.5962 | 1215151.3369
10 | 2652763.3658 | 1215176.4348
11 | 2652774.6182 | 1215180.3789
12 | 2652798.3546 | 1215174.2352
13 | 2652802.1315 | 1215173.1282
14 | 2652828.6808 | 1215131.2937
15 | 2652823.2989 | 1215166.9245
16 | 2652832.5057 | 1215088.3937
17 | 2652825.7199 | 1215166.2149
18 | 2652844.2818 | 1215160.8995
19 | 2652867.9056 | 1215171.1287
20 | 2652875.5975 | 1215190.4481
21 | 2652855.1419 | 1215158.6939
22 | 2652848.965 | 1215159.6808
23 | 2653005.8756 | 1215583.3992
24 | 2652989.0783 | 1215580.9728
25 | 2652972.2317 | 1215578.8621
26 | 2652917.8353 | 1215609.7753
27 | 2652959.4844 | 1215605.6701
28 | 2652898.2294 | 1215618.6515
29 | 2652918.8459 | 1215619.5073
30 | 2652798.507 | 1215096.7206
31 | 2652759.8722 | 1215033.1843
32 | 2652784.1388 | 1215099.493
33 | 2652710.6274 | 1215056.0961
34 | 2652785.3906 | 1215010.1994
35 | 2652749.5171 | 1215106.1733
36 | 2652757.8713 | 1215104.5614
37 | 2652728.1258 | 1215110.1777
38 | 2652770.8899 | 1215102.0494
39 | 2652718.3708 | 1215112.0454
40 | 2652729.0097 | 1215056.4143
41 | 2652733.0574 | 1215054.9924
42 | 2652738.2879 | 1215053.1551
43 | 2652704.6477 | 1215062.4805
44 | 2652767.2631 | 1215055.2741
45 | 2652754.3903 | 1215158.3667

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99668 | -0.023201 | 0.0035651 | 0.00089349
1 | 0.99679 | -0.022419 | 0.0038319 | 0.00096036
2 | 0.99701 | -0.020893 | 0.007878 | 0.0019744
3 | 0.9975 | -0.01745 | 0.0050436 | 0.0012641
4 | 0.99811 | -0.013218 | 0 | 0
5 | 0.98759 | -0.087377 | 0 | 0
6 | 0.98726 | -0.089751 | 0.0019294 | 0.00048356
7 | 0.99014 | -0.06927 | 0.0046005 | 0.001153
8 | 0.98715 | -0.090503 | 0 | 0
9 | 1 | 0 | -0.15096 | -0.037828
10 | 0.99653 | -0.024252 | 0.0046145 | 0.0011565
11 | 0.99562 | -0.030586 | 0.0046587 | 0.0011676
12 | 0.99403 | -0.041804 | 0.0044352 | 0.0011116
13 | 0.9938 | -0.043426 | 0.005874 | 0.0014722
14 | 0.99341 | -0.045784 | 0.01619 | 0.0040577
15 | 0.99269 | -0.051217 | 0.0043477 | 0.0010896
16 | 0.98594 | -0.098272 | 0 | 0
17 | 0.99258 | -0.051998 | 0.0040958 | 0.0010265
18 | 0.99185 | -0.057179 | 0.0024052 | 0.00060279
19 | 0.99091 | -0.06381 | 0.0024052 | 0.00060279
20 | 0.99037 | -0.067608 | 0.0078096 | 0.0019573
21 | 0.99148 | -0.059771 | 0.0018459 | 0.00046262
22 | 0.99168 | -0.05836 | 0.001847 | 0.0004629
23 | 0.98703 | -0.091393 | 0.00092467 | 0.00023174
24 | 0.98705 | -0.091232 | 0.00039769 | 9.9671e-05
25 | 0.98708 | -0.091002 | 0.00070485 | 0.00017665
26 | 0.98708 | -0.091037 | 0 | 0
27 | 0.98714 | -0.090639 | 0.00041796 | 0.00010475
28 | 0.98706 | -0.091202 | 0.00073273 | 0.00018364
29 | 0.98707 | -0.091076 | 0.0003858 | 9.6692e-05
30 | 0.98366 | -0.11445 | 0.0060667 | 0.0015205
31 | 0.98377 | -0.11369 | 0 | 0
32 | 0.98283 | -0.12031 | 0.012325 | 0.003089
33 | 0.9829 | -0.11991 | 0 | 0
34 | 0.98361 | -0.11484 | 0.0032565 | 0.00081616
35 | 0.98159 | -0.12917 | 0.014809 | 0.0037115
36 | 0.98186 | -0.12729 | 0.0026296 | 0.00065903
37 | 0.98139 | -0.13063 | 0.004086 | 0.0010241
38 | 0.98232 | -0.124 | 0.0025136 | 0.00062997
39 | 0.98135 | -0.13088 | 0.0024248 | 0.00060771
40 | 0.9827 | -0.12131 | 0.001634 | 0.00040953
41 | 0.98266 | -0.12156 | 0.0012324 | 0.00030887
42 | 0.98263 | -0.12182 | 0.0016344 | 0.00040963
43 | 0.98287 | -0.12011 | 0.0021693 | 0.00054368
44 | 0.9825 | -0.12271 | 0.0028585 | 0.00071642
45 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0035651 | -0.00089349 | 0.0035655 | 0.00089335 | 3.8564e-07 | -1.3602e-07 | 0.0053225 | 0.0053224 | 0.0053225 | 0.99668 | -0.023201 | 0.99679 | -0.022419 | 1.9713
1 | -0.0073973 | -0.0018537 | 0.0073989 | 0.001854 | 1.563e-06 | 3.3333e-07 | 0.011043 | 0.011043 | 0.011043 | 0.99679 | -0.022419 | 0.99701 | -0.020893 | 4.0899
2 | -0.015277 | -0.0038285 | 0.015284 | 0.003831 | 7.2834e-06 | 2.5083e-06 | 0.0228 | 0.0228 | 0.0228 | 0.99701 | -0.020893 | 0.9975 | -0.01745 | 8.4445
3 | -0.020328 | -0.005095 | 0.02034 | 0.0050993 | 1.1918e-05 | 4.3125e-06 | 0.030324 | 0.030324 | 0.030324 | 0.9975 | -0.01745 | 0.99811 | -0.013218 | 11.2311
4 | -0.075087 | -0.018853 | 0.075225 | 0.018906 | 0.00013816 | 5.2908e-05 | 0.11196 | 0.11196 | 0.11196 | 0.99811 | -0.013218 | 1 | 0 | 41.4649
5 | 0.054747 | 0.013754 | -0.054664 | -0.013722 | 8.3901e-05 | 3.2006e-05 | 0.081631 | 0.081631 | 0.081631 | 0.99811 | -0.013218 | 0.99653 | -0.024252 | 30.2339
6 | 0.0054956 | 0.0013747 | -0.0054938 | -0.0013746 | 1.7994e-06 | 1.5398e-07 | 0.0082794 | 0.0082795 | 0.0082795 | 0.98759 | -0.087377 | 0.98726 | -0.089751 | 3.0665
7 | -0.0054956 | -0.0013747 | 0.0055093 | 0.0013759 | 1.3719e-05 | 1.1612e-06 | 0.0082794 | 0.0082779 | 0.0082794 | 0.98759 | -0.087377 | 0.99014 | -0.06927 | 3.0664
8 | 0.0035644 | 0.00089101 | -0.003564 | -0.00089113 | 3.6917e-07 | -1.2017e-07 | 0.0053715 | 0.0053716 | 0.0053716 | 0.98726 | -0.089751 | 0.98715 | -0.090503 | 1.9895
9 | -0.01011 | -0.0025289 | 0.010112 | 0.0025296 | 2.3174e-06 | 6.843e-07 | 0.015192 | 0.015192 | 0.015192 | 0.99014 | -0.06927 | 0.99037 | -0.067608 | 5.6266
10 | 0.0011186 | 0.00027937 | -0.0011186 | -0.00027993 | 8.2263e-08 | -5.6124e-07 | 0.0016859 | 0.0016861 | 0.0016861 | 0.98715 | -0.090503 | 0.98708 | -0.091037 | 0.62447
11 | 0.00041797 | 0.00010435 | -0.00041796 | -0.00010475 | 7.8403e-09 | -4.0173e-07 | 0.0006299 | 0.00063004 | 0.00063004 | 0.98715 | -0.090503 | 0.98714 | -0.090639 | 0.23335
12 | 0.0020274 | 0.00050741 | -0.0020273 | -0.00050766 | 1.3964e-07 | -2.5263e-07 | 0.0030558 | 0.0030559 | 0.0030559 | 0.98715 | -0.090503 | 0.98708 | -0.091002 | 1.1318
13 | 0.074937 | 0.018922 | -0.074458 | -0.018739 | 0.00047901 | 0.00018343 | 0.11156 | 0.11156 | 0.11156 | 1 | 0 | 0.99341 | -0.045784 | 41.3174
14 | 0.050049 | 0.012565 | -0.050005 | -0.012549 | 4.4003e-05 | 1.676e-05 | 0.074741 | 0.074741 | 0.074741 | 0.99653 | -0.024252 | 0.99562 | -0.030586 | 27.6819
15 | 0.045346 | 0.011381 | -0.045276 | -0.011354 | 7.0513e-05 | 2.6801e-05 | 0.067778 | 0.067779 | 0.067779 | 0.99562 | -0.030586 | 0.99403 | -0.041804 | 25.1032
16 | 0.040841 | 0.010243 | -0.040831 | -0.010239 | 9.1803e-06 | 3.4799e-06 | 0.061139 | 0.061139 | 0.061139 | 0.99403 | -0.041804 | 0.9938 | -0.043426 | 22.6441
17 | 0.034957 | 0.0087671 | -0.03492 | -0.0087529 | 3.7712e-05 | 1.4219e-05 | 0.052344 | 0.052344 | 0.052344 | 0.9938 | -0.043426 | 0.99269 | -0.051217 | 19.3867
18 | 0.058267 | 0.014681 | -0.057843 | -0.014519 | 0.00042474 | 0.00016221 | 0.087306 | 0.087306 | 0.087306 | 0.99341 | -0.045784 | 0.98594 | -0.098272 | 32.3355
19 | 0.030572 | 0.0076632 | -0.030569 | -0.007662 | 3.3061e-06 | 1.239e-06 | 0.045827 | 0.045827 | 0.045827 | 0.99269 | -0.051217 | 0.99258 | -0.051998 | 16.973
20 | 0.045019 | 0.011303 | -0.044918 | -0.011265 | 0.00010095 | 3.838e-05 | 0.067952 | 0.067952 | 0.067952 | 0.98594 | -0.098272 | 0.98366 | -0.11445 | 25.1674
21 | 0.012824 | 0.0032154 | -0.012796 | -0.0032064 | 2.7343e-05 | 9.0279e-06 | 0.019354 | 0.019355 | 0.019355 | 0.98594 | -0.098272 | 0.98377 | -0.11369 | 7.1684
22 | 0.026473 | 0.0066355 | -0.026454 | -0.0066284 | 1.8978e-05 | 7.0499e-06 | 0.039687 | 0.039687 | 0.039687 | 0.99258 | -0.051998 | 0.99185 | -0.057179 | 14.6989
23 | 0.024049 | 0.0060256 | -0.024045 | -0.0060242 | 3.9306e-06 | 1.4493e-06 | 0.036079 | 0.036079 | 0.036079 | 0.99185 | -0.057179 | 0.99168 | -0.05836 | 13.3625
24 | 0.017931 | 0.0044902 | -0.017922 | -0.0044868 | 9.407e-06 | 3.3504e-06 | 0.026925 | 0.026925 | 0.026925 | 0.99091 | -0.06381 | 0.99037 | -0.067608 | 9.9724
25 | -0.020336 | -0.005093 | 0.020348 | 0.0050971 | 1.1361e-05 | 4.1179e-06 | 0.030537 | 0.030537 | 0.030537 | 0.99091 | -0.06381 | 0.99148 | -0.059771 | 11.31
26 | -0.022194 | -0.0055597 | 0.022198 | 0.0055613 | 4.3309e-06 | 1.585e-06 | 0.033307 | 0.033307 | 0.033307 | 0.99148 | -0.059771 | 0.99168 | -0.05836 | 12.336
27 | -0.00092467 | -0.00023174 | 0.00092469 | 0.00023154 | 2.0585e-08 | -2.0908e-07 | 0.001394 | 0.0013939 | 0.001394 | 0.98703 | -0.091393 | 0.98705 | -0.091232 | 0.5163
28 | -0.0013224 | -0.00033121 | 0.0013224 | 0.00033101 | 4.21e-08 | -2.0083e-07 | 0.0019935 | 0.0019934 | 0.0019935 | 0.98705 | -0.091232 | 0.98708 | -0.091002 | 0.73832
29 | 0.00073275 | 0.00018337 | -0.00073273 | -0.00018364 | 1.6737e-08 | -2.7456e-07 | 0.0011045 | 0.0011046 | 0.0011046 | 0.98708 | -0.091037 | 0.98706 | -0.091202 | 0.40912
30 | 0.00038581 | 9.6568e-05 | -0.0003858 | -9.6692e-05 | 2.065e-09 | -1.2427e-07 | 0.00058156 | 0.0005816 | 0.0005816 | 0.98708 | -0.091037 | 0.98707 | -0.091076 | 0.21541
31 | 0.038851 | 0.0097445 | -0.03882 | -0.0097325 | 3.1543e-05 | 1.1946e-05 | 0.058775 | 0.058775 | 0.058775 | 0.98366 | -0.11445 | 0.98283 | -0.12031 | 21.7684
32 | 0.0095391 | 0.0023905 | -0.0095309 | -0.0023881 | 8.211e-06 | 2.3563e-06 | 0.014428 | 0.014429 | 0.014429 | 0.98377 | -0.11369 | 0.9829 | -0.11991 | 5.344
33 | 0.0032571 | 0.00081593 | -0.0032565 | -0.00081616 | 5.2141e-07 | -2.3653e-07 | 0.0049264 | 0.0049265 | 0.0049265 | 0.98377 | -0.11369 | 0.98361 | -0.11484 | 1.8246
34 | 0.026495 | 0.0066435 | -0.026481 | -0.0066385 | 1.3549e-05 | 5.0401e-06 | 0.040114 | 0.040114 | 0.040114 | 0.98283 | -0.12031 | 0.98232 | -0.124 | 14.8571
35 | 0.0021694 | 0.00054358 | -0.0021693 | -0.00054368 | 6.1863e-08 | -9.2702e-08 | 0.0032842 | 0.0032842 | 0.0032842 | 0.9829 | -0.11991 | 0.98287 | -0.12011 | 1.2164
36 | 0.0073616 | 0.0018445 | -0.0073601 | -0.0018442 | 1.4272e-06 | 3.1557e-07 | 0.011145 | 0.011145 | 0.011145 | 0.9829 | -0.11991 | 0.9827 | -0.12131 | 4.1276
37 | -0.021321 | -0.0053434 | 0.021327 | 0.0053455 | 5.5463e-06 | 2.0256e-06 | 0.032322 | 0.032321 | 0.032322 | 0.98159 | -0.12917 | 0.98186 | -0.12729 | 11.9709
38 | 0.0065122 | 0.0016319 | -0.0065109 | -0.0016317 | 1.3235e-06 | 2.3399e-07 | 0.009872 | 0.0098721 | 0.0098721 | 0.98159 | -0.12917 | 0.98139 | -0.13063 | 3.6563
39 | -0.023957 | -0.0060045 | 0.023967 | 0.0060085 | 1.0906e-05 | 4.0268e-06 | 0.036307 | 0.036307 | 0.036307 | 0.98186 | -0.12729 | 0.98232 | -0.124 | 13.4469
40 | 0.0024249 | 0.00060762 | -0.0024248 | -0.00060771 | 8.3799e-08 | -9.3292e-08 | 0.0036766 | 0.0036767 | 0.0036767 | 0.98139 | -0.13063 | 0.98135 | -0.13088 | 1.3617
41 | 0.0057261 | 0.0014347 | -0.0057259 | -0.0014347 | 2.0125e-07 | 2.3053e-08 | 0.0086704 | 0.0086704 | 0.0086704 | 0.9827 | -0.12131 | 0.98266 | -0.12156 | 3.2113
42 | 0.0044935 | 0.0011258 | -0.0044933 | -0.0011258 | 1.6016e-07 | -8.6293e-09 | 0.0068042 | 0.0068042 | 0.0068042 | 0.98266 | -0.12156 | 0.98263 | -0.12182 | 2.5201
43 | 0.0028589 | 0.00071617 | -0.0028585 | -0.00071642 | 3.5175e-07 | -2.4566e-07 | 0.0043292 | 0.0043293 | 0.0043293 | 0.98263 | -0.12182 | 0.9825 | -0.12271 | 1.6034

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15613 | 0.039125

## res_load
| p_mw | q_mvar
0 | 0.0035651 | 0.00089349
1 | 0.0038319 | 0.00096036
2 | 0.007878 | 0.0019744
3 | 0.0050436 | 0.0012641
4 | 0.0019294 | 0.00048356
5 | 0.0046005 | 0.001153
6 | 0.0051728 | 0.0012964
7 | 0.0046145 | 0.0011565
8 | 0.0046587 | 0.0011676
9 | 0.0044352 | 0.0011116
10 | 0.005874 | 0.0014722
11 | 0.01619 | 0.0040577
12 | 0.0043477 | 0.0010896
13 | 0.0040958 | 0.0010265
14 | 0.0024052 | 0.00060279
15 | 0.0024052 | 0.00060279
16 | 0.0078096 | 0.0019573
17 | 0.0018459 | 0.00046262
18 | 0.001847 | 0.0004629
19 | 0.00092467 | 0.00023174
20 | 0.00039769 | 9.9671e-05
21 | 0.00070485 | 0.00017665
22 | 0.00041796 | 0.00010475
23 | 0.00073273 | 0.00018364
24 | 0.0003858 | 9.6692e-05
25 | 0.0060667 | 0.0015205
26 | 0.012325 | 0.003089
27 | 0.0032565 | 0.00081616
28 | 0.014809 | 0.0037115
29 | 0.0026296 | 0.00065903
30 | 0.004086 | 0.0010241
31 | 0.0025136 | 0.00062997
32 | 0.0024248 | 0.00060771
33 | 0.001634 | 0.00040953
34 | 0.0012324 | 0.00030887
35 | 0.0016344 | 0.00040963
36 | 0.0021693 | 0.00054368
37 | 0.0028585 | 0.00071642

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1