## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1107-11_1_2_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_1107-11_1_2_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_1107-11_1_2_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_1107-11_1_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_1107-11_1_2_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1107-11_1_2_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_1107-11_1_2_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_1107-11_1_2_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_1107-11_1_2_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1107-11_1_2_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1107-11_1_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1107-11_1_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1107-11_1_2_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_1107-11_1_2_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_1107-11_1_2_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_1107-11_1_2_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_1107-11_1_2_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1107-11_1_2_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_1107-11_1_2_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_1107-11_1_2_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_1107-11_1_2_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_1107-11_1_2_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_1107-11_1_2_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1107-11_1_2_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_1107-11_1_2_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_1107-11_1_2_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1107-11_1_2_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_1107-11_1_2_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_1107-11_1_2_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_1107-11_1_2_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_1107-11_1_2_node_46 | 0.4 | n |  | TRUE
31 | bus_MV_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1107-11_1_2_load_5 | 0 | 0.00015397 | 3.8587e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1107-11_1_2_load_6 | 1 | 0.00010996 | 2.7558e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1107-11_1_2_load_8 | 3 | 0.00090897 | 0.00022781 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1107-11_1_2_load_23 | 5 | 0.00016841 | 4.2208e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1107-11_1_2_load_19 | 6 | 0.00026275 | 6.585e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1107-11_1_2_load_10 | 8 | 0.00059713 | 0.00014965 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1107-11_1_2_load_13 | 10 | 0.0028305 | 0.00070939 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1107-11_1_2_load_14 | 11 | 0.0016435 | 0.00041189 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1107-11_1_2_load_37 | 12 | 0.0022164 | 0.00055549 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1107-11_1_2_load_17 | 14 | 0.0003877 | 9.7168e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1107-11_1_2_load_18 | 15 | 0.00028574 | 7.1614e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1107-11_1_2_load_28 | 18 | 0.0016093 | 0.00040334 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1107-11_1_2_load_29 | 19 | 0.00064124 | 0.00016071 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1107-11_1_2_load_48 | 21 | 0.0032089 | 0.00080423 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1107-11_1_2_load_32 | 22 | 0.00041302 | 0.00010351 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1107-11_1_2_load_42 | 24 | 0.00027377 | 6.8614e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1107-11_1_2_load_36 | 25 | 0.0014282 | 0.00035794 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1107-11_1_2_load_58 | 26 | 0.0017485 | 0.00043822 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1107-11_1_2_load_38 | 27 | 0.00054239 | 0.00013594 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1107-11_1_2_load_44 | 28 | 0.00031339 | 7.8542e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1107-11_1_2_load_47 | 29 | 0.005089 | 0.0012754 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1107-11_1_2_load_46 | 30 | 0.0012749 | 0.00031951 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1107-11_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.025132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1107-11_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.097572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1107-11_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1107-11_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.12762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1107-11_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.12683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1107-11_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.06657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1107-11_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.076089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1107-11_1_2_line_7 | NAYY 4x150 SE | 5 | 16 | 0.036607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1107-11_1_2_line_8 | NAYY 4x150 SE | 6 | 14 | 0.029372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1107-11_1_2_line_9 | NAYY 4x150 SE | 7 | 18 | 0.14275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1107-11_1_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.011013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1107-11_1_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.011525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1107-11_1_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.030664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1107-11_1_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.016684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1107-11_1_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.092271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1107-11_1_2_line_15 | NAYY 4x150 SE | 12 | 27 | 0.11777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1107-11_1_2_line_16 | NAYY 4x150 SE | 13 | 29 | 0.3197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1107-11_1_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.011986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1107-11_1_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.31408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1107-11_1_2_line_19 | NAYY 4x150 SE | 17 | 30 | 0.015333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1107-11_1_2_line_20 | NAYY 4x150 SE | 17 | 28 | 0.10683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1107-11_1_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.010268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1107-11_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.044338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1107-11_1_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.018208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1107-11_1_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.025546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1107-11_1_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.34348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1107-11_1_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.036638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1107-11_1_2_line_27 | NAYY 4x150 SE | 23 | 26 | 0.30193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1107-11_1_2_line_28 | NAYY 4x150 SE | 26 | 30 | 0.053177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1107-11_1_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.2007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1107-11_1_2_trafo_47 | 0.25 MVA 20/0.4 kV | 31 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2646082.8895 | 1211389.1608 | 2646080.814 | 1211374.5678 | 2646077.5322 | 1211364.7073
1 | 2646068.269 | 1211483.7793 | 2646075.0368 | 1211472.2804 | 2646080.9969 | 1211449.2685 | 2646084.1895 | 1211426.4798 | 2646084.6338 | 1211401.4241 | 2646082.8895 | 1211389.1608
2 | 2646077.5322 | 1211364.7073 | 2646072.7045 | 1211350.202 | 2646072.0438 | 1211346.2186
3 | 2646068.269 | 1211483.7793 | 2646075.7304 | 1211493.6427 | 2646081.5371 | 1211501.3142 | 2646115.7968 | 1211530.985 | 2646161.0634 | 1211570.836
4 | 2646072.0438 | 1211346.2186 | 2646069.5825 | 1211331.378 | 2646065.767 | 1211272.4474 | 2646067.0116 | 1211251.9895 | 2646069.9855 | 1211227.9984 | 2646071.0781 | 1211225.2608 | 2646073.2706 | 1211222.7651 | 2646074.8566 | 1211221.93
5 | 2646161.0634 | 1211570.836 | 2646150.2988 | 1211583.3268 | 2646141.025 | 1211599.5424 | 2646131.0105 | 1211629.3031
6 | 2646218.621 | 1211620.7884 | 2646161.0634 | 1211570.836
7 | 2646105.3724 | 1211236.9101 | 2646103.7078 | 1211235.9856 | 2646087.7751 | 1211221.9766 | 2646082.6806 | 1211220.4475 | 2646079.3237 | 1211220.2215 | 2646076.4751 | 1211221.0778 | 2646074.8566 | 1211221.93
8 | 2646131.0105 | 1211629.3031 | 2646124.3046 | 1211649.2311 | 2646118.5838 | 1211655.3075
9 | 2646218.621 | 1211620.7884 | 2646239.4898 | 1211638.8939 | 2646266.1138 | 1211665.3713 | 2646283.6773 | 1211674.624 | 2646299.6503 | 1211679.3173 | 2646339.8591 | 1211687.6882
10 | 2646764.3805 | 1211824.2359 | 2646774.7463 | 1211827.8414 | 2646774.7746 | 1211827.8665
11 | 2646764.3805 | 1211824.2359 | 2646760.0691 | 1211828.538 | 2646758.4088 | 1211833.7124
12 | 2646764.3805 | 1211824.2359 | 2646770.9837 | 1211794.2917
13 | 2646758.4088 | 1211833.7124 | 2646753.3114 | 1211849.5986
14 | 2646793.9703 | 1211705.6315 | 2646794.4299 | 1211710.0043 | 2646782.1172 | 1211739.5474 | 2646773.9523 | 1211780.8298 | 2646770.9837 | 1211794.2917
15 | 2646645.3427 | 1211879.6482 | 2646670.5991 | 1211881.4689 | 2646688.184 | 1211873.2794 | 2646721.0086 | 1211872.1133 | 2646743.5086 | 1211861.1163 | 2646753.1765 | 1211850.0188 | 2646753.3114 | 1211849.5986
16 | 2646793.9703 | 1211705.6315 | 2646614.8326 | 1211440.8369
17 | 2646109.8551 | 1211663.4973 | 2646115.1496 | 1211658.955 | 2646118.5838 | 1211655.3075
18 | 2646105.3724 | 1211236.9101 | 2646417.9173 | 1211267.9168
19 | 2646417.9173 | 1211267.9168 | 2646421.6032 | 1211264.9215 | 2646427.9532 | 1211256.4548
20 | 2646417.9173 | 1211267.9168 | 2646432.8344 | 1211279.5285 | 2646440.6966 | 1211282.7693 | 2646445.391 | 1211281.9943 | 2646450.93 | 1211277.1679 | 2646453.9877 | 1211276.7803 | 2646456.6284 | 1211278.2239 | 2646459.6465 | 1211282.9168 | 2646459.9966 | 1211290.6463 | 2646457.1812 | 1211303.8321 | 2646450.2097 | 1211316.9856 | 2646443.4046 | 1211327.2942 | 2646442.9051 | 1211330.9481 | 2646445.1868 | 1211333.6007
21 | 2646349.9111 | 1211689.7809 | 2646339.8591 | 1211687.6882
22 | 2646392.5753 | 1211700.8735 | 2646385.7424 | 1211697.2405 | 2646349.9111 | 1211689.7809
23 | 2646392.5753 | 1211700.8735 | 2646400.3553 | 1211708.7497 | 2646403.1894 | 1211715.3006
24 | 2646657.3402 | 1211021.6278 | 2646666.4293 | 1211016.6848 | 2646680.7634 | 1211011.6298
25 | 2646680.7634 | 1211011.6298 | 2646976.7364 | 1210837.3438
26 | 2646657.3402 | 1211021.6278 | 2646666.2698 | 1211028.3237 | 2646673.146 | 1211034.2698 | 2646677.1342 | 1211046.0857 | 2646677.5418 | 1211049.9797
27 | 2646657.3402 | 1211021.6278 | 2646418.0559 | 1211205.7598
28 | 2646427.9532 | 1211256.4548 | 2646427.9532 | 1211256.4548 | 2646430.7931 | 1211246.9491 | 2646429.1044 | 1211237.4081 | 2646421.9561 | 1211219.5643 | 2646418.0559 | 1211205.7598
29 | 2646445.1868 | 1211333.6007 | 2646614.8326 | 1211440.8369

## bus_geodata
| x | y | coords
0 | 2646082.8895 | 1211389.1608
1 | 2646077.5322 | 1211364.7073
2 | 2646068.269 | 1211483.7793
3 | 2646072.0438 | 1211346.2186
4 | 2646161.0634 | 1211570.836
5 | 2646074.8566 | 1211221.93
6 | 2646131.0105 | 1211629.3031
7 | 2646218.621 | 1211620.7884
8 | 2646774.7746 | 1211827.8665
9 | 2646764.3805 | 1211824.2359
10 | 2646758.4088 | 1211833.7124
11 | 2646770.9837 | 1211794.2917
12 | 2646753.3114 | 1211849.5986
13 | 2646793.9703 | 1211705.6315
14 | 2646118.5838 | 1211655.3075
15 | 2646109.8551 | 1211663.4973
16 | 2646105.3724 | 1211236.9101
17 | 2646417.9173 | 1211267.9168
18 | 2646339.8591 | 1211687.6882
19 | 2646349.9111 | 1211689.7809
20 | 2646392.5753 | 1211700.8735
21 | 2646403.1894 | 1211715.3006
22 | 2646680.7634 | 1211011.6298
23 | 2646657.3402 | 1211021.6278
24 | 2646976.7364 | 1210837.3438
25 | 2646677.5418 | 1211049.9797
26 | 2646418.0559 | 1211205.7598
27 | 2646645.3427 | 1211879.6482
28 | 2646445.1868 | 1211333.6007
29 | 2646614.8326 | 1211440.8369
30 | 2646427.9532 | 1211256.4548
31 | 2646614.8326 | 1211440.8369

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98847 | -0.081725 | 0.00015397 | 3.8587e-05
1 | 0.98871 | -0.080028 | 0.00010996 | 2.7558e-05
2 | 0.98757 | -0.08816 | 0 | 0
3 | 0.98889 | -0.078702 | 0.00090897 | 0.00022781
4 | 0.98639 | -0.09658 | 0 | 0
5 | 0.99028 | -0.068829 | 0.00016841 | 4.2208e-05
6 | 0.9863 | -0.097224 | 0.00026275 | 6.585e-05
7 | 0.98578 | -0.10086 | 0 | 0
8 | 0.9951 | -0.034483 | 0.00059713 | 0.00014965
9 | 0.99511 | -0.034417 | 0 | 0
10 | 0.99502 | -0.035068 | 0.0028305 | 0.00070939
11 | 0.99538 | -0.032501 | 0.0016435 | 0.00041189
12 | 0.99495 | -0.035534 | 0.0022164 | 0.00055549
13 | 0.99642 | -0.025209 | 0 | 0
14 | 0.98627 | -0.097428 | 0.0003877 | 9.7168e-05
15 | 0.98626 | -0.097463 | 0.00028574 | 7.1614e-05
16 | 0.99069 | -0.065919 | 0 | 0
17 | 0.9942 | -0.040995 | 0 | 0
18 | 0.98466 | -0.1089 | 0.0016093 | 0.00040334
19 | 0.9846 | -0.1093 | 0.00064124 | 0.00016071
20 | 0.98439 | -0.11077 | 0 | 0
21 | 0.98431 | -0.11137 | 0.0032089 | 0.00080423
22 | 0.99286 | -0.050725 | 0.00041302 | 0.00010351
23 | 0.99288 | -0.050539 | 0 | 0
24 | 0.99272 | -0.051735 | 0.00027377 | 6.8614e-05
25 | 0.99281 | -0.051069 | 0.0014282 | 0.00035794
26 | 0.9938 | -0.043916 | 0.0017485 | 0.00043822
27 | 0.99486 | -0.036185 | 0.00054239 | 0.00013594
28 | 0.99619 | -0.02693 | 0.00031339 | 7.8542e-05
29 | 1 | 0 | -0.022001 | -0.0053014
30 | 0.99409 | -0.041802 | 0.0012749 | 0.00031951
31 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0065733 | -0.0016426 | 0.0065748 | 0.0016429 | 1.535e-06 | 2.6816e-07 | 0.0098935 | 0.0098934 | 0.0098935 | 0.98847 | -0.081725 | 0.98871 | -0.080028 | 3.6643
1 | 0.0064193 | 0.001604 | -0.0064136 | -0.0016031 | 5.6838e-06 | 9.3651e-07 | 0.0096618 | 0.0096622 | 0.0096622 | 0.98847 | -0.081725 | 0.98757 | -0.08816 | 3.5786
2 | -0.0066848 | -0.0016704 | 0.006686 | 0.0016707 | 1.2201e-06 | 2.214e-07 | 0.010059 | 0.010059 | 0.010059 | 0.98871 | -0.080028 | 0.98889 | -0.078702 | 3.7255
3 | 0.0064136 | 0.0016031 | -0.0064062 | -0.0016019 | 7.435e-06 | 1.2287e-06 | 0.0096622 | 0.0096628 | 0.0096628 | 0.98757 | -0.08816 | 0.98639 | -0.09658 | 3.5788
4 | -0.007595 | -0.0018985 | 0.0076053 | 0.0019008 | 1.0333e-05 | 2.3447e-06 | 0.011427 | 0.011426 | 0.011427 | 0.98889 | -0.078702 | 0.99028 | -0.068829 | 4.2321
5 | 0.0009363 | 0.00023329 | -0.00093621 | -0.00023411 | 8.2833e-08 | -8.178e-07 | 0.001412 | 0.0014123 | 0.0014123 | 0.98639 | -0.09658 | 0.9863 | -0.097224 | 0.52306
6 | 0.0054699 | 0.0013686 | -0.0054667 | -0.0013683 | 3.2324e-06 | 2.7257e-07 | 0.0082508 | 0.0082512 | 0.0082512 | 0.98639 | -0.09658 | 0.98578 | -0.10086 | 3.056
7 | -0.0077737 | -0.001943 | 0.0077768 | 0.0019438 | 3.1157e-06 | 7.2719e-07 | 0.011679 | 0.011679 | 0.011679 | 0.99028 | -0.068829 | 0.99069 | -0.065919 | 4.3256
8 | 0.00067347 | 0.00016826 | -0.00067345 | -0.00016863 | 1.8917e-08 | -3.6756e-07 | 0.0010159 | 0.001016 | 0.001016 | 0.9863 | -0.097224 | 0.98627 | -0.097428 | 0.3763
9 | 0.0054667 | 0.0013683 | -0.0054606 | -0.0013678 | 6.0648e-06 | 5.1482e-07 | 0.0082512 | 0.0082518 | 0.0082518 | 0.98578 | -0.10086 | 0.98466 | -0.1089 | 3.0562
10 | -0.00059713 | -0.00014965 | 0.00059713 | 0.00014951 | 5.4786e-09 | -1.4096e-07 | 0.00089291 | 0.00089286 | 0.00089291 | 0.9951 | -0.034483 | 0.99511 | -0.034417 | 0.33071
11 | 0.0055901 | 0.0013992 | -0.0055896 | -0.0013992 | 5.0242e-07 | 4.353e-08 | 0.0083584 | 0.0083584 | 0.0083584 | 0.99511 | -0.034417 | 0.99502 | -0.035068 | 3.0957
12 | -0.0061872 | -0.0015487 | 0.0061888 | 0.001549 | 1.6376e-06 | 2.3137e-07 | 0.0092512 | 0.0092511 | 0.0092512 | 0.99511 | -0.034417 | 0.99538 | -0.032501 | 3.4264
13 | 0.0027591 | 0.00068977 | -0.0027589 | -0.00068992 | 1.7719e-07 | -1.4854e-07 | 0.0041255 | 0.0041256 | 0.0041256 | 0.99502 | -0.035068 | 0.99495 | -0.035534 | 1.528
14 | -0.0078323 | -0.0019608 | 0.0078402 | 0.0019627 | 7.8921e-06 | 1.8348e-06 | 0.011708 | 0.011708 | 0.011708 | 0.99538 | -0.032501 | 0.99642 | -0.025209 | 4.3363
15 | 0.00054244 | 0.00013443 | -0.00054239 | -0.00013594 | 4.8334e-08 | -1.5107e-06 | 0.00081073 | 0.00081126 | 0.00081126 | 0.99495 | -0.035534 | 0.99486 | -0.036185 | 0.30047
16 | -0.0078402 | -0.0019627 | 0.0078676 | 0.001969 | 2.734e-05 | 6.3362e-06 | 0.011708 | 0.011706 | 0.011708 | 0.99642 | -0.025209 | 1 | 0 | 4.3361
17 | 0.00028574 | 7.1462e-05 | -0.00028574 | -7.1614e-05 | 1.3899e-09 | -1.5242e-07 | 0.00043106 | 0.00043111 | 0.00043111 | 0.98627 | -0.097428 | 0.98626 | -0.097463 | 0.15967
18 | -0.0077768 | -0.0019438 | 0.0078036 | 0.00195 | 2.6729e-05 | 6.2217e-06 | 0.011679 | 0.011677 | 0.011679 | 0.99069 | -0.065919 | 0.9942 | -0.040995 | 4.3255
19 | 0.0051421 | 0.0012792 | -0.0051415 | -0.0012792 | 5.6621e-07 | 1.8964e-08 | 0.0076928 | 0.0076928 | 0.0076928 | 0.9942 | -0.040995 | 0.99409 | -0.041802 | 2.8492
20 | -0.012946 | -0.0032292 | 0.012971 | 0.0032374 | 2.5011e-05 | 8.2316e-06 | 0.01937 | 0.01937 | 0.01937 | 0.9942 | -0.040995 | 0.99619 | -0.02693 | 7.1742
21 | 0.0038513 | 0.00096445 | -0.0038511 | -0.00096449 | 2.17e-07 | -4.713e-08 | 0.0058198 | 0.0058198 | 0.0058198 | 0.98466 | -0.1089 | 0.9846 | -0.1093 | 2.1555
22 | 0.0032098 | 0.00080379 | -0.0032092 | -0.0008041 | 6.5102e-07 | -3.134e-07 | 0.0048507 | 0.0048509 | 0.0048509 | 0.9846 | -0.1093 | 0.98439 | -0.11077 | 1.7966
23 | 0.0032092 | 0.0008041 | -0.0032089 | -0.00080423 | 2.6737e-07 | -1.2863e-07 | 0.0048509 | 0.004851 | 0.004851 | 0.98439 | -0.11077 | 0.98431 | -0.11137 | 1.7967
24 | -0.00068683 | -0.0001677 | 0.00068685 | 0.00016738 | 1.6838e-08 | -3.239e-07 | 0.0010278 | 0.0010277 | 0.0010278 | 0.99286 | -0.050725 | 0.99288 | -0.050539 | 0.38067
25 | 0.00027381 | 6.4186e-05 | -0.00027377 | -6.8614e-05 | 3.5957e-08 | -4.4276e-06 | 0.00040884 | 0.00041037 | 0.00041037 | 0.99286 | -0.050725 | 0.99272 | -0.051735 | 0.15199
26 | 0.0014283 | 0.00035751 | -0.0014282 | -0.00035794 | 1.0475e-07 | -4.3352e-07 | 0.0021404 | 0.0021406 | 0.0021406 | 0.99288 | -0.050539 | 0.99281 | -0.051069 | 0.79281
27 | -0.0021152 | -0.00052489 | 0.0021171 | 0.0005217 | 1.8902e-06 | -3.1815e-06 | 0.0031681 | 0.0031668 | 0.0031681 | 0.99288 | -0.050539 | 0.9938 | -0.043916 | 1.1734
28 | -0.0038656 | -0.00095992 | 0.0038667 | 0.00095966 | 1.1104e-06 | -2.6216e-07 | 0.0057848 | 0.0057846 | 0.0057848 | 0.9938 | -0.043916 | 0.99409 | -0.041802 | 2.1425
29 | -0.013284 | -0.0033159 | 0.013333 | 0.0033323 | 4.9283e-05 | 1.6332e-05 | 0.019838 | 0.019837 | 0.019838 | 0.99619 | -0.02693 | 1 | 0 | 7.3474

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.02709 | 0.0065768

## res_load
| p_mw | q_mvar
0 | 0.00015397 | 3.8587e-05
1 | 0.00010996 | 2.7558e-05
2 | 0.00090897 | 0.00022781
3 | 0.00016841 | 4.2208e-05
4 | 0.00026275 | 6.585e-05
5 | 0.00059713 | 0.00014965
6 | 0.0028305 | 0.00070939
7 | 0.0016435 | 0.00041189
8 | 0.0022164 | 0.00055549
9 | 0.0003877 | 9.7168e-05
10 | 0.00028574 | 7.1614e-05
11 | 0.0016093 | 0.00040334
12 | 0.00064124 | 0.00016071
13 | 0.0032089 | 0.00080423
14 | 0.00041302 | 0.00010351
15 | 0.00027377 | 6.8614e-05
16 | 0.0014282 | 0.00035794
17 | 0.0017485 | 0.00043822
18 | 0.00054239 | 0.00013594
19 | 0.00031339 | 7.8542e-05
20 | 0.005089 | 0.0012754
21 | 0.0012749 | 0.00031951

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1