## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1107-13_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_1107-13_1_3_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_1107-13_1_3_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_1107-13_1_3_node_104 | 0.4 | n |  | TRUE
4 | bus_LV_1107-13_1_3_node_130 | 0.4 | n |  | TRUE
5 | bus_LV_1107-13_1_3_node_124 | 0.4 | n |  | TRUE
6 | bus_LV_1107-13_1_3_node_125 | 0.4 | n |  | TRUE
7 | bus_LV_1107-13_1_3_node_131 | 0.4 | n |  | TRUE
8 | bus_LV_1107-13_1_3_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_1107-13_1_3_node_132 | 0.4 | n |  | TRUE
10 | bus_LV_1107-13_1_3_node_133 | 0.4 | n |  | TRUE
11 | bus_LV_1107-13_1_3_node_97 | 0.4 | n |  | TRUE
12 | bus_LV_1107-13_1_3_node_134 | 0.4 | n |  | TRUE
13 | bus_LV_1107-13_1_3_node_135 | 0.4 | n |  | TRUE
14 | bus_LV_1107-13_1_3_node_136 | 0.4 | n |  | TRUE
15 | bus_LV_1107-13_1_3_node_137 | 0.4 | n |  | TRUE
16 | bus_LV_1107-13_1_3_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_1107-13_1_3_node_139 | 0.4 | n |  | TRUE
18 | bus_LV_1107-13_1_3_node_138 | 0.4 | n |  | TRUE
19 | bus_LV_1107-13_1_3_node_140 | 0.4 | n |  | TRUE
20 | bus_LV_1107-13_1_3_node_126 | 0.4 | n |  | TRUE
21 | bus_LV_1107-13_1_3_node_142 | 0.4 | n |  | TRUE
22 | bus_LV_1107-13_1_3_node_143 | 0.4 | n |  | TRUE
23 | bus_LV_1107-13_1_3_node_93 | 0.4 | n |  | TRUE
24 | bus_LV_1107-13_1_3_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_1107-13_1_3_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_1107-13_1_3_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_1107-13_1_3_node_75 | 0.4 | n |  | TRUE
28 | bus_LV_1107-13_1_3_node_81 | 0.4 | n |  | TRUE
29 | bus_LV_1107-13_1_3_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_1107-13_1_3_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_1107-13_1_3_node_90 | 0.4 | n |  | TRUE
32 | bus_LV_1107-13_1_3_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_1107-13_1_3_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_1107-13_1_3_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_1107-13_1_3_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_1107-13_1_3_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_1107-13_1_3_node_89 | 0.4 | n |  | TRUE
38 | bus_LV_1107-13_1_3_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_1107-13_1_3_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_1107-13_1_3_node_92 | 0.4 | n |  | TRUE
41 | bus_LV_1107-13_1_3_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_1107-13_1_3_node_94 | 0.4 | n |  | TRUE
43 | bus_LV_1107-13_1_3_node_106 | 0.4 | n |  | TRUE
44 | bus_LV_1107-13_1_3_node_98 | 0.4 | n |  | TRUE
45 | bus_LV_1107-13_1_3_node_99 | 0.4 | n |  | TRUE
46 | bus_LV_1107-13_1_3_node_100 | 0.4 | n |  | TRUE
47 | bus_LV_1107-13_1_3_node_105 | 0.4 | n |  | TRUE
48 | bus_LV_1107-13_1_3_node_101 | 0.4 | n |  | TRUE
49 | bus_LV_1107-13_1_3_node_102 | 0.4 | n |  | TRUE
50 | bus_LV_1107-13_1_3_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_1107-13_1_3_node_112 | 0.4 | n |  | TRUE
52 | bus_LV_1107-13_1_3_node_107 | 0.4 | n |  | TRUE
53 | bus_LV_1107-13_1_3_node_108 | 0.4 | n |  | TRUE
54 | bus_LV_1107-13_1_3_node_109 | 0.4 | n |  | TRUE
55 | bus_LV_1107-13_1_3_node_110 | 0.4 | n |  | TRUE
56 | bus_LV_1107-13_1_3_node_118 | 0.4 | n |  | TRUE
57 | bus_LV_1107-13_1_3_node_111 | 0.4 | n |  | TRUE
58 | bus_LV_1107-13_1_3_node_113 | 0.4 | n |  | TRUE
59 | bus_LV_1107-13_1_3_node_117 | 0.4 | n |  | TRUE
60 | bus_LV_1107-13_1_3_node_114 | 0.4 | n |  | TRUE
61 | bus_LV_1107-13_1_3_node_115 | 0.4 | n |  | TRUE
62 | bus_LV_1107-13_1_3_node_116 | 0.4 | n |  | TRUE
63 | bus_LV_1107-13_1_3_node_119 | 0.4 | n |  | TRUE
64 | bus_LV_1107-13_1_3_node_120 | 0.4 | n |  | TRUE
65 | bus_LV_1107-13_1_3_node_121 | 0.4 | n |  | TRUE
66 | bus_LV_1107-13_1_3_node_122 | 0.4 | n |  | TRUE
67 | bus_LV_1107-13_1_3_node_123 | 0.4 | n |  | TRUE
68 | bus_MV_124_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1107-13_1_3_load_129 | 2 | 0.0033908 | 0.00084983 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1107-13_1_3_load_104 | 3 | 0.00062826 | 0.00015746 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1107-13_1_3_load_130 | 4 | 0.0023718 | 0.00059444 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1107-13_1_3_load_124 | 5 | 0.016451 | 0.0041229 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1107-13_1_3_load_76 | 8 | 0.00022636 | 5.6731e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1107-13_1_3_load_132 | 9 | 0.00057352 | 0.00014374 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1107-13_1_3_load_133 | 10 | 0.00061432 | 0.00015396 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1107-13_1_3_load_134 | 12 | 0.0002351 | 5.8921e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1107-13_1_3_load_135 | 13 | 0.00092221 | 0.00023113 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1107-13_1_3_load_136 | 14 | 0.0017141 | 0.0004296 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1107-13_1_3_load_42 | 16 | 0.00022867 | 5.731e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1107-13_1_3_load_138 | 18 | 0.00041594 | 0.00010425 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1107-13_1_3_load_140 | 19 | 0.004996 | 0.0012521 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1107-13_1_3_load_142 | 21 | 0.00021821 | 5.4688e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1107-13_1_3_load_143 | 22 | 0.0010439 | 0.00026162 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1107-13_1_3_load_40 | 24 | 0.00046134 | 0.00011562 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1107-13_1_3_load_41 | 25 | 0.00087075 | 0.00021823 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1107-13_1_3_load_43 | 26 | 0.000206 | 5.1628e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1107-13_1_3_load_75 | 27 | 8.2347e-05 | 2.0638e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1107-13_1_3_load_81 | 28 | 0.0051759 | 0.0012972 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1107-13_1_3_load_82 | 29 | 0.00067366 | 0.00016883 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1107-13_1_3_load_83 | 30 | 0.00023255 | 5.8282e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1107-13_1_3_load_90 | 31 | 0.0030248 | 0.00075809 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1107-13_1_3_load_84 | 33 | 0.00033314 | 8.3493e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1107-13_1_3_load_86 | 34 | 0.00052888 | 0.00013255 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1107-13_1_3_load_87 | 35 | 0.0013854 | 0.00034722 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1107-13_1_3_load_96 | 38 | 0.0022488 | 0.0005636 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1107-13_1_3_load_91 | 39 | 0.0010115 | 0.0002535 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1107-13_1_3_load_95 | 41 | 0.0010037 | 0.00025156 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1107-13_1_3_load_106 | 43 | 0.00046125 | 0.0001156 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1107-13_1_3_load_98 | 44 | 0.0057623 | 0.0014442 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1107-13_1_3_load_99 | 45 | 0.0056209 | 0.0014087 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1107-13_1_3_load_105 | 47 | 0.0071846 | 0.0018006 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1107-13_1_3_load_101 | 48 | 0.0027319 | 0.00068468 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1107-13_1_3_load_103 | 50 | 0.0083103 | 0.0020828 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1107-13_1_3_load_112 | 51 | 0.0046043 | 0.0011539 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1107-13_1_3_load_108 | 53 | 0.0011863 | 0.00029733 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1107-13_1_3_load_109 | 54 | 0.00079877 | 0.00020019 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1107-13_1_3_load_110 | 55 | 0.0022256 | 0.00055779 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1107-13_1_3_load_118 | 56 | 0.0011942 | 0.00029931 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1107-13_1_3_load_111 | 57 | 0.0012602 | 0.00031584 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1107-13_1_3_load_117 | 59 | 0.016781 | 0.0042057 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1107-13_1_3_load_114 | 60 | 0.0028835 | 0.00072267 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1107-13_1_3_load_115 | 61 | 0.0016772 | 0.00042035 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1107-13_1_3_load_116 | 62 | 0.002555 | 0.00064033 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1107-13_1_3_load_119 | 63 | 0.018082 | 0.0045319 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1107-13_1_3_load_122 | 66 | 0.013524 | 0.0033894 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1107-13_1_3_load_123 | 67 | 0.013654 | 0.0034219 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1107-13_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1107-13_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1107-13_1_3_line_2 | NAYY 4x150 SE | 1 | 67 | 0.016528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1107-13_1_3_line_3 | NAYY 4x150 SE | 2 | 3 | 0.032235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1107-13_1_3_line_4 | NAYY 4x150 SE | 3 | 49 | 0.018301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1107-13_1_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.0096693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1107-13_1_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.0092433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1107-13_1_3_line_7 | NAYY 4x150 SE | 5 | 65 | 0.022395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1107-13_1_3_line_8 | NAYY 4x150 SE | 6 | 20 | 0.20932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1107-13_1_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.032064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1107-13_1_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.025564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1107-13_1_3_line_11 | NAYY 4x150 SE | 8 | 27 | 0.014306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1107-13_1_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.027375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1107-13_1_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.22732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1107-13_1_3_line_14 | NAYY 4x150 SE | 11 | 38 | 0.030852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1107-13_1_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.030697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1107-13_1_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.073779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1107-13_1_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.037739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1107-13_1_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.15493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1107-13_1_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.017924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1107-13_1_3_line_20 | NAYY 4x150 SE | 16 | 27 | 0.17045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1107-13_1_3_line_21 | NAYY 4x150 SE | 16 | 24 | 0.1825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1107-13_1_3_line_22 | NAYY 4x150 SE | 17 | 18 | 0.015412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1107-13_1_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.053285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1107-13_1_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.12478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1107-13_1_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.029676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1107-13_1_3_line_26 | NAYY 4x150 SE | 23 | 37 | 0.030154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1107-13_1_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.003888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1107-13_1_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.053948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1107-13_1_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.025788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1107-13_1_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.01145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1107-13_1_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.14489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1107-13_1_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.015126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1107-13_1_3_line_33 | NAYY 4x150 SE | 31 | 36 | 0.15305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1107-13_1_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.016017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1107-13_1_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.016905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1107-13_1_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.21289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1107-13_1_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.14104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1107-13_1_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.12743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1107-13_1_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.063053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1107-13_1_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.042928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1107-13_1_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.067102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1107-13_1_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.010519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1107-13_1_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.0079097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1107-13_1_3_line_44 | NAYY 4x150 SE | 43 | 52 | 0.019207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1107-13_1_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.019641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1107-13_1_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.02313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1107-13_1_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.021066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1107-13_1_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.018044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1107-13_1_3_line_49 | NAYY 4x150 SE | 47 | 51 | 0.034403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_1107-13_1_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0083862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1107-13_1_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.022989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1107-13_1_3_line_52 | NAYY 4x150 SE | 51 | 58 | 0.0038786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1107-13_1_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.023001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1107-13_1_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.01739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1107-13_1_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0064177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1107-13_1_3_line_56 | NAYY 4x150 SE | 54 | 56 | 0.010484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1107-13_1_3_line_57 | NAYY 4x150 SE | 55 | 57 | 0.059979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1107-13_1_3_line_58 | NAYY 4x150 SE | 56 | 62 | 0.017778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1107-13_1_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.042049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1107-13_1_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.01788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1107-13_1_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.015274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1107-13_1_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.0062059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1107-13_1_3_line_63 | NAYY 4x150 SE | 63 | 64 | 0.02442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1107-13_1_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.0070912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1107-13_1_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.017324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1107-13_1_3_line_66 | NAYY 4x150 SE | 64 | 67 | 0.024319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1107-13_1_3_trafo_112 | 0.25 MVA 20/0.4 kV | 68 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2647740.5301 | 1211549.19 | 2647749.9471 | 1211543.1618
1 | 2647740.5301 | 1211549.19 | 2647734.2838 | 1211540.0584
2 | 2647749.9471 | 1211543.1618 | 2647763.8695 | 1211534.2535
3 | 2647734.2838 | 1211540.0584 | 2647721.9566 | 1211522.0367 | 2647716.8443 | 1211512.9796
4 | 2647707.8487 | 1211497.0425 | 2647716.8443 | 1211512.9796
5 | 2647782.8806 | 1211559.6367 | 2647774.7635 | 1211564.8911
6 | 2647767.004 | 1211569.914 | 2647774.7635 | 1211564.8911
7 | 2647801.6803 | 1211547.4672 | 2647782.8806 | 1211559.6367
8 | 2647726.6533 | 1211620.6989 | 2647732.0333 | 1211633.9386 | 2647756.3637 | 1211678.4593 | 2647756.9352 | 1211679.1977 | 2647760.3276 | 1211676.8568 | 2647768.6767 | 1211672.2653 | 2647791.4447 | 1211664.2095 | 2647790.0085 | 1211659.4841 | 2647781.8132 | 1211632.5249 | 2647772.7056 | 1211602.7678 | 2647758.1593 | 1211575.6355 | 2647767.004 | 1211569.914
9 | 2647686.0728 | 1210879.8506 | 2647687.7667 | 1210873.2825 | 2647691.1028 | 1210852.3635 | 2647691.3862 | 1210848.2755
10 | 2647686.0728 | 1210879.8506 | 2647684.467 | 1210889.6546 | 2647681.8168 | 1210902.73 | 2647681.1734 | 1210904.9257
11 | 2647692.3754 | 1210834.0041 | 2647691.3862 | 1210848.2755
12 | 2647665.8647 | 1210926.6945 | 2647675.2002 | 1210918.6087 | 2647677.393 | 1210915.2354 | 2647679.7466 | 1210909.7954 | 2647681.1734 | 1210904.9257
13 | 2647446.8888 | 1210987.7193 | 2647665.8647 | 1210926.6945
14 | 2647446.8888 | 1210987.7193 | 2647439.8494 | 1210983.283 | 2647435.1159 | 1210981.2775 | 2647432.453 | 1210980.7227 | 2647425.6318 | 1210979.4233 | 2647418.2493 | 1210977.144
15 | 2647760.2125 | 1210558.7216 | 2647734.961 | 1210576.1764
16 | 2647760.2125 | 1210558.7216 | 2647757.2622 | 1210566.5248 | 2647751.764 | 1210576.4755 | 2647748.4138 | 1210585.8209 | 2647740.7369 | 1210613.5313 | 2647735.6052 | 1210628.0364
17 | 2647793.1517 | 1210540.3855 | 2647785.101 | 1210543.5674 | 2647768.3052 | 1210553.1275 | 2647760.2125 | 1210558.7216
18 | 2647735.6052 | 1210628.0364 | 2647595.353 | 1210693.8679
19 | 2647793.1517 | 1210540.3855 | 2647805.9289 | 1210527.7804
20 | 2647595.353 | 1210693.8679 | 2647692.3754 | 1210834.0041
21 | 2647467.082 | 1210582.559 | 2647467.5779 | 1210586.9044 | 2647468.4634 | 1210590.2356 | 2647469.815 | 1210593.237 | 2647472.1052 | 1210595.7678 | 2647476.1465 | 1210598.8351 | 2647481.4512 | 1210601.6789 | 2647489.0306 | 1210604.2074 | 2647506.782 | 1210611.0415 | 2647533.4464 | 1210626.6073 | 2647560.0047 | 1210643.0728 | 2647579.2153 | 1210654.6216 | 2647583.0687 | 1210657.4206 | 2647586.2064 | 1210660.3918 | 2647590.208 | 1210665.5711 | 2647593.1919 | 1210670.6757 | 2647594.8141 | 1210675.9473 | 2647595.1598 | 1210680.2526 | 2647593.7588 | 1210688.2127 | 2647595.353 | 1210693.8679
22 | 2647805.9289 | 1210527.7804 | 2647810.1212 | 1210519.5759 | 2647812.1451 | 1210513.7174
23 | 2647726.6533 | 1211620.6989 | 2647725.0886 | 1211616.8397 | 2647702.0942 | 1211573.4331
24 | 2647726.6533 | 1211620.6989 | 2647610.2093 | 1211665.5287
25 | 2647526.5104 | 1211258.8228 | 2647529.9221 | 1211250.2561 | 2647533.4601 | 1211245.8594 | 2647537.7587 | 1211241.3799 | 2647541.77 | 1211238.6325 | 2647545.3732 | 1211237.505
26 | 2647506.0923 | 1211275.0921 | 2647511.3918 | 1211275.6457 | 2647518.5819 | 1211274.4689 | 2647526.5104 | 1211258.8228
27 | 2647467.082 | 1210582.559 | 2647466.6412 | 1210578.696
28 | 2647425.7797 | 1210565.2446 | 2647427.4361 | 1210565.9731 | 2647430.3633 | 1210566.7635 | 2647433.2052 | 1210566.8083 | 2647435.6785 | 1210566.3722 | 2647437.9281 | 1210565.4117 | 2647446.9537 | 1210560.9697 | 2647449.8024 | 1210560.1586 | 2647452.3026 | 1210560.1673 | 2647454.6162 | 1210560.7082 | 2647459.7368 | 1210563.7618 | 2647463.9191 | 1210567.2749 | 2647465.1828 | 1210568.9082 | 2647465.7379 | 1210570.7803 | 2647466.6412 | 1210578.696
29 | 2647114.7712 | 1211082.7816 | 2647121.0504 | 1211079.8816 | 2647129.6478 | 1211073.7347 | 2647131.4545 | 1211065.6314
30 | 2647131.4545 | 1211065.6314 | 2647131.4912 | 1211065.4667 | 2647129.0139 | 1211057.7759 | 2647128.1994 | 1211054.6795
31 | 2647263.5054 | 1211125.2676 | 2647131.4545 | 1211065.6314
32 | 2647124.3514 | 1211040.051 | 2647128.1994 | 1211054.6795
33 | 2647377.3873 | 1211097.8431 | 2647379.6497 | 1211103.8423 | 2647379.0659 | 1211107.5065 | 2647376.8017 | 1211110.3346 | 2647370.4074 | 1211112.7075 | 2647359.248 | 1211113.2415 | 2647341.0692 | 1211110.6514 | 2647323.0327 | 1211105.4386 | 2647283.7444 | 1211091.2968 | 2647279.3205 | 1211091.473 | 2647274.6048 | 1211094.8932 | 2647271.2377 | 1211100.7478 | 2647263.5054 | 1211125.2676
34 | 2647124.3514 | 1211040.051 | 2647127.064 | 1211037.1929 | 2647128.7889 | 1211028.5348 | 2647128.4781 | 1211025.3016
35 | 2647431.9356 | 1211203.6894 | 2647434.6534 | 1211203.8489 | 2647444.9862 | 1211203.0972 | 2647448.2608 | 1211205.0689
36 | 2647377.3873 | 1211097.8431 | 2647406.8085 | 1211103.8023 | 2647410.6993 | 1211105.701 | 2647410.0666 | 1211119.3373 | 2647407.9399 | 1211126.8582 | 2647409.2013 | 1211129.7366 | 2647412.661 | 1211130.4089 | 2647418.2918 | 1211128.4969 | 2647424.4876 | 1211127.2009 | 2647428.656 | 1211128.5793 | 2647428.0737 | 1211136.8351 | 2647423.851 | 1211146.107 | 2647417.5734 | 1211157.6972 | 2647417.2219 | 1211162.7196 | 2647421.5699 | 1211164.4552 | 2647434.8842 | 1211162.4042 | 2647439.2577 | 1211163.7842 | 2647439.5306 | 1211167.6886 | 2647437.6425 | 1211171.0089 | 2647410.2858 | 1211190.2473 | 2647407.7889 | 1211195.5973 | 2647410.375 | 1211200.0649 | 2647418.2173 | 1211202.8844 | 2647431.9356 | 1211203.6894
37 | 2647506.0923 | 1211275.0921 | 2647500.5315 | 1211273.0022 | 2647492.0935 | 1211269.6219 | 2647474.9383 | 1211260.6914 | 2647471.6896 | 1211259.2869 | 2647469.3675 | 1211258.8905 | 2647460.927 | 1211258.6788 | 2647453.3618 | 1211258.2851 | 2647437.1216 | 1211255.6433 | 2647430.2307 | 1211253.5874 | 2647426.6678 | 1211251.5579 | 2647424.4066 | 1211249.2386 | 2647423.3732 | 1211246.3731 | 2647423.4273 | 1211243.394 | 2647424.2314 | 1211240.6988 | 2647426.1133 | 1211237.1895 | 2647446.5841 | 1211215.2393 | 2647449.3918 | 1211209.0357 | 2647448.2608 | 1211205.0689
38 | 2647377.3873 | 1211097.8431 | 2647418.2493 | 1210977.144
39 | 2647506.0923 | 1211275.0921 | 2647509.2284 | 1211278.23 | 2647512.6185 | 1211283.8158 | 2647514.8833 | 1211291.405 | 2647513.549 | 1211303.4236 | 2647512.8205 | 1211309.0211 | 2647516.2527 | 1211314.0959 | 2647523.4116 | 1211316.8322 | 2647535.1368 | 1211321.5395
40 | 2647570.887 | 1211333.1533 | 2647562.0804 | 1211334.0836 | 2647557.4082 | 1211333.9575 | 2647552.1096 | 1211334.2599 | 2647546.6623 | 1211335.0948 | 2647544.2209 | 1211334.4194 | 2647541.4406 | 1211332.4183 | 2647537.6242 | 1211326.9291 | 2647535.1368 | 1211321.5395
41 | 2647570.887 | 1211333.1533 | 2647575.5628 | 1211334.7248 | 2647579.5056 | 1211334.834 | 2647585.6254 | 1211333.5154 | 2647588.1638 | 1211331.5567 | 2647589.3292 | 1211329.298 | 2647589.788 | 1211327.0336 | 2647591.4268 | 1211314.0057 | 2647593.6465 | 1211309.1317 | 2647597.6148 | 1211305.1054 | 2647601.697 | 1211303.9261 | 2647605.0979 | 1211304.3424 | 2647609.1603 | 1211306.6095 | 2647612.7219 | 1211313.141
42 | 2647617.7577 | 1211322.3762 | 2647612.7219 | 1211313.141
43 | 2647617.7577 | 1211322.3762 | 2647621.1649 | 1211329.5145
44 | 2647633.3312 | 1211343.7908 | 2647631.9943 | 1211342.7795 | 2647627.7478 | 1211339.7772 | 2647625.7723 | 1211337.8603 | 2647624.1552 | 1211335.7795 | 2647621.1649 | 1211329.5145
45 | 2647732.0259 | 1211452.8632 | 2647714.9576 | 1211462.581
46 | 2647694.857 | 1211474.0252 | 2647714.9576 | 1211462.581
47 | 2647694.857 | 1211474.0252 | 2647685.0646 | 1211456.6701 | 2647684.5428 | 1211455.6574
48 | 2647694.857 | 1211474.0252 | 2647703.7265 | 1211489.7393
49 | 2647684.5428 | 1211455.6574 | 2647668.7859 | 1211425.0754
50 | 2647707.8487 | 1211497.0425 | 2647703.7265 | 1211489.7393
51 | 2647707.8487 | 1211497.0425 | 2647726.4743 | 1211508.198 | 2647727.1868 | 1211509.2593
52 | 2647667.0094 | 1211421.6275 | 2647668.7859 | 1211425.0754
53 | 2647633.3312 | 1211343.7908 | 2647612.7316 | 1211354.0236
54 | 2647633.3312 | 1211343.7908 | 2647634.6947 | 1211345.2692 | 2647636.2941 | 1211347.6611 | 2647637.5527 | 1211349.9169 | 2647641.2807 | 1211359.1078
55 | 2647606.984 | 1211356.8787 | 2647612.7316 | 1211354.0236
56 | 2647645.2214 | 1211368.8232 | 2647641.2807 | 1211359.1078
57 | 2647606.984 | 1211356.8787 | 2647606.943 | 1211356.8991 | 2647592.1429 | 1211360.4609 | 2647586.244 | 1211362.6597 | 2647569.9575 | 1211375.3929 | 2647566.8216 | 1211377.0133 | 2647562.2735 | 1211378.489 | 2647557.9279 | 1211379.3438 | 2647552.9272 | 1211379.4485
58 | 2647645.2214 | 1211368.8232 | 2647651.9036 | 1211385.2973
59 | 2647648.3658 | 1211452.6302 | 2647647.243 | 1211449.5528 | 2647646.5617 | 1211446.3788 | 2647646.5528 | 1211442.7322 | 2647646.9411 | 1211437.888 | 2647648.5652 | 1211433.3761 | 2647650.5248 | 1211430.6234 | 2647654.3867 | 1211427.5302 | 2647659.6131 | 1211424.8481 | 2647667.0094 | 1211421.6275
60 | 2647667.0094 | 1211421.6275 | 2647665.2436 | 1211418.1892 | 2647661.6892 | 1211409.4223 | 2647659.9772 | 1211405.2017
61 | 2647659.9772 | 1211405.2017 | 2647654.2363 | 1211391.0481
62 | 2647654.2363 | 1211391.0481 | 2647651.9036 | 1211385.2973
63 | 2647784.3541 | 1211521.1464 | 2647797.7813 | 1211541.5441
64 | 2647801.6803 | 1211547.4672 | 2647797.7813 | 1211541.5441
65 | 2647784.3541 | 1211521.1464 | 2647774.8335 | 1211506.6725
66 | 2647784.3541 | 1211521.1464 | 2647763.8695 | 1211534.2535

## bus_geodata
| x | y | coords
0 | 2647740.5301 | 1211549.19
1 | 2647749.9471 | 1211543.1618
2 | 2647734.2838 | 1211540.0584
3 | 2647716.8443 | 1211512.9796
4 | 2647774.7635 | 1211564.8911
5 | 2647782.8806 | 1211559.6367
6 | 2647767.004 | 1211569.914
7 | 2647686.0728 | 1210879.8506
8 | 2647691.3862 | 1210848.2755
9 | 2647681.1734 | 1210904.9257
10 | 2647665.8647 | 1210926.6945
11 | 2647446.8888 | 1210987.7193
12 | 2647734.961 | 1210576.1764
13 | 2647760.2125 | 1210558.7216
14 | 2647735.6052 | 1210628.0364
15 | 2647793.1517 | 1210540.3855
16 | 2647595.353 | 1210693.8679
17 | 2647805.9289 | 1210527.7804
18 | 2647812.1451 | 1210513.7174
19 | 2647702.0942 | 1211573.4331
20 | 2647726.6533 | 1211620.6989
21 | 2647610.2093 | 1211665.5287
22 | 2647545.3732 | 1211237.505
23 | 2647526.5104 | 1211258.8228
24 | 2647467.082 | 1210582.559
25 | 2647466.6412 | 1210578.696
26 | 2647425.7797 | 1210565.2446
27 | 2647692.3754 | 1210834.0041
28 | 2647114.7712 | 1211082.7816
29 | 2647131.4545 | 1211065.6314
30 | 2647128.1994 | 1211054.6795
31 | 2647263.5054 | 1211125.2676
32 | 2647124.3514 | 1211040.051
33 | 2647128.4781 | 1211025.3016
34 | 2647431.9356 | 1211203.6894
35 | 2647448.2608 | 1211205.0689
36 | 2647377.3873 | 1211097.8431
37 | 2647506.0923 | 1211275.0921
38 | 2647418.2493 | 1210977.144
39 | 2647535.1368 | 1211321.5395
40 | 2647570.887 | 1211333.1533
41 | 2647612.7219 | 1211313.141
42 | 2647617.7577 | 1211322.3762
43 | 2647621.1649 | 1211329.5145
44 | 2647732.0259 | 1211452.8632
45 | 2647714.9576 | 1211462.581
46 | 2647694.857 | 1211474.0252
47 | 2647684.5428 | 1211455.6574
48 | 2647703.7265 | 1211489.7393
49 | 2647707.8487 | 1211497.0425
50 | 2647727.1868 | 1211509.2593
51 | 2647668.7859 | 1211425.0754
52 | 2647633.3312 | 1211343.7908
53 | 2647612.7316 | 1211354.0236
54 | 2647641.2807 | 1211359.1078
55 | 2647606.984 | 1211356.8787
56 | 2647645.2214 | 1211368.8232
57 | 2647552.9272 | 1211379.4485
58 | 2647667.0094 | 1211421.6275
59 | 2647648.3658 | 1211452.6302
60 | 2647659.9772 | 1211405.2017
61 | 2647654.2363 | 1211391.0481
62 | 2647651.9036 | 1211385.2973
63 | 2647797.7813 | 1211541.5441
64 | 2647784.3541 | 1211521.1464
65 | 2647801.6803 | 1211547.4672
66 | 2647774.8335 | 1211506.6725
67 | 2647763.8695 | 1211534.2535
68 | 2647667.0094 | 1211421.6275

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98482 | -0.10593 | 0 | 0
1 | 0.98369 | -0.1139 | 0 | 0
2 | 0.98594 | -0.098044 | 0.0033908 | 0.00084983
3 | 0.98935 | -0.074053 | 0.00062826 | 0.00015746
4 | 0.97741 | -0.15868 | 0.0023718 | 0.00059444
5 | 0.97752 | -0.15791 | 0.016451 | 0.0041229
6 | 0.97734 | -0.15919 | 0 | 0
7 | 0.97407 | -0.18372 | 0 | 0
8 | 0.97382 | -0.18556 | 0.00022636 | 5.6731e-05
9 | 0.97427 | -0.18226 | 0.00057352 | 0.00014374
10 | 0.97451 | -0.18053 | 0.00061432 | 0.00015396
11 | 0.97669 | -0.16471 | 0 | 0
12 | 0.97152 | -0.20226 | 0.0002351 | 5.8921e-05
13 | 0.97153 | -0.20218 | 0.00092221 | 0.00023113
14 | 0.9717 | -0.20095 | 0.0017141 | 0.0004296
15 | 0.97151 | -0.20235 | 0 | 0
16 | 0.97245 | -0.19553 | 0.00022867 | 5.731e-05
17 | 0.9715 | -0.20243 | 0 | 0
18 | 0.97149 | -0.2025 | 0.00041594 | 0.00010425
19 | 0.97536 | -0.17346 | 0.004996 | 0.0012521
20 | 0.97575 | -0.17067 | 0 | 0
21 | 0.97571 | -0.17096 | 0.00021821 | 5.4688e-05
22 | 0.98883 | -0.078091 | 0.0010439 | 0.00026162
23 | 0.98888 | -0.077774 | 0 | 0
24 | 0.97204 | -0.19852 | 0.00046134 | 0.00011562
25 | 0.97203 | -0.19856 | 0.00087075 | 0.00021823
26 | 0.97201 | -0.19868 | 0.000206 | 5.1628e-05
27 | 0.97371 | -0.18634 | 8.2347e-05 | 2.0638e-05
28 | 0.97496 | -0.17701 | 0.0051759 | 0.0012972
29 | 0.97516 | -0.17561 | 0.00067366 | 0.00016883
30 | 0.97515 | -0.17567 | 0.00023255 | 5.8282e-05
31 | 0.97652 | -0.16584 | 0.0030248 | 0.00075809
32 | 0.97514 | -0.17573 | 0 | 0
33 | 0.97513 | -0.17578 | 0.00033314 | 8.3493e-05
34 | 0.98431 | -0.11013 | 0.00052888 | 0.00013255
35 | 0.98477 | -0.10684 | 0.0013854 | 0.00034722
36 | 0.97863 | -0.15071 | 0 | 0
37 | 0.98892 | -0.077451 | 0 | 0
38 | 0.97699 | -0.16256 | 0.0022488 | 0.0005636
39 | 0.99087 | -0.063715 | 0.0010115 | 0.0002535
40 | 0.99226 | -0.053952 | 0 | 0
41 | 0.99444 | -0.038741 | 0.0010037 | 0.00025156
42 | 0.99479 | -0.036256 | 0 | 0
43 | 0.99506 | -0.034388 | 0.00046125 | 0.0001156
44 | 0.99397 | -0.041836 | 0.0057623 | 0.0014442
45 | 0.99413 | -0.040692 | 0.0056209 | 0.0014087
46 | 0.99451 | -0.038034 | 0 | 0
47 | 0.99743 | -0.017727 | 0.0071846 | 0.0018006
48 | 0.99229 | -0.053439 | 0.0027319 | 0.00068468
49 | 0.9913 | -0.060389 | 0 | 0
50 | 0.99102 | -0.06233 | 0.0083103 | 0.0020828
51 | 1 | 0 | -0.16022 | -0.040215
52 | 0.99572 | -0.029767 | 0 | 0
53 | 0.99557 | -0.030851 | 0.0011863 | 0.00029733
54 | 0.99644 | -0.024771 | 0.00079877 | 0.00020019
55 | 0.99554 | -0.031077 | 0.0022256 | 0.00055779
56 | 0.99688 | -0.021677 | 0.0011942 | 0.00029931
57 | 0.99543 | -0.03184 | 0.0012602 | 0.00031584
58 | 0.9997 | -0.002109 | 0 | 0
59 | 0.99869 | -0.0091636 | 0.016781 | 0.0042057
60 | 0.99873 | -0.0088436 | 0.0028835 | 0.00072267
61 | 0.99796 | -0.014165 | 0.0016772 | 0.00042035
62 | 0.99767 | -0.016225 | 0.002555 | 0.00064033
63 | 0.97855 | -0.1505 | 0.018082 | 0.0045319
64 | 0.98005 | -0.13979 | 0 | 0
65 | 0.97831 | -0.15228 | 0 | 0
66 | 0.97971 | -0.14222 | 0.013524 | 0.0033894
67 | 0.98203 | -0.12574 | 0.013654 | 0.0034219
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0697 | 0.017516 | -0.069623 | -0.017486 | 7.7254e-05 | 2.9571e-05 | 0.10533 | 0.10533 | 0.10533 | 0.98482 | -0.10593 | 0.98369 | -0.1139 | 39.0114
1 | -0.0697 | -0.017516 | 0.069777 | 0.017545 | 7.6593e-05 | 2.9318e-05 | 0.10533 | 0.10533 | 0.10533 | 0.98482 | -0.10593 | 0.98594 | -0.098044 | 39.0114
2 | 0.069623 | 0.017486 | -0.069509 | -0.017443 | 0.00011443 | 4.3801e-05 | 0.10533 | 0.10533 | 0.10533 | 0.98369 | -0.1139 | 0.98203 | -0.12574 | 39.0114
3 | -0.073168 | -0.018395 | 0.073413 | 0.018489 | 0.00024537 | 9.3961e-05 | 0.11045 | 0.11045 | 0.11045 | 0.98594 | -0.098044 | 0.98935 | -0.074053 | 40.9068
4 | -0.074041 | -0.018647 | 0.074183 | 0.018701 | 0.0001417 | 5.4264e-05 | 0.11139 | 0.11139 | 0.11139 | 0.98935 | -0.074053 | 0.9913 | -0.060389 | 41.2567
5 | -0.0075966 | -0.0019003 | 0.0075974 | 0.0019005 | 8.0683e-07 | 1.8912e-07 | 0.011564 | 0.011564 | 0.011564 | 0.97741 | -0.15868 | 0.97752 | -0.15791 | 4.2829
6 | 0.0052248 | 0.0013059 | -0.0052244 | -0.0013059 | 3.6481e-07 | 2.4471e-08 | 0.0079529 | 0.007953 | 0.007953 | 0.97741 | -0.15868 | 0.97734 | -0.15919 | 2.9456
7 | -0.024048 | -0.0060235 | 0.024067 | 0.0060304 | 1.8725e-05 | 6.921e-06 | 0.036606 | 0.036606 | 0.036606 | 0.97752 | -0.15791 | 0.97831 | -0.15228 | 13.5576
8 | 0.0052244 | 0.0013059 | -0.0052162 | -0.0013053 | 8.2623e-06 | 5.5902e-07 | 0.007953 | 0.0079539 | 0.0079539 | 0.97734 | -0.15919 | 0.97575 | -0.17067 | 2.9459
9 | 0.0053745 | 0.0013388 | -0.0053731 | -0.0013386 | 1.3477e-06 | 1.1934e-07 | 0.0082073 | 0.0082074 | 0.0082074 | 0.97407 | -0.18372 | 0.97382 | -0.18556 | 3.0398
10 | -0.0053745 | -0.0013388 | 0.0053756 | 0.0013389 | 1.0745e-06 | 9.4986e-08 | 0.0082073 | 0.0082071 | 0.0082073 | 0.97407 | -0.18372 | 0.97427 | -0.18226 | 3.0397
11 | 0.0051468 | 0.0012819 | -0.0051462 | -0.0012819 | 5.517e-07 | 3.4233e-08 | 0.0078615 | 0.0078616 | 0.0078616 | 0.97382 | -0.18556 | 0.97371 | -0.18634 | 2.9117
12 | -0.0059491 | -0.0014826 | 0.0059505 | 0.0014828 | 1.4093e-06 | 2.0106e-07 | 0.0090831 | 0.009083 | 0.0090831 | 0.97427 | -0.18226 | 0.97451 | -0.18053 | 3.3641
13 | -0.0065648 | -0.0016368 | 0.0065791 | 0.0016394 | 1.4243e-05 | 2.6395e-06 | 0.010021 | 0.01002 | 0.010021 | 0.97451 | -0.18053 | 0.97669 | -0.16471 | 3.7115
14 | -0.0065791 | -0.0016394 | 0.006581 | 0.0016398 | 1.9328e-06 | 3.5717e-07 | 0.01002 | 0.01002 | 0.01002 | 0.97669 | -0.16471 | 0.97699 | -0.16256 | 3.7111
15 | -0.0002351 | -5.8921e-05 | 0.0002351 | 5.8542e-05 | 2.4827e-09 | -3.7916e-07 | 0.00036009 | 0.00035995 | 0.00036009 | 0.97152 | -0.20226 | 0.97153 | -0.20218 | 0.13337
16 | -0.0015733 | -0.00039304 | 0.0015735 | 0.00039223 | 2.6718e-07 | -8.11e-07 | 0.0024092 | 0.0024089 | 0.0024092 | 0.97153 | -0.20218 | 0.9717 | -0.20095 | 0.8923
17 | 0.00041596 | 0.00010337 | -0.00041595 | -0.00010384 | 9.5514e-09 | -4.6363e-07 | 0.00063678 | 0.00063695 | 0.00063695 | 0.97153 | -0.20218 | 0.97151 | -0.20235 | 0.23591
18 | -0.0032877 | -0.00082183 | 0.0032901 | 0.00082085 | 2.4494e-06 | -9.786e-07 | 0.0050338 | 0.0050331 | 0.0050338 | 0.9717 | -0.20095 | 0.97245 | -0.19553 | 1.8644
19 | 0.00041595 | 0.00010384 | -0.00041595 | -0.00010406 | 4.5382e-09 | -2.2019e-07 | 0.00063695 | 0.00063703 | 0.00063703 | 0.97151 | -0.20235 | 0.9715 | -0.20243 | 0.23594
20 | -0.0050575 | -0.0012609 | 0.0050639 | 0.0012612 | 6.3652e-06 | 3.3083e-07 | 0.0077365 | 0.0077357 | 0.0077365 | 0.97245 | -0.19553 | 0.97371 | -0.18634 | 2.8654
21 | 0.0015387 | 0.00038275 | -0.0015381 | -0.00038477 | 6.31e-07 | -2.0205e-06 | 0.0023535 | 0.0023543 | 0.0023543 | 0.97245 | -0.19553 | 0.97204 | -0.19852 | 0.87197
22 | 0.00041595 | 0.00010406 | -0.00041594 | -0.00010425 | 3.903e-09 | -1.8933e-07 | 0.00063703 | 0.0006371 | 0.0006371 | 0.9715 | -0.20243 | 0.97149 | -0.2025 | 0.23596
23 | -0.004996 | -0.0012521 | 0.0049979 | 0.0012522 | 1.9316e-06 | 7.7606e-08 | 0.0076219 | 0.0076217 | 0.0076219 | 0.97536 | -0.17346 | 0.97575 | -0.17067 | 2.8229
24 | 0.00021821 | 5.3132e-05 | -0.00021821 | -5.4688e-05 | 8.6079e-09 | -1.5552e-06 | 0.00033222 | 0.00033278 | 0.00033278 | 0.97575 | -0.17067 | 0.97571 | -0.17096 | 0.12325
25 | -0.0010439 | -0.00026162 | 0.0010439 | 0.00026125 | 4.5689e-08 | -3.6312e-07 | 0.0015708 | 0.0015707 | 0.0015708 | 0.98883 | -0.078091 | 0.98888 | -0.077774 | 0.58179
26 | -0.0010439 | -0.00026125 | 0.001044 | 0.00026089 | 4.6418e-08 | -3.6902e-07 | 0.0015707 | 0.0015706 | 0.0015707 | 0.98888 | -0.077774 | 0.98892 | -0.077451 | 0.58174
27 | 0.0010768 | 0.00026915 | -0.0010768 | -0.00026919 | 6.5898e-09 | -4.566e-08 | 0.0016481 | 0.0016481 | 0.0016481 | 0.97204 | -0.19852 | 0.97203 | -0.19856 | 0.6104
28 | 0.000206 | 5.0961e-05 | -0.000206 | -5.1628e-05 | 3.3452e-09 | -6.6742e-07 | 0.00031511 | 0.00031535 | 0.00031535 | 0.97203 | -0.19856 | 0.97201 | -0.19868 | 0.1168
29 | -0.0051759 | -0.0012972 | 0.0051769 | 0.0012973 | 1.0042e-06 | 6.4566e-08 | 0.0078996 | 0.0078995 | 0.0078996 | 0.97496 | -0.17701 | 0.97516 | -0.17561 | 2.9258
30 | 0.0005657 | 0.00014125 | -0.00056569 | -0.00014139 | 5.322e-09 | -1.408e-07 | 0.00086302 | 0.00086308 | 0.00086308 | 0.97516 | -0.17561 | 0.97515 | -0.17567 | 0.31966
31 | -0.0064163 | -0.0016074 | 0.006425 | 0.0016089 | 8.6659e-06 | 1.5229e-06 | 0.0097905 | 0.0097899 | 0.0097905 | 0.97516 | -0.17561 | 0.97652 | -0.16584 | 3.6261
32 | 0.00033315 | 8.3106e-05 | -0.00033314 | -8.3294e-05 | 2.4382e-09 | -1.8777e-07 | 0.00050822 | 0.00050829 | 0.00050829 | 0.97515 | -0.17567 | 0.97514 | -0.17573 | 0.18825
33 | -0.0094498 | -0.002367 | 0.0094696 | 0.0023727 | 1.98e-05 | 5.6966e-06 | 0.014399 | 0.014398 | 0.014399 | 0.97652 | -0.16584 | 0.97863 | -0.15071 | 5.333
34 | 0.00033314 | 8.3294e-05 | -0.00033314 | -8.3493e-05 | 2.5825e-09 | -1.9882e-07 | 0.00050829 | 0.00050836 | 0.00050836 | 0.97514 | -0.17573 | 0.97513 | -0.17578 | 0.18828
35 | -0.018946 | -0.0047494 | 0.018954 | 0.0047525 | 8.6533e-06 | 3.1132e-06 | 0.028641 | 0.028641 | 0.028641 | 0.98431 | -0.11013 | 0.98477 | -0.10684 | 10.6079
36 | 0.018417 | 0.0046169 | -0.018314 | -0.00458 | 0.00010298 | 3.6916e-05 | 0.027842 | 0.027843 | 0.027843 | 0.98431 | -0.11013 | 0.97863 | -0.15071 | 10.3121
37 | -0.02034 | -0.0050998 | 0.020423 | 0.0051299 | 8.3132e-05 | 3.0172e-05 | 0.030735 | 0.030734 | 0.030735 | 0.98477 | -0.10684 | 0.98892 | -0.077451 | 11.3832
38 | 0.0088442 | 0.0022073 | -0.0088298 | -0.0022034 | 1.4373e-05 | 3.9297e-06 | 0.013444 | 0.013445 | 0.013445 | 0.97863 | -0.15071 | 0.97699 | -0.16256 | 4.9796
39 | -0.021467 | -0.0053908 | 0.021508 | 0.0054058 | 4.1059e-05 | 1.4981e-05 | 0.032305 | 0.032304 | 0.032305 | 0.98892 | -0.077451 | 0.99087 | -0.063715 | 11.9647
40 | -0.022519 | -0.0056593 | 0.02255 | 0.0056705 | 3.0644e-05 | 1.1233e-05 | 0.033823 | 0.033823 | 0.033823 | 0.99087 | -0.063715 | 0.99226 | -0.053952 | 12.5271
41 | -0.02255 | -0.0056705 | 0.022598 | 0.0056881 | 4.7901e-05 | 1.7555e-05 | 0.033823 | 0.033823 | 0.033823 | 0.99226 | -0.053952 | 0.99444 | -0.038741 | 12.5271
42 | -0.023602 | -0.0059396 | 0.02361 | 0.0059427 | 8.1905e-06 | 3.0137e-06 | 0.035325 | 0.035325 | 0.035325 | 0.99444 | -0.038741 | 0.99479 | -0.036256 | 13.0832
43 | -0.02361 | -0.0059427 | 0.023616 | 0.0059449 | 6.1589e-06 | 2.2661e-06 | 0.035325 | 0.035325 | 0.035325 | 0.99479 | -0.036256 | 0.99506 | -0.034388 | 13.0832
44 | -0.024077 | -0.0060605 | 0.024093 | 0.0060663 | 1.5545e-05 | 5.7292e-06 | 0.036014 | 0.036014 | 0.036014 | 0.99506 | -0.034388 | 0.99572 | -0.029767 | 13.3386
45 | -0.0057623 | -0.0014442 | 0.0057632 | 0.0014443 | 9.1202e-07 | 9.616e-08 | 0.0086264 | 0.0086263 | 0.0086264 | 0.99397 | -0.041836 | 0.99413 | -0.040692 | 3.195
46 | -0.011384 | -0.002853 | 0.011388 | 0.0028543 | 4.1907e-06 | 1.3118e-06 | 0.01704 | 0.01704 | 0.01704 | 0.99413 | -0.040692 | 0.99451 | -0.038034 | 6.311
47 | -0.09688 | -0.024425 | 0.097157 | 0.024531 | 0.00027641 | 0.00010604 | 0.14501 | 0.14501 | 0.14501 | 0.99451 | -0.038034 | 0.99743 | -0.017727 | 53.7062
48 | 0.085492 | 0.02157 | -0.085308 | -0.0215 | 0.00018439 | 7.0684e-05 | 0.12797 | 0.12797 | 0.12797 | 0.99451 | -0.038034 | 0.99229 | -0.053439 | 47.3953
49 | -0.10434 | -0.026331 | 0.1046 | 0.02643 | 0.00026029 | 9.9212e-05 | 0.15573 | 0.15572 | 0.15573 | 0.99743 | -0.017727 | 1 | 0 | 28.838
50 | 0.082576 | 0.020815 | -0.082496 | -0.020784 | 8.0295e-05 | 3.0775e-05 | 0.12387 | 0.12387 | 0.12387 | 0.99229 | -0.053439 | 0.9913 | -0.060389 | 45.878
51 | 0.0083125 | 0.0020833 | -0.0083103 | -0.0020828 | 2.2335e-06 | 5.6274e-07 | 0.012478 | 0.012478 | 0.012478 | 0.9913 | -0.060389 | 0.99102 | -0.06233 | 4.6214
52 | 0.054816 | 0.013785 | -0.0548 | -0.013779 | 1.6109e-05 | 6.1447e-06 | 0.081583 | 0.081583 | 0.081583 | 1 | 0 | 0.9997 | -0.002109 | 30.2159
53 | 0.0046731 | 0.0011702 | -0.0046724 | -0.0011702 | 6.9992e-07 | -2.9937e-08 | 0.0069832 | 0.0069833 | 0.0069833 | 0.99572 | -0.029767 | 0.99557 | -0.030851 | 2.5864
54 | -0.028766 | -0.0072364 | 0.028786 | 0.0072439 | 2.0062e-05 | 7.4897e-06 | 0.042997 | 0.042997 | 0.042997 | 0.99572 | -0.029767 | 0.99644 | -0.024771 | 15.925
55 | 0.0034861 | 0.00087287 | -0.003486 | -0.00087291 | 1.0871e-07 | -4.1637e-08 | 0.0052102 | 0.0052102 | 0.0052102 | 0.99557 | -0.030851 | 0.99554 | -0.031077 | 1.9297
56 | -0.029585 | -0.0074441 | 0.029597 | 0.0074489 | 1.2775e-05 | 4.7769e-06 | 0.04419 | 0.04419 | 0.04419 | 0.99644 | -0.024771 | 0.99688 | -0.021677 | 16.3667
57 | 0.0012604 | 0.00031512 | -0.0012602 | -0.00031584 | 1.3281e-07 | -7.2871e-07 | 0.0018836 | 0.0018839 | 0.0018839 | 0.99554 | -0.031077 | 0.99543 | -0.03184 | 0.69772
58 | -0.030792 | -0.0077482 | 0.030815 | 0.007757 | 2.3446e-05 | 8.7856e-06 | 0.045973 | 0.045973 | 0.045973 | 0.99688 | -0.021677 | 0.99767 | -0.016225 | 17.027
59 | 0.016797 | 0.0042115 | -0.016781 | -0.0042057 | 1.6403e-05 | 5.7581e-06 | 0.025003 | 0.025003 | 0.025003 | 0.9997 | -0.002109 | 0.99869 | -0.0091636 | 9.2604
60 | 0.038002 | 0.0095673 | -0.037967 | -0.0095538 | 3.5717e-05 | 1.3503e-05 | 0.05658 | 0.05658 | 0.05658 | 0.9997 | -0.002109 | 0.99873 | -0.0088436 | 20.9557
61 | 0.035083 | 0.0088311 | -0.035057 | -0.0088213 | 2.6053e-05 | 9.8208e-06 | 0.052284 | 0.052284 | 0.052284 | 0.99873 | -0.0088436 | 0.99796 | -0.014165 | 19.3645
62 | 0.03338 | 0.0084009 | -0.03337 | -0.0083973 | 9.5975e-06 | 3.6103e-06 | 0.049783 | 0.049783 | 0.049783 | 0.99796 | -0.014165 | 0.99767 | -0.016225 | 18.4383
63 | -0.042155 | -0.010564 | 0.042218 | 0.010588 | 6.2615e-05 | 2.3776e-05 | 0.064102 | 0.064102 | 0.064102 | 0.97855 | -0.1505 | 0.98005 | -0.13979 | 23.7415
64 | 0.024073 | 0.0060326 | -0.024067 | -0.0060304 | 5.9292e-06 | 2.1914e-06 | 0.036606 | 0.036606 | 0.036606 | 0.97855 | -0.1505 | 0.97831 | -0.15228 | 13.5576
65 | 0.013528 | 0.0033909 | -0.013524 | -0.0033894 | 4.561e-06 | 1.536e-06 | 0.02054 | 0.02054 | 0.02054 | 0.98005 | -0.13979 | 0.97971 | -0.14222 | 7.6075
66 | -0.055746 | -0.013979 | 0.055855 | 0.014021 | 0.00010872 | 4.1508e-05 | 0.084642 | 0.084642 | 0.084642 | 0.98005 | -0.13979 | 0.98203 | -0.12574 | 31.3489

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16482 | 0.041369

## res_load
| p_mw | q_mvar
0 | 0.0033908 | 0.00084983
1 | 0.00062826 | 0.00015746
2 | 0.0023718 | 0.00059444
3 | 0.016451 | 0.0041229
4 | 0.00022636 | 5.6731e-05
5 | 0.00057352 | 0.00014374
6 | 0.00061432 | 0.00015396
7 | 0.0002351 | 5.8921e-05
8 | 0.00092221 | 0.00023113
9 | 0.0017141 | 0.0004296
10 | 0.00022867 | 5.731e-05
11 | 0.00041594 | 0.00010425
12 | 0.004996 | 0.0012521
13 | 0.00021821 | 5.4688e-05
14 | 0.0010439 | 0.00026162
15 | 0.00046134 | 0.00011562
16 | 0.00087075 | 0.00021823
17 | 0.000206 | 5.1628e-05
18 | 8.2347e-05 | 2.0638e-05
19 | 0.0051759 | 0.0012972
20 | 0.00067366 | 0.00016883
21 | 0.00023255 | 5.8282e-05
22 | 0.0030248 | 0.00075809
23 | 0.00033314 | 8.3493e-05
24 | 0.00052888 | 0.00013255
25 | 0.0013854 | 0.00034722
26 | 0.0022488 | 0.0005636
27 | 0.0010115 | 0.0002535
28 | 0.0010037 | 0.00025156
29 | 0.00046125 | 0.0001156
30 | 0.0057623 | 0.0014442
31 | 0.0056209 | 0.0014087
32 | 0.0071846 | 0.0018006
33 | 0.0027319 | 0.00068468
34 | 0.0083103 | 0.0020828
35 | 0.0046043 | 0.0011539
36 | 0.0011863 | 0.00029733
37 | 0.00079877 | 0.00020019
38 | 0.0022256 | 0.00055779
39 | 0.0011942 | 0.00029931
40 | 0.0012602 | 0.00031584
41 | 0.016781 | 0.0042057
42 | 0.0028835 | 0.00072267
43 | 0.0016772 | 0.00042035
44 | 0.002555 | 0.00064033
45 | 0.018082 | 0.0045319
46 | 0.013524 | 0.0033894
47 | 0.013654 | 0.0034219

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1