## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1107-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1107-17_0_3_node_25 | 0.4 | n |  | TRUE
2 | bus_LV_1107-17_0_3_node_24 | 0.4 | n |  | TRUE
3 | bus_LV_1107-17_0_3_node_45 | 0.4 | n |  | TRUE
4 | bus_LV_1107-17_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1107-17_0_3_node_1 | 0.4 | n |  | TRUE
6 | bus_LV_1107-17_0_3_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_1107-17_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_1107-17_0_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_1107-17_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1107-17_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_1107-17_0_3_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_1107-17_0_3_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_1107-17_0_3_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_1107-17_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1107-17_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1107-17_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1107-17_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1107-17_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1107-17_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1107-17_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1107-17_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1107-17_0_3_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_1107-17_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1107-17_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1107-17_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1107-17_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1107-17_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1107-17_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1107-17_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1107-17_0_3_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_1107-17_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1107-17_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1107-17_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1107-17_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1107-17_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_1107-17_0_3_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_1107-17_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1107-17_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1107-17_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1107-17_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1107-17_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1107-17_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1107-17_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1107-17_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1107-17_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_1107-17_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_MV_124_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1107-17_0_3_load_0 | 0 | 0.0033023 | 0.00082762 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1107-17_0_3_load_25 | 1 | 0.0082565 | 0.0020693 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1107-17_0_3_load_24 | 2 | 0.0044766 | 0.0011219 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1107-17_0_3_load_45 | 3 | 0.053701 | 0.013459 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1107-17_0_3_load_1 | 5 | 0.0017366 | 0.00043523 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1107-17_0_3_load_2 | 6 | 0.0010603 | 0.00026574 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1107-17_0_3_load_37 | 8 | 0.001036 | 0.00025965 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1107-17_0_3_load_35 | 10 | 0.0011602 | 0.00029077 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1107-17_0_3_load_38 | 11 | 0.0037598 | 0.00094229 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1107-17_0_3_load_39 | 12 | 0.00093392 | 0.00023406 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1107-17_0_3_load_5 | 13 | 0.0032507 | 0.00081469 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1107-17_0_3_load_6 | 14 | 0.0018249 | 0.00045737 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1107-17_0_3_load_8 | 16 | 0.0024107 | 0.00060419 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1107-17_0_3_load_20 | 19 | 0.017221 | 0.0043161 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1107-17_0_3_load_17 | 21 | 0.0096602 | 0.0024211 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1107-17_0_3_load_43 | 22 | 0.010518 | 0.002636 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1107-17_0_3_load_11 | 23 | 0.0043105 | 0.0010803 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1107-17_0_3_load_12 | 24 | 0.006905 | 0.0017305 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1107-17_0_3_load_14 | 26 | 0.0074048 | 0.0018558 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1107-17_0_3_load_16 | 28 | 0.0052031 | 0.001304 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1107-17_0_3_load_23 | 29 | 0.0079195 | 0.0019848 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1107-17_0_3_load_47 | 30 | 0.006265 | 0.0015702 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1107-17_0_3_load_19 | 31 | 0.0041659 | 0.0010441 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1107-17_0_3_load_30 | 32 | 0.0061483 | 0.0015409 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1107-17_0_3_load_22 | 33 | 0.0031127 | 0.0007801 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1107-17_0_3_load_29 | 34 | 0.0071853 | 0.0018008 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1107-17_0_3_load_44 | 35 | 0.017244 | 0.0043218 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1107-17_0_3_load_46 | 36 | 0.0030685 | 0.00076903 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1107-17_0_3_load_36 | 37 | 0.0014564 | 0.00036502 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1107-17_0_3_load_28 | 40 | 0.0038484 | 0.0009645 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1107-17_0_3_load_33 | 41 | 0.005031 | 0.0012609 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1107-17_0_3_load_34 | 43 | 0.00064774 | 0.00016234 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1107-17_0_3_load_42 | 44 | 0.011015 | 0.0027607 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1107-17_0_3_load_31 | 45 | 0.0031064 | 0.00077852 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1107-17_0_3_load_32 | 46 | 0.0033399 | 0.00083707 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1107-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.3529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1107-17_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0052582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1107-17_0_3_line_2 | NAYY 4x150 SE | 2 | 37 | 0.27848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1107-17_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.082763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1107-17_0_3_line_4 | NAYY 4x150 SE | 4 | 17 | 0.031858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1107-17_0_3_line_5 | NAYY 4x150 SE | 4 | 18 | 0.047575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1107-17_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.064814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1107-17_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.035201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1107-17_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.004956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1107-17_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.1265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1107-17_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0087671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1107-17_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.030185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1107-17_0_3_line_12 | NAYY 4x150 SE | 10 | 43 | 0.018333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1107-17_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.035787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1107-17_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.047004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1107-17_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.044782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1107-17_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.017368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1107-17_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.051357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1107-17_0_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.015101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_1107-17_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.098729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1107-17_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.018689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_1107-17_0_3_line_21 | NAYY 4x150 SE | 19 | 35 | 0.052791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_1107-17_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.024404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1107-17_0_3_line_23 | NAYY 4x150 SE | 21 | 31 | 0.024211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_1107-17_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.032252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1107-17_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.033963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1107-17_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.030686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1107-17_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.018575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1107-17_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.01424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_1107-17_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.029214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1107-17_0_3_line_30 | NAYY 4x150 SE | 27 | 30 | 0.014879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1107-17_0_3_line_31 | NAYY 4x150 SE | 27 | 31 | 0.052986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_1107-17_0_3_line_32 | NAYY 4x150 SE | 28 | 32 | 0.022517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_1107-17_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.0095189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1107-17_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.021635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_1107-17_0_3_line_35 | NAYY 4x150 SE | 33 | 36 | 0.01613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1107-17_0_3_line_36 | NAYY 4x150 SE | 34 | 45 | 0.029651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_1107-17_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.046782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1107-17_0_3_line_38 | NAYY 4x150 SE | 38 | 41 | 0.037169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1107-17_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.02531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1107-17_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.092002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1107-17_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.011678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_1107-17_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.0023192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1107-17_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.023453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_1107-17_0_3_line_44 | NAYY 4x150 SE | 44 | 46 | 0.018464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_1107-17_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.010827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1107-17_0_3_trafo_44 | 0.25 MVA 20/0.4 kV | 47 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2647359.4779 | 1212564.9302 | 2647621.7258 | 1212328.7919
1 | 2647359.4779 | 1212564.9302 | 2647362.9413 | 1212568.8867
2 | 2647478.804 | 1212822.1179 | 2647362.9413 | 1212568.8867
3 | 2647774.0033 | 1212704.4049 | 2647771.7948 | 1212702.2304 | 2647768.9708 | 1212700.0843 | 2647766.7461 | 1212698.9881 | 2647764.244 | 1212698.3788 | 2647761.6238 | 1212698.2911 | 2647758.9852 | 1212698.5924 | 2647732.8469 | 1212705.8654 | 2647728.2971 | 1212706.7184 | 2647724.6922 | 1212707.2232 | 2647721.3196 | 1212707.174 | 2647694.5024 | 1212703.9504
4 | 2647774.0033 | 1212704.4049 | 2647778.7049 | 1212702.6193 | 2647785.0449 | 1212701.147 | 2647792.6839 | 1212699.6739 | 2647793.4878 | 1212704.5944 | 2647794.4761 | 1212712.0845
5 | 2647759.4643 | 1212738.3864 | 2647756.2881 | 1212733.7249 | 2647753.1344 | 1212728.1631 | 2647752.2965 | 1212724.6432 | 2647752.2977 | 1212722.5975 | 2647752.7126 | 1212720.1216 | 2647753.4712 | 1212718.36 | 2647754.7808 | 1212716.0913 | 2647756.6449 | 1212713.8383 | 2647759.5059 | 1212711.3708 | 2647762.7198 | 1212709.4176 | 2647767.5411 | 1212706.9103 | 2647774.0033 | 1212704.4049
6 | 2647647.1416 | 1213056.6877 | 2647616.0698 | 1213047.2341 | 2647601.4737 | 1213040.0356 | 2647591.3561 | 1213027.5616
7 | 2647578.1765 | 1212995.1345 | 2647579.6577 | 1212999.9158 | 2647581.8782 | 1213005.3367 | 2647585.3453 | 1213015.4258 | 2647588.994 | 1213024.6493 | 2647591.3561 | 1213027.5616
8 | 2647576.4588 | 1212990.4847 | 2647578.1765 | 1212995.1345
9 | 2647536.9229 | 1212870.321 | 2647576.4588 | 1212990.4847
10 | 2647534.393 | 1212861.9269 | 2647536.9229 | 1212870.321
11 | 2647576.4588 | 1212990.4847 | 2647547.5744 | 1212999.2508
12 | 2647534.393 | 1212861.9269 | 2647532.1163 | 1212854.3733 | 2647529.059 | 1212844.3867
13 | 2647547.5744 | 1212999.2508 | 2647513.3298 | 1213009.6438
14 | 2647931.9356 | 1212668.4751 | 2647921.5142 | 1212671.9795 | 2647886.7019 | 1212681.1876
15 | 2647843.2424 | 1212691.9522 | 2647859.4676 | 1212688.3913 | 2647886.7019 | 1212681.1876
16 | 2647843.2424 | 1212691.9522 | 2647845.7483 | 1212709.138
17 | 2647794.4761 | 1212712.0845 | 2647845.7483 | 1212709.138
18 | 2647759.4643 | 1212738.3864 | 2647754.8954 | 1212741.6295 | 2647750.6981 | 1212744.0085 | 2647746.2946 | 1212745.5742
19 | 2647759.4643 | 1212738.3864 | 2647756.2881 | 1212733.7249 | 2647753.1344 | 1212728.1631 | 2647752.2965 | 1212724.6432 | 2647736.4733 | 1212734.956 | 2647731.3947 | 1212737.339 | 2647726.7114 | 1212738.7469 | 2647721.3877 | 1212739.4936 | 2647716.2575 | 1212739.775 | 2647709.8119 | 1212739.2676 | 2647673.5204 | 1212733.741
20 | 2647759.4643 | 1212738.3864 | 2647763.1531 | 1212741.6401 | 2647765.1171 | 1212743.0344 | 2647767.2122 | 1212744.1852 | 2647769.6346 | 1212745.2608 | 2647773.8045 | 1212746.2947 | 2647775.8068 | 1212746.5954
21 | 2647704.4083 | 1212764.2503 | 2647705.3856 | 1212754.1299 | 2647705.8044 | 1212753.0659 | 2647706.4786 | 1212752.3487 | 2647707.4699 | 1212751.8897 | 2647708.8251 | 1212751.5114 | 2647727.4678 | 1212749.6038 | 2647732.1922 | 1212748.7521 | 2647746.2946 | 1212745.5742
22 | 2647673.5204 | 1212733.741 | 2647672.7459 | 1212735.5915 | 2647669.8059 | 1212742.2497 | 2647669.1837 | 1212743.1119 | 2647668.1305 | 1212743.715 | 2647666.5956 | 1212743.7583 | 2647655.3763 | 1212742.3521
23 | 2647799.9611 | 1212748.1052 | 2647778.1068 | 1212746.9407 | 2647775.8068 | 1212746.5954
24 | 2647819.3206 | 1212802.9736 | 2647832.1558 | 1212800.294 | 2647850.6117 | 1212795.2211
25 | 2647785.9275 | 1212809.0733 | 2647792.5583 | 1212808.2704 | 2647802.8212 | 1212806.4181 | 2647819.3206 | 1212802.9736
26 | 2647879.7228 | 1212785.5501 | 2647868.9268 | 1212789.538 | 2647851.8063 | 1212794.8928 | 2647850.6117 | 1212795.2211
27 | 2647785.9275 | 1212809.0733 | 2647785.7629 | 1212805.9146 | 2647786.1477 | 1212803.3939 | 2647791.9525 | 1212791.9114
28 | 2647785.9275 | 1212809.0733 | 2647775.4238 | 1212809.7007 | 2647771.708 | 1212809.5729
29 | 2647906.7643 | 1212774.5155 | 2647888.5162 | 1212782.302 | 2647879.7228 | 1212785.5501
30 | 2647791.9525 | 1212791.9114 | 2647791.4245 | 1212789.5502 | 2647790.8869 | 1212787.4224 | 2647789.6837 | 1212784.9447 | 2647788.0551 | 1212782.4635 | 2647784.5612 | 1212779.5449
31 | 2647799.9611 | 1212748.1052 | 2647792.2277 | 1212769.8895 | 2647792.2402 | 1212771.1793 | 2647792.6125 | 1212772.1161 | 2647793.3065 | 1212772.7331 | 2647794.8675 | 1212773.2237 | 2647799.5301 | 1212774.3951 | 2647800.3088 | 1212774.8683 | 2647800.594 | 1212775.3041 | 2647800.6039 | 1212775.9602 | 2647791.9525 | 1212791.9114
32 | 2647771.708 | 1212809.5729 | 2647762.7863 | 1212809.2659 | 2647749.2948 | 1212807.6303
33 | 2647799.9611 | 1212748.1052 | 2647809.432 | 1212749.06
34 | 2647727.8168 | 1212805.0264 | 2647749.2948 | 1212807.6303
35 | 2647825.481 | 1212750.6779 | 2647809.432 | 1212749.06
36 | 2647727.8168 | 1212805.0264 | 2647698.3813 | 1212801.4578
37 | 2647522.7916 | 1212806.1928 | 2647478.804 | 1212822.1179
38 | 2647522.7916 | 1212806.1928 | 2647521.1436 | 1212818.5314 | 2647528.3801 | 1212842.1691
39 | 2647522.7916 | 1212806.1928 | 2647545.3253 | 1212794.5432
40 | 2647545.3253 | 1212794.5432 | 2647556.6721 | 1212794.8893 | 2647574.4906 | 1212792.4632 | 2647594.8776 | 1212791.8588 | 2647621.163 | 1212794.6367 | 2647636.6175 | 1212798.1066
41 | 2647647.3607 | 1212802.6839 | 2647636.6175 | 1212798.1066
42 | 2647528.3801 | 1212842.1691 | 2647529.059 | 1212844.3867
43 | 2647647.3607 | 1212802.6839 | 2647654.7829 | 1212797.907 | 2647661.9536 | 1212797.0415 | 2647669.3037 | 1212797.9326
44 | 2647687.6331 | 1212800.1548 | 2647669.3037 | 1212797.9326
45 | 2647687.6331 | 1212800.1548 | 2647698.3813 | 1212801.4578

## bus_geodata
| x | y | coords
0 | 2647621.7258 | 1212328.7919
1 | 2647359.4779 | 1212564.9302
2 | 2647362.9413 | 1212568.8867
3 | 2647694.5024 | 1212703.9504
4 | 2647774.0033 | 1212704.4049
5 | 2647647.1416 | 1213056.6877
6 | 2647591.3561 | 1213027.5616
7 | 2647578.1765 | 1212995.1345
8 | 2647536.9229 | 1212870.321
9 | 2647576.4588 | 1212990.4847
10 | 2647534.393 | 1212861.9269
11 | 2647547.5744 | 1212999.2508
12 | 2647513.3298 | 1213009.6438
13 | 2647886.7019 | 1212681.1876
14 | 2647931.9356 | 1212668.4751
15 | 2647843.2424 | 1212691.9522
16 | 2647845.7483 | 1212709.138
17 | 2647794.4761 | 1212712.0845
18 | 2647759.4643 | 1212738.3864
19 | 2647746.2946 | 1212745.5742
20 | 2647673.5204 | 1212733.741
21 | 2647775.8068 | 1212746.5954
22 | 2647655.3763 | 1212742.3521
23 | 2647819.3206 | 1212802.9736
24 | 2647850.6117 | 1212795.2211
25 | 2647785.9275 | 1212809.0733
26 | 2647879.7228 | 1212785.5501
27 | 2647791.9525 | 1212791.9114
28 | 2647771.708 | 1212809.5729
29 | 2647906.7643 | 1212774.5155
30 | 2647784.5612 | 1212779.5449
31 | 2647799.9611 | 1212748.1052
32 | 2647749.2948 | 1212807.6303
33 | 2647809.432 | 1212749.06
34 | 2647727.8168 | 1212805.0264
35 | 2647704.4083 | 1212764.2503
36 | 2647825.481 | 1212750.6779
37 | 2647478.804 | 1212822.1179
38 | 2647522.7916 | 1212806.1928
39 | 2647545.3253 | 1212794.5432
40 | 2647636.6175 | 1212798.1066
41 | 2647528.3801 | 1212842.1691
42 | 2647647.3607 | 1212802.6839
43 | 2647529.059 | 1212844.3867
44 | 2647669.3037 | 1212797.9326
45 | 2647698.3813 | 1212801.4578
46 | 2647687.6331 | 1212800.1548
47 | 2647759.4643 | 1212738.3864

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97004 | -0.21194 | 0.0033023 | 0.00082762
1 | 0.97175 | -0.19954 | 0.0082565 | 0.0020693
2 | 0.97184 | -0.19889 | 0.0044766 | 0.0011219
3 | 0.98243 | -0.12322 | 0.053701 | 0.013459
4 | 0.98888 | -0.077556 | 0 | 0
5 | 0.97665 | -0.16446 | 0.0017366 | 0.00043523
6 | 0.97681 | -0.16329 | 0.0010603 | 0.00026574
7 | 0.97696 | -0.16225 | 0 | 0
8 | 0.97836 | -0.15218 | 0.001036 | 0.00025965
9 | 0.97698 | -0.16211 | 0 | 0
10 | 0.97847 | -0.1514 | 0.0011602 | 0.00029077
11 | 0.97677 | -0.16359 | 0.0037598 | 0.00094229
12 | 0.97672 | -0.16394 | 0.00093392 | 0.00023406
13 | 0.98752 | -0.087164 | 0.0032507 | 0.00081469
14 | 0.9874 | -0.088043 | 0.0018249 | 0.00045737
15 | 0.98785 | -0.084836 | 0 | 0
16 | 0.98798 | -0.083933 | 0.0024107 | 0.00060419
17 | 0.98853 | -0.079997 | 0 | 0
18 | 0.9931 | -0.047959 | 0 | 0
19 | 0.99454 | -0.037915 | 0.017221 | 0.0043161
20 | 0.9916 | -0.05849 | 0 | 0
21 | 0.99196 | -0.055894 | 0.0096602 | 0.0024211
22 | 0.99123 | -0.061097 | 0.010518 | 0.002636
23 | 0.9857 | -0.099996 | 0.0043105 | 0.0010803
24 | 0.98466 | -0.10737 | 0.006905 | 0.0017305
25 | 0.98701 | -0.090746 | 0 | 0
26 | 0.98398 | -0.11222 | 0.0074048 | 0.0018558
27 | 0.9879 | -0.084445 | 0 | 0
28 | 0.98651 | -0.094291 | 0.0052031 | 0.001304
29 | 0.98365 | -0.1146 | 0.0079195 | 0.0019848
30 | 0.98777 | -0.085399 | 0.006265 | 0.0015702
31 | 0.99061 | -0.065407 | 0.0041659 | 0.0010441
32 | 0.98577 | -0.099503 | 0.0061483 | 0.0015409
33 | 0.99052 | -0.066006 | 0.0031127 | 0.0007801
34 | 0.98512 | -0.10406 | 0.0071853 | 0.0018008
35 | 1 | 0 | -0.21853 | -0.054973
36 | 0.99045 | -0.066509 | 0.0030685 | 0.00076903
37 | 0.97839 | -0.15189 | 0.0014564 | 0.00036502
38 | 0.97959 | -0.14334 | 0 | 0
39 | 0.98081 | -0.13467 | 0 | 0
40 | 0.98302 | -0.11898 | 0.0038484 | 0.0009645
41 | 0.97876 | -0.1493 | 0.005031 | 0.0012609
42 | 0.98323 | -0.1175 | 0 | 0
43 | 0.97873 | -0.14955 | 0.00064774 | 0.00016234
44 | 0.98365 | -0.11453 | 0.011015 | 0.0027607
45 | 0.98434 | -0.10959 | 0.0031064 | 0.00077852
46 | 0.98408 | -0.11149 | 0.0033399 | 0.00083707
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0033023 | -0.00082762 | 0.0033079 | 0.00082543 | 5.6487e-06 | -2.1916e-06 | 0.0050656 | 0.005064 | 0.0050656 | 0.97004 | -0.21194 | 0.97175 | -0.19954 | 1.8761
1 | -0.011564 | -0.0028947 | 0.011565 | 0.002895 | 1.0287e-06 | 3.3052e-07 | 0.017707 | 0.017707 | 0.017707 | 0.97175 | -0.19954 | 0.97184 | -0.19889 | 6.5581
2 | -0.016042 | -0.004017 | 0.016147 | 0.0040538 | 0.00010482 | 3.6842e-05 | 0.024561 | 0.02456 | 0.024561 | 0.97184 | -0.19889 | 0.97839 | -0.15189 | 9.0967
3 | -0.053701 | -0.013459 | 0.054042 | 0.013589 | 0.00034166 | 0.00013035 | 0.081337 | 0.081337 | 0.081337 | 0.98243 | -0.12322 | 0.98888 | -0.077556 | 30.1248
4 | 0.0074954 | 0.0018773 | -0.0074929 | -0.0018767 | 2.5287e-06 | 5.6402e-07 | 0.011278 | 0.011278 | 0.011278 | 0.98888 | -0.077556 | 0.98853 | -0.079997 | 4.1772
5 | -0.061538 | -0.015466 | 0.061792 | 0.015564 | 0.00025464 | 9.7324e-05 | 0.092615 | 0.092615 | 0.092615 | 0.98888 | -0.077556 | 0.9931 | -0.047959 | 34.3018
6 | -0.0017366 | -0.00043523 | 0.0017369 | 0.00043453 | 2.831e-07 | -7.0232e-07 | 0.0026459 | 0.0026456 | 0.0026459 | 0.97665 | -0.16446 | 0.97681 | -0.16329 | 0.97995
7 | -0.0027972 | -0.00070027 | 0.0027976 | 0.00069998 | 3.9875e-07 | -2.8734e-07 | 0.0042608 | 0.0042606 | 0.0042608 | 0.97681 | -0.16329 | 0.97696 | -0.16225 | 1.5781
8 | -0.0027976 | -0.00069998 | 0.0027976 | 0.00069994 | 5.6138e-08 | -4.0467e-08 | 0.0042606 | 0.0042606 | 0.0042606 | 0.97696 | -0.16225 | 0.97698 | -0.16211 | 1.578
9 | 0.0075026 | 0.0018782 | -0.0074924 | -0.0018759 | 1.0278e-05 | 2.3666e-06 | 0.01141 | 0.011411 | 0.011411 | 0.97836 | -0.15218 | 0.97698 | -0.16211 | 4.2262
10 | -0.0085387 | -0.0021379 | 0.0085396 | 0.0021381 | 9.2254e-07 | 2.4472e-07 | 0.012986 | 0.012986 | 0.012986 | 0.97836 | -0.15218 | 0.97847 | -0.1514 | 4.8096
11 | 0.0046947 | 0.0011759 | -0.0046938 | -0.0011759 | 9.63e-07 | -7.5203e-09 | 0.0071502 | 0.0071503 | 0.0071503 | 0.97698 | -0.16211 | 0.97677 | -0.16359 | 2.6483
12 | -0.0096998 | -0.0024289 | 0.0097023 | 0.0024296 | 2.489e-06 | 7.2697e-07 | 0.01475 | 0.01475 | 0.01475 | 0.97847 | -0.1514 | 0.97873 | -0.14955 | 5.4631
13 | 0.00093397 | 0.00023363 | -0.00093392 | -0.00023406 | 4.5202e-08 | -4.3053e-07 | 0.0014227 | 0.0014228 | 0.0014228 | 0.97677 | -0.16359 | 0.97672 | -0.16394 | 0.52697
14 | 0.0018252 | 0.00045686 | -0.0018249 | -0.00045737 | 2.2183e-07 | -5.1598e-07 | 0.00275 | 0.0027502 | 0.0027502 | 0.98752 | -0.087164 | 0.9874 | -0.088043 | 1.0186
15 | -0.0050758 | -0.0012715 | 0.0050775 | 0.0012716 | 1.6345e-06 | 5.5531e-08 | 0.0076481 | 0.0076479 | 0.0076481 | 0.98752 | -0.087164 | 0.98785 | -0.084836 | 2.8326
16 | -0.0050775 | -0.0012716 | 0.0050781 | 0.0012716 | 6.3388e-07 | 2.1425e-08 | 0.0076479 | 0.0076479 | 0.0076479 | 0.98785 | -0.084836 | 0.98798 | -0.083933 | 2.8326
17 | -0.0074888 | -0.0018758 | 0.0074929 | 0.0018767 | 4.0765e-06 | 9.0987e-07 | 0.011279 | 0.011278 | 0.011279 | 0.98798 | -0.083933 | 0.98853 | -0.079997 | 4.1773
18 | -0.19908 | -0.050108 | 0.19936 | 0.050215 | 0.00027962 | 0.00010696 | 0.29837 | 0.29837 | 0.29837 | 0.9931 | -0.047959 | 0.99454 | -0.037915 | 36.8352
19 | 0.010537 | 0.0026417 | -0.010521 | -0.0026371 | 1.5357e-05 | 4.631e-06 | 0.015788 | 0.015789 | 0.015789 | 0.9931 | -0.047959 | 0.9916 | -0.05849 | 5.8476
20 | 0.12675 | 0.031903 | -0.12661 | -0.03185 | 0.00014028 | 5.3228e-05 | 0.18996 | 0.18996 | 0.18996 | 0.9931 | -0.047959 | 0.99196 | -0.055894 | 23.4522
21 | -0.21658 | -0.054531 | 0.21773 | 0.054973 | 0.0011536 | 0.00044164 | 0.32413 | 0.32413 | 0.32413 | 0.99454 | -0.037915 | 1 | 0 | 40.0162
22 | 0.010521 | 0.0026371 | -0.010518 | -0.002636 | 3.7961e-06 | 1.1453e-06 | 0.015789 | 0.015789 | 0.015789 | 0.9916 | -0.05849 | 0.99123 | -0.061097 | 5.8477
23 | 0.11695 | 0.029429 | -0.11679 | -0.02937 | 0.00015506 | 5.8701e-05 | 0.17547 | 0.17547 | 0.17547 | 0.99196 | -0.055894 | 0.99061 | -0.065407 | 21.6632
24 | 0.022265 | 0.0055837 | -0.022242 | -0.0055754 | 2.2738e-05 | 8.3345e-06 | 0.033612 | 0.033612 | 0.033612 | 0.9857 | -0.099996 | 0.98466 | -0.10737 | 12.4491
25 | -0.026575 | -0.006664 | 0.026609 | 0.0066767 | 3.4111e-05 | 1.2686e-05 | 0.040119 | 0.040119 | 0.040119 | 0.9857 | -0.099996 | 0.98701 | -0.090746 | 14.8591
26 | 0.015337 | 0.0038448 | -0.015327 | -0.0038413 | 1.0287e-05 | 3.5664e-06 | 0.023178 | 0.023178 | 0.023178 | 0.98466 | -0.10737 | 0.98398 | -0.11222 | 8.5844
27 | -0.09981 | -0.025067 | 0.099897 | 0.0251 | 8.7502e-05 | 3.2942e-05 | 0.15049 | 0.15049 | 0.15049 | 0.98701 | -0.090746 | 0.9879 | -0.084445 | 18.5792
28 | 0.0732 | 0.018391 | -0.073164 | -0.018377 | 3.6084e-05 | 1.3333e-05 | 0.11037 | 0.11037 | 0.11037 | 0.98701 | -0.090746 | 0.98651 | -0.094291 | 13.6263
29 | 0.0079221 | 0.0019855 | -0.0079195 | -0.0019848 | 2.6164e-06 | 6.3535e-07 | 0.01198 | 0.01198 | 0.01198 | 0.98398 | -0.11222 | 0.98365 | -0.1146 | 4.4371
30 | 0.0062658 | 0.0015703 | -0.006265 | -0.0015702 | 8.27e-07 | 1.2759e-07 | 0.0094378 | 0.0094379 | 0.0094379 | 0.9879 | -0.084445 | 0.98777 | -0.085399 | 3.4955
31 | -0.10616 | -0.026671 | 0.10644 | 0.026777 | 0.00028189 | 0.00010638 | 0.15993 | 0.15993 | 0.15993 | 0.9879 | -0.084445 | 0.99061 | -0.065407 | 19.7444
32 | 0.067961 | 0.017073 | -0.067912 | -0.017055 | 4.9231e-05 | 1.8073e-05 | 0.10252 | 0.10252 | 0.10252 | 0.98651 | -0.094291 | 0.98577 | -0.099503 | 12.6574
33 | 0.0061819 | 0.0015491 | -0.0061813 | -0.001549 | 5.1217e-07 | 7.4454e-08 | 0.0092859 | 0.0092859 | 0.0092859 | 0.99061 | -0.065407 | 0.99052 | -0.066006 | 3.4392
34 | 0.061763 | 0.015514 | -0.061724 | -0.0155 | 3.9126e-05 | 1.4222e-05 | 0.093244 | 0.093244 | 0.093244 | 0.98577 | -0.099503 | 0.98512 | -0.10406 | 11.5116
35 | 0.0030687 | 0.00076891 | -0.0030685 | -0.00076903 | 2.139e-07 | -1.2534e-07 | 0.0046099 | 0.00461 | 0.00461 | 0.99052 | -0.066006 | 0.99045 | -0.066509 | 1.7074
36 | 0.054539 | 0.013699 | -0.054497 | -0.013684 | 4.1866e-05 | 1.4971e-05 | 0.082391 | 0.082391 | 0.082391 | 0.98512 | -0.10406 | 0.98434 | -0.10959 | 10.1718
37 | -0.017603 | -0.0044188 | 0.017624 | 0.0044263 | 2.0927e-05 | 7.4607e-06 | 0.026775 | 0.026775 | 0.026775 | 0.97839 | -0.15189 | 0.97959 | -0.14334 | 9.9166
38 | 0.015394 | 0.0038574 | -0.015381 | -0.0038529 | 1.2682e-05 | 4.4101e-06 | 0.023383 | 0.023384 | 0.023384 | 0.97959 | -0.14334 | 0.97876 | -0.1493 | 8.6606
39 | -0.033018 | -0.0082836 | 0.033058 | 0.0082986 | 3.9734e-05 | 1.4963e-05 | 0.050158 | 0.050158 | 0.050158 | 0.97959 | -0.14334 | 0.98081 | -0.13467 | 18.5771
40 | -0.033058 | -0.0082986 | 0.03313 | 0.0083241 | 7.2215e-05 | 2.5447e-05 | 0.050158 | 0.050157 | 0.050158 | 0.98081 | -0.13467 | 0.98302 | -0.11898 | 9.2885
41 | -0.036979 | -0.0092886 | 0.036986 | 0.009291 | 7.6125e-06 | 2.4836e-06 | 0.055983 | 0.055982 | 0.055983 | 0.98302 | -0.11898 | 0.98323 | -0.1175 | 6.9114
42 | 0.01035 | 0.0025921 | -0.01035 | -0.002592 | 3.5831e-07 | 1.0866e-07 | 0.015735 | 0.015735 | 0.015735 | 0.97876 | -0.1493 | 0.97873 | -0.14955 | 5.8278
43 | -0.036986 | -0.009291 | 0.037001 | 0.009296 | 1.5289e-05 | 4.9875e-06 | 0.055982 | 0.055982 | 0.055982 | 0.98323 | -0.1175 | 0.98365 | -0.11453 | 6.9114
44 | -0.048017 | -0.012057 | 0.048037 | 0.012064 | 2.0267e-05 | 7.0917e-06 | 0.072646 | 0.072645 | 0.072646 | 0.98365 | -0.11453 | 0.98408 | -0.11149 | 8.9686
45 | 0.051391 | 0.012906 | -0.051377 | -0.012901 | 1.3594e-05 | 4.8158e-06 | 0.077695 | 0.077696 | 0.077696 | 0.98434 | -0.10959 | 0.98408 | -0.11149 | 9.5921

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23578 | 0.059295

## res_load
| p_mw | q_mvar
0 | 0.0033023 | 0.00082762
1 | 0.0082565 | 0.0020693
2 | 0.0044766 | 0.0011219
3 | 0.053701 | 0.013459
4 | 0.0017366 | 0.00043523
5 | 0.0010603 | 0.00026574
6 | 0.001036 | 0.00025965
7 | 0.0011602 | 0.00029077
8 | 0.0037598 | 0.00094229
9 | 0.00093392 | 0.00023406
10 | 0.0032507 | 0.00081469
11 | 0.0018249 | 0.00045737
12 | 0.0024107 | 0.00060419
13 | 0.017221 | 0.0043161
14 | 0.0096602 | 0.0024211
15 | 0.010518 | 0.002636
16 | 0.0043105 | 0.0010803
17 | 0.006905 | 0.0017305
18 | 0.0074048 | 0.0018558
19 | 0.0052031 | 0.001304
20 | 0.0079195 | 0.0019848
21 | 0.006265 | 0.0015702
22 | 0.0041659 | 0.0010441
23 | 0.0061483 | 0.0015409
24 | 0.0031127 | 0.0007801
25 | 0.0071853 | 0.0018008
26 | 0.017244 | 0.0043218
27 | 0.0030685 | 0.00076903
28 | 0.0014564 | 0.00036502
29 | 0.0038484 | 0.0009645
30 | 0.005031 | 0.0012609
31 | 0.00064774 | 0.00016234
32 | 0.011015 | 0.0027607
33 | 0.0031064 | 0.00077852
34 | 0.0033399 | 0.00083707

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1