## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1123-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1123-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1123-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1123-11_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1123-11_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1123-11_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1123-11_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1123-11_0_4_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1123-11_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1123-11_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1123-11_0_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_1123-11_0_4_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_1123-11_0_4_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_1123-11_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1123-11_0_4_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_1123-11_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1123-11_0_4_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_1123-11_0_4_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_1123-11_0_4_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_1123-11_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1123-11_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1123-11_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_1123-11_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1123-11_0_4_node_7 | 0.4 | n |  | TRUE
24 | bus_LV_1123-11_0_4_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_1123-11_0_4_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_1123-11_0_4_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_1123-11_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1123-11_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1123-11_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1123-11_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1123-11_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1123-11_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1123-11_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_1123-11_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1123-11_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1123-11_0_4_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_1123-11_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_1123-11_0_4_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_1123-11_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_1123-11_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1123-11_0_4_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1123-11_0_4_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_1123-11_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1123-11_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_1123-11_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_1123-11_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_1123-11_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_1123-11_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_MV_130_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1123-11_0_4_load_0 | 0 | 0.0094017 | 0.0023563 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1123-11_0_4_load_4 | 3 | 0.0089841 | 0.0022516 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1123-11_0_4_load_19 | 8 | 0.010761 | 0.0026971 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1123-11_0_4_load_16 | 9 | 0.0051928 | 0.0013014 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1123-11_0_4_load_36 | 10 | 0.006037 | 0.001513 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1123-11_0_4_load_37 | 11 | 0.0082777 | 0.0020746 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1123-11_0_4_load_33 | 12 | 0.0068284 | 0.0017114 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1123-11_0_4_load_11 | 13 | 0.0014158 | 0.00035483 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1123-11_0_4_load_41 | 14 | 0.0048607 | 0.0012182 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1123-11_0_4_load_15 | 15 | 0.0053251 | 0.0013346 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1123-11_0_4_load_38 | 16 | 0.005505 | 0.0013797 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1123-11_0_4_load_42 | 17 | 0.0045573 | 0.0011422 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1123-11_0_4_load_30 | 18 | 0.01437 | 0.0036014 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1123-11_0_4_load_27 | 21 | 0.0021726 | 0.00054451 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1123-11_0_4_load_12 | 22 | 0.0015842 | 0.00039705 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1123-11_0_4_load_7 | 23 | 0.01198 | 0.0030025 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1123-11_0_4_load_8 | 24 | 0.0030943 | 0.00077551 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1123-11_0_4_load_9 | 25 | 0.0025563 | 0.00064067 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1123-11_0_4_load_10 | 26 | 0.0012495 | 0.00031315 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1123-11_0_4_load_20 | 27 | 0.012163 | 0.0030483 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1123-11_0_4_load_13 | 28 | 0.001221 | 0.000306 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1123-11_0_4_load_21 | 30 | 0.0017777 | 0.00044554 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1123-11_0_4_load_28 | 31 | 0.0041337 | 0.001036 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1123-11_0_4_load_18 | 32 | 0.0021911 | 0.00054914 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1123-11_0_4_load_17 | 33 | 0.0027722 | 0.00069478 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1123-11_0_4_load_22 | 34 | 0.0011149 | 0.00027941 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1123-11_0_4_load_24 | 35 | 0.0010005 | 0.00025074 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1123-11_0_4_load_45 | 36 | 0.011129 | 0.0027891 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1123-11_0_4_load_39 | 37 | 0.0070119 | 0.0017574 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1123-11_0_4_load_43 | 38 | 0.002753 | 0.00068996 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1123-11_0_4_load_44 | 39 | 0.0018121 | 0.00045415 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1123-11_0_4_load_46 | 40 | 0.0025954 | 0.00065047 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1123-11_0_4_load_47 | 41 | 0.0069543 | 0.0017429 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1123-11_0_4_load_48 | 42 | 0.0054078 | 0.0013553 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1123-11_0_4_load_40 | 43 | 0.0056683 | 0.0014206 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1123-11_0_4_load_29 | 44 | 0.0056521 | 0.0014165 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1123-11_0_4_load_31 | 45 | 0.0091575 | 0.0022951 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1123-11_0_4_load_32 | 46 | 0.0067355 | 0.0016881 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1123-11_0_4_load_34 | 47 | 0.0053853 | 0.0013497 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1123-11_0_4_load_35 | 48 | 0.0066832 | 0.001675 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1123-11_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.049497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1123-11_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0068407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1123-11_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1123-11_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.004837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1123-11_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.025395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1123-11_0_4_line_5 | NAYY 4x150 SE | 3 | 9 | 0.026863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1123-11_0_4_line_6 | NAYY 4x150 SE | 4 | 10 | 0.035532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1123-11_0_4_line_7 | NAYY 4x150 SE | 4 | 11 | 0.018611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1123-11_0_4_line_8 | NAYY 4x150 SE | 4 | 12 | 0.013048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1123-11_0_4_line_9 | NAYY 4x150 SE | 5 | 13 | 0.021227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1123-11_0_4_line_10 | NAYY 4x150 SE | 6 | 7 | 0.019868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1123-11_0_4_line_11 | NAYY 4x150 SE | 6 | 8 | 0.026938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1123-11_0_4_line_12 | NAYY 4x150 SE | 7 | 14 | 0.038619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1123-11_0_4_line_13 | NAYY 4x150 SE | 9 | 15 | 0.027122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1123-11_0_4_line_14 | NAYY 4x150 SE | 10 | 16 | 0.042353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1123-11_0_4_line_15 | NAYY 4x150 SE | 11 | 17 | 0.020709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1123-11_0_4_line_16 | NAYY 4x150 SE | 12 | 18 | 0.040395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1123-11_0_4_line_17 | NAYY 4x150 SE | 13 | 22 | 0.01277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1123-11_0_4_line_18 | NAYY 4x150 SE | 14 | 42 | 0.034179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1123-11_0_4_line_19 | NAYY 4x150 SE | 14 | 43 | 0.028912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1123-11_0_4_line_20 | NAYY 4x150 SE | 15 | 32 | 0.027167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1123-11_0_4_line_21 | NAYY 4x150 SE | 16 | 29 | 0.036053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1123-11_0_4_line_22 | NAYY 4x150 SE | 17 | 43 | 0.021104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1123-11_0_4_line_23 | NAYY 4x150 SE | 18 | 46 | 0.024642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1123-11_0_4_line_24 | NAYY 4x150 SE | 18 | 44 | 0.018441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1123-11_0_4_line_25 | NAYY 4x150 SE | 19 | 20 | 0.032036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1123-11_0_4_line_26 | NAYY 4x150 SE | 19 | 21 | 0.024545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1123-11_0_4_line_27 | NAYY 4x150 SE | 20 | 29 | 0.004027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1123-11_0_4_line_28 | NAYY 4x150 SE | 20 | 30 | 0.024505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1123-11_0_4_line_29 | NAYY 4x150 SE | 21 | 31 | 0.023476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1123-11_0_4_line_30 | NAYY 4x150 SE | 22 | 28 | 0.012255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1123-11_0_4_line_31 | NAYY 4x150 SE | 23 | 24 | 0.0070683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1123-11_0_4_line_32 | NAYY 4x150 SE | 23 | 25 | 0.0055131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1123-11_0_4_line_33 | NAYY 4x150 SE | 24 | 26 | 0.01228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1123-11_0_4_line_34 | NAYY 4x150 SE | 26 | 27 | 0.0079223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1123-11_0_4_line_35 | NAYY 4x150 SE | 27 | 28 | 0.0031653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1123-11_0_4_line_36 | NAYY 4x150 SE | 29 | 37 | 0.046181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1123-11_0_4_line_37 | NAYY 4x150 SE | 30 | 34 | 0.014197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1123-11_0_4_line_38 | NAYY 4x150 SE | 32 | 33 | 0.023784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1123-11_0_4_line_39 | NAYY 4x150 SE | 34 | 35 | 0.01777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1123-11_0_4_line_40 | NAYY 4x150 SE | 35 | 36 | 0.048467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1123-11_0_4_line_41 | NAYY 4x150 SE | 36 | 38 | 0.0097829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1123-11_0_4_line_42 | NAYY 4x150 SE | 37 | 41 | 0.019695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1123-11_0_4_line_43 | NAYY 4x150 SE | 38 | 39 | 0.026301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1123-11_0_4_line_44 | NAYY 4x150 SE | 39 | 40 | 0.00081419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1123-11_0_4_line_45 | NAYY 4x150 SE | 44 | 45 | 0.019428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1123-11_0_4_line_46 | NAYY 4x150 SE | 46 | 47 | 0.0095434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1123-11_0_4_line_47 | NAYY 4x150 SE | 47 | 48 | 0.020311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1123-11_0_4_trafo_2 | 0.25 MVA 20/0.4 kV | 49 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2640066.6227 | 1227885.21 | 2640077.5861 | 1227836.9422
1 | 2640079.1013 | 1227830.2714 | 2640077.5861 | 1227836.9422
2 | 2640066.6227 | 1227885.21 | 2640086.9117 | 1227887.7648
3 | 2640079.1013 | 1227830.2714 | 2640074.3099 | 1227829.5165
4 | 2640083.7629 | 1227805.3097 | 2640079.1013 | 1227830.2714
5 | 2640086.9117 | 1227887.7648 | 2640113.5648 | 1227891.1209
6 | 2640074.3099 | 1227829.5165 | 2640081.4679 | 1227794.7132
7 | 2640074.3099 | 1227829.5165 | 2640070.4643 | 1227847.726
8 | 2640074.3099 | 1227829.5165 | 2640061.4214 | 1227827.4808
9 | 2640083.7629 | 1227805.3097 | 2640104.8418 | 1227807.8157
10 | 2640058.5622 | 1227940.1005 | 2640055.6121 | 1227956.2349 | 2640052.2224 | 1227955.5117
11 | 2640058.5622 | 1227940.1005 | 2640085.3252 | 1227943.1663
12 | 2640052.2224 | 1227955.5117 | 2640057.7959 | 1227917.2966
13 | 2640140.4745 | 1227894.5094 | 2640113.5648 | 1227891.1209
14 | 2640089.6223 | 1227753.1547 | 2640086.2411 | 1227771.5057 | 2640081.4679 | 1227794.7132
15 | 2640070.4643 | 1227847.726 | 2640068.0405 | 1227859.2036 | 2640066.4308 | 1227868.0367
16 | 2640021.5208 | 1227821.1786 | 2640061.4214 | 1227827.4808
17 | 2640104.8418 | 1227807.8157 | 2640117.5227 | 1227809.3232
18 | 2640057.7959 | 1227917.2966 | 2640025.2254 | 1227906.9338
19 | 2640062.6474 | 1227888.7985 | 2640059.1653 | 1227907.907 | 2640057.7959 | 1227917.2966
20 | 2640140.4745 | 1227894.5094 | 2640148.2959 | 1227920.5261
21 | 2640095.5381 | 1227717.602 | 2640094.114 | 1227728.777 | 2640089.6223 | 1227753.1547
22 | 2640062.6474 | 1227888.7985 | 2640066.4308 | 1227868.0367
23 | 2640021.5208 | 1227821.1786 | 2640001.3635 | 1227817.9968 | 2639997.4723 | 1227816.3252
24 | 2640021.5208 | 1227821.1786 | 2640018.8299 | 1227839.4225
25 | 2640094.1938 | 1227749.5458 | 2640098.1005 | 1227728.6705 | 2640099.5593 | 1227717.9737
26 | 2640094.1938 | 1227749.5458 | 2640118.571 | 1227752.4094
27 | 2640099.5593 | 1227717.9737 | 2640095.5381 | 1227717.602
28 | 2640099.5593 | 1227717.9737 | 2640123.8363 | 1227721.3071
29 | 2640141.887 | 1227755.1483 | 2640118.571 | 1227752.4094
30 | 2640117.5227 | 1227809.3232 | 2640129.6917 | 1227810.77
31 | 2640159.9145 | 1227814.363 | 2640152.8957 | 1227813.5285
32 | 2640159.9145 | 1227814.363 | 2640165.3891 | 1227815.0138
33 | 2640140.7018 | 1227812.0789 | 2640152.8957 | 1227813.5285
34 | 2640132.8348 | 1227811.1436 | 2640140.7018 | 1227812.0789
35 | 2640132.8348 | 1227811.1436 | 2640129.6917 | 1227810.77
36 | 2640095.5381 | 1227717.602 | 2640080.771 | 1227716.2351 | 2640070.2008 | 1227716.1639 | 2640059.1486 | 1227717.8906 | 2640049.5705 | 1227717.3454
37 | 2640123.8363 | 1227721.3071 | 2640137.901 | 1227723.2382
38 | 2640148.2959 | 1227920.5261 | 2640145.9267 | 1227940.3667 | 2640144.1398 | 1227943.7232
39 | 2640155.5059 | 1227725.6554 | 2640137.901 | 1227723.2382
40 | 2640155.5059 | 1227725.6554 | 2640203.9259 | 1227723.5141
41 | 2640203.9259 | 1227723.5141 | 2640207.5472 | 1227714.4262
42 | 2640049.5705 | 1227717.3454 | 2640035.4474 | 1227716.5415 | 2640030.1 | 1227715.0602
43 | 2640207.5472 | 1227714.4262 | 2640217.2832 | 1227689.9933
44 | 2640217.2832 | 1227689.9933 | 2640217.5846 | 1227689.2369
45 | 2640015.995 | 1227858.6422 | 2640018.8299 | 1227839.4225
46 | 2639997.4723 | 1227816.3252 | 2639997.4723 | 1227816.3252 | 2639995.9797 | 1227812.9242 | 2639996.7434 | 1227807.1451
47 | 2639999.4046 | 1227787.0091 | 2639996.7434 | 1227807.1451

## bus_geodata
| x | y | coords
0 | 2640077.5861 | 1227836.9422
1 | 2640066.6227 | 1227885.21
2 | 2640079.1013 | 1227830.2714
3 | 2640086.9117 | 1227887.7648
4 | 2640074.3099 | 1227829.5165
5 | 2640083.7629 | 1227805.3097
6 | 2640058.5622 | 1227940.1005
7 | 2640052.2224 | 1227955.5117
8 | 2640085.3252 | 1227943.1663
9 | 2640113.5648 | 1227891.1209
10 | 2640081.4679 | 1227794.7132
11 | 2640070.4643 | 1227847.726
12 | 2640061.4214 | 1227827.4808
13 | 2640104.8418 | 1227807.8157
14 | 2640057.7959 | 1227917.2966
15 | 2640140.4745 | 1227894.5094
16 | 2640089.6223 | 1227753.1547
17 | 2640066.4308 | 1227868.0367
18 | 2640021.5208 | 1227821.1786
19 | 2640094.1938 | 1227749.5458
20 | 2640099.5593 | 1227717.9737
21 | 2640118.571 | 1227752.4094
22 | 2640117.5227 | 1227809.3232
23 | 2640159.9145 | 1227814.363
24 | 2640152.8957 | 1227813.5285
25 | 2640165.3891 | 1227815.0138
26 | 2640140.7018 | 1227812.0789
27 | 2640132.8348 | 1227811.1436
28 | 2640129.6917 | 1227810.77
29 | 2640095.5381 | 1227717.602
30 | 2640123.8363 | 1227721.3071
31 | 2640141.887 | 1227755.1483
32 | 2640148.2959 | 1227920.5261
33 | 2640144.1398 | 1227943.7232
34 | 2640137.901 | 1227723.2382
35 | 2640155.5059 | 1227725.6554
36 | 2640203.9259 | 1227723.5141
37 | 2640049.5705 | 1227717.3454
38 | 2640207.5472 | 1227714.4262
39 | 2640217.2832 | 1227689.9933
40 | 2640217.5846 | 1227689.2369
41 | 2640030.1 | 1227715.0602
42 | 2640025.2254 | 1227906.9338
43 | 2640062.6474 | 1227888.7985
44 | 2640018.8299 | 1227839.4225
45 | 2640015.995 | 1227858.6422
46 | 2639997.4723 | 1227816.3252
47 | 2639996.7434 | 1227807.1451
48 | 2639999.4046 | 1227787.0091
49 | 2640074.3099 | 1227829.5165

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99967 | -0.0023141 | 0.0094017 | 0.0023563
1 | 0.99794 | -0.014436 | 0 | 0
2 | 1 | 0 | -0.21935 | -0.054905
3 | 0.99722 | -0.019456 | 0.0089841 | 0.0022516
4 | 0.99949 | -0.0035842 | 0 | 0
5 | 0.99872 | -0.0089515 | 0 | 0
6 | 0.99493 | -0.035556 | 0 | 0
7 | 0.99523 | -0.033401 | 0 | 0
8 | 0.99451 | -0.038481 | 0.010761 | 0.0026971
9 | 0.99663 | -0.023635 | 0.0051928 | 0.0013014
10 | 0.99673 | -0.022819 | 0.006037 | 0.001513
11 | 0.99843 | -0.010946 | 0.0082777 | 0.0020746
12 | 0.99846 | -0.010739 | 0.0068284 | 0.0017114
13 | 0.99765 | -0.016451 | 0.0014158 | 0.00035483
14 | 0.99583 | -0.029213 | 0.0048607 | 0.0012182
15 | 0.99623 | -0.026441 | 0.0053251 | 0.0013346
16 | 0.9938 | -0.043299 | 0.005505 | 0.0013797
17 | 0.99751 | -0.017436 | 0.0045573 | 0.0011422
18 | 0.99569 | -0.030201 | 0.01437 | 0.0036014
19 | 0.99114 | -0.062031 | 0 | 0
20 | 0.99143 | -0.059977 | 0 | 0
21 | 0.99092 | -0.063605 | 0.0021726 | 0.00054451
22 | 0.99703 | -0.020789 | 0.0015842 | 0.00039705
23 | 0.99565 | -0.030466 | 0.01198 | 0.0030025
24 | 0.9958 | -0.029432 | 0.0030943 | 0.00077551
25 | 0.99563 | -0.030608 | 0.0025563 | 0.00064067
26 | 0.99611 | -0.027253 | 0.0012495 | 0.00031315
27 | 0.99632 | -0.025749 | 0.012163 | 0.0030483
28 | 0.99646 | -0.024761 | 0.001221 | 0.000306
29 | 0.9916 | -0.058812 | 0 | 0
30 | 0.99065 | -0.065504 | 0.0017777 | 0.00044554
31 | 0.99078 | -0.064592 | 0.0041337 | 0.001036
32 | 0.99603 | -0.027798 | 0.0021911 | 0.00054914
33 | 0.99594 | -0.028462 | 0.0027722 | 0.00069478
34 | 0.99023 | -0.068452 | 0.0011149 | 0.00027941
35 | 0.98974 | -0.071945 | 0.0010005 | 0.00025074
36 | 0.98846 | -0.08099 | 0.011129 | 0.0027891
37 | 0.99067 | -0.065366 | 0.0070119 | 0.0017574
38 | 0.98836 | -0.081706 | 0.002753 | 0.00068996
39 | 0.98819 | -0.082891 | 0.0018121 | 0.00045415
40 | 0.98819 | -0.082913 | 0.0025954 | 0.00065047
41 | 0.99047 | -0.066759 | 0.0069543 | 0.0017429
42 | 0.99556 | -0.031074 | 0.0054078 | 0.0013553
43 | 0.9967 | -0.023095 | 0.0056683 | 0.0014206
44 | 0.99529 | -0.032952 | 0.0056521 | 0.0014165
45 | 0.99504 | -0.034745 | 0.0091575 | 0.0022951
46 | 0.99502 | -0.03487 | 0.0067355 | 0.0016881
47 | 0.99486 | -0.036032 | 0.0053853 | 0.0013497
48 | 0.99466 | -0.037401 | 0.0066832 | 0.001675
49 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.024538 | 0.0061572 | -0.024497 | -0.006142 | 4.121e-05 | 1.5202e-05 | 0.036527 | 0.036527 | 0.036527 | 0.99967 | -0.0023141 | 0.99794 | -0.014436 | 13.5287
1 | -0.033939 | -0.0085134 | 0.03395 | 0.0085175 | 1.0895e-05 | 4.1008e-06 | 0.050522 | 0.050522 | 0.050522 | 0.99967 | -0.0023141 | 1 | 0 | 18.7118
2 | 0.024497 | 0.006142 | -0.02448 | -0.0061357 | 1.7026e-05 | 6.2813e-06 | 0.036527 | 0.036528 | 0.036528 | 0.99794 | -0.014436 | 0.99722 | -0.019456 | 13.5287
3 | 0.1492 | 0.037499 | -0.14913 | -0.037471 | 7.4412e-05 | 2.8493e-05 | 0.22205 | 0.22205 | 0.22205 | 1 | 0 | 0.99949 | -0.0035842 | 41.1209
4 | 0.035399 | 0.0088884 | -0.035355 | -0.0088718 | 4.3976e-05 | 1.6581e-05 | 0.05268 | 0.05268 | 0.05268 | 1 | 0 | 0.99872 | -0.0089515 | 19.511
5 | 0.015495 | 0.003884 | -0.015486 | -0.0038809 | 8.9617e-06 | 3.0966e-06 | 0.023122 | 0.023122 | 0.023122 | 0.99722 | -0.019456 | 0.99663 | -0.023635 | 8.5637
6 | 0.054453 | 0.013703 | -0.054307 | -0.013648 | 0.00014579 | 5.5608e-05 | 0.081088 | 0.081089 | 0.081089 | 0.99949 | -0.0035842 | 0.99673 | -0.022819 | 30.0328
7 | 0.039656 | 0.0099524 | -0.039616 | -0.0099371 | 4.0486e-05 | 1.5328e-05 | 0.059044 | 0.059044 | 0.059044 | 0.99949 | -0.0035842 | 0.99843 | -0.010946 | 21.8682
8 | 0.055019 | 0.013815 | -0.054965 | -0.013794 | 5.4642e-05 | 2.0845e-05 | 0.081921 | 0.081921 | 0.081921 | 0.99949 | -0.0035842 | 0.99846 | -0.010739 | 30.341
9 | 0.035355 | 0.0088718 | -0.035318 | -0.0088579 | 3.6759e-05 | 1.3861e-05 | 0.05268 | 0.05268 | 0.05268 | 0.99872 | -0.0089515 | 0.99765 | -0.016451 | 19.511
10 | -0.010766 | -0.0026984 | 0.010769 | 0.0026994 | 3.2141e-06 | 9.7811e-07 | 0.016101 | 0.016101 | 0.016101 | 0.99493 | -0.035556 | 0.99523 | -0.033401 | 5.9635
11 | 0.010766 | 0.0026984 | -0.010761 | -0.0026971 | 4.3579e-06 | 1.3264e-06 | 0.016101 | 0.016102 | 0.016102 | 0.99493 | -0.035556 | 0.99451 | -0.038481 | 5.9635
12 | -0.010769 | -0.0026994 | 0.010775 | 0.0027013 | 6.2475e-06 | 1.9008e-06 | 0.016101 | 0.016101 | 0.016101 | 0.99523 | -0.033401 | 0.99583 | -0.029213 | 5.9635
13 | 0.010294 | 0.0025795 | -0.01029 | -0.0025783 | 3.9975e-06 | 1.1842e-06 | 0.015369 | 0.015369 | 0.015369 | 0.99663 | -0.023635 | 0.99623 | -0.026441 | 5.6922
14 | 0.04827 | 0.012134 | -0.048133 | -0.012082 | 0.00013729 | 5.2255e-05 | 0.072076 | 0.072076 | 0.072076 | 0.99673 | -0.022819 | 0.9938 | -0.043299 | 26.6949
15 | 0.031338 | 0.0078625 | -0.03131 | -0.007852 | 2.8192e-05 | 1.0572e-05 | 0.046707 | 0.046707 | 0.046707 | 0.99843 | -0.010946 | 0.99751 | -0.017436 | 17.299
16 | 0.048136 | 0.012083 | -0.048006 | -0.012033 | 0.00012975 | 4.9375e-05 | 0.071744 | 0.071745 | 0.071745 | 0.99846 | -0.010739 | 0.99569 | -0.030201 | 26.5721
17 | 0.033902 | 0.0085031 | -0.033882 | -0.0084954 | 2.0377e-05 | 7.6705e-06 | 0.050568 | 0.050568 | 0.050568 | 0.99765 | -0.016451 | 0.99703 | -0.020789 | 18.7289
18 | 0.0054092 | 0.0013554 | -0.0054078 | -0.0013553 | 1.3933e-06 | 9.1346e-08 | 0.0080826 | 0.0080828 | 0.0080828 | 0.99583 | -0.029213 | 0.99556 | -0.031074 | 2.9936
19 | -0.021045 | -0.0052749 | 0.021063 | 0.0052814 | 1.7841e-05 | 6.4854e-06 | 0.031447 | 0.031447 | 0.031447 | 0.99583 | -0.029213 | 0.9967 | -0.023095 | 11.647
20 | 0.0049645 | 0.0012437 | -0.0049636 | -0.0012437 | 9.3209e-07 | 4.8392e-09 | 0.007415 | 0.0074152 | 0.0074152 | 0.99623 | -0.026441 | 0.99603 | -0.027798 | 2.7464
21 | 0.042628 | 0.010703 | -0.042536 | -0.010668 | 9.167e-05 | 3.4792e-05 | 0.063833 | 0.063834 | 0.063834 | 0.9938 | -0.043299 | 0.9916 | -0.058812 | 23.6421
22 | 0.026752 | 0.0067098 | -0.026731 | -0.006702 | 2.0974e-05 | 7.7918e-06 | 0.039909 | 0.039909 | 0.039909 | 0.99751 | -0.017436 | 0.9967 | -0.023095 | 14.7812
23 | 0.018819 | 0.0047179 | -0.018807 | -0.0047135 | 1.2163e-05 | 4.3579e-06 | 0.028125 | 0.028125 | 0.028125 | 0.99569 | -0.030201 | 0.99502 | -0.03487 | 10.4168
24 | 0.014817 | 0.0037142 | -0.014812 | -0.0037123 | 5.6429e-06 | 1.9306e-06 | 0.022144 | 0.022144 | 0.022144 | 0.99569 | -0.030201 | 0.99529 | -0.032952 | 8.2017
25 | -0.0063082 | -0.0015806 | 0.00631 | 0.0015809 | 1.7929e-06 | 2.7659e-07 | 0.0094705 | 0.0094704 | 0.0094705 | 0.99114 | -0.062031 | 0.99143 | -0.059977 | 3.5076
26 | 0.0063082 | 0.0015806 | -0.0063068 | -0.0015804 | 1.3737e-06 | 2.1209e-07 | 0.0094705 | 0.0094706 | 0.0094706 | 0.99114 | -0.062031 | 0.99092 | -0.063605 | 3.5076
27 | -0.028551 | -0.0071612 | 0.028556 | 0.0071629 | 4.6148e-06 | 1.723e-06 | 0.042854 | 0.042854 | 0.042854 | 0.99143 | -0.059977 | 0.9916 | -0.058812 | 15.8719
28 | 0.022241 | 0.0055803 | -0.022224 | -0.0055741 | 1.7041e-05 | 6.2386e-06 | 0.033384 | 0.033384 | 0.033384 | 0.99143 | -0.059977 | 0.99065 | -0.065504 | 12.3644
29 | 0.0041342 | 0.0010359 | -0.0041337 | -0.001036 | 5.646e-07 | -8.5229e-08 | 0.0062081 | 0.0062082 | 0.0062082 | 0.99092 | -0.063605 | 0.99078 | -0.064592 | 2.2993
30 | 0.032297 | 0.0080984 | -0.03228 | -0.0080917 | 1.7768e-05 | 6.6743e-06 | 0.048204 | 0.048204 | 0.048204 | 0.99703 | -0.020789 | 0.99646 | -0.024761 | 17.8533
31 | -0.014536 | -0.0036431 | 0.014538 | 0.0036438 | 2.0816e-06 | 7.0869e-07 | 0.021725 | 0.021725 | 0.021725 | 0.99565 | -0.030466 | 0.9958 | -0.029432 | 8.0462
32 | 0.0025563 | 0.00064062 | -0.0025563 | -0.00064067 | 5.0214e-08 | -5.2386e-08 | 0.0038205 | 0.0038205 | 0.0038205 | 0.99565 | -0.030466 | 0.99563 | -0.030608 | 1.415
33 | -0.017633 | -0.0044193 | 0.017638 | 0.0044212 | 5.3197e-06 | 1.8862e-06 | 0.026349 | 0.026348 | 0.026349 | 0.9958 | -0.029432 | 0.99611 | -0.027253 | 9.7587
34 | -0.018888 | -0.0047343 | 0.018891 | 0.0047357 | 3.9355e-06 | 1.4105e-06 | 0.028215 | 0.028215 | 0.028215 | 0.99611 | -0.027253 | 0.99632 | -0.025749 | 10.45
35 | -0.031054 | -0.0077841 | 0.031059 | 0.0077857 | 4.2488e-06 | 1.5929e-06 | 0.046381 | 0.046381 | 0.046381 | 0.99632 | -0.025749 | 0.99646 | -0.024761 | 17.178
36 | 0.01398 | 0.0035048 | -0.013968 | -0.0035005 | 1.2684e-05 | 4.2831e-06 | 0.02098 | 0.02098 | 0.02098 | 0.9916 | -0.058812 | 0.99067 | -0.065366 | 7.7703
37 | 0.020447 | 0.0051285 | -0.020438 | -0.0051255 | 8.3566e-06 | 3.0314e-06 | 0.030714 | 0.030714 | 0.030714 | 0.99065 | -0.065504 | 0.99023 | -0.068452 | 11.3754
38 | 0.0027725 | 0.00069457 | -0.0027722 | -0.00069478 | 2.546e-07 | -2.1161e-07 | 0.0041418 | 0.0041419 | 0.0041419 | 0.99603 | -0.027798 | 0.99594 | -0.028462 | 1.534
39 | 0.019323 | 0.0048461 | -0.019314 | -0.0048427 | 9.3501e-06 | 3.3677e-06 | 0.029038 | 0.029038 | 0.029038 | 0.99023 | -0.068452 | 0.98974 | -0.071945 | 10.755
40 | 0.018314 | 0.004592 | -0.018291 | -0.0045838 | 2.2929e-05 | 8.1968e-06 | 0.027534 | 0.027534 | 0.027534 | 0.98974 | -0.071945 | 0.98846 | -0.08099 | 10.198
41 | 0.0071619 | 0.0017947 | -0.0071612 | -0.0017945 | 7.0958e-07 | 1.4753e-07 | 0.010781 | 0.010781 | 0.010781 | 0.98846 | -0.08099 | 0.98836 | -0.081706 | 3.9931
42 | 0.0069557 | 0.0017432 | -0.0069543 | -0.0017429 | 1.3414e-06 | 2.6241e-07 | 0.010448 | 0.010448 | 0.010448 | 0.99067 | -0.065366 | 0.99047 | -0.066759 | 3.8695
43 | 0.0044082 | 0.0011046 | -0.0044075 | -0.0011046 | 7.2288e-07 | -5.8976e-08 | 0.0066367 | 0.0066368 | 0.0066368 | 0.98836 | -0.081706 | 0.98819 | -0.082891 | 2.4581
44 | 0.0025954 | 0.00065046 | -0.0025954 | -0.00065047 | 7.7598e-09 | -7.4462e-09 | 0.0039082 | 0.0039082 | 0.0039082 | 0.98819 | -0.082891 | 0.98819 | -0.082913 | 1.4475
45 | 0.0091598 | 0.0022957 | -0.0091575 | -0.0022951 | 2.2735e-06 | 6.2199e-07 | 0.013694 | 0.013694 | 0.013694 | 0.99529 | -0.032952 | 0.99504 | -0.034745 | 5.072
46 | 0.012072 | 0.0030255 | -0.01207 | -0.0030249 | 1.9408e-06 | 6.2251e-07 | 0.018053 | 0.018053 | 0.018053 | 0.99502 | -0.03487 | 0.99486 | -0.036032 | 6.6862
47 | 0.0066844 | 0.0016752 | -0.0066832 | -0.001675 | 1.2669e-06 | 2.2359e-07 | 0.0099979 | 0.009998 | 0.009998 | 0.99486 | -0.036032 | 0.99466 | -0.037401 | 3.703

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21935 | 0.054905

## res_load
| p_mw | q_mvar
0 | 0.0094017 | 0.0023563
1 | 0.0089841 | 0.0022516
2 | 0.010761 | 0.0026971
3 | 0.0051928 | 0.0013014
4 | 0.006037 | 0.001513
5 | 0.0082777 | 0.0020746
6 | 0.0068284 | 0.0017114
7 | 0.0014158 | 0.00035483
8 | 0.0048607 | 0.0012182
9 | 0.0053251 | 0.0013346
10 | 0.005505 | 0.0013797
11 | 0.0045573 | 0.0011422
12 | 0.01437 | 0.0036014
13 | 0.0021726 | 0.00054451
14 | 0.0015842 | 0.00039705
15 | 0.01198 | 0.0030025
16 | 0.0030943 | 0.00077551
17 | 0.0025563 | 0.00064067
18 | 0.0012495 | 0.00031315
19 | 0.012163 | 0.0030483
20 | 0.001221 | 0.000306
21 | 0.0017777 | 0.00044554
22 | 0.0041337 | 0.001036
23 | 0.0021911 | 0.00054914
24 | 0.0027722 | 0.00069478
25 | 0.0011149 | 0.00027941
26 | 0.0010005 | 0.00025074
27 | 0.011129 | 0.0027891
28 | 0.0070119 | 0.0017574
29 | 0.002753 | 0.00068996
30 | 0.0018121 | 0.00045415
31 | 0.0025954 | 0.00065047
32 | 0.0069543 | 0.0017429
33 | 0.0054078 | 0.0013553
34 | 0.0056683 | 0.0014206
35 | 0.0056521 | 0.0014165
36 | 0.0091575 | 0.0022951
37 | 0.0067355 | 0.0016881
38 | 0.0053853 | 0.0013497
39 | 0.0066832 | 0.001675

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1