## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1123-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1123-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1123-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1123-12_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1123-12_0_3_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_1123-12_0_3_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_1123-12_0_3_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_1123-12_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_1123-12_0_3_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_1123-12_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1123-12_0_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_1123-12_0_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_1123-12_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1123-12_0_3_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_1123-12_0_3_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_1123-12_0_3_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_1123-12_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1123-12_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1123-12_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1123-12_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1123-12_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1123-12_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1123-12_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1123-12_0_3_node_5 | 0.4 | n |  | TRUE
24 | bus_LV_1123-12_0_3_node_6 | 0.4 | n |  | TRUE
25 | bus_LV_1123-12_0_3_node_7 | 0.4 | n |  | TRUE
26 | bus_LV_1123-12_0_3_node_8 | 0.4 | n |  | TRUE
27 | bus_LV_1123-12_0_3_node_10 | 0.4 | n |  | TRUE
28 | bus_LV_1123-12_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1123-12_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1123-12_0_3_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1123-12_0_3_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_1123-12_0_3_node_12 | 0.4 | n |  | TRUE
33 | bus_LV_1123-12_0_3_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_1123-12_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1123-12_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1123-12_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1123-12_0_3_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_1123-12_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1123-12_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1123-12_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_MV_130_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1123-12_0_3_load_0 | 0 | 0.016444 | 0.0041213 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1123-12_0_3_load_1 | 1 | 0.015769 | 0.0039521 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1123-12_0_3_load_2 | 2 | 0.025228 | 0.0063227 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1123-12_0_3_load_4 | 3 | 0.010095 | 0.0025299 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1123-12_0_3_load_40 | 6 | 0.0014492 | 0.00036319 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1123-12_0_3_load_34 | 8 | 0.0031206 | 0.00078209 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1123-12_0_3_load_13 | 9 | 0.0023861 | 0.00059801 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1123-12_0_3_load_35 | 11 | 0.0032957 | 0.00082599 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1123-12_0_3_load_37 | 13 | 0.0012042 | 0.00030181 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1123-12_0_3_load_41 | 14 | 0.0032122 | 0.00080506 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1123-12_0_3_load_17 | 18 | 0.0019458 | 0.00048766 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1123-12_0_3_load_19 | 19 | 0.0035339 | 0.00088568 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1123-12_0_3_load_16 | 20 | 0.0029216 | 0.00073223 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1123-12_0_3_load_26 | 21 | 0.017692 | 0.0044339 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1123-12_0_3_load_27 | 22 | 0.0066825 | 0.0016748 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1123-12_0_3_load_5 | 23 | 0.0033377 | 0.0008365 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1123-12_0_3_load_6 | 24 | 0.0056234 | 0.0014093 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1123-12_0_3_load_8 | 26 | 0.0021115 | 0.00052919 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1123-12_0_3_load_31 | 28 | 0.0055593 | 0.0013933 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1123-12_0_3_load_29 | 29 | 0.0022849 | 0.00057266 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1123-12_0_3_load_42 | 30 | 0.0010435 | 0.00026153 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1123-12_0_3_load_11 | 31 | 0.0032756 | 0.00082094 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1123-12_0_3_load_12 | 32 | 0.0018117 | 0.00045406 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1123-12_0_3_load_14 | 33 | 0.0020211 | 0.00050653 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1123-12_0_3_load_33 | 34 | 0.0028194 | 0.00070661 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1123-12_0_3_load_32 | 35 | 0.002095 | 0.00052507 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1123-12_0_3_load_36 | 36 | 0.0022267 | 0.00055805 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1123-12_0_3_load_39 | 37 | 0.00066745 | 0.00016728 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1123-12_0_3_load_38 | 38 | 0.0032256 | 0.00080842 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1123-12_0_3_load_28 | 39 | 0.0022678 | 0.00056837 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1123-12_0_3_load_30 | 40 | 0.001702 | 0.00042656 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1123-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.04786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1123-12_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1123-12_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.017078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1123-12_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.035978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1123-12_0_3_line_4 | NAYY 4x150 SE | 4 | 8 | 0.022549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1123-12_0_3_line_5 | NAYY 4x150 SE | 4 | 9 | 0.03851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1123-12_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.016304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1123-12_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.005478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1123-12_0_3_line_8 | NAYY 4x150 SE | 6 | 38 | 0.012995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1123-12_0_3_line_9 | NAYY 4x150 SE | 7 | 14 | 0.016067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1123-12_0_3_line_10 | NAYY 4x150 SE | 7 | 15 | 0.0074056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1123-12_0_3_line_11 | NAYY 4x150 SE | 8 | 11 | 0.023331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1123-12_0_3_line_12 | NAYY 4x150 SE | 9 | 31 | 0.0021661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1123-12_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.075195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1123-12_0_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.040416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1123-12_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.074481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1123-12_0_3_line_16 | NAYY 4x150 SE | 13 | 36 | 0.013676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1123-12_0_3_line_17 | NAYY 4x150 SE | 15 | 19 | 0.0043234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1123-12_0_3_line_18 | NAYY 4x150 SE | 15 | 20 | 0.017521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1123-12_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.072345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1123-12_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.02626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1123-12_0_3_line_21 | NAYY 4x150 SE | 17 | 30 | 0.045493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1123-12_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.030538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1123-12_0_3_line_23 | NAYY 4x150 SE | 19 | 36 | 0.027431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1123-12_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.045222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1123-12_0_3_line_25 | NAYY 4x150 SE | 22 | 27 | 0.013327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1123-12_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.014126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1123-12_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.02036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1123-12_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.007087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1123-12_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.007999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1123-12_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.012902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1123-12_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.01083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1123-12_0_3_line_32 | NAYY 4x150 SE | 29 | 39 | 0.017034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1123-12_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.017982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1123-12_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0035538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1123-12_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.010351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1123-12_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0084165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1123-12_0_3_line_37 | NAYY 4x150 SE | 35 | 40 | 0.020327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1123-12_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.021267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1123-12_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.006102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1123-12_0_3_trafo_31 | 0.25 MVA 20/0.4 kV | 41 | 28 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2639876.0829 | 1228194.6831 | 2639836.1967 | 1228221.1343
1 | 2639876.0829 | 1228194.6831 | 2639879.8444 | 1228192.1887 | 2639900.4166 | 1228178.1631
2 | 2639914.527 | 1228168.5431 | 2639900.4166 | 1228178.1631
3 | 2639944.6006 | 1228148.7961 | 2639919.4409 | 1228165.193 | 2639914.527 | 1228168.5431
4 | 2639944.6006 | 1228148.7961 | 2639963.3685 | 1228136.2967
5 | 2639944.6006 | 1228148.7961 | 2639942.7411 | 1228145.8707 | 2639941.0179 | 1228140.7004 | 2639936.6916 | 1228111.4248
6 | 2639903.9592 | 1228016.298 | 2639902.3236 | 1228000.0763
7 | 2639898.4654 | 1228016.3501 | 2639903.9592 | 1228016.298
8 | 2639892.9468 | 1227992.9655 | 2639898.6263 | 1227994.6157 | 2639902.0623 | 1227997.4849 | 2639902.3236 | 1228000.0763
9 | 2639898.4654 | 1228016.3501 | 2639882.4102 | 1228015.7318
10 | 2639898.2794 | 1228023.7534 | 2639898.3715 | 1228020.1852 | 2639898.4654 | 1228016.3501
11 | 2639982.7866 | 1228123.3643 | 2639963.3685 | 1228136.2967
12 | 2639936.6916 | 1228111.4248 | 2639936.375 | 1228109.282
13 | 2640032.3964 | 1228075.4741 | 2640034.0061 | 1228079.4874 | 2640034.5542 | 1228082.4818 | 2640033.8392 | 1228087.3911 | 2640032.3417 | 1228090.3606 | 2639982.7866 | 1228123.3643
14 | 2640013.4408 | 1228040.1806 | 2640018.8881 | 1228045.9207 | 2640023.9766 | 1228055.4386 | 2640032.3964 | 1228075.4741
15 | 2640013.4408 | 1228040.1806 | 2640010.9655 | 1228037.5735 | 2640001.1039 | 1228030.225 | 2639990.2702 | 1228025.4604 | 2639978.7897 | 1228023.3598 | 2639943.709 | 1228023.5313
16 | 2639930.0335 | 1228023.5982 | 2639943.709 | 1228023.5313
17 | 2639898.2794 | 1228023.7534 | 2639902.6027 | 1228023.7323
18 | 2639898.2794 | 1228023.7534 | 2639881.4689 | 1228023.2627 | 2639880.7688 | 1228023.1952
19 | 2639828.1625 | 1227947.5263 | 2639820.9051 | 1228007.3032 | 2639820.4318 | 1228011.2247 | 2639824.943 | 1228011.9442 | 2639824.5401 | 1228015.5326
20 | 2639824.5401 | 1228015.5326 | 2639850.3755 | 1228020.2332
21 | 2639828.1625 | 1227947.5263 | 2639872.8797 | 1227955.8907
22 | 2639880.7688 | 1228023.1952 | 2639850.7405 | 1228020.2996 | 2639850.3755 | 1228020.2332
23 | 2639930.0335 | 1228023.5982 | 2639902.6027 | 1228023.7323
24 | 2639812.9181 | 1228115.7072 | 2639807.9027 | 1228160.6506
25 | 2639814.3961 | 1228102.4624 | 2639812.9181 | 1228115.7072
26 | 2639835.6998 | 1228090.9179 | 2639849.597 | 1228088.3868
27 | 2639815.6689 | 1228094.5661 | 2639835.6998 | 1228090.9179
28 | 2639849.597 | 1228088.3868 | 2639856.5692 | 1228087.1169
29 | 2639815.6689 | 1228094.5661 | 2639814.3961 | 1228102.4624
30 | 2639856.5692 | 1228087.1169 | 2639869.2622 | 1228084.8052
31 | 2639869.2622 | 1228084.8052 | 2639879.9165 | 1228082.8647
32 | 2639896.6752 | 1228079.8125 | 2639879.9165 | 1228082.8647
33 | 2639936.375 | 1228109.282 | 2639933.7462 | 1228091.4936
34 | 2639933.2267 | 1228087.978 | 2639933.7462 | 1228091.4936
35 | 2639933.2267 | 1228087.978 | 2639932.4001 | 1228082.3847 | 2639930.2231 | 1228078.2231 | 2639930.2231 | 1228078.2231
36 | 2639922.6842 | 1228075.3154 | 2639927.3672 | 1228075.8692 | 2639930.2231 | 1228078.2231
37 | 2639902.6785 | 1228078.7191 | 2639921.8857 | 1228075.2209 | 2639922.6842 | 1228075.3154
38 | 2639892.9468 | 1227992.9655 | 2639892.9468 | 1227992.9655 | 2639886.645 | 1227993.7349 | 2639872.7352 | 1227999.1272
39 | 2639902.6785 | 1228078.7191 | 2639896.6752 | 1228079.8125

## bus_geodata
| x | y | coords
0 | 2639876.0829 | 1228194.6831
1 | 2639836.1967 | 1228221.1343
2 | 2639900.4166 | 1228178.1631
3 | 2639914.527 | 1228168.5431
4 | 2639944.6006 | 1228148.7961
5 | 2639903.9592 | 1228016.298
6 | 2639902.3236 | 1228000.0763
7 | 2639898.4654 | 1228016.3501
8 | 2639963.3685 | 1228136.2967
9 | 2639936.6916 | 1228111.4248
10 | 2640032.3964 | 1228075.4741
11 | 2639982.7866 | 1228123.3643
12 | 2640013.4408 | 1228040.1806
13 | 2639943.709 | 1228023.5313
14 | 2639882.4102 | 1228015.7318
15 | 2639898.2794 | 1228023.7534
16 | 2639824.5401 | 1228015.5326
17 | 2639828.1625 | 1227947.5263
18 | 2639850.3755 | 1228020.2332
19 | 2639902.6027 | 1228023.7323
20 | 2639880.7688 | 1228023.1952
21 | 2639807.9027 | 1228160.6506
22 | 2639812.9181 | 1228115.7072
23 | 2639835.6998 | 1228090.9179
24 | 2639849.597 | 1228088.3868
25 | 2639815.6689 | 1228094.5661
26 | 2639856.5692 | 1228087.1169
27 | 2639814.3961 | 1228102.4624
28 | 2639869.2622 | 1228084.8052
29 | 2639879.9165 | 1228082.8647
30 | 2639872.8797 | 1227955.8907
31 | 2639936.375 | 1228109.282
32 | 2639933.7462 | 1228091.4936
33 | 2639933.2267 | 1228087.978
34 | 2639930.2231 | 1228078.2231
35 | 2639922.6842 | 1228075.3154
36 | 2639930.0335 | 1228023.5982
37 | 2639872.7352 | 1227999.1272
38 | 2639892.9468 | 1227992.9655
39 | 2639896.6752 | 1228079.8125
40 | 2639902.6785 | 1228078.7191
41 | 2639815.6689 | 1228094.5661

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97894 | -0.14765 | 0.016444 | 0.0041213
1 | 0.97784 | -0.15552 | 0.015769 | 0.0039521
2 | 0.98032 | -0.13779 | 0.025228 | 0.0063227
3 | 0.98175 | -0.12762 | 0.010095 | 0.0025299
4 | 0.98529 | -0.10255 | 0 | 0
5 | 0.97623 | -0.16703 | 0 | 0
6 | 0.9761 | -0.16794 | 0.0014492 | 0.00036319
7 | 0.97627 | -0.16672 | 0 | 0
8 | 0.98437 | -0.10902 | 0.0031206 | 0.00078209
9 | 0.99063 | -0.064961 | 0.0023861 | 0.00059801
10 | 0.98118 | -0.13168 | 0 | 0
11 | 0.98353 | -0.11498 | 0.0032957 | 0.00082599
12 | 0.97991 | -0.14068 | 0 | 0
13 | 0.97758 | -0.15734 | 0.0012042 | 0.00030181
14 | 0.9762 | -0.16726 | 0.0032122 | 0.00080506
15 | 0.97637 | -0.16606 | 0 | 0
16 | 0.97604 | -0.1684 | 0 | 0
17 | 0.97593 | -0.1692 | 0 | 0
18 | 0.97608 | -0.16811 | 0.0019458 | 0.00048766
19 | 0.97646 | -0.1654 | 0.0035339 | 0.00088568
20 | 0.97622 | -0.16715 | 0.0029216 | 0.00073223
21 | 0.99585 | -0.029082 | 0.017692 | 0.0044339
22 | 0.99699 | -0.021039 | 0.0066825 | 0.0016748
23 | 0.99845 | -0.010849 | 0.0033377 | 0.0008365
24 | 0.99901 | -0.006931 | 0.0056234 | 0.0014093
25 | 0.99774 | -0.015822 | 0 | 0
26 | 0.99935 | -0.0045686 | 0.0021115 | 0.00052919
27 | 0.99746 | -0.017778 | 0 | 0
28 | 1 | 0 | -0.15447 | -0.038792
29 | 0.99909 | -0.0062815 | 0.0022849 | 0.00057266
30 | 0.97586 | -0.16969 | 0.0010435 | 0.00026153
31 | 0.99094 | -0.062807 | 0.0032756 | 0.00082094
32 | 0.99358 | -0.044377 | 0.0018117 | 0.00045406
33 | 0.99412 | -0.040681 | 0.0020211 | 0.00050653
34 | 0.99491 | -0.0352 | 0.0028194 | 0.00070661
35 | 0.99556 | -0.03063 | 0.002095 | 0.00052507
36 | 0.97718 | -0.16023 | 0.0022267 | 0.00055805
37 | 0.97601 | -0.16862 | 0.00066745 | 0.00016728
38 | 0.97603 | -0.16847 | 0.0032256 | 0.00080842
39 | 0.99768 | -0.01599 | 0.0022678 | 0.00056837
40 | 0.99719 | -0.019405 | 0.001702 | 0.00042656
41 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.015786 | 0.0039581 | -0.015769 | -0.0039521 | 1.7197e-05 | 6.0131e-06 | 0.023996 | 0.023996 | 0.023996 | 0.97894 | -0.14765 | 0.97784 | -0.15552 | 8.8876
1 | -0.032231 | -0.0080794 | 0.032275 | 0.008096 | 4.4051e-05 | 1.6572e-05 | 0.048992 | 0.048992 | 0.048992 | 0.97894 | -0.14765 | 0.98032 | -0.13779 | 18.1451
2 | -0.057502 | -0.014419 | 0.057583 | 0.01445 | 8.1187e-05 | 3.101e-05 | 0.087284 | 0.087284 | 0.087284 | 0.98032 | -0.13779 | 0.98175 | -0.12762 | 32.3276
3 | -0.067678 | -0.01698 | 0.067914 | 0.01707 | 0.00023626 | 9.0412e-05 | 0.10258 | 0.10258 | 0.10258 | 0.98175 | -0.12762 | 0.98529 | -0.10255 | 37.9942
4 | 0.028045 | 0.0070484 | -0.02802 | -0.0070389 | 2.525e-05 | 9.4246e-06 | 0.042362 | 0.042362 | 0.042362 | 0.98529 | -0.10255 | 0.98437 | -0.10902 | 15.6895
5 | -0.095959 | -0.024118 | 0.096464 | 0.024312 | 0.00050485 | 0.00019368 | 0.14495 | 0.14495 | 0.14495 | 0.98529 | -0.10255 | 0.99063 | -0.064961 | 53.6836
6 | 0.0053432 | 0.0013386 | -0.0053425 | -0.0013386 | 6.748e-07 | 5.5717e-08 | 0.0081442 | 0.0081443 | 0.0081443 | 0.97623 | -0.16703 | 0.9761 | -0.16794 | 3.0164
7 | -0.0053432 | -0.0013386 | 0.0053434 | 0.0013387 | 2.2673e-07 | 1.8708e-08 | 0.0081442 | 0.0081442 | 0.0081442 | 0.97623 | -0.16703 | 0.97627 | -0.16672 | 3.0164
8 | 0.0038934 | 0.00097539 | -0.0038931 | -0.00097544 | 2.8565e-07 | -5.2562e-08 | 0.0059351 | 0.0059352 | 0.0059352 | 0.9761 | -0.16794 | 0.97603 | -0.16847 | 2.1982
9 | 0.0032125 | 0.00080495 | -0.0032122 | -0.00080506 | 2.4036e-07 | -1.0844e-07 | 0.0048963 | 0.0048964 | 0.0048964 | 0.97627 | -0.16672 | 0.9762 | -0.16726 | 1.8135
10 | -0.0085559 | -0.0021436 | 0.0085567 | 0.0021438 | 7.8584e-07 | 2.0964e-07 | 0.01304 | 0.01304 | 0.01304 | 0.97627 | -0.16672 | 0.97637 | -0.16606 | 4.8298
11 | 0.024899 | 0.0062569 | -0.024878 | -0.0062492 | 2.0631e-05 | 7.6385e-06 | 0.037644 | 0.037645 | 0.037645 | 0.98437 | -0.10902 | 0.98353 | -0.11498 | 13.9424
12 | -0.09885 | -0.02491 | 0.09888 | 0.024922 | 2.9819e-05 | 1.1441e-05 | 0.14853 | 0.14853 | 0.14853 | 0.99063 | -0.064961 | 0.99094 | -0.062807 | 55.011
13 | -0.021533 | -0.0054049 | 0.021583 | 0.0054232 | 5.0045e-05 | 1.8296e-05 | 0.032659 | 0.032658 | 0.032659 | 0.98118 | -0.13168 | 0.98353 | -0.11498 | 12.0958
14 | 0.021533 | 0.0054049 | -0.021506 | -0.0053951 | 2.6899e-05 | 9.836e-06 | 0.032659 | 0.032659 | 0.032659 | 0.98118 | -0.13168 | 0.97991 | -0.14068 | 12.0959
15 | 0.021506 | 0.0053951 | -0.021456 | -0.005377 | 4.9572e-05 | 1.813e-05 | 0.032659 | 0.032659 | 0.032659 | 0.97991 | -0.14068 | 0.97758 | -0.15734 | 12.096
16 | 0.020252 | 0.0050752 | -0.020244 | -0.0050722 | 8.1091e-06 | 2.9475e-06 | 0.030826 | 0.030826 | 0.030826 | 0.97758 | -0.15734 | 0.97718 | -0.16023 | 11.4171
17 | -0.014469 | -0.0036234 | 0.01447 | 0.0036239 | 1.3117e-06 | 4.5043e-07 | 0.02205 | 0.02205 | 0.02205 | 0.97637 | -0.16606 | 0.97646 | -0.1654 | 8.1668
18 | 0.0059125 | 0.0014796 | -0.0059116 | -0.0014795 | 8.8756e-07 | 1.2228e-07 | 0.00901 | 0.0090101 | 0.0090101 | 0.97637 | -0.16606 | 0.97622 | -0.16715 | 3.3371
19 | 0.0010437 | 0.00026013 | -0.0010436 | -0.00026099 | 1.1424e-07 | -8.6014e-07 | 0.0015906 | 0.001591 | 0.001591 | 0.97604 | -0.1684 | 0.97593 | -0.1692 | 0.58924
20 | -0.0010437 | -0.00026013 | 0.0010437 | 0.00025981 | 4.1455e-08 | -3.1227e-07 | 0.0015906 | 0.0015905 | 0.0015906 | 0.97604 | -0.1684 | 0.97608 | -0.16811 | 0.58912
21 | 0.0010436 | 0.00026099 | -0.0010435 | -0.00026153 | 7.1862e-08 | -5.4077e-07 | 0.001591 | 0.0015912 | 0.0015912 | 0.97593 | -0.1692 | 0.97586 | -0.16969 | 0.58932
22 | -0.0029895 | -0.00074747 | 0.0029899 | 0.00074725 | 3.9568e-07 | -2.2958e-07 | 0.0045568 | 0.0045567 | 0.0045568 | 0.97608 | -0.16811 | 0.97622 | -0.16715 | 1.6877
23 | -0.018004 | -0.0045095 | 0.018017 | 0.0045142 | 1.2884e-05 | 4.6121e-06 | 0.027436 | 0.027436 | 0.027436 | 0.97646 | -0.1654 | 0.97718 | -0.16023 | 10.1614
24 | -0.017692 | -0.0044339 | 0.017711 | 0.0044409 | 1.972e-05 | 6.9954e-06 | 0.026435 | 0.026435 | 0.026435 | 0.99585 | -0.029082 | 0.99699 | -0.021039 | 9.7908
25 | -0.024394 | -0.0061157 | 0.024405 | 0.0061198 | 1.1024e-05 | 4.066e-06 | 0.036409 | 0.036408 | 0.036409 | 0.99699 | -0.021039 | 0.99746 | -0.017778 | 13.4846
26 | -0.027766 | -0.0069649 | 0.027781 | 0.0069706 | 1.5095e-05 | 5.6209e-06 | 0.041383 | 0.041382 | 0.041383 | 0.99845 | -0.010849 | 0.99901 | -0.006931 | 15.3269
27 | 0.024428 | 0.0061284 | -0.024411 | -0.0061222 | 1.6841e-05 | 6.2113e-06 | 0.036408 | 0.036408 | 0.036408 | 0.99845 | -0.010849 | 0.99774 | -0.015822 | 13.4846
28 | -0.033404 | -0.0083799 | 0.033415 | 0.008384 | 1.0949e-05 | 4.1184e-06 | 0.049758 | 0.049758 | 0.049758 | 0.99901 | -0.006931 | 0.99935 | -0.0045686 | 18.429
29 | 0.024411 | 0.0061222 | -0.024405 | -0.0061198 | 6.6164e-06 | 2.4403e-06 | 0.036408 | 0.036408 | 0.036408 | 0.99774 | -0.015822 | 0.99746 | -0.017778 | 13.4846
30 | -0.035527 | -0.0089132 | 0.035549 | 0.0089217 | 2.2531e-05 | 8.4966e-06 | 0.052902 | 0.052902 | 0.052902 | 0.99935 | -0.0045686 | 1 | 0 | 19.5935
31 | 0.11812 | 0.029871 | -0.11802 | -0.029831 | 0.0001045 | 3.9907e-05 | 0.17586 | 0.17586 | 0.17586 | 1 | 0 | 0.99909 | -0.0062815 | 32.5666
32 | 0.11573 | 0.029258 | -0.11557 | -0.029198 | 0.00015807 | 6.0349e-05 | 0.17246 | 0.17246 | 0.17246 | 0.99909 | -0.0062815 | 0.99768 | -0.01599 | 31.9364
33 | -0.10216 | -0.025742 | 0.10242 | 0.025844 | 0.0002642 | 0.00010138 | 0.15345 | 0.15345 | 0.15345 | 0.99094 | -0.062807 | 0.99358 | -0.044377 | 56.8327
34 | -0.10423 | -0.026298 | 0.10429 | 0.026319 | 5.4079e-05 | 2.0754e-05 | 0.15616 | 0.15616 | 0.15616 | 0.99358 | -0.044377 | 0.99412 | -0.040681 | 57.8376
35 | -0.10631 | -0.026825 | 0.10639 | 0.026856 | 8.1834e-05 | 3.1206e-05 | 0.15919 | 0.15919 | 0.15919 | 0.99412 | -0.040681 | 0.99491 | -0.0352 | 29.479
36 | -0.10921 | -0.027563 | 0.10928 | 0.02759 | 7.0115e-05 | 2.6748e-05 | 0.1634 | 0.1634 | 0.1634 | 0.99491 | -0.0352 | 0.99556 | -0.03063 | 30.2599
37 | -0.11137 | -0.028115 | 0.11155 | 0.028182 | 0.00017589 | 6.7121e-05 | 0.16653 | 0.16653 | 0.16653 | 0.99556 | -0.03063 | 0.99719 | -0.019405 | 30.8397
38 | -0.00066745 | -0.00016728 | 0.00066747 | 0.00016702 | 1.374e-08 | -2.605e-07 | 0.0010176 | 0.0010175 | 0.0010176 | 0.97601 | -0.16862 | 0.97603 | -0.16847 | 0.37689
39 | 0.11331 | 0.028629 | -0.11325 | -0.028608 | 5.4423e-05 | 2.0773e-05 | 0.16907 | 0.16907 | 0.16907 | 0.99768 | -0.01599 | 0.99719 | -0.019405 | 31.31

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16003 | 0.040186

## res_load
| p_mw | q_mvar
0 | 0.016444 | 0.0041213
1 | 0.015769 | 0.0039521
2 | 0.025228 | 0.0063227
3 | 0.010095 | 0.0025299
4 | 0.0014492 | 0.00036319
5 | 0.0031206 | 0.00078209
6 | 0.0023861 | 0.00059801
7 | 0.0032957 | 0.00082599
8 | 0.0012042 | 0.00030181
9 | 0.0032122 | 0.00080506
10 | 0.0019458 | 0.00048766
11 | 0.0035339 | 0.00088568
12 | 0.0029216 | 0.00073223
13 | 0.017692 | 0.0044339
14 | 0.0066825 | 0.0016748
15 | 0.0033377 | 0.0008365
16 | 0.0056234 | 0.0014093
17 | 0.0021115 | 0.00052919
18 | 0.0055593 | 0.0013933
19 | 0.0022849 | 0.00057266
20 | 0.0010435 | 0.00026153
21 | 0.0032756 | 0.00082094
22 | 0.0018117 | 0.00045406
23 | 0.0020211 | 0.00050653
24 | 0.0028194 | 0.00070661
25 | 0.002095 | 0.00052507
26 | 0.0022267 | 0.00055805
27 | 0.00066745 | 0.00016728
28 | 0.0032256 | 0.00080842
29 | 0.0022678 | 0.00056837
30 | 0.001702 | 0.00042656

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1