## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1123-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1123-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1123-4_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1123-4_0_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1123-4_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1123-4_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1123-4_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1123-4_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1123-4_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1123-4_0_3_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_1123-4_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1123-4_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_1123-4_0_3_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_1123-4_0_3_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_1123-4_0_3_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_1123-4_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_1123-4_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1123-4_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1123-4_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_1123-4_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_1123-4_0_3_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_1123-4_0_3_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_1123-4_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_1123-4_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_1123-4_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1123-4_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1123-4_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1123-4_0_3_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_1123-4_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1123-4_0_3_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_1123-4_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1123-4_0_3_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_1123-4_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1123-4_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1123-4_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1123-4_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1123-4_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1123-4_0_3_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1123-4_0_3_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_1123-4_0_3_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_1123-4_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1123-4_0_3_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_1123-4_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_MV_130_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1123-4_0_3_load_0 | 0 | 0.0029476 | 0.00073874 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1123-4_0_3_load_1 | 1 | 0.0034636 | 0.00086806 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1123-4_0_3_load_3 | 2 | 0.0025914 | 0.00064947 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1123-4_0_3_load_7 | 3 | 0.014102 | 0.0035342 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1123-4_0_3_load_22 | 7 | 0.0082087 | 0.0020573 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1123-4_0_3_load_45 | 9 | 0.0052129 | 0.0013065 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1123-4_0_3_load_24 | 10 | 0.0022872 | 0.00057324 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1123-4_0_3_load_43 | 13 | 0.0063306 | 0.0015866 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1123-4_0_3_load_18 | 16 | 0.014889 | 0.0037315 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1123-4_0_3_load_14 | 17 | 0.0037894 | 0.0009497 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1123-4_0_3_load_32 | 18 | 0.0044378 | 0.0011122 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1123-4_0_3_load_34 | 19 | 0.014546 | 0.0036456 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1123-4_0_3_load_35 | 20 | 0.0093661 | 0.0023474 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1123-4_0_3_load_8 | 21 | 0.00082942 | 0.00020787 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1123-4_0_3_load_9 | 22 | 0.00018163 | 4.552e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1123-4_0_3_load_10 | 23 | 0.0013511 | 0.00033861 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1123-4_0_3_load_11 | 24 | 0.00017495 | 4.3846e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1123-4_0_3_load_12 | 25 | 0.0016461 | 0.00041256 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1123-4_0_3_load_23 | 26 | 0.002873 | 0.00072005 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1123-4_0_3_load_13 | 27 | 0.0028029 | 0.00070246 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1123-4_0_3_load_48 | 29 | 0.0010334 | 0.000259 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1123-4_0_3_load_31 | 30 | 0.013253 | 0.0033216 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1123-4_0_3_load_46 | 31 | 0.014694 | 0.0036827 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1123-4_0_3_load_25 | 32 | 0.010389 | 0.0026037 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1123-4_0_3_load_26 | 33 | 0.012439 | 0.0031175 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1123-4_0_3_load_28 | 35 | 0.0026841 | 0.00067269 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1123-4_0_3_load_37 | 37 | 0.0067487 | 0.0016914 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1123-4_0_3_load_40 | 38 | 0.0025544 | 0.00064019 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1123-4_0_3_load_41 | 39 | 0.0049005 | 0.0012282 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1123-4_0_3_load_33 | 40 | 0.055194 | 0.013833 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1123-4_0_3_load_44 | 41 | 0.0063443 | 0.00159 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1123-4_0_3_load_42 | 42 | 0.0064594 | 0.0016189 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1123-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1123-4_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.020148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1123-4_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.029528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1123-4_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0063061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1123-4_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0074677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1123-4_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.020509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1123-4_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.043426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1123-4_0_3_line_7 | NAYY 4x150 SE | 6 | 20 | 0.023065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1123-4_0_3_line_8 | NAYY 4x150 SE | 6 | 19 | 0.012173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1123-4_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.01387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1123-4_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.03934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1123-4_0_3_line_11 | NAYY 4x150 SE | 8 | 11 | 0.018227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1123-4_0_3_line_12 | NAYY 4x150 SE | 9 | 28 | 0.054327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1123-4_0_3_line_13 | NAYY 4x150 SE | 10 | 26 | 0.033867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1123-4_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.0086501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1123-4_0_3_line_15 | NAYY 4x150 SE | 11 | 16 | 0.0041825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1123-4_0_3_line_16 | NAYY 4x150 SE | 11 | 17 | 0.04766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1123-4_0_3_line_17 | NAYY 4x150 SE | 12 | 13 | 0.019816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1123-4_0_3_line_18 | NAYY 4x150 SE | 12 | 14 | 0.003252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1123-4_0_3_line_19 | NAYY 4x150 SE | 13 | 41 | 0.028841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1123-4_0_3_line_20 | NAYY 4x150 SE | 14 | 31 | 0.0083044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1123-4_0_3_line_21 | NAYY 4x150 SE | 14 | 34 | 0.013016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1123-4_0_3_line_22 | NAYY 4x150 SE | 15 | 18 | 0.028513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1123-4_0_3_line_23 | NAYY 4x150 SE | 15 | 19 | 0.011184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1123-4_0_3_line_24 | NAYY 4x150 SE | 17 | 27 | 0.011664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1123-4_0_3_line_25 | NAYY 4x150 SE | 18 | 30 | 3.4588e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1123-4_0_3_line_26 | NAYY 4x150 SE | 20 | 31 | 0.023108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1123-4_0_3_line_27 | NAYY 4x150 SE | 21 | 22 | 0.0048128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1123-4_0_3_line_28 | NAYY 4x150 SE | 21 | 23 | 0.025792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1123-4_0_3_line_29 | NAYY 4x150 SE | 22 | 24 | 0.011474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1123-4_0_3_line_30 | NAYY 4x150 SE | 23 | 25 | 0.0010661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1123-4_0_3_line_31 | NAYY 4x150 SE | 25 | 26 | 0.032834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1123-4_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.043631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1123-4_0_3_line_33 | NAYY 4x150 SE | 30 | 40 | 0.040895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1123-4_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.018875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1123-4_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.023406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1123-4_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.025585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1123-4_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.03407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1123-4_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0090235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1123-4_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.010728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1123-4_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0063076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1123-4_0_3_line_41 | NAYY 4x150 SE | 39 | 42 | 0.027897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1123-4_0_3_trafo_35 | 0.25 MVA 20/0.4 kV | 43 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2639947.6191 | 1228016.0936 | 2639967.6423 | 1228015.9998
1 | 2639987.6634 | 1228017.591 | 2639977.1422 | 1228015.9553 | 2639967.6423 | 1228015.9998
2 | 2639987.6634 | 1228017.591 | 2639988.5037 | 1228017.7216 | 2639995.2877 | 1228019.6239 | 2640002.4057 | 1228022.5512 | 2640009.7336 | 1228026.9476 | 2640013.7742 | 1228030.5152
3 | 2640018.5014 | 1228034.689 | 2640013.7742 | 1228030.5152
4 | 2640013.4408 | 1228040.1806 | 2640016.0818 | 1228037.3188 | 2640018.5014 | 1228034.689
5 | 2640018.5014 | 1228034.689 | 2640022.5149 | 1228038.4294 | 2640023.4635 | 1228039.3475 | 2640029.5214 | 1228047.7934 | 2640030.9182 | 1228050.7935
6 | 2640013.4408 | 1228040.1806 | 2640010.9655 | 1228037.5735 | 2640001.1039 | 1228030.225 | 2639990.2702 | 1228025.4604 | 2639978.7897 | 1228023.3598 | 2639974.7636 | 1228023.3795
7 | 2640030.9182 | 1228050.7935 | 2640034.484 | 1228042.2344 | 2640037.8875 | 1228035.2753 | 2640039.6147 | 1228029.4809
8 | 2640030.9182 | 1228050.7935 | 2640034.0103 | 1228057.4628 | 2640034.6004 | 1228058.7231 | 2640035.822 | 1228061.928
9 | 2640045.6962 | 1228084.2022 | 2640043.0374 | 1228086.3412 | 2640035.8073 | 1228092.1962 | 2640034.8524 | 1228092.8435
10 | 2640045.6962 | 1228084.2022 | 2640053.3165 | 1228087.9113 | 2640061.1683 | 1228089.8875 | 2640076.5483 | 1228092.3592 | 2640083.7302 | 1228092.7236
11 | 2640045.6962 | 1228084.2022 | 2640039.7633 | 1228078.57 | 2640037.9593 | 1228076.4121 | 2640036.2261 | 1228073.8655 | 2640032.3964 | 1228075.4741
12 | 2639989.8854 | 1228123.3289 | 2640034.8524 | 1228092.8435
13 | 2640083.7302 | 1228092.7236 | 2640090.6975 | 1228093.0771 | 2640117.0222 | 1228093.9327 | 2640117.5746 | 1228093.9208
14 | 2640032.3964 | 1228075.4741 | 2640036.2261 | 1228073.8655 | 2640040.3674 | 1228072.1145
15 | 2640032.3964 | 1228075.4741 | 2640030.776 | 1228071.6182
16 | 2640032.3964 | 1228075.4741 | 2640034.0061 | 1228079.4874 | 2640034.5542 | 1228082.4818 | 2640033.8392 | 1228087.3911 | 2640032.3417 | 1228090.3606 | 2640005.7041 | 1228108.1013
17 | 2640044.3338 | 1227998.396 | 2640024.9826 | 1227994.1284
18 | 2640047.5191 | 1227999.0957 | 2640044.3338 | 1227998.396
19 | 2640001.5592 | 1227980.5198 | 2640004.9734 | 1227986.6243 | 2640010.4305 | 1227990.9191 | 2640024.9826 | 1227994.1284
20 | 2640047.5191 | 1227999.0957 | 2640046.3105 | 1228004.1684 | 2640045.624 | 1228007.1808
21 | 2640047.5191 | 1227999.0957 | 2640049.7951 | 1227986.2809
22 | 2640040.3674 | 1228072.1145 | 2640045.2273 | 1228078.44 | 2640050.1522 | 1228081.8529 | 2640057.4121 | 1228085.0704 | 2640063.9064 | 1228086.2628
23 | 2640040.3674 | 1228072.1145 | 2640038.3307 | 1228068.5097 | 2640035.822 | 1228061.928
24 | 2640005.7041 | 1228108.1013 | 2639995.9961 | 1228114.5668
25 | 2640063.9064 | 1228086.2628 | 2640063.9405 | 1228086.2691
26 | 2640045.624 | 1228007.1808 | 2640043.5153 | 1228016.4349 | 2640039.8488 | 1228028.6955 | 2640039.6147 | 1228029.4809
27 | 2640181.9422 | 1228090.2191 | 2640179.9436 | 1228090.4103 | 2640177.1515 | 1228090.6797
28 | 2640151.4507 | 1228092.7952 | 2640161.4206 | 1228092.1976 | 2640177.1515 | 1228090.6797
29 | 2640193.3637 | 1228089.126 | 2640181.9422 | 1228090.2191
30 | 2640150.3865 | 1228092.859 | 2640151.4507 | 1228092.7952
31 | 2640150.3865 | 1228092.859 | 2640141.083 | 1228093.4167 | 2640117.5746 | 1228093.9208
32 | 2639989.8854 | 1228123.3289 | 2639991.6168 | 1228126.1422 | 2640012.7565 | 1228160.4848
33 | 2640104.5619 | 1228089.8901 | 2640088.5154 | 1228089.6826 | 2640078.7835 | 1228088.9944 | 2640063.9405 | 1228086.2691
34 | 2640091.6171 | 1227992.4994 | 2640072.947 | 1227989.7234
35 | 2640049.7951 | 1227986.2809 | 2640072.947 | 1227989.7234
36 | 2640116.9238 | 1227996.2623 | 2640091.6171 | 1227992.4994
37 | 2640049.7951 | 1227986.2809 | 2640050.4151 | 1227983.1053 | 2640053.2488 | 1227968.5043 | 2640055.6121 | 1227956.2349 | 2640052.2224 | 1227955.5117
38 | 2640116.9238 | 1227996.2623 | 2640125.8492 | 1227997.5894
39 | 2640052.2224 | 1227955.5117 | 2640041.7333 | 1227953.2583
40 | 2640041.7333 | 1227953.2583 | 2640035.5665 | 1227951.9335
41 | 2640020.4778 | 1227935.5252 | 2640019.2156 | 1227943.1267 | 2640020.6128 | 1227947.1941 | 2640024.1209 | 1227949.4746 | 2640035.5665 | 1227951.9335

## bus_geodata
| x | y | coords
0 | 2639947.6191 | 1228016.0936
1 | 2639967.6423 | 1228015.9998
2 | 2639987.6634 | 1228017.591
3 | 2640013.7742 | 1228030.5152
4 | 2640018.5014 | 1228034.689
5 | 2640013.4408 | 1228040.1806
6 | 2640030.9182 | 1228050.7935
7 | 2639974.7636 | 1228023.3795
8 | 2640045.6962 | 1228084.2022
9 | 2640034.8524 | 1228092.8435
10 | 2640083.7302 | 1228092.7236
11 | 2640032.3964 | 1228075.4741
12 | 2640044.3338 | 1227998.396
13 | 2640024.9826 | 1227994.1284
14 | 2640047.5191 | 1227999.0957
15 | 2640040.3674 | 1228072.1145
16 | 2640030.776 | 1228071.6182
17 | 2640005.7041 | 1228108.1013
18 | 2640063.9064 | 1228086.2628
19 | 2640035.822 | 1228061.928
20 | 2640039.6147 | 1228029.4809
21 | 2640177.1515 | 1228090.6797
22 | 2640181.9422 | 1228090.2191
23 | 2640151.4507 | 1228092.7952
24 | 2640193.3637 | 1228089.126
25 | 2640150.3865 | 1228092.859
26 | 2640117.5746 | 1228093.9208
27 | 2639995.9961 | 1228114.5668
28 | 2639989.8854 | 1228123.3289
29 | 2640012.7565 | 1228160.4848
30 | 2640063.9405 | 1228086.2691
31 | 2640045.624 | 1228007.1808
32 | 2640072.947 | 1227989.7234
33 | 2640091.6171 | 1227992.4994
34 | 2640049.7951 | 1227986.2809
35 | 2640116.9238 | 1227996.2623
36 | 2640052.2224 | 1227955.5117
37 | 2640125.8492 | 1227997.5894
38 | 2640041.7333 | 1227953.2583
39 | 2640035.5665 | 1227951.9335
40 | 2640104.5619 | 1228089.8901
41 | 2640001.5592 | 1227980.5198
42 | 2640020.4778 | 1227935.5252
43 | 2640030.9182 | 1228050.7935

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99564 | -0.030475 | 0.0029476 | 0.00073874
1 | 0.99573 | -0.02988 | 0.0034636 | 0.00086806
2 | 0.99591 | -0.02858 | 0.0025914 | 0.00064947
3 | 0.99629 | -0.025904 | 0.014102 | 0.0035342
4 | 0.9965 | -0.024439 | 0 | 0
5 | 0.99641 | -0.025056 | 0 | 0
6 | 0.99742 | -0.017988 | 0 | 0
7 | 0.9959 | -0.028642 | 0.0082087 | 0.0020573
8 | 0.99458 | -0.037895 | 0 | 0
9 | 0.99446 | -0.038771 | 0.0052129 | 0.0013065
10 | 0.99405 | -0.041611 | 0.0022872 | 0.00057324
11 | 0.99499 | -0.035025 | 0 | 0
12 | 0.99681 | -0.022329 | 0 | 0
13 | 0.99645 | -0.024853 | 0.0063306 | 0.0015866
14 | 0.99687 | -0.021914 | 0 | 0
15 | 0.99545 | -0.03179 | 0 | 0
16 | 0.9949 | -0.035652 | 0.014889 | 0.0037315
17 | 0.99454 | -0.038195 | 0.0037894 | 0.0009497
18 | 0.99246 | -0.052786 | 0.0044378 | 0.0011122
19 | 0.99633 | -0.025601 | 0.014546 | 0.0036456
20 | 1 | 0 | -0.23157 | -0.058015
21 | 0.99347 | -0.045756 | 0.00082942 | 0.00020787
22 | 0.99346 | -0.045774 | 0.00018163 | 4.552e-05
23 | 0.99351 | -0.045446 | 0.0013511 | 0.00033861
24 | 0.99346 | -0.045794 | 0.00017495 | 4.3846e-05
25 | 0.99351 | -0.045419 | 0.0016461 | 0.00041256
26 | 0.99371 | -0.044028 | 0.002873 | 0.00072005
27 | 0.99449 | -0.038525 | 0.0028029 | 0.00070246
28 | 0.99438 | -0.039341 | 0 | 0
29 | 0.99431 | -0.039797 | 0.0010334 | 0.000259
30 | 0.99245 | -0.05281 | 0.013253 | 0.0033216
31 | 0.99757 | -0.017008 | 0.014694 | 0.0036827
32 | 0.99492 | -0.035564 | 0.010389 | 0.0026037
33 | 0.99433 | -0.03973 | 0.012439 | 0.0031175
34 | 0.99601 | -0.027958 | 0 | 0
35 | 0.99398 | -0.042168 | 0.0026841 | 0.00067269
36 | 0.99533 | -0.032732 | 0 | 0
37 | 0.9939 | -0.042783 | 0.0067487 | 0.0016914
38 | 0.99511 | -0.034237 | 0.0025544 | 0.00064019
39 | 0.99501 | -0.034959 | 0.0049005 | 0.0012282
40 | 0.9892 | -0.075757 | 0.055194 | 0.013833
41 | 0.99619 | -0.026693 | 0.0063443 | 0.00159
42 | 0.99475 | -0.036777 | 0.0064594 | 0.0016189
43 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0029476 | -0.00073874 | 0.0029478 | 0.00073857 | 2.4247e-07 | -1.6717e-07 | 0.0044053 | 0.0044052 | 0.0044053 | 0.99564 | -0.030475 | 0.99573 | -0.02988 | 1.6316
1 | -0.0064114 | -0.0016066 | 0.0064126 | 0.0016068 | 1.1541e-06 | 1.8177e-07 | 0.0095812 | 0.0095811 | 0.0095812 | 0.99573 | -0.02988 | 0.99591 | -0.02858 | 3.5486
2 | -0.009004 | -0.0022563 | 0.0090073 | 0.0022572 | 3.3347e-06 | 8.982e-07 | 0.013453 | 0.013453 | 0.013453 | 0.99591 | -0.02858 | 0.99629 | -0.025904 | 4.9826
3 | -0.023109 | -0.0057914 | 0.023114 | 0.0057931 | 4.6876e-06 | 1.7208e-06 | 0.034514 | 0.034514 | 0.034514 | 0.99629 | -0.025904 | 0.9965 | -0.024439 | 12.7831
4 | 0.0082134 | 0.0020585 | -0.0082127 | -0.0020583 | 7.0094e-07 | 1.7232e-07 | 0.012265 | 0.012265 | 0.012265 | 0.9965 | -0.024439 | 0.99641 | -0.025056 | 4.5425
5 | -0.031327 | -0.0078516 | 0.031355 | 0.0078621 | 2.8005e-05 | 1.0504e-05 | 0.046779 | 0.046779 | 0.046779 | 0.9965 | -0.024439 | 0.99742 | -0.017988 | 17.3256
6 | 0.0082127 | 0.0020583 | -0.0082087 | -0.0020573 | 4.0762e-06 | 1.0024e-06 | 0.012265 | 0.012265 | 0.012265 | 0.99641 | -0.025056 | 0.9959 | -0.028642 | 4.5425
7 | -0.15651 | -0.039311 | 0.1569 | 0.039461 | 0.00039244 | 0.00015033 | 0.23352 | 0.23352 | 0.23352 | 0.99742 | -0.017988 | 1 | 0 | 43.245
8 | 0.12516 | 0.031448 | -0.12502 | -0.031398 | 0.00013244 | 5.0623e-05 | 0.18674 | 0.18674 | 0.18674 | 0.99742 | -0.017988 | 0.99633 | -0.025601 | 34.5822
9 | 0.0062472 | 0.0015644 | -0.0062465 | -0.0015643 | 7.5599e-07 | 1.108e-07 | 0.0093462 | 0.0093462 | 0.0093462 | 0.99458 | -0.037895 | 0.99446 | -0.038771 | 3.4616
10 | 0.0093515 | 0.0023428 | -0.0093467 | -0.0023415 | 4.8051e-06 | 1.3378e-06 | 0.013991 | 0.013991 | 0.013991 | 0.99458 | -0.037895 | 0.99405 | -0.041611 | 5.1818
11 | -0.015599 | -0.0039072 | 0.015605 | 0.0039094 | 6.1943e-06 | 2.1458e-06 | 0.023337 | 0.023337 | 0.023337 | 0.99458 | -0.037895 | 0.99499 | -0.035025 | 8.6433
12 | 0.0010336 | 0.00025778 | -0.0010335 | -0.00025846 | 8.1047e-08 | -6.7362e-07 | 0.0015461 | 0.0015463 | 0.0015463 | 0.99446 | -0.038771 | 0.99438 | -0.039341 | 0.57272
13 | 0.0070594 | 0.0017683 | -0.0070571 | -0.0017678 | 2.3598e-06 | 4.6872e-07 | 0.010567 | 0.010567 | 0.010567 | 0.99405 | -0.041611 | 0.99371 | -0.044028 | 3.9138
14 | -0.03709 | -0.0092939 | 0.037107 | 0.0093002 | 1.6607e-05 | 6.275e-06 | 0.055468 | 0.055468 | 0.055468 | 0.99499 | -0.035025 | 0.99545 | -0.03179 | 20.5439
15 | 0.01489 | 0.003732 | -0.014889 | -0.0037315 | 1.2942e-06 | 4.4346e-07 | 0.022269 | 0.022269 | 0.022269 | 0.99499 | -0.035025 | 0.9949 | -0.035652 | 8.2476
16 | 0.0065952 | 0.0016526 | -0.0065923 | -0.0016521 | 2.8932e-06 | 4.9403e-07 | 0.0098631 | 0.0098633 | 0.0098633 | 0.99499 | -0.035025 | 0.99454 | -0.038195 | 3.6531
17 | 0.012681 | 0.0031783 | -0.012676 | -0.0031769 | 4.431e-06 | 1.446e-06 | 0.01893 | 0.01893 | 0.01893 | 0.99681 | -0.022329 | 0.99645 | -0.024853 | 7.0111
18 | -0.012681 | -0.0031783 | 0.012682 | 0.0031785 | 7.2716e-07 | 2.3728e-07 | 0.01893 | 0.01893 | 0.01893 | 0.99681 | -0.022329 | 0.99687 | -0.021914 | 7.011
19 | 0.0063459 | 0.0015903 | -0.0063443 | -0.00159 | 1.6161e-06 | 2.46e-07 | 0.0094764 | 0.0094765 | 0.0094765 | 0.99645 | -0.024853 | 0.99619 | -0.026693 | 3.5098
20 | -0.058961 | -0.014789 | 0.059001 | 0.014804 | 4.0142e-05 | 1.5331e-05 | 0.088015 | 0.088015 | 0.088015 | 0.99687 | -0.021914 | 0.99757 | -0.017008 | 32.598
21 | 0.046279 | 0.01161 | -0.04624 | -0.011596 | 3.8764e-05 | 1.474e-05 | 0.069085 | 0.069085 | 0.069085 | 0.99687 | -0.021914 | 0.99601 | -0.027958 | 25.587
22 | 0.073275 | 0.018416 | -0.073062 | -0.018334 | 0.00021353 | 8.1757e-05 | 0.10955 | 0.10955 | 0.10955 | 0.99545 | -0.03179 | 0.99246 | -0.052786 | 40.5747
23 | -0.11038 | -0.027716 | 0.11048 | 0.027752 | 9.5022e-05 | 3.6256e-05 | 0.16502 | 0.16502 | 0.16502 | 0.99545 | -0.03179 | 0.99633 | -0.025601 | 30.5592
24 | 0.002803 | 0.00070236 | -0.0028029 | -0.00070246 | 1.2801e-07 | -1.0211e-07 | 0.0041937 | 0.0041938 | 0.0041938 | 0.99454 | -0.038195 | 0.99449 | -0.038525 | 1.5533
25 | 0.068624 | 0.017222 | -0.068624 | -0.017222 | 2.2852e-07 | 8.7446e-08 | 0.1029 | 0.1029 | 0.1029 | 0.99246 | -0.052786 | 0.99245 | -0.05281 | 38.1103
26 | 0.073869 | 0.018554 | -0.073695 | -0.018487 | 0.00017426 | 6.6721e-05 | 0.10993 | 0.10993 | 0.10993 | 1 | 0 | 0.99757 | -0.017008 | 40.7159
27 | 0.00035658 | 8.9156e-05 | -0.00035658 | -8.9218e-05 | 8.5644e-10 | -6.1988e-08 | 0.00053401 | 0.00053403 | 0.00053403 | 0.99347 | -0.045756 | 0.99346 | -0.045774 | 0.19779
28 | -0.001186 | -0.00029703 | 0.0011861 | 0.00029671 | 5.0779e-08 | -3.1445e-07 | 0.0017763 | 0.0017762 | 0.0017763 | 0.99347 | -0.045756 | 0.99351 | -0.045446 | 0.6579
29 | 0.00017495 | 4.3698e-05 | -0.00017495 | -4.3846e-05 | 4.9152e-10 | -1.4838e-07 | 0.00026199 | 0.00026204 | 0.00026204 | 0.99346 | -0.045774 | 0.99346 | -0.045794 | 0.097052
30 | -0.0025371 | -0.00063532 | 0.0025371 | 0.00063531 | 9.6044e-09 | -1.0111e-08 | 0.0037997 | 0.0037997 | 0.0037997 | 0.99351 | -0.045446 | 0.99351 | -0.045419 | 1.4073
31 | -0.0041832 | -0.0010479 | 0.004184 | 0.0010478 | 8.042e-07 | -1.1597e-07 | 0.0062652 | 0.006265 | 0.0062652 | 0.99351 | -0.045419 | 0.99371 | -0.044028 | 2.3204
32 | 0.0010335 | 0.00025846 | -0.0010334 | -0.000259 | 6.5109e-08 | -5.4091e-07 | 0.0015463 | 0.0015465 | 0.0015465 | 0.99438 | -0.039341 | 0.99431 | -0.039797 | 0.57279
33 | 0.05537 | 0.0139 | -0.055194 | -0.013833 | 0.00017591 | 6.7131e-05 | 0.083027 | 0.083027 | 0.083027 | 0.99245 | -0.05281 | 0.9892 | -0.075757 | 30.7506
34 | 0.021888 | 0.0054872 | -0.021876 | -0.0054826 | 1.2623e-05 | 4.6099e-06 | 0.032737 | 0.032737 | 0.032737 | 0.99492 | -0.035564 | 0.99433 | -0.03973 | 12.1248
35 | -0.032277 | -0.0080909 | 0.032311 | 0.0081037 | 3.4037e-05 | 1.2787e-05 | 0.048275 | 0.048275 | 0.048275 | 0.99492 | -0.035564 | 0.99601 | -0.027958 | 17.8795
36 | 0.0094365 | 0.0023651 | -0.0094333 | -0.0023642 | 3.1838e-06 | 8.928e-07 | 0.014122 | 0.014122 | 0.014122 | 0.99433 | -0.03973 | 0.99398 | -0.042168 | 5.2303
37 | 0.013929 | 0.0034919 | -0.01392 | -0.0034888 | 9.2069e-06 | 3.098e-06 | 0.02081 | 0.02081 | 0.02081 | 0.99601 | -0.027958 | 0.99533 | -0.032732 | 7.7076
38 | 0.0067493 | 0.0016915 | -0.0067487 | -0.0016914 | 5.7482e-07 | 1.0413e-07 | 0.010104 | 0.010104 | 0.010104 | 0.99398 | -0.042168 | 0.9939 | -0.042783 | 3.7422
39 | 0.01392 | 0.0034888 | -0.013917 | -0.0034879 | 2.8992e-06 | 9.7568e-07 | 0.02081 | 0.02081 | 0.02081 | 0.99533 | -0.032732 | 0.99511 | -0.034237 | 7.7076
40 | 0.011363 | 0.0028477 | -0.011362 | -0.0028473 | 1.1363e-06 | 3.5509e-07 | 0.016991 | 0.016991 | 0.016991 | 0.99511 | -0.034237 | 0.99501 | -0.034959 | 6.2929
41 | 0.006461 | 0.0016191 | -0.0064594 | -0.0016189 | 1.6252e-06 | 2.6282e-07 | 0.0096622 | 0.0096624 | 0.0096624 | 0.99501 | -0.034959 | 0.99475 | -0.036777 | 3.5787

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24094 | 0.060362

## res_load
| p_mw | q_mvar
0 | 0.0029476 | 0.00073874
1 | 0.0034636 | 0.00086806
2 | 0.0025914 | 0.00064947
3 | 0.014102 | 0.0035342
4 | 0.0082087 | 0.0020573
5 | 0.0052129 | 0.0013065
6 | 0.0022872 | 0.00057324
7 | 0.0063306 | 0.0015866
8 | 0.014889 | 0.0037315
9 | 0.0037894 | 0.0009497
10 | 0.0044378 | 0.0011122
11 | 0.014546 | 0.0036456
12 | 0.0093661 | 0.0023474
13 | 0.00082942 | 0.00020787
14 | 0.00018163 | 4.552e-05
15 | 0.0013511 | 0.00033861
16 | 0.00017495 | 4.3846e-05
17 | 0.0016461 | 0.00041256
18 | 0.002873 | 0.00072005
19 | 0.0028029 | 0.00070246
20 | 0.0010334 | 0.000259
21 | 0.013253 | 0.0033216
22 | 0.014694 | 0.0036827
23 | 0.010389 | 0.0026037
24 | 0.012439 | 0.0031175
25 | 0.0026841 | 0.00067269
26 | 0.0067487 | 0.0016914
27 | 0.0025544 | 0.00064019
28 | 0.0049005 | 0.0012282
29 | 0.055194 | 0.013833
30 | 0.0063443 | 0.00159
31 | 0.0064594 | 0.0016189

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1