## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1123-6_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1123-6_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1123-6_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1123-6_0_1_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_1123-6_0_1_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1123-6_0_1_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1123-6_0_1_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1123-6_0_1_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1123-6_0_1_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_1123-6_0_1_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1123-6_0_1_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_1123-6_0_1_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1123-6_0_1_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1123-6_0_1_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1123-6_0_1_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1123-6_0_1_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1123-6_0_1_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1123-6_0_1_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1123-6_0_1_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1123-6_0_1_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_1123-6_0_1_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1123-6_0_1_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1123-6_0_1_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_1123-6_0_1_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1123-6_0_1_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1123-6_0_1_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1123-6_0_1_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1123-6_0_1_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1123-6_0_1_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1123-6_0_1_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1123-6_0_1_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_1123-6_0_1_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1123-6_0_1_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1123-6_0_1_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_1123-6_0_1_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1123-6_0_1_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1123-6_0_1_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1123-6_0_1_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1123-6_0_1_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_1123-6_0_1_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1123-6_0_1_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1123-6_0_1_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1123-6_0_1_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1123-6_0_1_node_39 | 0.4 | n |  | TRUE
44 | bus_MV_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1123-6_0_1_load_0 | 0 | 0.00016684 | 4.1815e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1123-6_0_1_load_1 | 1 | 0.0016876 | 0.00042295 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1123-6_0_1_load_23 | 3 | 7.4915e-05 | 1.8775e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1123-6_0_1_load_3 | 6 | 6.9341e-05 | 1.7379e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1123-6_0_1_load_4 | 7 | 0.0016419 | 0.0004115 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1123-6_0_1_load_28 | 8 | 0.0012473 | 0.0003126 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1123-6_0_1_load_26 | 10 | 0.0006867 | 0.0001721 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1123-6_0_1_load_7 | 11 | 0.00030177 | 7.563e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1123-6_0_1_load_8 | 12 | 0.0024668 | 0.00061823 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1123-6_0_1_load_9 | 13 | 0.00057492 | 0.00014409 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1123-6_0_1_load_11 | 14 | 0.0011359 | 0.00028469 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1123-6_0_1_load_13 | 15 | 0.00010126 | 2.5378e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1123-6_0_1_load_12 | 16 | 0.00042496 | 0.00010651 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1123-6_0_1_load_14 | 17 | 0.00097246 | 0.00024372 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1123-6_0_1_load_42 | 22 | 0.00011471 | 2.8748e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1123-6_0_1_load_17 | 23 | 0.00041393 | 0.00010374 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1123-6_0_1_load_20 | 24 | 0.00038319 | 9.6035e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1123-6_0_1_load_16 | 25 | 0.00051463 | 0.00012898 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1123-6_0_1_load_18 | 26 | 5.7308e-05 | 1.4363e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1123-6_0_1_load_21 | 27 | 0.00035646 | 8.9337e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1123-6_0_1_load_41 | 30 | 7.5212e-05 | 1.885e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1123-6_0_1_load_35 | 31 | 0.00070137 | 0.00017578 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1123-6_0_1_load_32 | 32 | 0.0010535 | 0.00026403 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1123-6_0_1_load_31 | 34 | 0.00053155 | 0.00013322 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1123-6_0_1_load_27 | 35 | 0.00063507 | 0.00015916 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1123-6_0_1_load_30 | 37 | 0.0007033 | 0.00017626 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1123-6_0_1_load_37 | 38 | 0.0013889 | 0.00034809 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1123-6_0_1_load_33 | 40 | 0.00042439 | 0.00010636 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1123-6_0_1_load_36 | 42 | 0.00023016 | 5.7685e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1123-6_0_1_load_39 | 43 | 0.0013634 | 0.00034169 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1123-6_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1123-6_0_1_line_1 | NAYY 4x150 SE | 1 | 2 | 0.013008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1123-6_0_1_line_2 | NAYY 4x150 SE | 2 | 4 | 0.16472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1123-6_0_1_line_3 | NAYY 4x150 SE | 3 | 4 | 0.37621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1123-6_0_1_line_4 | NAYY 4x150 SE | 3 | 5 | 0.42377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1123-6_0_1_line_5 | NAYY 4x150 SE | 4 | 6 | 0.02798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1123-6_0_1_line_6 | NAYY 4x150 SE | 5 | 12 | 0.030385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1123-6_0_1_line_7 | NAYY 4x150 SE | 6 | 7 | 0.06201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1123-6_0_1_line_8 | NAYY 4x150 SE | 7 | 8 | 0.34299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1123-6_0_1_line_9 | NAYY 4x150 SE | 8 | 9 | 0.27939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1123-6_0_1_line_10 | NAYY 4x150 SE | 8 | 10 | 0.061198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1123-6_0_1_line_11 | NAYY 4x150 SE | 10 | 35 | 0.0090958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1123-6_0_1_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0093971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1123-6_0_1_line_13 | NAYY 4x150 SE | 11 | 13 | 0.061731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1123-6_0_1_line_14 | NAYY 4x150 SE | 13 | 14 | 0.03226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1123-6_0_1_line_15 | NAYY 4x150 SE | 14 | 15 | 0.021095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1123-6_0_1_line_16 | NAYY 4x150 SE | 15 | 16 | 0.017567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1123-6_0_1_line_17 | NAYY 4x150 SE | 16 | 17 | 0.0089528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1123-6_0_1_line_18 | NAYY 4x150 SE | 17 | 18 | 0.18691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1123-6_0_1_line_19 | NAYY 4x150 SE | 17 | 19 | 0.3293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1123-6_0_1_line_20 | NAYY 4x150 SE | 18 | 20 | 0.30793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1123-6_0_1_line_21 | NAYY 4x150 SE | 18 | 21 | 0.25632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1123-6_0_1_line_22 | NAYY 4x150 SE | 19 | 22 | 0.017741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1123-6_0_1_line_23 | NAYY 4x150 SE | 20 | 23 | 0.072168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1123-6_0_1_line_24 | NAYY 4x150 SE | 21 | 24 | 0.076776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1123-6_0_1_line_25 | NAYY 4x150 SE | 23 | 25 | 0.046308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1123-6_0_1_line_26 | NAYY 4x150 SE | 24 | 27 | 0.044838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1123-6_0_1_line_27 | NAYY 4x150 SE | 25 | 26 | 0.040451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1123-6_0_1_line_28 | NAYY 4x150 SE | 28 | 29 | 0.052529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1123-6_0_1_line_29 | NAYY 4x150 SE | 28 | 30 | 0.33843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1123-6_0_1_line_30 | NAYY 4x150 SE | 29 | 31 | 0.014075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1123-6_0_1_line_31 | NAYY 4x150 SE | 29 | 32 | 0.027529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1123-6_0_1_line_32 | NAYY 4x150 SE | 30 | 33 | 0.019597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1123-6_0_1_line_33 | NAYY 4x150 SE | 32 | 34 | 0.33516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1123-6_0_1_line_34 | NAYY 4x150 SE | 33 | 43 | 0.020877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1123-6_0_1_line_35 | NAYY 4x150 SE | 34 | 40 | 0.0068128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1123-6_0_1_line_36 | NAYY 4x150 SE | 35 | 36 | 0.19965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1123-6_0_1_line_37 | NAYY 4x150 SE | 36 | 37 | 0.07178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1123-6_0_1_line_38 | NAYY 4x150 SE | 37 | 38 | 0.031546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1123-6_0_1_line_39 | NAYY 4x150 SE | 38 | 39 | 0.025177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1123-6_0_1_line_40 | NAYY 4x150 SE | 39 | 43 | 0.027228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1123-6_0_1_line_41 | NAYY 4x150 SE | 40 | 41 | 0.017174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1123-6_0_1_line_42 | NAYY 4x150 SE | 41 | 42 | 0.016961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1123-6_0_1_trafo_6 | 0.25 MVA 20/0.4 kV | 44 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2637554.9083 | 1227368.3039 | 2637567.2563 | 1227341.1657
1 | 2637577.3623 | 1227333.2579 | 2637571.7429 | 1227336.3021 | 2637567.2563 | 1227341.1657 | 2637567.2563 | 1227341.1657
2 | 2637577.3623 | 1227333.2579 | 2637574.5761 | 1227325.6468 | 2637571.3803 | 1227315.6984 | 2637567.1729 | 1227306.3551 | 2637560.7197 | 1227298.6097 | 2637543.5765 | 1227277.233 | 2637512.4871 | 1227242.9941 | 2637511.0982 | 1227238.5271 | 2637511.7286 | 1227234.6843 | 2637514.8005 | 1227230.6456 | 2637542.3562 | 1227212.3859 | 2637545.9532 | 1227208.0059
3 | 2637773.2688 | 1226908.2387 | 2637545.9532 | 1227208.0059
4 | 2637773.2688 | 1226908.2387 | 2637802.7967 | 1226896.0297 | 2637817.411 | 1226886.0497 | 2637844.7876 | 1226865.3555 | 2637871.9562 | 1226844.0485 | 2637882.5615 | 1226838.8461 | 2637890.4976 | 1226837.4736 | 2637895.1631 | 1226839.1265 | 2637990.965 | 1226924.6442 | 2638022.2392 | 1226952.3384 | 2638039.5091 | 1226963.2553 | 2638053.3921 | 1226975.2401 | 2638056.259 | 1226982.007 | 2638058.1714 | 1226991.0692 | 2638061.2327 | 1226998.2487 | 2638066.2827 | 1227003.751 | 2638103.0452 | 1227020.4184
5 | 2637545.9532 | 1227208.0059 | 2637525.5026 | 1227209.9338 | 2637518.1151 | 1227209.0624
6 | 2638103.0452 | 1227020.4184 | 2638106.3782 | 1227006.4534 | 2638111.9158 | 1226991.413
7 | 2637518.1151 | 1227209.0624 | 2637507.6768 | 1227207.8313 | 2637476.7609 | 1227201.3217 | 2637460.1361 | 1227201.028 | 2637456.8661 | 1227201.2643
8 | 2637167.3292 | 1227017.3873 | 2637456.8661 | 1227201.2643
9 | 2637167.3292 | 1227017.3873 | 2637446.4938 | 1227006.1016
10 | 2637112.9811 | 1227045.5175 | 2637132.671 | 1227035.1435 | 2637167.3292 | 1227017.3873
11 | 2637112.9811 | 1227045.5175 | 2637104.9338 | 1227049.7573 | 2637104.9338 | 1227049.7573
12 | 2638111.9158 | 1226991.413 | 2638116.9568 | 1226983.4825
13 | 2638160.0752 | 1226939.5482 | 2638148.9138 | 1226951.2366 | 2638120.3829 | 1226978.0925 | 2638116.9568 | 1226983.4825
14 | 2638181.1338 | 1226915.1722 | 2638172.1388 | 1226926.915 | 2638160.0752 | 1226939.5482
15 | 2638181.1338 | 1226915.1722 | 2638189.0289 | 1226904.8654 | 2638193.0621 | 1226897.8267
16 | 2638201.7962 | 1226882.5843 | 2638193.0621 | 1226897.8267
17 | 2638206.2473 | 1226874.8165 | 2638201.7962 | 1226882.5843
18 | 2638277.5595 | 1226702.5218 | 2638252.7385 | 1226772.1491 | 2638237.3623 | 1226814.4539 | 2638223.3044 | 1226845.0489 | 2638206.2473 | 1226874.8165
19 | 2638206.2473 | 1226874.8165 | 2638490.7491 | 1227040.6457
20 | 2638197.4083 | 1226462.317 | 2638203.0805 | 1226465.3885 | 2638207.8926 | 1226471.4008 | 2638211.4569 | 1226486.4217 | 2638214.845 | 1226501.7416 | 2638214.5915 | 1226530.602 | 2638216.0568 | 1226540.8287 | 2638220.0785 | 1226550.716 | 2638227.164 | 1226559.111 | 2638241.0551 | 1226568.7505 | 2638291.8843 | 1226594.0146 | 2638313.3174 | 1226604.6589 | 2638301.9335 | 1226634.1369 | 2638277.5595 | 1226702.5218
21 | 2638277.5595 | 1226702.5218 | 2638301.9335 | 1226634.1369 | 2638313.3174 | 1226604.6589 | 2638426.6696 | 1226662.035 | 2638439.9564 | 1226666.579 | 2638450.757 | 1226668.8168
22 | 2638490.7491 | 1227040.6457 | 2638508.4883 | 1227040.4117
23 | 2638197.4083 | 1226462.317 | 2638191.1142 | 1226461.6651 | 2638179.3189 | 1226461.9897 | 2638145.8993 | 1226469.5802 | 2638136.3318 | 1226472.3539 | 2638127.943 | 1226477.4362
24 | 2638450.757 | 1226668.8168 | 2638453.9703 | 1226655.9297 | 2638474.8655 | 1226595.9716
25 | 2638089.7492 | 1226503.4867 | 2638103.0453 | 1226495.8552 | 2638126.5622 | 1226478.2728 | 2638127.943 | 1226477.4362
26 | 2638474.8655 | 1226595.9716 | 2638475.9012 | 1226592.9997 | 2638485.5935 | 1226567.3912 | 2638494.1088 | 1226555.8916
27 | 2638056.1147 | 1226525.9453 | 2638063.4743 | 1226520.8285 | 2638087.3368 | 1226504.8713 | 2638089.7492 | 1226503.4867
28 | 2636721.5377 | 1227473.2498 | 2636759.0696 | 1227462.3969 | 2636772.6726 | 1227462.2808
29 | 2636773.9131 | 1227123.8577 | 2636772.6726 | 1227462.2808
30 | 2636721.5377 | 1227473.2498 | 2636713.8773 | 1227461.4422
31 | 2636721.5377 | 1227473.2498 | 2636695.3713 | 1227481.8034
32 | 2636784.9257 | 1227107.9079 | 2636780.9296 | 1227114.4205 | 2636778.664 | 1227119.265 | 2636773.9131 | 1227123.8577
33 | 2636474.4692 | 1227377.21 | 2636458.2531 | 1227395.3073 | 2636454.3366 | 1227405.0003 | 2636453.057 | 1227414.7206 | 2636454.8311 | 1227423.2478 | 2636459.3928 | 1227431.9254 | 2636501.9739 | 1227481.2161 | 2636517.611 | 1227494.1421 | 2636534.4201 | 1227503.7732 | 2636551.391 | 1227510.5036 | 2636571.3526 | 1227513.9283 | 2636593.4476 | 1227512.9856 | 2636613.0474 | 1227508.7146 | 2636695.3713 | 1227481.8034
34 | 2636784.9257 | 1227107.9079 | 2636788.9176 | 1227104.5305 | 2636803.9654 | 1227100.2381
35 | 2636474.4692 | 1227377.21 | 2636479.0156 | 1227372.1362
36 | 2636926.6273 | 1227112.4207 | 2636949.7417 | 1227120.8691 | 2636960.9771 | 1227122.6177 | 2636974.6048 | 1227121.0902 | 2636986.4188 | 1227116.294 | 2637005.1982 | 1227104.0476 | 2637031.3535 | 1227081.7188 | 2637046.656 | 1227072.8975 | 2637085.3647 | 1227058.5519 | 2637104.9338 | 1227049.7573
37 | 2636926.6273 | 1227112.4207 | 2636913.4187 | 1227111.1269 | 2636880.1346 | 1227113.6111 | 2636861.2111 | 1227116.1289 | 2636855.4168 | 1227117.8384
38 | 2636855.4168 | 1227117.8384 | 2636838.5485 | 1227122.815 | 2636831.0851 | 1227122.6242 | 2636826.0328 | 1227118.5461
39 | 2636830.4497 | 1227094.2587 | 2636824.9947 | 1227112.4026 | 2636826.0328 | 1227118.5461 | 2636826.0328 | 1227118.5461
40 | 2636830.4497 | 1227094.2587 | 2636820.8863 | 1227095.4113 | 2636803.9654 | 1227100.2381
41 | 2636485.5405 | 1227357.1067 | 2636485.6909 | 1227362.2441 | 2636482.8145 | 1227367.8966 | 2636479.0156 | 1227372.1362
42 | 2636485.5405 | 1227357.1067 | 2636501.3893 | 1227351.067

## bus_geodata
| x | y | coords
0 | 2637554.9083 | 1227368.3039
1 | 2637567.2563 | 1227341.1657
2 | 2637577.3623 | 1227333.2579
3 | 2637773.2688 | 1226908.2387
4 | 2637545.9532 | 1227208.0059
5 | 2638103.0452 | 1227020.4184
6 | 2637518.1151 | 1227209.0624
7 | 2637456.8661 | 1227201.2643
8 | 2637167.3292 | 1227017.3873
9 | 2637446.4938 | 1227006.1016
10 | 2637112.9811 | 1227045.5175
11 | 2638116.9568 | 1226983.4825
12 | 2638111.9158 | 1226991.413
13 | 2638160.0752 | 1226939.5482
14 | 2638181.1338 | 1226915.1722
15 | 2638193.0621 | 1226897.8267
16 | 2638201.7962 | 1226882.5843
17 | 2638206.2473 | 1226874.8165
18 | 2638277.5595 | 1226702.5218
19 | 2638490.7491 | 1227040.6457
20 | 2638197.4083 | 1226462.317
21 | 2638450.757 | 1226668.8168
22 | 2638508.4883 | 1227040.4117
23 | 2638127.943 | 1226477.4362
24 | 2638474.8655 | 1226595.9716
25 | 2638089.7492 | 1226503.4867
26 | 2638056.1147 | 1226525.9453
27 | 2638494.1088 | 1226555.8916
28 | 2636772.6726 | 1227462.2808
29 | 2636721.5377 | 1227473.2498
30 | 2636773.9131 | 1227123.8577
31 | 2636713.8773 | 1227461.4422
32 | 2636695.3713 | 1227481.8034
33 | 2636784.9257 | 1227107.9079
34 | 2636474.4692 | 1227377.21
35 | 2637104.9338 | 1227049.7573
36 | 2636926.6273 | 1227112.4207
37 | 2636855.4168 | 1227117.8384
38 | 2636826.0328 | 1227118.5461
39 | 2636830.4497 | 1227094.2587
40 | 2636479.0156 | 1227372.1362
41 | 2636485.5405 | 1227357.1067
42 | 2636501.3893 | 1227351.067
43 | 2636803.9654 | 1227100.2381
44 | 2637446.4938 | 1227006.1016

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9842 | -0.11261 | 0.00016684 | 4.1815e-05
1 | 0.98421 | -0.11256 | 0.0016876 | 0.00042295
2 | 0.98424 | -0.11231 | 0 | 0
3 | 0.98035 | -0.14063 | 7.4915e-05 | 1.8775e-05
4 | 0.98469 | -0.10914 | 0 | 0
5 | 0.97551 | -0.17593 | 0 | 0
6 | 0.98508 | -0.10627 | 6.9341e-05 | 1.7379e-05
7 | 0.98597 | -0.099854 | 0.0016419 | 0.0004115
8 | 0.9917 | -0.058811 | 0.0012473 | 0.0003126
9 | 1 | 0 | -0.021657 | -0.0052178
10 | 0.99101 | -0.063728 | 0.0006867 | 0.0001721
11 | 0.97508 | -0.17901 | 0.00030177 | 7.563e-05
12 | 0.97516 | -0.17847 | 0.0024668 | 0.00061823
13 | 0.97463 | -0.18238 | 0.00057492 | 0.00014409
14 | 0.97442 | -0.18394 | 0.0011359 | 0.00028469
15 | 0.97432 | -0.18471 | 0.00010126 | 2.5378e-05
16 | 0.97423 | -0.18533 | 0.00042496 | 0.00010651
17 | 0.9742 | -0.18561 | 0.00097246 | 0.00024372
18 | 0.97372 | -0.18917 | 0 | 0
19 | 0.97414 | -0.18606 | 0 | 0
20 | 0.97328 | -0.19246 | 0 | 0
21 | 0.97345 | -0.19123 | 0 | 0
22 | 0.97414 | -0.18608 | 0.00011471 | 2.8748e-05
23 | 0.97318 | -0.19322 | 0.00041393 | 0.00010374
24 | 0.97336 | -0.19183 | 0.00038319 | 9.6035e-05
25 | 0.97314 | -0.1935 | 0.00051463 | 0.00012898
26 | 0.97313 | -0.19353 | 5.7308e-05 | 1.4363e-05
27 | 0.97334 | -0.192 | 0.00035646 | 8.9337e-05
28 | 0.98617 | -0.098549 | 0 | 0
29 | 0.98595 | -0.10016 | 0 | 0
30 | 0.98761 | -0.088139 | 7.5212e-05 | 1.885e-05
31 | 0.98593 | -0.10026 | 0.00070137 | 0.00017578
32 | 0.98586 | -0.1008 | 0.0010535 | 0.00026403
33 | 0.98769 | -0.087519 | 0 | 0
34 | 0.98528 | -0.10495 | 0.00053155 | 0.00013322
35 | 0.99091 | -0.064396 | 0.00063507 | 0.00015916
36 | 0.98905 | -0.077768 | 0 | 0
37 | 0.98838 | -0.082578 | 0.0007033 | 0.00017626
38 | 0.98812 | -0.084466 | 0.0013889 | 0.00034809
39 | 0.98796 | -0.085615 | 0 | 0
40 | 0.98528 | -0.105 | 0.00042439 | 0.00010636
41 | 0.98527 | -0.10504 | 0 | 0
42 | 0.98527 | -0.10508 | 0.00023016 | 5.7685e-05
43 | 0.98779 | -0.086857 | 0.0013634 | 0.00034169
44 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00016684 | -4.1815e-05 | 0.00016684 | 4.1436e-05 | 1.1832e-09 | -3.7844e-07 | 0.00025225 | 0.00025212 | 0.00025225 | 0.9842 | -0.11261 | 0.98421 | -0.11256 | 0.093426
1 | -0.0018544 | -0.00046438 | 0.0018545 | 0.00046424 | 6.3797e-08 | -1.4078e-07 | 0.0028036 | 0.0028035 | 0.0028036 | 0.98421 | -0.11256 | 0.98424 | -0.11231 | 1.0384
2 | -0.0018545 | -0.00046424 | 0.0018553 | 0.00046246 | 8.0763e-07 | -1.7838e-06 | 0.0028035 | 0.0028027 | 0.0028035 | 0.98424 | -0.11231 | 0.98469 | -0.10914 | 1.0383
3 | -0.0079395 | -0.0019713 | 0.0079735 | 0.0019796 | 3.405e-05 | 8.3317e-06 | 0.012044 | 0.012043 | 0.012044 | 0.98035 | -0.14063 | 0.98469 | -0.10914 | 4.4609
4 | 0.0078646 | 0.0019525 | -0.0078269 | -0.0019434 | 3.7646e-05 | 9.1622e-06 | 0.011931 | 0.011933 | 0.011933 | 0.98035 | -0.14063 | 0.97551 | -0.17593 | 4.4195
5 | -0.0098288 | -0.0024421 | 0.0098327 | 0.0024432 | 3.8478e-06 | 1.1239e-06 | 0.014845 | 0.014845 | 0.014845 | 0.98469 | -0.10914 | 0.98508 | -0.10627 | 5.4983
6 | 0.0078269 | 0.0019434 | -0.0078242 | -0.0019427 | 2.6996e-06 | 6.5913e-07 | 0.011933 | 0.011933 | 0.011933 | 0.97551 | -0.17593 | 0.97516 | -0.17847 | 4.4195
7 | -0.009902 | -0.0024606 | 0.0099107 | 0.0024631 | 8.6482e-06 | 2.5361e-06 | 0.01495 | 0.01495 | 0.01495 | 0.98508 | -0.10627 | 0.98597 | -0.099854 | 5.537
8 | -0.011553 | -0.0028746 | 0.011618 | 0.0028952 | 6.4999e-05 | 2.06e-05 | 0.017428 | 0.017426 | 0.017428 | 0.98597 | -0.099854 | 0.9917 | -0.058811 | 6.4547
9 | -0.02069 | -0.0051567 | 0.020857 | 0.0052177 | 0.0001679 | 6.0943e-05 | 0.031034 | 0.031033 | 0.031034 | 0.9917 | -0.058811 | 1 | 0 | 11.4941
10 | 0.0078246 | 0.0019489 | -0.0078194 | -0.0019477 | 5.2601e-06 | 1.2341e-06 | 0.011736 | 0.011737 | 0.011737 | 0.9917 | -0.058811 | 0.99101 | -0.063728 | 4.3469
11 | 0.0071327 | 0.0017756 | -0.007132 | -0.0017754 | 6.505e-07 | 1.3301e-07 | 0.010706 | 0.010706 | 0.010706 | 0.99101 | -0.063728 | 0.99091 | -0.064396 | 3.965
12 | -0.0053571 | -0.0013244 | 0.0053575 | 0.0013245 | 3.9127e-07 | 3.3262e-08 | 0.0081686 | 0.0081686 | 0.0081686 | 0.97508 | -0.17901 | 0.97516 | -0.17847 | 3.0254
13 | 0.0050553 | 0.0012488 | -0.005053 | -0.0012487 | 2.2887e-06 | 1.1064e-07 | 0.0077081 | 0.0077084 | 0.0077084 | 0.97508 | -0.17901 | 0.97463 | -0.18238 | 2.855
14 | 0.0044781 | 0.0011046 | -0.0044772 | -0.0011047 | 9.3925e-07 | -4.0688e-08 | 0.0068306 | 0.0068308 | 0.0068308 | 0.97463 | -0.18238 | 0.97442 | -0.18394 | 2.5299
15 | 0.0033413 | 0.00081997 | -0.0033409 | -0.00082011 | 3.4188e-07 | -1.3126e-07 | 0.0050962 | 0.0050963 | 0.0050963 | 0.97442 | -0.18394 | 0.97432 | -0.18471 | 1.8875
16 | 0.0032397 | 0.00079473 | -0.0032394 | -0.00079484 | 2.6769e-07 | -1.1581e-07 | 0.0049416 | 0.0049417 | 0.0049417 | 0.97432 | -0.18471 | 0.97423 | -0.18533 | 1.8303
17 | 0.0028144 | 0.00068834 | -0.0028143 | -0.00068841 | 1.0294e-07 | -7.1882e-08 | 0.0042926 | 0.0042927 | 0.0042927 | 0.97423 | -0.18533 | 0.9742 | -0.18561 | 1.5899
18 | 0.0017272 | 0.00042026 | -0.0017263 | -0.00042227 | 8.0921e-07 | -2.0148e-06 | 0.0026336 | 0.0026344 | 0.0026344 | 0.9742 | -0.18561 | 0.97372 | -0.18917 | 0.97572
19 | 0.00011471 | 2.443e-05 | -0.00011471 | -2.8527e-05 | 6.2519e-09 | -4.0975e-06 | 0.00017377 | 0.00017514 | 0.00017514 | 0.9742 | -0.18561 | 0.97414 | -0.18606 | 0.064865
20 | 0.00098643 | 0.00024149 | -0.00098599 | -0.00024516 | 4.3584e-07 | -3.6609e-06 | 0.0015054 | 0.0015068 | 0.0015068 | 0.97372 | -0.18917 | 0.97328 | -0.19246 | 0.55806
21 | 0.00073992 | 0.00018078 | -0.00073971 | -0.00018389 | 2.0409e-07 | -3.1089e-06 | 0.0011291 | 0.0011302 | 0.0011302 | 0.97372 | -0.18917 | 0.97345 | -0.19123 | 0.41859
22 | 0.00011471 | 2.8527e-05 | -0.00011471 | -2.8748e-05 | 3.3971e-10 | -2.2073e-07 | 0.00017514 | 0.00017522 | 0.00017522 | 0.97414 | -0.18606 | 0.97414 | -0.18608 | 0.064895
23 | 0.00098599 | 0.00024516 | -0.00098589 | -0.00024601 | 1.0226e-07 | -8.5744e-07 | 0.0015068 | 0.0015071 | 0.0015071 | 0.97328 | -0.19246 | 0.97318 | -0.19322 | 0.55817
24 | 0.00073971 | 0.00018389 | -0.00073965 | -0.00018482 | 6.1213e-08 | -9.3085e-07 | 0.0011302 | 0.0011305 | 0.0011305 | 0.97345 | -0.19123 | 0.97336 | -0.19183 | 0.41872
25 | 0.00057196 | 0.00014227 | -0.00057194 | -0.00014284 | 2.2086e-08 | -5.6686e-07 | 0.00087416 | 0.00087436 | 0.00087436 | 0.97318 | -0.19322 | 0.97314 | -0.1935 | 0.32384
26 | 0.00035647 | 8.8783e-05 | -0.00035646 | -8.9337e-05 | 8.3056e-09 | -5.5411e-07 | 0.00054474 | 0.00054494 | 0.00054494 | 0.97336 | -0.19183 | 0.97334 | -0.192 | 0.20183
27 | 5.7308e-05 | 1.386e-05 | -5.7308e-05 | -1.4363e-05 | 1.9343e-10 | -5.0249e-07 | 8.7451e-05 | 8.763e-05 | 8.763e-05 | 0.97314 | -0.1935 | 0.97313 | -0.19353 | 0.032455
28 | 0.0029425 | 0.00073167 | -0.0029419 | -0.00073209 | 6.4558e-07 | -4.2176e-07 | 0.0044378 | 0.0044381 | 0.0044381 | 0.98617 | -0.098549 | 0.98595 | -0.10016 | 1.6437
29 | -0.0029425 | -0.00073167 | 0.0029467 | 0.00072895 | 4.1576e-06 | -2.7252e-06 | 0.0044378 | 0.0044363 | 0.0044378 | 0.98617 | -0.098549 | 0.98761 | -0.088139 | 1.6436
30 | 0.00070138 | 0.0001756 | -0.00070137 | -0.00017578 | 9.8404e-09 | -1.7571e-07 | 0.0010585 | 0.0010585 | 0.0010585 | 0.98595 | -0.10016 | 0.98593 | -0.10026 | 0.39205
31 | 0.0022405 | 0.00055649 | -0.0022403 | -0.00055677 | 1.9621e-07 | -2.7559e-07 | 0.0033796 | 0.0033797 | 0.0033797 | 0.98595 | -0.10016 | 0.98586 | -0.1008 | 1.2518
32 | -0.0030219 | -0.0007478 | 0.0030221 | 0.00074764 | 2.5311e-07 | -1.5344e-07 | 0.0045496 | 0.0045495 | 0.0045496 | 0.98761 | -0.088139 | 0.98769 | -0.087519 | 1.6851
33 | 0.0011868 | 0.00029273 | -0.0011861 | -0.00029675 | 6.7039e-07 | -4.0133e-06 | 0.0017896 | 0.0017911 | 0.0017911 | 0.98586 | -0.1008 | 0.98528 | -0.10495 | 0.66338
34 | -0.0030221 | -0.00074764 | 0.0030224 | 0.00074748 | 2.6964e-07 | -1.6351e-07 | 0.0045495 | 0.0045495 | 0.0045495 | 0.98769 | -0.087519 | 0.98779 | -0.086857 | 1.685
35 | 0.00065456 | 0.00016353 | -0.00065455 | -0.00016361 | 4.1529e-09 | -8.517e-08 | 0.00098836 | 0.00098839 | 0.00098839 | 0.98528 | -0.10495 | 0.98528 | -0.105 | 0.36607
36 | 0.006497 | 0.0016163 | -0.0064851 | -0.0016143 | 1.1849e-05 | 1.9903e-06 | 0.009752 | 0.0097529 | 0.0097529 | 0.99091 | -0.064396 | 0.98905 | -0.077768 | 3.6122
37 | 0.0064851 | 0.0016143 | -0.0064808 | -0.0016136 | 4.2606e-06 | 7.1811e-07 | 0.0097529 | 0.0097532 | 0.0097532 | 0.98905 | -0.077768 | 0.98838 | -0.082578 | 3.6123
38 | 0.0057775 | 0.0014373 | -0.0057761 | -0.0014371 | 1.488e-06 | 1.6813e-07 | 0.0086944 | 0.0086945 | 0.0086945 | 0.98838 | -0.082578 | 0.98812 | -0.084466 | 3.2202
39 | 0.0043872 | 0.001089 | -0.0043865 | -0.0010891 | 6.8497e-07 | -5.8995e-08 | 0.006603 | 0.0066031 | 0.0066031 | 0.98812 | -0.084466 | 0.98796 | -0.085615 | 2.4456
40 | 0.0043865 | 0.0010891 | -0.0043857 | -0.0010892 | 7.4082e-07 | -6.3676e-08 | 0.0066031 | 0.0066032 | 0.0066032 | 0.98796 | -0.085615 | 0.98779 | -0.086857 | 2.4456
41 | 0.00023017 | 5.7251e-05 | -0.00023017 | -5.7469e-05 | 1.2941e-09 | -2.1823e-07 | 0.00034746 | 0.00034753 | 0.00034753 | 0.98528 | -0.105 | 0.98527 | -0.10504 | 0.12872
42 | 0.00023017 | 5.7469e-05 | -0.00023016 | -5.7685e-05 | 1.2785e-09 | -2.1551e-07 | 0.00034753 | 0.00034761 | 0.00034761 | 0.98527 | -0.10504 | 0.98527 | -0.10508 | 0.12874

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.021657 | 0.0052178

## res_load
| p_mw | q_mvar
0 | 0.00016684 | 4.1815e-05
1 | 0.0016876 | 0.00042295
2 | 7.4915e-05 | 1.8775e-05
3 | 6.9341e-05 | 1.7379e-05
4 | 0.0016419 | 0.0004115
5 | 0.0012473 | 0.0003126
6 | 0.0006867 | 0.0001721
7 | 0.00030177 | 7.563e-05
8 | 0.0024668 | 0.00061823
9 | 0.00057492 | 0.00014409
10 | 0.0011359 | 0.00028469
11 | 0.00010126 | 2.5378e-05
12 | 0.00042496 | 0.00010651
13 | 0.00097246 | 0.00024372
14 | 0.00011471 | 2.8748e-05
15 | 0.00041393 | 0.00010374
16 | 0.00038319 | 9.6035e-05
17 | 0.00051463 | 0.00012898
18 | 5.7308e-05 | 1.4363e-05
19 | 0.00035646 | 8.9337e-05
20 | 7.5212e-05 | 1.885e-05
21 | 0.00070137 | 0.00017578
22 | 0.0010535 | 0.00026403
23 | 0.00053155 | 0.00013322
24 | 0.00063507 | 0.00015916
25 | 0.0007033 | 0.00017626
26 | 0.0013889 | 0.00034809
27 | 0.00042439 | 0.00010636
28 | 0.00023016 | 5.7685e-05
29 | 0.0013634 | 0.00034169

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1