## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1127-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1127-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1127-8_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1127-8_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1127-8_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1127-8_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1127-8_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1127-8_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1127-8_0_2_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_1127-8_0_2_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_1127-8_0_2_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_1127-8_0_2_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_1127-8_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1127-8_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1127-8_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1127-8_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1127-8_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1127-8_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1127-8_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1127-8_0_2_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1127-8_0_2_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_1127-8_0_2_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_1127-8_0_2_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_1127-8_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1127-8_0_2_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_1127-8_0_2_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_1127-8_0_2_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1127-8_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1127-8_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1127-8_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1127-8_0_2_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1127-8_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1127-8_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1127-8_0_2_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1127-8_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1127-8_0_2_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_1127-8_0_2_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1127-8_0_2_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1127-8_0_2_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_1127-8_0_2_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1127-8_0_2_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_1127-8_0_2_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_1127-8_0_2_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_1127-8_0_2_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_1127-8_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1127-8_0_2_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_1127-8_0_2_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_1127-8_0_2_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_1127-8_0_2_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_1127-8_0_2_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1127-8_0_2_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_1127-8_0_2_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_1127-8_0_2_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_1127-8_0_2_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_1127-8_0_2_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_1127-8_0_2_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_1127-8_0_2_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_1127-8_0_2_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_1127-8_0_2_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_1127-8_0_2_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_1127-8_0_2_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_1127-8_0_2_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_1127-8_0_2_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_1127-8_0_2_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_1127-8_0_2_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_1127-8_0_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_1127-8_0_2_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_1127-8_0_2_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_1127-8_0_2_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_1127-8_0_2_node_69 | 0.4 | n |  | TRUE
70 | bus_MV_131_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1127-8_0_2_load_0 | 0 | 0.0022296 | 0.00055879 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1127-8_0_2_load_1 | 1 | 0.00061936 | 0.00015523 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1127-8_0_2_load_8 | 6 | 0.00067635 | 0.00016951 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1127-8_0_2_load_7 | 7 | 0.0014159 | 0.00035485 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1127-8_0_2_load_61 | 8 | 0.0036872 | 0.00092411 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1127-8_0_2_load_55 | 9 | 0.0036291 | 0.00090955 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1127-8_0_2_load_62 | 10 | 0.0018677 | 0.0004681 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1127-8_0_2_load_9 | 12 | 0.0026994 | 0.00067652 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1127-8_0_2_load_12 | 15 | 0.0025146 | 0.00063023 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1127-8_0_2_load_14 | 17 | 0.0034807 | 0.00087234 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1127-8_0_2_load_15 | 18 | 0.0031045 | 0.00077807 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1127-8_0_2_load_22 | 19 | 0.0010872 | 0.00027249 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1127-8_0_2_load_45 | 20 | 0.00067435 | 0.00016901 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1127-8_0_2_load_44 | 21 | 0.0025881 | 0.00064864 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1127-8_0_2_load_40 | 22 | 0.003007 | 0.00075363 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1127-8_0_2_load_21 | 23 | 0.002356 | 0.00059048 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1127-8_0_2_load_43 | 25 | 0.0030293 | 0.0007592 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1127-8_0_2_load_41 | 26 | 0.0020223 | 0.00050684 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1127-8_0_2_load_16 | 27 | 0.00099299 | 0.00024887 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1127-8_0_2_load_17 | 28 | 0.0011373 | 0.00028502 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1127-8_0_2_load_18 | 29 | 0.00096915 | 0.00024289 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1127-8_0_2_load_19 | 30 | 0.0014501 | 0.00036342 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1127-8_0_2_load_26 | 32 | 0.0025435 | 0.00063747 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1127-8_0_2_load_27 | 33 | 0.0010134 | 0.00025397 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1127-8_0_2_load_28 | 34 | 0.0019467 | 0.0004879 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1127-8_0_2_load_71 | 35 | 0.00072578 | 0.0001819 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1127-8_0_2_load_29 | 36 | 0.00070267 | 0.0001761 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1127-8_0_2_load_38 | 37 | 0.00071297 | 0.00017869 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1127-8_0_2_load_37 | 38 | 0.00086052 | 0.00021567 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1127-8_0_2_load_35 | 39 | 0.00083517 | 0.00020931 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1127-8_0_2_load_25 | 40 | 0.0024733 | 0.00061986 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1127-8_0_2_load_70 | 41 | 0.00087913 | 0.00022033 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1127-8_0_2_load_67 | 42 | 0.00096113 | 0.00024088 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1127-8_0_2_load_65 | 43 | 0.00074693 | 0.0001872 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1127-8_0_2_load_39 | 44 | 0.00072712 | 0.00018223 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1127-8_0_2_load_24 | 45 | 0.0015892 | 0.0003983 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1127-8_0_2_load_23 | 46 | 0.0021294 | 0.00053369 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1127-8_0_2_load_30 | 47 | 0.0037557 | 0.00094126 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1127-8_0_2_load_31 | 48 | 0.0020512 | 0.00051407 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1127-8_0_2_load_32 | 49 | 0.002591 | 0.00064937 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1127-8_0_2_load_33 | 50 | 0.0017639 | 0.00044208 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1127-8_0_2_load_34 | 51 | 0.0029359 | 0.00073579 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1127-8_0_2_load_42 | 52 | 0.0026916 | 0.00067458 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1127-8_0_2_load_63 | 53 | 0.0022888 | 0.00057363 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1127-8_0_2_load_59 | 54 | 0.0042484 | 0.0010647 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1127-8_0_2_load_46 | 56 | 0.00080694 | 0.00020224 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1127-8_0_2_load_47 | 57 | 0.00067268 | 0.00016859 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1127-8_0_2_load_49 | 58 | 0.0006722 | 0.00016847 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1127-8_0_2_load_51 | 60 | 0.00067873 | 0.00017011 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1127-8_0_2_load_53 | 61 | 0.0011452 | 0.00028703 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1127-8_0_2_load_56 | 62 | 0.0010532 | 0.00026397 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1127-8_0_2_load_60 | 65 | 0.0049201 | 0.0012331 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1127-8_0_2_load_64 | 66 | 0.0010758 | 0.00026963 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1127-8_0_2_load_66 | 67 | 0.00066689 | 0.00016714 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1127-8_0_2_load_68 | 68 | 0.0013039 | 0.00032679 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1127-8_0_2_load_69 | 69 | 0.00050109 | 0.00012559 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1127-8_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1127-8_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1127-8_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1127-8_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.028791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1127-8_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1127-8_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.027381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1127-8_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.035402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1127-8_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.030102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1127-8_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.029552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1127-8_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.012084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1127-8_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.019956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1127-8_0_2_line_11 | NAYY 4x150 SE | 11 | 59 | 0.003467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1127-8_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.018454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1127-8_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.025292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1127-8_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.010833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1127-8_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.002184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1127-8_0_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.013552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1127-8_0_2_line_17 | NAYY 4x150 SE | 14 | 18 | 0.032515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1127-8_0_2_line_18 | NAYY 4x150 SE | 15 | 19 | 0.013122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1127-8_0_2_line_19 | NAYY 4x150 SE | 16 | 20 | 0.034988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1127-8_0_2_line_20 | NAYY 4x150 SE | 16 | 21 | 0.020394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1127-8_0_2_line_21 | NAYY 4x150 SE | 17 | 22 | 0.0079389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1127-8_0_2_line_22 | NAYY 4x150 SE | 19 | 23 | 0.0038224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1127-8_0_2_line_23 | NAYY 4x150 SE | 20 | 24 | 0.025017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1127-8_0_2_line_24 | NAYY 4x150 SE | 21 | 25 | 0.035378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1127-8_0_2_line_25 | NAYY 4x150 SE | 22 | 26 | 0.013135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1127-8_0_2_line_26 | NAYY 4x150 SE | 23 | 46 | 0.014629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1127-8_0_2_line_27 | NAYY 4x150 SE | 24 | 55 | 0.010221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1127-8_0_2_line_28 | NAYY 4x150 SE | 24 | 56 | 0.026094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1127-8_0_2_line_29 | NAYY 4x150 SE | 26 | 52 | 0.011882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1127-8_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.03176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1127-8_0_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.021604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1127-8_0_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.023963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1127-8_0_2_line_33 | NAYY 4x150 SE | 29 | 31 | 0.021229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1127-8_0_2_line_34 | NAYY 4x150 SE | 29 | 32 | 0.047825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1127-8_0_2_line_35 | NAYY 4x150 SE | 30 | 35 | 0.02562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1127-8_0_2_line_36 | NAYY 4x150 SE | 31 | 38 | 0.028484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1127-8_0_2_line_37 | NAYY 4x150 SE | 31 | 39 | 0.026539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1127-8_0_2_line_38 | NAYY 4x150 SE | 32 | 40 | 0.015513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1127-8_0_2_line_39 | NAYY 4x150 SE | 32 | 33 | 0.020412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1127-8_0_2_line_40 | NAYY 4x150 SE | 33 | 34 | 0.0023302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1127-8_0_2_line_41 | NAYY 4x150 SE | 34 | 36 | 0.027711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1127-8_0_2_line_42 | NAYY 4x150 SE | 35 | 41 | 0.023252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1127-8_0_2_line_43 | NAYY 4x150 SE | 36 | 37 | 0.020889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1127-8_0_2_line_44 | NAYY 4x150 SE | 37 | 42 | 0.00038556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1127-8_0_2_line_45 | NAYY 4x150 SE | 38 | 44 | 0.026526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1127-8_0_2_line_46 | NAYY 4x150 SE | 40 | 45 | 0.0054849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1127-8_0_2_line_47 | NAYY 4x150 SE | 42 | 43 | 0.018632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1127-8_0_2_line_48 | NAYY 4x150 SE | 43 | 66 | 0.0061047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1127-8_0_2_line_49 | NAYY 4x150 SE | 45 | 46 | 0.01383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1127-8_0_2_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0057917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1127-8_0_2_line_51 | NAYY 4x150 SE | 47 | 49 | 0.021147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1127-8_0_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.022287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1127-8_0_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.0017708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1127-8_0_2_line_54 | NAYY 4x150 SE | 50 | 52 | 0.003183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1127-8_0_2_line_55 | NAYY 4x150 SE | 51 | 53 | 0.045552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1127-8_0_2_line_56 | NAYY 4x150 SE | 53 | 54 | 0.027301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1127-8_0_2_line_57 | NAYY 4x150 SE | 54 | 63 | 0.04148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1127-8_0_2_line_58 | NAYY 4x150 SE | 55 | 59 | 0.032784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1127-8_0_2_line_59 | NAYY 4x150 SE | 55 | 60 | 0.0085505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1127-8_0_2_line_60 | NAYY 4x150 SE | 56 | 57 | 0.0062661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1127-8_0_2_line_61 | NAYY 4x150 SE | 57 | 58 | 0.021054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1127-8_0_2_line_62 | NAYY 4x150 SE | 59 | 61 | 0.034212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1127-8_0_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.033062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1127-8_0_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.005797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1127-8_0_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0041775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1127-8_0_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.01465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1127-8_0_2_line_67 | NAYY 4x150 SE | 67 | 68 | 0.010544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1127-8_0_2_line_68 | NAYY 4x150 SE | 68 | 69 | 0.0089409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1127-8_0_2_trafo_31 | 0.25 MVA 20/0.4 kV | 70 | 48 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2643521.9464 | 1226105.1495 | 2643529.2661 | 1226105.5558 | 2643537.1907 | 1226106.6289
1 | 2643513.3537 | 1226109.0306 | 2643513.3476 | 1226104.6723 | 2643521.9464 | 1226105.1495
2 | 2643551.055 | 1226100.7566 | 2643546.0676 | 1226099.7084 | 2643545.2727 | 1226102.6933 | 2643544.4857 | 1226104.5887 | 2643542.6835 | 1226106.4211 | 2643540.5487 | 1226107.0837 | 2643537.1907 | 1226106.6289
3 | 2643484.5153 | 1226109.7426 | 2643500.1066 | 1226108.7225 | 2643513.3537 | 1226109.0306
4 | 2643551.055 | 1226100.7566 | 2643550.1853 | 1226109.8113 | 2643549.9831 | 1226112.5782 | 2643549.2937 | 1226116.6757
5 | 2643484.5153 | 1226109.7426 | 2643463.5953 | 1226113.8924 | 2643457.8416 | 1226115.7736
6 | 2643484.5153 | 1226109.7426 | 2643484.4614 | 1226093.2543 | 2643482.3067 | 1226074.4642
7 | 2643549.2937 | 1226116.6757 | 2643548.145 | 1226119.3245 | 2643547.0535 | 1226120.3616 | 2643531.3911 | 1226126.9511 | 2643522.6747 | 1226127.0178
8 | 2643457.8416 | 1226115.7736 | 2643433.0597 | 1226123.8758 | 2643429.7626 | 1226124.9856
9 | 2643510.5913 | 1226127.1103 | 2643522.6747 | 1226127.0178
10 | 2643410.8497 | 1226131.3518 | 2643429.7626 | 1226124.9856
11 | 2643410.8497 | 1226131.3518 | 2643411.0746 | 1226134.8111
12 | 2643405.006 | 1226278.9218 | 2643404.0549 | 1226260.4921
13 | 2643402.7476 | 1226235.2341 | 2643402.8742 | 1226237.6143 | 2643404.0549 | 1226260.4921
14 | 2643405.006 | 1226278.9218 | 2643414.9203 | 1226283.2883
15 | 2643402.7476 | 1226235.2341 | 2643402.627 | 1226233.0541
16 | 2643402.7476 | 1226235.2341 | 2643415.6583 | 1226239.3529
17 | 2643402.7476 | 1226235.2341 | 2643387.6547 | 1226232.3891 | 2643370.498 | 1226232.4275
18 | 2643426.9291 | 1226288.5773 | 2643414.9203 | 1226283.2883
19 | 2643402.627 | 1226233.0541 | 2643402.4389 | 1226229.7507 | 2643401.3253 | 1226209.9194 | 2643399.8229 | 1226198.1988
20 | 2643402.627 | 1226233.0541 | 2643399.2138 | 1226232.3399 | 2643386.9122 | 1226230.2713 | 2643382.4801 | 1226230.3599
21 | 2643415.6583 | 1226239.3529 | 2643423.2216 | 1226241.7658
22 | 2643426.9291 | 1226288.5773 | 2643430.4273 | 1226290.118
23 | 2643396.6422 | 1226173.3851 | 2643399.8229 | 1226198.1988
24 | 2643347.1058 | 1226230.7524 | 2643364.0868 | 1226230.7275 | 2643382.4801 | 1226230.3599
25 | 2643423.2216 | 1226241.7658 | 2643435.7357 | 1226245.7581
26 | 2643443.8149 | 1226296.0142 | 2643430.4273 | 1226290.118
27 | 2643399.0037 | 1226163.4407 | 2643396.6422 | 1226173.3851
28 | 2643396.6422 | 1226173.3851 | 2643393.1506 | 1226178.2182 | 2643388.243 | 1226181.8402 | 2643381.5221 | 1226183.6145 | 2643374.4423 | 1226183.7643
29 | 2643435.7357 | 1226245.7581 | 2643447.0552 | 1226249.3692
30 | 2643489.181 | 1226358.7152 | 2643520.3661 | 1226364.7314
31 | 2643467.9678 | 1226354.6229 | 2643489.181 | 1226358.7152
32 | 2643543.8954 | 1226369.2706 | 2643520.3661 | 1226364.7314
33 | 2643447.1707 | 1226354.7201 | 2643453.6572 | 1226352.8441 | 2643458.9473 | 1226352.8827 | 2643467.9678 | 1226354.6229
34 | 2643476.5837 | 1226307.5805 | 2643467.9678 | 1226354.6229
35 | 2643569.0152 | 1226374.2772 | 2643567.2479 | 1226373.7756 | 2643543.8954 | 1226369.2706
36 | 2643447.1707 | 1226354.7201 | 2643471.3975 | 1226369.6996
37 | 2643447.1707 | 1226354.7201 | 2643424.2346 | 1226341.369
38 | 2643476.5837 | 1226307.5805 | 2643472.9042 | 1226306.7785 | 2643461.7022 | 1226303.2406
39 | 2643476.5837 | 1226307.5805 | 2643487.3125 | 1226309.919 | 2643496.7164 | 1226310.6382
40 | 2643499.0398 | 1226310.8158 | 2643496.7164 | 1226310.6382
41 | 2643499.0398 | 1226310.8158 | 2643504.9931 | 1226311.2711 | 2643515.2045 | 1226313.0802 | 2643526.3605 | 1226315.2771
42 | 2643591.3838 | 1226380.6258 | 2643569.0152 | 1226374.2772
43 | 2643526.3605 | 1226315.2771 | 2643546.8555 | 1226319.3132
44 | 2643547.2338 | 1226319.3877 | 2643546.8555 | 1226319.3132
45 | 2643471.3975 | 1226369.6996 | 2643472.5909 | 1226370.4375 | 2643483.7365 | 1226375.0772 | 2643496.2974 | 1226378.6161
46 | 2643456.472 | 1226301.5888 | 2643456.472 | 1226301.5888 | 2643461.7022 | 1226303.2406
47 | 2643547.2338 | 1226319.3877 | 2643565.5143 | 1226322.9877
48 | 2643571.5039 | 1226324.1672 | 2643565.5143 | 1226322.9877
49 | 2643443.8149 | 1226296.0142 | 2643456.472 | 1226301.5888
50 | 2643471.3206 | 1226257.1105 | 2643476.8383 | 1226258.8707
51 | 2643497.2404 | 1226264.4043 | 2643482.3897 | 1226260.6417 | 2643476.8383 | 1226258.8707
52 | 2643471.3206 | 1226257.1105 | 2643450.0876 | 1226250.3367
53 | 2643498.957 | 1226264.8392 | 2643497.2404 | 1226264.4043
54 | 2643450.0876 | 1226250.3367 | 2643447.0552 | 1226249.3692
55 | 2643544.0078 | 1226269.3957 | 2643538.0212 | 1226270.2429 | 2643520.9258 | 1226268.6726 | 2643507.0607 | 1226266.8924 | 2643498.957 | 1226264.8392
56 | 2643544.0078 | 1226269.3957 | 2643571.0394 | 1226265.5705
57 | 2643593.1599 | 1226234.3242 | 2643587.0814 | 1226254.9813 | 2643584.6341 | 1226258.9992 | 2643579.4007 | 1226262.5853 | 2643571.9367 | 1226265.4435 | 2643571.0394 | 1226265.5705
58 | 2643399.0037 | 1226163.4407 | 2643400.2608 | 1226151.1201 | 2643402.7398 | 1226145.8682 | 2643408.7718 | 1226140.8536 | 2643411.2644 | 1226136.8582 | 2643411.0746 | 1226134.8111
59 | 2643399.0037 | 1226163.4407 | 2643390.4544 | 1226163.582
60 | 2643374.4423 | 1226183.7643 | 2643368.1776 | 1226183.8969
61 | 2643368.1776 | 1226183.8969 | 2643347.1283 | 1226184.3423
62 | 2643411.0746 | 1226134.8111 | 2643419.3297 | 1226132.6255 | 2643443.5809 | 1226124.2013
63 | 2643593.1599 | 1226234.3242 | 2643600.4387 | 1226254.6789 | 2643603.8547 | 1226261.2079 | 2643606.2607 | 1226264.499
64 | 2643590.8263 | 1226229.015 | 2643593.1599 | 1226234.3242
65 | 2643590.8263 | 1226229.015 | 2643589.1482 | 1226225.1894
66 | 2643571.5039 | 1226324.1672 | 2643585.8775 | 1226326.9978
67 | 2643585.8775 | 1226326.9978 | 2643596.2229 | 1226329.0351
68 | 2643596.2229 | 1226329.0351 | 2643604.9954 | 1226330.7627

## bus_geodata
| x | y | coords
0 | 2643521.9464 | 1226105.1495
1 | 2643537.1907 | 1226106.6289
2 | 2643513.3537 | 1226109.0306
3 | 2643551.055 | 1226100.7566
4 | 2643484.5153 | 1226109.7426
5 | 2643549.2937 | 1226116.6757
6 | 2643457.8416 | 1226115.7736
7 | 2643482.3067 | 1226074.4642
8 | 2643522.6747 | 1226127.0178
9 | 2643429.7626 | 1226124.9856
10 | 2643510.5913 | 1226127.1103
11 | 2643410.8497 | 1226131.3518
12 | 2643404.0549 | 1226260.4921
13 | 2643405.006 | 1226278.9218
14 | 2643402.7476 | 1226235.2341
15 | 2643414.9203 | 1226283.2883
16 | 2643402.627 | 1226233.0541
17 | 2643415.6583 | 1226239.3529
18 | 2643370.498 | 1226232.4275
19 | 2643426.9291 | 1226288.5773
20 | 2643399.8229 | 1226198.1988
21 | 2643382.4801 | 1226230.3599
22 | 2643423.2216 | 1226241.7658
23 | 2643430.4273 | 1226290.118
24 | 2643396.6422 | 1226173.3851
25 | 2643347.1058 | 1226230.7524
26 | 2643435.7357 | 1226245.7581
27 | 2643489.181 | 1226358.7152
28 | 2643520.3661 | 1226364.7314
29 | 2643467.9678 | 1226354.6229
30 | 2643543.8954 | 1226369.2706
31 | 2643447.1707 | 1226354.7201
32 | 2643476.5837 | 1226307.5805
33 | 2643496.7164 | 1226310.6382
34 | 2643499.0398 | 1226310.8158
35 | 2643569.0152 | 1226374.2772
36 | 2643526.3605 | 1226315.2771
37 | 2643546.8555 | 1226319.3132
38 | 2643471.3975 | 1226369.6996
39 | 2643424.2346 | 1226341.369
40 | 2643461.7022 | 1226303.2406
41 | 2643591.3838 | 1226380.6258
42 | 2643547.2338 | 1226319.3877
43 | 2643565.5143 | 1226322.9877
44 | 2643496.2974 | 1226378.6161
45 | 2643456.472 | 1226301.5887
46 | 2643443.8149 | 1226296.0142
47 | 2643476.8383 | 1226258.8707
48 | 2643471.3206 | 1226257.1105
49 | 2643497.2404 | 1226264.4043
50 | 2643450.0876 | 1226250.3367
51 | 2643498.957 | 1226264.8392
52 | 2643447.0552 | 1226249.3692
53 | 2643544.0078 | 1226269.3957
54 | 2643571.0394 | 1226265.5705
55 | 2643399.0037 | 1226163.4407
56 | 2643374.4423 | 1226183.7643
57 | 2643368.1776 | 1226183.8969
58 | 2643347.1283 | 1226184.3423
59 | 2643411.0746 | 1226134.8111
60 | 2643390.4544 | 1226163.582
61 | 2643443.5809 | 1226124.2013
62 | 2643606.2607 | 1226264.499
63 | 2643593.1599 | 1226234.3242
64 | 2643590.8263 | 1226229.015
65 | 2643589.1482 | 1226225.1894
66 | 2643571.5039 | 1226324.1672
67 | 2643585.8775 | 1226326.9978
68 | 2643596.2229 | 1226329.0351
69 | 2643604.9954 | 1226330.7627
70 | 2643471.3206 | 1226257.1105

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98823 | -0.082624 | 0.0022296 | 0.00055879
1 | 0.98809 | -0.083593 | 0.00061936 | 0.00015523
2 | 0.98839 | -0.081509 | 0 | 0
3 | 0.98795 | -0.084641 | 0 | 0
4 | 0.98874 | -0.079035 | 0 | 0
5 | 0.98782 | -0.085552 | 0 | 0
6 | 0.98912 | -0.076286 | 0.00067635 | 0.00016951
7 | 0.98866 | -0.079547 | 0.0014159 | 0.00035485
8 | 0.98758 | -0.087264 | 0.0036872 | 0.00092411
9 | 0.98957 | -0.073117 | 0.0036291 | 0.00090955
10 | 0.98754 | -0.087495 | 0.0018677 | 0.0004681
11 | 0.98998 | -0.070241 | 0 | 0
12 | 0.99138 | -0.060297 | 0.0026994 | 0.00067652
13 | 0.99051 | -0.066477 | 0 | 0
14 | 0.99268 | -0.051153 | 0 | 0
15 | 0.98999 | -0.07011 | 0.0025146 | 0.00063023
16 | 0.99261 | -0.051694 | 0 | 0
17 | 0.99391 | -0.042489 | 0.0034807 | 0.00087234
18 | 0.99254 | -0.052176 | 0.0031045 | 0.00077807
19 | 0.98942 | -0.074179 | 0.0010872 | 0.00027249
20 | 0.99166 | -0.058369 | 0.00067435 | 0.00016901
21 | 0.99244 | -0.052856 | 0.0025881 | 0.00064864
22 | 0.99468 | -0.037145 | 0.003007 | 0.00075363
23 | 0.98926 | -0.075323 | 0.002356 | 0.00059048
24 | 0.99101 | -0.062978 | 0 | 0
25 | 0.99229 | -0.053942 | 0.0030293 | 0.0007592
26 | 0.99599 | -0.027923 | 0.0020223 | 0.00050684
27 | 0.98679 | -0.09283 | 0.00099299 | 0.00024887
28 | 0.98659 | -0.094197 | 0.0011373 | 0.00028502
29 | 0.98695 | -0.091679 | 0.00096915 | 0.00024289
30 | 0.98649 | -0.094949 | 0.0014501 | 0.00036342
31 | 0.98687 | -0.092208 | 0 | 0
32 | 0.98754 | -0.087467 | 0.0025435 | 0.00063747
33 | 0.98726 | -0.089482 | 0.0010134 | 0.00025397
34 | 0.98723 | -0.089688 | 0.0019467 | 0.0004879
35 | 0.98643 | -0.095372 | 0.00072578 | 0.0001819
36 | 0.98696 | -0.091584 | 0.00070267 | 0.0001761
37 | 0.98678 | -0.092863 | 0.00071297 | 0.00017869
38 | 0.98681 | -0.092673 | 0.00086052 | 0.00021567
39 | 0.98684 | -0.092436 | 0.00083517 | 0.00020931
40 | 0.98801 | -0.084167 | 0.0024733 | 0.00061986
41 | 0.9864 | -0.095582 | 0.00087913 | 0.00022033
42 | 0.98678 | -0.092884 | 0.00096113 | 0.00024088
43 | 0.98666 | -0.093705 | 0.00074693 | 0.0001872
44 | 0.98678 | -0.092871 | 0.00072712 | 0.00018223
45 | 0.98819 | -0.082863 | 0.0015892 | 0.0003983
46 | 0.98869 | -0.079351 | 0.0021294 | 0.00053369
47 | 0.99982 | -0.001261 | 0.0037557 | 0.00094126
48 | 1 | 0 | -0.099433 | -0.024807
49 | 0.99928 | -0.0050748 | 0.002591 | 0.00064937
50 | 0.99756 | -0.016985 | 0.0017639 | 0.00044208
51 | 0.99924 | -0.0053484 | 0.0029359 | 0.00073579
52 | 0.99722 | -0.019361 | 0.0026916 | 0.00067458
53 | 0.99842 | -0.011055 | 0.0022888 | 0.00057363
54 | 0.99802 | -0.013853 | 0.0042484 | 0.0010647
55 | 0.99077 | -0.064638 | 0 | 0
56 | 0.99093 | -0.06355 | 0.00080694 | 0.00020224
57 | 0.99091 | -0.063635 | 0.00067268 | 0.00016859
58 | 0.99089 | -0.063779 | 0.0006722 | 0.00016847
59 | 0.99005 | -0.069741 | 0 | 0
60 | 0.99076 | -0.064697 | 0.00067873 | 0.00017011
61 | 0.98999 | -0.070141 | 0.0011452 | 0.00028703
62 | 0.99762 | -0.016689 | 0.0010532 | 0.00026397
63 | 0.99767 | -0.016339 | 0 | 0
64 | 0.99763 | -0.016625 | 0 | 0
65 | 0.9976 | -0.016831 | 0.0049201 | 0.0012331
66 | 0.98663 | -0.093927 | 0.0010758 | 0.00026963
67 | 0.98658 | -0.094299 | 0.00066689 | 0.00016714
68 | 0.98655 | -0.094494 | 0.0013039 | 0.00032679
69 | 0.98655 | -0.09454 | 0.00050109 | 0.00012559
70 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0061781 | 0.0015477 | -0.0061772 | -0.0015476 | 8.2765e-07 | 1.2197e-07 | 0.0093023 | 0.0093024 | 0.0093024 | 0.98823 | -0.082624 | 0.98809 | -0.083593 | 3.4453
1 | -0.0084076 | -0.0021065 | 0.0084089 | 0.0021068 | 1.2971e-06 | 3.3267e-07 | 0.012659 | 0.012659 | 0.012659 | 0.98823 | -0.082624 | 0.98839 | -0.081509 | 4.6887
2 | 0.0055579 | 0.0013923 | -0.0055571 | -0.0013923 | 8.0569e-07 | 7.3828e-08 | 0.0083696 | 0.0083697 | 0.0083697 | 0.98809 | -0.083593 | 0.98795 | -0.084641 | 3.0999
3 | -0.0084089 | -0.0021068 | 0.0084118 | 0.0021075 | 2.8791e-06 | 7.3823e-07 | 0.012659 | 0.012659 | 0.012659 | 0.98839 | -0.081509 | 0.98874 | -0.079035 | 4.6887
4 | 0.0055571 | 0.0013923 | -0.0055564 | -0.0013922 | 7.0053e-07 | 6.4254e-08 | 0.0083697 | 0.0083698 | 0.0083698 | 0.98795 | -0.084641 | 0.98782 | -0.085552 | 3.0999
5 | -0.0098278 | -0.002462 | 0.0098315 | 0.002463 | 3.7374e-06 | 1.0862e-06 | 0.01479 | 0.01479 | 0.01479 | 0.98874 | -0.079035 | 0.98912 | -0.076286 | 5.4778
6 | 0.001416 | 0.00035443 | -0.0014159 | -0.00035485 | 1.0031e-07 | -4.1543e-07 | 0.0021308 | 0.002131 | 0.002131 | 0.98874 | -0.079035 | 0.98866 | -0.079547 | 0.78925
7 | 0.0055564 | 0.0013922 | -0.005555 | -0.0013921 | 1.3159e-06 | 1.2085e-07 | 0.0083698 | 0.0083699 | 0.0083699 | 0.98782 | -0.085552 | 0.98758 | -0.087264 | 3.1
8 | -0.010508 | -0.0026326 | 0.010512 | 0.0026339 | 4.6077e-06 | 1.3927e-06 | 0.015807 | 0.015807 | 0.015807 | 0.98912 | -0.076286 | 0.98957 | -0.073117 | 5.8546
9 | 0.0018678 | 0.00046797 | -0.0018677 | -0.0004681 | 5.9719e-08 | -1.3164e-07 | 0.0028142 | 0.0028143 | 0.0028143 | 0.98758 | -0.087264 | 0.98754 | -0.087495 | 1.0423
10 | -0.014142 | -0.0035435 | 0.014147 | 0.0035454 | 5.6306e-06 | 1.9091e-06 | 0.021264 | 0.021264 | 0.021264 | 0.98957 | -0.073117 | 0.98998 | -0.070241 | 7.8757
11 | -0.014147 | -0.0035454 | 0.014148 | 0.0035457 | 9.7823e-07 | 3.3166e-07 | 0.021264 | 0.021264 | 0.021264 | 0.98998 | -0.070241 | 0.99005 | -0.069741 | 7.8757
12 | 0.033023 | 0.0082863 | -0.032995 | -0.0082756 | 2.8296e-05 | 1.0645e-05 | 0.04957 | 0.04957 | 0.04957 | 0.99138 | -0.060297 | 0.99051 | -0.066477 | 18.3593
13 | -0.035723 | -0.0089628 | 0.035768 | 0.0089799 | 4.5378e-05 | 1.7126e-05 | 0.053622 | 0.053622 | 0.053622 | 0.99138 | -0.060297 | 0.99268 | -0.051153 | 19.8599
14 | 0.032995 | 0.0082756 | -0.032979 | -0.0082694 | 1.6611e-05 | 6.2493e-06 | 0.04957 | 0.04957 | 0.04957 | 0.99051 | -0.066477 | 0.98999 | -0.07011 | 18.3593
15 | 0.024463 | 0.0061338 | -0.024461 | -0.0061331 | 1.8326e-06 | 6.7661e-07 | 0.03667 | 0.03667 | 0.03667 | 0.99268 | -0.051153 | 0.99261 | -0.051694 | 13.5816
16 | -0.063336 | -0.015891 | 0.063412 | 0.015921 | 7.6232e-05 | 2.9144e-05 | 0.094946 | 0.094946 | 0.094946 | 0.99268 | -0.051153 | 0.99391 | -0.042489 | 35.1651
17 | 0.003105 | 0.00077781 | -0.0031045 | -0.00077806 | 4.3951e-07 | -2.5125e-07 | 0.0046542 | 0.0046543 | 0.0046543 | 0.99268 | -0.051153 | 0.99254 | -0.052176 | 1.7238
18 | 0.030464 | 0.0076391 | -0.030447 | -0.0076327 | 1.7169e-05 | 6.4347e-06 | 0.045791 | 0.045791 | 0.045791 | 0.98999 | -0.07011 | 0.98942 | -0.074179 | 16.9595
19 | 0.018842 | 0.0047254 | -0.018825 | -0.0047192 | 1.742e-05 | 6.2484e-06 | 0.028247 | 0.028247 | 0.028247 | 0.99261 | -0.051694 | 0.99166 | -0.058369 | 10.462
20 | 0.0056187 | 0.0014076 | -0.0056178 | -0.0014076 | 9.0286e-07 | 8.368e-08 | 0.0084229 | 0.008423 | 0.008423 | 0.99261 | -0.051694 | 0.99244 | -0.052856 | 3.1196
21 | -0.066893 | -0.016793 | 0.066942 | 0.016812 | 4.9694e-05 | 1.901e-05 | 0.10016 | 0.10016 | 0.10016 | 0.99391 | -0.042489 | 0.99468 | -0.037145 | 37.0951
22 | 0.02936 | 0.0073602 | -0.029355 | -0.0073585 | 4.6504e-06 | 1.7395e-06 | 0.044155 | 0.044155 | 0.044155 | 0.98942 | -0.074179 | 0.98926 | -0.075323 | 16.3539
23 | 0.01815 | 0.0045502 | -0.018139 | -0.004546 | 1.158e-05 | 4.1311e-06 | 0.027236 | 0.027236 | 0.027236 | 0.99166 | -0.058369 | 0.99101 | -0.062978 | 10.0873
24 | 0.0030297 | 0.00075892 | -0.0030293 | -0.0007592 | 4.5553e-07 | -2.8187e-07 | 0.0045425 | 0.0045426 | 0.0045426 | 0.99244 | -0.052856 | 0.99229 | -0.053942 | 1.6825
25 | -0.069949 | -0.017566 | 0.070039 | 0.0176 | 8.9774e-05 | 3.4358e-05 | 0.10466 | 0.10466 | 0.10466 | 0.99468 | -0.037145 | 0.99599 | -0.027923 | 38.7612
26 | 0.026999 | 0.006768 | -0.026984 | -0.0067624 | 1.5055e-05 | 5.6027e-06 | 0.040612 | 0.040612 | 0.040612 | 0.98926 | -0.075323 | 0.98869 | -0.079351 | 15.0413
27 | 0.015987 | 0.0040074 | -0.015983 | -0.0040061 | 3.6751e-06 | 1.2818e-06 | 0.024005 | 0.024005 | 0.024005 | 0.99101 | -0.062978 | 0.99077 | -0.064638 | 8.8906
28 | 0.002152 | 0.00053868 | -0.0021518 | -0.00053895 | 1.7e-07 | -2.708e-07 | 0.0032311 | 0.0032312 | 0.0032312 | 0.99101 | -0.062978 | 0.99093 | -0.06355 | 1.1967
29 | -0.072061 | -0.018107 | 0.072147 | 0.01814 | 8.5961e-05 | 3.2907e-05 | 0.10768 | 0.10768 | 0.10768 | 0.99599 | -0.027923 | 0.99722 | -0.019361 | 39.8802
30 | 0.0041934 | 0.0010498 | -0.0041927 | -0.0010499 | 7.9237e-07 | -1.0089e-07 | 0.006323 | 0.0063232 | 0.0063232 | 0.98679 | -0.09283 | 0.98659 | -0.094197 | 2.3419
31 | -0.0051864 | -0.0012987 | 0.0051873 | 0.0012987 | 8.2448e-07 | 4.1069e-08 | 0.0078204 | 0.0078203 | 0.0078204 | 0.98679 | -0.09283 | 0.98695 | -0.091679 | 2.8965
32 | 0.0030554 | 0.00076488 | -0.0030551 | -0.00076506 | 3.1751e-07 | -1.8386e-07 | 0.0046079 | 0.0046081 | 0.0046081 | 0.98659 | -0.094197 | 0.98649 | -0.094949 | 1.7067
33 | 0.0024231 | 0.00060602 | -0.002423 | -0.00060622 | 1.7677e-07 | -2.0328e-07 | 0.0036529 | 0.003653 | 0.003653 | 0.98695 | -0.091679 | 0.98687 | -0.092208 | 1.353
34 | -0.0085795 | -0.0021476 | 0.0085845 | 0.0021489 | 4.9926e-06 | 1.3087e-06 | 0.012934 | 0.012934 | 0.012934 | 0.98695 | -0.091679 | 0.98754 | -0.087467 | 4.7905
35 | 0.001605 | 0.00040165 | -0.0016049 | -0.00040194 | 9.3693e-08 | -2.9104e-07 | 0.0024208 | 0.0024209 | 0.0024209 | 0.98649 | -0.094949 | 0.98643 | -0.095372 | 0.89664
36 | 0.0015878 | 0.00039724 | -0.0015877 | -0.00039757 | 1.0185e-07 | -3.2474e-07 | 0.0023938 | 0.0023939 | 0.0023939 | 0.98687 | -0.092208 | 0.98681 | -0.092673 | 0.88664
37 | 0.00083519 | 0.00020898 | -0.00083517 | -0.00020931 | 2.626e-08 | -3.2898e-07 | 0.0012592 | 0.0012593 | 0.0012593 | 0.98687 | -0.092208 | 0.98684 | -0.092436 | 0.46641
38 | -0.020766 | -0.0052011 | 0.020776 | 0.0052045 | 9.4769e-06 | 3.4464e-06 | 0.031289 | 0.031289 | 0.031289 | 0.98754 | -0.087467 | 0.98801 | -0.084167 | 11.5885
39 | 0.009638 | 0.0024147 | -0.0096354 | -0.0024139 | 2.6862e-06 | 7.7207e-07 | 0.014522 | 0.014522 | 0.014522 | 0.98754 | -0.087467 | 0.98726 | -0.089482 | 5.3786
40 | 0.008622 | 0.00216 | -0.0086218 | -0.0021599 | 2.4554e-07 | 6.4643e-08 | 0.012995 | 0.012995 | 0.012995 | 0.98726 | -0.089482 | 0.98723 | -0.089688 | 4.8129
41 | 0.006675 | 0.001672 | -0.0066733 | -0.0016717 | 1.7503e-06 | 3.1895e-07 | 0.010061 | 0.010061 | 0.010061 | 0.98723 | -0.089688 | 0.98696 | -0.091584 | 3.7262
42 | 0.00087915 | 0.00022004 | -0.00087913 | -0.00022033 | 2.5517e-08 | -2.87e-07 | 0.0013261 | 0.0013262 | 0.0013262 | 0.98643 | -0.095372 | 0.9864 | -0.095582 | 0.49118
43 | 0.0059706 | 0.0014956 | -0.0059695 | -0.0014954 | 1.0561e-06 | 1.3931e-07 | 0.0090014 | 0.0090015 | 0.0090015 | 0.98696 | -0.091584 | 0.98678 | -0.092863 | 3.3339
44 | 0.0052566 | 0.0013168 | -0.0052566 | -0.0013168 | 1.5116e-08 | 8.8827e-10 | 0.0079264 | 0.0079264 | 0.0079264 | 0.98678 | -0.092863 | 0.98678 | -0.092884 | 2.9357
45 | 0.00072714 | 0.0001819 | -0.00072712 | -0.00018223 | 1.9897e-08 | -3.3122e-07 | 0.0010963 | 0.0010965 | 0.0010965 | 0.98681 | -0.092673 | 0.98678 | -0.092871 | 0.4061
46 | -0.023249 | -0.0058244 | 0.023253 | 0.0058259 | 4.1959e-06 | 1.5436e-06 | 0.035014 | 0.035014 | 0.035014 | 0.98801 | -0.084167 | 0.98819 | -0.082863 | 12.9681
47 | 0.0042954 | 0.0010759 | -0.0042949 | -0.0010759 | 4.8775e-07 | -5.0387e-08 | 0.0064771 | 0.0064772 | 0.0064772 | 0.98678 | -0.092884 | 0.98666 | -0.093705 | 2.399
48 | 0.003548 | 0.00088873 | -0.0035479 | -0.00088877 | 1.0906e-07 | -3.6018e-08 | 0.0053507 | 0.0053507 | 0.0053507 | 0.98666 | -0.093705 | 0.98663 | -0.093927 | 1.9818
49 | -0.024842 | -0.0062242 | 0.024854 | 0.0062287 | 1.2076e-05 | 4.4673e-06 | 0.037407 | 0.037407 | 0.037407 | 0.98819 | -0.082863 | 0.98869 | -0.079351 | 13.8544
50 | -0.02182 | -0.0054697 | 0.021823 | 0.0054711 | 3.8112e-06 | 1.3899e-06 | 0.032474 | 0.032474 | 0.032474 | 0.99982 | -0.001261 | 1 | 0 | 12.0275
51 | 0.018064 | 0.0045284 | -0.018054 | -0.004525 | 9.5377e-06 | 3.3911e-06 | 0.026885 | 0.026885 | 0.026885 | 0.99982 | -0.001261 | 0.99928 | -0.0050748 | 9.9573
52 | 0.07681 | 0.019335 | -0.076628 | -0.019266 | 0.00018177 | 6.9619e-05 | 0.11432 | 0.11432 | 0.11432 | 1 | 0 | 0.99756 | -0.016985 | 42.3422
53 | 0.015463 | 0.0038757 | -0.015463 | -0.0038755 | 5.8588e-07 | 2.0214e-07 | 0.023026 | 0.023026 | 0.023026 | 0.99928 | -0.0050748 | 0.99924 | -0.0053484 | 8.5283
54 | 0.074864 | 0.018824 | -0.074839 | -0.018814 | 2.4779e-05 | 9.4887e-06 | 0.11169 | 0.11169 | 0.11169 | 0.99756 | -0.016985 | 0.99722 | -0.019361 | 41.3677
55 | 0.012527 | 0.0031397 | -0.012517 | -0.0031365 | 9.8916e-06 | 3.2083e-06 | 0.018655 | 0.018655 | 0.018655 | 0.99924 | -0.0053484 | 0.99842 | -0.011055 | 6.9092
56 | 0.010228 | 0.0025628 | -0.010224 | -0.0025617 | 3.9586e-06 | 1.1656e-06 | 0.015244 | 0.015244 | 0.015244 | 0.99842 | -0.011055 | 0.99802 | -0.013853 | 5.6458
57 | 0.0059758 | 0.0014969 | -0.0059738 | -0.0014967 | 2.0547e-06 | 2.484e-07 | 0.0089095 | 0.0089097 | 0.0089097 | 0.99802 | -0.013853 | 0.99767 | -0.016339 | 3.2999
58 | 0.015304 | 0.0038361 | -0.015294 | -0.0038323 | 1.0808e-05 | 3.7351e-06 | 0.022985 | 0.022986 | 0.022986 | 0.99077 | -0.064638 | 0.99005 | -0.069741 | 8.5132
59 | 0.00067874 | 0.00017 | -0.00067873 | -0.00017011 | 5.5441e-09 | -1.0798e-07 | 0.0010193 | 0.0010194 | 0.0010194 | 0.99077 | -0.064638 | 0.99076 | -0.064697 | 0.37755
60 | 0.0013449 | 0.00033672 | -0.0013449 | -0.00033679 | 1.5946e-08 | -7.4588e-08 | 0.0020194 | 0.0020195 | 0.0020195 | 0.99093 | -0.06355 | 0.99091 | -0.063635 | 0.74795
61 | 0.00067221 | 0.0001682 | -0.0006722 | -0.00016847 | 1.3385e-08 | -2.6606e-07 | 0.0010093 | 0.0010094 | 0.0010094 | 0.99091 | -0.063635 | 0.99089 | -0.063779 | 0.37386
62 | 0.0011453 | 0.00028661 | -0.0011452 | -0.00028702 | 6.3252e-08 | -4.156e-07 | 0.0017212 | 0.0017214 | 0.0017214 | 0.99005 | -0.069741 | 0.98999 | -0.070141 | 0.63754
63 | -0.0010532 | -0.00026397 | 0.0010533 | 0.00026355 | 5.0911e-08 | -4.1213e-07 | 0.001571 | 0.0015708 | 0.001571 | 0.99762 | -0.016689 | 0.99767 | -0.016339 | 0.58184
64 | 0.0049205 | 0.0012331 | -0.0049203 | -0.0012331 | 1.9482e-07 | -7.6293e-10 | 0.0073388 | 0.0073389 | 0.0073389 | 0.99767 | -0.016339 | 0.99763 | -0.016625 | 2.7181
65 | 0.0049203 | 0.0012331 | -0.0049201 | -0.0012331 | 1.404e-07 | -5.4562e-10 | 0.0073389 | 0.0073389 | 0.0073389 | 0.99763 | -0.016625 | 0.9976 | -0.016831 | 2.7181
66 | 0.0024721 | 0.00061914 | -0.0024719 | -0.00061928 | 1.2706e-07 | -1.3821e-07 | 0.0037282 | 0.0037282 | 0.0037282 | 0.98663 | -0.093927 | 0.98658 | -0.094299 | 1.3808
67 | 0.0018051 | 0.00045214 | -0.001805 | -0.00045226 | 4.8765e-08 | -1.1588e-07 | 0.0027224 | 0.0027225 | 0.0027225 | 0.98658 | -0.094299 | 0.98655 | -0.094494 | 1.0083
68 | 0.0005011 | 0.00012547 | -0.00050109 | -0.00012558 | 3.1869e-09 | -1.1294e-07 | 0.00075576 | 0.0007558 | 0.0007558 | 0.98655 | -0.094494 | 0.98655 | -0.09454 | 0.27993

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10148 | 0.025321

## res_load
| p_mw | q_mvar
0 | 0.0022296 | 0.00055879
1 | 0.00061936 | 0.00015523
2 | 0.00067635 | 0.00016951
3 | 0.0014159 | 0.00035485
4 | 0.0036872 | 0.00092411
5 | 0.0036291 | 0.00090955
6 | 0.0018677 | 0.0004681
7 | 0.0026994 | 0.00067652
8 | 0.0025146 | 0.00063023
9 | 0.0034807 | 0.00087234
10 | 0.0031045 | 0.00077807
11 | 0.0010872 | 0.00027249
12 | 0.00067435 | 0.00016901
13 | 0.0025881 | 0.00064864
14 | 0.003007 | 0.00075363
15 | 0.002356 | 0.00059048
16 | 0.0030293 | 0.0007592
17 | 0.0020223 | 0.00050684
18 | 0.00099299 | 0.00024887
19 | 0.0011373 | 0.00028502
20 | 0.00096915 | 0.00024289
21 | 0.0014501 | 0.00036342
22 | 0.0025435 | 0.00063747
23 | 0.0010134 | 0.00025397
24 | 0.0019467 | 0.0004879
25 | 0.00072578 | 0.0001819
26 | 0.00070267 | 0.0001761
27 | 0.00071297 | 0.00017869
28 | 0.00086052 | 0.00021567
29 | 0.00083517 | 0.00020931
30 | 0.0024733 | 0.00061986
31 | 0.00087913 | 0.00022033
32 | 0.00096113 | 0.00024088
33 | 0.00074693 | 0.0001872
34 | 0.00072712 | 0.00018223
35 | 0.0015892 | 0.0003983
36 | 0.0021294 | 0.00053369
37 | 0.0037557 | 0.00094126
38 | 0.0020512 | 0.00051407
39 | 0.002591 | 0.00064937
40 | 0.0017639 | 0.00044208
41 | 0.0029359 | 0.00073579
42 | 0.0026916 | 0.00067458
43 | 0.0022888 | 0.00057363
44 | 0.0042484 | 0.0010647
45 | 0.00080694 | 0.00020224
46 | 0.00067268 | 0.00016859
47 | 0.0006722 | 0.00016847
48 | 0.00067873 | 0.00017011
49 | 0.0011452 | 0.00028703
50 | 0.0010532 | 0.00026397
51 | 0.0049201 | 0.0012331
52 | 0.0010758 | 0.00026963
53 | 0.00066689 | 0.00016714
54 | 0.0013039 | 0.00032679
55 | 0.00050109 | 0.00012559

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1