## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1128-13_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1128-13_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1128-13_0_6_node_58 | 0.4 | n |  | TRUE
3 | bus_LV_1128-13_0_6_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_1128-13_0_6_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_1128-13_0_6_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_1128-13_0_6_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1128-13_0_6_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_1128-13_0_6_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1128-13_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1128-13_0_6_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_1128-13_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1128-13_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1128-13_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1128-13_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1128-13_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1128-13_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1128-13_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1128-13_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1128-13_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1128-13_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1128-13_0_6_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1128-13_0_6_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1128-13_0_6_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_1128-13_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1128-13_0_6_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1128-13_0_6_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_1128-13_0_6_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_1128-13_0_6_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_1128-13_0_6_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_1128-13_0_6_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_1128-13_0_6_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_1128-13_0_6_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_1128-13_0_6_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_1128-13_0_6_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1128-13_0_6_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_1128-13_0_6_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1128-13_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_1128-13_0_6_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_1128-13_0_6_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_1128-13_0_6_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1128-13_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1128-13_0_6_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1128-13_0_6_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_1128-13_0_6_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1128-13_0_6_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_1128-13_0_6_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_1128-13_0_6_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_1128-13_0_6_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_1128-13_0_6_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1128-13_0_6_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1128-13_0_6_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_1128-13_0_6_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1128-13_0_6_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_1128-13_0_6_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_1128-13_0_6_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_1128-13_0_6_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_1128-13_0_6_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_1128-13_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_1128-13_0_6_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_1128-13_0_6_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_1128-13_0_6_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_1128-13_0_6_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_1128-13_0_6_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_1128-13_0_6_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_1128-13_0_6_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_1128-13_0_6_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_1128-13_0_6_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_1128-13_0_6_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_1128-13_0_6_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_1128-13_0_6_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_1128-13_0_6_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_1128-13_0_6_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_1128-13_0_6_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_1128-13_0_6_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_1128-13_0_6_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_1128-13_0_6_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_1128-13_0_6_node_81 | 0.4 | n |  | TRUE
78 | bus_MV_128_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1128-13_0_6_load_0 | 0 | 0.0069158 | 0.0017333 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1128-13_0_6_load_2 | 1 | 0.001285 | 0.00032204 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1128-13_0_6_load_58 | 2 | 0.005382 | 0.0013489 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1128-13_0_6_load_23 | 4 | 0.0095936 | 0.0024044 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1128-13_0_6_load_45 | 5 | 0.0009432 | 0.00023639 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1128-13_0_6_load_20 | 6 | 0.001316 | 0.00032981 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1128-13_0_6_load_3 | 7 | 0.0016938 | 0.00042451 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1128-13_0_6_load_10 | 8 | 0.0026972 | 0.00067599 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1128-13_0_6_load_7 | 9 | 0.0009671 | 0.00024238 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1128-13_0_6_load_4 | 10 | 0.00046046 | 0.0001154 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1128-13_0_6_load_5 | 11 | 0.0012881 | 0.00032283 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1128-13_0_6_load_8 | 13 | 0.002057 | 0.00051554 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1128-13_0_6_load_9 | 14 | 0.00049632 | 0.00012439 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1128-13_0_6_load_11 | 15 | 0.0012334 | 0.00030913 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1128-13_0_6_load_13 | 17 | 0.00036212 | 9.0756e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1128-13_0_6_load_14 | 18 | 0.0012672 | 0.00031758 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1128-13_0_6_load_28 | 25 | 0.005331 | 0.0013361 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1128-13_0_6_load_46 | 26 | 0.00090669 | 0.00022724 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1128-13_0_6_load_38 | 27 | 0.0016708 | 0.00041875 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1128-13_0_6_load_49 | 28 | 0.0019641 | 0.00049226 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1128-13_0_6_load_47 | 29 | 0.00066224 | 0.00016597 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1128-13_0_6_load_68 | 30 | 0.0024393 | 0.00061136 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1128-13_0_6_load_50 | 32 | 0.017652 | 0.004424 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1128-13_0_6_load_26 | 34 | 0.0013698 | 0.0003433 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1128-13_0_6_load_56 | 35 | 0.0019932 | 0.00049954 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1128-13_0_6_load_36 | 36 | 0.0016708 | 0.00041875 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1128-13_0_6_load_21 | 37 | 0.0049146 | 0.0012317 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1128-13_0_6_load_22 | 38 | 0.0024543 | 0.0006151 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1128-13_0_6_load_33 | 40 | 0.0018653 | 0.00046749 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1128-13_0_6_load_34 | 41 | 0.0037225 | 0.00093295 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1128-13_0_6_load_39 | 42 | 0.0042385 | 0.0010623 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1128-13_0_6_load_53 | 43 | 0.0018217 | 0.00045656 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1128-13_0_6_load_25 | 44 | 0.0059809 | 0.0014989 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1128-13_0_6_load_29 | 46 | 0.0010463 | 0.00026224 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1128-13_0_6_load_30 | 47 | 0.011305 | 0.0028334 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1128-13_0_6_load_31 | 48 | 0.0070903 | 0.001777 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1128-13_0_6_load_32 | 49 | 0.0028521 | 0.00071481 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1128-13_0_6_load_51 | 52 | 0.0018217 | 0.00045656 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1128-13_0_6_load_35 | 53 | 0.0018666 | 0.0004678 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1128-13_0_6_load_40 | 54 | 0.0031912 | 0.00079978 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1128-13_0_6_load_66 | 55 | 0.016625 | 0.0041666 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1128-13_0_6_load_54 | 56 | 0.0070754 | 0.0017733 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1128-13_0_6_load_52 | 58 | 0.0017475 | 0.00043796 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1128-13_0_6_load_55 | 59 | 0.0015213 | 0.00038127 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1128-13_0_6_load_57 | 60 | 0.00079486 | 0.00019921 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1128-13_0_6_load_60 | 61 | 0.014578 | 0.0036536 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1128-13_0_6_load_61 | 62 | 0.0063641 | 0.001595 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1128-13_0_6_load_65 | 65 | 0.00070449 | 0.00017656 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1128-13_0_6_load_77 | 66 | 0.02402 | 0.0060201 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1128-13_0_6_load_71 | 67 | 0.00046319 | 0.00011609 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1128-13_0_6_load_69 | 68 | 0.00051657 | 0.00012946 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1128-13_0_6_load_72 | 69 | 0.00081373 | 0.00020394 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1128-13_0_6_load_75 | 70 | 0.00055801 | 0.00013985 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1128-13_0_6_load_80 | 71 | 0.00046359 | 0.00011619 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1128-13_0_6_load_78 | 73 | 0.00083123 | 0.00020833 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1128-13_0_6_load_74 | 74 | 0.00087777 | 0.00021999 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1128-13_0_6_load_76 | 75 | 0.0032575 | 0.0008164 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1128-13_0_6_load_79 | 76 | 0.0004516 | 0.00011318 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1128-13_0_6_load_81 | 77 | 0.0004516 | 0.00011318 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1128-13_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.25036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1128-13_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.46972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_1128-13_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.024407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1128-13_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.82239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_1128-13_0_6_line_4 | NAYY 4x150 SE | 3 | 7 | 0.011632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1128-13_0_6_line_5 | NAYY 4x150 SE | 4 | 37 | 0.01759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_1128-13_0_6_line_6 | NAYY 4x150 SE | 5 | 6 | 0.012174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1128-13_0_6_line_7 | NAYY 4x150 SE | 6 | 20 | 0.051004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1128-13_0_6_line_8 | NAYY 4x150 SE | 7 | 8 | 0.036632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1128-13_0_6_line_9 | NAYY 4x150 SE | 8 | 9 | 0.08028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1128-13_0_6_line_10 | NAYY 4x150 SE | 9 | 11 | 0.026789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1128-13_0_6_line_11 | NAYY 4x150 SE | 10 | 11 | 0.019326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1128-13_0_6_line_12 | NAYY 4x150 SE | 10 | 12 | 0.020761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1128-13_0_6_line_13 | NAYY 4x150 SE | 12 | 13 | 0.059209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1128-13_0_6_line_14 | NAYY 4x150 SE | 12 | 14 | 0.014645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1128-13_0_6_line_15 | NAYY 4x150 SE | 13 | 15 | 0.040644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1128-13_0_6_line_16 | NAYY 4x150 SE | 14 | 16 | 0.013592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1128-13_0_6_line_17 | NAYY 4x150 SE | 16 | 17 | 0.14685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1128-13_0_6_line_18 | NAYY 4x150 SE | 18 | 19 | 0.072792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1128-13_0_6_line_19 | NAYY 4x150 SE | 18 | 20 | 0.05618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1128-13_0_6_line_20 | NAYY 4x150 SE | 19 | 21 | 0.003553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1128-13_0_6_line_21 | NAYY 4x150 SE | 19 | 22 | 0.10518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1128-13_0_6_line_22 | NAYY 4x150 SE | 21 | 23 | 0.051397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1128-13_0_6_line_23 | NAYY 4x150 SE | 22 | 26 | 0.016967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1128-13_0_6_line_24 | NAYY 4x150 SE | 22 | 27 | 0.028686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1128-13_0_6_line_25 | NAYY 4x150 SE | 22 | 24 | 0.13934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_1128-13_0_6_line_26 | NAYY 4x150 SE | 23 | 28 | 0.06689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1128-13_0_6_line_27 | NAYY 4x150 SE | 23 | 29 | 0.028826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1128-13_0_6_line_28 | NAYY 4x150 SE | 24 | 25 | 0.026483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_1128-13_0_6_line_29 | NAYY 4x150 SE | 25 | 34 | 0.018319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_1128-13_0_6_line_30 | NAYY 4x150 SE | 26 | 35 | 5.5354e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1128-13_0_6_line_31 | NAYY 4x150 SE | 27 | 36 | 0.0066819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_1128-13_0_6_line_32 | NAYY 4x150 SE | 30 | 31 | 0.072816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1128-13_0_6_line_33 | NAYY 4x150 SE | 31 | 57 | 0.037937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1128-13_0_6_line_34 | NAYY 4x150 SE | 31 | 32 | 0.004827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1128-13_0_6_line_35 | NAYY 4x150 SE | 31 | 55 | 0.026365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1128-13_0_6_line_36 | NAYY 4x150 SE | 32 | 33 | 0.026653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1128-13_0_6_line_37 | NAYY 4x150 SE | 33 | 50 | 0.056452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1128-13_0_6_line_38 | NAYY 4x150 SE | 33 | 49 | 0.022477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_1128-13_0_6_line_39 | NAYY 4x150 SE | 34 | 44 | 0.0096882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_1128-13_0_6_line_40 | NAYY 4x150 SE | 35 | 56 | 0.026418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1128-13_0_6_line_41 | NAYY 4x150 SE | 36 | 53 | 0.012827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_1128-13_0_6_line_42 | NAYY 4x150 SE | 37 | 38 | 0.00022692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_1128-13_0_6_line_43 | NAYY 4x150 SE | 38 | 39 | 0.02911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_1128-13_0_6_line_44 | NAYY 4x150 SE | 39 | 40 | 0.0089998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_1128-13_0_6_line_45 | NAYY 4x150 SE | 39 | 41 | 0.016312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1128-13_0_6_line_46 | NAYY 4x150 SE | 40 | 42 | 0.0058584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_1128-13_0_6_line_47 | NAYY 4x150 SE | 41 | 43 | 0.005107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1128-13_0_6_line_48 | NAYY 4x150 SE | 42 | 51 | 0.016537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_1128-13_0_6_line_49 | NAYY 4x150 SE | 43 | 52 | 2.0682e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1128-13_0_6_line_50 | NAYY 4x150 SE | 44 | 45 | 0.014728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_1128-13_0_6_line_51 | NAYY 4x150 SE | 45 | 46 | 0.005051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1128-13_0_6_line_52 | NAYY 4x150 SE | 45 | 47 | 0.013781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_1128-13_0_6_line_53 | NAYY 4x150 SE | 47 | 48 | 0.023786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_1128-13_0_6_line_54 | NAYY 4x150 SE | 48 | 49 | 0.0058895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_1128-13_0_6_line_55 | NAYY 4x150 SE | 50 | 54 | 0.024385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1128-13_0_6_line_56 | NAYY 4x150 SE | 51 | 53 | 0.020585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_1128-13_0_6_line_57 | NAYY 4x150 SE | 52 | 58 | 9.8328e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1128-13_0_6_line_58 | NAYY 4x150 SE | 56 | 59 | 0.0041023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1128-13_0_6_line_59 | NAYY 4x150 SE | 57 | 66 | 0.017937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1128-13_0_6_line_60 | NAYY 4x150 SE | 57 | 62 | 0.011807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1128-13_0_6_line_61 | NAYY 4x150 SE | 59 | 60 | 0.0018184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1128-13_0_6_line_62 | NAYY 4x150 SE | 61 | 62 | 0.023494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1128-13_0_6_line_63 | NAYY 4x150 SE | 61 | 63 | 0.0056875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1128-13_0_6_line_64 | NAYY 4x150 SE | 63 | 64 | 0.050116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1128-13_0_6_line_65 | NAYY 4x150 SE | 63 | 65 | 0.0098119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1128-13_0_6_line_66 | NAYY 4x150 SE | 64 | 67 | 0.01215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1128-13_0_6_line_67 | NAYY 4x150 SE | 64 | 68 | 0.043053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1128-13_0_6_line_68 | NAYY 4x150 SE | 65 | 69 | 0.0029163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1128-13_0_6_line_69 | NAYY 4x150 SE | 66 | 70 | 0.048133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1128-13_0_6_line_70 | NAYY 4x150 SE | 67 | 71 | 0.0068436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1128-13_0_6_line_71 | NAYY 4x150 SE | 69 | 72 | 0.048674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1128-13_0_6_line_72 | NAYY 4x150 SE | 70 | 75 | 0.0028426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1128-13_0_6_line_73 | NAYY 4x150 SE | 71 | 73 | 0.0028668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1128-13_0_6_line_74 | NAYY 4x150 SE | 72 | 74 | 0.020791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1128-13_0_6_line_75 | NAYY 4x150 SE | 73 | 76 | 0.015803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1128-13_0_6_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0067936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1128-13_0_6_trafo_35 | 0.25 MVA 20/0.4 kV | 78 | 53 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2644630.1925 | 1223073.2303 | 2644626.3785 | 1223323.5637
1 | 2644626.3785 | 1223323.5637 | 2644901.2542 | 1223704.4546
2 | 2644608.0157 | 1223063.2476 | 2644615.1281 | 1223065.4133 | 2644630.1925 | 1223073.2303
3 | 2645713.8653 | 1223578.0313 | 2644901.2542 | 1223704.4546
4 | 2644608.0157 | 1223063.2476 | 2644604.9828 | 1223055.0755 | 2644603.5368 | 1223052.5446
5 | 2645713.8653 | 1223578.0313 | 2645729.0437 | 1223569.1421
6 | 2645640.9925 | 1223299.4734 | 2645633.4513 | 1223289.9158
7 | 2645672.5855 | 1223339.5138 | 2645640.9925 | 1223299.4734
8 | 2644603.5368 | 1223052.5446 | 2644585.3644 | 1223020.7381
9 | 2644585.3644 | 1223020.7381 | 2644555.5554 | 1222968.5643 | 2644545.4987 | 1222951.0559
10 | 2644545.4987 | 1222951.0559 | 2644534.0698 | 1222931.1588 | 2644532.5012 | 1222927.6509
11 | 2644524.6117 | 1222910.0086 | 2644532.5012 | 1222927.6509
12 | 2644518.5186 | 1222890.1622 | 2644524.6117 | 1222910.0086
13 | 2644518.5186 | 1222890.1622 | 2644465.5203 | 1222916.5605
14 | 2644518.5186 | 1222890.1622 | 2644515.5244 | 1222877.799 | 2644515.1784 | 1222875.9064
15 | 2644465.5203 | 1222916.5605 | 2644429.1393 | 1222934.6818
16 | 2644512.7339 | 1222862.5355 | 2644515.1784 | 1222875.9064
17 | 2644639.9533 | 1222820.0281 | 2644634.3234 | 1222811.2695 | 2644629.0635 | 1222807.7835 | 2644623.4152 | 1222806.5405 | 2644616.0442 | 1222807.4859 | 2644584.7833 | 1222826.7191 | 2644541.2738 | 1222850.119 | 2644512.7339 | 1222862.5355
18 | 2645759.0802 | 1223434.2685 | 2645743.2327 | 1223422.2618 | 2645727.3035 | 1223408.0419 | 2645706.6022 | 1223384.2241
19 | 2645672.5855 | 1223339.5138 | 2645706.6022 | 1223384.2241
20 | 2645759.0802 | 1223434.2685 | 2645761.2781 | 1223431.4726
21 | 2645759.0802 | 1223434.2685 | 2645777.7975 | 1223447.8095 | 2645822.6197 | 1223475.6265 | 2645821.0543 | 1223478.0271 | 2645817.3323 | 1223483.7686 | 2645812.9432 | 1223487.5149 | 2645800.7372 | 1223494.0584
22 | 2645790.3643 | 1223389.4371 | 2645787.252 | 1223397.7294 | 2645761.2781 | 1223431.4726
23 | 2645800.7372 | 1223494.0584 | 2645809.5457 | 1223508.5599
24 | 2645800.7372 | 1223494.0584 | 2645775.458 | 1223507.6173
25 | 2645800.7372 | 1223494.0584 | 2645812.9432 | 1223487.5149 | 2645817.3323 | 1223483.7686 | 2645821.0543 | 1223478.0271 | 2645822.6197 | 1223475.6265 | 2645839.4056 | 1223485.8841 | 2645852.1984 | 1223493.7429 | 2645879.0702 | 1223511.8052 | 2645895.692 | 1223525.6083 | 2645911.1313 | 1223540.3362
26 | 2645790.3643 | 1223389.4371 | 2645751.8433 | 1223353.675 | 2645749.1258 | 1223350.0742 | 2645749.15 | 1223344.949 | 2645750.0657 | 1223340.2643
27 | 2645790.3643 | 1223389.4371 | 2645790.6142 | 1223383.5577 | 2645788.8322 | 1223376.6509 | 2645780.0691 | 1223363.4943
28 | 2645911.1313 | 1223540.3362 | 2645901.3736 | 1223564.9556
29 | 2645894.9684 | 1223582.0923 | 2645895.4788 | 1223579.8286 | 2645901.3736 | 1223564.9556
30 | 2645809.5745 | 1223508.6072 | 2645809.5457 | 1223508.5599
31 | 2645775.458 | 1223507.6173 | 2645769.5696 | 1223510.7756
32 | 2645939.1237 | 1223560.5199 | 2645923.5866 | 1223545.7133 | 2645892.0566 | 1223517.1641 | 2645885.0418 | 1223511.8199
33 | 2645939.1237 | 1223560.5199 | 2645967.2645 | 1223542.8039 | 2645971.4975 | 1223540.6241
34 | 2645936.0165 | 1223564.2204 | 2645939.1237 | 1223560.5199
35 | 2645939.1237 | 1223560.5199 | 2645947.8579 | 1223569.5483 | 2645955.0855 | 1223578.2649 | 2645956.6522 | 1223580.1867
36 | 2645954.026 | 1223583.8824 | 2645946.0315 | 1223574.326 | 2645936.0165 | 1223564.2204
37 | 2645976.7122 | 1223635.2109 | 2645974.029 | 1223625.2397 | 2645969.6147 | 1223612.609 | 2645962.456 | 1223596.9443 | 2645954.026 | 1223583.8824
38 | 2645954.026 | 1223583.8824 | 2645934.5541 | 1223595.1102
39 | 2645892.8375 | 1223591.5432 | 2645894.9684 | 1223582.0923
40 | 2645823.2892 | 1223531.1858 | 2645809.5745 | 1223508.6072
41 | 2645758.2662 | 1223516.8384 | 2645769.5696 | 1223510.7756
42 | 2645729.2395 | 1223569.0274 | 2645729.0437 | 1223569.1421
43 | 2645754.3586 | 1223554.3166 | 2645729.2395 | 1223569.0274
44 | 2645754.3586 | 1223554.3166 | 2645749.7709 | 1223546.5738
45 | 2645754.3586 | 1223554.3166 | 2645762.6737 | 1223568.3505
46 | 2645746.7846 | 1223541.5337 | 2645749.7709 | 1223546.5738
47 | 2645762.6737 | 1223568.3505 | 2645765.2769 | 1223572.7442
48 | 2645740.1261 | 1223526.5681 | 2645741.8646 | 1223533.23 | 2645746.7846 | 1223541.5337
49 | 2645765.2875 | 1223572.762 | 2645765.2769 | 1223572.7442
50 | 2645893.2431 | 1223606.2275 | 2645892.6684 | 1223601.0977 | 2645892.7387 | 1223591.9816 | 2645892.8375 | 1223591.5432
51 | 2645893.2431 | 1223606.2275 | 2645893.8111 | 1223611.246
52 | 2645893.2431 | 1223606.2275 | 2645901.3704 | 1223606.4347 | 2645906.8433 | 1223605.0265
53 | 2645906.8433 | 1223605.0265 | 2645925.8284 | 1223600.1415 | 2645929.452 | 1223598.0522
54 | 2645929.452 | 1223598.0522 | 2645934.5541 | 1223595.1102
55 | 2645976.7122 | 1223635.2109 | 2645968.7608 | 1223640.7085 | 2645956.6538 | 1223649.0775
56 | 2645740.1261 | 1223526.5681 | 2645758.2662 | 1223516.8384
57 | 2645765.2925 | 1223572.7705 | 2645765.2875 | 1223572.762
58 | 2645823.2892 | 1223531.1858 | 2645825.4189 | 1223534.6919
59 | 2645971.4975 | 1223540.6241 | 2645982.4328 | 1223554.8427
60 | 2645971.4975 | 1223540.6241 | 2645981.9967 | 1223535.2231
61 | 2645826.3629 | 1223536.246 | 2645825.4189 | 1223534.6919
62 | 2646001.6929 | 1223522.5425 | 2645990.0434 | 1223531.0836 | 2645981.9967 | 1223535.2231
63 | 2646006.2797 | 1223519.1795 | 2646001.6929 | 1223522.5425
64 | 2646006.2797 | 1223519.1795 | 2646036.9266 | 1223558.896
65 | 2646006.2797 | 1223519.1795 | 2646014.1907 | 1223513.3752
66 | 2646036.9266 | 1223558.896 | 2646046.8234 | 1223551.8488
67 | 2646036.9266 | 1223558.896 | 2646047.2649 | 1223572.2841 | 2646060.9948 | 1223594.5254
68 | 2646016.542 | 1223511.65 | 2646014.1907 | 1223513.3752
69 | 2646011.7765 | 1223592.9966 | 2645982.4328 | 1223554.8427
70 | 2646052.3982 | 1223547.8791 | 2646046.8234 | 1223551.8488
71 | 2646053.5733 | 1223480.21 | 2646033.8107 | 1223498.9799 | 2646016.542 | 1223511.65
72 | 2646011.7765 | 1223592.9966 | 2646013.5094 | 1223595.2499
73 | 2646054.7334 | 1223546.2163 | 2646052.3982 | 1223547.8791
74 | 2646053.5733 | 1223480.21 | 2646054.6345 | 1223475.3597 | 2646053.8298 | 1223459.5542
75 | 2646054.7334 | 1223546.2163 | 2646067.6062 | 1223537.0498
76 | 2646073.1402 | 1223533.1092 | 2646067.6062 | 1223537.0498

## bus_geodata
| x | y | coords
0 | 2644626.3785 | 1223323.5637
1 | 2644630.1925 | 1223073.2303
2 | 2644901.2542 | 1223704.4546
3 | 2644608.0157 | 1223063.2476
4 | 2645713.8653 | 1223578.0313
5 | 2645633.4513 | 1223289.9158
6 | 2645640.9925 | 1223299.4734
7 | 2644603.5368 | 1223052.5446
8 | 2644585.3644 | 1223020.7381
9 | 2644545.4987 | 1222951.0559
10 | 2644524.6117 | 1222910.0086
11 | 2644532.5012 | 1222927.6509
12 | 2644518.5186 | 1222890.1622
13 | 2644465.5203 | 1222916.5605
14 | 2644515.1784 | 1222875.9064
15 | 2644429.1393 | 1222934.6818
16 | 2644512.7339 | 1222862.5355
17 | 2644639.9533 | 1222820.0281
18 | 2645706.6022 | 1223384.2241
19 | 2645759.0802 | 1223434.2685
20 | 2645672.5855 | 1223339.5138
21 | 2645761.2781 | 1223431.4726
22 | 2645800.7372 | 1223494.0584
23 | 2645790.3643 | 1223389.4371
24 | 2645911.1313 | 1223540.3362
25 | 2645901.3736 | 1223564.9556
26 | 2645809.5457 | 1223508.5599
27 | 2645775.458 | 1223507.6173
28 | 2645750.0657 | 1223340.2643
29 | 2645780.0691 | 1223363.4943
30 | 2645885.0418 | 1223511.8199
31 | 2645939.1237 | 1223560.5199
32 | 2645936.0165 | 1223564.2204
33 | 2645954.026 | 1223583.8824
34 | 2645894.9684 | 1223582.0923
35 | 2645809.5745 | 1223508.6072
36 | 2645769.5696 | 1223510.7756
37 | 2645729.0437 | 1223569.1421
38 | 2645729.2395 | 1223569.0274
39 | 2645754.3586 | 1223554.3166
40 | 2645749.7709 | 1223546.5738
41 | 2645762.6737 | 1223568.3505
42 | 2645746.7846 | 1223541.5337
43 | 2645765.2769 | 1223572.7442
44 | 2645892.8375 | 1223591.5432
45 | 2645893.2431 | 1223606.2275
46 | 2645893.8111 | 1223611.246
47 | 2645906.8433 | 1223605.0265
48 | 2645929.452 | 1223598.0522
49 | 2645934.5541 | 1223595.1102
50 | 2645976.7122 | 1223635.2109
51 | 2645740.1261 | 1223526.5681
52 | 2645765.2875 | 1223572.762
53 | 2645758.2662 | 1223516.8384
54 | 2645956.6538 | 1223649.0775
55 | 2645956.6522 | 1223580.1867
56 | 2645823.2892 | 1223531.1858
57 | 2645971.4975 | 1223540.6241
58 | 2645765.2925 | 1223572.7705
59 | 2645825.4189 | 1223534.6919
60 | 2645826.3629 | 1223536.246
61 | 2646001.6929 | 1223522.5425
62 | 2645981.9967 | 1223535.2231
63 | 2646006.2797 | 1223519.1795
64 | 2646036.9266 | 1223558.896
65 | 2646014.1907 | 1223513.3752
66 | 2645982.4328 | 1223554.8427
67 | 2646046.8234 | 1223551.8488
68 | 2646060.9948 | 1223594.5254
69 | 2646016.542 | 1223511.65
70 | 2646011.7765 | 1223592.9966
71 | 2646052.3982 | 1223547.8791
72 | 2646053.5733 | 1223480.21
73 | 2646054.7334 | 1223546.2163
74 | 2646053.8298 | 1223459.5542
75 | 2646013.5094 | 1223595.2499
76 | 2646067.6062 | 1223537.0498
77 | 2646073.1402 | 1223533.1092
78 | 2645740.1261 | 1223526.5681

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98342 | -0.11723 | 0.0069158 | 0.0017333
1 | 0.97884 | -0.14993 | 0.001285 | 0.00032204
2 | 0.98785 | -0.085714 | 0.005382 | 0.0013489
3 | 0.97844 | -0.15281 | 0 | 0
4 | 0.99774 | -0.015874 | 0.0095936 | 0.0024044
5 | 0.99487 | -0.035682 | 0.0009432 | 0.00023639
6 | 0.99488 | -0.035566 | 0.001316 | 0.00032981
7 | 0.97825 | -0.15418 | 0.0016938 | 0.00042451
8 | 0.97774 | -0.15785 | 0.0026972 | 0.00067599
9 | 0.97693 | -0.16364 | 0.0009671 | 0.00024238
10 | 0.97657 | -0.16624 | 0.00046046 | 0.0001154
11 | 0.9767 | -0.1653 | 0.0012881 | 0.00032283
12 | 0.97645 | -0.16714 | 0 | 0
13 | 0.97616 | -0.16919 | 0.002057 | 0.00051554
14 | 0.97643 | -0.16728 | 0.00049632 | 0.00012439
15 | 0.97609 | -0.16971 | 0.0012334 | 0.00030913
16 | 0.97642 | -0.16733 | 0 | 0
17 | 0.97634 | -0.1679 | 0.00036212 | 9.0756e-05
18 | 0.99523 | -0.033119 | 0.0012672 | 0.00031758
19 | 0.9956 | -0.030522 | 0 | 0
20 | 0.99505 | -0.034403 | 0 | 0
21 | 0.99558 | -0.030616 | 0 | 0
22 | 0.99652 | -0.023971 | 0 | 0
23 | 0.99539 | -0.031982 | 0 | 0
24 | 0.98777 | -0.084884 | 0 | 0
25 | 0.98611 | -0.096581 | 0.005331 | 0.0013361
26 | 0.99622 | -0.026069 | 0.00090669 | 0.00022724
27 | 0.99858 | -0.0097908 | 0.0016708 | 0.00041875
28 | 0.9952 | -0.033308 | 0.0019641 | 0.00049226
29 | 0.99536 | -0.032175 | 0.00066224 | 0.00016597
30 | 0.97775 | -0.15587 | 0.0024393 | 0.00061136
31 | 0.97801 | -0.15401 | 0 | 0
32 | 0.97853 | -0.15031 | 0.017652 | 0.004424
33 | 0.9803 | -0.13768 | 0 | 0
34 | 0.98501 | -0.10436 | 0.0013698 | 0.0003433
35 | 0.99622 | -0.026075 | 0.0019932 | 0.00049954
36 | 0.99906 | -0.0064587 | 0.0016708 | 0.00041875
37 | 0.99803 | -0.013824 | 0.0049146 | 0.0012317
38 | 0.99803 | -0.013794 | 0.0024543 | 0.0006151
39 | 0.99862 | -0.0096884 | 0 | 0
40 | 0.99884 | -0.0081463 | 0.0018653 | 0.00046749
41 | 0.9984 | -0.011177 | 0.0037225 | 0.00093295
42 | 0.99899 | -0.0071064 | 0.0042385 | 0.0010623
43 | 0.99837 | -0.011452 | 0.0018217 | 0.00045656
44 | 0.98443 | -0.10844 | 0.0059809 | 0.0014989
45 | 0.98359 | -0.11434 | 0 | 0
46 | 0.98359 | -0.11439 | 0.0010463 | 0.00026224
47 | 0.98282 | -0.11982 | 0.011305 | 0.0028334
48 | 0.98161 | -0.12837 | 0.0070903 | 0.001777
49 | 0.98134 | -0.13035 | 0.0028521 | 0.00071481
50 | 0.98004 | -0.13955 | 0 | 0
51 | 0.99944 | -0.003939 | 0 | 0
52 | 0.99837 | -0.011453 | 0.0018217 | 0.00045656
53 | 1 | 0 | -0.21228 | -0.053372
54 | 0.97993 | -0.14036 | 0.0031912 | 0.00079978
55 | 0.97737 | -0.15859 | 0.016625 | 0.0041666
56 | 0.99587 | -0.028571 | 0.0070754 | 0.0017733
57 | 0.975 | -0.1756 | 0 | 0
58 | 0.99837 | -0.011453 | 0.0017475 | 0.00043796
59 | 0.99586 | -0.028667 | 0.0015213 | 0.00038127
60 | 0.99585 | -0.028681 | 0.00079486 | 0.00019921
61 | 0.97384 | -0.18388 | 0.014578 | 0.0036536
62 | 0.97454 | -0.1789 | 0.0063641 | 0.001595
63 | 0.9738 | -0.18422 | 0 | 0
64 | 0.97356 | -0.1859 | 0 | 0
65 | 0.97376 | -0.18446 | 0.00070449 | 0.00017656
66 | 0.97427 | -0.18085 | 0.02402 | 0.0060201
67 | 0.97352 | -0.18624 | 0.00046319 | 0.00011609
68 | 0.97353 | -0.18613 | 0.00051657 | 0.00012946
69 | 0.97376 | -0.18452 | 0.00081373 | 0.00020394
70 | 0.974 | -0.18278 | 0.00055801 | 0.00013985
71 | 0.9735 | -0.1864 | 0.00046359 | 0.00011619
72 | 0.97369 | -0.18497 | 0 | 0
73 | 0.97349 | -0.18645 | 0.00083123 | 0.00020833
74 | 0.97367 | -0.18516 | 0.00087777 | 0.00021999
75 | 0.97398 | -0.18288 | 0.0032575 | 0.0008164
76 | 0.97347 | -0.1866 | 0.0004516 | 0.00011318
77 | 0.97346 | -0.18663 | 0.0004516 | 0.00011318
78 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012618 | 0.0031634 | -0.012561 | -0.0031447 | 5.6953e-05 | 1.8743e-05 | 0.019093 | 0.019094 | 0.019094 | 0.98342 | -0.11723 | 0.97884 | -0.14993 | 7.0718
1 | -0.019534 | -0.0048967 | 0.019619 | 0.0049115 | 8.5336e-05 | 1.4862e-05 | 0.029557 | 0.029551 | 0.029557 | 0.98342 | -0.11723 | 0.98785 | -0.085714 | 3.649
2 | 0.011276 | 0.0028226 | -0.011272 | -0.0028212 | 4.4745e-06 | 1.4143e-06 | 0.017141 | 0.017141 | 0.017141 | 0.97884 | -0.14993 | 0.97844 | -0.15281 | 6.3484
3 | -0.025001 | -0.0062604 | 0.025244 | 0.0063218 | 0.00024251 | 6.1368e-05 | 0.037658 | 0.037647 | 0.037658 | 0.98785 | -0.085714 | 0.99774 | -0.015874 | 4.6491
4 | 0.011272 | 0.0028212 | -0.01127 | -0.0028205 | 2.1325e-06 | 6.7412e-07 | 0.017141 | 0.017141 | 0.017141 | 0.97844 | -0.15281 | 0.97825 | -0.15418 | 6.3484
5 | -0.034837 | -0.0087261 | 0.034847 | 0.0087293 | 9.8757e-06 | 3.109e-06 | 0.051954 | 0.051954 | 0.051954 | 0.99774 | -0.015874 | 0.99803 | -0.013824 | 6.4141
6 | -0.0009432 | -0.00023639 | 0.00094322 | 0.00023624 | 1.5119e-08 | -1.5227e-07 | 0.0014107 | 0.0014107 | 0.0014107 | 0.99487 | -0.035682 | 0.99488 | -0.035566 | 0.5225
7 | -0.0022592 | -0.00056605 | 0.0022595 | 0.00056553 | 3.6334e-07 | -5.2266e-07 | 0.0033789 | 0.0033787 | 0.0033789 | 0.99488 | -0.035566 | 0.99505 | -0.034403 | 1.2515
8 | 0.0095757 | 0.002396 | -0.0095708 | -0.0023946 | 4.8487e-06 | 1.4052e-06 | 0.014564 | 0.014564 | 0.014564 | 0.97825 | -0.15418 | 0.97774 | -0.15785 | 5.3942
9 | 0.0068736 | 0.0017186 | -0.0068681 | -0.0017175 | 5.4806e-06 | 1.1019e-06 | 0.010459 | 0.01046 | 0.01046 | 0.97774 | -0.15785 | 0.97693 | -0.16364 | 3.874
10 | 0.005901 | 0.0014751 | -0.0058997 | -0.0014749 | 1.35e-06 | 1.8391e-07 | 0.0089868 | 0.0089869 | 0.0089869 | 0.97693 | -0.16364 | 0.9767 | -0.1653 | 3.3285
11 | -0.004611 | -0.0011521 | 0.0046116 | 0.0011521 | 5.9506e-07 | -1.2966e-08 | 0.0070245 | 0.0070245 | 0.0070245 | 0.97657 | -0.16624 | 0.9767 | -0.1653 | 2.6017
12 | 0.0041505 | 0.0010367 | -0.00415 | -0.0010368 | 5.1793e-07 | -6.0515e-08 | 0.0063229 | 0.006323 | 0.006323 | 0.97657 | -0.16624 | 0.97645 | -0.16714 | 2.3419
13 | 0.0032915 | 0.00082382 | -0.0032906 | -0.0008242 | 9.2946e-07 | -3.8291e-07 | 0.0050156 | 0.0050158 | 0.0050158 | 0.97645 | -0.16714 | 0.97616 | -0.16919 | 1.8577
14 | 0.00085849 | 0.00021297 | -0.00085847 | -0.00021315 | 1.5623e-08 | -1.7717e-07 | 0.0013075 | 0.0013075 | 0.0013075 | 0.97645 | -0.16714 | 0.97643 | -0.16728 | 0.48428
15 | 0.0012335 | 0.00030866 | -0.0012334 | -0.00030913 | 8.9665e-08 | -4.7358e-07 | 0.0018802 | 0.0018804 | 0.0018804 | 0.97616 | -0.16919 | 0.97609 | -0.16971 | 0.69643
16 | 0.00036215 | 8.8761e-05 | -0.00036215 | -8.893e-05 | 2.5771e-09 | -1.6902e-07 | 0.00055118 | 0.00055124 | 0.00055124 | 0.97643 | -0.16728 | 0.97642 | -0.16733 | 0.20416
17 | 0.00036215 | 8.893e-05 | -0.00036212 | -9.0756e-05 | 2.7878e-08 | -1.8259e-06 | 0.00055124 | 0.0005519 | 0.0005519 | 0.97642 | -0.16733 | 0.97634 | -0.1679 | 0.20441
18 | -0.0035271 | -0.00088253 | 0.0035284 | 0.00088207 | 1.2629e-06 | -4.6051e-07 | 0.005273 | 0.0052727 | 0.005273 | 0.99523 | -0.033119 | 0.9956 | -0.030522 | 1.953
19 | 0.0022599 | 0.00056495 | -0.0022595 | -0.00056553 | 4.0016e-07 | -5.7598e-07 | 0.0033785 | 0.0033787 | 0.0033787 | 0.99523 | -0.033119 | 0.99505 | -0.034403 | 1.2514
20 | 0.0026273 | 0.00065662 | -0.0026272 | -0.00065665 | 3.4174e-08 | -3.3059e-08 | 0.0039261 | 0.0039261 | 0.0039261 | 0.9956 | -0.030522 | 0.99558 | -0.030616 | 1.4541
21 | -0.0061556 | -0.0015387 | 0.0061612 | 0.0015395 | 5.5535e-06 | 7.6689e-07 | 0.0091988 | 0.0091983 | 0.0091988 | 0.9956 | -0.030522 | 0.99652 | -0.023971 | 3.407
22 | 0.0026272 | 0.00065665 | -0.0026267 | -0.00065713 | 4.9439e-07 | -4.7807e-07 | 0.0039261 | 0.0039263 | 0.0039263 | 0.99558 | -0.030616 | 0.99539 | -0.031982 | 1.4542
23 | 0.012298 | 0.0030825 | -0.012295 | -0.0030814 | 3.5705e-06 | 1.1523e-06 | 0.018364 | 0.018364 | 0.018364 | 0.99652 | -0.023971 | 0.99622 | -0.026069 | 6.8015
24 | -0.15009 | -0.037914 | 0.15039 | 0.038029 | 0.00029997 | 0.00011425 | 0.22422 | 0.22422 | 0.22422 | 0.99652 | -0.023971 | 0.99858 | -0.0097908 | 27.6816
25 | 0.13163 | 0.033292 | -0.13051 | -0.032867 | 0.0011209 | 0.0004257 | 0.19666 | 0.19666 | 0.19666 | 0.99652 | -0.023971 | 0.98777 | -0.084884 | 24.2791
26 | 0.0019645 | 0.00049153 | -0.0019641 | -0.00049226 | 3.5995e-07 | -7.3087e-07 | 0.0029365 | 0.0029368 | 0.0029368 | 0.99539 | -0.031982 | 0.9952 | -0.033308 | 1.0877
27 | 0.00066225 | 0.0001656 | -0.00066224 | -0.00016597 | 1.7627e-08 | -3.679e-07 | 0.00098988 | 0.00099001 | 0.00099001 | 0.99539 | -0.031982 | 0.99536 | -0.032175 | 0.36667
28 | 0.13051 | 0.032867 | -0.1303 | -0.032786 | 0.00021304 | 8.0923e-05 | 0.19666 | 0.19666 | 0.19666 | 0.98777 | -0.084884 | 0.98611 | -0.096581 | 24.2791
29 | 0.12497 | 0.03145 | -0.12483 | -0.031398 | 0.00013556 | 5.1437e-05 | 0.18862 | 0.18862 | 0.18862 | 0.98611 | -0.096581 | 0.98501 | -0.10436 | 23.286
30 | 0.011388 | 0.0028541 | -0.011388 | -0.0028541 | 9.9936e-09 | 3.1235e-09 | 0.01701 | 0.01701 | 0.01701 | 0.99622 | -0.026069 | 0.99622 | -0.026075 | 6.2999
31 | -0.15206 | -0.038447 | 0.15213 | 0.038475 | 7.1434e-05 | 2.7212e-05 | 0.22671 | 0.22671 | 0.22671 | 0.99858 | -0.0097908 | 0.99906 | -0.0064587 | 27.9889
32 | -0.0024393 | -0.00061136 | 0.00244 | 0.00061068 | 6.2614e-07 | -6.7268e-07 | 0.0037124 | 0.003712 | 0.0037124 | 0.97775 | -0.15587 | 0.97801 | -0.15401 | 1.3749
33 | 0.054564 | 0.013699 | -0.0544 | -0.013636 | 0.00016318 | 6.2288e-05 | 0.083026 | 0.083026 | 0.083026 | 0.97801 | -0.15401 | 0.975 | -0.1756 | 30.7503
34 | -0.073639 | -0.01848 | 0.073677 | 0.018494 | 3.7816e-05 | 1.4484e-05 | 0.11205 | 0.11205 | 0.11205 | 0.97801 | -0.15401 | 0.97853 | -0.15031 | 41.4993
35 | 0.016635 | 0.0041703 | -0.016625 | -0.0041666 | 1.0539e-05 | 3.7229e-06 | 0.02531 | 0.025311 | 0.025311 | 0.97801 | -0.15401 | 0.97737 | -0.15859 | 9.3743
36 | -0.091329 | -0.022918 | 0.091489 | 0.022979 | 0.00016042 | 6.1027e-05 | 0.13889 | 0.13889 | 0.13889 | 0.97853 | -0.15031 | 0.9803 | -0.13768 | 25.7205
37 | 0.0031924 | 0.00079922 | -0.0031915 | -0.00079961 | 8.2708e-07 | -3.9343e-07 | 0.0048454 | 0.0048457 | 0.0048457 | 0.9803 | -0.13768 | 0.98004 | -0.13955 | 1.7947
38 | -0.094681 | -0.023778 | 0.094778 | 0.023815 | 9.659e-05 | 3.6299e-05 | 0.14374 | 0.14374 | 0.14374 | 0.9803 | -0.13768 | 0.98134 | -0.13035 | 17.7452
39 | 0.12346 | 0.031055 | -0.12339 | -0.031028 | 7.0127e-05 | 2.6602e-05 | 0.18655 | 0.18655 | 0.18655 | 0.98501 | -0.10436 | 0.98443 | -0.10844 | 23.0305
40 | 0.0093949 | 0.0023546 | -0.0093916 | -0.0023537 | 3.2461e-06 | 9.0466e-07 | 0.014033 | 0.014033 | 0.014033 | 0.99622 | -0.026075 | 0.99587 | -0.028571 | 5.1973
41 | -0.1538 | -0.038893 | 0.15394 | 0.038947 | 0.00014015 | 5.3401e-05 | 0.2292 | 0.2292 | 0.2292 | 0.99906 | -0.0064587 | 1 | 0 | 28.2961
42 | -0.039762 | -0.009961 | 0.039762 | 0.009961 | 1.6588e-07 | 5.4902e-08 | 0.059282 | 0.059282 | 0.059282 | 0.99803 | -0.013824 | 0.99803 | -0.013794 | 7.3187
43 | -0.042216 | -0.010576 | 0.04224 | 0.010584 | 2.3986e-05 | 8.0837e-06 | 0.062941 | 0.062941 | 0.062941 | 0.99803 | -0.013794 | 0.99862 | -0.0096884 | 7.7705
44 | -0.051356 | -0.012869 | 0.051367 | 0.012873 | 1.0962e-05 | 3.8628e-06 | 0.076523 | 0.076523 | 0.076523 | 0.99862 | -0.0096884 | 0.99884 | -0.0081463 | 9.4473
45 | 0.0091155 | 0.0022845 | -0.0091136 | -0.002284 | 1.8779e-06 | 5.0891e-07 | 0.013583 | 0.013583 | 0.013583 | 0.99862 | -0.0096884 | 0.9984 | -0.011177 | 5.0307
46 | -0.053232 | -0.01334 | 0.05324 | 0.013343 | 7.6632e-06 | 2.7173e-06 | 0.079302 | 0.079302 | 0.079302 | 0.99884 | -0.0081463 | 0.99899 | -0.0071064 | 9.7904
47 | 0.0053911 | 0.0013511 | -0.0053909 | -0.0013511 | 2.0573e-07 | 1.2343e-08 | 0.0080348 | 0.0080348 | 0.0080348 | 0.9984 | -0.011177 | 0.99837 | -0.011452 | 2.9759
48 | -0.057478 | -0.014405 | 0.057503 | 0.014414 | 2.5213e-05 | 9.0473e-06 | 0.085615 | 0.085615 | 0.085615 | 0.99899 | -0.0071064 | 0.99944 | -0.003939 | 10.5698
49 | 0.0035692 | 0.00089452 | -0.0035692 | -0.00089452 | 3.6515e-10 | -1.3194e-10 | 0.0053197 | 0.0053197 | 0.0053197 | 0.99837 | -0.011452 | 0.99837 | -0.011453 | 1.9702
50 | 0.11741 | 0.029529 | -0.11731 | -0.029493 | 9.6523e-05 | 3.6563e-05 | 0.17751 | 0.17751 | 0.17751 | 0.98443 | -0.10844 | 0.98359 | -0.11434 | 21.9145
51 | 0.0010463 | 0.00026218 | -0.0010463 | -0.00026224 | 7.8975e-09 | -6.1071e-08 | 0.0015829 | 0.001583 | 0.001583 | 0.98359 | -0.11434 | 0.98359 | -0.11439 | 0.58628
52 | 0.11627 | 0.029231 | -0.11618 | -0.029197 | 8.8715e-05 | 3.3597e-05 | 0.17592 | 0.17592 | 0.17592 | 0.98359 | -0.11434 | 0.98282 | -0.11982 | 21.7191
53 | 0.10487 | 0.026364 | -0.10475 | -0.026317 | 0.00012478 | 4.7088e-05 | 0.15881 | 0.15881 | 0.15881 | 0.98282 | -0.11982 | 0.98161 | -0.12837 | 19.606
54 | 0.097657 | 0.02454 | -0.09763 | -0.02453 | 2.6855e-05 | 1.0105e-05 | 0.14806 | 0.14806 | 0.14806 | 0.98161 | -0.12837 | 0.98134 | -0.13035 | 18.279
55 | 0.0031915 | 0.00079961 | -0.0031912 | -0.00079978 | 3.5729e-07 | -1.6982e-07 | 0.0048457 | 0.0048458 | 0.0048458 | 0.98004 | -0.13955 | 0.97993 | -0.14036 | 1.7947
56 | -0.057503 | -0.014414 | 0.057535 | 0.014425 | 3.1384e-05 | 1.1261e-05 | 0.085615 | 0.085615 | 0.085615 | 0.99944 | -0.003939 | 1 | 0 | 10.5698
57 | 0.0017475 | 0.00043796 | -0.0017475 | -0.00043796 | 4.1596e-11 | -1.1474e-10 | 0.0026045 | 0.0026045 | 0.0026045 | 0.99837 | -0.011453 | 0.99837 | -0.011453 | 0.96464
58 | 0.0023162 | 0.00058041 | -0.0023161 | -0.00058046 | 3.0659e-08 | -4.1582e-08 | 0.0034608 | 0.0034608 | 0.0034608 | 0.99587 | -0.028571 | 0.99586 | -0.028667 | 1.2818
59 | 0.027857 | 0.0069837 | -0.027837 | -0.0069761 | 2.0232e-05 | 7.5581e-06 | 0.042516 | 0.042516 | 0.042516 | 0.975 | -0.1756 | 0.97427 | -0.18085 | 15.7466
60 | 0.026543 | 0.0066528 | -0.026531 | -0.0066483 | 1.209e-05 | 4.503e-06 | 0.04051 | 0.04051 | 0.04051 | 0.975 | -0.1756 | 0.97454 | -0.1789 | 15.0037
61 | 0.00079486 | 0.00019919 | -0.00079486 | -0.00019921 | 1.6005e-09 | -2.3043e-08 | 0.0011877 | 0.0011877 | 0.0011877 | 0.99586 | -0.028667 | 0.99585 | -0.028681 | 0.43988
62 | -0.020153 | -0.0050482 | 0.020167 | 0.0050533 | 1.3901e-05 | 5.0539e-06 | 0.030793 | 0.030793 | 0.030793 | 0.97384 | -0.18388 | 0.97454 | -0.1789 | 11.4047
63 | 0.0055752 | 0.0013947 | -0.0055749 | -0.0013946 | 2.5749e-07 | 2.8275e-08 | 0.0085178 | 0.0085178 | 0.0085178 | 0.97384 | -0.18388 | 0.9738 | -0.18422 | 3.1548
64 | 0.0031787 | 0.00079509 | -0.003178 | -0.00079543 | 7.3768e-07 | -3.3961e-07 | 0.0048567 | 0.004857 | 0.004857 | 0.9738 | -0.18422 | 0.97356 | -0.1859 | 1.7989
65 | 0.0023962 | 0.00059954 | -0.0023961 | -0.00059963 | 8.2067e-08 | -9.05e-08 | 0.0036611 | 0.0036612 | 0.0036612 | 0.9738 | -0.18422 | 0.97376 | -0.18446 | 1.356
66 | 0.0026614 | 0.00066649 | -0.0026613 | -0.00066659 | 1.2544e-07 | -1.0283e-07 | 0.0040676 | 0.0040676 | 0.0040676 | 0.97356 | -0.1859 | 0.97352 | -0.18624 | 1.5065
67 | 0.00051659 | 0.00012894 | -0.00051657 | -0.00012946 | 1.6744e-08 | -5.289e-07 | 0.00078937 | 0.00078956 | 0.00078956 | 0.97356 | -0.1859 | 0.97353 | -0.18613 | 0.29243
68 | 0.0016916 | 0.00042307 | -0.0016916 | -0.0004231 | 1.2157e-08 | -3.1602e-08 | 0.0025846 | 0.0025846 | 0.0025846 | 0.97376 | -0.18446 | 0.97376 | -0.18452 | 0.95727
69 | 0.0038165 | 0.00095602 | -0.0038155 | -0.00095623 | 1.0205e-06 | -2.0672e-07 | 0.0058289 | 0.0058291 | 0.0058291 | 0.97427 | -0.18085 | 0.974 | -0.18278 | 2.1589
70 | 0.0021981 | 0.00055051 | -0.0021981 | -0.00055057 | 4.8202e-08 | -6.655e-08 | 0.0033597 | 0.0033597 | 0.0033597 | 0.97352 | -0.18624 | 0.9735 | -0.1864 | 1.2443
71 | 0.00087785 | 0.00021916 | -0.0008778 | -0.00021974 | 5.464e-08 | -5.8444e-07 | 0.0013412 | 0.0013414 | 0.0013414 | 0.97376 | -0.18452 | 0.97369 | -0.18497 | 0.4968
72 | 0.0032575 | 0.00081638 | -0.0032575 | -0.0008164 | 4.3931e-08 | -1.8482e-08 | 0.0049766 | 0.0049766 | 0.0049766 | 0.974 | -0.18278 | 0.97398 | -0.18288 | 1.8432
73 | 0.0017345 | 0.00043439 | -0.0017345 | -0.00043442 | 1.2573e-08 | -3.0807e-08 | 0.0026511 | 0.0026511 | 0.0026511 | 0.9735 | -0.1864 | 0.97349 | -0.18645 | 0.98189
74 | 0.0008778 | 0.00021974 | -0.00087777 | -0.00021999 | 2.3345e-08 | -2.4962e-07 | 0.0013414 | 0.0013415 | 0.0013415 | 0.97369 | -0.18497 | 0.97367 | -0.18516 | 0.49684
75 | 0.00090323 | 0.00022609 | -0.00090321 | -0.00022628 | 1.8795e-08 | -1.8924e-07 | 0.0013805 | 0.0013806 | 0.0013806 | 0.97349 | -0.18645 | 0.97347 | -0.1866 | 0.51133
76 | 0.00045161 | 0.0001131 | -0.0004516 | -0.00011318 | 2.02e-09 | -8.3683e-08 | 0.00069028 | 0.00069031 | 0.00069031 | 0.97347 | -0.1866 | 0.97346 | -0.18663 | 0.25567

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21414 | 0.05384

## res_load
| p_mw | q_mvar
0 | 0.0069158 | 0.0017333
1 | 0.001285 | 0.00032204
2 | 0.005382 | 0.0013489
3 | 0.0095936 | 0.0024044
4 | 0.0009432 | 0.00023639
5 | 0.001316 | 0.00032981
6 | 0.0016938 | 0.00042451
7 | 0.0026972 | 0.00067599
8 | 0.0009671 | 0.00024238
9 | 0.00046046 | 0.0001154
10 | 0.0012881 | 0.00032283
11 | 0.002057 | 0.00051554
12 | 0.00049632 | 0.00012439
13 | 0.0012334 | 0.00030913
14 | 0.00036212 | 9.0756e-05
15 | 0.0012672 | 0.00031758
16 | 0.005331 | 0.0013361
17 | 0.00090669 | 0.00022724
18 | 0.0016708 | 0.00041875
19 | 0.0019641 | 0.00049226
20 | 0.00066224 | 0.00016597
21 | 0.0024393 | 0.00061136
22 | 0.017652 | 0.004424
23 | 0.0013698 | 0.0003433
24 | 0.0019932 | 0.00049954
25 | 0.0016708 | 0.00041875
26 | 0.0049146 | 0.0012317
27 | 0.0024543 | 0.0006151
28 | 0.0018653 | 0.00046749
29 | 0.0037225 | 0.00093295
30 | 0.0042385 | 0.0010623
31 | 0.0018217 | 0.00045656
32 | 0.0059809 | 0.0014989
33 | 0.0010463 | 0.00026224
34 | 0.011305 | 0.0028334
35 | 0.0070903 | 0.001777
36 | 0.0028521 | 0.00071481
37 | 0.0018217 | 0.00045656
38 | 0.0018666 | 0.0004678
39 | 0.0031912 | 0.00079978
40 | 0.016625 | 0.0041666
41 | 0.0070754 | 0.0017733
42 | 0.0017475 | 0.00043796
43 | 0.0015213 | 0.00038127
44 | 0.00079486 | 0.00019921
45 | 0.014578 | 0.0036536
46 | 0.0063641 | 0.001595
47 | 0.00070449 | 0.00017656
48 | 0.02402 | 0.0060201
49 | 0.00046319 | 0.00011609
50 | 0.00051657 | 0.00012946
51 | 0.00081373 | 0.00020394
52 | 0.00055801 | 0.00013985
53 | 0.00046359 | 0.00011619
54 | 0.00083123 | 0.00020833
55 | 0.00087777 | 0.00021999
56 | 0.0032575 | 0.0008164
57 | 0.0004516 | 0.00011318
58 | 0.0004516 | 0.00011318

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1