## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1128-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1128-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1128-1_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1128-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1128-1_0_3_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_1128-1_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1128-1_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1128-1_0_3_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_1128-1_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1128-1_0_3_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_1128-1_0_3_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_1128-1_0_3_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_1128-1_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1128-1_0_3_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_1128-1_0_3_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_1128-1_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1128-1_0_3_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_1128-1_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1128-1_0_3_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_1128-1_0_3_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_1128-1_0_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1128-1_0_3_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_1128-1_0_3_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_1128-1_0_3_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_1128-1_0_3_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_1128-1_0_3_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_1128-1_0_3_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_1128-1_0_3_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_1128-1_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_1128-1_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_1128-1_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1128-1_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1128-1_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1128-1_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1128-1_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1128-1_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1128-1_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1128-1_0_3_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_1128-1_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1128-1_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1128-1_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1128-1_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1128-1_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_1128-1_0_3_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_1128-1_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1128-1_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_1128-1_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_1128-1_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1128-1_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_1128-1_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_1128-1_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_1128-1_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_1128-1_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_1128-1_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_1128-1_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_1128-1_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_1128-1_0_3_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_1128-1_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_1128-1_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_1128-1_0_3_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_1128-1_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_1128-1_0_3_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_1128-1_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1128-1_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_1128-1_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_1128-1_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_1128-1_0_3_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_1128-1_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_1128-1_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_1128-1_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_1128-1_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_1128-1_0_3_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_1128-1_0_3_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_1128-1_0_3_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_1128-1_0_3_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_1128-1_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_1128-1_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_1128-1_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_MV_128_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1128-1_0_3_load_0 | 0 | 0.0015161 | 0.00037997 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1128-1_0_3_load_11 | 4 | 0.0034234 | 0.00085799 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1128-1_0_3_load_8 | 6 | 0.00085874 | 0.00021522 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1128-1_0_3_load_44 | 7 | 0.0023412 | 0.00058677 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1128-1_0_3_load_46 | 9 | 0.00043427 | 0.00010884 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1128-1_0_3_load_31 | 10 | 0.0082855 | 0.0020766 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1128-1_0_3_load_67 | 11 | 0.0013048 | 0.00032702 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1128-1_0_3_load_64 | 14 | 0.0017983 | 0.0004507 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1128-1_0_3_load_9 | 15 | 0.00086345 | 0.0002164 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1128-1_0_3_load_45 | 16 | 0.00043431 | 0.00010885 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1128-1_0_3_load_70 | 18 | 0.00085224 | 0.00021359 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1128-1_0_3_load_71 | 19 | 0.00063086 | 0.00015811 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1128-1_0_3_load_29 | 20 | 0.00093969 | 0.00023551 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1128-1_0_3_load_63 | 21 | 0.0012017 | 0.00030116 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1128-1_0_3_load_61 | 22 | 0.002329 | 0.00058369 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1128-1_0_3_load_65 | 23 | 0.0018022 | 0.00045168 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1128-1_0_3_load_10 | 24 | 0.0024486 | 0.00061368 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1128-1_0_3_load_72 | 25 | 0.0011952 | 0.00029956 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1128-1_0_3_load_69 | 26 | 0.0024584 | 0.00061613 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1128-1_0_3_load_54 | 27 | 0.00058495 | 0.0001466 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1128-1_0_3_load_14 | 28 | 0.0011809 | 0.00029595 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1128-1_0_3_load_15 | 29 | 0.01807 | 0.0045287 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1128-1_0_3_load_17 | 31 | 0.00061657 | 0.00015453 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1128-1_0_3_load_19 | 33 | 0.00372 | 0.00093233 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1128-1_0_3_load_22 | 34 | 0.0014218 | 0.00035635 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1128-1_0_3_load_34 | 35 | 0.0011398 | 0.00028565 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1128-1_0_3_load_20 | 36 | 0.0012583 | 0.00031537 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1128-1_0_3_load_21 | 37 | 0.0017559 | 0.00044008 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1128-1_0_3_load_33 | 38 | 0.0016322 | 0.00040907 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1128-1_0_3_load_27 | 40 | 0.042834 | 0.010735 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1128-1_0_3_load_38 | 41 | 0.0058753 | 0.0014725 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1128-1_0_3_load_23 | 42 | 0.0014513 | 0.00036374 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1128-1_0_3_load_24 | 43 | 0.018795 | 0.0047106 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1128-1_0_3_load_25 | 44 | 0.011171 | 0.0027996 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1128-1_0_3_load_26 | 45 | 0.003239 | 0.00081177 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1128-1_0_3_load_28 | 46 | 0.0032344 | 0.00081063 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1128-1_0_3_load_42 | 47 | 0.0032392 | 0.00081181 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1128-1_0_3_load_32 | 48 | 0.0081908 | 0.0020528 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1128-1_0_3_load_30 | 49 | 0.010781 | 0.002702 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1128-1_0_3_load_36 | 51 | 0.0034282 | 0.00085918 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1128-1_0_3_load_37 | 52 | 0.0014214 | 0.00035622 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1128-1_0_3_load_43 | 53 | 0.0062384 | 0.0015635 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1128-1_0_3_load_41 | 55 | 0.00061423 | 0.00015394 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1128-1_0_3_load_73 | 56 | 0.0062221 | 0.0015594 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1128-1_0_3_load_47 | 57 | 0.00357 | 0.00089474 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1128-1_0_3_load_48 | 58 | 0.0033153 | 0.00083089 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1128-1_0_3_load_75 | 61 | 0.0086168 | 0.0021596 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1128-1_0_3_load_52 | 62 | 0.0013814 | 0.0003462 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1128-1_0_3_load_50 | 63 | 0.00030593 | 7.6674e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1128-1_0_3_load_51 | 64 | 0.0065813 | 0.0016494 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1128-1_0_3_load_53 | 65 | 0.0010066 | 0.00025227 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1128-1_0_3_load_56 | 67 | 0.00039181 | 9.8196e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1128-1_0_3_load_57 | 68 | 0.00048201 | 0.0001208 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1128-1_0_3_load_59 | 70 | 0.00060318 | 0.00015117 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1128-1_0_3_load_60 | 71 | 0.00067761 | 0.00016983 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1128-1_0_3_load_77 | 72 | 0.0005274 | 0.00013218 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1128-1_0_3_load_78 | 73 | 0.00052708 | 0.0001321 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1128-1_0_3_load_76 | 74 | 0.0024566 | 0.00061567 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1128-1_0_3_load_66 | 75 | 0.00050266 | 0.00012598 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1128-1_0_3_load_68 | 76 | 0.00022548 | 5.6511e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1128-1_0_3_load_79 | 77 | 0.0022105 | 0.000554 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1128-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.058488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1128-1_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.012933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1128-1_0_3_line_2 | NAYY 4x150 SE | 2 | 7 | 0.032235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1128-1_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1128-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.010823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1128-1_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.018792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1128-1_0_3_line_6 | NAYY 4x150 SE | 5 | 8 | 0.010356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1128-1_0_3_line_7 | NAYY 4x150 SE | 5 | 9 | 0.041649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1128-1_0_3_line_8 | NAYY 4x150 SE | 6 | 15 | 0.01515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1128-1_0_3_line_9 | NAYY 4x150 SE | 7 | 16 | 0.037196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1128-1_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.025972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1128-1_0_3_line_11 | NAYY 4x150 SE | 8 | 11 | 0.033896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1128-1_0_3_line_12 | NAYY 4x150 SE | 9 | 16 | 0.00046367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1128-1_0_3_line_13 | NAYY 4x150 SE | 10 | 20 | 0.00064233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1128-1_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.02989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1128-1_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.031977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1128-1_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.026714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1128-1_0_3_line_17 | NAYY 4x150 SE | 13 | 21 | 0.018904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1128-1_0_3_line_18 | NAYY 4x150 SE | 13 | 22 | 0.041634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1128-1_0_3_line_19 | NAYY 4x150 SE | 14 | 23 | 0.029234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1128-1_0_3_line_20 | NAYY 4x150 SE | 15 | 24 | 0.035282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1128-1_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.020997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1128-1_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.015991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1128-1_0_3_line_23 | NAYY 4x150 SE | 19 | 25 | 0.03624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1128-1_0_3_line_24 | NAYY 4x150 SE | 20 | 49 | 0.022746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1128-1_0_3_line_25 | NAYY 4x150 SE | 21 | 74 | 0.017077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1128-1_0_3_line_26 | NAYY 4x150 SE | 22 | 59 | 0.036561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1128-1_0_3_line_27 | NAYY 4x150 SE | 23 | 75 | 0.031904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1128-1_0_3_line_28 | NAYY 4x150 SE | 25 | 76 | 0.020362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1128-1_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.011798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1128-1_0_3_line_30 | NAYY 4x150 SE | 27 | 62 | 0.036442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1128-1_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.01698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1128-1_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.014684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1128-1_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0032137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1128-1_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.006011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1128-1_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.012255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1128-1_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.019635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1128-1_0_3_line_37 | NAYY 4x150 SE | 32 | 35 | 0.032579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1128-1_0_3_line_38 | NAYY 4x150 SE | 33 | 36 | 0.014094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1128-1_0_3_line_39 | NAYY 4x150 SE | 34 | 37 | 0.010126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1128-1_0_3_line_40 | NAYY 4x150 SE | 35 | 38 | 0.0097151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1128-1_0_3_line_41 | NAYY 4x150 SE | 36 | 39 | 0.024944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1128-1_0_3_line_42 | NAYY 4x150 SE | 37 | 42 | 0.013851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1128-1_0_3_line_43 | NAYY 4x150 SE | 38 | 50 | 0.0046844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1128-1_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.001923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1128-1_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.020936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1128-1_0_3_line_46 | NAYY 4x150 SE | 40 | 44 | 0.012732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1128-1_0_3_line_47 | NAYY 4x150 SE | 41 | 54 | 0.010242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1128-1_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.009409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_1128-1_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.01002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_1128-1_0_3_line_50 | NAYY 4x150 SE | 45 | 46 | 0.007328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1128-1_0_3_line_51 | NAYY 4x150 SE | 46 | 47 | 0.0063233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1128-1_0_3_line_52 | NAYY 4x150 SE | 47 | 48 | 0.018008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1128-1_0_3_line_53 | NAYY 4x150 SE | 48 | 49 | 0.0021781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1128-1_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.011321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1128-1_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.040482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1128-1_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.025088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1128-1_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.031745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1128-1_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.061793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1128-1_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.019294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1128-1_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.015495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1128-1_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.03725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1128-1_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.035425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1128-1_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.039608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1128-1_0_3_line_64 | NAYY 4x150 SE | 61 | 66 | 0.016964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1128-1_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.01583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1128-1_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.01728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1128-1_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.0050848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1128-1_0_3_line_68 | NAYY 4x150 SE | 66 | 70 | 0.10323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1128-1_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.027768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1128-1_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.0092657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1128-1_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.023207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1128-1_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.027448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1128-1_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.034799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1128-1_0_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.011215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1128-1_0_3_line_75 | NAYY 4x150 SE | 73 | 77 | 0.073706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1128-1_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.008574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1128-1_0_3_trafo_26 | 0.25 MVA 20/0.4 kV | 78 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2644296.7479 | 1222411.5307 | 2644298.7721 | 1222408.5884 | 2644301.2231 | 1222407.3948 | 2644308.9828 | 1222407.2857 | 2644317.429 | 1222406.6593 | 2644323.9116 | 1222405.9181 | 2644342.6845 | 1222399.6206 | 2644351.4785 | 1222395.6847
1 | 2644286.5342 | 1222418.3255 | 2644293.658 | 1222416.0104 | 2644296.7479 | 1222411.5307
2 | 2644286.5342 | 1222418.3255 | 2644287.3653 | 1222418.7542 | 2644303.2678 | 1222427.1886 | 2644315.0192 | 1222433.415
3 | 2644390.0702 | 1222460.9328 | 2644382.7653 | 1222457.0093 | 2644372.2591 | 1222448.0923 | 2644369.6797 | 1222446.3237
4 | 2644385.099 | 1222470.546 | 2644387.6155 | 1222465.6618 | 2644390.0702 | 1222460.9328
5 | 2644390.0702 | 1222460.9328 | 2644406.692 | 1222469.6987
6 | 2644394.2702 | 1222475.4061 | 2644385.099 | 1222470.546
7 | 2644385.099 | 1222470.546 | 2644348.2963 | 1222451.0465
8 | 2644406.692 | 1222469.6987 | 2644420.0924 | 1222476.7658
9 | 2644315.0192 | 1222433.415 | 2644347.8866 | 1222450.8294
10 | 2644394.2702 | 1222475.4061 | 2644385.3739 | 1222490.6602 | 2644381.2316 | 1222497.8677
11 | 2644394.2702 | 1222475.4061 | 2644398.527 | 1222478.1951 | 2644403.5785 | 1222483.2358 | 2644406.8294 | 1222485.6504 | 2644422.601 | 1222493.509
12 | 2644348.2963 | 1222451.0465 | 2644347.8866 | 1222450.8294
13 | 2644381.2316 | 1222497.8677 | 2644380.9116 | 1222498.4246
14 | 2644450.073 | 1222505.2624 | 2644426.8988 | 1222495.6504 | 2644422.601 | 1222493.509
15 | 2644452.1659 | 1222536.8194 | 2644448.5682 | 1222512.7891 | 2644450.073 | 1222505.2624
16 | 2644450.073 | 1222505.2624 | 2644473.8403 | 1222517.4598
17 | 2644452.1659 | 1222536.8194 | 2644446.48 | 1222541.5909 | 2644440.9136 | 1222550.6772 | 2644440.6267 | 1222551.451
18 | 2644452.1659 | 1222536.8194 | 2644460.0594 | 1222577.6981
19 | 2644473.8403 | 1222517.4598 | 2644478.0581 | 1222519.6244 | 2644499.5364 | 1222531.3976
20 | 2644420.0924 | 1222476.7658 | 2644451.3001 | 1222493.224
21 | 2644593.3874 | 1222594.2426 | 2644610.742 | 1222606.1352
22 | 2644593.3874 | 1222594.2426 | 2644580.1923 | 1222585.2095
23 | 2644580.1923 | 1222585.2095 | 2644573.437 | 1222580.585 | 2644550.7514 | 1222564.0821
24 | 2644380.9116 | 1222498.4246 | 2644369.5776 | 1222518.1458
25 | 2644434.6906 | 1222567.4631 | 2644440.6267 | 1222551.451
26 | 2644466.6773 | 1222613.6519 | 2644464.6741 | 1222601.5964 | 2644460.0594 | 1222577.6981
27 | 2644499.5364 | 1222531.3976 | 2644517.3128 | 1222541.1416 | 2644527.1028 | 1222547.4238
28 | 2644534.2853 | 1222552.1036 | 2644550.7514 | 1222564.0821
29 | 2644556.0083 | 1222621.0976 | 2644545.313 | 1222626.0788
30 | 2644512.2779 | 1222641.4648 | 2644545.313 | 1222626.0788
31 | 2644306.9833 | 1222517.0151 | 2644296.3147 | 1222530.225
32 | 2644287.0886 | 1222541.6488 | 2644296.3147 | 1222530.225
33 | 2644287.0886 | 1222541.6488 | 2644289.6814 | 1222543.5474
34 | 2644282.2078 | 1222538.1215 | 2644287.0886 | 1222541.6488
35 | 2644299.5691 | 1222550.7877 | 2644289.6814 | 1222543.5474
36 | 2644282.2078 | 1222538.1215 | 2644265.7695 | 1222548.8603
37 | 2644282.2078 | 1222538.1215 | 2644258.2195 | 1222516.0774
38 | 2644299.5691 | 1222550.7877 | 2644310.9402 | 1222559.1142
39 | 2644265.7695 | 1222548.8603 | 2644257.2923 | 1222554.3983
40 | 2644251.0661 | 1222509.5038 | 2644258.2195 | 1222516.0774
41 | 2644331.0651 | 1222573.8508 | 2644310.9402 | 1222559.1142
42 | 2644246.3396 | 1222562.8453 | 2644253.6357 | 1222556.7872 | 2644257.2923 | 1222554.3983
43 | 2644247.617 | 1222506.3342 | 2644251.0661 | 1222509.5038
44 | 2644331.0651 | 1222573.8508 | 2644332.2781 | 1222572.3586
45 | 2644331.0651 | 1222573.8508 | 2644315.5952 | 1222587.9577
46 | 2644332.2781 | 1222572.3586 | 2644340.3089 | 1222562.4794
47 | 2644308.0272 | 1222594.8589 | 2644315.5952 | 1222587.9577
48 | 2644340.3089 | 1222562.4794 | 2644346.2439 | 1222555.1783
49 | 2644352.4662 | 1222547.3332 | 2644351.9692 | 1222548.1352 | 2644346.2439 | 1222555.1783
50 | 2644352.4662 | 1222547.3332 | 2644356.3261 | 1222541.1041
51 | 2644359.5194 | 1222535.6471 | 2644357.1124 | 1222539.8351 | 2644356.3261 | 1222541.1041
52 | 2644368.4922 | 1222520.0343 | 2644359.5194 | 1222535.6471
53 | 2644369.5776 | 1222518.1458 | 2644368.4922 | 1222520.0343
54 | 2644247.617 | 1222506.3342 | 2644254.8109 | 1222497.5932
55 | 2644247.617 | 1222506.3342 | 2644247.052 | 1222505.8186 | 2644240.1521 | 1222503.5326 | 2644234.6598 | 1222503.6919 | 2644211.5683 | 1222517.594
56 | 2644270.7533 | 1222478.2223 | 2644254.8109 | 1222497.5932
57 | 2644308.0272 | 1222594.8589 | 2644310.5217 | 1222600.0583 | 2644320.8507 | 1222621.5482 | 2644321.8551 | 1222623.4316
58 | 2644350.9418 | 1222677.9506 | 2644331.6066 | 1222641.7182 | 2644321.8551 | 1222623.4316
59 | 2644432.2838 | 1222618.8801 | 2644451.3583 | 1222615.9806
60 | 2644466.6773 | 1222613.6519 | 2644451.3583 | 1222615.9806
61 | 2644473.89 | 1222650.1946 | 2644471.2843 | 1222636.5558 | 2644466.6773 | 1222613.6519
62 | 2644473.89 | 1222650.1946 | 2644480.2606 | 1222685.0416
63 | 2644473.89 | 1222650.1946 | 2644495.8723 | 1222647.7016 | 2644504.6748 | 1222645.0101 | 2644512.2779 | 1222641.4648
64 | 2644483.3114 | 1222701.7295 | 2644480.2606 | 1222685.0416
65 | 2644512.2779 | 1222641.4648 | 2644505.911 | 1222626.9716
66 | 2644505.911 | 1222626.9716 | 2644498.961 | 1222611.151
67 | 2644496.9158 | 1222606.4955 | 2644498.961 | 1222611.151
68 | 2644483.3114 | 1222701.7295 | 2644501.891 | 1222803.2785
69 | 2644511.0654 | 1222853.4213 | 2644510.7447 | 1222851.6697 | 2644506.0676 | 1222826.1063
70 | 2644512.7339 | 1222862.5355 | 2644511.0654 | 1222853.4213
71 | 2644506.0676 | 1222826.1063 | 2644501.891 | 1222803.2785
72 | 2644512.7339 | 1222862.5355 | 2644537.9027 | 1222851.5857
73 | 2644537.9027 | 1222851.5857 | 2644541.2738 | 1222850.119 | 2644568.6841 | 1222835.3774
74 | 2644578.5611 | 1222830.0655 | 2644568.6841 | 1222835.3774
75 | 2644639.9533 | 1222820.0281 | 2644634.3234 | 1222811.2695 | 2644629.0635 | 1222807.7835 | 2644623.4152 | 1222806.5405 | 2644616.0442 | 1222807.4859 | 2644584.7833 | 1222826.7191 | 2644578.5611 | 1222830.0655
76 | 2644534.2853 | 1222552.1036 | 2644533.4581 | 1222551.5019 | 2644527.1028 | 1222547.4238

## bus_geodata
| x | y | coords
0 | 2644351.4785 | 1222395.6847
1 | 2644296.7479 | 1222411.5307
2 | 2644286.5342 | 1222418.3255
3 | 2644390.0702 | 1222460.9328
4 | 2644369.6797 | 1222446.3237
5 | 2644385.099 | 1222470.546
6 | 2644406.692 | 1222469.6987
7 | 2644315.0192 | 1222433.415
8 | 2644394.2702 | 1222475.4061
9 | 2644348.2963 | 1222451.0465
10 | 2644381.2316 | 1222497.8677
11 | 2644422.601 | 1222493.509
12 | 2644450.073 | 1222505.2624
13 | 2644452.1659 | 1222536.8194
14 | 2644473.8403 | 1222517.4598
15 | 2644420.0924 | 1222476.7658
16 | 2644347.8866 | 1222450.8294
17 | 2644593.3874 | 1222594.2426
18 | 2644610.742 | 1222606.1352
19 | 2644580.1923 | 1222585.2095
20 | 2644380.9116 | 1222498.4246
21 | 2644440.6267 | 1222551.451
22 | 2644460.0594 | 1222577.6981
23 | 2644499.5364 | 1222531.3976
24 | 2644451.3001 | 1222493.224
25 | 2644550.7514 | 1222564.0821
26 | 2644556.0083 | 1222621.0976
27 | 2644545.313 | 1222626.0788
28 | 2644296.3147 | 1222530.225
29 | 2644306.9833 | 1222517.0151
30 | 2644287.0886 | 1222541.6488
31 | 2644289.6814 | 1222543.5474
32 | 2644282.2078 | 1222538.1215
33 | 2644299.5691 | 1222550.7877
34 | 2644265.7695 | 1222548.8603
35 | 2644258.2195 | 1222516.0774
36 | 2644310.9402 | 1222559.1142
37 | 2644257.2923 | 1222554.3983
38 | 2644251.0661 | 1222509.5038
39 | 2644331.0651 | 1222573.8508
40 | 2644332.2781 | 1222572.3586
41 | 2644315.5952 | 1222587.9577
42 | 2644246.3396 | 1222562.8453
43 | 2644346.2439 | 1222555.1783
44 | 2644340.3089 | 1222562.4794
45 | 2644352.4662 | 1222547.3332
46 | 2644356.3261 | 1222541.1041
47 | 2644359.5194 | 1222535.6471
48 | 2644368.4922 | 1222520.0343
49 | 2644369.5776 | 1222518.1458
50 | 2644247.617 | 1222506.3342
51 | 2644254.8109 | 1222497.5932
52 | 2644211.5683 | 1222517.594
53 | 2644270.7533 | 1222478.2223
54 | 2644308.0272 | 1222594.8589
55 | 2644321.8551 | 1222623.4316
56 | 2644350.9418 | 1222677.9506
57 | 2644432.2838 | 1222618.8801
58 | 2644451.3583 | 1222615.9806
59 | 2644466.6773 | 1222613.6519
60 | 2644473.89 | 1222650.1946
61 | 2644480.2606 | 1222685.0416
62 | 2644512.2779 | 1222641.4648
63 | 2644505.911 | 1222626.9716
64 | 2644498.961 | 1222611.151
65 | 2644496.9158 | 1222606.4955
66 | 2644483.3114 | 1222701.7295
67 | 2644511.0654 | 1222853.4213
68 | 2644506.0676 | 1222826.1063
69 | 2644512.7339 | 1222862.5355
70 | 2644501.891 | 1222803.2785
71 | 2644537.9027 | 1222851.5857
72 | 2644568.6841 | 1222835.3774
73 | 2644578.5611 | 1222830.0655
74 | 2644434.6906 | 1222567.4631
75 | 2644527.1028 | 1222547.4238
76 | 2644534.2853 | 1222552.1036
77 | 2644639.9533 | 1222820.0281
78 | 2644331.0651 | 1222573.8508

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99013 | -0.068933 | 0.0015161 | 0.00037997
1 | 0.99025 | -0.068028 | 0 | 0
2 | 0.99028 | -0.067828 | 0 | 0
3 | 0.99073 | -0.064672 | 0 | 0
4 | 0.9906 | -0.06555 | 0.0034234 | 0.00085799
5 | 0.99085 | -0.063835 | 0 | 0
6 | 0.99061 | -0.06547 | 0.00085874 | 0.00021522
7 | 0.99035 | -0.067328 | 0.0023412 | 0.00058677
8 | 0.99103 | -0.062536 | 0 | 0
9 | 0.99056 | -0.065843 | 0.00043427 | 0.00010884
10 | 0.99328 | -0.046742 | 0.0082855 | 0.0020766
11 | 0.98869 | -0.07898 | 0.0013048 | 0.00032702
12 | 0.98668 | -0.093145 | 0 | 0
13 | 0.98485 | -0.10605 | 0 | 0
14 | 0.98641 | -0.095069 | 0.0017983 | 0.0004507
15 | 0.99054 | -0.065981 | 0.00086345 | 0.0002164
16 | 0.99056 | -0.065864 | 0.00043431 | 0.00010885
17 | 0.98582 | -0.099267 | 0 | 0
18 | 0.98579 | -0.099451 | 0.00085224 | 0.00021359
19 | 0.98584 | -0.099126 | 0.00063086 | 0.00015811
20 | 0.99335 | -0.046298 | 0.00093969 | 0.00023551
21 | 0.98475 | -0.10676 | 0.0012017 | 0.00030116
22 | 0.9827 | -0.12135 | 0.002329 | 0.00058369
23 | 0.98619 | -0.096635 | 0.0018022 | 0.00045168
24 | 0.99042 | -0.066861 | 0.0024486 | 0.00061368
25 | 0.98592 | -0.098572 | 0.0011952 | 0.00029956
26 | 0.97858 | -0.15071 | 0.0024584 | 0.00061613
27 | 0.97863 | -0.1504 | 0.00058495 | 0.0001466
28 | 0.99272 | -0.051073 | 0.0011809 | 0.00029595
29 | 0.99227 | -0.054182 | 0.01807 | 0.0045287
30 | 0.99312 | -0.048211 | 0 | 0
31 | 0.9933 | -0.046983 | 0.00061657 | 0.00015453
32 | 0.99296 | -0.049337 | 0 | 0
33 | 0.99397 | -0.042229 | 0.00372 | 0.00093233
34 | 0.99283 | -0.050257 | 0.0014218 | 0.00035635
35 | 0.99231 | -0.053914 | 0.0011398 | 0.00028565
36 | 0.99482 | -0.03624 | 0.0012583 | 0.00031537
37 | 0.99278 | -0.050586 | 0.0017559 | 0.00044008
38 | 0.99214 | -0.055167 | 0.0016322 | 0.00040907
39 | 0.99638 | -0.025351 | 0 | 0
40 | 0.99653 | -0.024267 | 0.042834 | 0.010735
41 | 0.99599 | -0.02803 | 0.0058753 | 0.0014725
42 | 0.99276 | -0.05079 | 0.0014513 | 0.00036374
43 | 0.99908 | -0.0064506 | 0.018795 | 0.0047106
44 | 0.99833 | -0.011633 | 0.011171 | 0.0027996
45 | 1 | 0 | -0.2259 | -0.056622
46 | 0.999 | -0.0069298 | 0.0032344 | 0.00081063
47 | 0.99817 | -0.012716 | 0.0032392 | 0.00081181
48 | 0.99588 | -0.028659 | 0.0081908 | 0.0020528
49 | 0.99562 | -0.030412 | 0.010781 | 0.002702
50 | 0.99206 | -0.055694 | 0 | 0
51 | 0.9919 | -0.056804 | 0.0034282 | 0.00085918
52 | 0.99198 | -0.056279 | 0.0014214 | 0.00035622
53 | 0.99168 | -0.058393 | 0.0062384 | 0.0015635
54 | 0.99589 | -0.028735 | 0 | 0
55 | 0.99558 | -0.030922 | 0.00061423 | 0.00015394
56 | 0.99503 | -0.034798 | 0.0062221 | 0.0015594
57 | 0.98067 | -0.13577 | 0.00357 | 0.00089474
58 | 0.98077 | -0.13506 | 0.0033153 | 0.00083089
59 | 0.98093 | -0.13395 | 0 | 0
60 | 0.9795 | -0.14416 | 0 | 0
61 | 0.97877 | -0.14935 | 0.0086168 | 0.0021596
62 | 0.97879 | -0.14925 | 0.0013814 | 0.0003462
63 | 0.97861 | -0.15055 | 0.00030593 | 7.6674e-05
64 | 0.97841 | -0.15192 | 0.0065813 | 0.0016494
65 | 0.97841 | -0.15197 | 0.0010066 | 0.00025227
66 | 0.97864 | -0.15032 | 0 | 0
67 | 0.97749 | -0.15861 | 0.00039181 | 9.8196e-05
68 | 0.97766 | -0.15735 | 0.00048201 | 0.0001208
69 | 0.97743 | -0.15899 | 0 | 0
70 | 0.97782 | -0.15618 | 0.00060318 | 0.00015117
71 | 0.97727 | -0.16013 | 0.00067761 | 0.00016983
72 | 0.97711 | -0.16132 | 0.0005274 | 0.00013218
73 | 0.97706 | -0.16164 | 0.00052708 | 0.0001321
74 | 0.98469 | -0.10719 | 0.0024566 | 0.00061567
75 | 0.98603 | -0.097754 | 0.00050266 | 0.00012598
76 | 0.986 | -0.098011 | 0.00022548 | 5.6511e-05
77 | 0.97683 | -0.16335 | 0.0022105 | 0.000554
78 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0015161 | -0.00037997 | 0.0015163 | 0.00037929 | 1.8945e-07 | -6.7948e-07 | 0.0022785 | 0.0022782 | 0.0022785 | 0.99013 | -0.068933 | 0.99025 | -0.068028 | 0.84388
1 | -0.0015163 | -0.00037929 | 0.0015163 | 0.00037914 | 4.1883e-08 | -1.5027e-07 | 0.0022782 | 0.0022781 | 0.0022782 | 0.99025 | -0.068028 | 0.99028 | -0.067828 | 0.84378
2 | -0.0015163 | -0.00037914 | 0.0015164 | 0.00037876 | 1.0439e-07 | -3.746e-07 | 0.0022781 | 0.002278 | 0.0022781 | 0.99028 | -0.067828 | 0.99035 | -0.067328 | 0.84376
3 | 0.0034238 | 0.00085782 | -0.0034234 | -0.00085799 | 4.1582e-07 | -1.6453e-07 | 0.0051423 | 0.0051424 | 0.0051424 | 0.99073 | -0.064672 | 0.9906 | -0.06555 | 1.9046
4 | -0.0075956 | -0.0019026 | 0.0075965 | 0.0019028 | 8.7885e-07 | 1.9864e-07 | 0.011408 | 0.011408 | 0.011408 | 0.99073 | -0.064672 | 0.99085 | -0.063835 | 4.2251
5 | 0.0041718 | 0.0010448 | -0.0041713 | -0.0010449 | 4.6033e-07 | -6.4905e-08 | 0.0062655 | 0.0062656 | 0.0062656 | 0.99073 | -0.064672 | 0.99061 | -0.06547 | 2.3206
6 | -0.012325 | -0.0030858 | 0.012327 | 0.0030865 | 2.2136e-06 | 7.1795e-07 | 0.018508 | 0.018508 | 0.018508 | 0.99085 | -0.063835 | 0.99103 | -0.062536 | 6.8548
7 | 0.0047283 | 0.001183 | -0.004727 | -0.001183 | 1.3102e-06 | -3.2376e-08 | 0.0071001 | 0.0071003 | 0.0071003 | 0.99085 | -0.063835 | 0.99056 | -0.065843 | 2.6297
8 | 0.0033126 | 0.00082964 | -0.0033124 | -0.00082974 | 2.3405e-07 | -1.0501e-07 | 0.0049757 | 0.0049758 | 0.0049758 | 0.99061 | -0.06547 | 0.99054 | -0.065981 | 1.8429
9 | -0.0038577 | -0.00096553 | 0.0038584 | 0.00096535 | 7.7962e-07 | -1.7886e-07 | 0.0057957 | 0.0057956 | 0.0057957 | 0.99035 | -0.067328 | 0.99056 | -0.065864 | 2.1466
10 | -0.060347 | -0.015174 | 0.06048 | 0.015225 | 0.00013311 | 5.0861e-05 | 0.090628 | 0.090628 | 0.090628 | 0.99103 | -0.062536 | 0.99328 | -0.046742 | 33.5659
11 | 0.04802 | 0.012087 | -0.04791 | -0.012045 | 0.00011001 | 4.1877e-05 | 0.07212 | 0.07212 | 0.07212 | 0.99103 | -0.062536 | 0.98869 | -0.07898 | 26.7112
12 | 0.0042928 | 0.0010742 | -0.0042928 | -0.0010742 | 1.2029e-08 | -1.342e-09 | 0.006448 | 0.006448 | 0.006448 | 0.99056 | -0.065843 | 0.99056 | -0.065864 | 2.3881
13 | -0.068766 | -0.017301 | 0.06877 | 0.017303 | 4.2556e-06 | 1.6284e-06 | 0.10304 | 0.10304 | 0.10304 | 0.99328 | -0.046742 | 0.99335 | -0.046298 | 38.163
14 | 0.046605 | 0.011718 | -0.046514 | -0.011683 | 9.1802e-05 | 3.4926e-05 | 0.070156 | 0.070157 | 0.070157 | 0.98869 | -0.07898 | 0.98668 | -0.093145 | 25.9839
15 | 0.039503 | 0.0099282 | -0.039432 | -0.0099014 | 7.084e-05 | 2.6839e-05 | 0.059584 | 0.059584 | 0.059584 | 0.98668 | -0.093145 | 0.98485 | -0.10605 | 22.0682
16 | 0.007011 | 0.0017552 | -0.0070091 | -0.0017549 | 1.8634e-06 | 3.7558e-07 | 0.010573 | 0.010573 | 0.010573 | 0.98668 | -0.093145 | 0.98641 | -0.095069 | 3.9158
17 | 0.0036587 | 0.00091657 | -0.0036584 | -0.00091667 | 3.6045e-07 | -1.0189e-07 | 0.0055278 | 0.0055279 | 0.0055279 | 0.98485 | -0.10605 | 0.98475 | -0.10676 | 2.0474
18 | 0.035773 | 0.0089848 | -0.035697 | -0.0089561 | 7.5914e-05 | 2.8669e-05 | 0.054056 | 0.054056 | 0.054056 | 0.98485 | -0.10605 | 0.9827 | -0.12135 | 20.0209
19 | 0.0052108 | 0.0013042 | -0.0052097 | -0.0013041 | 1.127e-06 | 6.0373e-08 | 0.00786 | 0.0078601 | 0.0078601 | 0.98641 | -0.095069 | 0.98619 | -0.096635 | 2.9112
20 | 0.0024489 | 0.00061334 | -0.0024486 | -0.00061368 | 2.9794e-07 | -3.3951e-07 | 0.0036787 | 0.0036788 | 0.0036788 | 0.99054 | -0.065981 | 0.99042 | -0.066861 | 1.3625
21 | 0.00085226 | 0.00021333 | -0.00085224 | -0.00021359 | 2.1681e-08 | -2.5936e-07 | 0.0012863 | 0.0012864 | 0.0012864 | 0.98582 | -0.099267 | 0.98579 | -0.099451 | 0.47645
22 | -0.00085226 | -0.00021333 | 0.00085228 | 0.00021313 | 1.6509e-08 | -1.9754e-07 | 0.0012863 | 0.0012863 | 0.0012863 | 0.98582 | -0.099267 | 0.98584 | -0.099126 | 0.47642
23 | -0.0014831 | -0.00037124 | 0.0014833 | 0.00037082 | 1.133e-07 | -4.1853e-07 | 0.0022385 | 0.0022383 | 0.0022385 | 0.98584 | -0.099126 | 0.98592 | -0.098572 | 0.82906
24 | -0.06971 | -0.017538 | 0.069865 | 0.017598 | 0.00015484 | 5.926e-05 | 0.10445 | 0.10445 | 0.10445 | 0.99335 | -0.046298 | 0.99562 | -0.030412 | 38.6844
25 | 0.0024567 | 0.00061551 | -0.0024566 | -0.00061567 | 1.4684e-07 | -1.6077e-07 | 0.0037121 | 0.0037122 | 0.0037122 | 0.98475 | -0.10676 | 0.98469 | -0.10719 | 1.3749
26 | 0.033368 | 0.0083724 | -0.03331 | -0.0083505 | 5.825e-05 | 2.1941e-05 | 0.05053 | 0.05053 | 0.05053 | 0.9827 | -0.12135 | 0.98093 | -0.13395 | 18.7148
27 | 0.0034075 | 0.00085242 | -0.0034069 | -0.00085262 | 5.2615e-07 | -2.0465e-07 | 0.0051408 | 0.005141 | 0.005141 | 0.98619 | -0.096635 | 0.98603 | -0.097754 | 1.9041
28 | -0.0026785 | -0.00067038 | 0.0026787 | 0.0006702 | 2.0761e-07 | -1.7984e-07 | 0.0040422 | 0.0040422 | 0.0040422 | 0.98592 | -0.098572 | 0.986 | -0.098011 | 1.4971
29 | -0.0024584 | -0.00061613 | 0.0024585 | 0.00061602 | 1.0288e-07 | -1.0867e-07 | 0.0037382 | 0.0037381 | 0.0037382 | 0.97858 | -0.15071 | 0.97863 | -0.1504 | 1.3845
30 | -0.0030434 | -0.00076262 | 0.0030439 | 0.00076235 | 4.8694e-07 | -2.7067e-07 | 0.0046275 | 0.0046274 | 0.0046275 | 0.97863 | -0.1504 | 0.97879 | -0.14925 | 1.7139
31 | 0.018078 | 0.0045315 | -0.01807 | -0.0045287 | 7.78e-06 | 2.7729e-06 | 0.027097 | 0.027098 | 0.027098 | 0.99272 | -0.051073 | 0.99227 | -0.054182 | 10.0361
32 | -0.019258 | -0.0048274 | 0.019266 | 0.0048302 | 7.6357e-06 | 2.7469e-06 | 0.028867 | 0.028867 | 0.028867 | 0.99272 | -0.051073 | 0.99312 | -0.048211 | 10.6917
33 | -0.037774 | -0.0094688 | 0.03778 | 0.0094713 | 6.4237e-06 | 2.4291e-06 | 0.056598 | 0.056598 | 0.056598 | 0.99312 | -0.048211 | 0.9933 | -0.046983 | 20.9621
34 | 0.018507 | 0.0046386 | -0.018505 | -0.0046376 | 2.8843e-06 | 1.0316e-06 | 0.02773 | 0.02773 | 0.02773 | 0.99312 | -0.048211 | 0.99296 | -0.049337 | 10.2704
35 | -0.038397 | -0.0096258 | 0.038422 | 0.0096354 | 2.5302e-05 | 9.5729e-06 | 0.057521 | 0.057521 | 0.057521 | 0.9933 | -0.046983 | 0.99397 | -0.042229 | 21.3042
36 | 0.0046299 | 0.0011599 | -0.0046293 | -0.0011599 | 5.8979e-07 | -2.711e-08 | 0.006938 | 0.0069381 | 0.0069381 | 0.99296 | -0.049337 | 0.99283 | -0.050257 | 2.5697
37 | 0.013875 | 0.0034777 | -0.013866 | -0.0034747 | 8.7886e-06 | 2.9591e-06 | 0.020792 | 0.020792 | 0.020792 | 0.99296 | -0.049337 | 0.99231 | -0.053914 | 7.7008
38 | -0.042142 | -0.010568 | 0.042177 | 0.010581 | 3.5005e-05 | 1.3281e-05 | 0.06309 | 0.06309 | 0.06309 | 0.99397 | -0.042229 | 0.99482 | -0.03624 | 23.3667
39 | 0.0032075 | 0.00080358 | -0.0032073 | -0.00080366 | 1.4601e-07 | -7.4781e-08 | 0.0048071 | 0.0048072 | 0.0048072 | 0.99283 | -0.050257 | 0.99278 | -0.050586 | 1.7804
40 | 0.012726 | 0.0031891 | -0.012724 | -0.0031884 | 2.2077e-06 | 7.2362e-07 | 0.019083 | 0.019083 | 0.019083 | 0.99231 | -0.053914 | 0.99214 | -0.055167 | 7.0679
41 | -0.043435 | -0.010896 | 0.043501 | 0.010921 | 6.5705e-05 | 2.4947e-05 | 0.064972 | 0.064972 | 0.064972 | 0.99482 | -0.03624 | 0.99638 | -0.025351 | 24.0638
42 | 0.0014514 | 0.00036358 | -0.0014513 | -0.00036374 | 4.0901e-08 | -1.6337e-07 | 0.0021753 | 0.0021754 | 0.0021754 | 0.99278 | -0.050586 | 0.99276 | -0.05079 | 0.8057
43 | 0.011092 | 0.0027793 | -0.011091 | -0.002779 | 8.0889e-07 | 2.5062e-07 | 0.016635 | 0.016635 | 0.016635 | 0.99214 | -0.055167 | 0.99206 | -0.055694 | 6.1612
44 | -0.056223 | -0.01411 | 0.056232 | 0.014113 | 8.4613e-06 | 3.2293e-06 | 0.083972 | 0.083972 | 0.083972 | 0.99638 | -0.025351 | 0.99653 | -0.024267 | 31.1008
45 | 0.012722 | 0.0031884 | -0.012718 | -0.0031868 | 4.7162e-06 | 1.5413e-06 | 0.019 | 0.019 | 0.019 | 0.99638 | -0.025351 | 0.99599 | -0.02803 | 7.0371
46 | -0.099066 | -0.024848 | 0.09924 | 0.024915 | 0.00017386 | 6.6702e-05 | 0.14793 | 0.14793 | 0.14793 | 0.99653 | -0.024267 | 0.99833 | -0.011633 | 54.7897
47 | 0.0068424 | 0.0017143 | -0.0068417 | -0.0017142 | 6.6785e-07 | 1.2358e-07 | 0.010222 | 0.010222 | 0.010222 | 0.99599 | -0.02803 | 0.99589 | -0.028735 | 3.7861
48 | 0.11049 | 0.027745 | -0.11041 | -0.027714 | 7.9517e-05 | 3.0337e-05 | 0.16458 | 0.16458 | 0.16458 | 0.99908 | -0.0064506 | 0.99833 | -0.011633 | 30.4781
49 | -0.12929 | -0.032455 | 0.1294 | 0.0325 | 0.00011594 | 4.4329e-05 | 0.19258 | 0.19258 | 0.19258 | 0.99908 | -0.0064506 | 1 | 0 | 35.6621
50 | 0.095696 | 0.024123 | -0.095603 | -0.024087 | 9.2783e-05 | 3.559e-05 | 0.14245 | 0.14245 | 0.14245 | 1 | 0 | 0.999 | -0.0069298 | 52.7577
51 | 0.092368 | 0.023276 | -0.092294 | -0.023248 | 7.4738e-05 | 2.8663e-05 | 0.13763 | 0.13763 | 0.13763 | 0.999 | -0.0069298 | 0.99817 | -0.012716 | 50.9733
52 | 0.089055 | 0.022436 | -0.088856 | -0.02236 | 0.00019817 | 7.5983e-05 | 0.1328 | 0.1328 | 0.1328 | 0.99817 | -0.012716 | 0.99588 | -0.028659 | 49.1849
53 | 0.080666 | 0.020307 | -0.080646 | -0.0203 | 1.9755e-05 | 7.5699e-06 | 0.12056 | 0.12056 | 0.12056 | 0.99588 | -0.028659 | 0.99562 | -0.030412 | 44.6522
54 | 0.0096694 | 0.0024233 | -0.0096679 | -0.0024229 | 1.4859e-06 | 4.2535e-07 | 0.014503 | 0.014503 | 0.014503 | 0.99206 | -0.055694 | 0.9919 | -0.056804 | 5.3716
55 | 0.0014215 | 0.00035575 | -0.0014214 | -0.00035622 | 1.1482e-07 | -4.7848e-07 | 0.0021319 | 0.0021321 | 0.0021321 | 0.99206 | -0.055694 | 0.99198 | -0.056279 | 0.78967
56 | 0.0062397 | 0.0015637 | -0.0062384 | -0.0015635 | 1.3717e-06 | 2.0382e-07 | 0.0093606 | 0.0093607 | 0.0093607 | 0.9919 | -0.056804 | 0.99168 | -0.058393 | 3.4669
57 | 0.0068417 | 0.0017142 | -0.0068397 | -0.0017138 | 2.07e-06 | 3.8322e-07 | 0.010222 | 0.010223 | 0.010223 | 0.99589 | -0.028735 | 0.99558 | -0.030922 | 3.7861
58 | 0.0062254 | 0.0015599 | -0.0062221 | -0.0015594 | 3.3383e-06 | 4.8087e-07 | 0.0093045 | 0.0093048 | 0.0093048 | 0.99558 | -0.030922 | 0.99503 | -0.034798 | 3.4462
59 | -0.00357 | -0.00089474 | 0.0035704 | 0.00089463 | 3.5327e-07 | -1.0758e-07 | 0.005417 | 0.0054169 | 0.005417 | 0.98067 | -0.13577 | 0.98077 | -0.13506 | 2.0063
60 | -0.0068857 | -0.0017255 | 0.0068867 | 0.0017257 | 1.0552e-06 | 2.1028e-07 | 0.010447 | 0.010447 | 0.010447 | 0.98077 | -0.13506 | 0.98093 | -0.13395 | 3.8692
61 | 0.026423 | 0.0066248 | -0.026386 | -0.0066109 | 3.7346e-05 | 1.3894e-05 | 0.040083 | 0.040083 | 0.040083 | 0.98093 | -0.13395 | 0.9795 | -0.14416 | 14.8457
62 | 0.014055 | 0.0035205 | -0.014045 | -0.0035171 | 1.0077e-05 | 3.4303e-06 | 0.021351 | 0.021351 | 0.021351 | 0.9795 | -0.14416 | 0.97877 | -0.14935 | 7.9079
63 | 0.012331 | 0.0030904 | -0.012322 | -0.0030876 | 8.6727e-06 | 2.8375e-06 | 0.018732 | 0.018732 | 0.018732 | 0.9795 | -0.14416 | 0.97879 | -0.14925 | 6.9379
64 | 0.0054282 | 0.0013575 | -0.0054275 | -0.0013574 | 7.2075e-07 | 6.4027e-08 | 0.0082514 | 0.0082515 | 0.0082515 | 0.97877 | -0.14935 | 0.97864 | -0.15032 | 3.0561
65 | 0.0078967 | 0.001979 | -0.0078953 | -0.0019787 | 1.4236e-06 | 3.4863e-07 | 0.012005 | 0.012005 | 0.012005 | 0.97879 | -0.14925 | 0.97861 | -0.15055 | 4.4463
66 | 0.0075894 | 0.001902 | -0.0075879 | -0.0019017 | 1.4359e-06 | 3.3522e-07 | 0.01154 | 0.01154 | 0.01154 | 0.97861 | -0.15055 | 0.97841 | -0.15192 | 4.2741
67 | 0.0010066 | 0.00025221 | -0.0010066 | -0.00025227 | 7.4359e-09 | -6.1e-08 | 0.0015308 | 0.0015309 | 0.0015309 | 0.97841 | -0.15192 | 0.97841 | -0.15197 | 0.56699
68 | 0.0054275 | 0.0013574 | -0.0054231 | -0.001357 | 4.3863e-06 | 3.91e-07 | 0.0082515 | 0.0082519 | 0.0082519 | 0.97864 | -0.15032 | 0.97782 | -0.15618 | 3.0563
69 | -0.0043364 | -0.0010851 | 0.0043372 | 0.0010851 | 7.5492e-07 | -5.7791e-08 | 0.0066006 | 0.0066005 | 0.0066006 | 0.97749 | -0.15861 | 0.97766 | -0.15735 | 2.4447
70 | 0.0039446 | 0.00098692 | -0.0039444 | -0.00098695 | 2.0844e-07 | -3.5973e-08 | 0.0060042 | 0.0060042 | 0.0060042 | 0.97749 | -0.15861 | 0.97743 | -0.15899 | 2.2238
71 | -0.0048192 | -0.0012059 | 0.0048199 | 0.0012059 | 7.7892e-07 | 8.53e-09 | 0.0073341 | 0.007334 | 0.0073341 | 0.97766 | -0.15735 | 0.97782 | -0.15618 | 2.7164
72 | 0.0039444 | 0.00098695 | -0.0039438 | -0.00098706 | 6.1747e-07 | -1.0648e-07 | 0.0060042 | 0.0060044 | 0.0060044 | 0.97743 | -0.15899 | 0.97727 | -0.16013 | 2.2238
73 | 0.0032662 | 0.00081723 | -0.0032656 | -0.00081746 | 5.3696e-07 | -2.2943e-07 | 0.0049726 | 0.0049728 | 0.0049728 | 0.97727 | -0.16013 | 0.97711 | -0.16132 | 1.8418
74 | 0.0027382 | 0.00068529 | -0.0027381 | -0.00068538 | 1.2167e-07 | -9.3669e-08 | 0.0041696 | 0.0041697 | 0.0041697 | 0.97711 | -0.16132 | 0.97706 | -0.16164 | 1.5443
75 | 0.002211 | 0.00055328 | -0.0022105 | -0.000554 | 5.2144e-07 | -7.2234e-07 | 0.003367 | 0.0033673 | 0.0033673 | 0.97706 | -0.16164 | 0.97683 | -0.16335 | 1.2471
76 | 0.0029043 | 0.00072664 | -0.0029042 | -0.00072671 | 1.0275e-07 | -6.984e-08 | 0.0043824 | 0.0043824 | 0.0043824 | 0.98603 | -0.097754 | 0.986 | -0.098011 | 1.6231

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22914 | 0.057434

## res_load
| p_mw | q_mvar
0 | 0.0015161 | 0.00037997
1 | 0.0034234 | 0.00085799
2 | 0.00085874 | 0.00021522
3 | 0.0023412 | 0.00058677
4 | 0.00043427 | 0.00010884
5 | 0.0082855 | 0.0020766
6 | 0.0013048 | 0.00032702
7 | 0.0017983 | 0.0004507
8 | 0.00086345 | 0.0002164
9 | 0.00043431 | 0.00010885
10 | 0.00085224 | 0.00021359
11 | 0.00063086 | 0.00015811
12 | 0.00093969 | 0.00023551
13 | 0.0012017 | 0.00030116
14 | 0.002329 | 0.00058369
15 | 0.0018022 | 0.00045168
16 | 0.0024486 | 0.00061368
17 | 0.0011952 | 0.00029956
18 | 0.0024584 | 0.00061613
19 | 0.00058495 | 0.0001466
20 | 0.0011809 | 0.00029595
21 | 0.01807 | 0.0045287
22 | 0.00061657 | 0.00015453
23 | 0.00372 | 0.00093233
24 | 0.0014218 | 0.00035635
25 | 0.0011398 | 0.00028565
26 | 0.0012583 | 0.00031537
27 | 0.0017559 | 0.00044008
28 | 0.0016322 | 0.00040907
29 | 0.042834 | 0.010735
30 | 0.0058753 | 0.0014725
31 | 0.0014513 | 0.00036374
32 | 0.018795 | 0.0047106
33 | 0.011171 | 0.0027996
34 | 0.003239 | 0.00081177
35 | 0.0032344 | 0.00081063
36 | 0.0032392 | 0.00081181
37 | 0.0081908 | 0.0020528
38 | 0.010781 | 0.002702
39 | 0.0034282 | 0.00085918
40 | 0.0014214 | 0.00035622
41 | 0.0062384 | 0.0015635
42 | 0.00061423 | 0.00015394
43 | 0.0062221 | 0.0015594
44 | 0.00357 | 0.00089474
45 | 0.0033153 | 0.00083089
46 | 0.0086168 | 0.0021596
47 | 0.0013814 | 0.0003462
48 | 0.00030593 | 7.6674e-05
49 | 0.0065813 | 0.0016494
50 | 0.0010066 | 0.00025227
51 | 0.00039181 | 9.8196e-05
52 | 0.00048201 | 0.0001208
53 | 0.00060318 | 0.00015117
54 | 0.00067761 | 0.00016983
55 | 0.0005274 | 0.00013218
56 | 0.00052708 | 0.0001321
57 | 0.0024566 | 0.00061567
58 | 0.00050266 | 0.00012598
59 | 0.00022548 | 5.6511e-05
60 | 0.0022105 | 0.000554

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1