## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1128-3_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_1128-3_1_2_node_129 | 0.4 | n |  | TRUE
2 | bus_LV_1128-3_1_2_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_1128-3_1_2_node_110 | 0.4 | n |  | TRUE
4 | bus_LV_1128-3_1_2_node_131 | 0.4 | n |  | TRUE
5 | bus_LV_1128-3_1_2_node_103 | 0.4 | n |  | TRUE
6 | bus_LV_1128-3_1_2_node_133 | 0.4 | n |  | TRUE
7 | bus_LV_1128-3_1_2_node_134 | 0.4 | n |  | TRUE
8 | bus_LV_1128-3_1_2_node_135 | 0.4 | n |  | TRUE
9 | bus_LV_1128-3_1_2_node_102 | 0.4 | n |  | TRUE
10 | bus_LV_1128-3_1_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1128-3_1_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1128-3_1_2_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_1128-3_1_2_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1128-3_1_2_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1128-3_1_2_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1128-3_1_2_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1128-3_1_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_1128-3_1_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1128-3_1_2_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_1128-3_1_2_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_1128-3_1_2_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_1128-3_1_2_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_1128-3_1_2_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_1128-3_1_2_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_1128-3_1_2_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1128-3_1_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1128-3_1_2_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_1128-3_1_2_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1128-3_1_2_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_1128-3_1_2_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_1128-3_1_2_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_1128-3_1_2_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_1128-3_1_2_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_1128-3_1_2_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_1128-3_1_2_node_97 | 0.4 | n |  | TRUE
36 | bus_LV_1128-3_1_2_node_109 | 0.4 | n |  | TRUE
37 | bus_LV_1128-3_1_2_node_121 | 0.4 | n |  | TRUE
38 | bus_LV_1128-3_1_2_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_1128-3_1_2_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_1128-3_1_2_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_1128-3_1_2_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_1128-3_1_2_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_1128-3_1_2_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_1128-3_1_2_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_1128-3_1_2_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_1128-3_1_2_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_1128-3_1_2_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_1128-3_1_2_node_93 | 0.4 | n |  | TRUE
49 | bus_LV_1128-3_1_2_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_1128-3_1_2_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_1128-3_1_2_node_99 | 0.4 | n |  | TRUE
52 | bus_LV_1128-3_1_2_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_1128-3_1_2_node_101 | 0.4 | n |  | TRUE
54 | bus_MV_128_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1128-3_1_2_load_128 | 0 | 0.0010451 | 0.00026192 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1128-3_1_2_load_129 | 1 | 0.0030456 | 0.0007633 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1128-3_1_2_load_110 | 3 | 0.00029679 | 7.4383e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1128-3_1_2_load_131 | 4 | 0.00044437 | 0.00011137 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1128-3_1_2_load_103 | 5 | 0.0036456 | 0.00091367 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1128-3_1_2_load_133 | 6 | 0.0077572 | 0.0019441 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1128-3_1_2_load_134 | 7 | 0.0036132 | 0.00090556 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1128-3_1_2_load_135 | 8 | 0.0035383 | 0.00088678 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1128-3_1_2_load_102 | 9 | 0.002968 | 0.00074384 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1128-3_1_2_load_12 | 10 | 0.00061007 | 0.0001529 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1128-3_1_2_load_13 | 11 | 0.0011332 | 0.00028401 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1128-3_1_2_load_35 | 13 | 0.0017202 | 0.00043113 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1128-3_1_2_load_26 | 14 | 0.00016216 | 4.0641e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1128-3_1_2_load_22 | 15 | 8.965e-05 | 2.2468e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1128-3_1_2_load_23 | 16 | 0.00076542 | 0.00019183 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1128-3_1_2_load_25 | 18 | 0.0011987 | 0.00030043 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1128-3_1_2_load_27 | 19 | 8.818e-05 | 2.21e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1128-3_1_2_load_63 | 21 | 0.00023615 | 5.9186e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1128-3_1_2_load_28 | 22 | 0.00040371 | 0.00010118 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1128-3_1_2_load_29 | 23 | 0.00456 | 0.0011428 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1128-3_1_2_load_31 | 25 | 0.006522 | 0.0016346 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1128-3_1_2_load_33 | 26 | 0.0011224 | 0.00028129 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1128-3_1_2_load_34 | 28 | 0.0028249 | 0.00070798 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1128-3_1_2_load_54 | 30 | 0.0025551 | 0.00064037 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1128-3_1_2_load_55 | 31 | 0.0018004 | 0.00045121 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1128-3_1_2_load_97 | 35 | 0.010697 | 0.0026809 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1128-3_1_2_load_109 | 36 | 0.00028278 | 7.0872e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1128-3_1_2_load_121 | 37 | 0.0020957 | 0.00052523 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1128-3_1_2_load_79 | 38 | 0.0041528 | 0.0010408 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1128-3_1_2_load_81 | 40 | 0.0031704 | 0.00079458 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1128-3_1_2_load_90 | 41 | 0.0020865 | 0.00052293 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1128-3_1_2_load_87 | 42 | 0.0018464 | 0.00046276 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1128-3_1_2_load_88 | 43 | 0.0011566 | 0.00028988 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1128-3_1_2_load_94 | 45 | 0.0013824 | 0.00034647 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1128-3_1_2_load_89 | 46 | 0.0019343 | 0.00048479 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1128-3_1_2_load_91 | 47 | 0.0017156 | 0.00042996 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1128-3_1_2_load_93 | 48 | 0.0018719 | 0.00046915 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1128-3_1_2_load_95 | 49 | 0.0015801 | 0.00039602 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1128-3_1_2_load_96 | 50 | 0.0013723 | 0.00034394 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1128-3_1_2_load_99 | 51 | 0.0021953 | 0.00055018 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1128-3_1_2_load_100 | 52 | 0.0029707 | 0.00074454 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1128-3_1_2_load_101 | 53 | 0.002083 | 0.00052206 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1128-3_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1128-3_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0045075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1128-3_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.020166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1128-3_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.031264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1128-3_1_2_line_4 | NAYY 4x150 SE | 3 | 32 | 0.015674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1128-3_1_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.011437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1128-3_1_2_line_6 | NAYY 4x150 SE | 5 | 53 | 0.0064176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1128-3_1_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.018657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1128-3_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.0057578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1128-3_1_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.018392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1128-3_1_2_line_10 | NAYY 4x150 SE | 9 | 52 | 0.013877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1128-3_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.024891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1128-3_1_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.041375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1128-3_1_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.039967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1128-3_1_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0060576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1128-3_1_2_line_15 | NAYY 4x150 SE | 14 | 17 | 0.015584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1128-3_1_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.038376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1128-3_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.012753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1128-3_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.038602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1128-3_1_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.038328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1128-3_1_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0074769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1128-3_1_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0056137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1128-3_1_2_line_22 | NAYY 4x150 SE | 20 | 28 | 0.043838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1128-3_1_2_line_23 | NAYY 4x150 SE | 20 | 24 | 0.009896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1128-3_1_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.051438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1128-3_1_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.018881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1128-3_1_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0036469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1128-3_1_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.092425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1128-3_1_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.066269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1128-3_1_2_line_29 | NAYY 4x150 SE | 26 | 29 | 0.036718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1128-3_1_2_line_30 | NAYY 4x150 SE | 27 | 32 | 0.010118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1128-3_1_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0065388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1128-3_1_2_line_32 | NAYY 4x150 SE | 29 | 42 | 0.016059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1128-3_1_2_line_33 | NAYY 4x150 SE | 29 | 43 | 0.033453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1128-3_1_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.059332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1128-3_1_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.017571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1128-3_1_2_line_36 | NAYY 4x150 SE | 32 | 36 | 0.014529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1128-3_1_2_line_37 | NAYY 4x150 SE | 33 | 34 | 0.010509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1128-3_1_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.13939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1128-3_1_2_line_39 | NAYY 4x150 SE | 34 | 37 | 0.050752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1128-3_1_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0046652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1128-3_1_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.010293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1128-3_1_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.023676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1128-3_1_2_line_43 | NAYY 4x150 SE | 41 | 46 | 0.0087235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1128-3_1_2_line_44 | NAYY 4x150 SE | 42 | 44 | 0.020909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1128-3_1_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.0063701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_1128-3_1_2_line_46 | NAYY 4x150 SE | 44 | 48 | 0.009596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1128-3_1_2_line_47 | NAYY 4x150 SE | 44 | 47 | 0.0043778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1128-3_1_2_line_48 | NAYY 4x150 SE | 45 | 49 | 0.02042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_1128-3_1_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.012685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1128-3_1_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0019965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_1128-3_1_2_line_51 | NAYY 4x150 SE | 51 | 52 | 0.012215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1128-3_1_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.0097648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1128-3_1_2_trafo_96 | 0.25 MVA 20/0.4 kV | 54 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2643607.5167 | 1221677.6539 | 2643598.0051 | 1221686.8183
1 | 2643610.7626 | 1221674.5264 | 2643607.5167 | 1221677.6539
2 | 2643610.7626 | 1221674.5264 | 2643625.4394 | 1221660.6962
3 | 2643610.7626 | 1221674.5264 | 2643632.2943 | 1221697.1946
4 | 2643636.8467 | 1221649.947 | 2643625.4394 | 1221660.6962
5 | 2643640.1706 | 1221705.4866 | 2643632.2943 | 1221697.1946
6 | 2643644.5904 | 1221710.1397 | 2643640.1706 | 1221705.4866
7 | 2643685.9166 | 1221753.6471 | 2643698.7655 | 1221767.1742
8 | 2643681.9512 | 1221749.4724 | 2643685.9166 | 1221753.6471
9 | 2643681.9512 | 1221749.4724 | 2643669.2849 | 1221736.1375
10 | 2643659.7278 | 1221726.076 | 2643669.2849 | 1221736.1375
11 | 2643756.8965 | 1221416.7403 | 2643772.7421 | 1221397.5447
12 | 2643739.9066 | 1221454.0399 | 2643744.4942 | 1221438.7866 | 2643752.4526 | 1221422.1238 | 2643756.8965 | 1221416.7403
13 | 2643739.9066 | 1221454.0399 | 2643722.2194 | 1221463.0044 | 2643704.1753 | 1221471.9457
14 | 2643739.9066 | 1221454.0399 | 2643743.0622 | 1221459.2106
15 | 2643747.6331 | 1221474.1087 | 2643743.0622 | 1221459.2106
16 | 2643762.6446 | 1221522.9844 | 2643751.3774 | 1221486.2997
17 | 2643747.6331 | 1221474.1087 | 2643751.3774 | 1221486.2997
18 | 2643762.6446 | 1221522.9844 | 2643763.8279 | 1221526.8371 | 2643765.0764 | 1221540.6879 | 2643762.1778 | 1221553.2075 | 2643759.8902 | 1221560.6787
19 | 2643747.6331 | 1221474.1087 | 2643785.866 | 1221471.415
20 | 2643757.7011 | 1221567.8279 | 2643759.8902 | 1221560.6787
21 | 2643791.4658 | 1221471.0204 | 2643785.866 | 1221471.415
22 | 2643757.7011 | 1221567.8279 | 2643788.408 | 1221575.9695 | 2643800.0962 | 1221578.9826
23 | 2643757.7011 | 1221567.8279 | 2643754.8022 | 1221577.2901
24 | 2643694.0853 | 1221594.0245 | 2643708.0538 | 1221580.26 | 2643716.6422 | 1221573.8414 | 2643726.0369 | 1221570.2081 | 2643734.1678 | 1221570.3123 | 2643736.9159 | 1221571.2416
25 | 2643754.8022 | 1221577.2901 | 2643736.9159 | 1221571.2416
26 | 2643694.0853 | 1221594.0245 | 2643691.4877 | 1221596.5842
27 | 2643754.8022 | 1221577.2901 | 2643748.2894 | 1221598.5551 | 2643741.9865 | 1221619.1324 | 2643740.4783 | 1221633.4188 | 2643742.4131 | 1221647.8084 | 2643743.5077 | 1221650.5959 | 2643747.7814 | 1221661.5227 | 2643750.5575 | 1221665.743
28 | 2643644.285 | 1221643.0973 | 2643691.4877 | 1221596.5842
29 | 2643771.2776 | 1221696.0494 | 2643760.3916 | 1221680.6935 | 2643750.5575 | 1221665.743
30 | 2643644.285 | 1221643.0973 | 2643640.3538 | 1221646.4706 | 2643636.8467 | 1221649.947
31 | 2643806.428 | 1221580.6149 | 2643800.0962 | 1221578.9826
32 | 2643771.2776 | 1221696.0494 | 2643784.5733 | 1221687.0435
33 | 2643771.2776 | 1221696.0494 | 2643764.5496 | 1221700.1469 | 2643753.495 | 1221708.782 | 2643749.8256 | 1221709.5667 | 2643746.1726 | 1221709.1396 | 2643742.7303 | 1221706.8797
34 | 2643806.428 | 1221580.6149 | 2643823.5229 | 1221585.0219 | 2643838.7203 | 1221584.5222 | 2643864.6225 | 1221579.0566
35 | 2643636.8467 | 1221649.947 | 2643648.6449 | 1221662.9968
36 | 2643636.8467 | 1221649.947 | 2643627.102 | 1221639.1698
37 | 2643648.6449 | 1221662.9968 | 2643652.3406 | 1221659.6774 | 2643656.4713 | 1221655.9832
38 | 2643656.4713 | 1221655.9832 | 2643667.3254 | 1221667.4474 | 2643681.5306 | 1221682.2382 | 2643690.6079 | 1221691.8661 | 2643702.8402 | 1221704.6635 | 2643720.6231 | 1221722.8604 | 2643735.0395 | 1221737.7752 | 2643746.014 | 1221747.2614 | 2643755.2737 | 1221754.0182
39 | 2643648.6449 | 1221662.9968 | 2643662.1755 | 1221676.6819 | 2643675.3434 | 1221689.1415 | 2643684.6743 | 1221698.7299
40 | 2643822.8771 | 1221730.5493 | 2643818.3329 | 1221731.605
41 | 2643822.8771 | 1221730.5493 | 2643820.3502 | 1221720.5715
42 | 2643814.8159 | 1221697.6274 | 2643815.3003 | 1221698.4632 | 2643815.6754 | 1221702.1126 | 2643820.3502 | 1221720.5715
43 | 2643810.4414 | 1221690.08 | 2643814.8159 | 1221697.6274
44 | 2643801.8851 | 1221675.3173 | 2643784.5733 | 1221687.0435
45 | 2643738.518 | 1221702.101 | 2643742.7303 | 1221706.8797 | 2643742.7303 | 1221706.8797
46 | 2643801.8851 | 1221675.3173 | 2643797.0688 | 1221667.0102
47 | 2643801.8851 | 1221675.3173 | 2643804.0804 | 1221679.1049
48 | 2643738.518 | 1221702.101 | 2643725.0153 | 1221686.7826
49 | 2643810.4414 | 1221690.08 | 2643804.0804 | 1221679.1049
50 | 2643725.0153 | 1221686.7826 | 2643723.6951 | 1221685.2849
51 | 2643651.3154 | 1221717.2196 | 2643659.7278 | 1221726.076
52 | 2643644.5904 | 1221710.1397 | 2643651.3154 | 1221717.2196

## bus_geodata
| x | y | coords
0 | 2643607.5167 | 1221677.6539
1 | 2643598.0051 | 1221686.8183
2 | 2643610.7626 | 1221674.5264
3 | 2643625.4394 | 1221660.6962
4 | 2643632.2943 | 1221697.1946
5 | 2643640.1706 | 1221705.4866
6 | 2643685.9166 | 1221753.6471
7 | 2643698.7655 | 1221767.1742
8 | 2643681.9512 | 1221749.4724
9 | 2643669.2849 | 1221736.1375
10 | 2643772.7421 | 1221397.5447
11 | 2643756.8965 | 1221416.7403
12 | 2643739.9066 | 1221454.0399
13 | 2643704.1753 | 1221471.9457
14 | 2643743.0622 | 1221459.2106
15 | 2643751.3774 | 1221486.2997
16 | 2643762.6446 | 1221522.9844
17 | 2643747.6331 | 1221474.1087
18 | 2643759.8902 | 1221560.6787
19 | 2643785.866 | 1221471.415
20 | 2643757.7011 | 1221567.8279
21 | 2643791.4658 | 1221471.0204
22 | 2643736.9159 | 1221571.2416
23 | 2643694.0853 | 1221594.0245
24 | 2643754.8022 | 1221577.2901
25 | 2643691.4877 | 1221596.5842
26 | 2643750.5575 | 1221665.743
27 | 2643644.285 | 1221643.0973
28 | 2643800.0962 | 1221578.9826
29 | 2643771.2776 | 1221696.0494
30 | 2643806.428 | 1221580.6149
31 | 2643864.6225 | 1221579.0566
32 | 2643636.8467 | 1221649.947
33 | 2643656.4713 | 1221655.9832
34 | 2643648.6449 | 1221662.9968
35 | 2643755.2737 | 1221754.0182
36 | 2643627.102 | 1221639.1698
37 | 2643684.6743 | 1221698.7299
38 | 2643818.3329 | 1221731.605
39 | 2643822.8771 | 1221730.5493
40 | 2643820.3502 | 1221720.5715
41 | 2643814.8159 | 1221697.6274
42 | 2643784.5733 | 1221687.0435
43 | 2643742.7303 | 1221706.8797
44 | 2643801.8851 | 1221675.3173
45 | 2643738.518 | 1221702.101
46 | 2643810.4414 | 1221690.08
47 | 2643804.0804 | 1221679.1049
48 | 2643797.0688 | 1221667.0102
49 | 2643725.0153 | 1221686.7826
50 | 2643723.6951 | 1221685.2849
51 | 2643651.3154 | 1221717.2196
52 | 2643659.7278 | 1221726.076
53 | 2643644.5904 | 1221710.1397
54 | 2643717.3111 | 1221678.0424

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97594 | -0.16876 | 0.0010451 | 0.00026192
1 | 0.97589 | -0.16918 | 0.0030456 | 0.0007633
2 | 0.97597 | -0.16856 | 0 | 0
3 | 0.97695 | -0.16153 | 0.00029679 | 7.4383e-05
4 | 0.97463 | -0.17815 | 0.00044437 | 0.00011137
5 | 0.97415 | -0.18161 | 0.0036456 | 0.00091367
6 | 0.97235 | -0.19456 | 0.0077572 | 0.0019441
7 | 0.97225 | -0.19527 | 0.0036132 | 0.00090556
8 | 0.97245 | -0.19387 | 0.0035383 | 0.00088678
9 | 0.97285 | -0.19097 | 0.002968 | 0.00074384
10 | 0.98812 | -0.082655 | 0.00061007 | 0.0001529
11 | 0.98814 | -0.0825 | 0.0011332 | 0.00028401
12 | 0.98824 | -0.081761 | 0 | 0
13 | 0.98815 | -0.082464 | 0.0017202 | 0.00043113
14 | 0.98828 | -0.081546 | 0.00016216 | 4.0641e-05
15 | 0.98843 | -0.08045 | 8.965e-05 | 2.2468e-05
16 | 0.98865 | -0.078859 | 0.00076542 | 0.00019183
17 | 0.98836 | -0.080967 | 0 | 0
18 | 0.98892 | -0.076956 | 0.0011987 | 0.00030043
19 | 0.98834 | -0.081095 | 8.818e-05 | 2.21e-05
20 | 0.98898 | -0.076496 | 0 | 0
21 | 0.98834 | -0.081108 | 0.00023615 | 5.9186e-05
22 | 0.98757 | -0.086392 | 0.00040371 | 0.00010118
23 | 0.98323 | -0.11696 | 0.00456 | 0.0011428
24 | 0.98917 | -0.075162 | 0 | 0
25 | 0.98294 | -0.11896 | 0.006522 | 0.0016346
26 | 0.99398 | -0.041647 | 0.0011224 | 0.00028129
27 | 0.97842 | -0.15109 | 0 | 0
28 | 0.98853 | -0.079714 | 0.0028249 | 0.00070798
29 | 0.99592 | -0.028212 | 0 | 0
30 | 0.98849 | -0.080005 | 0.0025551 | 0.00064037
31 | 0.98834 | -0.081098 | 0.0018004 | 0.00045121
32 | 0.97773 | -0.15602 | 0 | 0
33 | 0.97723 | -0.15955 | 0 | 0
34 | 0.9774 | -0.15837 | 0 | 0
35 | 0.97505 | -0.17518 | 0.010697 | 0.0026809
36 | 0.97772 | -0.15607 | 0.00028278 | 7.0872e-05
37 | 0.97724 | -0.15949 | 0.0020957 | 0.00052523
38 | 0.99434 | -0.039307 | 0.0041528 | 0.0010408
39 | 0.99437 | -0.039111 | 0 | 0
40 | 0.99443 | -0.03868 | 0.0031704 | 0.00079458
41 | 0.99468 | -0.03693 | 0.0020865 | 0.00052293
42 | 0.99553 | -0.030926 | 0.0018464 | 0.00046276
43 | 0.99809 | -0.013202 | 0.0011566 | 0.00028988
44 | 0.99508 | -0.034073 | 0 | 0
45 | 0.9985 | -0.010314 | 0.0013824 | 0.00034647
46 | 0.9948 | -0.036101 | 0.0019343 | 0.00048479
47 | 0.995 | -0.03465 | 0.0017156 | 0.00042996
48 | 0.99506 | -0.034254 | 0.0018719 | 0.00046915
49 | 0.99986 | -0.00093172 | 0.0015801 | 0.00039602
50 | 1 | 0 | -0.095816 | -0.024015
51 | 0.97358 | -0.18567 | 0.0021953 | 0.00055018
52 | 0.97321 | -0.18836 | 0.0029707 | 0.00074454
53 | 0.97391 | -0.18331 | 0.002083 | 0.00052206
54 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0030458 | 0.0007632 | -0.0030456 | -0.0007633 | 1.7774e-07 | -9.6673e-08 | 0.0046438 | 0.0046439 | 0.0046439 | 0.97594 | -0.16876 | 0.97589 | -0.16918 | 1.72
1 | -0.0040908 | -0.0010251 | 0.004091 | 0.0010251 | 1.0942e-07 | -1.424e-08 | 0.0062372 | 0.0062372 | 0.0062372 | 0.97594 | -0.16876 | 0.97597 | -0.16856 | 2.3101
2 | -0.033395 | -0.0083795 | 0.033427 | 0.0083918 | 3.2626e-05 | 1.2296e-05 | 0.050919 | 0.050919 | 0.050919 | 0.97597 | -0.16856 | 0.97695 | -0.16153 | 18.8588
3 | 0.029304 | 0.0073544 | -0.029265 | -0.0073398 | 3.8949e-05 | 1.459e-05 | 0.044682 | 0.044682 | 0.044682 | 0.97597 | -0.16856 | 0.97463 | -0.17815 | 16.5488
4 | -0.033724 | -0.0084662 | 0.03375 | 0.0084759 | 2.581e-05 | 9.7306e-06 | 0.051371 | 0.051371 | 0.051371 | 0.97695 | -0.16153 | 0.97773 | -0.15602 | 19.0262
5 | 0.02882 | 0.0072284 | -0.028806 | -0.0072232 | 1.3818e-05 | 5.1722e-06 | 0.044003 | 0.044003 | 0.044003 | 0.97463 | -0.17815 | 0.97415 | -0.18161 | 16.2975
6 | 0.025161 | 0.0063096 | -0.025155 | -0.0063074 | 5.9157e-06 | 2.1954e-06 | 0.038435 | 0.038435 | 0.038435 | 0.97415 | -0.18161 | 0.97391 | -0.18331 | 14.2351
7 | 0.0036136 | 0.00090547 | -0.0036132 | -0.00090556 | 3.5601e-07 | -9.4464e-08 | 0.0055299 | 0.00553 | 0.00553 | 0.97235 | -0.19456 | 0.97225 | -0.19527 | 2.0481
8 | -0.011371 | -0.0028496 | 0.011372 | 0.00285 | 1.0879e-06 | 3.4699e-07 | 0.017401 | 0.017401 | 0.017401 | 0.97235 | -0.19456 | 0.97245 | -0.19387 | 6.4448
9 | -0.01491 | -0.0037367 | 0.014916 | 0.0037388 | 5.9739e-06 | 2.0694e-06 | 0.022815 | 0.022815 | 0.022815 | 0.97245 | -0.19387 | 0.97285 | -0.19097 | 8.4501
10 | -0.017884 | -0.0044826 | 0.017891 | 0.004485 | 6.4796e-06 | 2.3198e-06 | 0.027355 | 0.027355 | 0.027355 | 0.97285 | -0.19097 | 0.97321 | -0.18836 | 10.1314
11 | -0.00061007 | -0.0001529 | 0.00061008 | 0.00015258 | 1.3108e-08 | -3.138e-07 | 0.00091871 | 0.0009186 | 0.00091871 | 0.98812 | -0.082655 | 0.98814 | -0.0825 | 0.34026
12 | -0.0017433 | -0.00043659 | 0.0017435 | 0.00043613 | 1.779e-07 | -4.6164e-07 | 0.0026251 | 0.0026249 | 0.0026251 | 0.98814 | -0.0825 | 0.98824 | -0.081761 | 0.97224
13 | 0.0017204 | 0.00043068 | -0.0017202 | -0.00043113 | 1.6734e-07 | -4.4767e-07 | 0.0025902 | 0.0025904 | 0.0025904 | 0.98824 | -0.081761 | 0.98815 | -0.082464 | 0.95941
14 | -0.0034638 | -0.00086681 | 0.0034639 | 0.00086677 | 1.028e-07 | -3.8076e-08 | 0.0052151 | 0.0052151 | 0.0052151 | 0.98824 | -0.081761 | 0.98828 | -0.081546 | 1.9315
15 | -0.0036261 | -0.00090741 | 0.0036264 | 0.00090732 | 2.8981e-07 | -8.8231e-08 | 0.0054592 | 0.0054592 | 0.0054592 | 0.98828 | -0.081546 | 0.98836 | -0.080967 | 2.0219
16 | -0.0040407 | -0.0010105 | 0.0040416 | 0.0010103 | 8.8583e-07 | -1.5129e-07 | 0.0060822 | 0.006082 | 0.0060822 | 0.98843 | -0.08045 | 0.98865 | -0.078859 | 2.2527
17 | 0.003951 | 0.00098799 | -0.0039507 | -0.00098805 | 2.8147e-07 | -5.5193e-08 | 0.0059472 | 0.0059473 | 0.0059473 | 0.98843 | -0.08045 | 0.98836 | -0.080967 | 2.2027
18 | -0.004807 | -0.0012021 | 0.0048082 | 0.0012021 | 1.2605e-06 | -1.0329e-08 | 0.007234 | 0.0072338 | 0.007234 | 0.98865 | -0.078859 | 0.98892 | -0.076956 | 2.6793
19 | 0.00032434 | 8.0725e-05 | -0.00032433 | -8.1214e-05 | 5.7001e-09 | -4.8899e-07 | 0.00048811 | 0.00048828 | 0.00048828 | 0.98836 | -0.080967 | 0.98834 | -0.081095 | 0.18085
20 | -0.006007 | -0.0015026 | 0.0060073 | 0.0015026 | 3.8107e-07 | 5.0629e-08 | 0.0090376 | 0.0090375 | 0.0090376 | 0.98892 | -0.076956 | 0.98898 | -0.076496 | 3.3472
21 | 0.00023615 | 5.9114e-05 | -0.00023615 | -5.9186e-05 | 4.4279e-10 | -7.177e-08 | 0.00035552 | 0.00035555 | 0.00035555 | 0.98834 | -0.081095 | 0.98834 | -0.081108 | 0.13168
22 | 0.007184 | 0.0017996 | -0.0071808 | -0.0017989 | 3.1959e-06 | 6.6691e-07 | 0.010809 | 0.010809 | 0.010809 | 0.98898 | -0.076496 | 0.98853 | -0.079714 | 4.0033
23 | -0.013191 | -0.0033022 | 0.013194 | 0.003303 | 2.4322e-06 | 8.0845e-07 | 0.019846 | 0.019846 | 0.019846 | 0.98898 | -0.076496 | 0.98917 | -0.075162 | 7.3504
24 | 0.058443 | 0.014732 | -0.058194 | -0.014637 | 0.00024907 | 9.514e-05 | 0.088089 | 0.08809 | 0.08809 | 0.98757 | -0.086392 | 0.98323 | -0.11696 | 32.6258
25 | -0.058847 | -0.014833 | 0.05894 | 0.014868 | 9.2692e-05 | 3.5409e-05 | 0.088698 | 0.088698 | 0.088698 | 0.98757 | -0.086392 | 0.98917 | -0.075162 | 32.851
26 | 0.053634 | 0.013494 | -0.053619 | -0.013488 | 1.5e-05 | 5.723e-06 | 0.081189 | 0.081189 | 0.081189 | 0.98323 | -0.11696 | 0.98294 | -0.11896 | 30.0698
27 | -0.072133 | -0.018171 | 0.072473 | 0.0183 | 0.00033974 | 0.00012829 | 0.10854 | 0.10854 | 0.10854 | 0.98917 | -0.075162 | 0.99398 | -0.041647 | 20.1007
28 | 0.047097 | 0.011854 | -0.046887 | -0.011774 | 0.00021031 | 8.0053e-05 | 0.071315 | 0.071316 | 0.071316 | 0.98294 | -0.11896 | 0.97842 | -0.15109 | 26.4132
29 | -0.073596 | -0.018581 | 0.073735 | 0.018634 | 0.00013918 | 5.2577e-05 | 0.11022 | 0.11022 | 0.11022 | 0.99398 | -0.041647 | 0.99592 | -0.028212 | 20.4117
30 | 0.046887 | 0.011774 | -0.046855 | -0.011761 | 3.2111e-05 | 1.2224e-05 | 0.071316 | 0.071316 | 0.071316 | 0.97842 | -0.15109 | 0.97773 | -0.15602 | 26.4132
31 | 0.0043559 | 0.0010909 | -0.0043557 | -0.0010909 | 1.754e-07 | -1.6361e-08 | 0.0065566 | 0.0065566 | 0.0065566 | 0.98853 | -0.079714 | 0.98849 | -0.080005 | 2.4284
32 | 0.016797 | 0.004211 | -0.016791 | -0.0042088 | 6.312e-06 | 2.2188e-06 | 0.025098 | 0.025098 | 0.025098 | 0.99592 | -0.028212 | 0.99553 | -0.030926 | 9.2955
33 | -0.090532 | -0.022845 | 0.090723 | 0.022917 | 0.00019112 | 7.2637e-05 | 0.13532 | 0.13532 | 0.13532 | 0.99592 | -0.028212 | 0.99809 | -0.013202 | 25.0593
34 | 0.0018006 | 0.00045056 | -0.0018004 | -0.00045121 | 2.7199e-07 | -6.5585e-07 | 0.0027103 | 0.0027106 | 0.0027106 | 0.98849 | -0.080005 | 0.98834 | -0.081098 | 1.0039
35 | 0.012822 | 0.0032148 | -0.012818 | -0.0032134 | 4.1755e-06 | 1.3857e-06 | 0.019515 | 0.019515 | 0.019515 | 0.97773 | -0.15602 | 0.9774 | -0.15837 | 7.2277
36 | 0.00028278 | 7.069e-05 | -0.00028278 | -7.0872e-05 | 1.679e-09 | -1.8157e-07 | 0.00043031 | 0.00043037 | 0.00043037 | 0.97773 | -0.15602 | 0.97772 | -0.15607 | 0.1594
37 | -0.01072 | -0.0026881 | 0.010722 | 0.0026887 | 1.7475e-06 | 5.4042e-07 | 0.016324 | 0.016324 | 0.016324 | 0.97723 | -0.15955 | 0.9774 | -0.15837 | 6.046
38 | 0.01072 | 0.0026881 | -0.010697 | -0.0026809 | 2.3178e-05 | 7.1722e-06 | 0.016324 | 0.016325 | 0.016325 | 0.97723 | -0.15955 | 0.97505 | -0.17518 | 6.0462
39 | 0.002096 | 0.00052472 | -0.0020957 | -0.00052523 | 3.2246e-07 | -5.1195e-07 | 0.0031908 | 0.0031911 | 0.0031911 | 0.9774 | -0.15837 | 0.97724 | -0.15949 | 1.1819
40 | -0.0041528 | -0.0010408 | 0.004153 | 0.0010408 | 1.1243e-07 | -1.7272e-08 | 0.0062147 | 0.0062147 | 0.0062147 | 0.99434 | -0.039307 | 0.99437 | -0.039111 | 2.3017
41 | -0.004153 | -0.0010408 | 0.0041532 | 0.0010407 | 2.4806e-07 | -3.812e-08 | 0.0062147 | 0.0062146 | 0.0062147 | 0.99437 | -0.039111 | 0.99443 | -0.03868 | 2.3017
42 | -0.0073236 | -0.0018353 | 0.0073254 | 0.0018357 | 1.7742e-06 | 3.7515e-07 | 0.010959 | 0.010959 | 0.010959 | 0.99443 | -0.03868 | 0.99468 | -0.03693 | 4.0588
43 | -0.0094119 | -0.0023586 | 0.009413 | 0.0023589 | 1.0791e-06 | 3.0181e-07 | 0.01408 | 0.01408 | 0.01408 | 0.99468 | -0.03693 | 0.9948 | -0.036101 | 5.2148
44 | 0.014945 | 0.003746 | -0.014938 | -0.0037438 | 6.5105e-06 | 2.2323e-06 | 0.022338 | 0.022338 | 0.022338 | 0.99553 | -0.030926 | 0.99508 | -0.034073 | 8.2734
45 | -0.09188 | -0.023207 | 0.091917 | 0.023221 | 3.7327e-05 | 1.419e-05 | 0.13704 | 0.13704 | 0.13704 | 0.99809 | -0.013202 | 0.9985 | -0.010314 | 25.3786
46 | 0.001872 | 0.00046904 | -0.0018719 | -0.00046915 | 4.6921e-08 | -1.0661e-07 | 0.0027992 | 0.0027993 | 0.0027993 | 0.99508 | -0.034073 | 0.99506 | -0.034254 | 1.0368
47 | 0.013066 | 0.0032747 | -0.013065 | -0.0032744 | 1.0429e-06 | 3.4425e-07 | 0.019539 | 0.019539 | 0.019539 | 0.99508 | -0.034073 | 0.995 | -0.03465 | 7.2366
48 | -0.0933 | -0.023568 | 0.093423 | 0.023615 | 0.00012328 | 4.688e-05 | 0.1391 | 0.1391 | 0.1391 | 0.9985 | -0.010314 | 0.99986 | -0.00093172 | 25.7601
49 | -0.011347 | -0.0028437 | 0.01135 | 0.0028444 | 2.2804e-06 | 7.1235e-07 | 0.016973 | 0.016973 | 0.016973 | 0.9948 | -0.036101 | 0.995 | -0.03465 | 6.2864
50 | -0.095003 | -0.024011 | 0.095016 | 0.024015 | 1.2464e-05 | 4.7416e-06 | 0.14146 | 0.14146 | 0.14146 | 0.99986 | -0.00093172 | 1 | 0 | 26.1955
51 | 0.020869 | 0.0052323 | -0.020861 | -0.0052295 | 7.7548e-06 | 2.8308e-06 | 0.031897 | 0.031897 | 0.031897 | 0.97358 | -0.18567 | 0.97321 | -0.18836 | 11.8137
52 | -0.023064 | -0.0057825 | 0.023072 | 0.0057853 | 7.5721e-06 | 2.7909e-06 | 0.035252 | 0.035252 | 0.035252 | 0.97358 | -0.18567 | 0.97391 | -0.18331 | 13.0563

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.097188 | 0.024359

## res_load
| p_mw | q_mvar
0 | 0.0010451 | 0.00026192
1 | 0.0030456 | 0.0007633
2 | 0.00029679 | 7.4383e-05
3 | 0.00044437 | 0.00011137
4 | 0.0036456 | 0.00091367
5 | 0.0077572 | 0.0019441
6 | 0.0036132 | 0.00090556
7 | 0.0035383 | 0.00088678
8 | 0.002968 | 0.00074384
9 | 0.00061007 | 0.0001529
10 | 0.0011332 | 0.00028401
11 | 0.0017202 | 0.00043113
12 | 0.00016216 | 4.0641e-05
13 | 8.965e-05 | 2.2468e-05
14 | 0.00076542 | 0.00019183
15 | 0.0011987 | 0.00030043
16 | 8.818e-05 | 2.21e-05
17 | 0.00023615 | 5.9186e-05
18 | 0.00040371 | 0.00010118
19 | 0.00456 | 0.0011428
20 | 0.006522 | 0.0016346
21 | 0.0011224 | 0.00028129
22 | 0.0028249 | 0.00070798
23 | 0.0025551 | 0.00064037
24 | 0.0018004 | 0.00045121
25 | 0.010697 | 0.0026809
26 | 0.00028278 | 7.0872e-05
27 | 0.0020957 | 0.00052523
28 | 0.0041528 | 0.0010408
29 | 0.0031704 | 0.00079458
30 | 0.0020865 | 0.00052293
31 | 0.0018464 | 0.00046276
32 | 0.0011566 | 0.00028988
33 | 0.0013824 | 0.00034647
34 | 0.0019343 | 0.00048479
35 | 0.0017156 | 0.00042996
36 | 0.0018719 | 0.00046915
37 | 0.0015801 | 0.00039602
38 | 0.0013723 | 0.00034394
39 | 0.0021953 | 0.00055018
40 | 0.0029707 | 0.00074454
41 | 0.002083 | 0.00052206

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1