## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1128-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1128-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1128-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1128-4_0_2_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_1128-4_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1128-4_0_2_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1128-4_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1128-4_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1128-4_0_2_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_1128-4_0_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_1128-4_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1128-4_0_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1128-4_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1128-4_0_2_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_1128-4_0_2_node_119 | 0.4 | n |  | TRUE
15 | bus_LV_1128-4_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1128-4_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1128-4_0_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1128-4_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1128-4_0_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1128-4_0_2_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1128-4_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1128-4_0_2_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1128-4_0_2_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_1128-4_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1128-4_0_2_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1128-4_0_2_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1128-4_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1128-4_0_2_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1128-4_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1128-4_0_2_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1128-4_0_2_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_1128-4_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1128-4_0_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1128-4_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1128-4_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1128-4_0_2_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1128-4_0_2_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_1128-4_0_2_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1128-4_0_2_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1128-4_0_2_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1128-4_0_2_node_42 | 0.4 | n |  | TRUE
42 | bus_MV_128_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1128-4_0_2_load_0 | 0 | 0.0023561 | 0.00059049 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1128-4_0_2_load_1 | 1 | 0.0053179 | 0.0013328 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1128-4_0_2_load_3 | 4 | 0.0042382 | 0.0010622 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1128-4_0_2_load_20 | 8 | 0.0012096 | 0.00030315 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1128-4_0_2_load_21 | 9 | 0.0018819 | 0.00047164 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1128-4_0_2_load_27 | 13 | 0.0038833 | 0.00097324 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1128-4_0_2_load_119 | 14 | 0.0039875 | 0.00099936 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1128-4_0_2_load_17 | 16 | 0.0012458 | 0.00031223 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1128-4_0_2_load_15 | 18 | 0.0017514 | 0.00043894 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1128-4_0_2_load_26 | 19 | 0.013752 | 0.0034466 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1128-4_0_2_load_28 | 20 | 0.0031659 | 0.00079346 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1128-4_0_2_load_32 | 22 | 0.010754 | 0.0026952 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1128-4_0_2_load_16 | 24 | 0.00082013 | 0.00020554 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1128-4_0_2_load_31 | 25 | 0.0032861 | 0.00082357 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1128-4_0_2_load_29 | 26 | 0.010337 | 0.0025907 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1128-4_0_2_load_19 | 27 | 0.0035069 | 0.00087891 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1128-4_0_2_load_23 | 29 | 0.0011822 | 0.00029628 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1128-4_0_2_load_24 | 30 | 0.0043668 | 0.0010944 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1128-4_0_2_load_37 | 31 | 0.0015435 | 0.00038684 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1128-4_0_2_load_25 | 32 | 0.0057242 | 0.0014346 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1128-4_0_2_load_34 | 34 | 0.0051778 | 0.0012977 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1128-4_0_2_load_35 | 35 | 0.0081417 | 0.0020405 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1128-4_0_2_load_36 | 36 | 0.0034069 | 0.00085384 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1128-4_0_2_load_39 | 37 | 0.0051518 | 0.0012912 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1128-4_0_2_load_38 | 38 | 0.0077709 | 0.0019476 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1128-4_0_2_load_40 | 39 | 0.003558 | 0.00089172 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1128-4_0_2_load_41 | 40 | 0.0046071 | 0.0011547 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1128-4_0_2_load_42 | 41 | 0.0023812 | 0.00059679 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1128-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1128-4_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1128-4_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.05459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1128-4_0_2_line_3 | NAYY 4x150 SE | 3 | 17 | 0.029247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1128-4_0_2_line_4 | NAYY 4x150 SE | 3 | 18 | 0.020256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1128-4_0_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.031023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1128-4_0_2_line_6 | NAYY 4x150 SE | 5 | 11 | 0.0093443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1128-4_0_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.0353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1128-4_0_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.022271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1128-4_0_2_line_9 | NAYY 4x150 SE | 6 | 9 | 0.038167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1128-4_0_2_line_10 | NAYY 4x150 SE | 7 | 14 | 0.00558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1128-4_0_2_line_11 | NAYY 4x150 SE | 7 | 15 | 0.034071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1128-4_0_2_line_12 | NAYY 4x150 SE | 8 | 27 | 0.0087516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1128-4_0_2_line_13 | NAYY 4x150 SE | 9 | 28 | 0.023978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1128-4_0_2_line_14 | NAYY 4x150 SE | 10 | 11 | 0.023652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1128-4_0_2_line_15 | NAYY 4x150 SE | 10 | 12 | 0.0077378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1128-4_0_2_line_16 | NAYY 4x150 SE | 10 | 13 | 0.020141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1128-4_0_2_line_17 | NAYY 4x150 SE | 11 | 20 | 0.019334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1128-4_0_2_line_18 | NAYY 4x150 SE | 11 | 15 | 0.037691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1128-4_0_2_line_19 | NAYY 4x150 SE | 12 | 19 | 0.033988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1128-4_0_2_line_20 | NAYY 4x150 SE | 15 | 16 | 0.021812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1128-4_0_2_line_21 | NAYY 4x150 SE | 16 | 24 | 0.026124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1128-4_0_2_line_22 | NAYY 4x150 SE | 17 | 25 | 0.016473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1128-4_0_2_line_23 | NAYY 4x150 SE | 17 | 26 | 0.036778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1128-4_0_2_line_24 | NAYY 4x150 SE | 19 | 32 | 0.024156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1128-4_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.046774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1128-4_0_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.05837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1128-4_0_2_line_27 | NAYY 4x150 SE | 22 | 33 | 0.0188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1128-4_0_2_line_28 | NAYY 4x150 SE | 23 | 34 | 0.03714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1128-4_0_2_line_29 | NAYY 4x150 SE | 25 | 29 | 0.037057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1128-4_0_2_line_30 | NAYY 4x150 SE | 26 | 33 | 0.015401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1128-4_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.034475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1128-4_0_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.0047341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1128-4_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.023684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1128-4_0_2_line_34 | NAYY 4x150 SE | 31 | 38 | 0.0027781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1128-4_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.012097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1128-4_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.011167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1128-4_0_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.016041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1128-4_0_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.0078864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1128-4_0_2_line_39 | NAYY 4x150 SE | 39 | 40 | 0.011911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1128-4_0_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.0063059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1128-4_0_2_trafo_31 | 0.25 MVA 20/0.4 kV | 42 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2644019.4924 | 1221994.8335 | 2644029.2016 | 1221985.446 | 2644045.6942 | 1221968.6588
1 | 2644007.2685 | 1222006.6524 | 2644019.4924 | 1221994.8335
2 | 2644007.2685 | 1222006.6524 | 2644008.0892 | 1222007.4701 | 2644010.3631 | 1222009.7327 | 2644013.4867 | 1222006.854 | 2644041.7111 | 1221978.0117 | 2644047.3047 | 1221978.5645
3 | 2644076.5865 | 1221978.0585 | 2644052.7922 | 1221979.1165 | 2644047.3047 | 1221978.5645
4 | 2644047.3047 | 1221978.5645 | 2644061.5419 | 1221964.1564
5 | 2644109.697 | 1221890.7174 | 2644110.9356 | 1221894.5177 | 2644111.236 | 1221897.9887 | 2644110.647 | 1221901.731 | 2644106.1929 | 1221907.0791 | 2644097.2267 | 1221916.2056
6 | 2644109.697 | 1221890.7174 | 2644112.8083 | 1221886.4378 | 2644115.1991 | 1221883.1646
7 | 2644158.3964 | 1221930.2018 | 2644162.0766 | 1221925.9154 | 2644166.3498 | 1221929.6271 | 2644177.2767 | 1221937.2126 | 2644186.7439 | 1221942.1747
8 | 2644186.7439 | 1221942.1747 | 2644192.642 | 1221939.5168 | 2644201.0534 | 1221932.4194 | 2644203.9518 | 1221928.5984
9 | 2644186.7439 | 1221942.1747 | 2644188.6713 | 1221956.3865 | 2644187.4171 | 1221960.8354 | 2644175.7343 | 1221976.0757
10 | 2644158.3964 | 1221930.2018 | 2644154.7621 | 1221934.4441
11 | 2644133.5925 | 1221906.7706 | 2644158.3964 | 1221930.2018
12 | 2644203.9518 | 1221928.5984 | 2644209.2408 | 1221921.6259
13 | 2644161.1464 | 1221995.1059 | 2644175.7343 | 1221976.0757
14 | 2644095.2616 | 1221870.3538 | 2644106.0557 | 1221877.4713 | 2644115.1991 | 1221883.1646
15 | 2644089.5344 | 1221875.5479 | 2644092.763 | 1221872.8257 | 2644095.2616 | 1221870.3538
16 | 2644095.2616 | 1221870.3538 | 2644109.5938 | 1221856.2026
17 | 2644115.1991 | 1221883.1646 | 2644118.6259 | 1221884.4019 | 2644121.9593 | 1221884.9491 | 2644125.2449 | 1221884.7844 | 2644128.6832 | 1221883.4535 | 2644132.6424 | 1221879.876
18 | 2644115.1991 | 1221883.1646 | 2644112.8083 | 1221886.4378 | 2644121.5704 | 1221892.3951 | 2644124.7442 | 1221894.0085 | 2644127.3708 | 1221895.7623 | 2644136.4976 | 1221903.6903 | 2644133.5925 | 1221906.7706
19 | 2644089.5344 | 1221875.5479 | 2644079.9783 | 1221883.5821 | 2644063.8421 | 1221897.7958
20 | 2644133.5925 | 1221906.7706 | 2644131.7656 | 1221905.5897 | 2644128.5291 | 1221904.2538 | 2644126.28 | 1221903.7591 | 2644124.2597 | 1221904.1221 | 2644119.4488 | 1221906.4324 | 2644114.6464 | 1221910.7277
21 | 2644096.1209 | 1221929.1336 | 2644110.4617 | 1221914.4707 | 2644114.6464 | 1221910.7277
22 | 2644076.5865 | 1221978.0585 | 2644093.0593 | 1221978.1384
23 | 2644076.5865 | 1221978.0585 | 2644076.1614 | 1221987.3276 | 2644067.3143 | 1222006.1958 | 2644063.311 | 1222011.5182
24 | 2644046.5665 | 1221914.6396 | 2644055.1956 | 1221905.412 | 2644063.8421 | 1221897.7958
25 | 2644007.8677 | 1222070.2953 | 2644041.0169 | 1222037.2965
26 | 2644007.8677 | 1222070.2953 | 2644014.2651 | 1222076.0015 | 2644018.4396 | 1222079.7235 | 2644026.9418 | 1222085.9456 | 2644028.9631 | 1222087.4837 | 2644033.7449 | 1222091.1434 | 2644035.4343 | 1222092.4345 | 2644054.307 | 1222105.5486
27 | 2644054.341 | 1222024.0329 | 2644041.0169 | 1222037.2965
28 | 2644054.307 | 1222105.5486 | 2644072.7501 | 1222073.3115
29 | 2644129.6784 | 1221981.0677 | 2644122.9796 | 1221978.6243 | 2644113.3641 | 1221978.3307 | 2644107.0846 | 1221978.2064 | 2644093.0593 | 1221978.1384
30 | 2644054.341 | 1222024.0329 | 2644058.7654 | 1222017.5617 | 2644063.311 | 1222011.5182
31 | 2644161.1464 | 1221995.1059 | 2644143.7712 | 1221987.6838 | 2644132.0647 | 1221981.938 | 2644129.6784 | 1221981.0677
32 | 2644161.1464 | 1221995.1059 | 2644165.4775 | 1221997.0175
33 | 2644165.4775 | 1221997.0175 | 2644187.1447 | 1222006.581
34 | 2644189.6862 | 1222007.7028 | 2644187.1447 | 1222006.581
35 | 2644072.7501 | 1222073.3115 | 2644078.7572 | 1222062.8116
36 | 2644084.3024 | 1222053.119 | 2644078.7572 | 1222062.8116
37 | 2644084.3024 | 1222053.119 | 2644092.2684 | 1222039.1952
38 | 2644096.1846 | 1222032.3499 | 2644092.2684 | 1222039.1952
39 | 2644096.1846 | 1222032.3499 | 2644102.0993 | 1222022.0116
40 | 2644105.2307 | 1222016.5381 | 2644102.0993 | 1222022.0116

## bus_geodata
| x | y | coords
0 | 2644019.4924 | 1221994.8335
1 | 2644045.6942 | 1221968.6588
2 | 2644007.2685 | 1222006.6524
3 | 2644047.3047 | 1221978.5645
4 | 2644097.2267 | 1221916.2056
5 | 2644109.697 | 1221890.7174
6 | 2644186.7439 | 1221942.1747
7 | 2644158.3964 | 1221930.2018
8 | 2644203.9518 | 1221928.5984
9 | 2644175.7343 | 1221976.0757
10 | 2644095.2616 | 1221870.3538
11 | 2644115.1991 | 1221883.1646
12 | 2644089.5344 | 1221875.5479
13 | 2644109.5938 | 1221856.2026
14 | 2644154.7621 | 1221934.4441
15 | 2644133.5925 | 1221906.7706
16 | 2644114.6464 | 1221910.7277
17 | 2644076.5865 | 1221978.0585
18 | 2644061.5419 | 1221964.1564
19 | 2644063.8421 | 1221897.7958
20 | 2644132.6424 | 1221879.876
21 | 2644007.8677 | 1222070.2953
22 | 2644041.0169 | 1222037.2965
23 | 2644054.307 | 1222105.5486
24 | 2644096.1209 | 1221929.1336
25 | 2644093.0593 | 1221978.1384
26 | 2644063.311 | 1222011.5182
27 | 2644209.2408 | 1221921.6259
28 | 2644161.1464 | 1221995.1059
29 | 2644129.6784 | 1221981.0677
30 | 2644165.4775 | 1221997.0175
31 | 2644187.1447 | 1222006.581
32 | 2644046.5665 | 1221914.6396
33 | 2644054.341 | 1222024.0329
34 | 2644072.7501 | 1222073.3115
35 | 2644078.7572 | 1222062.8116
36 | 2644084.3024 | 1222053.119
37 | 2644092.2684 | 1222039.1952
38 | 2644189.6862 | 1222007.7028
39 | 2644096.1846 | 1222032.3499
40 | 2644102.0993 | 1222022.0116
41 | 2644105.2307 | 1222016.5381
42 | 2644076.5865 | 1221978.0585

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99733 | -0.018648 | 0.0023561 | 0.00059049
1 | 0.99705 | -0.020626 | 0.0053179 | 0.0013328
2 | 0.99752 | -0.017339 | 0 | 0
3 | 0.99811 | -0.013135 | 0 | 0
4 | 0.98481 | -0.10652 | 0.0042382 | 0.0010622
5 | 0.985 | -0.10517 | 0 | 0
6 | 0.99024 | -0.06813 | 0 | 0
7 | 0.98836 | -0.081394 | 0 | 0
8 | 0.99009 | -0.0692 | 0.0012096 | 0.00030315
9 | 0.99253 | -0.052019 | 0.0018819 | 0.00047164
10 | 0.98426 | -0.11045 | 0 | 0
11 | 0.98506 | -0.10476 | 0 | 0
12 | 0.98404 | -0.11201 | 0 | 0
13 | 0.98414 | -0.11126 | 0.0038833 | 0.00097324
14 | 0.98833 | -0.081622 | 0.0039875 | 0.00099936
15 | 0.98674 | -0.09285 | 0 | 0
16 | 0.98667 | -0.093313 | 0.0012458 | 0.00031223
17 | 0.99851 | -0.01037 | 0 | 0
18 | 0.99806 | -0.013491 | 0.0017514 | 0.00043894
19 | 0.98308 | -0.11884 | 0.013752 | 0.0034466
20 | 0.98497 | -0.10539 | 0.0031659 | 0.00079346
21 | 0.99135 | -0.06042 | 0 | 0
22 | 0.99354 | -0.045044 | 0.010754 | 0.0026952
23 | 0.98861 | -0.079701 | 0 | 0
24 | 0.98664 | -0.093533 | 0.00082013 | 0.00020554
25 | 1 | 0 | -0.12332 | -0.030867
26 | 0.99567 | -0.030138 | 0.010337 | 0.0025907
27 | 0.99004 | -0.069513 | 0.0035069 | 0.00087891
28 | 0.99404 | -0.041479 | 0 | 0
29 | 0.99688 | -0.021639 | 0.0011822 | 0.00029628
30 | 0.99395 | -0.042134 | 0.0043668 | 0.0010944
31 | 0.99363 | -0.044363 | 0.0015435 | 0.00038684
32 | 0.98288 | -0.12026 | 0.0057242 | 0.0014346
33 | 0.99471 | -0.036843 | 0 | 0
34 | 0.98687 | -0.092023 | 0.0051778 | 0.0012977
35 | 0.9864 | -0.095403 | 0.0081417 | 0.0020405
36 | 0.98609 | -0.097593 | 0.0034069 | 0.00085384
37 | 0.98572 | -0.10018 | 0.0051518 | 0.0012912
38 | 0.9936 | -0.044582 | 0.0077709 | 0.0019476
39 | 0.9856 | -0.10103 | 0.003558 | 0.00089172
40 | 0.98548 | -0.10189 | 0.0046071 | 0.0011547
41 | 0.98546 | -0.10204 | 0.0023812 | 0.00059679
42 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0053193 | 0.0013329 | -0.0053179 | -0.0013328 | 1.4557e-06 | 7.6712e-08 | 0.0079363 | 0.0079365 | 0.0079365 | 0.99733 | -0.018648 | 0.99705 | -0.020626 | 2.9394
1 | -0.0076754 | -0.0019234 | 0.0076768 | 0.0019237 | 1.3914e-06 | 3.1323e-07 | 0.011452 | 0.011452 | 0.011452 | 0.99733 | -0.018648 | 0.99752 | -0.017339 | 4.2413
2 | -0.0076768 | -0.0019237 | 0.0076813 | 0.0019247 | 4.467e-06 | 1.005e-06 | 0.011452 | 0.011451 | 0.011452 | 0.99752 | -0.017339 | 0.99811 | -0.013135 | 4.2413
3 | -0.0094327 | -0.0023634 | 0.0094363 | 0.0023644 | 3.6089e-06 | 1.0056e-06 | 0.014062 | 0.014062 | 0.014062 | 0.99811 | -0.013135 | 0.99851 | -0.01037 | 5.2083
4 | 0.0017515 | 0.00043871 | -0.0017514 | -0.00043894 | 8.6174e-08 | -2.3158e-07 | 0.0026111 | 0.0026112 | 0.0026112 | 0.99811 | -0.013135 | 0.99806 | -0.013491 | 0.96709
5 | -0.0042382 | -0.0010622 | 0.004239 | 0.0010621 | 7.9386e-07 | -8.9479e-08 | 0.0064038 | 0.0064037 | 0.0064038 | 0.98481 | -0.10652 | 0.985 | -0.10517 | 2.3718
6 | -0.004239 | -0.0010621 | 0.0042393 | 0.0010621 | 2.3911e-07 | -2.6984e-08 | 0.0064037 | 0.0064036 | 0.0064037 | 0.985 | -0.10517 | 0.98506 | -0.10476 | 2.3717
7 | 0.037033 | 0.009306 | -0.036965 | -0.0092802 | 6.8235e-05 | 2.5791e-05 | 0.055657 | 0.055657 | 0.055657 | 0.99024 | -0.06813 | 0.98836 | -0.081394 | 20.6139
8 | 0.0047173 | 0.001182 | -0.0047166 | -0.001182 | 6.983e-07 | -1.7883e-08 | 0.0070885 | 0.0070886 | 0.0070886 | 0.99024 | -0.06813 | 0.99009 | -0.0692 | 2.6254
9 | -0.04175 | -0.010488 | 0.041844 | 0.010524 | 9.3766e-05 | 3.5572e-05 | 0.062746 | 0.062746 | 0.062746 | 0.99024 | -0.06813 | 0.99253 | -0.052019 | 23.2392
10 | 0.0039876 | 0.00099934 | -0.0039875 | -0.00099936 | 1.255e-07 | -2.3241e-08 | 0.0060035 | 0.0060035 | 0.0060035 | 0.98836 | -0.081394 | 0.98833 | -0.081622 | 2.2235
11 | 0.032977 | 0.0082809 | -0.032925 | -0.0082612 | 5.2418e-05 | 1.9725e-05 | 0.049654 | 0.049654 | 0.049654 | 0.98836 | -0.081394 | 0.98674 | -0.09285 | 18.3904
12 | 0.003507 | 0.00087885 | -0.0035069 | -0.00087891 | 1.5171e-07 | -5.4194e-08 | 0.0052707 | 0.0052708 | 0.0052708 | 0.99009 | -0.0692 | 0.99004 | -0.069513 | 1.9521
13 | -0.043726 | -0.010995 | 0.04379 | 0.01102 | 6.4324e-05 | 2.4429e-05 | 0.065567 | 0.065567 | 0.065567 | 0.99253 | -0.052019 | 0.99404 | -0.041479 | 24.2841
14 | -0.023384 | -0.0058626 | 0.023402 | 0.0058694 | 1.8446e-05 | 6.7936e-06 | 0.035352 | 0.035352 | 0.035352 | 0.98426 | -0.11045 | 0.98506 | -0.10476 | 13.0935
15 | 0.0195 | 0.0048895 | -0.019496 | -0.004888 | 4.1966e-06 | 1.5157e-06 | 0.029481 | 0.029481 | 0.029481 | 0.98426 | -0.11045 | 0.98404 | -0.11201 | 10.9189
16 | 0.0038837 | 0.00097315 | -0.0038833 | -0.00097324 | 4.3327e-07 | -8.9312e-08 | 0.0058714 | 0.0058715 | 0.0058715 | 0.98426 | -0.11045 | 0.98414 | -0.11126 | 2.1746
17 | 0.0031662 | 0.00079332 | -0.0031659 | -0.00079346 | 2.7598e-07 | -1.3996e-07 | 0.0047828 | 0.0047828 | 0.0047828 | 0.98506 | -0.10476 | 0.98497 | -0.10539 | 1.7714
18 | -0.030808 | -0.0077248 | 0.030858 | 0.0077439 | 5.0939e-05 | 1.9111e-05 | 0.046539 | 0.046539 | 0.046539 | 0.98506 | -0.10476 | 0.98674 | -0.09285 | 17.2366
19 | 0.019496 | 0.004888 | -0.019477 | -0.0048813 | 1.8433e-05 | 6.6584e-06 | 0.029481 | 0.029481 | 0.029481 | 0.98404 | -0.11201 | 0.98308 | -0.11884 | 10.919
20 | 0.0020661 | 0.00051722 | -0.002066 | -0.00051745 | 1.3211e-07 | -2.2779e-07 | 0.0031155 | 0.0031156 | 0.0031156 | 0.98674 | -0.09285 | 0.98667 | -0.093313 | 1.1539
21 | 0.00082016 | 0.00020522 | -0.00082013 | -0.00020554 | 2.4937e-08 | -3.2406e-07 | 0.0012368 | 0.0012369 | 0.0012369 | 0.98667 | -0.093313 | 0.98664 | -0.093533 | 0.45811
22 | -0.06343 | -0.015957 | 0.063522 | 0.015992 | 9.1886e-05 | 3.5125e-05 | 0.094547 | 0.094547 | 0.094547 | 0.99851 | -0.01037 | 1 | 0 | 35.0173
23 | 0.053993 | 0.013592 | -0.053845 | -0.013536 | 0.00014866 | 5.6698e-05 | 0.080484 | 0.080485 | 0.080485 | 0.99851 | -0.01037 | 0.99567 | -0.030138 | 29.8091
24 | 0.0057253 | 0.0014347 | -0.0057242 | -0.0014346 | 1.132e-06 | 1.2917e-07 | 0.0086659 | 0.008666 | 0.008666 | 0.98308 | -0.11884 | 0.98288 | -0.12026 | 3.2096
25 | -0.032594 | -0.0081893 | 0.032663 | 0.0082156 | 6.9878e-05 | 2.6272e-05 | 0.04893 | 0.04893 | 0.04893 | 0.99135 | -0.06042 | 0.99354 | -0.045044 | 18.1223
26 | 0.032594 | 0.0081893 | -0.032506 | -0.0081565 | 8.7204e-05 | 3.279e-05 | 0.04893 | 0.048931 | 0.048931 | 0.99135 | -0.06042 | 0.98861 | -0.079701 | 18.1224
27 | -0.043418 | -0.010911 | 0.043467 | 0.01093 | 4.9621e-05 | 1.8841e-05 | 0.065036 | 0.065036 | 0.065036 | 0.99354 | -0.045044 | 0.99471 | -0.036843 | 24.0876
28 | 0.032506 | 0.0081565 | -0.032451 | -0.0081357 | 5.5487e-05 | 2.0866e-05 | 0.048931 | 0.048931 | 0.048931 | 0.98861 | -0.079701 | 0.98687 | -0.092023 | 18.1225
29 | 0.058995 | 0.014875 | -0.058817 | -0.014807 | 0.00017833 | 6.8102e-05 | 0.087818 | 0.087818 | 0.087818 | 1 | 0 | 0.99688 | -0.021639 | 32.5251
30 | 0.043508 | 0.010945 | -0.043467 | -0.01093 | 4.0649e-05 | 1.5434e-05 | 0.065036 | 0.065036 | 0.065036 | 0.99567 | -0.030138 | 0.99471 | -0.036843 | 24.0875
31 | -0.057476 | -0.01445 | 0.057635 | 0.014511 | 0.0001593 | 6.0822e-05 | 0.086053 | 0.086053 | 0.086053 | 0.99404 | -0.041479 | 0.99688 | -0.021639 | 31.8716
32 | 0.013686 | 0.0034301 | -0.013684 | -0.0034297 | 1.2398e-06 | 4.1549e-07 | 0.020486 | 0.020486 | 0.020486 | 0.99404 | -0.041479 | 0.99395 | -0.042134 | 7.5876
33 | 0.0093175 | 0.0023353 | -0.0093146 | -0.0023345 | 2.8756e-06 | 7.9914e-07 | 0.013949 | 0.013949 | 0.013949 | 0.99395 | -0.042134 | 0.99363 | -0.044363 | 5.1664
34 | 0.0077711 | 0.0019476 | -0.0077709 | -0.0019476 | 2.3478e-07 | 5.4318e-08 | 0.011638 | 0.011638 | 0.011638 | 0.99363 | -0.044363 | 0.9936 | -0.044582 | 4.3103
35 | 0.027273 | 0.006838 | -0.02726 | -0.0068332 | 1.2766e-05 | 4.7553e-06 | 0.041124 | 0.041124 | 0.041124 | 0.98687 | -0.092023 | 0.9864 | -0.095403 | 15.231
36 | 0.019119 | 0.0047927 | -0.019113 | -0.0047906 | 5.7963e-06 | 2.0868e-06 | 0.028842 | 0.028842 | 0.028842 | 0.9864 | -0.095403 | 0.98609 | -0.097593 | 10.6821
37 | 0.015706 | 0.0039368 | -0.0157 | -0.0039348 | 5.6228e-06 | 1.958e-06 | 0.023701 | 0.023701 | 0.023701 | 0.98609 | -0.097593 | 0.98572 | -0.10018 | 8.778
38 | 0.010549 | 0.0026437 | -0.010547 | -0.0026433 | 1.2478e-06 | 3.7941e-07 | 0.015924 | 0.015924 | 0.015924 | 0.98572 | -0.10018 | 0.9856 | -0.10103 | 5.8977
39 | 0.0069893 | 0.0017516 | -0.0069884 | -0.0017514 | 8.2755e-07 | 1.6651e-07 | 0.010552 | 0.010552 | 0.010552 | 0.9856 | -0.10103 | 0.98548 | -0.10189 | 3.9082
40 | 0.0023813 | 0.00059673 | -0.0023812 | -0.00059679 | 5.0871e-08 | -6.0777e-08 | 0.0035956 | 0.0035956 | 0.0035956 | 0.98548 | -0.10189 | 0.98546 | -0.10204 | 1.3317

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1266 | 0.031691

## res_load
| p_mw | q_mvar
0 | 0.0023561 | 0.00059049
1 | 0.0053179 | 0.0013328
2 | 0.0042382 | 0.0010622
3 | 0.0012096 | 0.00030315
4 | 0.0018819 | 0.00047164
5 | 0.0038833 | 0.00097324
6 | 0.0039875 | 0.00099936
7 | 0.0012458 | 0.00031223
8 | 0.0017514 | 0.00043894
9 | 0.013752 | 0.0034466
10 | 0.0031659 | 0.00079346
11 | 0.010754 | 0.0026952
12 | 0.00082013 | 0.00020554
13 | 0.0032861 | 0.00082357
14 | 0.010337 | 0.0025907
15 | 0.0035069 | 0.00087891
16 | 0.0011822 | 0.00029628
17 | 0.0043668 | 0.0010944
18 | 0.0015435 | 0.00038684
19 | 0.0057242 | 0.0014346
20 | 0.0051778 | 0.0012977
21 | 0.0081417 | 0.0020405
22 | 0.0034069 | 0.00085384
23 | 0.0051518 | 0.0012912
24 | 0.0077709 | 0.0019476
25 | 0.003558 | 0.00089172
26 | 0.0046071 | 0.0011547
27 | 0.0023812 | 0.00059679

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1