## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1128-4_1_2_node_47 | 0.4 | n |  | TRUE
1 | bus_LV_1128-4_1_2_node_48 | 0.4 | n |  | TRUE
2 | bus_LV_1128-4_1_2_node_45 | 0.4 | n |  | TRUE
3 | bus_LV_1128-4_1_2_node_43 | 0.4 | n |  | TRUE
4 | bus_LV_1128-4_1_2_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_1128-4_1_2_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_1128-4_1_2_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_1128-4_1_2_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_1128-4_1_2_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_1128-4_1_2_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_1128-4_1_2_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_1128-4_1_2_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_1128-4_1_2_node_88 | 0.4 | n |  | TRUE
13 | bus_LV_1128-4_1_2_node_116 | 0.4 | n |  | TRUE
14 | bus_LV_1128-4_1_2_node_115 | 0.4 | n |  | TRUE
15 | bus_LV_1128-4_1_2_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_1128-4_1_2_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_1128-4_1_2_node_90 | 0.4 | n |  | TRUE
18 | bus_LV_1128-4_1_2_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_1128-4_1_2_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_1128-4_1_2_node_117 | 0.4 | n |  | TRUE
21 | bus_LV_1128-4_1_2_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_1128-4_1_2_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_1128-4_1_2_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_1128-4_1_2_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_1128-4_1_2_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_1128-4_1_2_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_1128-4_1_2_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_1128-4_1_2_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_1128-4_1_2_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_1128-4_1_2_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_1128-4_1_2_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_1128-4_1_2_node_105 | 0.4 | n |  | TRUE
33 | bus_LV_1128-4_1_2_node_82 | 0.4 | n |  | TRUE
34 | bus_LV_1128-4_1_2_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_1128-4_1_2_node_118 | 0.4 | n |  | TRUE
36 | bus_LV_1128-4_1_2_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_1128-4_1_2_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_1128-4_1_2_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_1128-4_1_2_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_1128-4_1_2_node_114 | 0.4 | n |  | TRUE
41 | bus_LV_1128-4_1_2_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_1128-4_1_2_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_1128-4_1_2_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_1128-4_1_2_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_1128-4_1_2_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_1128-4_1_2_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_1128-4_1_2_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_1128-4_1_2_node_107 | 0.4 | n |  | TRUE
49 | bus_LV_1128-4_1_2_node_92 | 0.4 | n |  | TRUE
50 | bus_LV_1128-4_1_2_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_1128-4_1_2_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_1128-4_1_2_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_1128-4_1_2_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_1128-4_1_2_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_1128-4_1_2_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_1128-4_1_2_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_1128-4_1_2_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_1128-4_1_2_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_1128-4_1_2_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_1128-4_1_2_node_87 | 0.4 | n |  | TRUE
61 | bus_LV_1128-4_1_2_node_110 | 0.4 | n |  | TRUE
62 | bus_LV_1128-4_1_2_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_1128-4_1_2_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_1128-4_1_2_node_111 | 0.4 | n |  | TRUE
65 | bus_LV_1128-4_1_2_node_103 | 0.4 | n |  | TRUE
66 | bus_LV_1128-4_1_2_node_106 | 0.4 | n |  | TRUE
67 | bus_LV_1128-4_1_2_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_1128-4_1_2_node_98 | 0.4 | n |  | TRUE
69 | bus_LV_1128-4_1_2_node_99 | 0.4 | n |  | TRUE
70 | bus_LV_1128-4_1_2_node_100 | 0.4 | n |  | TRUE
71 | bus_LV_1128-4_1_2_node_101 | 0.4 | n |  | TRUE
72 | bus_LV_1128-4_1_2_node_113 | 0.4 | n |  | TRUE
73 | bus_LV_1128-4_1_2_node_112 | 0.4 | n |  | TRUE
74 | bus_LV_1128-4_1_2_node_104 | 0.4 | n |  | TRUE
75 | bus_LV_1128-4_1_2_node_109 | 0.4 | n |  | TRUE
76 | bus_MV_128_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1128-4_1_2_load_47 | 0 | 0.0070108 | 0.0017571 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1128-4_1_2_load_48 | 1 | 0.0015219 | 0.00038142 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1128-4_1_2_load_45 | 2 | 0.0010696 | 0.00026806 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1128-4_1_2_load_43 | 3 | 0.00021416 | 5.3674e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1128-4_1_2_load_44 | 4 | 0.00084075 | 0.00021071 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1128-4_1_2_load_46 | 5 | 0.00066756 | 0.00016731 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1128-4_1_2_load_65 | 9 | 0.0036956 | 0.00092621 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1128-4_1_2_load_89 | 10 | 0.0013292 | 0.00033313 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1128-4_1_2_load_88 | 12 | 0.00048477 | 0.00012149 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1128-4_1_2_load_116 | 13 | 0.0006346 | 0.00015905 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1128-4_1_2_load_115 | 14 | 0.0010226 | 0.00025628 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1128-4_1_2_load_63 | 15 | 0.0026887 | 0.00067386 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1128-4_1_2_load_61 | 18 | 0.0025575 | 0.00064097 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1128-4_1_2_load_117 | 20 | 0.0003582 | 8.9774e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1128-4_1_2_load_77 | 22 | 0.00034597 | 8.6708e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1128-4_1_2_load_76 | 23 | 0.00022132 | 5.5468e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1128-4_1_2_load_53 | 24 | 0.0016918 | 0.00042401 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1128-4_1_2_load_55 | 25 | 0.0013699 | 0.00034332 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1128-4_1_2_load_54 | 26 | 0.00095956 | 0.00024049 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1128-4_1_2_load_56 | 27 | 0.0012162 | 0.00030482 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1128-4_1_2_load_94 | 30 | 0.0013652 | 0.00034216 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1128-4_1_2_load_84 | 31 | 0.001289 | 0.00032305 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1128-4_1_2_load_105 | 32 | 0.0013172 | 0.00033012 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1128-4_1_2_load_58 | 34 | 0.00044673 | 0.00011196 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1128-4_1_2_load_118 | 35 | 0.00060811 | 0.00015241 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1128-4_1_2_load_67 | 36 | 0.0017865 | 0.00044773 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1128-4_1_2_load_66 | 37 | 0.0083971 | 0.0021045 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1128-4_1_2_load_95 | 38 | 0.0079342 | 0.0019885 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1128-4_1_2_load_108 | 39 | 0.0013637 | 0.00034178 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1128-4_1_2_load_114 | 40 | 0.0010429 | 0.00026139 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1128-4_1_2_load_68 | 43 | 0.0018555 | 0.00046503 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1128-4_1_2_load_69 | 44 | 0.002744 | 0.00068772 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1128-4_1_2_load_70 | 45 | 0.0014843 | 0.00037201 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1128-4_1_2_load_71 | 46 | 0.0024482 | 0.00061358 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1128-4_1_2_load_91 | 47 | 0.0030439 | 0.00076287 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1128-4_1_2_load_107 | 48 | 0.0013719 | 0.00034382 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1128-4_1_2_load_92 | 49 | 0.0029011 | 0.00072709 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1128-4_1_2_load_96 | 50 | 0.0024176 | 0.0006059 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1128-4_1_2_load_73 | 51 | 0.00024982 | 6.261e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1128-4_1_2_load_74 | 52 | 0.00062229 | 0.00015596 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1128-4_1_2_load_75 | 53 | 0.0004373 | 0.0001096 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1128-4_1_2_load_78 | 54 | 0.003025 | 0.00075814 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1128-4_1_2_load_79 | 55 | 0.003751 | 0.00094009 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1128-4_1_2_load_81 | 56 | 0.0013853 | 0.00034718 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1128-4_1_2_load_85 | 58 | 0.0060831 | 0.0015246 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1128-4_1_2_load_86 | 59 | 0.001581 | 0.00039623 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1128-4_1_2_load_87 | 60 | 0.0027944 | 0.00070034 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1128-4_1_2_load_110 | 61 | 0.0030347 | 0.00076058 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1128-4_1_2_load_102 | 62 | 0.00237 | 0.00059398 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1128-4_1_2_load_93 | 63 | 0.0024877 | 0.00062347 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1128-4_1_2_load_111 | 64 | 0.001281 | 0.00032106 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1128-4_1_2_load_103 | 65 | 0.00073553 | 0.00018434 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1128-4_1_2_load_106 | 66 | 0.00083336 | 0.00020886 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1128-4_1_2_load_97 | 67 | 0.0028184 | 0.00070636 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1128-4_1_2_load_98 | 68 | 0.0010489 | 0.00026287 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1128-4_1_2_load_99 | 69 | 0.00099367 | 0.00024904 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1128-4_1_2_load_100 | 70 | 0.00098118 | 0.00024591 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1128-4_1_2_load_101 | 71 | 0.00099367 | 0.00024904 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1128-4_1_2_load_113 | 72 | 0.00075479 | 0.00018917 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1128-4_1_2_load_112 | 73 | 0.00083285 | 0.00020873 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1128-4_1_2_load_104 | 74 | 0.001146 | 0.00028721 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1128-4_1_2_load_109 | 75 | 0.00036512 | 9.1509e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1128-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.047457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1128-4_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.036584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1128-4_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.044332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1128-4_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.018578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1128-4_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0050888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1128-4_1_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.099155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1128-4_1_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.07722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1128-4_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.1061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1128-4_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.084105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1128-4_1_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.12656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1128-4_1_2_line_10 | NAYY 4x150 SE | 9 | 14 | 0.067414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1128-4_1_2_line_11 | NAYY 4x150 SE | 10 | 22 | 0.046439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1128-4_1_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.011739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1128-4_1_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.033511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1128-4_1_2_line_14 | NAYY 4x150 SE | 12 | 23 | 0.012997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1128-4_1_2_line_15 | NAYY 4x150 SE | 13 | 17 | 0.0014348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1128-4_1_2_line_16 | NAYY 4x150 SE | 14 | 40 | 0.0074164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1128-4_1_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.032796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1128-4_1_2_line_18 | NAYY 4x150 SE | 16 | 36 | 0.019861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1128-4_1_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.03122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1128-4_1_2_line_20 | NAYY 4x150 SE | 18 | 21 | 0.020895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1128-4_1_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.07622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1128-4_1_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.004508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1128-4_1_2_line_23 | NAYY 4x150 SE | 20 | 35 | 0.064543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1128-4_1_2_line_24 | NAYY 4x150 SE | 21 | 29 | 0.16681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1128-4_1_2_line_25 | NAYY 4x150 SE | 21 | 34 | 0.032403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1128-4_1_2_line_26 | NAYY 4x150 SE | 22 | 53 | 0.0090692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1128-4_1_2_line_27 | NAYY 4x150 SE | 23 | 52 | 0.014012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1128-4_1_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.015326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1128-4_1_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.011574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1128-4_1_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.037798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1128-4_1_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.094075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1128-4_1_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.021562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1128-4_1_2_line_33 | NAYY 4x150 SE | 28 | 31 | 0.0074577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1128-4_1_2_line_34 | NAYY 4x150 SE | 30 | 32 | 0.013737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1128-4_1_2_line_35 | NAYY 4x150 SE | 31 | 33 | 0.0047636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1128-4_1_2_line_36 | NAYY 4x150 SE | 32 | 66 | 0.0088565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1128-4_1_2_line_37 | NAYY 4x150 SE | 33 | 58 | 0.038317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1128-4_1_2_line_38 | NAYY 4x150 SE | 33 | 56 | 0.029057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1128-4_1_2_line_39 | NAYY 4x150 SE | 36 | 39 | 0.016931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1128-4_1_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.009927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1128-4_1_2_line_41 | NAYY 4x150 SE | 38 | 41 | 0.033861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1128-4_1_2_line_42 | NAYY 4x150 SE | 39 | 42 | 0.018186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1128-4_1_2_line_43 | NAYY 4x150 SE | 40 | 75 | 0.0023078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1128-4_1_2_line_44 | NAYY 4x150 SE | 41 | 50 | 0.00036534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1128-4_1_2_line_45 | NAYY 4x150 SE | 41 | 55 | 0.017593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1128-4_1_2_line_46 | NAYY 4x150 SE | 42 | 48 | 0.028613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1128-4_1_2_line_47 | NAYY 4x150 SE | 42 | 45 | 0.001665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1128-4_1_2_line_48 | NAYY 4x150 SE | 43 | 44 | 0.03886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1128-4_1_2_line_49 | NAYY 4x150 SE | 43 | 45 | 0.003101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1128-4_1_2_line_50 | NAYY 4x150 SE | 44 | 46 | 0.007747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1128-4_1_2_line_51 | NAYY 4x150 SE | 46 | 47 | 0.01949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1128-4_1_2_line_52 | NAYY 4x150 SE | 47 | 49 | 0.009109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1128-4_1_2_line_53 | NAYY 4x150 SE | 48 | 50 | 0.012026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1128-4_1_2_line_54 | NAYY 4x150 SE | 49 | 63 | 0.023854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1128-4_1_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.00086393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1128-4_1_2_line_56 | NAYY 4x150 SE | 51 | 53 | 0.010203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1128-4_1_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.012021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1128-4_1_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.014903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1128-4_1_2_line_59 | NAYY 4x150 SE | 57 | 59 | 0.046726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1128-4_1_2_line_60 | NAYY 4x150 SE | 57 | 60 | 0.024922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1128-4_1_2_line_61 | NAYY 4x150 SE | 58 | 61 | 0.019536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1128-4_1_2_line_62 | NAYY 4x150 SE | 59 | 62 | 0.025123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1128-4_1_2_line_63 | NAYY 4x150 SE | 60 | 63 | 0.020171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1128-4_1_2_line_64 | NAYY 4x150 SE | 61 | 64 | 0.0087223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1128-4_1_2_line_65 | NAYY 4x150 SE | 62 | 65 | 0.032189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1128-4_1_2_line_66 | NAYY 4x150 SE | 65 | 74 | 0.0086653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1128-4_1_2_line_67 | NAYY 4x150 SE | 66 | 73 | 0.00017224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1128-4_1_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.0087757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1128-4_1_2_line_69 | NAYY 4x150 SE | 67 | 69 | 0.0071581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1128-4_1_2_line_70 | NAYY 4x150 SE | 68 | 70 | 0.01605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1128-4_1_2_line_71 | NAYY 4x150 SE | 69 | 71 | 0.0071194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1128-4_1_2_line_72 | NAYY 4x150 SE | 70 | 72 | 0.0069139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1128-4_1_2_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0077015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1128-4_1_2_line_74 | NAYY 4x150 SE | 74 | 75 | 0.014907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1128-4_1_2_trafo_71 | 0.25 MVA 20/0.4 kV | 76 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2644405.1117 | 1222265.8753 | 2644410.8812 | 1222252.4839 | 2644417.2651 | 1222243.6483 | 2644421.5323 | 1222239.9779 | 2644433.1796 | 1222233.2273 | 2644435.5927 | 1222231.6481
1 | 2644405.1117 | 1222265.8753 | 2644390.6362 | 1222299.4737
2 | 2644379.4692 | 1222341.5761 | 2644384.6043 | 1222333.3815 | 2644386.5534 | 1222327.2923 | 2644387.9996 | 1222310.3262 | 2644389.2472 | 1222302.6975 | 2644390.6362 | 1222299.4737
3 | 2644379.4692 | 1222341.5761 | 2644377.3507 | 1222344.9567 | 2644369.5965 | 1222357.314
4 | 2644369.5965 | 1222357.314 | 2644366.8917 | 1222361.6244
5 | 2644296.7479 | 1222411.5307 | 2644298.7721 | 1222408.5884 | 2644301.2231 | 1222407.3948 | 2644308.9828 | 1222407.2857 | 2644317.429 | 1222406.6593 | 2644323.9116 | 1222405.9181 | 2644342.6845 | 1222399.6206 | 2644355.7809 | 1222393.759 | 2644361.483 | 1222388.8652 | 2644364.4131 | 1222379.3701 | 2644363.5175 | 1222372.3258 | 2644364.8932 | 1222364.8093 | 2644366.8917 | 1222361.6244
6 | 2644296.7479 | 1222411.5307 | 2644301.5609 | 1222413.9902 | 2644318.8559 | 1222422.8241 | 2644328.4063 | 1222427.6981 | 2644328.8676 | 1222426.8677 | 2644330.1602 | 1222425.4097 | 2644334.9305 | 1222422.3879 | 2644366.214 | 1222411.4918
7 | 2644296.7479 | 1222411.5307 | 2644301.5609 | 1222413.9902 | 2644318.8559 | 1222422.8241 | 2644328.4063 | 1222427.6981 | 2644332.834 | 1222429.9546 | 2644359.6233 | 1222441.0051 | 2644367.0299 | 1222444.5068 | 2644372.2591 | 1222448.0923 | 2644382.7653 | 1222457.0093 | 2644390.0702 | 1222460.9328
8 | 2644366.214 | 1222411.4918 | 2644396.7442 | 1222399.9233 | 2644414.0848 | 1222392.4591 | 2644422.6922 | 1222385.4635 | 2644431.3709 | 1222375.0219 | 2644434.7973 | 1222367.8938
9 | 2644390.0702 | 1222460.9328 | 2644472.7404 | 1222504.5311 | 2644501.7857 | 1222520.3959
10 | 2644434.7973 | 1222367.8938 | 2644437.3724 | 1222362.5368 | 2644461.5797 | 1222306.9726 | 2644461.9237 | 1222306.1827
11 | 2644501.7857 | 1222520.3959 | 2644524.0436 | 1222532.5534 | 2644538.9971 | 1222542.0375 | 2644541.7727 | 1222543.9477
12 | 2644590.659 | 1222576.7671 | 2644580.8595 | 1222570.3043
13 | 2644590.659 | 1222576.7671 | 2644604.0397 | 1222585.6059 | 2644618.5094 | 1222595.403
14 | 2644570.0098 | 1222563.1487 | 2644580.8595 | 1222570.3043
15 | 2644619.6975 | 1222596.2074 | 2644618.5094 | 1222595.403
16 | 2644461.9237 | 1222306.1827 | 2644464.8846 | 1222299.3829
17 | 2644490.5523 | 1222478.6261 | 2644472.8082 | 1222469.0434 | 2644461.6948 | 1222463.0429
18 | 2644490.5523 | 1222478.6261 | 2644500.5252 | 1222461.4501
19 | 2644619.6975 | 1222596.2074 | 2644626.6687 | 1222601.0847 | 2644638.841 | 1222609.2253 | 2644645.7701 | 1222613.3592
20 | 2644663.9273 | 1222623.6776 | 2644658.1852 | 1222620.7661 | 2644645.7701 | 1222613.3592
21 | 2644661.125 | 1222627.2143 | 2644714.2066 | 1222654.4844 | 2644728.9688 | 1222661.9507
22 | 2644663.9273 | 1222623.6776 | 2644661.125 | 1222627.2143
23 | 2644728.9688 | 1222661.9507 | 2644753.8574 | 1222674.5387 | 2644786.8379 | 1222690.5288
24 | 2644663.9273 | 1222623.6776 | 2644671.8504 | 1222618.9341 | 2644681.135 | 1222617.7141 | 2644763.8433 | 1222608.2624 | 2644822.1416 | 1222605.4211 | 2644826.4793 | 1222604.4754 | 2644828.7868 | 1222603.2142
25 | 2644663.9273 | 1222623.6776 | 2644679.6175 | 1222631.9558 | 2644692.7753 | 1222638.4265
26 | 2644541.7727 | 1222543.9477 | 2644549.2436 | 1222549.0892
27 | 2644570.0098 | 1222563.1487 | 2644561.9277 | 1222557.8185 | 2644558.36 | 1222555.3632
28 | 2644649.3378 | 1222332.9624 | 2644639.113 | 1222321.5452
29 | 2644631.3916 | 1222312.9233 | 2644639.113 | 1222321.5452
30 | 2644769.3699 | 1222552.7725 | 2644765.7821 | 1222548.0849 | 2644761.0164 | 1222535.3303 | 2644762.5226 | 1222523.6345 | 2644762.5457 | 1222517.1476
31 | 2644828.7868 | 1222603.2142 | 2644830.8482 | 1222600.3835 | 2644832.294 | 1222596.7255 | 2644832.9452 | 1222592.8392 | 2644832.7864 | 1222587.7349 | 2644831.6709 | 1222583.7908 | 2644828.9378 | 1222579.1229 | 2644825.2168 | 1222574.7145 | 2644820.4195 | 1222570.209 | 2644813.5897 | 1222565.6994 | 2644807.2811 | 1222562.4833 | 2644800.6508 | 1222560.6879 | 2644792.7632 | 1222559.6725 | 2644782.0255 | 1222559.4583 | 2644775.7237 | 1222558.3547 | 2644770.6264 | 1222554.414 | 2644769.3699 | 1222552.7725
32 | 2644631.3916 | 1222312.9233 | 2644622.7197 | 1222332.6649
33 | 2644631.3916 | 1222312.9233 | 2644626.7562 | 1222307.0812
34 | 2644622.7197 | 1222332.6649 | 2644617.1949 | 1222345.2422
35 | 2644623.7953 | 1222303.3495 | 2644626.7562 | 1222307.0812
36 | 2644613.633 | 1222353.3509 | 2644617.1949 | 1222345.2422
37 | 2644623.7953 | 1222303.3495 | 2644630.9993 | 1222297.4555 | 2644637.5436 | 1222289.5219 | 2644648.7109 | 1222275.9974 | 2644649.4262 | 1222275.0521
38 | 2644623.7953 | 1222303.3495 | 2644595.1661 | 1222298.3805
39 | 2644509.0265 | 1222446.8086 | 2644500.5252 | 1222461.4501
40 | 2644543.9325 | 1222470.1881 | 2644539.7248 | 1222479.1792
41 | 2644558.2849 | 1222439.5196 | 2644543.9325 | 1222470.1881
42 | 2644518.1582 | 1222431.0813 | 2644509.0265 | 1222446.8086
43 | 2644465.8059 | 1222297.267 | 2644464.8846 | 1222299.3829
44 | 2644557.9274 | 1222439.4444 | 2644558.2849 | 1222439.5196
45 | 2644558.2849 | 1222439.5196 | 2644575.5006 | 1222443.1452
46 | 2644518.1582 | 1222431.0813 | 2644546.1593 | 1222436.9697
47 | 2644518.1582 | 1222431.0813 | 2644518.8551 | 1222429.5691
48 | 2644520.1529 | 1222426.7527 | 2644536.4162 | 1222391.4601
49 | 2644520.1529 | 1222426.7527 | 2644518.8551 | 1222429.5691
50 | 2644539.6585 | 1222384.4242 | 2644536.4162 | 1222391.4601
51 | 2644547.8154 | 1222366.7231 | 2644539.6585 | 1222384.4242
52 | 2644547.8154 | 1222366.7231 | 2644551.6277 | 1222358.4502
53 | 2644546.1593 | 1222436.9697 | 2644557.9274 | 1222439.4444
54 | 2644551.6277 | 1222358.4502 | 2644561.6109 | 1222336.7858
55 | 2644558.36 | 1222555.3632 | 2644557.6483 | 1222554.8734
56 | 2644557.6483 | 1222554.8734 | 2644549.2436 | 1222549.0892
57 | 2644587.2634 | 1222445.6224 | 2644575.5006 | 1222443.1452
58 | 2644580.483 | 1222295.832 | 2644595.1661 | 1222298.3805
59 | 2644580.483 | 1222295.832 | 2644534.8949 | 1222285.5815
60 | 2644580.483 | 1222295.832 | 2644570.0526 | 1222318.4667
61 | 2644661.2144 | 1222259.4729 | 2644649.4262 | 1222275.0521
62 | 2644510.3835 | 1222280.0702 | 2644534.8949 | 1222285.5815
63 | 2644570.0526 | 1222318.4667 | 2644561.6109 | 1222336.7858
64 | 2644661.2144 | 1222259.4729 | 2644666.4774 | 1222252.5174
65 | 2644510.3835 | 1222280.0702 | 2644490.7715 | 1222275.6604 | 2644481.6664 | 1222277.16 | 2644479.2142 | 1222278.6307
66 | 2644479.2142 | 1222278.6307 | 2644474.9466 | 1222281.1901 | 2644472.8008 | 1222284.1908
67 | 2644613.5637 | 1222353.5086 | 2644613.633 | 1222353.3509
68 | 2644597.7014 | 1222389.6193 | 2644601.2308 | 1222381.5846
69 | 2644597.7014 | 1222389.6193 | 2644594.8226 | 1222396.1729
70 | 2644601.2308 | 1222381.5846 | 2644607.6857 | 1222366.8899
71 | 2644591.9593 | 1222402.6912 | 2644594.8226 | 1222396.1729
72 | 2644607.6857 | 1222366.8899 | 2644610.4663 | 1222360.5598
73 | 2644610.4663 | 1222360.5598 | 2644613.5637 | 1222353.5086
74 | 2644465.8059 | 1222297.267 | 2644469.4741 | 1222288.8428 | 2644472.8008 | 1222284.1908

## bus_geodata
| x | y | coords
0 | 2644405.1117 | 1222265.8753
1 | 2644435.5927 | 1222231.6481
2 | 2644390.6362 | 1222299.4737
3 | 2644379.4692 | 1222341.5761
4 | 2644369.5965 | 1222357.314
5 | 2644366.8917 | 1222361.6244
6 | 2644296.7479 | 1222411.5307
7 | 2644366.214 | 1222411.4918
8 | 2644390.0702 | 1222460.9328
9 | 2644434.7973 | 1222367.8938
10 | 2644501.7857 | 1222520.3959
11 | 2644590.659 | 1222576.7671
12 | 2644580.8595 | 1222570.3043
13 | 2644618.5094 | 1222595.403
14 | 2644461.9237 | 1222306.1827
15 | 2644461.6948 | 1222463.0429
16 | 2644490.5523 | 1222478.6261
17 | 2644619.6975 | 1222596.2074
18 | 2644645.7701 | 1222613.3592
19 | 2644661.125 | 1222627.2143
20 | 2644728.9688 | 1222661.9507
21 | 2644663.9273 | 1222623.6776
22 | 2644541.7727 | 1222543.9477
23 | 2644570.0098 | 1222563.1487
24 | 2644649.3378 | 1222332.9624
25 | 2644639.113 | 1222321.5452
26 | 2644762.5457 | 1222517.1476
27 | 2644769.3699 | 1222552.7725
28 | 2644631.3916 | 1222312.9233
29 | 2644828.7868 | 1222603.2142
30 | 2644622.7197 | 1222332.6649
31 | 2644626.7562 | 1222307.0812
32 | 2644617.1949 | 1222345.2422
33 | 2644623.7953 | 1222303.3495
34 | 2644692.7753 | 1222638.4265
35 | 2644786.8379 | 1222690.5288
36 | 2644500.5252 | 1222461.4501
37 | 2644539.7248 | 1222479.1792
38 | 2644543.9325 | 1222470.1881
39 | 2644509.0265 | 1222446.8086
40 | 2644464.8846 | 1222299.3829
41 | 2644558.2849 | 1222439.5196
42 | 2644518.1582 | 1222431.0813
43 | 2644520.1529 | 1222426.7527
44 | 2644536.4162 | 1222391.4601
45 | 2644518.8551 | 1222429.5691
46 | 2644539.6585 | 1222384.4242
47 | 2644547.8154 | 1222366.7231
48 | 2644546.1593 | 1222436.9697
49 | 2644551.6277 | 1222358.4502
50 | 2644557.9274 | 1222439.4444
51 | 2644557.6483 | 1222554.8734
52 | 2644558.36 | 1222555.3632
53 | 2644549.2436 | 1222549.0892
54 | 2644587.2634 | 1222445.6224
55 | 2644575.5006 | 1222443.1452
56 | 2644595.1661 | 1222298.3805
57 | 2644580.483 | 1222295.832
58 | 2644649.4262 | 1222275.0521
59 | 2644534.8949 | 1222285.5815
60 | 2644570.0526 | 1222318.4667
61 | 2644661.2144 | 1222259.4729
62 | 2644510.3835 | 1222280.0702
63 | 2644561.6109 | 1222336.7858
64 | 2644666.4774 | 1222252.5174
65 | 2644479.2142 | 1222278.6307
66 | 2644613.633 | 1222353.3509
67 | 2644597.7014 | 1222389.6193
68 | 2644601.2308 | 1222381.5846
69 | 2644594.8226 | 1222396.1729
70 | 2644607.6857 | 1222366.8899
71 | 2644591.9593 | 1222402.6912
72 | 2644610.4663 | 1222360.5598
73 | 2644613.5637 | 1222353.5086
74 | 2644472.8008 | 1222284.1908
75 | 2644465.8059 | 1222297.267
76 | 2644518.1582 | 1222431.0813

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97359 | -0.18632 | 0.0070108 | 0.0017571
1 | 0.97348 | -0.18709 | 0.0015219 | 0.00038142
2 | 0.97404 | -0.18304 | 0.0010696 | 0.00026806
3 | 0.97467 | -0.17856 | 0.00021416 | 5.3674e-05
4 | 0.97493 | -0.17664 | 0.00084075 | 0.00021071
5 | 0.97501 | -0.17607 | 0.00066756 | 0.00016731
6 | 0.97666 | -0.16428 | 0 | 0
7 | 0.97912 | -0.14663 | 0 | 0
8 | 0.97503 | -0.17601 | 0 | 0
9 | 0.98181 | -0.12749 | 0.0036956 | 0.00092621
10 | 0.97308 | -0.19004 | 0.0013292 | 0.00033313
11 | 0.9718 | -0.19935 | 0 | 0
12 | 0.97192 | -0.1985 | 0.00048477 | 0.00012149
13 | 0.97147 | -0.20177 | 0.0006346 | 0.00015905
14 | 0.98432 | -0.10966 | 0.0010226 | 0.00025628
15 | 0.99687 | -0.021908 | 0.0026887 | 0.00067386
16 | 0.997 | -0.021022 | 0 | 0
17 | 0.97145 | -0.20186 | 0 | 0
18 | 0.97117 | -0.20391 | 0.0025575 | 0.00064097
19 | 0.97105 | -0.20476 | 0 | 0
20 | 0.97095 | -0.20554 | 0.0003582 | 8.9774e-05
21 | 0.97106 | -0.20471 | 0 | 0
22 | 0.97246 | -0.19455 | 0.00034597 | 8.6708e-05
23 | 0.97205 | -0.19749 | 0.00022132 | 5.5468e-05
24 | 0.98848 | -0.080463 | 0.0016918 | 0.00042401
25 | 0.98852 | -0.080198 | 0.0013699 | 0.00034332
26 | 0.97017 | -0.21115 | 0.00095956 | 0.00024049
27 | 0.97023 | -0.21077 | 0.0012162 | 0.00030482
28 | 0.98857 | -0.079836 | 0 | 0
29 | 0.97053 | -0.20859 | 0 | 0
30 | 0.9882 | -0.082468 | 0.0013652 | 0.00034216
31 | 0.98873 | -0.078693 | 0.001289 | 0.00032305
32 | 0.98799 | -0.083954 | 0.0013172 | 0.00033012
33 | 0.98884 | -0.0779 | 0 | 0
34 | 0.97104 | -0.20486 | 0.00044673 | 0.00011196
35 | 0.97089 | -0.20596 | 0.00060811 | 0.00015241
36 | 0.99707 | -0.020485 | 0.0017865 | 0.00044773
37 | 0.99487 | -0.035976 | 0.0083971 | 0.0021045
38 | 0.99499 | -0.035135 | 0.0079342 | 0.0019885
39 | 0.99718 | -0.019724 | 0.0013637 | 0.00034178
40 | 0.98461 | -0.10762 | 0.0010429 | 0.00026139
41 | 0.99578 | -0.029564 | 0 | 0
42 | 0.99733 | -0.018657 | 0 | 0
43 | 0.99756 | -0.017045 | 0.0018555 | 0.00046503
44 | 0.99957 | -0.0030046 | 0.002744 | 0.00068772
45 | 0.99741 | -0.01811 | 0.0014843 | 0.00037201
46 | 1 | 0 | -0.11397 | -0.028511
47 | 0.99794 | -0.014274 | 0.0030439 | 0.00076287
48 | 0.99623 | -0.02639 | 0.0013719 | 0.00034382
49 | 0.99701 | -0.020687 | 0.0029011 | 0.00072709
50 | 0.99579 | -0.029479 | 0.0024176 | 0.0006059
51 | 0.97222 | -0.1963 | 0.00024982 | 6.261e-05
52 | 0.97221 | -0.19638 | 0.00062229 | 0.00015596
53 | 0.97234 | -0.1954 | 0.0004373 | 0.0001096
54 | 0.99556 | -0.031131 | 0.003025 | 0.00075814
55 | 0.99561 | -0.030765 | 0.003751 | 0.00094009
56 | 0.98996 | -0.069988 | 0.0013853 | 0.00034718
57 | 0.99056 | -0.065726 | 0 | 0
58 | 0.98827 | -0.081971 | 0.0060831 | 0.0015246
59 | 0.98826 | -0.081873 | 0.001581 | 0.00039623
60 | 0.9928 | -0.050046 | 0.0027944 | 0.00070034
61 | 0.98815 | -0.082833 | 0.0030347 | 0.00076058
62 | 0.98708 | -0.090177 | 0.00237 | 0.00059398
63 | 0.99469 | -0.036838 | 0.0024877 | 0.00062347
64 | 0.98813 | -0.082948 | 0.001281 | 0.00032106
65 | 0.98568 | -0.10006 | 0.00073553 | 0.00018434
66 | 0.98787 | -0.084793 | 0.00083336 | 0.00020886
67 | 0.98752 | -0.087283 | 0.0028184 | 0.00070636
68 | 0.98758 | -0.086852 | 0.0010489 | 0.00026287
69 | 0.9875 | -0.087429 | 0.00099367 | 0.00024904
70 | 0.98771 | -0.08589 | 0.00098118 | 0.00024591
71 | 0.98749 | -0.087501 | 0.00099367 | 0.00024904
72 | 0.98778 | -0.085406 | 0.00075479 | 0.00018917
73 | 0.98787 | -0.084808 | 0.00083285 | 0.00020873
74 | 0.98531 | -0.10266 | 0.001146 | 0.00028721
75 | 0.9847 | -0.10696 | 0.00036512 | 9.1509e-05
76 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.001522 | 0.00038089 | -0.0015219 | -0.00038142 | 1.6024e-07 | -5.2845e-07 | 0.0023261 | 0.0023263 | 0.0023263 | 0.97359 | -0.18632 | 0.97348 | -0.18709 | 0.86159
1 | -0.0085328 | -0.002138 | 0.0085367 | 0.002139 | 3.8825e-06 | 1.0381e-06 | 0.013041 | 0.013041 | 0.013041 | 0.97359 | -0.18632 | 0.97404 | -0.18304 | 4.8301
2 | -0.0096063 | -0.0024071 | 0.0096122 | 0.0024088 | 5.9574e-06 | 1.7391e-06 | 0.014675 | 0.014675 | 0.014675 | 0.97404 | -0.18304 | 0.97467 | -0.17856 | 5.4352
3 | -0.0098264 | -0.0024625 | 0.009829 | 0.0024632 | 2.609e-06 | 7.7185e-07 | 0.015002 | 0.015002 | 0.015002 | 0.97467 | -0.17856 | 0.97493 | -0.17664 | 5.5562
4 | -0.01067 | -0.002674 | 0.010671 | 0.0026742 | 8.4211e-07 | 2.6043e-07 | 0.016285 | 0.016285 | 0.016285 | 0.97493 | -0.17664 | 0.97501 | -0.17607 | 6.0314
5 | -0.011338 | -0.0028415 | 0.011357 | 0.0028474 | 1.8525e-05 | 5.8864e-06 | 0.017304 | 0.017303 | 0.017304 | 0.97501 | -0.17607 | 0.97666 | -0.16428 | 6.4088
6 | -0.021883 | -0.0054817 | 0.021936 | 0.0055013 | 5.3558e-05 | 1.963e-05 | 0.033339 | 0.033339 | 0.033339 | 0.97666 | -0.16428 | 0.97912 | -0.14663 | 12.3479
7 | 0.010526 | 0.0026343 | -0.010509 | -0.002629 | 1.7026e-05 | 5.223e-06 | 0.016036 | 0.016037 | 0.016037 | 0.97666 | -0.16428 | 0.97503 | -0.17601 | 5.9395
8 | -0.021936 | -0.0055013 | 0.021995 | 0.0055227 | 5.8332e-05 | 2.1375e-05 | 0.033339 | 0.033339 | 0.033339 | 0.97912 | -0.14663 | 0.98181 | -0.12749 | 12.3478
9 | 0.010509 | 0.002629 | -0.010489 | -0.0026228 | 2.031e-05 | 6.2363e-06 | 0.016037 | 0.016037 | 0.016037 | 0.97503 | -0.17601 | 0.97308 | -0.19004 | 5.9397
10 | -0.02569 | -0.0064489 | 0.025754 | 0.0064725 | 6.3784e-05 | 2.3678e-05 | 0.03894 | 0.038939 | 0.03894 | 0.98181 | -0.12749 | 0.98432 | -0.10966 | 14.4221
11 | 0.0091597 | 0.0022897 | -0.009154 | -0.0022881 | 5.6835e-06 | 1.6094e-06 | 0.014005 | 0.014005 | 0.014005 | 0.97308 | -0.19004 | 0.97246 | -0.19455 | 5.187
12 | -0.0067874 | -0.001695 | 0.0067882 | 0.0016951 | 7.9085e-07 | 1.5871e-07 | 0.010391 | 0.010391 | 0.010391 | 0.9718 | -0.19935 | 0.97192 | -0.1985 | 3.8484
13 | 0.0067874 | 0.001695 | -0.0067852 | -0.0016945 | 2.2577e-06 | 4.5329e-07 | 0.010391 | 0.010391 | 0.010391 | 0.9718 | -0.19935 | 0.97147 | -0.20177 | 3.8485
14 | -0.007273 | -0.0018166 | 0.007274 | 0.0018169 | 1.0052e-06 | 2.2551e-07 | 0.011133 | 0.011133 | 0.011133 | 0.97192 | -0.1985 | 0.97205 | -0.19749 | 4.1233
15 | 0.0061506 | 0.0015355 | -0.0061505 | -0.0015355 | 7.9426e-08 | 1.2784e-08 | 0.0094188 | 0.0094188 | 0.0094188 | 0.97147 | -0.20177 | 0.97145 | -0.20186 | 3.4884
16 | -0.026777 | -0.0067288 | 0.026784 | 0.0067317 | 7.5852e-06 | 2.8231e-06 | 0.040485 | 0.040485 | 0.040485 | 0.98432 | -0.10966 | 0.98461 | -0.10762 | 14.9945
17 | -0.0026887 | -0.00067386 | 0.0026891 | 0.00067356 | 3.2963e-07 | -3.0085e-07 | 0.0040134 | 0.0040133 | 0.0040134 | 0.99687 | -0.021908 | 0.997 | -0.021022 | 1.4865
18 | -0.0026891 | -0.00067356 | 0.0026893 | 0.00067337 | 1.9961e-07 | -1.8225e-07 | 0.0040133 | 0.0040132 | 0.0040133 | 0.997 | -0.021022 | 0.99707 | -0.020485 | 1.4864
19 | 0.0061505 | 0.0015355 | -0.0061488 | -0.0015352 | 1.7283e-06 | 2.7831e-07 | 0.0094188 | 0.0094189 | 0.0094189 | 0.97145 | -0.20186 | 0.97117 | -0.20391 | 3.4885
20 | 0.0035913 | 0.00089423 | -0.0035909 | -0.00089433 | 3.9447e-07 | -1.068e-07 | 0.0055004 | 0.0055005 | 0.0055005 | 0.97117 | -0.20391 | 0.97106 | -0.20471 | 2.0372
21 | 0.00096645 | 0.00024049 | -0.00096635 | -0.0002414 | 1.0425e-07 | -9.027e-07 | 0.0014803 | 0.0014807 | 0.0014807 | 0.97105 | -0.20476 | 0.97095 | -0.20554 | 0.5484
22 | -0.00096645 | -0.00024049 | 0.00096646 | 0.00024044 | 6.1643e-09 | -5.3397e-08 | 0.0014803 | 0.0014803 | 0.0014803 | 0.97105 | -0.20476 | 0.97106 | -0.20471 | 0.54827
23 | 0.00060814 | 0.00015162 | -0.00060811 | -0.00015241 | 3.4973e-08 | -7.8478e-07 | 0.00093172 | 0.00093201 | 0.00093201 | 0.97095 | -0.20554 | 0.97089 | -0.20596 | 0.34519
24 | 0.0021777 | 0.00054233 | -0.0021765 | -0.00054395 | 1.1584e-06 | -1.6169e-06 | 0.0033357 | 0.0033365 | 0.0033365 | 0.97106 | -0.20471 | 0.97053 | -0.20859 | 1.2357
25 | 0.00044674 | 0.00011156 | -0.00044673 | -0.00011196 | 9.4733e-09 | -3.972e-07 | 0.00068442 | 0.00068456 | 0.00068456 | 0.97106 | -0.20471 | 0.97104 | -0.20486 | 0.25354
26 | 0.008808 | 0.0022014 | -0.008807 | -0.0022011 | 1.0276e-06 | 2.8274e-07 | 0.013475 | 0.013475 | 0.013475 | 0.97246 | -0.19455 | 0.97234 | -0.1954 | 4.9909
27 | -0.0074953 | -0.0018723 | 0.0074965 | 0.0018726 | 1.1506e-06 | 2.6882e-07 | 0.011472 | 0.011471 | 0.011472 | 0.97205 | -0.19749 | 0.97221 | -0.19638 | 4.2487
28 | -0.0016918 | -0.00042401 | 0.0016919 | 0.00042383 | 6.2029e-08 | -1.7261e-07 | 0.0025468 | 0.0025467 | 0.0025468 | 0.98848 | -0.080463 | 0.98852 | -0.080198 | 0.94325
29 | -0.0030617 | -0.00076715 | 0.0030619 | 0.00076707 | 1.534e-07 | -8.9382e-08 | 0.0046088 | 0.0046087 | 0.0046088 | 0.98852 | -0.080198 | 0.98857 | -0.079836 | 1.7069
30 | -0.00095956 | -0.00024049 | 0.00095961 | 0.00024004 | 5.1082e-08 | -4.4713e-07 | 0.0014717 | 0.0014716 | 0.0014717 | 0.97017 | -0.21115 | 0.97023 | -0.21077 | 0.54509
31 | -0.0021759 | -0.00054486 | 0.0021765 | 0.00054395 | 6.5357e-07 | -9.1079e-07 | 0.0033369 | 0.0033365 | 0.0033369 | 0.97023 | -0.21077 | 0.97053 | -0.20859 | 1.2359
32 | 0.011949 | 0.0029948 | -0.011945 | -0.0029934 | 4.3526e-06 | 1.3977e-06 | 0.017986 | 0.017986 | 0.017986 | 0.98857 | -0.079836 | 0.9882 | -0.082468 | 6.6615
33 | -0.015011 | -0.0037618 | 0.015013 | 0.0037627 | 2.3758e-06 | 8.1813e-07 | 0.022595 | 0.022595 | 0.022595 | 0.98857 | -0.079836 | 0.98873 | -0.078693 | 8.3684
34 | 0.010579 | 0.0026512 | -0.010577 | -0.0026506 | 2.1754e-06 | 6.6073e-07 | 0.01593 | 0.01593 | 0.01593 | 0.9882 | -0.082468 | 0.98799 | -0.083954 | 5.9002
35 | -0.016302 | -0.0040857 | 0.016304 | 0.0040863 | 1.7893e-06 | 6.2708e-07 | 0.024535 | 0.024535 | 0.024535 | 0.98873 | -0.078693 | 0.98884 | -0.0779 | 9.0869
36 | 0.0092601 | 0.0023204 | -0.009259 | -0.0023201 | 1.0749e-06 | 3.0004e-07 | 0.013947 | 0.013947 | 0.013947 | 0.98799 | -0.083954 | 0.98787 | -0.084793 | 5.1654
37 | 0.010405 | 0.0026078 | -0.010399 | -0.002606 | 5.862e-06 | 1.7634e-06 | 0.015658 | 0.015658 | 0.015658 | 0.98884 | -0.0779 | 0.98827 | -0.081971 | 5.7993
38 | -0.026709 | -0.0066941 | 0.026739 | 0.006705 | 2.929e-05 | 1.0892e-05 | 0.040192 | 0.040192 | 0.040192 | 0.98884 | -0.0779 | 0.98996 | -0.069988 | 14.8861
39 | -0.0044757 | -0.0011211 | 0.0044762 | 0.0011211 | 4.7131e-07 | -3.9569e-08 | 0.0066793 | 0.0066792 | 0.0066793 | 0.99707 | -0.020485 | 0.99718 | -0.019724 | 2.4738
40 | -0.0083971 | -0.0021045 | 0.008398 | 0.0021047 | 9.771e-07 | 2.4689e-07 | 0.012559 | 0.012559 | 0.012559 | 0.99487 | -0.035976 | 0.99499 | -0.035135 | 4.6516
41 | -0.016332 | -0.0040933 | 0.016345 | 0.0040977 | 1.2605e-05 | 4.408e-06 | 0.024425 | 0.024425 | 0.024425 | 0.99499 | -0.035135 | 0.99578 | -0.029564 | 9.0463
42 | -0.0058399 | -0.0014628 | 0.0058408 | 0.0014629 | 8.6174e-07 | 9.4154e-08 | 0.0087142 | 0.0087141 | 0.0087142 | 0.99718 | -0.019724 | 0.99733 | -0.018657 | 3.2275
43 | -0.027827 | -0.006993 | 0.02783 | 0.006994 | 2.5477e-06 | 9.5052e-07 | 0.042061 | 0.042061 | 0.042061 | 0.98461 | -0.10762 | 0.9847 | -0.10696 | 15.5783
44 | -0.023122 | -0.005796 | 0.023122 | 0.0057961 | 2.7217e-07 | 9.9927e-08 | 0.034552 | 0.034552 | 0.034552 | 0.99578 | -0.029564 | 0.99579 | -0.029479 | 12.7972
45 | 0.0067773 | 0.0016983 | -0.0067762 | -0.0016981 | 1.126e-06 | 2.0425e-07 | 0.010127 | 0.010128 | 0.010128 | 0.99578 | -0.029564 | 0.99561 | -0.030765 | 3.7509
46 | 0.026952 | 0.0067606 | -0.026923 | -0.0067499 | 2.8874e-05 | 1.0732e-05 | 0.040214 | 0.040214 | 0.040214 | 0.99733 | -0.018657 | 0.99623 | -0.02639 | 14.8941
47 | -0.032792 | -0.0082235 | 0.032795 | 0.0082245 | 2.4873e-06 | 9.3491e-07 | 0.048928 | 0.048928 | 0.048928 | 0.99733 | -0.018657 | 0.99741 | -0.01811 | 18.1215
48 | -0.03614 | -0.0090634 | 0.03621 | 0.00909 | 7.0473e-05 | 2.6597e-05 | 0.05391 | 0.05391 | 0.05391 | 0.99756 | -0.017045 | 0.99957 | -0.0030046 | 19.9667
49 | 0.034284 | 0.0085984 | -0.034279 | -0.0085965 | 5.0612e-06 | 1.9061e-06 | 0.051142 | 0.051142 | 0.051142 | 0.99756 | -0.017045 | 0.99741 | -0.01811 | 18.9416
50 | -0.038954 | -0.0097777 | 0.038971 | 0.0097839 | 1.6259e-05 | 6.1519e-06 | 0.057995 | 0.057995 | 0.057995 | 0.99957 | -0.0030046 | 1 | 0 | 21.4796
51 | 0.074202 | 0.018727 | -0.074053 | -0.01867 | 0.00014839 | 5.6817e-05 | 0.11046 | 0.11046 | 0.11046 | 1 | 0 | 0.99794 | -0.014274 | 40.9107
52 | 0.071009 | 0.017907 | -0.070945 | -0.017883 | 6.377e-05 | 2.4408e-05 | 0.10592 | 0.10592 | 0.10592 | 0.99794 | -0.014274 | 0.99701 | -0.020687 | 39.2297
53 | 0.025551 | 0.0064061 | -0.02554 | -0.006402 | 1.093e-05 | 4.0473e-06 | 0.038165 | 0.038165 | 0.038165 | 0.99623 | -0.02639 | 0.99579 | -0.029479 | 14.1352
54 | 0.068044 | 0.017156 | -0.067891 | -0.017097 | 0.00015362 | 5.8775e-05 | 0.10159 | 0.10159 | 0.10159 | 0.99701 | -0.020687 | 0.99469 | -0.036838 | 37.6261
55 | 0.0081188 | 0.0020286 | -0.0081187 | -0.0020286 | 8.3212e-08 | 2.1291e-08 | 0.012424 | 0.012424 | 0.012424 | 0.97222 | -0.1963 | 0.97221 | -0.19638 | 4.6015
56 | -0.0083686 | -0.0020912 | 0.0083697 | 0.0020915 | 1.0441e-06 | 2.7505e-07 | 0.012806 | 0.012806 | 0.012806 | 0.97222 | -0.1963 | 0.97234 | -0.1954 | 4.7431
57 | -0.003025 | -0.00075814 | 0.0030252 | 0.00075804 | 1.5334e-07 | -9.7338e-08 | 0.0045214 | 0.0045213 | 0.0045214 | 0.99556 | -0.031131 | 0.99561 | -0.030765 | 1.6746
58 | -0.028124 | -0.0070522 | 0.02814 | 0.0070584 | 1.6619e-05 | 6.2002e-06 | 0.042275 | 0.042274 | 0.042275 | 0.98996 | -0.069988 | 0.99056 | -0.065726 | 15.6572
59 | 0.034211 | 0.0086163 | -0.034134 | -0.0085873 | 7.7052e-05 | 2.9035e-05 | 0.051407 | 0.051407 | 0.051407 | 0.99056 | -0.065726 | 0.98826 | -0.081873 | 19.0396
60 | -0.062352 | -0.015675 | 0.062488 | 0.015727 | 0.00013648 | 5.2172e-05 | 0.093681 | 0.093681 | 0.093681 | 0.99056 | -0.065726 | 0.9928 | -0.050046 | 34.6967
61 | 0.0043163 | 0.0010815 | -0.0043158 | -0.0010815 | 5.1489e-07 | -5.226e-08 | 0.0064989 | 0.006499 | 0.006499 | 0.98827 | -0.081971 | 0.98815 | -0.082833 | 2.407
62 | 0.032553 | 0.008191 | -0.032515 | -0.0081769 | 3.7681e-05 | 1.4171e-05 | 0.049026 | 0.049027 | 0.049027 | 0.98826 | -0.081873 | 0.98708 | -0.090177 | 18.158
63 | -0.065283 | -0.016427 | 0.065403 | 0.016473 | 0.00012056 | 4.6107e-05 | 0.097869 | 0.097869 | 0.097869 | 0.9928 | -0.050046 | 0.99469 | -0.036838 | 36.2479
64 | 0.0012811 | 0.00032096 | -0.001281 | -0.00032106 | 2.0254e-08 | -1.0394e-07 | 0.0019291 | 0.0019291 | 0.0019291 | 0.98815 | -0.082833 | 0.98813 | -0.082948 | 0.71448
65 | 0.030145 | 0.0075829 | -0.030104 | -0.0075673 | 4.1498e-05 | 1.555e-05 | 0.045454 | 0.045454 | 0.045454 | 0.98708 | -0.090177 | 0.98568 | -0.10006 | 16.8348
66 | 0.029368 | 0.007383 | -0.029358 | -0.007379 | 1.0632e-05 | 3.9789e-06 | 0.044344 | 0.044344 | 0.044344 | 0.98568 | -0.10006 | 0.98531 | -0.10266 | 16.4236
67 | 0.0084257 | 0.0021113 | -0.0084256 | -0.0021113 | 1.7311e-08 | 4.4532e-09 | 0.012691 | 0.012691 | 0.012691 | 0.98787 | -0.084793 | 0.98787 | -0.084808 | 4.7005
68 | -0.0048058 | -0.0012043 | 0.0048061 | 0.0012043 | 2.8716e-07 | -1.8373e-09 | 0.0072415 | 0.0072414 | 0.0072415 | 0.98752 | -0.087283 | 0.98758 | -0.086852 | 2.682
69 | 0.0019874 | 0.00049791 | -0.0019874 | -0.00049799 | 4.0056e-08 | -7.6171e-08 | 0.0029946 | 0.0029946 | 0.0029946 | 0.98752 | -0.087283 | 0.9875 | -0.087429 | 1.1091
70 | -0.005855 | -0.0014671 | 0.0058557 | 0.0014672 | 7.7941e-07 | 9.4379e-08 | 0.0088218 | 0.0088217 | 0.0088218 | 0.98758 | -0.086852 | 0.98771 | -0.08589 | 3.2673
71 | 0.00099368 | 0.00024895 | -0.00099367 | -0.00024904 | 9.96e-09 | -8.7249e-08 | 0.0014973 | 0.0014973 | 0.0014973 | 0.9875 | -0.087429 | 0.98749 | -0.087501 | 0.55457
72 | -0.0068369 | -0.0017131 | 0.0068374 | 0.0017132 | 4.5769e-07 | 8.7538e-08 | 0.0103 | 0.0103 | 0.0103 | 0.98771 | -0.08589 | 0.98778 | -0.085406 | 3.8148
73 | -0.0075922 | -0.0019024 | 0.0075928 | 0.0019025 | 6.286e-07 | 1.4318e-07 | 0.011437 | 0.011437 | 0.011437 | 0.98778 | -0.085406 | 0.98787 | -0.084808 | 4.2359
74 | 0.028212 | 0.0070918 | -0.028195 | -0.0070855 | 1.6891e-05 | 6.307e-06 | 0.042613 | 0.042613 | 0.042613 | 0.98531 | -0.10266 | 0.9847 | -0.10696 | 15.7826

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11642 | 0.029124

## res_load
| p_mw | q_mvar
0 | 0.0070108 | 0.0017571
1 | 0.0015219 | 0.00038142
2 | 0.0010696 | 0.00026806
3 | 0.00021416 | 5.3674e-05
4 | 0.00084075 | 0.00021071
5 | 0.00066756 | 0.00016731
6 | 0.0036956 | 0.00092621
7 | 0.0013292 | 0.00033313
8 | 0.00048477 | 0.00012149
9 | 0.0006346 | 0.00015905
10 | 0.0010226 | 0.00025628
11 | 0.0026887 | 0.00067386
12 | 0.0025575 | 0.00064097
13 | 0.0003582 | 8.9774e-05
14 | 0.00034597 | 8.6708e-05
15 | 0.00022132 | 5.5468e-05
16 | 0.0016918 | 0.00042401
17 | 0.0013699 | 0.00034332
18 | 0.00095956 | 0.00024049
19 | 0.0012162 | 0.00030482
20 | 0.0013652 | 0.00034216
21 | 0.001289 | 0.00032305
22 | 0.0013172 | 0.00033012
23 | 0.00044673 | 0.00011196
24 | 0.00060811 | 0.00015241
25 | 0.0017865 | 0.00044773
26 | 0.0083971 | 0.0021045
27 | 0.0079342 | 0.0019885
28 | 0.0013637 | 0.00034178
29 | 0.0010429 | 0.00026139
30 | 0.0018555 | 0.00046503
31 | 0.002744 | 0.00068772
32 | 0.0014843 | 0.00037201
33 | 0.0024482 | 0.00061358
34 | 0.0030439 | 0.00076287
35 | 0.0013719 | 0.00034382
36 | 0.0029011 | 0.00072709
37 | 0.0024176 | 0.0006059
38 | 0.00024982 | 6.261e-05
39 | 0.00062229 | 0.00015596
40 | 0.0004373 | 0.0001096
41 | 0.003025 | 0.00075814
42 | 0.003751 | 0.00094009
43 | 0.0013853 | 0.00034718
44 | 0.0060831 | 0.0015246
45 | 0.001581 | 0.00039623
46 | 0.0027944 | 0.00070034
47 | 0.0030347 | 0.00076058
48 | 0.00237 | 0.00059398
49 | 0.0024877 | 0.00062347
50 | 0.001281 | 0.00032106
51 | 0.00073553 | 0.00018434
52 | 0.00083336 | 0.00020886
53 | 0.0028184 | 0.00070636
54 | 0.0010489 | 0.00026287
55 | 0.00099367 | 0.00024904
56 | 0.00098118 | 0.00024591
57 | 0.00099367 | 0.00024904
58 | 0.00075479 | 0.00018917
59 | 0.00083285 | 0.00020873
60 | 0.001146 | 0.00028721
61 | 0.00036512 | 9.1509e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1