## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1128-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1128-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1128-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1128-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1128-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1128-6_0_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_1128-6_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1128-6_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1128-6_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1128-6_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1128-6_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1128-6_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1128-6_0_3_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_1128-6_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1128-6_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1128-6_0_3_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_1128-6_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1128-6_0_3_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_1128-6_0_3_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_1128-6_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_1128-6_0_3_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_1128-6_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1128-6_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1128-6_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1128-6_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1128-6_0_3_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_1128-6_0_3_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_1128-6_0_3_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1128-6_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1128-6_0_3_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_1128-6_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1128-6_0_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_1128-6_0_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1128-6_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1128-6_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_1128-6_0_3_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_1128-6_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1128-6_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_1128-6_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1128-6_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1128-6_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1128-6_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_MV_128_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1128-6_0_3_load_0 | 0 | 0.0020334 | 0.00050961 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1128-6_0_3_load_1 | 1 | 0.0012079 | 0.00030273 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1128-6_0_3_load_2 | 2 | 0.0014378 | 0.00036034 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1128-6_0_3_load_3 | 3 | 0.0016927 | 0.00042422 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1128-6_0_3_load_4 | 4 | 0.0024218 | 0.00060695 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1128-6_0_3_load_5 | 7 | 0.0010444 | 0.00026176 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1128-6_0_3_load_6 | 8 | 0.0010446 | 0.00026179 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1128-6_0_3_load_35 | 12 | 0.0026309 | 0.00065937 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1128-6_0_3_load_23 | 15 | 0.00047976 | 0.00012024 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1128-6_0_3_load_44 | 17 | 0.00063695 | 0.00015963 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1128-6_0_3_load_39 | 20 | 0.0022636 | 0.00056731 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1128-6_0_3_load_26 | 22 | 0.013008 | 0.0032601 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1128-6_0_3_load_25 | 24 | 0.0021467 | 0.00053802 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1128-6_0_3_load_36 | 26 | 0.0019983 | 0.00050082 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1128-6_0_3_load_32 | 27 | 0.0069652 | 0.0017456 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1128-6_0_3_load_21 | 28 | 0.000301 | 7.5437e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1128-6_0_3_load_43 | 29 | 0.0013614 | 0.00034119 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1128-6_0_3_load_38 | 31 | 0.0027799 | 0.0006967 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1128-6_0_3_load_37 | 32 | 0.030767 | 0.007711 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1128-6_0_3_load_42 | 34 | 0.0076247 | 0.0019109 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1128-6_0_3_load_41 | 35 | 0.0033085 | 0.00082918 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1128-6_0_3_load_22 | 37 | 0.0025826 | 0.00064726 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1128-6_0_3_load_24 | 38 | 0.01844 | 0.0046215 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1128-6_0_3_load_27 | 39 | 0.0026435 | 0.00066251 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1128-6_0_3_load_33 | 41 | 0.04113 | 0.010308 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1128-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0012368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1128-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0076326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1128-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1128-6_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0027727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1128-6_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1128-6_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.022937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1128-6_0_3_line_6 | NAYY 4x150 SE | 6 | 8 | 0.015364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1128-6_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0075794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1128-6_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.12245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1128-6_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.085697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1128-6_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.04573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1128-6_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0057077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1128-6_0_3_line_12 | NAYY 4x150 SE | 11 | 18 | 0.014681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1128-6_0_3_line_13 | NAYY 4x150 SE | 11 | 19 | 0.037071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1128-6_0_3_line_14 | NAYY 4x150 SE | 11 | 20 | 0.019443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1128-6_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.078479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1128-6_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.013686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1128-6_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.25105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1128-6_0_3_line_18 | NAYY 4x150 SE | 15 | 28 | 0.0090304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1128-6_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.072877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1128-6_0_3_line_20 | NAYY 4x150 SE | 18 | 29 | 0.034919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1128-6_0_3_line_21 | NAYY 4x150 SE | 19 | 25 | 0.02175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1128-6_0_3_line_22 | NAYY 4x150 SE | 19 | 26 | 0.010652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1128-6_0_3_line_23 | NAYY 4x150 SE | 20 | 30 | 0.017809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1128-6_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.042785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1128-6_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.030079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1128-6_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.016385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1128-6_0_3_line_27 | NAYY 4x150 SE | 22 | 33 | 0.024447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1128-6_0_3_line_28 | NAYY 4x150 SE | 23 | 27 | 0.023518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1128-6_0_3_line_29 | NAYY 4x150 SE | 25 | 35 | 0.018142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1128-6_0_3_line_30 | NAYY 4x150 SE | 25 | 34 | 0.0087351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1128-6_0_3_line_31 | NAYY 4x150 SE | 27 | 36 | 0.017728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1128-6_0_3_line_32 | NAYY 4x150 SE | 28 | 37 | 0.026249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1128-6_0_3_line_33 | NAYY 4x150 SE | 30 | 33 | 0.007027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1128-6_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.03659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1128-6_0_3_line_35 | NAYY 4x150 SE | 32 | 41 | 0.021217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1128-6_0_3_line_36 | NAYY 4x150 SE | 36 | 41 | 0.015683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1128-6_0_3_line_37 | NAYY 4x150 SE | 36 | 40 | 0.012058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1128-6_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.050833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1128-6_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.013352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1128-6_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.02264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1128-6_0_3_trafo_27 | 0.25 MVA 20/0.4 kV | 42 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2644021.9739 | 1222162.0723 | 2644022.588 | 1222160.9987
1 | 2644018.1841 | 1222168.6976 | 2644021.9739 | 1222162.0723
2 | 2644022.588 | 1222160.9987 | 2644032.4237 | 1222143.8044
3 | 2644032.4237 | 1222143.8044 | 2644033.8004 | 1222141.3976
4 | 2644054.307 | 1222105.5486 | 2644033.8004 | 1222141.3976
5 | 2644035.4343 | 1222092.4345 | 2644054.307 | 1222105.5486
6 | 2644035.4343 | 1222092.4345 | 2644027.3971 | 1222105.5285
7 | 2644023.4321 | 1222111.9881 | 2644027.3971 | 1222105.5285
8 | 2643941.0043 | 1222202.2817 | 2643979.7274 | 1222160.7644 | 2644018.3217 | 1222120.3138 | 2644023.4321 | 1222111.9881
9 | 2644002.5981 | 1222262.0278 | 2643989.6774 | 1222250.2586 | 2643952.1337 | 1222213.237 | 2643941.0043 | 1222202.2817
10 | 2644002.5981 | 1222262.0278 | 2643999.0441 | 1222265.7149 | 2644017.5295 | 1222281.9056 | 2644026.1338 | 1222289.6516 | 2644024.054 | 1222290.8926 | 2644022.3544 | 1222292.014
11 | 2644002.5981 | 1222262.0278 | 2644006.8406 | 1222265.8461
12 | 2644022.3544 | 1222292.014 | 2644030.5293 | 1222299.3678 | 2644033.5702 | 1222301.4915
13 | 2644022.3544 | 1222292.014 | 2644024.054 | 1222290.8926 | 2644026.1338 | 1222289.6516 | 2644038.0272 | 1222298.7784 | 2644048.5079 | 1222305.093 | 2644051.6725 | 1222300.736
14 | 2644022.3544 | 1222292.014 | 2644020.8681 | 1222293.0037 | 2644003.7251 | 1222297.233
15 | 2644095.6029 | 1222363.1541 | 2644106.5665 | 1222367.7381 | 2644129.2422 | 1222377.2005 | 2644135.3958 | 1222377.8798 | 2644142.5963 | 1222375.4539 | 2644148.2826 | 1222369.5814 | 2644152.7385 | 1222357.8184 | 2644145.897 | 1222354.7881
16 | 2644095.6029 | 1222363.1541 | 2644085.3575 | 1222358.8869 | 2644082.9699 | 1222357.8899
17 | 2644113.9888 | 1222482.8182 | 2644122.1676 | 1222475.263 | 2644133.4519 | 1222465.1849 | 2644152.5004 | 1222455.4201 | 2644214.2218 | 1222423.7808 | 2644221.0156 | 1222418.9172 | 2644227.1967 | 1222409.7575 | 2644234.8063 | 1222394.1045 | 2644152.7385 | 1222357.8184 | 2644145.897 | 1222354.7881
18 | 2644082.9699 | 1222357.8899 | 2644074.6367 | 1222354.4104
19 | 2644113.9888 | 1222482.8182 | 2644089.5767 | 1222463.0922 | 2644087.4362 | 1222463.321 | 2644057.5822 | 1222488.9387
20 | 2644033.5702 | 1222301.4915 | 2644039.2898 | 1222305.4806 | 2644047.2405 | 1222310.3201 | 2644060.6152 | 1222317.0786 | 2644063.9556 | 1222318.5556
21 | 2644067.1206 | 1222285.5966 | 2644061.1856 | 1222290.211 | 2644055.6572 | 1222295.2399 | 2644051.6725 | 1222300.736
22 | 2644051.6725 | 1222300.736 | 2644043.7096 | 1222296.519 | 2644042.3409 | 1222295.6136
23 | 2643986.469 | 1222301.6327 | 2643994.6155 | 1222299.4804 | 2644003.7251 | 1222297.233
24 | 2643917.1321 | 1222328.2152 | 2643939.0995 | 1222319.6275 | 2643948.4783 | 1222315.9611 | 2643956.9921 | 1222312.6687
25 | 2643941.3626 | 1222323.3464 | 2643918.2414 | 1222333.0818 | 2643917.1321 | 1222328.2152
26 | 2643917.1321 | 1222328.2152 | 2643914.9602 | 1222323.4407 | 2643911.8735 | 1222320.3161 | 2643906.3389 | 1222316.4565
27 | 2643979.7933 | 1222303.8514 | 2643956.9921 | 1222312.6687
28 | 2643941.3626 | 1222323.3464 | 2643946.3083 | 1222331.4989 | 2643953.5815 | 1222340.7915 | 2643954.4206 | 1222342.8055
29 | 2644067.1206 | 1222285.5966 | 2644071.0358 | 1222267.8818
30 | 2644067.1206 | 1222285.5966 | 2644070.7612 | 1222290.7155 | 2644071.7201 | 1222292.9739
31 | 2643963.8172 | 1222357.6994 | 2643960.2561 | 1222353.0926 | 2643956.5923 | 1222348.0181 | 2643954.4206 | 1222342.8055
32 | 2644050.4466 | 1222344.236 | 2644050.7426 | 1222344.4333 | 2644074.6367 | 1222354.4104
33 | 2643986.469 | 1222301.6327 | 2643983.4216 | 1222302.444 | 2643979.7933 | 1222303.8514
34 | 2643968.3299 | 1222385.6347 | 2643992.9844 | 1222412.672
35 | 2643968.3299 | 1222385.6347 | 2643954.0337 | 1222369.9569 | 2643954.0337 | 1222369.9569
36 | 2643963.8172 | 1222357.6994 | 2643954.0337 | 1222369.9569
37 | 2643973.2924 | 1222350.2092 | 2643963.8172 | 1222357.6994
38 | 2644050.4466 | 1222344.236 | 2644037.6556 | 1222335.7091 | 2644021.6242 | 1222329.2423 | 2644009.6992 | 1222329.521 | 2644004.7548 | 1222333.3364
39 | 2644004.7548 | 1222333.3364 | 2643994.1841 | 1222341.4934
40 | 2643973.2924 | 1222350.2092 | 2643994.1152 | 1222341.5466 | 2643994.1841 | 1222341.4934

## bus_geodata
| x | y | coords
0 | 2644021.9739 | 1222162.0723
1 | 2644022.588 | 1222160.9987
2 | 2644018.1841 | 1222168.6976
3 | 2644032.4237 | 1222143.8044
4 | 2644033.8004 | 1222141.3976
5 | 2644054.307 | 1222105.5486
6 | 2644035.4343 | 1222092.4345
7 | 2644023.4321 | 1222111.9881
8 | 2644027.3971 | 1222105.5285
9 | 2643941.0043 | 1222202.2817
10 | 2644002.5981 | 1222262.0278
11 | 2644022.3544 | 1222292.014
12 | 2644006.8406 | 1222265.8461
13 | 2644095.6029 | 1222363.1541
14 | 2644145.897 | 1222354.7881
15 | 2644082.9699 | 1222357.8899
16 | 2644113.9888 | 1222482.8182
17 | 2644057.5822 | 1222488.9387
18 | 2644033.5702 | 1222301.4915
19 | 2644051.6725 | 1222300.736
20 | 2644003.7251 | 1222297.233
21 | 2643917.1321 | 1222328.2152
22 | 2643956.9921 | 1222312.6687
23 | 2643941.3626 | 1222323.3464
24 | 2643906.3389 | 1222316.4565
25 | 2644067.1206 | 1222285.5966
26 | 2644042.3409 | 1222295.6136
27 | 2643954.4206 | 1222342.8055
28 | 2644074.6367 | 1222354.4104
29 | 2644063.9556 | 1222318.5556
30 | 2643986.469 | 1222301.6327
31 | 2643992.9844 | 1222412.672
32 | 2643968.3299 | 1222385.6347
33 | 2643979.7933 | 1222303.8514
34 | 2644071.7201 | 1222292.9739
35 | 2644071.0358 | 1222267.8818
36 | 2643963.8172 | 1222357.6994
37 | 2644050.4466 | 1222344.236
38 | 2644004.7548 | 1222333.3364
39 | 2643994.1841 | 1222341.4934
40 | 2643973.2924 | 1222350.2092
41 | 2643954.0337 | 1222369.9569
42 | 2643973.2924 | 1222350.2092

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98092 | -0.13437 | 0.0020334 | 0.00050961
1 | 0.98093 | -0.13432 | 0.0012079 | 0.00030273
2 | 0.98091 | -0.13448 | 0.0014378 | 0.00036034
3 | 0.98106 | -0.13336 | 0.0016927 | 0.00042422
4 | 0.98109 | -0.13318 | 0.0024218 | 0.00060695
5 | 0.98162 | -0.12941 | 0 | 0
6 | 0.98191 | -0.12732 | 0 | 0
7 | 0.98221 | -0.12515 | 0.0010444 | 0.00026176
8 | 0.98211 | -0.12592 | 0.0010446 | 0.00026179
9 | 0.98415 | -0.11137 | 0 | 0
10 | 0.9855 | -0.10175 | 0 | 0
11 | 0.9864 | -0.095389 | 0 | 0
12 | 0.98548 | -0.1019 | 0.0026309 | 0.00065937
13 | 0.9992 | -0.005634 | 0 | 0
14 | 0.99913 | -0.0061616 | 0 | 0
15 | 0.99922 | -0.0055414 | 0.00047976 | 0.00012024
16 | 0.9989 | -0.0078093 | 0 | 0
17 | 0.99884 | -0.0082762 | 0.00063695 | 0.00015963
18 | 0.98637 | -0.095595 | 0 | 0
19 | 0.98571 | -0.10031 | 0 | 0
20 | 0.98718 | -0.089838 | 0.0022636 | 0.00056731
21 | 0.992 | -0.055899 | 0 | 0
22 | 0.98933 | -0.074667 | 0.013008 | 0.0032601
23 | 0.99396 | -0.042111 | 0 | 0
24 | 0.99195 | -0.056256 | 0.0021467 | 0.00053802
25 | 0.98536 | -0.10276 | 0 | 0
26 | 0.98568 | -0.10053 | 0.0019983 | 0.00050082
27 | 0.9955 | -0.031368 | 0.0069652 | 0.0017456
28 | 0.99923 | -0.0054369 | 0.000301 | 7.5437e-05
29 | 0.9863 | -0.096083 | 0.0013614 | 0.00034119
30 | 0.98796 | -0.084348 | 0 | 0
31 | 0.99399 | -0.042043 | 0.0027799 | 0.0006967
32 | 0.99414 | -0.041015 | 0.030767 | 0.007711
33 | 0.98827 | -0.082185 | 0 | 0
34 | 0.98527 | -0.10344 | 0.0076247 | 0.0019109
35 | 0.98528 | -0.10337 | 0.0033085 | 0.00082918
36 | 0.99684 | -0.02205 | 0 | 0
37 | 0.99928 | -0.0050537 | 0.0025826 | 0.00064726
38 | 0.99957 | -0.0029982 | 0.01844 | 0.0046215
39 | 1 | 0 | -0.15116 | -0.037807
40 | 0.99794 | -0.014372 | 0 | 0
41 | 0.99516 | -0.033834 | 0.04113 | 0.010308
42 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0034712 | -0.00086986 | 0.0034712 | 0.00086985 | 2.1398e-08 | -7.3829e-09 | 0.0052656 | 0.0052655 | 0.0052656 | 0.98092 | -0.13437 | 0.98093 | -0.13432 | 1.9502
1 | 0.0014378 | 0.00036025 | -0.0014378 | -0.00036034 | 2.2656e-08 | -8.7635e-08 | 0.002181 | 0.0021811 | 0.0021811 | 0.98092 | -0.13437 | 0.98091 | -0.13448 | 0.8078
2 | -0.0046791 | -0.0011726 | 0.0046797 | 0.0011726 | 6.2272e-07 | -1.0584e-08 | 0.0070979 | 0.0070978 | 0.0070979 | 0.98093 | -0.13432 | 0.98106 | -0.13336 | 2.6289
3 | -0.0063724 | -0.0015968 | 0.0063725 | 0.0015968 | 1.6162e-07 | 2.715e-08 | 0.0096651 | 0.0096651 | 0.0096651 | 0.98106 | -0.13336 | 0.98109 | -0.13318 | 3.5797
4 | -0.0087943 | -0.0022038 | 0.0087989 | 0.002205 | 4.5848e-06 | 1.2416e-06 | 0.013338 | 0.013338 | 0.013338 | 0.98109 | -0.13318 | 0.98162 | -0.12941 | 4.9401
5 | -0.0087989 | -0.002205 | 0.0088014 | 0.0022057 | 2.5463e-06 | 6.8929e-07 | 0.013338 | 0.013338 | 0.013338 | 0.98162 | -0.12941 | 0.98191 | -0.12732 | 4.94
6 | -0.0088014 | -0.0022057 | 0.0088032 | 0.0022062 | 1.7055e-06 | 4.616e-07 | 0.013338 | 0.013338 | 0.013338 | 0.98191 | -0.12732 | 0.98211 | -0.12592 | 4.94
7 | 0.0098488 | 0.0024683 | -0.0098477 | -0.002468 | 1.0529e-06 | 3.0904e-07 | 0.01492 | 0.01492 | 0.01492 | 0.98221 | -0.12515 | 0.98211 | -0.12592 | 5.5261
8 | -0.010893 | -0.00273 | 0.010914 | 0.0027365 | 2.0809e-05 | 6.4504e-06 | 0.016503 | 0.016502 | 0.016503 | 0.98221 | -0.12515 | 0.98415 | -0.11137 | 6.1121
9 | -0.010914 | -0.0027365 | 0.010929 | 0.002741 | 1.4562e-05 | 4.5104e-06 | 0.016502 | 0.016502 | 0.016502 | 0.98415 | -0.11137 | 0.9855 | -0.10175 | 6.1119
10 | -0.01356 | -0.0034003 | 0.013571 | 0.0034043 | 1.1962e-05 | 4.0175e-06 | 0.020474 | 0.020474 | 0.020474 | 0.9855 | -0.10175 | 0.9864 | -0.095389 | 7.5831
11 | 0.002631 | 0.00065932 | -0.0026309 | -0.00065937 | 5.6205e-08 | -5.1107e-08 | 0.0039725 | 0.0039725 | 0.0039725 | 0.9855 | -0.10175 | 0.98548 | -0.1019 | 1.4713
12 | 0.0013615 | 0.0003406 | -0.0013614 | -0.00034078 | 3.8636e-08 | -1.7254e-07 | 0.0020536 | 0.0020537 | 0.0020537 | 0.9864 | -0.095389 | 0.98637 | -0.095595 | 0.76062
13 | 0.012945 | 0.0032449 | -0.012936 | -0.003242 | 8.8215e-06 | 2.92e-06 | 0.019528 | 0.019528 | 0.019528 | 0.9864 | -0.095389 | 0.98571 | -0.10031 | 7.2327
14 | -0.027878 | -0.0069898 | 0.027899 | 0.0069979 | 2.1458e-05 | 8.0047e-06 | 0.042056 | 0.042056 | 0.042056 | 0.9864 | -0.095389 | 0.98718 | -0.089838 | 15.5762
15 | 0.00063718 | 0.00015445 | -0.00063713 | -0.00015546 | 4.3941e-08 | -1.011e-06 | 0.00094707 | 0.00094742 | 0.00094742 | 0.9992 | -0.005634 | 0.99913 | -0.0061616 | 0.3509
16 | -0.00063718 | -0.00015445 | 0.00063718 | 0.00015428 | 7.6595e-09 | -1.7632e-07 | 0.00094707 | 0.00094701 | 0.00094707 | 0.9992 | -0.005634 | 0.99922 | -0.0055414 | 0.35077
17 | 0.00063713 | 0.00015546 | -0.00063699 | -0.0001587 | 1.4078e-07 | -3.233e-06 | 0.00094742 | 0.00094856 | 0.00094856 | 0.99913 | -0.0061616 | 0.9989 | -0.0078093 | 0.35132
18 | -0.0011169 | -0.00027451 | 0.001117 | 0.0002744 | 1.5554e-08 | -1.1231e-07 | 0.0016614 | 0.0016614 | 0.0016614 | 0.99922 | -0.0055414 | 0.99923 | -0.0054369 | 0.61535
19 | 0.00063699 | 0.0001587 | -0.00063695 | -0.00015963 | 4.0932e-08 | -9.3819e-07 | 0.00094856 | 0.00094889 | 0.00094889 | 0.9989 | -0.0078093 | 0.99884 | -0.0082762 | 0.35144
20 | 0.0013614 | 0.00034078 | -0.0013614 | -0.00034119 | 9.1906e-08 | -4.1033e-07 | 0.0020537 | 0.0020538 | 0.0020538 | 0.98637 | -0.095595 | 0.9863 | -0.096083 | 0.76068
21 | 0.010938 | 0.0027413 | -0.010934 | -0.0027401 | 3.7002e-06 | 1.146e-06 | 0.016512 | 0.016512 | 0.016512 | 0.98571 | -0.10031 | 0.98536 | -0.10276 | 6.1155
22 | 0.0019984 | 0.00050071 | -0.0019983 | -0.00050082 | 6.0486e-08 | -1.1251e-07 | 0.0030166 | 0.0030167 | 0.0030167 | 0.98571 | -0.10031 | 0.98568 | -0.10053 | 1.1173
23 | -0.030163 | -0.0075652 | 0.030186 | 0.0075738 | 2.2973e-05 | 8.6081e-06 | 0.045468 | 0.045468 | 0.045468 | 0.98718 | -0.089838 | 0.98796 | -0.084348 | 16.8399
24 | 0.043348 | 0.010892 | -0.043235 | -0.010849 | 0.00011291 | 4.2876e-05 | 0.065032 | 0.065032 | 0.065032 | 0.992 | -0.055899 | 0.98933 | -0.074667 | 24.0861
25 | -0.045494 | -0.01143 | 0.045582 | 0.011463 | 8.7434e-05 | 3.3239e-05 | 0.068252 | 0.068252 | 0.068252 | 0.992 | -0.055899 | 0.99396 | -0.042111 | 25.2787
26 | 0.0021468 | 0.00053785 | -0.0021467 | -0.00053802 | 1.0602e-07 | -1.7074e-07 | 0.0032202 | 0.0032203 | 0.0032203 | 0.992 | -0.055899 | 0.99195 | -0.056256 | 1.1927
27 | 0.030227 | 0.007589 | -0.030195 | -0.0075772 | 3.1536e-05 | 1.1816e-05 | 0.045468 | 0.045468 | 0.045468 | 0.98933 | -0.074667 | 0.98827 | -0.082185 | 16.8399
28 | -0.045582 | -0.011463 | 0.04565 | 0.011489 | 6.8362e-05 | 2.5988e-05 | 0.068252 | 0.068252 | 0.068252 | 0.99396 | -0.042111 | 0.9955 | -0.031368 | 25.2786
29 | 0.0033087 | 0.00082906 | -0.0033085 | -0.00082918 | 2.8263e-07 | -1.2237e-07 | 0.0049965 | 0.0049966 | 0.0049966 | 0.98536 | -0.10276 | 0.98528 | -0.10337 | 1.8506
30 | 0.0076254 | 0.0019111 | -0.0076247 | -0.0019109 | 7.2277e-07 | 1.6673e-07 | 0.011515 | 0.011515 | 0.011515 | 0.98536 | -0.10276 | 0.98527 | -0.10344 | 4.2649
31 | -0.052615 | -0.013235 | 0.052684 | 0.013261 | 6.8454e-05 | 2.6098e-05 | 0.078663 | 0.078663 | 0.078663 | 0.9955 | -0.031368 | 0.99684 | -0.02205 | 29.1346
32 | -0.001418 | -0.00034984 | 0.001418 | 0.00034952 | 7.2894e-08 | -3.1582e-07 | 0.0021096 | 0.0021095 | 0.0021096 | 0.99923 | -0.0054369 | 0.99928 | -0.0050537 | 0.78135
33 | -0.030186 | -0.0075738 | 0.030195 | 0.0075772 | 9.0648e-06 | 3.3965e-06 | 0.045468 | 0.045468 | 0.045468 | 0.98796 | -0.084348 | 0.98827 | -0.082185 | 16.8399
34 | -0.0027799 | -0.0006967 | 0.0027803 | 0.00069638 | 3.954e-07 | -3.2228e-07 | 0.0041615 | 0.0041613 | 0.0041615 | 0.99399 | -0.042043 | 0.99414 | -0.041015 | 1.5413
35 | -0.033547 | -0.0084073 | 0.033581 | 0.0084199 | 3.3382e-05 | 1.2564e-05 | 0.050213 | 0.050213 | 0.050213 | 0.99414 | -0.041015 | 0.99516 | -0.033834 | 18.5975
36 | 0.074833 | 0.018775 | -0.074711 | -0.018728 | 0.00012213 | 4.677e-05 | 0.11171 | 0.11171 | 0.11171 | 0.99684 | -0.02205 | 0.99516 | -0.033834 | 41.3754
37 | -0.12752 | -0.032036 | 0.12765 | 0.032088 | 0.00013635 | 5.2128e-05 | 0.19038 | 0.19038 | 0.19038 | 0.99684 | -0.02205 | 0.99794 | -0.014372 | 35.255
38 | -0.0040006 | -0.00099679 | 0.0040018 | 0.00099655 | 1.1249e-06 | -2.3348e-07 | 0.0059552 | 0.005955 | 0.0059552 | 0.99928 | -0.0050537 | 0.99957 | -0.0029982 | 2.2056
39 | -0.022442 | -0.005618 | 0.022451 | 0.0056214 | 9.2976e-06 | 3.4009e-06 | 0.033406 | 0.033405 | 0.033406 | 0.99957 | -0.0029982 | 1 | 0 | 12.3724
40 | 0.12791 | 0.032186 | -0.12765 | -0.032088 | 0.00025601 | 9.7872e-05 | 0.19038 | 0.19038 | 0.19038 | 1 | 0 | 0.99794 | -0.014372 | 35.2549

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1538 | 0.03847

## res_load
| p_mw | q_mvar
0 | 0.0020334 | 0.00050961
1 | 0.0012079 | 0.00030273
2 | 0.0014378 | 0.00036034
3 | 0.0016927 | 0.00042422
4 | 0.0024218 | 0.00060695
5 | 0.0010444 | 0.00026176
6 | 0.0010446 | 0.00026179
7 | 0.0026309 | 0.00065937
8 | 0.00047976 | 0.00012024
9 | 0.00063695 | 0.00015963
10 | 0.0022636 | 0.00056731
11 | 0.013008 | 0.0032601
12 | 0.0021467 | 0.00053802
13 | 0.0019983 | 0.00050082
14 | 0.0069652 | 0.0017456
15 | 0.000301 | 7.5437e-05
16 | 0.0013614 | 0.00034119
17 | 0.0027799 | 0.0006967
18 | 0.030767 | 0.007711
19 | 0.0076247 | 0.0019109
20 | 0.0033085 | 0.00082918
21 | 0.0025826 | 0.00064726
22 | 0.01844 | 0.0046215
23 | 0.0026435 | 0.00066251
24 | 0.04113 | 0.010308

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1