## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1135-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1135-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1135-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1135-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1135-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1135-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1135-3_0_3_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_1135-3_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1135-3_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1135-3_0_3_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_1135-3_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1135-3_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1135-3_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1135-3_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1135-3_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1135-3_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1135-3_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1135-3_0_3_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_1135-3_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1135-3_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1135-3_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1135-3_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1135-3_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_1135-3_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_1135-3_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1135-3_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1135-3_0_3_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_1135-3_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1135-3_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1135-3_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1135-3_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1135-3_0_3_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_1135-3_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_1135-3_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1135-3_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1135-3_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1135-3_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1135-3_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1135-3_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_1135-3_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_1135-3_0_3_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1135-3_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1135-3_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1135-3_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_1135-3_0_3_node_90 | 0.4 | n |  | TRUE
45 | bus_LV_1135-3_0_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1135-3_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1135-3_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_1135-3_0_3_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_1135-3_0_3_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_1135-3_0_3_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_1135-3_0_3_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_1135-3_0_3_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_1135-3_0_3_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_1135-3_0_3_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_1135-3_0_3_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_1135-3_0_3_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_1135-3_0_3_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_1135-3_0_3_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_1135-3_0_3_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_1135-3_0_3_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_1135-3_0_3_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_1135-3_0_3_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_1135-3_0_3_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_1135-3_0_3_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_1135-3_0_3_node_87 | 0.4 | n |  | TRUE
66 | bus_LV_1135-3_0_3_node_89 | 0.4 | n |  | TRUE
67 | bus_MV_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1135-3_0_3_load_0 | 0 | 0.00032804 | 8.2216e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1135-3_0_3_load_1 | 1 | 0.00012121 | 3.0379e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1135-3_0_3_load_2 | 2 | 0.0012733 | 0.00031913 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1135-3_0_3_load_17 | 8 | 0.00026627 | 6.6733e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1135-3_0_3_load_6 | 10 | 0.00025402 | 6.3664e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1135-3_0_3_load_7 | 11 | 0.000909 | 0.00022782 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1135-3_0_3_load_9 | 13 | 0.0013616 | 0.00034125 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1135-3_0_3_load_12 | 16 | 0.002161 | 0.0005416 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1135-3_0_3_load_76 | 17 | 0.0019453 | 0.00048754 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1135-3_0_3_load_13 | 18 | 0.00033568 | 8.4129e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1135-3_0_3_load_20 | 19 | 0.00054982 | 0.0001378 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1135-3_0_3_load_21 | 20 | 0.00077125 | 0.00019329 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1135-3_0_3_load_22 | 21 | 0.00054606 | 0.00013685 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1135-3_0_3_load_23 | 22 | 0.00090406 | 0.00022658 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1135-3_0_3_load_25 | 24 | 0.00017202 | 4.3112e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1135-3_0_3_load_26 | 25 | 7.518e-05 | 1.8842e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1135-3_0_3_load_27 | 27 | 7.5235e-05 | 1.8856e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1135-3_0_3_load_28 | 28 | 0.00024505 | 6.1414e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1135-3_0_3_load_29 | 29 | 8.4444e-05 | 2.1164e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1135-3_0_3_load_30 | 30 | 0.0001908 | 4.7818e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1135-3_0_3_load_32 | 33 | 0.00024858 | 6.23e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1135-3_0_3_load_33 | 34 | 0.00015954 | 3.9986e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1135-3_0_3_load_34 | 35 | 0.00058407 | 0.00014638 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1135-3_0_3_load_35 | 36 | 0.00016463 | 4.1261e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1135-3_0_3_load_46 | 40 | 0.00035772 | 8.9653e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1135-3_0_3_load_39 | 41 | 0.00024895 | 6.2393e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1135-3_0_3_load_42 | 42 | 0.00083283 | 0.00020873 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1135-3_0_3_load_43 | 43 | 0.00084274 | 0.00021121 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1135-3_0_3_load_47 | 45 | 8.0834e-05 | 2.0259e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1135-3_0_3_load_48 | 46 | 0.0002706 | 6.7819e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1135-3_0_3_load_80 | 48 | 0.00085633 | 0.00021462 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1135-3_0_3_load_78 | 49 | 0.00016866 | 4.2271e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1135-3_0_3_load_60 | 50 | 0.00012974 | 3.2515e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1135-3_0_3_load_61 | 51 | 0.0001685 | 4.2229e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1135-3_0_3_load_62 | 52 | 0.0011513 | 0.00028855 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1135-3_0_3_load_63 | 53 | 0.00070234 | 0.00017602 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1135-3_0_3_load_74 | 54 | 6.2363e-05 | 1.563e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1135-3_0_3_load_65 | 55 | 0.00221 | 0.00055387 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1135-3_0_3_load_67 | 57 | 0.0046435 | 0.0011638 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1135-3_0_3_load_81 | 58 | 0.0017436 | 0.00043698 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1135-3_0_3_load_86 | 59 | 7.7543e-05 | 1.9434e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1135-3_0_3_load_77 | 60 | 0.00053494 | 0.00013407 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1135-3_0_3_load_83 | 62 | 0.00016107 | 4.0369e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1135-3_0_3_load_89 | 66 | 0.00099581 | 0.00024957 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1135-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1135-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1135-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.082154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1135-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.21105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1135-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.004604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1135-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.18107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1135-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.006362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1135-3_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.10593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1135-3_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.62122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1135-3_0_3_line_9 | NAYY 4x150 SE | 6 | 19 | 0.022689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1135-3_0_3_line_10 | NAYY 4x150 SE | 7 | 15 | 0.012812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1135-3_0_3_line_11 | NAYY 4x150 SE | 9 | 46 | 0.13355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1135-3_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.00089641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1135-3_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.029527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1135-3_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.027617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1135-3_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.2495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1135-3_0_3_line_16 | NAYY 4x150 SE | 12 | 15 | 0.33826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1135-3_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.13051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1135-3_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.12929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1135-3_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.02291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1135-3_0_3_line_20 | NAYY 4x150 SE | 17 | 60 | 0.031961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1135-3_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.015393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1135-3_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.010258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1135-3_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.039495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1135-3_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0035282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1135-3_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.010816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1135-3_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.10374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1135-3_0_3_line_27 | NAYY 4x150 SE | 26 | 32 | 0.09779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1135-3_0_3_line_28 | NAYY 4x150 SE | 26 | 29 | 0.1099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1135-3_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.031205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1135-3_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.074607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1135-3_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.050619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1135-3_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.068551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1135-3_0_3_line_33 | NAYY 4x150 SE | 31 | 39 | 0.15122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1135-3_0_3_line_34 | NAYY 4x150 SE | 31 | 40 | 0.15376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1135-3_0_3_line_35 | NAYY 4x150 SE | 32 | 36 | 0.0040913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1135-3_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0015836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1135-3_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.013592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1135-3_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.042359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1135-3_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.15272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1135-3_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.098128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1135-3_0_3_line_41 | NAYY 4x150 SE | 38 | 41 | 0.039757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1135-3_0_3_line_42 | NAYY 4x150 SE | 39 | 44 | 0.28622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1135-3_0_3_line_43 | NAYY 4x150 SE | 39 | 43 | 0.060747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1135-3_0_3_line_44 | NAYY 4x150 SE | 40 | 45 | 0.020727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1135-3_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.073771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1135-3_0_3_line_46 | NAYY 4x150 SE | 44 | 66 | 0.29712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1135-3_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.00481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1135-3_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.020487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_1135-3_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.010233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_1135-3_0_3_line_50 | NAYY 4x150 SE | 48 | 60 | 0.23044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_1135-3_0_3_line_51 | NAYY 4x150 SE | 49 | 61 | 0.023783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_1135-3_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.073191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1135-3_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.0041543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1135-3_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0069379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1135-3_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.011579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1135-3_0_3_line_56 | NAYY 4x150 SE | 54 | 59 | 0.026468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1135-3_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.046593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1135-3_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.029376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_1135-3_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.016963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_1135-3_0_3_line_60 | NAYY 4x150 SE | 58 | 61 | 0.20719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_1135-3_0_3_line_61 | NAYY 4x150 SE | 59 | 65 | 0.20554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1135-3_0_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.01965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1135-3_0_3_line_63 | NAYY 4x150 SE | 63 | 64 | 0.022317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1135-3_0_3_line_64 | NAYY 4x150 SE | 64 | 65 | 0.054145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1135-3_0_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.039953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1135-3_0_3_trafo_66 | 0.25 MVA 20/0.4 kV | 67 | 56 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2636398.1795 | 1214184.8788 | 2636397.8284 | 1214185.9812 | 2636394.563 | 1214197.1344 | 2636392.8672 | 1214209.5411
1 | 2636398.1795 | 1214184.8788 | 2636400.2597 | 1214178.3472 | 2636403.4045 | 1214170.7953 | 2636405.9527 | 1214165.2109
2 | 2636382.4084 | 1214291.0259 | 2636391.3593 | 1214220.5729 | 2636392.8672 | 1214209.5411
3 | 2636514.3934 | 1213987.4002 | 2636514.9492 | 1213993.3737 | 2636514.4785 | 1213994.5826 | 2636513.7508 | 1213995.5899 | 2636512.4235 | 1213996.5379 | 2636509.6229 | 1213997.4546 | 2636507.5534 | 1213998.0534 | 2636506.0717 | 1213999.4007 | 2636485.7777 | 1214032.9516 | 2636435.9618 | 1214113.8609 | 2636420.2571 | 1214138.4905 | 2636413.489 | 1214149.878 | 2636408.7467 | 1214159.0877 | 2636405.9527 | 1214165.2109
4 | 2636377.8166 | 1214290.5421 | 2636382.4084 | 1214291.0259
5 | 2636621.4732 | 1214122.7012 | 2636617.6756 | 1214121.4994 | 2636614.709 | 1214119.7691 | 2636611.7361 | 1214116.5935 | 2636609.8152 | 1214112.7795 | 2636608.6046 | 1214107.0799 | 2636608.2775 | 1214088.6005 | 2636607.6787 | 1214083.4494 | 2636606.5676 | 1214078.8732 | 2636604.7286 | 1214074.0814 | 2636602.0655 | 1214068.6842 | 2636598.7997 | 1214063.7391 | 2636594.2207 | 1214058.6525 | 2636523.1439 | 1213993.4239 | 2636518.767 | 1213990.0618 | 2636514.3934 | 1213987.4002
6 | 2636514.3934 | 1213987.4002 | 2636508.5378 | 1213984.874
7 | 2636377.8166 | 1214290.5421 | 2636384.6048 | 1214235.974 | 2636388.3038 | 1214209.7591 | 2636390.1475 | 1214198.8529 | 2636391.7269 | 1214191.4361 | 2636393.1527 | 1214185.7911
8 | 2636377.8166 | 1214290.5421 | 2636074.3526 | 1214832.5927
9 | 2636621.4732 | 1214122.7012 | 2636626.3216 | 1214122.2307 | 2636630.0766 | 1214120.486 | 2636634.3633 | 1214117.4884 | 2636640.1807 | 1214111.365
10 | 2636511.7504 | 1213972.4865 | 2636511.0534 | 1213975.9287 | 2636509.9233 | 1213980.6356 | 2636508.5378 | 1213984.874
11 | 2636074.3526 | 1214832.5927 | 2636071.0272 | 1214831.2163 | 2636063.7775 | 1214827.0256 | 2636021.5832 | 1214798.4765 | 2635969.2602 | 1214759.4939 | 2635964.9768 | 1214756.2392
12 | 2636619.8605 | 1213848.4212 | 2636620.1453 | 1213847.5713
13 | 2636624.2054 | 1213818.6418 | 2636624.2512 | 1213830.9825 | 2636623.5974 | 1213837.271 | 2636620.1453 | 1213847.5713
14 | 2636624.2054 | 1213818.6418 | 2636640.6876 | 1213840.8335
15 | 2636588.5823 | 1213600.8639 | 2636584.8217 | 1213615.8718 | 2636577.8584 | 1213655.2297 | 2636566.8685 | 1213719.544 | 2636559.3427 | 1213751.5831 | 2636566.0569 | 1213752.8361 | 2636571.9546 | 1213754.7066 | 2636578.4413 | 1213759.6159 | 2636603.1129 | 1213789.0175 | 2636624.2054 | 1213818.6418
16 | 2636511.7504 | 1213972.4865 | 2636516.0606 | 1213971.868 | 2636519.0077 | 1213970.5964 | 2636521.1118 | 1213969.3086 | 2636528.4676 | 1213962.4941 | 2636542.8215 | 1213944.0157 | 2636550.7023 | 1213930.8563 | 2636556.0806 | 1213918.293 | 2636560.0273 | 1213905.1207 | 2636563.4074 | 1213885.241 | 2636564.106 | 1213871.6374 | 2636562.5565 | 1213858.02 | 2636559.5954 | 1213842.9709 | 2636554.2136 | 1213823.8491 | 2636552.0527 | 1213810.8395 | 2636550.8996 | 1213799.4592 | 2636551.3843 | 1213786.0544 | 2636553.7082 | 1213772.4607 | 2636559.3427 | 1213751.5831 | 2636566.0569 | 1213752.8361 | 2636571.9546 | 1213754.7066 | 2636578.4413 | 1213759.6159 | 2636603.1129 | 1213789.0175 | 2636624.2054 | 1213818.6418
17 | 2636588.5823 | 1213600.8639 | 2636596.5083 | 1213603.9587 | 2636612.1215 | 1213615.6279 | 2636621.4528 | 1213622.389 | 2636659.2244 | 1213642.3213 | 2636681.5541 | 1213654.8434 | 2636695.4913 | 1213661.0994 | 2636702.2296 | 1213660.9074 | 2636702.8836 | 1213660.9231
18 | 2636511.7504 | 1213972.4865 | 2636512.2606 | 1213966.0637 | 2636512.0988 | 1213962.7163 | 2636510.3851 | 1213949.8428 | 2636507.4381 | 1213932.4925 | 2636502.4551 | 1213890.3821 | 2636500.1029 | 1213843.9341
19 | 2636722.0497 | 1213669.8481 | 2636721.2945 | 1213668.2733 | 2636717.4281 | 1213663.38 | 2636710.8871 | 1213661.1163 | 2636702.8836 | 1213660.9231
20 | 2636500.1029 | 1213843.9341 | 2636498.4864 | 1213812.0141
21 | 2636640.1807 | 1214111.365 | 2636640.1807 | 1214111.365 | 2636645.4745 | 1214106.3835 | 2636651.3717 | 1214102.095 | 2636652.0884 | 1214101.6718
22 | 2635531.5405 | 1214751.5637 | 2635527.7145 | 1214750.1442 | 2635522.6185 | 1214746.6523
23 | 2635564.3461 | 1214739.0336 | 2635559.4553 | 1214745.4527 | 2635553.1021 | 1214751.3071 | 2635546.423 | 1214754.5247 | 2635538.8304 | 1214754.2683 | 2635531.5405 | 1214751.5637
24 | 2635564.3461 | 1214739.0336 | 2635567.2842 | 1214740.987
25 | 2635555.3069 | 1214733.0541 | 2635564.3461 | 1214739.0336
26 | 2635551.2544 | 1214805.2274 | 2635553.2181 | 1214800.6475 | 2635556.7124 | 1214795.3875 | 2635563.2629 | 1214789.5342 | 2635590.6589 | 1214772.243 | 2635595.1683 | 1214767.3893 | 2635597.4387 | 1214762.3333 | 2635596.8591 | 1214757.6604 | 2635594.0257 | 1214753.9859 | 2635568.2946 | 1214741.6587 | 2635567.2842 | 1214740.987
27 | 2635594.5747 | 1214866.888 | 2635574.8379 | 1214840.177 | 2635565.7172 | 1214832.6072 | 2635545.7484 | 1214823.1383 | 2635541.6938 | 1214820.4793 | 2635538.5234 | 1214816.0022 | 2635538.14 | 1214811.5307 | 2635540.7549 | 1214807.2771 | 2635545.856 | 1214805.0729 | 2635551.2544 | 1214805.2274
28 | 2635551.2544 | 1214805.2274 | 2635558.8787 | 1214807.7854 | 2635565.6525 | 1214809.0598 | 2635572.3135 | 1214808.8772 | 2635603.9936 | 1214801.5729 | 2635616.8328 | 1214799.4149 | 2635646.992 | 1214797.5605 | 2635659.4262 | 1214795.8116
29 | 2635720.2975 | 1214753.8917 | 2635725.2917 | 1214749.7009 | 2635732.4163 | 1214740.5938 | 2635738.5773 | 1214729.007
30 | 2635720.2975 | 1214753.8917 | 2635684.6952 | 1214783.7667 | 2635670.5894 | 1214792.0094 | 2635659.4262 | 1214795.8116
31 | 2635738.5773 | 1214729.007 | 2635749.0986 | 1214709.2199 | 2635761.8158 | 1214684.0409
32 | 2635819.484 | 1214651.7752 | 2635802.7874 | 1214656.3443 | 2635791.2212 | 1214658.9209 | 2635780.5353 | 1214664.1265 | 2635770.0933 | 1214673.0024 | 2635761.8793 | 1214683.9151 | 2635761.8158 | 1214684.0409
33 | 2635718.6383 | 1214540.5731 | 2635726.4739 | 1214545.9342 | 2635736.5407 | 1214554.0992 | 2635743.9248 | 1214561.292 | 2635751.1233 | 1214569.0396 | 2635756.4734 | 1214576.0202 | 2635791.3211 | 1214625.8023 | 2635797.7974 | 1214633.6568 | 2635804.8187 | 1214640.5474 | 2635812.1488 | 1214646.5948 | 2635819.484 | 1214651.7752
34 | 2635819.484 | 1214651.7752 | 2635851.629 | 1214670.9237 | 2635862.7163 | 1214678.5392 | 2635944.6431 | 1214740.7892
35 | 2635594.5747 | 1214866.888 | 2635597.0581 | 1214870.1394
36 | 2635628.0579 | 1214899.8613 | 2635627.4433 | 1214899.5808 | 2635626.5988 | 1214899.2473
37 | 2635628.0579 | 1214899.8613 | 2635633.2671 | 1214902.2393 | 2635636.1065 | 1214904.9023 | 2635637.3469 | 1214908.6765
38 | 2635626.5988 | 1214899.2473 | 2635620.1249 | 1214896.691 | 2635613.4348 | 1214891.5814 | 2635597.0581 | 1214870.1394
39 | 2635603.4361 | 1215056.5842 | 2635609.8721 | 1215044.4489 | 2635615.2487 | 1215031.6847 | 2635619.5673 | 1215014.2448 | 2635637.3328 | 1214914.4596 | 2635637.5087 | 1214909.1687 | 2635637.3469 | 1214908.6765
40 | 2635603.4361 | 1215056.5842 | 2635592.3774 | 1215074.7955 | 2635587.0122 | 1215086.9484 | 2635581.6251 | 1215102.7588 | 2635571.8789 | 1215141.5676 | 2635571.8078 | 1215148.4045
41 | 2635571.8078 | 1215148.4045 | 2635573.9844 | 1215157.7785 | 2635579.309 | 1215172.7856 | 2635585.5157 | 1215185.5685
42 | 2635798.8956 | 1214265.8391 | 2635718.6383 | 1214540.5731
43 | 2635718.6383 | 1214540.5731 | 2635705.2613 | 1214551.2993 | 2635701.7898 | 1214553.9801 | 2635698.5379 | 1214555.5171 | 2635694.8283 | 1214556.1064 | 2635690.4115 | 1214555.6019 | 2635664.6042 | 1214546.3491
44 | 2635944.6431 | 1214740.7892 | 2635961.1469 | 1214753.3292
45 | 2635595.1619 | 1214521.4515 | 2635664.6042 | 1214546.3491
46 | 2635798.8956 | 1214265.8391 | 2635787.1847 | 1214248.1031 | 2635781.9243 | 1214242.5906 | 2635776.648 | 1214239.7128 | 2635770.8733 | 1214237.6326 | 2635752.4236 | 1214236.7215 | 2635739.1103 | 1214235.4188 | 2635721.8132 | 1214232.2691 | 2635703.9083 | 1214227.8927 | 2635690.9065 | 1214222.7453 | 2635681.5665 | 1214217.4086 | 2635673.4638 | 1214209.6446 | 2635665.3805 | 1214198.6233 | 2635605.7898 | 1214094.6407 | 2635595.4055 | 1214079.0216
47 | 2635964.9768 | 1214756.2392 | 2635961.1469 | 1214753.3292
48 | 2636271.3404 | 1213773.1723 | 2636250.8469 | 1213774.6486
49 | 2636250.8469 | 1213774.6486 | 2636240.6402 | 1213775.386
50 | 2636271.3404 | 1213773.1723 | 2636498.4864 | 1213812.0141
51 | 2636216.919 | 1213777.0997 | 2636240.6402 | 1213775.386
52 | 2635213.4922 | 1214053.7056 | 2635254.342 | 1214052.5529 | 2635286.543 | 1214055.3781 | 2635286.543 | 1214055.3781
53 | 2635213.4922 | 1214053.7056 | 2635209.3396 | 1214053.8228
54 | 2635286.543 | 1214055.3781 | 2635293.433 | 1214054.5636
55 | 2635304.9319 | 1214053.2044 | 2635293.433 | 1214054.5636
56 | 2635331.0976 | 1214049.3434 | 2635321.4738 | 1214051.2489 | 2635304.9319 | 1214053.2044
57 | 2636008.6697 | 1213852.8172 | 2636003.3344 | 1213859.689 | 2635995.7718 | 1213863.0898 | 2635985.5674 | 1213866.2857 | 2635971.5007 | 1213867.6128 | 2635966.7336 | 1213867.2804
58 | 2636008.6697 | 1213852.8172 | 2636009.1277 | 1213844.8931 | 2636007.2394 | 1213834.3312 | 2636007.8052 | 1213827.4195 | 2636008.6281 | 1213823.736
59 | 2636012.6274 | 1213807.3562 | 2636012.2001 | 1213807.7457 | 2636008.6281 | 1213823.736
60 | 2636216.919 | 1213777.0997 | 2636154.5423 | 1213784.0368 | 2636036.6765 | 1213803.2241 | 2636020.1653 | 1213804.3474 | 2636015.0717 | 1213805.1282 | 2636012.6274 | 1213807.3562
61 | 2635532.6821 | 1214011.6238 | 2635529.346 | 1214010.67 | 2635521.1711 | 1214011.1105 | 2635381.225 | 1214039.4181 | 2635331.0976 | 1214049.3434
62 | 2635595.0519 | 1214039.6782 | 2635605.6121 | 1214041.6979 | 2635614.5025 | 1214041.3276
63 | 2635574.4682 | 1214045.0031 | 2635581.9277 | 1214046.0703 | 2635588.5153 | 1214044.3308 | 2635595.0519 | 1214039.6782
64 | 2635574.4682 | 1214045.0031 | 2635568.9279 | 1214041.7904 | 2635546.7876 | 1214019.0009 | 2635537.3678 | 1214012.9747 | 2635532.6821 | 1214011.6238
65 | 2635574.4682 | 1214045.0031 | 2635590.0501 | 1214070.9665 | 2635595.4055 | 1214079.0216

## bus_geodata
| x | y | coords
0 | 2636398.1795 | 1214184.8788
1 | 2636392.8672 | 1214209.5411
2 | 2636405.9527 | 1214165.2109
3 | 2636382.4084 | 1214291.0259
4 | 2636514.3934 | 1213987.4002
5 | 2636377.8166 | 1214290.5421
6 | 2636621.4732 | 1214122.7012
7 | 2636508.5378 | 1213984.874
8 | 2636393.1527 | 1214185.7911
9 | 2636074.3526 | 1214832.5927
10 | 2636620.1453 | 1213847.5713
11 | 2636619.8605 | 1213848.4212
12 | 2636624.2054 | 1213818.6418
13 | 2636640.6876 | 1213840.8335
14 | 2636588.5823 | 1213600.8639
15 | 2636511.7504 | 1213972.4865
16 | 2636702.8836 | 1213660.9231
17 | 2636500.1029 | 1213843.9341
18 | 2636722.0497 | 1213669.8481
19 | 2636640.1807 | 1214111.365
20 | 2636652.0884 | 1214101.6718
21 | 2635531.5405 | 1214751.5637
22 | 2635522.6185 | 1214746.6523
23 | 2635564.3461 | 1214739.0336
24 | 2635567.2842 | 1214740.987
25 | 2635555.3069 | 1214733.0541
26 | 2635551.2544 | 1214805.2274
27 | 2635720.2975 | 1214753.8917
28 | 2635738.5773 | 1214729.007
29 | 2635659.4262 | 1214795.8116
30 | 2635761.8158 | 1214684.0409
31 | 2635819.484 | 1214651.7752
32 | 2635594.5747 | 1214866.888
33 | 2635628.0579 | 1214899.8613
34 | 2635626.5988 | 1214899.2473
35 | 2635637.3469 | 1214908.6765
36 | 2635597.058 | 1214870.1394
37 | 2635603.4361 | 1215056.5842
38 | 2635571.8078 | 1215148.4045
39 | 2635718.6383 | 1214540.5731
40 | 2635944.6431 | 1214740.7892
41 | 2635585.5157 | 1215185.5685
42 | 2635595.1619 | 1214521.4515
43 | 2635664.6042 | 1214546.3491
44 | 2635798.8956 | 1214265.8391
45 | 2635961.1469 | 1214753.3292
46 | 2635964.9768 | 1214756.2392
47 | 2636250.8469 | 1213774.6486
48 | 2636271.3404 | 1213773.1723
49 | 2636240.6402 | 1213775.386
50 | 2635213.4922 | 1214053.7056
51 | 2635286.543 | 1214055.3781
52 | 2635209.3396 | 1214053.8228
53 | 2635293.433 | 1214054.5636
54 | 2635304.9319 | 1214053.2044
55 | 2635966.7337 | 1213867.2804
56 | 2636008.6697 | 1213852.8172
57 | 2636008.6281 | 1213823.736
58 | 2636012.6274 | 1213807.3562
59 | 2635331.0976 | 1214049.3434
60 | 2636498.4864 | 1213812.0141
61 | 2636216.919 | 1213777.0997
62 | 2635614.5025 | 1214041.3276
63 | 2635595.0519 | 1214039.6782
64 | 2635574.4682 | 1214045.0031
65 | 2635532.6821 | 1214011.6238
66 | 2635595.4055 | 1214079.0216
67 | 2636008.6697 | 1213852.8172

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98744 | -0.090195 | 0.00032804 | 8.2216e-05
1 | 0.98726 | -0.091531 | 0.00012121 | 3.0379e-05
2 | 0.9876 | -0.089042 | 0.0012733 | 0.00031913
3 | 0.98667 | -0.095814 | 0 | 0
4 | 0.98937 | -0.076176 | 0 | 0
5 | 0.98664 | -0.096054 | 0 | 0
6 | 0.98903 | -0.078639 | 0 | 0
7 | 0.98943 | -0.075745 | 0 | 0
8 | 0.9866 | -0.096348 | 0.00026627 | 6.6733e-05
9 | 0.98232 | -0.12751 | 0 | 0
10 | 0.98705 | -0.092791 | 0.00025402 | 6.3664e-05
11 | 0.98705 | -0.092799 | 0.000909 | 0.00022782
12 | 0.9871 | -0.092439 | 0 | 0
13 | 0.98704 | -0.092824 | 0.0013616 | 0.00034125
14 | 0.9862 | -0.098893 | 0 | 0
15 | 0.98955 | -0.074876 | 0 | 0
16 | 0.98572 | -0.10225 | 0.002161 | 0.0005416
17 | 0.99122 | -0.062765 | 0.0019453 | 0.00048754
18 | 0.98571 | -0.10233 | 0.00033568 | 8.4129e-05
19 | 0.98898 | -0.078945 | 0.00054982 | 0.0001378
20 | 0.98897 | -0.079066 | 0.00077125 | 0.00019329
21 | 0.97617 | -0.17238 | 0.00054606 | 0.00013685
22 | 0.97616 | -0.17248 | 0.00090406 | 0.00022658
23 | 0.97625 | -0.17178 | 0 | 0
24 | 0.97626 | -0.17173 | 0.00017202 | 4.3112e-05
25 | 0.97625 | -0.17179 | 7.518e-05 | 1.8842e-05
26 | 0.97652 | -0.16987 | 0 | 0
27 | 0.97736 | -0.16369 | 7.5235e-05 | 1.8856e-05
28 | 0.97751 | -0.1626 | 0.00024505 | 6.1414e-05
29 | 0.97702 | -0.16623 | 8.4444e-05 | 2.1164e-05
30 | 0.97777 | -0.16071 | 0.0001908 | 4.7818e-05
31 | 0.97814 | -0.158 | 0 | 0
32 | 0.97632 | -0.17135 | 0 | 0
33 | 0.97623 | -0.17199 | 0.00024858 | 6.23e-05
34 | 0.97623 | -0.17197 | 0.00015954 | 3.9986e-05
35 | 0.97621 | -0.17212 | 0.00058407 | 0.00014638
36 | 0.97631 | -0.17141 | 0.00016463 | 4.1261e-05
37 | 0.97616 | -0.17255 | 0 | 0
38 | 0.97612 | -0.17281 | 0 | 0
39 | 0.97701 | -0.16628 | 0 | 0
40 | 0.98012 | -0.14352 | 0.00035772 | 8.9653e-05
41 | 0.97611 | -0.17291 | 0.00024895 | 6.2393e-05
42 | 0.97677 | -0.16799 | 0.00083283 | 0.00020873
43 | 0.97686 | -0.16735 | 0.00084274 | 0.00021121
44 | 0.97556 | -0.17686 | 0 | 0
45 | 0.9804 | -0.1415 | 8.0834e-05 | 2.0259e-05
46 | 0.98046 | -0.14102 | 0.0002706 | 6.7819e-05
47 | 0.9954 | -0.032813 | 0 | 0
48 | 0.99508 | -0.035064 | 0.00085633 | 0.00021462
49 | 0.99555 | -0.031688 | 0.00016866 | 4.2271e-05
50 | 0.97277 | -0.19716 | 0.00012974 | 3.2515e-05
51 | 0.97291 | -0.19617 | 0.0001685 | 4.2229e-05
52 | 0.97277 | -0.19721 | 0.0011513 | 0.00028855
53 | 0.97293 | -0.19607 | 0.00070234 | 0.00017602
54 | 0.97296 | -0.1958 | 6.2363e-05 | 1.563e-05
55 | 0.99985 | -0.0010289 | 0.00221 | 0.00055387
56 | 1 | 0 | -0.031133 | -0.0075606
57 | 0.99941 | -0.0041693 | 0.0046435 | 0.0011638
58 | 0.99913 | -0.0061849 | 0.0017436 | 0.00043698
59 | 0.97305 | -0.19518 | 7.7543e-05 | 1.9434e-05
60 | 0.99168 | -0.059459 | 0.00053494 | 0.00013407
61 | 0.99592 | -0.029056 | 0 | 0
62 | 0.97391 | -0.18892 | 0.00016107 | 4.0369e-05
63 | 0.97391 | -0.18889 | 0 | 0
64 | 0.97392 | -0.18885 | 0 | 0
65 | 0.97374 | -0.19017 | 0 | 0
66 | 0.97406 | -0.1878 | 0.00099581 | 0.00024957
67 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010032 | 0.0024767 | -0.01003 | -0.0024767 | 1.8008e-06 | 4.5462e-08 | 0.015104 | 0.015104 | 0.015104 | 0.98744 | -0.090195 | 0.98726 | -0.091531 | 2.7971
1 | -0.01036 | -0.0025589 | 0.010361 | 0.002559 | 1.6073e-06 | 7.6407e-08 | 0.015598 | 0.015598 | 0.015598 | 0.98744 | -0.090195 | 0.9876 | -0.089042 | 2.8886
2 | 0.0099087 | 0.0024463 | -0.009903 | -0.0024462 | 5.7072e-06 | 9.5322e-08 | 0.014921 | 0.014922 | 0.014922 | 0.98726 | -0.091531 | 0.98667 | -0.095814 | 2.7634
3 | -0.011635 | -0.0028781 | 0.011655 | 0.0028805 | 2.0202e-05 | 2.3591e-06 | 0.017517 | 0.017515 | 0.017517 | 0.9876 | -0.089042 | 0.98937 | -0.076176 | 3.2438
4 | 0.009903 | 0.0024462 | -0.0099027 | -0.0024462 | 3.1986e-07 | 5.4223e-09 | 0.014922 | 0.014922 | 0.014922 | 0.98667 | -0.095814 | 0.98664 | -0.096054 | 2.7634
5 | 0.0013216 | 0.00032848 | -0.0013211 | -0.00033063 | 4.4614e-07 | -2.1529e-06 | 0.0019867 | 0.0019875 | 0.0019875 | 0.98937 | -0.076176 | 0.98903 | -0.078639 | 0.73612
6 | -0.012976 | -0.003209 | 0.012977 | 0.0032091 | 7.5488e-07 | 1.2693e-07 | 0.019501 | 0.019501 | 0.019501 | 0.98937 | -0.076176 | 0.98943 | -0.075745 | 3.6114
7 | 0.00026628 | 6.5385e-05 | -0.00026627 | -6.6733e-05 | 1.0648e-08 | -1.3487e-06 | 0.00040112 | 0.00040159 | 0.00040159 | 0.98664 | -0.096054 | 0.9866 | -0.096348 | 0.14874
8 | 0.0096364 | 0.0023808 | -0.0095955 | -0.0023809 | 4.0885e-05 | -7.2851e-08 | 0.014521 | 0.014527 | 0.014527 | 0.98664 | -0.096054 | 0.98232 | -0.12751 | 2.6901
9 | 0.0013211 | 0.00033063 | -0.0013211 | -0.0003309 | 5.593e-08 | -2.6964e-07 | 0.0019875 | 0.0019876 | 0.0019876 | 0.98903 | -0.078639 | 0.98898 | -0.078945 | 0.73616
10 | -0.012977 | -0.0032091 | 0.012979 | 0.0032093 | 1.5202e-06 | 2.5555e-07 | 0.019501 | 0.019501 | 0.019501 | 0.98943 | -0.075745 | 0.98955 | -0.074876 | 3.6114
11 | 0.0095955 | 0.0023809 | -0.0095779 | -0.0023758 | 1.7586e-05 | 5.0764e-06 | 0.014527 | 0.014527 | 0.014527 | 0.98232 | -0.12751 | 0.98046 | -0.14102 | 5.3805
12 | 0.00090901 | 0.00022781 | -0.000909 | -0.00022782 | 1.0504e-09 | -1.1054e-08 | 0.0013704 | 0.0013704 | 0.0013704 | 0.98705 | -0.092791 | 0.98705 | -0.092799 | 0.50754
13 | -0.001163 | -0.00029147 | 0.0011631 | 0.00029111 | 5.6635e-08 | -3.5563e-07 | 0.0017533 | 0.0017532 | 0.0017533 | 0.98705 | -0.092791 | 0.9871 | -0.092439 | 0.64937
14 | 0.0013617 | 0.00034093 | -0.0013616 | -0.00034125 | 7.2609e-08 | -3.2508e-07 | 0.0020526 | 0.0020527 | 0.0020527 | 0.9871 | -0.092439 | 0.98704 | -0.092824 | 0.76026
15 | 0.0025001 | 0.00062188 | -0.0024978 | -0.00062422 | 2.21e-06 | -2.3364e-06 | 0.0037671 | 0.0037682 | 0.0037682 | 0.9871 | -0.092439 | 0.9862 | -0.098893 | 1.3956
16 | -0.0050248 | -0.0012539 | 0.0050369 | 0.0012542 | 1.2102e-05 | 3.2002e-07 | 0.0075729 | 0.0075713 | 0.0075729 | 0.9871 | -0.092439 | 0.98955 | -0.074876 | 2.8048
17 | 0.0024978 | 0.00062422 | -0.0024967 | -0.00062544 | 1.1565e-06 | -1.2196e-06 | 0.0037682 | 0.0037688 | 0.0037688 | 0.9862 | -0.098893 | 0.98572 | -0.10225 | 1.3959
18 | -0.018016 | -0.0044636 | 0.018045 | 0.0044716 | 2.9564e-05 | 8.0433e-06 | 0.027073 | 0.027071 | 0.027073 | 0.98955 | -0.074876 | 0.99122 | -0.062765 | 5.0134
19 | 0.00033568 | 8.3839e-05 | -0.00033568 | -8.4129e-05 | 3.6702e-09 | -2.9063e-07 | 0.00050663 | 0.00050674 | 0.00050674 | 0.98572 | -0.10225 | 0.98571 | -0.10233 | 0.18768
20 | -0.019991 | -0.0049592 | 0.02 | 0.0049618 | 8.9695e-06 | 2.6255e-06 | 0.029992 | 0.029991 | 0.029992 | 0.99122 | -0.062765 | 0.99168 | -0.059459 | 5.554
21 | 0.00077126 | 0.0001931 | -0.00077125 | -0.00019329 | 1.2934e-08 | -1.9254e-07 | 0.0011604 | 0.0011604 | 0.0011604 | 0.98898 | -0.078945 | 0.98897 | -0.079066 | 0.42979
22 | 0.00090407 | 0.00022645 | -0.00090406 | -0.00022658 | 1.2157e-08 | -1.2357e-07 | 0.0013781 | 0.0013781 | 0.0013781 | 0.97617 | -0.17238 | 0.97616 | -0.17248 | 0.51041
23 | -0.0014501 | -0.00036331 | 0.0014502 | 0.00036286 | 1.2041e-07 | -4.4748e-07 | 0.0022104 | 0.0022103 | 0.0022104 | 0.97617 | -0.17238 | 0.97625 | -0.17178 | 0.81868
24 | -0.0015254 | -0.00038157 | 0.0015254 | 0.00038153 | 1.1899e-08 | -3.9538e-08 | 0.0023248 | 0.0023248 | 0.0023248 | 0.97625 | -0.17178 | 0.97626 | -0.17173 | 0.86104
25 | 7.518e-05 | 1.8707e-05 | -7.518e-05 | -1.8842e-05 | 8.8584e-11 | -1.352e-07 | 0.00011454 | 0.00011459 | 0.00011459 | 0.97625 | -0.17178 | 0.97625 | -0.17179 | 0.042441
26 | -0.0016975 | -0.00042464 | 0.0016979 | 0.00042351 | 4.3315e-07 | -1.1309e-06 | 0.002587 | 0.0025865 | 0.002587 | 0.97626 | -0.17173 | 0.97652 | -0.16987 | 0.95814
27 | 0.0014062 | 0.00034686 | -0.0014059 | -0.00034798 | 2.7972e-07 | -1.1156e-06 | 0.0021408 | 0.0021412 | 0.0021412 | 0.97652 | -0.16987 | 0.97632 | -0.17135 | 0.79305
28 | -0.0031041 | -0.00077037 | 0.0031056 | 0.00076958 | 1.5324e-06 | -7.8623e-07 | 0.0047273 | 0.0047268 | 0.0047273 | 0.97652 | -0.16987 | 0.97702 | -0.16623 | 1.7509
29 | -0.0032664 | -0.00080909 | 0.0032669 | 0.00080889 | 4.809e-07 | -2.0617e-07 | 0.0049696 | 0.0049695 | 0.0049696 | 0.97736 | -0.16369 | 0.97751 | -0.1626 | 1.8406
30 | 0.0031912 | 0.00079024 | -0.0031901 | -0.00079075 | 1.0975e-06 | -5.1254e-07 | 0.0048551 | 0.0048554 | 0.0048554 | 0.97736 | -0.16369 | 0.97702 | -0.16623 | 1.7983
31 | -0.0035119 | -0.0008703 | 0.0035128 | 0.00087001 | 9.0151e-07 | -2.8798e-07 | 0.0053425 | 0.0053423 | 0.0053425 | 0.97751 | -0.1626 | 0.97777 | -0.16071 | 1.9787
32 | -0.0037036 | -0.00091783 | 0.003705 | 0.00091749 | 1.3571e-06 | -3.3817e-07 | 0.0056327 | 0.0056324 | 0.0056327 | 0.97777 | -0.16071 | 0.97814 | -0.158 | 2.0862
33 | 0.0051433 | 0.0012749 | -0.0051375 | -0.0012746 | 5.7697e-06 | 3.2326e-07 | 0.0078193 | 0.00782 | 0.00782 | 0.97814 | -0.158 | 0.97701 | -0.16628 | 2.8963
34 | -0.0088483 | -0.0021924 | 0.0088656 | 0.0021972 | 1.736e-05 | 4.7431e-06 | 0.013452 | 0.013451 | 0.013452 | 0.97814 | -0.158 | 0.98012 | -0.14352 | 4.9821
35 | 0.0014059 | 0.00034798 | -0.0014059 | -0.00034802 | 1.1705e-08 | -4.6661e-08 | 0.0021412 | 0.0021412 | 0.0021412 | 0.97632 | -0.17135 | 0.97631 | -0.17141 | 0.79305
36 | -0.0010816 | -0.00026729 | 0.0010816 | 0.00026727 | 2.6816e-09 | -1.8769e-08 | 0.0016473 | 0.0016473 | 0.0016473 | 0.97623 | -0.17199 | 0.97623 | -0.17197 | 0.61012
37 | 0.00083306 | 0.00020499 | -0.00083305 | -0.00020515 | 1.3647e-08 | -1.6469e-07 | 0.0012684 | 0.0012685 | 0.0012685 | 0.97623 | -0.17199 | 0.97621 | -0.17212 | 0.46981
38 | -0.0012412 | -0.00030725 | 0.0012413 | 0.00030676 | 9.446e-08 | -4.9333e-07 | 0.0018905 | 0.0018903 | 0.0018905 | 0.97623 | -0.17197 | 0.97631 | -0.17141 | 0.70019
39 | 0.00024898 | 5.877e-05 | -0.00024896 | -6.0674e-05 | 1.3657e-08 | -1.904e-06 | 0.00037824 | 0.0003789 | 0.0003789 | 0.97621 | -0.17212 | 0.97616 | -0.17255 | 0.14033
40 | 0.00024896 | 6.0674e-05 | -0.00024895 | -6.1897e-05 | 8.8007e-09 | -1.2233e-06 | 0.0003789 | 0.00037933 | 0.00037933 | 0.97616 | -0.17255 | 0.97612 | -0.17281 | 0.14049
41 | 0.00024895 | 6.1897e-05 | -0.00024895 | -6.2393e-05 | 3.5714e-09 | -4.9559e-07 | 0.00037933 | 0.00037951 | 0.00037951 | 0.97612 | -0.17281 | 0.97611 | -0.17291 | 0.14056
42 | 0.0034616 | 0.00085624 | -0.0034566 | -0.00085791 | 4.9578e-06 | -1.6721e-06 | 0.0052681 | 0.0052694 | 0.0052694 | 0.97701 | -0.16628 | 0.97556 | -0.17686 | 1.9516
43 | 0.0016759 | 0.00041838 | -0.0016756 | -0.00041904 | 2.4687e-07 | -6.6566e-07 | 0.0025519 | 0.0025521 | 0.0025521 | 0.97701 | -0.16628 | 0.97686 | -0.16735 | 0.94523
44 | -0.0092233 | -0.0022868 | 0.0092259 | 0.0022875 | 2.5329e-06 | 7.1288e-07 | 0.013994 | 0.013994 | 0.013994 | 0.98012 | -0.14352 | 0.9804 | -0.1415 | 5.183
45 | -0.00083283 | -0.00020873 | 0.00083291 | 0.00020783 | 7.408e-08 | -8.9497e-07 | 0.0012687 | 0.0012684 | 0.0012687 | 0.97677 | -0.16799 | 0.97686 | -0.16735 | 0.4699
46 | 0.0034566 | 0.00085791 | -0.0034515 | -0.00085964 | 5.1492e-06 | -1.7236e-06 | 0.0052694 | 0.0052707 | 0.0052707 | 0.97556 | -0.17686 | 0.97406 | -0.1878 | 1.9521
47 | -0.0093067 | -0.0023078 | 0.0093073 | 0.002308 | 5.9813e-07 | 1.6939e-07 | 0.014117 | 0.014117 | 0.014117 | 0.9804 | -0.1415 | 0.98046 | -0.14102 | 5.2284
48 | 0.021466 | 0.0053327 | -0.021459 | -0.0053307 | 6.575e-06 | 1.9964e-06 | 0.032072 | 0.032072 | 0.032072 | 0.9954 | -0.032813 | 0.99508 | -0.035064 | 5.9393
49 | -0.021466 | -0.0053327 | 0.021469 | 0.0053337 | 3.2842e-06 | 9.9707e-07 | 0.032072 | 0.032072 | 0.032072 | 0.9954 | -0.032813 | 0.99555 | -0.031688 | 5.9393
50 | 0.020603 | 0.0051161 | -0.020534 | -0.0050959 | 6.8174e-05 | 2.0254e-05 | 0.030792 | 0.030794 | 0.030794 | 0.99508 | -0.035064 | 0.99168 | -0.059459 | 5.7026
51 | -0.021637 | -0.005376 | 0.021645 | 0.0053784 | 7.7531e-06 | 2.3632e-06 | 0.032324 | 0.032324 | 0.032324 | 0.99555 | -0.031688 | 0.99592 | -0.029056 | 5.986
52 | -0.0012811 | -0.00032101 | 0.0012812 | 0.00032017 | 1.7534e-07 | -8.4133e-07 | 0.0019596 | 0.0019592 | 0.0019596 | 0.97277 | -0.19716 | 0.97291 | -0.19617 | 0.72577
53 | 0.0011513 | 0.0002885 | -0.0011513 | -0.00028855 | 8.0401e-09 | -4.8481e-08 | 0.0017611 | 0.0017611 | 0.0017611 | 0.97277 | -0.19716 | 0.97277 | -0.19721 | 0.65227
54 | -0.0014497 | -0.0003624 | 0.0014498 | 0.00036232 | 2.1277e-08 | -7.7974e-08 | 0.0022169 | 0.0022169 | 0.0022169 | 0.97291 | -0.19617 | 0.97293 | -0.19607 | 0.82109
55 | -0.0021521 | -0.00053835 | 0.0021522 | 0.00053823 | 7.8258e-08 | -1.137e-07 | 0.0032911 | 0.003291 | 0.0032911 | 0.97293 | -0.19607 | 0.97296 | -0.1958 | 1.2189
56 | -0.0022145 | -0.00055386 | 0.0022147 | 0.00055361 | 1.8939e-07 | -2.559e-07 | 0.0033864 | 0.0033863 | 0.0033864 | 0.97296 | -0.1958 | 0.97305 | -0.19518 | 1.2542
57 | -0.00221 | -0.00055387 | 0.0022103 | 0.00055338 | 3.1448e-07 | -4.9022e-07 | 0.003289 | 0.0032888 | 0.003289 | 0.99985 | -0.0010289 | 1 | 0 | 1.2181
58 | 0.028122 | 0.0070071 | -0.028106 | -0.0070017 | 1.6039e-05 | 5.3984e-06 | 0.041832 | 0.041832 | 0.041832 | 1 | 0 | 0.99941 | -0.0041693 | 7.7468
59 | 0.023463 | 0.0058379 | -0.023456 | -0.0058359 | 6.4531e-06 | 2.0375e-06 | 0.034919 | 0.034919 | 0.034919 | 0.99941 | -0.0041693 | 0.99913 | -0.0061849 | 6.4665
60 | 0.021713 | 0.0053989 | -0.021645 | -0.0053784 | 6.7538e-05 | 2.0567e-05 | 0.032322 | 0.032324 | 0.032324 | 0.99913 | -0.0061849 | 0.99592 | -0.029056 | 5.9859
61 | -0.0022923 | -0.00057304 | 0.0022938 | 0.00057109 | 1.5751e-06 | -1.9491e-06 | 0.0035049 | 0.003504 | 0.0035049 | 0.97305 | -0.19518 | 0.97374 | -0.19017 | 1.2981
62 | -0.00016107 | -4.0369e-05 | 0.00016107 | 4.0125e-05 | 7.4235e-10 | -2.4423e-07 | 0.0002461 | 0.00024601 | 0.0002461 | 0.97391 | -0.18892 | 0.97391 | -0.18889 | 0.091149
63 | -0.00016107 | -4.0125e-05 | 0.00016108 | 3.9847e-05 | 8.4248e-10 | -2.7739e-07 | 0.00024601 | 0.00024591 | 0.00024601 | 0.97391 | -0.18889 | 0.97392 | -0.18885 | 0.091116
64 | 0.0022943 | 0.00057058 | -0.0022938 | -0.00057109 | 4.1479e-07 | -5.1411e-07 | 0.0035037 | 0.003504 | 0.003504 | 0.97392 | -0.18885 | 0.97374 | -0.19017 | 1.2978
65 | -0.0024553 | -0.00061042 | 0.0024557 | 0.00061006 | 3.505e-07 | -3.6244e-07 | 0.0037496 | 0.0037495 | 0.0037496 | 0.97392 | -0.18885 | 0.97406 | -0.1878 | 1.3888

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.031133 | 0.0075606

## res_load
| p_mw | q_mvar
0 | 0.00032804 | 8.2216e-05
1 | 0.00012121 | 3.0379e-05
2 | 0.0012733 | 0.00031913
3 | 0.00026627 | 6.6733e-05
4 | 0.00025402 | 6.3664e-05
5 | 0.000909 | 0.00022782
6 | 0.0013616 | 0.00034125
7 | 0.002161 | 0.0005416
8 | 0.0019453 | 0.00048754
9 | 0.00033568 | 8.4129e-05
10 | 0.00054982 | 0.0001378
11 | 0.00077125 | 0.00019329
12 | 0.00054606 | 0.00013685
13 | 0.00090406 | 0.00022658
14 | 0.00017202 | 4.3112e-05
15 | 7.518e-05 | 1.8842e-05
16 | 7.5235e-05 | 1.8856e-05
17 | 0.00024505 | 6.1414e-05
18 | 8.4444e-05 | 2.1164e-05
19 | 0.0001908 | 4.7818e-05
20 | 0.00024858 | 6.23e-05
21 | 0.00015954 | 3.9986e-05
22 | 0.00058407 | 0.00014638
23 | 0.00016463 | 4.1261e-05
24 | 0.00035772 | 8.9653e-05
25 | 0.00024895 | 6.2393e-05
26 | 0.00083283 | 0.00020873
27 | 0.00084274 | 0.00021121
28 | 8.0834e-05 | 2.0259e-05
29 | 0.0002706 | 6.7819e-05
30 | 0.00085633 | 0.00021462
31 | 0.00016866 | 4.2271e-05
32 | 0.00012974 | 3.2515e-05
33 | 0.0001685 | 4.2229e-05
34 | 0.0011513 | 0.00028855
35 | 0.00070234 | 0.00017602
36 | 6.2363e-05 | 1.563e-05
37 | 0.00221 | 0.00055387
38 | 0.0046435 | 0.0011638
39 | 0.0017436 | 0.00043698
40 | 7.7543e-05 | 1.9434e-05
41 | 0.00053494 | 0.00013407
42 | 0.00016107 | 4.0369e-05
43 | 0.00099581 | 0.00024957

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1