## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1135-3_1_5_node_131 | 0.4 | n |  | TRUE
1 | bus_LV_1135-3_1_5_node_132 | 0.4 | n |  | TRUE
2 | bus_LV_1135-3_1_5_node_133 | 0.4 | n |  | TRUE
3 | bus_LV_1135-3_1_5_node_134 | 0.4 | n |  | TRUE
4 | bus_LV_1135-3_1_5_node_135 | 0.4 | n |  | TRUE
5 | bus_LV_1135-3_1_5_node_136 | 0.4 | n |  | TRUE
6 | bus_LV_1135-3_1_5_node_172 | 0.4 | n |  | TRUE
7 | bus_LV_1135-3_1_5_node_99 | 0.4 | n |  | TRUE
8 | bus_LV_1135-3_1_5_node_168 | 0.4 | n |  | TRUE
9 | bus_LV_1135-3_1_5_node_143 | 0.4 | n |  | TRUE
10 | bus_LV_1135-3_1_5_node_137 | 0.4 | n |  | TRUE
11 | bus_LV_1135-3_1_5_node_138 | 0.4 | n |  | TRUE
12 | bus_LV_1135-3_1_5_node_140 | 0.4 | n |  | TRUE
13 | bus_LV_1135-3_1_5_node_141 | 0.4 | n |  | TRUE
14 | bus_LV_1135-3_1_5_node_91 | 0.4 | n |  | TRUE
15 | bus_LV_1135-3_1_5_node_154 | 0.4 | n |  | TRUE
16 | bus_LV_1135-3_1_5_node_153 | 0.4 | n |  | TRUE
17 | bus_LV_1135-3_1_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1135-3_1_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1135-3_1_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1135-3_1_5_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_1135-3_1_5_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_1135-3_1_5_node_142 | 0.4 | n |  | TRUE
23 | bus_LV_1135-3_1_5_node_157 | 0.4 | n |  | TRUE
24 | bus_LV_1135-3_1_5_node_171 | 0.4 | n |  | TRUE
25 | bus_LV_1135-3_1_5_node_155 | 0.4 | n |  | TRUE
26 | bus_LV_1135-3_1_5_node_156 | 0.4 | n |  | TRUE
27 | bus_LV_1135-3_1_5_node_158 | 0.4 | n |  | TRUE
28 | bus_LV_1135-3_1_5_node_159 | 0.4 | n |  | TRUE
29 | bus_LV_1135-3_1_5_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_1135-3_1_5_node_160 | 0.4 | n |  | TRUE
31 | bus_LV_1135-3_1_5_node_167 | 0.4 | n |  | TRUE
32 | bus_LV_1135-3_1_5_node_170 | 0.4 | n |  | TRUE
33 | bus_LV_1135-3_1_5_node_173 | 0.4 | n |  | TRUE
34 | bus_LV_1135-3_1_5_node_174 | 0.4 | n |  | TRUE
35 | bus_LV_1135-3_1_5_node_97 | 0.4 | n |  | TRUE
36 | bus_LV_1135-3_1_5_node_108 | 0.4 | n |  | TRUE
37 | bus_LV_1135-3_1_5_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_1135-3_1_5_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_1135-3_1_5_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_1135-3_1_5_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_1135-3_1_5_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_1135-3_1_5_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_1135-3_1_5_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_1135-3_1_5_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_1135-3_1_5_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_1135-3_1_5_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_1135-3_1_5_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_1135-3_1_5_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_1135-3_1_5_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_1135-3_1_5_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_1135-3_1_5_node_100 | 0.4 | n |  | TRUE
52 | bus_LV_1135-3_1_5_node_93 | 0.4 | n |  | TRUE
53 | bus_LV_1135-3_1_5_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_1135-3_1_5_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_1135-3_1_5_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_1135-3_1_5_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_1135-3_1_5_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_1135-3_1_5_node_102 | 0.4 | n |  | TRUE
59 | bus_LV_1135-3_1_5_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_1135-3_1_5_node_109 | 0.4 | n |  | TRUE
61 | bus_LV_1135-3_1_5_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_1135-3_1_5_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_1135-3_1_5_node_106 | 0.4 | n |  | TRUE
64 | bus_LV_1135-3_1_5_node_107 | 0.4 | n |  | TRUE
65 | bus_MV_129_1_node_268 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1135-3_1_5_load_131 | 0 | 0.0014604 | 0.00036602 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1135-3_1_5_load_132 | 1 | 0.0040715 | 0.0010204 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1135-3_1_5_load_136 | 5 | 0.0014707 | 0.00036859 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1135-3_1_5_load_99 | 7 | 0.00017014 | 4.264e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1135-3_1_5_load_168 | 8 | 0.00017393 | 4.3591e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1135-3_1_5_load_143 | 9 | 0.00051171 | 0.00012825 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1135-3_1_5_load_137 | 10 | 0.0031387 | 0.00078664 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1135-3_1_5_load_154 | 15 | 0.0067226 | 0.0016848 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1135-3_1_5_load_153 | 16 | 0.011934 | 0.002991 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1135-3_1_5_load_14 | 17 | 0.00067683 | 0.00016963 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1135-3_1_5_load_82 | 20 | 0.00018902 | 4.7373e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1135-3_1_5_load_51 | 21 | 0.0013058 | 0.00032726 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1135-3_1_5_load_171 | 24 | 0.00095581 | 0.00023955 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1135-3_1_5_load_155 | 25 | 0.0004044 | 0.00010135 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1135-3_1_5_load_156 | 26 | 0.00022062 | 5.5294e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1135-3_1_5_load_158 | 27 | 0.00078484 | 0.0001967 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1135-3_1_5_load_159 | 28 | 0.00068681 | 0.00017213 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1135-3_1_5_load_73 | 29 | 8.9657e-05 | 2.247e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1135-3_1_5_load_160 | 30 | 0.00091887 | 0.00023029 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1135-3_1_5_load_167 | 31 | 8.9e-05 | 2.2306e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1135-3_1_5_load_170 | 32 | 0.010428 | 0.0026136 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1135-3_1_5_load_173 | 33 | 0.0008311 | 0.00020829 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1135-3_1_5_load_174 | 34 | 7.9872e-05 | 2.0018e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1135-3_1_5_load_50 | 37 | 0.00031105 | 7.7956e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1135-3_1_5_load_70 | 40 | 0.0014791 | 0.0003707 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1135-3_1_5_load_55 | 41 | 0.0039969 | 0.0010017 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1135-3_1_5_load_56 | 42 | 0.013212 | 0.0033111 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1135-3_1_5_load_57 | 43 | 0.0033283 | 0.00083415 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1135-3_1_5_load_58 | 44 | 0.0010093 | 0.00025296 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1135-3_1_5_load_68 | 45 | 0.0028109 | 0.00070449 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1135-3_1_5_load_69 | 46 | 0.0032089 | 0.00080421 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1135-3_1_5_load_71 | 48 | 0.004032 | 0.0010105 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1135-3_1_5_load_72 | 49 | 0.016494 | 0.0041338 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1135-3_1_5_load_100 | 51 | 0.00058462 | 0.00014652 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1135-3_1_5_load_93 | 52 | 0.00038308 | 9.6008e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1135-3_1_5_load_96 | 53 | 0.00060584 | 0.00015184 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1135-3_1_5_load_94 | 54 | 0.00015276 | 3.8286e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1135-3_1_5_load_98 | 56 | 0.00085874 | 0.00021522 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1135-3_1_5_load_101 | 57 | 0.00018369 | 4.6036e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1135-3_1_5_load_102 | 58 | 0.00022406 | 5.6155e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1135-3_1_5_load_109 | 60 | 0.00022158 | 5.5532e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1135-3_1_5_load_104 | 61 | 5.584e-05 | 1.3995e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1135-3_1_5_load_105 | 62 | 0.00074869 | 0.00018764 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1135-3_1_5_load_107 | 64 | 0.00028265 | 7.0839e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1135-3_1_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.06235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1135-3_1_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.048464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1135-3_1_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.14553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1135-3_1_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1135-3_1_5_line_4 | NAYY 4x150 SE | 2 | 5 | 0.32559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1135-3_1_5_line_5 | NAYY 4x150 SE | 3 | 6 | 0.007919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1135-3_1_5_line_6 | NAYY 4x150 SE | 4 | 7 | 0.016611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1135-3_1_5_line_7 | NAYY 4x150 SE | 4 | 8 | 0.032553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1135-3_1_5_line_8 | NAYY 4x150 SE | 5 | 9 | 0.018763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1135-3_1_5_line_9 | NAYY 4x150 SE | 6 | 32 | 0.031513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1135-3_1_5_line_10 | NAYY 4x150 SE | 7 | 35 | 0.024557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1135-3_1_5_line_11 | NAYY 4x150 SE | 10 | 11 | 0.0068208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1135-3_1_5_line_12 | NAYY 4x150 SE | 11 | 12 | 0.16175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1135-3_1_5_line_13 | NAYY 4x150 SE | 11 | 13 | 0.059108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1135-3_1_5_line_14 | NAYY 4x150 SE | 12 | 14 | 0.17525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1135-3_1_5_line_15 | NAYY 4x150 SE | 13 | 15 | 0.012685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1135-3_1_5_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1135-3_1_5_line_17 | NAYY 4x150 SE | 14 | 25 | 0.15008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1135-3_1_5_line_18 | NAYY 4x150 SE | 14 | 47 | 0.38337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1135-3_1_5_line_19 | NAYY 4x150 SE | 15 | 23 | 0.011962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1135-3_1_5_line_20 | NAYY 4x150 SE | 17 | 18 | 0.033304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1135-3_1_5_line_21 | NAYY 4x150 SE | 18 | 19 | 0.16653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1135-3_1_5_line_22 | NAYY 4x150 SE | 19 | 20 | 0.018083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1135-3_1_5_line_23 | NAYY 4x150 SE | 19 | 21 | 0.045615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1135-3_1_5_line_24 | NAYY 4x150 SE | 21 | 37 | 0.049587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1135-3_1_5_line_25 | NAYY 4x150 SE | 22 | 23 | 0.2942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1135-3_1_5_line_26 | NAYY 4x150 SE | 22 | 24 | 0.088321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1135-3_1_5_line_27 | NAYY 4x150 SE | 23 | 27 | 0.13909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1135-3_1_5_line_28 | NAYY 4x150 SE | 24 | 32 | 0.045842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1135-3_1_5_line_29 | NAYY 4x150 SE | 25 | 26 | 0.049744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1135-3_1_5_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1135-3_1_5_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0021092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1135-3_1_5_line_32 | NAYY 4x150 SE | 29 | 39 | 0.11421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1135-3_1_5_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0045428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1135-3_1_5_line_34 | NAYY 4x150 SE | 33 | 34 | 0.22711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1135-3_1_5_line_35 | NAYY 4x150 SE | 33 | 35 | 0.28354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1135-3_1_5_line_36 | NAYY 4x150 SE | 34 | 36 | 0.24943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1135-3_1_5_line_37 | NAYY 4x150 SE | 35 | 56 | 0.023425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1135-3_1_5_line_38 | NAYY 4x150 SE | 36 | 63 | 0.19004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1135-3_1_5_line_39 | NAYY 4x150 SE | 37 | 38 | 0.041144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1135-3_1_5_line_40 | NAYY 4x150 SE | 38 | 39 | 0.28663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1135-3_1_5_line_41 | NAYY 4x150 SE | 39 | 40 | 0.077258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1135-3_1_5_line_42 | NAYY 4x150 SE | 40 | 48 | 0.013114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1135-3_1_5_line_43 | NAYY 4x150 SE | 41 | 42 | 0.021423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1135-3_1_5_line_44 | NAYY 4x150 SE | 41 | 43 | 0.022475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1135-3_1_5_line_45 | NAYY 4x150 SE | 42 | 44 | 0.014642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1135-3_1_5_line_46 | NAYY 4x150 SE | 44 | 45 | 0.019204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1135-3_1_5_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0035313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1135-3_1_5_line_48 | NAYY 4x150 SE | 46 | 47 | 0.028953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1135-3_1_5_line_49 | NAYY 4x150 SE | 47 | 49 | 0.024425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1135-3_1_5_line_50 | NAYY 4x150 SE | 48 | 49 | 0.046529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1135-3_1_5_line_51 | NAYY 4x150 SE | 50 | 51 | 0.091767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1135-3_1_5_line_52 | NAYY 4x150 SE | 50 | 52 | 0.25134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1135-3_1_5_line_53 | NAYY 4x150 SE | 51 | 57 | 0.055937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1135-3_1_5_line_54 | NAYY 4x150 SE | 52 | 53 | 0.31097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1135-3_1_5_line_55 | NAYY 4x150 SE | 53 | 55 | 0.032629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1135-3_1_5_line_56 | NAYY 4x150 SE | 54 | 55 | 0.032433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1135-3_1_5_line_57 | NAYY 4x150 SE | 57 | 58 | 0.083944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1135-3_1_5_line_58 | NAYY 4x150 SE | 58 | 59 | 0.02863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1135-3_1_5_line_59 | NAYY 4x150 SE | 59 | 60 | 0.047083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1135-3_1_5_line_60 | NAYY 4x150 SE | 60 | 64 | 0.037276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1135-3_1_5_line_61 | NAYY 4x150 SE | 61 | 62 | 0.016707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1135-3_1_5_line_62 | NAYY 4x150 SE | 61 | 63 | 0.049136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1135-3_1_5_line_63 | NAYY 4x150 SE | 62 | 64 | 0.0053172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1135-3_1_5_trafo_91 | 0.25 MVA 20/0.4 kV | 65 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2635314.6253 | 1213069.6286 | 2635304.8114 | 1213063.847 | 2635263.3216 | 1213034.2587
1 | 2635221.2349 | 1213010.3226 | 2635257.1335 | 1213029.8457 | 2635263.3216 | 1213034.2587
2 | 2635449.3329 | 1213122.0368 | 2635439.3921 | 1213115.2183 | 2635434.0434 | 1213112.8296 | 2635427.8879 | 1213110.7141 | 2635419.8622 | 1213108.8543 | 2635400.8952 | 1213104.9173 | 2635387.5386 | 1213101.5028 | 2635368.1178 | 1213094.6727 | 2635344.8548 | 1213085.0072 | 2635321.5104 | 1213073.6847 | 2635314.6253 | 1213069.6286
3 | 2635221.2349 | 1213010.3226 | 2635209.5232 | 1212999.7252
4 | 2635221.2349 | 1213010.3226 | 2635221.6362 | 1213002.8206 | 2635228.9643 | 1212969.7559 | 2635229.0146 | 1212961.2291 | 2635227.4426 | 1212950.8583 | 2635221.0822 | 1212924.2165 | 2635219.5321 | 1212911.4111 | 2635220.412 | 1212900.0431 | 2635223.3762 | 1212889.4878 | 2635231.3668 | 1212872.892 | 2635240.3092 | 1212850.7876 | 2635246.261 | 1212843.7187 | 2635255.4704 | 1212836.8691 | 2635281.1729 | 1212823.4132 | 2635290.2341 | 1212815.9513 | 2635298.4402 | 1212806.65 | 2635307.6798 | 1212794.72 | 2635315.0598 | 1212787.6596 | 2635327.3328 | 1212779.1939 | 2635365.9444 | 1212753.8412 | 2635365.9444 | 1212753.8412
5 | 2635455.8769 | 1213126.5227 | 2635449.3329 | 1213122.0368
6 | 2635209.5232 | 1212999.7252 | 2635195.9596 | 1213004.3034 | 2635193.9141 | 1213005.3448
7 | 2635209.5232 | 1212999.7252 | 2635206.3078 | 1212993.6583 | 2635196.1256 | 1212970.0754
8 | 2635365.9444 | 1212753.8412 | 2635356.0182 | 1212737.9195
9 | 2635455.8769 | 1213126.5227 | 2635460.6733 | 1213129.8086 | 2635478.2951 | 1213144.0771 | 2635481.0206 | 1213145.3897
10 | 2635174.4463 | 1213019.8745 | 2635184.5614 | 1213010.1062 | 2635193.9141 | 1213005.3448
11 | 2635846.7679 | 1213142.6437 | 2635843.874 | 1213148.8201
12 | 2635969.7088 | 1213086.2949 | 2635961.5032 | 1213106.7462 | 2635958.2286 | 1213111.885 | 2635952.4808 | 1213117.776 | 2635925.7738 | 1213142.852 | 2635917.315 | 1213149.8829 | 2635907.3911 | 1213156.7494 | 2635901.9662 | 1213159.4961 | 2635896.9423 | 1213161.2336 | 2635890.8397 | 1213161.7305 | 2635885.6692 | 1213161.3214 | 2635880.9677 | 1213159.9813 | 2635870.414 | 1213155.3819 | 2635846.7679 | 1213142.6437
13 | 2635843.5134 | 1213098.9433 | 2635861.5655 | 1213112.2483 | 2635863.5804 | 1213115.718 | 2635863.5584 | 1213119.3755 | 2635860.5212 | 1213124.2156 | 2635855.6103 | 1213128.6553 | 2635851.0461 | 1213133.5196 | 2635846.7679 | 1213142.6437
14 | 2635993.7313 | 1213253.2138 | 2635961.4395 | 1213172.7728 | 2635958.0566 | 1213159.3447 | 2635957.9399 | 1213145.9363 | 2635960.4504 | 1213133.9667 | 2635969.3885 | 1213105.3929 | 2635970.2552 | 1213096.4597 | 2635969.7088 | 1213086.2949
15 | 2635843.5134 | 1213098.9433 | 2635835.7424 | 1213102.7545 | 2635831.741 | 1213103.23
16 | 2635843.5134 | 1213098.9433 | 2635851.5002 | 1213092.0873 | 2635855.4104 | 1213084.7955
17 | 2635993.7313 | 1213253.2138 | 2635998.2789 | 1213247.3267 | 2636052.1695 | 1213137.155 | 2636056.2804 | 1213131.899 | 2636059.5549 | 1213129.2839 | 2636064.2538 | 1213127.2778 | 2636068.2557 | 1213127.7164
18 | 2636165.5341 | 1213409.0976 | 2636155.0043 | 1213432.0138 | 2636152.0793 | 1213438.3775 | 2636143.18 | 1213452.9432 | 2636133.4058 | 1213463.9904 | 2636117.6669 | 1213477.9032 | 2636112.0147 | 1213473.044 | 2636035.2064 | 1213441.7173 | 2636021.7891 | 1213435.9553 | 2636012.8694 | 1213428.7862 | 2636008.2149 | 1213423.4773 | 2636004.4336 | 1213416.9507 | 2636001.649 | 1213406.3723 | 2635990.8162 | 1213336.0441 | 2635990.2807 | 1213322.8332 | 2635990.7569 | 1213311.8742 | 2635994.2977 | 1213299.0993 | 2635999.7034 | 1213280.6435 | 2635999.9575 | 1213272.5292 | 2635998.3786 | 1213264.793 | 2635993.7313 | 1213253.2138
19 | 2635819.8078 | 1213103.6705 | 2635827.6391 | 1213103.7175 | 2635831.741 | 1213103.23
20 | 2636604.6741 | 1213202.6878 | 2636610.5798 | 1213198.3882 | 2636631.6504 | 1213188.634 | 2636633.6311 | 1213186.6835
21 | 2636604.6741 | 1213202.6878 | 2636599.3724 | 1213203.8671 | 2636586.6473 | 1213206.6352 | 2636556.9372 | 1213213.157 | 2636545.9235 | 1213214.3013 | 2636535.5375 | 1213213.4261 | 2636526.3831 | 1213211.1355 | 2636516.8423 | 1213206.2076 | 2636506.3021 | 1213197.0045 | 2636499.2219 | 1213188.434 | 2636491.1188 | 1213180.6578 | 2636483.6136 | 1213175.7424 | 2636475.8871 | 1213173.4605 | 2636469.1585 | 1213173.2193 | 2636452.9461 | 1213174.8546
22 | 2636452.9461 | 1213174.8546 | 2636452.6937 | 1213172.6518 | 2636450.5482 | 1213156.9319
23 | 2636452.9461 | 1213174.8546 | 2636433.6738 | 1213173.7808 | 2636431.671 | 1213147.5445
24 | 2636416.237 | 1213108.0874 | 2636411.7355 | 1213120.3827 | 2636422.5873 | 1213125.8743 | 2636430.9236 | 1213137.7543 | 2636431.671 | 1213147.5445
25 | 2635599.1191 | 1213200.0285 | 2635619.1533 | 1213216.0016 | 2635629.5054 | 1213222.5672 | 2635639.4063 | 1213227.0955 | 2635649.0305 | 1213228.3648 | 2635659.0149 | 1213227.813 | 2635667.5834 | 1213225.2294 | 2635675.7221 | 1213219.597 | 2635681.7173 | 1213212.9178 | 2635743.593 | 1213112.9636 | 2635749.7442 | 1213106.908 | 2635754.9085 | 1213103.2813 | 2635761.8023 | 1213100.0763 | 2635768.9941 | 1213099.0966 | 2635816.8454 | 1213103.6527 | 2635819.8078 | 1213103.6705
26 | 2635599.1191 | 1213200.0285 | 2635556.034 | 1213165.6741 | 2635533.2876 | 1213153.554 | 2635525.9735 | 1213152.1819
27 | 2635702.921 | 1213060.0119 | 2635711.5947 | 1213074.1719 | 2635715.9301 | 1213082.1247 | 2635719.2669 | 1213085.5911 | 2635724.6535 | 1213087.9691 | 2635730.767 | 1213088.2059 | 2635737.086 | 1213087.1208 | 2635757.1921 | 1213080.9487 | 2635767.184 | 1213079.1853 | 2635774.1146 | 1213078.7155 | 2635778.9009 | 1213079.8559 | 2635784.0806 | 1213082.533 | 2635801.5255 | 1213094.5222 | 2635819.8078 | 1213103.6705
28 | 2635481.0206 | 1213145.3897 | 2635485.3771 | 1213147.4878 | 2635492.0743 | 1213149.2063 | 2635501.1178 | 1213149.7827 | 2635516.8225 | 1213150.4653 | 2635525.9735 | 1213152.1819
29 | 2636070.1187 | 1213091.9817 | 2636076.0469 | 1213096.4757 | 2636079.8828 | 1213102.7914 | 2636081.6446 | 1213114.1753 | 2636080.5131 | 1213122.9179 | 2636077.4959 | 1213126.9465 | 2636074.0236 | 1213128.3485 | 2636068.2557 | 1213127.7164
30 | 2636277.6873 | 1213177.3124 | 2636272.4946 | 1213180.948 | 2636264.9324 | 1213185.3713 | 2636264.9324 | 1213185.3713
31 | 2636279.4151 | 1213176.1027 | 2636277.6873 | 1213177.3124
32 | 2636276.4204 | 1213294.8821 | 2636270.4501 | 1213287.3748 | 2636268.1096 | 1213281.2682 | 2636268.1221 | 1213262.9688 | 2636267.2781 | 1213249.3669 | 2636265.2205 | 1213237.9701 | 2636258.8255 | 1213217.8307 | 2636258.3495 | 1213209.9121 | 2636262.7544 | 1213190.0385 | 2636264.9324 | 1213185.3713
33 | 2636283.1364 | 1213173.4972 | 2636279.4151 | 1213176.1027
34 | 2634722.0212 | 1213217.0179 | 2634895.437 | 1213070.3666
35 | 2635174.4463 | 1213019.8745 | 2634895.437 | 1213070.3666
36 | 2634722.0212 | 1213217.0179 | 2634706.7174 | 1213220.5754 | 2634695.8883 | 1213226.616 | 2634691.3278 | 1213240.1973 | 2634683.3036 | 1213253.7585 | 2634673.6723 | 1213262.8411 | 2634658.1711 | 1213266.4088 | 2634631.718 | 1213260.563 | 2634611.5627 | 1213257.1998 | 2634602.7836 | 1213260.8065 | 2634593.776 | 1213268.4699 | 2634583.2498 | 1213291.7668 | 2634583.1992 | 1213300.4937 | 2634611.5606 | 1213328.2852 | 2634615.3884 | 1213336.223 | 2634610.2364 | 1213345.7431
37 | 2635174.4463 | 1213019.8745 | 2635182.7181 | 1213030.2737 | 2635187.1679 | 1213036.9926 | 2635187.9661 | 1213038.9121
38 | 2634610.2364 | 1213345.7431 | 2634601.9285 | 1213372.9106 | 2634606.0105 | 1213406.4425 | 2634611.0813 | 1213446.2837 | 2634606.6067 | 1213479.1545 | 2634608.3823 | 1213489.9266 | 2634613.839 | 1213497.2736 | 2634629.4763 | 1213505.4912 | 2634634.5351 | 1213512.0132 | 2634630.0114 | 1213519.3023
39 | 2636430.0121 | 1213069.3203 | 2636423.8096 | 1213087.404 | 2636416.237 | 1213108.0874
40 | 2636276.4204 | 1213294.8821 | 2636295.6541 | 1213266.0156 | 2636308.0275 | 1213251.1156 | 2636319.815 | 1213240.1254 | 2636333.3703 | 1213228.2232 | 2636338.8436 | 1213221.3081 | 2636341.5354 | 1213214.6095 | 2636343.7008 | 1213204.5391 | 2636347.9822 | 1213168.8334 | 2636350.7039 | 1213157.221 | 2636355.9365 | 1213144.9458 | 2636385.094 | 1213095.7617 | 2636390.3133 | 1213088.1669 | 2636398.783 | 1213080.7031 | 2636408.9719 | 1213075.3288 | 2636420.3961 | 1213071.6741 | 2636430.0121 | 1213069.3203
41 | 2636276.4204 | 1213294.8821 | 2636264.6182 | 1213310.8307 | 2636254.3537 | 1213321.2188 | 2636235.5504 | 1213336.8026 | 2636221.9132 | 1213347.2481 | 2636220.9497 | 1213347.9857
42 | 2636210.5371 | 1213355.9571 | 2636220.9497 | 1213347.9857
43 | 2636208.3875 | 1213485.5789 | 2636197.5623 | 1213467.0927
44 | 2636208.3875 | 1213485.5789 | 2636219.7447 | 1213504.9734
45 | 2636190.1634 | 1213454.4578 | 2636197.5623 | 1213467.0927
46 | 2636190.1634 | 1213454.4578 | 2636180.4594 | 1213437.8863
47 | 2636180.4594 | 1213437.8863 | 2636178.6749 | 1213434.839
48 | 2636165.5341 | 1213409.0976 | 2636171.1077 | 1213421.9166 | 2636178.6749 | 1213434.839
49 | 2636165.5341 | 1213409.0976 | 2636172.6196 | 1213393.0424 | 2636176.6611 | 1213387.4798
50 | 2636210.5371 | 1213355.9571 | 2636195.5318 | 1213367.4442 | 2636181.9644 | 1213380.1805 | 2636176.6611 | 1213387.4798
51 | 2634665.2846 | 1213788.7846 | 2634660.5952 | 1213778.8517 | 2634655.7343 | 1213770.9967 | 2634647.6868 | 1213759.9325 | 2634611.5992 | 1213714.7003
52 | 2634665.2846 | 1213788.7846 | 2634903.0635 | 1213870.2331
53 | 2634611.5992 | 1213714.7003 | 2634596.8487 | 1213696.212 | 2634575.8522 | 1213671.6865
54 | 2634903.0635 | 1213870.2331 | 2635195.2793 | 1213763.8827
55 | 2635224.7067 | 1213759.1862 | 2635214.4799 | 1213766.2188 | 2635210.9465 | 1213767.7655 | 2635206.882 | 1213767.9417 | 2635195.2793 | 1213763.8827
56 | 2635224.7067 | 1213759.1862 | 2635221.5583 | 1213754.7095 | 2635218.689 | 1213744.1198 | 2635214.4617 | 1213734.5449 | 2635210.3425 | 1213730.8682
57 | 2634575.8522 | 1213671.6865 | 2634551.6052 | 1213643.364 | 2634543.7961 | 1213631.7232 | 2634538.1693 | 1213619.6504 | 2634531.3048 | 1213601.5882
58 | 2634521.1337 | 1213574.826 | 2634531.3048 | 1213601.5882
59 | 2634521.1337 | 1213574.826 | 2634545.3805 | 1213567.9623 | 2634559.0921 | 1213558.4917 | 2634561.4557 | 1213553.8386
60 | 2634570.7934 | 1213525.5066 | 2634564.764 | 1213528.674 | 2634556.586 | 1213533.4962 | 2634561.5584 | 1213553.6365 | 2634561.4557 | 1213553.8386
61 | 2634589.9034 | 1213514.6004 | 2634582.7443 | 1213519.2283 | 2634575.5005 | 1213523.0337
62 | 2634630.0114 | 1213519.3023 | 2634610.1917 | 1213528.9373 | 2634605.925 | 1213527.2894 | 2634597.6407 | 1213515.0566 | 2634589.9034 | 1213514.6004
63 | 2634575.5005 | 1213523.0337 | 2634570.7934 | 1213525.5066

## bus_geodata
| x | y | coords
0 | 2635263.3216 | 1213034.2587
1 | 2635314.6253 | 1213069.6286
2 | 2635221.2349 | 1213010.3226
3 | 2635449.3329 | 1213122.0368
4 | 2635209.5232 | 1212999.7252
5 | 2635365.9444 | 1212753.8412
6 | 2635455.8769 | 1213126.5227
7 | 2635193.9141 | 1213005.3448
8 | 2635196.1256 | 1212970.0754
9 | 2635356.0182 | 1212737.9195
10 | 2635843.874 | 1213148.8201
11 | 2635846.7679 | 1213142.6437
12 | 2635969.7088 | 1213086.2949
13 | 2635843.5134 | 1213098.9433
14 | 2635993.7313 | 1213253.2138
15 | 2635831.741 | 1213103.23
16 | 2635855.4104 | 1213084.7955
17 | 2636633.6311 | 1213186.6835
18 | 2636604.6741 | 1213202.6878
19 | 2636452.9461 | 1213174.8546
20 | 2636450.5482 | 1213156.9319
21 | 2636431.671 | 1213147.5445
22 | 2635599.1191 | 1213200.0285
23 | 2635819.8078 | 1213103.6705
24 | 2635525.9735 | 1213152.1819
25 | 2636068.2557 | 1213127.7164
26 | 2636070.1187 | 1213091.9817
27 | 2635702.921 | 1213060.0119
28 | 2636277.6873 | 1213177.3124
29 | 2636264.9324 | 1213185.3713
30 | 2636279.4151 | 1213176.1027
31 | 2636283.1364 | 1213173.4972
32 | 2635481.0206 | 1213145.3897
33 | 2634895.437 | 1213070.3666
34 | 2634722.0212 | 1213217.0179
35 | 2635174.4463 | 1213019.8745
36 | 2634610.2364 | 1213345.7431
37 | 2636416.237 | 1213108.0874
38 | 2636430.0121 | 1213069.3203
39 | 2636276.4204 | 1213294.8821
40 | 2636220.9497 | 1213347.9857
41 | 2636208.3875 | 1213485.5789
42 | 2636197.5623 | 1213467.0927
43 | 2636219.7447 | 1213504.9734
44 | 2636190.1634 | 1213454.4578
45 | 2636180.4594 | 1213437.8863
46 | 2636178.6749 | 1213434.839
47 | 2636165.5341 | 1213409.0976
48 | 2636210.5371 | 1213355.9571
49 | 2636176.6611 | 1213387.4798
50 | 2634665.2846 | 1213788.7846
51 | 2634611.5992 | 1213714.7003
52 | 2634903.0635 | 1213870.2331
53 | 2635195.2793 | 1213763.8827
54 | 2635210.3425 | 1213730.8682
55 | 2635224.7067 | 1213759.1862
56 | 2635187.9661 | 1213038.9121
57 | 2634575.8522 | 1213671.6865
58 | 2634531.3048 | 1213601.5882
59 | 2634521.1337 | 1213574.826
60 | 2634561.4557 | 1213553.8386
61 | 2634589.9034 | 1213514.6004
62 | 2634575.5005 | 1213523.0337
63 | 2634630.0114 | 1213519.3023
64 | 2634570.7934 | 1213525.5066
65 | 2636008.2149 | 1213423.4773

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97631 | -0.16867 | 0.0014604 | 0.00036602
1 | 0.97672 | -0.16564 | 0.0040715 | 0.0010204
2 | 0.97604 | -0.17066 | 0 | 0
3 | 0.97811 | -0.15547 | 0 | 0
4 | 0.97598 | -0.17114 | 0 | 0
5 | 0.9751 | -0.17749 | 0.0014707 | 0.00036859
6 | 0.97818 | -0.15491 | 0 | 0
7 | 0.97591 | -0.17163 | 0.00017014 | 4.264e-05
8 | 0.97597 | -0.1712 | 0.00017393 | 4.3591e-05
9 | 0.97508 | -0.17759 | 0.00051171 | 0.00012825
10 | 0.98846 | -0.081054 | 0.0031387 | 0.00078664
11 | 0.98849 | -0.080836 | 0 | 0
12 | 0.99402 | -0.041816 | 0 | 0
13 | 0.98661 | -0.094245 | 0 | 0
14 | 1 | 0 | -0.10406 | -0.026019
15 | 0.98631 | -0.096353 | 0.0067226 | 0.0016848
16 | 0.98628 | -0.096547 | 0.011934 | 0.002991
17 | 0.98127 | -0.13198 | 0.00067683 | 0.00016963
18 | 0.98131 | -0.13174 | 0 | 0
19 | 0.98147 | -0.13056 | 0 | 0
20 | 0.98146 | -0.13059 | 0.00018902 | 4.7373e-05
21 | 0.98153 | -0.13014 | 0.0013058 | 0.00032726
22 | 0.98084 | -0.13564 | 0 | 0
23 | 0.98609 | -0.097928 | 0 | 0
24 | 0.97927 | -0.14702 | 0.00095581 | 0.00023955
25 | 0.99987 | -0.00095463 | 0.0004044 | 0.00010135
26 | 0.99985 | -0.0010654 | 0.00022062 | 5.5294e-05
27 | 0.98593 | -0.099058 | 0.00078484 | 0.0001967
28 | 0.98253 | -0.12282 | 0.00068681 | 0.00017213
29 | 0.98257 | -0.12255 | 8.9657e-05 | 2.247e-05
30 | 0.98253 | -0.12284 | 0.00091887 | 0.00023029
31 | 0.98253 | -0.12284 | 8.9e-05 | 2.2306e-05
32 | 0.97848 | -0.15271 | 0.010428 | 0.0026136
33 | 0.97491 | -0.17911 | 0.0008311 | 0.00020829
34 | 0.97433 | -0.1835 | 7.9872e-05 | 2.0018e-05
35 | 0.97582 | -0.17233 | 0 | 0
36 | 0.97307 | -0.19287 | 0 | 0
37 | 0.98168 | -0.12901 | 0.00031105 | 7.7956e-05
38 | 0.98183 | -0.12794 | 0 | 0
39 | 0.98286 | -0.12044 | 0 | 0
40 | 0.98334 | -0.11697 | 0.0014791 | 0.0003707
41 | 0.98249 | -0.12293 | 0.0039969 | 0.0010017
42 | 0.98272 | -0.12131 | 0.013212 | 0.0033111
43 | 0.98239 | -0.12371 | 0.0033283 | 0.00083415
44 | 0.98316 | -0.1182 | 0.0010093 | 0.00025296
45 | 0.98376 | -0.11393 | 0.0028109 | 0.00070449
46 | 0.98388 | -0.11305 | 0.0032089 | 0.00080421
47 | 0.98504 | -0.10482 | 0 | 0
48 | 0.98345 | -0.11618 | 0.004032 | 0.0010105
49 | 0.98411 | -0.11145 | 0.016494 | 0.0041338
50 | 0.97086 | -0.20932 | 0 | 0
51 | 0.97102 | -0.20815 | 0.00058462 | 0.00014652
52 | 0.97044 | -0.21248 | 0.00038308 | 9.6008e-05
53 | 0.9701 | -0.21505 | 0.00060584 | 0.00015184
54 | 0.97008 | -0.21516 | 0.00015276 | 3.8286e-05
55 | 0.97009 | -0.21511 | 0 | 0
56 | 0.97579 | -0.17254 | 0.00085874 | 0.00021522
57 | 0.97116 | -0.20709 | 0.00018369 | 4.6036e-05
58 | 0.97139 | -0.20533 | 0.00022406 | 5.6155e-05
59 | 0.97148 | -0.20466 | 0 | 0
60 | 0.97163 | -0.20355 | 0.00022158 | 5.5532e-05
61 | 0.97186 | -0.20182 | 5.584e-05 | 1.3995e-05
62 | 0.97178 | -0.20244 | 0.00074869 | 0.00018764
63 | 0.97211 | -0.19999 | 0 | 0
64 | 0.97176 | -0.20259 | 0.00028265 | 7.0839e-05
65 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0090217 | -0.0022253 | 0.0090254 | 0.0022252 | 3.671e-06 | -1.4811e-07 | 0.013737 | 0.013737 | 0.013737 | 0.97631 | -0.16867 | 0.97672 | -0.16564 | 2.544
1 | 0.0075613 | 0.0018593 | -0.0075593 | -0.0018597 | 2.0038e-06 | -4.4106e-07 | 0.011512 | 0.011512 | 0.011512 | 0.97631 | -0.16867 | 0.97604 | -0.17066 | 2.1319
2 | -0.013097 | -0.0032456 | 0.013115 | 0.0032489 | 1.8052e-05 | 3.295e-06 | 0.01994 | 0.019938 | 0.01994 | 0.97672 | -0.16564 | 0.97811 | -0.15547 | 3.6925
3 | 0.005575 | 0.0013665 | -0.0055746 | -0.0013667 | 3.5452e-07 | -2.5781e-07 | 0.0084884 | 0.0084885 | 0.0084885 | 0.97604 | -0.17066 | 0.97598 | -0.17114 | 1.5719
4 | 0.0019843 | 0.00049325 | -0.0019824 | -0.0004966 | 1.8583e-06 | -3.3506e-06 | 0.0030236 | 0.0030251 | 0.0030251 | 0.97604 | -0.17066 | 0.9751 | -0.17749 | 1.1204
5 | -0.013115 | -0.0032489 | 0.013116 | 0.003249 | 9.8221e-07 | 1.7897e-07 | 0.019938 | 0.019938 | 0.019938 | 0.97811 | -0.15547 | 0.97818 | -0.15491 | 3.6923
6 | 0.0054007 | 0.0013235 | -0.0054004 | -0.0013238 | 3.5048e-07 | -2.8033e-07 | 0.0082235 | 0.0082236 | 0.0082236 | 0.97598 | -0.17114 | 0.97591 | -0.17163 | 1.5229
7 | 0.00017393 | 4.3185e-05 | -0.00017393 | -4.3591e-05 | 1.4277e-09 | -4.0625e-07 | 0.00026504 | 0.00026518 | 0.00026518 | 0.97598 | -0.17114 | 0.97597 | -0.1712 | 0.098216
8 | 0.00051172 | 0.00012802 | -0.00051171 | -0.00012825 | 7.1385e-09 | -2.313e-07 | 0.0007808 | 0.00078089 | 0.00078089 | 0.9751 | -0.17749 | 0.97508 | -0.17759 | 0.28922
9 | -0.013116 | -0.003249 | 0.01312 | 0.0032498 | 3.9086e-06 | 7.1188e-07 | 0.019938 | 0.019938 | 0.019938 | 0.97818 | -0.15491 | 0.97848 | -0.15271 | 3.6923
10 | 0.0052302 | 0.0012812 | -0.0052297 | -0.0012816 | 4.8598e-07 | -4.2669e-07 | 0.0079642 | 0.0079644 | 0.0079644 | 0.97591 | -0.17163 | 0.97582 | -0.17233 | 1.4749
11 | -0.0031387 | -0.00078664 | 0.0031388 | 0.00078659 | 9.5021e-08 | -5.0887e-08 | 0.004725 | 0.004725 | 0.004725 | 0.98846 | -0.081054 | 0.98849 | -0.080836 | 1.75
12 | -0.047369 | -0.011856 | 0.047625 | 0.011951 | 0.00025656 | 9.4505e-05 | 0.0713 | 0.071299 | 0.0713 | 0.98849 | -0.080836 | 0.99402 | -0.041816 | 13.2038
13 | 0.04423 | 0.01107 | -0.044148 | -0.01104 | 8.174e-05 | 2.9926e-05 | 0.066575 | 0.066576 | 0.066576 | 0.98849 | -0.080836 | 0.98661 | -0.094245 | 12.3289
14 | -0.047625 | -0.011951 | 0.047903 | 0.012053 | 0.00027794 | 0.00010233 | 0.071299 | 0.071297 | 0.071299 | 0.99402 | -0.041816 | 1 | 0 | 13.2035
15 | 0.03221 | 0.0080477 | -0.032201 | -0.0080444 | 9.3367e-06 | 3.2672e-06 | 0.048571 | 0.048571 | 0.048571 | 0.98661 | -0.094245 | 0.98631 | -0.096353 | 8.9947
16 | 0.011938 | 0.0029922 | -0.011934 | -0.002991 | 3.803e-06 | 1.2227e-06 | 0.018005 | 0.018005 | 0.018005 | 0.98661 | -0.094245 | 0.98628 | -0.096547 | 6.6685
17 | 0.00062511 | 0.00015406 | -0.00062502 | -0.00015599 | 8.093e-08 | -1.9376e-06 | 0.00092926 | 0.00092994 | 0.00092994 | 1 | 0 | 0.99987 | -0.00095463 | 0.34442
18 | 0.054727 | 0.013812 | -0.053933 | -0.013516 | 0.00079391 | 0.00029544 | 0.081469 | 0.081472 | 0.081472 | 1 | 0 | 0.98504 | -0.10482 | 15.0874
19 | 0.025478 | 0.0063595 | -0.025473 | -0.0063577 | 5.5117e-06 | 1.8146e-06 | 0.038429 | 0.038429 | 0.038429 | 0.98631 | -0.096353 | 0.98609 | -0.097928 | 7.1165
20 | -0.00067683 | -0.00016963 | 0.00067686 | 0.00016922 | 2.1888e-08 | -4.1231e-07 | 0.0010264 | 0.0010262 | 0.0010264 | 0.98127 | -0.13198 | 0.98131 | -0.13174 | 0.38013
21 | -0.00067686 | -0.00016922 | 0.00067696 | 0.00016716 | 1.0936e-07 | -2.0622e-06 | 0.0010262 | 0.0010255 | 0.0010262 | 0.98131 | -0.13174 | 0.98147 | -0.13056 | 0.38008
22 | 0.00018902 | 4.7145e-05 | -0.00018902 | -4.7373e-05 | 9.2643e-10 | -2.2817e-07 | 0.0002865 | 0.00028658 | 0.00028658 | 0.98147 | -0.13056 | 0.98146 | -0.13059 | 0.10614
23 | -0.00086599 | -0.0002143 | 0.00086604 | 0.00021374 | 4.8985e-08 | -5.5765e-07 | 0.001312 | 0.0013118 | 0.001312 | 0.98147 | -0.13056 | 0.98153 | -0.13014 | 0.48591
24 | -0.0021718 | -0.000541 | 0.0021722 | 0.00054051 | 3.3518e-07 | -4.9792e-07 | 0.0032914 | 0.0032911 | 0.0032914 | 0.98153 | -0.13014 | 0.98168 | -0.12901 | 1.219
25 | -0.02456 | -0.0061212 | 0.024688 | 0.0061628 | 0.00012734 | 4.1511e-05 | 0.037248 | 0.037245 | 0.037248 | 0.98084 | -0.13564 | 0.98609 | -0.097928 | 6.8977
26 | 0.02456 | 0.0061212 | -0.024522 | -0.0061088 | 3.8232e-05 | 1.2479e-05 | 0.037248 | 0.037249 | 0.037249 | 0.98084 | -0.13564 | 0.97927 | -0.14702 | 6.8979
27 | 0.00078496 | 0.00019497 | -0.00078484 | -0.0001967 | 1.2171e-07 | -1.7272e-06 | 0.0011839 | 0.0011845 | 0.0011845 | 0.98609 | -0.097928 | 0.98593 | -0.099058 | 0.43871
28 | 0.023566 | 0.0058692 | -0.023548 | -0.0058633 | 1.8327e-05 | 5.8964e-06 | 0.035796 | 0.035797 | 0.035797 | 0.97927 | -0.14702 | 0.97848 | -0.15271 | 6.629
29 | 0.00022063 | 5.4643e-05 | -0.00022062 | -5.5294e-05 | 3.344e-09 | -6.5113e-07 | 0.00032811 | 0.00032834 | 0.00032834 | 0.99987 | -0.00095463 | 0.99985 | -0.0010654 | 0.12161
30 | -0.0016947 | -0.00042464 | 0.0016947 | 0.00042448 | 6.2063e-08 | -1.6737e-07 | 0.0025665 | 0.0025664 | 0.0025665 | 0.98253 | -0.12282 | 0.98257 | -0.12255 | 0.95056
31 | 0.0010079 | 0.00025251 | -0.0010079 | -0.00025254 | 3.0664e-09 | -2.5533e-08 | 0.0015264 | 0.0015264 | 0.0015264 | 0.98253 | -0.12282 | 0.98253 | -0.12284 | 0.56532
32 | -0.0017844 | -0.00044695 | 0.0017849 | 0.0004457 | 5.2029e-07 | -1.2469e-06 | 0.0027022 | 0.0027017 | 0.0027022 | 0.98257 | -0.12255 | 0.98286 | -0.12044 | 1.0008
33 | 8.9e-05 | 2.2248e-05 | -8.9e-05 | -2.2306e-05 | 5.1486e-11 | -5.7514e-08 | 0.00013477 | 0.00013479 | 0.00013479 | 0.98253 | -0.12284 | 0.98253 | -0.12284 | 0.049922
34 | 0.003536 | 0.00086395 | -0.0035339 | -0.00086882 | 2.0586e-06 | -4.8687e-06 | 0.005389 | 0.005391 | 0.005391 | 0.97491 | -0.17911 | 0.97433 | -0.1835 | 0.99834
35 | -0.0043671 | -0.0010722 | 0.004371 | 0.0010667 | 3.9195e-06 | -5.5702e-06 | 0.0066575 | 0.006655 | 0.0066575 | 0.97491 | -0.17911 | 0.97582 | -0.17233 | 1.2329
36 | 0.003454 | 0.0008488 | -0.0034497 | -0.00085024 | 4.322e-06 | -1.4402e-06 | 0.005269 | 0.0052701 | 0.0052701 | 0.97433 | -0.1835 | 0.97307 | -0.19287 | 1.9519
37 | 0.00085876 | 0.00021494 | -0.00085874 | -0.00021522 | 2.5065e-08 | -2.8299e-07 | 0.0013094 | 0.0013095 | 0.0013095 | 0.97582 | -0.17233 | 0.97579 | -0.17254 | 0.48501
38 | 0.0034497 | 0.00085024 | -0.0034464 | -0.00085134 | 3.2942e-06 | -1.0914e-06 | 0.0052701 | 0.005271 | 0.005271 | 0.97307 | -0.19287 | 0.97211 | -0.19999 | 1.9522
39 | -0.0024832 | -0.00061846 | 0.0024836 | 0.00061808 | 3.6345e-07 | -3.8047e-07 | 0.0037626 | 0.0037624 | 0.0037626 | 0.98168 | -0.12901 | 0.98183 | -0.12794 | 1.3936
40 | -0.0024836 | -0.00061808 | 0.0024861 | 0.00061543 | 2.531e-06 | -2.6553e-06 | 0.0037624 | 0.0037611 | 0.0037624 | 0.98183 | -0.12794 | 0.98286 | -0.12044 | 1.3935
41 | -0.004271 | -0.0010611 | 0.004273 | 0.0010609 | 2.0135e-06 | -2.0518e-07 | 0.0064628 | 0.0064625 | 0.0064628 | 0.98286 | -0.12044 | 0.98334 | -0.11697 | 2.3936
42 | -0.0057521 | -0.0014316 | 0.0057527 | 0.0014317 | 6.1945e-07 | 7.1877e-08 | 0.0087007 | 0.0087006 | 0.0087007 | 0.98334 | -0.11697 | 0.98345 | -0.11618 | 3.2225
43 | -0.0073256 | -0.0018357 | 0.0073272 | 0.0018361 | 1.6454e-06 | 3.6151e-07 | 0.011095 | 0.011095 | 0.011095 | 0.98249 | -0.12293 | 0.98272 | -0.12131 | 4.1092
44 | 0.0033287 | 0.00083401 | -0.0033283 | -0.00083415 | 3.5643e-07 | -1.475e-07 | 0.0050413 | 0.0050414 | 0.0050414 | 0.98249 | -0.12293 | 0.98239 | -0.12371 | 1.8672
45 | -0.020539 | -0.0051472 | 0.020548 | 0.0051504 | 8.8365e-06 | 3.2131e-06 | 0.031099 | 0.031099 | 0.031099 | 0.98272 | -0.12131 | 0.98316 | -0.1182 | 11.5182
46 | -0.021557 | -0.0054034 | 0.02157 | 0.005408 | 1.2756e-05 | 4.6625e-06 | 0.032627 | 0.032627 | 0.032627 | 0.98316 | -0.1182 | 0.98376 | -0.11393 | 12.084
47 | -0.024381 | -0.0061125 | 0.024384 | 0.0061136 | 2.9969e-06 | 1.1078e-06 | 0.036879 | 0.036878 | 0.036879 | 0.98376 | -0.11393 | 0.98388 | -0.11305 | 13.6587
48 | -0.027592 | -0.0069179 | 0.027624 | 0.0069296 | 3.1464e-05 | 1.1733e-05 | 0.041732 | 0.041731 | 0.041732 | 0.98388 | -0.11305 | 0.98504 | -0.10482 | 15.4561
49 | 0.026309 | 0.0065868 | -0.026285 | -0.0065779 | 2.4071e-05 | 8.9474e-06 | 0.039741 | 0.039741 | 0.039741 | 0.98504 | -0.10482 | 0.98411 | -0.11145 | 14.7188
50 | -0.0097847 | -0.0024422 | 0.0097911 | 0.002444 | 6.3605e-06 | 1.8556e-06 | 0.014801 | 0.014801 | 0.014801 | 0.98345 | -0.11618 | 0.98411 | -0.11145 | 5.4819
51 | -0.0011424 | -0.00027867 | 0.0011426 | 0.0002776 | 1.7497e-07 | -1.0677e-06 | 0.0017482 | 0.0017478 | 0.0017482 | 0.97086 | -0.20932 | 0.97102 | -0.20815 | 0.64749
52 | 0.0011424 | 0.00027867 | -0.0011419 | -0.00028159 | 4.7964e-07 | -2.9223e-06 | 0.0017482 | 0.0017493 | 0.0017493 | 0.97086 | -0.20932 | 0.97044 | -0.21248 | 0.6479
53 | -0.0017272 | -0.00042412 | 0.0017275 | 0.00042352 | 2.4393e-07 | -5.9821e-07 | 0.0026437 | 0.0026435 | 0.0026437 | 0.97102 | -0.20815 | 0.97116 | -0.20709 | 0.97915
54 | 0.00075886 | 0.00018558 | -0.0007586 | -0.00018932 | 2.6229e-07 | -3.7398e-06 | 0.0011619 | 0.0011633 | 0.0011633 | 0.97044 | -0.21248 | 0.9701 | -0.21505 | 0.43086
55 | 0.00015276 | 3.7483e-05 | -0.00015276 | -3.7886e-05 | 1.1159e-09 | -4.0242e-07 | 0.00023403 | 0.00023418 | 0.00023418 | 0.9701 | -0.21505 | 0.97009 | -0.21511 | 0.086732
56 | -0.00015276 | -3.8286e-05 | 0.00015276 | 3.7886e-05 | 1.1105e-09 | -3.9999e-07 | 0.00023432 | 0.00023418 | 0.00023432 | 0.97008 | -0.21516 | 0.97009 | -0.21511 | 0.086786
57 | -0.0019111 | -0.00046956 | 0.0019116 | 0.00046869 | 4.4806e-07 | -8.6659e-07 | 0.0029249 | 0.0029245 | 0.0029249 | 0.97116 | -0.20709 | 0.97139 | -0.20533 | 1.0833
58 | -0.0021357 | -0.00052485 | 0.0021358 | 0.00052456 | 1.9076e-07 | -2.8108e-07 | 0.0032678 | 0.0032676 | 0.0032678 | 0.97139 | -0.20533 | 0.97148 | -0.20466 | 1.2103
59 | -0.0021358 | -0.00052456 | 0.0021362 | 0.0005241 | 3.1368e-07 | -4.6241e-07 | 0.0032676 | 0.0032674 | 0.0032676 | 0.97148 | -0.20466 | 0.97163 | -0.20355 | 1.2102
60 | -0.0023577 | -0.00057963 | 0.002358 | 0.00057929 | 3.0257e-07 | -3.4537e-07 | 0.0036067 | 0.0036066 | 0.0036067 | 0.97163 | -0.20355 | 0.97176 | -0.20259 | 1.3358
61 | 0.0033897 | 0.00083762 | -0.0033894 | -0.00083772 | 2.8036e-07 | -9.9179e-08 | 0.0051857 | 0.0051858 | 0.0051858 | 0.97186 | -0.20182 | 0.97178 | -0.20244 | 1.9207
62 | -0.0034456 | -0.00085162 | 0.0034464 | 0.00085134 | 8.519e-07 | -2.8137e-07 | 0.0052712 | 0.005271 | 0.0052712 | 0.97186 | -0.20182 | 0.97211 | -0.19999 | 1.9523
63 | 0.0026407 | 0.00065008 | -0.0026407 | -0.00065013 | 5.4137e-08 | -4.5053e-08 | 0.0040394 | 0.0040394 | 0.0040394 | 0.97178 | -0.20244 | 0.97176 | -0.20259 | 1.4961

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10406 | 0.026019

## res_load
| p_mw | q_mvar
0 | 0.0014604 | 0.00036602
1 | 0.0040715 | 0.0010204
2 | 0.0014707 | 0.00036859
3 | 0.00017014 | 4.264e-05
4 | 0.00017393 | 4.3591e-05
5 | 0.00051171 | 0.00012825
6 | 0.0031387 | 0.00078664
7 | 0.0067226 | 0.0016848
8 | 0.011934 | 0.002991
9 | 0.00067683 | 0.00016963
10 | 0.00018902 | 4.7373e-05
11 | 0.0013058 | 0.00032726
12 | 0.00095581 | 0.00023955
13 | 0.0004044 | 0.00010135
14 | 0.00022062 | 5.5294e-05
15 | 0.00078484 | 0.0001967
16 | 0.00068681 | 0.00017213
17 | 8.9657e-05 | 2.247e-05
18 | 0.00091887 | 0.00023029
19 | 8.9e-05 | 2.2306e-05
20 | 0.010428 | 0.0026136
21 | 0.0008311 | 0.00020829
22 | 7.9872e-05 | 2.0018e-05
23 | 0.00031105 | 7.7956e-05
24 | 0.0014791 | 0.0003707
25 | 0.0039969 | 0.0010017
26 | 0.013212 | 0.0033111
27 | 0.0033283 | 0.00083415
28 | 0.0010093 | 0.00025296
29 | 0.0028109 | 0.00070449
30 | 0.0032089 | 0.00080421
31 | 0.004032 | 0.0010105
32 | 0.016494 | 0.0041338
33 | 0.00058462 | 0.00014652
34 | 0.00038308 | 9.6008e-05
35 | 0.00060584 | 0.00015184
36 | 0.00015276 | 3.8286e-05
37 | 0.00085874 | 0.00021522
38 | 0.00018369 | 4.6036e-05
39 | 0.00022406 | 5.6155e-05
40 | 0.00022158 | 5.5532e-05
41 | 5.584e-05 | 1.3995e-05
42 | 0.00074869 | 0.00018764
43 | 0.00028265 | 7.0839e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1