## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1135-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1135-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1135-5_0_3_node_57 | 0.4 | n |  | TRUE
3 | bus_LV_1135-5_0_3_node_32 | 0.4 | n |  | TRUE
4 | bus_LV_1135-5_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_1135-5_0_3_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_1135-5_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1135-5_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1135-5_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1135-5_0_3_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_1135-5_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1135-5_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1135-5_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1135-5_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1135-5_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1135-5_0_3_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_1135-5_0_3_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_1135-5_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1135-5_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1135-5_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1135-5_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1135-5_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1135-5_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1135-5_0_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_1135-5_0_3_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1135-5_0_3_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_1135-5_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1135-5_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1135-5_0_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_1135-5_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1135-5_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1135-5_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1135-5_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1135-5_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1135-5_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1135-5_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1135-5_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1135-5_0_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1135-5_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1135-5_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1135-5_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1135-5_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1135-5_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1135-5_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1135-5_0_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_1135-5_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1135-5_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1135-5_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1135-5_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1135-5_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1135-5_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1135-5_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1135-5_0_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_1135-5_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_1135-5_0_3_node_54 | 0.4 | n |  | TRUE
55 | bus_MV_129_1_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1135-5_0_3_load_0 | 0 | 0.00025051 | 6.2783e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1135-5_0_3_load_1 | 1 | 0.00030466 | 7.6356e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1135-5_0_3_load_57 | 2 | 0.00023288 | 5.8365e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1135-5_0_3_load_41 | 5 | 0.0025066 | 0.00062822 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1135-5_0_3_load_3 | 6 | 0.0016389 | 0.00041076 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1135-5_0_3_load_55 | 9 | 0.00012965 | 3.2494e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1135-5_0_3_load_6 | 10 | 0.00085632 | 0.00021461 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1135-5_0_3_load_7 | 11 | 0.0010222 | 0.00025618 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1135-5_0_3_load_9 | 12 | 0.0008935 | 0.00022393 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1135-5_0_3_load_11 | 14 | 0.015742 | 0.0039453 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1135-5_0_3_load_51 | 15 | 0.018898 | 0.0047363 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1135-5_0_3_load_52 | 16 | 0.026283 | 0.006587 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1135-5_0_3_load_12 | 17 | 0.0045158 | 0.0011318 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1135-5_0_3_load_13 | 18 | 0.019781 | 0.0049577 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1135-5_0_3_load_15 | 20 | 0.0071944 | 0.0018031 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1135-5_0_3_load_17 | 22 | 0.00075929 | 0.0001903 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1135-5_0_3_load_33 | 24 | 0.0050243 | 0.0012592 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1135-5_0_3_load_34 | 25 | 0.0054524 | 0.0013665 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1135-5_0_3_load_30 | 26 | 0.0085669 | 0.0021471 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1135-5_0_3_load_18 | 27 | 0.00076522 | 0.00019178 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1135-5_0_3_load_38 | 28 | 0.020244 | 0.0050737 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1135-5_0_3_load_19 | 30 | 0.003121 | 0.0007822 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1135-5_0_3_load_20 | 31 | 0.00087047 | 0.00021816 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1135-5_0_3_load_21 | 32 | 0.00049741 | 0.00012466 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1135-5_0_3_load_22 | 33 | 0.00027019 | 6.7715e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1135-5_0_3_load_23 | 34 | 0.00017924 | 4.4921e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1135-5_0_3_load_24 | 35 | 5.2644e-05 | 1.3194e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1135-5_0_3_load_47 | 37 | 0.00015743 | 3.9457e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1135-5_0_3_load_25 | 38 | 0.0050576 | 0.0012676 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1135-5_0_3_load_26 | 39 | 0.0015805 | 0.00039611 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1135-5_0_3_load_27 | 40 | 0.0015808 | 0.00039618 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1135-5_0_3_load_28 | 41 | 0.001532 | 0.00038396 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1135-5_0_3_load_29 | 42 | 0.0021981 | 0.00055089 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1135-5_0_3_load_35 | 43 | 0.0015329 | 0.00038419 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1135-5_0_3_load_48 | 44 | 0.0021979 | 0.00055083 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1135-5_0_3_load_49 | 45 | 0.0022838 | 0.00057239 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1135-5_0_3_load_39 | 46 | 0.010128 | 0.0025384 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1135-5_0_3_load_40 | 47 | 0.018318 | 0.0045908 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1135-5_0_3_load_42 | 49 | 0.0077303 | 0.0019374 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1135-5_0_3_load_43 | 50 | 0.0040661 | 0.0010191 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1135-5_0_3_load_45 | 51 | 0.0033131 | 0.00083033 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1135-5_0_3_load_50 | 52 | 0.0022367 | 0.00056058 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1135-5_0_3_load_53 | 53 | 0.0030629 | 0.00076762 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1135-5_0_3_load_54 | 54 | 0.015078 | 0.0037789 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1135-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.034769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1135-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.23421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1135-5_0_3_line_2 | NAYY 4x150 SE | 0 | 3 | 0.41215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1135-5_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.023423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1135-5_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.025558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1135-5_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.028897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1135-5_0_3_line_6 | NAYY 4x150 SE | 5 | 30 | 0.14826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1135-5_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.047679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1135-5_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0091657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1135-5_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.024694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1135-5_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.05148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1135-5_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.022377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1135-5_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.021781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1135-5_0_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.095387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1135-5_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.017792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1135-5_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.0048381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1135-5_0_3_line_16 | NAYY 4x150 SE | 16 | 23 | 0.018153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1135-5_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.028133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1135-5_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.023761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1135-5_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.018887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1135-5_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.003401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1135-5_0_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.033518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1135-5_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.046559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1135-5_0_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.04355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1135-5_0_3_line_24 | NAYY 4x150 SE | 21 | 25 | 0.023069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1135-5_0_3_line_25 | NAYY 4x150 SE | 21 | 26 | 0.026172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1135-5_0_3_line_26 | NAYY 4x150 SE | 22 | 27 | 0.026707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1135-5_0_3_line_27 | NAYY 4x150 SE | 24 | 28 | 0.024267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1135-5_0_3_line_28 | NAYY 4x150 SE | 25 | 29 | 0.038949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1135-5_0_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.048266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1135-5_0_3_line_30 | NAYY 4x150 SE | 28 | 46 | 0.0061834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1135-5_0_3_line_31 | NAYY 4x150 SE | 29 | 36 | 0.10975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1135-5_0_3_line_32 | NAYY 4x150 SE | 29 | 43 | 0.013101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1135-5_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.04748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1135-5_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0014012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1135-5_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.039852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1135-5_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.013054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1135-5_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0073069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1135-5_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.015875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1135-5_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.0073418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1135-5_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0012118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1135-5_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.02086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1135-5_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.021754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1135-5_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.0085679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1135-5_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.020191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1135-5_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.029458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1135-5_0_3_line_46 | NAYY 4x150 SE | 45 | 52 | 0.017345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1135-5_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.042637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1135-5_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.045258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1135-5_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.010384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1135-5_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.031115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1135-5_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.020021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1135-5_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.014282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1135-5_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.004695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1135-5_0_3_trafo_38 | 0.25 MVA 20/0.4 kV | 55 | 28 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2636482.6203 | 1214336.8246 | 2636480.7881 | 1214332.2391 | 2636468.2444 | 1214318.1543 | 2636466.6378 | 1214315.0982 | 2636466.0569 | 1214307.6033
1 | 2636482.6203 | 1214336.8246 | 2636684.817 | 1214218.6235
2 | 2636298.8652 | 1214705.7468 | 2636482.6203 | 1214336.8246
3 | 2636458.4902 | 1214286.2762 | 2636463.1424 | 1214291.7967 | 2636465.3144 | 1214298.0247 | 2636466.0569 | 1214307.6033
4 | 2636298.8652 | 1214705.7468 | 2636288.8328 | 1214729.2534
5 | 2636458.4902 | 1214286.2762 | 2636451.7593 | 1214287.8582 | 2636429.8969 | 1214290.1515
6 | 2636230.6341 | 1214865.6156 | 2636288.8328 | 1214729.2534
7 | 2636382.4084 | 1214291.0259 | 2636399.0388 | 1214292.5726 | 2636408.6928 | 1214292.3758 | 2636429.8969 | 1214290.1515
8 | 2636377.2271 | 1214295.0522 | 2636377.8166 | 1214290.5421 | 2636382.4084 | 1214291.0259
9 | 2636377.2271 | 1214295.0522 | 2636370.8615 | 1214294.0128 | 2636356.9965 | 1214292.294 | 2636352.7528 | 1214291.7905
10 | 2636267.6435 | 1215058.675 | 2636248.3552 | 1215090.9303 | 2636244.7338 | 1215103.2932 | 2636244.6591 | 1215104.3056
11 | 2636244.6591 | 1215104.3056 | 2636243.0113 | 1215126.6222
12 | 2636241.4075 | 1215148.3437 | 2636243.0113 | 1215126.6222
13 | 2636241.4075 | 1215148.3437 | 2636225.5232 | 1215114.3386 | 2636222.6019 | 1215110.2296 | 2636216.7746 | 1215105.7249 | 2636202.6022 | 1215099.9134 | 2636186.5436 | 1215093.3344 | 2636174.72 | 1215088.4928
14 | 2636158.5091 | 1215081.1702 | 2636170.0911 | 1215086.5974 | 2636174.72 | 1215088.4928
15 | 2636158.5091 | 1215081.1702 | 2636154.1282 | 1215079.1173
16 | 2636137.6899 | 1215071.4145 | 2636154.1282 | 1215079.1173
17 | 2636164.8422 | 1215011.8666 | 2636176.5104 | 1214986.2678
18 | 2636186.3674 | 1214964.6474 | 2636177.3244 | 1214984.4819 | 2636176.5104 | 1214986.2678
19 | 2636157.008 | 1215029.052 | 2636159.1924 | 1215024.2618 | 2636164.8422 | 1215011.8666
20 | 2636186.3674 | 1214964.6474 | 2636183.2625 | 1214963.2389
21 | 2636186.3674 | 1214964.6474 | 2636200.478 | 1214934.4043 | 2636200.5392 | 1214934.2733
22 | 2636137.6899 | 1215071.4145 | 2636157.008 | 1215029.052
23 | 2636183.2625 | 1214963.2389 | 2636165.1529 | 1215002.8447
24 | 2636183.2625 | 1214963.2389 | 2636181.1573 | 1214962.2811 | 2636176.7779 | 1214958.1522 | 2636168.2695 | 1214946.1197
25 | 2636183.2625 | 1214963.2389 | 2636193.985 | 1214939.3639
26 | 2636211.6879 | 1214910.0075 | 2636209.7259 | 1214914.6044 | 2636200.5392 | 1214934.2733
27 | 2636155.0619 | 1215024.9138 | 2636165.1529 | 1215002.8447
28 | 2636144.2389 | 1214915.4747 | 2636165.8981 | 1214942.7662 | 2636168.2695 | 1214946.1197
29 | 2636211.6879 | 1214910.0075 | 2636230.6341 | 1214865.6156
30 | 2636155.0619 | 1215024.9138 | 2636152.4906 | 1215030.5372
31 | 2636074.3526 | 1214832.5927 | 2636079.1591 | 1214833.9336 | 2636082.4458 | 1214841.7025 | 2636083.849 | 1214844.5015 | 2636086.0796 | 1214847.3388 | 2636144.2389 | 1214915.4747
32 | 2636144.2389 | 1214915.4747 | 2636134.9876 | 1214924.7517
33 | 2636022.6625 | 1214799.2067 | 2636021.5832 | 1214798.4765 | 2635984.5536 | 1214770.888
34 | 2636023.8231 | 1214799.992 | 2636022.6625 | 1214799.2067
35 | 2636023.8231 | 1214799.992 | 2636056.83 | 1214822.3248
36 | 2636056.83 | 1214822.3248 | 2636063.7775 | 1214827.0256 | 2636067.8171 | 1214829.3606
37 | 2636074.3526 | 1214832.5927 | 2636071.0272 | 1214831.2163 | 2636067.8171 | 1214829.3606
38 | 2636074.3526 | 1214832.5927 | 2636075.0027 | 1214824.2918 | 2636074.342 | 1214816.7723
39 | 2636109.0239 | 1214950.7876 | 2636114.2081 | 1214945.589
40 | 2636109.0239 | 1214950.7876 | 2636108.1682 | 1214951.6457
41 | 2636114.2081 | 1214945.589 | 2636128.9376 | 1214930.8185
42 | 2636092.8073 | 1214967.0493 | 2636108.1682 | 1214951.6457
43 | 2636134.9876 | 1214924.7517 | 2636128.9376 | 1214930.8185
44 | 2636078.5501 | 1214981.3461 | 2636092.8073 | 1214967.0493
45 | 2636078.5501 | 1214981.3461 | 2636057.7489 | 1215002.2052
46 | 2636052.7711 | 1215018.4814 | 2636053.6391 | 1215010.5598 | 2636056.9806 | 1215002.9756 | 2636057.7489 | 1215002.2052
47 | 2636152.4906 | 1215030.5372 | 2636134.7605 | 1215069.3131
48 | 2636115.9406 | 1215110.4723 | 2636134.7605 | 1215069.3131
49 | 2636115.9406 | 1215110.4723 | 2636106.5128 | 1215106.1195
50 | 2636106.5128 | 1215106.1195 | 2636100.7882 | 1215103.4765 | 2636096.6688 | 1215102.8179 | 2636090.2567 | 1215103.335 | 2636084.4449 | 1215102.5216 | 2636076.8011 | 1215099.1939
51 | 2636058.4445 | 1215091.2023 | 2636076.8011 | 1215099.1939
52 | 2636057.9007 | 1215031.6645 | 2636054.5646 | 1215025.7965 | 2636052.7711 | 1215018.4814
53 | 2636061.2295 | 1215034.9754 | 2636057.9007 | 1215031.6645

## bus_geodata
| x | y | coords
0 | 2636482.6203 | 1214336.8246
1 | 2636466.0569 | 1214307.6033
2 | 2636684.817 | 1214218.6235
3 | 2636298.8652 | 1214705.7468
4 | 2636458.4902 | 1214286.2762
5 | 2636288.8328 | 1214729.2534
6 | 2636429.8969 | 1214290.1515
7 | 2636382.4084 | 1214291.0259
8 | 2636377.2271 | 1214295.0522
9 | 2636352.7528 | 1214291.7905
10 | 2636267.6435 | 1215058.675
11 | 2636244.6591 | 1215104.3056
12 | 2636243.0113 | 1215126.6222
13 | 2636241.4075 | 1215148.3437
14 | 2636174.72 | 1215088.4928
15 | 2636158.5091 | 1215081.1702
16 | 2636154.1282 | 1215079.1173
17 | 2636176.5104 | 1214986.2678
18 | 2636164.8422 | 1215011.8666
19 | 2636186.3674 | 1214964.6474
20 | 2636157.008 | 1215029.052
21 | 2636183.2625 | 1214963.2389
22 | 2636200.5392 | 1214934.2733
23 | 2636137.6899 | 1215071.4145
24 | 2636165.1529 | 1215002.8447
25 | 2636168.2695 | 1214946.1197
26 | 2636193.985 | 1214939.3639
27 | 2636211.6879 | 1214910.0075
28 | 2636155.0619 | 1215024.9138
29 | 2636144.2389 | 1214915.4747
30 | 2636230.6341 | 1214865.6156
31 | 2635984.5536 | 1214770.888
32 | 2636022.6625 | 1214799.2067
33 | 2636023.8231 | 1214799.992
34 | 2636056.83 | 1214822.3248
35 | 2636067.8171 | 1214829.3606
36 | 2636074.3526 | 1214832.5927
37 | 2636074.342 | 1214816.7723
38 | 2636109.0239 | 1214950.7876
39 | 2636114.2081 | 1214945.589
40 | 2636108.1682 | 1214951.6457
41 | 2636128.9376 | 1214930.8185
42 | 2636092.8073 | 1214967.0493
43 | 2636134.9876 | 1214924.7517
44 | 2636078.5501 | 1214981.3461
45 | 2636057.7489 | 1215002.2052
46 | 2636152.4906 | 1215030.5372
47 | 2636134.7605 | 1215069.3131
48 | 2636115.9406 | 1215110.4723
49 | 2636106.5128 | 1215106.1195
50 | 2636076.8011 | 1215099.1939
51 | 2636058.4445 | 1215091.2023
52 | 2636052.7711 | 1215018.4814
53 | 2636057.9007 | 1215031.6645
54 | 2636061.2295 | 1215034.9754
55 | 2636183.2625 | 1214963.2389

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98774 | -0.086155 | 0.00025051 | 6.2783e-05
1 | 0.98763 | -0.086897 | 0.00030466 | 7.6356e-05
2 | 0.98766 | -0.086739 | 0.00023288 | 5.8365e-05
3 | 0.98926 | -0.075147 | 0 | 0
4 | 0.98757 | -0.087324 | 0 | 0
5 | 0.98935 | -0.07446 | 0.0025066 | 0.00062822
6 | 0.9875 | -0.08785 | 0.0016389 | 0.00041076
7 | 0.98749 | -0.087916 | 0 | 0
8 | 0.98749 | -0.087928 | 0 | 0
9 | 0.98748 | -0.087961 | 0.00012965 | 3.2494e-05
10 | 0.97549 | -0.17236 | 0.00085632 | 0.00021461
11 | 0.97556 | -0.1719 | 0.0010222 | 0.00025618
12 | 0.97562 | -0.17145 | 0.0008935 | 0.00022393
13 | 0.97571 | -0.17082 | 0 | 0
14 | 0.97609 | -0.16804 | 0.015742 | 0.0039453
15 | 0.97657 | -0.16458 | 0.018898 | 0.0047363
16 | 0.97684 | -0.16269 | 0.026283 | 0.006587
17 | 0.98852 | -0.079856 | 0.0045158 | 0.0011318
18 | 0.98481 | -0.10601 | 0.019781 | 0.0049577
19 | 0.99181 | -0.056824 | 0 | 0
20 | 0.98285 | -0.11983 | 0.0071944 | 0.0018031
21 | 0.99207 | -0.055013 | 0 | 0
22 | 0.99135 | -0.060163 | 0.00075929 | 0.0001903
23 | 0.97852 | -0.15061 | 0 | 0
24 | 0.99711 | -0.019978 | 0.0050243 | 0.0012592
25 | 0.99054 | -0.065758 | 0.0054524 | 0.0013665
26 | 0.99175 | -0.057287 | 0.0085669 | 0.0021471
27 | 0.991 | -0.062618 | 0.00076522 | 0.00019178
28 | 1 | 0 | -0.21159 | -0.053195
29 | 0.98827 | -0.081804 | 0 | 0
30 | 0.99043 | -0.066682 | 0.003121 | 0.0007822
31 | 0.98773 | -0.085596 | 0.00087047 | 0.00021816
32 | 0.98779 | -0.085172 | 0.00049741 | 0.00012466
33 | 0.9878 | -0.085152 | 0.00027019 | 6.7715e-05
34 | 0.98789 | -0.084482 | 0.00017924 | 4.4921e-05
35 | 0.98792 | -0.084238 | 5.2644e-05 | 1.3194e-05
36 | 0.98794 | -0.084097 | 0 | 0
37 | 0.98794 | -0.084123 | 0.00015743 | 3.9457e-05
38 | 0.98565 | -0.10026 | 0.0050576 | 0.0012676
39 | 0.98601 | -0.097721 | 0.0015805 | 0.00039611
40 | 0.9856 | -0.10062 | 0.0015808 | 0.00039618
41 | 0.98708 | -0.090173 | 0.001532 | 0.00038396
42 | 0.98475 | -0.10667 | 0.0021981 | 0.00055089
43 | 0.98754 | -0.086943 | 0.0015329 | 0.00038419
44 | 0.98402 | -0.11184 | 0.0021979 | 0.00055083
45 | 0.98305 | -0.11873 | 0.0022838 | 0.00057239
46 | 0.99962 | -0.0026899 | 0.010128 | 0.0025384
47 | 0.99758 | -0.016959 | 0.018318 | 0.0045908
48 | 0.9966 | -0.023828 | 0 | 0
49 | 0.99637 | -0.025405 | 0.0077303 | 0.0019374
50 | 0.99605 | -0.027715 | 0.0040661 | 0.0010191
51 | 0.99595 | -0.028383 | 0.0033131 | 0.00083033
52 | 0.98254 | -0.12239 | 0.0022367 | 0.00056058
53 | 0.98216 | -0.12507 | 0.0030629 | 0.00076762
54 | 0.98206 | -0.1258 | 0.015078 | 0.0037789
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0020737 | 0.00051762 | -0.0020735 | -0.00051798 | 2.1165e-07 | -3.6357e-07 | 0.0031233 | 0.0031234 | 0.0031234 | 0.98774 | -0.086155 | 0.98763 | -0.086897 | 1.1568
1 | 0.0002329 | 5.5374e-05 | -0.00023288 | -5.8365e-05 | 1.7937e-08 | -2.9907e-06 | 0.00034982 | 0.00035086 | 0.00035086 | 0.98774 | -0.086155 | 0.98766 | -0.086739 | 0.12995
2 | -0.0025571 | -0.00063578 | 0.0025609 | 0.00063196 | 3.8111e-06 | -3.8176e-06 | 0.0038504 | 0.0038486 | 0.0038504 | 0.98774 | -0.086155 | 0.98926 | -0.075147 | 1.4261
3 | 0.0017688 | 0.00044163 | -0.0017687 | -0.00044189 | 1.0376e-07 | -2.5981e-07 | 0.0026644 | 0.0026645 | 0.0026645 | 0.98763 | -0.086897 | 0.98757 | -0.087324 | 0.98685
4 | -0.0025609 | -0.00063196 | 0.0025612 | 0.00063172 | 2.3621e-07 | -2.3732e-07 | 0.0038486 | 0.0038485 | 0.0038486 | 0.98926 | -0.075147 | 0.98935 | -0.07446 | 1.4254
5 | 0.0017687 | 0.00044189 | -0.0017686 | -0.00044221 | 1.2802e-07 | -3.2047e-07 | 0.0026645 | 0.0026646 | 0.0026646 | 0.98757 | -0.087324 | 0.9875 | -0.08785 | 0.9869
6 | -0.0050678 | -0.0012599 | 0.0050731 | 0.0012601 | 5.3693e-06 | 1.5913e-07 | 0.0076185 | 0.0076178 | 0.0076185 | 0.98935 | -0.07446 | 0.99043 | -0.066682 | 2.8217
7 | 0.00012965 | 3.1452e-05 | -0.00012965 | -3.2061e-05 | 1.1326e-09 | -6.0953e-07 | 0.00019501 | 0.00019522 | 0.00019522 | 0.9875 | -0.08785 | 0.98749 | -0.087916 | 0.072303
8 | 0.00012965 | 3.2061e-05 | -0.00012965 | -3.2178e-05 | 2.1801e-10 | -1.1717e-07 | 0.00019522 | 0.00019526 | 0.00019526 | 0.98749 | -0.087916 | 0.98749 | -0.087928 | 0.072318
9 | 0.00012965 | 3.2178e-05 | -0.00012965 | -3.2494e-05 | 5.8783e-10 | -3.1569e-07 | 0.00019526 | 0.00019537 | 0.00019537 | 0.98749 | -0.087928 | 0.98748 | -0.087961 | 0.072359
10 | -0.00085632 | -0.00021461 | 0.00085637 | 0.00021399 | 5.48e-08 | -6.2165e-07 | 0.0013062 | 0.001306 | 0.0013062 | 0.97549 | -0.17236 | 0.97556 | -0.1719 | 0.48379
11 | -0.0018785 | -0.00047017 | 0.0018786 | 0.00046993 | 1.1462e-07 | -2.3533e-07 | 0.0028651 | 0.002865 | 0.0028651 | 0.97556 | -0.1719 | 0.97562 | -0.17145 | 1.0611
12 | -0.0027721 | -0.00069386 | 0.0027724 | 0.00069369 | 2.4292e-07 | -1.7857e-07 | 0.0042278 | 0.0042277 | 0.0042278 | 0.97562 | -0.17145 | 0.97571 | -0.17082 | 1.5658
13 | -0.0027724 | -0.00069369 | 0.0027734 | 0.0006929 | 1.0637e-06 | -7.8269e-07 | 0.0042277 | 0.0042272 | 0.0042277 | 0.97571 | -0.17082 | 0.97609 | -0.16804 | 1.5658
14 | -0.018515 | -0.0046382 | 0.018524 | 0.0046414 | 8.8449e-06 | 3.1794e-06 | 0.028225 | 0.028225 | 0.028225 | 0.97609 | -0.16804 | 0.97657 | -0.16458 | 10.4538
15 | -0.037422 | -0.0093777 | 0.037432 | 0.0093814 | 9.8156e-06 | 3.7147e-06 | 0.05702 | 0.05702 | 0.05702 | 0.97657 | -0.16458 | 0.97684 | -0.16269 | 21.1187
16 | -0.063715 | -0.015968 | 0.063822 | 0.016009 | 0.00010671 | 4.0814e-05 | 0.097057 | 0.097057 | 0.097057 | 0.97684 | -0.16269 | 0.97852 | -0.15061 | 35.947
17 | 0.091542 | 0.023055 | -0.091208 | -0.022927 | 0.00033353 | 0.00012792 | 0.13784 | 0.13784 | 0.13784 | 0.98852 | -0.079856 | 0.98481 | -0.10601 | 51.0509
18 | -0.096058 | -0.024187 | 0.096368 | 0.024306 | 0.00031017 | 0.00011899 | 0.14464 | 0.14463 | 0.14464 | 0.98852 | -0.079856 | 0.99181 | -0.056824 | 53.5686
19 | 0.071427 | 0.01797 | -0.07129 | -0.017917 | 0.00013733 | 5.2581e-05 | 0.10795 | 0.10795 | 0.10795 | 0.98481 | -0.10601 | 0.98285 | -0.11983 | 39.981
20 | -0.1061 | -0.026734 | 0.10613 | 0.026744 | 2.6904e-05 | 1.026e-05 | 0.15923 | 0.15923 | 0.15923 | 0.99181 | -0.056824 | 0.99207 | -0.055013 | 29.487
21 | 0.0097307 | 0.0024276 | -0.0097262 | -0.0024263 | 4.4552e-06 | 1.2812e-06 | 0.014595 | 0.014595 | 0.014595 | 0.99181 | -0.056824 | 0.99135 | -0.060163 | 5.4056
22 | 0.064095 | 0.016114 | -0.063822 | -0.016009 | 0.00027368 | 0.00010467 | 0.097057 | 0.097057 | 0.097057 | 0.98285 | -0.11983 | 0.97852 | -0.15061 | 35.9469
23 | -0.16085 | -0.040499 | 0.16164 | 0.040802 | 0.00079133 | 0.00030323 | 0.24133 | 0.24133 | 0.24133 | 0.99207 | -0.055013 | 0.99711 | -0.019978 | 44.6905
24 | 0.046157 | 0.011607 | -0.046088 | -0.011581 | 6.9021e-05 | 2.6249e-05 | 0.069245 | 0.069245 | 0.069245 | 0.99207 | -0.055013 | 0.99054 | -0.065758 | 25.6463
25 | 0.0085696 | 0.0021478 | -0.0085669 | -0.0021471 | 2.6983e-06 | 6.9996e-07 | 0.012854 | 0.012854 | 0.012854 | 0.99207 | -0.055013 | 0.99175 | -0.057287 | 4.7607
26 | 0.0089669 | 0.002236 | -0.0089639 | -0.0022352 | 3.0172e-06 | 8.1625e-07 | 0.013455 | 0.013456 | 0.013456 | 0.99135 | -0.060163 | 0.991 | -0.062618 | 4.9835
27 | -0.16667 | -0.042061 | 0.16714 | 0.042241 | 0.00046877 | 0.00017966 | 0.24883 | 0.24883 | 0.24883 | 0.99711 | -0.019978 | 1 | 0 | 46.0789
28 | 0.040636 | 0.010214 | -0.040545 | -0.01018 | 9.0597e-05 | 3.4345e-05 | 0.061054 | 0.061055 | 0.061055 | 0.99054 | -0.065758 | 0.98827 | -0.081804 | 22.6128
29 | 0.0081987 | 0.0020434 | -0.0081941 | -0.0020423 | 4.5615e-06 | 1.1329e-06 | 0.012307 | 0.012307 | 0.012307 | 0.991 | -0.062618 | 0.99043 | -0.066682 | 4.5581
30 | 0.043658 | 0.010954 | -0.043642 | -0.010947 | 1.6286e-05 | 6.1828e-06 | 0.064968 | 0.064968 | 0.064968 | 1 | 0 | 0.99962 | -0.0026899 | 24.0623
31 | 0.0020283 | 0.00050547 | -0.0020277 | -0.00050663 | 6.3842e-07 | -1.1602e-06 | 0.003053 | 0.0030535 | 0.0030535 | 0.98827 | -0.081804 | 0.98794 | -0.084097 | 1.1309
32 | 0.038517 | 0.0096747 | -0.038489 | -0.0096642 | 2.7503e-05 | 1.041e-05 | 0.058002 | 0.058002 | 0.058002 | 0.98827 | -0.081804 | 0.98754 | -0.086943 | 21.4821
33 | -0.00087047 | -0.00021816 | 0.00087052 | 0.00021757 | 5.0941e-08 | -5.8816e-07 | 0.0013114 | 0.0013111 | 0.0013114 | 0.98773 | -0.085596 | 0.98779 | -0.085172 | 0.48569
34 | -0.0013679 | -0.00034223 | 0.0013679 | 0.00034222 | 3.7121e-09 | -1.651e-08 | 0.0020604 | 0.0020604 | 0.0020604 | 0.98779 | -0.085172 | 0.9878 | -0.085152 | 0.76312
35 | -0.0016381 | -0.00040993 | 0.0016383 | 0.00040948 | 1.5139e-07 | -4.5197e-07 | 0.0024674 | 0.0024673 | 0.0024674 | 0.9878 | -0.085152 | 0.98789 | -0.084482 | 0.91387
36 | -0.0018175 | -0.0004544 | 0.0018176 | 0.00045426 | 6.1031e-08 | -1.4367e-07 | 0.0027372 | 0.0027372 | 0.0027372 | 0.98789 | -0.084482 | 0.98792 | -0.084238 | 1.0138
37 | -0.0018702 | -0.00046745 | 0.0018702 | 0.00046737 | 3.6168e-08 | -7.9651e-08 | 0.0028165 | 0.0028164 | 0.0028165 | 0.98792 | -0.084238 | 0.98794 | -0.084097 | 1.0431
38 | 0.00015743 | 3.9253e-05 | -0.00015743 | -3.9457e-05 | 5.5681e-10 | -2.0306e-07 | 0.00023705 | 0.00023712 | 0.00023712 | 0.98794 | -0.084097 | 0.98794 | -0.084123 | 0.087823
39 | -0.033778 | -0.0084752 | 0.03379 | 0.0084797 | 1.1915e-05 | 4.4889e-06 | 0.050997 | 0.050997 | 0.050997 | 0.98565 | -0.10026 | 0.98601 | -0.097721 | 18.8879
40 | 0.02872 | 0.0072077 | -0.028719 | -0.0072071 | 1.4218e-06 | 5.3139e-07 | 0.043362 | 0.043362 | 0.043362 | 0.98565 | -0.10026 | 0.9856 | -0.10062 | 16.06
41 | -0.03537 | -0.0088758 | 0.035408 | 0.0088898 | 3.7093e-05 | 1.4e-05 | 0.053382 | 0.053382 | 0.053382 | 0.98601 | -0.097721 | 0.98708 | -0.090173 | 19.7712
42 | 0.027138 | 0.006811 | -0.027115 | -0.0068025 | 2.2791e-05 | 8.4888e-06 | 0.040975 | 0.040975 | 0.040975 | 0.9856 | -0.10062 | 0.98475 | -0.10667 | 15.1761
43 | -0.03694 | -0.0092738 | 0.036956 | 0.0092801 | 1.6582e-05 | 6.2682e-06 | 0.055692 | 0.055692 | 0.055692 | 0.98708 | -0.090173 | 0.98754 | -0.086943 | 20.6266
44 | 0.024917 | 0.0062516 | -0.024899 | -0.006245 | 1.7863e-05 | 6.6138e-06 | 0.037654 | 0.037654 | 0.037654 | 0.98475 | -0.10667 | 0.98402 | -0.11184 | 13.9459
45 | 0.022702 | 0.0056941 | -0.02268 | -0.0056862 | 2.1665e-05 | 7.9588e-06 | 0.034331 | 0.034331 | 0.034331 | 0.98402 | -0.11184 | 0.98305 | -0.11873 | 12.7151
46 | 0.020396 | 0.0051138 | -0.020386 | -0.00511 | 1.0316e-05 | 3.7481e-06 | 0.030874 | 0.030874 | 0.030874 | 0.98305 | -0.11873 | 0.98254 | -0.12239 | 11.4347
47 | 0.033514 | 0.008409 | -0.033447 | -0.008384 | 6.6225e-05 | 2.4914e-05 | 0.049891 | 0.049892 | 0.049892 | 0.99962 | -0.0026899 | 0.99758 | -0.016959 | 18.4784
48 | 0.01513 | 0.0037932 | -0.015115 | -0.0037883 | 1.4384e-05 | 4.9422e-06 | 0.022569 | 0.022569 | 0.022569 | 0.99758 | -0.016959 | 0.9966 | -0.023828 | 8.3588
49 | 0.015115 | 0.0037883 | -0.015112 | -0.0037872 | 3.3005e-06 | 1.1341e-06 | 0.022569 | 0.022569 | 0.022569 | 0.9966 | -0.023828 | 0.99637 | -0.025405 | 8.3588
50 | 0.0073819 | 0.0018498 | -0.0073795 | -0.0018493 | 2.3597e-06 | 5.0245e-07 | 0.011024 | 0.011024 | 0.011024 | 0.99637 | -0.025405 | 0.99605 | -0.027715 | 4.0831
51 | 0.0033134 | 0.00083019 | -0.0033131 | -0.00083033 | 3.061e-07 | -1.4283e-07 | 0.0049499 | 0.0049499 | 0.0049499 | 0.99605 | -0.027715 | 0.99595 | -0.028383 | 1.8333
52 | 0.018149 | 0.0045494 | -0.018142 | -0.004547 | 6.7329e-06 | 2.4088e-06 | 0.027486 | 0.027486 | 0.027486 | 0.98254 | -0.12239 | 0.98216 | -0.12507 | 10.1801
53 | 0.015079 | 0.0037794 | -0.015078 | -0.0037789 | 1.5291e-06 | 5.2871e-07 | 0.022846 | 0.022846 | 0.022846 | 0.98216 | -0.12507 | 0.98206 | -0.1258 | 8.4615

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23184 | 0.058268

## res_load
| p_mw | q_mvar
0 | 0.00025051 | 6.2783e-05
1 | 0.00030466 | 7.6356e-05
2 | 0.00023288 | 5.8365e-05
3 | 0.0025066 | 0.00062822
4 | 0.0016389 | 0.00041076
5 | 0.00012965 | 3.2494e-05
6 | 0.00085632 | 0.00021461
7 | 0.0010222 | 0.00025618
8 | 0.0008935 | 0.00022393
9 | 0.015742 | 0.0039453
10 | 0.018898 | 0.0047363
11 | 0.026283 | 0.006587
12 | 0.0045158 | 0.0011318
13 | 0.019781 | 0.0049577
14 | 0.0071944 | 0.0018031
15 | 0.00075929 | 0.0001903
16 | 0.0050243 | 0.0012592
17 | 0.0054524 | 0.0013665
18 | 0.0085669 | 0.0021471
19 | 0.00076522 | 0.00019178
20 | 0.020244 | 0.0050737
21 | 0.003121 | 0.0007822
22 | 0.00087047 | 0.00021816
23 | 0.00049741 | 0.00012466
24 | 0.00027019 | 6.7715e-05
25 | 0.00017924 | 4.4921e-05
26 | 5.2644e-05 | 1.3194e-05
27 | 0.00015743 | 3.9457e-05
28 | 0.0050576 | 0.0012676
29 | 0.0015805 | 0.00039611
30 | 0.0015808 | 0.00039618
31 | 0.001532 | 0.00038396
32 | 0.0021981 | 0.00055089
33 | 0.0015329 | 0.00038419
34 | 0.0021979 | 0.00055083
35 | 0.0022838 | 0.00057239
36 | 0.010128 | 0.0025384
37 | 0.018318 | 0.0045908
38 | 0.0077303 | 0.0019374
39 | 0.0040661 | 0.0010191
40 | 0.0033131 | 0.00083033
41 | 0.0022367 | 0.00056058
42 | 0.0030629 | 0.00076762
43 | 0.015078 | 0.0037789

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1