## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1135-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1135-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1135-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1135-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1135-6_0_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_1135-6_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1135-6_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1135-6_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_1135-6_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1135-6_0_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_1135-6_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1135-6_0_4_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_1135-6_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1135-6_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1135-6_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_1135-6_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1135-6_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1135-6_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1135-6_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1135-6_0_4_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_1135-6_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_1135-6_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1135-6_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1135-6_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1135-6_0_4_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_1135-6_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_1135-6_0_4_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_1135-6_0_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_1135-6_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1135-6_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1135-6_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1135-6_0_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1135-6_0_4_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_1135-6_0_4_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_1135-6_0_4_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_1135-6_0_4_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_1135-6_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1135-6_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1135-6_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1135-6_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1135-6_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1135-6_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1135-6_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1135-6_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1135-6_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1135-6_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1135-6_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_1135-6_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_1135-6_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_1135-6_0_4_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_1135-6_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_1135-6_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_1135-6_0_4_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_1135-6_0_4_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_1135-6_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_1135-6_0_4_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_1135-6_0_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_1135-6_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_1135-6_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_1135-6_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_1135-6_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_1135-6_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_1135-6_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_1135-6_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_1135-6_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_1135-6_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_1135-6_0_4_node_62 | 0.4 | n |  | TRUE
67 | bus_MV_129_1_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1135-6_0_4_load_0 | 0 | 0.00041653 | 0.00010439 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1135-6_0_4_load_1 | 1 | 8.4825e-05 | 2.1259e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1135-6_0_4_load_2 | 2 | 4.1167e-05 | 1.0317e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1135-6_0_4_load_10 | 4 | 0.00048469 | 0.00012148 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1135-6_0_4_load_7 | 5 | 0.00013488 | 3.3804e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1135-6_0_4_load_16 | 7 | 0.00012182 | 3.0532e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1135-6_0_4_load_17 | 8 | 0.00066306 | 0.00016618 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1135-6_0_4_load_15 | 9 | 0.00021376 | 5.3572e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1135-6_0_4_load_5 | 10 | 0.00040501 | 0.00010151 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1135-6_0_4_load_4 | 11 | 0.0004299 | 0.00010774 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1135-6_0_4_load_21 | 14 | 0.00038218 | 9.5783e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1135-6_0_4_load_14 | 15 | 0.0003201 | 8.0224e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1135-6_0_4_load_12 | 16 | 0.00015608 | 3.9117e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1135-6_0_4_load_11 | 17 | 0.0001145 | 2.8697e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1135-6_0_4_load_52 | 19 | 0.00011461 | 2.8725e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1135-6_0_4_load_51 | 20 | 9.6032e-05 | 2.4068e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1135-6_0_4_load_18 | 21 | 0.00086788 | 0.00021751 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1135-6_0_4_load_19 | 22 | 0.017659 | 0.0044257 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1135-6_0_4_load_44 | 25 | 0.036481 | 0.0091431 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1135-6_0_4_load_48 | 26 | 0.048874 | 0.012249 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1135-6_0_4_load_23 | 29 | 6.6554e-05 | 1.668e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1135-6_0_4_load_24 | 30 | 0.0026892 | 0.00067397 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1135-6_0_4_load_59 | 32 | 0.0016678 | 0.00041798 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1135-6_0_4_load_63 | 33 | 0.0006194 | 0.00015524 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1135-6_0_4_load_64 | 34 | 0.00041272 | 0.00010344 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1135-6_0_4_load_55 | 35 | 0.00060839 | 0.00015248 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1135-6_0_4_load_42 | 36 | 0.018087 | 0.004533 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1135-6_0_4_load_35 | 37 | 0.0046966 | 0.0011771 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1135-6_0_4_load_25 | 38 | 0.002004 | 0.00050226 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1135-6_0_4_load_26 | 39 | 0.0068127 | 0.0017074 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1135-6_0_4_load_27 | 40 | 0.0011927 | 0.00029892 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1135-6_0_4_load_32 | 43 | 0.0031324 | 0.00078506 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1135-6_0_4_load_33 | 44 | 0.0014759 | 0.00036991 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1135-6_0_4_load_30 | 45 | 0.0065362 | 0.0016381 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1135-6_0_4_load_38 | 46 | 0.0019453 | 0.00048754 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1135-6_0_4_load_36 | 47 | 0.0058773 | 0.001473 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1135-6_0_4_load_58 | 48 | 0.0010017 | 0.00025105 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1135-6_0_4_load_65 | 49 | 0.0029693 | 0.00074417 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1135-6_0_4_load_37 | 50 | 0.0090288 | 0.0022628 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1135-6_0_4_load_34 | 52 | 0.0039389 | 0.00098717 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1135-6_0_4_load_60 | 53 | 0.0019623 | 0.00049181 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1135-6_0_4_load_57 | 54 | 0.0034992 | 0.00087697 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1135-6_0_4_load_66 | 55 | 0.01328 | 0.0033283 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1135-6_0_4_load_61 | 56 | 0.0046513 | 0.0011657 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1135-6_0_4_load_39 | 57 | 0.01141 | 0.0028596 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1135-6_0_4_load_40 | 58 | 0.0015559 | 0.00038995 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1135-6_0_4_load_43 | 60 | 0.0044458 | 0.0011142 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1135-6_0_4_load_49 | 62 | 0.0042469 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1135-6_0_4_load_53 | 63 | 0.0011331 | 0.00028398 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1135-6_0_4_load_62 | 66 | 0.0014914 | 0.00037377 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1135-6_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1135-6_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1135-6_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.017359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1135-6_0_4_line_3 | NAYY 4x150 SE | 3 | 10 | 0.043074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1135-6_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.13226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1135-6_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.028997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1135-6_0_4_line_6 | NAYY 4x150 SE | 5 | 12 | 0.0031729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1135-6_0_4_line_7 | NAYY 4x150 SE | 6 | 13 | 0.012591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1135-6_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.049368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1135-6_0_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.15247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1135-6_0_4_line_10 | NAYY 4x150 SE | 8 | 19 | 0.076361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1135-6_0_4_line_11 | NAYY 4x150 SE | 9 | 18 | 0.0016777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1135-6_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 1.3969e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1135-6_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.034094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1135-6_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.029207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1135-6_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.081065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1135-6_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.029968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1135-6_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.013109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1135-6_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.022129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1135-6_0_4_line_19 | NAYY 4x150 SE | 19 | 20 | 0.039226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1135-6_0_4_line_20 | NAYY 4x150 SE | 20 | 31 | 0.012255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1135-6_0_4_line_21 | NAYY 4x150 SE | 21 | 22 | 0.010982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1135-6_0_4_line_22 | NAYY 4x150 SE | 22 | 23 | 0.014735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1135-6_0_4_line_23 | NAYY 4x150 SE | 23 | 24 | 0.026188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1135-6_0_4_line_24 | NAYY 4x150 SE | 23 | 25 | 0.016431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1135-6_0_4_line_25 | NAYY 4x150 SE | 24 | 26 | 0.015785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1135-6_0_4_line_26 | NAYY 4x150 SE | 25 | 27 | 0.017269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1135-6_0_4_line_27 | NAYY 4x150 SE | 26 | 61 | 0.0091993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1135-6_0_4_line_28 | NAYY 4x150 SE | 27 | 46 | 0.02619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_1135-6_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.017786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1135-6_0_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.025755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1135-6_0_4_line_31 | NAYY 4x150 SE | 29 | 31 | 0.030417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1135-6_0_4_line_32 | NAYY 4x150 SE | 30 | 32 | 0.0036388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1135-6_0_4_line_33 | NAYY 4x150 SE | 31 | 36 | 0.021884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1135-6_0_4_line_34 | NAYY 4x150 SE | 32 | 37 | 0.021602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1135-6_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.012102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1135-6_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.051807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1135-6_0_4_line_37 | NAYY 4x150 SE | 35 | 63 | 0.062414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1135-6_0_4_line_38 | NAYY 4x150 SE | 36 | 59 | 0.026318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1135-6_0_4_line_39 | NAYY 4x150 SE | 37 | 51 | 0.025731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1135-6_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0024489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_1135-6_0_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.025681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_1135-6_0_4_line_42 | NAYY 4x150 SE | 39 | 41 | 0.030921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_1135-6_0_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.016355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_1135-6_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.010722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1135-6_0_4_line_45 | NAYY 4x150 SE | 41 | 44 | 0.017412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_1135-6_0_4_line_46 | NAYY 4x150 SE | 41 | 45 | 0.0049603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1135-6_0_4_line_47 | NAYY 4x150 SE | 42 | 46 | 0.029641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_1135-6_0_4_line_48 | NAYY 4x150 SE | 42 | 47 | 0.051078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_1135-6_0_4_line_49 | NAYY 4x150 SE | 43 | 48 | 0.022472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1135-6_0_4_line_50 | NAYY 4x150 SE | 44 | 49 | 0.014596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_1135-6_0_4_line_51 | NAYY 4x150 SE | 47 | 50 | 0.02035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1135-6_0_4_line_52 | NAYY 4x150 SE | 48 | 54 | 0.037603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1135-6_0_4_line_53 | NAYY 4x150 SE | 49 | 55 | 0.032121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_1135-6_0_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.037981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1135-6_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.014618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1135-6_0_4_line_56 | NAYY 4x150 SE | 53 | 56 | 0.023798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1135-6_0_4_line_57 | NAYY 4x150 SE | 55 | 66 | 0.0019017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_1135-6_0_4_line_58 | NAYY 4x150 SE | 56 | 65 | 0.0025208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1135-6_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0062993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1135-6_0_4_line_60 | NAYY 4x150 SE | 57 | 59 | 0.010484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1135-6_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.041619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1135-6_0_4_line_62 | NAYY 4x150 SE | 61 | 62 | 0.026756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1135-6_0_4_line_63 | NAYY 4x150 SE | 63 | 64 | 0.024854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1135-6_0_4_line_64 | NAYY 4x150 SE | 64 | 65 | 0.028136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1135-6_0_4_line_65 | NAYY 4x150 SE | 65 | 66 | 0.048782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1135-6_0_4_trafo_36 | 0.25 MVA 20/0.4 kV | 67 | 47 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2635465.6699 | 1211919.5928 | 2635450.0879 | 1211901.1065
1 | 2635465.6699 | 1211919.5928 | 2635478.0503 | 1211934.2807
2 | 2635489.2378 | 1211947.5534 | 2635478.0503 | 1211934.2807
3 | 2635489.2378 | 1211947.5534 | 2635502.3866 | 1211964.6191 | 2635506.6068 | 1211970.4031 | 2635515.3164 | 1211981.8333
4 | 2635677.4526 | 1212002.503 | 2635545.1928 | 1212002.4704
5 | 2635676.9406 | 1212030.8863 | 2635674.5816 | 1212021.3445 | 2635674.8289 | 1212013.0189 | 2635677.4526 | 1212002.503
6 | 2635542.1295 | 1212001.6434 | 2635545.1928 | 1212002.4704
7 | 2635689.3878 | 1212033.0063 | 2635676.9406 | 1212030.8863
8 | 2636065.5549 | 1212064.458 | 2636016.523 | 1212070.2063
9 | 2636016.523 | 1212070.2063 | 2635864.4598 | 1212059.0685
10 | 2636128.0153 | 1212108.3871 | 2636065.5549 | 1212064.458
11 | 2635862.798 | 1212058.8378 | 2635864.4598 | 1212059.0685
12 | 2635515.3249 | 1211981.8445 | 2635515.3164 | 1211981.8333
13 | 2635542.1295 | 1212001.6434 | 2635536.0649 | 1211999.3838 | 2635529.8682 | 1211996.3452 | 2635524.9046 | 1211992.9248 | 2635520.8098 | 1211989.0427 | 2635515.3249 | 1211981.8445
14 | 2635689.3878 | 1212033.0063 | 2635718.0937 | 1212038.3956
15 | 2635797.9103 | 1212052.566 | 2635718.0937 | 1212038.3956
16 | 2635797.9103 | 1212052.566 | 2635811.526 | 1212054.4609 | 2635827.6887 | 1212055.8407
17 | 2635840.7497 | 1212056.9556 | 2635827.6887 | 1212055.8407
18 | 2635862.798 | 1212058.8378 | 2635840.7497 | 1212056.9556
19 | 2636128.0153 | 1212108.3871 | 2636163.3767 | 1212125.3647
20 | 2636174.5453 | 1212130.4037 | 2636167.4376 | 1212127.3144 | 2636163.3767 | 1212125.3647
21 | 2636301.9057 | 1212332.9245 | 2636302.5231 | 1212343.8893
22 | 2636301.0773 | 1212318.213 | 2636301.9057 | 1212332.9245
23 | 2636301.0773 | 1212318.213 | 2636274.921 | 1212320.5887
24 | 2636301.0773 | 1212318.213 | 2636300.1992 | 1212301.8052
25 | 2636274.921 | 1212320.5887 | 2636273.8801 | 1212304.8382
26 | 2636299.2764 | 1212284.5604 | 2636300.1992 | 1212301.8052
27 | 2636275.3445 | 1212295.9215 | 2636273.6339 | 1212301.1141 | 2636273.8801 | 1212304.8382
28 | 2636299.2764 | 1212284.5604 | 2636298.1237 | 1212262.9743 | 2636297.8795 | 1212258.4077
29 | 2636195.6518 | 1212087.6625 | 2636186.2825 | 1212102.7811
30 | 2636195.6518 | 1212087.6625 | 2636218.8252 | 1212098.9021
31 | 2636174.5453 | 1212130.4037 | 2636175.614 | 1212123.2949 | 2636178.7185 | 1212114.9867 | 2636186.2825 | 1212102.7811
32 | 2636218.8252 | 1212098.9021 | 2636222.0993 | 1212100.4901
33 | 2636174.5453 | 1212130.4037 | 2636175.9354 | 1212136.7046 | 2636180.1707 | 1212143.6454 | 2636184.9215 | 1212149.1882
34 | 2636222.0993 | 1212100.4901 | 2636241.5354 | 1212109.917
35 | 2636188.7692 | 1211979.0411 | 2636188.302 | 1211979.1444 | 2636176.6833 | 1211979.4742
36 | 2636188.7692 | 1211979.0411 | 2636240.474 | 1211982.2948
37 | 2636294.5279 | 1212013.4977 | 2636240.474 | 1211982.2948
38 | 2636202.0483 | 1212169.1704 | 2636184.9215 | 1212149.1882
39 | 2636265.31 | 1212119.3923 | 2636258.375 | 1212117.9049 | 2636244.4206 | 1212111.3164 | 2636241.5354 | 1212109.917
40 | 2636310.9369 | 1212188.5983 | 2636311.2176 | 1212186.1655
41 | 2636310.9369 | 1212188.5983 | 2636310.9369 | 1212188.5983 | 2636303.3581 | 1212213.1353
42 | 2636305.8308 | 1212156.2375 | 2636310.5639 | 1212168.7401 | 2636311.5763 | 1212174.6719 | 2636311.8432 | 1212180.7437 | 2636311.2176 | 1212186.1655
43 | 2636298.8024 | 1212228.8365 | 2636299.839 | 1212224.5293 | 2636301.7067 | 1212218.4816 | 2636303.3581 | 1212213.1353
44 | 2636305.8308 | 1212156.2375 | 2636314.8166 | 1212150.3879
45 | 2636305.8308 | 1212156.2375 | 2636313.0378 | 1212144.2411 | 2636314.2034 | 1212141.0284
46 | 2636305.8308 | 1212156.2375 | 2636303.1411 | 1212152.0697
47 | 2636298.8024 | 1212228.8365 | 2636297.6699 | 1212238.9132 | 2636297.6599 | 1212254.2998 | 2636297.8795 | 1212258.4077
48 | 2636298.8024 | 1212228.8365 | 2636282.3043 | 1212222.0657 | 2636263.4912 | 1212203.6742 | 2636258.9479 | 1212198.435
49 | 2636334.5548 | 1212139.6604 | 2636333.8418 | 1212140.0985 | 2636316.2196 | 1212149.4745 | 2636314.8166 | 1212150.3879
50 | 2636314.2034 | 1212141.0284 | 2636319.182 | 1212127.3072
51 | 2636258.9479 | 1212198.435 | 2636250.9598 | 1212189.2231 | 2636244.7134 | 1212183.9768
52 | 2636366.5923 | 1212119.9727 | 2636334.5548 | 1212139.6604
53 | 2636319.182 | 1212127.3072 | 2636321.1279 | 1212121.9441 | 2636321.1638 | 1212116.052 | 2636319.5823 | 1212107.5153 | 2636315.6307 | 1212096.353
54 | 2636265.31 | 1212119.3923 | 2636259.6993 | 1212107.518 | 2636258.1814 | 1212097.2474 | 2636261.2506 | 1212087.2714 | 2636263.547 | 1212083.9618
55 | 2636272.7154 | 1212072.6411 | 2636268.1947 | 1212077.2633 | 2636263.547 | 1212083.9618
56 | 2636272.7154 | 1212072.6411 | 2636276.2908 | 1212068.9855 | 2636289.3523 | 1212055.6249
57 | 2636315.6307 | 1212096.353 | 2636314.996 | 1212094.5604
58 | 2636291.1145 | 1212053.8224 | 2636289.3523 | 1212055.6249
59 | 2636212.3382 | 1212182.4293 | 2636208.4761 | 1212177.4529
60 | 2636202.0483 | 1212169.1704 | 2636208.4761 | 1212177.4529
61 | 2636202.0483 | 1212169.1704 | 2636204.4211 | 1212185.0495 | 2636200.4345 | 1212198.4997 | 2636194.3906 | 1212208.3245
62 | 2636275.3445 | 1212295.9215 | 2636271.946 | 1212295.0782 | 2636270.7967 | 1212286.6775 | 2636269.3563 | 1212276.1849 | 2636269.3817 | 1212271.9937
63 | 2636309.924 | 1212032.9136 | 2636298.568 | 1212020.026 | 2636294.5279 | 1212013.4977
64 | 2636309.924 | 1212032.9136 | 2636303.8435 | 1212040.8034 | 2636296.3054 | 1212048.5176 | 2636291.1145 | 1212053.8224
65 | 2636291.1145 | 1212053.8224 | 2636305.7535 | 1212069.0313 | 2636310.2013 | 1212074.7505 | 2636312.9973 | 1212084.7177 | 2636314.1747 | 1212092.2403 | 2636314.996 | 1212094.5604

## bus_geodata
| x | y | coords
0 | 2635465.6699 | 1211919.5928
1 | 2635450.0879 | 1211901.1065
2 | 2635478.0503 | 1211934.2807
3 | 2635489.2378 | 1211947.5534
4 | 2635677.4526 | 1212002.503
5 | 2635545.1928 | 1212002.4704
6 | 2635676.9406 | 1212030.8863
7 | 2636016.523 | 1212070.2063
8 | 2636065.5549 | 1212064.458
9 | 2635864.4598 | 1212059.0685
10 | 2635515.3164 | 1211981.8333
11 | 2635515.3249 | 1211981.8445
12 | 2635542.1295 | 1212001.6434
13 | 2635689.3878 | 1212033.0063
14 | 2635718.0937 | 1212038.3956
15 | 2635797.9103 | 1212052.566
16 | 2635827.6887 | 1212055.8407
17 | 2635840.7497 | 1212056.9556
18 | 2635862.798 | 1212058.8378
19 | 2636128.0153 | 1212108.3871
20 | 2636163.3767 | 1212125.3647
21 | 2636302.5231 | 1212343.8893
22 | 2636301.9057 | 1212332.9245
23 | 2636301.0773 | 1212318.213
24 | 2636274.921 | 1212320.5887
25 | 2636300.1992 | 1212301.8052
26 | 2636273.8801 | 1212304.8382
27 | 2636299.2764 | 1212284.5604
28 | 2636195.6518 | 1212087.6625
29 | 2636186.2825 | 1212102.7811
30 | 2636218.8252 | 1212098.9021
31 | 2636174.5453 | 1212130.4037
32 | 2636222.0993 | 1212100.4901
33 | 2636188.7692 | 1211979.0411
34 | 2636176.6833 | 1211979.4742
35 | 2636240.474 | 1211982.2948
36 | 2636184.9215 | 1212149.1882
37 | 2636241.5354 | 1212109.917
38 | 2636310.9369 | 1212188.5983
39 | 2636311.2176 | 1212186.1655
40 | 2636303.3581 | 1212213.1353
41 | 2636305.8308 | 1212156.2375
42 | 2636298.8024 | 1212228.8365
43 | 2636314.8166 | 1212150.3879
44 | 2636314.2034 | 1212141.0284
45 | 2636303.1411 | 1212152.0697
46 | 2636297.8795 | 1212258.4077
47 | 2636258.9479 | 1212198.435
48 | 2636334.5548 | 1212139.6604
49 | 2636319.182 | 1212127.3072
50 | 2636244.7134 | 1212183.9768
51 | 2636265.31 | 1212119.3923
52 | 2636263.547 | 1212083.9618
53 | 2636272.7154 | 1212072.6411
54 | 2636366.5923 | 1212119.9727
55 | 2636315.6307 | 1212096.353
56 | 2636289.3523 | 1212055.6249
57 | 2636208.4761 | 1212177.4529
58 | 2636212.3382 | 1212182.4293
59 | 2636202.0483 | 1212169.1704
60 | 2636194.3906 | 1212208.3245
61 | 2636275.3445 | 1212295.9215
62 | 2636269.3817 | 1212271.9937
63 | 2636294.5279 | 1212013.4977
64 | 2636309.9239 | 1212032.9136
65 | 2636291.1145 | 1212053.8224
66 | 2636314.996 | 1212094.5604
67 | 2636243.7865 | 1212183.1983

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97037 | -0.20941 | 0.00041653 | 0.00010439
1 | 0.97037 | -0.20943 | 8.4825e-05 | 2.1259e-05
2 | 0.97038 | -0.20931 | 4.1167e-05 | 1.0317e-05
3 | 0.9704 | -0.20921 | 0 | 0
4 | 0.9708 | -0.20626 | 0.00048469 | 0.00012148
5 | 0.97051 | -0.20841 | 0.00013488 | 3.3804e-05
6 | 0.97089 | -0.20564 | 0 | 0
7 | 0.97228 | -0.19543 | 0.00012182 | 3.0532e-05
8 | 0.97252 | -0.19367 | 0.00066306 | 0.00016618
9 | 0.97157 | -0.20064 | 0.00021376 | 5.3572e-05
10 | 0.97043 | -0.20895 | 0.00040501 | 0.00010151
11 | 0.97043 | -0.20895 | 0.0004299 | 0.00010774
12 | 0.9705 | -0.20845 | 0 | 0
13 | 0.97092 | -0.20537 | 0 | 0
14 | 0.97101 | -0.20474 | 0.00038218 | 9.5783e-05
15 | 0.97129 | -0.20267 | 0.0003201 | 8.0224e-05
16 | 0.97141 | -0.2018 | 0.00015608 | 3.9117e-05
17 | 0.97146 | -0.2014 | 0.0001145 | 2.8697e-05
18 | 0.97156 | -0.2007 | 0 | 0
19 | 0.97296 | -0.19042 | 0.00011461 | 2.8725e-05
20 | 0.9732 | -0.18871 | 9.6032e-05 | 2.4068e-05
21 | 0.9883 | -0.0818 | 0.00086788 | 0.00021751
22 | 0.98831 | -0.081702 | 0.017659 | 0.0044257
23 | 0.98871 | -0.078914 | 0 | 0
24 | 0.98669 | -0.093147 | 0 | 0
25 | 0.99041 | -0.066913 | 0.036481 | 0.0091431
26 | 0.98548 | -0.10175 | 0.048874 | 0.012249
27 | 0.99175 | -0.057425 | 0 | 0
28 | 0.97608 | -0.16801 | 0 | 0
29 | 0.97504 | -0.17544 | 6.6554e-05 | 1.668e-05
30 | 0.97758 | -0.15727 | 0.0026892 | 0.00067397
31 | 0.97327 | -0.18816 | 0 | 0
32 | 0.97781 | -0.15566 | 0.0016678 | 0.00041798
33 | 0.98658 | -0.093666 | 0.0006194 | 0.00015524
34 | 0.98657 | -0.093718 | 0.00041272 | 0.00010344
35 | 0.98665 | -0.093116 | 0.00060839 | 0.00015248
36 | 0.97213 | -0.19635 | 0.018087 | 0.004533
37 | 0.97921 | -0.14571 | 0.0046966 | 0.0011771
38 | 0.99255 | -0.051737 | 0.002004 | 0.00050226
39 | 0.99243 | -0.052584 | 0.0068127 | 0.0017074
40 | 0.99385 | -0.042686 | 0.0011927 | 0.00029892
41 | 0.991 | -0.062592 | 0 | 0
42 | 0.99469 | -0.036868 | 0 | 0
43 | 0.99088 | -0.063424 | 0.0031324 | 0.00078506
44 | 0.99031 | -0.067402 | 0.0014759 | 0.00036991
45 | 0.99095 | -0.062921 | 0.0065362 | 0.0016381
46 | 0.99312 | -0.047859 | 0.0019453 | 0.00048754
47 | 1 | 0 | -0.22867 | -0.057513
48 | 0.99074 | -0.064453 | 0.0010017 | 0.00025105
49 | 0.98975 | -0.071366 | 0.0029693 | 0.00074417
50 | 0.99974 | -0.0018345 | 0.0090288 | 0.0022628
51 | 0.98105 | -0.13264 | 0 | 0
52 | 0.98376 | -0.11343 | 0.0039389 | 0.00098717
53 | 0.98489 | -0.10548 | 0.0019623 | 0.00049181
54 | 0.99055 | -0.065792 | 0.0034992 | 0.00087697
55 | 0.98855 | -0.079779 | 0.01328 | 0.0033283
56 | 0.98679 | -0.092083 | 0.0046513 | 0.0011657
57 | 0.97126 | -0.20263 | 0.01141 | 0.0028596
58 | 0.97125 | -0.20274 | 0.0015559 | 0.00038995
59 | 0.97146 | -0.2012 | 0 | 0
60 | 0.97119 | -0.20315 | 0.0044458 | 0.0011142
61 | 0.98542 | -0.10216 | 0 | 0
62 | 0.98526 | -0.10332 | 0.0042469 | 0.0010644
63 | 0.9868 | -0.092061 | 0.0011331 | 0.00028398
64 | 0.9869 | -0.091351 | 0 | 0
65 | 0.98701 | -0.090547 | 0 | 0
66 | 0.98849 | -0.080192 | 0.0014914 | 0.00037377
67 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 8.4825e-05 | 2.0961e-05 | -8.4825e-05 | -2.1259e-05 | 2.5505e-10 | -2.9857e-07 | 0.00012997 | 0.00013008 | 0.00013008 | 0.97037 | -0.20941 | 0.97037 | -0.20943 | 0.048176
1 | -0.00050135 | -0.00012535 | 0.00050136 | 0.00012512 | 7.0821e-09 | -2.3458e-07 | 0.00076869 | 0.00076861 | 0.00076869 | 0.97037 | -0.20941 | 0.97038 | -0.20931 | 0.2847
2 | -0.00054253 | -0.00013544 | 0.00054253 | 0.00013522 | 7.4926e-09 | -2.1157e-07 | 0.00083173 | 0.00083166 | 0.00083173 | 0.97038 | -0.20931 | 0.9704 | -0.20921 | 0.30805
3 | -0.00054253 | -0.00013522 | 0.00054255 | 0.0001347 | 1.8586e-08 | -5.2501e-07 | 0.00083166 | 0.00083147 | 0.00083166 | 0.9704 | -0.20921 | 0.97043 | -0.20895 | 0.30802
4 | 0.0015129 | 0.00037587 | -0.0015125 | -0.00037733 | 4.4346e-07 | -1.4642e-06 | 0.0023177 | 0.0023183 | 0.0023183 | 0.9708 | -0.20626 | 0.97051 | -0.20841 | 0.85864
5 | -0.0019976 | -0.00049734 | 0.0019978 | 0.00049705 | 1.6949e-07 | -2.9337e-07 | 0.0030607 | 0.0030605 | 0.0030607 | 0.9708 | -0.20626 | 0.97089 | -0.20564 | 1.1336
6 | 0.0013776 | 0.00034353 | -0.0013776 | -0.00034356 | 8.8276e-09 | -3.5812e-08 | 0.0021115 | 0.0021115 | 0.0021115 | 0.97051 | -0.20841 | 0.9705 | -0.20845 | 0.78205
7 | -0.0019978 | -0.00049705 | 0.0019978 | 0.00049692 | 7.3592e-08 | -1.2741e-07 | 0.0030605 | 0.0030605 | 0.0030605 | 0.97089 | -0.20564 | 0.97092 | -0.20537 | 1.1335
8 | -0.0033102 | -0.00082226 | 0.003311 | 0.00082195 | 7.8974e-07 | -3.0866e-07 | 0.0050634 | 0.0050631 | 0.0050634 | 0.97228 | -0.19543 | 0.97252 | -0.19367 | 1.8753
9 | 0.0031883 | 0.00079173 | -0.0031861 | -0.00079275 | 2.2632e-06 | -1.0191e-06 | 0.0048769 | 0.0048776 | 0.0048776 | 0.97228 | -0.19543 | 0.97157 | -0.20064 | 1.8065
10 | -0.003974 | -0.00098813 | 0.0039758 | 0.00098786 | 1.76e-06 | -2.7102e-07 | 0.0060777 | 0.0060773 | 0.0060777 | 0.97252 | -0.19367 | 0.97296 | -0.19042 | 2.251
11 | 0.0029723 | 0.00073918 | -0.0029723 | -0.00073919 | 2.1675e-08 | -1.244e-08 | 0.0045502 | 0.0045502 | 0.0045502 | 0.97157 | -0.20064 | 0.97156 | -0.2007 | 1.6853
12 | -0.00094756 | -0.0002362 | 0.00094756 | 0.0002362 | 1.7759e-11 | -1.6592e-10 | 0.0014525 | 0.0014525 | 0.0014525 | 0.97043 | -0.20895 | 0.97043 | -0.20895 | 0.53796
13 | -0.0013775 | -0.00034395 | 0.0013776 | 0.00034356 | 9.4861e-08 | -3.8477e-07 | 0.0021117 | 0.0021115 | 0.0021117 | 0.97043 | -0.20895 | 0.9705 | -0.20845 | 0.78211
14 | -0.0019978 | -0.00049692 | 0.001998 | 0.00049663 | 1.707e-07 | -2.956e-07 | 0.0030605 | 0.0030603 | 0.0030605 | 0.97092 | -0.20537 | 0.97101 | -0.20474 | 1.1335
15 | -0.0023802 | -0.00059241 | 0.0023809 | 0.00059167 | 6.7237e-07 | -7.4443e-07 | 0.003646 | 0.0036457 | 0.003646 | 0.97101 | -0.20474 | 0.97129 | -0.20267 | 1.3504
16 | -0.002701 | -0.00067189 | 0.0027013 | 0.00067164 | 3.1989e-07 | -2.4792e-07 | 0.004136 | 0.0041359 | 0.004136 | 0.97129 | -0.20267 | 0.97141 | -0.2018 | 1.5319
17 | -0.0028574 | -0.00071076 | 0.0028575 | 0.00071066 | 1.5656e-07 | -1.0207e-07 | 0.004375 | 0.0043749 | 0.004375 | 0.97141 | -0.2018 | 0.97146 | -0.2014 | 1.6204
18 | -0.002972 | -0.00073935 | 0.0029723 | 0.00073919 | 2.859e-07 | -1.6404e-07 | 0.0045503 | 0.0045502 | 0.0045503 | 0.97146 | -0.2014 | 0.97156 | -0.2007 | 1.6853
19 | -0.0040904 | -0.0010166 | 0.0040913 | 0.0010165 | 9.569e-07 | -1.1924e-07 | 0.0062526 | 0.0062524 | 0.0062526 | 0.97296 | -0.19042 | 0.9732 | -0.18871 | 2.3158
20 | -0.0041874 | -0.0010405 | 0.0041877 | 0.0010405 | 3.1314e-07 | -3.1842e-08 | 0.0063993 | 0.0063992 | 0.0063993 | 0.9732 | -0.18871 | 0.97327 | -0.18816 | 2.3701
21 | -0.00086788 | -0.00021751 | 0.00086789 | 0.00021737 | 1.1701e-08 | -1.3623e-07 | 0.0013067 | 0.0013067 | 0.0013067 | 0.9883 | -0.0818 | 0.98831 | -0.081702 | 0.48396
22 | -0.018526 | -0.004643 | 0.018534 | 0.0046456 | 7.1538e-06 | 2.5626e-06 | 0.027894 | 0.027894 | 0.027894 | 0.98831 | -0.081702 | 0.98871 | -0.078914 | 10.331
23 | 0.053291 | 0.013378 | -0.053185 | -0.013337 | 0.00010514 | 4.0102e-05 | 0.080211 | 0.080211 | 0.080211 | 0.98871 | -0.078914 | 0.98669 | -0.093147 | 29.7078
24 | -0.071824 | -0.018023 | 0.071944 | 0.018069 | 0.00011982 | 4.5875e-05 | 0.1081 | 0.1081 | 0.1081 | 0.98871 | -0.078914 | 0.99041 | -0.066913 | 40.0387
25 | 0.053185 | 0.013337 | -0.053122 | -0.013313 | 6.3371e-05 | 2.4172e-05 | 0.080211 | 0.080211 | 0.080211 | 0.98669 | -0.093147 | 0.98548 | -0.10175 | 29.7078
26 | -0.10843 | -0.027212 | 0.10857 | 0.027267 | 0.00014301 | 5.4557e-05 | 0.16291 | 0.16291 | 0.16291 | 0.99041 | -0.066913 | 0.99175 | -0.057425 | 30.1694
27 | 0.0042479 | 0.0010643 | -0.0042476 | -0.0010643 | 2.3615e-07 | -2.6376e-08 | 0.0064139 | 0.0064139 | 0.0064139 | 0.98548 | -0.10175 | 0.98542 | -0.10216 | 2.3755
28 | -0.10857 | -0.027267 | 0.10871 | 0.027321 | 0.00014458 | 5.4594e-05 | 0.16291 | 0.16291 | 0.16291 | 0.99175 | -0.057425 | 0.99312 | -0.047859 | 20.1129
29 | 0.03992 | 0.010016 | -0.039879 | -0.010001 | 4.111e-05 | 1.559e-05 | 0.060861 | 0.060861 | 0.060861 | 0.97608 | -0.16801 | 0.97504 | -0.17544 | 22.5412
30 | -0.03992 | -0.010016 | 0.039979 | 0.010039 | 5.9529e-05 | 2.2573e-05 | 0.060861 | 0.060861 | 0.060861 | 0.97608 | -0.16801 | 0.97758 | -0.15727 | 22.5411
31 | 0.039812 | 0.009984 | -0.039742 | -0.0099574 | 7.0071e-05 | 2.6572e-05 | 0.06076 | 0.06076 | 0.06076 | 0.97504 | -0.17544 | 0.97327 | -0.18816 | 22.5036
32 | -0.042669 | -0.010713 | 0.042678 | 0.010716 | 9.58e-06 | 3.639e-06 | 0.064954 | 0.064954 | 0.064954 | 0.97758 | -0.15727 | 0.97781 | -0.15566 | 24.0572
33 | 0.035554 | 0.0089169 | -0.035514 | -0.0089017 | 4.0353e-05 | 1.5249e-05 | 0.054361 | 0.054361 | 0.054361 | 0.97327 | -0.18816 | 0.97213 | -0.19635 | 20.1336
34 | -0.044346 | -0.011134 | 0.044407 | 0.011158 | 6.1401e-05 | 2.3345e-05 | 0.067492 | 0.067492 | 0.067492 | 0.97781 | -0.15566 | 0.97921 | -0.14571 | 24.9971
35 | 0.00041273 | 0.00010328 | -0.00041272 | -0.00010344 | 2.926e-09 | -1.5341e-07 | 0.00062244 | 0.0006225 | 0.0006225 | 0.98658 | -0.093666 | 0.98657 | -0.093718 | 0.23056
36 | -0.0010321 | -0.00025852 | 0.0010322 | 0.00025789 | 7.8325e-08 | -6.3147e-07 | 0.0015567 | 0.0015564 | 0.0015567 | 0.98658 | -0.093666 | 0.98665 | -0.093116 | 0.57654
37 | -0.0016406 | -0.00041037 | 0.0016408 | 0.00040966 | 2.3834e-07 | -7.0556e-07 | 0.002474 | 0.0024737 | 0.002474 | 0.98665 | -0.093116 | 0.9868 | -0.092061 | 0.91629
38 | 0.017427 | 0.0043686 | -0.017415 | -0.0043645 | 1.1686e-05 | 4.1684e-06 | 0.026675 | 0.026675 | 0.026675 | 0.97213 | -0.19635 | 0.97146 | -0.2012 | 9.8798
39 | -0.049104 | -0.012335 | 0.049193 | 0.012369 | 8.9425e-05 | 3.407e-05 | 0.074629 | 0.074629 | 0.074629 | 0.97921 | -0.14571 | 0.98105 | -0.13264 | 27.6405
40 | 0.10346 | 0.02606 | -0.10345 | -0.026056 | 1.2263e-05 | 4.6214e-06 | 0.15516 | 0.15516 | 0.15516 | 0.99255 | -0.051737 | 0.99243 | -0.052584 | 19.1551
41 | -0.10547 | -0.026562 | 0.1056 | 0.026613 | 0.00013362 | 5.0395e-05 | 0.15816 | 0.15816 | 0.15816 | 0.99255 | -0.051737 | 0.99385 | -0.042686 | 19.526
42 | 0.096638 | 0.024348 | -0.096503 | -0.024297 | 0.00013512 | 5.0771e-05 | 0.14494 | 0.14494 | 0.14494 | 0.99243 | -0.052584 | 0.991 | -0.062592 | 17.8941
43 | -0.10679 | -0.026912 | 0.10688 | 0.026945 | 8.703e-05 | 3.2837e-05 | 0.15995 | 0.15995 | 0.15995 | 0.99385 | -0.042686 | 0.99469 | -0.036868 | 19.7464
44 | 0.0076355 | 0.001913 | -0.0076346 | -0.0019128 | 8.7939e-07 | 2.001e-07 | 0.011465 | 0.011465 | 0.011465 | 0.991 | -0.062592 | 0.99088 | -0.063424 | 4.2462
45 | 0.082331 | 0.020746 | -0.082276 | -0.020726 | 5.5386e-05 | 2.063e-05 | 0.12366 | 0.12366 | 0.12366 | 0.991 | -0.062592 | 0.99031 | -0.067402 | 15.267
46 | 0.0065365 | 0.0016382 | -0.0065362 | -0.0016381 | 2.9816e-07 | 5.077e-08 | 0.0098147 | 0.0098147 | 0.0098147 | 0.991 | -0.062592 | 0.99095 | -0.062921 | 3.6351
47 | 0.11083 | 0.027873 | -0.11066 | -0.027809 | 0.00016954 | 6.4055e-05 | 0.16583 | 0.16583 | 0.16583 | 0.99469 | -0.036868 | 0.99312 | -0.047859 | 20.4727
48 | -0.21771 | -0.054817 | 0.21884 | 0.055249 | 0.0011275 | 0.00043166 | 0.32577 | 0.32577 | 0.32577 | 0.99469 | -0.036868 | 1 | 0 | 40.2191
49 | 0.0045021 | 0.0011277 | -0.0045015 | -0.0011278 | 6.4094e-07 | -4.2911e-08 | 0.0067607 | 0.0067608 | 0.0067608 | 0.99088 | -0.063424 | 0.99074 | -0.064453 | 2.504
50 | 0.0808 | 0.020356 | -0.080755 | -0.020339 | 4.4779e-05 | 1.666e-05 | 0.12145 | 0.12145 | 0.12145 | 0.99031 | -0.067402 | 0.98975 | -0.071366 | 14.9933
51 | 0.0090311 | 0.0022635 | -0.0090288 | -0.0022628 | 2.2933e-06 | 6.1512e-07 | 0.013438 | 0.013439 | 0.013439 | 1 | 0 | 0.99974 | -0.0018345 | 4.9772
52 | 0.0034998 | 0.00087674 | -0.0034992 | -0.00087697 | 6.4832e-07 | -2.3479e-07 | 0.0052563 | 0.0052565 | 0.0052565 | 0.99074 | -0.064453 | 0.99055 | -0.065792 | 1.9468
53 | 0.077786 | 0.019595 | -0.077695 | -0.019561 | 9.1428e-05 | 3.3928e-05 | 0.11698 | 0.11698 | 0.11698 | 0.98975 | -0.071366 | 0.98855 | -0.079779 | 14.4422
54 | -0.049193 | -0.012369 | 0.049325 | 0.012419 | 0.000132 | 5.0287e-05 | 0.074629 | 0.074629 | 0.074629 | 0.98105 | -0.13264 | 0.98376 | -0.11343 | 27.6404
55 | -0.053264 | -0.013406 | 0.053323 | 0.013429 | 5.924e-05 | 2.2599e-05 | 0.080587 | 0.080587 | 0.080587 | 0.98376 | -0.11343 | 0.98489 | -0.10548 | 29.847
56 | -0.055286 | -0.013921 | 0.055389 | 0.01396 | 0.00010366 | 3.9568e-05 | 0.083552 | 0.083551 | 0.083552 | 0.98489 | -0.10548 | 0.98679 | -0.092083 | 30.945
57 | 0.064414 | 0.016233 | -0.064411 | -0.016231 | 3.721e-06 | 1.358e-06 | 0.096992 | 0.096992 | 0.096992 | 0.98855 | -0.079779 | 0.98849 | -0.080192 | 11.9743
58 | -0.060041 | -0.015126 | 0.060054 | 0.015131 | 1.2902e-05 | 4.9299e-06 | 0.090565 | 0.090565 | 0.090565 | 0.98679 | -0.092083 | 0.98701 | -0.090547 | 33.5427
59 | 0.0015559 | 0.00038988 | -0.0015559 | -0.00038995 | 2.2336e-08 | -6.9369e-08 | 0.0023837 | 0.0023838 | 0.0023838 | 0.97126 | -0.20263 | 0.97125 | -0.20274 | 0.88288
60 | -0.012966 | -0.0032494 | 0.012968 | 0.0032503 | 2.5814e-06 | 8.6306e-07 | 0.019864 | 0.019864 | 0.019864 | 0.97126 | -0.20263 | 0.97146 | -0.2012 | 7.3571
61 | 0.004447 | 0.0011142 | -0.0044458 | -0.0011142 | 1.2049e-06 | -5.1707e-08 | 0.0068115 | 0.0068116 | 0.0068116 | 0.97146 | -0.2012 | 0.97119 | -0.20315 | 2.5228
62 | 0.0042476 | 0.0010643 | -0.0042469 | -0.0010644 | 6.8685e-07 | -7.6632e-08 | 0.0064139 | 0.006414 | 0.006414 | 0.98542 | -0.10216 | 0.98526 | -0.10332 | 2.3756
63 | -0.0027739 | -0.00069364 | 0.0027742 | 0.00069343 | 2.7127e-07 | -2.1322e-07 | 0.0041823 | 0.0041822 | 0.0041823 | 0.9868 | -0.092061 | 0.9869 | -0.091351 | 1.549
64 | -0.0027742 | -0.00069343 | 0.0027745 | 0.00069319 | 3.0707e-07 | -2.4145e-07 | 0.0041822 | 0.0041821 | 0.0041822 | 0.9869 | -0.091351 | 0.98701 | -0.090547 | 1.549
65 | -0.062828 | -0.015824 | 0.062919 | 0.015857 | 9.1086e-05 | 3.316e-05 | 0.094747 | 0.094747 | 0.094747 | 0.98701 | -0.090547 | 0.98849 | -0.080192 | 11.6972

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23454 | 0.058986

## res_load
| p_mw | q_mvar
0 | 0.00041653 | 0.00010439
1 | 8.4825e-05 | 2.1259e-05
2 | 4.1167e-05 | 1.0317e-05
3 | 0.00048469 | 0.00012148
4 | 0.00013488 | 3.3804e-05
5 | 0.00012182 | 3.0532e-05
6 | 0.00066306 | 0.00016618
7 | 0.00021376 | 5.3572e-05
8 | 0.00040501 | 0.00010151
9 | 0.0004299 | 0.00010774
10 | 0.00038218 | 9.5783e-05
11 | 0.0003201 | 8.0224e-05
12 | 0.00015608 | 3.9117e-05
13 | 0.0001145 | 2.8697e-05
14 | 0.00011461 | 2.8725e-05
15 | 9.6032e-05 | 2.4068e-05
16 | 0.00086788 | 0.00021751
17 | 0.017659 | 0.0044257
18 | 0.036481 | 0.0091431
19 | 0.048874 | 0.012249
20 | 6.6554e-05 | 1.668e-05
21 | 0.0026892 | 0.00067397
22 | 0.0016678 | 0.00041798
23 | 0.0006194 | 0.00015524
24 | 0.00041272 | 0.00010344
25 | 0.00060839 | 0.00015248
26 | 0.018087 | 0.004533
27 | 0.0046966 | 0.0011771
28 | 0.002004 | 0.00050226
29 | 0.0068127 | 0.0017074
30 | 0.0011927 | 0.00029892
31 | 0.0031324 | 0.00078506
32 | 0.0014759 | 0.00036991
33 | 0.0065362 | 0.0016381
34 | 0.0019453 | 0.00048754
35 | 0.0058773 | 0.001473
36 | 0.0010017 | 0.00025105
37 | 0.0029693 | 0.00074417
38 | 0.0090288 | 0.0022628
39 | 0.0039389 | 0.00098717
40 | 0.0019623 | 0.00049181
41 | 0.0034992 | 0.00087697
42 | 0.01328 | 0.0033283
43 | 0.0046513 | 0.0011657
44 | 0.01141 | 0.0028596
45 | 0.0015559 | 0.00038995
46 | 0.0044458 | 0.0011142
47 | 0.0042469 | 0.0010644
48 | 0.0011331 | 0.00028398
49 | 0.0014914 | 0.00037377

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1