## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1136-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1136-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1136-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1136-10_0_3_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_1136-10_0_3_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_1136-10_0_3_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_1136-10_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1136-10_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_1136-10_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1136-10_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1136-10_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1136-10_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1136-10_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1136-10_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1136-10_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1136-10_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1136-10_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1136-10_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1136-10_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1136-10_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1136-10_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1136-10_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1136-10_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1136-10_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1136-10_0_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_1136-10_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1136-10_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_MV_124_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1136-10_0_3_load_0 | 0 | 0.0012588 | 0.00031547 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1136-10_0_3_load_1 | 1 | 0.099007 | 0.024814 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1136-10_0_3_load_25 | 3 | 0.0013271 | 0.0003326 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1136-10_0_3_load_24 | 4 | 0.0050291 | 0.0012604 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1136-10_0_3_load_28 | 5 | 0.0034222 | 0.00085769 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1136-10_0_3_load_8 | 6 | 0.0039748 | 0.00099617 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1136-10_0_3_load_3 | 7 | 0.0073017 | 0.00183 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1136-10_0_3_load_4 | 8 | 0.0014638 | 0.00036687 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1136-10_0_3_load_6 | 10 | 0.0016259 | 0.0004075 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1136-10_0_3_load_7 | 11 | 0.0062185 | 0.0015585 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1136-10_0_3_load_15 | 12 | 0.0064621 | 0.0016196 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1136-10_0_3_load_21 | 13 | 0.00028408 | 7.1197e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1136-10_0_3_load_14 | 14 | 0.00099717 | 0.00024992 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1136-10_0_3_load_9 | 16 | 0.0023234 | 0.0005823 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1136-10_0_3_load_10 | 17 | 0.00082442 | 0.00020662 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1136-10_0_3_load_12 | 19 | 0.00026962 | 6.7572e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1136-10_0_3_load_23 | 21 | 0.00036048 | 9.0344e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1136-10_0_3_load_19 | 23 | 0.001507 | 0.00037769 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1136-10_0_3_load_26 | 24 | 0.00038032 | 9.5317e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1136-10_0_3_load_18 | 25 | 0.0029379 | 0.00073631 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1136-10_0_3_load_16 | 26 | 0.013455 | 0.0033721 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1136-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.04748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1136-10_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.10418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1136-10_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.011749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1136-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.17264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1136-10_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.00491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1136-10_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.073772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1136-10_0_3_line_6 | NAYY 4x150 SE | 6 | 9 | 0.047191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1136-10_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.029519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1136-10_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0029047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1136-10_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.19858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1136-10_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.017248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1136-10_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0043095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1136-10_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.083777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1136-10_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0081458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1136-10_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.02396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1136-10_0_3_line_15 | NAYY 4x150 SE | 14 | 26 | 0.019111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1136-10_0_3_line_16 | NAYY 4x150 SE | 15 | 21 | 0.40856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1136-10_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.0021114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1136-10_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.010047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1136-10_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.033204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1136-10_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.016471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1136-10_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.030011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1136-10_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.003392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1136-10_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.017455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1136-10_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.056756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1136-10_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.083841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1136-10_0_3_trafo_24 | 0.25 MVA 20/0.4 kV | 27 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2644686.3025 | 1215573.1504 | 2644687.6267 | 1215573.5779 | 2644702.9878 | 1215583.6989 | 2644712.8573 | 1215594.0346 | 2644717.7752 | 1215606.501
1 | 2644689.8088 | 1215704.9053 | 2644697.9994 | 1215691.0251 | 2644710.0465 | 1215667.1234 | 2644718.2063 | 1215617.8777 | 2644717.7752 | 1215606.501
2 | 2644689.8088 | 1215704.9053 | 2644684.8025 | 1215713.3394 | 2644683.232 | 1215714.4807
3 | 2644689.8088 | 1215704.9053 | 2644699.6533 | 1215706.391 | 2644715.2716 | 1215705.4519 | 2644725.5956 | 1215707.8085 | 2644739.5626 | 1215711.382 | 2644749.3502 | 1215711.3554 | 2644760.3618 | 1215709.0922 | 2644775.6296 | 1215703.2478 | 2644785.187 | 1215700.5068 | 2644796.2538 | 1215700.0118 | 2644812.1073 | 1215702.121 | 2644824.8464 | 1215707.4309 | 2644846.7562 | 1215720.0142 | 2644853.3373 | 1215725.5117
4 | 2644679.2598 | 1215717.367 | 2644683.232 | 1215714.4807
5 | 2644853.3373 | 1215725.5117 | 2644892.0822 | 1215757.8775 | 2644906.782 | 1215775.9387
6 | 2644943.033 | 1215799.886 | 2644936.4841 | 1215801.4042 | 2644929.1693 | 1215799.7592 | 2644921.0128 | 1215793.9499 | 2644914.306 | 1215785.1831 | 2644906.782 | 1215775.9387
7 | 2644973.2227 | 1215793.8365 | 2644958.4316 | 1215791.7972 | 2644952.1121 | 1215794.0954 | 2644945.482 | 1215798.324
8 | 2644943.033 | 1215799.886 | 2644945.482 | 1215798.324
9 | 2644973.2227 | 1215793.8365 | 2644993.0647 | 1215796.5722 | 2645094.2794 | 1215808.4101 | 2645101.4869 | 1215808.1644 | 2645109.8642 | 1215805.8375 | 2645117.393 | 1215801.2584 | 2645121.8785 | 1215794.4883 | 2645122.5673 | 1215786.7445 | 2645120.0487 | 1215779.4322 | 2645109.1233 | 1215764.274 | 2645107.0484 | 1215758.5215 | 2645107.8099 | 1215755.108
10 | 2644943.033 | 1215799.886 | 2644946.5204 | 1215804.615 | 2644952.9852 | 1215807.1986 | 2644956.8503 | 1215809.3233
11 | 2645109.137 | 1215751.0532 | 2645108.4473 | 1215752.2506 | 2645107.8099 | 1215755.108
12 | 2644956.8503 | 1215809.3233 | 2644977.3258 | 1215820.5789 | 2645001.8804 | 1215831.7262 | 2645028.2984 | 1215839.4412 | 2645033.6894 | 1215841.8975
13 | 2645109.137 | 1215751.0532 | 2645113.2025 | 1215743.9944
14 | 2645055.4934 | 1215851.8317 | 2645033.6894 | 1215841.8975
15 | 2645122.7406 | 1215727.4338 | 2645113.2025 | 1215743.9944
16 | 2645055.4934 | 1215851.8317 | 2644988.3699 | 1216254.8383
17 | 2644967.6193 | 1216316.2348 | 2644968.3024 | 1216314.237 | 2644968.3024 | 1216314.237
18 | 2644967.9643 | 1216325.8524 | 2644966.346 | 1216319.9589 | 2644967.6193 | 1216316.2348
19 | 2644982.054 | 1216284.1776 | 2644981.5473 | 1216286.5315 | 2644977.3848 | 1216297.8624 | 2644968.3024 | 1216314.237
20 | 2644963.3204 | 1216341.6268 | 2644965.0165 | 1216334.1685 | 2644967.9643 | 1216325.8524
21 | 2644988.3699 | 1216254.8383 | 2644982.054 | 1216284.1776
22 | 2644963.3204 | 1216341.6268 | 2644962.5666 | 1216344.9342
23 | 2644963.3204 | 1216341.6268 | 2644976.4643 | 1216353.112
24 | 2644962.5666 | 1216344.9342 | 2644948.4562 | 1216356.5569 | 2644941.0418 | 1216365.1951 | 2644924.5576 | 1216386.6942
25 | 2645050.5587 | 1216390.8978 | 2645047.5743 | 1216390.4025 | 2645028.8901 | 1216384.369 | 2645016.3095 | 1216378.3927 | 2644980.223 | 1216356.3963 | 2644976.4643 | 1216353.112

## bus_geodata
| x | y | coords
0 | 2644686.3025 | 1215573.1504
1 | 2644717.7752 | 1215606.501
2 | 2644689.8088 | 1215704.9053
3 | 2644683.232 | 1215714.4807
4 | 2644853.3373 | 1215725.5117
5 | 2644679.2598 | 1215717.367
6 | 2644906.782 | 1215775.9387
7 | 2644945.482 | 1215798.324
8 | 2644973.2227 | 1215793.8365
9 | 2644943.033 | 1215799.886
10 | 2645107.8099 | 1215755.108
11 | 2644956.8503 | 1215809.3233
12 | 2645109.137 | 1215751.0532
13 | 2645033.6894 | 1215841.8975
14 | 2645113.2025 | 1215743.9944
15 | 2645055.4934 | 1215851.8317
16 | 2644967.6193 | 1216316.2348
17 | 2644968.3024 | 1216314.237
18 | 2644967.9643 | 1216325.8524
19 | 2644982.054 | 1216284.1776
20 | 2644963.3203 | 1216341.6268
21 | 2644988.3699 | 1216254.8383
22 | 2644962.5666 | 1216344.9342
23 | 2644976.4643 | 1216353.112
24 | 2644924.5576 | 1216386.6942
25 | 2645050.5587 | 1216390.8978
26 | 2645122.7406 | 1215727.4338
27 | 2644943.033 | 1215799.886

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97129 | -0.20114 | 0.0012588 | 0.00031547
1 | 0.97137 | -0.2005 | 0.099007 | 0.024814
2 | 0.9867 | -0.09172 | 0 | 0
3 | 0.98662 | -0.092292 | 0.0013271 | 0.0003326
4 | 1 | 0 | -0.15979 | -0.040306
5 | 0.9866 | -0.092464 | 0.0034222 | 0.00085769
6 | 0.99463 | -0.037378 | 0.0039748 | 0.00099617
7 | 0.99133 | -0.060517 | 0.0073017 | 0.00183
8 | 0.99031 | -0.067727 | 0.0014638 | 0.00036687
9 | 0.99146 | -0.059593 | 0 | 0
10 | 0.98382 | -0.1136 | 0.0016259 | 0.0004075
11 | 0.99109 | -0.062252 | 0.0062185 | 0.0015585
12 | 0.98369 | -0.11453 | 0.0064621 | 0.0016196
13 | 0.99001 | -0.069885 | 0.00028408 | 7.1197e-05
14 | 0.98352 | -0.11575 | 0.00099717 | 0.00024992
15 | 0.98971 | -0.072 | 0 | 0
16 | 0.98385 | -0.11363 | 0.0023234 | 0.0005823
17 | 0.98388 | -0.11347 | 0.00082442 | 0.00020662
18 | 0.98378 | -0.11413 | 0 | 0
19 | 0.98426 | -0.11073 | 0.00026962 | 6.7572e-05
20 | 0.98367 | -0.11495 | 0 | 0
21 | 0.98462 | -0.10818 | 0.00036048 | 9.0344e-05
22 | 0.98367 | -0.11496 | 0 | 0
23 | 0.98356 | -0.11575 | 0.001507 | 0.00037769
24 | 0.98364 | -0.11519 | 0.00038032 | 9.5317e-05
25 | 0.9832 | -0.1183 | 0.0029379 | 0.00073631
26 | 0.98314 | -0.1184 | 0.013455 | 0.0033721
27 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0012588 | -0.00031547 | 0.0012589 | 0.00031493 | 1.1017e-07 | -5.4532e-07 | 0.0019284 | 0.0019282 | 0.0019284 | 0.97129 | -0.20114 | 0.97137 | -0.2005 | 0.71423
1 | -0.10027 | -0.025129 | 0.1018 | 0.025717 | 0.0015337 | 0.00058857 | 0.15359 | 0.15359 | 0.15359 | 0.97137 | -0.2005 | 0.9867 | -0.09172 | 56.8868
2 | 0.0047498 | 0.0011903 | -0.0047494 | -0.0011903 | 3.7617e-07 | -5.3788e-09 | 0.0071629 | 0.007163 | 0.007163 | 0.9867 | -0.09172 | 0.98662 | -0.092292 | 2.653
3 | -0.10655 | -0.026907 | 0.10794 | 0.027438 | 0.001392 | 0.00053091 | 0.16076 | 0.16076 | 0.16076 | 0.9867 | -0.09172 | 1 | 0 | 29.7698
4 | 0.0034223 | 0.00085766 | -0.0034222 | -0.00085769 | 8.1624e-08 | -3.1309e-08 | 0.0051615 | 0.0051615 | 0.0051615 | 0.98662 | -0.092292 | 0.9866 | -0.092464 | 1.9117
5 | 0.051048 | 0.012868 | -0.050782 | -0.012766 | 0.0002658 | 0.00010127 | 0.075986 | 0.075987 | 0.075987 | 1 | 0 | 0.99463 | -0.037378 | 28.1432
6 | 0.046807 | 0.01177 | -0.046663 | -0.011715 | 0.00014446 | 5.495e-05 | 0.07004 | 0.07004 | 0.07004 | 0.99463 | -0.037378 | 0.99146 | -0.059593 | 25.9409
7 | 0.024182 | 0.0060813 | -0.024158 | -0.0060723 | 2.428e-05 | 8.9581e-06 | 0.036306 | 0.036306 | 0.036306 | 0.99133 | -0.060517 | 0.99031 | -0.067727 | 13.4466
8 | -0.031484 | -0.0079112 | 0.031488 | 0.0079128 | 4.0493e-06 | 1.52e-06 | 0.047266 | 0.047266 | 0.047266 | 0.99133 | -0.060517 | 0.99146 | -0.059593 | 17.5058
9 | 0.022694 | 0.0057054 | -0.02255 | -0.0056525 | 0.00014414 | 5.2902e-05 | 0.034106 | 0.034107 | 0.034107 | 0.99031 | -0.067727 | 0.98382 | -0.1136 | 12.6323
10 | 0.015175 | 0.0038024 | -0.015169 | -0.0038005 | 5.5826e-06 | 1.9248e-06 | 0.022775 | 0.022775 | 0.022775 | 0.99146 | -0.059593 | 0.99109 | -0.062252 | 8.4351
11 | 0.020924 | 0.005245 | -0.020921 | -0.0052441 | 2.6934e-06 | 9.8121e-07 | 0.031648 | 0.031648 | 0.031648 | 0.98382 | -0.1136 | 0.98369 | -0.11453 | 11.7215
12 | 0.0089509 | 0.002242 | -0.0089414 | -0.0022394 | 9.441e-06 | 2.5527e-06 | 0.013438 | 0.013439 | 0.013439 | 0.99109 | -0.062252 | 0.99001 | -0.069885 | 4.9773
13 | 0.014459 | 0.0036245 | -0.014457 | -0.0036237 | 2.4318e-06 | 8.3191e-07 | 0.021873 | 0.021873 | 0.021873 | 0.98369 | -0.11453 | 0.98352 | -0.11575 | 8.101
14 | 0.0086573 | 0.0021683 | -0.0086548 | -0.0021676 | 2.5314e-06 | 6.656e-07 | 0.013012 | 0.013012 | 0.013012 | 0.99001 | -0.069885 | 0.98971 | -0.072 | 4.8192
15 | 0.01346 | 0.0033737 | -0.013455 | -0.0033721 | 4.9454e-06 | 1.6596e-06 | 0.020364 | 0.020364 | 0.020364 | 0.98352 | -0.11575 | 0.98314 | -0.1184 | 7.5423
16 | 0.0086548 | 0.0021676 | -0.0086116 | -0.0021562 | 4.317e-05 | 1.138e-05 | 0.013012 | 0.013014 | 0.013014 | 0.98971 | -0.072 | 0.98462 | -0.10818 | 4.8199
17 | -0.007151 | -0.0017902 | 0.0071512 | 0.0017902 | 1.541e-07 | 3.2454e-08 | 0.010815 | 0.010815 | 0.010815 | 0.98385 | -0.11363 | 0.98388 | -0.11347 | 4.0055
18 | 0.0048276 | 0.0012079 | -0.0048273 | -0.0012079 | 3.3418e-07 | 9.4662e-10 | 0.0073008 | 0.0073008 | 0.0073008 | 0.98385 | -0.11363 | 0.98378 | -0.11413 | 2.704
19 | -0.0079756 | -0.0019968 | 0.0079786 | 0.0019976 | 3.0142e-06 | 7.3748e-07 | 0.012062 | 0.012061 | 0.012062 | 0.98388 | -0.11347 | 0.98426 | -0.11073 | 4.4673
20 | 0.0048273 | 0.0012079 | -0.0048268 | -0.0012079 | 5.4784e-07 | 1.5947e-09 | 0.0073008 | 0.0073009 | 0.0073009 | 0.98378 | -0.11413 | 0.98367 | -0.11495 | 2.704
21 | -0.0082483 | -0.0020651 | 0.0082512 | 0.0020659 | 2.9116e-06 | 7.3828e-07 | 0.012469 | 0.012469 | 0.012469 | 0.98426 | -0.11073 | 0.98462 | -0.10818 | 4.6182
22 | 0.00038033 | 9.4558e-05 | -0.00038033 | -9.4601e-05 | 6.9998e-10 | -4.279e-08 | 0.00057506 | 0.00057508 | 0.00057508 | 0.98367 | -0.11495 | 0.98367 | -0.11496 | 0.21299
23 | 0.0044464 | 0.0011133 | -0.0044459 | -0.0011133 | 4.9272e-07 | -3.2045e-08 | 0.0067258 | 0.0067259 | 0.0067259 | 0.98367 | -0.11495 | 0.98356 | -0.11575 | 2.4911
24 | 0.00038033 | 9.4601e-05 | -0.00038032 | -9.5317e-05 | 1.1718e-08 | -7.1594e-07 | 0.00057508 | 0.00057534 | 0.00057534 | 0.98367 | -0.11496 | 0.98364 | -0.11519 | 0.21309
25 | 0.002939 | 0.00073565 | -0.0029379 | -0.00073631 | 1.0342e-06 | -6.6589e-07 | 0.004446 | 0.0044464 | 0.0044464 | 0.98356 | -0.11575 | 0.9832 | -0.1183 | 1.6468

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16482 | 0.041566

## res_load
| p_mw | q_mvar
0 | 0.0012588 | 0.00031547
1 | 0.099007 | 0.024814
2 | 0.0013271 | 0.0003326
3 | 0.0050291 | 0.0012604
4 | 0.0034222 | 0.00085769
5 | 0.0039748 | 0.00099617
6 | 0.0073017 | 0.00183
7 | 0.0014638 | 0.00036687
8 | 0.0016259 | 0.0004075
9 | 0.0062185 | 0.0015585
10 | 0.0064621 | 0.0016196
11 | 0.00028408 | 7.1197e-05
12 | 0.00099717 | 0.00024992
13 | 0.0023234 | 0.0005823
14 | 0.00082442 | 0.00020662
15 | 0.00026962 | 6.7572e-05
16 | 0.00036048 | 9.0344e-05
17 | 0.001507 | 0.00037769
18 | 0.00038032 | 9.5317e-05
19 | 0.0029379 | 0.00073631
20 | 0.013455 | 0.0033721

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1