## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1136-11_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1136-11_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1136-11_0_2_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_1136-11_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1136-11_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1136-11_0_2_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_1136-11_0_2_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_1136-11_0_2_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_1136-11_0_2_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_1136-11_0_2_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1136-11_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1136-11_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1136-11_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1136-11_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1136-11_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1136-11_0_2_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_1136-11_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1136-11_0_2_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_1136-11_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1136-11_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1136-11_0_2_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1136-11_0_2_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1136-11_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1136-11_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1136-11_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1136-11_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1136-11_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1136-11_0_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1136-11_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1136-11_0_2_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_1136-11_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1136-11_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1136-11_0_2_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1136-11_0_2_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_1136-11_0_2_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1136-11_0_2_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_1136-11_0_2_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1136-11_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1136-11_0_2_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1136-11_0_2_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1136-11_0_2_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1136-11_0_2_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_1136-11_0_2_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_1136-11_0_2_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_1136-11_0_2_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_1136-11_0_2_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_1136-11_0_2_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_1136-11_0_2_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_1136-11_0_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_1136-11_0_2_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_1136-11_0_2_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_1136-11_0_2_node_41 | 0.4 | n |  | TRUE
52 | bus_MV_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1136-11_0_2_load_0 | 0 | 7.1594e-05 | 1.7943e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1136-11_0_2_load_2 | 3 | 0.00029229 | 7.3254e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1136-11_0_2_load_3 | 4 | 0.00042553 | 0.00010665 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1136-11_0_2_load_45 | 7 | 9.7959e-05 | 2.4551e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1136-11_0_2_load_36 | 8 | 0.00021321 | 5.3436e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1136-11_0_2_load_4 | 9 | 0.0014886 | 0.00037307 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1136-11_0_2_load_5 | 10 | 0.0009401 | 0.00023561 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1136-11_0_2_load_7 | 12 | 0.0012695 | 0.00031817 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1136-11_0_2_load_9 | 13 | 0.0046848 | 0.0011741 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1136-11_0_2_load_13 | 14 | 0.0010946 | 0.00027434 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1136-11_0_2_load_32 | 15 | 0.0038892 | 0.00097472 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1136-11_0_2_load_33 | 17 | 0.0061343 | 0.0015374 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1136-11_0_2_load_10 | 18 | 0.0018391 | 0.00046093 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1136-11_0_2_load_12 | 19 | 0.0018798 | 0.00047112 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1136-11_0_2_load_24 | 20 | 0.00047188 | 0.00011826 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1136-11_0_2_load_23 | 21 | 0.00080928 | 0.00020282 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1136-11_0_2_load_14 | 22 | 0.00041173 | 0.00010319 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1136-11_0_2_load_17 | 24 | 0.00036393 | 9.1211e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1136-11_0_2_load_18 | 25 | 0.00072005 | 0.00018046 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1136-11_0_2_load_19 | 26 | 7.8164e-05 | 1.959e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1136-11_0_2_load_27 | 28 | 0.00036773 | 9.2162e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1136-11_0_2_load_39 | 29 | 0.00022708 | 5.6911e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1136-11_0_2_load_22 | 30 | 0.00018607 | 4.6634e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1136-11_0_2_load_28 | 31 | 0.00013782 | 3.454e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1136-11_0_2_load_31 | 32 | 0.00050871 | 0.00012749 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1136-11_0_2_load_43 | 33 | 0.00091002 | 0.00022807 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1136-11_0_2_load_21 | 34 | 0.00021347 | 5.3501e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1136-11_0_2_load_46 | 35 | 3.6081e-05 | 9.0427e-06 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1136-11_0_2_load_40 | 36 | 0.00019629 | 4.9194e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1136-11_0_2_load_34 | 37 | 0.00030068 | 7.5359e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1136-11_0_2_load_26 | 39 | 0.0028289 | 0.00070899 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1136-11_0_2_load_44 | 40 | 0.0024493 | 0.00061384 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1136-11_0_2_load_42 | 41 | 0.0027129 | 0.00067991 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1136-11_0_2_load_47 | 42 | 0.00034318 | 8.601e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1136-11_0_2_load_48 | 43 | 0.0010896 | 0.00027308 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1136-11_0_2_load_49 | 44 | 0.00052955 | 0.00013272 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1136-11_0_2_load_50 | 45 | 0.00053218 | 0.00013338 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1136-11_0_2_load_52 | 47 | 0.0010195 | 0.00025552 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1136-11_0_2_load_53 | 48 | 0.00053645 | 0.00013445 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1136-11_0_2_load_55 | 49 | 0.00012239 | 3.0673e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1136-11_0_2_load_37 | 50 | 0.0033818 | 0.00084757 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1136-11_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1136-11_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.4834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1136-11_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.028138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1136-11_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.051395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1136-11_0_2_line_4 | NAYY 4x150 SE | 2 | 7 | 0.039239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1136-11_0_2_line_5 | NAYY 4x150 SE | 3 | 8 | 0.017669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1136-11_0_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.14685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1136-11_0_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.048206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1136-11_0_2_line_8 | NAYY 4x150 SE | 6 | 32 | 0.018841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1136-11_0_2_line_9 | NAYY 4x150 SE | 6 | 31 | 0.036204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1136-11_0_2_line_10 | NAYY 4x150 SE | 7 | 30 | 0.068216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1136-11_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.011765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1136-11_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.02587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1136-11_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.029599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1136-11_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.018987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1136-11_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0024483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1136-11_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.039546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1136-11_0_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.024268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1136-11_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.024556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1136-11_0_2_line_19 | NAYY 4x150 SE | 16 | 19 | 0.065553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1136-11_0_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.034911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1136-11_0_2_line_21 | NAYY 4x150 SE | 17 | 50 | 0.033162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1136-11_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.031079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1136-11_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.00054298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1136-11_0_2_line_24 | NAYY 4x150 SE | 21 | 38 | 0.013419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1136-11_0_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.049428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1136-11_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.060927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1136-11_0_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.063703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1136-11_0_2_line_28 | NAYY 4x150 SE | 23 | 26 | 0.034704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1136-11_0_2_line_29 | NAYY 4x150 SE | 24 | 27 | 0.027882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1136-11_0_2_line_30 | NAYY 4x150 SE | 25 | 28 | 0.011095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1136-11_0_2_line_31 | NAYY 4x150 SE | 26 | 29 | 0.015543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1136-11_0_2_line_32 | NAYY 4x150 SE | 27 | 34 | 0.016303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1136-11_0_2_line_33 | NAYY 4x150 SE | 27 | 30 | 0.0097435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1136-11_0_2_line_34 | NAYY 4x150 SE | 28 | 35 | 0.64466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1136-11_0_2_line_35 | NAYY 4x150 SE | 29 | 36 | 0.030473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1136-11_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.0073234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1136-11_0_2_line_37 | NAYY 4x150 SE | 34 | 37 | 0.017777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1136-11_0_2_line_38 | NAYY 4x150 SE | 35 | 42 | 0.042567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1136-11_0_2_line_39 | NAYY 4x150 SE | 35 | 43 | 0.13842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1136-11_0_2_line_40 | NAYY 4x150 SE | 36 | 51 | 0.072361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1136-11_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.054569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1136-11_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1136-11_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.023976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1136-11_0_2_line_44 | NAYY 4x150 SE | 41 | 51 | 0.078753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1136-11_0_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.048339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1136-11_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.038144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1136-11_0_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.026503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1136-11_0_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.10044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1136-11_0_2_line_49 | NAYY 4x150 SE | 46 | 48 | 0.03062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1136-11_0_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.10967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1136-11_0_2_trafo_26 | 0.25 MVA 20/0.4 kV | 52 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2647790.3845 | 1216474.5859 | 2647779.0269 | 1216462.6916
1 | 2648052.56 | 1216064.1248 | 2647779.0269 | 1216462.6916
2 | 2647790.3845 | 1216474.5859 | 2647793.6927 | 1216482.406 | 2647799.915 | 1216493.2178 | 2647805.2617 | 1216497.9989
3 | 2647790.3845 | 1216474.5859 | 2647770.1556 | 1216493.991 | 2647752.9985 | 1216509.8499
4 | 2648052.56 | 1216064.1248 | 2648059.6393 | 1216077.8901 | 2648063.0849 | 1216079.9524 | 2648068.5766 | 1216080.6082 | 2648082.6859 | 1216078.8888
5 | 2647816.4338 | 1216511.5895 | 2647808.8098 | 1216501.1716 | 2647805.2617 | 1216497.9989
6 | 2647647.9408 | 1216612.462 | 2647752.9985 | 1216509.8499
7 | 2647647.9408 | 1216612.462 | 2647639.6799 | 1216611.6288 | 2647633.0434 | 1216609.8748 | 2647628.0308 | 1216609.1677 | 2647622.5271 | 1216611.0248 | 2647603.8976 | 1216623.2501
8 | 2647603.8976 | 1216623.2501 | 2647600.1331 | 1216628.8234 | 2647597.0436 | 1216636.381 | 2647596.2663 | 1216640.2545
9 | 2647603.8976 | 1216623.2501 | 2647571.0408 | 1216608.0459
10 | 2648150.2916 | 1216080.2843 | 2648148.6112 | 1216080.4647 | 2648128.2721 | 1216077.4654 | 2648115.8678 | 1216075.3307 | 2648105.8853 | 1216076.0618 | 2648082.6859 | 1216078.8888
11 | 2648487.3342 | 1216007.1616 | 2648497.3924 | 1216001.0592
12 | 2648471.3113 | 1216026.3014 | 2648475.3433 | 1216016.9286 | 2648479.6442 | 1216011.8271 | 2648487.3342 | 1216007.1616
13 | 2648518.1232 | 1215981.9154 | 2648517.1707 | 1215986.2169 | 2648514.3623 | 1215990.7635 | 2648497.3924 | 1216001.0592
14 | 2648471.3113 | 1216026.3014 | 2648489.1868 | 1216032.702
15 | 2648518.1232 | 1215981.9154 | 2648518.6526 | 1215979.525
16 | 2648526.6651 | 1216029.4797 | 2648523.9448 | 1216029.887 | 2648509.2329 | 1216036.0933 | 2648503.9256 | 1216037.0285 | 2648500.0644 | 1216036.5968 | 2648489.1868 | 1216032.702
17 | 2648523.2276 | 1215955.6924 | 2648518.6526 | 1215979.525
18 | 2648551.1462 | 1216029.5536 | 2648550.6286 | 1216029.4928 | 2648531.6911 | 1216028.7271 | 2648526.6651 | 1216029.4797
19 | 2648523.2276 | 1215955.6924 | 2648470.7002 | 1215942.702 | 2648459.673 | 1215939.6461
20 | 2648523.2276 | 1215955.6924 | 2648550.5285 | 1215960.6731 | 2648557.6866 | 1215960.816
21 | 2648551.1462 | 1216029.5536 | 2648563.6451 | 1216031.0219 | 2648577.2667 | 1216033.7678 | 2648583.9217 | 1216034.3634
22 | 2648429.7232 | 1215931.3462 | 2648459.673 | 1215939.6461
23 | 2648429.1999 | 1215931.2012 | 2648429.7232 | 1215931.3462
24 | 2648416.2687 | 1215927.6177 | 2648429.1999 | 1215931.2012
25 | 2648128.9398 | 1215997.5787 | 2648173.5632 | 1216018.8368
26 | 2648128.9398 | 1215997.5787 | 2648129.3831 | 1216006.621 | 2648130.5996 | 1216013.9351 | 2648133.0152 | 1216019.4357 | 2648141.1305 | 1216048.7409 | 2648144.6208 | 1216055.988
27 | 2648128.9398 | 1215997.5787 | 2648127.9268 | 1215968.82 | 2648128.2646 | 1215952.3684 | 2648126.8993 | 1215944.6751 | 2648121.4388 | 1215935.5224
28 | 2648128.9398 | 1215997.5787 | 2648140.9146 | 1215975.8179 | 2648147.085 | 1215968.1201
29 | 2648159.9795 | 1216079.2446 | 2648145.1405 | 1216057.0671 | 2648144.6208 | 1216055.988
30 | 2648121.4388 | 1215935.5224 | 2648115.7543 | 1215925.9942
31 | 2648147.085 | 1215968.1201 | 2648149.9728 | 1215964.5176 | 2648159.1922 | 1215958.6551 | 2648159.1922 | 1215958.6551
32 | 2648159.9795 | 1216079.2446 | 2648167.6766 | 1216090.747 | 2648169.3313 | 1216092.5705
33 | 2648159.9795 | 1216079.2446 | 2648150.2916 | 1216080.2843
34 | 2648115.7543 | 1215925.9942 | 2647811.1171 | 1215357.8496
35 | 2648187.0114 | 1215946.8189 | 2648184.9284 | 1215948.7126 | 2648175.1178 | 1215953.514 | 2648159.1922 | 1215958.6551
36 | 2647596.2663 | 1216640.2545 | 2647594.8253 | 1216647.4347
37 | 2648169.3313 | 1216092.5705 | 2648176.9556 | 1216100.9725 | 2648181.9663 | 1216105.005
38 | 2647811.1171 | 1215357.8496 | 2647812.504 | 1215356.9744 | 2647847.7189 | 1215336.1195
39 | 2647811.1171 | 1215357.8496 | 2647686.0272 | 1215417.1255
40 | 2648239.525 | 1215897.4677 | 2648234.3595 | 1215900.5722 | 2648224.5555 | 1215908.2865 | 2648216.5548 | 1215915.5372 | 2648193.9466 | 1215940.5139 | 2648187.0114 | 1215946.8189
41 | 2648416.2687 | 1215927.6177 | 2648363.2423 | 1215914.7342
42 | 2648363.2423 | 1215914.7342 | 2648345.0218 | 1215910.3072 | 2648341.4181 | 1215909.7307
43 | 2648317.743 | 1215905.9431 | 2648341.4181 | 1215909.7307
44 | 2648239.525 | 1215897.4677 | 2648244.6917 | 1215897.9542 | 2648253.0209 | 1215899.845 | 2648280.8016 | 1215901.8932 | 2648315.0084 | 1215905.5056 | 2648317.743 | 1215905.9431
45 | 2647882.0459 | 1215303.4745 | 2647881.1478 | 1215305.1496 | 2647872.0804 | 1215318.4737 | 2647864.6993 | 1215326.0634 | 2647847.7189 | 1215336.1195
46 | 2647901.4501 | 1215270.6868 | 2647892.3182 | 1215284.3158 | 2647882.0459 | 1215303.4745
47 | 2647916.9755 | 1215249.2373 | 2647910.0416 | 1215257.8646 | 2647901.4501 | 1215270.6868
48 | 2647916.9755 | 1215249.2373 | 2647885.0455 | 1215154.0071
49 | 2647916.9755 | 1215249.2373 | 2647925.7126 | 1215259.08 | 2647940.3526 | 1215268.5922
50 | 2647885.0455 | 1215154.0071 | 2647993.8485 | 1215167.7846

## bus_geodata
| x | y | coords
0 | 2647779.0269 | 1216462.6916
1 | 2647790.3845 | 1216474.5859
2 | 2648052.56 | 1216064.1248
3 | 2647805.2617 | 1216497.9989
4 | 2647752.9985 | 1216509.8499
5 | 2647647.9408 | 1216612.462
6 | 2647603.8976 | 1216623.2501
7 | 2648082.6859 | 1216078.8888
8 | 2647816.4338 | 1216511.5895
9 | 2648487.3342 | 1216007.1616
10 | 2648497.3924 | 1216001.0592
11 | 2648471.3113 | 1216026.3014
12 | 2648518.1232 | 1215981.9154
13 | 2648489.1868 | 1216032.702
14 | 2648518.6526 | 1215979.525
15 | 2648526.6651 | 1216029.4797
16 | 2648523.2276 | 1215955.6924
17 | 2648551.1462 | 1216029.5536
18 | 2648557.6866 | 1215960.816
19 | 2648459.673 | 1215939.6461
20 | 2648429.7232 | 1215931.3462
21 | 2648429.1999 | 1215931.2012
22 | 2648173.5632 | 1216018.8368
23 | 2648128.9398 | 1215997.5787
24 | 2648144.6208 | 1216055.988
25 | 2648121.4388 | 1215935.5224
26 | 2648147.085 | 1215968.1201
27 | 2648159.9795 | 1216079.2446
28 | 2648115.7543 | 1215925.9942
29 | 2648159.1922 | 1215958.6551
30 | 2648150.2916 | 1216080.2843
31 | 2647571.0408 | 1216608.0459
32 | 2647596.2663 | 1216640.2545
33 | 2647594.8253 | 1216647.4347
34 | 2648169.3313 | 1216092.5705
35 | 2647811.1171 | 1215357.8496
36 | 2648187.0114 | 1215946.8189
37 | 2648181.9663 | 1216105.005
38 | 2648416.2687 | 1215927.6177
39 | 2648363.2423 | 1215914.7342
40 | 2648341.4181 | 1215909.7307
41 | 2648317.743 | 1215905.9431
42 | 2647847.7189 | 1215336.1195
43 | 2647686.0272 | 1215417.1256
44 | 2647882.0459 | 1215303.4745
45 | 2647901.4501 | 1215270.6868
46 | 2647916.9755 | 1215249.2373
47 | 2647885.0455 | 1215154.0071
48 | 2647940.3526 | 1215268.5922
49 | 2647993.8485 | 1215167.7846
50 | 2648583.9217 | 1216034.3634
51 | 2648239.525 | 1215897.4677
52 | 2648363.2423 | 1215914.7342

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99315 | -0.049208 | 7.1594e-05 | 1.7943e-05
1 | 0.99309 | -0.049627 | 0 | 0
2 | 0.99492 | -0.036424 | 0 | 0
3 | 0.99307 | -0.049772 | 0.00029229 | 7.3254e-05
4 | 0.99294 | -0.050673 | 0.00042553 | 0.00010665
5 | 0.99261 | -0.053014 | 0 | 0
6 | 0.99251 | -0.053778 | 0 | 0
7 | 0.99506 | -0.035378 | 9.7959e-05 | 2.4551e-05
8 | 0.99306 | -0.049811 | 0.00021321 | 5.3436e-05
9 | 0.99165 | -0.058478 | 0.0014886 | 0.00037307
10 | 0.99198 | -0.056139 | 0.0009401 | 0.00023561
11 | 0.99098 | -0.063234 | 0 | 0
12 | 0.99286 | -0.04998 | 0.0012695 | 0.00031817
13 | 0.99048 | -0.066729 | 0.0046848 | 0.0011741
14 | 0.99293 | -0.04944 | 0.0010946 | 0.00027434
15 | 0.98972 | -0.072129 | 0.0038892 | 0.00097472
16 | 0.99373 | -0.043818 | 0 | 0
17 | 0.98938 | -0.074512 | 0.0061343 | 0.0015374
18 | 0.99364 | -0.044468 | 0.0018391 | 0.00046093
19 | 0.99606 | -0.02746 | 0.0018798 | 0.00047112
20 | 0.99725 | -0.019144 | 0.00047188 | 0.00011826
21 | 0.99727 | -0.018996 | 0.00080928 | 0.00020282
22 | 0.99579 | -0.030091 | 0.00041173 | 0.00010319
23 | 0.99582 | -0.029885 | 0 | 0
24 | 0.9955 | -0.032231 | 0.00036393 | 9.1211e-05
25 | 0.99534 | -0.033358 | 0.00072005 | 0.00018046
26 | 0.99629 | -0.026512 | 7.8164e-05 | 1.959e-05
27 | 0.99536 | -0.033201 | 0 | 0
28 | 0.99527 | -0.033883 | 0.00036773 | 9.2162e-05
29 | 0.9965 | -0.024989 | 0.00022708 | 5.6911e-05
30 | 0.99532 | -0.03349 | 0.00018607 | 4.6634e-05
31 | 0.9925 | -0.053829 | 0.00013782 | 3.454e-05
32 | 0.99247 | -0.054049 | 0.00050871 | 0.00012749
33 | 0.99246 | -0.054117 | 0.00091002 | 0.00022807
34 | 0.99535 | -0.033286 | 0.00021347 | 5.3501e-05
35 | 0.99137 | -0.061866 | 3.6081e-05 | 9.0427e-06
36 | 0.99693 | -0.021936 | 0.00019629 | 4.9194e-05
37 | 0.99534 | -0.03334 | 0.00030068 | 7.5359e-05
38 | 0.99781 | -0.015239 | 0 | 0
39 | 1 | 0 | -0.044089 | -0.010851
40 | 0.99952 | -0.0034335 | 0.0024493 | 0.00061384
41 | 0.99908 | -0.0065246 | 0.0027129 | 0.00067991
42 | 0.99118 | -0.063215 | 0.00034318 | 8.601e-05
43 | 0.99115 | -0.063407 | 0.0010896 | 0.00027308
44 | 0.99099 | -0.064576 | 0.00052955 | 0.00013272
45 | 0.99087 | -0.065444 | 0.00053218 | 0.00013338
46 | 0.9908 | -0.065903 | 0 | 0
47 | 0.99064 | -0.067085 | 0.0010195 | 0.00025552
48 | 0.99078 | -0.06607 | 0.00053645 | 0.00013445
49 | 0.99062 | -0.067227 | 0.00012239 | 3.0673e-05
50 | 0.98922 | -0.075656 | 0.0033818 | 0.00084757
51 | 0.99796 | -0.014551 | 0 | 0
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0024887 | 0.00061909 | -0.0024886 | -0.00061925 | 1.4257e-07 | -1.5797e-07 | 0.0037272 | 0.0037273 | 0.0037273 | 0.99315 | -0.049208 | 0.99309 | -0.049627 | 1.3805
1 | -0.0025603 | -0.00063703 | 0.0025648 | 0.00063247 | 4.4325e-06 | -4.5616e-06 | 0.0038345 | 0.0038323 | 0.0038345 | 0.99315 | -0.049208 | 0.99492 | -0.036424 | 1.4202
2 | 0.00050551 | 0.0001261 | -0.0005055 | -0.00012646 | 1.007e-08 | -3.6019e-07 | 0.00075724 | 0.00075736 | 0.00075736 | 0.99309 | -0.049627 | 0.99307 | -0.049772 | 0.2805
3 | 0.0019831 | 0.00049315 | -0.0019828 | -0.0004937 | 2.8292e-07 | -5.5607e-07 | 0.00297 | 0.0029703 | 0.0029703 | 0.99309 | -0.049627 | 0.99294 | -0.050673 | 1.1001
4 | -0.0025648 | -0.00063247 | 0.0025651 | 0.0006321 | 3.5958e-07 | -3.7135e-07 | 0.0038323 | 0.0038321 | 0.0038323 | 0.99492 | -0.036424 | 0.99506 | -0.035378 | 1.4194
5 | 0.00021321 | 5.3207e-05 | -0.00021321 | -5.3436e-05 | 1.1251e-09 | -2.2817e-07 | 0.0003194 | 0.00031948 | 0.00031948 | 0.99307 | -0.049772 | 0.99306 | -0.049811 | 0.11832
6 | 0.0015573 | 0.00038706 | -0.0015568 | -0.00038876 | 4.9873e-07 | -1.7071e-06 | 0.0023326 | 0.0023332 | 0.0023332 | 0.99294 | -0.050673 | 0.99261 | -0.053014 | 0.86416
7 | 0.0015568 | 0.00038876 | -0.0015566 | -0.00038932 | 1.6377e-07 | -5.6006e-07 | 0.0023332 | 0.0023335 | 0.0023335 | 0.99261 | -0.053014 | 0.99251 | -0.053778 | 0.86424
8 | 0.0014188 | 0.00035525 | -0.0014187 | -0.00035547 | 5.3191e-08 | -2.2302e-07 | 0.002127 | 0.0021271 | 0.0021271 | 0.99251 | -0.053778 | 0.99247 | -0.054049 | 0.78781
9 | 0.00013782 | 3.4073e-05 | -0.00013782 | -3.454e-05 | 9.6372e-10 | -4.6751e-07 | 0.00020646 | 0.00020662 | 0.00020662 | 0.99251 | -0.053778 | 0.9925 | -0.053829 | 0.076527
10 | -0.0026631 | -0.00065665 | 0.0026637 | 0.00065602 | 6.7374e-07 | -6.2723e-07 | 0.0039786 | 0.0039783 | 0.0039786 | 0.99506 | -0.035378 | 0.99532 | -0.03349 | 1.4735
11 | -0.019613 | -0.0049182 | 0.019619 | 0.0049205 | 6.3588e-06 | 2.2939e-06 | 0.029431 | 0.029431 | 0.029431 | 0.99165 | -0.058478 | 0.99198 | -0.056139 | 10.9004
12 | 0.018124 | 0.0045452 | -0.018112 | -0.0045409 | 1.1941e-05 | 4.2593e-06 | 0.027198 | 0.027198 | 0.027198 | 0.99165 | -0.058478 | 0.99098 | -0.063234 | 10.0732
13 | -0.020559 | -0.0051562 | 0.020577 | 0.0051625 | 1.7568e-05 | 6.3744e-06 | 0.030841 | 0.030841 | 0.030841 | 0.99198 | -0.056139 | 0.99286 | -0.04998 | 11.4227
14 | 0.018112 | 0.0045409 | -0.018104 | -0.0045378 | 8.764e-06 | 3.1263e-06 | 0.027198 | 0.027198 | 0.027198 | 0.99098 | -0.063234 | 0.99048 | -0.066729 | 10.0732
15 | -0.021847 | -0.0054807 | 0.021848 | 0.0054813 | 1.638e-06 | 5.9833e-07 | 0.032744 | 0.032744 | 0.032744 | 0.99286 | -0.04998 | 0.99293 | -0.04944 | 12.1273
16 | 0.013419 | 0.0033637 | -0.013409 | -0.0033603 | 1.0029e-05 | 3.3488e-06 | 0.02016 | 0.02016 | 0.02016 | 0.99048 | -0.066729 | 0.98972 | -0.072129 | 7.4666
17 | -0.022943 | -0.0057556 | 0.022961 | 0.0057622 | 1.7903e-05 | 6.5717e-06 | 0.034384 | 0.034384 | 0.034384 | 0.99293 | -0.04944 | 0.99373 | -0.043818 | 12.7349
18 | 0.0095198 | 0.0023856 | -0.0095166 | -0.0023847 | 3.139e-06 | 8.9184e-07 | 0.014313 | 0.014313 | 0.014313 | 0.98972 | -0.072129 | 0.98938 | -0.074512 | 5.301
19 | -0.0248 | -0.0062228 | 0.024856 | 0.0062436 | 5.6417e-05 | 2.0848e-05 | 0.037138 | 0.037138 | 0.037138 | 0.99373 | -0.043818 | 0.99606 | -0.02746 | 13.7549
20 | 0.0018393 | 0.00046054 | -0.0018391 | -0.00046092 | 1.6523e-07 | -3.8869e-07 | 0.002754 | 0.0027541 | 0.0027541 | 0.99373 | -0.043818 | 0.99364 | -0.044468 | 1.0201
21 | 0.0033824 | 0.00084734 | -0.0033818 | -0.00084756 | 5.3549e-07 | -2.1984e-07 | 0.0050869 | 0.0050871 | 0.0050871 | 0.98938 | -0.074512 | 0.98922 | -0.075656 | 1.8841
22 | -0.026736 | -0.0067147 | 0.026767 | 0.0067262 | 3.0945e-05 | 1.1497e-05 | 0.039946 | 0.039946 | 0.039946 | 0.99606 | -0.02746 | 0.99725 | -0.019144 | 14.7948
23 | -0.027239 | -0.0068445 | 0.02724 | 0.0068447 | 5.5987e-07 | 2.0825e-07 | 0.04065 | 0.04065 | 0.04065 | 0.99725 | -0.019144 | 0.99727 | -0.018996 | 15.0556
24 | -0.028049 | -0.0070475 | 0.028064 | 0.007053 | 1.467e-05 | 5.4672e-06 | 0.041858 | 0.041857 | 0.041858 | 0.99727 | -0.018996 | 0.99781 | -0.015239 | 15.5028
25 | -0.00041173 | -0.00010319 | 0.00041175 | 0.00010255 | 1.1671e-08 | -6.3855e-07 | 0.00061526 | 0.00061503 | 0.00061526 | 0.99579 | -0.030091 | 0.99582 | -0.029885 | 0.22787
26 | 0.0037296 | 0.00092167 | -0.0037285 | -0.00092201 | 1.1789e-06 | -3.3896e-07 | 0.0055685 | 0.0055688 | 0.0055688 | 0.99582 | -0.029885 | 0.9955 | -0.032231 | 2.0625
27 | 0.0053175 | 0.0013193 | -0.005315 | -0.0013191 | 2.5067e-06 | 1.3577e-07 | 0.007941 | 0.0079413 | 0.0079413 | 0.99582 | -0.029885 | 0.99534 | -0.033358 | 2.9412
28 | -0.0094589 | -0.0023435 | 0.0094632 | 0.0023447 | 4.3202e-06 | 1.2099e-06 | 0.014125 | 0.014124 | 0.014125 | 0.99582 | -0.029885 | 0.99629 | -0.026512 | 5.2313
29 | 0.0033645 | 0.0008308 | -0.0033641 | -0.00083099 | 4.3929e-07 | -1.935e-07 | 0.0050248 | 0.0050249 | 0.0050249 | 0.9955 | -0.032231 | 0.99536 | -0.033201 | 1.8611
30 | 0.0045949 | 0.0011387 | -0.0045946 | -0.0011387 | 3.2627e-07 | -1.8706e-08 | 0.0068648 | 0.0068649 | 0.0068649 | 0.99534 | -0.033358 | 0.99527 | -0.033883 | 2.5425
31 | -0.0095414 | -0.0023643 | 0.0095433 | 0.0023648 | 1.9669e-06 | 5.5408e-07 | 0.014241 | 0.014241 | 0.014241 | 0.99629 | -0.026512 | 0.9965 | -0.024989 | 5.2745
32 | 0.00051416 | 0.00012842 | -0.00051416 | -0.00012863 | 6.0084e-09 | -2.0959e-07 | 0.00076849 | 0.00076857 | 0.00076857 | 0.99536 | -0.033201 | 0.99535 | -0.033286 | 0.28465
33 | 0.0028499 | 0.00070257 | -0.0028498 | -0.00070266 | 1.1015e-07 | -8.4274e-08 | 0.0042564 | 0.0042565 | 0.0042565 | 0.99536 | -0.033201 | 0.99532 | -0.03349 | 1.5765
34 | 0.0042269 | 0.0010465 | -0.0042108 | -0.0010487 | 1.605e-05 | -2.1718e-06 | 0.0063151 | 0.006318 | 0.006318 | 0.99527 | -0.033883 | 0.99137 | -0.061866 | 2.34
35 | -0.0097704 | -0.0024218 | 0.0097745 | 0.0024229 | 4.0421e-06 | 1.1575e-06 | 0.01458 | 0.01458 | 0.01458 | 0.9965 | -0.024989 | 0.99693 | -0.021936 | 5.4
36 | 0.00091002 | 0.00022798 | -0.00091002 | -0.00022807 | 8.507e-09 | -9.1363e-08 | 0.0013644 | 0.0013644 | 0.0013644 | 0.99247 | -0.054049 | 0.99246 | -0.054117 | 0.50534
37 | 0.00030069 | 7.5128e-05 | -0.00030068 | -7.5359e-05 | 2.2411e-09 | -2.302e-07 | 0.00044943 | 0.00044952 | 0.00044952 | 0.99535 | -0.033286 | 0.99534 | -0.03334 | 0.16649
38 | 0.0030849 | 0.00076827 | -0.0030844 | -0.0007686 | 5.691e-07 | -3.2986e-07 | 0.0046287 | 0.0046289 | 0.0046289 | 0.99137 | -0.061866 | 0.99118 | -0.063215 | 1.7144
39 | 0.0010898 | 0.00027138 | -0.0010896 | -0.00027308 | 2.3104e-07 | -1.6955e-06 | 0.0016352 | 0.0016358 | 0.0016358 | 0.99137 | -0.061866 | 0.99115 | -0.063407 | 0.60586
40 | -0.0099707 | -0.0024721 | 0.0099807 | 0.002475 | 9.9879e-06 | 2.897e-06 | 0.014873 | 0.014873 | 0.014873 | 0.99693 | -0.021936 | 0.99796 | -0.014551 | 5.5085
41 | -0.028064 | -0.007053 | 0.028123 | 0.0070752 | 5.9659e-05 | 2.2231e-05 | 0.041857 | 0.041857 | 0.041857 | 0.99781 | -0.015239 | 1 | 0 | 15.5028
42 | 0.015166 | 0.0037761 | -0.015159 | -0.0037736 | 7.1133e-06 | 2.4421e-06 | 0.022559 | 0.022559 | 0.022559 | 1 | 0 | 0.99952 | -0.0034335 | 8.3552
43 | 0.01271 | 0.0031598 | -0.012704 | -0.0031581 | 5.3514e-06 | 1.7441e-06 | 0.018913 | 0.018913 | 0.018913 | 0.99952 | -0.0034335 | 0.99908 | -0.0065246 | 7.0047
44 | 0.0099916 | 0.0024782 | -0.0099807 | -0.002475 | 1.087e-05 | 3.1505e-06 | 0.014872 | 0.014873 | 0.014873 | 0.99908 | -0.0065246 | 0.99796 | -0.014551 | 5.5084
45 | 0.0027412 | 0.00068259 | -0.0027407 | -0.00068302 | 5.1046e-07 | -4.2658e-07 | 0.0041137 | 0.0041139 | 0.0041139 | 0.99118 | -0.063215 | 0.99099 | -0.064576 | 1.5237
46 | 0.0022111 | 0.0005503 | -0.0022109 | -0.00055069 | 2.6217e-07 | -3.9055e-07 | 0.0033187 | 0.0033189 | 0.0033189 | 0.99099 | -0.064576 | 0.99087 | -0.065444 | 1.2292
47 | 0.0016787 | 0.00041731 | -0.0016786 | -0.00041761 | 1.05e-07 | -3.0097e-07 | 0.0025197 | 0.0025198 | 0.0025198 | 0.99087 | -0.065444 | 0.9908 | -0.065903 | 0.93327
48 | 0.0011421 | 0.00028356 | -0.0011419 | -0.00028478 | 1.8424e-07 | -1.2225e-06 | 0.0017143 | 0.0017148 | 0.0017148 | 0.9908 | -0.065903 | 0.99064 | -0.067085 | 0.63509
49 | 0.00053647 | 0.00013406 | -0.00053645 | -0.00013445 | 1.2401e-08 | -3.8958e-07 | 0.00080554 | 0.00080568 | 0.00080568 | 0.9908 | -0.065903 | 0.99078 | -0.06607 | 0.2984
50 | 0.00012239 | 2.9262e-05 | -0.00012239 | -3.0673e-05 | 2.3067e-09 | -1.4111e-06 | 0.00018335 | 0.00018384 | 0.00018384 | 0.99064 | -0.067085 | 0.99062 | -0.067227 | 0.068089

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.046918 | 0.01156

## res_load
| p_mw | q_mvar
0 | 7.1594e-05 | 1.7943e-05
1 | 0.00029229 | 7.3254e-05
2 | 0.00042553 | 0.00010665
3 | 9.7959e-05 | 2.4551e-05
4 | 0.00021321 | 5.3436e-05
5 | 0.0014886 | 0.00037307
6 | 0.0009401 | 0.00023561
7 | 0.0012695 | 0.00031817
8 | 0.0046848 | 0.0011741
9 | 0.0010946 | 0.00027434
10 | 0.0038892 | 0.00097472
11 | 0.0061343 | 0.0015374
12 | 0.0018391 | 0.00046093
13 | 0.0018798 | 0.00047112
14 | 0.00047188 | 0.00011826
15 | 0.00080928 | 0.00020282
16 | 0.00041173 | 0.00010319
17 | 0.00036393 | 9.1211e-05
18 | 0.00072005 | 0.00018046
19 | 7.8164e-05 | 1.959e-05
20 | 0.00036773 | 9.2162e-05
21 | 0.00022708 | 5.6911e-05
22 | 0.00018607 | 4.6634e-05
23 | 0.00013782 | 3.454e-05
24 | 0.00050871 | 0.00012749
25 | 0.00091002 | 0.00022807
26 | 0.00021347 | 5.3501e-05
27 | 3.6081e-05 | 9.0427e-06
28 | 0.00019629 | 4.9194e-05
29 | 0.00030068 | 7.5359e-05
30 | 0.0028289 | 0.00070899
31 | 0.0024493 | 0.00061384
32 | 0.0027129 | 0.00067991
33 | 0.00034318 | 8.601e-05
34 | 0.0010896 | 0.00027308
35 | 0.00052955 | 0.00013272
36 | 0.00053218 | 0.00013338
37 | 0.0010195 | 0.00025552
38 | 0.00053645 | 0.00013445
39 | 0.00012239 | 3.0673e-05
40 | 0.0033818 | 0.00084757

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1