## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1136-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1136-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1136-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1136-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1136-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1136-2_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1136-2_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1136-2_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_1136-2_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1136-2_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1136-2_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1136-2_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1136-2_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1136-2_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1136-2_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1136-2_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1136-2_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1136-2_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1136-2_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1136-2_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1136-2_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_1136-2_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1136-2_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1136-2_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_MV_124_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1136-2_0_3_load_0 | 0 | 0.00014722 | 3.6896e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1136-2_0_3_load_1 | 1 | 0.0013699 | 0.00034332 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1136-2_0_3_load_2 | 2 | 0.001706 | 0.00042755 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1136-2_0_3_load_4 | 4 | 0.00037492 | 9.3965e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1136-2_0_3_load_6 | 5 | 0.00030256 | 7.583e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1136-2_0_3_load_21 | 7 | 0.00036561 | 9.1629e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1136-2_0_3_load_5 | 8 | 0.0010736 | 0.00026906 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1136-2_0_3_load_7 | 9 | 0.00096046 | 0.00024071 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1136-2_0_3_load_20 | 10 | 0.001018 | 0.00025513 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1136-2_0_3_load_8 | 11 | 0.00019505 | 4.8885e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1136-2_0_3_load_15 | 14 | 0.00044374 | 0.00011121 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1136-2_0_3_load_16 | 15 | 0.0001247 | 3.1252e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1136-2_0_3_load_19 | 16 | 0.00053964 | 0.00013525 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1136-2_0_3_load_12 | 17 | 0.013198 | 0.0033076 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1136-2_0_3_load_25 | 19 | 0.011501 | 0.0028825 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1136-2_0_3_load_22 | 20 | 0.016368 | 0.0041023 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1136-2_0_3_load_23 | 21 | 0.094069 | 0.023576 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1136-2_0_3_load_17 | 22 | 0.0011551 | 0.00028949 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1136-2_0_3_load_18 | 23 | 0.00092515 | 0.00023186 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1136-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.14443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1136-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.3446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1136-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.03595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1136-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.028149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1136-2_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.010359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1136-2_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.19114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1136-2_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.24892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1136-2_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.032511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1136-2_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.11742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1136-2_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.024415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1136-2_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.020668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1136-2_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.020738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1136-2_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.025463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1136-2_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.022065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1136-2_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.065424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1136-2_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.044216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1136-2_0_3_line_16 | NAYY 4x150 SE | 15 | 19 | 0.48218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1136-2_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.42961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1136-2_0_3_line_18 | NAYY 4x150 SE | 16 | 22 | 0.017573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1136-2_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.10245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1136-2_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.19722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1136-2_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.11617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1136-2_0_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.0011744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1136-2_0_3_trafo_25 | 0.25 MVA 20/0.4 kV | 24 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2644598.1451 | 1214354.0328 | 2644606.8345 | 1214361.5688 | 2644619.8605 | 1214375.6411 | 2644630.5039 | 1214389.4177 | 2644640.6706 | 1214404.9807 | 2644646.0638 | 1214410.9357 | 2644650.2476 | 1214414.08 | 2644654.4482 | 1214416.0125 | 2644658.7788 | 1214416.8121 | 2644663.652 | 1214417.1488 | 2644669.7334 | 1214416.3827 | 2644695.2614 | 1214412.0157 | 2644700.1668 | 1214412.1081 | 2644704.126 | 1214412.8048 | 2644708.0633 | 1214414.3908 | 2644712.7835 | 1214416.9599
1 | 2644598.1451 | 1214354.0328 | 2644595.4555 | 1214351.7002 | 2644583.4483 | 1214343.5723 | 2644537.0938 | 1214318.6559 | 2644528.1924 | 1214313.6199 | 2644521.0027 | 1214308.1964 | 2644514.1744 | 1214302.1641 | 2644507.128 | 1214292.806 | 2644500.9371 | 1214281.7645 | 2644496.7845 | 1214271.3496 | 2644495.098 | 1214262.2428 | 2644494.0892 | 1214250.873 | 2644494.254 | 1214225.7261 | 2644495.386 | 1214215.4952 | 2644498.1266 | 1214206.4881 | 2644508.8604 | 1214183.8103 | 2644515.782 | 1214168.1972 | 2644518.6254 | 1214162.7152 | 2644523.4855 | 1214156.7035 | 2644539.78 | 1214137.9585 | 2644543.7144 | 1214127.7596 | 2644543.0327 | 1214117.3484 | 2644539.3511 | 1214107.9265 | 2644526.0503 | 1214090.8839 | 2644518.5691 | 1214083.6018
2 | 2644745.3725 | 1214432.0364 | 2644729.0106 | 1214425.3543 | 2644722.7068 | 1214422.3608 | 2644712.7835 | 1214416.9599
3 | 2644498.398 | 1214063.9677 | 2644518.5691 | 1214083.6018
4 | 2644745.3725 | 1214432.0364 | 2644741.0057 | 1214422.6433
5 | 2644745.3725 | 1214432.0364 | 2644747.2665 | 1214434.6744 | 2644748.8938 | 1214437.4438 | 2644749.6437 | 1214439.7285 | 2644749.7128 | 1214442.6641 | 2644748.4171 | 1214446.3121 | 2644746.3139 | 1214449.287 | 2644727.3792 | 1214465.6658 | 2644699.3453 | 1214495.3621 | 2644688.9012 | 1214509.7702 | 2644686.8288 | 1214515.7248 | 2644686.6248 | 1214522.683 | 2644704.0236 | 1214582.493 | 2644707.7418 | 1214587.9574 | 2644713.3354 | 1214590.4564
6 | 2644745.3725 | 1214432.0364 | 2644986.254 | 1214369.2738
7 | 2644741.0057 | 1214422.6433 | 2644727.3001 | 1214393.1623
8 | 2644713.3354 | 1214590.4564 | 2644713.4452 | 1214596.0605 | 2644713.0314 | 1214600.6045 | 2644709.8244 | 1214613.0545 | 2644708.52 | 1214620.916 | 2644708.4395 | 1214629.6317 | 2644709.0866 | 1214636.5072 | 2644710.2255 | 1214643.6311 | 2644715.8526 | 1214666.9648 | 2644722.6374 | 1214695.9216 | 2644725.3261 | 1214705.3966
9 | 2645004.6053 | 1214385.3775 | 2644986.254 | 1214369.2738
10 | 2644725.3261 | 1214705.3966 | 2644726.2036 | 1214708.4891 | 2644731.6835 | 1214725.0604
11 | 2644738.5923 | 1214744.6033 | 2644737.5782 | 1214741.0936 | 2644732.7161 | 1214728.1829 | 2644731.6835 | 1214725.0604
12 | 2644736.8095 | 1214769.6714 | 2644737.7333 | 1214766.9878 | 2644738.8311 | 1214762.3711 | 2644739.4975 | 1214757.5622 | 2644739.5457 | 1214753.1599 | 2644739.2953 | 1214749.089 | 2644738.5923 | 1214744.6033
13 | 2644738.5923 | 1214744.6033 | 2644745.9121 | 1214743.7354 | 2644749.9357 | 1214743.9102 | 2644754.0557 | 1214744.3969 | 2644758.7308 | 1214745.7995 | 2644760.1513 | 1214746.6134
14 | 2644736.8095 | 1214769.6714 | 2644672.3446 | 1214758.5083
15 | 2644795.0192 | 1214768.6186 | 2644794.0378 | 1214766.8324 | 2644792.2786 | 1214765.4739 | 2644790.0075 | 1214764.5119 | 2644781.6187 | 1214763.137 | 2644775.8133 | 1214762.582 | 2644772.5107 | 1214761.4454 | 2644770.5087 | 1214760.0629 | 2644769.0728 | 1214758.1176 | 2644766.9827 | 1214754.2886 | 2644764.4762 | 1214750.3008 | 2644761.9748 | 1214747.6582 | 2644760.1513 | 1214746.6134
16 | 2644672.3446 | 1214758.5083 | 2644617.2696 | 1215237.5304
17 | 2644672.3446 | 1214758.5083 | 2644251.7711 | 1214846.1552
18 | 2644795.0192 | 1214768.6186 | 2644795.0192 | 1214768.6186 | 2644795.1763 | 1214770.9545 | 2644794.3124 | 1214774.7613 | 2644789.6406 | 1214785.0812
19 | 2644251.7711 | 1214846.1552 | 2644249.3667 | 1214847.805 | 2644246.6085 | 1214850.0637 | 2644240.3198 | 1214856.3096 | 2644232.6529 | 1214865.1024 | 2644209.0132 | 1214893.7108 | 2644182.9998 | 1214921.8563
20 | 2644589.657 | 1215432.8061 | 2644617.2696 | 1215237.5304
21 | 2644589.657 | 1215432.8061 | 2644501.3832 | 1215508.3266
22 | 2644789.1563 | 1214786.1511 | 2644789.6406 | 1214785.0812

## bus_geodata
| x | y | coords
0 | 2644598.1451 | 1214354.0328
1 | 2644712.7835 | 1214416.9599
2 | 2644518.5691 | 1214083.6018
3 | 2644745.3725 | 1214432.0364
4 | 2644498.398 | 1214063.9677
5 | 2644741.0057 | 1214422.6433
6 | 2644713.3354 | 1214590.4564
7 | 2644986.254 | 1214369.2738
8 | 2644727.3001 | 1214393.1623
9 | 2644725.3261 | 1214705.3966
10 | 2645004.6053 | 1214385.3775
11 | 2644731.6835 | 1214725.0604
12 | 2644738.5923 | 1214744.6033
13 | 2644736.8095 | 1214769.6714
14 | 2644760.1513 | 1214746.6134
15 | 2644672.3446 | 1214758.5083
16 | 2644795.0192 | 1214768.6186
17 | 2644182.9998 | 1214921.8563
18 | 2644251.7711 | 1214846.1552
19 | 2644617.2696 | 1215237.5304
20 | 2644501.3832 | 1215508.3266
21 | 2644589.657 | 1215432.8061
22 | 2644789.6406 | 1214785.0812
23 | 2644789.1563 | 1214786.1511
24 | 2644617.2696 | 1215237.5304

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97781 | -0.15675 | 0.00014722 | 3.6896e-05
1 | 0.97828 | -0.15333 | 0.0013699 | 0.00034332
2 | 0.97676 | -0.16431 | 0.001706 | 0.00042755
3 | 0.97847 | -0.15196 | 0 | 0
4 | 0.97675 | -0.16442 | 0.00037492 | 9.3965e-05
5 | 0.97845 | -0.15211 | 0.00030256 | 7.583e-05
6 | 0.98024 | -0.13914 | 0 | 0
7 | 0.97796 | -0.15559 | 0.00036561 | 9.1629e-05
8 | 0.97839 | -0.15247 | 0.0010736 | 0.00026906
9 | 0.98132 | -0.13126 | 0.00096046 | 0.00024071
10 | 0.97793 | -0.15585 | 0.001018 | 0.00025513
11 | 0.98154 | -0.12967 | 0.00019505 | 4.8885e-05
12 | 0.98177 | -0.12803 | 0 | 0
13 | 0.98216 | -0.12521 | 0 | 0
14 | 0.98167 | -0.12873 | 0.00044374 | 0.00011121
15 | 0.98317 | -0.11797 | 0.0001247 | 3.1252e-05
16 | 0.9815 | -0.12994 | 0.00053964 | 0.00013525
17 | 0.97288 | -0.19138 | 0.013198 | 0.0033076
18 | 0.97486 | -0.17715 | 0 | 0
19 | 1 | 0 | -0.13747 | -0.03453
20 | 0.98146 | -0.13011 | 0.016368 | 0.0041023
21 | 0.98422 | -0.11046 | 0.094069 | 0.023576
22 | 0.98145 | -0.13031 | 0.0011551 | 0.00028949
23 | 0.98145 | -0.13033 | 0.00092515 | 0.00023186
24 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0022303 | -0.00055457 | 0.0022313 | 0.00055316 | 1.037e-06 | -1.4137e-06 | 0.0033924 | 0.0033918 | 0.0033924 | 0.97781 | -0.15675 | 0.97828 | -0.15333 | 1.2564
1 | 0.002083 | 0.00051768 | -0.0020809 | -0.00052117 | 2.1597e-06 | -3.4872e-06 | 0.0031684 | 0.0031699 | 0.0031699 | 0.97781 | -0.15675 | 0.97676 | -0.16431 | 1.174
2 | -0.0036012 | -0.00089648 | 0.0036018 | 0.00089629 | 6.7252e-07 | -1.928e-07 | 0.0054754 | 0.0054752 | 0.0054754 | 0.97828 | -0.15333 | 0.97847 | -0.15196 | 2.0279
3 | 0.00037493 | 9.3615e-05 | -0.00037492 | -9.3965e-05 | 5.7292e-09 | -3.5012e-07 | 0.00057105 | 0.00057118 | 0.00057118 | 0.97676 | -0.16431 | 0.97675 | -0.16442 | 0.21155
4 | 0.0013762 | 0.00034439 | -0.0013762 | -0.00034451 | 2.8308e-08 | -1.1922e-07 | 0.0020927 | 0.0020928 | 0.0020928 | 0.97847 | -0.15196 | 0.97845 | -0.15211 | 0.7751
5 | -0.0063624 | -0.0015843 | 0.0063735 | 0.0015862 | 1.1156e-05 | 1.8858e-06 | 0.009672 | 0.0096711 | 0.009672 | 0.97847 | -0.15196 | 0.98024 | -0.13914 | 3.5822
6 | 0.0013843 | 0.00034361 | -0.0013836 | -0.00034647 | 6.88e-07 | -2.8604e-06 | 0.002104 | 0.0021052 | 0.0021052 | 0.97847 | -0.15196 | 0.97796 | -0.15559 | 0.77969
7 | 0.0010736 | 0.00026868 | -0.0010736 | -0.00026906 | 5.4079e-08 | -3.8751e-07 | 0.0016326 | 0.0016328 | 0.0016328 | 0.97845 | -0.15211 | 0.97839 | -0.15247 | 0.60473
8 | -0.0063735 | -0.0015862 | 0.0063804 | 0.0015873 | 6.8528e-06 | 1.1538e-06 | 0.0096711 | 0.0096706 | 0.0096711 | 0.98024 | -0.13914 | 0.98132 | -0.13126 | 3.5819
9 | 0.001018 | 0.00025484 | -0.001018 | -0.00025513 | 3.6552e-08 | -2.9228e-07 | 0.0015489 | 0.001549 | 0.001549 | 0.97796 | -0.15559 | 0.97793 | -0.15585 | 0.5737
10 | -0.0073408 | -0.001828 | 0.0073424 | 0.0018284 | 1.5968e-06 | 3.5297e-07 | 0.011127 | 0.011127 | 0.011127 | 0.98132 | -0.13126 | 0.98154 | -0.12967 | 4.1211
11 | -0.0075375 | -0.0018773 | 0.0075392 | 0.0018777 | 1.6884e-06 | 3.8721e-07 | 0.011423 | 0.011423 | 0.011423 | 0.98154 | -0.12967 | 0.98177 | -0.12803 | 4.2306
12 | -0.010604 | -0.0026447 | 0.010608 | 0.002646 | 4.1016e-06 | 1.2554e-06 | 0.016067 | 0.016067 | 0.016067 | 0.98177 | -0.12803 | 0.98216 | -0.12521 | 5.9507
13 | 0.0030644 | 0.00076706 | -0.0030641 | -0.00076722 | 2.9699e-07 | -1.6477e-07 | 0.0046443 | 0.0046444 | 0.0046444 | 0.98177 | -0.12803 | 0.98167 | -0.12873 | 1.7201
14 | -0.010608 | -0.002646 | 0.010618 | 0.0026492 | 1.0538e-05 | 3.2243e-06 | 0.016067 | 0.016066 | 0.016067 | 0.98216 | -0.12521 | 0.98317 | -0.11797 | 5.9506
15 | 0.0026204 | 0.00065601 | -0.00262 | -0.0006564 | 4.3526e-07 | -3.9151e-07 | 0.0039717 | 0.0039719 | 0.0039719 | 0.98167 | -0.12873 | 0.9815 | -0.12994 | 1.4711
16 | -0.024076 | -0.0060334 | 0.024475 | 0.0061808 | 0.00039947 | 0.00014742 | 0.036438 | 0.036436 | 0.036438 | 0.98317 | -0.11797 | 1 | 0 | 13.4956
17 | 0.013333 | 0.003353 | -0.013224 | -0.0033164 | 0.00010921 | 3.6603e-05 | 0.020183 | 0.020185 | 0.020185 | 0.98317 | -0.11797 | 0.97486 | -0.17715 | 7.476
18 | 0.0020803 | 0.00052116 | -0.0020802 | -0.00052134 | 1.0907e-07 | -1.8013e-07 | 0.0031538 | 0.0031539 | 0.0031539 | 0.9815 | -0.12994 | 0.98145 | -0.13031 | 1.1681
19 | -0.013198 | -0.0033076 | 0.013224 | 0.0033164 | 2.6047e-05 | 8.7434e-06 | 0.020186 | 0.020185 | 0.020186 | 0.97288 | -0.19138 | 0.97486 | -0.17715 | 7.4761
20 | 0.1122 | 0.028349 | -0.11048 | -0.027694 | 0.0017168 | 0.00065521 | 0.16703 | 0.16704 | 0.16704 | 1 | 0 | 0.98422 | -0.11046 | 30.9325
21 | -0.016368 | -0.0041023 | 0.016413 | 0.004118 | 4.4642e-05 | 1.5698e-05 | 0.024816 | 0.024816 | 0.024816 | 0.98146 | -0.13011 | 0.98422 | -0.11046 | 9.1912
22 | 0.00092515 | 0.00023185 | -0.00092515 | -0.00023186 | 1.4417e-09 | -1.4286e-08 | 0.0014027 | 0.0014027 | 0.0014027 | 0.98145 | -0.13031 | 0.98145 | -0.13033 | 0.5195

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14897 | 0.037412

## res_load
| p_mw | q_mvar
0 | 0.00014722 | 3.6896e-05
1 | 0.0013699 | 0.00034332
2 | 0.001706 | 0.00042755
3 | 0.00037492 | 9.3965e-05
4 | 0.00030256 | 7.583e-05
5 | 0.00036561 | 9.1629e-05
6 | 0.0010736 | 0.00026906
7 | 0.00096046 | 0.00024071
8 | 0.001018 | 0.00025513
9 | 0.00019505 | 4.8885e-05
10 | 0.00044374 | 0.00011121
11 | 0.0001247 | 3.1252e-05
12 | 0.00053964 | 0.00013525
13 | 0.013198 | 0.0033076
14 | 0.011501 | 0.0028825
15 | 0.016368 | 0.0041023
16 | 0.094069 | 0.023576
17 | 0.0011551 | 0.00028949
18 | 0.00092515 | 0.00023186

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1