## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1137-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1137-12_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1137-12_0_3_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1137-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1137-12_0_3_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_1137-12_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1137-12_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1137-12_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1137-12_0_3_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_1137-12_0_3_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_1137-12_0_3_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_1137-12_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_1137-12_0_3_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_1137-12_0_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1137-12_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1137-12_0_3_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_1137-12_0_3_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_1137-12_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1137-12_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1137-12_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1137-12_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1137-12_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1137-12_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1137-12_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_1137-12_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1137-12_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1137-12_0_3_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_1137-12_0_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_1137-12_0_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_1137-12_0_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_1137-12_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1137-12_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1137-12_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1137-12_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1137-12_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1137-12_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1137-12_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1137-12_0_3_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_1137-12_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1137-12_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1137-12_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_1137-12_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_1137-12_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1137-12_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1137-12_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_1137-12_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1137-12_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1137-12_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_1137-12_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_1137-12_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_1137-12_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_1137-12_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_1137-12_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_1137-12_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1137-12_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1137-12_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_1137-12_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_MV_131_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1137-12_0_3_load_0 | 0 | 0.0012032 | 0.00030154 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1137-12_0_3_load_2 | 1 | 0.0044341 | 0.0011113 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1137-12_0_3_load_1 | 2 | 0.0020072 | 0.00050306 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1137-12_0_3_load_56 | 4 | 0.0017235 | 0.00043195 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1137-12_0_3_load_4 | 5 | 0.004265 | 0.0010689 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1137-12_0_3_load_5 | 6 | 0.0045651 | 0.0011441 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1137-12_0_3_load_6 | 7 | 0.0012637 | 0.00031671 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1137-12_0_3_load_52 | 8 | 0.0013592 | 0.00034065 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1137-12_0_3_load_53 | 9 | 0.0018544 | 0.00046476 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1137-12_0_3_load_54 | 10 | 0.00064659 | 0.00016205 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1137-12_0_3_load_18 | 11 | 0.0019311 | 0.00048397 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1137-12_0_3_load_55 | 12 | 0.00053642 | 0.00013444 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1137-12_0_3_load_17 | 13 | 0.002656 | 0.00066565 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1137-12_0_3_load_58 | 15 | 0.0081245 | 0.0020362 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1137-12_0_3_load_9 | 17 | 0.0021354 | 0.00053518 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1137-12_0_3_load_11 | 19 | 0.0024518 | 0.00061447 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1137-12_0_3_load_12 | 20 | 0.0015845 | 0.00039711 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1137-12_0_3_load_14 | 21 | 0.0032161 | 0.00080604 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1137-12_0_3_load_15 | 22 | 0.0032371 | 0.00081131 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1137-12_0_3_load_37 | 23 | 0.0043914 | 0.0011006 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1137-12_0_3_load_50 | 27 | 0.0031829 | 0.00079772 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1137-12_0_3_load_49 | 28 | 0.0024907 | 0.00062424 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1137-12_0_3_load_45 | 29 | 0.0055496 | 0.0013909 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1137-12_0_3_load_20 | 30 | 0.0041638 | 0.0010436 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1137-12_0_3_load_22 | 32 | 0.0023679 | 0.00059345 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1137-12_0_3_load_23 | 33 | 0.0021187 | 0.000531 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1137-12_0_3_load_24 | 34 | 0.0027308 | 0.0006844 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1137-12_0_3_load_39 | 37 | 0.0040754 | 0.0010214 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1137-12_0_3_load_34 | 38 | 0.0030654 | 0.00076826 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1137-12_0_3_load_32 | 39 | 0.0024407 | 0.0006117 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1137-12_0_3_load_26 | 40 | 0.0080503 | 0.0020176 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1137-12_0_3_load_27 | 41 | 0.0047101 | 0.0011805 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1137-12_0_3_load_28 | 42 | 0.0054961 | 0.0013775 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1137-12_0_3_load_29 | 43 | 0.0078388 | 0.0019646 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1137-12_0_3_load_30 | 44 | 0.0043374 | 0.001087 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1137-12_0_3_load_36 | 45 | 0.0052558 | 0.0013172 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1137-12_0_3_load_43 | 46 | 0.004388 | 0.0010997 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1137-12_0_3_load_44 | 47 | 0.0031879 | 0.00079895 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1137-12_0_3_load_31 | 48 | 0.0054771 | 0.0013727 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1137-12_0_3_load_33 | 49 | 0.0015189 | 0.00038068 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1137-12_0_3_load_35 | 50 | 0.0013141 | 0.00032933 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1137-12_0_3_load_40 | 51 | 0.0063749 | 0.0015977 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1137-12_0_3_load_41 | 52 | 0.0014778 | 0.00037036 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1137-12_0_3_load_42 | 53 | 0.0014414 | 0.00036124 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1137-12_0_3_load_47 | 54 | 0.0018058 | 0.00045258 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1137-12_0_3_load_48 | 55 | 0.0037377 | 0.00093675 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1137-12_0_3_load_57 | 56 | 0.001275 | 0.00031954 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1137-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1137-12_0_3_line_1 | NAYY 4x150 SE | 1 | 5 | 0.065341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1137-12_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.052924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1137-12_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.066856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1137-12_0_3_line_4 | NAYY 4x150 SE | 3 | 11 | 0.028438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1137-12_0_3_line_5 | NAYY 4x150 SE | 4 | 12 | 0.011643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1137-12_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.014459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1137-12_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.017581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1137-12_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 7.7718e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1137-12_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.012543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1137-12_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.018861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1137-12_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.00081185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1137-12_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.052301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1137-12_0_3_line_13 | NAYY 4x150 SE | 13 | 20 | 0.031521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1137-12_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.035114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1137-12_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.05137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1137-12_0_3_line_16 | NAYY 4x150 SE | 16 | 23 | 0.038068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1137-12_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.039079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1137-12_0_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.0076614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1137-12_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.013324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1137-12_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.025398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1137-12_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.046756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1137-12_0_3_line_22 | NAYY 4x150 SE | 22 | 24 | 0.068216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1137-12_0_3_line_23 | NAYY 4x150 SE | 23 | 45 | 0.0095579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1137-12_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.037413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1137-12_0_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.03267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1137-12_0_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.038893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1137-12_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.011761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1137-12_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.00096609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1137-12_0_3_line_29 | NAYY 4x150 SE | 28 | 55 | 0.028254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1137-12_0_3_line_30 | NAYY 4x150 SE | 29 | 47 | 0.026573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1137-12_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.025784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1137-12_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.04234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1137-12_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.019945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1137-12_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.0054167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1137-12_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0085215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1137-12_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.017227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1137-12_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.031767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1137-12_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.01699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1137-12_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.035993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1137-12_0_3_line_40 | NAYY 4x150 SE | 39 | 48 | 0.023442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1137-12_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.021083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1137-12_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.011838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1137-12_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.011021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1137-12_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.024935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_1137-12_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.023183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1137-12_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0057921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_1137-12_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.017405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_1137-12_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.0059724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1137-12_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.025337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1137-12_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.0010335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1137-12_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.026519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1137-12_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.0014237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1137-12_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.026891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1137-12_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.010312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1137-12_0_3_line_55 | NAYY 4x150 SE | 54 | 56 | 0.062212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1137-12_0_3_trafo_28 | 0.25 MVA 20/0.4 kV | 57 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2641051.2946 | 1226653.774 | 2641057.0218 | 1226637.4837
1 | 2641051.2946 | 1226653.774 | 2640989.1538 | 1226633.5747
2 | 2641121.218 | 1226567.1146 | 2641090.1197 | 1226555.2372 | 2641087.5497 | 1226555.3306 | 2641085.0238 | 1226557.8369 | 2641080.5446 | 1226570.577
3 | 2641080.5446 | 1226570.577 | 2641014.2491 | 1226561.9364
4 | 2641121.218 | 1226567.1146 | 2641111.1492 | 1226593.7105
5 | 2641010.2673 | 1226572.8771 | 2641014.2491 | 1226561.9364
6 | 2640989.1538 | 1226633.5747 | 2640990.196 | 1226628.0264 | 2640993.2101 | 1226619.7445
7 | 2640999.2228 | 1226603.2238 | 2640993.2101 | 1226619.7445
8 | 2640999.2228 | 1226603.2238 | 2640999.2494 | 1226603.1508
9 | 2640999.2494 | 1226603.1508 | 2641003.5392 | 1226591.3638
10 | 2641009.9897 | 1226573.64 | 2641003.5392 | 1226591.3638
11 | 2641009.9897 | 1226573.64 | 2641010.2673 | 1226572.8771
12 | 2641111.1492 | 1226593.7105 | 2641092.6313 | 1226642.6238
13 | 2641092.6313 | 1226642.6238 | 2641084.5643 | 1226663.9319 | 2641082.9344 | 1226672.5153
14 | 2641056.7314 | 1226778.6322 | 2641048.7728 | 1226812.8316
15 | 2641097.2477 | 1226830.2321 | 2641048.7728 | 1226812.8316
16 | 2641097.2477 | 1226830.2321 | 2641114.427 | 1226796.2611
17 | 2641082.7609 | 1226685.8328 | 2641071.5285 | 1226692.4927 | 2641061.9522 | 1226700.7873 | 2641053.6267 | 1226711.2252
18 | 2641082.7609 | 1226685.8328 | 2641087.6694 | 1226682.9316 | 2641089.4154 | 1226682.0417
19 | 2641082.7609 | 1226685.8328 | 2641082.8734 | 1226672.8368 | 2641082.9344 | 1226672.5153
20 | 2641089.4154 | 1226682.0417 | 2641112.0438 | 1226670.5089
21 | 2641112.0438 | 1226670.5089 | 2641146.5985 | 1226652.8978 | 2641153.702 | 1226649.2779
22 | 2641214.6149 | 1226618.5693 | 2641164.2059 | 1226643.9251 | 2641153.702 | 1226649.2779
23 | 2641114.427 | 1226796.2611 | 2641118.7403 | 1226787.7319
24 | 2641214.6149 | 1226618.5693 | 2641215.8917 | 1226621.3465 | 2641230.2119 | 1226652.5758
25 | 2641258.7651 | 1226667.416 | 2641239.8392 | 1226654.4659 | 2641230.2119 | 1226652.5758
26 | 2641230.2119 | 1226652.5758 | 2641196.543 | 1226672.0458
27 | 2641258.7651 | 1226667.416 | 2641254.6893 | 1226678.4477
28 | 2641195.7067 | 1226672.5294 | 2641196.543 | 1226672.0458
29 | 2641254.6893 | 1226678.4477 | 2641253.4511 | 1226681.7991 | 2641241.0617 | 1226703.145
30 | 2641173.2577 | 1226686.6418 | 2641178.3081 | 1226682.5907 | 2641195.7067 | 1226672.5294
31 | 2641213.1077 | 1226880.0298 | 2641202.2238 | 1226893.2959 | 2641197.8482 | 1226900.7283
32 | 2641213.1077 | 1226880.0298 | 2641174.4397 | 1226862.7825
33 | 2641213.1077 | 1226880.0298 | 2641226.5536 | 1226865.2991
34 | 2641174.4397 | 1226862.7825 | 2641169.4927 | 1226860.576
35 | 2641232.2985 | 1226859.0053 | 2641226.5536 | 1226865.2991
36 | 2641153.7602 | 1226853.5588 | 2641169.4927 | 1226860.576
37 | 2641232.2985 | 1226859.0053 | 2641254.2689 | 1226836.0606
38 | 2641153.7602 | 1226853.5588 | 2641162.2889 | 1226838.8644
39 | 2641180.3567 | 1226807.735 | 2641162.2889 | 1226838.8644
40 | 2641192.124 | 1226787.4608 | 2641180.3567 | 1226807.735
41 | 2641143.6901 | 1226738.3953 | 2641134.1759 | 1226757.2091
42 | 2641143.6901 | 1226738.3953 | 2641149.0323 | 1226727.8316
43 | 2641129.2023 | 1226767.044 | 2641134.1759 | 1226757.2091
44 | 2641149.0323 | 1226727.8316 | 2641160.2851 | 1226705.58
45 | 2641129.2023 | 1226767.044 | 2641118.7403 | 1226787.7319
46 | 2641162.8989 | 1226700.4113 | 2641160.2851 | 1226705.58
47 | 2641162.8989 | 1226700.4113 | 2641164.2966 | 1226697.6474 | 2641170.283 | 1226689.028 | 2641173.2577 | 1226686.6418
48 | 2641192.124 | 1226787.4608 | 2641195.1221 | 1226782.2955
49 | 2641195.1221 | 1226782.2955 | 2641207.841 | 1226760.3816
50 | 2641208.3598 | 1226759.4878 | 2641207.841 | 1226760.3816
51 | 2641208.3598 | 1226759.4878 | 2641221.6717 | 1226736.5526
52 | 2641222.3863 | 1226735.3213 | 2641221.6717 | 1226736.5526
53 | 2641235.885 | 1226712.064 | 2641222.3863 | 1226735.3213
54 | 2641235.885 | 1226712.064 | 2641241.0617 | 1226703.145
55 | 2641235.885 | 1226712.064 | 2641290.5585 | 1226741.7484

## bus_geodata
| x | y | coords
0 | 2641057.0218 | 1226637.4837
1 | 2641051.2946 | 1226653.774
2 | 2641080.5446 | 1226570.577
3 | 2641121.218 | 1226567.1146
4 | 2641014.2491 | 1226561.9364
5 | 2640989.1538 | 1226633.5747
6 | 2640993.2101 | 1226619.7445
7 | 2640999.2228 | 1226603.2238
8 | 2640999.2494 | 1226603.1508
9 | 2641003.5392 | 1226591.3638
10 | 2641009.9897 | 1226573.64
11 | 2641111.1492 | 1226593.7105
12 | 2641010.2673 | 1226572.8771
13 | 2641092.6313 | 1226642.6238
14 | 2641048.7728 | 1226812.8316
15 | 2641056.7314 | 1226778.6322
16 | 2641097.2477 | 1226830.2321
17 | 2641053.6267 | 1226711.2252
18 | 2641082.7609 | 1226685.8328
19 | 2641089.4154 | 1226682.0417
20 | 2641082.9344 | 1226672.5153
21 | 2641112.0438 | 1226670.5089
22 | 2641153.702 | 1226649.2779
23 | 2641114.427 | 1226796.2611
24 | 2641214.6149 | 1226618.5693
25 | 2641230.2119 | 1226652.5758
26 | 2641258.7651 | 1226667.416
27 | 2641196.543 | 1226672.0458
28 | 2641254.6893 | 1226678.4477
29 | 2641195.7067 | 1226672.5294
30 | 2641197.8482 | 1226900.7283
31 | 2641213.1077 | 1226880.0298
32 | 2641174.4397 | 1226862.7825
33 | 2641226.5536 | 1226865.2991
34 | 2641169.4927 | 1226860.576
35 | 2641232.2985 | 1226859.0053
36 | 2641153.7602 | 1226853.5588
37 | 2641254.2689 | 1226836.0606
38 | 2641162.2889 | 1226838.8644
39 | 2641180.3567 | 1226807.735
40 | 2641143.6901 | 1226738.3953
41 | 2641134.1759 | 1226757.2091
42 | 2641149.0323 | 1226727.8316
43 | 2641129.2023 | 1226767.044
44 | 2641160.2851 | 1226705.58
45 | 2641118.7403 | 1226787.7319
46 | 2641162.8989 | 1226700.4113
47 | 2641173.2577 | 1226686.6418
48 | 2641192.124 | 1226787.4608
49 | 2641195.1221 | 1226782.2955
50 | 2641207.841 | 1226760.3816
51 | 2641208.3598 | 1226759.4878
52 | 2641221.6717 | 1226736.5526
53 | 2641222.3863 | 1226735.3213
54 | 2641235.885 | 1226712.064
55 | 2641241.0617 | 1226703.145
56 | 2641290.5585 | 1226741.7484
57 | 2641230.2119 | 1226652.5758

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97002 | -0.21126 | 0.0012032 | 0.00030154
1 | 0.97005 | -0.21104 | 0.0044341 | 0.0011113
2 | 0.97453 | -0.17882 | 0.0020072 | 0.00050306
3 | 0.97638 | -0.16556 | 0 | 0
4 | 0.97238 | -0.19422 | 0.0017235 | 0.00043195
5 | 0.97059 | -0.20713 | 0.004265 | 0.0010689
6 | 0.9708 | -0.20562 | 0.0045651 | 0.0011441
7 | 0.97117 | -0.20292 | 0.0012637 | 0.00031671
8 | 0.97117 | -0.20291 | 0.0013592 | 0.00034065
9 | 0.97149 | -0.20064 | 0.0018544 | 0.00046476
10 | 0.97201 | -0.19686 | 0.00064659 | 0.00016205
11 | 0.97738 | -0.15846 | 0.0019311 | 0.00048397
12 | 0.97204 | -0.19669 | 0.00053642 | 0.00013444
13 | 0.97935 | -0.14438 | 0.002656 | 0.00066565
14 | 0.99623 | -0.026406 | 0 | 0
15 | 0.99583 | -0.029277 | 0.0081245 | 0.0020362
16 | 0.99683 | -0.022209 | 0 | 0
17 | 0.98113 | -0.13176 | 0.0021354 | 0.00053518
18 | 0.98125 | -0.13089 | 0 | 0
19 | 0.98162 | -0.12834 | 0.0024518 | 0.00061447
20 | 0.98067 | -0.13505 | 0.0015845 | 0.00039711
21 | 0.9829 | -0.11923 | 0.0032161 | 0.00080604
22 | 0.98549 | -0.10098 | 0.0032371 | 0.00081131
23 | 0.99727 | -0.0191 | 0.0043914 | 0.0011006
24 | 0.98958 | -0.072272 | 0 | 0
25 | 0.99183 | -0.056626 | 0 | 0
26 | 0.98956 | -0.072545 | 0 | 0
27 | 0.99435 | -0.039101 | 0.0031829 | 0.00079772
28 | 0.98874 | -0.078293 | 0.0024907 | 0.00062424
29 | 0.99441 | -0.038651 | 0.0055496 | 0.0013909
30 | 0.97864 | -0.14999 | 0.0041638 | 0.0010436
31 | 0.9788 | -0.14887 | 0 | 0
32 | 0.97944 | -0.1443 | 0.0023679 | 0.00059345
33 | 0.97862 | -0.15016 | 0.0021187 | 0.000531
34 | 0.97954 | -0.14358 | 0.0027308 | 0.0006844
35 | 0.97857 | -0.15052 | 0 | 0
36 | 0.97993 | -0.14081 | 0 | 0
37 | 0.97838 | -0.15187 | 0.0040754 | 0.0010214
38 | 0.98031 | -0.13808 | 0.0030654 | 0.00076826
39 | 0.98128 | -0.13116 | 0.0024407 | 0.0006117
40 | 0.99935 | -0.0045385 | 0.0080503 | 0.0020176
41 | 0.99844 | -0.010936 | 0.0047101 | 0.0011805
42 | 1 | 0 | -0.15077 | -0.037834
43 | 0.99803 | -0.013765 | 0.0078388 | 0.0019646
44 | 0.99802 | -0.013679 | 0.0043374 | 0.001087
45 | 0.99744 | -0.017899 | 0.0052558 | 0.0013172
46 | 0.99757 | -0.016738 | 0.004388 | 0.0010997
47 | 0.9963 | -0.025563 | 0.0031879 | 0.00079895
48 | 0.98199 | -0.12606 | 0.0054771 | 0.0013727
49 | 0.98222 | -0.12443 | 0.0015189 | 0.00038068
50 | 0.98325 | -0.1171 | 0.0013141 | 0.00032933
51 | 0.9833 | -0.11679 | 0.0063749 | 0.0015977
52 | 0.98467 | -0.10704 | 0.0014778 | 0.00037036
53 | 0.98475 | -0.10649 | 0.0014414 | 0.00036124
54 | 0.98626 | -0.095828 | 0.0018058 | 0.00045258
55 | 0.98688 | -0.09142 | 0.0037377 | 0.00093675
56 | 0.98614 | -0.096643 | 0.001275 | 0.00031954
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0012032 | -0.00030154 | 0.0012032 | 0.00030134 | 3.6703e-08 | -1.9905e-07 | 0.0018457 | 0.0018456 | 0.0018457 | 0.97002 | -0.21126 | 0.97005 | -0.21104 | 0.68358
1 | -0.0056373 | -0.0014126 | 0.0056404 | 0.001413 | 3.0488e-06 | 3.655e-07 | 0.0086473 | 0.0086471 | 0.0086473 | 0.97005 | -0.21104 | 0.97059 | -0.20713 | 3.2027
2 | -0.023938 | -0.0060075 | 0.023983 | 0.0060238 | 4.4129e-05 | 1.6312e-05 | 0.036555 | 0.036555 | 0.036555 | 0.97453 | -0.17882 | 0.97638 | -0.16556 | 13.5388
3 | 0.021931 | 0.0055044 | -0.021884 | -0.0054873 | 4.6791e-05 | 1.7165e-05 | 0.03349 | 0.03349 | 0.03349 | 0.97453 | -0.17882 | 0.97238 | -0.19422 | 12.4038
4 | -0.023983 | -0.0060238 | 0.024006 | 0.0060326 | 2.3712e-05 | 8.7639e-06 | 0.036555 | 0.036554 | 0.036555 | 0.97638 | -0.16556 | 0.97738 | -0.15846 | 13.5387
5 | 0.020161 | 0.0050553 | -0.020154 | -0.0050528 | 6.9156e-06 | 2.5155e-06 | 0.030853 | 0.030853 | 0.030853 | 0.97238 | -0.19422 | 0.97204 | -0.19669 | 11.427
6 | -0.0099053 | -0.0024819 | 0.0099074 | 0.0024825 | 2.0806e-06 | 6.2149e-07 | 0.015186 | 0.015186 | 0.015186 | 0.97059 | -0.20713 | 0.9708 | -0.20562 | 5.6243
7 | -0.014473 | -0.0036267 | 0.014478 | 0.0036285 | 5.3984e-06 | 1.8588e-06 | 0.022183 | 0.022183 | 0.022183 | 0.9708 | -0.20562 | 0.97117 | -0.20292 | 8.2159
8 | -0.015742 | -0.0039452 | 0.015742 | 0.0039452 | 2.8212e-08 | 9.8887e-09 | 0.024119 | 0.024119 | 0.024119 | 0.97117 | -0.20292 | 0.97117 | -0.20291 | 8.933
9 | -0.017101 | -0.0042859 | 0.017106 | 0.0042878 | 5.3734e-06 | 1.9114e-06 | 0.026202 | 0.026202 | 0.026202 | 0.97117 | -0.20291 | 0.97149 | -0.20064 | 9.7043
10 | -0.018961 | -0.0047526 | 0.018971 | 0.0047561 | 9.9267e-06 | 3.5843e-06 | 0.029042 | 0.029042 | 0.029042 | 0.97149 | -0.20064 | 0.97201 | -0.19686 | 10.7563
11 | -0.019617 | -0.0049182 | 0.019618 | 0.0049184 | 4.569e-07 | 1.6567e-07 | 0.030032 | 0.030032 | 0.030032 | 0.97201 | -0.19686 | 0.97204 | -0.19669 | 11.1229
12 | -0.025937 | -0.0065165 | 0.025988 | 0.0065355 | 5.0906e-05 | 1.8922e-05 | 0.039494 | 0.039494 | 0.039494 | 0.97738 | -0.15846 | 0.97935 | -0.14438 | 14.6276
13 | -0.028644 | -0.0072011 | 0.028682 | 0.007215 | 3.7269e-05 | 1.3937e-05 | 0.04353 | 0.04353 | 0.04353 | 0.97935 | -0.14438 | 0.98067 | -0.13505 | 16.1221
14 | 0.0081277 | 0.002037 | -0.0081245 | -0.0020362 | 3.2292e-06 | 7.8499e-07 | 0.01214 | 0.01214 | 0.01214 | 0.99623 | -0.026406 | 0.99583 | -0.029277 | 4.4963
15 | -0.0081277 | -0.002037 | 0.0081324 | 0.0020381 | 4.7241e-06 | 1.1477e-06 | 0.01214 | 0.01214 | 0.01214 | 0.99623 | -0.026406 | 0.99683 | -0.022209 | 4.4963
16 | -0.0081324 | -0.0020381 | 0.0081359 | 0.002039 | 3.5006e-06 | 8.4992e-07 | 0.01214 | 0.012139 | 0.01214 | 0.99683 | -0.022209 | 0.99727 | -0.0191 | 4.4962
17 | -0.0021354 | -0.00053518 | 0.0021357 | 0.00053479 | 2.5576e-07 | -3.9522e-07 | 0.0032386 | 0.0032385 | 0.0032386 | 0.98113 | -0.13176 | 0.98125 | -0.13089 | 1.1995
18 | -0.032419 | -0.0081535 | 0.032431 | 0.0081579 | 1.1559e-05 | 4.3491e-06 | 0.049172 | 0.049172 | 0.049172 | 0.98125 | -0.13089 | 0.98162 | -0.12834 | 18.2119
19 | 0.030284 | 0.0076187 | -0.030266 | -0.0076122 | 1.7542e-05 | 6.5786e-06 | 0.045934 | 0.045934 | 0.045934 | 0.98125 | -0.13089 | 0.98067 | -0.13505 | 17.0125
20 | -0.034883 | -0.0087723 | 0.034927 | 0.0087891 | 4.4331e-05 | 1.6729e-05 | 0.052889 | 0.052889 | 0.052889 | 0.98162 | -0.12834 | 0.9829 | -0.11923 | 19.5884
21 | -0.038143 | -0.0095951 | 0.03824 | 0.009632 | 9.7329e-05 | 3.684e-05 | 0.057758 | 0.057757 | 0.057758 | 0.9829 | -0.11923 | 0.98549 | -0.10098 | 21.3917
22 | -0.041478 | -0.010443 | 0.041645 | 0.010507 | 0.00016705 | 6.3377e-05 | 0.062645 | 0.062645 | 0.062645 | 0.98549 | -0.10098 | 0.98958 | -0.072272 | 23.2019
23 | -0.012527 | -0.0031396 | 0.012529 | 0.0031402 | 2.0838e-06 | 6.7671e-07 | 0.018692 | 0.018692 | 0.018692 | 0.99727 | -0.0191 | 0.99744 | -0.017899 | 6.9229
24 | -0.041645 | -0.010507 | 0.041736 | 0.010541 | 9.1616e-05 | 3.4755e-05 | 0.062645 | 0.062645 | 0.062645 | 0.98958 | -0.072272 | 0.99183 | -0.056626 | 23.2018
25 | 0.048331 | 0.012168 | -0.048223 | -0.012127 | 0.00010724 | 4.0825e-05 | 0.072529 | 0.072529 | 0.072529 | 0.99183 | -0.056626 | 0.98956 | -0.072545 | 26.8625
26 | -0.090067 | -0.022709 | 0.090288 | 0.022793 | 0.00022172 | 8.4271e-05 | 0.13517 | 0.13517 | 0.13517 | 0.99183 | -0.056626 | 0.99435 | -0.039101 | 25.0321
27 | 0.048223 | 0.012127 | -0.048185 | -0.012112 | 3.8604e-05 | 1.4697e-05 | 0.072529 | 0.072529 | 0.072529 | 0.98956 | -0.072545 | 0.98874 | -0.078293 | 26.8625
28 | -0.093471 | -0.023591 | 0.093477 | 0.023593 | 5.9025e-06 | 2.2451e-06 | 0.13994 | 0.13994 | 0.13994 | 0.99435 | -0.039101 | 0.99441 | -0.038651 | 25.9141
29 | 0.045694 | 0.011488 | -0.045611 | -0.011456 | 8.3405e-05 | 3.1717e-05 | 0.06878 | 0.06878 | 0.06878 | 0.98874 | -0.078293 | 0.98688 | -0.09142 | 25.4743
30 | -0.099027 | -0.024984 | 0.099209 | 0.025054 | 0.00018219 | 6.9382e-05 | 0.14824 | 0.14824 | 0.14824 | 0.99441 | -0.038651 | 0.9963 | -0.025563 | 27.4519
31 | -0.0041638 | -0.0010436 | 0.0041645 | 0.0010435 | 6.4488e-07 | -7.5996e-08 | 0.006331 | 0.0063309 | 0.006331 | 0.97864 | -0.14999 | 0.9788 | -0.14887 | 2.3448
32 | -0.010361 | -0.0025959 | 0.010367 | 0.0025979 | 6.5542e-06 | 1.9883e-06 | 0.015751 | 0.01575 | 0.015751 | 0.9788 | -0.14887 | 0.97944 | -0.1443 | 5.8335
33 | 0.0061962 | 0.0015524 | -0.0061951 | -0.0015523 | 1.1043e-06 | 1.7409e-07 | 0.0094196 | 0.0094197 | 0.0094197 | 0.9788 | -0.14887 | 0.97862 | -0.15016 | 3.4888
34 | -0.012735 | -0.0031914 | 0.012736 | 0.0031918 | 1.2653e-06 | 4.1846e-07 | 0.019348 | 0.019348 | 0.019348 | 0.97944 | -0.1443 | 0.97954 | -0.14358 | 7.1658
35 | 0.0040764 | 0.0010213 | -0.0040762 | -0.0010213 | 2.0428e-07 | -2.8492e-08 | 0.0061981 | 0.0061982 | 0.0061982 | 0.97862 | -0.15016 | 0.97857 | -0.15052 | 2.2956
36 | -0.015467 | -0.0038762 | 0.015473 | 0.0038782 | 5.9343e-06 | 2.0655e-06 | 0.023496 | 0.023496 | 0.023496 | 0.97954 | -0.14358 | 0.97993 | -0.14081 | 8.7022
37 | 0.0040762 | 0.0010213 | -0.0040754 | -0.0010214 | 7.6156e-07 | -1.0611e-07 | 0.0061982 | 0.0061983 | 0.0061983 | 0.97857 | -0.15052 | 0.97838 | -0.15187 | 2.2957
38 | -0.015473 | -0.0038782 | 0.015479 | 0.0038803 | 5.8528e-06 | 2.037e-06 | 0.023496 | 0.023496 | 0.023496 | 0.97993 | -0.14081 | 0.98031 | -0.13808 | 8.7022
39 | -0.018544 | -0.0046485 | 0.018562 | 0.0046549 | 1.7796e-05 | 6.3904e-06 | 0.028149 | 0.028149 | 0.028149 | 0.98031 | -0.13808 | 0.98128 | -0.13116 | 10.4255
40 | -0.021003 | -0.0052666 | 0.021018 | 0.005272 | 1.4838e-05 | 5.4107e-06 | 0.03185 | 0.03185 | 0.03185 | 0.98128 | -0.13116 | 0.98199 | -0.12606 | 11.7962
41 | 0.030381 | 0.0076199 | -0.030354 | -0.0076098 | 2.6924e-05 | 1.0079e-05 | 0.045239 | 0.045239 | 0.045239 | 0.99935 | -0.0045385 | 0.99844 | -0.010936 | 16.7553
42 | -0.038432 | -0.0096375 | 0.038456 | 0.0096467 | 2.419e-05 | 9.1487e-06 | 0.057226 | 0.057226 | 0.057226 | 0.99935 | -0.0045385 | 1 | 0 | 21.1948
43 | 0.025644 | 0.0064294 | -0.025634 | -0.0064257 | 1.0046e-05 | 3.7196e-06 | 0.03822 | 0.03822 | 0.03822 | 0.99844 | -0.010936 | 0.99803 | -0.013765 | 14.1554
44 | 0.11151 | 0.028187 | -0.1113 | -0.028105 | 0.00021441 | 8.1813e-05 | 0.16601 | 0.16601 | 0.16601 | 1 | 0 | 0.99802 | -0.013679 | 30.7432
45 | 0.017795 | 0.0044611 | -0.017785 | -0.0044575 | 1.0184e-05 | 3.614e-06 | 0.026532 | 0.026532 | 0.026532 | 0.99803 | -0.013765 | 0.99744 | -0.017899 | 9.8268
46 | 0.10696 | 0.027018 | -0.10691 | -0.027001 | 4.6e-05 | 1.7541e-05 | 0.15955 | 0.15955 | 0.15955 | 0.99802 | -0.013679 | 0.99757 | -0.016738 | 29.5456
47 | 0.10252 | 0.025901 | -0.1024 | -0.025853 | 0.00012712 | 4.8439e-05 | 0.153 | 0.153 | 0.153 | 0.99757 | -0.016738 | 0.9963 | -0.025563 | 28.3336
48 | -0.026495 | -0.0066447 | 0.026501 | 0.006647 | 6.0074e-06 | 2.2349e-06 | 0.040149 | 0.040149 | 0.040149 | 0.98199 | -0.12606 | 0.98222 | -0.12443 | 14.8701
49 | -0.02802 | -0.0070276 | 0.028048 | 0.0070383 | 2.8491e-05 | 1.0637e-05 | 0.04245 | 0.04245 | 0.04245 | 0.98222 | -0.12443 | 0.98325 | -0.1171 | 15.7223
50 | -0.029362 | -0.0073676 | 0.029364 | 0.0073681 | 1.2735e-06 | 4.767e-07 | 0.044439 | 0.044439 | 0.044439 | 0.98325 | -0.1171 | 0.9833 | -0.11679 | 16.4588
51 | -0.035738 | -0.0089658 | 0.035787 | 0.0089841 | 4.8406e-05 | 1.8281e-05 | 0.054086 | 0.054086 | 0.054086 | 0.9833 | -0.11679 | 0.98467 | -0.10704 | 20.0318
52 | -0.037265 | -0.0093544 | 0.037267 | 0.0093555 | 2.8178e-06 | 1.0656e-06 | 0.056319 | 0.056319 | 0.056319 | 0.98467 | -0.10704 | 0.98475 | -0.10649 | 20.8589
53 | -0.038709 | -0.0097167 | 0.038766 | 0.0097385 | 5.7419e-05 | 2.1741e-05 | 0.058497 | 0.058497 | 0.058497 | 0.98475 | -0.10649 | 0.98626 | -0.095828 | 21.6655
54 | -0.041847 | -0.01051 | 0.041873 | 0.01052 | 2.5658e-05 | 9.7367e-06 | 0.063145 | 0.063145 | 0.063145 | 0.98626 | -0.095828 | 0.98688 | -0.09142 | 23.387
55 | 0.0012751 | 0.0003188 | -0.001275 | -0.00031954 | 1.4366e-07 | -7.3855e-07 | 0.0019236 | 0.0019239 | 0.0019239 | 0.98626 | -0.095828 | 0.98614 | -0.096643 | 0.71255

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15626 | 0.039211

## res_load
| p_mw | q_mvar
0 | 0.0012032 | 0.00030154
1 | 0.0044341 | 0.0011113
2 | 0.0020072 | 0.00050306
3 | 0.0017235 | 0.00043195
4 | 0.004265 | 0.0010689
5 | 0.0045651 | 0.0011441
6 | 0.0012637 | 0.00031671
7 | 0.0013592 | 0.00034065
8 | 0.0018544 | 0.00046476
9 | 0.00064659 | 0.00016205
10 | 0.0019311 | 0.00048397
11 | 0.00053642 | 0.00013444
12 | 0.002656 | 0.00066565
13 | 0.0081245 | 0.0020362
14 | 0.0021354 | 0.00053518
15 | 0.0024518 | 0.00061447
16 | 0.0015845 | 0.00039711
17 | 0.0032161 | 0.00080604
18 | 0.0032371 | 0.00081131
19 | 0.0043914 | 0.0011006
20 | 0.0031829 | 0.00079772
21 | 0.0024907 | 0.00062424
22 | 0.0055496 | 0.0013909
23 | 0.0041638 | 0.0010436
24 | 0.0023679 | 0.00059345
25 | 0.0021187 | 0.000531
26 | 0.0027308 | 0.0006844
27 | 0.0040754 | 0.0010214
28 | 0.0030654 | 0.00076826
29 | 0.0024407 | 0.0006117
30 | 0.0080503 | 0.0020176
31 | 0.0047101 | 0.0011805
32 | 0.0054961 | 0.0013775
33 | 0.0078388 | 0.0019646
34 | 0.0043374 | 0.001087
35 | 0.0052558 | 0.0013172
36 | 0.004388 | 0.0010997
37 | 0.0031879 | 0.00079895
38 | 0.0054771 | 0.0013727
39 | 0.0015189 | 0.00038068
40 | 0.0013141 | 0.00032933
41 | 0.0063749 | 0.0015977
42 | 0.0014778 | 0.00037036
43 | 0.0014414 | 0.00036124
44 | 0.0018058 | 0.00045258
45 | 0.0037377 | 0.00093675
46 | 0.001275 | 0.00031954

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1