## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1137-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1137-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1137-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1137-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1137-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1137-1_0_4_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_1137-1_0_4_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_1137-1_0_4_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_1137-1_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1137-1_0_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_1137-1_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1137-1_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1137-1_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1137-1_0_4_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_1137-1_0_4_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_1137-1_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1137-1_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1137-1_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_1137-1_0_4_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_1137-1_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1137-1_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_1137-1_0_4_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_1137-1_0_4_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_1137-1_0_4_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_1137-1_0_4_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_1137-1_0_4_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_1137-1_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1137-1_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1137-1_0_4_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_1137-1_0_4_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_1137-1_0_4_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_1137-1_0_4_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_1137-1_0_4_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_1137-1_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_1137-1_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1137-1_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1137-1_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_1137-1_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1137-1_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1137-1_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1137-1_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1137-1_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1137-1_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1137-1_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1137-1_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1137-1_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1137-1_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1137-1_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_1137-1_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_1137-1_0_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_1137-1_0_4_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_1137-1_0_4_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_1137-1_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1137-1_0_4_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_1137-1_0_4_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_1137-1_0_4_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_1137-1_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_1137-1_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_1137-1_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_1137-1_0_4_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_1137-1_0_4_node_65 | 0.4 | n |  | TRUE
61 | bus_MV_130_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1137-1_0_4_load_0 | 0 | 0.0095108 | 0.0023836 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1137-1_0_4_load_3 | 3 | 0.0024895 | 0.00062393 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1137-1_0_4_load_37 | 5 | 0.0097266 | 0.0024377 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1137-1_0_4_load_45 | 6 | 0.0025093 | 0.0006289 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1137-1_0_4_load_44 | 7 | 0.012798 | 0.0032075 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1137-1_0_4_load_17 | 9 | 0.0054269 | 0.0013601 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1137-1_0_4_load_38 | 13 | 0.0046583 | 0.0011675 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1137-1_0_4_load_32 | 17 | 0.0047843 | 0.0011991 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1137-1_0_4_load_33 | 18 | 0.0016584 | 0.00041563 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1137-1_0_4_load_14 | 19 | 0.0043291 | 0.001085 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1137-1_0_4_load_31 | 20 | 0.0012309 | 0.0003085 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1137-1_0_4_load_60 | 22 | 0.0055101 | 0.001381 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1137-1_0_4_load_57 | 24 | 0.0084739 | 0.0021238 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1137-1_0_4_load_16 | 26 | 0.0039049 | 0.00097867 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1137-1_0_4_load_10 | 28 | 0.0072867 | 0.0018262 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1137-1_0_4_load_11 | 29 | 0.01452 | 0.0036391 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1137-1_0_4_load_13 | 30 | 0.0043225 | 0.0010833 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1137-1_0_4_load_18 | 33 | 0.0051391 | 0.001288 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1137-1_0_4_load_22 | 35 | 0.0010239 | 0.00025662 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1137-1_0_4_load_23 | 36 | 0.001089 | 0.00027293 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1137-1_0_4_load_25 | 38 | 0.00086822 | 0.0002176 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1137-1_0_4_load_27 | 39 | 0.0020518 | 0.00051424 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1137-1_0_4_load_39 | 40 | 0.00050652 | 0.00012695 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1137-1_0_4_load_34 | 41 | 0.0053592 | 0.0013431 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1137-1_0_4_load_36 | 43 | 0.041699 | 0.010451 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1137-1_0_4_load_47 | 44 | 0.0063549 | 0.0015927 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1137-1_0_4_load_35 | 45 | 0.0086742 | 0.002174 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1137-1_0_4_load_41 | 46 | 0.0086752 | 0.0021742 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1137-1_0_4_load_46 | 47 | 0.0078201 | 0.0019599 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1137-1_0_4_load_40 | 48 | 0.0040062 | 0.0010041 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1137-1_0_4_load_53 | 49 | 0.0020935 | 0.00052469 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1137-1_0_4_load_68 | 50 | 0.0023878 | 0.00059843 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1137-1_0_4_load_63 | 51 | 0.0018341 | 0.00045967 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1137-1_0_4_load_51 | 52 | 0.0038937 | 0.00097586 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1137-1_0_4_load_61 | 54 | 0.0025521 | 0.00063961 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1137-1_0_4_load_52 | 55 | 0.0021172 | 0.00053062 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1137-1_0_4_load_54 | 56 | 0.0084572 | 0.0021196 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1137-1_0_4_load_55 | 57 | 0.003439 | 0.0008619 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1137-1_0_4_load_62 | 59 | 0.0073424 | 0.0018402 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1137-1_0_4_load_65 | 60 | 0.0015257 | 0.00038238 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1137-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1137-1_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.003646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1137-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.040701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1137-1_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.004887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1137-1_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.040176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1137-1_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.017682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1137-1_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.041871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1137-1_0_4_line_7 | NAYY 4x150 SE | 5 | 13 | 0.029551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1137-1_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.034849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1137-1_0_4_line_9 | NAYY 4x150 SE | 7 | 14 | 0.03904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1137-1_0_4_line_10 | NAYY 4x150 SE | 8 | 9 | 0.023296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1137-1_0_4_line_11 | NAYY 4x150 SE | 8 | 10 | 0.008395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1137-1_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.027725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1137-1_0_4_line_13 | NAYY 4x150 SE | 10 | 12 | 0.047176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1137-1_0_4_line_14 | NAYY 4x150 SE | 11 | 20 | 0.014099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1137-1_0_4_line_15 | NAYY 4x150 SE | 12 | 21 | 0.020244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1137-1_0_4_line_16 | NAYY 4x150 SE | 14 | 46 | 0.011901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1137-1_0_4_line_17 | NAYY 4x150 SE | 14 | 42 | 0.044953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1137-1_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.003671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1137-1_0_4_line_19 | NAYY 4x150 SE | 15 | 17 | 0.010316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1137-1_0_4_line_20 | NAYY 4x150 SE | 15 | 18 | 0.025205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1137-1_0_4_line_21 | NAYY 4x150 SE | 16 | 26 | 0.01402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1137-1_0_4_line_22 | NAYY 4x150 SE | 16 | 19 | 0.015097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1137-1_0_4_line_23 | NAYY 4x150 SE | 17 | 20 | 0.016569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1137-1_0_4_line_24 | NAYY 4x150 SE | 18 | 27 | 0.017842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1137-1_0_4_line_25 | NAYY 4x150 SE | 21 | 22 | 0.013302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1137-1_0_4_line_26 | NAYY 4x150 SE | 21 | 23 | 0.017851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1137-1_0_4_line_27 | NAYY 4x150 SE | 22 | 58 | 0.020715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1137-1_0_4_line_28 | NAYY 4x150 SE | 23 | 25 | 0.033505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1137-1_0_4_line_29 | NAYY 4x150 SE | 23 | 24 | 0.0081126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1137-1_0_4_line_30 | NAYY 4x150 SE | 25 | 49 | 0.041828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1137-1_0_4_line_31 | NAYY 4x150 SE | 25 | 31 | 0.004171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1137-1_0_4_line_32 | NAYY 4x150 SE | 27 | 41 | 0.007093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1137-1_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.0070089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1137-1_0_4_line_34 | NAYY 4x150 SE | 29 | 30 | 0.029341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1137-1_0_4_line_35 | NAYY 4x150 SE | 30 | 31 | 0.025034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1137-1_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.015716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1137-1_0_4_line_37 | NAYY 4x150 SE | 32 | 50 | 0.042312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1137-1_0_4_line_38 | NAYY 4x150 SE | 32 | 51 | 0.013027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1137-1_0_4_line_39 | NAYY 4x150 SE | 33 | 34 | 0.052899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1137-1_0_4_line_40 | NAYY 4x150 SE | 34 | 35 | 0.0097578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1137-1_0_4_line_41 | NAYY 4x150 SE | 34 | 36 | 0.0075192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1137-1_0_4_line_42 | NAYY 4x150 SE | 34 | 37 | 0.015765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1137-1_0_4_line_43 | NAYY 4x150 SE | 35 | 38 | 0.011259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1137-1_0_4_line_44 | NAYY 4x150 SE | 36 | 39 | 0.0038276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1137-1_0_4_line_45 | NAYY 4x150 SE | 37 | 40 | 0.034777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1137-1_0_4_line_46 | NAYY 4x150 SE | 37 | 41 | 0.029669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1137-1_0_4_line_47 | NAYY 4x150 SE | 42 | 43 | 0.043181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1137-1_0_4_line_48 | NAYY 4x150 SE | 42 | 44 | 0.024353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1137-1_0_4_line_49 | NAYY 4x150 SE | 43 | 45 | 0.011231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1137-1_0_4_line_50 | NAYY 4x150 SE | 44 | 47 | 0.0038975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1137-1_0_4_line_51 | NAYY 4x150 SE | 46 | 48 | 0.0059715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1137-1_0_4_line_52 | NAYY 4x150 SE | 49 | 52 | 0.029832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1137-1_0_4_line_53 | NAYY 4x150 SE | 50 | 53 | 0.047631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1137-1_0_4_line_54 | NAYY 4x150 SE | 51 | 54 | 0.0074581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1137-1_0_4_line_55 | NAYY 4x150 SE | 52 | 55 | 0.015082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1137-1_0_4_line_56 | NAYY 4x150 SE | 53 | 60 | 0.018291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1137-1_0_4_line_57 | NAYY 4x150 SE | 54 | 59 | 0.015578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1137-1_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.046207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1137-1_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.020957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1137-1_0_4_trafo_17 | 0.25 MVA 20/0.4 kV | 61 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2640819.7504 | 1226970.843 | 2640823.8983 | 1226955.1957
1 | 2640819.7504 | 1226970.843 | 2640816.2021 | 1226969.9625
2 | 2640819.7504 | 1226970.843 | 2640824.078 | 1226971.9177 | 2640814.514 | 1227006.8753
3 | 2640816.2021 | 1226969.9625 | 2640814.9647 | 1226974.6903
4 | 2640816.2021 | 1226969.9625 | 2640826.6682 | 1226931.1732
5 | 2640814.9647 | 1226974.6903 | 2640810.2231 | 1226991.7248
6 | 2640814.9647 | 1226974.6903 | 2640774.6229 | 1226963.4766
7 | 2640826.6682 | 1226931.1732 | 2640829.3829 | 1226921.1119 | 2640834.6646 | 1226902.7253
8 | 2640800.8779 | 1227025.2976 | 2640810.2231 | 1226991.7248
9 | 2640737.0085 | 1226953.0211 | 2640774.6229 | 1226963.4766
10 | 2640794.631 | 1227047.7401 | 2640800.8779 | 1227025.2976
11 | 2640794.631 | 1227047.7401 | 2640795.8262 | 1227048.0596 | 2640798.6555 | 1227048.8016 | 2640801.3108 | 1227049.4869 | 2640802.7558 | 1227049.8526
12 | 2640794.9571 | 1227076.4599 | 2640802.7558 | 1227049.8526
13 | 2640802.7558 | 1227049.8526 | 2640804.4675 | 1227052.2102 | 2640805.8215 | 1227058.1008 | 2640800.8765 | 1227075.2552 | 2640807.1027 | 1227076.8322 | 2640820.4743 | 1227080.7818
14 | 2640794.9571 | 1227076.4599 | 2640788.3093 | 1227075.5693 | 2640786.2635 | 1227076.6226 | 2640784.0063 | 1227077.5522 | 2640781.4403 | 1227078.2128 | 2640781.4403 | 1227078.2128
15 | 2640820.4743 | 1227080.7818 | 2640822.7154 | 1227073.3482 | 2640825.9882 | 1227062.4639 | 2640827.0159 | 1227062.8935
16 | 2640737.0085 | 1226953.0211 | 2640738.5441 | 1226941.2197
17 | 2640729.2482 | 1226997.2951 | 2640737.0085 | 1226953.0211
18 | 2640758.6494 | 1227070.8523 | 2640758.6731 | 1227071.8197 | 2640758.7303 | 1227074.5217
19 | 2640758.7303 | 1227074.5217 | 2640758.7629 | 1227077.5127 | 2640758.7774 | 1227078.7135 | 2640764.9014 | 1227078.6896
20 | 2640758.7303 | 1227074.5217 | 2640733.5284 | 1227074.8961
21 | 2640758.6494 | 1227070.8523 | 2640744.6295 | 1227070.9371
22 | 2640758.6494 | 1227070.8523 | 2640773.7398 | 1227070.408
23 | 2640764.9014 | 1227078.6896 | 2640778.4288 | 1227078.6369 | 2640781.4403 | 1227078.2128
24 | 2640715.6881 | 1227075.1611 | 2640733.5284 | 1227074.8961
25 | 2640827.0159 | 1227062.8935 | 2640830.4557 | 1227050.0439
26 | 2640835.1541 | 1227076.3019 | 2640828.6768 | 1227072.6553 | 2640826.3263 | 1227068.4143 | 2640826.8993 | 1227063.3151 | 2640827.0159 | 1227062.8935
27 | 2640835.8125 | 1227030.0337 | 2640830.4557 | 1227050.0439
28 | 2640835.1541 | 1227076.3019 | 2640840.2728 | 1227078.0269 | 2640868.2991 | 1227081.1544
29 | 2640835.1541 | 1227076.3019 | 2640833.7806 | 1227084.2974
30 | 2640868.2991 | 1227081.1544 | 2640859.8156 | 1227104.8107 | 2640853.5181 | 1227120.2738
31 | 2640872.4565 | 1227081.6166 | 2640868.2991 | 1227081.1544
32 | 2640715.6881 | 1227075.1611 | 2640708.6269 | 1227075.8314
33 | 2640894.3887 | 1227024.2848 | 2640891.8847 | 1227030.8311
34 | 2640881.4019 | 1227058.2354 | 2640883.1136 | 1227053.7616 | 2640891.8847 | 1227030.8311
35 | 2640872.4565 | 1227081.6166 | 2640881.4019 | 1227058.2354
36 | 2640867.9046 | 1227096.6612 | 2640869.0291 | 1227092.9333 | 2640872.4565 | 1227081.6166
37 | 2640867.9046 | 1227096.6612 | 2640853.0164 | 1227136.2671
38 | 2640867.9046 | 1227096.6612 | 2640880.2066 | 1227100.9477
39 | 2640666.001 | 1227075.5996 | 2640665.9436 | 1227079.5683 | 2640668.2234 | 1227079.7507 | 2640670.6632 | 1227080.9347 | 2640672.7089 | 1227083.2168 | 2640673.0203 | 1227086.4431 | 2640669.0679 | 1227123.8599
40 | 2640666.001 | 1227075.5996 | 2640661.1307 | 1227075.2106 | 2640656.259 | 1227075.262
41 | 2640666.001 | 1227075.5996 | 2640666.0486 | 1227071.9644 | 2640669.9319 | 1227071.9109
42 | 2640680.1767 | 1227081.6557 | 2640674.0832 | 1227077.2892 | 2640669.5306 | 1227075.8795 | 2640666.001 | 1227075.5996
43 | 2640656.259 | 1227075.262 | 2640645.0004 | 1227075.3808
44 | 2640669.9319 | 1227071.9109 | 2640673.7591 | 1227071.8582
45 | 2640680.1767 | 1227081.6557 | 2640678.1996 | 1227084.8553 | 2640675.9272 | 1227091.3437 | 2640673.6305 | 1227115.3748
46 | 2640680.1767 | 1227081.6557 | 2640685.5368 | 1227078.0234 | 2640708.6269 | 1227075.8314
47 | 2640729.2482 | 1226997.2951 | 2640687.815 | 1226985.1359
48 | 2640729.2482 | 1226997.2951 | 2640752.6611 | 1227003.995
49 | 2640677.0384 | 1226981.9733 | 2640687.815 | 1226985.1359
50 | 2640756.4082 | 1227005.0673 | 2640752.6611 | 1227003.995
51 | 2640739.3146 | 1226935.2981 | 2640738.5441 | 1226941.2197
52 | 2640841.7717 | 1227147.6912 | 2640848.2069 | 1227133.3152 | 2640853.5181 | 1227120.2738
53 | 2640836.2556 | 1227180.8512 | 2640844.4148 | 1227159.1494 | 2640853.0164 | 1227136.2671
54 | 2640887.2494 | 1227103.4017 | 2640880.2066 | 1227100.9477
55 | 2640841.7717 | 1227147.6912 | 2640839.5639 | 1227152.6232 | 2640835.8839 | 1227161.5749
56 | 2640836.2556 | 1227180.8512 | 2640847.7239 | 1227183.8205 | 2640853.9623 | 1227185.4382
57 | 2640887.2494 | 1227103.4017 | 2640901.9601 | 1227108.5275
58 | 2640853.1799 | 1226965.1546 | 2640841.2316 | 1227009.7898
59 | 2640835.8125 | 1227030.0337 | 2640841.2316 | 1227009.7898

## bus_geodata
| x | y | coords
0 | 2640823.8983 | 1226955.1957
1 | 2640819.7504 | 1226970.843
2 | 2640816.2021 | 1226969.9625
3 | 2640814.514 | 1227006.8753
4 | 2640814.9647 | 1226974.6903
5 | 2640826.6682 | 1226931.1732
6 | 2640810.2231 | 1226991.7248
7 | 2640774.6229 | 1226963.4766
8 | 2640794.631 | 1227047.7401
9 | 2640800.8779 | 1227025.2976
10 | 2640802.7558 | 1227049.8526
11 | 2640794.9571 | 1227076.4599
12 | 2640820.4743 | 1227080.7818
13 | 2640834.6646 | 1226902.7253
14 | 2640737.0085 | 1226953.0211
15 | 2640758.7303 | 1227074.5217
16 | 2640758.6494 | 1227070.8523
17 | 2640764.9014 | 1227078.6896
18 | 2640733.5284 | 1227074.8961
19 | 2640773.7398 | 1227070.408
20 | 2640781.4403 | 1227078.2128
21 | 2640827.0159 | 1227062.8935
22 | 2640830.4557 | 1227050.0439
23 | 2640835.1541 | 1227076.3019
24 | 2640833.7806 | 1227084.2974
25 | 2640868.2991 | 1227081.1544
26 | 2640744.6295 | 1227070.9371
27 | 2640715.6881 | 1227075.1611
28 | 2640894.3887 | 1227024.2848
29 | 2640891.8847 | 1227030.8311
30 | 2640881.4019 | 1227058.2354
31 | 2640872.4565 | 1227081.6166
32 | 2640867.9046 | 1227096.6612
33 | 2640669.0679 | 1227123.8599
34 | 2640666.001 | 1227075.5996
35 | 2640656.259 | 1227075.262
36 | 2640669.9319 | 1227071.9109
37 | 2640680.1767 | 1227081.6557
38 | 2640645.0004 | 1227075.3808
39 | 2640673.7591 | 1227071.8582
40 | 2640673.6305 | 1227115.3748
41 | 2640708.6269 | 1227075.8314
42 | 2640729.2482 | 1226997.2951
43 | 2640687.815 | 1226985.1359
44 | 2640752.6611 | 1227003.995
45 | 2640677.0384 | 1226981.9733
46 | 2640738.5441 | 1226941.2197
47 | 2640756.4082 | 1227005.0673
48 | 2640739.3146 | 1226935.2981
49 | 2640853.5181 | 1227120.2738
50 | 2640853.0164 | 1227136.2671
51 | 2640880.2066 | 1227100.9477
52 | 2640841.7717 | 1227147.6912
53 | 2640836.2556 | 1227180.8512
54 | 2640887.2494 | 1227103.4017
55 | 2640835.8839 | 1227161.5749
56 | 2640853.1799 | 1226965.1546
57 | 2640841.2316 | 1227009.7898
58 | 2640835.8125 | 1227030.0337
59 | 2640901.9601 | 1227108.5275
60 | 2640853.9623 | 1227185.4382
61 | 2640794.631 | 1227047.7401

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99504 | -0.034395 | 0.0095108 | 0.0023836
1 | 0.99526 | -0.032843 | 0 | 0
2 | 0.99532 | -0.032402 | 0 | 0
3 | 0.99512 | -0.033865 | 0.0024895 | 0.00062393
4 | 0.99551 | -0.031103 | 0 | 0
5 | 0.9945 | -0.038231 | 0.0097266 | 0.0024377
6 | 0.997 | -0.02075 | 0.0025093 | 0.0006289
7 | 0.99003 | -0.069283 | 0.012798 | 0.0032075
8 | 0.99819 | -0.012553 | 0 | 0
9 | 1 | 0 | -0.23046 | -0.057946
10 | 0.99754 | -0.017088 | 0 | 0
11 | 0.99627 | -0.02599 | 0 | 0
12 | 0.99237 | -0.053142 | 0 | 0
13 | 0.9943 | -0.039621 | 0.0046583 | 0.0011675
14 | 0.98565 | -0.10013 | 0 | 0
15 | 0.99451 | -0.038358 | 0 | 0
16 | 0.99446 | -0.038664 | 0 | 0
17 | 0.99489 | -0.035658 | 0.0047843 | 0.0011991
18 | 0.99387 | -0.042867 | 0.0016584 | 0.00041563
19 | 0.99437 | -0.039323 | 0.0043291 | 0.001085
20 | 0.99562 | -0.030526 | 0.0012309 | 0.0003085
21 | 0.99016 | -0.068728 | 0 | 0
22 | 0.98982 | -0.071088 | 0.0055101 | 0.001381
23 | 0.98865 | -0.079354 | 0 | 0
24 | 0.98855 | -0.080056 | 0.0084739 | 0.0021238
25 | 0.98623 | -0.09647 | 0 | 0
26 | 0.99439 | -0.039216 | 0.0039049 | 0.00097867
27 | 0.99346 | -0.045763 | 0 | 0
28 | 0.98403 | -0.1121 | 0.0072867 | 0.0018262
29 | 0.9841 | -0.11157 | 0.01452 | 0.0036391
30 | 0.98503 | -0.10498 | 0.0043225 | 0.0010833
31 | 0.98598 | -0.098259 | 0 | 0
32 | 0.98562 | -0.10079 | 0 | 0
33 | 0.99222 | -0.054507 | 0.0051391 | 0.001288
34 | 0.99261 | -0.05175 | 0 | 0
35 | 0.99258 | -0.051938 | 0.0010239 | 0.00025662
36 | 0.99257 | -0.05199 | 0.001089 | 0.00027293
37 | 0.99284 | -0.050125 | 0 | 0
38 | 0.99257 | -0.052037 | 0.00086822 | 0.0002176
39 | 0.99256 | -0.052069 | 0.0020518 | 0.00051424
40 | 0.99281 | -0.050304 | 0.00050652 | 0.00012695
41 | 0.99329 | -0.046914 | 0.0053592 | 0.0013431
42 | 0.98142 | -0.13007 | 0 | 0
43 | 0.97825 | -0.15268 | 0.041699 | 0.010451
44 | 0.98092 | -0.13365 | 0.0063549 | 0.0015927
45 | 0.97811 | -0.1537 | 0.0086742 | 0.002174
46 | 0.98543 | -0.10168 | 0.0086752 | 0.0021742
47 | 0.98088 | -0.13396 | 0.0078201 | 0.0019599
48 | 0.98539 | -0.10192 | 0.0040062 | 0.0010041
49 | 0.98574 | -0.099953 | 0.0020935 | 0.00052469
50 | 0.98538 | -0.10249 | 0.0023878 | 0.00059843
51 | 0.9854 | -0.10236 | 0.0018341 | 0.00045967
52 | 0.98548 | -0.1018 | 0.0038937 | 0.00097586
53 | 0.98528 | -0.10324 | 0 | 0
54 | 0.9853 | -0.10312 | 0.0025521 | 0.00063961
55 | 0.98543 | -0.10212 | 0.0021172 | 0.00053062
56 | 0.98854 | -0.080134 | 0.0084572 | 0.0021196
57 | 0.98911 | -0.076144 | 0.003439 | 0.0008619
58 | 0.98947 | -0.0736 | 0 | 0
59 | 0.98513 | -0.10429 | 0.0073424 | 0.0018402
60 | 0.98524 | -0.10353 | 0.0015257 | 0.00038238
61 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0095108 | -0.0023836 | 0.0095129 | 0.0023842 | 2.0433e-06 | 5.7558e-07 | 0.014223 | 0.014223 | 0.014223 | 0.99504 | -0.034395 | 0.99526 | -0.032843 | 5.2677
1 | -0.012003 | -0.0030078 | 0.012003 | 0.003008 | 7.3265e-07 | 2.344e-07 | 0.017945 | 0.017945 | 0.017945 | 0.99526 | -0.032843 | 0.99532 | -0.032402 | 6.6464
2 | 0.0024899 | 0.00062354 | -0.0024895 | -0.00062393 | 3.5194e-07 | -3.9348e-07 | 0.0037224 | 0.0037226 | 0.0037226 | 0.99526 | -0.032843 | 0.99512 | -0.033865 | 1.3788
3 | -0.026401 | -0.0066171 | 0.026406 | 0.0066189 | 4.7507e-06 | 1.7637e-06 | 0.03947 | 0.03947 | 0.03947 | 0.99532 | -0.032402 | 0.99551 | -0.031103 | 14.6184
4 | 0.014397 | 0.0036091 | -0.014386 | -0.0036052 | 1.1615e-05 | 3.9457e-06 | 0.021525 | 0.021525 | 0.021525 | 0.99532 | -0.032402 | 0.9945 | -0.038231 | 7.9721
5 | -0.1177 | -0.029664 | 0.11787 | 0.02973 | 0.00017085 | 6.5252e-05 | 0.17598 | 0.17598 | 0.17598 | 0.99551 | -0.031103 | 0.997 | -0.02075 | 32.5891
6 | 0.091289 | 0.023045 | -0.090802 | -0.022859 | 0.0004869 | 0.00018673 | 0.13651 | 0.13651 | 0.13651 | 0.99551 | -0.031103 | 0.99003 | -0.069283 | 50.5599
7 | 0.0046592 | 0.0011674 | -0.0046583 | -0.0011675 | 8.9618e-07 | -3.8676e-08 | 0.0069713 | 0.0069714 | 0.0069714 | 0.9945 | -0.038231 | 0.9943 | -0.039621 | 2.582
8 | -0.12038 | -0.030358 | 0.12073 | 0.030493 | 0.00035121 | 0.00013417 | 0.17973 | 0.17973 | 0.17973 | 0.997 | -0.02075 | 1 | 0 | 33.2826
9 | 0.078004 | 0.019651 | -0.077669 | -0.019523 | 0.00033506 | 0.00012837 | 0.11728 | 0.11728 | 0.11728 | 0.99003 | -0.069283 | 0.98565 | -0.10013 | 43.4357
10 | -0.10874 | -0.02738 | 0.10893 | 0.027453 | 0.00019109 | 7.2884e-05 | 0.16214 | 0.16214 | 0.16214 | 0.99819 | -0.012553 | 1 | 0 | 30.0265
11 | 0.10874 | 0.02738 | -0.10867 | -0.027354 | 6.8861e-05 | 2.6266e-05 | 0.16214 | 0.16214 | 0.16214 | 0.99819 | -0.012553 | 0.99754 | -0.017088 | 30.0265
12 | 0.032067 | 0.0080489 | -0.032027 | -0.0080341 | 3.9592e-05 | 1.4866e-05 | 0.047838 | 0.047838 | 0.047838 | 0.99754 | -0.017088 | 0.99627 | -0.02599 | 17.7179
13 | 0.076603 | 0.019305 | -0.076218 | -0.019158 | 0.00038463 | 0.00014732 | 0.11431 | 0.11431 | 0.11431 | 0.99754 | -0.017088 | 0.99237 | -0.053142 | 42.3353
14 | 0.032027 | 0.0080341 | -0.032007 | -0.0080265 | 2.0134e-05 | 7.5603e-06 | 0.047838 | 0.047838 | 0.047838 | 0.99627 | -0.02599 | 0.99562 | -0.030526 | 17.718
15 | 0.076218 | 0.019158 | -0.076053 | -0.019094 | 0.00016505 | 6.3218e-05 | 0.11431 | 0.11431 | 0.11431 | 0.99237 | -0.053142 | 0.99016 | -0.068728 | 42.3353
16 | 0.012684 | 0.0031791 | -0.012682 | -0.0031782 | 2.7231e-06 | 8.9571e-07 | 0.019149 | 0.019149 | 0.019149 | 0.98565 | -0.10013 | 0.98543 | -0.10168 | 7.0924
17 | 0.064985 | 0.016344 | -0.064715 | -0.01624 | 0.0002701 | 0.00010331 | 0.098127 | 0.098127 | 0.098127 | 0.98565 | -0.10013 | 0.98142 | -0.13007 | 36.3434
18 | 0.0082351 | 0.0020636 | -0.0082347 | -0.0020635 | 3.4777e-07 | 8.6127e-08 | 0.012321 | 0.012321 | 0.012321 | 0.99451 | -0.038358 | 0.99446 | -0.038664 | 4.5635
19 | -0.02596 | -0.0065071 | 0.02597 | 0.0065108 | 9.7124e-06 | 3.6016e-06 | 0.038843 | 0.038843 | 0.038843 | 0.99451 | -0.038358 | 0.99489 | -0.035658 | 14.3864
20 | 0.017725 | 0.0044435 | -0.017714 | -0.0044396 | 1.1063e-05 | 3.9281e-06 | 0.026522 | 0.026522 | 0.026522 | 0.99451 | -0.038358 | 0.99387 | -0.042867 | 9.8229
21 | 0.0039052 | 0.0009786 | -0.0039049 | -0.00097867 | 2.9872e-07 | -6.6997e-08 | 0.0058434 | 0.0058434 | 0.0058434 | 0.99446 | -0.038664 | 0.99439 | -0.039216 | 2.1642
22 | 0.0043295 | 0.0010849 | -0.0043291 | -0.001085 | 3.9535e-07 | -4.38e-08 | 0.0064781 | 0.0064782 | 0.0064782 | 0.99446 | -0.038664 | 0.99437 | -0.039323 | 2.3993
23 | -0.030755 | -0.0077098 | 0.030776 | 0.007718 | 2.1876e-05 | 8.1985e-06 | 0.045999 | 0.045999 | 0.045999 | 0.99489 | -0.035658 | 0.99562 | -0.030526 | 17.0366
24 | 0.016056 | 0.004024 | -0.01605 | -0.0040217 | 6.4338e-06 | 2.2434e-06 | 0.024039 | 0.024039 | 0.024039 | 0.99387 | -0.042867 | 0.99346 | -0.045763 | 8.9033
25 | 0.017425 | 0.0043683 | -0.017419 | -0.0043663 | 5.6921e-06 | 2.0182e-06 | 0.026187 | 0.026187 | 0.026187 | 0.99016 | -0.068728 | 0.98982 | -0.071088 | 9.6989
26 | 0.058628 | 0.014726 | -0.058542 | -0.014693 | 8.6492e-05 | 3.3037e-05 | 0.088118 | 0.088119 | 0.088119 | 0.99016 | -0.068728 | 0.98865 | -0.079354 | 32.6365
27 | 0.011909 | 0.0029854 | -0.011905 | -0.002984 | 4.1433e-06 | 1.3274e-06 | 0.017904 | 0.017904 | 0.017904 | 0.98982 | -0.071088 | 0.98947 | -0.0736 | 6.631
28 | 0.050067 | 0.012569 | -0.049948 | -0.012524 | 0.00011874 | 4.5242e-05 | 0.075363 | 0.075363 | 0.075363 | 0.98865 | -0.079354 | 0.98623 | -0.09647 | 27.9123
29 | 0.0084748 | 0.002124 | -0.0084739 | -0.0021238 | 8.2363e-07 | 2.1276e-07 | 0.012755 | 0.012755 | 0.012755 | 0.98865 | -0.079354 | 0.98855 | -0.080056 | 4.7242
30 | 0.00811 | 0.0020322 | -0.0081061 | -0.0020312 | 3.9079e-06 | 9.6956e-07 | 0.012236 | 0.012236 | 0.012236 | 0.98623 | -0.09647 | 0.98574 | -0.099953 | 4.532
31 | 0.041838 | 0.010492 | -0.041828 | -0.010488 | 1.0372e-05 | 3.936e-06 | 0.063127 | 0.063127 | 0.063127 | 0.98623 | -0.09647 | 0.98598 | -0.098259 | 23.3804
32 | 0.01605 | 0.0040217 | -0.016047 | -0.0040208 | 2.5577e-06 | 8.919e-07 | 0.024039 | 0.024039 | 0.024039 | 0.99346 | -0.045763 | 0.99329 | -0.046914 | 8.9033
33 | -0.0072867 | -0.0018262 | 0.0072872 | 0.0018263 | 5.3099e-07 | 1.1518e-07 | 0.011019 | 0.011019 | 0.011019 | 0.98403 | -0.1121 | 0.9841 | -0.11157 | 4.081
34 | -0.021807 | -0.0054654 | 0.021827 | 0.0054727 | 1.9907e-05 | 7.2833e-06 | 0.032974 | 0.032974 | 0.032974 | 0.9841 | -0.11157 | 0.98503 | -0.10498 | 12.2126
35 | -0.02615 | -0.0065561 | 0.026174 | 0.0065651 | 2.4377e-05 | 9.0569e-06 | 0.039504 | 0.039503 | 0.039504 | 0.98503 | -0.10498 | 0.98598 | -0.098259 | 14.631
36 | 0.015654 | 0.0039226 | -0.015648 | -0.0039207 | 5.473e-06 | 1.9046e-06 | 0.023624 | 0.023624 | 0.023624 | 0.98598 | -0.098259 | 0.98562 | -0.10079 | 8.7496
37 | 0.0039146 | 0.00097987 | -0.0039137 | -0.00098006 | 9.2209e-07 | -1.8447e-07 | 0.0059096 | 0.0059098 | 0.0059098 | 0.98562 | -0.10079 | 0.98538 | -0.10249 | 2.1888
38 | 0.011733 | 0.0029409 | -0.011731 | -0.00294 | 2.5509e-06 | 8.1511e-07 | 0.017714 | 0.017714 | 0.017714 | 0.98562 | -0.10079 | 0.9854 | -0.10236 | 6.5609
39 | -0.0051391 | -0.001288 | 0.005141 | 0.001288 | 1.9606e-06 | 7.0571e-08 | 0.007707 | 0.0077068 | 0.007707 | 0.99222 | -0.054507 | 0.99261 | -0.05175 | 2.8544
40 | 0.0018922 | 0.00047396 | -0.0018921 | -0.00047407 | 4.899e-08 | -1.0728e-07 | 0.0028365 | 0.0028365 | 0.0028365 | 0.99261 | -0.05175 | 0.99258 | -0.051938 | 1.0506
41 | 0.003141 | 0.00078707 | -0.0031409 | -0.00078713 | 1.0403e-07 | -5.7181e-08 | 0.0047086 | 0.0047086 | 0.0047086 | 0.99261 | -0.05175 | 0.99257 | -0.05199 | 1.7439
42 | -0.010174 | -0.0025491 | 0.010176 | 0.0025498 | 2.2883e-06 | 6.763e-07 | 0.015252 | 0.015252 | 0.015252 | 0.99261 | -0.05175 | 0.99284 | -0.050125 | 5.6488
43 | 0.00086823 | 0.00021745 | -0.00086822 | -0.0002176 | 1.1902e-08 | -1.4095e-07 | 0.0013015 | 0.0013016 | 0.0013016 | 0.99258 | -0.051938 | 0.99257 | -0.052037 | 0.48207
44 | 0.0020519 | 0.0005142 | -0.0020518 | -0.00051424 | 2.2599e-08 | -4.0779e-08 | 0.003076 | 0.003076 | 0.003076 | 0.99257 | -0.05199 | 0.99256 | -0.052069 | 1.1393
45 | 0.00050653 | 0.0001265 | -0.00050652 | -0.00012695 | 1.2504e-08 | -4.4491e-07 | 0.000759 | 0.00075916 | 0.00075916 | 0.99284 | -0.050125 | 0.99281 | -0.050304 | 0.28117
46 | -0.010683 | -0.0026763 | 0.010688 | 0.0026777 | 4.7457e-06 | 1.4414e-06 | 0.016011 | 0.016011 | 0.016011 | 0.99284 | -0.050125 | 0.99329 | -0.046914 | 5.9299
47 | 0.050533 | 0.012685 | -0.050374 | -0.012625 | 0.0001582 | 6.0302e-05 | 0.076624 | 0.076624 | 0.076624 | 0.98142 | -0.13007 | 0.97825 | -0.15268 | 28.3794
48 | 0.014182 | 0.003555 | -0.014175 | -0.0035527 | 7.0265e-06 | 2.3949e-06 | 0.021503 | 0.021503 | 0.021503 | 0.98142 | -0.13007 | 0.98092 | -0.13365 | 7.9642
49 | 0.0086754 | 0.0021743 | -0.0086742 | -0.002174 | 1.2204e-06 | 3.284e-07 | 0.013196 | 0.013196 | 0.013196 | 0.97825 | -0.15268 | 0.97811 | -0.1537 | 4.8875
50 | 0.0078204 | 0.00196 | -0.0078201 | -0.0019599 | 3.4228e-07 | 8.2447e-08 | 0.011863 | 0.011863 | 0.011863 | 0.98092 | -0.13365 | 0.98088 | -0.13396 | 4.3938
51 | 0.0040064 | 0.001004 | -0.0040062 | -0.0010041 | 1.3638e-07 | -2.3621e-08 | 0.0060497 | 0.0060497 | 0.0060497 | 0.98543 | -0.10168 | 0.98539 | -0.10192 | 2.2406
52 | 0.0060125 | 0.0015065 | -0.006011 | -0.0015063 | 1.5334e-06 | 2.0959e-07 | 0.0090761 | 0.0090762 | 0.0090762 | 0.98574 | -0.099953 | 0.98548 | -0.1018 | 3.3616
53 | 0.0015259 | 0.00038163 | -0.0015258 | -0.00038217 | 1.5779e-07 | -5.4599e-07 | 0.002304 | 0.0023042 | 0.0023042 | 0.98538 | -0.10249 | 0.98528 | -0.10324 | 0.85342
54 | 0.0098968 | 0.0024804 | -0.0098957 | -0.0024801 | 1.0394e-06 | 3.0478e-07 | 0.014945 | 0.014945 | 0.014945 | 0.9854 | -0.10236 | 0.9853 | -0.10312 | 5.5351
55 | 0.0021173 | 0.00053046 | -0.0021172 | -0.00053062 | 9.6188e-08 | -1.5516e-07 | 0.0031969 | 0.003197 | 0.003197 | 0.98548 | -0.1018 | 0.98543 | -0.10212 | 1.1841
56 | 0.0015258 | 0.00038217 | -0.0015257 | -0.00038238 | 6.0603e-08 | -2.0964e-07 | 0.0023042 | 0.0023043 | 0.0023043 | 0.98528 | -0.10324 | 0.98524 | -0.10353 | 0.85345
57 | 0.0073436 | 0.0018405 | -0.0073424 | -0.0018402 | 1.1957e-06 | 2.6149e-07 | 0.011091 | 0.011091 | 0.011091 | 0.9853 | -0.10312 | 0.98513 | -0.10429 | 4.1076
58 | -0.0084572 | -0.0021196 | 0.0084619 | 0.0021208 | 4.6726e-06 | 1.2044e-06 | 0.01273 | 0.01273 | 0.01273 | 0.98854 | -0.080134 | 0.98911 | -0.076144 | 4.7149
59 | -0.011901 | -0.0029827 | 0.011905 | 0.002984 | 4.1917e-06 | 1.3431e-06 | 0.017904 | 0.017904 | 0.017904 | 0.98911 | -0.076144 | 0.98947 | -0.0736 | 6.631

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23588 | 0.059306

## res_load
| p_mw | q_mvar
0 | 0.0095108 | 0.0023836
1 | 0.0024895 | 0.00062393
2 | 0.0097266 | 0.0024377
3 | 0.0025093 | 0.0006289
4 | 0.012798 | 0.0032075
5 | 0.0054269 | 0.0013601
6 | 0.0046583 | 0.0011675
7 | 0.0047843 | 0.0011991
8 | 0.0016584 | 0.00041563
9 | 0.0043291 | 0.001085
10 | 0.0012309 | 0.0003085
11 | 0.0055101 | 0.001381
12 | 0.0084739 | 0.0021238
13 | 0.0039049 | 0.00097867
14 | 0.0072867 | 0.0018262
15 | 0.01452 | 0.0036391
16 | 0.0043225 | 0.0010833
17 | 0.0051391 | 0.001288
18 | 0.0010239 | 0.00025662
19 | 0.001089 | 0.00027293
20 | 0.00086822 | 0.0002176
21 | 0.0020518 | 0.00051424
22 | 0.00050652 | 0.00012695
23 | 0.0053592 | 0.0013431
24 | 0.041699 | 0.010451
25 | 0.0063549 | 0.0015927
26 | 0.0086742 | 0.002174
27 | 0.0086752 | 0.0021742
28 | 0.0078201 | 0.0019599
29 | 0.0040062 | 0.0010041
30 | 0.0020935 | 0.00052469
31 | 0.0023878 | 0.00059843
32 | 0.0018341 | 0.00045967
33 | 0.0038937 | 0.00097586
34 | 0.0025521 | 0.00063961
35 | 0.0021172 | 0.00053062
36 | 0.0084572 | 0.0021196
37 | 0.003439 | 0.0008619
38 | 0.0073424 | 0.0018402
39 | 0.0015257 | 0.00038238

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1