## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1137-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1137-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1137-6_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1137-6_0_2_node_34 | 0.4 | n |  | TRUE
4 | bus_LV_1137-6_0_2_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_1137-6_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1137-6_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1137-6_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1137-6_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1137-6_0_2_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_1137-6_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1137-6_0_2_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_1137-6_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1137-6_0_2_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_1137-6_0_2_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1137-6_0_2_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_1137-6_0_2_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_1137-6_0_2_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1137-6_0_2_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_1137-6_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1137-6_0_2_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1137-6_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1137-6_0_2_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_1137-6_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1137-6_0_2_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_1137-6_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1137-6_0_2_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_1137-6_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1137-6_0_2_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1137-6_0_2_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_1137-6_0_2_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_1137-6_0_2_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_1137-6_0_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1137-6_0_2_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_1137-6_0_2_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1137-6_0_2_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1137-6_0_2_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1137-6_0_2_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1137-6_0_2_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_1137-6_0_2_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_1137-6_0_2_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_1137-6_0_2_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_1137-6_0_2_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1137-6_0_2_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_1137-6_0_2_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_1137-6_0_2_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_1137-6_0_2_node_11 | 0.4 | n |  | TRUE
47 | bus_LV_1137-6_0_2_node_13 | 0.4 | n |  | TRUE
48 | bus_LV_1137-6_0_2_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_1137-6_0_2_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_1137-6_0_2_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_1137-6_0_2_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_1137-6_0_2_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_1137-6_0_2_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1137-6_0_2_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_1137-6_0_2_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_1137-6_0_2_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_1137-6_0_2_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_1137-6_0_2_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_1137-6_0_2_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_1137-6_0_2_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_1137-6_0_2_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_1137-6_0_2_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_1137-6_0_2_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_1137-6_0_2_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_1137-6_0_2_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_1137-6_0_2_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_1137-6_0_2_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_1137-6_0_2_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_1137-6_0_2_node_73 | 0.4 | n |  | TRUE
70 | bus_MV_130_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1137-6_0_2_load_0 | 0 | 0.0043525 | 0.0010908 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1137-6_0_2_load_1 | 1 | 0.0031079 | 0.00077891 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1137-6_0_2_load_34 | 3 | 0.0040792 | 0.0010223 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1137-6_0_2_load_3 | 5 | 0.0075857 | 0.0019012 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1137-6_0_2_load_6 | 8 | 0.013345 | 0.0033445 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1137-6_0_2_load_68 | 11 | 0.0071588 | 0.0017942 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1137-6_0_2_load_37 | 13 | 0.0048083 | 0.0012051 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1137-6_0_2_load_75 | 15 | 0.0026073 | 0.00065346 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1137-6_0_2_load_35 | 16 | 0.028142 | 0.0070531 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1137-6_0_2_load_69 | 18 | 0.011171 | 0.0027997 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1137-6_0_2_load_10 | 20 | 0.00077097 | 0.00019322 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1137-6_0_2_load_61 | 24 | 0.0038787 | 0.0009721 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1137-6_0_2_load_42 | 29 | 0.0028131 | 0.00070502 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1137-6_0_2_load_51 | 30 | 0.00062294 | 0.00015612 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1137-6_0_2_load_48 | 31 | 0.0020797 | 0.00052123 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1137-6_0_2_load_33 | 32 | 0.0035224 | 0.0008828 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1137-6_0_2_load_41 | 33 | 0.0004652 | 0.00011659 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1137-6_0_2_load_30 | 35 | 0.0010602 | 0.00026572 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1137-6_0_2_load_54 | 39 | 0.00066356 | 0.0001663 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1137-6_0_2_load_65 | 40 | 0.0018992 | 0.00047597 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1137-6_0_2_load_63 | 41 | 0.002367 | 0.00059323 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1137-6_0_2_load_57 | 43 | 0.0041491 | 0.0010399 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1137-6_0_2_load_55 | 44 | 0.00516 | 0.0012932 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1137-6_0_2_load_74 | 45 | 0.00098398 | 0.00024661 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1137-6_0_2_load_11 | 46 | 0.00075153 | 0.00018835 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1137-6_0_2_load_13 | 47 | 0.0024539 | 0.000615 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1137-6_0_2_load_70 | 48 | 0.0027385 | 0.00068633 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1137-6_0_2_load_72 | 49 | 0.0020784 | 0.00052089 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1137-6_0_2_load_60 | 50 | 0.0016612 | 0.00041632 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1137-6_0_2_load_49 | 51 | 0.002403 | 0.00060224 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1137-6_0_2_load_56 | 52 | 0.0026539 | 0.00066514 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1137-6_0_2_load_50 | 53 | 0.002056 | 0.00051527 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1137-6_0_2_load_40 | 54 | 0.002674 | 0.00067018 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1137-6_0_2_load_31 | 55 | 0.0032178 | 0.00080647 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1137-6_0_2_load_66 | 56 | 0.0041067 | 0.0010292 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1137-6_0_2_load_67 | 57 | 0.010599 | 0.0026565 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1137-6_0_2_load_64 | 58 | 0.00054171 | 0.00013577 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1137-6_0_2_load_71 | 59 | 0.0025096 | 0.00062895 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1137-6_0_2_load_58 | 60 | 0.023034 | 0.0057729 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1137-6_0_2_load_32 | 61 | 0.0039881 | 0.00099951 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1137-6_0_2_load_39 | 62 | 0.00087641 | 0.00021965 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1137-6_0_2_load_43 | 63 | 0.0046108 | 0.0011556 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1137-6_0_2_load_44 | 64 | 0.0025415 | 0.00063695 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1137-6_0_2_load_45 | 65 | 0.0033231 | 0.00083285 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1137-6_0_2_load_46 | 66 | 0.0023041 | 0.00057747 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1137-6_0_2_load_47 | 67 | 0.002291 | 0.00057417 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1137-6_0_2_load_53 | 68 | 0.0042562 | 0.0010667 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1137-6_0_2_load_73 | 69 | 0.00096514 | 0.00024189 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1137-6_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.042196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1137-6_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.015336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1137-6_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.016648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1137-6_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.049639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1137-6_0_2_line_4 | NAYY 4x150 SE | 4 | 19 | 0.015911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1137-6_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.016499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1137-6_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.037019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1137-6_0_2_line_7 | NAYY 4x150 SE | 7 | 10 | 0.031846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1137-6_0_2_line_8 | NAYY 4x150 SE | 7 | 11 | 0.0043367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1137-6_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.020492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1137-6_0_2_line_10 | NAYY 4x150 SE | 9 | 16 | 0.015119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1137-6_0_2_line_11 | NAYY 4x150 SE | 10 | 14 | 0.059144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1137-6_0_2_line_12 | NAYY 4x150 SE | 10 | 15 | 0.057084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1137-6_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.008779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1137-6_0_2_line_14 | NAYY 4x150 SE | 11 | 17 | 0.052931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1137-6_0_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.022766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1137-6_0_2_line_16 | NAYY 4x150 SE | 13 | 36 | 0.025682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1137-6_0_2_line_17 | NAYY 4x150 SE | 14 | 40 | 0.014699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1137-6_0_2_line_18 | NAYY 4x150 SE | 14 | 41 | 0.015954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1137-6_0_2_line_19 | NAYY 4x150 SE | 15 | 45 | 0.030253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1137-6_0_2_line_20 | NAYY 4x150 SE | 16 | 36 | 0.030711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1137-6_0_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.013706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1137-6_0_2_line_22 | NAYY 4x150 SE | 18 | 59 | 0.03771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1137-6_0_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.073087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1137-6_0_2_line_24 | NAYY 4x150 SE | 20 | 46 | 0.020844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1137-6_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.051171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1137-6_0_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.07672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1137-6_0_2_line_27 | NAYY 4x150 SE | 21 | 24 | 0.050636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1137-6_0_2_line_28 | NAYY 4x150 SE | 22 | 48 | 0.019382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1137-6_0_2_line_29 | NAYY 4x150 SE | 23 | 30 | 0.0035192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1137-6_0_2_line_30 | NAYY 4x150 SE | 23 | 31 | 0.035051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1137-6_0_2_line_31 | NAYY 4x150 SE | 24 | 25 | 0.053347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1137-6_0_2_line_32 | NAYY 4x150 SE | 25 | 26 | 0.006071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1137-6_0_2_line_33 | NAYY 4x150 SE | 25 | 27 | 0.01166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1137-6_0_2_line_34 | NAYY 4x150 SE | 26 | 49 | 0.026938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1137-6_0_2_line_35 | NAYY 4x150 SE | 27 | 28 | 0.020074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1137-6_0_2_line_36 | NAYY 4x150 SE | 27 | 29 | 0.0098279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1137-6_0_2_line_37 | NAYY 4x150 SE | 28 | 32 | 0.038486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1137-6_0_2_line_38 | NAYY 4x150 SE | 28 | 33 | 0.035856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1137-6_0_2_line_39 | NAYY 4x150 SE | 29 | 47 | 0.025021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1137-6_0_2_line_40 | NAYY 4x150 SE | 30 | 50 | 0.017793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1137-6_0_2_line_41 | NAYY 4x150 SE | 31 | 51 | 0.020412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1137-6_0_2_line_42 | NAYY 4x150 SE | 32 | 34 | 0.025595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_1137-6_0_2_line_43 | NAYY 4x150 SE | 33 | 54 | 0.024005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1137-6_0_2_line_44 | NAYY 4x150 SE | 34 | 35 | 0.048474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1137-6_0_2_line_45 | NAYY 4x150 SE | 34 | 36 | 0.08064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_1137-6_0_2_line_46 | NAYY 4x150 SE | 35 | 55 | 0.0049431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1137-6_0_2_line_47 | NAYY 4x150 SE | 37 | 38 | 0.062627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_1137-6_0_2_line_48 | NAYY 4x150 SE | 37 | 39 | 0.042997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1137-6_0_2_line_49 | NAYY 4x150 SE | 38 | 52 | 0.019972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_1137-6_0_2_line_50 | NAYY 4x150 SE | 39 | 44 | 0.018722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1137-6_0_2_line_51 | NAYY 4x150 SE | 40 | 57 | 0.014402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1137-6_0_2_line_52 | NAYY 4x150 SE | 41 | 58 | 0.023214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1137-6_0_2_line_53 | NAYY 4x150 SE | 42 | 43 | 0.074333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1137-6_0_2_line_54 | NAYY 4x150 SE | 42 | 44 | 0.02684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1137-6_0_2_line_55 | NAYY 4x150 SE | 43 | 60 | 0.066682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1137-6_0_2_line_56 | NAYY 4x150 SE | 45 | 69 | 0.020511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1137-6_0_2_line_57 | NAYY 4x150 SE | 46 | 47 | 0.057112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1137-6_0_2_line_58 | NAYY 4x150 SE | 50 | 67 | 0.0088813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_1137-6_0_2_line_59 | NAYY 4x150 SE | 51 | 53 | 0.020272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1137-6_0_2_line_60 | NAYY 4x150 SE | 52 | 68 | 0.0083673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_1137-6_0_2_line_61 | NAYY 4x150 SE | 54 | 62 | 0.026963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1137-6_0_2_line_62 | NAYY 4x150 SE | 55 | 61 | 0.017912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1137-6_0_2_line_63 | NAYY 4x150 SE | 56 | 57 | 0.038822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1137-6_0_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.0089379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_1137-6_0_2_line_65 | NAYY 4x150 SE | 63 | 65 | 0.013232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_1137-6_0_2_line_66 | NAYY 4x150 SE | 64 | 66 | 0.0067796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_1137-6_0_2_line_67 | NAYY 4x150 SE | 65 | 67 | 0.023025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_1137-6_0_2_line_68 | NAYY 4x150 SE | 66 | 68 | 0.019094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1137-6_0_2_trafo_72 | 0.25 MVA 20/0.4 kV | 70 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2640441.8008 | 1226662.0667 | 2640457.9885 | 1226661.9527 | 2640473.9386 | 1226659.1371 | 2640483.3918 | 1226656.5121
1 | 2640498.1688 | 1226652.4088 | 2640483.3918 | 1226656.5121
2 | 2640498.1688 | 1226652.4088 | 2640509.3018 | 1226649.1381 | 2640514.2411 | 1226648.1149
3 | 2640562.5595 | 1226655.7601 | 2640558.7777 | 1226654.6337 | 2640529.1067 | 1226646.7491 | 2640520.1626 | 1226646.8883 | 2640514.2411 | 1226648.1149
4 | 2640562.5595 | 1226655.7601 | 2640561.4225 | 1226659.1211 | 2640562.8799 | 1226659.8981 | 2640564.8832 | 1226661.7685 | 2640565.6656 | 1226663.7306 | 2640565.7555 | 1226666.1104 | 2640565.4136 | 1226669.5769
5 | 2640470.1927 | 1227086.3391 | 2640459.5964 | 1227086.5783 | 2640453.7458 | 1227087.3439
6 | 2640503.161 | 1227089.3428 | 2640503.113 | 1227085.2622 | 2640470.1927 | 1227086.3391
7 | 2640503.161 | 1227089.3428 | 2640503.113 | 1227085.2622 | 2640508.7518 | 1227084.0776 | 2640512.7049 | 1227081.1472 | 2640514.4742 | 1227078.402 | 2640515.7474 | 1227071.7288 | 2640522.7665 | 1227071.5097
8 | 2640503.161 | 1227089.3428 | 2640503.2149 | 1227093.6792
9 | 2640472.7931 | 1227010.3993 | 2640472.0918 | 1227030.8796
10 | 2640472.7931 | 1227010.3993 | 2640487.7677 | 1227012.4821
11 | 2640522.7665 | 1227071.5097 | 2640533.7493 | 1227096.8555 | 2640553.8827 | 1227097.2039 | 2640564.0499 | 1227092.0811
12 | 2640522.7665 | 1227071.5097 | 2640528.7699 | 1227071.3171 | 2640528.5069 | 1227052.0702 | 2640527.5209 | 1227020.2568
13 | 2640522.7665 | 1227071.5097 | 2640517.7532 | 1227064.2934
14 | 2640520.0894 | 1227134.1187 | 2640520.1945 | 1227112.0059 | 2640519.4781 | 1227100.3605 | 2640518.4796 | 1227097.8633 | 2640516.7413 | 1227096.0504 | 2640514.3632 | 1227094.7112 | 2640508.1554 | 1227093.7684 | 2640503.2149 | 1227093.6792
15 | 2640517.7532 | 1227064.2934 | 2640518.5737 | 1227052.8587 | 2640518.6923 | 1227043.2314 | 2640518.6662 | 1227041.5578
16 | 2640518.2647 | 1227015.8784 | 2640518.6662 | 1227041.5578
17 | 2640564.0499 | 1227092.0811 | 2640565.9488 | 1227099.2429 | 2640568.6774 | 1227106.0022
18 | 2640564.0499 | 1227092.0811 | 2640564.9301 | 1227076.1512
19 | 2640527.5209 | 1227020.2568 | 2640527.4195 | 1227016.9859 | 2640527.1491 | 1226991.0348 | 2640527.187 | 1226990.0074
20 | 2640518.2647 | 1227015.8784 | 2640508.8478 | 1227015.4141 | 2640487.7677 | 1227012.4821
21 | 2640520.0894 | 1227134.1187 | 2640520.0659 | 1227138.6879 | 2640519.3838 | 1227147.7993
22 | 2640519.3838 | 1227147.7993 | 2640518.0735 | 1227165.3018 | 2640515.6728 | 1227185.317
23 | 2640565.4136 | 1226669.5769 | 2640547.2319 | 1226740.3662
24 | 2640542.303 | 1226760.6191 | 2640546.6741 | 1226742.5382 | 2640547.2319 | 1226740.3662
25 | 2640592.9401 | 1226767.3908 | 2640590.6166 | 1226768.042 | 2640584.7192 | 1226768.2019 | 2640572.5116 | 1226770.1421 | 2640570.5494 | 1226770.0398 | 2640567.9218 | 1226768.5988 | 2640566.3145 | 1226765.3526 | 2640564.4684 | 1226757.1127 | 2640561.5224 | 1226752.3453 | 2640553.9915 | 1226749.7591
26 | 2640588.5442 | 1226695.1834 | 2640583.8771 | 1226698.2868 | 2640581.4397 | 1226698.9706 | 2640569.228 | 1226697.0529 | 2640567.7138 | 1226696.8203 | 2640563.2571 | 1226714.6564 | 2640555.3095 | 1226744.3092 | 2640553.9915 | 1226749.7591
27 | 2640553.9915 | 1226749.7591 | 2640547.8783 | 1226774.9217 | 2640546.2706 | 1226782.849 | 2640544.3161 | 1226799.3868
28 | 2640592.9401 | 1226767.3908 | 2640594.8992 | 1226766.8482 | 2640608.1649 | 1226755.6674
29 | 2640588.5442 | 1226695.1834 | 2640591.7169 | 1226696.706 | 2640591.7169 | 1226696.706
30 | 2640588.5442 | 1226695.1834 | 2640586.3279 | 1226692.3221 | 2640586.1564 | 1226687.4624 | 2640591.5796 | 1226666.8312 | 2640593.2606 | 1226661.871
31 | 2640542.3094 | 1226852.5868 | 2640542.911 | 1226843.263 | 2640541.9685 | 1226830.3153 | 2640543.7695 | 1226804.0115 | 2640544.3161 | 1226799.3868
32 | 2640541.9119 | 1226858.6433 | 2640542.3094 | 1226852.5868
33 | 2640530.682 | 1226851.7182 | 2640536.0298 | 1226852.1215 | 2640542.3094 | 1226852.5868
34 | 2640541.9119 | 1226858.6433 | 2640539.7109 | 1226869.1348 | 2640538.1851 | 1226876.1731 | 2640537.3341 | 1226882.0598 | 2640537.0077 | 1226885.1108
35 | 2640528.9998 | 1226871.719 | 2640530.682 | 1226851.7182
36 | 2640530.682 | 1226851.7182 | 2640531.5091 | 1226841.9252
37 | 2640528.9998 | 1226871.719 | 2640527.2849 | 1226892.0642 | 2640525.3216 | 1226910.0263
38 | 2640528.9998 | 1226871.719 | 2640524.7517 | 1226871.2009 | 2640514.8331 | 1226869.8103 | 2640499.8232 | 1226867.0621 | 2640493.5556 | 1226866.4096
39 | 2640531.5091 | 1226841.9252 | 2640533.5837 | 1226817.3615 | 2640533.6252 | 1226816.9939
40 | 2640609.3736 | 1226694.5156 | 2640596.4658 | 1226696.049 | 2640591.7169 | 1226696.706
41 | 2640593.2606 | 1226661.871 | 2640598.4325 | 1226646.61 | 2640600.0931 | 1226642.6458
42 | 2640522.5407 | 1226935.4695 | 2640525.3216 | 1226910.0263
43 | 2640469.8645 | 1226862.6674 | 2640477.5833 | 1226864.3204 | 2640487.8271 | 1226865.8131 | 2640493.5556 | 1226866.4096
44 | 2640522.5407 | 1226935.4695 | 2640507.4945 | 1226925.8502 | 2640500.2097 | 1226920.5307 | 2640484.885 | 1226905.3157
45 | 2640518.2647 | 1227015.8784 | 2640517.95 | 1226996.42 | 2640518.7741 | 1226972.2108 | 2640519.1974 | 1226964.5868 | 2640522.5407 | 1226935.4695
46 | 2640484.885 | 1226905.3157 | 2640481.3772 | 1226901.8329
47 | 2640666.2808 | 1226623.103 | 2640670.0008 | 1226604.4281 | 2640671.9217 | 1226601.7174 | 2640674.9752 | 1226600.7265 | 2640686.9785 | 1226598.7851 | 2640691.1862 | 1226597.4797 | 2640708.5721 | 1226586.4584
48 | 2640708.5721 | 1226586.4584 | 2640720.8702 | 1226605.6876 | 2640731.9235 | 1226622.5605
49 | 2640666.2808 | 1226623.103 | 2640662.3838 | 1226642.6911
50 | 2640731.9235 | 1226622.5605 | 2640736.9216 | 1226630.1901 | 2640742.2022 | 1226638.2083
51 | 2640574.229 | 1227119.2904 | 2640570.5842 | 1227110.7259 | 2640568.6774 | 1227106.0022
52 | 2640564.9301 | 1227076.1512 | 2640566.2107 | 1227052.9726
53 | 2640756.9642 | 1226660.6235 | 2640744.9091 | 1226676.7954 | 2640704.3652 | 1226712.7085
54 | 2640756.9642 | 1226660.6235 | 2640742.2022 | 1226638.2083
55 | 2640704.3652 | 1226712.7085 | 2640680.8889 | 1226733.5035 | 2640653.7883 | 1226756.1541
56 | 2640527.187 | 1226990.0074 | 2640527.8739 | 1226971.4055 | 2640528.0514 | 1226969.5173
57 | 2640542.303 | 1226760.6191 | 2640539.6866 | 1226771.4416 | 2640537.3662 | 1226783.8668 | 2640533.6252 | 1226816.9939
58 | 2640609.3736 | 1226694.5156 | 2640618.1929 | 1226693.4679
59 | 2640600.0931 | 1226642.6458 | 2640605.4589 | 1226629.8366 | 2640608.4202 | 1226624.1804
60 | 2640662.3838 | 1226642.6911 | 2640660.7512 | 1226650.8976
61 | 2640469.8645 | 1226862.6674 | 2640468.1464 | 1226862.2995 | 2640457.6446 | 1226860.8495 | 2640445.1833 | 1226857.7963 | 2640443.5403 | 1226857.1266
62 | 2640468.6658 | 1226889.2125 | 2640481.3772 | 1226901.8329
63 | 2640589.4312 | 1227155.0125 | 2640574.229 | 1227119.2904
64 | 2640652.4469 | 1226684.4682 | 2640654.9162 | 1226680.2269 | 2640655.7026 | 1226676.2743
65 | 2640652.4469 | 1226684.4682 | 2640652.4469 | 1226684.4682 | 2640647.8818 | 1226688.1727 | 2640642.5753 | 1226690.5713 | 2640641.0569 | 1226690.7517
66 | 2640655.7026 | 1226676.2743 | 2640657.0254 | 1226669.625
67 | 2640618.1929 | 1226693.4679 | 2640641.0569 | 1226690.7517
68 | 2640657.0254 | 1226669.625 | 2640660.7512 | 1226650.8976

## bus_geodata
| x | y | coords
0 | 2640441.8008 | 1226662.0667
1 | 2640483.3918 | 1226656.5121
2 | 2640498.1688 | 1226652.4088
3 | 2640514.2411 | 1226648.1149
4 | 2640562.5595 | 1226655.7601
5 | 2640453.7458 | 1227087.3439
6 | 2640470.1927 | 1227086.3391
7 | 2640503.161 | 1227089.3428
8 | 2640472.0918 | 1227030.8796
9 | 2640472.7931 | 1227010.3993
10 | 2640522.7665 | 1227071.5097
11 | 2640503.2149 | 1227093.6792
12 | 2640517.7532 | 1227064.2934
13 | 2640518.6662 | 1227041.5578
14 | 2640564.0499 | 1227092.0811
15 | 2640527.5209 | 1227020.2568
16 | 2640487.7677 | 1227012.4821
17 | 2640520.0894 | 1227134.1187
18 | 2640519.3838 | 1227147.7993
19 | 2640565.4136 | 1226669.5769
20 | 2640547.2319 | 1226740.3662
21 | 2640553.9915 | 1226749.7591
22 | 2640592.9401 | 1226767.3908
23 | 2640588.5442 | 1226695.1834
24 | 2640544.3161 | 1226799.3868
25 | 2640542.3094 | 1226852.5868
26 | 2640541.9119 | 1226858.6433
27 | 2640530.682 | 1226851.7182
28 | 2640528.9998 | 1226871.719
29 | 2640531.5091 | 1226841.9252
30 | 2640591.7169 | 1226696.706
31 | 2640593.2606 | 1226661.871
32 | 2640525.3216 | 1226910.0263
33 | 2640493.5556 | 1226866.4096
34 | 2640522.5407 | 1226935.4695
35 | 2640484.885 | 1226905.3157
36 | 2640518.2647 | 1227015.8784
37 | 2640708.5721 | 1226586.4584
38 | 2640666.2808 | 1226623.103
39 | 2640731.9235 | 1226622.5605
40 | 2640568.6774 | 1227106.0022
41 | 2640564.9301 | 1227076.1512
42 | 2640756.9642 | 1226660.6235
43 | 2640704.3652 | 1226712.7085
44 | 2640742.2022 | 1226638.2083
45 | 2640527.187 | 1226990.0074
46 | 2640542.303 | 1226760.6191
47 | 2640533.6252 | 1226816.9939
48 | 2640608.1649 | 1226755.6674
49 | 2640537.0077 | 1226885.1108
50 | 2640609.3736 | 1226694.5156
51 | 2640600.0931 | 1226642.6458
52 | 2640662.3838 | 1226642.6911
53 | 2640608.4202 | 1226624.1804
54 | 2640469.8645 | 1226862.6674
55 | 2640481.3772 | 1226901.8329
56 | 2640589.4313 | 1227155.0125
57 | 2640574.229 | 1227119.2904
58 | 2640566.2107 | 1227052.9726
59 | 2640515.6728 | 1227185.3171
60 | 2640653.7883 | 1226756.1541
61 | 2640468.6658 | 1226889.2125
62 | 2640443.5403 | 1226857.1266
63 | 2640652.4469 | 1226684.4682
64 | 2640655.7026 | 1226676.2743
65 | 2640641.0569 | 1226690.7517
66 | 2640657.0254 | 1226669.625
67 | 2640618.1929 | 1226693.4679
68 | 2640660.7512 | 1226650.8976
69 | 2640528.0514 | 1226969.5173
70 | 2640541.9119 | 1226858.6433

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98881 | -0.078064 | 0.0043525 | 0.0010908
1 | 0.98908 | -0.076189 | 0.0031079 | 0.00077891
2 | 0.98924 | -0.075021 | 0 | 0
3 | 0.98942 | -0.073753 | 0.0040792 | 0.0010223
4 | 0.99025 | -0.067914 | 0 | 0
5 | 0.97491 | -0.17623 | 0.0075857 | 0.0019012
6 | 0.9751 | -0.17492 | 0 | 0
7 | 0.97551 | -0.17197 | 0 | 0
8 | 0.97886 | -0.14807 | 0.013345 | 0.0033445
9 | 0.97925 | -0.14523 | 0 | 0
10 | 0.97683 | -0.16249 | 0 | 0
11 | 0.97537 | -0.17292 | 0.0071588 | 0.0017942
12 | 0.9775 | -0.15766 | 0 | 0
13 | 0.97925 | -0.14519 | 0.0048083 | 0.0012051
14 | 0.97514 | -0.17459 | 0 | 0
15 | 0.97645 | -0.16521 | 0.0026073 | 0.00065346
16 | 0.97955 | -0.14313 | 0.028142 | 0.0070531
17 | 0.97431 | -0.18053 | 0 | 0
18 | 0.97404 | -0.1825 | 0.011171 | 0.0027997
19 | 0.99051 | -0.066044 | 0 | 0
20 | 0.99173 | -0.057462 | 0.00077097 | 0.00019322
21 | 0.98993 | -0.069854 | 0 | 0
22 | 0.98973 | -0.071284 | 0 | 0
23 | 0.98636 | -0.094902 | 0 | 0
24 | 0.99238 | -0.052713 | 0.0038787 | 0.0009721
25 | 0.99512 | -0.033701 | 0 | 0
26 | 0.99602 | -0.027478 | 0 | 0
27 | 0.99399 | -0.041528 | 0 | 0
28 | 0.99231 | -0.053176 | 0 | 0
29 | 0.99373 | -0.043351 | 0.0028131 | 0.00070502
30 | 0.98621 | -0.095936 | 0.00062294 | 0.00015612
31 | 0.98603 | -0.097255 | 0.0020797 | 0.00052123
32 | 0.98921 | -0.074828 | 0.0035224 | 0.0008828
33 | 0.99211 | -0.054638 | 0.0004652 | 0.00011659
34 | 0.98721 | -0.08884 | 0 | 0
35 | 0.98664 | -0.092947 | 0.0010602 | 0.00026572
36 | 0.9814 | -0.1299 | 0 | 0
37 | 0.98049 | -0.13641 | 0 | 0
38 | 0.982 | -0.12569 | 0 | 0
39 | 0.97841 | -0.15119 | 0.00066356 | 0.0001663
40 | 0.97478 | -0.17715 | 0.0018992 | 0.00047597
41 | 0.97507 | -0.17507 | 0.002367 | 0.00059323
42 | 0.97645 | -0.16514 | 0 | 0
43 | 0.97348 | -0.18636 | 0.0041491 | 0.0010399
44 | 0.97752 | -0.15751 | 0.00516 | 0.0012932
45 | 0.97636 | -0.16583 | 0.00098398 | 0.00024661
46 | 0.9921 | -0.054855 | 0.00075153 | 0.00018835
47 | 0.99317 | -0.047284 | 0.0024539 | 0.000615
48 | 0.98965 | -0.071825 | 0.0027385 | 0.00068633
49 | 1 | 0 | -0.2082 | -0.052489
50 | 0.98548 | -0.10112 | 0.0016612 | 0.00041632
51 | 0.9859 | -0.09819 | 0.002403 | 0.00060224
52 | 0.98248 | -0.12228 | 0.0026539 | 0.00066514
53 | 0.98584 | -0.098619 | 0.002056 | 0.00051527
54 | 0.99198 | -0.055503 | 0.002674 | 0.00067018
55 | 0.98658 | -0.093313 | 0.0032178 | 0.00080647
56 | 0.97424 | -0.18105 | 0.0041067 | 0.0010292
57 | 0.97448 | -0.17938 | 0.010599 | 0.0026565
58 | 0.97506 | -0.17521 | 0.00054171 | 0.00013577
59 | 0.9739 | -0.1835 | 0.0025096 | 0.00062895
60 | 0.97123 | -0.20258 | 0.023034 | 0.0057729
61 | 0.98648 | -0.094045 | 0.0039881 | 0.00099951
62 | 0.99195 | -0.055743 | 0.00087641 | 0.00021965
63 | 0.98376 | -0.11325 | 0.0046108 | 0.0011556
64 | 0.98347 | -0.11532 | 0.0025415 | 0.00063695
65 | 0.98424 | -0.10988 | 0.0033231 | 0.00083285
66 | 0.98326 | -0.11679 | 0.0023041 | 0.00057747
67 | 0.98512 | -0.10363 | 0.002291 | 0.00057417
68 | 0.9827 | -0.12073 | 0.0042562 | 0.0010667
69 | 0.97634 | -0.16604 | 0.00096514 | 0.00024189
70 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0043525 | -0.0010908 | 0.0043536 | 0.0010907 | 1.1295e-06 | -1.0697e-07 | 0.0065498 | 0.0065496 | 0.0065498 | 0.98881 | -0.078064 | 0.98908 | -0.076189 | 2.4258
1 | -0.0074615 | -0.0018696 | 0.0074627 | 0.0018699 | 1.2058e-06 | 2.6692e-07 | 0.011225 | 0.011225 | 0.011225 | 0.98908 | -0.076189 | 0.98924 | -0.075021 | 4.1575
2 | -0.0074627 | -0.0018699 | 0.007464 | 0.0018702 | 1.3089e-06 | 2.8967e-07 | 0.011225 | 0.011225 | 0.011225 | 0.98924 | -0.075021 | 0.98942 | -0.073753 | 4.1575
3 | -0.011543 | -0.0028925 | 0.011552 | 0.0028955 | 9.3346e-06 | 2.9522e-06 | 0.01736 | 0.01736 | 0.01736 | 0.98942 | -0.073753 | 0.99025 | -0.067914 | 6.4296
4 | -0.011552 | -0.0028955 | 0.011555 | 0.0028964 | 2.992e-06 | 9.4602e-07 | 0.01736 | 0.01736 | 0.01736 | 0.99025 | -0.067914 | 0.99051 | -0.066044 | 6.4295
5 | -0.0075857 | -0.0019012 | 0.0075871 | 0.0019015 | 1.3802e-06 | 3.2506e-07 | 0.011578 | 0.011578 | 0.011578 | 0.97491 | -0.17623 | 0.9751 | -0.17492 | 4.2882
6 | -0.0075871 | -0.0019015 | 0.0075902 | 0.0019022 | 3.0965e-06 | 7.29e-07 | 0.011578 | 0.011578 | 0.011578 | 0.9751 | -0.17492 | 0.97551 | -0.17197 | 4.2882
7 | -0.028451 | -0.0071318 | 0.028488 | 0.0071458 | 3.7427e-05 | 1.3997e-05 | 0.043398 | 0.043398 | 0.043398 | 0.97551 | -0.17197 | 0.97683 | -0.16249 | 16.0735
8 | 0.02086 | 0.0052296 | -0.020858 | -0.0052286 | 2.74e-06 | 9.9973e-07 | 0.031821 | 0.031821 | 0.031821 | 0.97551 | -0.17197 | 0.97537 | -0.17292 | 11.7854
9 | -0.013345 | -0.0033445 | 0.01335 | 0.0033462 | 5.2621e-06 | 1.7662e-06 | 0.020286 | 0.020286 | 0.020286 | 0.97886 | -0.14807 | 0.97925 | -0.14523 | 7.5133
10 | -0.01335 | -0.0033462 | 0.013354 | 0.0033475 | 3.8822e-06 | 1.3029e-06 | 0.020286 | 0.020286 | 0.020286 | 0.97925 | -0.14523 | 0.97955 | -0.14313 | 7.5132
11 | 0.019558 | 0.0049057 | -0.019526 | -0.0048938 | 3.2763e-05 | 1.1862e-05 | 0.029795 | 0.029795 | 0.029795 | 0.97683 | -0.16249 | 0.97514 | -0.17459 | 11.0352
12 | 0.0045584 | 0.0011413 | -0.0045566 | -0.0011414 | 1.7173e-06 | -5.3803e-08 | 0.0069434 | 0.0069437 | 0.0069437 | 0.97683 | -0.16249 | 0.97645 | -0.16521 | 2.5717
13 | -0.052605 | -0.013193 | 0.05264 | 0.013206 | 3.518e-05 | 1.3421e-05 | 0.080137 | 0.080137 | 0.080137 | 0.97683 | -0.16249 | 0.9775 | -0.15766 | 29.6802
14 | 0.013699 | 0.0034344 | -0.013684 | -0.0034295 | 1.4426e-05 | 4.8887e-06 | 0.020899 | 0.020899 | 0.020899 | 0.97537 | -0.17292 | 0.97431 | -0.18053 | 7.7405
15 | -0.05264 | -0.013206 | 0.052731 | 0.013241 | 9.1229e-05 | 3.4802e-05 | 0.080137 | 0.080136 | 0.080137 | 0.9775 | -0.15766 | 0.97925 | -0.14519 | 29.6802
16 | -0.057539 | -0.014446 | 0.057662 | 0.014493 | 0.00012254 | 4.6806e-05 | 0.087443 | 0.087443 | 0.087443 | 0.97925 | -0.14519 | 0.9814 | -0.1299 | 32.3862
17 | 0.016617 | 0.0041652 | -0.016611 | -0.0041631 | 5.8971e-06 | 2.0848e-06 | 0.025356 | 0.025357 | 0.025357 | 0.97514 | -0.17459 | 0.97478 | -0.17715 | 9.3913
18 | 0.0029089 | 0.00072858 | -0.0029087 | -0.00072871 | 1.9615e-07 | -1.2358e-07 | 0.0044387 | 0.0044388 | 0.0044388 | 0.97514 | -0.17459 | 0.97507 | -0.17507 | 1.644
19 | 0.0019493 | 0.00048793 | -0.0019491 | -0.00048825 | 1.6657e-07 | -3.1433e-07 | 0.0029703 | 0.0029705 | 0.0029705 | 0.97645 | -0.16521 | 0.97636 | -0.16583 | 1.1002
20 | -0.041496 | -0.010401 | 0.041572 | 0.010429 | 7.6148e-05 | 2.89e-05 | 0.063036 | 0.063036 | 0.063036 | 0.97955 | -0.14313 | 0.9814 | -0.1299 | 23.3466
21 | 0.013684 | 0.0034295 | -0.013681 | -0.0034283 | 3.7357e-06 | 1.2662e-06 | 0.020899 | 0.020899 | 0.020899 | 0.97431 | -0.18053 | 0.97404 | -0.1825 | 7.7405
22 | 0.0025099 | 0.00062862 | -0.0025096 | -0.00062895 | 3.4594e-07 | -3.3626e-07 | 0.0038342 | 0.0038343 | 0.0038343 | 0.97404 | -0.1825 | 0.9739 | -0.1835 | 1.4201
23 | -0.011555 | -0.0028964 | 0.011569 | 0.0029008 | 1.3743e-05 | 4.344e-06 | 0.01736 | 0.017359 | 0.01736 | 0.99051 | -0.066044 | 0.99173 | -0.057462 | 6.4295
24 | -0.01234 | -0.003094 | 0.012345 | 0.0030954 | 4.4593e-06 | 1.446e-06 | 0.018516 | 0.018516 | 0.018516 | 0.99173 | -0.057462 | 0.9921 | -0.054855 | 6.8578
25 | 0.0027393 | 0.00068571 | -0.0027387 | -0.00068616 | 5.4131e-07 | -4.4954e-07 | 0.0041172 | 0.0041175 | 0.0041175 | 0.98993 | -0.069854 | 0.98973 | -0.071284 | 1.525
26 | 0.064553 | 0.016267 | -0.064327 | -0.016183 | 0.00022552 | 8.4774e-05 | 0.097065 | 0.097065 | 0.097065 | 0.98993 | -0.069854 | 0.98636 | -0.094902 | 17.9751
27 | -0.067292 | -0.016953 | 0.067454 | 0.017014 | 0.00016174 | 6.0903e-05 | 0.10118 | 0.10118 | 0.10118 | 0.98993 | -0.069854 | 0.99238 | -0.052713 | 18.7374
28 | 0.0027387 | 0.00068616 | -0.0027385 | -0.00068633 | 2.0504e-07 | -1.702e-07 | 0.0041175 | 0.0041176 | 0.0041176 | 0.98973 | -0.071284 | 0.98965 | -0.071825 | 1.525
29 | 0.057786 | 0.014544 | -0.057778 | -0.014541 | 8.3483e-06 | 3.1211e-06 | 0.087197 | 0.087197 | 0.087197 | 0.98636 | -0.094902 | 0.98621 | -0.095936 | 16.1476
30 | 0.0065415 | 0.0016389 | -0.0065394 | -0.0016385 | 2.13e-06 | 3.7198e-07 | 0.0098682 | 0.0098684 | 0.0098684 | 0.98636 | -0.094902 | 0.98603 | -0.097255 | 3.655
31 | -0.071333 | -0.017986 | 0.071523 | 0.018058 | 0.00019055 | 7.1906e-05 | 0.107 | 0.107 | 0.107 | 0.99238 | -0.052713 | 0.99512 | -0.033701 | 19.8143
32 | -0.20642 | -0.052112 | 0.2066 | 0.052181 | 0.00018061 | 6.9309e-05 | 0.30879 | 0.30879 | 0.30879 | 0.99512 | -0.033701 | 0.99602 | -0.027478 | 57.1841
33 | 0.13489 | 0.034054 | -0.13475 | -0.033997 | 0.00014814 | 5.6675e-05 | 0.2018 | 0.2018 | 0.2018 | 0.99512 | -0.033701 | 0.99399 | -0.041528 | 37.3699
34 | -0.2066 | -0.052181 | 0.2074 | 0.052489 | 0.00080141 | 0.00030753 | 0.30879 | 0.30879 | 0.30879 | 0.99602 | -0.027478 | 1 | 0 | 57.1841
35 | 0.11636 | 0.029384 | -0.11617 | -0.029312 | 0.0001902 | 7.2635e-05 | 0.17427 | 0.17427 | 0.17427 | 0.99399 | -0.041528 | 0.99231 | -0.053176 | 32.2716
36 | 0.01839 | 0.004613 | -0.018385 | -0.0046113 | 4.6484e-06 | 1.6605e-06 | 0.027532 | 0.027532 | 0.027532 | 0.99399 | -0.041528 | 0.99373 | -0.043351 | 10.1969
37 | 0.11215 | 0.028306 | -0.11181 | -0.028176 | 0.00033989 | 0.00012974 | 0.16824 | 0.16824 | 0.16824 | 0.99231 | -0.053176 | 0.98921 | -0.074828 | 31.1562
38 | 0.0040169 | 0.0010058 | -0.0040161 | -0.0010059 | 8.1173e-07 | -1.509e-07 | 0.0060232 | 0.0060234 | 0.0060234 | 0.99231 | -0.053176 | 0.99211 | -0.054638 | 2.2309
39 | 0.015572 | 0.0039063 | -0.015564 | -0.0039033 | 8.4903e-06 | 2.9415e-06 | 0.023319 | 0.023319 | 0.023319 | 0.99373 | -0.043351 | 0.99317 | -0.047284 | 8.6368
40 | 0.057155 | 0.014384 | -0.057113 | -0.014369 | 4.1304e-05 | 1.5432e-05 | 0.086257 | 0.086257 | 0.086257 | 0.98621 | -0.095936 | 0.98548 | -0.10112 | 15.9736
41 | 0.0044596 | 0.0011173 | -0.0044591 | -0.0011173 | 5.7687e-07 | -3.8446e-08 | 0.0067299 | 0.00673 | 0.00673 | 0.98603 | -0.097255 | 0.9859 | -0.09819 | 2.4926
42 | 0.10829 | 0.027293 | -0.10808 | -0.027212 | 0.00021203 | 8.0892e-05 | 0.16294 | 0.16295 | 0.16295 | 0.98921 | -0.074828 | 0.98721 | -0.08884 | 30.175
43 | 0.0035509 | 0.00088935 | -0.0035505 | -0.00088949 | 4.2486e-07 | -1.4654e-07 | 0.0053256 | 0.0053257 | 0.0053257 | 0.99211 | -0.054638 | 0.99198 | -0.055503 | 1.9725
44 | 0.0082716 | 0.0020729 | -0.0082669 | -0.0020717 | 4.7018e-06 | 1.189e-06 | 0.012468 | 0.012468 | 0.012468 | 0.98721 | -0.08884 | 0.98664 | -0.092947 | 4.6177
45 | 0.099804 | 0.025139 | -0.099234 | -0.024922 | 0.00056971 | 0.00021707 | 0.15048 | 0.15048 | 0.15048 | 0.98721 | -0.08884 | 0.9814 | -0.1299 | 27.8664
46 | 0.0072067 | 0.001806 | -0.0072063 | -0.0018059 | 3.6438e-07 | 7.702e-08 | 0.010869 | 0.010869 | 0.010869 | 0.98664 | -0.092947 | 0.98658 | -0.093313 | 4.0255
47 | -0.033265 | -0.0083687 | 0.033315 | 0.0083863 | 4.9821e-05 | 1.758e-05 | 0.050495 | 0.050495 | 0.050495 | 0.98049 | -0.13641 | 0.982 | -0.12569 | 9.351
48 | 0.033265 | 0.0083687 | -0.033197 | -0.008343 | 6.8411e-05 | 2.5771e-05 | 0.050495 | 0.050496 | 0.050496 | 0.98049 | -0.13641 | 0.97841 | -0.15119 | 18.7021
49 | -0.033315 | -0.0083863 | 0.033331 | 0.0083919 | 1.5888e-05 | 5.6052e-06 | 0.050495 | 0.050495 | 0.050495 | 0.982 | -0.12569 | 0.98248 | -0.12228 | 9.3509
50 | 0.032533 | 0.0081767 | -0.032504 | -0.0081659 | 2.8609e-05 | 1.0769e-05 | 0.049486 | 0.049487 | 0.049487 | 0.97841 | -0.15119 | 0.97752 | -0.15751 | 18.3284
51 | 0.014712 | 0.0036872 | -0.014707 | -0.0036856 | 4.5323e-06 | 1.5637e-06 | 0.022457 | 0.022457 | 0.022457 | 0.97478 | -0.17715 | 0.97448 | -0.17938 | 8.3176
52 | 0.00054172 | 0.00013548 | -0.00054171 | -0.00013577 | 9.8986e-09 | -2.8574e-07 | 0.00082659 | 0.0008267 | 0.0008267 | 0.97507 | -0.17507 | 0.97506 | -0.17521 | 0.30618
53 | 0.027315 | 0.0068619 | -0.027235 | -0.0068319 | 8.0394e-05 | 2.9994e-05 | 0.041632 | 0.041632 | 0.041632 | 0.97645 | -0.16514 | 0.97348 | -0.18636 | 15.4194
54 | -0.027315 | -0.0068619 | 0.027344 | 0.0068727 | 2.9028e-05 | 1.0828e-05 | 0.041632 | 0.041632 | 0.041632 | 0.97645 | -0.16514 | 0.97752 | -0.15751 | 15.4192
55 | 0.023086 | 0.005792 | -0.023034 | -0.0057729 | 5.1821e-05 | 1.9104e-05 | 0.03529 | 0.03529 | 0.03529 | 0.97348 | -0.18636 | 0.97123 | -0.20258 | 13.0705
56 | 0.00096517 | 0.00024164 | -0.00096514 | -0.00024189 | 2.7691e-08 | -2.4586e-07 | 0.0014709 | 0.001471 | 0.001471 | 0.97636 | -0.16583 | 0.97634 | -0.16604 | 0.5448
57 | -0.013096 | -0.0032838 | 0.01311 | 0.0032883 | 1.3751e-05 | 4.5505e-06 | 0.019643 | 0.019643 | 0.019643 | 0.9921 | -0.054855 | 0.99317 | -0.047284 | 7.2752
58 | 0.055452 | 0.013953 | -0.055433 | -0.013945 | 1.9435e-05 | 7.2489e-06 | 0.083749 | 0.083749 | 0.083749 | 0.98548 | -0.10112 | 0.98512 | -0.10363 | 15.5091
59 | 0.0020561 | 0.00051506 | -0.002056 | -0.00051527 | 1.2182e-07 | -2.1164e-07 | 0.0031032 | 0.0031032 | 0.0031032 | 0.9859 | -0.09819 | 0.98584 | -0.098619 | 1.1494
60 | -0.035985 | -0.0090571 | 0.035992 | 0.0090598 | 7.7582e-06 | 2.7719e-06 | 0.054514 | 0.054514 | 0.054514 | 0.98248 | -0.12228 | 0.9827 | -0.12073 | 10.0952
61 | 0.00087644 | 0.00021931 | -0.00087641 | -0.00021965 | 2.9077e-08 | -3.3689e-07 | 0.0013146 | 0.0013147 | 0.0013147 | 0.99198 | -0.055503 | 0.99195 | -0.055743 | 0.48692
62 | 0.0039885 | 0.00099943 | -0.0039881 | -0.00099951 | 4.0448e-07 | -7.3142e-08 | 0.0060156 | 0.0060156 | 0.0060156 | 0.98658 | -0.093313 | 0.98648 | -0.094045 | 2.228
63 | -0.0041067 | -0.0010292 | 0.0041076 | 0.0010291 | 9.5305e-07 | -1.1698e-07 | 0.0062724 | 0.0062722 | 0.0062724 | 0.97424 | -0.18105 | 0.97448 | -0.17938 | 2.3231
64 | 0.045138 | 0.011357 | -0.045125 | -0.011352 | 1.3005e-05 | 4.7751e-06 | 0.068291 | 0.068291 | 0.068291 | 0.98376 | -0.11325 | 0.98347 | -0.11532 | 12.6465
65 | -0.049749 | -0.012513 | 0.049772 | 0.012521 | 2.3386e-05 | 8.6583e-06 | 0.075265 | 0.075265 | 0.075265 | 0.98376 | -0.11325 | 0.98424 | -0.10988 | 13.938
66 | 0.042584 | 0.010715 | -0.042575 | -0.010712 | 8.7851e-06 | 3.2069e-06 | 0.064446 | 0.064446 | 0.064446 | 0.98347 | -0.11532 | 0.98326 | -0.11679 | 11.9344
67 | -0.053095 | -0.013354 | 0.053142 | 0.013371 | 4.6308e-05 | 1.7225e-05 | 0.080289 | 0.080289 | 0.080289 | 0.98424 | -0.10988 | 0.98512 | -0.10363 | 14.8683
68 | 0.040271 | 0.010135 | -0.040249 | -0.010127 | 2.2138e-05 | 8.0304e-06 | 0.060959 | 0.060959 | 0.060959 | 0.98326 | -0.11679 | 0.9827 | -0.12073 | 11.2887

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21028 | 0.05301

## res_load
| p_mw | q_mvar
0 | 0.0043525 | 0.0010908
1 | 0.0031079 | 0.00077891
2 | 0.0040792 | 0.0010223
3 | 0.0075857 | 0.0019012
4 | 0.013345 | 0.0033445
5 | 0.0071588 | 0.0017942
6 | 0.0048083 | 0.0012051
7 | 0.0026073 | 0.00065346
8 | 0.028142 | 0.0070531
9 | 0.011171 | 0.0027997
10 | 0.00077097 | 0.00019322
11 | 0.0038787 | 0.0009721
12 | 0.0028131 | 0.00070502
13 | 0.00062294 | 0.00015612
14 | 0.0020797 | 0.00052123
15 | 0.0035224 | 0.0008828
16 | 0.0004652 | 0.00011659
17 | 0.0010602 | 0.00026572
18 | 0.00066356 | 0.0001663
19 | 0.0018992 | 0.00047597
20 | 0.002367 | 0.00059323
21 | 0.0041491 | 0.0010399
22 | 0.00516 | 0.0012932
23 | 0.00098398 | 0.00024661
24 | 0.00075153 | 0.00018835
25 | 0.0024539 | 0.000615
26 | 0.0027385 | 0.00068633
27 | 0.0020784 | 0.00052089
28 | 0.0016612 | 0.00041632
29 | 0.002403 | 0.00060224
30 | 0.0026539 | 0.00066514
31 | 0.002056 | 0.00051527
32 | 0.002674 | 0.00067018
33 | 0.0032178 | 0.00080647
34 | 0.0041067 | 0.0010292
35 | 0.010599 | 0.0026565
36 | 0.00054171 | 0.00013577
37 | 0.0025096 | 0.00062895
38 | 0.023034 | 0.0057729
39 | 0.0039881 | 0.00099951
40 | 0.00087641 | 0.00021965
41 | 0.0046108 | 0.0011556
42 | 0.0025415 | 0.00063695
43 | 0.0033231 | 0.00083285
44 | 0.0023041 | 0.00057747
45 | 0.002291 | 0.00057417
46 | 0.0042562 | 0.0010667
47 | 0.00096514 | 0.00024189

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1